## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5237-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5237-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5237-5_0_5_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_5237-5_0_5_node_33 | 0.4 | n |  | TRUE
4 | bus_LV_5237-5_0_5_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_5237-5_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5237-5_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5237-5_0_5_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_5237-5_0_5_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_5237-5_0_5_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_5237-5_0_5_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_5237-5_0_5_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_5237-5_0_5_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5237-5_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5237-5_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5237-5_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5237-5_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5237-5_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5237-5_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5237-5_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5237-5_0_5_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_5237-5_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_5237-5_0_5_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_5237-5_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_5237-5_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5237-5_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5237-5_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5237-5_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5237-5_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5237-5_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5237-5_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5237-5_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5237-5_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5237-5_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5237-5_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5237-5_0_5_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_5237-5_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5237-5_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5237-5_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5237-5_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5237-5_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5237-5_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5237-5_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5237-5_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5237-5_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5237-5_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5237-5_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5237-5_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5237-5_0_5_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_5237-5_0_5_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_5237-5_0_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5237-5_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5237-5_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5237-5_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5237-5_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5237-5_0_5_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5237-5_0_5_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_5237-5_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5237-5_0_5_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5237-5_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5237-5_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5237-5_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_5237-5_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_5237-5_0_5_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_5237-5_0_5_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_5237-5_0_5_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_5237-5_0_5_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_5237-5_0_5_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_5237-5_0_5_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5237-5_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5237-5_0_5_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_5237-5_0_5_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5237-5_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_5237-5_0_5_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5237-5_0_5_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_5237-5_0_5_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_5237-5_0_5_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_5237-5_0_5_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5237-5_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_5237-5_0_5_node_68 | 0.4 | n |  | TRUE
80 | bus_MV_73_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5237-5_0_5_load_0 | 0 | 0.016222 | 0.0040655 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5237-5_0_5_load_28 | 2 | 0.0013967 | 0.00035005 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5237-5_0_5_load_33 | 3 | 0.0031697 | 0.0007944 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5237-5_0_5_load_2 | 4 | 0.0050542 | 0.0012667 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5237-5_0_5_load_3 | 5 | 0.001921 | 0.00048144 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5237-5_0_5_load_4 | 6 | 0.0017717 | 0.00044403 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5237-5_0_5_load_78 | 7 | 0.0029911 | 0.00074964 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5237-5_0_5_load_77 | 8 | 0.0045614 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5237-5_0_5_load_46 | 9 | 0.0033567 | 0.00084128 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5237-5_0_5_load_79 | 10 | 0.0034118 | 0.00085509 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5237-5_0_5_load_5 | 12 | 0.0048193 | 0.0012078 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5237-5_0_5_load_7 | 14 | 0.0062827 | 0.0015746 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5237-5_0_5_load_8 | 15 | 0.0011706 | 0.00029339 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5237-5_0_5_load_9 | 16 | 0.0025344 | 0.00063519 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5237-5_0_5_load_10 | 17 | 0.0040026 | 0.0010032 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5237-5_0_5_load_11 | 18 | 0.0029027 | 0.00072748 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5237-5_0_5_load_12 | 19 | 0.010193 | 0.0025547 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5237-5_0_5_load_72 | 20 | 0.0055995 | 0.0014034 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5237-5_0_5_load_24 | 21 | 0.0015 | 0.00037593 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5237-5_0_5_load_39 | 22 | 0.0027643 | 0.0006928 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5237-5_0_5_load_25 | 23 | 0.0011461 | 0.00028724 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5237-5_0_5_load_13 | 24 | 0.0049219 | 0.0012335 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5237-5_0_5_load_14 | 25 | 0.014356 | 0.003598 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5237-5_0_5_load_15 | 26 | 0.008159 | 0.0020448 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5237-5_0_5_load_16 | 27 | 0.0044794 | 0.0011226 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5237-5_0_5_load_17 | 28 | 0.0032921 | 0.00082508 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5237-5_0_5_load_18 | 29 | 0.0023426 | 0.00058711 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5237-5_0_5_load_19 | 30 | 0.0021392 | 0.00053614 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5237-5_0_5_load_20 | 31 | 0.0033585 | 0.00084172 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5237-5_0_5_load_21 | 32 | 0.0047414 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5237-5_0_5_load_23 | 34 | 0.0025724 | 0.00064469 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5237-5_0_5_load_42 | 35 | 0.0030717 | 0.00076985 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5237-5_0_5_load_26 | 36 | 0.0018223 | 0.00045671 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5237-5_0_5_load_27 | 37 | 0.001395 | 0.00034962 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5237-5_0_5_load_31 | 38 | 0.0021017 | 0.00052673 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5237-5_0_5_load_32 | 41 | 0.0012873 | 0.00032264 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5237-5_0_5_load_34 | 42 | 0.0040955 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5237-5_0_5_load_35 | 43 | 0.0040042 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5237-5_0_5_load_36 | 44 | 0.0077735 | 0.0019482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5237-5_0_5_load_37 | 45 | 0.0026567 | 0.00066583 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5237-5_0_5_load_38 | 46 | 0.0069224 | 0.0017349 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5237-5_0_5_load_40 | 47 | 0.0037045 | 0.00092844 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5237-5_0_5_load_67 | 48 | 0.0084708 | 0.002123 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5237-5_0_5_load_65 | 49 | 0.0050065 | 0.0012548 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5237-5_0_5_load_41 | 50 | 0.0054701 | 0.0013709 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5237-5_0_5_load_43 | 51 | 0.0033077 | 0.00082899 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5237-5_0_5_load_45 | 52 | 0.0043086 | 0.0010798 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5237-5_0_5_load_54 | 54 | 0.0038907 | 0.00097509 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5237-5_0_5_load_70 | 56 | 0.0046517 | 0.0011658 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5237-5_0_5_load_52 | 57 | 0.0023363 | 0.00058554 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5237-5_0_5_load_48 | 58 | 0.0019403 | 0.0004863 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5237-5_0_5_load_49 | 59 | 0.003738 | 0.00093684 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5237-5_0_5_load_51 | 60 | 0.0026123 | 0.00065471 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5237-5_0_5_load_53 | 61 | 0.0040224 | 0.0010081 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5237-5_0_5_load_55 | 62 | 0.0034117 | 0.00085506 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5237-5_0_5_load_76 | 63 | 0.0026643 | 0.00066773 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5237-5_0_5_load_73 | 64 | 0.0059701 | 0.0014962 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5237-5_0_5_load_75 | 65 | 0.0033662 | 0.00084364 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5237-5_0_5_load_71 | 66 | 0.0019581 | 0.00049074 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5237-5_0_5_load_74 | 67 | 0.008048 | 0.002017 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5237-5_0_5_load_56 | 68 | 0.0028902 | 0.00072436 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5237-5_0_5_load_57 | 69 | 0.0044937 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5237-5_0_5_load_58 | 70 | 0.0040294 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5237-5_0_5_load_59 | 71 | 0.0020011 | 0.00050152 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5237-5_0_5_load_60 | 72 | 0.0011508 | 0.00028842 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5237-5_0_5_load_61 | 73 | 0.0021778 | 0.00054581 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5237-5_0_5_load_62 | 74 | 0.0030975 | 0.00077631 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5237-5_0_5_load_69 | 75 | 0.0034796 | 0.00087208 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5237-5_0_5_load_63 | 76 | 0.0046917 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5237-5_0_5_load_64 | 77 | 0.0021453 | 0.00053767 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5237-5_0_5_load_66 | 78 | 0.0028974 | 0.00072615 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5237-5_0_5_load_68 | 79 | 0.0027218 | 0.00068214 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5237-5_0_5_line_0 |  | 0 | 1 | 0.058416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5237-5_0_5_line_1 |  | 1 | 2 | 0.60973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5237-5_0_5_line_2 |  | 2 | 3 | 0.05303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5237-5_0_5_line_3 |  | 3 | 41 | 0.054787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5237-5_0_5_line_4 |  | 4 | 5 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5237-5_0_5_line_5 |  | 4 | 6 | 0.0079573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5237-5_0_5_line_6 |  | 5 | 7 | 0.055225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5237-5_0_5_line_7 |  | 7 | 10 | 0.026831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5237-5_0_5_line_8 |  | 7 | 8 | 0.010976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5237-5_0_5_line_9 |  | 8 | 9 | 0.019098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5237-5_0_5_line_10 |  | 9 | 11 | 0.005322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5237-5_0_5_line_11 |  | 10 | 13 | 0.032482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5237-5_0_5_line_12 |  | 11 | 35 | 0.011925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5237-5_0_5_line_13 |  | 11 | 34 | 0.020905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5237-5_0_5_line_14 |  | 12 | 13 | 0.022793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5237-5_0_5_line_15 |  | 14 | 15 | 0.0082325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5237-5_0_5_line_16 |  | 14 | 16 | 0.0075741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5237-5_0_5_line_17 |  | 15 | 17 | 0.0076441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5237-5_0_5_line_18 |  | 16 | 18 | 0.0039833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5237-5_0_5_line_19 |  | 17 | 19 | 0.0067696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5237-5_0_5_line_20 |  | 18 | 20 | 0.0069543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5237-5_0_5_line_21 |  | 19 | 21 | 0.0022214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5237-5_0_5_line_22 |  | 20 | 22 | 0.0016988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5237-5_0_5_line_23 |  | 21 | 23 | 0.0082232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5237-5_0_5_line_24 |  | 22 | 45 | 0.0040554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5237-5_0_5_line_25 |  | 23 | 36 | 0.0055318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5237-5_0_5_line_26 |  | 24 | 25 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5237-5_0_5_line_27 |  | 24 | 26 | 0.030379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5237-5_0_5_line_28 |  | 25 | 27 | 0.033093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5237-5_0_5_line_29 |  | 26 | 28 | 0.0087288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5237-5_0_5_line_30 |  | 27 | 29 | 0.016237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5237-5_0_5_line_31 |  | 28 | 30 | 0.073302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5237-5_0_5_line_32 |  | 29 | 31 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5237-5_0_5_line_33 |  | 31 | 32 | 0.018764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5237-5_0_5_line_34 |  | 32 | 33 | 0.036796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5237-5_0_5_line_35 |  | 33 | 34 | 0.07392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5237-5_0_5_line_36 |  | 35 | 50 | 0.0070017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5237-5_0_5_line_37 |  | 36 | 37 | 0.003804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5237-5_0_5_line_38 |  | 37 | 38 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5237-5_0_5_line_39 |  | 38 | 39 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5237-5_0_5_line_40 |  | 39 | 40 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5237-5_0_5_line_41 |  | 40 | 41 | 0.040966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5237-5_0_5_line_42 |  | 42 | 43 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5237-5_0_5_line_43 |  | 42 | 44 | 0.0094464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5237-5_0_5_line_44 |  | 43 | 45 | 0.0011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5237-5_0_5_line_45 |  | 44 | 46 | 0.013378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5237-5_0_5_line_46 |  | 46 | 47 | 0.0014637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5237-5_0_5_line_47 |  | 47 | 48 | 0.0068087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5237-5_0_5_line_48 |  | 48 | 49 | 0.011444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5237-5_0_5_line_49 |  | 49 | 76 | 0.013436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5237-5_0_5_line_50 |  | 50 | 51 | 0.0096956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5237-5_0_5_line_51 |  | 51 | 52 | 0.00032496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5237-5_0_5_line_52 |  | 52 | 53 | 0.016078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5237-5_0_5_line_53 |  | 53 | 54 | 0.016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5237-5_0_5_line_54 |  | 53 | 55 | 0.012492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5237-5_0_5_line_55 |  | 54 | 56 | 0.010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5237-5_0_5_line_56 |  | 55 | 57 | 0.027753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5237-5_0_5_line_57 |  | 55 | 58 | 0.0042972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5237-5_0_5_line_58 |  | 56 | 66 | 0.007624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5237-5_0_5_line_59 |  | 57 | 62 | 0.017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5237-5_0_5_line_60 |  | 58 | 59 | 0.0041728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5237-5_0_5_line_61 |  | 59 | 60 | 0.007108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5237-5_0_5_line_62 |  | 60 | 61 | 0.0031225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5237-5_0_5_line_63 |  | 61 | 63 | 0.004195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5237-5_0_5_line_64 |  | 62 | 64 | 0.013498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5237-5_0_5_line_65 |  | 63 | 65 | 0.0052202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5237-5_0_5_line_66 |  | 64 | 67 | 0.056629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5237-5_0_5_line_67 |  | 65 | 79 | 0.0011707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5237-5_0_5_line_68 |  | 67 | 74 | 0.019424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5237-5_0_5_line_69 |  | 68 | 69 | 0.078973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5237-5_0_5_line_70 |  | 68 | 70 | 0.036196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5237-5_0_5_line_71 |  | 69 | 71 | 0.0095177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5237-5_0_5_line_72 |  | 70 | 72 | 0.026331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5237-5_0_5_line_73 |  | 71 | 73 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5237-5_0_5_line_74 |  | 72 | 74 | 0.012849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5237-5_0_5_line_75 |  | 73 | 75 | 0.003184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5237-5_0_5_line_76 |  | 76 | 77 | 0.0074635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5237-5_0_5_line_77 |  | 77 | 78 | 0.0058756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5237-5_0_5_line_78 |  | 78 | 79 | 0.00023327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5237-5_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 80 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2712299.5556 | 1099887.0071 | 2712321.822 | 1099851.5504 | 2712316.0149 | 1099836.0549
1 | 2711760.2752 | 1100171.5144 | 2712299.5556 | 1099887.0071
2 | 2711760.2752 | 1100171.5144 | 2711715.0675 | 1100143.7926
3 | 2711715.9561 | 1100197.7951 | 2711715.0384 | 1100189.8679 | 2711711.2838 | 1100157.4328 | 2711715.0675 | 1100143.7926
4 | 2711802.8548 | 1100503.2299 | 2711822.1324 | 1100511.4754 | 2711824.0755 | 1100513.5825
5 | 2711795.5387 | 1100500.1006 | 2711802.8548 | 1100503.2299
6 | 2711847.2468 | 1100463.4537 | 2711824.0755 | 1100513.5825
7 | 2711847.2468 | 1100463.4537 | 2711870.5807 | 1100476.6996
8 | 2711847.2468 | 1100463.4537 | 2711837.7016 | 1100458.0353
9 | 2711821.6702 | 1100447.9249 | 2711823.191 | 1100449.7981 | 2711837.7016 | 1100458.0353
10 | 2711818.3156 | 1100443.7932 | 2711821.6702 | 1100447.9249
11 | 2711898.8866 | 1100492.6316 | 2711870.5807 | 1100476.6996
12 | 2711818.3156 | 1100443.7932 | 2711811.4812 | 1100442.8446 | 2711806.5403 | 1100441.9291
13 | 2711818.3156 | 1100443.7932 | 2711824.3698 | 1100443.8047 | 2711839.1586 | 1100442.4474
14 | 2711898.8866 | 1100492.6316 | 2711898.2338 | 1100494.8655 | 2711898.3835 | 1100498.0815 | 2711899.6673 | 1100501.5185 | 2711901.3938 | 1100503.6184 | 2711905.4186 | 1100504.9379 | 2711910.378 | 1100506.3746 | 2711910.5604 | 1100507.8234
15 | 2711743.9775 | 1100294.8684 | 2711735.7716 | 1100295.531 | 2711735.7716 | 1100295.531
16 | 2711736.1543 | 1100303.0954 | 2711735.7716 | 1100295.531
17 | 2711743.9775 | 1100294.8684 | 2711749.1161 | 1100294.4535 | 2711751.4286 | 1100293.5337
18 | 2711736.1543 | 1100303.0954 | 2711736.3556 | 1100307.0736
19 | 2711751.4286 | 1100293.5337 | 2711757.7189 | 1100291.0316
20 | 2711736.3556 | 1100307.0736 | 2711736.7069 | 1100314.0191
21 | 2711757.3372 | 1100288.8432 | 2711757.7189 | 1100291.0316 | 2711757.7189 | 1100291.0316
22 | 2711736.7927 | 1100315.7157 | 2711736.7069 | 1100314.0191
23 | 2711755.9242 | 1100280.7423 | 2711757.3372 | 1100288.8432
24 | 2711736.9976 | 1100319.7659 | 2711736.7927 | 1100315.7157
25 | 2711755.9242 | 1100280.7423 | 2711754.9736 | 1100275.2928
26 | 2711816.921 | 1100377.7542 | 2711821.8516 | 1100388.8684
27 | 2711816.921 | 1100377.7542 | 2711805.7126 | 1100352.4891 | 2711805.1663 | 1100350.6222 | 2711805.1533 | 1100349.8279
28 | 2711840.8224 | 1100414.5676 | 2711836.0429 | 1100411.976 | 2711832.8413 | 1100409.6711 | 2711830.6771 | 1100407.3742 | 2711829.1064 | 1100405.2216 | 2711821.8516 | 1100388.8684
29 | 2711809.1218 | 1100342.3613 | 2711806.596 | 1100345.3005 | 2711805.6451 | 1100346.9063 | 2711805.1371 | 1100348.8427 | 2711805.1533 | 1100349.8279
30 | 2711855.0963 | 1100422.3074 | 2711840.8224 | 1100414.5676
31 | 2711814.7594 | 1100279.1726 | 2711818.3303 | 1100291.2359 | 2711820.0423 | 1100296.6488 | 2711821.3151 | 1100300.2635 | 2711823.1019 | 1100304.1434 | 2711827.6802 | 1100311.9885 | 2711828.7845 | 1100314.2437 | 2711829.1609 | 1100316.5077 | 2711828.8049 | 1100318.6025 | 2711827.966 | 1100320.4328 | 2711809.1218 | 1100342.3613
32 | 2711855.0963 | 1100422.3074 | 2711857.545 | 1100423.6352 | 2711867.5634 | 1100427.9362
33 | 2711884.769 | 1100435.4223 | 2711874.2138 | 1100430.7914 | 2711867.5634 | 1100427.9362
34 | 2711906.9239 | 1100459.3907 | 2711906.9 | 1100451.0291 | 2711906.0608 | 1100447.8337 | 2711904.5706 | 1100445.5158 | 2711901.1172 | 1100442.5947 | 2711884.769 | 1100435.4223
35 | 2711906.9239 | 1100459.3907 | 2711900.7221 | 1100453.5281 | 2711895.318 | 1100448.9144 | 2711889.7063 | 1100445.0529 | 2711882.8608 | 1100442.1915 | 2711876.7658 | 1100440.6116 | 2711870.7624 | 1100439.945 | 2711863.821 | 1100440.1841 | 2711839.1586 | 1100442.4474
36 | 2711799.8827 | 1100439.7836 | 2711800.2624 | 1100439.9251 | 2711805.8178 | 1100441.7952 | 2711806.5403 | 1100441.9291
37 | 2711757.61 | 1100272.5506 | 2711754.9736 | 1100275.2928 | 2711754.9736 | 1100275.2928
38 | 2711757.61 | 1100272.5506 | 2711757.61 | 1100272.5506 | 2711756.796 | 1100253.6786
39 | 2711747.5444 | 1100239.7658 | 2711756.796 | 1100253.6786
40 | 2711733.2479 | 1100234.9329 | 2711738.5926 | 1100238.1667 | 2711747.5444 | 1100239.7658
41 | 2711733.2479 | 1100234.9329 | 2711715.9561 | 1100197.7951
42 | 2711737.0547 | 1100320.8938 | 2711733.1988 | 1100326.371 | 2711735.2693 | 1100331.2278
43 | 2711738.9737 | 1100339.9176 | 2711735.2693 | 1100331.2278
44 | 2711737.0547 | 1100320.8938 | 2711737.0547 | 1100320.8938 | 2711736.9976 | 1100319.7659
45 | 2711744.2197 | 1100352.2236 | 2711738.9737 | 1100339.9176
46 | 2711744.2197 | 1100352.2236 | 2711744.7937 | 1100353.5701
47 | 2711744.7937 | 1100353.5701 | 2711747.4637 | 1100359.8335 | 2711747.4637 | 1100359.8335
48 | 2711747.6746 | 1100370.4641 | 2711745.4737 | 1100364.0553 | 2711747.4637 | 1100359.8335
49 | 2711753.6981 | 1100382.414 | 2711748.9936 | 1100374.3046 | 2711747.6746 | 1100370.4641
50 | 2711799.8827 | 1100439.7836 | 2711790.797 | 1100436.3991
51 | 2711790.4925 | 1100436.2857 | 2711790.797 | 1100436.3991
52 | 2711775.4254 | 1100430.673 | 2711790.4925 | 1100436.2857
53 | 2711775.4254 | 1100430.673 | 2711773.7962 | 1100433.3782 | 2711772.0151 | 1100435.5024 | 2711769.4151 | 1100437.5337 | 2711762.998 | 1100441.4854
54 | 2711775.4254 | 1100430.673 | 2711772.0035 | 1100428.5642 | 2711765.3654 | 1100423.2608
55 | 2711762.998 | 1100441.4854 | 2711760.895 | 1100442.7805 | 2711757.3366 | 1100444.7163 | 2711754.0672 | 1100445.679 | 2711753.1788 | 1100445.7096
56 | 2711765.3654 | 1100423.2608 | 2711754.0582 | 1100413.7797 | 2711748.4063 | 1100407.8941 | 2711745.3854 | 1100404.1159
57 | 2711765.3654 | 1100423.2608 | 2711765.0486 | 1100418.9753
58 | 2711753.1788 | 1100445.7096 | 2711750.4881 | 1100445.8022 | 2711747.4306 | 1100445.3456 | 2711745.6628 | 1100444.8341
59 | 2711737.0807 | 1100389.2181 | 2711739.962 | 1100395.1413 | 2711744.2288 | 1100402.6693 | 2711745.3854 | 1100404.1159
60 | 2711765.0486 | 1100418.9753 | 2711764.9811 | 1100418.0613 | 2711764.5824 | 1100414.9074 | 2711764.5634 | 1100414.8324
61 | 2711762.8184 | 1100407.942 | 2711764.5634 | 1100414.8324
62 | 2711762.0518 | 1100404.915 | 2711762.8184 | 1100407.942
63 | 2711762.0518 | 1100404.915 | 2711761.7025 | 1100403.5357 | 2711760.9294 | 1100400.8736
64 | 2711737.0807 | 1100389.2181 | 2711731.1764 | 1100377.0802
65 | 2711759.4735 | 1100395.8606 | 2711760.9294 | 1100400.8736
66 | 2711731.1764 | 1100377.0802 | 2711726.3623 | 1100367.1837 | 2711723.0868 | 1100359.6406 | 2711714.9742 | 1100338.1104 | 2711709.9813 | 1100324.6117
67 | 2711759.147 | 1100394.7363 | 2711759.4735 | 1100395.8606
68 | 2711701.5164 | 1100307.2494 | 2711703.2734 | 1100309.6095 | 2711705.3246 | 1100313.005 | 2711707.1193 | 1100316.874 | 2711709.9813 | 1100324.6117
69 | 2711632.3197 | 1100283.2322 | 2711631.7322 | 1100281.498 | 2711631.3589 | 1100279.9012 | 2711631.1314 | 1100277.5399 | 2711631.2955 | 1100274.9301 | 2711631.7052 | 1100272.4359 | 2711632.3119 | 1100270.1789 | 2711633.6365 | 1100266.3562 | 2711634.9474 | 1100262.8558 | 2711636.6717 | 1100259.185 | 2711638.7173 | 1100255.7314 | 2711641.1054 | 1100252.5954 | 2711643.8033 | 1100249.8765 | 2711656.9749 | 1100240.5234 | 2711661.6628 | 1100236.5291 | 2711663.9707 | 1100233.1248 | 2711665.2571 | 1100228.8567 | 2711664.9802 | 1100223.2812 | 2711663.7357 | 1100218.1215 | 2711663.6544 | 1100217.884
70 | 2711632.3197 | 1100283.2322 | 2711632.3197 | 1100283.2322 | 2711633.3353 | 1100284.8408 | 2711634.3981 | 1100285.9945 | 2711635.7812 | 1100286.9872 | 2711637.493 | 1100287.7859 | 2711639.6015 | 1100288.4917 | 2711642.2543 | 1100289.0631 | 2711666.1144 | 1100293.0861
71 | 2711663.6544 | 1100217.884 | 2711660.5731 | 1100208.8789
72 | 2711691.6112 | 1100299.2104 | 2711691.6112 | 1100299.2104 | 2711688.0174 | 1100297.5988 | 2711684.0292 | 1100296.3802 | 2711680.2985 | 1100295.4777 | 2711666.1144 | 1100293.0861
73 | 2711657.0664 | 1100198.8473 | 2711658.1001 | 1100201.6514 | 2711660.5731 | 1100208.8789
74 | 2711691.6112 | 1100299.2104 | 2711694.9572 | 1100301.2399 | 2711698.1031 | 1100303.6327 | 2711700.848 | 1100306.3516 | 2711701.5164 | 1100307.2494
75 | 2711657.0664 | 1100198.8473 | 2711655.9652 | 1100195.8599
76 | 2711753.6981 | 1100382.414 | 2711757.4433 | 1100388.8698 | 2711757.4433 | 1100388.8698
77 | 2711757.4433 | 1100388.8698 | 2711759.082 | 1100394.5123
78 | 2711759.082 | 1100394.5123 | 2711759.147 | 1100394.7363

## bus_geodata
| x | y | coords
0 | 2712316.0149 | 1099836.0549
1 | 2712299.5556 | 1099887.0071
2 | 2711760.2752 | 1100171.5144
3 | 2711715.0675 | 1100143.7926
4 | 2711802.8548 | 1100503.2299
5 | 2711824.0755 | 1100513.5825
6 | 2711795.5387 | 1100500.1006
7 | 2711847.2468 | 1100463.4537
8 | 2711837.7016 | 1100458.0353
9 | 2711821.6702 | 1100447.9249
10 | 2711870.5807 | 1100476.6996
11 | 2711818.3156 | 1100443.7932
12 | 2711910.5604 | 1100507.8234
13 | 2711898.8866 | 1100492.6316
14 | 2711735.7716 | 1100295.531
15 | 2711743.9775 | 1100294.8684
16 | 2711736.1543 | 1100303.0954
17 | 2711751.4286 | 1100293.5337
18 | 2711736.3556 | 1100307.0736
19 | 2711757.7189 | 1100291.0316
20 | 2711736.7069 | 1100314.0191
21 | 2711757.3372 | 1100288.8432
22 | 2711736.7927 | 1100315.7157
23 | 2711755.9242 | 1100280.7423
24 | 2711816.921 | 1100377.7542
25 | 2711821.8516 | 1100388.8684
26 | 2711805.1533 | 1100349.8279
27 | 2711840.8224 | 1100414.5676
28 | 2711809.1218 | 1100342.3613
29 | 2711855.0963 | 1100422.3074
30 | 2711814.7594 | 1100279.1726
31 | 2711867.5634 | 1100427.9362
32 | 2711884.769 | 1100435.4223
33 | 2711906.9239 | 1100459.3907
34 | 2711839.1586 | 1100442.4474
35 | 2711806.5403 | 1100441.9291
36 | 2711754.9736 | 1100275.2928
37 | 2711757.61 | 1100272.5506
38 | 2711756.796 | 1100253.6786
39 | 2711747.5444 | 1100239.7658
40 | 2711733.2479 | 1100234.9329
41 | 2711715.9561 | 1100197.7951
42 | 2711735.2693 | 1100331.2278
43 | 2711737.0547 | 1100320.8938
44 | 2711738.9737 | 1100339.9176
45 | 2711736.9976 | 1100319.7659
46 | 2711744.2197 | 1100352.2236
47 | 2711744.7937 | 1100353.5701
48 | 2711747.4637 | 1100359.8335
49 | 2711747.6746 | 1100370.4641
50 | 2711799.8827 | 1100439.7836
51 | 2711790.797 | 1100436.3991
52 | 2711790.4925 | 1100436.2857
53 | 2711775.4254 | 1100430.673
54 | 2711762.998 | 1100441.4854
55 | 2711765.3654 | 1100423.2608
56 | 2711753.1788 | 1100445.7096
57 | 2711745.3854 | 1100404.1159
58 | 2711765.0486 | 1100418.9753
59 | 2711764.5634 | 1100414.8324
60 | 2711762.8184 | 1100407.942
61 | 2711762.0518 | 1100404.915
62 | 2711737.0807 | 1100389.2181
63 | 2711760.9294 | 1100400.8736
64 | 2711731.1764 | 1100377.0802
65 | 2711759.4735 | 1100395.8606
66 | 2711745.6628 | 1100444.8341
67 | 2711709.9813 | 1100324.6117
68 | 2711632.3197 | 1100283.2322
69 | 2711663.6544 | 1100217.884
70 | 2711666.1144 | 1100293.0861
71 | 2711660.5731 | 1100208.8789
72 | 2711691.6112 | 1100299.2104
73 | 2711657.0664 | 1100198.8473
74 | 2711701.5164 | 1100307.2494
75 | 2711655.9652 | 1100195.8599
76 | 2711753.6981 | 1100382.414
77 | 2711757.4433 | 1100388.8698
78 | 2711759.082 | 1100394.5123
79 | 2711759.147 | 1100394.7363
80 | 2711906.9239 | 1100459.3907

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1