## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5238-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5238-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5238-4_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5238-4_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5238-4_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5238-4_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5238-4_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5238-4_0_6_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_5238-4_0_6_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_5238-4_0_6_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_5238-4_0_6_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_5238-4_0_6_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_5238-4_0_6_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_5238-4_0_6_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_5238-4_0_6_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_5238-4_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_5238-4_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5238-4_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5238-4_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5238-4_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5238-4_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5238-4_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5238-4_0_6_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_5238-4_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5238-4_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5238-4_0_6_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_5238-4_0_6_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_5238-4_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5238-4_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5238-4_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5238-4_0_6_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_5238-4_0_6_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5238-4_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5238-4_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5238-4_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5238-4_0_6_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_5238-4_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5238-4_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5238-4_0_6_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_5238-4_0_6_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_5238-4_0_6_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_5238-4_0_6_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_5238-4_0_6_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_5238-4_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5238-4_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_5238-4_0_6_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_5238-4_0_6_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_5238-4_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5238-4_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5238-4_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5238-4_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_5238-4_0_6_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5238-4_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_5238-4_0_6_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_5238-4_0_6_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_5238-4_0_6_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5238-4_0_6_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_5238-4_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5238-4_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5238-4_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5238-4_0_6_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_5238-4_0_6_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5238-4_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5238-4_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5238-4_0_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5238-4_0_6_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_5238-4_0_6_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_5238-4_0_6_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_5238-4_0_6_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_5238-4_0_6_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_5238-4_0_6_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_5238-4_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_5238-4_0_6_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5238-4_0_6_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_5238-4_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5238-4_0_6_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5238-4_0_6_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_5238-4_0_6_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5238-4_0_6_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5238-4_0_6_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_5238-4_0_6_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5238-4_0_6_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_5238-4_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_5238-4_0_6_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_5238-4_0_6_node_83 | 0.4 | n |  | TRUE
85 | bus_MV_72_1_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5238-4_0_6_load_0 | 0 | 0.014256 | 0.0035728 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5238-4_0_6_load_76 | 8 | 0.00078091 | 0.00019571 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5238-4_0_6_load_23 | 9 | 0.013888 | 0.0034806 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5238-4_0_6_load_29 | 11 | 0.0024076 | 0.00060339 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5238-4_0_6_load_90 | 12 | 0.02321 | 0.0058169 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5238-4_0_6_load_20 | 13 | 0.0051838 | 0.0012992 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5238-4_0_6_load_70 | 14 | 0.033879 | 0.0084908 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5238-4_0_6_load_24 | 15 | 0.0055954 | 0.0014023 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5238-4_0_6_load_7 | 16 | 0.0066238 | 0.0016601 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5238-4_0_6_load_12 | 21 | 0.01652 | 0.0041404 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5238-4_0_6_load_78 | 22 | 0.019858 | 0.004977 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5238-4_0_6_load_16 | 23 | 0.0097452 | 0.0024424 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5238-4_0_6_load_13 | 24 | 0.022692 | 0.0056872 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5238-4_0_6_load_84 | 25 | 0.0014035 | 0.00035174 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5238-4_0_6_load_72 | 26 | 0.004638 | 0.0011624 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5238-4_0_6_load_14 | 27 | 0.0081507 | 0.0020428 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5238-4_0_6_load_17 | 29 | 0.030259 | 0.0075836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5238-4_0_6_load_27 | 33 | 0.011467 | 0.002874 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5238-4_0_6_load_82 | 35 | 0.00088209 | 0.00022107 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5238-4_0_6_load_87 | 39 | 0.010133 | 0.0025395 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5238-4_0_6_load_85 | 42 | 0.010131 | 0.002539 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5238-4_0_6_load_47 | 44 | 0.01168 | 0.0029273 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5238-4_0_6_load_67 | 45 | 0.0069073 | 0.0017311 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5238-4_0_6_load_45 | 46 | 0.0096752 | 0.0024248 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5238-4_0_6_load_33 | 47 | 0.0093573 | 0.0023452 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5238-4_0_6_load_34 | 48 | 0.005585 | 0.0013997 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5238-4_0_6_load_35 | 49 | 0.0018964 | 0.00047527 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5238-4_0_6_load_36 | 50 | 0.0038547 | 0.00096609 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5238-4_0_6_load_56 | 52 | 0.0039578 | 0.00099191 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5238-4_0_6_load_61 | 53 | 0.0025262 | 0.00063313 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5238-4_0_6_load_73 | 54 | 0.0072868 | 0.0018263 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5238-4_0_6_load_60 | 56 | 0.015543 | 0.0038953 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5238-4_0_6_load_38 | 57 | 0.0095256 | 0.0023873 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5238-4_0_6_load_39 | 58 | 0.0075987 | 0.0019044 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5238-4_0_6_load_40 | 59 | 0.0067467 | 0.0016909 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5238-4_0_6_load_43 | 62 | 0.017596 | 0.00441 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5238-4_0_6_load_53 | 63 | 0.042442 | 0.010637 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5238-4_0_6_load_44 | 64 | 0.0061361 | 0.0015379 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5238-4_0_6_load_52 | 65 | 0.0055821 | 0.001399 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5238-4_0_6_load_79 | 66 | 0.0064759 | 0.001623 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5238-4_0_6_load_48 | 68 | 0.0073088 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5238-4_0_6_load_49 | 69 | 0.0022589 | 0.00056612 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5238-4_0_6_load_51 | 70 | 0.000976 | 0.00024461 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5238-4_0_6_load_58 | 71 | 0.002736 | 0.00068572 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5238-4_0_6_load_54 | 72 | 0.010254 | 0.0025699 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5238-4_0_6_load_55 | 73 | 0.0021381 | 0.00053586 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5238-4_0_6_load_59 | 74 | 0.012475 | 0.0031265 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5238-4_0_6_load_62 | 75 | 0.0019033 | 0.00047701 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5238-4_0_6_load_63 | 76 | 0.0026812 | 0.00067197 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5238-4_0_6_load_64 | 77 | 0.011783 | 0.0029532 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5238-4_0_6_load_66 | 79 | 0.01331 | 0.0033358 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5238-4_0_6_load_75 | 80 | 0.0069948 | 0.0017531 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5238-4_0_6_load_88 | 81 | 0.0021021 | 0.00052683 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5238-4_0_6_load_81 | 82 | 0.0074264 | 0.0018612 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5238-4_0_6_load_71 | 83 | 0.015743 | 0.0039456 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5238-4_0_6_load_83 | 84 | 0.0086542 | 0.0021689 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5238-4_0_6_line_0 |  | 0 | 1 | 0.062795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5238-4_0_6_line_1 |  | 1 | 2 | 0.065032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5238-4_0_6_line_2 |  | 2 | 9 | 0.030455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5238-4_0_6_line_3 |  | 3 | 4 | 0.008011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5238-4_0_6_line_4 |  | 3 | 5 | 0.071237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5238-4_0_6_line_5 |  | 4 | 10 | 0.040718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5238-4_0_6_line_6 |  | 4 | 11 | 0.030985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5238-4_0_6_line_7 |  | 5 | 9 | 0.033028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5238-4_0_6_line_8 |  | 5 | 12 | 0.059101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5238-4_0_6_line_9 |  | 6 | 7 | 0.0198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5238-4_0_6_line_10 |  | 6 | 8 | 0.021286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5238-4_0_6_line_11 |  | 7 | 13 | 0.095262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5238-4_0_6_line_12 |  | 8 | 14 | 0.10289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5238-4_0_6_line_13 |  | 10 | 15 | 0.026256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5238-4_0_6_line_14 |  | 13 | 34 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5238-4_0_6_line_15 |  | 14 | 40 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5238-4_0_6_line_16 |  | 15 | 32 | 0.023462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5238-4_0_6_line_17 |  | 16 | 17 | 0.019748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5238-4_0_6_line_18 |  | 16 | 18 | 0.022847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5238-4_0_6_line_19 |  | 17 | 19 | 0.016592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5238-4_0_6_line_20 |  | 17 | 20 | 0.009682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5238-4_0_6_line_21 |  | 18 | 21 | 0.007074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5238-4_0_6_line_22 |  | 19 | 22 | 0.0029833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5238-4_0_6_line_23 |  | 20 | 23 | 0.017595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5238-4_0_6_line_24 |  | 20 | 24 | 0.024175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5238-4_0_6_line_25 |  | 21 | 25 | 0.0041446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5238-4_0_6_line_26 |  | 23 | 26 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5238-4_0_6_line_27 |  | 24 | 27 | 0.0012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5238-4_0_6_line_28 |  | 26 | 30 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5238-4_0_6_line_29 |  | 26 | 31 | 0.033858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5238-4_0_6_line_30 |  | 27 | 28 | 0.00713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5238-4_0_6_line_31 |  | 28 | 29 | 0.037168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5238-4_0_6_line_32 |  | 30 | 84 | 0.0094456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5238-4_0_6_line_33 |  | 31 | 54 | 0.021463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5238-4_0_6_line_34 |  | 31 | 59 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5238-4_0_6_line_35 |  | 32 | 33 | 0.022802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5238-4_0_6_line_36 |  | 33 | 36 | 0.027603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5238-4_0_6_line_37 |  | 34 | 35 | 0.1482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5238-4_0_6_line_38 |  | 36 | 37 | 0.031837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5238-4_0_6_line_39 |  | 37 | 39 | 0.026914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5238-4_0_6_line_40 |  | 37 | 41 | 0.005404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5238-4_0_6_line_41 |  | 38 | 39 | 0.010513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5238-4_0_6_line_42 |  | 38 | 40 | 0.024679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5238-4_0_6_line_43 |  | 40 | 83 | 0.010144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5238-4_0_6_line_44 |  | 40 | 45 | 0.050453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5238-4_0_6_line_45 |  | 41 | 42 | 0.019291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5238-4_0_6_line_46 |  | 43 | 44 | 0.019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5238-4_0_6_line_47 |  | 43 | 45 | 0.00064845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5238-4_0_6_line_48 |  | 44 | 46 | 0.0038499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5238-4_0_6_line_49 |  | 46 | 64 | 0.018099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5238-4_0_6_line_50 |  | 47 | 48 | 0.027039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5238-4_0_6_line_51 |  | 47 | 49 | 0.02194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5238-4_0_6_line_52 |  | 48 | 50 | 0.020135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5238-4_0_6_line_53 |  | 49 | 51 | 0.013253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5238-4_0_6_line_54 |  | 50 | 52 | 0.025785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5238-4_0_6_line_55 |  | 51 | 53 | 0.012028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5238-4_0_6_line_56 |  | 51 | 54 | 0.0070813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5238-4_0_6_line_57 |  | 52 | 55 | 0.0019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5238-4_0_6_line_58 |  | 53 | 56 | 0.0037542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5238-4_0_6_line_59 |  | 55 | 71 | 0.015399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5238-4_0_6_line_60 |  | 55 | 73 | 0.030959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5238-4_0_6_line_61 |  | 56 | 74 | 0.021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5238-4_0_6_line_62 |  | 57 | 58 | 0.0049814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5238-4_0_6_line_63 |  | 57 | 59 | 0.022037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5238-4_0_6_line_64 |  | 58 | 60 | 0.017371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5238-4_0_6_line_65 |  | 60 | 61 | 0.030338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5238-4_0_6_line_66 |  | 60 | 62 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5238-4_0_6_line_67 |  | 61 | 63 | 0.042605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5238-4_0_6_line_68 |  | 62 | 64 | 0.015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5238-4_0_6_line_69 |  | 63 | 65 | 0.016983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5238-4_0_6_line_70 |  | 65 | 72 | 0.0069065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5238-4_0_6_line_71 |  | 66 | 67 | 0.031778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5238-4_0_6_line_72 |  | 67 | 82 | 0.057594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5238-4_0_6_line_73 |  | 67 | 83 | 0.0095177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5238-4_0_6_line_74 |  | 68 | 69 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5238-4_0_6_line_75 |  | 69 | 70 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5238-4_0_6_line_76 |  | 70 | 71 | 0.00016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5238-4_0_6_line_77 |  | 75 | 76 | 0.046278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5238-4_0_6_line_78 |  | 75 | 77 | 0.0004704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5238-4_0_6_line_79 |  | 76 | 78 | 0.010806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5238-4_0_6_line_80 |  | 77 | 79 | 0.01735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5238-4_0_6_line_81 |  | 78 | 80 | 0.021878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5238-4_0_6_line_82 |  | 78 | 81 | 0.09196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5238-4_0_6_line_83 |  | 80 | 82 | 0.054011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5238-4_0_6_trafo_44 | 0.63 MVA 20/0.4 kV | 85 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2714649.9848 | 1109338.4337 | 2714665.594 | 1109338.0062 | 2714685.4104 | 1109349.7553 | 2714688.0342 | 1109346.7362 | 2714690.8344 | 1109336.4378 | 2714694.2736 | 1109327.6139
1 | 2714707.9752 | 1109367.8385 | 2714682.6021 | 1109355.5839 | 2714673.4664 | 1109350.9637 | 2714663.5194 | 1109345.5053 | 2714649.9848 | 1109338.4337
2 | 2714707.9752 | 1109367.8385 | 2714726.6354 | 1109374.0845 | 2714736.8147 | 1109377.6254
3 | 2714794.0736 | 1109322.1697 | 2714797.2512 | 1109314.8138
4 | 2714794.0736 | 1109322.1697 | 2714768.0095 | 1109388.4767
5 | 2714797.2512 | 1109314.8138 | 2714759.4604 | 1109299.3773
6 | 2714797.2512 | 1109314.8138 | 2714809.5209 | 1109286.3612
7 | 2714768.0095 | 1109388.4767 | 2714736.8147 | 1109377.6254
8 | 2714768.0095 | 1109388.4767 | 2714827.0742 | 1109386.4152
9 | 2714558.3064 | 1109243.7494 | 2714542.9246 | 1109256.2674
10 | 2714558.3064 | 1109243.7494 | 2714566.049 | 1109238.6366 | 2714576.7519 | 1109233.194
11 | 2714542.9246 | 1109256.2674 | 2714523.0406 | 1109231.6977 | 2714505.4724 | 1109224.4946 | 2714495.6593 | 1109227.4781 | 2714482.5655 | 1109259.2996
12 | 2714576.7519 | 1109233.194 | 2714591.9576 | 1109225.4615 | 2714645.5067 | 1109210.9746 | 2714661.9892 | 1109204.8598 | 2714673.0924 | 1109198.5458
13 | 2714759.4604 | 1109299.3773 | 2714769.0116 | 1109274.9204
14 | 2714474.0002 | 1109280.1158 | 2714482.5655 | 1109259.2996
15 | 2714690.1084 | 1109188.8694 | 2714673.0924 | 1109198.5458
16 | 2714777.5464 | 1109253.0662 | 2714769.0116 | 1109274.9204
17 | 2714885.9009 | 1109114.5907 | 2714893.4466 | 1109117.4466 | 2714891.2398 | 1109121.7077 | 2714893.2898 | 1109122.4581 | 2714897.5427 | 1109124.4546
18 | 2714918.2255 | 1109134.1605 | 2714902.3476 | 1109126.7103 | 2714897.5427 | 1109124.4546
19 | 2714885.9009 | 1109114.5907 | 2714893.2723 | 1109099.7203
20 | 2714881.8991 | 1109123.4097 | 2714885.9009 | 1109114.5907
21 | 2714918.2255 | 1109134.1605 | 2714914.8657 | 1109140.3856
22 | 2714893.2723 | 1109099.7203 | 2714894.5631 | 1109097.0307
23 | 2714881.8991 | 1109123.4097 | 2714865.9026 | 1109116.0827
24 | 2714881.8991 | 1109123.4097 | 2714871.3806 | 1109145.1765
25 | 2714912.8971 | 1109144.0328 | 2714914.8657 | 1109140.3856
26 | 2714854.0453 | 1109110.6515 | 2714865.9026 | 1109116.0827
27 | 2714870.8551 | 1109146.264 | 2714871.3806 | 1109145.1765
28 | 2714854.0453 | 1109110.6515 | 2714858.3579 | 1109100.9378
29 | 2714833.9313 | 1109083.5637 | 2714838.9368 | 1109092.7757 | 2714854.0453 | 1109110.6515
30 | 2714867.7529 | 1109152.6838 | 2714870.8551 | 1109146.264
31 | 2714867.7529 | 1109152.6838 | 2714861.3556 | 1109165.9271 | 2714858.7829 | 1109171.5488 | 2714852.0118 | 1109186.3522
32 | 2714858.3579 | 1109100.9378 | 2714862.1911 | 1109092.305
33 | 2714833.9313 | 1109083.5637 | 2714831.3853 | 1109079.6128 | 2714828.4031 | 1109075.4203 | 2714824.0957 | 1109070.1685 | 2714820.7639 | 1109066.6772
34 | 2714833.9313 | 1109083.5637 | 2714832.5367 | 1109084.538 | 2714831.0725 | 1109085.9223 | 2714829.2029 | 1109087.8882 | 2714823.4764 | 1109095.6283
35 | 2714777.5464 | 1109253.0662 | 2714772.997 | 1109243.4514 | 2714772.918 | 1109231.2862
36 | 2714752.9204 | 1109213.5738 | 2714757.9424 | 1109216.6041 | 2714765.399 | 1109220.4922 | 2714769.196 | 1109224.1109 | 2714772.918 | 1109231.2862
37 | 2714474.0002 | 1109280.1158 | 2714333.652 | 1109232.5058
38 | 2714752.9204 | 1109213.5738 | 2714725.5587 | 1109229.9784
39 | 2714725.5587 | 1109229.9784 | 2714721.7366 | 1109227.6824 | 2714710.7934 | 1109208.0741
40 | 2714725.5587 | 1109229.9784 | 2714728.2532 | 1109234.6659
41 | 2714702.2727 | 1109210.3583 | 2714709.8397 | 1109206.3653 | 2714710.7934 | 1109208.0741
42 | 2714690.1084 | 1109188.8694 | 2714702.2727 | 1109210.3583
43 | 2714690.1084 | 1109188.8694 | 2714685.024 | 1109180.0918
44 | 2714690.1084 | 1109188.8694 | 2714733.4196 | 1109162.9916
45 | 2714728.2532 | 1109234.6659 | 2714737.8634 | 1109251.3922
46 | 2714733.9763 | 1109162.6591 | 2714750.5991 | 1109152.726
47 | 2714733.4196 | 1109162.9916 | 2714733.9763 | 1109162.6591
48 | 2714753.9039 | 1109150.7512 | 2714750.5991 | 1109152.726
49 | 2714753.9039 | 1109150.7512 | 2714769.4407 | 1109141.4671
50 | 2714770.8272 | 1109019.1307 | 2714778.6968 | 1109024.0452 | 2714786.4386 | 1109030.029 | 2714792.1802 | 1109035.5651
51 | 2714806.865 | 1109051.857 | 2714793.9783 | 1109037.2987 | 2714792.1802 | 1109035.5651
52 | 2714770.8272 | 1109019.1307 | 2714769.9937 | 1109018.6102 | 2714753.1626 | 1109009.4713
53 | 2714815.6495 | 1109061.7808 | 2714806.865 | 1109051.857
54 | 2714730.5023 | 1108997.1672 | 2714753.1626 | 1109009.4713
55 | 2714815.6495 | 1109061.7808 | 2714806.1747 | 1109069.1907
56 | 2714815.6495 | 1109061.7808 | 2714820.1839 | 1109066.0695 | 2714820.7639 | 1109066.6772
57 | 2714728.7912 | 1108996.2381 | 2714730.5023 | 1108997.1672
58 | 2714803.2174 | 1109071.5035 | 2714806.1747 | 1109069.1907
59 | 2714728.7912 | 1108996.2381 | 2714716.1796 | 1108987.4019
60 | 2714728.7912 | 1108996.2381 | 2714724.7074 | 1109002.4539 | 2714710.7293 | 1109015.9209 | 2714708.1131 | 1109019.0924
61 | 2714786.5507 | 1109084.5379 | 2714803.2174 | 1109071.5035
62 | 2714809.9698 | 1109113.0183 | 2714807.8462 | 1109115.3914 | 2714806.5336 | 1109116.6185
63 | 2714809.9698 | 1109113.0183 | 2714813.6674 | 1109108.8861 | 2714823.4764 | 1109095.6283
64 | 2714792.9523 | 1109127.4177 | 2714803.1947 | 1109119.7396 | 2714806.5336 | 1109116.6185
65 | 2714772.0153 | 1109105.4068 | 2714792.9523 | 1109127.4177
66 | 2714792.9523 | 1109127.4177 | 2714782.685 | 1109133.553
67 | 2714772.0153 | 1109105.4068 | 2714742.9871 | 1109074.2216
68 | 2714782.685 | 1109133.553 | 2714769.4407 | 1109141.4671
69 | 2714731.4158 | 1109061.7904 | 2714742.9871 | 1109074.2216
70 | 2714731.4158 | 1109061.7904 | 2714726.7101 | 1109056.7351
71 | 2714680.2091 | 1109171.882 | 2714707.182 | 1109155.0796
72 | 2714680.2091 | 1109171.882 | 2714675.4295 | 1109163.7973 | 2714667.8853 | 1109151.0462 | 2714647.4065 | 1109124.6787
73 | 2714680.2091 | 1109171.882 | 2714683.258 | 1109177.0431 | 2714685.024 | 1109180.0918
74 | 2714692.0596 | 1108970.5026 | 2714700.9717 | 1108976.7468
75 | 2714700.9717 | 1108976.7468 | 2714716.0431 | 1108987.3064
76 | 2714716.1796 | 1108987.4019 | 2714716.0431 | 1108987.3064
77 | 2714640.1263 | 1109033.244 | 2714627.6713 | 1109044.9372 | 2714604.22 | 1109062.3245
78 | 2714640.4693 | 1109032.922 | 2714640.1263 | 1109033.244
79 | 2714595.9306 | 1109069.2539 | 2714603.5281 | 1109062.8376 | 2714604.22 | 1109062.3245
80 | 2714653.1185 | 1109021.0465 | 2714640.4693 | 1109032.922
81 | 2714595.9306 | 1109069.2539 | 2714612.0166 | 1109084.0829
82 | 2714595.9306 | 1109069.2539 | 2714508.427 | 1109040.9746
83 | 2714647.4065 | 1109124.6787 | 2714647.0091 | 1109124.1669 | 2714624.9659 | 1109096.0204 | 2714612.0166 | 1109084.0829

## bus_geodata
| x | y | coords
0 | 2714694.2736 | 1109327.6139
1 | 2714649.9848 | 1109338.4337
2 | 2714707.9752 | 1109367.8385
3 | 2714794.0736 | 1109322.1697
4 | 2714797.2512 | 1109314.8138
5 | 2714768.0095 | 1109388.4767
6 | 2714558.3064 | 1109243.7494
7 | 2714542.9246 | 1109256.2674
8 | 2714576.7519 | 1109233.194
9 | 2714736.8147 | 1109377.6254
10 | 2714759.4604 | 1109299.3773
11 | 2714809.5209 | 1109286.3612
12 | 2714827.0742 | 1109386.4152
13 | 2714482.5655 | 1109259.2996
14 | 2714673.0924 | 1109198.5458
15 | 2714769.0116 | 1109274.9204
16 | 2714897.5427 | 1109124.4546
17 | 2714885.9009 | 1109114.5907
18 | 2714918.2255 | 1109134.1605
19 | 2714893.2723 | 1109099.7203
20 | 2714881.8991 | 1109123.4097
21 | 2714914.8657 | 1109140.3856
22 | 2714894.5631 | 1109097.0307
23 | 2714865.9026 | 1109116.0827
24 | 2714871.3806 | 1109145.1765
25 | 2714912.8971 | 1109144.0328
26 | 2714854.0453 | 1109110.6515
27 | 2714870.8551 | 1109146.264
28 | 2714867.7529 | 1109152.6838
29 | 2714852.0118 | 1109186.3522
30 | 2714858.3579 | 1109100.9378
31 | 2714833.9313 | 1109083.5637
32 | 2714777.5464 | 1109253.0662
33 | 2714772.918 | 1109231.2862
34 | 2714474.0002 | 1109280.1158
35 | 2714333.652 | 1109232.5058
36 | 2714752.9204 | 1109213.5738
37 | 2714725.5587 | 1109229.9784
38 | 2714702.2727 | 1109210.3583
39 | 2714710.7934 | 1109208.0741
40 | 2714690.1084 | 1109188.8694
41 | 2714728.2532 | 1109234.6659
42 | 2714737.8634 | 1109251.3922
43 | 2714733.9763 | 1109162.6591
44 | 2714750.5991 | 1109152.726
45 | 2714733.4196 | 1109162.9917
46 | 2714753.9039 | 1109150.7512
47 | 2714792.1802 | 1109035.5651
48 | 2714770.8272 | 1109019.1307
49 | 2714806.865 | 1109051.857
50 | 2714753.1626 | 1109009.4713
51 | 2714815.6495 | 1109061.7808
52 | 2714730.5023 | 1108997.1672
53 | 2714806.1747 | 1109069.1907
54 | 2714820.7639 | 1109066.6772
55 | 2714728.7912 | 1108996.2381
56 | 2714803.2174 | 1109071.5035
57 | 2714809.9698 | 1109113.0183
58 | 2714806.5336 | 1109116.6185
59 | 2714823.4764 | 1109095.6283
60 | 2714792.9523 | 1109127.4177
61 | 2714772.0153 | 1109105.4068
62 | 2714782.685 | 1109133.553
63 | 2714742.9871 | 1109074.2216
64 | 2714769.4407 | 1109141.4671
65 | 2714731.4158 | 1109061.7904
66 | 2714707.182 | 1109155.0796
67 | 2714680.2091 | 1109171.882
68 | 2714692.0596 | 1108970.5026
69 | 2714700.9717 | 1108976.7468
70 | 2714716.0431 | 1108987.3064
71 | 2714716.1796 | 1108987.4019
72 | 2714726.7101 | 1109056.7351
73 | 2714708.1131 | 1109019.0924
74 | 2714786.5507 | 1109084.5379
75 | 2714640.1263 | 1109033.244
76 | 2714604.22 | 1109062.3245
77 | 2714640.4693 | 1109032.922
78 | 2714595.9306 | 1109069.2539
79 | 2714653.1185 | 1109021.0465
80 | 2714612.0166 | 1109084.0829
81 | 2714508.427 | 1109040.9746
82 | 2714647.4065 | 1109124.6787
83 | 2714685.024 | 1109180.0918
84 | 2714862.1911 | 1109092.305
85 | 2714792.9523 | 1109127.4177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1