## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5238-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5238-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5238-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5238-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5238-6_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5238-6_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5238-6_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5238-6_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5238-6_0_6_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5238-6_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5238-6_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5238-6_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5238-6_0_6_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5238-6_0_6_node_147 | 0.4 | n |  | TRUE
14 | bus_LV_5238-6_0_6_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_5238-6_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5238-6_0_6_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_5238-6_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5238-6_0_6_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_5238-6_0_6_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5238-6_0_6_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_5238-6_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5238-6_0_6_node_143 | 0.4 | n |  | TRUE
23 | bus_LV_5238-6_0_6_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_5238-6_0_6_node_139 | 0.4 | n |  | TRUE
25 | bus_LV_5238-6_0_6_node_145 | 0.4 | n |  | TRUE
26 | bus_LV_5238-6_0_6_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_5238-6_0_6_node_142 | 0.4 | n |  | TRUE
28 | bus_LV_5238-6_0_6_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5238-6_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5238-6_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5238-6_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5238-6_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5238-6_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5238-6_0_6_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_5238-6_0_6_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_5238-6_0_6_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_5238-6_0_6_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_5238-6_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_5238-6_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5238-6_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5238-6_0_6_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_5238-6_0_6_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_5238-6_0_6_node_141 | 0.4 | n |  | TRUE
44 | bus_LV_5238-6_0_6_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_5238-6_0_6_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_5238-6_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5238-6_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5238-6_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5238-6_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5238-6_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_5238-6_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5238-6_0_6_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_5238-6_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_5238-6_0_6_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5238-6_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5238-6_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5238-6_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5238-6_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5238-6_0_6_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_5238-6_0_6_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_5238-6_0_6_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_5238-6_0_6_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_5238-6_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5238-6_0_6_node_134 | 0.4 | n |  | TRUE
65 | bus_LV_5238-6_0_6_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_5238-6_0_6_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_5238-6_0_6_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_5238-6_0_6_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_5238-6_0_6_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_5238-6_0_6_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_5238-6_0_6_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_5238-6_0_6_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_5238-6_0_6_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5238-6_0_6_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_5238-6_0_6_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_5238-6_0_6_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_5238-6_0_6_node_140 | 0.4 | n |  | TRUE
78 | bus_LV_5238-6_0_6_node_158 | 0.4 | n |  | TRUE
79 | bus_LV_5238-6_0_6_node_151 | 0.4 | n |  | TRUE
80 | bus_LV_5238-6_0_6_node_159 | 0.4 | n |  | TRUE
81 | bus_LV_5238-6_0_6_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_5238-6_0_6_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_5238-6_0_6_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_5238-6_0_6_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_5238-6_0_6_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_5238-6_0_6_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_5238-6_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_5238-6_0_6_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_5238-6_0_6_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_5238-6_0_6_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_5238-6_0_6_node_153 | 0.4 | n |  | TRUE
92 | bus_LV_5238-6_0_6_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_5238-6_0_6_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_5238-6_0_6_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_5238-6_0_6_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_5238-6_0_6_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_5238-6_0_6_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_5238-6_0_6_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_5238-6_0_6_node_154 | 0.4 | n |  | TRUE
100 | bus_LV_5238-6_0_6_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_5238-6_0_6_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_5238-6_0_6_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_5238-6_0_6_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_5238-6_0_6_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_5238-6_0_6_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_5238-6_0_6_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_5238-6_0_6_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_5238-6_0_6_node_96 | 0.4 | n |  | TRUE
109 | bus_LV_5238-6_0_6_node_97 | 0.4 | n |  | TRUE
110 | bus_LV_5238-6_0_6_node_108 | 0.4 | n |  | TRUE
111 | bus_LV_5238-6_0_6_node_111 | 0.4 | n |  | TRUE
112 | bus_LV_5238-6_0_6_node_107 | 0.4 | n |  | TRUE
113 | bus_LV_5238-6_0_6_node_113 | 0.4 | n |  | TRUE
114 | bus_LV_5238-6_0_6_node_109 | 0.4 | n |  | TRUE
115 | bus_LV_5238-6_0_6_node_99 | 0.4 | n |  | TRUE
116 | bus_LV_5238-6_0_6_node_101 | 0.4 | n |  | TRUE
117 | bus_LV_5238-6_0_6_node_125 | 0.4 | n |  | TRUE
118 | bus_LV_5238-6_0_6_node_103 | 0.4 | n |  | TRUE
119 | bus_LV_5238-6_0_6_node_129 | 0.4 | n |  | TRUE
120 | bus_LV_5238-6_0_6_node_126 | 0.4 | n |  | TRUE
121 | bus_LV_5238-6_0_6_node_104 | 0.4 | n |  | TRUE
122 | bus_LV_5238-6_0_6_node_105 | 0.4 | n |  | TRUE
123 | bus_LV_5238-6_0_6_node_106 | 0.4 | n |  | TRUE
124 | bus_LV_5238-6_0_6_node_132 | 0.4 | n |  | TRUE
125 | bus_LV_5238-6_0_6_node_135 | 0.4 | n |  | TRUE
126 | bus_LV_5238-6_0_6_node_133 | 0.4 | n |  | TRUE
127 | bus_LV_5238-6_0_6_node_136 | 0.4 | n |  | TRUE
128 | bus_LV_5238-6_0_6_node_110 | 0.4 | n |  | TRUE
129 | bus_LV_5238-6_0_6_node_112 | 0.4 | n |  | TRUE
130 | bus_LV_5238-6_0_6_node_130 | 0.4 | n |  | TRUE
131 | bus_LV_5238-6_0_6_node_124 | 0.4 | n |  | TRUE
132 | bus_LV_5238-6_0_6_node_131 | 0.4 | n |  | TRUE
133 | bus_LV_5238-6_0_6_node_123 | 0.4 | n |  | TRUE
134 | bus_LV_5238-6_0_6_node_115 | 0.4 | n |  | TRUE
135 | bus_LV_5238-6_0_6_node_122 | 0.4 | n |  | TRUE
136 | bus_LV_5238-6_0_6_node_157 | 0.4 | n |  | TRUE
137 | bus_LV_5238-6_0_6_node_119 | 0.4 | n |  | TRUE
138 | bus_LV_5238-6_0_6_node_152 | 0.4 | n |  | TRUE
139 | bus_LV_5238-6_0_6_node_155 | 0.4 | n |  | TRUE
140 | bus_LV_5238-6_0_6_node_117 | 0.4 | n |  | TRUE
141 | bus_LV_5238-6_0_6_node_118 | 0.4 | n |  | TRUE
142 | bus_LV_5238-6_0_6_node_120 | 0.4 | n |  | TRUE
143 | bus_LV_5238-6_0_6_node_121 | 0.4 | n |  | TRUE
144 | bus_LV_5238-6_0_6_node_128 | 0.4 | n |  | TRUE
145 | bus_LV_5238-6_0_6_node_161 | 0.4 | n |  | TRUE
146 | bus_LV_5238-6_0_6_node_163 | 0.4 | n |  | TRUE
147 | bus_LV_5238-6_0_6_node_127 | 0.4 | n |  | TRUE
148 | bus_LV_5238-6_0_6_node_162 | 0.4 | n |  | TRUE
149 | bus_LV_5238-6_0_6_node_164 | 0.4 | n |  | TRUE
150 | bus_LV_5238-6_0_6_node_137 | 0.4 | n |  | TRUE
151 | bus_LV_5238-6_0_6_node_138 | 0.4 | n |  | TRUE
152 | bus_LV_5238-6_0_6_node_156 | 0.4 | n |  | TRUE
153 | bus_LV_5238-6_0_6_node_149 | 0.4 | n |  | TRUE
154 | bus_LV_5238-6_0_6_node_150 | 0.4 | n |  | TRUE
155 | bus_LV_5238-6_0_6_node_146 | 0.4 | n |  | TRUE
156 | bus_MV_72_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5238-6_0_6_load_0 | 0 | 0.0072048 | 0.0018057 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5238-6_0_6_load_1 | 1 | 0.002461 | 0.00061679 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5238-6_0_6_load_6 | 5 | 0.0021684 | 0.00054346 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5238-6_0_6_load_7 | 6 | 0.0015171 | 0.00038023 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5238-6_0_6_load_8 | 7 | 0.0019388 | 0.00048591 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5238-6_0_6_load_9 | 9 | 0.0027857 | 0.00069817 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5238-6_0_6_load_15 | 11 | 0.014905 | 0.0037354 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5238-6_0_6_load_13 | 12 | 0.005158 | 0.0012927 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5238-6_0_6_load_147 | 13 | 0.0071917 | 0.0018024 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5238-6_0_6_load_24 | 14 | 0.0084691 | 0.0021226 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5238-6_0_6_load_28 | 16 | 0.002187 | 0.0005481 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5238-6_0_6_load_29 | 19 | 0.0056015 | 0.0014039 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5238-6_0_6_load_30 | 20 | 0.0036804 | 0.00092239 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5238-6_0_6_load_143 | 22 | 0.0029563 | 0.00074091 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5238-6_0_6_load_82 | 23 | 0.0024286 | 0.00060868 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5238-6_0_6_load_145 | 25 | 0.0037789 | 0.00094708 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5238-6_0_6_load_75 | 26 | 0.0050738 | 0.0012716 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5238-6_0_6_load_142 | 27 | 0.0020704 | 0.00051888 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5238-6_0_6_load_19 | 29 | 0.0055756 | 0.0013974 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5238-6_0_6_load_20 | 30 | 0.0031533 | 0.00079028 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5238-6_0_6_load_21 | 31 | 0.0036859 | 0.00092378 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5238-6_0_6_load_22 | 32 | 0.0064674 | 0.0016209 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5238-6_0_6_load_23 | 33 | 0.0045812 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5238-6_0_6_load_60 | 34 | 0.0040469 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5238-6_0_6_load_37 | 36 | 0.0030266 | 0.00075855 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5238-6_0_6_load_47 | 37 | 0.010898 | 0.0027313 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5238-6_0_6_load_53 | 38 | 0.0022692 | 0.0005687 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5238-6_0_6_load_57 | 41 | 0.0029707 | 0.00074452 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5238-6_0_6_load_67 | 42 | 0.0011092 | 0.00027798 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5238-6_0_6_load_141 | 43 | 0.0099871 | 0.002503 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5238-6_0_6_load_58 | 44 | 0.0034272 | 0.00085893 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5238-6_0_6_load_65 | 45 | 0.0026755 | 0.00067055 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5238-6_0_6_load_32 | 46 | 0.0028552 | 0.00071557 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5238-6_0_6_load_33 | 47 | 0.0011753 | 0.00029456 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5238-6_0_6_load_35 | 49 | 0.0011083 | 0.00027776 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5238-6_0_6_load_49 | 51 | 0.0013798 | 0.00034581 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5238-6_0_6_load_77 | 52 | 0.0023456 | 0.00058786 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5238-6_0_6_load_41 | 54 | 0.0025766 | 0.00064575 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5238-6_0_6_load_38 | 55 | 0.0016329 | 0.00040925 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5238-6_0_6_load_39 | 56 | 0.0017748 | 0.0004448 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5238-6_0_6_load_40 | 57 | 0.0057853 | 0.0014499 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5238-6_0_6_load_78 | 60 | 0.0020312 | 0.00050907 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5238-6_0_6_load_69 | 63 | 0.0020043 | 0.00050232 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5238-6_0_6_load_134 | 64 | 0.00098503 | 0.00024687 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5238-6_0_6_load_79 | 65 | 0.0025994 | 0.00065147 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5238-6_0_6_load_43 | 66 | 0.002427 | 0.00060826 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5238-6_0_6_load_44 | 67 | 0.0028828 | 0.00072251 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5238-6_0_6_load_46 | 68 | 0.0023779 | 0.00059595 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5238-6_0_6_load_48 | 70 | 0.0031107 | 0.00077961 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5238-6_0_6_load_62 | 71 | 0.0028817 | 0.00072223 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5238-6_0_6_load_83 | 72 | 0.006412 | 0.001607 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5238-6_0_6_load_61 | 73 | 0.002881 | 0.00072204 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5238-6_0_6_load_51 | 74 | 0.0013798 | 0.00034581 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5238-6_0_6_load_52 | 75 | 0.0015001 | 0.00037597 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5238-6_0_6_load_63 | 76 | 0.0040945 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5238-6_0_6_load_158 | 78 | 0.001807 | 0.00045288 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5238-6_0_6_load_159 | 80 | 0.0034507 | 0.00086482 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5238-6_0_6_load_54 | 81 | 0.0022692 | 0.0005687 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5238-6_0_6_load_56 | 82 | 0.0034146 | 0.00085577 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5238-6_0_6_load_70 | 83 | 0.002047 | 0.00051302 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5238-6_0_6_load_87 | 84 | 0.0031938 | 0.00080044 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5238-6_0_6_load_59 | 85 | 0.0012975 | 0.0003252 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5238-6_0_6_load_85 | 86 | 0.0018191 | 0.0004559 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5238-6_0_6_load_86 | 87 | 0.0010721 | 0.00026869 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5238-6_0_6_load_64 | 88 | 0.0011908 | 0.00029844 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5238-6_0_6_load_68 | 90 | 0.00070344 | 0.0001763 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5238-6_0_6_load_153 | 91 | 0.0024604 | 0.00061664 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5238-6_0_6_load_71 | 92 | 0.0022646 | 0.00056756 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5238-6_0_6_load_72 | 93 | 0.002917 | 0.00073107 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5238-6_0_6_load_73 | 94 | 0.00261 | 0.00065412 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5238-6_0_6_load_74 | 95 | 0.0022663 | 0.00056799 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5238-6_0_6_load_76 | 96 | 0.0025558 | 0.00064054 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5238-6_0_6_load_102 | 97 | 0.0017922 | 0.00044917 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5238-6_0_6_load_98 | 98 | 0.0016891 | 0.00042332 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5238-6_0_6_load_154 | 99 | 0.0045383 | 0.0011374 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5238-6_0_6_load_88 | 100 | 0.00075501 | 0.00018922 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5238-6_0_6_load_89 | 101 | 0.0012042 | 0.0003018 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5238-6_0_6_load_90 | 102 | 0.00073649 | 0.00018458 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5238-6_0_6_load_91 | 103 | 0.0011791 | 0.00029551 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5238-6_0_6_load_92 | 105 | 0.0027345 | 0.00068532 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5238-6_0_6_load_95 | 107 | 0.0030441 | 0.00076291 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5238-6_0_6_load_96 | 108 | 0.0017855 | 0.00044749 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5238-6_0_6_load_97 | 109 | 0.00082982 | 0.00020797 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5238-6_0_6_load_108 | 110 | 0.00097776 | 0.00024505 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5238-6_0_6_load_107 | 112 | 0.0015251 | 0.00038223 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5238-6_0_6_load_109 | 114 | 0.0013927 | 0.00034905 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5238-6_0_6_load_99 | 115 | 0.002045 | 0.00051253 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5238-6_0_6_load_101 | 116 | 0.00088345 | 0.00022141 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5238-6_0_6_load_103 | 118 | 0.0018094 | 0.00045347 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5238-6_0_6_load_129 | 119 | 0.0009244 | 0.00023168 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5238-6_0_6_load_126 | 120 | 0.00080264 | 0.00020116 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5238-6_0_6_load_105 | 122 | 0.0046367 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5238-6_0_6_load_106 | 123 | 0.0015357 | 0.00038488 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5238-6_0_6_load_132 | 124 | 0.003201 | 0.00080224 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5238-6_0_6_load_135 | 125 | 0.0025926 | 0.00064977 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5238-6_0_6_load_133 | 126 | 0.0029086 | 0.00072896 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5238-6_0_6_load_110 | 128 | 0.00059449 | 0.00014899 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5238-6_0_6_load_112 | 129 | 0.0010457 | 0.00026209 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5238-6_0_6_load_130 | 130 | 0.00096308 | 0.00024137 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5238-6_0_6_load_124 | 131 | 0.0018326 | 0.00045929 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5238-6_0_6_load_131 | 132 | 0.002488 | 0.00062356 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5238-6_0_6_load_123 | 133 | 0.0012258 | 0.00030723 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5238-6_0_6_load_115 | 134 | 0.0025158 | 0.00063053 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5238-6_0_6_load_157 | 136 | 0.0053486 | 0.0013405 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5238-6_0_6_load_155 | 139 | 0.0020904 | 0.0005239 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5238-6_0_6_load_117 | 140 | 0.0024739 | 0.00062001 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5238-6_0_6_load_118 | 141 | 0.0022064 | 0.00055299 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5238-6_0_6_load_120 | 142 | 0.0016295 | 0.00040838 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5238-6_0_6_load_121 | 143 | 0.0037086 | 0.00092947 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5238-6_0_6_load_161 | 145 | 0.0012303 | 0.00030833 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5238-6_0_6_load_163 | 146 | 0.0023984 | 0.00060109 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5238-6_0_6_load_127 | 147 | 0.0012099 | 0.00030322 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5238-6_0_6_load_162 | 148 | 0.0016493 | 0.00041336 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5238-6_0_6_load_164 | 149 | 0.0039735 | 0.00099586 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5238-6_0_6_load_137 | 150 | 0.0030819 | 0.00077239 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5238-6_0_6_load_138 | 151 | 0.0017196 | 0.00043098 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5238-6_0_6_load_156 | 152 | 0.0012061 | 0.00030228 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5238-6_0_6_load_149 | 153 | 0.0025924 | 0.00064972 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_5238-6_0_6_load_150 | 154 | 0.0010915 | 0.00027355 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_5238-6_0_6_load_146 | 155 | 0.0054451 | 0.0013647 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5238-6_0_6_line_0 |  | 0 | 1 | 0.028661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5238-6_0_6_line_1 |  | 0 | 2 | 0.012658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5238-6_0_6_line_2 |  | 1 | 3 | 0.0090707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5238-6_0_6_line_3 |  | 2 | 4 | 0.025287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5238-6_0_6_line_4 |  | 2 | 5 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5238-6_0_6_line_5 |  | 3 | 6 | 0.010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5238-6_0_6_line_6 |  | 3 | 7 | 0.019056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5238-6_0_6_line_7 |  | 4 | 8 | 0.039634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5238-6_0_6_line_8 |  | 4 | 9 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5238-6_0_6_line_9 |  | 5 | 13 | 0.0018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5238-6_0_6_line_10 |  | 7 | 10 | 0.0099104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5238-6_0_6_line_11 |  | 8 | 14 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5238-6_0_6_line_12 |  | 10 | 11 | 0.029567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5238-6_0_6_line_13 |  | 10 | 12 | 0.023349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5238-6_0_6_line_14 |  | 12 | 15 | 0.0075188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5238-6_0_6_line_15 |  | 14 | 18 | 0.0096543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5238-6_0_6_line_16 |  | 15 | 21 | 0.026645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5238-6_0_6_line_17 |  | 16 | 17 | 0.0083308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5238-6_0_6_line_18 |  | 17 | 24 | 0.016687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5238-6_0_6_line_19 |  | 18 | 39 | 0.005604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5238-6_0_6_line_20 |  | 18 | 28 | 0.028557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5238-6_0_6_line_21 |  | 19 | 20 | 0.0084479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5238-6_0_6_line_22 |  | 20 | 40 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5238-6_0_6_line_23 |  | 21 | 22 | 0.018348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5238-6_0_6_line_24 |  | 21 | 23 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5238-6_0_6_line_25 |  | 22 | 25 | 0.015165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5238-6_0_6_line_26 |  | 23 | 26 | 0.015255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5238-6_0_6_line_27 |  | 24 | 27 | 0.030229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5238-6_0_6_line_28 |  | 24 | 28 | 0.022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5238-6_0_6_line_29 |  | 25 | 155 | 0.003185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5238-6_0_6_line_30 |  | 26 | 94 | 0.0056755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5238-6_0_6_line_31 |  | 28 | 42 | 0.031546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5238-6_0_6_line_32 |  | 29 | 30 | 0.0072543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5238-6_0_6_line_33 |  | 29 | 31 | 0.018848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5238-6_0_6_line_34 |  | 30 | 32 | 0.013712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5238-6_0_6_line_35 |  | 31 | 33 | 0.012865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_5238-6_0_6_line_36 |  | 32 | 34 | 0.0031912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5238-6_0_6_line_37 |  | 33 | 35 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5238-6_0_6_line_38 |  | 34 | 36 | 0.022347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5238-6_0_6_line_39 |  | 35 | 37 | 0.010171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5238-6_0_6_line_40 |  | 35 | 38 | 0.026491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5238-6_0_6_line_41 |  | 36 | 48 | 0.02731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5238-6_0_6_line_42 |  | 37 | 69 | 0.051615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5238-6_0_6_line_43 |  | 38 | 81 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5238-6_0_6_line_44 |  | 39 | 40 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5238-6_0_6_line_45 |  | 39 | 41 | 0.032879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5238-6_0_6_line_46 |  | 40 | 43 | 0.016947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5238-6_0_6_line_47 |  | 41 | 44 | 0.0084134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5238-6_0_6_line_48 |  | 42 | 45 | 0.02753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_5238-6_0_6_line_49 |  | 44 | 85 | 0.010234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5238-6_0_6_line_50 |  | 45 | 88 | 0.0092692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5238-6_0_6_line_51 |  | 46 | 47 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5238-6_0_6_line_52 |  | 46 | 48 | 0.03138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5238-6_0_6_line_53 |  | 47 | 49 | 0.0028445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5238-6_0_6_line_54 |  | 48 | 50 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5238-6_0_6_line_55 |  | 49 | 51 | 0.023097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5238-6_0_6_line_56 |  | 50 | 52 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5238-6_0_6_line_57 |  | 51 | 53 | 0.019984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5238-6_0_6_line_58 |  | 52 | 54 | 0.0042407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5238-6_0_6_line_59 |  | 53 | 74 | 0.027673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5238-6_0_6_line_60 |  | 53 | 75 | 0.036345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5238-6_0_6_line_61 |  | 54 | 56 | 0.0042155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5238-6_0_6_line_62 |  | 55 | 56 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5238-6_0_6_line_63 |  | 55 | 57 | 0.031422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_5238-6_0_6_line_64 |  | 57 | 58 | 0.030482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_5238-6_0_6_line_65 |  | 58 | 59 | 0.041811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_5238-6_0_6_line_66 |  | 58 | 60 | 0.018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5238-6_0_6_line_67 |  | 59 | 64 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_5238-6_0_6_line_68 |  | 60 | 65 | 0.015229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5238-6_0_6_line_69 |  | 61 | 62 | 0.034061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5238-6_0_6_line_70 |  | 61 | 63 | 0.033326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_5238-6_0_6_line_71 |  | 62 | 97 | 0.050962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_5238-6_0_6_line_72 |  | 62 | 98 | 0.039053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5238-6_0_6_line_73 |  | 63 | 89 | 0.043015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_5238-6_0_6_line_74 |  | 64 | 90 | 0.0096715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5238-6_0_6_line_75 |  | 66 | 67 | 0.0087066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5238-6_0_6_line_76 |  | 67 | 68 | 0.0098493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5238-6_0_6_line_77 |  | 68 | 71 | 0.014504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5238-6_0_6_line_78 |  | 69 | 70 | 0.01854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5238-6_0_6_line_79 |  | 70 | 72 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5238-6_0_6_line_80 |  | 71 | 73 | 0.014771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5238-6_0_6_line_81 |  | 73 | 76 | 0.0047932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5238-6_0_6_line_82 |  | 74 | 76 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5238-6_0_6_line_83 |  | 75 | 77 | 0.091489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5238-6_0_6_line_84 |  | 75 | 78 | 0.10011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5238-6_0_6_line_85 |  | 77 | 79 | 0.10736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5238-6_0_6_line_86 |  | 78 | 80 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5238-6_0_6_line_87 |  | 79 | 154 | 0.049268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5238-6_0_6_line_88 |  | 81 | 82 | 0.014138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_5238-6_0_6_line_89 |  | 82 | 83 | 0.0020892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_5238-6_0_6_line_90 |  | 83 | 84 | 0.021111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_5238-6_0_6_line_91 |  | 84 | 91 | 0.019065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5238-6_0_6_line_92 |  | 85 | 86 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5238-6_0_6_line_93 |  | 86 | 87 | 0.029559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5238-6_0_6_line_94 |  | 88 | 89 | 0.019168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_5238-6_0_6_line_95 |  | 89 | 90 | 0.018678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_5238-6_0_6_line_96 |  | 91 | 99 | 0.0073094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5238-6_0_6_line_97 |  | 92 | 93 | 0.0029147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5238-6_0_6_line_98 |  | 92 | 94 | 0.012831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5238-6_0_6_line_99 |  | 93 | 95 | 0.01256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5238-6_0_6_line_100 |  | 95 | 96 | 0.0046183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5238-6_0_6_line_101 |  | 97 | 118 | 0.023216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
102 | LV_5238-6_0_6_line_102 |  | 100 | 101 | 0.020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5238-6_0_6_line_103 |  | 100 | 102 | 0.0060421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5238-6_0_6_line_104 |  | 102 | 103 | 0.036223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5238-6_0_6_line_105 |  | 103 | 104 | 0.027112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5238-6_0_6_line_106 |  | 104 | 105 | 0.022191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5238-6_0_6_line_107 |  | 105 | 106 | 0.024725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5238-6_0_6_line_108 |  | 106 | 107 | 0.021923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5238-6_0_6_line_109 |  | 106 | 108 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5238-6_0_6_line_110 |  | 106 | 109 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5238-6_0_6_line_111 |  | 108 | 110 | 0.001238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5238-6_0_6_line_112 |  | 109 | 111 | 0.0054068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5238-6_0_6_line_113 |  | 110 | 112 | 0.01167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5238-6_0_6_line_114 |  | 111 | 113 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5238-6_0_6_line_115 |  | 111 | 114 | 0.008775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5238-6_0_6_line_116 |  | 113 | 119 | 0.0060837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5238-6_0_6_line_117 |  | 113 | 131 | 0.011872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5238-6_0_6_line_118 |  | 114 | 128 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5238-6_0_6_line_119 |  | 115 | 116 | 0.00025104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5238-6_0_6_line_120 |  | 116 | 117 | 0.0092433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5238-6_0_6_line_121 |  | 117 | 119 | 0.0030299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5238-6_0_6_line_122 |  | 117 | 120 | 0.0051792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5238-6_0_6_line_123 |  | 118 | 121 | 0.002105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5238-6_0_6_line_124 |  | 120 | 147 | 0.0077901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5238-6_0_6_line_125 |  | 121 | 122 | 0.0069191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5238-6_0_6_line_126 |  | 121 | 123 | 0.013391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5238-6_0_6_line_127 |  | 122 | 124 | 0.00399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5238-6_0_6_line_128 |  | 123 | 125 | 0.00070421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5238-6_0_6_line_129 |  | 124 | 126 | 0.0030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5238-6_0_6_line_130 |  | 125 | 127 | 0.0068604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5238-6_0_6_line_131 |  | 127 | 150 | 0.016119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5238-6_0_6_line_132 |  | 127 | 151 | 0.010516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5238-6_0_6_line_133 |  | 128 | 129 | 0.00372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5238-6_0_6_line_134 |  | 129 | 130 | 0.0096159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5238-6_0_6_line_135 |  | 130 | 132 | 0.0083301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5238-6_0_6_line_136 |  | 131 | 133 | 0.0014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5238-6_0_6_line_137 |  | 134 | 135 | 0.0068299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5238-6_0_6_line_138 |  | 135 | 136 | 0.0052897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5238-6_0_6_line_139 |  | 135 | 137 | 0.001073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5238-6_0_6_line_140 |  | 136 | 138 | 0.016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5238-6_0_6_line_141 |  | 137 | 143 | 0.0090137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5238-6_0_6_line_142 |  | 138 | 139 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5238-6_0_6_line_143 |  | 139 | 152 | 0.0032987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5238-6_0_6_line_144 |  | 140 | 141 | 0.0073491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5238-6_0_6_line_145 |  | 141 | 142 | 0.010976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5238-6_0_6_line_146 |  | 142 | 144 | 0.0043002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5238-6_0_6_line_147 |  | 143 | 145 | 0.0076027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5238-6_0_6_line_148 |  | 144 | 146 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5238-6_0_6_line_149 |  | 144 | 147 | 0.0043182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5238-6_0_6_line_150 |  | 145 | 148 | 0.0069014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5238-6_0_6_line_151 |  | 146 | 149 | 0.0089628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_5238-6_0_6_line_152 |  | 149 | 150 | 0.0026227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5238-6_0_6_line_153 |  | 151 | 152 | 0.0062755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5238-6_0_6_line_154 |  | 153 | 154 | 0.049714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5238-6_0_6_trafo_87 | 0.63 MVA 20/0.4 kV | 156 | 84 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2714181.2865 | 1104524.5622 | 2714181.7626 | 1104527.2394 | 2714182.5186 | 1104528.5879 | 2714184.2509 | 1104530.2772 | 2714186.7633 | 1104531.6253 | 2714190.8334 | 1104533.2474 | 2714205.0847 | 1104537.0263
1 | 2714180.6969 | 1104511.9202 | 2714181.2448 | 1104524.3277 | 2714181.2865 | 1104524.5622
2 | 2714213.8524 | 1104539.3512 | 2714205.0847 | 1104537.0263
3 | 2714157.0787 | 1104502.7032 | 2714180.6969 | 1104511.9202
4 | 2714180.6969 | 1104511.9202 | 2714180.4858 | 1104500.9311 | 2714180.276 | 1104485.2507
5 | 2714213.8524 | 1104539.3512 | 2714212.4988 | 1104543.851 | 2714212.5517 | 1104549.6463
6 | 2714213.8524 | 1104539.3512 | 2714217.0297 | 1104528.8038 | 2714219.5086 | 1104521.1547
7 | 2714157.0787 | 1104502.7032 | 2714158.7757 | 1104493.1064 | 2714157.3337 | 1104472.6989 | 2714157.03 | 1104465.3994 | 2714156.946 | 1104463.2853
8 | 2714157.0787 | 1104502.7032 | 2714147.751 | 1104504.996 | 2714143.3611 | 1104504.9344
9 | 2714180.2511 | 1104483.3926 | 2714180.276 | 1104485.2507
10 | 2714222.2043 | 1104511.623 | 2714220.7508 | 1104517.3217 | 2714219.5086 | 1104521.1547
11 | 2714156.946 | 1104463.2853 | 2714152.8406 | 1104446.2633 | 2714152.5596 | 1104445.6012
12 | 2714222.2043 | 1104511.623 | 2714229.9834 | 1104512.6811 | 2714240.6474 | 1104515.8506 | 2714250.8147 | 1104519.0996
13 | 2714222.2043 | 1104511.623 | 2714224.8975 | 1104494.3286 | 2714224.364 | 1104488.5064
14 | 2714223.678 | 1104481.019 | 2714224.364 | 1104488.5064
15 | 2714148.788 | 1104436.714 | 2714152.5596 | 1104445.6012
16 | 2714223.678 | 1104481.019 | 2714234.7969 | 1104482.2179 | 2714240.9931 | 1104477.7648 | 2714247.3785 | 1104473.1262
17 | 2714190.5279 | 1104443.4145 | 2714183.2655 | 1104447.4961
18 | 2714190.5279 | 1104443.4145 | 2714180.0725 | 1104430.3869
19 | 2714148.788 | 1104436.714 | 2714145.2019 | 1104441.0273
20 | 2714165.6092 | 1104413.6592 | 2714158.5651 | 1104422.0547 | 2714148.788 | 1104436.714
21 | 2714118.8024 | 1104450.7029 | 2714116.7919 | 1104450.8443 | 2714110.4701 | 1104452.0323
22 | 2714138.1558 | 1104448.7111 | 2714135.4995 | 1104449.6618 | 2714132.3376 | 1104450.3473 | 2714129.0803 | 1104450.753 | 2714120.534 | 1104450.5811 | 2714118.8024 | 1104450.7029
23 | 2714247.3785 | 1104473.1262 | 2714251.3241 | 1104470.2652 | 2714264.5615 | 1104472.7827
24 | 2714247.3785 | 1104473.1262 | 2714239.5479 | 1104463.4464
25 | 2714264.5615 | 1104472.7827 | 2714273.3155 | 1104481.6423 | 2714275.3778 | 1104483.4002
26 | 2714229.9538 | 1104451.5866 | 2714239.5479 | 1104463.4464
27 | 2714180.0725 | 1104430.3869 | 2714190.2408 | 1104421.2609 | 2714192.1596 | 1104416.327 | 2714185.9779 | 1104406.901
28 | 2714165.6092 | 1104413.6592 | 2714180.0725 | 1104430.3869
29 | 2714277.8017 | 1104485.4664 | 2714275.3778 | 1104483.4002
30 | 2714229.9538 | 1104451.5866 | 2714226.3843 | 1104447.1741
31 | 2714165.6092 | 1104413.6592 | 2714160.6767 | 1104406.873 | 2714158.4567 | 1104403.1399 | 2714155.6027 | 1104397.7381 | 2714151.1914 | 1104389.1605 | 2714149.9468 | 1104386.3672
32 | 2714305.484 | 1104330.3084 | 2714304.9321 | 1104337.5417
33 | 2714301.3106 | 1104356.0072 | 2714304.6602 | 1104341.1044 | 2714304.9321 | 1104337.5417
34 | 2714305.5381 | 1104316.6366 | 2714306.0369 | 1104323.0626 | 2714305.484 | 1104330.3084
35 | 2714301.3106 | 1104356.0072 | 2714298.4894 | 1104368.5587
36 | 2714305.5381 | 1104316.6366 | 2714305.2911 | 1104313.455
37 | 2714295.4128 | 1104382.2469 | 2714298.4894 | 1104368.5587
38 | 2714303.5616 | 1104291.1752 | 2714305.2911 | 1104313.455
39 | 2714295.4128 | 1104382.2469 | 2714304.7248 | 1104386.3391
40 | 2714295.4128 | 1104382.2469 | 2714286.0387 | 1104378.3678 | 2714270.949 | 1104372.0834
41 | 2714301.4481 | 1104263.9475 | 2714303.5616 | 1104291.1752
42 | 2714352.9091 | 1104404.3888 | 2714336.3062 | 1104400.2178 | 2714304.7248 | 1104386.3391
43 | 2714270.949 | 1104372.0834 | 2714256.7834 | 1104366.1839
44 | 2714138.1558 | 1104448.7111 | 2714145.2019 | 1104441.0273
45 | 2714145.2019 | 1104441.0273 | 2714141.9024 | 1104437.9187 | 2714140.3967 | 1104436.1114 | 2714139.1561 | 1104433.7865 | 2714135.7644 | 1104425.2948 | 2714130.1994 | 1104412.2156
46 | 2714138.1558 | 1104448.7111 | 2714131.1278 | 1104460.776 | 2714130.1095 | 1104463.5813
47 | 2714130.1994 | 1104412.2156 | 2714126.9054 | 1104404.4739
48 | 2714141.8488 | 1104360.1745 | 2714141.9197 | 1104360.9117 | 2714142.8476 | 1104365.8769 | 2714145.0176 | 1104374.3234 | 2714147.7393 | 1104381.4127 | 2714149.9468 | 1104386.3672
49 | 2714122.8986 | 1104395.057 | 2714126.9054 | 1104404.4739
50 | 2714141.4593 | 1104350.9255 | 2714141.4278 | 1104355.799 | 2714141.8488 | 1104360.1745
51 | 2714349.6229 | 1104260.6326 | 2714332.7537 | 1104261.7934
52 | 2714301.4481 | 1104263.9475 | 2714332.7537 | 1104261.7934
53 | 2714349.6229 | 1104260.6326 | 2714352.4607 | 1104260.4373
54 | 2714301.4481 | 1104263.9475 | 2714284.9282 | 1104264.7926
55 | 2714375.5034 | 1104258.8518 | 2714352.4607 | 1104260.4373
56 | 2714284.9282 | 1104264.7926 | 2714273.2506 | 1104265.8718
57 | 2714395.4406 | 1104257.4799 | 2714375.5034 | 1104258.8518
58 | 2714269.0279 | 1104266.262 | 2714273.2506 | 1104265.8718
59 | 2714395.4406 | 1104257.4799 | 2714395.3097 | 1104285.1525
60 | 2714395.4406 | 1104257.4799 | 2714394.5733 | 1104250.5367 | 2714400.7328 | 1104234.92 | 2714405.1992 | 1104223.1811
61 | 2714269.0279 | 1104266.262 | 2714264.8304 | 1104266.65
62 | 2714247.6495 | 1104268.2377 | 2714264.8304 | 1104266.65
63 | 2714247.6495 | 1104268.2377 | 2714216.3613 | 1104271.1292
64 | 2714187.4101 | 1104278.5338 | 2714190.9602 | 1104275.732 | 2714194.46 | 1104274.3636 | 2714198.5843 | 1104273.1181 | 2714204.4344 | 1104272.2609 | 2714211.6666 | 1104271.5631 | 2714216.3613 | 1104271.1292
65 | 2714187.4101 | 1104278.5338 | 2714184.7289 | 1104282.0413 | 2714183.128 | 1104285.2911 | 2714182.2667 | 1104288.2992 | 2714181.6399 | 1104292.8238 | 2714181.8186 | 1104297.7193 | 2714182.4743 | 1104303.1687 | 2714183.6775 | 1104309.9514 | 2714185.4651 | 1104318.5686
66 | 2714187.4101 | 1104278.5338 | 2714178.6694 | 1104268.9407 | 2714175.2617 | 1104264.1398
67 | 2714185.4651 | 1104318.5686 | 2714179.4141 | 1104328.0501 | 2714177.8266 | 1104329.7658 | 2714175.9546 | 1104330.9759 | 2714173.7276 | 1104331.7234
68 | 2714167.1718 | 1104251.246 | 2714173.3102 | 1104261.3904 | 2714175.2617 | 1104264.1398
69 | 2714124.7915 | 1104232.0363 | 2714144.886 | 1104259.577
70 | 2714144.886 | 1104259.577 | 2714144.8952 | 1104263.2018 | 2714145.3116 | 1104265.3333 | 2714146.1003 | 1104267.4162 | 2714153.1783 | 1104278.6124 | 2714153.8512 | 1104281.0934 | 2714154.3435 | 1104287.8294 | 2714154.2159 | 1104290.5579
71 | 2714124.7915 | 1104232.0363 | 2714124.2371 | 1104227.3672 | 2714123.2991 | 1104222.1127 | 2714121.9809 | 1104215.6836 | 2714121.8795 | 1104214.0806 | 2714121.9564 | 1104212.4587 | 2714122.6663 | 1104205.9788 | 2714123.4076 | 1104201.1228 | 2714123.6934 | 1104197.4479 | 2714123.7272 | 1104194.0018 | 2714123.5824 | 1104190.1854 | 2714122.6883 | 1104181.4835
72 | 2714124.7915 | 1104232.0363 | 2714121.1838 | 1104225.9755 | 2714118.1051 | 1104220.1693 | 2714116.508 | 1104214.9914 | 2714115.0576 | 1104208.5931 | 2714112.1225 | 1104195.4691
73 | 2714145.7434 | 1104332.4533 | 2714145.5472 | 1104325.2003 | 2714153.459 | 1104296.185 | 2714154.1493 | 1104291.9841 | 2714154.2159 | 1104290.5579
74 | 2714173.7276 | 1104331.7234 | 2714171.8887 | 1104332.0001 | 2714164.0842 | 1104331.6608
75 | 2714382.61 | 1104346.9378 | 2714384.5694 | 1104342.8549 | 2714386.5427 | 1104339.1724
76 | 2714390.8175 | 1104330.3172 | 2714389.5655 | 1104333.5316 | 2714386.5427 | 1104339.1724
77 | 2714390.8175 | 1104330.3172 | 2714393.5334 | 1104323.3439 | 2714393.9113 | 1104316.3339
78 | 2714352.9091 | 1104404.3888 | 2714346.5758 | 1104419.8022 | 2714346.8836 | 1104421.6532
79 | 2714346.8836 | 1104421.6532 | 2714348.8568 | 1104433.5195
80 | 2714394.7065 | 1104301.5843 | 2714393.9113 | 1104316.3339
81 | 2714394.7065 | 1104301.5843 | 2714394.9645 | 1104296.798
82 | 2714395.3097 | 1104285.1525 | 2714395.2825 | 1104290.8995 | 2714394.9645 | 1104296.798
83 | 2714475.3001 | 1104171.2825 | 2714474.4283 | 1104176.4807 | 2714465.225 | 1104182.4001 | 2714454.08 | 1104190.3509 | 2714437.4665 | 1104198.61 | 2714423.7494 | 1104202.6319 | 2714413.7805 | 1104208.1256 | 2714405.8697 | 1104221.4188 | 2714405.1992 | 1104223.1811
84 | 2714405.1992 | 1104223.1811 | 2714347.5214 | 1104141.3554
85 | 2714475.3001 | 1104171.2825 | 2714524.509 | 1104075.8683
86 | 2714347.5214 | 1104141.3554 | 2714339.6229 | 1104142.4955 | 2714333.3671 | 1104143.1115 | 2714331.6019 | 1104142.8009
87 | 2714524.509 | 1104075.8683 | 2714512.7246 | 1104061.1028 | 2714492.7395 | 1104038.2263
88 | 2714256.7834 | 1104366.1839 | 2714243.7319 | 1104360.7484
89 | 2714243.7319 | 1104360.7484 | 2714241.8033 | 1104359.9451
90 | 2714223.9874 | 1104348.6801 | 2714233.8537 | 1104355.6037 | 2714241.8033 | 1104359.9451
91 | 2714223.9874 | 1104348.6801 | 2714222.5339 | 1104351.0877 | 2714213.574 | 1104364.6472
92 | 2714122.8986 | 1104395.057 | 2714121.9009 | 1104392.7123 | 2714114.9986 | 1104381.8128
93 | 2714114.9986 | 1104381.8128 | 2714109.9009 | 1104373.7629 | 2714104.3219 | 1104354.5249
94 | 2714145.7434 | 1104332.4533 | 2714144.9988 | 1104333.3732 | 2714144.4356 | 1104334.519 | 2714143.9851 | 1104335.8447 | 2714143.312 | 1104338.7229 | 2714142.0468 | 1104345.5148 | 2714141.4603 | 1104350.7851 | 2714141.4593 | 1104350.9255
95 | 2714145.7434 | 1104332.4533 | 2714146.8411 | 1104331.6845 | 2714148.1878 | 1104331.254 | 2714149.7934 | 1104331.0396 | 2714164.0842 | 1104331.6608
96 | 2714209.5443 | 1104370.7455 | 2714213.574 | 1104364.6472
97 | 2714218.3146 | 1104437.1986 | 2714216.4814 | 1104434.9326
98 | 2714218.3146 | 1104437.1986 | 2714226.3843 | 1104447.1741
99 | 2714208.582 | 1104425.1675 | 2714216.4814 | 1104434.9326
100 | 2714208.582 | 1104425.1675 | 2714205.6774 | 1104421.577
101 | 2714122.6883 | 1104181.4835 | 2714122.5752 | 1104180.3821 | 2714122.0036 | 1104172.5105 | 2714121.989 | 1104170.4088 | 2714122.1374 | 1104168.2768 | 2714122.3709 | 1104166.5578 | 2714122.6849 | 1104165.4964 | 2714123.0445 | 1104164.4802 | 2714123.5109 | 1104163.5439 | 2714124.132 | 1104162.6105 | 2714125.2412 | 1104161.2304 | 2714126.5845 | 1104159.7436 | 2714126.6654 | 1104159.6602
102 | 2714088.3388 | 1104215.547 | 2714079.7227 | 1104197.4054
103 | 2714077.1305 | 1104191.9475 | 2714079.7227 | 1104197.4054
104 | 2714077.1305 | 1104191.9475 | 2714069.2126 | 1104175.2759 | 2714056.9755 | 1104162.3957
105 | 2714038.3013 | 1104142.74 | 2714056.9755 | 1104162.3957
106 | 2714038.3013 | 1104142.74 | 2714032.8219 | 1104137.0444 | 2714042.0459 | 1104130.8246 | 2714044.6934 | 1104129.0958
107 | 2714064.3641 | 1104114.1993 | 2714061.889 | 1104116.6211 | 2714059.5217 | 1104118.6558 | 2714057.0635 | 1104120.5887 | 2714046.4484 | 1104127.9498 | 2714044.6934 | 1104129.0958
108 | 2714064.3641 | 1104114.1993 | 2714067.4737 | 1104110.5441 | 2714069.6859 | 1104107.706 | 2714071.2736 | 1104105.1563 | 2714072.5431 | 1104102.2449 | 2714073.1577 | 1104099.5991 | 2714073.632 | 1104095.7721 | 2714073.6154 | 1104094.9993
109 | 2714064.3641 | 1104114.1993 | 2714059.8576 | 1104102.7329
110 | 2714064.3641 | 1104114.1993 | 2714068.6229 | 1104116.0917 | 2714069.0293 | 1104116.2883 | 2714069.3335 | 1104116.572 | 2714069.5593 | 1104116.9098 | 2714071.0833 | 1104121.2151
111 | 2714059.4048 | 1104101.5807 | 2714059.8576 | 1104102.7329
112 | 2714072.8876 | 1104126.312 | 2714071.0833 | 1104121.2151
113 | 2714055.5162 | 1104090.5896 | 2714055.6393 | 1104090.9753 | 2714056.7877 | 1104094.9218 | 2714059.4048 | 1104101.5807
114 | 2714072.8876 | 1104126.312 | 2714085.5712 | 1104127.0508
115 | 2714072.8876 | 1104126.312 | 2714072.0228 | 1104126.6293 | 2714071.4189 | 1104127.0627 | 2714070.9176 | 1104127.7982 | 2714070.7558 | 1104128.5846 | 2714070.8551 | 1104129.4759 | 2714072.2424 | 1104133.7785
116 | 2714085.5712 | 1104127.0508 | 2714088.1014 | 1104132.5833
117 | 2714085.5712 | 1104127.0508 | 2714081.7416 | 1104115.813
118 | 2714075.8323 | 1104143.9504 | 2714075.3075 | 1104142.8797 | 2714074.3791 | 1104140.4051 | 2714072.2424 | 1104133.7785
119 | 2714092.9905 | 1104143.8398 | 2714093.0891 | 1104144.0707
120 | 2714089.3615 | 1104135.3387 | 2714092.9905 | 1104143.8398
121 | 2714089.3615 | 1104135.3387 | 2714088.1014 | 1104132.5833
122 | 2714089.3615 | 1104135.3387 | 2714094.2787 | 1104133.7124
123 | 2714128.1311 | 1104158.1493 | 2714126.6654 | 1104159.6602
124 | 2714101.6747 | 1104131.2661 | 2714094.2787 | 1104133.7124
125 | 2714128.1311 | 1104158.1493 | 2714130.1124 | 1104159.7654 | 2714130.7482 | 1104160.5223 | 2714131.1809 | 1104161.3755 | 2714131.4667 | 1104162.2259 | 2714131.618 | 1104163.2294 | 2714131.6193 | 1104163.7345
126 | 2714128.1311 | 1104158.1493 | 2714132.0292 | 1104154.1199 | 2714133.123 | 1104152.7395 | 2714133.8728 | 1104151.5417 | 2714134.5175 | 1104150.1751 | 2714135.3113 | 1104148.2888 | 2714135.704 | 1104147.3121
127 | 2714131.6293 | 1104167.7245 | 2714131.6193 | 1104163.7345
128 | 2714135.9667 | 1104146.6587 | 2714135.704 | 1104147.3121
129 | 2714131.6293 | 1104167.7245 | 2714131.637 | 1104170.8012
130 | 2714138.5411 | 1104140.2997 | 2714137.0241 | 1104144.0292 | 2714135.9667 | 1104146.6587
131 | 2714138.5411 | 1104140.2997 | 2714135.2503 | 1104139.1926 | 2714133.2277 | 1104138.5319 | 2714131.1236 | 1104138.0921 | 2714129.1322 | 1104137.8322 | 2714127.0505 | 1104137.8487 | 2714122.8 | 1104138.349
132 | 2714138.5411 | 1104140.2997 | 2714139.435 | 1104138.026 | 2714139.7382 | 1104136.7198 | 2714139.9395 | 1104135.4783 | 2714140.3865 | 1104130.0224
133 | 2714075.8323 | 1104143.9504 | 2714076.4626 | 1104145.2363 | 2714077.6374 | 1104147.1996
134 | 2714082.5751 | 1104155.4508 | 2714077.6374 | 1104147.1996
135 | 2714086.8527 | 1104162.5988 | 2714082.5751 | 1104155.4508
136 | 2714081.2655 | 1104114.416 | 2714081.7416 | 1104115.813
137 | 2714127.4757 | 1104092.6151 | 2714126.0519 | 1104085.9353
138 | 2714127.4757 | 1104092.6151 | 2714129.6396 | 1104093.5787 | 2714131.4935 | 1104094.5697 | 2714132.189 | 1104095.002
139 | 2714127.4757 | 1104092.6151 | 2714126.4926 | 1104093.0525
140 | 2714144.2864 | 1104105.9512 | 2714141.616 | 1104102.7099 | 2714139.4552 | 1104100.3455 | 2714137.9262 | 1104098.9492 | 2714135.7 | 1104097.1839 | 2714132.189 | 1104095.002
141 | 2714126.4926 | 1104093.0525 | 2714123.9115 | 1104101.6887
142 | 2714144.2864 | 1104105.9512 | 2714142.1498 | 1104115.4619 | 2714141.3441 | 1104120.0387 | 2714141.2917 | 1104120.4924
143 | 2714140.9132 | 1104123.7692 | 2714141.2917 | 1104120.4924
144 | 2714107.4303 | 1104107.6213 | 2714106.0447 | 1104114.8386
145 | 2714106.0447 | 1104114.8386 | 2714104.7983 | 1104121.3305 | 2714104.7009 | 1104122.396 | 2714104.7515 | 1104123.4088 | 2714105.1061 | 1104125.6622
146 | 2714105.7744 | 1104129.9101 | 2714105.1061 | 1104125.6622
147 | 2714123.9115 | 1104101.6887 | 2714122.7025 | 1104105.7342 | 2714121.9576 | 1104108.7222 | 2714121.8944 | 1104109.0164
148 | 2714105.7744 | 1104129.9101 | 2714106.0435 | 1104131.6497 | 2714106.4595 | 1104132.9806 | 2714106.9988 | 1104133.9247 | 2714107.709 | 1104134.8387 | 2714109.9511 | 1104137.4048 | 2714110.9363 | 1104138.0904 | 2714111.388 | 1104138.2675
149 | 2714105.7744 | 1104129.9101 | 2714101.6747 | 1104131.2661
150 | 2714121.1889 | 1104115.857 | 2714121.1923 | 1104113.6223 | 2714121.4319 | 1104111.1696 | 2714121.8944 | 1104109.0164
151 | 2714120.1952 | 1104138.6555 | 2714115.7286 | 1104139.1812 | 2714113.8822 | 1104139.0242 | 2714112.3957 | 1104138.6627 | 2714111.388 | 1104138.2675
152 | 2714122.8 | 1104138.349 | 2714120.1952 | 1104138.6555
153 | 2714140.9132 | 1104123.7692 | 2714140.8635 | 1104124.1991 | 2714140.3865 | 1104130.0224
154 | 2714452.8968 | 1104010.4656 | 2714457.9563 | 1104011.9259 | 2714467.8299 | 1104015.6034 | 2714474.3566 | 1104019.5068 | 2714480.6357 | 1104024.6398 | 2714486.0789 | 1104030.602 | 2714492.7395 | 1104038.2263

## bus_geodata
| x | y | coords
0 | 2714181.2865 | 1104524.5622
1 | 2714205.0847 | 1104537.0263
2 | 2714180.6969 | 1104511.9202
3 | 2714213.8524 | 1104539.3512
4 | 2714157.0787 | 1104502.7032
5 | 2714180.276 | 1104485.2507
6 | 2714212.5517 | 1104549.6463
7 | 2714219.5086 | 1104521.1547
8 | 2714156.946 | 1104463.2853
9 | 2714143.3611 | 1104504.9344
10 | 2714222.2043 | 1104511.623
11 | 2714250.8147 | 1104519.0996
12 | 2714224.364 | 1104488.5064
13 | 2714180.2511 | 1104483.3926
14 | 2714152.5596 | 1104445.6012
15 | 2714223.678 | 1104481.019
16 | 2714183.2655 | 1104447.4961
17 | 2714190.5279 | 1104443.4145
18 | 2714148.788 | 1104436.714
19 | 2714110.4701 | 1104452.0323
20 | 2714118.8024 | 1104450.7029
21 | 2714247.3785 | 1104473.1262
22 | 2714264.5615 | 1104472.7827
23 | 2714239.5479 | 1104463.4464
24 | 2714180.0725 | 1104430.3869
25 | 2714275.3778 | 1104483.4002
26 | 2714229.9538 | 1104451.5866
27 | 2714185.9779 | 1104406.901
28 | 2714165.6092 | 1104413.6592
29 | 2714304.9321 | 1104337.5417
30 | 2714305.484 | 1104330.3084
31 | 2714301.3106 | 1104356.0072
32 | 2714305.5381 | 1104316.6366
33 | 2714298.4894 | 1104368.5587
34 | 2714305.2911 | 1104313.455
35 | 2714295.4128 | 1104382.2469
36 | 2714303.5616 | 1104291.1752
37 | 2714304.7248 | 1104386.3391
38 | 2714270.949 | 1104372.0834
39 | 2714145.2019 | 1104441.0273
40 | 2714138.1558 | 1104448.7111
41 | 2714130.1994 | 1104412.2156
42 | 2714149.9468 | 1104386.3672
43 | 2714130.1095 | 1104463.5813
44 | 2714126.9054 | 1104404.4739
45 | 2714141.8488 | 1104360.1745
46 | 2714332.7537 | 1104261.7934
47 | 2714349.6229 | 1104260.6326
48 | 2714301.4481 | 1104263.9475
49 | 2714352.4607 | 1104260.4373
50 | 2714284.9282 | 1104264.7926
51 | 2714375.5034 | 1104258.8518
52 | 2714273.2506 | 1104265.8718
53 | 2714395.4406 | 1104257.4799
54 | 2714269.0279 | 1104266.262
55 | 2714247.6495 | 1104268.2377
56 | 2714264.8304 | 1104266.65
57 | 2714216.3613 | 1104271.1292
58 | 2714187.4101 | 1104278.5338
59 | 2714185.4651 | 1104318.5686
60 | 2714175.2617 | 1104264.1398
61 | 2714144.886 | 1104259.577
62 | 2714124.7915 | 1104232.0363
63 | 2714154.2159 | 1104290.5579
64 | 2714173.7276 | 1104331.7234
65 | 2714167.1718 | 1104251.246
66 | 2714382.61 | 1104346.9378
67 | 2714386.5427 | 1104339.1724
68 | 2714390.8175 | 1104330.3172
69 | 2714352.9091 | 1104404.3888
70 | 2714346.8836 | 1104421.6532
71 | 2714393.9113 | 1104316.3339
72 | 2714348.8568 | 1104433.5195
73 | 2714394.7065 | 1104301.5843
74 | 2714395.3097 | 1104285.1525
75 | 2714405.1992 | 1104223.1811
76 | 2714394.9645 | 1104296.798
77 | 2714475.3001 | 1104171.2825
78 | 2714347.5214 | 1104141.3554
79 | 2714524.509 | 1104075.8683
80 | 2714331.6019 | 1104142.8009
81 | 2714256.7834 | 1104366.1839
82 | 2714243.7319 | 1104360.7484
83 | 2714241.8033 | 1104359.9451
84 | 2714223.9874 | 1104348.6801
85 | 2714122.8986 | 1104395.057
86 | 2714114.9986 | 1104381.8128
87 | 2714104.3219 | 1104354.5249
88 | 2714141.4593 | 1104350.9255
89 | 2714145.7434 | 1104332.4533
90 | 2714164.0842 | 1104331.6608
91 | 2714213.574 | 1104364.6472
92 | 2714218.3146 | 1104437.1986
93 | 2714216.4814 | 1104434.9326
94 | 2714226.3843 | 1104447.1741
95 | 2714208.582 | 1104425.1675
96 | 2714205.6774 | 1104421.577
97 | 2714122.6883 | 1104181.4835
98 | 2714112.1225 | 1104195.4691
99 | 2714209.5443 | 1104370.7455
100 | 2714079.7227 | 1104197.4054
101 | 2714088.3388 | 1104215.547
102 | 2714077.1305 | 1104191.9475
103 | 2714056.9755 | 1104162.3957
104 | 2714038.3013 | 1104142.74
105 | 2714044.6934 | 1104129.0958
106 | 2714064.3641 | 1104114.1993
107 | 2714073.6154 | 1104094.9993
108 | 2714059.8576 | 1104102.7329
109 | 2714071.0833 | 1104121.2151
110 | 2714059.4048 | 1104101.5807
111 | 2714072.8877 | 1104126.312
112 | 2714055.5162 | 1104090.5896
113 | 2714085.5712 | 1104127.0508
114 | 2714072.2424 | 1104133.7785
115 | 2714093.0891 | 1104144.0707
116 | 2714092.9905 | 1104143.8398
117 | 2714089.3615 | 1104135.3387
118 | 2714126.6654 | 1104159.6602
119 | 2714088.1014 | 1104132.5833
120 | 2714094.2787 | 1104133.7124
121 | 2714128.1311 | 1104158.1493
122 | 2714131.6193 | 1104163.7345
123 | 2714135.704 | 1104147.3121
124 | 2714131.6293 | 1104167.7245
125 | 2714135.9667 | 1104146.6587
126 | 2714131.637 | 1104170.8012
127 | 2714138.5411 | 1104140.2997
128 | 2714075.8323 | 1104143.9504
129 | 2714077.6374 | 1104147.1996
130 | 2714082.5751 | 1104155.4508
131 | 2714081.7416 | 1104115.813
132 | 2714086.8527 | 1104162.5988
133 | 2714081.2655 | 1104114.416
134 | 2714126.0519 | 1104085.9353
135 | 2714127.4757 | 1104092.6151
136 | 2714132.189 | 1104095.002
137 | 2714126.4926 | 1104093.0525
138 | 2714144.2864 | 1104105.9512
139 | 2714141.2917 | 1104120.4924
140 | 2714107.4303 | 1104107.6213
141 | 2714106.0447 | 1104114.8386
142 | 2714105.1061 | 1104125.6622
143 | 2714123.9115 | 1104101.6887
144 | 2714105.7744 | 1104129.9101
145 | 2714121.8944 | 1104109.0164
146 | 2714111.388 | 1104138.2675
147 | 2714101.6747 | 1104131.2661
148 | 2714121.1889 | 1104115.857
149 | 2714120.1952 | 1104138.6555
150 | 2714122.8 | 1104138.349
151 | 2714140.3865 | 1104130.0224
152 | 2714140.9132 | 1104123.7692
153 | 2714452.8968 | 1104010.4656
154 | 2714492.7395 | 1104038.2263
155 | 2714277.8017 | 1104485.4664
156 | 2714209.5443 | 1104370.7455

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1