## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5238-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5238-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5238-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5238-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5238-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5238-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5238-9_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5238-9_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_5238-9_0_3_node_190 | 0.4 | n |  | TRUE
9 | bus_LV_5238-9_0_3_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_5238-9_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5238-9_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_5238-9_0_3_node_192 | 0.4 | n |  | TRUE
13 | bus_LV_5238-9_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5238-9_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5238-9_0_3_node_200 | 0.4 | n |  | TRUE
16 | bus_LV_5238-9_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5238-9_0_3_node_196 | 0.4 | n |  | TRUE
18 | bus_LV_5238-9_0_3_node_189 | 0.4 | n |  | TRUE
19 | bus_LV_5238-9_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5238-9_0_3_node_186 | 0.4 | n |  | TRUE
21 | bus_LV_5238-9_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5238-9_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5238-9_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_5238-9_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_5238-9_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_5238-9_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5238-9_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_5238-9_0_3_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_5238-9_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5238-9_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_5238-9_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_5238-9_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5238-9_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_5238-9_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_5238-9_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5238-9_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5238-9_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5238-9_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5238-9_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5238-9_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5238-9_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5238-9_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5238-9_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5238-9_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5238-9_0_3_node_204 | 0.4 | n |  | TRUE
46 | bus_LV_5238-9_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5238-9_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5238-9_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5238-9_0_3_node_199 | 0.4 | n |  | TRUE
50 | bus_LV_5238-9_0_3_node_187 | 0.4 | n |  | TRUE
51 | bus_LV_5238-9_0_3_node_188 | 0.4 | n |  | TRUE
52 | bus_LV_5238-9_0_3_node_191 | 0.4 | n |  | TRUE
53 | bus_LV_5238-9_0_3_node_194 | 0.4 | n |  | TRUE
54 | bus_LV_5238-9_0_3_node_195 | 0.4 | n |  | TRUE
55 | bus_LV_5238-9_0_3_node_197 | 0.4 | n |  | TRUE
56 | bus_LV_5238-9_0_3_node_198 | 0.4 | n |  | TRUE
57 | bus_LV_5238-9_0_3_node_201 | 0.4 | n |  | TRUE
58 | bus_LV_5238-9_0_3_node_202 | 0.4 | n |  | TRUE
59 | bus_LV_5238-9_0_3_node_203 | 0.4 | n |  | TRUE
60 | bus_LV_5238-9_0_3_node_205 | 0.4 | n |  | TRUE
61 | bus_MV_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5238-9_0_3_load_0 | 0 | 0.0056256 | 0.0014099 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5238-9_0_3_load_1 | 1 | 0.00082319 | 0.00020631 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5238-9_0_3_load_3 | 3 | 0.00016643 | 4.1711e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5238-9_0_3_load_190 | 8 | 0.0011583 | 0.0002903 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5238-9_0_3_load_34 | 9 | 0.00030658 | 7.6835e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5238-9_0_3_load_192 | 12 | 0.0011704 | 0.00029334 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5238-9_0_3_load_200 | 15 | 0.00067702 | 0.00016968 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5238-9_0_3_load_196 | 17 | 0.00060773 | 0.00015231 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5238-9_0_3_load_189 | 18 | 0.00063253 | 0.00015853 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5238-9_0_3_load_186 | 20 | 0.0065577 | 0.0016435 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5238-9_0_3_load_48 | 23 | 0.0017039 | 0.00042704 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5238-9_0_3_load_37 | 24 | 0.0019807 | 0.00049642 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5238-9_0_3_load_36 | 25 | 0.0021482 | 0.00053839 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5238-9_0_3_load_47 | 28 | 0.0012427 | 0.00031145 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5238-9_0_3_load_40 | 30 | 0.00096031 | 0.00024068 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5238-9_0_3_load_38 | 31 | 0.0013041 | 0.00032684 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5238-9_0_3_load_45 | 33 | 0.00036921 | 9.2532e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5238-9_0_3_load_26 | 35 | 0.00020442 | 5.1233e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5238-9_0_3_load_25 | 36 | 0.00015219 | 3.8144e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5238-9_0_3_load_31 | 37 | 0.00014992 | 3.7575e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5238-9_0_3_load_30 | 40 | 0.00032055 | 8.0337e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5238-9_0_3_load_33 | 42 | 0.00016237 | 4.0693e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5238-9_0_3_load_35 | 44 | 0.00029594 | 7.417e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5238-9_0_3_load_204 | 45 | 0.00025162 | 6.3061e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5238-9_0_3_load_43 | 47 | 0.00086615 | 0.00021708 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5238-9_0_3_load_44 | 48 | 0.00024565 | 6.1566e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5238-9_0_3_load_187 | 50 | 0.0010329 | 0.00025886 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5238-9_0_3_load_188 | 51 | 0.00077476 | 0.00019417 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5238-9_0_3_load_191 | 52 | 0.0018353 | 0.00045997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5238-9_0_3_load_194 | 53 | 0.00064784 | 0.00016236 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5238-9_0_3_load_195 | 54 | 0.0019258 | 0.00048265 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5238-9_0_3_load_197 | 55 | 0.0010655 | 0.00026705 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5238-9_0_3_load_198 | 56 | 0.0014384 | 0.00036048 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5238-9_0_3_load_201 | 57 | 0.00051352 | 0.0001287 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5238-9_0_3_load_203 | 59 | 0.00047796 | 0.00011979 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5238-9_0_3_load_205 | 60 | 0.00032618 | 8.1749e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5238-9_0_3_line_0 |  | 0 | 1 | 0.033072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5238-9_0_3_line_1 |  | 0 | 2 | 0.085213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5238-9_0_3_line_2 |  | 1 | 3 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5238-9_0_3_line_3 |  | 2 | 4 | 0.019861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5238-9_0_3_line_4 |  | 2 | 5 | 0.43506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5238-9_0_3_line_5 |  | 3 | 6 | 0.25228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5238-9_0_3_line_6 |  | 4 | 7 | 0.014698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5238-9_0_3_line_7 |  | 5 | 8 | 0.4979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5238-9_0_3_line_8 |  | 6 | 9 | 0.15074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5238-9_0_3_line_9 |  | 7 | 35 | 0.049998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5238-9_0_3_line_10 |  | 8 | 51 | 0.020462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5238-9_0_3_line_11 |  | 9 | 44 | 0.027314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5238-9_0_3_line_12 |  | 10 | 11 | 1.2134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5238-9_0_3_line_13 |  | 10 | 12 | 0.40429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5238-9_0_3_line_14 |  | 11 | 16 | 1.1456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5238-9_0_3_line_15 |  | 11 | 17 | 0.028879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5238-9_0_3_line_16 |  | 13 | 14 | 0.039951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5238-9_0_3_line_17 |  | 13 | 15 | 0.064608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5238-9_0_3_line_18 |  | 14 | 24 | 0.015445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5238-9_0_3_line_19 |  | 14 | 25 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5238-9_0_3_line_20 |  | 15 | 49 | 0.010662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5238-9_0_3_line_21 |  | 16 | 18 | 0.025937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5238-9_0_3_line_22 |  | 16 | 19 | 0.18586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5238-9_0_3_line_23 |  | 16 | 20 | 0.0106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5238-9_0_3_line_24 |  | 17 | 54 | 0.69121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5238-9_0_3_line_25 |  | 18 | 52 | 0.017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5238-9_0_3_line_26 |  | 19 | 23 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5238-9_0_3_line_27 |  | 20 | 50 | 0.68832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5238-9_0_3_line_28 |  | 21 | 22 | 0.057397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5238-9_0_3_line_29 |  | 21 | 23 | 0.0046698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5238-9_0_3_line_30 |  | 22 | 25 | 0.020441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5238-9_0_3_line_31 |  | 26 | 27 | 0.03539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5238-9_0_3_line_32 |  | 26 | 28 | 0.02188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5238-9_0_3_line_33 |  | 27 | 33 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5238-9_0_3_line_34 |  | 29 | 30 | 0.031772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5238-9_0_3_line_35 |  | 29 | 31 | 0.11912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5238-9_0_3_line_36 |  | 30 | 47 | 0.084287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5238-9_0_3_line_37 |  | 31 | 46 | 0.18402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5238-9_0_3_line_38 |  | 32 | 33 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5238-9_0_3_line_39 |  | 32 | 34 | 0.16598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5238-9_0_3_line_40 |  | 34 | 48 | 0.041089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5238-9_0_3_line_41 |  | 34 | 46 | 0.005019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5238-9_0_3_line_42 |  | 35 | 38 | 0.019297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5238-9_0_3_line_43 |  | 36 | 37 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5238-9_0_3_line_44 |  | 37 | 43 | 0.05859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5238-9_0_3_line_45 |  | 38 | 39 | 0.008948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5238-9_0_3_line_46 |  | 39 | 40 | 0.0041304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5238-9_0_3_line_47 |  | 40 | 43 | 0.039382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5238-9_0_3_line_48 |  | 41 | 42 | 0.015164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5238-9_0_3_line_49 |  | 41 | 43 | 0.00625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5238-9_0_3_line_50 |  | 44 | 45 | 0.020854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5238-9_0_3_line_51 |  | 45 | 58 | 0.0077459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5238-9_0_3_line_52 |  | 47 | 49 | 0.11751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5238-9_0_3_line_53 |  | 49 | 56 | 0.032128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5238-9_0_3_line_54 |  | 50 | 51 | 0.02459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5238-9_0_3_line_55 |  | 53 | 54 | 0.0078346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5238-9_0_3_line_56 |  | 55 | 56 | 0.023922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5238-9_0_3_line_57 |  | 57 | 58 | 0.11435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5238-9_0_3_line_58 |  | 58 | 59 | 0.026237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5238-9_0_3_line_59 |  | 59 | 60 | 0.0043163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5238-9_0_3_trafo_43 | 0.63 MVA 20/0.4 kV | 61 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95
0 | 2714246.4983 | 1110304.7565 | 2714279.4605 | 1110302.0657
1 | 2714168.3397 | 1110284.4618 | 2714171.3921 | 1110287.7881 | 2714180.0268 | 1110295.5559 | 2714181.8204 | 1110297.1796 | 2714200.0758 | 1110305.0952 | 2714210.2367 | 1110307.3436 | 2714218.2654 | 1110307.0613 | 2714246.4983 | 1110304.7565
2 | 2714279.4605 | 1110302.0657 | 2714298.7089 | 1110300.4944 | 2714310.3419 | 1110299.8943
3 | 2714168.3397 | 1110284.4618 | 2714181.3563 | 1110271.3425 | 2714182.4701 | 1110270.4851
4 | 2714168.3397 | 1110284.4618 | 2714152.8185 | 1110275.8306 | 2714142.5964 | 1110267.7995 | 2714133.7076 | 1110258.337 | 2714126.9757 | 1110246.8026 | 2714122.1114 | 1110240.3512 | 2714119.9051 | 1110238.0637 | 2714105.2486 | 1110224.1454 | 2714103.6973 | 1110217.445 | 2714103.7994 | 1110210.787 | 2714114.9563 | 1110181.8997 | 2714164.9105 | 1110136.5538 | 2714176.3173 | 1110119.8684 | 2714186.9296 | 1110059.5945 | 2714184.698 | 1110002.0139 | 2714198.9839 | 1109983.1035 | 2714208.5962 | 1109966.0842 | 2714205.6719 | 1109944.8705 | 2714186.3896 | 1109920.8248
5 | 2714500.2973 | 1110183.2177 | 2714490.9456 | 1110193.3702 | 2714477.5115 | 1110210.5393 | 2714452.2287 | 1110266.1328 | 2714448.5277 | 1110270.5548 | 2714442.785 | 1110275.4386 | 2714431.022 | 1110282.3102 | 2714368.9548 | 1110309.2021 | 2714361.6116 | 1110311.6541 | 2714352.7157 | 1110312.4203 | 2714342.0322 | 1110310.0173 | 2714317.4451 | 1110300.9366 | 2714311.3361 | 1110299.843 | 2714310.3419 | 1110299.8943
6 | 2714194.0883 | 1110261.4422 | 2714182.4701 | 1110270.4851
7 | 2714186.3896 | 1109920.8248 | 2714183.9497 | 1109928.0615 | 2714180.959 | 1109941.97 | 2714179.4593 | 1109948.5351 | 2714177.3595 | 1109954.9554 | 2714173.4922 | 1109965.334 | 2714171.6386 | 1109971.4032 | 2714170.6368 | 1109979.4453 | 2714169.6077 | 1109996.3261 | 2714168.3368 | 1110002.2395 | 2714166.0982 | 1110006.1778 | 2714153.3292 | 1110023.7715 | 2714144.5929 | 1110034.1029 | 2714135.211 | 1110042.1873 | 2714128.3763 | 1110047.1843 | 2714117.6224 | 1110053.4195 | 2714100.4992 | 1110060.869 | 2714087.283 | 1110068.1475 | 2714059.6866 | 1110083.7723 | 2714022.7928 | 1110107.528 | 2714003.0445 | 1110122.6447 | 2713981.4294 | 1110134.2685 | 2713969.6215 | 1110139.8392 | 2713958.2617 | 1110144.1954 | 2713946.5663 | 1110145.8434 | 2713934.8967 | 1110145.7019 | 2713906.841 | 1110143.4402 | 2713899.6355 | 1110143.5049 | 2713893.7121 | 1110145.2726 | 2713888.4695 | 1110147.4201 | 2713870.0678 | 1110155.48 | 2713829.6822 | 1110175.0684 | 2713816.519 | 1110181.2033 | 2713809.9225 | 1110182.8979
8 | 2714500.2973 | 1110183.2177 | 2714493.7392 | 1110207.5324 | 2714489.748 | 1110226.492 | 2714499.3137 | 1110280.3087 | 2714499.2844 | 1110287.1794 | 2714496.9145 | 1110293.5611 | 2714493.2425 | 1110297.261 | 2714486.9229 | 1110303.6349 | 2714483.7025 | 1110308.3884 | 2714476.7243 | 1110324.8848
9 | 2714194.0883 | 1110261.4422 | 2714200.913 | 1110256.1449 | 2714209.6606 | 1110251.7622 | 2714227.3117 | 1110248.6814 | 2714240.9403 | 1110247.8065
10 | 2713809.9225 | 1110182.8979 | 2713797.6833 | 1110186.0421 | 2713791.7248 | 1110188.0316 | 2713790.3306 | 1110188.6945
11 | 2714460.0864 | 1110345.9203 | 2714467.3683 | 1110339.5677 | 2714473.33 | 1110332.909 | 2714476.7243 | 1110324.8848
12 | 2713526.038 | 1110069.7966 | 2713515.1171 | 1110077.1416 | 2713506.1205 | 1110081.6207 | 2713498.4773 | 1110083.1787 | 2713487.7956 | 1110086.8368 | 2713464.1056 | 1110104.8835 | 2713446.0645 | 1110125.5043 | 2713436.4605 | 1110135.598 | 2713415.3731 | 1110149.2462 | 2713383.735 | 1110182.6992 | 2713369.9739 | 1110195.2059 | 2713363.1893 | 1110200.049 | 2713355.7333 | 1110205.2465 | 2713348.7218 | 1110211.0638 | 2713345.4194 | 1110215.7052 | 2713340.9016 | 1110222.1028 | 2713334.577 | 1110227.9774 | 2713324.8674 | 1110234.6449 | 2713312.4466 | 1110242.8628 | 2713304.5847 | 1110247.8637 | 2713299.7831 | 1110252.0768 | 2713296.7965 | 1110256.3684 | 2713292.4774 | 1110265.3715 | 2713289.1146 | 1110274.9039 | 2713285.0293 | 1110287.1135 | 2713282.4822 | 1110292.2916 | 2713277.2561 | 1110296.886 | 2713272.1154 | 1110299.803 | 2713267.9284 | 1110301.3259 | 2713263.1883 | 1110302.6605 | 2713261.7705 | 1110305.736 | 2713263.053 | 1110310.3186 | 2713266.6953 | 1110311.8877 | 2713271.2678 | 1110312.4846 | 2713279.4884 | 1110309.3804 | 2713287.9892 | 1110304.1024 | 2713299.1507 | 1110297.9067 | 2713305.1077 | 1110293.4928 | 2713310.931 | 1110289.6212 | 2713317.4595 | 1110287.3083 | 2713324.0342 | 1110286.2415 | 2713337.0879 | 1110285.0958 | 2713379.8055 | 1110278.3118 | 2713385.9962 | 1110276.7042 | 2713391.028 | 1110274.6525 | 2713396.1399 | 1110271.6238 | 2713412.0938 | 1110260.8927 | 2713418.7768 | 1110259.4166 | 2713424.0411 | 1110261.8723 | 2713450.8907 | 1110242.2391 | 2713473.4966 | 1110219.3133 | 2713480.5586 | 1110214.1086 | 2713488.9172 | 1110208.5946 | 2713505.298 | 1110201.5075 | 2713517.9635 | 1110196.7525 | 2713527.7018 | 1110194.7556 | 2713546.6979 | 1110196.201 | 2713550.5223 | 1110195.0607 | 2713553.9721 | 1110193.2908 | 2713564.9367 | 1110183.6007 | 2713572.0137 | 1110172.2367 | 2713573.2354 | 1110163.5538 | 2713575.9559 | 1110158.6237 | 2713580.1186 | 1110154.2876 | 2713584.8907 | 1110152.4869 | 2713597.7673 | 1110150.9158 | 2713607.5224 | 1110148.4413 | 2713622.3045 | 1110140.8798 | 2713652.3245 | 1110110.9444 | 2713664.1616 | 1110097.6129 | 2713681.3989 | 1110081.5696 | 2713710.4657 | 1110062.9131 | 2713719.5314 | 1110051.8757 | 2713731.1677 | 1110038.963 | 2713737.7796 | 1110030.9927 | 2713740.1846 | 1110021.0534 | 2713741.7541 | 1110008.2632 | 2713741.0294 | 1109985.0897 | 2713740.0657 | 1109968.0602 | 2713741.7825 | 1109953.605 | 2713747.8411 | 1109933.5162 | 2713771.8797 | 1109895.3304 | 2713776.5531 | 1109881.0974 | 2713783.3618 | 1109870.0622 | 2713795.9242 | 1109854.7877 | 2713801.5357 | 1109845.3533 | 2713805.5826 | 1109831.9647 | 2713803.2821 | 1109784.034
13 | 2713803.2821 | 1109784.034 | 2713792.8397 | 1109763.3687 | 2713776.1402 | 1109742.4637 | 2713770.5063 | 1109736.1983 | 2713758.4264 | 1109734.4039 | 2713749.9402 | 1109744.1958 | 2713735.7422 | 1109754.7588 | 2713730.1275 | 1109766.428 | 2713725.101 | 1109769.8138 | 2713721.8265 | 1109765.9387 | 2713715.6927 | 1109738.5165 | 2713718.3997 | 1109724.847 | 2713727.3961 | 1109695.6851 | 2713745.6039 | 1109655.9999 | 2713743.8776 | 1109648.2958 | 2713736.4398 | 1109650.4133 | 2713722.4243 | 1109670.6085 | 2713716.3633 | 1109673.9193 | 2713714.3518 | 1109668.6447 | 2713728.6988 | 1109628.7203 | 2713730.773 | 1109621.9992 | 2713726.8048 | 1109620.4793 | 2713718.8609 | 1109625.6672 | 2713711.2656 | 1109627.9374 | 2713709.3227 | 1109620.6517 | 2713697.7133 | 1109613.1291 | 2713689.6563 | 1109597.5566
14 | 2713348.4146 | 1110720.62 | 2713341.1542 | 1110693.8998 | 2713339.0349 | 1110667.1091 | 2713335.414 | 1110649.5297 | 2713332.4311 | 1110644.5373 | 2713327.8902 | 1110640.194 | 2713322.6884 | 1110638.5401 | 2713318.0077 | 1110637.9523 | 2713300.6167 | 1110639.6174 | 2713266.3077 | 1110645.7585 | 2713260.7721 | 1110645.4216 | 2713255.1511 | 1110644.2825 | 2713251.3636 | 1110642.6329 | 2713247.4089 | 1110640.4243 | 2713242.9339 | 1110635.8599 | 2713241.0483 | 1110630.8769 | 2713241.517 | 1110623.9922 | 2713242.9261 | 1110621.3834 | 2713258.954 | 1110597.5335 | 2713263.3292 | 1110582.205 | 2713269.8668 | 1110555.8095 | 2713292.617 | 1110479.5724 | 2713295.5215 | 1110471.8104 | 2713302.1807 | 1110458.7705 | 2713306.6416 | 1110448.7917 | 2713309.0086 | 1110440.8417 | 2713310.8953 | 1110433.3608 | 2713312.7165 | 1110406.2323 | 2713314.3139 | 1110400.5806 | 2713318.0634 | 1110394.7579 | 2713323.2797 | 1110388.2065 | 2713328.644 | 1110381.5912 | 2713334.7952 | 1110374.646 | 2713340.7419 | 1110367.0631 | 2713345.2893 | 1110360.3214 | 2713347.6587 | 1110354.7286 | 2713349.9572 | 1110348.7898 | 2713351.9594 | 1110342.99 | 2713353.3997 | 1110339.548 | 2713355.6956 | 1110336.6445 | 2713359.2519 | 1110334.9543 | 2713364.6944 | 1110332.4321 | 2713369.2653 | 1110329.8047 | 2713373.7255 | 1110325.6631 | 2713396.4754 | 1110290.8762 | 2713399.8281 | 1110286.0246 | 2713403.511 | 1110281.2902 | 2713424.0411 | 1110261.8723 | 2713418.7768 | 1110259.4166 | 2713412.0938 | 1110260.8927 | 2713396.1399 | 1110271.6238 | 2713391.028 | 1110274.6525 | 2713385.9962 | 1110276.7042 | 2713379.8055 | 1110278.3118 | 2713337.0879 | 1110285.0958 | 2713324.0342 | 1110286.2415 | 2713317.4595 | 1110287.3083 | 2713310.931 | 1110289.6212 | 2713305.1077 | 1110293.4928 | 2713299.1507 | 1110297.9067 | 2713287.9892 | 1110304.1024 | 2713279.4884 | 1110309.3804 | 2713271.2678 | 1110312.4846 | 2713266.6953 | 1110311.8877 | 2713263.053 | 1110310.3186 | 2713261.7705 | 1110305.736 | 2713263.1883 | 1110302.6605 | 2713267.9284 | 1110301.3259 | 2713272.1154 | 1110299.803 | 2713277.2561 | 1110296.886 | 2713282.4822 | 1110292.2916 | 2713285.0293 | 1110287.1135 | 2713289.1146 | 1110274.9039 | 2713292.4774 | 1110265.3715 | 2713296.7965 | 1110256.3684 | 2713299.7831 | 1110252.0768 | 2713304.5847 | 1110247.8637 | 2713312.4466 | 1110242.8628 | 2713324.8674 | 1110234.6449 | 2713334.577 | 1110227.9774 | 2713340.9016 | 1110222.1028 | 2713345.4194 | 1110215.7052 | 2713348.7218 | 1110211.0638 | 2713355.7333 | 1110205.2465 | 2713363.1893 | 1110200.049 | 2713369.9739 | 1110195.2059 | 2713383.735 | 1110182.6992 | 2713415.3731 | 1110149.2462 | 2713436.4605 | 1110135.598 | 2713446.0645 | 1110125.5043 | 2713464.1056 | 1110104.8835 | 2713487.7956 | 1110086.8368 | 2713498.4773 | 1110083.1787 | 2713506.1205 | 1110081.6207 | 2713515.1171 | 1110077.1416 | 2713526.038 | 1110069.7966
15 | 2713526.038 | 1110069.7966 | 2713534.0542 | 1110064.4208 | 2713542.3437 | 1110057.6604 | 2713547.9646 | 1110051.2431
16 | 2713533.2468 | 1110753.3766 | 2713538.3174 | 1110743.0424 | 2713540.9378 | 1110728.1815 | 2713550.0477 | 1110718.4233
17 | 2713550.0477 | 1110718.4233 | 2713554.1504 | 1110721.391 | 2713557.2064 | 1110722.4712 | 2713561.8132 | 1110722.4574 | 2713566.8087 | 1110721.9172 | 2713579.5093 | 1110718.942 | 2713589.3636 | 1110717.3143 | 2713593.0871 | 1110717.4174 | 2713596.0686 | 1110718.3517 | 2713605.88 | 1110724.7842 | 2713610.0602 | 1110727.6321
18 | 2713533.2468 | 1110753.3766 | 2713526.9141 | 1110765.0658 | 2713525.4459 | 1110766.6378
19 | 2713533.2468 | 1110753.3766 | 2713523.0277 | 1110761.2795 | 2713516.8334 | 1110767.9876
20 | 2713619.5329 | 1110732.445 | 2713615.9656 | 1110731.0217 | 2713612.1227 | 1110729.0373 | 2713610.0602 | 1110727.6321
21 | 2713348.4146 | 1110720.62 | 2713340.6639 | 1110720.1193 | 2713331.2996 | 1110719.5217 | 2713323.3048 | 1110723.168
22 | 2713348.4146 | 1110720.62 | 2713352.5866 | 1110745.9259 | 2713359.3634 | 1110752.6237 | 2713366.3673 | 1110757.5134 | 2713419.3132 | 1110793.783 | 2713433.2571 | 1110804.4843 | 2713443.9035 | 1110809.2532 | 2713448.5607 | 1110810.2632 | 2713451.087 | 1110810.3216 | 2713453.9659 | 1110809.7084 | 2713456.6333 | 1110808.4241 | 2713458.2593 | 1110806.62 | 2713461.8678 | 1110790.9771 | 2713463.063 | 1110788.6534 | 2713472.5797 | 1110777.802
23 | 2713348.4146 | 1110720.62 | 2713356.2685 | 1110713.5012
24 | 2713380.2565 | 1109797.922 | 2713380.2565 | 1109797.922 | 2713379.1027 | 1109801.336 | 2713376.5542 | 1109806.9922 | 2713374.8912 | 1109815.3111 | 2713375.0757 | 1109826.1106 | 2713375.9916 | 1109841.6159 | 2713376.8888 | 1109854.4078 | 2713377.2877 | 1109864.4887 | 2713376.5482 | 1109898.2418 | 2713375.877 | 1109910.1595 | 2713375.4767 | 1109916.2672 | 2713375.5941 | 1109921.1504 | 2713376.8351 | 1109925.8879 | 2713379.9225 | 1109930.6821 | 2713385.0326 | 1109936.4481 | 2713391.1618 | 1109943.1005 | 2713395.1989 | 1109947.9569 | 2713398.7686 | 1109953.8276 | 2713402.093 | 1109960.4164 | 2713404.2481 | 1109968.3508 | 2713405.4471 | 1109975.3335 | 2713407.3783 | 1109979.9504 | 2713409.9707 | 1109981.8668 | 2713413.8452 | 1109981.7725 | 2713416.6481 | 1109978.634 | 2713417.348 | 1109973.4547 | 2713417.4698 | 1109966.9415 | 2713418.2577 | 1109960.7744 | 2713419.862 | 1109957.2465 | 2713423.3445 | 1109953.3201 | 2713430.5821 | 1109950.3089 | 2713450.5558 | 1109943.7559 | 2713459.3891 | 1109941.3973 | 2713476.1744 | 1109936.6859 | 2713485.138 | 1109933.1512 | 2713491.0421 | 1109928.7031 | 2713495.2434 | 1109923.1336 | 2713497.2443 | 1109915.3547 | 2713497.4108 | 1109907.2858 | 2713497.1089 | 1109896.1616 | 2713498.7652 | 1109888.6209 | 2713502.6792 | 1109881.4671 | 2713512.1406 | 1109874.8842 | 2713525.5036 | 1109868.4188 | 2713533.835 | 1109864.3832 | 2713539.8524 | 1109856.3682 | 2713560.0364 | 1109824.5804 | 2713563.2231 | 1109821.5936 | 2713566.1116 | 1109821.7367 | 2713567.9693 | 1109824.4955 | 2713569.3177 | 1109828.857 | 2713570.145 | 1109840.8138 | 2713570.8215 | 1109856.6926 | 2713570.1669 | 1109870.5896 | 2713570.7043 | 1109878.2159 | 2713572.0854 | 1109884.546 | 2713582.9687 | 1109904.8077 | 2713586.6702 | 1109913.127 | 2713588.4751 | 1109917.8751 | 2713589.2391 | 1109922.4814 | 2713589.4476 | 1109926.21 | 2713588.1086 | 1109932.9005 | 2713585.797 | 1109956.0171 | 2713583.9918 | 1109976.8639 | 2713583.0455 | 1109996.4259 | 2713581.7243 | 1110007.9422 | 2713579.3959 | 1110015.4592 | 2713574.8156 | 1110023.1007 | 2713569.5541 | 1110029.1507 | 2713549.8556 | 1110049.0841 | 2713547.9646 | 1110051.2431
25 | 2713308.6448 | 1110732.7016 | 2713319.497 | 1110724.9047 | 2713323.3048 | 1110723.168
26 | 2713472.5797 | 1110777.802 | 2713483.1686 | 1110775.0945
27 | 2713356.2685 | 1110713.5012 | 2713358.282 | 1110711.6762 | 2713366.9076 | 1110699.6961 | 2713376.932 | 1110685.2516 | 2713384.7792 | 1110672.3342 | 2713392.138 | 1110659.0851 | 2713393.8303 | 1110654.1468 | 2713397.2682 | 1110630.6843 | 2713399.1372 | 1110625.8049 | 2713402.7 | 1110622.9363 | 2713409.1894 | 1110619.7999 | 2713421.0745 | 1110614.1517 | 2713427.5713 | 1110611.0378 | 2713432.3064 | 1110607.4796 | 2713435.0225 | 1110602.7717 | 2713438.2727 | 1110598.4296 | 2713442.5618 | 1110594.7518 | 2713446.8138 | 1110593.4638 | 2713450.3556 | 1110593.7858 | 2713455.0434 | 1110594.8186 | 2713458.6789 | 1110595.0868 | 2713462.81 | 1110593.652 | 2713468.0751 | 1110590.2704 | 2713473.9039 | 1110584.4423 | 2713492.0769 | 1110557.5421 | 2713502.8871 | 1110541.2002 | 2713510.6868 | 1110532.9072 | 2713517.537 | 1110526.609 | 2713521.6826 | 1110520.6938 | 2713523.683 | 1110514.1713 | 2713525.6064 | 1110505.9796 | 2713527.2915 | 1110496.4826 | 2713531.5756 | 1110480.6967 | 2713540.5891 | 1110456.7161 | 2713545.0805 | 1110446.7824 | 2713551.1146 | 1110438.2563 | 2713560.6614 | 1110427.4834 | 2713567.8323 | 1110418.5228 | 2713574.097 | 1110409.245 | 2713578.7023 | 1110403.5497 | 2713581.3843 | 1110401.0872 | 2713585.8803 | 1110398.7476 | 2713590.7383 | 1110396.8929 | 2713595.8097 | 1110393.9637 | 2713602.3326 | 1110388.6489 | 2713608.8802 | 1110379.1319 | 2713613.5156 | 1110367.7111 | 2713617.2223 | 1110355.9393 | 2713618.3656 | 1110351.0241 | 2713620.2602 | 1110346.8568 | 2713626.2684 | 1110340.9654 | 2713630.6972 | 1110336.4454 | 2713642.0786 | 1110322.6605 | 2713647.631 | 1110314.2812 | 2713661.2939 | 1110286.83 | 2713676.7491 | 1110268.5073 | 2713690.6682 | 1110254.2031 | 2713703.1298 | 1110246.7206 | 2713713.3419 | 1110242.1312 | 2713718.9487 | 1110239.5123 | 2713727.142 | 1110234.5848 | 2713769.8411 | 1110202.1826
28 | 2713502.8594 | 1110782.9053 | 2713496.7161 | 1110779.9439 | 2713495.7488 | 1110779.1809 | 2713495.2616 | 1110778.3712 | 2713495.0922 | 1110777.5119 | 2713495.0169 | 1110775.7538 | 2713495.159 | 1110773.9441 | 2713495.6411 | 1110772.1408 | 2713496.7149 | 1110770.5154 | 2713501.4335 | 1110764.9444 | 2713503.645 | 1110756.2244 | 2713487.6928 | 1110773.9378
29 | 2713487.6928 | 1110773.9378 | 2713483.1686 | 1110775.0945
30 | 2713502.8594 | 1110782.9053 | 2713510.7049 | 1110774.6244 | 2713516.8334 | 1110767.9876
31 | 2714189.4028 | 1110529.4445 | 2714195.267 | 1110531.623 | 2714202.6605 | 1110538.3778 | 2714208.4537 | 1110556.6325
32 | 2714189.4028 | 1110529.4445 | 2714190.3728 | 1110525.9604 | 2714195.0829 | 1110508.3152
33 | 2714208.4537 | 1110556.6325 | 2714187.407 | 1110563.7184
34 | 2713843.3461 | 1110704.0561 | 2713832.9599 | 1110710.5433 | 2713829.8221 | 1110711.763 | 2713825.9622 | 1110712.3354 | 2713816.352 | 1110712.4885 | 2713813.7058 | 1110712.5394
35 | 2713843.3461 | 1110704.0561 | 2713844.9964 | 1110703.0198 | 2713847.4992 | 1110702.2773 | 2713850.8025 | 1110701.7056 | 2713903.2229 | 1110699.5995 | 2713909.3438 | 1110699.2253 | 2713916.7988 | 1110698.5983 | 2713923.3001 | 1110697.7198 | 2713927.3584 | 1110696.8732 | 2713931.4378 | 1110695.3155 | 2713936.1938 | 1110692.7142 | 2713950.4526 | 1110682.9311 | 2713954.7987 | 1110680.3443 | 2713956.922 | 1110679.4975
36 | 2713731.7548 | 1110712.4319 | 2713731.8499 | 1110712.4256 | 2713737.2253 | 1110713.0601 | 2713772.9235 | 1110720.6236 | 2713778.0232 | 1110721.1196 | 2713782.6658 | 1110721.2623 | 2713787.982 | 1110720.5171 | 2713792.7147 | 1110719.1494 | 2713801.6243 | 1110715.1473 | 2713806.3404 | 1110713.4346 | 2713811.0865 | 1110712.5898 | 2713813.7058 | 1110712.5394
37 | 2714109.0372 | 1110697.0997 | 2714098.999 | 1110690.8289 | 2714077.7074 | 1110681.2554 | 2714072.3369 | 1110678.7193 | 2714067.452 | 1110675.025 | 2714063.5037 | 1110670.8479 | 2714053.7761 | 1110657.5117 | 2714050.335 | 1110653.9001 | 2714046.3035 | 1110651.267 | 2714020.331 | 1110641.5166 | 2714016.4865 | 1110641.2664 | 2714012.4549 | 1110641.513 | 2714008.6898 | 1110642.3872 | 2714004.5379 | 1110644.0992 | 2714001.2067 | 1110646.1491 | 2713996.9597 | 1110650.4499 | 2713982.6033 | 1110666.6465 | 2713979.3508 | 1110669.8542 | 2713974.6779 | 1110672.9685 | 2713969.5489 | 1110675.2625 | 2713960.5226 | 1110678.0615 | 2713956.922 | 1110679.4975
38 | 2714175.6129 | 1110572.9696 | 2714176.7443 | 1110569.9444 | 2714177.7259 | 1110568.3062 | 2714178.8012 | 1110567.0256 | 2714180.9636 | 1110565.8878 | 2714187.407 | 1110563.7184
39 | 2714175.6129 | 1110572.9696 | 2714174.2566 | 1110576.4463 | 2714173.321 | 1110577.6962 | 2714172.025 | 1110578.7948 | 2714170.2526 | 1110579.3285 | 2714168.5901 | 1110579.3639 | 2714152.6752 | 1110577.7299 | 2714149.6497 | 1110577.9064 | 2714145.7586 | 1110578.4891 | 2714141.4172 | 1110579.5859 | 2714137.7487 | 1110581.0735 | 2714133.9957 | 1110583.3488 | 2714130.5715 | 1110585.8193 | 2714127.4137 | 1110588.5062 | 2714125.1238 | 1110591.0759 | 2714123.4965 | 1110593.7582 | 2714121.9709 | 1110597.1985 | 2714120.8395 | 1110601.0464 | 2714119.9692 | 1110604.9882 | 2714119.2644 | 1110609.5781 | 2714118.7141 | 1110617.0505 | 2714118.529 | 1110623.1844 | 2714119.6617 | 1110638.9719 | 2714120.399 | 1110644.9675 | 2714121.0924 | 1110648.3717 | 2714124.6234 | 1110660.3462 | 2714125.398 | 1110663.9521 | 2714125.7332 | 1110667.4941 | 2714125.8534 | 1110670.1425 | 2714125.1616 | 1110673.6319 | 2714123.9837 | 1110676.2559 | 2714111.9661 | 1110693.0188
40 | 2714111.9661 | 1110693.0188 | 2714120.5391 | 1110692.9467 | 2714139.4599 | 1110666.5034
41 | 2714109.0372 | 1110697.0997 | 2714111.9661 | 1110693.0188
42 | 2714260.2057 | 1110246.8442 | 2714256.3645 | 1110246.8162 | 2714240.9403 | 1110247.8065
43 | 2714220.8248 | 1110207.3741 | 2714220.8081 | 1110207.398 | 2714211.3552 | 1110219.2612 | 2714211.1921 | 1110219.4818
44 | 2714271.2436 | 1110197.2411 | 2714263.2276 | 1110194.7884 | 2714242.4406 | 1110190.7609 | 2714230.1829 | 1110193.9433 | 2714220.8248 | 1110207.3741
45 | 2714259.9878 | 1110237.9007 | 2714260.2057 | 1110246.8442
46 | 2714259.9878 | 1110237.9007 | 2714259.8879 | 1110233.7715
47 | 2714271.2436 | 1110197.2411 | 2714266.4913 | 1110203.7226 | 2714260.9509 | 1110215.515 | 2714259.7489 | 1110228.0229 | 2714259.8879 | 1110233.7715
48 | 2714283.9141 | 1110179.9571 | 2714274.9409 | 1110192.1962
49 | 2714274.9409 | 1110192.1962 | 2714271.2436 | 1110197.2411
50 | 2714442.8144 | 1110357.4052 | 2714454.0077 | 1110351.2234 | 2714460.0864 | 1110345.9203
51 | 2714438.3355 | 1110363.7249 | 2714442.8144 | 1110357.4052 | 2714442.8144 | 1110357.4052
52 | 2713619.5329 | 1110732.445 | 2713627.125 | 1110729.8633 | 2713645.9545 | 1110723.2005 | 2713651.6799 | 1110722.0626 | 2713657.5604 | 1110722.1395 | 2713663.3891 | 1110723.3273 | 2713673.3325 | 1110726.4268 | 2713678.6064 | 1110727.5264 | 2713683.5699 | 1110727.8641 | 2713688.5492 | 1110727.3571 | 2713694.0174 | 1110725.9253 | 2713715.3307 | 1110716.2406 | 2713719.4194 | 1110714.594 | 2713725.2875 | 1110712.8584 | 2713731.7548 | 1110712.4319
53 | 2713619.5329 | 1110732.445 | 2713619.4965 | 1110734.8015 | 2713619.4525 | 1110737.1467 | 2713619.3948 | 1110740.6368 | 2713618.6409 | 1110744.1584 | 2713612.6303 | 1110763.5835
54 | 2713790.3306 | 1110188.6945 | 2713786.4602 | 1110190.5345 | 2713779.7469 | 1110194.8559 | 2713770.3799 | 1110201.7737 | 2713769.8411 | 1110202.1826
55 | 2713380.6324 | 1109790.2239 | 2713381.1622 | 1109793.725 | 2713380.2565 | 1109797.922
56 | 2713606.3757 | 1110786.6478 | 2713607.9412 | 1110778.9367 | 2713610.2982 | 1110771.1201 | 2713612.6303 | 1110763.5835
57 | 2714438.3355 | 1110363.7249 | 2714436.9479 | 1110367.2122 | 2714433.5335 | 1110378.5665 | 2714429.6426 | 1110386.087 | 2714409.4363 | 1110411.534 | 2714403.3903 | 1110424.3063 | 2714399.2406 | 1110429.576 | 2714387.3586 | 1110439.4919 | 2714385.7582 | 1110443.6089 | 2714387.3484 | 1110446.9968 | 2714391.7076 | 1110447.0123 | 2714399.7024 | 1110443.0033
58 | 2714438.3355 | 1110363.7249 | 2714461.6763 | 1110363.8765 | 2714464.5137 | 1110364.456
59 | 2714464.5137 | 1110364.456 | 2714468.7427 | 1110365.3197

## bus_geodata
| x | y | coords
0 | 2714246.4983 | 1110304.7565
1 | 2714279.4605 | 1110302.0657
2 | 2714168.3397 | 1110284.4618
3 | 2714310.3419 | 1110299.8943
4 | 2714182.4701 | 1110270.4851
5 | 2714186.3896 | 1109920.8248
6 | 2714500.2973 | 1110183.2177
7 | 2714194.0883 | 1110261.4422
8 | 2713809.9225 | 1110182.8979
9 | 2714476.7243 | 1110324.8848
10 | 2713803.2821 | 1109784.034
11 | 2713526.038 | 1110069.7966
12 | 2713689.6563 | 1109597.5566
13 | 2713550.0477 | 1110718.4233
14 | 2713533.2468 | 1110753.3766
15 | 2713610.0602 | 1110727.6321
16 | 2713348.4146 | 1110720.62
17 | 2713547.9646 | 1110051.2431
18 | 2713323.3048 | 1110723.168
19 | 2713472.5797 | 1110777.802
20 | 2713356.2685 | 1110713.5012
21 | 2713487.6928 | 1110773.9378
22 | 2713502.8594 | 1110782.9053
23 | 2713483.1686 | 1110775.0945
24 | 2713525.4459 | 1110766.6378
25 | 2713516.8334 | 1110767.9876
26 | 2714189.4028 | 1110529.4445
27 | 2714208.4537 | 1110556.6325
28 | 2714195.0829 | 1110508.3152
29 | 2713843.3461 | 1110704.0561
30 | 2713813.7058 | 1110712.5394
31 | 2713956.922 | 1110679.4975
32 | 2714175.6129 | 1110572.9695
33 | 2714187.407 | 1110563.7184
34 | 2714111.9661 | 1110693.0188
35 | 2714240.9403 | 1110247.8065
36 | 2714211.1921 | 1110219.4818
37 | 2714220.8248 | 1110207.3741
38 | 2714260.2057 | 1110246.8442
39 | 2714259.9878 | 1110237.9007
40 | 2714259.8879 | 1110233.7715
41 | 2714274.9409 | 1110192.1962
42 | 2714283.9141 | 1110179.9571
43 | 2714271.2436 | 1110197.2411
44 | 2714460.0864 | 1110345.9203
45 | 2714442.8144 | 1110357.4052
46 | 2714109.0372 | 1110697.0997
47 | 2713731.7548 | 1110712.4319
48 | 2714139.4599 | 1110666.5034
49 | 2713619.5329 | 1110732.445
50 | 2713769.8411 | 1110202.1826
51 | 2713790.3306 | 1110188.6945
52 | 2713308.6448 | 1110732.7016
53 | 2713380.6324 | 1109790.2239
54 | 2713380.2565 | 1109797.922
55 | 2713606.3757 | 1110786.6478
56 | 2713612.6303 | 1110763.5835
57 | 2714399.7024 | 1110443.0033
58 | 2714438.3355 | 1110363.7249
59 | 2714464.5137 | 1110364.456
60 | 2714468.7427 | 1110365.3197
61 | 2713731.7548 | 1110712.4319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1