## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5266-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5266-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5266-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5266-11_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5266-11_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5266-11_0_4_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_5266-11_0_4_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_5266-11_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5266-11_0_4_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_5266-11_0_4_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_5266-11_0_4_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_5266-11_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5266-11_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5266-11_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5266-11_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5266-11_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5266-11_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5266-11_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5266-11_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5266-11_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_5266-11_0_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_5266-11_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5266-11_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5266-11_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_5266-11_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_5266-11_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_5266-11_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_5266-11_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5266-11_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5266-11_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5266-11_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5266-11_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5266-11_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5266-11_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5266-11_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5266-11_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5266-11_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5266-11_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5266-11_0_4_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_5266-11_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5266-11_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5266-11_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5266-11_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5266-11_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5266-11_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5266-11_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5266-11_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_5266-11_0_4_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_5266-11_0_4_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_5266-11_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_5266-11_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_5266-11_0_4_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_5266-11_0_4_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_5266-11_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5266-11_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5266-11_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_5266-11_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5266-11_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5266-11_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5266-11_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5266-11_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_5266-11_0_4_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_5266-11_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_5266-11_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5266-11_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_5266-11_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5266-11_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5266-11_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5266-11_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5266-11_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5266-11_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5266-11_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5266-11_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_5266-11_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5266-11_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_5266-11_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5266-11_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5266-11_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5266-11_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_5266-11_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_5266-11_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5266-11_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5266-11_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_5266-11_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5266-11_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_5266-11_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_5266-11_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_5266-11_0_4_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_5266-11_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_5266-11_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_MV_70_1_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5266-11_0_4_load_0 | 0 | 0.0031565 | 0.00079109 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5266-11_0_4_load_1 | 1 | 0.0037072 | 0.00092911 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5266-11_0_4_load_5 | 4 | 0.0033368 | 0.00083628 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5266-11_0_4_load_56 | 6 | 0.0044042 | 0.0011038 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5266-11_0_4_load_6 | 7 | 0.0027207 | 0.00068188 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5266-11_0_4_load_44 | 8 | 0.015291 | 0.0038323 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5266-11_0_4_load_57 | 10 | 0.0044098 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5266-11_0_4_load_7 | 11 | 0.003171 | 0.00079472 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5266-11_0_4_load_9 | 12 | 0.010988 | 0.0027539 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5266-11_0_4_load_12 | 15 | 0.023109 | 0.0057916 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5266-11_0_4_load_15 | 16 | 0.014073 | 0.0035271 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5266-11_0_4_load_39 | 17 | 0.013428 | 0.0033654 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5266-11_0_4_load_13 | 18 | 0.021045 | 0.0052743 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5266-11_0_4_load_40 | 19 | 0.051578 | 0.012927 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5266-11_0_4_load_43 | 20 | 0.009815 | 0.0024599 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5266-11_0_4_load_14 | 21 | 0.0028385 | 0.00071141 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5266-11_0_4_load_31 | 23 | 0.0040191 | 0.0010073 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5266-11_0_4_load_30 | 24 | 0.0036145 | 0.00090587 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5266-11_0_4_load_32 | 25 | 0.0033817 | 0.00084753 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5266-11_0_4_load_24 | 26 | 0.00322 | 0.00080702 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5266-11_0_4_load_17 | 27 | 0.0050062 | 0.0012547 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5266-11_0_4_load_20 | 30 | 0.0053724 | 0.0013465 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5266-11_0_4_load_21 | 31 | 0.0048734 | 0.0012214 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5266-11_0_4_load_23 | 34 | 0.003246 | 0.00081353 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5266-11_0_4_load_26 | 35 | 0.0032676 | 0.00081894 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5266-11_0_4_load_27 | 36 | 0.0065289 | 0.0016363 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5266-11_0_4_load_28 | 37 | 0.0053793 | 0.0013482 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5266-11_0_4_load_86 | 38 | 0.0074484 | 0.0018667 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5266-11_0_4_load_29 | 39 | 0.0056527 | 0.0014167 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5266-11_0_4_load_34 | 40 | 0.0059126 | 0.0014818 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5266-11_0_4_load_35 | 41 | 0.0036991 | 0.00092709 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5266-11_0_4_load_33 | 42 | 0.0049087 | 0.0012302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5266-11_0_4_load_38 | 45 | 0.0051403 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5266-11_0_4_load_85 | 47 | 0.0018926 | 0.00047434 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5266-11_0_4_load_52 | 50 | 0.0093588 | 0.0023455 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5266-11_0_4_load_84 | 51 | 0.0018629 | 0.00046688 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5266-11_0_4_load_88 | 52 | 0.0065853 | 0.0016504 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5266-11_0_4_load_47 | 53 | 0.011409 | 0.0028594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5266-11_0_4_load_48 | 54 | 0.012765 | 0.0031991 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5266-11_0_4_load_45 | 55 | 0.0123 | 0.0030828 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5266-11_0_4_load_46 | 56 | 0.013392 | 0.0033564 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5266-11_0_4_load_49 | 57 | 0.012184 | 0.0030535 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5266-11_0_4_load_50 | 58 | 0.011841 | 0.0029677 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5266-11_0_4_load_51 | 59 | 0.005065 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5266-11_0_4_load_68 | 61 | 0.0065997 | 0.001654 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5266-11_0_4_load_67 | 62 | 0.0041781 | 0.0010471 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5266-11_0_4_load_66 | 64 | 0.0042717 | 0.0010706 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5266-11_0_4_load_58 | 65 | 0.0044548 | 0.0011165 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5266-11_0_4_load_59 | 66 | 0.0045119 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5266-11_0_4_load_60 | 67 | 0.0025493 | 0.00063891 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5266-11_0_4_load_61 | 68 | 0.0025099 | 0.00062905 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5266-11_0_4_load_62 | 69 | 0.0026291 | 0.00065891 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5266-11_0_4_load_63 | 70 | 0.004355 | 0.0010915 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5266-11_0_4_load_64 | 71 | 0.004093 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5266-11_0_4_load_65 | 72 | 0.004244 | 0.0010636 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5266-11_0_4_load_70 | 73 | 0.009846 | 0.0024677 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5266-11_0_4_load_72 | 76 | 0.0035194 | 0.00088204 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5266-11_0_4_load_74 | 77 | 0.0022415 | 0.00056176 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5266-11_0_4_load_75 | 78 | 0.0036422 | 0.00091282 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5266-11_0_4_load_76 | 79 | 0.0026797 | 0.00067158 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5266-11_0_4_load_77 | 80 | 0.0032438 | 0.00081296 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5266-11_0_4_load_78 | 81 | 0.0051703 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5266-11_0_4_load_79 | 82 | 0.0083411 | 0.0020905 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5266-11_0_4_load_81 | 83 | 0.03245 | 0.0081326 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5266-11_0_4_load_82 | 84 | 0.0019923 | 0.00049933 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5266-11_0_4_load_83 | 85 | 0.0020282 | 0.00050833 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5266-11_0_4_load_91 | 87 | 0.0066516 | 0.001667 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5266-11_0_4_load_89 | 88 | 0.0058954 | 0.0014775 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5266-11_0_4_load_92 | 89 | 0.011455 | 0.002871 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5266-11_0_4_line_0 |  | 0 | 1 | 0.028895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5266-11_0_4_line_1 |  | 0 | 2 | 0.030727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5266-11_0_4_line_2 |  | 2 | 3 | 0.021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5266-11_0_4_line_3 |  | 2 | 4 | 0.021561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5266-11_0_4_line_4 |  | 3 | 5 | 0.028513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5266-11_0_4_line_5 |  | 3 | 6 | 0.0089062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5266-11_0_4_line_6 |  | 4 | 7 | 0.046447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5266-11_0_4_line_7 |  | 5 | 8 | 0.025291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5266-11_0_4_line_8 |  | 5 | 9 | 0.033693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5266-11_0_4_line_9 |  | 6 | 10 | 0.013577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5266-11_0_4_line_10 |  | 7 | 11 | 0.0167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5266-11_0_4_line_11 |  | 9 | 20 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5266-11_0_4_line_12 |  | 9 | 15 | 0.025524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5266-11_0_4_line_13 |  | 10 | 65 | 0.013559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5266-11_0_4_line_14 |  | 12 | 13 | 0.025046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5266-11_0_4_line_15 |  | 13 | 14 | 0.005301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5266-11_0_4_line_16 |  | 13 | 15 | 0.010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5266-11_0_4_line_17 |  | 14 | 16 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5266-11_0_4_line_18 |  | 14 | 17 | 0.038552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5266-11_0_4_line_19 |  | 16 | 18 | 0.019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5266-11_0_4_line_20 |  | 17 | 19 | 0.018216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5266-11_0_4_line_21 |  | 18 | 21 | 0.016811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5266-11_0_4_line_22 |  | 20 | 53 | 0.022338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5266-11_0_4_line_23 |  | 21 | 22 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5266-11_0_4_line_24 |  | 22 | 23 | 0.027953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5266-11_0_4_line_25 |  | 22 | 24 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5266-11_0_4_line_26 |  | 23 | 25 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5266-11_0_4_line_27 |  | 24 | 26 | 0.014918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5266-11_0_4_line_28 |  | 25 | 42 | 0.052428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5266-11_0_4_line_29 |  | 26 | 32 | 0.01775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5266-11_0_4_line_30 |  | 27 | 28 | 0.014589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5266-11_0_4_line_31 |  | 27 | 29 | 0.017204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5266-11_0_4_line_32 |  | 28 | 30 | 0.030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5266-11_0_4_line_33 |  | 29 | 31 | 0.0088859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5266-11_0_4_line_34 |  | 30 | 32 | 0.013283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5266-11_0_4_line_35 |  | 31 | 33 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5266-11_0_4_line_36 |  | 32 | 34 | 0.036258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5266-11_0_4_line_37 |  | 33 | 35 | 0.0096513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5266-11_0_4_line_38 |  | 34 | 36 | 0.0015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5266-11_0_4_line_39 |  | 35 | 38 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5266-11_0_4_line_40 |  | 36 | 37 | 0.023756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5266-11_0_4_line_41 |  | 37 | 39 | 0.00039227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5266-11_0_4_line_42 |  | 39 | 40 | 0.024663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5266-11_0_4_line_43 |  | 40 | 41 | 0.00018377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5266-11_0_4_line_44 |  | 43 | 44 | 0.052151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5266-11_0_4_line_45 |  | 43 | 45 | 0.026442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5266-11_0_4_line_46 |  | 44 | 46 | 0.030786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5266-11_0_4_line_47 |  | 44 | 47 | 0.010815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5266-11_0_4_line_48 |  | 45 | 48 | 0.031647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5266-11_0_4_line_49 |  | 46 | 49 | 0.029504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5266-11_0_4_line_50 |  | 46 | 50 | 0.027502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5266-11_0_4_line_51 |  | 47 | 51 | 0.0094094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5266-11_0_4_line_52 |  | 48 | 52 | 0.043209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5266-11_0_4_line_53 |  | 49 | 56 | 0.032414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5266-11_0_4_line_54 |  | 50 | 59 | 0.021873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5266-11_0_4_line_55 |  | 51 | 85 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5266-11_0_4_line_56 |  | 52 | 86 | 0.0067561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5266-11_0_4_line_57 |  | 53 | 54 | 0.016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5266-11_0_4_line_58 |  | 54 | 57 | 0.015801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5266-11_0_4_line_59 |  | 55 | 56 | 0.052097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5266-11_0_4_line_60 |  | 57 | 58 | 0.015818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5266-11_0_4_line_61 |  | 58 | 59 | 0.015928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5266-11_0_4_line_62 |  | 60 | 61 | 0.041297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5266-11_0_4_line_63 |  | 60 | 62 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5266-11_0_4_line_64 |  | 61 | 63 | 0.029247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5266-11_0_4_line_65 |  | 62 | 64 | 0.013535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5266-11_0_4_line_66 |  | 63 | 73 | 0.024969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5266-11_0_4_line_67 |  | 63 | 74 | 0.078151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5266-11_0_4_line_68 |  | 64 | 72 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5266-11_0_4_line_69 |  | 65 | 66 | 0.015821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5266-11_0_4_line_70 |  | 66 | 67 | 0.013376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5266-11_0_4_line_71 |  | 67 | 68 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5266-11_0_4_line_72 |  | 68 | 69 | 0.016829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5266-11_0_4_line_73 |  | 69 | 70 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5266-11_0_4_line_74 |  | 70 | 71 | 0.013727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5266-11_0_4_line_75 |  | 71 | 72 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5266-11_0_4_line_76 |  | 74 | 75 | 0.044627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5266-11_0_4_line_77 |  | 74 | 76 | 0.035983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5266-11_0_4_line_78 |  | 75 | 77 | 0.0038196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5266-11_0_4_line_79 |  | 77 | 78 | 0.017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5266-11_0_4_line_80 |  | 78 | 79 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5266-11_0_4_line_81 |  | 79 | 80 | 0.0035748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5266-11_0_4_line_82 |  | 80 | 81 | 0.00058052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5266-11_0_4_line_83 |  | 81 | 82 | 0.023647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5266-11_0_4_line_84 |  | 83 | 84 | 0.0091069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5266-11_0_4_line_85 |  | 83 | 85 | 0.00053864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5266-11_0_4_line_86 |  | 86 | 87 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5266-11_0_4_line_87 |  | 86 | 88 | 0.027407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5266-11_0_4_line_88 |  | 87 | 89 | 0.017263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5266-11_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 90 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2716999.2716 | 1079021.7449 | 2717023.5828 | 1079006.1275
1 | 2716973.4194 | 1079038.3523 | 2716999.2716 | 1079021.7449
2 | 2716973.4194 | 1079038.3523 | 2716955.1213 | 1079050.1096
3 | 2716973.4194 | 1079038.3523 | 2716985.2916 | 1079056.3498
4 | 2716955.1213 | 1079050.1096 | 2716931.0808 | 1079065.5483
5 | 2716955.1213 | 1079050.1096 | 2716949.771 | 1079042.9896
6 | 2716985.2916 | 1079056.3498 | 2717003.5209 | 1079083.9844 | 2717014.807 | 1079076.8701
7 | 2716931.0808 | 1079065.5483 | 2716914.5749 | 1079046.3855
8 | 2716931.0808 | 1079065.5483 | 2716902.6819 | 1079083.8055
9 | 2716949.771 | 1079042.9896 | 2716941.6146 | 1079032.1353
10 | 2717014.807 | 1079076.8701 | 2717028.9341 | 1079067.965
11 | 2716902.6819 | 1079083.8055 | 2716891.0712 | 1079069.5821
12 | 2716902.6819 | 1079083.8055 | 2716881.2063 | 1079097.5987
13 | 2716941.6146 | 1079032.1353 | 2716933.4693 | 1079021.2958
14 | 2716872.7102 | 1079103.0556 | 2716885.7833 | 1079124.4194
15 | 2716868.2419 | 1079105.9275 | 2716872.7102 | 1079103.0556
16 | 2716872.7102 | 1079103.0556 | 2716881.2063 | 1079097.5987
17 | 2716868.2419 | 1079105.9275 | 2716856.5292 | 1079113.4527
18 | 2716868.2419 | 1079105.9275 | 2716846.7633 | 1079073.9135
19 | 2716856.5292 | 1079113.4527 | 2716839.7426 | 1079124.2379
20 | 2716846.7633 | 1079073.9135 | 2716836.6147 | 1079058.787
21 | 2716825.5988 | 1079133.325 | 2716839.7426 | 1079124.2379
22 | 2716891.0712 | 1079069.5821 | 2716876.9456 | 1079052.278
23 | 2716805.6951 | 1079146.1128 | 2716825.5988 | 1079133.325
24 | 2716805.6951 | 1079146.1128 | 2716793.0482 | 1079121.1848
25 | 2716805.6951 | 1079146.1128 | 2716791.8809 | 1079155.0043
26 | 2716793.0482 | 1079121.1848 | 2716787.6515 | 1079110.5475
27 | 2716779.3364 | 1079163.0786 | 2716791.8809 | 1079155.0043
28 | 2716763.931 | 1079063.7928 | 2716787.6515 | 1079110.5475
29 | 2716764.4111 | 1079172.6852 | 2716779.3364 | 1079163.0786
30 | 2716725.3989 | 1079192.2186 | 2716719.3463 | 1079178.944
31 | 2716712.2088 | 1079163.2901 | 2716719.3463 | 1079178.944
32 | 2716725.3989 | 1079192.2186 | 2716746.4909 | 1079184.2279 | 2716753.2442 | 1079179.878
33 | 2716712.2088 | 1079163.2901 | 2716708.5222 | 1079155.205
34 | 2716764.4111 | 1079172.6852 | 2716753.2442 | 1079179.878
35 | 2716701.688 | 1079140.2168 | 2716708.5222 | 1079155.205
36 | 2716764.4111 | 1079172.6852 | 2716748.8151 | 1079139.9532
37 | 2716701.688 | 1079140.2168 | 2716697.6822 | 1079131.4361
38 | 2716748.8151 | 1079139.9532 | 2716748.1357 | 1079138.5274
39 | 2716691.5919 | 1079118.0857 | 2716691.5919 | 1079118.0857 | 2716697.6822 | 1079131.4361
40 | 2716737.9171 | 1079117.0813 | 2716748.1357 | 1079138.5274
41 | 2716737.7484 | 1079116.7272 | 2716737.9171 | 1079117.0813
42 | 2716727.1398 | 1079094.4626 | 2716737.7484 | 1079116.7272
43 | 2716727.0608 | 1079094.2967 | 2716727.1398 | 1079094.4626
44 | 2716782.578 | 1078985.334 | 2716767.5849 | 1078995.3317 | 2716737.4228 | 1079011.5433
45 | 2716737.4228 | 1079011.5433 | 2716729.9374 | 1078986.1829
46 | 2716805.4289 | 1078964.6683 | 2716788.3367 | 1078980.8078 | 2716782.578 | 1078985.334
47 | 2716782.578 | 1078985.334 | 2716788.9742 | 1078994.0543
48 | 2716722.3417 | 1078955.5817 | 2716722.5663 | 1078960.0781 | 2716722.94 | 1078962.4758 | 2716729.9374 | 1078986.1829
49 | 2716805.4289 | 1078964.6683 | 2716815.2337 | 1078953.7595 | 2716824.539 | 1078942.1629
50 | 2716805.4289 | 1078964.6683 | 2716822.8205 | 1078985.9734
51 | 2716794.5393 | 1079001.6415 | 2716788.9742 | 1078994.0543
52 | 2716722.3417 | 1078955.5817 | 2716730.4993 | 1078955.6157 | 2716736.0571 | 1078955.0884 | 2716747.4517 | 1078952.8494 | 2716758.7382 | 1078950.5751 | 2716763.8447 | 1078949.2719 | 2716764.8327 | 1078948.8556
53 | 2716824.539 | 1078942.1629 | 2716845.7379 | 1078966.6843
54 | 2716836.6523 | 1079002.9177 | 2716822.8205 | 1078985.9734
55 | 2716801.7413 | 1079011.4603 | 2716794.5393 | 1079001.6415
56 | 2716770.6385 | 1078945.466 | 2716769.124 | 1078946.649 | 2716766.5706 | 1078948.1233 | 2716764.8327 | 1078948.8556
57 | 2716876.9456 | 1079052.278 | 2716866.7195 | 1079039.7507
58 | 2716866.7195 | 1079039.7507 | 2716856.7273 | 1079027.51
59 | 2716845.7379 | 1078966.6843 | 2716879.8092 | 1079006.0956
60 | 2716856.7273 | 1079027.51 | 2716846.7248 | 1079015.2567
61 | 2716846.7248 | 1079015.2567 | 2716836.6523 | 1079002.9177
62 | 2716849.2643 | 1078908.8577 | 2716853.5173 | 1078905.8704 | 2716859.0523 | 1078902.4852 | 2716868.3403 | 1078897.8711 | 2716883.0712 | 1078890.6261 | 2716885.5197 | 1078889.2171
63 | 2716849.2643 | 1078908.8577 | 2716856.9353 | 1078919.1026
64 | 2716903.6144 | 1078866.7586 | 2716902.1099 | 1078869.4428 | 2716898.5449 | 1078875.4454 | 2716895.4378 | 1078879.8556 | 2716893.1002 | 1078883.0352 | 2716890.6334 | 1078885.6565 | 2716887.7459 | 1078887.936 | 2716885.5197 | 1078889.2171
65 | 2716865.0475 | 1078929.9369 | 2716856.9353 | 1078919.1026
66 | 2716921.1826 | 1078884.5526 | 2716903.6144 | 1078866.7586
67 | 2716947.3588 | 1078844.5152 | 2716924.7836 | 1078824.0455 | 2716905.6658 | 1078863.1065 | 2716903.6144 | 1078866.7586
68 | 2716873.1027 | 1078940.6951 | 2716865.0475 | 1078929.9369
69 | 2716933.4693 | 1079021.2958 | 2716928.9001 | 1079015.2153 | 2716923.9761 | 1079008.6391
70 | 2716923.9761 | 1079008.6391 | 2716915.9588 | 1078997.9315
71 | 2716915.9588 | 1078997.9315 | 2716907.8605 | 1078987.1158
72 | 2716907.8605 | 1078987.1158 | 2716897.7737 | 1078973.6445
73 | 2716897.7737 | 1078973.6445 | 2716889.5807 | 1078962.7022
74 | 2716889.5807 | 1078962.7022 | 2716881.3533 | 1078951.7141
75 | 2716881.3533 | 1078951.7141 | 2716873.1027 | 1078940.6951
76 | 2716947.3588 | 1078844.5152 | 2716964.8156 | 1078863.2522 | 2716977.7807 | 1078877.1663
77 | 2716947.3588 | 1078844.5152 | 2716924.5015 | 1078872.3054
78 | 2716977.7807 | 1078877.1663 | 2716980.385 | 1078879.9604
79 | 2716992.375 | 1078892.8241 | 2716980.385 | 1078879.9604
80 | 2716992.375 | 1078892.8241 | 2717002.6245 | 1078903.8273
81 | 2717002.6245 | 1078903.8273 | 2717005.0611 | 1078906.4431
82 | 2717005.0611 | 1078906.4431 | 2717005.4568 | 1078906.8678
83 | 2717005.4568 | 1078906.8678 | 2717021.5748 | 1078924.171
84 | 2716802.0599 | 1079011.8946 | 2716807.4461 | 1079019.2379
85 | 2716801.7413 | 1079011.4603 | 2716802.0599 | 1079011.8946
86 | 2716770.6385 | 1078945.466 | 2716778.5731 | 1078939.3025
87 | 2716770.6385 | 1078945.466 | 2716779.3029 | 1078971.4669
88 | 2716778.5731 | 1078939.3025 | 2716780.2453 | 1078938.0003 | 2716791.9554 | 1078928.3979

## bus_geodata
| x | y | coords
0 | 2716999.2716 | 1079021.7449
1 | 2717023.5828 | 1079006.1275
2 | 2716973.4194 | 1079038.3523
3 | 2716955.1213 | 1079050.1096
4 | 2716985.2916 | 1079056.3498
5 | 2716931.0808 | 1079065.5483
6 | 2716949.771 | 1079042.9896
7 | 2717014.807 | 1079076.8701
8 | 2716914.5749 | 1079046.3855
9 | 2716902.6819 | 1079083.8055
10 | 2716941.6146 | 1079032.1353
11 | 2717028.9341 | 1079067.965
12 | 2716885.7833 | 1079124.4194
13 | 2716872.7102 | 1079103.0556
14 | 2716868.2419 | 1079105.9275
15 | 2716881.2063 | 1079097.5987
16 | 2716856.5292 | 1079113.4527
17 | 2716846.7633 | 1079073.9135
18 | 2716839.7426 | 1079124.2379
19 | 2716836.6147 | 1079058.787
20 | 2716891.0712 | 1079069.5821
21 | 2716825.5988 | 1079133.325
22 | 2716805.6951 | 1079146.1128
23 | 2716793.0482 | 1079121.1848
24 | 2716791.8809 | 1079155.0043
25 | 2716787.6515 | 1079110.5475
26 | 2716779.3364 | 1079163.0786
27 | 2716719.3463 | 1079178.944
28 | 2716725.3989 | 1079192.2186
29 | 2716712.2088 | 1079163.2901
30 | 2716753.2442 | 1079179.878
31 | 2716708.5222 | 1079155.205
32 | 2716764.4111 | 1079172.6852
33 | 2716701.688 | 1079140.2168
34 | 2716748.8151 | 1079139.9532
35 | 2716697.6822 | 1079131.4361
36 | 2716748.1357 | 1079138.5274
37 | 2716737.9171 | 1079117.0813
38 | 2716691.5919 | 1079118.0857
39 | 2716737.7484 | 1079116.7272
40 | 2716727.1398 | 1079094.4626
41 | 2716727.0608 | 1079094.2967
42 | 2716763.931 | 1079063.7928
43 | 2716737.4228 | 1079011.5433
44 | 2716782.578 | 1078985.334
45 | 2716729.9374 | 1078986.1829
46 | 2716805.4289 | 1078964.6683
47 | 2716788.9742 | 1078994.0543
48 | 2716722.3417 | 1078955.5817
49 | 2716824.539 | 1078942.1629
50 | 2716822.8205 | 1078985.9734
51 | 2716794.5393 | 1079001.6415
52 | 2716764.8327 | 1078948.8556
53 | 2716876.9456 | 1079052.278
54 | 2716866.7195 | 1079039.7507
55 | 2716879.8092 | 1079006.0956
56 | 2716845.7379 | 1078966.6843
57 | 2716856.7273 | 1079027.51
58 | 2716846.7248 | 1079015.2567
59 | 2716836.6523 | 1079002.9177
60 | 2716849.2643 | 1078908.8577
61 | 2716885.5197 | 1078889.2171
62 | 2716856.9353 | 1078919.1026
63 | 2716903.6144 | 1078866.7586
64 | 2716865.0475 | 1078929.9369
65 | 2716933.4693 | 1079021.2958
66 | 2716923.9761 | 1079008.6391
67 | 2716915.9588 | 1078997.9315
68 | 2716907.8605 | 1078987.1158
69 | 2716897.7737 | 1078973.6445
70 | 2716889.5807 | 1078962.7022
71 | 2716881.3533 | 1078951.7141
72 | 2716873.1027 | 1078940.6951
73 | 2716921.1826 | 1078884.5526
74 | 2716947.3588 | 1078844.5152
75 | 2716977.7807 | 1078877.1663
76 | 2716924.5015 | 1078872.3054
77 | 2716980.385 | 1078879.9604
78 | 2716992.375 | 1078892.8241
79 | 2717002.6245 | 1078903.8273
80 | 2717005.0611 | 1078906.4431
81 | 2717005.4568 | 1078906.8678
82 | 2717021.5748 | 1078924.171
83 | 2716802.0599 | 1079011.8946
84 | 2716807.4461 | 1079019.2379
85 | 2716801.7413 | 1079011.4603
86 | 2716770.6385 | 1078945.466
87 | 2716778.5731 | 1078939.3025
88 | 2716779.3029 | 1078971.4669
89 | 2716791.9554 | 1078928.3979
90 | 2716902.6819 | 1079083.8055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1