## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5266-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5266-14_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5266-14_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5266-14_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5266-14_0_5_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_5266-14_0_5_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_5266-14_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5266-14_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5266-14_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5266-14_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5266-14_0_5_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_5266-14_0_5_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_5266-14_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5266-14_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5266-14_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5266-14_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5266-14_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5266-14_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5266-14_0_5_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_5266-14_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5266-14_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_5266-14_0_5_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_5266-14_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5266-14_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5266-14_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_5266-14_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_5266-14_0_5_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_5266-14_0_5_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_5266-14_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_5266-14_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_5266-14_0_5_node_106 | 0.4 | n |  | TRUE
31 | bus_LV_5266-14_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_5266-14_0_5_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_5266-14_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_5266-14_0_5_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_5266-14_0_5_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5266-14_0_5_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_5266-14_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_5266-14_0_5_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_5266-14_0_5_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_5266-14_0_5_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_5266-14_0_5_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_5266-14_0_5_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_5266-14_0_5_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_5266-14_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_5266-14_0_5_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_5266-14_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_5266-14_0_5_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_5266-14_0_5_node_105 | 0.4 | n |  | TRUE
49 | bus_LV_5266-14_0_5_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_5266-14_0_5_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_5266-14_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5266-14_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5266-14_0_5_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_5266-14_0_5_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_5266-14_0_5_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_5266-14_0_5_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_5266-14_0_5_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_5266-14_0_5_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_5266-14_0_5_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_5266-14_0_5_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_5266-14_0_5_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_5266-14_0_5_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_5266-14_0_5_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_5266-14_0_5_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_5266-14_0_5_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_5266-14_0_5_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_5266-14_0_5_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_5266-14_0_5_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_5266-14_0_5_node_100 | 0.4 | n |  | TRUE
70 | bus_LV_5266-14_0_5_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_5266-14_0_5_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_5266-14_0_5_node_103 | 0.4 | n |  | TRUE
73 | bus_LV_5266-14_0_5_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_5266-14_0_5_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_5266-14_0_5_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_5266-14_0_5_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_5266-14_0_5_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_5266-14_0_5_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_5266-14_0_5_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_5266-14_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5266-14_0_5_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_5266-14_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_5266-14_0_5_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_5266-14_0_5_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_5266-14_0_5_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_5266-14_0_5_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_5266-14_0_5_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_5266-14_0_5_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_5266-14_0_5_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_5266-14_0_5_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_5266-14_0_5_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_5266-14_0_5_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_5266-14_0_5_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_5266-14_0_5_node_55 | 0.4 | n |  | TRUE
95 | bus_LV_5266-14_0_5_node_56 | 0.4 | n |  | TRUE
96 | bus_LV_5266-14_0_5_node_62 | 0.4 | n |  | TRUE
97 | bus_LV_5266-14_0_5_node_60 | 0.4 | n |  | TRUE
98 | bus_LV_5266-14_0_5_node_61 | 0.4 | n |  | TRUE
99 | bus_MV_70_1_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5266-14_0_5_load_0 | 0 | 0.0033956 | 0.00085101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5266-14_0_5_load_4 | 2 | 0.0023661 | 0.00059301 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5266-14_0_5_load_5 | 3 | 0.052116 | 0.013061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5266-14_0_5_load_29 | 4 | 0.0035423 | 0.00088778 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5266-14_0_5_load_28 | 5 | 0.0068057 | 0.0017057 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5266-14_0_5_load_6 | 6 | 0.0069937 | 0.0017528 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5266-14_0_5_load_7 | 7 | 0.0036889 | 0.00092454 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5266-14_0_5_load_9 | 8 | 0.0044345 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5266-14_0_5_load_10 | 9 | 0.003186 | 0.0007985 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5266-14_0_5_load_11 | 12 | 0.0028407 | 0.00071194 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5266-14_0_5_load_12 | 13 | 0.0022167 | 0.00055557 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5266-14_0_5_load_13 | 14 | 0.0033261 | 0.0008336 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5266-14_0_5_load_14 | 15 | 0.0062634 | 0.0015698 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5266-14_0_5_load_15 | 16 | 0.0066204 | 0.0016592 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5266-14_0_5_load_17 | 17 | 0.0032391 | 0.00081178 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5266-14_0_5_load_21 | 18 | 0.0052356 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5266-14_0_5_load_20 | 20 | 0.0062019 | 0.0015543 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5266-14_0_5_load_26 | 21 | 0.0052427 | 0.001314 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5266-14_0_5_load_24 | 22 | 0.0046719 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5266-14_0_5_load_23 | 23 | 0.0068979 | 0.0017288 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5266-14_0_5_load_25 | 24 | 0.0015824 | 0.00039659 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5266-14_0_5_load_27 | 25 | 0.0051818 | 0.0012987 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5266-14_0_5_load_47 | 26 | 0.0099985 | 0.0025059 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5266-14_0_5_load_45 | 27 | 0.01204 | 0.0030176 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5266-14_0_5_load_30 | 28 | 0.004582 | 0.0011484 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5266-14_0_5_load_31 | 29 | 0.0043688 | 0.0010949 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5266-14_0_5_load_106 | 30 | 0.0088794 | 0.0022254 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5266-14_0_5_load_32 | 31 | 0.0059994 | 0.0015036 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5266-14_0_5_load_33 | 32 | 0.0050324 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5266-14_0_5_load_34 | 33 | 0.0046064 | 0.0011545 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5266-14_0_5_load_35 | 34 | 0.0040885 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5266-14_0_5_load_36 | 35 | 0.0049811 | 0.0012484 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5266-14_0_5_load_37 | 36 | 0.0046292 | 0.0011602 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5266-14_0_5_load_38 | 37 | 0.0024698 | 0.00061898 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5266-14_0_5_load_39 | 38 | 0.0024234 | 0.00060737 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5266-14_0_5_load_43 | 42 | 0.0034696 | 0.00086956 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5266-14_0_5_load_53 | 44 | 0.0027014 | 0.00067704 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5266-14_0_5_load_66 | 45 | 0.0065158 | 0.001633 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5266-14_0_5_load_44 | 46 | 0.0059603 | 0.0014938 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5266-14_0_5_load_82 | 47 | 0.0022545 | 0.00056504 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5266-14_0_5_load_105 | 48 | 0.0058155 | 0.0014575 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5266-14_0_5_load_81 | 49 | 0.0052337 | 0.0013117 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5266-14_0_5_load_58 | 51 | 0.0036189 | 0.00090699 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5266-14_0_5_load_52 | 52 | 0.0046759 | 0.0011719 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5266-14_0_5_load_65 | 53 | 0.0022466 | 0.00056306 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5266-14_0_5_load_67 | 54 | 0.0024241 | 0.00060755 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5266-14_0_5_load_68 | 55 | 0.0071749 | 0.0017982 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5266-14_0_5_load_69 | 56 | 0.011789 | 0.0029545 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5266-14_0_5_load_75 | 57 | 0.0059117 | 0.0014816 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5266-14_0_5_load_73 | 58 | 0.0056368 | 0.0014127 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5266-14_0_5_load_76 | 59 | 0.010085 | 0.0025277 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5266-14_0_5_load_78 | 61 | 0.0079491 | 0.0019922 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5266-14_0_5_load_79 | 62 | 0.0023646 | 0.00059262 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5266-14_0_5_load_80 | 63 | 0.0075893 | 0.0019021 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5266-14_0_5_load_104 | 64 | 0.0022606 | 0.00056657 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5266-14_0_5_load_83 | 65 | 0.0072674 | 0.0018214 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5266-14_0_5_load_87 | 67 | 0.0093701 | 0.0023484 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5266-14_0_5_load_88 | 68 | 0.0058626 | 0.0014693 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5266-14_0_5_load_101 | 70 | 0.0046225 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5266-14_0_5_load_102 | 71 | 0.0046084 | 0.001155 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5266-14_0_5_load_103 | 72 | 0.0048119 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5266-14_0_5_load_48 | 73 | 0.0051324 | 0.0012863 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5266-14_0_5_load_49 | 74 | 0.0038197 | 0.00095731 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5266-14_0_5_load_63 | 75 | 0.011677 | 0.0029264 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5266-14_0_5_load_50 | 76 | 0.0024959 | 0.00062554 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5266-14_0_5_load_51 | 77 | 0.0030178 | 0.00075634 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5266-14_0_5_load_64 | 78 | 0.00090071 | 0.00022574 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5266-14_0_5_load_57 | 79 | 0.0067791 | 0.001699 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5266-14_0_5_load_70 | 80 | 0.0064912 | 0.0016268 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5266-14_0_5_load_71 | 81 | 0.0061324 | 0.0015369 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5266-14_0_5_load_72 | 82 | 0.0032406 | 0.00081217 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5266-14_0_5_load_74 | 83 | 0.0049386 | 0.0012377 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5266-14_0_5_load_89 | 84 | 0.0022954 | 0.00057528 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5266-14_0_5_load_90 | 85 | 0.01011 | 0.0025337 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5266-14_0_5_load_92 | 87 | 0.0069704 | 0.0017469 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5266-14_0_5_load_97 | 89 | 0.0047574 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5266-14_0_5_load_95 | 90 | 0.008756 | 0.0021945 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5266-14_0_5_load_96 | 91 | 0.0035868 | 0.00089895 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5266-14_0_5_load_98 | 92 | 0.006469 | 0.0016213 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5266-14_0_5_load_99 | 93 | 0.00295 | 0.00073935 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5266-14_0_5_load_55 | 94 | 0.0039885 | 0.00099962 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5266-14_0_5_load_56 | 95 | 0.0074432 | 0.0018654 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5266-14_0_5_load_62 | 96 | 0.00088442 | 0.00022166 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5266-14_0_5_load_60 | 97 | 0.0005411 | 0.00013561 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5266-14_0_5_load_61 | 98 | 0.00083767 | 0.00020994 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5266-14_0_5_line_0 |  | 0 | 1 | 0.046277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5266-14_0_5_line_1 |  | 1 | 2 | 0.036192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5266-14_0_5_line_2 |  | 1 | 3 | 0.037975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5266-14_0_5_line_3 |  | 2 | 4 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5266-14_0_5_line_4 |  | 4 | 5 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5266-14_0_5_line_5 |  | 5 | 19 | 0.0016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5266-14_0_5_line_6 |  | 6 | 7 | 0.032803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5266-14_0_5_line_7 |  | 7 | 8 | 0.028123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5266-14_0_5_line_8 |  | 8 | 9 | 0.028457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5266-14_0_5_line_9 |  | 9 | 10 | 0.0063927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5266-14_0_5_line_10 |  | 10 | 11 | 0.006428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5266-14_0_5_line_11 |  | 11 | 19 | 0.010839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5266-14_0_5_line_12 |  | 11 | 20 | 0.041802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5266-14_0_5_line_13 |  | 11 | 16 | 0.022669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5266-14_0_5_line_14 |  | 12 | 13 | 0.0022364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5266-14_0_5_line_15 |  | 12 | 14 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5266-14_0_5_line_16 |  | 13 | 15 | 0.0082115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5266-14_0_5_line_17 |  | 14 | 16 | 0.008115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5266-14_0_5_line_18 |  | 15 | 17 | 0.02282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5266-14_0_5_line_19 |  | 17 | 18 | 0.0011401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5266-14_0_5_line_20 |  | 20 | 21 | 0.005634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5266-14_0_5_line_21 |  | 21 | 22 | 0.00086472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5266-14_0_5_line_22 |  | 22 | 23 | 0.019587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5266-14_0_5_line_23 |  | 23 | 24 | 0.056505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5266-14_0_5_line_24 |  | 24 | 25 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5266-14_0_5_line_25 |  | 25 | 26 | 0.0024482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5266-14_0_5_line_26 |  | 26 | 27 | 0.028683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5266-14_0_5_line_27 |  | 27 | 46 | 0.049174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5266-14_0_5_line_28 |  | 28 | 29 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5266-14_0_5_line_29 |  | 28 | 30 | 0.046568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5266-14_0_5_line_30 |  | 29 | 31 | 0.0053779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5266-14_0_5_line_31 |  | 31 | 32 | 0.010609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5266-14_0_5_line_32 |  | 32 | 33 | 0.015238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5266-14_0_5_line_33 |  | 33 | 34 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5266-14_0_5_line_34 |  | 34 | 35 | 0.0073049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5266-14_0_5_line_35 |  | 35 | 36 | 0.0088128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5266-14_0_5_line_36 |  | 36 | 37 | 0.016381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5266-14_0_5_line_37 |  | 37 | 38 | 0.00060359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5266-14_0_5_line_38 |  | 38 | 39 | 0.037506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5266-14_0_5_line_39 |  | 39 | 40 | 0.03754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5266-14_0_5_line_40 |  | 40 | 41 | 0.056947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5266-14_0_5_line_41 |  | 40 | 42 | 0.01666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5266-14_0_5_line_42 |  | 41 | 43 | 0.052607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5266-14_0_5_line_43 |  | 41 | 44 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5266-14_0_5_line_44 |  | 41 | 45 | 0.15445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5266-14_0_5_line_45 |  | 42 | 46 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5266-14_0_5_line_46 |  | 43 | 50 | 0.040486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5266-14_0_5_line_47 |  | 43 | 51 | 0.025919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5266-14_0_5_line_48 |  | 44 | 52 | 0.008682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5266-14_0_5_line_49 |  | 45 | 55 | 0.0095649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5266-14_0_5_line_50 |  | 45 | 53 | 0.0030769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5266-14_0_5_line_51 |  | 47 | 48 | 0.011208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5266-14_0_5_line_52 |  | 47 | 49 | 0.013638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5266-14_0_5_line_53 |  | 49 | 63 | 0.015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5266-14_0_5_line_54 |  | 50 | 78 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5266-14_0_5_line_55 |  | 51 | 79 | 0.0082427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5266-14_0_5_line_56 |  | 52 | 77 | 0.021131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5266-14_0_5_line_57 |  | 53 | 54 | 0.002171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5266-14_0_5_line_58 |  | 54 | 56 | 0.0021631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5266-14_0_5_line_59 |  | 55 | 57 | 0.0019786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5266-14_0_5_line_60 |  | 56 | 58 | 0.0016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5266-14_0_5_line_61 |  | 57 | 59 | 0.00050702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5266-14_0_5_line_62 |  | 58 | 81 | 0.0077654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5266-14_0_5_line_63 |  | 59 | 60 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5266-14_0_5_line_64 |  | 60 | 61 | 0.010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5266-14_0_5_line_65 |  | 60 | 62 | 0.013078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5266-14_0_5_line_66 |  | 61 | 63 | 0.0033201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5266-14_0_5_line_67 |  | 62 | 64 | 0.007269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5266-14_0_5_line_68 |  | 64 | 72 | 0.00025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5266-14_0_5_line_69 |  | 65 | 66 | 0.036223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5266-14_0_5_line_70 |  | 66 | 67 | 0.025569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5266-14_0_5_line_71 |  | 66 | 68 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5266-14_0_5_line_72 |  | 67 | 69 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5266-14_0_5_line_73 |  | 68 | 70 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5266-14_0_5_line_74 |  | 69 | 93 | 0.0056719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5266-14_0_5_line_75 |  | 70 | 71 | 0.00041725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5266-14_0_5_line_76 |  | 71 | 72 | 0.0094897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5266-14_0_5_line_77 |  | 73 | 74 | 0.034816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5266-14_0_5_line_78 |  | 73 | 75 | 0.048753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5266-14_0_5_line_79 |  | 74 | 76 | 0.025459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5266-14_0_5_line_80 |  | 76 | 77 | 0.022167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5266-14_0_5_line_81 |  | 78 | 96 | 0.011705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5266-14_0_5_line_82 |  | 79 | 95 | 0.024035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5266-14_0_5_line_83 |  | 80 | 81 | 0.0062795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5266-14_0_5_line_84 |  | 80 | 82 | 0.012308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5266-14_0_5_line_85 |  | 82 | 83 | 0.014209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5266-14_0_5_line_86 |  | 84 | 85 | 0.011914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5266-14_0_5_line_87 |  | 84 | 86 | 0.042707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5266-14_0_5_line_88 |  | 85 | 87 | 0.0043182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5266-14_0_5_line_89 |  | 86 | 88 | 0.01912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5266-14_0_5_line_90 |  | 88 | 89 | 0.024067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5266-14_0_5_line_91 |  | 89 | 90 | 0.018764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5266-14_0_5_line_92 |  | 90 | 91 | 0.0024789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5266-14_0_5_line_93 |  | 91 | 92 | 0.00074973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5266-14_0_5_line_94 |  | 92 | 93 | 0.016487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5266-14_0_5_line_95 |  | 94 | 95 | 0.0072391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5266-14_0_5_line_96 |  | 96 | 98 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5266-14_0_5_line_97 |  | 97 | 98 | 0.012099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5266-14_0_5_trafo_52 | 0.63 MVA 20/0.4 kV | 99 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2716502.094 | 1079296.2985 | 2716543.4053 | 1079317.153
1 | 2716502.094 | 1079296.2985 | 2716487.0767 | 1079288.9397 | 2716473.7925 | 1079286.0172 | 2716467.9268 | 1079285.905
2 | 2716502.094 | 1079296.2985 | 2716500.9585 | 1079262.2306 | 2716504.8437 | 1079262.0791
3 | 2716455.7974 | 1079285.6732 | 2716455.7974 | 1079285.6732 | 2716467.9268 | 1079285.905
4 | 2716438.1604 | 1079288.0678 | 2716455.7974 | 1079285.6732
5 | 2716436.487 | 1079288.295 | 2716438.1604 | 1079288.0678
6 | 2716449.7497 | 1079388.8078 | 2716442.4548 | 1079371.1675 | 2716439.6923 | 1079357.7343
7 | 2716439.6923 | 1079357.7343 | 2716434.0275 | 1079330.188
8 | 2716434.0275 | 1079330.188 | 2716428.2954 | 1079302.3145
9 | 2716427.0077 | 1079296.0528 | 2716428.2954 | 1079302.3145
10 | 2716427.0077 | 1079296.0528 | 2716425.714 | 1079289.757
11 | 2716425.714 | 1079289.757 | 2716431.5639 | 1079288.9682 | 2716436.487 | 1079288.295
12 | 2716425.714 | 1079289.757 | 2716415.1419 | 1079249.3138
13 | 2716425.714 | 1079289.757 | 2716403.3726 | 1079293.5962
14 | 2716379.8115 | 1079297.6449 | 2716377.6074 | 1079298.0237
15 | 2716379.8115 | 1079297.6449 | 2716395.3748 | 1079294.9705
16 | 2716377.6074 | 1079298.0237 | 2716369.5145 | 1079299.4144
17 | 2716395.3748 | 1079294.9705 | 2716403.3726 | 1079293.5962
18 | 2716347.0243 | 1079303.2791 | 2716369.5145 | 1079299.4144
19 | 2716345.9006 | 1079303.4722 | 2716347.0243 | 1079303.2791
20 | 2716415.1419 | 1079249.3138 | 2716413.717 | 1079243.8629
21 | 2716413.717 | 1079243.8629 | 2716413.4983 | 1079243.0263
22 | 2716408.5445 | 1079224.076 | 2716413.4983 | 1079243.0263
23 | 2716408.5445 | 1079224.076 | 2716394.2538 | 1079169.4075
24 | 2716390.4071 | 1079154.6922 | 2716394.2538 | 1079169.4075
25 | 2716389.7879 | 1079152.3236 | 2716390.4071 | 1079154.6922
26 | 2716382.5338 | 1079124.5736 | 2716389.7879 | 1079152.3236
27 | 2716382.5338 | 1079124.5736 | 2716370.0973 | 1079076.9985
28 | 2716339.6961 | 1079179.5325 | 2716337.8847 | 1079163.533
29 | 2716339.6961 | 1079179.5325 | 2716315.0607 | 1079219.0505
30 | 2716337.8847 | 1079163.533 | 2716337.2798 | 1079158.1892
31 | 2716336.0863 | 1079147.6472 | 2716337.2798 | 1079158.1892
32 | 2716336.0863 | 1079147.6472 | 2716334.3721 | 1079132.5055
33 | 2716334.3721 | 1079132.5055 | 2716332.616 | 1079116.9943
34 | 2716332.616 | 1079116.9943 | 2716331.7943 | 1079109.7357
35 | 2716330.8029 | 1079100.9788 | 2716331.7943 | 1079109.7357
36 | 2716330.8029 | 1079100.9788 | 2716328.9602 | 1079084.7019
37 | 2716328.9602 | 1079084.7019 | 2716328.8923 | 1079084.1022
38 | 2716324.6732 | 1079046.8346 | 2716328.8923 | 1079084.1022
39 | 2716324.6732 | 1079046.8346 | 2716362.3247 | 1079047.2645
40 | 2716418.9459 | 1079039.7624 | 2716362.3247 | 1079047.2645
41 | 2716362.3247 | 1079047.2645 | 2716366.538 | 1079063.3825
42 | 2716471.6216 | 1079037.8783 | 2716443.5071 | 1079037.6633 | 2716418.9459 | 1079039.7624
43 | 2716418.9459 | 1079039.7624 | 2716421.5188 | 1079058.8879
44 | 2716418.9459 | 1079039.7624 | 2716430.785 | 1078885.7686
45 | 2716366.538 | 1079063.3825 | 2716370.0973 | 1079076.9985
46 | 2716471.6216 | 1079037.8783 | 2716498.965 | 1079042.6596 | 2716511.8109 | 1079042.9275
47 | 2716471.6216 | 1079037.8783 | 2716474.4314 | 1079063.6448
48 | 2716421.5188 | 1079058.8879 | 2716422.6764 | 1079067.4923
49 | 2716430.785 | 1078885.7686 | 2716421.2631 | 1078884.8629
50 | 2716433.851 | 1078885.5091 | 2716430.785 | 1078885.7686 | 2716430.785 | 1078885.7686
51 | 2716352.1831 | 1078887.0194 | 2716363.3907 | 1078887.0091
52 | 2716363.3907 | 1078887.0091 | 2716377.0285 | 1078886.9966
53 | 2716392.246 | 1078884.7116 | 2716389.9828 | 1078885.0891 | 2716378.5868 | 1078886.9951 | 2716377.0285 | 1078886.9966
54 | 2716511.8109 | 1079042.9275 | 2716514.9159 | 1079064.2712
55 | 2716475.325 | 1079071.8389 | 2716474.4314 | 1079063.6448
56 | 2716425.4939 | 1079088.435 | 2716422.6764 | 1079067.4923
57 | 2716433.851 | 1078885.5091 | 2716436.0142 | 1078885.3259
58 | 2716438.1696 | 1078885.1434 | 2716436.0142 | 1078885.3259
59 | 2716419.2934 | 1078884.6756 | 2716421.2631 | 1078884.8629
60 | 2716438.1696 | 1078885.1434 | 2716439.8263 | 1078885.0032
61 | 2716418.7887 | 1078884.6276 | 2716419.2934 | 1078884.6756
62 | 2716447.5641 | 1078884.3481 | 2716439.8263 | 1078885.0032
63 | 2716406.1335 | 1078882.3955 | 2716416.0102 | 1078884.3633 | 2716418.7887 | 1078884.6276
64 | 2716406.1335 | 1078882.3955 | 2716395.5208 | 1078884.1655
65 | 2716406.1335 | 1078882.3955 | 2716406.3503 | 1078874.7053 | 2716406.4988 | 1078869.3227
66 | 2716392.246 | 1078884.7116 | 2716395.5208 | 1078884.1655
67 | 2716406.6965 | 1078862.0564 | 2716406.6538 | 1078863.7034 | 2716406.4988 | 1078869.3227
68 | 2716406.6965 | 1078862.0564 | 2716406.7031 | 1078861.8003
69 | 2716407.6565 | 1078825.0508 | 2716394.2985 | 1078821.8713 | 2716372.6278 | 1078815.8497
70 | 2716407.6565 | 1078825.0508 | 2716428.5983 | 1078825.362 | 2716433.223 | 1078825.2962
71 | 2716407.6565 | 1078825.0508 | 2716407.2313 | 1078841.4398
72 | 2716447.4611 | 1078825.0998 | 2716443.272 | 1078825.1532 | 2716433.223 | 1078825.2962
73 | 2716407.2313 | 1078841.4398 | 2716406.96 | 1078851.8967
74 | 2716447.4611 | 1078825.0998 | 2716453.1112 | 1078825.5967
75 | 2716406.9492 | 1078852.3138 | 2716406.96 | 1078851.8967
76 | 2716406.9492 | 1078852.3138 | 2716406.7031 | 1078861.8003
77 | 2716436.4859 | 1079170.1408 | 2716431.8438 | 1079135.6353
78 | 2716436.4859 | 1079170.1408 | 2716480.4776 | 1079191.1557
79 | 2716431.8438 | 1079135.6353 | 2716428.4494 | 1079110.404
80 | 2716428.4494 | 1079110.404 | 2716425.4939 | 1079088.435
81 | 2716516.601 | 1079075.8548 | 2716514.9159 | 1079064.2712
82 | 2716475.325 | 1079071.8389 | 2716477.9305 | 1079095.7322
83 | 2716453.8212 | 1078883.8183 | 2716453.8212 | 1078883.8183 | 2716447.5641 | 1078884.3481
84 | 2716453.8212 | 1078883.8183 | 2716465.8283 | 1078881.115
85 | 2716479.6537 | 1078877.8427 | 2716474.8516 | 1078879.0834 | 2716465.8283 | 1078881.115
86 | 2716481.7584 | 1078857.0395 | 2716470.2604 | 1078860.161
87 | 2716521.2338 | 1078841.1095 | 2716498.3654 | 1078852.1581 | 2716481.9718 | 1078856.9816 | 2716481.7584 | 1078857.0395
88 | 2716466.0931 | 1078861.2924 | 2716470.2604 | 1078860.161
89 | 2716514.9123 | 1078823.0648 | 2716517.5816 | 1078830.5656 | 2716521.2338 | 1078841.1095
90 | 2716514.9123 | 1078823.0648 | 2716503.5921 | 1078826.6844 | 2716491.4575 | 1078827.761
91 | 2716472.7544 | 1078827.2813 | 2716485.6519 | 1078828.276 | 2716491.4575 | 1078827.761
92 | 2716472.7544 | 1078827.2813 | 2716470.2828 | 1078827.0906
93 | 2716470.2828 | 1078827.0906 | 2716469.5353 | 1078827.033
94 | 2716453.1112 | 1078825.5967 | 2716468.7849 | 1078826.9751 | 2716469.5353 | 1078827.033
95 | 2716478.7153 | 1079102.9286 | 2716477.9305 | 1079095.7322
96 | 2716519.8432 | 1079098.1411 | 2716516.601 | 1079075.8548
97 | 2716521.5849 | 1079110.1138 | 2716519.8432 | 1079098.1411

## bus_geodata
| x | y | coords
0 | 2716543.4053 | 1079317.153
1 | 2716502.094 | 1079296.2985
2 | 2716467.9268 | 1079285.905
3 | 2716504.8437 | 1079262.0791
4 | 2716455.7974 | 1079285.6732
5 | 2716438.1604 | 1079288.0678
6 | 2716449.7497 | 1079388.8078
7 | 2716439.6923 | 1079357.7343
8 | 2716434.0275 | 1079330.188
9 | 2716428.2954 | 1079302.3145
10 | 2716427.0077 | 1079296.0528
11 | 2716425.714 | 1079289.757
12 | 2716379.8115 | 1079297.6449
13 | 2716377.6074 | 1079298.0237
14 | 2716395.3748 | 1079294.9705
15 | 2716369.5145 | 1079299.4144
16 | 2716403.3726 | 1079293.5962
17 | 2716347.0243 | 1079303.2791
18 | 2716345.9006 | 1079303.4722
19 | 2716436.487 | 1079288.295
20 | 2716415.1419 | 1079249.3138
21 | 2716413.717 | 1079243.8629
22 | 2716413.4983 | 1079243.0263
23 | 2716408.5445 | 1079224.076
24 | 2716394.2538 | 1079169.4075
25 | 2716390.4071 | 1079154.6922
26 | 2716389.7879 | 1079152.3236
27 | 2716382.5338 | 1079124.5736
28 | 2716339.6961 | 1079179.5325
29 | 2716337.8847 | 1079163.533
30 | 2716315.0607 | 1079219.0505
31 | 2716337.2798 | 1079158.1892
32 | 2716336.0863 | 1079147.6472
33 | 2716334.3721 | 1079132.5055
34 | 2716332.616 | 1079116.9943
35 | 2716331.7943 | 1079109.7357
36 | 2716330.8029 | 1079100.9788
37 | 2716328.9602 | 1079084.7019
38 | 2716328.8923 | 1079084.1022
39 | 2716324.6732 | 1079046.8346
40 | 2716362.3247 | 1079047.2645
41 | 2716418.9459 | 1079039.7624
42 | 2716366.538 | 1079063.3825
43 | 2716471.6216 | 1079037.8783
44 | 2716421.5188 | 1079058.8879
45 | 2716430.785 | 1078885.7686
46 | 2716370.0973 | 1079076.9984
47 | 2716363.3907 | 1078887.0091
48 | 2716352.1831 | 1078887.0194
49 | 2716377.0285 | 1078886.9966
50 | 2716511.8109 | 1079042.9275
51 | 2716474.4314 | 1079063.6448
52 | 2716422.6764 | 1079067.4923
53 | 2716433.851 | 1078885.5091
54 | 2716436.0142 | 1078885.3259
55 | 2716421.2631 | 1078884.8629
56 | 2716438.1696 | 1078885.1434
57 | 2716419.2934 | 1078884.6756
58 | 2716439.8263 | 1078885.0032
59 | 2716418.7887 | 1078884.6276
60 | 2716406.1335 | 1078882.3955
61 | 2716395.5208 | 1078884.1655
62 | 2716406.4988 | 1078869.3227
63 | 2716392.246 | 1078884.7116
64 | 2716406.6965 | 1078862.0564
65 | 2716372.6278 | 1078815.8497
66 | 2716407.6565 | 1078825.0508
67 | 2716433.223 | 1078825.2962
68 | 2716407.2313 | 1078841.4398
69 | 2716447.4611 | 1078825.0998
70 | 2716406.96 | 1078851.8967
71 | 2716406.9492 | 1078852.3138
72 | 2716406.7031 | 1078861.8003
73 | 2716436.4859 | 1079170.1408
74 | 2716431.8438 | 1079135.6353
75 | 2716480.4776 | 1079191.1557
76 | 2716428.4494 | 1079110.404
77 | 2716425.4939 | 1079088.435
78 | 2716514.9159 | 1079064.2712
79 | 2716475.325 | 1079071.8389
80 | 2716453.8212 | 1078883.8183
81 | 2716447.5641 | 1078884.3481
82 | 2716465.8283 | 1078881.115
83 | 2716479.6537 | 1078877.8427
84 | 2716481.7584 | 1078857.0395
85 | 2716470.2604 | 1078860.161
86 | 2716521.2338 | 1078841.1095
87 | 2716466.0931 | 1078861.2924
88 | 2716514.9123 | 1078823.0648
89 | 2716491.4575 | 1078827.761
90 | 2716472.7544 | 1078827.2813
91 | 2716470.2828 | 1078827.0906
92 | 2716469.5353 | 1078827.033
93 | 2716453.1112 | 1078825.5967
94 | 2716478.7153 | 1079102.9286
95 | 2716477.9305 | 1079095.7322
96 | 2716516.601 | 1079075.8548
97 | 2716521.5849 | 1079110.1138
98 | 2716519.8431 | 1079098.1411
99 | 2716418.9459 | 1079039.7624

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1