## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5266-19_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5266-19_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5266-19_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5266-19_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5266-19_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5266-19_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5266-19_0_5_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_5266-19_0_5_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_5266-19_0_5_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_5266-19_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5266-19_0_5_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_5266-19_0_5_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_5266-19_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5266-19_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5266-19_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5266-19_0_5_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5266-19_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5266-19_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5266-19_0_5_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_5266-19_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5266-19_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5266-19_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5266-19_0_5_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_5266-19_0_5_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_5266-19_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_5266-19_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5266-19_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5266-19_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5266-19_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_5266-19_0_5_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_5266-19_0_5_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_5266-19_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5266-19_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5266-19_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5266-19_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5266-19_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5266-19_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5266-19_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5266-19_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5266-19_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5266-19_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5266-19_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5266-19_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5266-19_0_5_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_5266-19_0_5_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_5266-19_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5266-19_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5266-19_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5266-19_0_5_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_5266-19_0_5_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_5266-19_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5266-19_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5266-19_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5266-19_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5266-19_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5266-19_0_5_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5266-19_0_5_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5266-19_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5266-19_0_5_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5266-19_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_5266-19_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_5266-19_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_5266-19_0_5_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5266-19_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5266-19_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5266-19_0_5_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_5266-19_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_5266-19_0_5_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_5266-19_0_5_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5266-19_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5266-19_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5266-19_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_5266-19_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_5266-19_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_5266-19_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5266-19_0_5_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5266-19_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_5266-19_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_5266-19_0_5_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_5266-19_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_5266-19_0_5_node_79 | 0.4 | n |  | TRUE
81 | bus_MV_75_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5266-19_0_5_load_0 | 0 | 0.0028233 | 0.0007076 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5266-19_0_5_load_4 | 4 | 0.012068 | 0.0030244 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5266-19_0_5_load_5 | 5 | 0.0017914 | 0.00044898 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5266-19_0_5_load_41 | 7 | 0.022111 | 0.0055416 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5266-19_0_5_load_15 | 8 | 0.01086 | 0.0027217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5266-19_0_5_load_10 | 9 | 0.0038014 | 0.00095272 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5266-19_0_5_load_28 | 10 | 0.0066501 | 0.0016667 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5266-19_0_5_load_19 | 11 | 0.0044054 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5266-19_0_5_load_16 | 13 | 0.020971 | 0.0052559 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5266-19_0_5_load_6 | 15 | 0.071161 | 0.017835 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5266-19_0_5_load_9 | 17 | 0.026077 | 0.0065354 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5266-19_0_5_load_80 | 18 | 0.0011582 | 0.00029028 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5266-19_0_5_load_12 | 19 | 0.0052059 | 0.0013047 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5266-19_0_5_load_13 | 20 | 0.00060233 | 0.00015096 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5266-19_0_5_load_14 | 21 | 0.0031336 | 0.00078535 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5266-19_0_5_load_54 | 23 | 0.0029041 | 0.00072784 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5266-19_0_5_load_52 | 24 | 0.0030258 | 0.00075835 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5266-19_0_5_load_17 | 25 | 0.0067357 | 0.0016881 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5266-19_0_5_load_18 | 26 | 0.0042741 | 0.0010712 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5266-19_0_5_load_20 | 27 | 0.004447 | 0.0011145 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5266-19_0_5_load_26 | 28 | 0.0046409 | 0.0011631 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5266-19_0_5_load_27 | 29 | 0.0040042 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5266-19_0_5_load_22 | 31 | 0.0047572 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5266-19_0_5_load_23 | 32 | 0.0043339 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5266-19_0_5_load_24 | 33 | 0.0035257 | 0.00088364 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5266-19_0_5_load_25 | 34 | 0.0044621 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5266-19_0_5_load_32 | 35 | 0.0048109 | 0.0012057 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5266-19_0_5_load_33 | 36 | 0.0026011 | 0.00065191 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5266-19_0_5_load_29 | 38 | 0.0043595 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5266-19_0_5_load_36 | 40 | 0.004241 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5266-19_0_5_load_35 | 41 | 0.0016611 | 0.00041631 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5266-19_0_5_load_37 | 42 | 0.0018851 | 0.00047245 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5266-19_0_5_load_60 | 43 | 0.0035012 | 0.00087748 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5266-19_0_5_load_61 | 44 | 0.011404 | 0.0028582 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5266-19_0_5_load_38 | 45 | 0.0065623 | 0.0016447 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5266-19_0_5_load_78 | 48 | 0.0018917 | 0.00047412 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5266-19_0_5_load_76 | 49 | 0.004405 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5266-19_0_5_load_42 | 50 | 0.0046187 | 0.0011576 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5266-19_0_5_load_43 | 51 | 0.0031273 | 0.00078378 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5266-19_0_5_load_44 | 52 | 0.0030189 | 0.00075661 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5266-19_0_5_load_45 | 53 | 0.0042755 | 0.0010715 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5266-19_0_5_load_46 | 54 | 0.0021395 | 0.00053621 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5266-19_0_5_load_51 | 55 | 0.0016829 | 0.00042176 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5266-19_0_5_load_47 | 57 | 0.0042199 | 0.0010576 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5266-19_0_5_load_48 | 58 | 0.001688 | 0.00042304 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5266-19_0_5_load_50 | 59 | 0.0096792 | 0.0024258 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5266-19_0_5_load_55 | 60 | 0.0039117 | 0.00098036 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5266-19_0_5_load_56 | 61 | 0.0053694 | 0.0013457 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5266-19_0_5_load_58 | 63 | 0.0041109 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5266-19_0_5_load_70 | 65 | 0.01912 | 0.0047918 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5266-19_0_5_load_69 | 66 | 0.0080774 | 0.0020244 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5266-19_0_5_load_65 | 68 | 0.0025594 | 0.00064145 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5266-19_0_5_load_64 | 69 | 0.0096973 | 0.0024304 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5266-19_0_5_load_62 | 70 | 0.0030477 | 0.00076382 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5266-19_0_5_load_63 | 71 | 0.0078014 | 0.0019552 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5266-19_0_5_load_66 | 72 | 0.0047038 | 0.0011789 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5266-19_0_5_load_68 | 74 | 0.0034693 | 0.00086948 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5266-19_0_5_load_73 | 75 | 0.0027822 | 0.00069728 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5266-19_0_5_load_71 | 76 | 0.0025779 | 0.00064609 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5266-19_0_5_load_72 | 77 | 0.004813 | 0.0012062 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5266-19_0_5_load_75 | 78 | 0.010268 | 0.0025734 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5266-19_0_5_load_77 | 79 | 0.0028577 | 0.00071621 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5266-19_0_5_load_79 | 80 | 0.009936 | 0.0024902 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5266-19_0_5_line_0 |  | 0 | 1 | 0.063328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_5266-19_0_5_line_1 |  | 0 | 2 | 0.020235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5266-19_0_5_line_2 |  | 1 | 3 | 0.036559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5266-19_0_5_line_3 |  | 1 | 4 | 0.019511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5266-19_0_5_line_4 |  | 2 | 5 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5266-19_0_5_line_5 |  | 3 | 6 | 0.018768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5266-19_0_5_line_6 |  | 3 | 7 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5266-19_0_5_line_7 |  | 4 | 8 | 0.027451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5266-19_0_5_line_8 |  | 5 | 9 | 0.070955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5266-19_0_5_line_9 |  | 6 | 10 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5266-19_0_5_line_10 |  | 6 | 11 | 0.0097675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5266-19_0_5_line_11 |  | 7 | 12 | 0.034137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5266-19_0_5_line_12 |  | 8 | 13 | 0.025597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5266-19_0_5_line_13 |  | 9 | 14 | 0.024474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5266-19_0_5_line_14 |  | 10 | 30 | 0.0033895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5266-19_0_5_line_15 |  | 11 | 25 | 0.015039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5266-19_0_5_line_16 |  | 12 | 16 | 0.004105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5266-19_0_5_line_17 |  | 14 | 19 | 0.072549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5266-19_0_5_line_18 |  | 15 | 16 | 0.028346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5266-19_0_5_line_19 |  | 16 | 17 | 0.032993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5266-19_0_5_line_20 |  | 17 | 18 | 0.034984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5266-19_0_5_line_21 |  | 19 | 20 | 0.062476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5266-19_0_5_line_22 |  | 20 | 21 | 0.0025577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5266-19_0_5_line_23 |  | 21 | 22 | 0.0033815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5266-19_0_5_line_24 |  | 22 | 23 | 0.021597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5266-19_0_5_line_25 |  | 22 | 24 | 0.027145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5266-19_0_5_line_26 |  | 23 | 60 | 0.034389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5266-19_0_5_line_27 |  | 24 | 59 | 0.032389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5266-19_0_5_line_28 |  | 25 | 26 | 0.00089782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5266-19_0_5_line_29 |  | 26 | 27 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5266-19_0_5_line_30 |  | 27 | 28 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5266-19_0_5_line_31 |  | 28 | 29 | 0.0043561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5266-19_0_5_line_32 |  | 30 | 37 | 0.005315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5266-19_0_5_line_33 |  | 30 | 38 | 0.026904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5266-19_0_5_line_34 |  | 31 | 32 | 0.0051896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5266-19_0_5_line_35 |  | 31 | 33 | 0.010486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5266-19_0_5_line_36 |  | 32 | 34 | 0.021377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5266-19_0_5_line_37 |  | 34 | 35 | 0.0033361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5266-19_0_5_line_38 |  | 35 | 36 | 0.022681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5266-19_0_5_line_39 |  | 36 | 39 | 0.020999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5266-19_0_5_line_40 |  | 37 | 39 | 0.023555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5266-19_0_5_line_41 |  | 37 | 40 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5266-19_0_5_line_42 |  | 39 | 41 | 0.050549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5266-19_0_5_line_43 |  | 40 | 42 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5266-19_0_5_line_44 |  | 41 | 43 | 0.016967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5266-19_0_5_line_45 |  | 42 | 45 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5266-19_0_5_line_46 |  | 43 | 44 | 0.01685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5266-19_0_5_line_47 |  | 44 | 70 | 0.037073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5266-19_0_5_line_48 |  | 45 | 46 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5266-19_0_5_line_49 |  | 46 | 47 | 0.013341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5266-19_0_5_line_50 |  | 47 | 48 | 0.017102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5266-19_0_5_line_51 |  | 48 | 49 | 0.020909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5266-19_0_5_line_52 |  | 49 | 79 | 0.031226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5266-19_0_5_line_53 |  | 50 | 51 | 0.031522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5266-19_0_5_line_54 |  | 50 | 52 | 0.006325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5266-19_0_5_line_55 |  | 51 | 53 | 0.013939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5266-19_0_5_line_56 |  | 52 | 54 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5266-19_0_5_line_57 |  | 54 | 55 | 0.014024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5266-19_0_5_line_58 |  | 55 | 56 | 0.0078912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5266-19_0_5_line_59 |  | 56 | 59 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5266-19_0_5_line_60 |  | 56 | 57 | 0.025613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5266-19_0_5_line_61 |  | 57 | 58 | 0.0016934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5266-19_0_5_line_62 |  | 60 | 61 | 0.0061766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5266-19_0_5_line_63 |  | 61 | 62 | 0.023158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5266-19_0_5_line_64 |  | 62 | 63 | 0.038754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5266-19_0_5_line_65 |  | 62 | 64 | 0.063933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5266-19_0_5_line_66 |  | 64 | 65 | 0.029269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5266-19_0_5_line_67 |  | 64 | 66 | 0.017988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5266-19_0_5_line_68 |  | 65 | 67 | 0.026294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5266-19_0_5_line_69 |  | 66 | 68 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5266-19_0_5_line_70 |  | 67 | 78 | 0.011286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5266-19_0_5_line_71 |  | 67 | 77 | 0.037983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5266-19_0_5_line_72 |  | 68 | 69 | 0.026151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5266-19_0_5_line_73 |  | 70 | 71 | 0.0092696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5266-19_0_5_line_74 |  | 72 | 73 | 0.049931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5266-19_0_5_line_75 |  | 73 | 74 | 0.01597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_5266-19_0_5_line_76 |  | 74 | 76 | 0.056226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5266-19_0_5_line_77 |  | 75 | 76 | 0.018161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5266-19_0_5_line_78 |  | 76 | 77 | 0.019962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5266-19_0_5_line_79 |  | 79 | 80 | 0.0082618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5266-19_0_5_trafo_25 | 0.63 MVA 20/0.4 kV | 81 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2716331.1938 | 1078562.4837 | 2716355.818 | 1078620.8279
1 | 2716364.8172 | 1078638.9015 | 2716360.0002 | 1078630.7372 | 2716355.818 | 1078620.8279
2 | 2716331.1938 | 1078562.4837 | 2716316.4083 | 1078529.0336
3 | 2716331.1938 | 1078562.4837 | 2716316.0244 | 1078574.7546
4 | 2716364.8172 | 1078638.9015 | 2716357.2172 | 1078645.4739
5 | 2716308.3007 | 1078512.1003 | 2716311.6949 | 1078519.5036 | 2716316.4083 | 1078529.0336
6 | 2716316.4083 | 1078529.0336 | 2716329.9561 | 1078520.1767
7 | 2716294.6821 | 1078592.0189 | 2716316.0244 | 1078574.7546
8 | 2716357.2172 | 1078645.4739 | 2716341.1547 | 1078659.3644 | 2716327.6592 | 1078667.4348 | 2716294.4715 | 1078674.7983
9 | 2716308.3007 | 1078512.1003 | 2716298.313 | 1078490.2589
10 | 2716308.3007 | 1078512.1003 | 2716300.8471 | 1078518.4126
11 | 2716354.2834 | 1078496.3553 | 2716333.3965 | 1078517.9276 | 2716329.9561 | 1078520.1767
12 | 2716274.7808 | 1078608.1176 | 2716294.6821 | 1078592.0189
13 | 2716270.5788 | 1078680.0994 | 2716294.4715 | 1078674.7983
14 | 2716296.9033 | 1078487.1764 | 2716298.313 | 1078490.2589
15 | 2716300.8471 | 1078518.4126 | 2716289.3704 | 1078528.1321
16 | 2716354.2834 | 1078496.3553 | 2716357.4184 | 1078499.0171
17 | 2716270.5788 | 1078680.0994 | 2716266.5667 | 1078669.2486 | 2716262.2997 | 1078660.3498 | 2716256.4923 | 1078654.4016 | 2716218.948 | 1078633.8553
18 | 2716357.4184 | 1078499.0171 | 2716375.8952 | 1078513.7245 | 2716379.8776 | 1078516.2779
19 | 2716357.4184 | 1078499.0171 | 2716383.4787 | 1078478.783
20 | 2716383.4787 | 1078478.783 | 2716400.7043 | 1078465.4084 | 2716411.7051 | 1078458.1577
21 | 2716166.1062 | 1078600.8132 | 2716186.3909 | 1078616.0382 | 2716218.948 | 1078633.8553
22 | 2716166.1062 | 1078600.8132 | 2716164.0606 | 1078599.2779
23 | 2716161.3561 | 1078597.248 | 2716164.0606 | 1078599.2779
24 | 2716161.3561 | 1078597.248 | 2716147.1971 | 1078580.94
25 | 2716161.3561 | 1078597.248 | 2716134.9345 | 1078591.022
26 | 2716147.1971 | 1078580.94 | 2716142.1653 | 1078575.1445 | 2716130.5821 | 1078560.7582 | 2716127.2559 | 1078554.6683 | 2716126.8529 | 1078553.4267
27 | 2716134.9345 | 1078591.022 | 2716117.1012 | 1078586.8199 | 2716103.0344 | 1078586.84
28 | 2716289.3704 | 1078528.1321 | 2716288.6853 | 1078528.7123
29 | 2716276.6684 | 1078538.8892 | 2716288.6853 | 1078528.7123
30 | 2716264.4897 | 1078549.2032 | 2716276.6684 | 1078538.8892
31 | 2716261.1655 | 1078552.0184 | 2716264.4897 | 1078549.2032
32 | 2716296.9033 | 1078487.1764 | 2716294.5545 | 1078482.406
33 | 2716296.9033 | 1078487.1764 | 2716276.977 | 1078505.2532
34 | 2716217.6023 | 1078528.4201 | 2716221.3912 | 1078524.8738
35 | 2716209.9462 | 1078535.5859 | 2716217.6023 | 1078528.4201
36 | 2716221.3912 | 1078524.8738 | 2716236.9984 | 1078510.266
37 | 2716239.4341 | 1078507.9863 | 2716236.9984 | 1078510.266
38 | 2716239.4341 | 1078507.9863 | 2716255.9935 | 1078492.4872
39 | 2716271.3247 | 1078478.1377 | 2716255.9935 | 1078492.4872
40 | 2716271.3247 | 1078478.1377 | 2716278.5214 | 1078479.6983 | 2716294.5545 | 1078482.406
41 | 2716294.5545 | 1078482.406 | 2716288.0952 | 1078465.2936
42 | 2716271.3247 | 1078478.1377 | 2716251.0574 | 1078461.5507 | 2716232.1938 | 1078476.9638
43 | 2716288.0952 | 1078465.2936 | 2716285.1314 | 1078457.4419 | 2716284.3404 | 1078455.3169
44 | 2716232.1938 | 1078476.9638 | 2716219.055 | 1078487.6994
45 | 2716280.7173 | 1078442.8141 | 2716281.6769 | 1078447.091 | 2716283.1431 | 1078452.1003 | 2716284.3404 | 1078455.3169
46 | 2716219.055 | 1078487.6994 | 2716206.0072 | 1078498.3605
47 | 2716206.0072 | 1078498.3605 | 2716184.7686 | 1078515.7143 | 2716178.7628 | 1078508.1663
48 | 2716284.0956 | 1078429.8805 | 2716280.7096 | 1078439.1447 | 2716280.7173 | 1078442.8141 | 2716280.7173 | 1078442.8141
49 | 2716284.0956 | 1078429.8805 | 2716274.7433 | 1078420.3399
50 | 2716274.7433 | 1078420.3399 | 2716260.5315 | 1078429.8529
51 | 2716243.1555 | 1078441.4839 | 2716260.5315 | 1078429.8529
52 | 2716243.1555 | 1078441.4839 | 2716237.726 | 1078445.1182 | 2716229.9529 | 1078447.7052 | 2716213.4686 | 1078448.4206
53 | 2716048.2481 | 1078596.3933 | 2716041.8838 | 1078596.6837 | 2716016.7372 | 1078596.2048
54 | 2716048.2481 | 1078596.3933 | 2716054.5665 | 1078596.1051
55 | 2716005.2355 | 1078603.9796 | 2716016.4377 | 1078596.1991 | 2716016.7372 | 1078596.2048
56 | 2716054.5665 | 1078596.1051 | 2716065.7825 | 1078595.5934 | 2716071.7284 | 1078594.0847
57 | 2716071.7284 | 1078594.0847 | 2716085.3212 | 1078590.6357
58 | 2716092.9699 | 1078588.695 | 2716085.3212 | 1078590.6357
59 | 2716092.9699 | 1078588.695 | 2716100.2782 | 1078586.8439 | 2716103.0344 | 1078586.84
60 | 2716092.9699 | 1078588.695 | 2716088.8531 | 1078613.9753
61 | 2716088.8531 | 1078613.9753 | 2716088.5809 | 1078615.6467
62 | 2716126.8529 | 1078553.4267 | 2716124.9461 | 1078547.5518
63 | 2716120.833 | 1078525.1474 | 2716120.2982 | 1078533.2318 | 2716124.9461 | 1078547.5518
64 | 2716120.833 | 1078525.1474 | 2716099.6351 | 1078533.3273 | 2716089.6303 | 1078536.0053 | 2716084.2616 | 1078534.1631
65 | 2716111.7987 | 1078464.666 | 2716113.3994 | 1078474.8592 | 2716123.2698 | 1078488.2122 | 2716120.833 | 1078525.1474
66 | 2716111.7987 | 1078464.666 | 2716127.5408 | 1078439.9913
67 | 2716111.7987 | 1078464.666 | 2716100.198 | 1078450.9184
68 | 2716141.683 | 1078417.8243 | 2716127.5408 | 1078439.9913
69 | 2716100.198 | 1078450.9184 | 2716087.2344 | 1078464.7526
70 | 2716141.683 | 1078417.8243 | 2716147.7544 | 1078408.311
71 | 2716141.683 | 1078417.8243 | 2716121.9057 | 1078397.5111 | 2716115.8772 | 1078405.0238
72 | 2716088.2438 | 1078486.3795 | 2716094.9167 | 1078473.473 | 2716087.2344 | 1078464.7526
73 | 2716172.9912 | 1078500.9127 | 2716178.7628 | 1078508.1663
74 | 2716046.2336 | 1078396.4474 | 2716011.6375 | 1078432.45
75 | 2716046.2336 | 1078396.4474 | 2716058.6995 | 1078386.4654
76 | 2716103.384 | 1078420.5927 | 2716058.6995 | 1078386.4654
77 | 2716092.0179 | 1078434.7571 | 2716103.384 | 1078420.5927
78 | 2716103.384 | 1078420.5927 | 2716115.8772 | 1078405.0238
79 | 2716205.2146 | 1078448.7789 | 2716213.4686 | 1078448.4206

## bus_geodata
| x | y | coords
0 | 2716355.818 | 1078620.8279
1 | 2716331.1938 | 1078562.4837
2 | 2716364.8172 | 1078638.9015
3 | 2716316.4083 | 1078529.0336
4 | 2716316.0244 | 1078574.7546
5 | 2716357.2172 | 1078645.4739
6 | 2716308.3007 | 1078512.1003
7 | 2716329.9561 | 1078520.1767
8 | 2716294.6821 | 1078592.0189
9 | 2716294.4715 | 1078674.7983
10 | 2716298.313 | 1078490.2589
11 | 2716300.8471 | 1078518.4126
12 | 2716354.2834 | 1078496.3553
13 | 2716274.7808 | 1078608.1176
14 | 2716270.5788 | 1078680.0994
15 | 2716379.8776 | 1078516.2779
16 | 2716357.4184 | 1078499.0171
17 | 2716383.4787 | 1078478.783
18 | 2716411.7051 | 1078458.1577
19 | 2716218.948 | 1078633.8553
20 | 2716166.1062 | 1078600.8132
21 | 2716164.0606 | 1078599.2779
22 | 2716161.3561 | 1078597.248
23 | 2716147.1971 | 1078580.94
24 | 2716134.9345 | 1078591.022
25 | 2716289.3704 | 1078528.1321
26 | 2716288.6853 | 1078528.7123
27 | 2716276.6684 | 1078538.8892
28 | 2716264.4897 | 1078549.2032
29 | 2716261.1655 | 1078552.0184
30 | 2716296.9033 | 1078487.1764
31 | 2716217.6023 | 1078528.4201
32 | 2716221.3912 | 1078524.8738
33 | 2716209.9462 | 1078535.5859
34 | 2716236.9984 | 1078510.266
35 | 2716239.4341 | 1078507.9863
36 | 2716255.9935 | 1078492.4872
37 | 2716294.5545 | 1078482.406
38 | 2716276.977 | 1078505.2532
39 | 2716271.3247 | 1078478.1377
40 | 2716288.0952 | 1078465.2936
41 | 2716232.1938 | 1078476.9638
42 | 2716284.3404 | 1078455.3169
43 | 2716219.055 | 1078487.6994
44 | 2716206.0072 | 1078498.3605
45 | 2716280.7173 | 1078442.8141
46 | 2716284.0956 | 1078429.8805
47 | 2716274.7433 | 1078420.3399
48 | 2716260.5315 | 1078429.8529
49 | 2716243.1555 | 1078441.4839
50 | 2716048.2481 | 1078596.3933
51 | 2716016.7372 | 1078596.2048
52 | 2716054.5665 | 1078596.1051
53 | 2716005.2355 | 1078603.9796
54 | 2716071.7284 | 1078594.0847
55 | 2716085.3212 | 1078590.6357
56 | 2716092.9699 | 1078588.695
57 | 2716088.8531 | 1078613.9753
58 | 2716088.5809 | 1078615.6467
59 | 2716103.0344 | 1078586.84
60 | 2716126.8529 | 1078553.4267
61 | 2716124.9461 | 1078547.5518
62 | 2716120.833 | 1078525.1474
63 | 2716084.2616 | 1078534.1631
64 | 2716111.7987 | 1078464.666
65 | 2716127.5408 | 1078439.9913
66 | 2716100.198 | 1078450.9184
67 | 2716141.683 | 1078417.8243
68 | 2716087.2344 | 1078464.7526
69 | 2716088.2438 | 1078486.3795
70 | 2716178.7628 | 1078508.1663
71 | 2716172.9912 | 1078500.9127
72 | 2716011.6375 | 1078432.45
73 | 2716046.2336 | 1078396.4474
74 | 2716058.6995 | 1078386.4654
75 | 2716092.0179 | 1078434.7571
76 | 2716103.384 | 1078420.5927
77 | 2716115.8772 | 1078405.0238
78 | 2716147.7544 | 1078408.311
79 | 2716213.4686 | 1078448.4206
80 | 2716205.2146 | 1078448.7789
81 | 2716209.9462 | 1078535.5859

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1