## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5317-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5317-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5317-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5317-12_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5317-12_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5317-12_0_5_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_5317-12_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5317-12_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5317-12_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5317-12_0_5_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_5317-12_0_5_node_96 | 0.4 | n |  | TRUE
11 | bus_LV_5317-12_0_5_node_95 | 0.4 | n |  | TRUE
12 | bus_LV_5317-12_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5317-12_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5317-12_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5317-12_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5317-12_0_5_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_5317-12_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_5317-12_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5317-12_0_5_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_5317-12_0_5_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_5317-12_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5317-12_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5317-12_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5317-12_0_5_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_5317-12_0_5_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_5317-12_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5317-12_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5317-12_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5317-12_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5317-12_0_5_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_5317-12_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5317-12_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5317-12_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5317-12_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5317-12_0_5_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_5317-12_0_5_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_5317-12_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5317-12_0_5_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_5317-12_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_5317-12_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5317-12_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_5317-12_0_5_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_5317-12_0_5_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_5317-12_0_5_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_5317-12_0_5_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_5317-12_0_5_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_5317-12_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5317-12_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5317-12_0_5_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_5317-12_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_5317-12_0_5_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_5317-12_0_5_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_5317-12_0_5_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_5317-12_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5317-12_0_5_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_5317-12_0_5_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_5317-12_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5317-12_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5317-12_0_5_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5317-12_0_5_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5317-12_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5317-12_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5317-12_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5317-12_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5317-12_0_5_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_5317-12_0_5_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_5317-12_0_5_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_5317-12_0_5_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5317-12_0_5_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_5317-12_0_5_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_5317-12_0_5_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_5317-12_0_5_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_5317-12_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5317-12_0_5_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_5317-12_0_5_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_5317-12_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5317-12_0_5_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_5317-12_0_5_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_5317-12_0_5_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_5317-12_0_5_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_5317-12_0_5_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_5317-12_0_5_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_5317-12_0_5_node_97 | 0.4 | n |  | TRUE
84 | bus_LV_5317-12_0_5_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_5317-12_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_5317-12_0_5_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_5317-12_0_5_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_5317-12_0_5_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_5317-12_0_5_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_5317-12_0_5_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_5317-12_0_5_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_5317-12_0_5_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_5317-12_0_5_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_5317-12_0_5_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_5317-12_0_5_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_5317-12_0_5_node_81 | 0.4 | n |  | TRUE
97 | bus_LV_5317-12_0_5_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_5317-12_0_5_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_5317-12_0_5_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_5317-12_0_5_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_5317-12_0_5_node_92 | 0.4 | n |  | TRUE
102 | bus_MV_78_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5317-12_0_5_load_0 | 0 | 0.043002 | 0.010777 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5317-12_0_5_load_1 | 1 | 0.046077 | 0.011548 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5317-12_0_5_load_28 | 5 | 0.046228 | 0.011586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5317-12_0_5_load_6 | 8 | 0.035473 | 0.0088904 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5317-12_0_5_load_11 | 9 | 0.020542 | 0.0051482 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5317-12_0_5_load_96 | 10 | 0.045807 | 0.01148 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5317-12_0_5_load_95 | 11 | 0.019507 | 0.0048889 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5317-12_0_5_load_9 | 14 | 0.033523 | 0.0084018 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5317-12_0_5_load_10 | 15 | 0.017121 | 0.0042909 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5317-12_0_5_load_20 | 16 | 0.024207 | 0.0060668 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5317-12_0_5_load_32 | 19 | 0.0030888 | 0.00077413 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5317-12_0_5_load_29 | 20 | 0.0030416 | 0.00076229 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5317-12_0_5_load_22 | 22 | 0.0007467 | 0.00018714 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5317-12_0_5_load_17 | 23 | 0.0026811 | 0.00067196 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5317-12_0_5_load_30 | 24 | 0.0014478 | 0.00036284 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5317-12_0_5_load_94 | 25 | 0.00074789 | 0.00018744 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5317-12_0_5_load_15 | 26 | 0.0038399 | 0.00096238 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5317-12_0_5_load_16 | 27 | 0.0038928 | 0.00097563 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5317-12_0_5_load_19 | 28 | 0.0028654 | 0.00071813 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5317-12_0_5_load_21 | 29 | 0.024622 | 0.0061707 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5317-12_0_5_load_93 | 30 | 0.0010428 | 0.00026136 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5317-12_0_5_load_23 | 31 | 0.0030426 | 0.00076254 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5317-12_0_5_load_25 | 33 | 0.0011739 | 0.00029422 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5317-12_0_5_load_26 | 34 | 0.0017622 | 0.00044165 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5317-12_0_5_load_38 | 35 | 0.001365 | 0.0003421 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5317-12_0_5_load_42 | 36 | 0.0006064 | 0.00015198 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5317-12_0_5_load_53 | 38 | 0.001443 | 0.00036164 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5317-12_0_5_load_51 | 39 | 0.0017279 | 0.00043306 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5317-12_0_5_load_31 | 40 | 0.0014422 | 0.00036144 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5317-12_0_5_load_43 | 41 | 0.0014065 | 0.0003525 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5317-12_0_5_load_55 | 42 | 0.0026649 | 0.0006679 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5317-12_0_5_load_63 | 45 | 0.0053956 | 0.0013523 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5317-12_0_5_load_52 | 46 | 0.00097534 | 0.00024444 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5317-12_0_5_load_41 | 48 | 0.002374 | 0.00059498 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5317-12_0_5_load_33 | 50 | 0.00093919 | 0.00023538 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5317-12_0_5_load_34 | 51 | 0.0010559 | 0.00026463 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5317-12_0_5_load_35 | 52 | 0.0008147 | 0.00020418 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5317-12_0_5_load_36 | 53 | 0.0012052 | 0.00030206 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5317-12_0_5_load_37 | 54 | 0.00091373 | 0.000229 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5317-12_0_5_load_90 | 55 | 0.0010782 | 0.00027022 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5317-12_0_5_load_91 | 56 | 0.000747 | 0.00018722 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5317-12_0_5_load_40 | 57 | 0.0022812 | 0.00057173 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5317-12_0_5_load_44 | 58 | 0.0014454 | 0.00036225 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5317-12_0_5_load_45 | 59 | 0.0014449 | 0.00036212 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5317-12_0_5_load_47 | 61 | 0.00086562 | 0.00021695 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5317-12_0_5_load_48 | 62 | 0.00077853 | 0.00019512 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5317-12_0_5_load_82 | 66 | 0.0016669 | 0.00041775 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5317-12_0_5_load_79 | 67 | 0.0013303 | 0.00033342 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5317-12_0_5_load_56 | 68 | 0.00066866 | 0.00016758 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5317-12_0_5_load_75 | 69 | 0.0015362 | 0.00038501 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5317-12_0_5_load_77 | 70 | 0.0019873 | 0.00049806 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5317-12_0_5_load_78 | 71 | 0.0012701 | 0.00031832 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5317-12_0_5_load_80 | 72 | 0.00087724 | 0.00021986 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5317-12_0_5_load_69 | 74 | 0.0012753 | 0.00031962 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5317-12_0_5_load_61 | 75 | 0.0017351 | 0.00043486 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5317-12_0_5_load_99 | 78 | 0.00075717 | 0.00018977 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5317-12_0_5_load_98 | 79 | 0.0010386 | 0.00026029 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5317-12_0_5_load_60 | 82 | 0.0010159 | 0.00025462 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5317-12_0_5_load_97 | 83 | 0.00097792 | 0.00024509 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5317-12_0_5_load_67 | 85 | 0.0014997 | 0.00037587 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5317-12_0_5_load_65 | 86 | 0.0021693 | 0.00054367 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5317-12_0_5_load_72 | 89 | 0.0031598 | 0.00079191 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5317-12_0_5_load_87 | 90 | 0.00036654 | 9.1862e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5317-12_0_5_load_70 | 91 | 0.00079009 | 0.00019801 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5317-12_0_5_load_88 | 92 | 0.00098778 | 0.00024756 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5317-12_0_5_load_74 | 93 | 0.00072847 | 0.00018257 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5317-12_0_5_load_81 | 96 | 0.0066676 | 0.0016711 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5317-12_0_5_load_83 | 97 | 0.0036414 | 0.00091263 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5317-12_0_5_load_101 | 99 | 0.0050771 | 0.0012724 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5317-12_0_5_load_84 | 100 | 0.0055332 | 0.0013868 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5317-12_0_5_load_92 | 101 | 0.00072028 | 0.00018052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5317-12_0_5_line_0 |  | 0 | 1 | 0.0045768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5317-12_0_5_line_1 |  | 0 | 2 | 0.031038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5317-12_0_5_line_2 |  | 2 | 3 | 0.02567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5317-12_0_5_line_3 |  | 2 | 4 | 0.038983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5317-12_0_5_line_4 |  | 3 | 5 | 0.11542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5317-12_0_5_line_5 |  | 4 | 6 | 0.054494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5317-12_0_5_line_6 |  | 4 | 7 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5317-12_0_5_line_7 |  | 4 | 8 | 0.04196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5317-12_0_5_line_8 |  | 6 | 10 | 0.027629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5317-12_0_5_line_9 |  | 6 | 11 | 0.15219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5317-12_0_5_line_10 |  | 7 | 9 | 0.0098824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5317-12_0_5_line_11 |  | 8 | 12 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5317-12_0_5_line_12 |  | 9 | 13 | 0.063582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5317-12_0_5_line_13 |  | 12 | 14 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5317-12_0_5_line_14 |  | 12 | 15 | 0.014955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5317-12_0_5_line_15 |  | 13 | 18 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5317-12_0_5_line_16 |  | 15 | 16 | 0.0021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5317-12_0_5_line_17 |  | 16 | 17 | 0.033835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5317-12_0_5_line_18 |  | 17 | 28 | 0.012881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5317-12_0_5_line_19 |  | 17 | 27 | 0.0048298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5317-12_0_5_line_20 |  | 18 | 19 | 0.050079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5317-12_0_5_line_21 |  | 18 | 20 | 0.085013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5317-12_0_5_line_22 |  | 20 | 24 | 0.001773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5317-12_0_5_line_23 |  | 21 | 22 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5317-12_0_5_line_24 |  | 21 | 23 | 0.065914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5317-12_0_5_line_25 |  | 22 | 25 | 0.0002317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5317-12_0_5_line_26 |  | 23 | 26 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5317-12_0_5_line_27 |  | 25 | 30 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5317-12_0_5_line_28 |  | 26 | 27 | 0.02566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5317-12_0_5_line_29 |  | 28 | 29 | 0.012137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5317-12_0_5_line_30 |  | 30 | 101 | 0.0032309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5317-12_0_5_line_31 |  | 31 | 32 | 0.030653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5317-12_0_5_line_32 |  | 32 | 33 | 0.01169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5317-12_0_5_line_33 |  | 32 | 34 | 0.065609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5317-12_0_5_line_34 |  | 33 | 35 | 0.022894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5317-12_0_5_line_35 |  | 34 | 36 | 0.016201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5317-12_0_5_line_36 |  | 35 | 40 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5317-12_0_5_line_37 |  | 36 | 41 | 0.038572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5317-12_0_5_line_38 |  | 37 | 38 | 0.050609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5317-12_0_5_line_39 |  | 37 | 39 | 0.020522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5317-12_0_5_line_40 |  | 38 | 42 | 0.052732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5317-12_0_5_line_41 |  | 39 | 46 | 0.029853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5317-12_0_5_line_42 |  | 40 | 47 | 0.014707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5317-12_0_5_line_43 |  | 41 | 58 | 0.045291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5317-12_0_5_line_44 |  | 42 | 64 | 0.042491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5317-12_0_5_line_45 |  | 43 | 44 | 0.063421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5317-12_0_5_line_46 |  | 43 | 45 | 0.089072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5317-12_0_5_line_47 |  | 44 | 74 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5317-12_0_5_line_48 |  | 45 | 75 | 0.084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5317-12_0_5_line_49 |  | 47 | 48 | 0.019182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5317-12_0_5_line_50 |  | 47 | 49 | 0.017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5317-12_0_5_line_51 |  | 48 | 57 | 0.02816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5317-12_0_5_line_52 |  | 49 | 53 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5317-12_0_5_line_53 |  | 50 | 51 | 0.025811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5317-12_0_5_line_54 |  | 50 | 52 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5317-12_0_5_line_55 |  | 51 | 53 | 0.0080596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5317-12_0_5_line_56 |  | 52 | 54 | 0.058439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5317-12_0_5_line_57 |  | 54 | 55 | 0.0041114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5317-12_0_5_line_58 |  | 55 | 56 | 0.0016098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5317-12_0_5_line_59 |  | 56 | 101 | 0.0025513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5317-12_0_5_line_60 |  | 58 | 59 | 0.018349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5317-12_0_5_line_61 |  | 59 | 60 | 0.16362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5317-12_0_5_line_62 |  | 60 | 61 | 0.014034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5317-12_0_5_line_63 |  | 60 | 62 | 0.038156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5317-12_0_5_line_64 |  | 60 | 63 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5317-12_0_5_line_65 |  | 60 | 64 | 0.036141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5317-12_0_5_line_66 |  | 61 | 65 | 0.012241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5317-12_0_5_line_67 |  | 63 | 66 | 0.0263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5317-12_0_5_line_68 |  | 63 | 67 | 0.052598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5317-12_0_5_line_69 |  | 64 | 68 | 0.022656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5317-12_0_5_line_70 |  | 65 | 69 | 0.01726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5317-12_0_5_line_71 |  | 67 | 72 | 0.031392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5317-12_0_5_line_72 |  | 68 | 73 | 0.02493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5317-12_0_5_line_73 |  | 70 | 71 | 0.10194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5317-12_0_5_line_74 |  | 71 | 94 | 0.11043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5317-12_0_5_line_75 |  | 72 | 96 | 0.068177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5317-12_0_5_line_76 |  | 73 | 76 | 0.009978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5317-12_0_5_line_77 |  | 73 | 77 | 0.006012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5317-12_0_5_line_78 |  | 74 | 91 | 0.0086565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5317-12_0_5_line_79 |  | 75 | 82 | 0.033349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_5317-12_0_5_line_80 |  | 76 | 78 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5317-12_0_5_line_81 |  | 77 | 79 | 0.022602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5317-12_0_5_line_82 |  | 77 | 80 | 0.04765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5317-12_0_5_line_83 |  | 80 | 81 | 0.017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5317-12_0_5_line_84 |  | 80 | 82 | 0.024683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_5317-12_0_5_line_85 |  | 81 | 83 | 0.038631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5317-12_0_5_line_86 |  | 81 | 84 | 0.02423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5317-12_0_5_line_87 |  | 84 | 85 | 0.0097174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5317-12_0_5_line_88 |  | 84 | 86 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5317-12_0_5_line_89 |  | 85 | 87 | 0.033999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5317-12_0_5_line_90 |  | 87 | 88 | 0.041915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5317-12_0_5_line_91 |  | 87 | 89 | 0.038813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5317-12_0_5_line_92 |  | 88 | 90 | 0.0085938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5317-12_0_5_line_93 |  | 89 | 93 | 0.0096878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5317-12_0_5_line_94 |  | 90 | 92 | 0.004269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5317-12_0_5_line_95 |  | 94 | 95 | 0.025344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5317-12_0_5_line_96 |  | 95 | 100 | 0.085356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_5317-12_0_5_line_97 |  | 96 | 97 | 0.055102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_5317-12_0_5_line_98 |  | 96 | 98 | 0.10409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5317-12_0_5_line_99 |  | 97 | 100 | 0.043672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_5317-12_0_5_line_100 |  | 98 | 99 | 0.059304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5317-12_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 102 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2692234.2202 | 1127776.0445 | 2692238.4415 | 1127774.2759
1 | 2692205.2594 | 1127787.14 | 2692216.3812 | 1127783.5185 | 2692234.2202 | 1127776.0445
2 | 2692205.2594 | 1127787.14 | 2692195.6055 | 1127771.3278 | 2692192.1251 | 1127765.071
3 | 2692222.9286 | 1127821.6079 | 2692218.9798 | 1127809.1847 | 2692205.2594 | 1127787.14
4 | 2692192.1251 | 1127765.071 | 2692214.5078 | 1127754.2612 | 2692295.9198 | 1127714.5887
5 | 2692222.9286 | 1127821.6079 | 2692232.6497 | 1127827.9599 | 2692245.3745 | 1127833.9242 | 2692255.6795 | 1127836.3495 | 2692267.0283 | 1127837.0342 | 2692274.0313 | 1127836.6741
6 | 2692209.99 | 1127829.6599 | 2692216.6635 | 1127825.637 | 2692222.9286 | 1127821.6079
7 | 2692222.9286 | 1127821.6079 | 2692220.8272 | 1127845.1901 | 2692220.4172 | 1127850.3425 | 2692219.4263 | 1127863.4208
8 | 2692274.0313 | 1127836.6741 | 2692277.7607 | 1127838.2208 | 2692279.7275 | 1127841.1415 | 2692280.7078 | 1127843.5579 | 2692282.584 | 1127847.3666 | 2692286.5218 | 1127860.0009
9 | 2692274.0313 | 1127836.6741 | 2692280.3544 | 1127832.8905 | 2692293.6259 | 1127828.2791 | 2692311.6013 | 1127818.4253 | 2692327.5808 | 1127804.0383 | 2692337.7573 | 1127800.7472 | 2692341.7165 | 1127801.8861 | 2692346.1776 | 1127808.0023 | 2692353.1735 | 1127816.681 | 2692354.9602 | 1127817.7645 | 2692357.4833 | 1127818.5702 | 2692360.8378 | 1127817.921 | 2692383.2994 | 1127806.5016 | 2692394.4818 | 1127801.9474 | 2692403.2265 | 1127797.5087
10 | 2692209.99 | 1127829.6599 | 2692207.7913 | 1127839.2947
11 | 2692218.1343 | 1127880.7704 | 2692218.2269 | 1127879.2487 | 2692219.4263 | 1127863.4208
12 | 2692156.524 | 1127872.5487 | 2692174.2225 | 1127864.1578 | 2692199.744 | 1127852.1617 | 2692206.3315 | 1127845.6916 | 2692207.7913 | 1127839.2947
13 | 2692218.1343 | 1127880.7704 | 2692229.1453 | 1127881.372 | 2692233.0588 | 1127882.4657
14 | 2692218.1343 | 1127880.7704 | 2692217.2516 | 1127895.6993
15 | 2692142.5048 | 1127879.2058 | 2692156.524 | 1127872.5487
16 | 2692218.058 | 1127897.6827 | 2692217.2516 | 1127895.6993
17 | 2692244.8344 | 1127910.2286 | 2692241.6516 | 1127909.7242 | 2692232.8231 | 1127911.0459 | 2692227.3634 | 1127910.2733 | 2692221.1362 | 1127905.2531 | 2692218.058 | 1127897.6827
18 | 2692244.8344 | 1127910.2286 | 2692246.2472 | 1127905.514 | 2692254.206 | 1127905.4
19 | 2692244.8344 | 1127910.2286 | 2692242.9437 | 1127911.9119 | 2692240.7562 | 1127912.6172
20 | 2692142.5048 | 1127879.2058 | 2692142.1802 | 1127871.6852 | 2692141.3331 | 1127859.5094 | 2692138.959 | 1127852.469 | 2692131.9982 | 1127848.0381 | 2692126.093 | 1127848.1816 | 2692122.2199 | 1127852.0138 | 2692121.231 | 1127855.2118
21 | 2692142.5048 | 1127879.2058 | 2692134.657 | 1127882.9218 | 2692108.8698 | 1127893.6578 | 2692062.0828 | 1127906.0356
22 | 2692062.0828 | 1127906.0356 | 2692060.3687 | 1127906.4891
23 | 2692142.5048 | 1127937.8522 | 2692141.6665 | 1127938.2508 | 2692135.0939 | 1127941.7305 | 2692131.6756 | 1127943.0348 | 2692125.7609 | 1127945.1972
24 | 2692142.5048 | 1127937.8522 | 2692159.6586 | 1127932.3213 | 2692178.7863 | 1127925.1974 | 2692185.5191 | 1127923.3433 | 2692202.374 | 1127922.2551 | 2692205.9236 | 1127921.6202
25 | 2692125.7609 | 1127945.1972 | 2692125.5433 | 1127945.2768
26 | 2692205.9236 | 1127921.6202 | 2692216.1594 | 1127919.7893
27 | 2692125.5433 | 1127945.2768 | 2692113.8044 | 1127949.5686
28 | 2692216.1594 | 1127919.7893 | 2692221.4452 | 1127918.8438 | 2692240.7562 | 1127912.6172
29 | 2692254.206 | 1127905.4 | 2692259.7748 | 1127905.3202 | 2692263.8169 | 1127905.0595 | 2692266.1247 | 1127904.0557
30 | 2692110.7699 | 1127950.678 | 2692113.8044 | 1127949.5686
31 | 2691959.6749 | 1127877.956 | 2691987.1935 | 1127864.4532
32 | 2691959.6749 | 1127877.956 | 2691961.1778 | 1127881.4921 | 2691961.4747 | 1127889.3347 | 2691961.4747 | 1127889.3347
33 | 2691959.6749 | 1127877.956 | 2691900.7716 | 1127906.8516
34 | 2691961.9008 | 1127911.9596 | 2691960.0274 | 1127902.9097 | 2691961.4747 | 1127889.3347
35 | 2691886.2268 | 1127913.9867 | 2691900.7716 | 1127906.8516
36 | 2691968.2797 | 1127930.852 | 2691964.9392 | 1127922.9854 | 2691962.9133 | 1127916.8509 | 2691961.9008 | 1127911.9596
37 | 2691886.2268 | 1127913.9867 | 2691851.5971 | 1127930.9747
38 | 2691806.3145 | 1127947.2236 | 2691760.8064 | 1127969.3662
39 | 2691806.3145 | 1127947.2236 | 2691796.9848 | 1127928.9447
40 | 2691760.8064 | 1127969.3662 | 2691713.389 | 1127992.4377
41 | 2691773.7348 | 1127925.7496 | 2691784.3621 | 1127920.1409 | 2691791.1901 | 1127919.6219 | 2691795.8375 | 1127926.6967 | 2691796.9848 | 1127928.9447
42 | 2691968.2797 | 1127930.852 | 2691975.8634 | 1127943.4638
43 | 2691851.5971 | 1127930.9747 | 2691812.3491 | 1127950.2281 | 2691810.9277 | 1127950.9059
44 | 2691675.1804 | 1128011.0286 | 2691713.389 | 1127992.4377
45 | 2691854.6642 | 1127836.6245 | 2691847.248 | 1127835.2778 | 2691844.8764 | 1127834.6414 | 2691835.9274 | 1127832.2263 | 2691814.5942 | 1127821.1847 | 2691795.9029 | 1127813.274
46 | 2691854.6642 | 1127836.6245 | 2691830.2426 | 1127845.2478 | 2691771.0462 | 1127867.305
47 | 2691795.9029 | 1127813.274 | 2691786.5658 | 1127815.6115 | 2691785.4427 | 1127821.5647 | 2691785.774 | 1127823.2646
48 | 2691692.3327 | 1127896.6344 | 2691771.0462 | 1127867.305
49 | 2691975.8634 | 1127943.4638 | 2691972.7944 | 1127945.107 | 2691968.9887 | 1127945.5383 | 2691957.3408 | 1127943.2487 | 2691957.3408 | 1127943.2487
50 | 2691984.2732 | 1127958.5118 | 2691975.8634 | 1127943.4638
51 | 2691934.2928 | 1127927.6039 | 2691938.9426 | 1127929.7832 | 2691949.2006 | 1127935.2979 | 2691957.3408 | 1127943.2487
52 | 2691984.2732 | 1127958.5118 | 2691998.9 | 1127967.6064 | 2692001.1295 | 1127968.1273
53 | 2692034.345 | 1127963.2365 | 2692027.2988 | 1127964.481 | 2692009.0067 | 1127968.1445
54 | 2692034.345 | 1127963.2365 | 2692045.0474 | 1127961.3463
55 | 2692001.1295 | 1127968.1273 | 2692004.8051 | 1127968.9859 | 2692009.0067 | 1127968.1445
56 | 2692102.7715 | 1127952.5225 | 2692085.7447 | 1127954.2532 | 2692072.1626 | 1127957.0259 | 2692060.3319 | 1127958.6468 | 2692045.0474 | 1127961.3463
57 | 2692102.7715 | 1127952.5225 | 2692106.8618 | 1127952.1068 | 2692106.8618 | 1127952.1068
58 | 2692106.8618 | 1127952.1068 | 2692108.3737 | 1127951.554
59 | 2692108.3737 | 1127951.554 | 2692110.7699 | 1127950.678
60 | 2691794.3654 | 1127958.8027 | 2691810.9277 | 1127950.9059
61 | 2691646.9011 | 1128029.6779 | 2691679.6976 | 1128013.4763 | 2691794.3654 | 1127958.8027
62 | 2691646.9011 | 1128029.6779 | 2691647.0352 | 1128034.0492 | 2691647.9597 | 1128041.69 | 2691648.2601 | 1128043.6314
63 | 2691646.9011 | 1128029.6779 | 2691612.6892 | 1128046.573
64 | 2691635.969 | 1128030.5016 | 2691646.774 | 1128025.3511 | 2691646.9011 | 1128029.6779
65 | 2691675.1804 | 1128011.0286 | 2691646.774 | 1128025.3511 | 2691646.9011 | 1128029.6779
66 | 2691650.6847 | 1128055.6063 | 2691649.4616 | 1128051.3964 | 2691648.2601 | 1128043.6314
67 | 2691615.2796 | 1128015.646 | 2691627.598 | 1128020.9802 | 2691633.3153 | 1128025.6029 | 2691635.969 | 1128030.5016
68 | 2691635.969 | 1128030.5016 | 2691588.9393 | 1128054.0545
69 | 2691675.1804 | 1128011.0286 | 2691666.3095 | 1127990.1818
70 | 2691650.6847 | 1128055.6063 | 2691667.2546 | 1128050.7749
71 | 2691588.9393 | 1128054.0545 | 2691583.6945 | 1128056.6812 | 2691561.4208 | 1128069.15
72 | 2691656.548 | 1127967.2421 | 2691666.3095 | 1127990.1818
73 | 2691514.9428 | 1128106.7342 | 2691505.5703 | 1128113.166 | 2691431.8102 | 1128165.7231
74 | 2691346.9985 | 1128236.3652 | 2691390.7741 | 1128197.7255 | 2691428.1844 | 1128168.3066 | 2691431.8102 | 1128165.7231
75 | 2691561.4208 | 1128069.15 | 2691555.4044 | 1128072.518 | 2691514.3526 | 1128100.1021 | 2691504.7125 | 1128106.9488
76 | 2691656.548 | 1127967.2421 | 2691647.9402 | 1127962.1531
77 | 2691656.548 | 1127967.2421 | 2691654.5378 | 1127961.5749
78 | 2691785.774 | 1127823.2646 | 2691786.2077 | 1127825.4898 | 2691789.0876 | 1127831.1934
79 | 2691661.0823 | 1127908.2787 | 2691692.3327 | 1127896.6344
80 | 2691637.4369 | 1127972.3 | 2691645.2078 | 1127963.9683 | 2691647.9402 | 1127962.1531
81 | 2691654.5378 | 1127961.5749 | 2691675.5503 | 1127953.0994
82 | 2691637.9531 | 1127916.8968 | 2691654.5378 | 1127961.5749
83 | 2691637.9531 | 1127916.8968 | 2691633.6231 | 1127910.2272 | 2691627.2988 | 1127902.9382
84 | 2691637.9531 | 1127916.8968 | 2691661.0823 | 1127908.2787
85 | 2691590.5782 | 1127899.8913 | 2691602.4977 | 1127904.608 | 2691615.6938 | 1127906.4534 | 2691620.4445 | 1127906.7255 | 2691627.2988 | 1127902.9382
86 | 2691612.8664 | 1127883.519 | 2691620.2093 | 1127894.7814 | 2691627.2988 | 1127902.9382
87 | 2691612.8664 | 1127883.519 | 2691611.9325 | 1127882.0818 | 2691609.041 | 1127874.6189
88 | 2691612.8664 | 1127883.519 | 2691621.8827 | 1127879.9646 | 2691627.9486 | 1127875.3203
89 | 2691612.5413 | 1127841.9113 | 2691606.69 | 1127859.3443 | 2691607.3567 | 1127870.2721 | 2691609.041 | 1127874.6189
90 | 2691612.5413 | 1127841.9113 | 2691624.9755 | 1127839.6316 | 2691652.5191 | 1127829.3983
91 | 2691612.5413 | 1127841.9113 | 2691610.4089 | 1127832.6068 | 2691598.8158 | 1127820.0681 | 2691592.4992 | 1127813.7909 | 2691591.2261 | 1127810.7626
92 | 2691652.5191 | 1127829.3983 | 2691652.1838 | 1127831.1832 | 2691653.7292 | 1127837.7824
93 | 2691586.4762 | 1127802.3707 | 2691589.7098 | 1127807.1558 | 2691591.2261 | 1127810.7626
94 | 2691654.7026 | 1127841.9389 | 2691653.7292 | 1127837.7824
95 | 2691346.9985 | 1128236.3652 | 2691343.7219 | 1128232.3911 | 2691358.767 | 1128218.9214
96 | 2691358.767 | 1128218.9214 | 2691379.4921 | 1128200.3122 | 2691397.6332 | 1128184.9326 | 2691424.191 | 1128164.1561
97 | 2691504.7125 | 1128106.9488 | 2691459.7879 | 1128138.8557
98 | 2691504.7125 | 1128106.9488 | 2691441.9197 | 1128023.9277
99 | 2691459.7879 | 1128138.8557 | 2691424.4434 | 1128163.9586 | 2691424.191 | 1128164.1561
100 | 2691486.3093 | 1127987.6327 | 2691482.9324 | 1127992.3177 | 2691473.9838 | 1127996.5071 | 2691464.228 | 1127999.0389 | 2691457.9309 | 1128005.7366 | 2691446.9587 | 1128020.4128 | 2691441.9197 | 1128023.9277

## bus_geodata
| x | y | coords
0 | 2692234.2202 | 1127776.0445
1 | 2692238.4415 | 1127774.2759
2 | 2692205.2594 | 1127787.14
3 | 2692192.1251 | 1127765.071
4 | 2692222.9286 | 1127821.6079
5 | 2692295.9198 | 1127714.5887
6 | 2692274.0313 | 1127836.6741
7 | 2692209.99 | 1127829.6599
8 | 2692219.4262 | 1127863.4208
9 | 2692207.7913 | 1127839.2947
10 | 2692286.5218 | 1127860.0009
11 | 2692403.2265 | 1127797.5087
12 | 2692218.1343 | 1127880.7704
13 | 2692156.524 | 1127872.5487
14 | 2692233.0588 | 1127882.4657
15 | 2692217.2516 | 1127895.6993
16 | 2692218.058 | 1127897.6827
17 | 2692244.8344 | 1127910.2286
18 | 2692142.5048 | 1127879.2058
19 | 2692121.231 | 1127855.2118
20 | 2692062.0828 | 1127906.0356
21 | 2692142.5048 | 1127937.8522
22 | 2692125.7609 | 1127945.1972
23 | 2692205.9236 | 1127921.6202
24 | 2692060.3687 | 1127906.4891
25 | 2692125.5433 | 1127945.2768
26 | 2692216.1594 | 1127919.7893
27 | 2692240.7562 | 1127912.6172
28 | 2692254.206 | 1127905.4
29 | 2692266.1247 | 1127904.0557
30 | 2692113.8044 | 1127949.5686
31 | 2691987.1935 | 1127864.4532
32 | 2691959.6749 | 1127877.956
33 | 2691961.4747 | 1127889.3347
34 | 2691900.7716 | 1127906.8516
35 | 2691961.9008 | 1127911.9596
36 | 2691886.2268 | 1127913.9867
37 | 2691806.3145 | 1127947.2236
38 | 2691760.8064 | 1127969.3662
39 | 2691796.9848 | 1127928.9447
40 | 2691968.2797 | 1127930.852
41 | 2691851.5971 | 1127930.9747
42 | 2691713.389 | 1127992.4377
43 | 2691854.6642 | 1127836.6245
44 | 2691795.9029 | 1127813.274
45 | 2691771.0462 | 1127867.305
46 | 2691773.7348 | 1127925.7496
47 | 2691975.8634 | 1127943.4638
48 | 2691957.3408 | 1127943.2487
49 | 2691984.2732 | 1127958.5118
50 | 2692034.345 | 1127963.2365
51 | 2692009.0067 | 1127968.1445
52 | 2692045.0474 | 1127961.3463
53 | 2692001.1295 | 1127968.1273
54 | 2692102.7715 | 1127952.5225
55 | 2692106.8618 | 1127952.1068
56 | 2692108.3737 | 1127951.554
57 | 2691934.2928 | 1127927.6039
58 | 2691810.9277 | 1127950.9059
59 | 2691794.3654 | 1127958.8027
60 | 2691646.9011 | 1128029.6779
61 | 2691648.2601 | 1128043.6314
62 | 2691612.6892 | 1128046.573
63 | 2691635.969 | 1128030.5016
64 | 2691675.1804 | 1128011.0286
65 | 2691650.6847 | 1128055.6063
66 | 2691615.2796 | 1128015.646
67 | 2691588.9393 | 1128054.0545
68 | 2691666.3095 | 1127990.1818
69 | 2691667.2546 | 1128050.7749
70 | 2691514.9428 | 1128106.7342
71 | 2691431.8102 | 1128165.7231
72 | 2691561.4208 | 1128069.15
73 | 2691656.548 | 1127967.2421
74 | 2691785.774 | 1127823.2646
75 | 2691692.3327 | 1127896.6344
76 | 2691647.9402 | 1127962.1531
77 | 2691654.5378 | 1127961.5749
78 | 2691637.4369 | 1127972.3
79 | 2691675.5503 | 1127953.0994
80 | 2691637.9531 | 1127916.8968
81 | 2691627.2988 | 1127902.9382
82 | 2691661.0823 | 1127908.2787
83 | 2691590.5782 | 1127899.8913
84 | 2691612.8664 | 1127883.519
85 | 2691609.041 | 1127874.6189
86 | 2691627.9486 | 1127875.3203
87 | 2691612.5413 | 1127841.9113
88 | 2691652.5191 | 1127829.3983
89 | 2691591.2261 | 1127810.7626
90 | 2691653.7292 | 1127837.7824
91 | 2691789.0876 | 1127831.1934
92 | 2691654.7026 | 1127841.9389
93 | 2691586.4762 | 1127802.3707
94 | 2691346.9985 | 1128236.3652
95 | 2691358.767 | 1128218.9214
96 | 2691504.7125 | 1128106.9488
97 | 2691459.7879 | 1128138.8557
98 | 2691441.9197 | 1128023.9277
99 | 2691486.3093 | 1127987.6327
100 | 2691424.191 | 1128164.1561
101 | 2692110.7699 | 1127950.678
102 | 2692142.5048 | 1127879.2058

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1