## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5324-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5324-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5324-2_0_2_node_172 | 0.4 | n |  | TRUE
3 | bus_LV_5324-2_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5324-2_0_2_node_171 | 0.4 | n |  | TRUE
5 | bus_LV_5324-2_0_2_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_5324-2_0_2_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_5324-2_0_2_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_5324-2_0_2_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_5324-2_0_2_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_5324-2_0_2_node_173 | 0.4 | n |  | TRUE
11 | bus_LV_5324-2_0_2_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_5324-2_0_2_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_5324-2_0_2_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_5324-2_0_2_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_5324-2_0_2_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_5324-2_0_2_node_3 | 0.4 | n |  | TRUE
17 | bus_LV_5324-2_0_2_node_4 | 0.4 | n |  | TRUE
18 | bus_LV_5324-2_0_2_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_5324-2_0_2_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_5324-2_0_2_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_5324-2_0_2_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_5324-2_0_2_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5324-2_0_2_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5324-2_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5324-2_0_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5324-2_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5324-2_0_2_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_5324-2_0_2_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_5324-2_0_2_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_5324-2_0_2_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_5324-2_0_2_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5324-2_0_2_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_5324-2_0_2_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_5324-2_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5324-2_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5324-2_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5324-2_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5324-2_0_2_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5324-2_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5324-2_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5324-2_0_2_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5324-2_0_2_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5324-2_0_2_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_5324-2_0_2_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_5324-2_0_2_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_5324-2_0_2_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_5324-2_0_2_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_5324-2_0_2_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5324-2_0_2_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5324-2_0_2_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5324-2_0_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_5324-2_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_5324-2_0_2_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5324-2_0_2_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_5324-2_0_2_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5324-2_0_2_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5324-2_0_2_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5324-2_0_2_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5324-2_0_2_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5324-2_0_2_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_5324-2_0_2_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_5324-2_0_2_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_5324-2_0_2_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5324-2_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_5324-2_0_2_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_5324-2_0_2_node_103 | 0.4 | n |  | TRUE
67 | bus_LV_5324-2_0_2_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5324-2_0_2_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_5324-2_0_2_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_5324-2_0_2_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_5324-2_0_2_node_111 | 0.4 | n |  | TRUE
72 | bus_LV_5324-2_0_2_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_5324-2_0_2_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_5324-2_0_2_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_5324-2_0_2_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_5324-2_0_2_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_5324-2_0_2_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_5324-2_0_2_node_108 | 0.4 | n |  | TRUE
79 | bus_LV_5324-2_0_2_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_5324-2_0_2_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_5324-2_0_2_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_5324-2_0_2_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_5324-2_0_2_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_5324-2_0_2_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_5324-2_0_2_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_5324-2_0_2_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_5324-2_0_2_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_5324-2_0_2_node_104 | 0.4 | n |  | TRUE
89 | bus_LV_5324-2_0_2_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_5324-2_0_2_node_105 | 0.4 | n |  | TRUE
91 | bus_MV_77_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5324-2_0_2_load_0 | 0 | 0.021885 | 0.0054848 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5324-2_0_2_load_171 | 4 | 0.00081974 | 0.00020545 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5324-2_0_2_load_52 | 5 | 0.0030056 | 0.00075326 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5324-2_0_2_load_173 | 10 | 0.0054166 | 0.0013575 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5324-2_0_2_load_53 | 12 | 0.0047156 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5324-2_0_2_load_45 | 14 | 0.0048154 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5324-2_0_2_load_49 | 15 | 0.0092298 | 0.0023132 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5324-2_0_2_load_3 | 16 | 0.00077974 | 0.00019542 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5324-2_0_2_load_4 | 17 | 0.0023042 | 0.00057749 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5324-2_0_2_load_5 | 18 | 0.0031274 | 0.0007838 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5324-2_0_2_load_6 | 19 | 0.0022837 | 0.00057236 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5324-2_0_2_load_7 | 20 | 0.0037002 | 0.00092736 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5324-2_0_2_load_8 | 21 | 0.0018367 | 0.00046032 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5324-2_0_2_load_9 | 22 | 0.0012806 | 0.00032094 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5324-2_0_2_load_32 | 23 | 0.001407 | 0.00035263 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5324-2_0_2_load_16 | 24 | 0.002983 | 0.00074761 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5324-2_0_2_load_33 | 25 | 0.0029191 | 0.0007316 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5324-2_0_2_load_17 | 26 | 0.0020668 | 0.00051799 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5324-2_0_2_load_10 | 27 | 0.0018105 | 0.00045376 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5324-2_0_2_load_15 | 31 | 0.0023838 | 0.00059744 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5324-2_0_2_load_39 | 32 | 0.0031974 | 0.00080133 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5324-2_0_2_load_26 | 35 | 0.0028623 | 0.00071736 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5324-2_0_2_load_29 | 37 | 0.0013899 | 0.00034834 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5324-2_0_2_load_18 | 38 | 0.0033064 | 0.00082867 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5324-2_0_2_load_20 | 40 | 0.0017165 | 0.0004302 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5324-2_0_2_load_21 | 41 | 0.0096654 | 0.0024224 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5324-2_0_2_load_50 | 44 | 0.0065153 | 0.0016329 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5324-2_0_2_load_23 | 46 | 0.0012731 | 0.00031907 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5324-2_0_2_load_31 | 50 | 0.0015645 | 0.0003921 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5324-2_0_2_load_56 | 51 | 0.0011845 | 0.00029685 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5324-2_0_2_load_34 | 52 | 0.0087892 | 0.0022028 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5324-2_0_2_load_35 | 54 | 0.0017977 | 0.00045055 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5324-2_0_2_load_38 | 55 | 0.0014249 | 0.00035711 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5324-2_0_2_load_40 | 57 | 0.0017165 | 0.00043019 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5324-2_0_2_load_41 | 58 | 0.0050053 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5324-2_0_2_load_42 | 59 | 0.0037554 | 0.00094118 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5324-2_0_2_load_109 | 61 | 0.0058101 | 0.0014561 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5324-2_0_2_load_106 | 62 | 0.0036569 | 0.00091651 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5324-2_0_2_load_55 | 63 | 0.0030626 | 0.00076756 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5324-2_0_2_load_107 | 65 | 0.0029714 | 0.00074469 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5324-2_0_2_load_58 | 68 | 0.0038722 | 0.00097047 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5324-2_0_2_load_59 | 69 | 0.0030368 | 0.00076109 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5324-2_0_2_load_111 | 71 | 0.0012918 | 0.00032375 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5324-2_0_2_load_69 | 72 | 0.0041125 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5324-2_0_2_load_72 | 73 | 0.0039108 | 0.00098014 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5324-2_0_2_load_75 | 75 | 0.0038794 | 0.00097227 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5324-2_0_2_load_76 | 76 | 0.005023 | 0.0012589 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5324-2_0_2_load_78 | 77 | 0.0039461 | 0.00098898 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5324-2_0_2_load_108 | 78 | 0.001779 | 0.00044587 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5324-2_0_2_load_85 | 79 | 0.0044946 | 0.0011264 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5324-2_0_2_load_86 | 80 | 0.0086216 | 0.0021608 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5324-2_0_2_load_88 | 82 | 0.007603 | 0.0019055 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5324-2_0_2_load_92 | 85 | 0.0056577 | 0.0014179 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5324-2_0_2_load_94 | 86 | 0.0055617 | 0.0013939 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5324-2_0_2_load_93 | 87 | 0.0051738 | 0.0012967 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5324-2_0_2_load_104 | 88 | 0.0070897 | 0.0017768 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5324-2_0_2_load_95 | 89 | 0.0044395 | 0.0011126 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5324-2_0_2_load_105 | 90 | 0.0055866 | 0.0014001 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5324-2_0_2_line_0 |  | 0 | 1 | 0.10147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5324-2_0_2_line_1 |  | 0 | 2 | 0.13434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5324-2_0_2_line_2 |  | 1 | 3 | 0.07877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5324-2_0_2_line_3 |  | 2 | 4 | 0.10656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5324-2_0_2_line_4 |  | 3 | 5 | 0.005371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5324-2_0_2_line_5 |  | 5 | 14 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5324-2_0_2_line_6 |  | 5 | 15 | 0.077607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5324-2_0_2_line_7 |  | 6 | 7 | 0.00431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5324-2_0_2_line_8 |  | 6 | 8 | 0.014924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5324-2_0_2_line_9 |  | 7 | 15 | 0.025505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5324-2_0_2_line_10 |  | 7 | 42 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5324-2_0_2_line_11 |  | 8 | 55 | 0.043188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5324-2_0_2_line_12 |  | 8 | 56 | 0.003543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5324-2_0_2_line_13 |  | 9 | 10 | 0.022852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5324-2_0_2_line_14 |  | 9 | 11 | 0.073187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5324-2_0_2_line_15 |  | 11 | 12 | 0.038103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5324-2_0_2_line_16 |  | 11 | 13 | 0.024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5324-2_0_2_line_17 |  | 12 | 60 | 0.0081501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5324-2_0_2_line_18 |  | 13 | 14 | 0.01512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5324-2_0_2_line_19 |  | 13 | 58 | 0.035902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5324-2_0_2_line_20 |  | 16 | 17 | 0.00028184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5324-2_0_2_line_21 |  | 16 | 18 | 0.019378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5324-2_0_2_line_22 |  | 17 | 19 | 0.010243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5324-2_0_2_line_23 |  | 18 | 20 | 0.02443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5324-2_0_2_line_24 |  | 19 | 21 | 0.0061643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5324-2_0_2_line_25 |  | 20 | 22 | 0.060451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5324-2_0_2_line_26 |  | 21 | 23 | 0.033024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5324-2_0_2_line_27 |  | 22 | 24 | 0.0017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5324-2_0_2_line_28 |  | 23 | 25 | 0.0079431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5324-2_0_2_line_29 |  | 24 | 26 | 0.028723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5324-2_0_2_line_30 |  | 25 | 55 | 0.0082575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5324-2_0_2_line_31 |  | 27 | 28 | 0.001757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5324-2_0_2_line_32 |  | 27 | 29 | 0.013173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5324-2_0_2_line_33 |  | 28 | 30 | 0.026778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5324-2_0_2_line_34 |  | 29 | 31 | 0.005747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5324-2_0_2_line_35 |  | 30 | 32 | 0.019229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5324-2_0_2_line_36 |  | 31 | 33 | 0.0082346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5324-2_0_2_line_37 |  | 33 | 34 | 0.033714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5324-2_0_2_line_38 |  | 34 | 37 | 0.089212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5324-2_0_2_line_39 |  | 34 | 36 | 0.003314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5324-2_0_2_line_40 |  | 35 | 36 | 0.031831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5324-2_0_2_line_41 |  | 36 | 46 | 0.026003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5324-2_0_2_line_42 |  | 37 | 51 | 0.061561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5324-2_0_2_line_43 |  | 38 | 39 | 0.036517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5324-2_0_2_line_44 |  | 39 | 40 | 0.034559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5324-2_0_2_line_45 |  | 39 | 41 | 0.073836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5324-2_0_2_line_46 |  | 40 | 42 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5324-2_0_2_line_47 |  | 42 | 43 | 0.13671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5324-2_0_2_line_48 |  | 43 | 44 | 0.039225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5324-2_0_2_line_49 |  | 43 | 45 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5324-2_0_2_line_50 |  | 45 | 61 | 0.044972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5324-2_0_2_line_51 |  | 45 | 62 | 0.0033499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5324-2_0_2_line_52 |  | 46 | 47 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5324-2_0_2_line_53 |  | 47 | 48 | 0.007974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5324-2_0_2_line_54 |  | 48 | 49 | 0.088586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5324-2_0_2_line_55 |  | 48 | 50 | 0.03841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5324-2_0_2_line_56 |  | 49 | 52 | 0.031382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5324-2_0_2_line_57 |  | 51 | 53 | 0.053814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5324-2_0_2_line_58 |  | 52 | 54 | 0.059283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5324-2_0_2_line_59 |  | 53 | 68 | 0.0086541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5324-2_0_2_line_60 |  | 53 | 69 | 0.080065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5324-2_0_2_line_61 |  | 54 | 56 | 0.058562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5324-2_0_2_line_62 |  | 57 | 58 | 0.0048575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5324-2_0_2_line_63 |  | 57 | 59 | 0.0037314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5324-2_0_2_line_64 |  | 60 | 66 | 0.027851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5324-2_0_2_line_65 |  | 62 | 65 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5324-2_0_2_line_66 |  | 63 | 64 | 0.085649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5324-2_0_2_line_67 |  | 64 | 67 | 0.02789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5324-2_0_2_line_68 |  | 64 | 68 | 0.10113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5324-2_0_2_line_69 |  | 65 | 78 | 0.0018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5324-2_0_2_line_70 |  | 66 | 89 | 0.010679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5324-2_0_2_line_71 |  | 67 | 72 | 0.16243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5324-2_0_2_line_72 |  | 69 | 70 | 0.25983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5324-2_0_2_line_73 |  | 70 | 71 | 0.091482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5324-2_0_2_line_74 |  | 73 | 74 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5324-2_0_2_line_75 |  | 74 | 75 | 0.025937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5324-2_0_2_line_76 |  | 74 | 76 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5324-2_0_2_line_77 |  | 76 | 77 | 0.028145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5324-2_0_2_line_78 |  | 77 | 78 | 0.021871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5324-2_0_2_line_79 |  | 79 | 80 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5324-2_0_2_line_80 |  | 79 | 81 | 0.013564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5324-2_0_2_line_81 |  | 80 | 82 | 0.015551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5324-2_0_2_line_82 |  | 81 | 83 | 0.051633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5324-2_0_2_line_83 |  | 83 | 84 | 0.021775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5324-2_0_2_line_84 |  | 83 | 85 | 0.013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5324-2_0_2_line_85 |  | 84 | 86 | 0.018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5324-2_0_2_line_86 |  | 84 | 87 | 0.031957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5324-2_0_2_line_87 |  | 85 | 88 | 0.0014563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5324-2_0_2_line_88 |  | 86 | 89 | 0.025581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5324-2_0_2_line_89 |  | 88 | 90 | 0.026472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5324-2_0_2_trafo_49 | 0.63 MVA 20/0.4 kV | 91 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2700566.1024 | 1120000.9627 | 2700560.2383 | 1119995.8177 | 2700556.3043 | 1119994.3292 | 2700554.098 | 1119994.2925 | 2700551.1005 | 1119995.8882 | 2700547.3098 | 1119998.7826 | 2700545.9688 | 1120000.0723 | 2700523.7812 | 1120023.4186 | 2700520.4477 | 1120024.8086 | 2700514.654 | 1120024.7123 | 2700483.7867 | 1120006.9347
1 | 2700483.7867 | 1120006.9347 | 2700349.6465 | 1119999.6381
2 | 2700566.1024 | 1120000.9627 | 2700603.6071 | 1120028.2804 | 2700629.774 | 1120047.3382
3 | 2700349.6465 | 1119999.6381 | 2700381.2746 | 1119918.8451 | 2700387.5146 | 1119900.0522
4 | 2700629.774 | 1120047.3382 | 2700634.1434 | 1120050.4794
5 | 2700634.1434 | 1120050.4794 | 2700632.3413 | 1120053.0511 | 2700625.3937 | 1120063.903
6 | 2700634.1434 | 1120050.4794 | 2700639.4632 | 1120042.8742 | 2700664.1291 | 1120003.704 | 2700676.4266 | 1119985.4179
7 | 2700686.9142 | 1119962.1012 | 2700690.6596 | 1119964.2537
8 | 2700686.9142 | 1119962.1012 | 2700674.719 | 1119953.4486
9 | 2700690.6596 | 1119964.2537 | 2700676.4266 | 1119985.4179
10 | 2700702.3464 | 1119970.0739 | 2700690.6596 | 1119964.2537
11 | 2700674.719 | 1119953.4486 | 2700681.4885 | 1119949.1585 | 2700695.0723 | 1119937.4325 | 2700699.5276 | 1119932.17 | 2700704.9292 | 1119923.3609
12 | 2700674.719 | 1119953.4486 | 2700671.8286 | 1119951.3882
13 | 2700548.0357 | 1120095.3662 | 2700551.357 | 1120090.9964 | 2700555.3051 | 1120083.7352 | 2700557.0048 | 1120074.7911
14 | 2700548.0357 | 1120095.3662 | 2700556.7366 | 1120099.7579 | 2700573.4897 | 1120110.4205 | 2700589.9245 | 1120117.9426 | 2700604.2959 | 1120096.8681
15 | 2700604.2959 | 1120096.8681 | 2700631.5049 | 1120123.5427
16 | 2700604.2959 | 1120096.8681 | 2700617.2412 | 1120076.6372
17 | 2700637.3248 | 1120129.2482 | 2700631.5049 | 1120123.5427
18 | 2700617.2412 | 1120076.6372 | 2700625.3937 | 1120063.903
19 | 2700617.2412 | 1120076.6372 | 2700642.5348 | 1120102.1158
20 | 2700710.4354 | 1119868.062 | 2700710.6067 | 1119868.2857
21 | 2700710.4354 | 1119868.062 | 2700705.2294 | 1119861.2648 | 2700698.2437 | 1119853.0076
22 | 2700710.6067 | 1119868.2857 | 2700716.8353 | 1119876.4179
23 | 2700682.4646 | 1119834.3565 | 2700698.2437 | 1119853.0076
24 | 2700720.5835 | 1119881.3117 | 2700716.8353 | 1119876.4179
25 | 2700643.4208 | 1119788.2059 | 2700682.4646 | 1119834.3565
26 | 2700713.3979 | 1119909.5501 | 2700725.2197 | 1119890.271 | 2700725.2519 | 1119888.337 | 2700724.0586 | 1119885.8489 | 2700720.5835 | 1119881.3117
27 | 2700643.4208 | 1119788.2059 | 2700642.3017 | 1119786.8831
28 | 2700713.3979 | 1119909.5501 | 2700709.2457 | 1119916.3215
29 | 2700642.3017 | 1119786.8831 | 2700623.75 | 1119764.9546
30 | 2700704.9292 | 1119923.3609 | 2700709.2457 | 1119916.3215
31 | 2700505.5226 | 1119728.3644 | 2700507.0677 | 1119727.5278
32 | 2700518.6517 | 1119721.2556 | 2700507.0677 | 1119727.5278
33 | 2700505.5226 | 1119728.3644 | 2700494.3173 | 1119734.4155 | 2700501.2139 | 1119746.6487
34 | 2700518.6517 | 1119721.2556 | 2700523.7058 | 1119718.5199
35 | 2700501.2139 | 1119746.6487 | 2700499.5229 | 1119752.2798 | 2700505.762 | 1119764.0819
36 | 2700530.9476 | 1119714.5999 | 2700523.7058 | 1119718.5199
37 | 2700559.1943 | 1119711.2223 | 2700550.7812 | 1119703.878 | 2700530.9476 | 1119714.5999
38 | 2700559.1943 | 1119711.2223 | 2700588.7527 | 1119696.7152 | 2700593.7954 | 1119695.5871 | 2700597.7483 | 1119696.4088 | 2700636.5459 | 1119723.0797
39 | 2700559.1943 | 1119711.2223 | 2700559.093 | 1119714.5338
40 | 2700559.093 | 1119714.5338 | 2700531.2595 | 1119729.9775
41 | 2700559.093 | 1119714.5338 | 2700558.981 | 1119718.023 | 2700558.2857 | 1119740.5247
42 | 2700687.2763 | 1119757.9536 | 2700636.5459 | 1119723.0797
43 | 2700740.9112 | 1120003.6807 | 2700739.3571 | 1120006.1787 | 2700718.1937 | 1120028.2183 | 2700715.9396 | 1120030.2283
44 | 2700740.9112 | 1120003.6807 | 2700727.9053 | 1119991.8125 | 2700720.7273 | 1119984.4775 | 2700715.4619 | 1119980.3514
45 | 2700740.9112 | 1120003.6807 | 2700753.3881 | 1120019.0424 | 2700781.3947 | 1120034.1845 | 2700796.7499 | 1120050.2283
46 | 2700702.3464 | 1119970.0739 | 2700715.4619 | 1119980.3514
47 | 2700793.2239 | 1120012.9013 | 2700759.6842 | 1119994.5206 | 2700742.645 | 1119975.5475 | 2700736.2563 | 1119966.6913 | 2700730.9369 | 1119951.5378 | 2700725.4326 | 1119947.4992 | 2700719.8785 | 1119946.4507 | 2700715.108 | 1119949.7845 | 2700712.9831 | 1119955.5194 | 2700712.1699 | 1119965.4343 | 2700708.4557 | 1119969.7531 | 2700702.3464 | 1119970.0739
48 | 2700793.2239 | 1120012.9013 | 2700811.0322 | 1120028.3074 | 2700822.3679 | 1120039.1379
49 | 2700793.2239 | 1120012.9013 | 2700802.9688 | 1120005.1031 | 2700804.6127 | 1120003.6963
50 | 2700804.6127 | 1120003.6963 | 2700792.9981 | 1119991.7065 | 2700774.2445 | 1119970.54
51 | 2700804.6127 | 1120003.6963 | 2700807.156 | 1120001.516
52 | 2700557.8794 | 1119753.6715 | 2700558.2857 | 1119740.5247
53 | 2700557.8794 | 1119753.6715 | 2700557.6313 | 1119761.639
54 | 2700557.6313 | 1119761.639 | 2700555.0472 | 1119795.017 | 2700555.993 | 1119814.7339 | 2700556.0212 | 1119827.4312 | 2700559.1586 | 1119838.3234 | 2700565.2818 | 1119847.8533
55 | 2700557.6313 | 1119761.639 | 2700595.5277 | 1119767.8992
56 | 2700565.2818 | 1119847.8533 | 2700573.7293 | 1119861.0129 | 2700585.1269 | 1119871.8754
57 | 2700731.6771 | 1119788.359 | 2700725.2204 | 1119784.0378 | 2700687.2763 | 1119757.9536
58 | 2700627.7991 | 1119913.0236 | 2700617.3261 | 1119902.563 | 2700585.1269 | 1119871.8754
59 | 2700731.6771 | 1119788.359 | 2700738.8636 | 1119793.1806
60 | 2700778.285 | 1119723.1825 | 2700731.6771 | 1119788.359
61 | 2700671.8286 | 1119951.3882 | 2700667.3671 | 1119948.212 | 2700660.1187 | 1119943.244 | 2700653.0869 | 1119937.7793 | 2700645.7612 | 1119930.9644 | 2700627.7991 | 1119913.0236
62 | 2700645.9571 | 1120105.563 | 2700642.5348 | 1120102.1158
63 | 2700648.5859 | 1120108.2111 | 2700645.9571 | 1120105.563
64 | 2700637.3248 | 1120129.2482 | 2700656.77 | 1120149.2395
65 | 2700807.156 | 1120001.516 | 2700824.5481 | 1119986.6061
66 | 2700819.9229 | 1119789.1945 | 2700769.641 | 1119836.7987 | 2700760.2499 | 1119850.253
67 | 2700819.9229 | 1119789.1945 | 2700823.3715 | 1119792.4874 | 2700830.5031 | 1119802.1566 | 2700831.8164 | 1119813.1853
68 | 2700819.9229 | 1119789.1945 | 2700815.5476 | 1119785.008 | 2700809.9343 | 1119783.3357 | 2700805.85 | 1119784.8465 | 2700802.5807 | 1119790.2399 | 2700792.8653 | 1119801.3407 | 2700775.03 | 1119813.0068 | 2700770.9544 | 1119813.9951 | 2700767.9739 | 1119812.7114 | 2700738.8636 | 1119793.1806
69 | 2700824.5481 | 1119986.6061 | 2700825.9295 | 1119985.4218
70 | 2700656.77 | 1120149.2395 | 2700664.5274 | 1120156.5781
71 | 2700831.8164 | 1119813.1853 | 2700852.394 | 1119840.2672 | 2700875.8581 | 1119863.15 | 2700893.6327 | 1119889.8517 | 2700906.0459 | 1119939.5786 | 2700911.3571 | 1119950.6818
72 | 2700778.285 | 1119723.1825 | 2700938.9726 | 1119518.997
73 | 2700938.9726 | 1119518.997 | 2700944.2105 | 1119517.7391 | 2700948.0701 | 1119515.8356 | 2700949.867 | 1119513.5975 | 2700951.0803 | 1119508.8703 | 2700950.1433 | 1119459.546 | 2700951.5864 | 1119441.5032 | 2700951.7034 | 1119434.8964
74 | 2700879.3149 | 1119942.3461 | 2700879.5753 | 1119929.498 | 2700874.3411 | 1119915.0162
75 | 2700879.3149 | 1119942.3461 | 2700883.6809 | 1119967.9126
76 | 2700879.3149 | 1119942.3461 | 2700864.6705 | 1119953.795
77 | 2700864.6705 | 1119953.795 | 2700855.6712 | 1119960.8306 | 2700842.7172 | 1119971.4053
78 | 2700825.9295 | 1119985.4218 | 2700833.555 | 1119978.8847 | 2700842.7172 | 1119971.4053
79 | 2700756.9402 | 1120227.4627 | 2700762.665 | 1120218.8724
80 | 2700748.8805 | 1120238.3713 | 2700756.4183 | 1120228.2459 | 2700756.9402 | 1120227.4627
81 | 2700772.7133 | 1120207.0594 | 2700765.1239 | 1120215.1826 | 2700762.665 | 1120218.8724
82 | 2700712.2795 | 1120201.8508 | 2700748.8805 | 1120238.3713
83 | 2700712.2795 | 1120201.8508 | 2700696.4871 | 1120186.8121
84 | 2700712.2795 | 1120201.8508 | 2700720.4847 | 1120190.6761
85 | 2700696.4871 | 1120186.8121 | 2700683.1105 | 1120174.1578
86 | 2700696.4871 | 1120186.8121 | 2700705.2448 | 1120177.1072 | 2700716.2042 | 1120161.7276
87 | 2700720.4847 | 1120190.6761 | 2700721.3466 | 1120189.5022
88 | 2700664.5274 | 1120156.5781 | 2700683.1105 | 1120174.1578
89 | 2700737.0138 | 1120168.1649 | 2700721.3466 | 1120189.5022

## bus_geodata
| x | y | coords
0 | 2700483.7867 | 1120006.9347
1 | 2700566.1024 | 1120000.9627
2 | 2700349.6465 | 1119999.6381
3 | 2700629.774 | 1120047.3382
4 | 2700387.5146 | 1119900.0522
5 | 2700634.1434 | 1120050.4794
6 | 2700686.9142 | 1119962.1012
7 | 2700690.6596 | 1119964.2537
8 | 2700674.719 | 1119953.4486
9 | 2700548.0357 | 1120095.3662
10 | 2700557.0048 | 1120074.7911
11 | 2700604.2959 | 1120096.8681
12 | 2700631.5049 | 1120123.5427
13 | 2700617.2412 | 1120076.6372
14 | 2700625.3937 | 1120063.903
15 | 2700676.4266 | 1119985.4179
16 | 2700710.4354 | 1119868.062
17 | 2700710.6067 | 1119868.2857
18 | 2700698.2437 | 1119853.0076
19 | 2700716.8353 | 1119876.4179
20 | 2700682.4646 | 1119834.3565
21 | 2700720.5835 | 1119881.3117
22 | 2700643.4208 | 1119788.2059
23 | 2700713.3979 | 1119909.5501
24 | 2700642.3017 | 1119786.8831
25 | 2700709.2457 | 1119916.3215
26 | 2700623.75 | 1119764.9546
27 | 2700507.0677 | 1119727.5278
28 | 2700505.5226 | 1119728.3644
29 | 2700518.6517 | 1119721.2556
30 | 2700501.2139 | 1119746.6487
31 | 2700523.7058 | 1119718.5199
32 | 2700505.762 | 1119764.0819
33 | 2700530.9476 | 1119714.5999
34 | 2700559.1943 | 1119711.2223
35 | 2700531.2595 | 1119729.9775
36 | 2700559.093 | 1119714.5338
37 | 2700636.5459 | 1119723.0797
38 | 2700715.9396 | 1120030.2283
39 | 2700740.9112 | 1120003.6807
40 | 2700715.4619 | 1119980.3514
41 | 2700796.7499 | 1120050.2283
42 | 2700702.3464 | 1119970.0739
43 | 2700793.2239 | 1120012.9014
44 | 2700822.3679 | 1120039.1379
45 | 2700804.6127 | 1120003.6962
46 | 2700558.2857 | 1119740.5247
47 | 2700557.8794 | 1119753.6715
48 | 2700557.6313 | 1119761.639
49 | 2700565.2818 | 1119847.8533
50 | 2700595.5277 | 1119767.8992
51 | 2700687.2763 | 1119757.9536
52 | 2700585.1269 | 1119871.8754
53 | 2700731.6771 | 1119788.359
54 | 2700627.7991 | 1119913.0236
55 | 2700704.9292 | 1119923.3609
56 | 2700671.8286 | 1119951.3882
57 | 2700645.9571 | 1120105.563
58 | 2700642.5348 | 1120102.1158
59 | 2700648.5859 | 1120108.2111
60 | 2700637.3248 | 1120129.2482
61 | 2700774.2445 | 1119970.54
62 | 2700807.156 | 1120001.516
63 | 2700760.2499 | 1119850.253
64 | 2700819.9229 | 1119789.1945
65 | 2700824.5481 | 1119986.6061
66 | 2700656.77 | 1120149.2395
67 | 2700831.8164 | 1119813.1853
68 | 2700738.8636 | 1119793.1806
69 | 2700778.285 | 1119723.1825
70 | 2700938.9726 | 1119518.997
71 | 2700951.7034 | 1119434.8964
72 | 2700911.3571 | 1119950.6818
73 | 2700874.3411 | 1119915.0162
74 | 2700879.3149 | 1119942.3461
75 | 2700883.6809 | 1119967.9126
76 | 2700864.6705 | 1119953.795
77 | 2700842.7172 | 1119971.4053
78 | 2700825.9295 | 1119985.4218
79 | 2700756.9402 | 1120227.4627
80 | 2700762.665 | 1120218.8724
81 | 2700748.8805 | 1120238.3713
82 | 2700772.7133 | 1120207.0594
83 | 2700712.2795 | 1120201.8508
84 | 2700696.4871 | 1120186.8121
85 | 2700720.4847 | 1120190.6761
86 | 2700683.1105 | 1120174.1578
87 | 2700716.2041 | 1120161.7276
88 | 2700721.3466 | 1120189.5022
89 | 2700664.5274 | 1120156.5781
90 | 2700737.0138 | 1120168.1649
91 | 2700676.4266 | 1119985.4179

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1