## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5396-3_1_4_node_30 | 0.4 | n |  | TRUE
1 | bus_LV_5396-3_1_4_node_31 | 0.4 | n |  | TRUE
2 | bus_LV_5396-3_1_4_node_32 | 0.4 | n |  | TRUE
3 | bus_LV_5396-3_1_4_node_33 | 0.4 | n |  | TRUE
4 | bus_LV_5396-3_1_4_node_222 | 0.4 | n |  | TRUE
5 | bus_LV_5396-3_1_4_node_191 | 0.4 | n |  | TRUE
6 | bus_LV_5396-3_1_4_node_192 | 0.4 | n |  | TRUE
7 | bus_LV_5396-3_1_4_node_194 | 0.4 | n |  | TRUE
8 | bus_LV_5396-3_1_4_node_203 | 0.4 | n |  | TRUE
9 | bus_LV_5396-3_1_4_node_208 | 0.4 | n |  | TRUE
10 | bus_LV_5396-3_1_4_node_195 | 0.4 | n |  | TRUE
11 | bus_LV_5396-3_1_4_node_196 | 0.4 | n |  | TRUE
12 | bus_LV_5396-3_1_4_node_197 | 0.4 | n |  | TRUE
13 | bus_LV_5396-3_1_4_node_198 | 0.4 | n |  | TRUE
14 | bus_LV_5396-3_1_4_node_199 | 0.4 | n |  | TRUE
15 | bus_LV_5396-3_1_4_node_200 | 0.4 | n |  | TRUE
16 | bus_LV_5396-3_1_4_node_201 | 0.4 | n |  | TRUE
17 | bus_LV_5396-3_1_4_node_202 | 0.4 | n |  | TRUE
18 | bus_LV_5396-3_1_4_node_221 | 0.4 | n |  | TRUE
19 | bus_LV_5396-3_1_4_node_215 | 0.4 | n |  | TRUE
20 | bus_LV_5396-3_1_4_node_204 | 0.4 | n |  | TRUE
21 | bus_LV_5396-3_1_4_node_205 | 0.4 | n |  | TRUE
22 | bus_LV_5396-3_1_4_node_211 | 0.4 | n |  | TRUE
23 | bus_LV_5396-3_1_4_node_209 | 0.4 | n |  | TRUE
24 | bus_LV_5396-3_1_4_node_206 | 0.4 | n |  | TRUE
25 | bus_LV_5396-3_1_4_node_207 | 0.4 | n |  | TRUE
26 | bus_LV_5396-3_1_4_node_210 | 0.4 | n |  | TRUE
27 | bus_LV_5396-3_1_4_node_213 | 0.4 | n |  | TRUE
28 | bus_LV_5396-3_1_4_node_212 | 0.4 | n |  | TRUE
29 | bus_LV_5396-3_1_4_node_216 | 0.4 | n |  | TRUE
30 | bus_LV_5396-3_1_4_node_214 | 0.4 | n |  | TRUE
31 | bus_LV_5396-3_1_4_node_217 | 0.4 | n |  | TRUE
32 | bus_LV_5396-3_1_4_node_218 | 0.4 | n |  | TRUE
33 | bus_LV_5396-3_1_4_node_219 | 0.4 | n |  | TRUE
34 | bus_LV_5396-3_1_4_node_220 | 0.4 | n |  | TRUE
35 | bus_MV_0_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5396-3_1_4_load_30 | 0 | 0.0063489 | 0.0015912 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5396-3_1_4_load_31 | 1 | 0.0044774 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5396-3_1_4_load_33 | 3 | 0.0047331 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5396-3_1_4_load_191 | 5 | 0.00095735 | 0.00023993 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5396-3_1_4_load_194 | 7 | 0.0047083 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5396-3_1_4_load_195 | 10 | 0.0015601 | 0.00039099 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5396-3_1_4_load_196 | 11 | 0.0021966 | 0.00055051 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5396-3_1_4_load_199 | 14 | 0.00068085 | 0.00017064 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5396-3_1_4_load_201 | 16 | 0.00068759 | 0.00017233 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5396-3_1_4_load_202 | 17 | 0.00098071 | 0.00024579 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5396-3_1_4_load_221 | 18 | 0.0010813 | 0.00027099 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5396-3_1_4_load_215 | 19 | 0.00056259 | 0.000141 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5396-3_1_4_load_205 | 21 | 0.0018869 | 0.00047291 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5396-3_1_4_load_209 | 23 | 0.00049901 | 0.00012506 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5396-3_1_4_load_206 | 24 | 0.0053829 | 0.0013491 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5396-3_1_4_load_207 | 25 | 0.0044311 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5396-3_1_4_load_210 | 26 | 0.00055873 | 0.00014003 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5396-3_1_4_load_213 | 27 | 0.00054821 | 0.00013739 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5396-3_1_4_load_212 | 28 | 0.00061568 | 0.0001543 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5396-3_1_4_load_216 | 29 | 0.0013788 | 0.00034557 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5396-3_1_4_load_217 | 31 | 0.00048387 | 0.00012127 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5396-3_1_4_load_218 | 32 | 0.00048461 | 0.00012145 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5396-3_1_4_load_219 | 33 | 0.0010325 | 0.00025878 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5396-3_1_4_load_220 | 34 | 0.0015365 | 0.00038509 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5396-3_1_4_line_0 |  | 0 | 1 | 0.040602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5396-3_1_4_line_1 |  | 0 | 2 | 0.26102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5396-3_1_4_line_2 |  | 1 | 3 | 0.13952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5396-3_1_4_line_3 |  | 2 | 4 | 0.31716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5396-3_1_4_line_4 |  | 4 | 16 | 0.29702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5396-3_1_4_line_5 |  | 5 | 6 | 0.14598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5396-3_1_4_line_6 |  | 5 | 7 | 0.21579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5396-3_1_4_line_7 |  | 6 | 8 | 0.39724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5396-3_1_4_line_8 |  | 7 | 9 | 0.52076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5396-3_1_4_line_9 |  | 8 | 19 | 0.51634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5396-3_1_4_line_10 |  | 8 | 14 | 0.18166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5396-3_1_4_line_11 |  | 9 | 24 | 0.03039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5396-3_1_4_line_12 |  | 10 | 11 | 0.095934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5396-3_1_4_line_13 |  | 10 | 12 | 0.2145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5396-3_1_4_line_14 |  | 12 | 13 | 0.20678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5396-3_1_4_line_15 |  | 13 | 14 | 0.0087096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5396-3_1_4_line_16 |  | 15 | 16 | 0.064262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5396-3_1_4_line_17 |  | 15 | 17 | 0.16906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5396-3_1_4_line_18 |  | 17 | 18 | 0.085989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5396-3_1_4_line_19 |  | 18 | 34 | 0.052613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5396-3_1_4_line_20 |  | 19 | 30 | 0.2845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5396-3_1_4_line_21 |  | 20 | 21 | 0.0082935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5396-3_1_4_line_22 |  | 20 | 22 | 0.33421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5396-3_1_4_line_23 |  | 21 | 23 | 0.068229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5396-3_1_4_line_24 |  | 22 | 28 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5396-3_1_4_line_25 |  | 23 | 26 | 0.0088241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5396-3_1_4_line_26 |  | 24 | 25 | 0.032764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5396-3_1_4_line_27 |  | 26 | 27 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5396-3_1_4_line_28 |  | 27 | 30 | 0.098841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5396-3_1_4_line_29 |  | 28 | 29 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5396-3_1_4_line_30 |  | 29 | 31 | 0.11024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5396-3_1_4_line_31 |  | 31 | 32 | 0.22113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5396-3_1_4_line_32 |  | 32 | 33 | 0.13066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5396-3_1_4_line_33 |  | 33 | 34 | 0.059991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5396-3_1_4_trafo_204 | 0.63 MVA 20/0.4 kV | 35 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2699756.8857 | 1117184.0477 | 2699757.2207 | 1117186.1514 | 2699760.6681 | 1117224.4684
1 | 2699679.5514 | 1116939.1635 | 2699689.1222 | 1116949.1827 | 2699693.1794 | 1116983.1818 | 2699698.7392 | 1117006.0987 | 2699711.6564 | 1117031.3715 | 2699724.1566 | 1117049.6108 | 2699731.156 | 1117071.8288 | 2699733.929 | 1117087.2173 | 2699743.7244 | 1117112.1719 | 2699747.2034 | 1117134.3764 | 2699752.9949 | 1117159.6097 | 2699756.8857 | 1117184.0477
2 | 2699760.6681 | 1117224.4684 | 2699762.441 | 1117244.1736 | 2699756.9291 | 1117268.5203 | 2699760.9915 | 1117289.5114 | 2699764.751 | 1117329.3537 | 2699759.2275 | 1117352.5328 | 2699760.5541 | 1117361.9828 | 2699760.5541 | 1117361.9828
3 | 2699438.2809 | 1116733.3042 | 2699679.5514 | 1116939.1635
4 | 2699438.2809 | 1116733.3042 | 2699434.3266 | 1116691.5244 | 2699415.1105 | 1116658.0549 | 2699414.2646 | 1116616.9265 | 2699419.938 | 1116610.4377 | 2699430.4434 | 1116607.7973 | 2699440.6575 | 1116584.8061 | 2699458.2982 | 1116571.2872 | 2699462.7011 | 1116546.255 | 2699478.6979 | 1116533.1761 | 2699479.2072 | 1116514.8619 | 2699473.5507 | 1116493.5224 | 2699471.0017 | 1116474.78 | 2699469.3325 | 1116472.1707
5 | 2697940.8437 | 1116412.6843 | 2697921.5687 | 1116414.7741 | 2697904.7396 | 1116414.1017 | 2697878.215 | 1116393.6939 | 2697856.3291 | 1116358.5743 | 2697830.6026 | 1116334.9867
6 | 2697830.6026 | 1116334.9867 | 2697642.1987 | 1116440.1893
7 | 2697940.8437 | 1116412.6843 | 2698266.8728 | 1116639.6365
8 | 2697642.1987 | 1116440.1893 | 2697304.1792 | 1116836.3343
9 | 2698545.6839 | 1117074.2342 | 2698266.8728 | 1116639.6365
10 | 2698266.8728 | 1116639.6365 | 2698263.5824 | 1116604.5058 | 2698266.8925 | 1116601.313 | 2698272.2291 | 1116604.0791 | 2698273.6509 | 1116577.8414 | 2698317.1669 | 1116575.4458 | 2698330.8417 | 1116588.2312 | 2698332.4911 | 1116556.0713 | 2698341.6127 | 1116561.5894 | 2698344.8469 | 1116558.7183
11 | 2697304.1792 | 1116836.3343 | 2697306.5264 | 1116858.4301 | 2697305.0609 | 1116866.4676
12 | 2698434.9899 | 1116312.7398 | 2698450.8894 | 1116312.6647 | 2698459.0345 | 1116302.7464 | 2698434.1569 | 1116273.7243 | 2698448.4286 | 1116253.6214 | 2698452.7205 | 1116253.1199
13 | 2698455.2003 | 1116457.3802 | 2698459.5123 | 1116446.7103 | 2698446.9094 | 1116424.5029 | 2698445.9961 | 1116411.8135 | 2698452.2564 | 1116401.4643 | 2698473.4507 | 1116404.8219 | 2698483.4256 | 1116402.5048 | 2698487.7722 | 1116390.19 | 2698479.6371 | 1116380.9743 | 2698465.9455 | 1116374.4366 | 2698449.0855 | 1116374.7073 | 2698434.9899 | 1116312.7398
14 | 2698346.7989 | 1116552.2233 | 2698353.4888 | 1116548.2072 | 2698350.4859 | 1116529.1577 | 2698357.9748 | 1116526.8111 | 2698383.5144 | 1116535.4756 | 2698396.7947 | 1116534.0459 | 2698398.9364 | 1116521.9842 | 2698392.1724 | 1116512.5019 | 2698397.2643 | 1116505.1466 | 2698392.4407 | 1116495.9849 | 2698407.7689 | 1116488.2734 | 2698411.7999 | 1116477.3098 | 2698420.2032 | 1116470.0196 | 2698434.2426 | 1116472.7271 | 2698431.8779 | 1116465.2507 | 2698438.6216 | 1116457.9334 | 2698455.2003 | 1116457.3802
15 | 2698346.7989 | 1116552.2233 | 2698348.6476 | 1116555.3441 | 2698344.8469 | 1116558.7183
16 | 2699420.41 | 1116436.826 | 2699429.9016 | 1116448.9227 | 2699440.2601 | 1116459.9439 | 2699452.1225 | 1116462.14 | 2699464.3169 | 1116464.3304 | 2699469.3325 | 1116472.1707
17 | 2699420.41 | 1116436.826 | 2699416.216 | 1116452.4336 | 2699407.7301 | 1116464.6798 | 2699395.4997 | 1116452.9163 | 2699385.66 | 1116446.9735 | 2699371.5396 | 1116449.2211 | 2699375.4874 | 1116460.8486 | 2699371.9186 | 1116476.4776 | 2699359.4443 | 1116479.575 | 2699345.297 | 1116483.4677 | 2699329.7244 | 1116490.9393 | 2699318.7624 | 1116484.6891 | 2699309.2938 | 1116485.554
18 | 2699254.5078 | 1116513.3653 | 2699254.5078 | 1116513.3653 | 2699267.6938 | 1116517.7062 | 2699285.2203 | 1116509.7328 | 2699279.5721 | 1116500.5568 | 2699292.1139 | 1116493.3355 | 2699301.1818 | 1116495.9636 | 2699300.807 | 1116486.3292 | 2699309.2938 | 1116485.554
19 | 2699246.7725 | 1116563.4206 | 2699251.2783 | 1116558.7185 | 2699249.8022 | 1116547.9653 | 2699250.4483 | 1116525.9733 | 2699254.5078 | 1116513.3653
20 | 2698620.8704 | 1117171.5624 | 2698616.0711 | 1117166.659 | 2698605.6214 | 1117158.8508 | 2698589.5506 | 1117155.8318 | 2698581.9787 | 1117150.0384 | 2698574.3617 | 1117147.0126 | 2698563.7627 | 1117140.7807 | 2698557.9268 | 1117134.1039 | 2698553.994 | 1117131.9274 | 2698548.5757 | 1117131.8393 | 2698542.6625 | 1117129.9086 | 2698531.7137 | 1117120.5024 | 2698509.3809 | 1117096.1687 | 2698493.152 | 1117078.6495 | 2698486.6344 | 1117064.9795 | 2698471.0507 | 1117048.1269 | 2698471.6271 | 1117044.9676 | 2698475.8481 | 1117045.5699 | 2698487.1774 | 1117047.7332 | 2698494.8482 | 1117047.4577 | 2698520.9593 | 1117058.8115 | 2698534.4295 | 1117067.4692 | 2698545.6839 | 1117074.2342
21 | 2698682.2045 | 1117041.0243 | 2698682.653 | 1117044.3003 | 2698680.8248 | 1117048.9401
22 | 2698953.9852 | 1116846.5134 | 2698682.2045 | 1117041.0243
23 | 2698680.8248 | 1117048.9401 | 2698672.0719 | 1117060.1823 | 2698664.7913 | 1117066.8346 | 2698642.2833 | 1117075.5513 | 2698630.9274 | 1117084.5054 | 2698630.4188 | 1117090.0023
24 | 2698953.9852 | 1116846.5134 | 2698959.4031 | 1116837.2301
25 | 2698631.0741 | 1117098.676 | 2698630.0091 | 1117094.4299 | 2698630.4188 | 1117090.0023
26 | 2697305.0609 | 1116866.4676 | 2697303.2074 | 1116876.6324 | 2697288.7568 | 1116893.7888
27 | 2698645.892 | 1117121.3163 | 2698632.6915 | 1117105.1247 | 2698631.0741 | 1117098.676
28 | 2698620.8704 | 1117171.5624 | 2698628.2967 | 1117165.9131 | 2698629.1357 | 1117163.2251 | 2698629.2381 | 1117159.7802 | 2698627.3051 | 1117154.7456 | 2698625.1378 | 1117151.2971 | 2698618.7497 | 1117142.9768 | 2698607.4795 | 1117136.7228 | 2698621.2605 | 1117131.9664 | 2698616.8342 | 1117127.8585 | 2698645.892 | 1117121.3163 | 2698645.892 | 1117121.3163
29 | 2698959.4031 | 1116837.2301 | 2698961.833 | 1116833.0665 | 2698969.3566 | 1116829.0647 | 2698974.5128 | 1116828.9458
30 | 2698974.5128 | 1116828.9458 | 2698982.9039 | 1116828.7524 | 2698990.8301 | 1116832.7177 | 2699012.3517 | 1116833.8923 | 2699053.9031 | 1116825.4884 | 2699082.9136 | 1116824.3175 | 2699082.9136 | 1116824.3175
31 | 2699082.9136 | 1116824.3175 | 2699098.6115 | 1116827.0537 | 2699105.3558 | 1116819.7261 | 2699100.9571 | 1116802.6102 | 2699101.0872 | 1116776.7295 | 2699121.1387 | 1116766.3176 | 2699138.5831 | 1116763.3011 | 2699147.316 | 1116753.827 | 2699135.2133 | 1116733.8054 | 2699125.1391 | 1116724.2791 | 2699126.1619 | 1116712.7331 | 2699132.2291 | 1116696.311 | 2699142.9563 | 1116698.9659 | 2699148.9948 | 1116678.7529
32 | 2699148.9948 | 1116678.7529 | 2699149.0909 | 1116678.4313 | 2699143.8047 | 1116664.5918 | 2699153.5796 | 1116657.0359 | 2699149.8719 | 1116648.1808 | 2699156.3219 | 1116641.3932 | 2699152.4067 | 1116627.287 | 2699161.6309 | 1116620.8339 | 2699175.7431 | 1116618.5857 | 2699194.915 | 1116611.4729 | 2699200.9284 | 1116598.352 | 2699200.2513 | 1116589.2575 | 2699200.2513 | 1116589.2575
33 | 2699200.2513 | 1116589.2575 | 2699219.8124 | 1116575.8361 | 2699236.6343 | 1116560.4241 | 2699243.9884 | 1116566.326 | 2699246.7725 | 1116563.4206

## bus_geodata
| x | y | coords
0 | 2699756.8857 | 1117184.0477
1 | 2699760.6681 | 1117224.4684
2 | 2699679.5514 | 1116939.1635
3 | 2699760.5541 | 1117361.9828
4 | 2699438.2809 | 1116733.3042
5 | 2697830.6026 | 1116334.9867
6 | 2697940.8437 | 1116412.6843
7 | 2697642.1987 | 1116440.1893
8 | 2698266.8728 | 1116639.6365
9 | 2697304.1792 | 1116836.3343
10 | 2698434.9899 | 1116312.7398
11 | 2698452.7205 | 1116253.1199
12 | 2698455.2003 | 1116457.3802
13 | 2698346.7989 | 1116552.2233
14 | 2698344.8469 | 1116558.7183
15 | 2699420.41 | 1116436.826
16 | 2699469.3325 | 1116472.1707
17 | 2699309.2938 | 1116485.554
18 | 2699254.5078 | 1116513.3653
19 | 2698545.6839 | 1117074.2342
20 | 2698682.2045 | 1117041.0243
21 | 2698680.8248 | 1117048.9401
22 | 2698953.9852 | 1116846.5134
23 | 2698630.4188 | 1117090.0023
24 | 2697305.0609 | 1116866.4676
25 | 2697288.7568 | 1116893.7888
26 | 2698631.0741 | 1117098.676
27 | 2698645.892 | 1117121.3163
28 | 2698959.4031 | 1116837.2301
29 | 2698974.5128 | 1116828.9458
30 | 2698620.8704 | 1117171.5624
31 | 2699082.9136 | 1116824.3175
32 | 2699148.9948 | 1116678.7529
33 | 2699200.2513 | 1116589.2575
34 | 2699246.7725 | 1116563.4206
35 | 2698682.2045 | 1117041.0243

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1