## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5396-8_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5396-8_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5396-8_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5396-8_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5396-8_0_7_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_5396-8_0_7_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_5396-8_0_7_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5396-8_0_7_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_5396-8_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5396-8_0_7_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5396-8_0_7_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5396-8_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5396-8_0_7_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5396-8_0_7_node_98 | 0.4 | n |  | TRUE
14 | bus_LV_5396-8_0_7_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5396-8_0_7_node_96 | 0.4 | n |  | TRUE
16 | bus_LV_5396-8_0_7_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_5396-8_0_7_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5396-8_0_7_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5396-8_0_7_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5396-8_0_7_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5396-8_0_7_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5396-8_0_7_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5396-8_0_7_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_5396-8_0_7_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5396-8_0_7_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5396-8_0_7_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_5396-8_0_7_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_5396-8_0_7_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_5396-8_0_7_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_5396-8_0_7_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_5396-8_0_7_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_5396-8_0_7_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5396-8_0_7_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5396-8_0_7_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5396-8_0_7_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5396-8_0_7_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5396-8_0_7_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5396-8_0_7_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5396-8_0_7_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5396-8_0_7_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_5396-8_0_7_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_5396-8_0_7_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_5396-8_0_7_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5396-8_0_7_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_5396-8_0_7_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5396-8_0_7_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_5396-8_0_7_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5396-8_0_7_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5396-8_0_7_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5396-8_0_7_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5396-8_0_7_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5396-8_0_7_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5396-8_0_7_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_5396-8_0_7_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_5396-8_0_7_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_5396-8_0_7_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5396-8_0_7_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5396-8_0_7_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5396-8_0_7_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_5396-8_0_7_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5396-8_0_7_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5396-8_0_7_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5396-8_0_7_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5396-8_0_7_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_5396-8_0_7_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5396-8_0_7_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_5396-8_0_7_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5396-8_0_7_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5396-8_0_7_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5396-8_0_7_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_5396-8_0_7_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5396-8_0_7_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5396-8_0_7_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5396-8_0_7_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5396-8_0_7_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5396-8_0_7_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5396-8_0_7_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5396-8_0_7_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_5396-8_0_7_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_5396-8_0_7_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_5396-8_0_7_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_5396-8_0_7_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_5396-8_0_7_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_5396-8_0_7_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_5396-8_0_7_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_5396-8_0_7_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_5396-8_0_7_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_5396-8_0_7_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_5396-8_0_7_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_5396-8_0_7_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_5396-8_0_7_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_5396-8_0_7_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_5396-8_0_7_node_92 | 0.4 | n |  | TRUE
94 | bus_MV_65_1_node_215 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5396-8_0_7_load_0 | 0 | 0.012857 | 0.0032222 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5396-8_0_7_load_3 | 3 | 0.0056598 | 0.0014185 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5396-8_0_7_load_28 | 4 | 0.00139 | 0.00034836 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5396-8_0_7_load_89 | 5 | 0.0072929 | 0.0018278 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5396-8_0_7_load_27 | 7 | 0.0017782 | 0.00044566 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5396-8_0_7_load_4 | 9 | 0.014137 | 0.0035431 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5396-8_0_7_load_9 | 12 | 0.0050976 | 0.0012776 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5396-8_0_7_load_98 | 13 | 0.0068488 | 0.0017165 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5396-8_0_7_load_96 | 15 | 0.0026428 | 0.00066235 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5396-8_0_7_load_95 | 16 | 0.0040199 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5396-8_0_7_load_10 | 17 | 0.0069834 | 0.0017502 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5396-8_0_7_load_11 | 18 | 0.0045481 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5396-8_0_7_load_13 | 19 | 0.009134 | 0.0022892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5396-8_0_7_load_32 | 22 | 0.0064925 | 0.0016272 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5396-8_0_7_load_31 | 23 | 0.0038821 | 0.00097296 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5396-8_0_7_load_17 | 24 | 0.003658 | 0.00091677 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5396-8_0_7_load_18 | 25 | 0.002546 | 0.00063808 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5396-8_0_7_load_42 | 26 | 0.018096 | 0.0045352 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5396-8_0_7_load_43 | 28 | 0.014763 | 0.0037001 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5396-8_0_7_load_58 | 29 | 0.0116 | 0.0029072 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5396-8_0_7_load_30 | 30 | 0.0051178 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5396-8_0_7_load_94 | 31 | 0.0036162 | 0.0009063 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5396-8_0_7_load_29 | 32 | 0.0041434 | 0.0010384 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5396-8_0_7_load_21 | 33 | 0.011531 | 0.0028898 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5396-8_0_7_load_19 | 34 | 0.00492 | 0.0012331 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5396-8_0_7_load_20 | 35 | 0.0064772 | 0.0016234 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5396-8_0_7_load_22 | 36 | 0.012124 | 0.0030386 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5396-8_0_7_load_24 | 38 | 0.0094067 | 0.0023575 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5396-8_0_7_load_25 | 39 | 0.0095975 | 0.0024054 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5396-8_0_7_load_26 | 40 | 0.0060693 | 0.0015211 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5396-8_0_7_load_34 | 41 | 0.013344 | 0.0033444 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5396-8_0_7_load_49 | 42 | 0.012494 | 0.0031312 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5396-8_0_7_load_35 | 43 | 0.0089486 | 0.0022427 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5396-8_0_7_load_50 | 44 | 0.019338 | 0.0048465 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5396-8_0_7_load_59 | 46 | 0.01158 | 0.0029022 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5396-8_0_7_load_39 | 48 | 0.01676 | 0.0042004 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5396-8_0_7_load_36 | 49 | 0.0090822 | 0.0022762 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5396-8_0_7_load_41 | 51 | 0.0085797 | 0.0021503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5396-8_0_7_load_45 | 52 | 0.03154 | 0.0079046 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5396-8_0_7_load_62 | 53 | 0.0054407 | 0.0013636 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5396-8_0_7_load_44 | 54 | 0.01231 | 0.0030851 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5396-8_0_7_load_61 | 55 | 0.0075896 | 0.0019021 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5396-8_0_7_load_47 | 57 | 0.0075003 | 0.0018797 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5396-8_0_7_load_48 | 58 | 0.012171 | 0.0030504 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5396-8_0_7_load_53 | 59 | 0.0079442 | 0.001991 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5396-8_0_7_load_51 | 60 | 0.0024636 | 0.00061743 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5396-8_0_7_load_52 | 61 | 0.0086218 | 0.0021608 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5396-8_0_7_load_57 | 63 | 0.0046074 | 0.0011547 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5396-8_0_7_load_60 | 64 | 0.0044041 | 0.0011038 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5396-8_0_7_load_63 | 65 | 0.0033588 | 0.0008418 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5396-8_0_7_load_64 | 66 | 0.020503 | 0.0051386 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5396-8_0_7_load_65 | 67 | 0.016031 | 0.0040178 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5396-8_0_7_load_66 | 68 | 0.0055191 | 0.0013832 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5396-8_0_7_load_67 | 69 | 0.0054142 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5396-8_0_7_load_69 | 70 | 0.0093192 | 0.0023356 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5396-8_0_7_load_68 | 71 | 0.011993 | 0.0030057 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5396-8_0_7_load_70 | 72 | 0.0032837 | 0.00082297 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5396-8_0_7_load_71 | 73 | 0.0060773 | 0.0015231 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5396-8_0_7_load_72 | 74 | 0.0052693 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5396-8_0_7_load_73 | 75 | 0.011578 | 0.0029016 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5396-8_0_7_load_74 | 76 | 0.006501 | 0.0016293 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5396-8_0_7_load_75 | 77 | 0.0032292 | 0.0008093 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5396-8_0_7_load_88 | 78 | 0.008752 | 0.0021934 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5396-8_0_7_load_86 | 79 | 0.0041652 | 0.0010439 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5396-8_0_7_load_76 | 80 | 0.0064657 | 0.0016205 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5396-8_0_7_load_77 | 81 | 0.0031314 | 0.0007848 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5396-8_0_7_load_78 | 82 | 0.001757 | 0.00044034 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5396-8_0_7_load_79 | 83 | 0.0022808 | 0.00057163 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5396-8_0_7_load_80 | 84 | 0.0032573 | 0.00081637 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5396-8_0_7_load_81 | 85 | 0.017495 | 0.0043846 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5396-8_0_7_load_82 | 86 | 0.0049857 | 0.0012495 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5396-8_0_7_load_83 | 87 | 0.0045643 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5396-8_0_7_load_84 | 88 | 0.0031359 | 0.00078594 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5396-8_0_7_load_85 | 89 | 0.0039027 | 0.00097812 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5396-8_0_7_load_93 | 91 | 0.0064136 | 0.0016074 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5396-8_0_7_load_91 | 92 | 0.0029268 | 0.00073351 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5396-8_0_7_load_92 | 93 | 0.0033191 | 0.00083184 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5396-8_0_7_line_0 |  | 0 | 1 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5396-8_0_7_line_1 |  | 1 | 2 | 0.021649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5396-8_0_7_line_2 |  | 1 | 3 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5396-8_0_7_line_3 |  | 2 | 4 | 0.029519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5396-8_0_7_line_4 |  | 2 | 5 | 0.045025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5396-8_0_7_line_5 |  | 3 | 6 | 0.014648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5396-8_0_7_line_6 |  | 4 | 7 | 0.0013626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5396-8_0_7_line_7 |  | 6 | 8 | 0.083649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5396-8_0_7_line_8 |  | 7 | 38 | 0.039749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5396-8_0_7_line_9 |  | 8 | 12 | 0.039123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5396-8_0_7_line_10 |  | 8 | 9 | 0.034941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5396-8_0_7_line_11 |  | 9 | 10 | 0.030193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5396-8_0_7_line_12 |  | 10 | 11 | 0.009058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5396-8_0_7_line_13 |  | 11 | 13 | 0.027714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5396-8_0_7_line_14 |  | 11 | 14 | 0.037805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5396-8_0_7_line_15 |  | 12 | 15 | 0.018093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5396-8_0_7_line_16 |  | 14 | 16 | 0.016525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5396-8_0_7_line_17 |  | 16 | 31 | 0.038937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5396-8_0_7_line_18 |  | 17 | 18 | 0.019098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5396-8_0_7_line_19 |  | 18 | 19 | 0.0013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5396-8_0_7_line_20 |  | 19 | 20 | 0.010373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5396-8_0_7_line_21 |  | 20 | 24 | 0.010988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5396-8_0_7_line_22 |  | 20 | 25 | 0.012012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5396-8_0_7_line_23 |  | 21 | 22 | 0.023603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5396-8_0_7_line_24 |  | 21 | 23 | 0.011865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5396-8_0_7_line_25 |  | 22 | 26 | 0.015009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5396-8_0_7_line_26 |  | 23 | 30 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5396-8_0_7_line_27 |  | 24 | 32 | 0.0073133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5396-8_0_7_line_28 |  | 25 | 33 | 0.007197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5396-8_0_7_line_29 |  | 26 | 45 | 0.0038587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5396-8_0_7_line_30 |  | 27 | 28 | 0.017876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5396-8_0_7_line_31 |  | 27 | 29 | 0.011355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5396-8_0_7_line_32 |  | 28 | 45 | 0.012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5396-8_0_7_line_33 |  | 29 | 46 | 0.00026485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5396-8_0_7_line_34 |  | 30 | 32 | 0.0083759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5396-8_0_7_line_35 |  | 33 | 34 | 0.00031707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5396-8_0_7_line_36 |  | 34 | 35 | 0.00093952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5396-8_0_7_line_37 |  | 35 | 36 | 0.010179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5396-8_0_7_line_38 |  | 37 | 38 | 0.0054974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5396-8_0_7_line_39 |  | 37 | 39 | 0.019821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5396-8_0_7_line_40 |  | 37 | 40 | 0.0083532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5396-8_0_7_line_41 |  | 39 | 41 | 0.0034472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5396-8_0_7_line_42 |  | 40 | 42 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5396-8_0_7_line_43 |  | 41 | 43 | 0.0095812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5396-8_0_7_line_44 |  | 42 | 44 | 0.024937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5396-8_0_7_line_45 |  | 43 | 47 | 0.0083999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5396-8_0_7_line_46 |  | 44 | 60 | 0.0067742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5396-8_0_7_line_47 |  | 45 | 50 | 0.008765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5396-8_0_7_line_48 |  | 46 | 64 | 0.02104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5396-8_0_7_line_49 |  | 47 | 48 | 0.0027407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5396-8_0_7_line_50 |  | 47 | 49 | 0.0097184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5396-8_0_7_line_51 |  | 48 | 52 | 0.018587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5396-8_0_7_line_52 |  | 49 | 50 | 0.0021072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5396-8_0_7_line_53 |  | 50 | 51 | 0.007556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5396-8_0_7_line_54 |  | 51 | 53 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5396-8_0_7_line_55 |  | 52 | 54 | 0.00051735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5396-8_0_7_line_56 |  | 53 | 55 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5396-8_0_7_line_57 |  | 54 | 56 | 0.03903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5396-8_0_7_line_58 |  | 55 | 65 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5396-8_0_7_line_59 |  | 56 | 57 | 0.014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5396-8_0_7_line_60 |  | 56 | 58 | 0.036202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5396-8_0_7_line_61 |  | 57 | 59 | 0.0023038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5396-8_0_7_line_62 |  | 60 | 61 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5396-8_0_7_line_63 |  | 61 | 62 | 0.029441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5396-8_0_7_line_64 |  | 62 | 63 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5396-8_0_7_line_65 |  | 65 | 66 | 0.0052582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5396-8_0_7_line_66 |  | 66 | 67 | 0.001207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5396-8_0_7_line_67 |  | 67 | 68 | 0.0041723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5396-8_0_7_line_68 |  | 68 | 69 | 0.0070323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5396-8_0_7_line_69 |  | 69 | 70 | 0.00024288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5396-8_0_7_line_70 |  | 70 | 71 | 0.0025304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5396-8_0_7_line_71 |  | 71 | 72 | 0.0052692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5396-8_0_7_line_72 |  | 72 | 73 | 0.0037143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5396-8_0_7_line_73 |  | 73 | 74 | 0.0084814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5396-8_0_7_line_74 |  | 74 | 75 | 0.0020298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5396-8_0_7_line_75 |  | 75 | 76 | 0.0025952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5396-8_0_7_line_76 |  | 76 | 77 | 0.0032917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5396-8_0_7_line_77 |  | 77 | 78 | 0.0022889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5396-8_0_7_line_78 |  | 78 | 79 | 0.017137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5396-8_0_7_line_79 |  | 79 | 90 | 0.07182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5396-8_0_7_line_80 |  | 79 | 89 | 0.0054529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5396-8_0_7_line_81 |  | 80 | 81 | 0.0089964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5396-8_0_7_line_82 |  | 81 | 82 | 0.0046938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5396-8_0_7_line_83 |  | 82 | 83 | 0.0093934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5396-8_0_7_line_84 |  | 83 | 84 | 0.0022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5396-8_0_7_line_85 |  | 84 | 85 | 0.01372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5396-8_0_7_line_86 |  | 85 | 86 | 0.0051332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5396-8_0_7_line_87 |  | 86 | 87 | 0.0030954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5396-8_0_7_line_88 |  | 87 | 88 | 0.0056871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5396-8_0_7_line_89 |  | 88 | 89 | 0.011862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5396-8_0_7_line_90 |  | 90 | 91 | 0.025586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5396-8_0_7_line_91 |  | 91 | 92 | 0.0020363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5396-8_0_7_line_92 |  | 92 | 93 | 0.032442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5396-8_0_7_trafo_37 | 0.63 MVA 20/0.4 kV | 94 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2699766.2062 | 1115610.4038 | 2699746.5374 | 1115607.3923
1 | 2699769.5565 | 1115631.5722 | 2699769.3518 | 1115620.562 | 2699766.2062 | 1115610.4038
2 | 2699766.2062 | 1115610.4038 | 2699767.6261 | 1115593.8892
3 | 2699769.5565 | 1115631.5722 | 2699768.614 | 1115661.0765
4 | 2699769.5565 | 1115631.5722 | 2699724.6988 | 1115627.693
5 | 2699768.8809 | 1115579.2951 | 2699767.6261 | 1115593.8892
6 | 2699768.614 | 1115661.0765 | 2699768.5705 | 1115662.4384
7 | 2699768.8809 | 1115579.2951 | 2699774.3066 | 1115573.8588 | 2699782.0759 | 1115572.8861 | 2699798.0499 | 1115574.0387 | 2699821.5436 | 1115573.9033 | 2699850.058 | 1115571.3492
8 | 2699768.5705 | 1115662.4384 | 2699768.5363 | 1115663.5087 | 2699768.7313 | 1115672.2952 | 2699769.374 | 1115702.1781
9 | 2699850.058 | 1115571.3492 | 2699866.6238 | 1115569.8656 | 2699889.1128 | 1115569.5591
10 | 2699850.058 | 1115571.3492 | 2699853.3444 | 1115573.4268 | 2699855.5517 | 1115573.9747 | 2699861.5884 | 1115574.5745 | 2699864.306 | 1115574.6193 | 2699864.6827 | 1115576.1264 | 2699867.0506 | 1115580.9796 | 2699865.5681 | 1115593.9363
11 | 2699862.2879 | 1115623.9502 | 2699865.174 | 1115597.3812 | 2699865.5681 | 1115593.9363
12 | 2699870.0881 | 1115628.5928 | 2699862.2879 | 1115623.9502
13 | 2699870.0881 | 1115628.5928 | 2699874.7934 | 1115601.2866
14 | 2699870.0881 | 1115628.5928 | 2699871.934 | 1115629.5127 | 2699903.9272 | 1115645.4499
15 | 2699889.1128 | 1115569.5591 | 2699903.1666 | 1115569.3676 | 2699907.1763 | 1115568.89
16 | 2699903.9272 | 1115645.4499 | 2699911.3571 | 1115630.6889
17 | 2699928.8635 | 1115595.9089 | 2699911.3571 | 1115630.6889
18 | 2699839.4435 | 1115706.6382 | 2699834.332 | 1115704.6068 | 2699827.2648 | 1115716.2237
19 | 2699826.5713 | 1115717.3636 | 2699827.2648 | 1115716.2237
20 | 2699821.18 | 1115726.2259 | 2699826.5713 | 1115717.3636
21 | 2699821.18 | 1115726.2259 | 2699831.5205 | 1115729.943
22 | 2699821.18 | 1115726.2259 | 2699809.8743 | 1115722.1681
23 | 2699815.0622 | 1115771.32 | 2699793.0002 | 1115762.9301
24 | 2699815.0622 | 1115771.32 | 2699819.4476 | 1115760.2948
25 | 2699778.9711 | 1115757.5951 | 2699793.0002 | 1115762.9301
26 | 2699819.4476 | 1115760.2948 | 2699825.7218 | 1115744.5213
27 | 2699828.8175 | 1115736.7384 | 2699831.5205 | 1115729.943 | 2699831.5205 | 1115729.943
28 | 2699809.8743 | 1115722.1681 | 2699803.1004 | 1115719.7368
29 | 2699775.3644 | 1115756.2235 | 2699778.9711 | 1115757.5951
30 | 2699791.429 | 1115776.2227 | 2699775.0607 | 1115769.0376
31 | 2699791.429 | 1115776.2227 | 2699787.3784 | 1115786.8305
32 | 2699775.3644 | 1115756.2235 | 2699775.0607 | 1115769.0376
33 | 2699787.2839 | 1115787.0779 | 2699787.3784 | 1115786.8305
34 | 2699828.8175 | 1115736.7384 | 2699825.7218 | 1115744.5213
35 | 2699803.1004 | 1115719.7368 | 2699802.8019 | 1115719.6297
36 | 2699802.8019 | 1115719.6297 | 2699801.9176 | 1115719.3123
37 | 2699801.9176 | 1115719.3123 | 2699792.337 | 1115715.8736
38 | 2699769.4922 | 1115707.6743 | 2699769.374 | 1115702.1781
39 | 2699769.4922 | 1115707.6743 | 2699766.5282 | 1115718.3766 | 2699763.7598 | 1115726.6406
40 | 2699769.4922 | 1115707.6743 | 2699761.4228 | 1115705.5152
41 | 2699763.7598 | 1115726.6406 | 2699762.6647 | 1115729.9093
42 | 2699741.2736 | 1115700.1241 | 2699761.4228 | 1115705.5152
43 | 2699759.6213 | 1115738.9942 | 2699762.6647 | 1115729.9093
44 | 2699741.2736 | 1115700.1241 | 2699717.1845 | 1115693.6788
45 | 2699756.953 | 1115746.9591 | 2699759.6213 | 1115738.9942
46 | 2699717.1845 | 1115693.6788 | 2699710.6405 | 1115691.9279
47 | 2699767.4743 | 1115752.3579 | 2699775.3644 | 1115756.2235
48 | 2699787.2839 | 1115787.0779 | 2699786.4254 | 1115789.3263 | 2699784.8897 | 1115798.6402 | 2699779.9616 | 1115806.4017
49 | 2699756.953 | 1115746.9591 | 2699754.388 | 1115745.9937
50 | 2699756.953 | 1115746.9591 | 2699765.5995 | 1115751.3959
51 | 2699754.388 | 1115745.9937 | 2699742.2485 | 1115741.4247 | 2699736.6772 | 1115740.7139
52 | 2699767.4743 | 1115752.3579 | 2699765.5995 | 1115751.3959
53 | 2699767.4743 | 1115752.3579 | 2699765.5923 | 1115759.6757
54 | 2699765.5923 | 1115759.6757 | 2699763.283 | 1115768.6546 | 2699762.4944 | 1115771.2758
55 | 2699736.1634 | 1115740.6554 | 2699736.2456 | 1115740.6588 | 2699736.6772 | 1115740.7139
56 | 2699759.5054 | 1115781.21 | 2699762.4944 | 1115771.2758
57 | 2699697.1673 | 1115739.037 | 2699736.1634 | 1115740.6554
58 | 2699759.5054 | 1115781.21 | 2699756.3228 | 1115791.7878
59 | 2699697.1673 | 1115739.037 | 2699682.5745 | 1115738.299
60 | 2699701.5157 | 1115773.2299 | 2699694.9448 | 1115762.8709 | 2699697.1673 | 1115739.037
61 | 2699680.2736 | 1115738.1826 | 2699682.5745 | 1115738.299
62 | 2699700.3447 | 1115689.1732 | 2699705.8636 | 1115690.6499 | 2699710.6405 | 1115691.9279
63 | 2699671.9041 | 1115681.5634 | 2699700.3447 | 1115689.1732
64 | 2699671.9041 | 1115681.5634 | 2699673.3071 | 1115669.8219
65 | 2699751.2325 | 1115790.4699 | 2699756.3228 | 1115791.7878 | 2699756.3228 | 1115791.7878
66 | 2699751.2325 | 1115790.4699 | 2699751.2325 | 1115790.4699 | 2699750.5516 | 1115791.4665
67 | 2699750.5516 | 1115791.4665 | 2699748.1982 | 1115794.9117
68 | 2699748.1982 | 1115794.9117 | 2699744.2316 | 1115800.7185
69 | 2699744.2316 | 1115800.7185 | 2699744.0946 | 1115800.9191
70 | 2699742.8127 | 1115803.1003 | 2699744.0001 | 1115801.0575 | 2699744.0946 | 1115800.9191
71 | 2699742.8127 | 1115803.1003 | 2699740.1647 | 1115807.6558
72 | 2699738.2982 | 1115810.867 | 2699740.1647 | 1115807.6558
73 | 2699738.2982 | 1115810.867 | 2699737.6821 | 1115811.927 | 2699734.0368 | 1115818.2002
74 | 2699734.0368 | 1115818.2002 | 2699733.017 | 1115819.9552 | 2699733.017 | 1115819.9552
75 | 2699733.017 | 1115819.9552 | 2699732.9775 | 1115822.5501
76 | 2699732.9273 | 1115825.8415 | 2699732.9775 | 1115822.5501
77 | 2699732.9273 | 1115825.8415 | 2699732.8924 | 1115828.1301
78 | 2699732.6311 | 1115845.2647 | 2699732.8924 | 1115828.1301
79 | 2699732.6311 | 1115845.2647 | 2699727.8563 | 1115864.1868 | 2699715.8768 | 1115891.0843 | 2699713.9299 | 1115906.1505 | 2699715.3347 | 1115913.6895
80 | 2699732.6311 | 1115845.2647 | 2699727.2562 | 1115846.183
81 | 2699669.2048 | 1115856.3575 | 2699678.1286 | 1115857.4979 | 2699678.1286 | 1115857.4979
82 | 2699682.8187 | 1115857.3129 | 2699678.1286 | 1115857.4979
83 | 2699682.8187 | 1115857.3129 | 2699692.2049 | 1115856.9428
84 | 2699692.2049 | 1115856.9428 | 2699692.8486 | 1115856.9174 | 2699694.4467 | 1115856.9437
85 | 2699694.4467 | 1115856.9437 | 2699708.1649 | 1115857.1695
86 | 2699709.283 | 1115852.1596 | 2699708.1649 | 1115857.1695 | 2699708.1649 | 1115857.1695
87 | 2699709.283 | 1115852.1596 | 2699709.9573 | 1115849.1385
88 | 2699709.9573 | 1115849.1385 | 2699709.9573 | 1115849.1385 | 2699715.5632 | 1115848.1807
89 | 2699715.5632 | 1115848.1807 | 2699727.2562 | 1115846.183
90 | 2699715.3347 | 1115913.6895 | 2699704.3744 | 1115906.3601 | 2699692.0671 | 1115904.8435
91 | 2699690.0461 | 1115904.5945 | 2699692.0671 | 1115904.8435
92 | 2699690.0461 | 1115904.5945 | 2699687.7134 | 1115904.307 | 2699674.949 | 1115907.121 | 2699665.3423 | 1115912.3218 | 2699660.4113 | 1115909.7725 | 2699659.9493 | 1115909.4829

## bus_geodata
| x | y | coords
0 | 2699746.5374 | 1115607.3923
1 | 2699766.2062 | 1115610.4038
2 | 2699769.5565 | 1115631.5722
3 | 2699767.6261 | 1115593.8892
4 | 2699768.614 | 1115661.0765
5 | 2699724.6988 | 1115627.693
6 | 2699768.8809 | 1115579.2951
7 | 2699768.5705 | 1115662.4384
8 | 2699850.058 | 1115571.3492
9 | 2699865.5681 | 1115593.9363
10 | 2699862.2879 | 1115623.9502
11 | 2699870.0881 | 1115628.5928
12 | 2699889.1128 | 1115569.5591
13 | 2699874.7934 | 1115601.2866
14 | 2699903.9272 | 1115645.4499
15 | 2699907.1763 | 1115568.89
16 | 2699911.3571 | 1115630.6889
17 | 2699839.4435 | 1115706.6382
18 | 2699827.2648 | 1115716.2237
19 | 2699826.5713 | 1115717.3636
20 | 2699821.18 | 1115726.2259
21 | 2699815.0622 | 1115771.32
22 | 2699793.0002 | 1115762.9301
23 | 2699819.4476 | 1115760.2948
24 | 2699831.5205 | 1115729.943
25 | 2699809.8743 | 1115722.1681
26 | 2699778.9711 | 1115757.5951
27 | 2699791.429 | 1115776.2227
28 | 2699775.0607 | 1115769.0376
29 | 2699787.3784 | 1115786.8305
30 | 2699825.7218 | 1115744.5213
31 | 2699928.8635 | 1115595.9089
32 | 2699828.8175 | 1115736.7384
33 | 2699803.1004 | 1115719.7368
34 | 2699802.8019 | 1115719.6297
35 | 2699801.9176 | 1115719.3123
36 | 2699792.337 | 1115715.8736
37 | 2699769.4922 | 1115707.6743
38 | 2699769.374 | 1115702.1781
39 | 2699763.7598 | 1115726.6406
40 | 2699761.4228 | 1115705.5152
41 | 2699762.6647 | 1115729.9093
42 | 2699741.2736 | 1115700.1241
43 | 2699759.6213 | 1115738.9942
44 | 2699717.1845 | 1115693.6788
45 | 2699775.3644 | 1115756.2235
46 | 2699787.2839 | 1115787.0779
47 | 2699756.953 | 1115746.9591
48 | 2699754.388 | 1115745.9937
49 | 2699765.5995 | 1115751.3959
50 | 2699767.4743 | 1115752.3579
51 | 2699765.5923 | 1115759.6757
52 | 2699736.6772 | 1115740.7139
53 | 2699762.4944 | 1115771.2758
54 | 2699736.1634 | 1115740.6554
55 | 2699759.5054 | 1115781.21
56 | 2699697.1673 | 1115739.037
57 | 2699682.5745 | 1115738.299
58 | 2699701.5157 | 1115773.2299
59 | 2699680.2736 | 1115738.1826
60 | 2699710.6405 | 1115691.9279
61 | 2699700.3447 | 1115689.1732
62 | 2699671.9041 | 1115681.5634
63 | 2699673.3071 | 1115669.8219
64 | 2699779.9616 | 1115806.4017
65 | 2699756.3228 | 1115791.7878
66 | 2699751.2325 | 1115790.4699
67 | 2699750.5516 | 1115791.4665
68 | 2699748.1982 | 1115794.9117
69 | 2699744.2316 | 1115800.7185
70 | 2699744.0946 | 1115800.9191
71 | 2699742.8127 | 1115803.1003
72 | 2699740.1647 | 1115807.6558
73 | 2699738.2982 | 1115810.867
74 | 2699734.0368 | 1115818.2002
75 | 2699733.017 | 1115819.9552
76 | 2699732.9775 | 1115822.5501
77 | 2699732.9273 | 1115825.8415
78 | 2699732.8924 | 1115828.1301
79 | 2699732.6311 | 1115845.2647
80 | 2699669.2048 | 1115856.3575
81 | 2699678.1286 | 1115857.4979
82 | 2699682.8187 | 1115857.3129
83 | 2699692.2049 | 1115856.9428
84 | 2699694.4467 | 1115856.9437
85 | 2699708.1649 | 1115857.1695
86 | 2699709.283 | 1115852.1596
87 | 2699709.9573 | 1115849.1385
88 | 2699715.5632 | 1115848.1807
89 | 2699727.2562 | 1115846.183
90 | 2699715.3347 | 1115913.6895
91 | 2699692.0671 | 1115904.8435
92 | 2699690.0461 | 1115904.5945
93 | 2699659.9493 | 1115909.4829
94 | 2699767.4743 | 1115752.3579

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1