## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5397-2_1_4_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_5397-2_1_4_node_155 | 0.4 | n |  | TRUE
2 | bus_LV_5397-2_1_4_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_5397-2_1_4_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_5397-2_1_4_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_5397-2_1_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_5397-2_1_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_5397-2_1_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_5397-2_1_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_5397-2_1_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_5397-2_1_4_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_5397-2_1_4_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_5397-2_1_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_5397-2_1_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_5397-2_1_4_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_5397-2_1_4_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_5397-2_1_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_5397-2_1_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_5397-2_1_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_5397-2_1_4_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_5397-2_1_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_5397-2_1_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5397-2_1_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_5397-2_1_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_5397-2_1_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_5397-2_1_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_5397-2_1_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_5397-2_1_4_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_5397-2_1_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_5397-2_1_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_5397-2_1_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_5397-2_1_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_5397-2_1_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_5397-2_1_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_5397-2_1_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5397-2_1_4_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_5397-2_1_4_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_5397-2_1_4_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_5397-2_1_4_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_5397-2_1_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_5397-2_1_4_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_5397-2_1_4_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_5397-2_1_4_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_5397-2_1_4_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_5397-2_1_4_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_5397-2_1_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_5397-2_1_4_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_5397-2_1_4_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_5397-2_1_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_5397-2_1_4_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_5397-2_1_4_node_170 | 0.4 | n |  | TRUE
51 | bus_LV_5397-2_1_4_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_5397-2_1_4_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_5397-2_1_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_5397-2_1_4_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_5397-2_1_4_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_5397-2_1_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_5397-2_1_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_5397-2_1_4_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_5397-2_1_4_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_5397-2_1_4_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_5397-2_1_4_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_5397-2_1_4_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_5397-2_1_4_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_5397-2_1_4_node_152 | 0.4 | n |  | TRUE
65 | bus_LV_5397-2_1_4_node_175 | 0.4 | n |  | TRUE
66 | bus_LV_5397-2_1_4_node_171 | 0.4 | n |  | TRUE
67 | bus_LV_5397-2_1_4_node_172 | 0.4 | n |  | TRUE
68 | bus_LV_5397-2_1_4_node_173 | 0.4 | n |  | TRUE
69 | bus_LV_5397-2_1_4_node_174 | 0.4 | n |  | TRUE
70 | bus_LV_5397-2_1_4_node_176 | 0.4 | n |  | TRUE
71 | bus_LV_5397-2_1_4_node_177 | 0.4 | n |  | TRUE
72 | bus_LV_5397-2_1_4_node_180 | 0.4 | n |  | TRUE
73 | bus_LV_5397-2_1_4_node_181 | 0.4 | n |  | TRUE
74 | bus_LV_5397-2_1_4_node_178 | 0.4 | n |  | TRUE
75 | bus_LV_5397-2_1_4_node_179 | 0.4 | n |  | TRUE
76 | bus_LV_5397-2_1_4_node_227 | 0.4 | n |  | TRUE
77 | bus_LV_5397-2_1_4_node_228 | 0.4 | n |  | TRUE
78 | bus_LV_5397-2_1_4_node_229 | 0.4 | n |  | TRUE
79 | bus_LV_5397-2_1_4_node_230 | 0.4 | n |  | TRUE
80 | bus_LV_5397-2_1_4_node_231 | 0.4 | n |  | TRUE
81 | bus_LV_5397-2_1_4_node_232 | 0.4 | n |  | TRUE
82 | bus_LV_5397-2_1_4_node_233 | 0.4 | n |  | TRUE
83 | bus_MV_65_1_node_207 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5397-2_1_4_load_14 | 0 | 0.0014582 | 0.00036546 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5397-2_1_4_load_155 | 1 | 0.0005915 | 0.00014824 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5397-2_1_4_load_15 | 2 | 0.00091834 | 0.00023016 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5397-2_1_4_load_55 | 4 | 0.00092658 | 0.00023222 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5397-2_1_4_load_17 | 5 | 0.0012649 | 0.00031702 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5397-2_1_4_load_18 | 7 | 0.0023264 | 0.00058306 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5397-2_1_4_load_53 | 10 | 0.0017551 | 0.00043987 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5397-2_1_4_load_26 | 12 | 0.0026919 | 0.00067465 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5397-2_1_4_load_27 | 13 | 0.0028302 | 0.00070932 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5397-2_1_4_load_28 | 14 | 0.0023119 | 0.00057942 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5397-2_1_4_load_29 | 15 | 0.0023848 | 0.00059769 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5397-2_1_4_load_30 | 16 | 0.0013337 | 0.00033426 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5397-2_1_4_load_31 | 17 | 0.0035001 | 0.00087721 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5397-2_1_4_load_32 | 18 | 0.0019876 | 0.00049814 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5397-2_1_4_load_70 | 19 | 0.0015904 | 0.00039858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5397-2_1_4_load_33 | 20 | 0.0038738 | 0.00097087 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5397-2_1_4_load_34 | 21 | 0.0016492 | 0.00041332 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5397-2_1_4_load_36 | 23 | 0.0013298 | 0.00033328 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5397-2_1_4_load_37 | 24 | 0.0013006 | 0.00032597 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5397-2_1_4_load_38 | 25 | 0.0017726 | 0.00044427 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5397-2_1_4_load_39 | 26 | 0.0012443 | 0.00031185 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5397-2_1_4_load_41 | 27 | 0.0011434 | 0.00028656 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5397-2_1_4_load_40 | 28 | 0.0017958 | 0.00045007 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5397-2_1_4_load_42 | 29 | 0.0030523 | 0.00076497 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5397-2_1_4_load_44 | 31 | 0.002454 | 0.00061504 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5397-2_1_4_load_45 | 32 | 0.0012946 | 0.00032445 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5397-2_1_4_load_46 | 33 | 0.0040587 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5397-2_1_4_load_47 | 34 | 0.0012853 | 0.00032212 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5397-2_1_4_load_48 | 35 | 0.0017107 | 0.00042874 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5397-2_1_4_load_71 | 36 | 0.0012121 | 0.00030378 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5397-2_1_4_load_49 | 37 | 0.0024442 | 0.00061258 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5397-2_1_4_load_51 | 38 | 0.0032073 | 0.00080383 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5397-2_1_4_load_54 | 40 | 0.0014659 | 0.00036739 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5397-2_1_4_load_56 | 41 | 0.004392 | 0.0011007 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5397-2_1_4_load_76 | 43 | 0.0029602 | 0.0007419 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5397-2_1_4_load_59 | 44 | 0.0044722 | 0.0011208 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5397-2_1_4_load_57 | 45 | 0.0019932 | 0.00049955 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5397-2_1_4_load_58 | 46 | 0.0028492 | 0.00071407 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5397-2_1_4_load_63 | 49 | 0.006102 | 0.0015293 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5397-2_1_4_load_170 | 50 | 0.0051877 | 0.0013002 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5397-2_1_4_load_64 | 51 | 0.0010284 | 0.00025774 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5397-2_1_4_load_65 | 52 | 0.00092451 | 0.0002317 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5397-2_1_4_load_66 | 53 | 0.0013622 | 0.00034139 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5397-2_1_4_load_69 | 55 | 0.00094017 | 0.00023563 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5397-2_1_4_load_75 | 56 | 0.010306 | 0.0025829 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5397-2_1_4_load_73 | 57 | 0.0010405 | 0.00026078 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5397-2_1_4_load_72 | 58 | 0.00088343 | 0.00022141 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5397-2_1_4_load_77 | 59 | 0.0011513 | 0.00028854 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5397-2_1_4_load_79 | 61 | 0.00059098 | 0.00014811 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5397-2_1_4_load_80 | 62 | 0.00075855 | 0.00019011 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5397-2_1_4_load_81 | 63 | 0.0011752 | 0.00029453 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5397-2_1_4_load_175 | 65 | 0.0029612 | 0.00074215 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5397-2_1_4_load_171 | 66 | 0.0034025 | 0.00085276 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5397-2_1_4_load_173 | 68 | 0.0019354 | 0.00048505 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5397-2_1_4_load_177 | 71 | 0.0045246 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5397-2_1_4_load_180 | 72 | 0.0023872 | 0.0005983 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5397-2_1_4_load_181 | 73 | 0.0017156 | 0.00042996 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5397-2_1_4_load_178 | 74 | 0.0063047 | 0.0015801 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5397-2_1_4_load_179 | 75 | 0.0034755 | 0.00087104 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5397-2_1_4_load_227 | 76 | 0.0022054 | 0.00055274 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5397-2_1_4_load_228 | 77 | 0.0070533 | 0.0017677 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5397-2_1_4_load_229 | 78 | 0.0047946 | 0.0012016 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5397-2_1_4_load_230 | 79 | 0.0023031 | 0.00057722 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5397-2_1_4_load_231 | 80 | 0.0036844 | 0.0009234 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5397-2_1_4_load_232 | 81 | 0.0063503 | 0.0015915 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5397-2_1_4_load_233 | 82 | 0.0019243 | 0.00048228 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5397-2_1_4_line_0 |  | 0 | 1 | 0.40876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5397-2_1_4_line_1 |  | 1 | 43 | 0.11187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5397-2_1_4_line_2 |  | 1 | 61 | 0.37439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5397-2_1_4_line_3 |  | 2 | 3 | 0.0082432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5397-2_1_4_line_4 |  | 3 | 4 | 0.0089544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5397-2_1_4_line_5 |  | 4 | 42 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5397-2_1_4_line_6 |  | 5 | 6 | 0.12532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5397-2_1_4_line_7 |  | 6 | 7 | 0.21539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5397-2_1_4_line_8 |  | 6 | 47 | 0.039723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5397-2_1_4_line_9 |  | 7 | 8 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5397-2_1_4_line_10 |  | 8 | 9 | 0.035549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5397-2_1_4_line_11 |  | 9 | 10 | 0.042784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5397-2_1_4_line_12 |  | 9 | 11 | 0.068154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5397-2_1_4_line_13 |  | 10 | 19 | 0.0043019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5397-2_1_4_line_14 |  | 11 | 38 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5397-2_1_4_line_15 |  | 11 | 37 | 0.010864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5397-2_1_4_line_16 |  | 12 | 13 | 0.0085804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5397-2_1_4_line_17 |  | 12 | 14 | 0.00048598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5397-2_1_4_line_18 |  | 13 | 15 | 0.019099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5397-2_1_4_line_19 |  | 14 | 16 | 0.0018991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5397-2_1_4_line_20 |  | 15 | 17 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5397-2_1_4_line_21 |  | 16 | 18 | 0.0067248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5397-2_1_4_line_22 |  | 18 | 19 | 0.0015536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5397-2_1_4_line_23 |  | 20 | 21 | 0.0059197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5397-2_1_4_line_24 |  | 20 | 22 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5397-2_1_4_line_25 |  | 21 | 23 | 0.0015691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5397-2_1_4_line_26 |  | 22 | 24 | 0.0072119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5397-2_1_4_line_27 |  | 22 | 25 | 0.020655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5397-2_1_4_line_28 |  | 23 | 26 | 0.0067442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5397-2_1_4_line_29 |  | 24 | 27 | 0.013204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5397-2_1_4_line_30 |  | 25 | 28 | 0.0033866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5397-2_1_4_line_31 |  | 26 | 29 | 0.0054914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5397-2_1_4_line_32 |  | 29 | 30 | 0.0033852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5397-2_1_4_line_33 |  | 30 | 31 | 0.021095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5397-2_1_4_line_34 |  | 30 | 32 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5397-2_1_4_line_35 |  | 31 | 33 | 0.0084319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5397-2_1_4_line_36 |  | 32 | 34 | 0.011454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5397-2_1_4_line_37 |  | 33 | 35 | 0.01303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5397-2_1_4_line_38 |  | 34 | 36 | 0.0040808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5397-2_1_4_line_39 |  | 35 | 37 | 0.012181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5397-2_1_4_line_40 |  | 36 | 58 | 0.0069219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5397-2_1_4_line_41 |  | 38 | 39 | 0.029666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5397-2_1_4_line_42 |  | 39 | 40 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5397-2_1_4_line_43 |  | 40 | 41 | 0.032465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5397-2_1_4_line_44 |  | 41 | 43 | 0.054203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5397-2_1_4_line_45 |  | 41 | 44 | 0.04909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5397-2_1_4_line_46 |  | 42 | 55 | 0.02198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5397-2_1_4_line_47 |  | 42 | 52 | 0.023686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5397-2_1_4_line_48 |  | 44 | 46 | 0.01102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5397-2_1_4_line_49 |  | 45 | 46 | 0.020741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5397-2_1_4_line_50 |  | 47 | 48 | 0.13414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5397-2_1_4_line_51 |  | 48 | 49 | 0.046969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5397-2_1_4_line_52 |  | 49 | 50 | 0.097206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5397-2_1_4_line_53 |  | 50 | 66 | 0.015827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5397-2_1_4_line_54 |  | 50 | 67 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5397-2_1_4_line_55 |  | 51 | 52 | 0.018209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5397-2_1_4_line_56 |  | 51 | 53 | 0.0074235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5397-2_1_4_line_57 |  | 53 | 54 | 0.035211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5397-2_1_4_line_58 |  | 54 | 56 | 0.43064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5397-2_1_4_line_59 |  | 55 | 57 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5397-2_1_4_line_60 |  | 57 | 58 | 0.0060288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5397-2_1_4_line_61 |  | 59 | 60 | 0.011655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5397-2_1_4_line_62 |  | 60 | 61 | 0.08293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5397-2_1_4_line_63 |  | 61 | 62 | 0.12729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5397-2_1_4_line_64 |  | 62 | 63 | 0.022035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5397-2_1_4_line_65 |  | 64 | 65 | 0.0059898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5397-2_1_4_line_66 |  | 64 | 66 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5397-2_1_4_line_67 |  | 65 | 71 | 0.03602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5397-2_1_4_line_68 |  | 67 | 68 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5397-2_1_4_line_69 |  | 67 | 69 | 0.007617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5397-2_1_4_line_70 |  | 69 | 70 | 0.042238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5397-2_1_4_line_71 |  | 70 | 72 | 0.045741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5397-2_1_4_line_72 |  | 70 | 73 | 0.014117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5397-2_1_4_line_73 |  | 71 | 74 | 0.0088042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5397-2_1_4_line_74 |  | 74 | 75 | 0.0023006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5397-2_1_4_line_75 |  | 75 | 76 | 0.010294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5397-2_1_4_line_76 |  | 76 | 77 | 0.001971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5397-2_1_4_line_77 |  | 77 | 78 | 0.0062203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5397-2_1_4_line_78 |  | 78 | 79 | 0.006033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5397-2_1_4_line_79 |  | 79 | 80 | 0.0024233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5397-2_1_4_line_80 |  | 80 | 81 | 0.012711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5397-2_1_4_line_81 |  | 81 | 82 | 0.00072452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5397-2_1_4_trafo_23 | 0.63 MVA 20/0.4 kV | 83 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2691337.0438 | 1113013.4455 | 2691733.7655 | 1113111.9026
1 | 2691282.4614 | 1113111.0937 | 2691337.0438 | 1113013.4455
2 | 2691337.0438 | 1113013.4455 | 2691490.7474 | 1112672.0562
3 | 2691210.2304 | 1113224.0528 | 2691217.467 | 1113220.1053
4 | 2691210.2304 | 1113224.0528 | 2691203.7382 | 1113230.2198
5 | 2691190.7061 | 1113237.1003 | 2691194.3996 | 1113239.0904 | 2691203.7382 | 1113230.2198
6 | 2690865.2255 | 1112994.1562 | 2690741.6272 | 1113014.8455
7 | 2691056.2281 | 1113093.7108 | 2690865.2255 | 1112994.1562
8 | 2690874.6642 | 1112957.1753 | 2690875.6205 | 1112959.3465 | 2690874.9778 | 1112963.0502 | 2690873.2627 | 1112966.1486 | 2690866.1045 | 1112979.3271 | 2690864.6656 | 1112984.0973 | 2690865.2255 | 1112994.1562
9 | 2691067.2332 | 1113094.9921 | 2691056.2281 | 1113093.7108
10 | 2691067.2332 | 1113094.9921 | 2691068.6256 | 1113096.9253 | 2691070.8434 | 1113098.4262 | 2691073.5814 | 1113099.2345 | 2691101.2094 | 1113101.6176
11 | 2691101.2094 | 1113101.6176 | 2691086.8337 | 1113107.7275 | 2691091.7885 | 1113120.3763 | 2691094.5842 | 1113121.9748 | 2691096.1553 | 1113128.4579 | 2691096.4592 | 1113132.1338
12 | 2691101.2094 | 1113101.6176 | 2691157.7812 | 1113111.3515 | 2691162.2276 | 1113121.3244
13 | 2691096.8136 | 1113136.4211 | 2691096.4592 | 1113132.1338
14 | 2691162.2276 | 1113121.3244 | 2691168.6392 | 1113132.9617
15 | 2691162.2276 | 1113121.3244 | 2691161.3282 | 1113132.1507
16 | 2691088.1165 | 1113147.2707 | 2691093.0706 | 1113147.6342 | 2691096.6402 | 1113147.0764
17 | 2691096.6402 | 1113147.0764 | 2691096.6402 | 1113147.0764 | 2691096.6543 | 1113146.5906
18 | 2691072.5339 | 1113146.3044 | 2691075.5521 | 1113146.9818 | 2691077.642 | 1113149.2812 | 2691087.6258 | 1113150.1095 | 2691088.1165 | 1113147.2707 | 2691088.1165 | 1113147.2707
19 | 2691096.7092 | 1113144.6923 | 2691096.6543 | 1113146.5906
20 | 2691057.3301 | 1113150.4769 | 2691068.3842 | 1113145.3731 | 2691072.5339 | 1113146.3044
21 | 2691096.7092 | 1113144.6923 | 2691096.9037 | 1113137.9704
22 | 2691096.8136 | 1113136.4211 | 2691096.9136 | 1113137.6304 | 2691096.9037 | 1113137.9704
23 | 2691136.2275 | 1113182.7818 | 2691131.2466 | 1113179.5827
24 | 2691126.2153 | 1113188.468 | 2691131.2466 | 1113179.5827 | 2691131.2466 | 1113179.5827
25 | 2691137.4591 | 1113181.8095 | 2691136.2275 | 1113182.7818 | 2691136.2275 | 1113182.7818
26 | 2691126.2153 | 1113188.468 | 2691125.8326 | 1113195.6698
27 | 2691126.2153 | 1113188.468 | 2691107.49 | 1113179.7513
28 | 2691142.7527 | 1113177.6308 | 2691137.4591 | 1113181.8095
29 | 2691127.0775 | 1113208.5331 | 2691125.3748 | 1113204.2872 | 2691125.8326 | 1113195.6698
30 | 2691107.49 | 1113179.7513 | 2691104.4198 | 1113178.3221
31 | 2691147.0631 | 1113174.2284 | 2691142.7527 | 1113177.6308
32 | 2691149.4684 | 1113176.6104 | 2691147.0631 | 1113174.2284
33 | 2691149.4684 | 1113176.6104 | 2691156.4527 | 1113170.3894 | 2691165.4388 | 1113167.1892 | 2691164.839 | 1113165.0697
34 | 2691149.4684 | 1113176.6104 | 2691154.5605 | 1113183.202 | 2691156.7364 | 1113185.627
35 | 2691162.5432 | 1113156.9564 | 2691164.839 | 1113165.0697
36 | 2691156.7364 | 1113185.627 | 2691163.2978 | 1113192.9393 | 2691164.2478 | 1113194.2628
37 | 2691160.3196 | 1113144.2902 | 2691160.0108 | 1113148.0072 | 2691162.5432 | 1113156.9564
38 | 2691164.2478 | 1113194.2628 | 2691166.6275 | 1113197.578
39 | 2691160.3196 | 1113144.2902 | 2691161.3282 | 1113132.1507
40 | 2691170.6639 | 1113203.2011 | 2691166.6275 | 1113197.578
41 | 2691191.4836 | 1113138.2078 | 2691189.7943 | 1113139.5833 | 2691174.1916 | 1113143.0396 | 2691168.6392 | 1113132.9617
42 | 2691191.4836 | 1113138.2078 | 2691201.83 | 1113133.3629
43 | 2691230.9766 | 1113119.0793 | 2691218.5812 | 1113125.5189 | 2691201.83 | 1113133.3629
44 | 2691282.4614 | 1113111.0937 | 2691269.4019 | 1113117.0007 | 2691257.7728 | 1113120.261 | 2691251.7773 | 1113117.2356 | 2691245.1758 | 1113116.4913 | 2691230.9766 | 1113119.0793 | 2691230.9766 | 1113119.0793
45 | 2691230.9766 | 1113119.0793 | 2691234.6492 | 1113070.1272
46 | 2691190.7061 | 1113237.1003 | 2691179.8576 | 1113217.9845
47 | 2691190.7061 | 1113237.1003 | 2691188.2523 | 1113245.6464 | 2691194.1917 | 1113251.3614 | 2691199.9699 | 1113254.4501
48 | 2691227.455 | 1113062.7929 | 2691229.2708 | 1113063.5645 | 2691232.5465 | 1113065.6039 | 2691234.3893 | 1113067.8886 | 2691234.6492 | 1113070.1272
49 | 2691207.9457 | 1113055.8502 | 2691218.4475 | 1113058.9655 | 2691227.455 | 1113062.7929
50 | 2690975.1993 | 1112875.0111 | 2690974.1253 | 1112878.1079 | 2690972.6975 | 1112880.0766 | 2690970.6014 | 1112881.2681 | 2690967.6343 | 1112882.3353 | 2690948.2676 | 1112887.4145 | 2690939.3084 | 1112891.3826 | 2690934.3004 | 1112895.1097 | 2690931.0326 | 1112899.2299 | 2690925.3346 | 1112906.7267 | 2690915.0748 | 1112922.2044 | 2690910.8411 | 1112927.3663 | 2690906.1079 | 1112932.3539 | 2690900.2594 | 1112937.0135 | 2690890.9739 | 1112943.1669 | 2690884.6891 | 1112947.5642 | 2690878.5561 | 1112952.6532 | 2690874.6642 | 1112957.1753
51 | 2690975.1993 | 1112875.0111 | 2690976.7737 | 1112869.4535 | 2690977.7244 | 1112863.7644 | 2690978.1066 | 1112853.2304 | 2690977.3483 | 1112841.99 | 2690976.7556 | 1112839.2684 | 2690975.6667 | 1112836.6727 | 2690974.016 | 1112834.958 | 2690971.8614 | 1112833.358 | 2690969.2238 | 1112832.0288
52 | 2690957.8276 | 1112735.4933 | 2690969.2238 | 1112832.0288
53 | 2690957.8276 | 1112735.4933 | 2690967.3145 | 1112733.285 | 2690968.989 | 1112732.3873 | 2690969.0003 | 1112728.2006
54 | 2690936.1619 | 1112738.1095 | 2690943.8936 | 1112738.7369 | 2690957.8276 | 1112735.4933
55 | 2691197.1789 | 1113271.6782 | 2691195.6313 | 1113267.604 | 2691199.9699 | 1113254.4501
56 | 2691197.1789 | 1113271.6782 | 2691199.8147 | 1113278.618
57 | 2691173.0336 | 1113296.5038 | 2691181.4597 | 1113287.3805 | 2691197.4432 | 1113284.7749 | 2691199.8147 | 1113278.618 | 2691199.8147 | 1113278.618
58 | 2691173.0336 | 1113296.5038 | 2691254.1565 | 1113719.4353
59 | 2691179.8576 | 1113217.9845 | 2691174.5037 | 1113208.5505 | 2691174.1795 | 1113208.0988
60 | 2691170.6639 | 1113203.2011 | 2691174.1795 | 1113208.0988
61 | 2691554.0976 | 1112620.9703 | 2691550.2837 | 1112609.9566
62 | 2691554.0976 | 1112620.9703 | 2691528.2959 | 1112634.6224 | 2691517.0934 | 1112642.3024 | 2691508.5289 | 1112653.8468 | 2691503.6479 | 1112661.4111 | 2691498.1817 | 1112666.7985 | 2691490.7474 | 1112672.0562
63 | 2691490.7474 | 1112672.0562 | 2691482.3577 | 1112671.5182 | 2691474.1009 | 1112669.3368 | 2691466.8125 | 1112659.8099 | 2691461.6004 | 1112650.4145 | 2691446.4042 | 1112609.9386 | 2691435.3945 | 1112584.3683 | 2691429.3448 | 1112573.1258 | 2691427.7012 | 1112569.7442
64 | 2691427.7012 | 1112569.7442 | 2691421.3045 | 1112556.5834 | 2691417.464 | 1112550.256
65 | 2690970.2891 | 1112714.7406 | 2690975.5646 | 1112711.9038
66 | 2690970.2891 | 1112714.7406 | 2690969.0127 | 1112723.6046 | 2690969.0003 | 1112728.2006
67 | 2690975.5646 | 1112711.9038 | 2690991.3883 | 1112703.3948 | 2691008.2824 | 1112697.0295
68 | 2690936.1619 | 1112738.1095 | 2690936.2297 | 1112736.1649 | 2690935.9332 | 1112734.3038 | 2690934.487 | 1112730.2797 | 2690931.6155 | 1112725.4893 | 2690927.229 | 1112719.814
69 | 2690930.503 | 1112741.9603 | 2690932.459 | 1112741.8673 | 2690934.332 | 1112741.1283 | 2690935.6644 | 1112739.8586 | 2690936.1619 | 1112738.1095
70 | 2690930.503 | 1112741.9603 | 2690928.9396 | 1112741.6367 | 2690927.3929 | 1112740.7129 | 2690926.0439 | 1112739.4808 | 2690921.535 | 1112732.5979 | 2690910.8109 | 1112715.1488 | 2690906.9333 | 1112710.4657 | 2690905.2015 | 1112709.0055
71 | 2690905.2015 | 1112709.0055 | 2690900.2821 | 1112706.3079 | 2690865.7757 | 1112694.6948 | 2690862.2183 | 1112693.5975
72 | 2690905.2015 | 1112709.0055 | 2690900.4465 | 1112715.9495 | 2690904.8298 | 1112719.5946
73 | 2691008.2824 | 1112697.0295 | 2691016.5212 | 1112693.9254
74 | 2691018.6741 | 1112693.1142 | 2691016.5212 | 1112693.9254
75 | 2691018.6741 | 1112693.1142 | 2691028.3066 | 1112689.4849
76 | 2691028.3066 | 1112689.4849 | 2691030.1511 | 1112688.7899
77 | 2691036.1068 | 1112686.9949 | 2691030.1511 | 1112688.7899 | 2691030.1511 | 1112688.7899
78 | 2691036.1068 | 1112686.9949 | 2691041.8831 | 1112685.2539
79 | 2691041.8831 | 1112685.2539 | 2691044.2033 | 1112684.5546
80 | 2691056.2801 | 1112680.6076 | 2691052.0056 | 1112682.203 | 2691044.2033 | 1112684.5546
81 | 2691056.9589 | 1112680.3543 | 2691056.2801 | 1112680.6076

## bus_geodata
| x | y | coords
0 | 2691733.7655 | 1113111.9026
1 | 2691337.0438 | 1113013.4455
2 | 2691217.467 | 1113220.1053
3 | 2691210.2304 | 1113224.0528
4 | 2691203.7382 | 1113230.2198
5 | 2690741.6272 | 1113014.8455
6 | 2690865.2255 | 1112994.1562
7 | 2691056.2281 | 1113093.7108
8 | 2691067.2332 | 1113094.9921
9 | 2691101.2094 | 1113101.6176
10 | 2691096.4592 | 1113132.1338
11 | 2691162.2276 | 1113121.3244
12 | 2691096.6402 | 1113147.0764
13 | 2691088.1165 | 1113147.2707
14 | 2691096.6543 | 1113146.5906
15 | 2691072.5339 | 1113146.3044
16 | 2691096.7092 | 1113144.6923
17 | 2691057.3301 | 1113150.4769
18 | 2691096.9037 | 1113137.9704
19 | 2691096.8136 | 1113136.4211
20 | 2691131.2466 | 1113179.5827
21 | 2691136.2275 | 1113182.7818
22 | 2691126.2153 | 1113188.468
23 | 2691137.4591 | 1113181.8095
24 | 2691125.8326 | 1113195.6698
25 | 2691107.49 | 1113179.7513
26 | 2691142.7527 | 1113177.6308
27 | 2691127.0775 | 1113208.5331
28 | 2691104.4198 | 1113178.3221
29 | 2691147.0631 | 1113174.2284
30 | 2691149.4684 | 1113176.6104
31 | 2691164.839 | 1113165.0697
32 | 2691156.7364 | 1113185.627
33 | 2691162.5432 | 1113156.9564
34 | 2691164.2478 | 1113194.2628
35 | 2691160.3196 | 1113144.2902
36 | 2691166.6275 | 1113197.578
37 | 2691161.3282 | 1113132.1507
38 | 2691168.6392 | 1113132.9617
39 | 2691191.4836 | 1113138.2078
40 | 2691201.83 | 1113133.3629
41 | 2691230.9766 | 1113119.0793
42 | 2691190.7061 | 1113237.1003
43 | 2691282.4614 | 1113111.0937
44 | 2691234.6492 | 1113070.1272
45 | 2691207.9457 | 1113055.8502
46 | 2691227.455 | 1113062.7929
47 | 2690874.6642 | 1112957.1753
48 | 2690975.1993 | 1112875.0111
49 | 2690969.2238 | 1112832.0288
50 | 2690957.8276 | 1112735.4933
51 | 2691197.1789 | 1113271.6782
52 | 2691199.9699 | 1113254.4501
53 | 2691199.8147 | 1113278.618
54 | 2691173.0336 | 1113296.5038
55 | 2691179.8576 | 1113217.9845
56 | 2691254.1565 | 1113719.4353
57 | 2691174.1795 | 1113208.0988
58 | 2691170.6639 | 1113203.2011
59 | 2691550.2837 | 1112609.9566
60 | 2691554.0976 | 1112620.9703
61 | 2691490.7474 | 1112672.0562
62 | 2691427.7012 | 1112569.7442
63 | 2691417.464 | 1112550.256
64 | 2690970.2891 | 1112714.7406
65 | 2690975.5646 | 1112711.9038
66 | 2690969.0003 | 1112728.2006
67 | 2690936.1619 | 1112738.1095
68 | 2690927.229 | 1112719.814
69 | 2690930.503 | 1112741.9603
70 | 2690905.2015 | 1112709.0055
71 | 2691008.2824 | 1112697.0295
72 | 2690862.2183 | 1112693.5975
73 | 2690904.8298 | 1112719.5946
74 | 2691016.5212 | 1112693.9254
75 | 2691018.6741 | 1112693.1142
76 | 2691028.3066 | 1112689.4849
77 | 2691030.1511 | 1112688.7899
78 | 2691036.1068 | 1112686.9949
79 | 2691041.8831 | 1112685.2539
80 | 2691044.2033 | 1112684.5546
81 | 2691056.2801 | 1112680.6076
82 | 2691056.9589 | 1112680.3543
83 | 2691067.2332 | 1113094.9921

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1