## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5398-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5398-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5398-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5398-11_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5398-11_0_5_node_82 | 0.4 | n |  | TRUE
5 | bus_LV_5398-11_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5398-11_0_5_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_5398-11_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5398-11_0_5_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_5398-11_0_5_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_5398-11_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5398-11_0_5_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_5398-11_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5398-11_0_5_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_5398-11_0_5_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_5398-11_0_5_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_5398-11_0_5_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_5398-11_0_5_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_5398-11_0_5_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_5398-11_0_5_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_5398-11_0_5_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_5398-11_0_5_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_5398-11_0_5_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_5398-11_0_5_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_5398-11_0_5_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5398-11_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_5398-11_0_5_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_5398-11_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5398-11_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5398-11_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5398-11_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5398-11_0_5_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_5398-11_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5398-11_0_5_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_5398-11_0_5_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_5398-11_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_5398-11_0_5_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_5398-11_0_5_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_5398-11_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5398-11_0_5_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_5398-11_0_5_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_5398-11_0_5_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_5398-11_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5398-11_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_5398-11_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_5398-11_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5398-11_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_5398-11_0_5_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_5398-11_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5398-11_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5398-11_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_5398-11_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_5398-11_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5398-11_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5398-11_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5398-11_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5398-11_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_5398-11_0_5_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5398-11_0_5_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_5398-11_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5398-11_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5398-11_0_5_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5398-11_0_5_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_5398-11_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_5398-11_0_5_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_5398-11_0_5_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_5398-11_0_5_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_5398-11_0_5_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_5398-11_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5398-11_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5398-11_0_5_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5398-11_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5398-11_0_5_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_5398-11_0_5_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5398-11_0_5_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_5398-11_0_5_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5398-11_0_5_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_5398-11_0_5_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_5398-11_0_5_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_5398-11_0_5_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_5398-11_0_5_node_84 | 0.4 | n |  | TRUE
81 | bus_MV_64_1_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5398-11_0_5_load_0 | 0 | 0.010491 | 0.0026293 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5398-11_0_5_load_82 | 4 | 0.0045616 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5398-11_0_5_load_31 | 6 | 0.0061416 | 0.0015392 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5398-11_0_5_load_41 | 8 | 0.027846 | 0.0069789 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5398-11_0_5_load_81 | 9 | 0.00067641 | 0.00016952 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5398-11_0_5_load_6 | 12 | 0.0046595 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5398-11_0_5_load_32 | 14 | 0.0077327 | 0.001938 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5398-11_0_5_load_29 | 15 | 0.0011087 | 0.00027787 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5398-11_0_5_load_42 | 17 | 0.023314 | 0.005843 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5398-11_0_5_load_7 | 19 | 0.0117 | 0.0029323 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5398-11_0_5_load_5 | 20 | 0.0047999 | 0.001203 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5398-11_0_5_load_40 | 21 | 0.0026345 | 0.00066026 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5398-11_0_5_load_36 | 22 | 0.0028477 | 0.00071371 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5398-11_0_5_load_52 | 23 | 0.0055338 | 0.0013869 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5398-11_0_5_load_10 | 24 | 0.0023672 | 0.00059328 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5398-11_0_5_load_11 | 25 | 0.0027211 | 0.00068197 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5398-11_0_5_load_12 | 26 | 0.0022765 | 0.00057054 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5398-11_0_5_load_14 | 28 | 0.011043 | 0.0027675 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5398-11_0_5_load_15 | 29 | 0.0024459 | 0.00061301 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5398-11_0_5_load_16 | 30 | 0.020302 | 0.0050883 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5398-11_0_5_load_73 | 31 | 0.0029588 | 0.00074156 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5398-11_0_5_load_21 | 32 | 0.0024725 | 0.00061966 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5398-11_0_5_load_76 | 33 | 0.0057269 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5398-11_0_5_load_74 | 34 | 0.0044814 | 0.0011231 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5398-11_0_5_load_19 | 35 | 0.0029817 | 0.00074729 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5398-11_0_5_load_77 | 36 | 0.0027649 | 0.00069296 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5398-11_0_5_load_17 | 37 | 0.0020296 | 0.00050867 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5398-11_0_5_load_18 | 38 | 0.0015577 | 0.00039039 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5398-11_0_5_load_20 | 39 | 0.0063432 | 0.0015897 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5398-11_0_5_load_62 | 40 | 0.0087451 | 0.0021917 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5398-11_0_5_load_63 | 41 | 0.0027897 | 0.00069916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5398-11_0_5_load_22 | 42 | 0.0046281 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5398-11_0_5_load_25 | 44 | 0.0012469 | 0.00031249 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5398-11_0_5_load_27 | 45 | 0.0052385 | 0.0013129 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5398-11_0_5_load_28 | 46 | 0.0025277 | 0.00063349 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5398-11_0_5_load_75 | 47 | 0.0055338 | 0.0013869 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5398-11_0_5_load_37 | 48 | 0.012642 | 0.0031683 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5398-11_0_5_load_39 | 49 | 0.0059281 | 0.0014857 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5398-11_0_5_load_51 | 50 | 0.0052577 | 0.0013177 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5398-11_0_5_load_50 | 51 | 0.0052982 | 0.0013279 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5398-11_0_5_load_47 | 52 | 0.08848 | 0.022175 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5398-11_0_5_load_44 | 53 | 0.0085078 | 0.0021323 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5398-11_0_5_load_45 | 54 | 0.093988 | 0.023556 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5398-11_0_5_load_48 | 56 | 0.02724 | 0.006827 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5398-11_0_5_load_49 | 57 | 0.003301 | 0.0008273 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5398-11_0_5_load_54 | 58 | 0.0080416 | 0.0020154 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5398-11_0_5_load_56 | 60 | 0.0077942 | 0.0019534 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5398-11_0_5_load_58 | 61 | 0.0019944 | 0.00049983 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5398-11_0_5_load_60 | 63 | 0.0007463 | 0.00018704 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5398-11_0_5_load_61 | 64 | 0.00084568 | 0.00021195 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5398-11_0_5_load_70 | 66 | 0.0020692 | 0.00051859 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5398-11_0_5_load_69 | 67 | 0.00071838 | 0.00018004 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5398-11_0_5_load_64 | 69 | 0.0030705 | 0.00076955 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5398-11_0_5_load_65 | 70 | 0.00078466 | 0.00019665 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5398-11_0_5_load_68 | 71 | 0.0007089 | 0.00017767 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5398-11_0_5_load_86 | 72 | 0.00071029 | 0.00017802 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5398-11_0_5_load_85 | 74 | 0.00071679 | 0.00017964 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5398-11_0_5_load_72 | 75 | 0.00099973 | 0.00025056 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5398-11_0_5_load_78 | 76 | 0.0023946 | 0.00060015 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5398-11_0_5_load_79 | 77 | 0.0019122 | 0.00047924 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5398-11_0_5_load_80 | 78 | 0.0018635 | 0.00046704 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5398-11_0_5_load_83 | 79 | 0.00073296 | 0.0001837 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5398-11_0_5_load_84 | 80 | 0.00072156 | 0.00018084 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5398-11_0_5_line_0 |  | 0 | 1 | 0.006302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5398-11_0_5_line_1 |  | 1 | 2 | 0.11013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5398-11_0_5_line_2 |  | 1 | 3 | 0.17544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5398-11_0_5_line_3 |  | 2 | 4 | 0.010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5398-11_0_5_line_4 |  | 3 | 7 | 0.035497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5398-11_0_5_line_5 |  | 3 | 8 | 0.026014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5398-11_0_5_line_6 |  | 3 | 5 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5398-11_0_5_line_7 |  | 4 | 9 | 0.028445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5398-11_0_5_line_8 |  | 5 | 6 | 0.039741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5398-11_0_5_line_9 |  | 6 | 15 | 0.015805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5398-11_0_5_line_10 |  | 7 | 18 | 0.002865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5398-11_0_5_line_11 |  | 7 | 19 | 0.011062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5398-11_0_5_line_12 |  | 8 | 16 | 0.027459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5398-11_0_5_line_13 |  | 9 | 78 | 0.011674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5398-11_0_5_line_14 |  | 10 | 11 | 0.02963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5398-11_0_5_line_15 |  | 10 | 12 | 0.014017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5398-11_0_5_line_16 |  | 11 | 21 | 0.0033011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5398-11_0_5_line_17 |  | 11 | 22 | 0.019535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5398-11_0_5_line_18 |  | 12 | 20 | 0.0010514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5398-11_0_5_line_19 |  | 13 | 14 | 0.0054249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5398-11_0_5_line_20 |  | 13 | 15 | 0.0078651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5398-11_0_5_line_21 |  | 16 | 17 | 0.016705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5398-11_0_5_line_22 |  | 18 | 23 | 0.04161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5398-11_0_5_line_23 |  | 19 | 20 | 0.010898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5398-11_0_5_line_24 |  | 21 | 51 | 0.02918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5398-11_0_5_line_25 |  | 22 | 48 | 0.0088488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5398-11_0_5_line_26 |  | 24 | 25 | 0.023301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5398-11_0_5_line_27 |  | 25 | 26 | 0.057757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5398-11_0_5_line_28 |  | 26 | 27 | 0.025776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5398-11_0_5_line_29 |  | 27 | 28 | 0.030055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5398-11_0_5_line_30 |  | 27 | 29 | 0.044518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5398-11_0_5_line_31 |  | 27 | 30 | 0.012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5398-11_0_5_line_32 |  | 28 | 31 | 0.024667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5398-11_0_5_line_33 |  | 29 | 32 | 0.0055287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5398-11_0_5_line_34 |  | 30 | 33 | 0.027943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5398-11_0_5_line_35 |  | 31 | 34 | 0.00037328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5398-11_0_5_line_36 |  | 32 | 35 | 0.010091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5398-11_0_5_line_37 |  | 33 | 36 | 0.10201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5398-11_0_5_line_38 |  | 34 | 47 | 0.020224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5398-11_0_5_line_39 |  | 35 | 37 | 0.016699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5398-11_0_5_line_40 |  | 36 | 76 | 0.029239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5398-11_0_5_line_41 |  | 37 | 38 | 0.03025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5398-11_0_5_line_42 |  | 38 | 39 | 0.015552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5398-11_0_5_line_43 |  | 39 | 40 | 0.0023908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5398-11_0_5_line_44 |  | 40 | 41 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5398-11_0_5_line_45 |  | 41 | 69 | 0.016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5398-11_0_5_line_46 |  | 42 | 43 | 0.0029602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5398-11_0_5_line_47 |  | 43 | 44 | 0.017633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5398-11_0_5_line_48 |  | 44 | 45 | 0.086162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5398-11_0_5_line_49 |  | 45 | 46 | 0.030643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5398-11_0_5_line_50 |  | 46 | 47 | 0.010591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5398-11_0_5_line_51 |  | 48 | 49 | 0.0091285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5398-11_0_5_line_52 |  | 49 | 50 | 0.015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5398-11_0_5_line_53 |  | 51 | 52 | 0.023006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5398-11_0_5_line_54 |  | 52 | 54 | 0.026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5398-11_0_5_line_55 |  | 53 | 54 | 0.074972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5398-11_0_5_line_56 |  | 53 | 55 | 0.030092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5398-11_0_5_line_57 |  | 55 | 56 | 0.051222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5398-11_0_5_line_58 |  | 55 | 57 | 0.024132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5398-11_0_5_line_59 |  | 56 | 58 | 0.031182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5398-11_0_5_line_60 |  | 58 | 59 | 0.0095332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5398-11_0_5_line_61 |  | 59 | 60 | 0.015567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5398-11_0_5_line_62 |  | 61 | 62 | 0.025406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5398-11_0_5_line_63 |  | 62 | 63 | 0.082956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5398-11_0_5_line_64 |  | 62 | 64 | 0.025662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5398-11_0_5_line_65 |  | 63 | 65 | 0.0011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5398-11_0_5_line_66 |  | 64 | 66 | 0.058176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5398-11_0_5_line_67 |  | 65 | 67 | 0.0032518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5398-11_0_5_line_68 |  | 65 | 68 | 0.014109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5398-11_0_5_line_69 |  | 67 | 73 | 0.084341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5398-11_0_5_line_70 |  | 68 | 71 | 0.0017514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5398-11_0_5_line_71 |  | 68 | 70 | 0.0020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5398-11_0_5_line_72 |  | 69 | 70 | 0.0085673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5398-11_0_5_line_73 |  | 71 | 72 | 0.0087626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5398-11_0_5_line_74 |  | 72 | 74 | 0.010941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5398-11_0_5_line_75 |  | 73 | 75 | 0.060315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5398-11_0_5_line_76 |  | 74 | 80 | 0.02695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5398-11_0_5_line_77 |  | 76 | 77 | 0.013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5398-11_0_5_line_78 |  | 77 | 78 | 0.0026839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5398-11_0_5_line_79 |  | 79 | 80 | 0.011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5398-11_0_5_trafo_45 | 0.63 MVA 20/0.4 kV | 81 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2709589.9017 | 1111685.6448 | 2709593.4196 | 1111680.4161
1 | 2709561.2479 | 1111599.2594 | 2709568.0429 | 1111608.9663 | 2709570.257 | 1111613.8762 | 2709570.0862 | 1111619.4768 | 2709565.5077 | 1111634.6373 | 2709565.1312 | 1111646.9163 | 2709564.4787 | 1111652.2302 | 2709560.1949 | 1111655.366 | 2709563.8061 | 1111666.7832 | 2709565.1247 | 1111672.066 | 2709568.1632 | 1111677.9692 | 2709579.72 | 1111686.3057 | 2709589.9017 | 1111685.6448
2 | 2709516.6746 | 1111786.9327 | 2709516.3914 | 1111779.9452 | 2709529.8485 | 1111691.2524 | 2709534.9864 | 1111674.6344 | 2709565.1247 | 1111672.066 | 2709568.1632 | 1111677.9692 | 2709579.72 | 1111686.3057 | 2709589.9017 | 1111685.6448
3 | 2709561.2479 | 1111599.2594 | 2709570.7923 | 1111595.3849
4 | 2709516.6746 | 1111786.9327 | 2709530.8672 | 1111794.3717 | 2709539.3396 | 1111804.8983 | 2709544.7552 | 1111807.5423
5 | 2709516.6746 | 1111786.9327 | 2709513.1502 | 1111806.215 | 2709512.1696 | 1111812.552
6 | 2709507.4344 | 1111777.4152 | 2709510.3669 | 1111778.491 | 2709516.3914 | 1111779.9452 | 2709516.6746 | 1111786.9327
7 | 2709584.1473 | 1111618.1663 | 2709577.8498 | 1111615.7924 | 2709575.6993 | 1111606.0805 | 2709570.7923 | 1111595.3849 | 2709570.7923 | 1111595.3849
8 | 2709477.479 | 1111751.4907 | 2709491.6141 | 1111765.9665 | 2709498.9986 | 1111772.1261 | 2709507.4344 | 1111777.4152
9 | 2709477.479 | 1111751.4907 | 2709466.7969 | 1111739.8426
10 | 2709547.3367 | 1111808.8008 | 2709544.7552 | 1111807.5423
11 | 2709544.7552 | 1111807.5423 | 2709552.1372 | 1111799.3036
12 | 2709507.9706 | 1111839.6878 | 2709512.1696 | 1111812.552
13 | 2709595.0708 | 1111622.284 | 2709584.1473 | 1111618.1663
14 | 2709574.7044 | 1111763.2543 | 2709547.0446 | 1111774.0839
15 | 2709547.0446 | 1111774.0839 | 2709550.7934 | 1111787.59
16 | 2709574.7044 | 1111763.2543 | 2709577.7587 | 1111762.0018
17 | 2709574.7044 | 1111763.2543 | 2709569.2892 | 1111744.4852
18 | 2709551.0746 | 1111788.6031 | 2709550.7934 | 1111787.59
19 | 2709461.481 | 1111734.046 | 2709457.9178 | 1111729.9555
20 | 2709461.481 | 1111734.046 | 2709466.7969 | 1111739.8426
21 | 2709507.9706 | 1111839.6878 | 2709524.475 | 1111842.2663
22 | 2709547.3367 | 1111808.8008 | 2709569.9391 | 1111819.5273 | 2709584.9864 | 1111812.5379
23 | 2709551.0746 | 1111788.6031 | 2709552.4569 | 1111793.5834 | 2709552.1372 | 1111799.3036
24 | 2709577.7587 | 1111762.0018 | 2709604.7566 | 1111750.9296
25 | 2709569.2892 | 1111744.4852 | 2709566.8362 | 1111735.9832 | 2709566.8362 | 1111735.9832
26 | 2709847.1412 | 1111605.3952 | 2709831.7475 | 1111587.9035
27 | 2709831.7475 | 1111587.9035 | 2709826.7234 | 1111582.1945 | 2709818.1979 | 1111577.5927 | 2709809.9068 | 1111577.965 | 2709802.8719 | 1111582.7964 | 2709786.1724 | 1111599.5149
28 | 2709767.2756 | 1111617.0189 | 2709777.379 | 1111608.3183 | 2709786.1724 | 1111599.5149
29 | 2709767.2756 | 1111617.0189 | 2709758.1523 | 1111617.265 | 2709745.9457 | 1111615.7987 | 2709737.5849 | 1111613.6441
30 | 2709767.2756 | 1111617.0189 | 2709745.5219 | 1111578.1775
31 | 2709767.2756 | 1111617.0189 | 2709768.1149 | 1111620.6031 | 2709767.3784 | 1111621.1568 | 2709761.0945 | 1111622.077 | 2709759.1615 | 1111622.5252
32 | 2709737.5849 | 1111613.6441 | 2709713.6979 | 1111607.4884
33 | 2709745.5219 | 1111578.1775 | 2709745.5219 | 1111578.1775 | 2709747.7062 | 1111573.0986
34 | 2709759.1615 | 1111622.5252 | 2709747.0404 | 1111625.3359 | 2709740.4053 | 1111628.5735 | 2709736.3081 | 1111631.6458 | 2709734.3292 | 1111633.8953
35 | 2709713.3364 | 1111607.3952 | 2709713.6979 | 1111607.4884
36 | 2709747.7062 | 1111573.0986 | 2709751.6933 | 1111563.8282
37 | 2709734.3292 | 1111633.8953 | 2709726.469 | 1111642.8306 | 2709722.5798 | 1111645.5065 | 2709716.0798 | 1111646.8342 | 2709708.8119 | 1111647.4698 | 2709690.1762 | 1111646.4098 | 2709679.4341 | 1111644.7255 | 2709664.6409 | 1111637.5866 | 2709661.8543 | 1111636.5578 | 2709639.739 | 1111632.3139
38 | 2709713.3364 | 1111607.3952 | 2709693.7525 | 1111602.3484
39 | 2709755.9523 | 1111547.7243 | 2709753.7506 | 1111558.2022 | 2709752.1695 | 1111562.721 | 2709751.6933 | 1111563.8282
40 | 2709639.739 | 1111632.3139 | 2709623.6646 | 1111629.2292 | 2709611.1478 | 1111626.2283
41 | 2709755.9523 | 1111547.7243 | 2709755.9663 | 1111547.6576 | 2709757.3913 | 1111529.1379 | 2709758.7202 | 1111524.4589 | 2709761.628 | 1111518.3742 | 2709761.628 | 1111518.3742
42 | 2709773.389 | 1111508.1989 | 2709761.628 | 1111518.3742
43 | 2709773.389 | 1111508.1989 | 2709775.197 | 1111506.6347
44 | 2709775.197 | 1111506.6347 | 2709782.1584 | 1111500.612 | 2709790.7934 | 1111495.3238
45 | 2709790.7934 | 1111495.3238 | 2709797.1469 | 1111491.4328 | 2709805.6659 | 1111488.4257
46 | 2709595.4548 | 1111526.4187 | 2709595.0933 | 1111528.8915 | 2709594.6448 | 1111528.9986
47 | 2709595.4548 | 1111526.4187 | 2709612.7157 | 1111530.0219
48 | 2709661.8346 | 1111579.3456 | 2709659.6078 | 1111571.9415 | 2709656.7367 | 1111541.414 | 2709654.4393 | 1111536.8362 | 2709651.0543 | 1111534.7069 | 2709640.1083 | 1111532.7522 | 2709612.7157 | 1111530.0219
49 | 2709683.5099 | 1111599.6673 | 2709677.2412 | 1111596.7989 | 2709672.6928 | 1111593.2032 | 2709665.4541 | 1111586.668 | 2709662.3413 | 1111581.0302 | 2709661.8346 | 1111579.3456
50 | 2709683.5099 | 1111599.6673 | 2709683.7176 | 1111599.7624 | 2709693.7525 | 1111602.3484
51 | 2709557.8585 | 1111737.636 | 2709566.8362 | 1111735.9832
52 | 2709557.8585 | 1111737.636 | 2709543.0838 | 1111740.3562
53 | 2709626.548 | 1111743.6657 | 2709624.2362 | 1111744.1704 | 2709612.3546 | 1111747.8135 | 2709604.7566 | 1111750.9296
54 | 2709652.9512 | 1111740.241 | 2709649.5893 | 1111740.404 | 2709635.5711 | 1111741.6959 | 2709626.548 | 1111743.6657
55 | 2709724.9086 | 1111757.8856 | 2709693.1944 | 1111744.7955 | 2709674.4743 | 1111741.1545 | 2709660.6109 | 1111739.8696 | 2709652.9512 | 1111740.241
56 | 2709752.7239 | 1111769.3664 | 2709724.9086 | 1111757.8856
57 | 2709752.7239 | 1111769.3664 | 2709767.9597 | 1111775.0904 | 2709784.3126 | 1111779.2891 | 2709798.1607 | 1111780.9854 | 2709802.2609 | 1111781.2947
58 | 2709752.7239 | 1111769.3664 | 2709755.3241 | 1111763.1872 | 2709756.6642 | 1111745.8111
59 | 2709802.2609 | 1111781.2947 | 2709810.9633 | 1111781.9512 | 2709833.305 | 1111779.6946
60 | 2709842.7899 | 1111778.7366 | 2709833.305 | 1111779.6946
61 | 2709842.7899 | 1111778.7366 | 2709858.2875 | 1111777.2664
62 | 2709871.8097 | 1111506.217 | 2709872.5613 | 1111513.3575 | 2709874.471 | 1111519.2737 | 2709877.7307 | 1111525.3256 | 2709880.5755 | 1111529.6009
63 | 2709871.8097 | 1111506.217 | 2709873.4342 | 1111489.5021 | 2709873.5693 | 1111477.7858 | 2709872.6964 | 1111474.3566 | 2709870.427 | 1111470.802 | 2709866.347 | 1111467.3703 | 2709861.3998 | 1111465.7352 | 2709855.652 | 1111465.631 | 2709848.8807 | 1111467.4206 | 2709841.2035 | 1111470.5836 | 2709832.7732 | 1111475.6454 | 2709828.1477 | 1111478.148
64 | 2709871.8097 | 1111506.217 | 2709868.7058 | 1111505.6381 | 2709866.1213 | 1111503.2675 | 2709862.7943 | 1111494.5349 | 2709861.1805 | 1111492.3264 | 2709858.7096 | 1111491.3588 | 2709855.7536 | 1111491.1495 | 2709854.6355 | 1111491.8142
65 | 2709827.1462 | 1111478.6899 | 2709828.1477 | 1111478.148
66 | 2709805.7102 | 1111522.108 | 2709814.1998 | 1111519.7379 | 2709826.6541 | 1111513.0924 | 2709842.0215 | 1111502.6306 | 2709852.7224 | 1111492.9514 | 2709854.6355 | 1111491.8142
67 | 2709827.1462 | 1111478.6899 | 2709827.2961 | 1111475.9575 | 2709827.6445 | 1111475.5779
68 | 2709827.1462 | 1111478.6899 | 2709819.8049 | 1111482.0814 | 2709813.921 | 1111483.5203
69 | 2709892.2903 | 1111423.8785 | 2709887.3745 | 1111426.48 | 2709867.575 | 1111437.9955 | 2709846.6099 | 1111451.1466 | 2709842.6024 | 1111454.7986 | 2709840.2505 | 1111458.7809 | 2709835.662 | 1111466.3472 | 2709831.6322 | 1111471.2329 | 2709827.6445 | 1111475.5779
70 | 2709813.921 | 1111483.5203 | 2709812.1729 | 1111483.6272
71 | 2709813.921 | 1111483.5203 | 2709813.7447 | 1111485.574
72 | 2709805.6659 | 1111488.4257 | 2709813.7447 | 1111485.574
73 | 2709803.4253 | 1111484.0913 | 2709804.2425 | 1111484.1121 | 2709812.1729 | 1111483.6272
74 | 2709792.6613 | 1111482.5651 | 2709798.1093 | 1111483.9565 | 2709803.4253 | 1111484.0913
75 | 2709842.2763 | 1111421.6265 | 2709851.4448 | 1111418.9019 | 2709859.286 | 1111415.2193 | 2709865.8573 | 1111412.9591 | 2709872.5138 | 1111411.5343 | 2709880.7959 | 1111412.0958 | 2709887.8116 | 1111413.8797 | 2709891.8089 | 1111416.3315 | 2709893.7042 | 1111420.4908 | 2709892.2903 | 1111423.8785
76 | 2709773.5524 | 1111466.1306 | 2709775.2594 | 1111472.3352 | 2709777.081 | 1111474.5919 | 2709783.7931 | 1111479.0496 | 2709790.9399 | 1111482.1255 | 2709792.6613 | 1111482.5651
77 | 2709611.1478 | 1111626.2283 | 2709597.655 | 1111622.9934
78 | 2709597.655 | 1111622.9934 | 2709595.726 | 1111622.531 | 2709595.0708 | 1111622.284
79 | 2709771.8447 | 1111455.1982 | 2709771.9023 | 1111460.1331 | 2709773.5524 | 1111466.1306

## bus_geodata
| x | y | coords
0 | 2709593.4196 | 1111680.4161
1 | 2709589.9017 | 1111685.6448
2 | 2709561.2479 | 1111599.2594
3 | 2709516.6746 | 1111786.9327
4 | 2709570.7923 | 1111595.3849
5 | 2709507.4344 | 1111777.4152
6 | 2709477.479 | 1111751.4907
7 | 2709544.7552 | 1111807.5423
8 | 2709512.1696 | 1111812.552
9 | 2709584.1473 | 1111618.1663
10 | 2709547.0446 | 1111774.0839
11 | 2709574.7044 | 1111763.2543
12 | 2709550.7934 | 1111787.59
13 | 2709461.481 | 1111734.046
14 | 2709457.9178 | 1111729.9555
15 | 2709466.7969 | 1111739.8426
16 | 2709507.9706 | 1111839.6878
17 | 2709524.475 | 1111842.2663
18 | 2709547.3367 | 1111808.8008
19 | 2709552.1372 | 1111799.3036
20 | 2709551.0746 | 1111788.6031
21 | 2709577.7587 | 1111762.0018
22 | 2709569.2892 | 1111744.4852
23 | 2709584.9864 | 1111812.5379
24 | 2709847.1412 | 1111605.3952
25 | 2709831.7475 | 1111587.9035
26 | 2709786.1724 | 1111599.5149
27 | 2709767.2756 | 1111617.0189
28 | 2709737.5849 | 1111613.6441
29 | 2709745.5219 | 1111578.1775
30 | 2709759.1615 | 1111622.5252
31 | 2709713.6979 | 1111607.4884
32 | 2709747.7062 | 1111573.0986
33 | 2709734.3292 | 1111633.8953
34 | 2709713.3364 | 1111607.3952
35 | 2709751.6933 | 1111563.8282
36 | 2709639.739 | 1111632.3139
37 | 2709755.9523 | 1111547.7243
38 | 2709761.628 | 1111518.3742
39 | 2709773.389 | 1111508.1989
40 | 2709775.197 | 1111506.6347
41 | 2709790.7934 | 1111495.3238
42 | 2709594.6448 | 1111528.9986
43 | 2709595.4548 | 1111526.4187
44 | 2709612.7157 | 1111530.0219
45 | 2709661.8346 | 1111579.3456
46 | 2709683.5099 | 1111599.6673
47 | 2709693.7525 | 1111602.3484
48 | 2709566.8362 | 1111735.9832
49 | 2709557.8585 | 1111737.636
50 | 2709543.0838 | 1111740.3562
51 | 2709604.7566 | 1111750.9296
52 | 2709626.548 | 1111743.6657
53 | 2709724.9086 | 1111757.8856
54 | 2709652.9512 | 1111740.241
55 | 2709752.7239 | 1111769.3664
56 | 2709802.2609 | 1111781.2947
57 | 2709756.6642 | 1111745.8111
58 | 2709833.305 | 1111779.6946
59 | 2709842.7899 | 1111778.7366
60 | 2709858.2875 | 1111777.2664
61 | 2709880.5755 | 1111529.6009
62 | 2709871.8097 | 1111506.217
63 | 2709828.1477 | 1111478.148
64 | 2709854.6355 | 1111491.8142
65 | 2709827.1462 | 1111478.6899
66 | 2709805.7102 | 1111522.108
67 | 2709827.6445 | 1111475.5779
68 | 2709813.921 | 1111483.5203
69 | 2709805.6659 | 1111488.4257
70 | 2709813.7447 | 1111485.574
71 | 2709812.1729 | 1111483.6272
72 | 2709803.4253 | 1111484.0913
73 | 2709892.2903 | 1111423.8785
74 | 2709792.6613 | 1111482.5651
75 | 2709842.2763 | 1111421.6265
76 | 2709611.1478 | 1111626.2283
77 | 2709597.655 | 1111622.9934
78 | 2709595.0708 | 1111622.284
79 | 2709771.8447 | 1111455.1982
80 | 2709773.5524 | 1111466.1306
81 | 2709638.6013 | 1111741.4166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1