## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5398-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5398-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5398-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5398-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5398-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5398-13_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5398-13_0_4_node_89 | 0.4 | n |  | TRUE
7 | bus_LV_5398-13_0_4_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_5398-13_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5398-13_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5398-13_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_5398-13_0_4_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_5398-13_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_5398-13_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5398-13_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5398-13_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5398-13_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5398-13_0_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_5398-13_0_4_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_5398-13_0_4_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_5398-13_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5398-13_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5398-13_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5398-13_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5398-13_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5398-13_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5398-13_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5398-13_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_5398-13_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5398-13_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_5398-13_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_5398-13_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_5398-13_0_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_5398-13_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_5398-13_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5398-13_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5398-13_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5398-13_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_5398-13_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_5398-13_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5398-13_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5398-13_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5398-13_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5398-13_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5398-13_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5398-13_0_4_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_5398-13_0_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_5398-13_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_5398-13_0_4_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_5398-13_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_5398-13_0_4_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_5398-13_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_5398-13_0_4_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_5398-13_0_4_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_5398-13_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_5398-13_0_4_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_5398-13_0_4_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_5398-13_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_5398-13_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_5398-13_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_5398-13_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_5398-13_0_4_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_5398-13_0_4_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_5398-13_0_4_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_5398-13_0_4_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_5398-13_0_4_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_5398-13_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_5398-13_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_5398-13_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5398-13_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_5398-13_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_5398-13_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5398-13_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5398-13_0_4_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_5398-13_0_4_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5398-13_0_4_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_5398-13_0_4_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_5398-13_0_4_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_5398-13_0_4_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_5398-13_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_5398-13_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_5398-13_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_5398-13_0_4_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_5398-13_0_4_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_5398-13_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_5398-13_0_4_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_5398-13_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_MV_72_2_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5398-13_0_4_load_0 | 0 | 0.022173 | 0.0055571 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5398-13_0_4_load_4 | 4 | 0.0028514 | 0.00071464 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5398-13_0_4_load_89 | 6 | 0.048471 | 0.012148 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5398-13_0_4_load_22 | 8 | 0.0048367 | 0.0012122 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5398-13_0_4_load_8 | 9 | 0.0014405 | 0.00036102 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5398-13_0_4_load_19 | 10 | 0.0058085 | 0.0014557 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5398-13_0_4_load_54 | 11 | 0.0043288 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5398-13_0_4_load_55 | 12 | 0.0020099 | 0.00050374 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5398-13_0_4_load_6 | 13 | 0.0010117 | 0.00025356 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5398-13_0_4_load_20 | 14 | 0.0022995 | 0.00057632 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5398-13_0_4_load_7 | 15 | 0.0016964 | 0.00042515 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5398-13_0_4_load_9 | 16 | 0.0028283 | 0.00070883 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5398-13_0_4_load_65 | 17 | 0.0020921 | 0.00052432 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5398-13_0_4_load_63 | 18 | 0.0054557 | 0.0013673 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5398-13_0_4_load_64 | 19 | 0.0035462 | 0.00088877 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5398-13_0_4_load_10 | 20 | 0.0025437 | 0.00063751 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5398-13_0_4_load_12 | 21 | 0.014533 | 0.0036423 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5398-13_0_4_load_15 | 24 | 0.005669 | 0.0014208 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5398-13_0_4_load_16 | 25 | 0.007795 | 0.0019536 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5398-13_0_4_load_45 | 29 | 0.0020391 | 0.00051105 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5398-13_0_4_load_42 | 30 | 0.016735 | 0.0041942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5398-13_0_4_load_37 | 31 | 0.022141 | 0.005549 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5398-13_0_4_load_60 | 32 | 0.0010727 | 0.00026884 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5398-13_0_4_load_58 | 33 | 0.00065418 | 0.00016395 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5398-13_0_4_load_24 | 35 | 0.0027092 | 0.000679 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5398-13_0_4_load_23 | 36 | 0.0016746 | 0.00041969 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5398-13_0_4_load_50 | 37 | 0.0038002 | 0.00095242 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5398-13_0_4_load_49 | 38 | 0.0029294 | 0.00073417 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5398-13_0_4_load_25 | 39 | 0.0075885 | 0.0019019 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5398-13_0_4_load_26 | 41 | 0.0058117 | 0.0014566 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5398-13_0_4_load_28 | 42 | 0.0034415 | 0.00086252 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5398-13_0_4_load_30 | 44 | 0.004584 | 0.0011489 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5398-13_0_4_load_66 | 45 | 0.010386 | 0.002603 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5398-13_0_4_load_70 | 46 | 0.0036686 | 0.00091943 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5398-13_0_4_load_68 | 47 | 0.0070457 | 0.0017658 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5398-13_0_4_load_85 | 48 | 0.0034047 | 0.0008533 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5398-13_0_4_load_78 | 50 | 0.0034003 | 0.00085219 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5398-13_0_4_load_77 | 51 | 0.0055338 | 0.0013869 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5398-13_0_4_load_87 | 53 | 0.0030902 | 0.00077447 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5398-13_0_4_load_84 | 55 | 0.0026864 | 0.00067328 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5398-13_0_4_load_76 | 56 | 0.0075233 | 0.0018855 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5398-13_0_4_load_32 | 57 | 0.005134 | 0.0012867 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5398-13_0_4_load_33 | 58 | 0.001997 | 0.0005005 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5398-13_0_4_load_34 | 59 | 0.0049643 | 0.0012442 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5398-13_0_4_load_35 | 60 | 0.0029153 | 0.00073064 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5398-13_0_4_load_81 | 63 | 0.0078876 | 0.0019768 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5398-13_0_4_load_83 | 64 | 0.0048625 | 0.0012187 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5398-13_0_4_load_41 | 67 | 0.0065682 | 0.0016461 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5398-13_0_4_load_48 | 69 | 0.0046002 | 0.0011529 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5398-13_0_4_load_72 | 70 | 0.005148 | 0.0012902 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5398-13_0_4_load_71 | 71 | 0.019979 | 0.0050073 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5398-13_0_4_load_47 | 73 | 0.0036121 | 0.00090527 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5398-13_0_4_load_73 | 74 | 0.0084051 | 0.0021065 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5398-13_0_4_load_46 | 75 | 0.0057006 | 0.0014287 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5398-13_0_4_load_51 | 76 | 0.0039859 | 0.00099895 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5398-13_0_4_load_52 | 77 | 0.0022589 | 0.00056613 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5398-13_0_4_load_88 | 78 | 0.0015759 | 0.00039495 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5398-13_0_4_load_74 | 79 | 0.0068742 | 0.0017228 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5398-13_0_4_load_59 | 80 | 0.002778 | 0.00069623 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5398-13_0_4_load_75 | 81 | 0.010896 | 0.0027309 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5398-13_0_4_load_56 | 82 | 0.0037902 | 0.00094991 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5398-13_0_4_load_57 | 83 | 0.0026815 | 0.00067204 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5398-13_0_4_load_69 | 84 | 0.013314 | 0.0033369 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5398-13_0_4_load_86 | 85 | 0.0089074 | 0.0022324 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5398-13_0_4_load_79 | 86 | 0.01163 | 0.0029149 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5398-13_0_4_line_0 |  | 0 | 1 | 0.0084336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5398-13_0_4_line_1 |  | 0 | 2 | 0.054295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5398-13_0_4_line_2 |  | 1 | 3 | 0.04272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5398-13_0_4_line_3 |  | 1 | 4 | 0.045048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5398-13_0_4_line_4 |  | 2 | 5 | 0.027709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5398-13_0_4_line_5 |  | 3 | 6 | 0.041418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5398-13_0_4_line_6 |  | 4 | 7 | 0.024261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5398-13_0_4_line_7 |  | 5 | 8 | 0.031621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5398-13_0_4_line_8 |  | 5 | 9 | 0.032691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5398-13_0_4_line_9 |  | 5 | 10 | 0.015786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5398-13_0_4_line_10 |  | 7 | 11 | 0.0047139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5398-13_0_4_line_11 |  | 7 | 12 | 0.010477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5398-13_0_4_line_12 |  | 9 | 13 | 0.037379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5398-13_0_4_line_13 |  | 10 | 14 | 0.020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5398-13_0_4_line_14 |  | 11 | 72 | 0.023629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5398-13_0_4_line_15 |  | 12 | 79 | 0.0089169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5398-13_0_4_line_16 |  | 13 | 15 | 0.023033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5398-13_0_4_line_17 |  | 14 | 34 | 0.0086362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5398-13_0_4_line_18 |  | 15 | 16 | 0.03032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5398-13_0_4_line_19 |  | 15 | 17 | 0.08095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5398-13_0_4_line_20 |  | 16 | 20 | 0.069268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5398-13_0_4_line_21 |  | 17 | 19 | 0.0021039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5398-13_0_4_line_22 |  | 18 | 19 | 0.041073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5398-13_0_4_line_23 |  | 21 | 22 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5398-13_0_4_line_24 |  | 21 | 23 | 0.0066242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5398-13_0_4_line_25 |  | 22 | 24 | 0.0044136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5398-13_0_4_line_26 |  | 22 | 25 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5398-13_0_4_line_27 |  | 23 | 26 | 0.081313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5398-13_0_4_line_28 |  | 25 | 27 | 0.012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5398-13_0_4_line_29 |  | 26 | 28 | 0.075058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5398-13_0_4_line_30 |  | 27 | 29 | 0.015784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5398-13_0_4_line_31 |  | 28 | 30 | 0.014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5398-13_0_4_line_32 |  | 28 | 31 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5398-13_0_4_line_33 |  | 30 | 70 | 0.0010921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5398-13_0_4_line_34 |  | 31 | 65 | 0.010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5398-13_0_4_line_35 |  | 32 | 33 | 0.0083172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5398-13_0_4_line_36 |  | 33 | 82 | 0.00057534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5398-13_0_4_line_37 |  | 34 | 35 | 0.0069924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5398-13_0_4_line_38 |  | 34 | 36 | 0.043112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5398-13_0_4_line_39 |  | 35 | 37 | 0.021139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5398-13_0_4_line_40 |  | 37 | 38 | 0.021806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5398-13_0_4_line_41 |  | 38 | 76 | 0.029856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5398-13_0_4_line_42 |  | 39 | 40 | 0.012508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5398-13_0_4_line_43 |  | 40 | 43 | 0.013413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5398-13_0_4_line_44 |  | 40 | 44 | 0.007929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5398-13_0_4_line_45 |  | 41 | 42 | 0.009568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5398-13_0_4_line_46 |  | 42 | 45 | 0.015607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5398-13_0_4_line_47 |  | 43 | 46 | 0.010032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5398-13_0_4_line_48 |  | 43 | 47 | 0.010093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5398-13_0_4_line_49 |  | 44 | 48 | 0.00092854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5398-13_0_4_line_50 |  | 45 | 52 | 0.022077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5398-13_0_4_line_51 |  | 46 | 53 | 0.0060634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5398-13_0_4_line_52 |  | 47 | 52 | 0.0095249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5398-13_0_4_line_53 |  | 48 | 54 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5398-13_0_4_line_54 |  | 49 | 50 | 0.0047083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5398-13_0_4_line_55 |  | 49 | 51 | 0.01916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5398-13_0_4_line_56 |  | 50 | 55 | 0.0033779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5398-13_0_4_line_57 |  | 51 | 56 | 0.037648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5398-13_0_4_line_58 |  | 53 | 85 | 0.0039694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5398-13_0_4_line_59 |  | 54 | 55 | 0.022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5398-13_0_4_line_60 |  | 54 | 59 | 0.0096284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5398-13_0_4_line_61 |  | 57 | 58 | 0.0070781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5398-13_0_4_line_62 |  | 57 | 59 | 0.00060421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5398-13_0_4_line_63 |  | 58 | 60 | 0.014765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5398-13_0_4_line_64 |  | 61 | 62 | 0.007712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5398-13_0_4_line_65 |  | 61 | 63 | 0.019693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5398-13_0_4_line_66 |  | 62 | 85 | 0.0092564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5398-13_0_4_line_67 |  | 62 | 64 | 0.00027754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5398-13_0_4_line_68 |  | 63 | 67 | 0.0016775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5398-13_0_4_line_69 |  | 65 | 66 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5398-13_0_4_line_70 |  | 65 | 67 | 0.015105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5398-13_0_4_line_71 |  | 66 | 68 | 0.017498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5398-13_0_4_line_72 |  | 66 | 69 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5398-13_0_4_line_73 |  | 68 | 71 | 0.013636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5398-13_0_4_line_74 |  | 68 | 72 | 0.007831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5398-13_0_4_line_75 |  | 69 | 73 | 0.011722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5398-13_0_4_line_76 |  | 70 | 74 | 0.025514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5398-13_0_4_line_77 |  | 71 | 84 | 0.0039873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5398-13_0_4_line_78 |  | 72 | 80 | 0.0085867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5398-13_0_4_line_79 |  | 73 | 75 | 0.021088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5398-13_0_4_line_80 |  | 74 | 86 | 0.00056097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5398-13_0_4_line_81 |  | 76 | 77 | 0.022557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5398-13_0_4_line_82 |  | 77 | 78 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5398-13_0_4_line_83 |  | 79 | 81 | 0.013189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5398-13_0_4_line_84 |  | 80 | 83 | 0.0053052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5398-13_0_4_line_85 |  | 82 | 83 | 0.014902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5398-13_0_4_trafo_55 | 0.63 MVA 20/0.4 kV | 87 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2708305.9768 | 1111171.1662 | 2708299.2689 | 1111166.0544
1 | 2708256.9118 | 1111132.0981 | 2708286.4351 | 1111156.2743 | 2708299.2689 | 1111166.0544
2 | 2708305.9768 | 1111171.1662 | 2708295.2446 | 1111184.0052 | 2708299.0483 | 1111186.9528 | 2708303.1263 | 1111190.1277 | 2708312.9358 | 1111197.7856 | 2708315.794 | 1111200.0159
3 | 2708305.9768 | 1111171.1662 | 2708332.6693 | 1111190.689 | 2708342.8878 | 1111196.9391
4 | 2708235.5185 | 1111114.4159 | 2708239.9459 | 1111117.9306 | 2708256.9118 | 1111132.0981
5 | 2708323.6009 | 1111231.9428 | 2708332.0198 | 1111213.1921 | 2708321.4497 | 1111204.4198 | 2708318.2103 | 1111201.8936 | 2708315.794 | 1111200.0159
6 | 2708363.5846 | 1111209.5981 | 2708342.8878 | 1111196.9391
7 | 2708235.5185 | 1111114.4159 | 2708212.8785 | 1111119.8043 | 2708204.9906 | 1111122.538
8 | 2708235.5185 | 1111114.4159 | 2708266.2849 | 1111103.3651
9 | 2708235.5185 | 1111114.4159 | 2708223.0902 | 1111104.6823
10 | 2708363.5846 | 1111209.5981 | 2708367.5215 | 1111212.1907
11 | 2708363.5846 | 1111209.5981 | 2708359.7607 | 1111216.4231 | 2708358.9288 | 1111218.9426
12 | 2708303.0928 | 1111098.1598 | 2708288.3638 | 1111100.6614 | 2708271.7888 | 1111101.3882 | 2708266.2849 | 1111103.3651
13 | 2708207.219 | 1111092.2523 | 2708223.0902 | 1111104.6823
14 | 2708387.2559 | 1111225.1868 | 2708367.5215 | 1111212.1907
15 | 2708358.9288 | 1111218.9426 | 2708356.133 | 1111227.4099
16 | 2708303.0928 | 1111098.1598 | 2708306.6662 | 1111097.5528 | 2708325.6322 | 1111093.4305
17 | 2708200.4198 | 1111086.9273 | 2708207.219 | 1111092.2523
18 | 2708325.6322 | 1111093.4305 | 2708344.1014 | 1111089.4162 | 2708354.678 | 1111085.11
19 | 2708325.6322 | 1111093.4305 | 2708313.2773 | 1111013.4288
20 | 2708354.678 | 1111085.11 | 2708361.6024 | 1111082.2908 | 2708383.9992 | 1111070.2054 | 2708418.1654 | 1111057.8201
21 | 2708313.2773 | 1111013.4288 | 2708311.27 | 1111012.7985
22 | 2708281.5503 | 1110985.3389 | 2708282.2472 | 1110986.211 | 2708288.0639 | 1110994.1644 | 2708294.665 | 1111001.4648 | 2708303.8576 | 1111009.0673 | 2708309.4046 | 1111012.2128 | 2708311.27 | 1111012.7985
23 | 2708429.8786 | 1111149.0879 | 2708427.8776 | 1111153.7997 | 2708427.1214 | 1111158.4892 | 2708426.9688 | 1111162.6594
24 | 2708427.5008 | 1111169.2475 | 2708426.9096 | 1111164.2781 | 2708426.9688 | 1111162.6594
25 | 2708429.8786 | 1111149.0879 | 2708432.6134 | 1111145.6238
26 | 2708429.8786 | 1111149.0879 | 2708425.0427 | 1111142.9197 | 2708420.1463 | 1111137.8632
27 | 2708427.5008 | 1111169.2475 | 2708428.9493 | 1111175.1105 | 2708431.7791 | 1111178.9303 | 2708437.34 | 1111183.8773 | 2708442.5195 | 1111186.8163 | 2708448.9122 | 1111188.8986 | 2708464.3537 | 1111191.9101 | 2708469.0947 | 1111193.4403 | 2708472.307 | 1111196.1773 | 2708475.2952 | 1111200.2112 | 2708477.185 | 1111204.7368 | 2708480.1014 | 1111220.1212
28 | 2708411.2929 | 1111128.7202 | 2708420.1463 | 1111137.8632
29 | 2708445.8573 | 1111252.5188 | 2708456.1503 | 1111253.4368 | 2708472.2851 | 1111253.9701 | 2708486.1123 | 1111254.3288 | 2708485.4224 | 1111247.9679 | 2708483.2929 | 1111236.9782 | 2708480.1014 | 1111220.1212
30 | 2708411.2929 | 1111128.7202 | 2708400.5061 | 1111140.2683
31 | 2708445.8573 | 1111252.5188 | 2708440.9069 | 1111265.7167
32 | 2708445.8573 | 1111252.5188 | 2708436.12 | 1111250.2084
33 | 2708440.9069 | 1111265.7167 | 2708440.9069 | 1111265.7167 | 2708439.9671 | 1111265.9778 | 2708439.9279 | 1111266.0877
34 | 2708425.7892 | 1111247.2121 | 2708434.6063 | 1111249.8492 | 2708436.12 | 1111250.2084
35 | 2708408.4777 | 1111194.0792 | 2708403.5019 | 1111200.7439
36 | 2708403.1577 | 1111201.2049 | 2708403.5019 | 1111200.7439
37 | 2708200.4198 | 1111086.9273 | 2708194.9801 | 1111082.5338
38 | 2708200.4198 | 1111086.9273 | 2708186.1271 | 1111103.1051 | 2708178.8731 | 1111107.7009 | 2708171.2264 | 1111105.7188 | 2708167.6712 | 1111102.1486
39 | 2708178.535 | 1111069.2515 | 2708194.9801 | 1111082.5338
40 | 2708161.5711 | 1111055.5503 | 2708178.535 | 1111069.2515
41 | 2708161.5711 | 1111055.5503 | 2708138.3445 | 1111036.7907
42 | 2708376.1253 | 1111300.9261 | 2708368.6254 | 1111310.936
43 | 2708376.1253 | 1111300.9261 | 2708377.8392 | 1111287.6258
44 | 2708376.1253 | 1111300.9261 | 2708383.7568 | 1111298.7746
45 | 2708357.0533 | 1111287.4663 | 2708354.1777 | 1111293.5514 | 2708352.7225 | 1111295.9875
46 | 2708359.8256 | 1111272.4496 | 2708359.6796 | 1111281.9087 | 2708357.0533 | 1111287.4663
47 | 2708377.8392 | 1111287.6258 | 2708385.8077 | 1111288.8802 | 2708386.3529 | 1111286.992
48 | 2708377.8392 | 1111287.6258 | 2708378.1512 | 1111277.5381
49 | 2708383.7568 | 1111298.7746 | 2708384.6505 | 1111298.5226
50 | 2708378.9075 | 1111268.0766 | 2708370.4766 | 1111266.7473 | 2708363.6024 | 1111266.958 | 2708359.8256 | 1111272.4496
51 | 2708388.0351 | 1111281.1666 | 2708386.3529 | 1111286.992
52 | 2708378.9075 | 1111268.0766 | 2708378.3705 | 1111270.4464 | 2708378.1512 | 1111277.5381
53 | 2708395.8543 | 1111295.3639 | 2708384.6505 | 1111298.5226
54 | 2708390.7155 | 1111325.1582 | 2708391.6003 | 1111320.5337
55 | 2708390.7155 | 1111325.1582 | 2708409.5234 | 1111328.8147
56 | 2708391.6003 | 1111320.5337 | 2708392.235 | 1111317.2161
57 | 2708444.6915 | 1111335.4801 | 2708440.4488 | 1111335.3761 | 2708429.9749 | 1111333.7767 | 2708430.3752 | 1111332.1383 | 2708417.2313 | 1111330.3133 | 2708409.5234 | 1111328.8147
58 | 2708390.826 | 1111278.7207 | 2708390.7732 | 1111278.7178 | 2708388.3534 | 1111280.0644 | 2708388.0351 | 1111281.1666
59 | 2708395.8543 | 1111295.3639 | 2708394.7975 | 1111302.1717 | 2708393.111 | 1111312.6373 | 2708392.235 | 1111317.2161
60 | 2708395.8543 | 1111295.3639 | 2708405.3563 | 1111296.9191
61 | 2708412.9377 | 1111298.16 | 2708412.9377 | 1111298.16 | 2708405.9526 | 1111297.0167
62 | 2708405.3563 | 1111296.9191 | 2708405.9526 | 1111297.0167
63 | 2708412.9377 | 1111298.16 | 2708415.2193 | 1111289.8509 | 2708415.6196 | 1111283.7154
64 | 2708402.6286 | 1111273.5152 | 2708400.8717 | 1111276.6859 | 2708399.7734 | 1111280.6244
65 | 2708402.6286 | 1111273.5152 | 2708405.9665 | 1111267.0707 | 2708412.3566 | 1111265.4061 | 2708415.8209 | 1111260.7139
66 | 2708399.7734 | 1111280.6244 | 2708395.3825 | 1111278.967 | 2708390.826 | 1111278.7207
67 | 2708399.7025 | 1111280.8927 | 2708399.7734 | 1111280.6244
68 | 2708416.8172 | 1111259.3644 | 2708415.8209 | 1111260.7139
69 | 2708425.7892 | 1111247.2121 | 2708419.4097 | 1111244.3962 | 2708408.6985 | 1111238.7678
70 | 2708425.7892 | 1111247.2121 | 2708416.8172 | 1111259.3644
71 | 2708393.8572 | 1111229.4297 | 2708408.6985 | 1111238.7678
72 | 2708408.6985 | 1111238.7678 | 2708413.7451 | 1111228.7172
73 | 2708393.8572 | 1111229.4297 | 2708391.1551 | 1111234.4625 | 2708388.3163 | 1111241.8603
74 | 2708393.8572 | 1111229.4297 | 2708387.2559 | 1111225.1868
75 | 2708418.7269 | 1111218.1119 | 2708416.6882 | 1111222.8558 | 2708413.7451 | 1111228.7172
76 | 2708430.6493 | 1111289.1519 | 2708435.7498 | 1111272.7624 | 2708437.9656 | 1111271.5901 | 2708439.9279 | 1111266.0877
77 | 2708388.3163 | 1111241.8603 | 2708386.8878 | 1111245.5829
78 | 2708387.2559 | 1111225.1868 | 2708391.8087 | 1111217.9065
79 | 2708418.4674 | 1111201.1911 | 2708414.5737 | 1111208.4308 | 2708420.6476 | 1111213.6428 | 2708418.7269 | 1111218.1119
80 | 2708430.4826 | 1111289.6875 | 2708430.6493 | 1111289.1519
81 | 2708120.7961 | 1111022.6174 | 2708138.3445 | 1111036.7907
82 | 2708111.2916 | 1111014.9408 | 2708120.7961 | 1111022.6174
83 | 2708352.9827 | 1111240.2175 | 2708356.133 | 1111227.4099 | 2708356.133 | 1111227.4099
84 | 2708391.8087 | 1111217.9065 | 2708394.6216 | 1111213.4085
85 | 2708403.1577 | 1111201.2049 | 2708398.2793 | 1111207.7391 | 2708396.3255 | 1111210.6839 | 2708394.6216 | 1111213.4085

## bus_geodata
| x | y | coords
0 | 2708299.2689 | 1111166.0544
1 | 2708305.9768 | 1111171.1662
2 | 2708256.9118 | 1111132.0981
3 | 2708315.794 | 1111200.0159
4 | 2708342.8878 | 1111196.9391
5 | 2708235.5185 | 1111114.4159
6 | 2708323.6009 | 1111231.9428
7 | 2708363.5846 | 1111209.5981
8 | 2708204.9906 | 1111122.538
9 | 2708266.2849 | 1111103.3651
10 | 2708223.0902 | 1111104.6823
11 | 2708367.5215 | 1111212.1907
12 | 2708358.9288 | 1111218.9426
13 | 2708303.0928 | 1111098.1598
14 | 2708207.219 | 1111092.2523
15 | 2708325.6322 | 1111093.4305
16 | 2708354.678 | 1111085.11
17 | 2708313.2773 | 1111013.4288
18 | 2708281.5503 | 1110985.3389
19 | 2708311.27 | 1111012.7985
20 | 2708418.1654 | 1111057.8201
21 | 2708426.9688 | 1111162.6594
22 | 2708429.8786 | 1111149.0879
23 | 2708427.5008 | 1111169.2475
24 | 2708432.6134 | 1111145.6238
25 | 2708420.1463 | 1111137.8632
26 | 2708480.1014 | 1111220.1212
27 | 2708411.2929 | 1111128.7202
28 | 2708445.8573 | 1111252.5188
29 | 2708400.5061 | 1111140.2683
30 | 2708440.9069 | 1111265.7167
31 | 2708436.12 | 1111250.2084
32 | 2708408.4777 | 1111194.0792
33 | 2708403.5019 | 1111200.7439
34 | 2708200.4198 | 1111086.9273
35 | 2708194.9801 | 1111082.5338
36 | 2708167.6712 | 1111102.1486
37 | 2708178.535 | 1111069.2515
38 | 2708161.5711 | 1111055.5503
39 | 2708368.6254 | 1111310.936
40 | 2708376.1253 | 1111300.9261
41 | 2708352.7225 | 1111295.9875
42 | 2708357.0533 | 1111287.4663
43 | 2708377.8392 | 1111287.6258
44 | 2708383.7568 | 1111298.7746
45 | 2708359.8256 | 1111272.4496
46 | 2708386.3529 | 1111286.992
47 | 2708378.1512 | 1111277.5381
48 | 2708384.6505 | 1111298.5226
49 | 2708390.7155 | 1111325.1582
50 | 2708391.6003 | 1111320.5337
51 | 2708409.5234 | 1111328.8147
52 | 2708378.9075 | 1111268.0766
53 | 2708388.0351 | 1111281.1666
54 | 2708395.8543 | 1111295.3639
55 | 2708392.235 | 1111317.2161
56 | 2708444.6915 | 1111335.4801
57 | 2708405.9526 | 1111297.0167
58 | 2708412.9377 | 1111298.16
59 | 2708405.3563 | 1111296.9191
60 | 2708415.6196 | 1111283.7154
61 | 2708402.6286 | 1111273.5152
62 | 2708399.7734 | 1111280.6244
63 | 2708415.8209 | 1111260.7139
64 | 2708399.7025 | 1111280.8927
65 | 2708425.7892 | 1111247.2121
66 | 2708408.6985 | 1111238.7678
67 | 2708416.8172 | 1111259.3644
68 | 2708393.8572 | 1111229.4297
69 | 2708413.7451 | 1111228.7172
70 | 2708439.9279 | 1111266.0877
71 | 2708388.3163 | 1111241.8603
72 | 2708387.2559 | 1111225.1868
73 | 2708418.7269 | 1111218.1119
74 | 2708430.6493 | 1111289.1519
75 | 2708418.4674 | 1111201.1911
76 | 2708138.3445 | 1111036.7907
77 | 2708120.7961 | 1111022.6174
78 | 2708111.2916 | 1111014.9408
79 | 2708356.133 | 1111227.4099
80 | 2708391.8087 | 1111217.9065
81 | 2708352.9827 | 1111240.2175
82 | 2708403.1577 | 1111201.2049
83 | 2708394.6216 | 1111213.4085
84 | 2708386.8878 | 1111245.5829
85 | 2708390.826 | 1111278.7207
86 | 2708430.4826 | 1111289.6875
87 | 2708363.5846 | 1111209.5981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1