## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5398-30_1_3_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_5398-30_1_3_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_5398-30_1_3_node_133 | 0.4 | n |  | TRUE
3 | bus_LV_5398-30_1_3_node_134 | 0.4 | n |  | TRUE
4 | bus_LV_5398-30_1_3_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_5398-30_1_3_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_5398-30_1_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5398-30_1_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5398-30_1_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5398-30_1_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5398-30_1_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5398-30_1_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5398-30_1_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5398-30_1_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5398-30_1_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5398-30_1_3_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_5398-30_1_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5398-30_1_3_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_5398-30_1_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5398-30_1_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_5398-30_1_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5398-30_1_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_5398-30_1_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_5398-30_1_3_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_5398-30_1_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5398-30_1_3_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_5398-30_1_3_node_131 | 0.4 | n |  | TRUE
27 | bus_LV_5398-30_1_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5398-30_1_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5398-30_1_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_5398-30_1_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_5398-30_1_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5398-30_1_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5398-30_1_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5398-30_1_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5398-30_1_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5398-30_1_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_5398-30_1_3_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_5398-30_1_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_5398-30_1_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_5398-30_1_3_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_5398-30_1_3_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_5398-30_1_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5398-30_1_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5398-30_1_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5398-30_1_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5398-30_1_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5398-30_1_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5398-30_1_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5398-30_1_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5398-30_1_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5398-30_1_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_5398-30_1_3_node_132 | 0.4 | n |  | TRUE
53 | bus_LV_5398-30_1_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5398-30_1_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5398-30_1_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5398-30_1_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_5398-30_1_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_5398-30_1_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_5398-30_1_3_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_5398-30_1_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5398-30_1_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_5398-30_1_3_node_135 | 0.4 | n |  | TRUE
63 | bus_LV_5398-30_1_3_node_136 | 0.4 | n |  | TRUE
64 | bus_LV_5398-30_1_3_node_137 | 0.4 | n |  | TRUE
65 | bus_LV_5398-30_1_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5398-30_1_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_5398-30_1_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5398-30_1_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5398-30_1_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5398-30_1_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5398-30_1_3_node_111 | 0.4 | n |  | TRUE
72 | bus_LV_5398-30_1_3_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_5398-30_1_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_5398-30_1_3_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_5398-30_1_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5398-30_1_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5398-30_1_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_5398-30_1_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5398-30_1_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_5398-30_1_3_node_107 | 0.4 | n |  | TRUE
81 | bus_LV_5398-30_1_3_node_108 | 0.4 | n |  | TRUE
82 | bus_LV_5398-30_1_3_node_109 | 0.4 | n |  | TRUE
83 | bus_LV_5398-30_1_3_node_110 | 0.4 | n |  | TRUE
84 | bus_LV_5398-30_1_3_node_114 | 0.4 | n |  | TRUE
85 | bus_LV_5398-30_1_3_node_113 | 0.4 | n |  | TRUE
86 | bus_LV_5398-30_1_3_node_126 | 0.4 | n |  | TRUE
87 | bus_LV_5398-30_1_3_node_127 | 0.4 | n |  | TRUE
88 | bus_MV_62_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5398-30_1_3_load_3 | 0 | 0.009103 | 0.0022814 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5398-30_1_3_load_4 | 1 | 0.0013546 | 0.0003395 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5398-30_1_3_load_134 | 3 | 0.0053277 | 0.0013353 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5398-30_1_3_load_56 | 4 | 0.0017782 | 0.00044567 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5398-30_1_3_load_55 | 5 | 0.0012653 | 0.00031711 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5398-30_1_3_load_5 | 6 | 0.0019007 | 0.00047635 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5398-30_1_3_load_6 | 7 | 0.0009639 | 0.00024158 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5398-30_1_3_load_9 | 10 | 0.0011467 | 0.00028739 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5398-30_1_3_load_10 | 11 | 0.0030078 | 0.00075383 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5398-30_1_3_load_11 | 12 | 0.0011836 | 0.00029664 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5398-30_1_3_load_12 | 13 | 0.0042282 | 0.0010597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5398-30_1_3_load_13 | 14 | 0.0070051 | 0.0017556 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5398-30_1_3_load_40 | 15 | 0.0015056 | 0.00037733 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5398-30_1_3_load_15 | 16 | 0.0014993 | 0.00037575 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5398-30_1_3_load_43 | 17 | 0.0038257 | 0.00095881 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5398-30_1_3_load_14 | 18 | 0.0020868 | 0.00052299 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5398-30_1_3_load_41 | 19 | 0.0043799 | 0.0010977 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5398-30_1_3_load_16 | 20 | 0.0027123 | 0.00067976 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5398-30_1_3_load_44 | 21 | 0.011287 | 0.0028287 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5398-30_1_3_load_42 | 22 | 0.001623 | 0.00040676 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5398-30_1_3_load_53 | 23 | 0.001548 | 0.00038798 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5398-30_1_3_load_17 | 24 | 0.00085572 | 0.00021446 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5398-30_1_3_load_45 | 25 | 0.00085668 | 0.0002147 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5398-30_1_3_load_131 | 26 | 0.0024541 | 0.00061506 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5398-30_1_3_load_21 | 27 | 0.00060375 | 0.00015132 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5398-30_1_3_load_22 | 28 | 0.00030935 | 7.7529e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5398-30_1_3_load_46 | 29 | 0.0025198 | 0.00063153 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5398-30_1_3_load_34 | 30 | 0.0072257 | 0.0018109 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5398-30_1_3_load_23 | 31 | 0.0074013 | 0.0018549 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5398-30_1_3_load_24 | 32 | 0.0052785 | 0.0013229 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5398-30_1_3_load_26 | 34 | 0.0037645 | 0.00094348 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5398-30_1_3_load_27 | 35 | 0.00064715 | 0.00016219 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5398-30_1_3_load_28 | 36 | 0.0042154 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5398-30_1_3_load_58 | 37 | 0.0020408 | 0.00051146 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5398-30_1_3_load_51 | 39 | 0.0020196 | 0.00050616 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5398-30_1_3_load_57 | 40 | 0.0025616 | 0.00064199 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5398-30_1_3_load_59 | 41 | 0.00067098 | 0.00016816 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5398-30_1_3_load_37 | 42 | 0.0090753 | 0.0022745 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5398-30_1_3_load_29 | 43 | 0.0045164 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5398-30_1_3_load_30 | 44 | 0.0030637 | 0.00076783 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5398-30_1_3_load_32 | 46 | 0.0072984 | 0.0018291 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5398-30_1_3_load_39 | 48 | 0.0026089 | 0.00065385 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5398-30_1_3_load_36 | 49 | 0.0054816 | 0.0013738 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5398-30_1_3_load_35 | 50 | 0.0051692 | 0.0012955 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5398-30_1_3_load_60 | 51 | 0.0019209 | 0.00048143 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5398-30_1_3_load_132 | 52 | 0.00085639 | 0.00021463 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5398-30_1_3_load_47 | 53 | 0.00096387 | 0.00024157 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5398-30_1_3_load_48 | 54 | 0.00093877 | 0.00023528 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5398-30_1_3_load_70 | 56 | 0.0042456 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5398-30_1_3_load_61 | 57 | 0.0041515 | 0.0010405 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5398-30_1_3_load_69 | 58 | 0.0018391 | 0.00046093 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5398-30_1_3_load_72 | 59 | 0.0011269 | 0.00028243 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5398-30_1_3_load_52 | 60 | 0.0041612 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5398-30_1_3_load_54 | 61 | 0.0011997 | 0.00030068 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5398-30_1_3_load_135 | 62 | 0.001697 | 0.0004253 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5398-30_1_3_load_136 | 63 | 0.00048101 | 0.00012055 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5398-30_1_3_load_137 | 64 | 0.0051493 | 0.0012905 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5398-30_1_3_load_62 | 65 | 0.0025417 | 0.000637 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5398-30_1_3_load_63 | 66 | 0.0020268 | 0.00050797 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5398-30_1_3_load_65 | 68 | 0.0033955 | 0.000851 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5398-30_1_3_load_111 | 71 | 0.0028441 | 0.0007128 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5398-30_1_3_load_74 | 72 | 0.0061258 | 0.0015353 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5398-30_1_3_load_68 | 73 | 0.0012486 | 0.00031292 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5398-30_1_3_load_112 | 74 | 0.0011241 | 0.00028174 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5398-30_1_3_load_73 | 75 | 0.0035128 | 0.00088039 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5398-30_1_3_load_75 | 76 | 0.0068872 | 0.0017261 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5398-30_1_3_load_77 | 77 | 0.010334 | 0.00259 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5398-30_1_3_load_78 | 79 | 0.028281 | 0.007088 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5398-30_1_3_load_107 | 80 | 0.0028139 | 0.00070522 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5398-30_1_3_load_108 | 81 | 0.0024927 | 0.00062472 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5398-30_1_3_load_114 | 84 | 0.0097297 | 0.0024385 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5398-30_1_3_load_113 | 85 | 0.0026496 | 0.00066406 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5398-30_1_3_load_126 | 86 | 0.0041656 | 0.001044 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5398-30_1_3_load_127 | 87 | 0.004167 | 0.0010443 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5398-30_1_3_line_0 |  | 0 | 1 | 0.031006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5398-30_1_3_line_1 |  | 1 | 2 | 0.10972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5398-30_1_3_line_2 |  | 2 | 3 | 0.049457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5398-30_1_3_line_3 |  | 2 | 4 | 0.10003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5398-30_1_3_line_4 |  | 3 | 62 | 0.032414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5398-30_1_3_line_5 |  | 4 | 5 | 0.0057519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5398-30_1_3_line_6 |  | 5 | 61 | 0.0027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5398-30_1_3_line_7 |  | 6 | 7 | 0.00010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5398-30_1_3_line_8 |  | 6 | 8 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5398-30_1_3_line_9 |  | 7 | 9 | 0.014223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5398-30_1_3_line_10 |  | 8 | 10 | 0.0091549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5398-30_1_3_line_11 |  | 8 | 11 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5398-30_1_3_line_12 |  | 9 | 12 | 0.010033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5398-30_1_3_line_13 |  | 9 | 13 | 0.016042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5398-30_1_3_line_14 |  | 10 | 14 | 0.022876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5398-30_1_3_line_15 |  | 11 | 15 | 0.022207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5398-30_1_3_line_16 |  | 12 | 16 | 0.0025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5398-30_1_3_line_17 |  | 13 | 17 | 0.022538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5398-30_1_3_line_18 |  | 14 | 18 | 0.031655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5398-30_1_3_line_19 |  | 15 | 19 | 0.02257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5398-30_1_3_line_20 |  | 16 | 20 | 0.0025487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5398-30_1_3_line_21 |  | 17 | 21 | 0.022039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5398-30_1_3_line_22 |  | 18 | 22 | 0.0029454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5398-30_1_3_line_23 |  | 20 | 24 | 0.01968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5398-30_1_3_line_24 |  | 22 | 23 | 0.031275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5398-30_1_3_line_25 |  | 23 | 39 | 0.027289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5398-30_1_3_line_26 |  | 23 | 34 | 0.021012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5398-30_1_3_line_27 |  | 24 | 25 | 0.0004223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5398-30_1_3_line_28 |  | 25 | 26 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5398-30_1_3_line_29 |  | 26 | 52 | 0.00014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5398-30_1_3_line_30 |  | 27 | 28 | 0.014142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5398-30_1_3_line_31 |  | 28 | 29 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5398-30_1_3_line_32 |  | 29 | 30 | 0.017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5398-30_1_3_line_33 |  | 30 | 45 | 0.015428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5398-30_1_3_line_34 |  | 31 | 32 | 0.047137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5398-30_1_3_line_35 |  | 31 | 33 | 0.0091393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5398-30_1_3_line_36 |  | 32 | 34 | 0.0077527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5398-30_1_3_line_37 |  | 33 | 35 | 0.015513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5398-30_1_3_line_38 |  | 33 | 36 | 0.010785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5398-30_1_3_line_39 |  | 35 | 37 | 0.02916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5398-30_1_3_line_40 |  | 36 | 38 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5398-30_1_3_line_41 |  | 37 | 40 | 0.0059901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5398-30_1_3_line_42 |  | 38 | 41 | 0.013952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5398-30_1_3_line_43 |  | 38 | 42 | 0.023908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5398-30_1_3_line_44 |  | 39 | 60 | 0.0055556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5398-30_1_3_line_45 |  | 40 | 59 | 0.10612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5398-30_1_3_line_46 |  | 41 | 51 | 0.009325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5398-30_1_3_line_47 |  | 42 | 50 | 0.00095925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5398-30_1_3_line_48 |  | 43 | 44 | 0.0064591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5398-30_1_3_line_49 |  | 43 | 45 | 0.024623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5398-30_1_3_line_50 |  | 44 | 46 | 0.016648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5398-30_1_3_line_51 |  | 45 | 47 | 0.025167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5398-30_1_3_line_52 |  | 47 | 48 | 0.025267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5398-30_1_3_line_53 |  | 47 | 49 | 0.0087112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5398-30_1_3_line_54 |  | 49 | 50 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5398-30_1_3_line_55 |  | 51 | 57 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5398-30_1_3_line_56 |  | 52 | 87 | 0.018347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5398-30_1_3_line_57 |  | 53 | 54 | 0.058925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5398-30_1_3_line_58 |  | 54 | 55 | 0.019955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5398-30_1_3_line_59 |  | 55 | 59 | 0.096673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5398-30_1_3_line_60 |  | 56 | 57 | 0.023012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5398-30_1_3_line_61 |  | 56 | 58 | 0.02769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5398-30_1_3_line_62 |  | 58 | 73 | 0.011494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5398-30_1_3_line_63 |  | 60 | 61 | 0.022934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5398-30_1_3_line_64 |  | 62 | 63 | 0.0030075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5398-30_1_3_line_65 |  | 63 | 64 | 0.022015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5398-30_1_3_line_66 |  | 65 | 66 | 0.015093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5398-30_1_3_line_67 |  | 65 | 67 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5398-30_1_3_line_68 |  | 66 | 68 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5398-30_1_3_line_69 |  | 67 | 69 | 0.015271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5398-30_1_3_line_70 |  | 67 | 70 | 0.021274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5398-30_1_3_line_71 |  | 68 | 71 | 0.00067913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5398-30_1_3_line_72 |  | 69 | 72 | 0.032828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5398-30_1_3_line_73 |  | 70 | 73 | 0.012854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5398-30_1_3_line_74 |  | 71 | 74 | 0.02359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5398-30_1_3_line_75 |  | 72 | 75 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5398-30_1_3_line_76 |  | 74 | 85 | 0.0031932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5398-30_1_3_line_77 |  | 75 | 76 | 0.054809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5398-30_1_3_line_78 |  | 75 | 77 | 0.024362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5398-30_1_3_line_79 |  | 76 | 78 | 0.045419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5398-30_1_3_line_80 |  | 78 | 79 | 0.015129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5398-30_1_3_line_81 |  | 80 | 81 | 0.024265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5398-30_1_3_line_82 |  | 81 | 82 | 0.046423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5398-30_1_3_line_83 |  | 82 | 83 | 0.013198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5398-30_1_3_line_84 |  | 83 | 84 | 0.028194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5398-30_1_3_line_85 |  | 83 | 85 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5398-30_1_3_line_86 |  | 86 | 87 | 0.02935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5398-30_1_3_trafo_29 | 0.63 MVA 20/0.4 kV | 88 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2714785.7881 | 1112469.8709 | 2714754.9698 | 1112473.2766
1 | 2714645.9151 | 1112485.3333 | 2714754.9698 | 1112473.2766
2 | 2714645.9151 | 1112485.3333 | 2714596.7624 | 1112490.8087
3 | 2714634.4737 | 1112385.9618 | 2714645.9151 | 1112485.3333
4 | 2714596.7624 | 1112490.8087 | 2714578.4247 | 1112492.8515 | 2714564.5475 | 1112494.3955
5 | 2714634.4737 | 1112385.9618 | 2714633.8569 | 1112380.2431
6 | 2714633.8569 | 1112380.2431 | 2714633.5659 | 1112377.5455
7 | 2714737.0295 | 1112299.7239 | 2714737.1361 | 1112299.7021
8 | 2714723.5093 | 1112302.4895 | 2714737.0295 | 1112299.7239
9 | 2714751.0708 | 1112296.8517 | 2714737.1361 | 1112299.7021
10 | 2714723.5093 | 1112302.4895 | 2714714.5397 | 1112304.3221
11 | 2714723.5093 | 1112302.4895 | 2714722.0714 | 1112289.5758
12 | 2714751.0708 | 1112296.8517 | 2714760.9001 | 1112294.8422
13 | 2714751.0708 | 1112296.8517 | 2714749.5328 | 1112280.8839
14 | 2714692.1268 | 1112308.9014 | 2714714.5397 | 1112304.3221
15 | 2714719.6139 | 1112267.5056 | 2714722.0714 | 1112289.5758
16 | 2714760.9001 | 1112294.8422 | 2714763.4003 | 1112294.3311
17 | 2714749.5328 | 1112280.8839 | 2714747.3719 | 1112258.4501
18 | 2714692.1268 | 1112308.9014 | 2714661.1122 | 1112315.2382
19 | 2714717.1163 | 1112245.0745 | 2714719.6139 | 1112267.5056
20 | 2714765.8974 | 1112293.8206 | 2714763.4003 | 1112294.3311
21 | 2714745.2589 | 1112236.5124 | 2714747.3719 | 1112258.4501
22 | 2714658.2264 | 1112315.8278 | 2714661.1122 | 1112315.2382
23 | 2714765.8974 | 1112293.8206 | 2714777.9497 | 1112291.3567 | 2714785.1792 | 1112289.8793
24 | 2714627.584 | 1112322.0885 | 2714658.2264 | 1112315.8278
25 | 2714627.584 | 1112322.0885 | 2714630.5105 | 1112349.2202
26 | 2714627.584 | 1112322.0885 | 2714625.31 | 1112301.2001
27 | 2714785.1792 | 1112289.8793 | 2714785.5929 | 1112289.7948
28 | 2714785.5929 | 1112289.7948 | 2714802.8099 | 1112286.2764
29 | 2714802.8099 | 1112286.2764 | 2714802.9543 | 1112286.2469
30 | 2714753.2762 | 1112178.2153 | 2714739.4359 | 1112181.1217
31 | 2714739.4359 | 1112181.1217 | 2714720.364 | 1112185.1268
32 | 2714720.364 | 1112185.1268 | 2714703.1543 | 1112188.7408
33 | 2714688.0556 | 1112191.9114 | 2714703.1543 | 1112188.7408
34 | 2714619.3695 | 1112246.6324 | 2714624.4709 | 1112293.4929
35 | 2714618.3804 | 1112237.5468 | 2714619.3695 | 1112246.6324
36 | 2714625.31 | 1112301.2001 | 2714624.4709 | 1112293.4929
37 | 2714618.3804 | 1112237.5468 | 2714603.1769 | 1112240.6284
38 | 2714618.3804 | 1112237.5468 | 2714617.2524 | 1112226.8208
39 | 2714574.5976 | 1112246.4209 | 2714603.1769 | 1112240.6284
40 | 2714615.204 | 1112207.3443 | 2714617.2524 | 1112226.8208
41 | 2714568.7269 | 1112247.6109 | 2714574.5976 | 1112246.4209
42 | 2714615.204 | 1112207.3443 | 2714613.5866 | 1112193.4864
43 | 2714615.204 | 1112207.3443 | 2714638.611 | 1112202.4741
44 | 2714631.1063 | 1112354.7437 | 2714630.5105 | 1112349.2202
45 | 2714568.7269 | 1112247.6109 | 2714500.9145 | 1112165.9852
46 | 2714613.5866 | 1112193.4864 | 2714612.5056 | 1112184.2242
47 | 2714638.611 | 1112202.4741 | 2714639.5501 | 1112202.2787
48 | 2714690.2743 | 1112216.4339 | 2714690.8563 | 1112222.8667
49 | 2714688.0556 | 1112191.9114 | 2714690.2743 | 1112216.4339
50 | 2714692.3564 | 1112239.4468 | 2714690.8563 | 1112222.8667
51 | 2714663.4036 | 1112197.3155 | 2714688.0556 | 1112191.9114
52 | 2714663.4036 | 1112197.3155 | 2714662.193 | 1112189.0093 | 2714660.2193 | 1112172.2519
53 | 2714663.4036 | 1112197.3155 | 2714654.8751 | 1112199.09
54 | 2714639.5501 | 1112202.2787 | 2714654.8751 | 1112199.09
55 | 2714612.5056 | 1112184.2242 | 2714610.4039 | 1112166.2169
56 | 2714802.9543 | 1112286.2469 | 2714820.9296 | 1112282.5735
57 | 2714391.6437 | 1112108.3234 | 2714402.5925 | 1112166.2221
58 | 2714406.3003 | 1112185.8294 | 2714402.5925 | 1112166.2221
59 | 2714406.3003 | 1112185.8294 | 2714500.9145 | 1112165.9852
60 | 2714607.7363 | 1112143.3603 | 2714610.4039 | 1112166.2169
61 | 2714607.7363 | 1112143.3603 | 2714634.6519 | 1112136.8587
62 | 2714634.6519 | 1112136.8587 | 2714645.8244 | 1112134.1599
63 | 2714631.1063 | 1112354.7437 | 2714633.5659 | 1112377.5455
64 | 2714564.5475 | 1112494.3955 | 2714561.5584 | 1112494.7281
65 | 2714539.678 | 1112497.1624 | 2714561.5584 | 1112494.7281
66 | 2714674.214 | 1112103.0527 | 2714674.3711 | 1112102.4483 | 2714677.3072 | 1112090.2178 | 2714677.7104 | 1112088.3705
67 | 2714670.4624 | 1112117.4844 | 2714674.214 | 1112103.0527
68 | 2714677.7104 | 1112088.3705 | 2714681.3022 | 1112071.9156
69 | 2714680.4257 | 1112127.5574 | 2714680.2261 | 1112126.2638 | 2714678.8463 | 1112122.8132 | 2714677.0649 | 1112120.578 | 2714674.7636 | 1112118.8667 | 2714672.1105 | 1112117.7824 | 2714670.4624 | 1112117.4844
70 | 2714658.3192 | 1112131.1417 | 2714658.0577 | 1112127.8123 | 2714658.7918 | 1112124.5462 | 2714660.4617 | 1112121.6425 | 2714662.9235 | 1112119.3653 | 2714665.9493 | 1112117.9105 | 2714669.266 | 1112117.4173 | 2714670.4624 | 1112117.4844
71 | 2714681.3022 | 1112071.9156 | 2714681.4471 | 1112071.252
72 | 2714680.4257 | 1112127.5574 | 2714712.2802 | 1112119.6227
73 | 2714658.3192 | 1112131.1417 | 2714645.8244 | 1112134.1599
74 | 2714681.4471 | 1112071.252 | 2714683.6614 | 1112061.1074 | 2714686.021 | 1112048.1133
75 | 2714729.8139 | 1112115.2552 | 2714712.2802 | 1112119.6227
76 | 2714686.021 | 1112048.1133 | 2714686.5915 | 1112044.9715
77 | 2714729.8139 | 1112115.2552 | 2714748.6251 | 1112110.5695 | 2714756.3442 | 1112108.97 | 2714783.3092 | 1112103.3701
78 | 2714729.8139 | 1112115.2552 | 2714738.5427 | 1112092.511
79 | 2714827.7797 | 1112094.1346 | 2714783.3092 | 1112103.3701
80 | 2714824.6135 | 1112079.3425 | 2714827.7797 | 1112094.1346
81 | 2714620.522 | 1112020.966 | 2714636.0468 | 1112020.5466 | 2714644.7795 | 1112020.3843
82 | 2714691.1946 | 1112019.522 | 2714644.7795 | 1112020.3843
83 | 2714688.8547 | 1112032.5086 | 2714689.5193 | 1112028.8299 | 2714690.4176 | 1112023.8324 | 2714691.1946 | 1112019.522
84 | 2714688.8547 | 1112032.5086 | 2714717.0201 | 1112031.2311
85 | 2714688.8547 | 1112032.5086 | 2714686.5915 | 1112044.9715
86 | 2714820.9296 | 1112282.5735 | 2714849.685 | 1112276.6971

## bus_geodata
| x | y | coords
0 | 2714785.7881 | 1112469.8709
1 | 2714754.9698 | 1112473.2766
2 | 2714645.9151 | 1112485.3333
3 | 2714596.7624 | 1112490.8087
4 | 2714634.4737 | 1112385.9618
5 | 2714633.8569 | 1112380.2431
6 | 2714737.0295 | 1112299.7239
7 | 2714737.1361 | 1112299.7021
8 | 2714723.5093 | 1112302.4895
9 | 2714751.0708 | 1112296.8517
10 | 2714714.5397 | 1112304.3221
11 | 2714722.0714 | 1112289.5758
12 | 2714760.9001 | 1112294.8422
13 | 2714749.5328 | 1112280.8839
14 | 2714692.1268 | 1112308.9014
15 | 2714719.6139 | 1112267.5056
16 | 2714763.4003 | 1112294.3311
17 | 2714747.3719 | 1112258.4501
18 | 2714661.1122 | 1112315.2382
19 | 2714717.1163 | 1112245.0745
20 | 2714765.8974 | 1112293.8206
21 | 2714745.2589 | 1112236.5124
22 | 2714658.2264 | 1112315.8278
23 | 2714627.584 | 1112322.0885
24 | 2714785.1792 | 1112289.8793
25 | 2714785.5929 | 1112289.7948
26 | 2714802.8099 | 1112286.2764
27 | 2714753.2762 | 1112178.2153
28 | 2714739.4359 | 1112181.1218
29 | 2714720.364 | 1112185.1268
30 | 2714703.1543 | 1112188.7408
31 | 2714619.3695 | 1112246.6324
32 | 2714624.4709 | 1112293.4929
33 | 2714618.3804 | 1112237.5468
34 | 2714625.31 | 1112301.2001
35 | 2714603.1769 | 1112240.6284
36 | 2714617.2524 | 1112226.8208
37 | 2714574.5976 | 1112246.421
38 | 2714615.204 | 1112207.3443
39 | 2714630.5105 | 1112349.2202
40 | 2714568.7269 | 1112247.6108
41 | 2714613.5866 | 1112193.4864
42 | 2714638.611 | 1112202.4741
43 | 2714690.2743 | 1112216.4339
44 | 2714690.8563 | 1112222.8667
45 | 2714688.0556 | 1112191.9114
46 | 2714692.3564 | 1112239.4468
47 | 2714663.4036 | 1112197.3155
48 | 2714660.2193 | 1112172.2519
49 | 2714654.8751 | 1112199.09
50 | 2714639.5501 | 1112202.2787
51 | 2714612.5056 | 1112184.2242
52 | 2714802.9543 | 1112286.2469
53 | 2714391.6437 | 1112108.3234
54 | 2714402.5925 | 1112166.2221
55 | 2714406.3003 | 1112185.8294
56 | 2714607.7363 | 1112143.3603
57 | 2714610.4039 | 1112166.2169
58 | 2714634.6519 | 1112136.8587
59 | 2714500.9145 | 1112165.9852
60 | 2714631.1063 | 1112354.7437
61 | 2714633.5659 | 1112377.5455
62 | 2714564.5475 | 1112494.3955
63 | 2714561.5584 | 1112494.7281
64 | 2714539.678 | 1112497.1624
65 | 2714674.214 | 1112103.0527
66 | 2714677.7104 | 1112088.3705
67 | 2714670.4624 | 1112117.4844
68 | 2714681.3022 | 1112071.9156
69 | 2714680.4257 | 1112127.5574
70 | 2714658.3192 | 1112131.1417
71 | 2714681.4471 | 1112071.252
72 | 2714712.2802 | 1112119.6227
73 | 2714645.8244 | 1112134.1599
74 | 2714686.021 | 1112048.1133
75 | 2714729.8139 | 1112115.2552
76 | 2714783.3092 | 1112103.3701
77 | 2714738.5427 | 1112092.511
78 | 2714827.7797 | 1112094.1346
79 | 2714824.6135 | 1112079.3425
80 | 2714620.522 | 1112020.966
81 | 2714644.7795 | 1112020.3843
82 | 2714691.1946 | 1112019.522
83 | 2714688.8547 | 1112032.5086
84 | 2714717.0201 | 1112031.2311
85 | 2714686.5915 | 1112044.9715
86 | 2714849.685 | 1112276.6971
87 | 2714820.9296 | 1112282.5735
88 | 2714692.3564 | 1112239.4468

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1