## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5398-8_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5398-8_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5398-8_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5398-8_0_8_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5398-8_0_8_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5398-8_0_8_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5398-8_0_8_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_5398-8_0_8_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5398-8_0_8_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5398-8_0_8_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_5398-8_0_8_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5398-8_0_8_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_5398-8_0_8_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5398-8_0_8_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5398-8_0_8_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5398-8_0_8_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_5398-8_0_8_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_5398-8_0_8_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5398-8_0_8_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_5398-8_0_8_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5398-8_0_8_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5398-8_0_8_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5398-8_0_8_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5398-8_0_8_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_5398-8_0_8_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_5398-8_0_8_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_5398-8_0_8_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_5398-8_0_8_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_5398-8_0_8_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5398-8_0_8_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5398-8_0_8_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5398-8_0_8_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5398-8_0_8_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5398-8_0_8_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5398-8_0_8_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5398-8_0_8_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5398-8_0_8_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5398-8_0_8_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5398-8_0_8_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5398-8_0_8_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5398-8_0_8_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5398-8_0_8_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_5398-8_0_8_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5398-8_0_8_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_5398-8_0_8_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5398-8_0_8_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_5398-8_0_8_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_5398-8_0_8_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5398-8_0_8_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_5398-8_0_8_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_5398-8_0_8_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_5398-8_0_8_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_5398-8_0_8_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_5398-8_0_8_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_5398-8_0_8_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_5398-8_0_8_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_5398-8_0_8_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_5398-8_0_8_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_5398-8_0_8_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_5398-8_0_8_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_5398-8_0_8_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_5398-8_0_8_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_5398-8_0_8_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_5398-8_0_8_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_5398-8_0_8_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_5398-8_0_8_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5398-8_0_8_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_5398-8_0_8_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5398-8_0_8_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5398-8_0_8_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5398-8_0_8_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_5398-8_0_8_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5398-8_0_8_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_5398-8_0_8_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_5398-8_0_8_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_5398-8_0_8_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_5398-8_0_8_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5398-8_0_8_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5398-8_0_8_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_5398-8_0_8_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5398-8_0_8_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_5398-8_0_8_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_5398-8_0_8_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_5398-8_0_8_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5398-8_0_8_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_5398-8_0_8_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_5398-8_0_8_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_5398-8_0_8_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_5398-8_0_8_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_5398-8_0_8_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_5398-8_0_8_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_5398-8_0_8_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_5398-8_0_8_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_5398-8_0_8_node_102 | 0.4 | n |  | TRUE
94 | bus_LV_5398-8_0_8_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_5398-8_0_8_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_5398-8_0_8_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_5398-8_0_8_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_5398-8_0_8_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_5398-8_0_8_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_5398-8_0_8_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_5398-8_0_8_node_98 | 0.4 | n |  | TRUE
102 | bus_MV_72_2_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5398-8_0_8_load_0 | 0 | 0.0032451 | 0.0008133 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5398-8_0_8_load_5 | 4 | 0.0035057 | 0.00087861 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5398-8_0_8_load_6 | 5 | 0.004159 | 0.0010423 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5398-8_0_8_load_13 | 6 | 0.0030003 | 0.00075195 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5398-8_0_8_load_34 | 9 | 0.0056911 | 0.0014263 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5398-8_0_8_load_10 | 10 | 0.0042119 | 0.0010556 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5398-8_0_8_load_39 | 11 | 0.0022877 | 0.00057334 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5398-8_0_8_load_12 | 13 | 0.0066216 | 0.0016595 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5398-8_0_8_load_36 | 16 | 0.0078889 | 0.0019771 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5398-8_0_8_load_20 | 21 | 0.0046314 | 0.0011607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5398-8_0_8_load_31 | 23 | 0.0026529 | 0.00066487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5398-8_0_8_load_35 | 24 | 0.002851 | 0.00071454 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5398-8_0_8_load_44 | 25 | 0.0069084 | 0.0017314 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5398-8_0_8_load_40 | 26 | 0.0040482 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5398-8_0_8_load_16 | 28 | 0.0043262 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5398-8_0_8_load_19 | 31 | 0.0052515 | 0.0013161 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5398-8_0_8_load_21 | 32 | 0.0046387 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5398-8_0_8_load_24 | 34 | 0.0027454 | 0.00068807 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5398-8_0_8_load_25 | 35 | 0.004496 | 0.0011268 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5398-8_0_8_load_30 | 36 | 0.0038499 | 0.00096488 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5398-8_0_8_load_33 | 37 | 0.013701 | 0.0034338 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5398-8_0_8_load_28 | 38 | 0.011587 | 0.0029039 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5398-8_0_8_load_26 | 39 | 0.012124 | 0.0030385 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5398-8_0_8_load_27 | 40 | 0.0051842 | 0.0012993 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5398-8_0_8_load_43 | 41 | 0.0061491 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5398-8_0_8_load_45 | 43 | 0.001474 | 0.00036943 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5398-8_0_8_load_42 | 44 | 0.0052056 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5398-8_0_8_load_62 | 45 | 0.0034639 | 0.00086813 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5398-8_0_8_load_57 | 46 | 0.0035262 | 0.00088376 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5398-8_0_8_load_46 | 47 | 0.0013352 | 0.00033464 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5398-8_0_8_load_47 | 48 | 0.0044426 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5398-8_0_8_load_48 | 49 | 0.0018517 | 0.00046407 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5398-8_0_8_load_49 | 50 | 0.0048881 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5398-8_0_8_load_50 | 51 | 0.0013161 | 0.00032983 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5398-8_0_8_load_51 | 52 | 0.0019692 | 0.00049353 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5398-8_0_8_load_52 | 53 | 0.0065387 | 0.0016388 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5398-8_0_8_load_53 | 54 | 0.0040748 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5398-8_0_8_load_56 | 56 | 0.0031568 | 0.00079117 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5398-8_0_8_load_61 | 57 | 0.0041339 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5398-8_0_8_load_60 | 59 | 0.0043044 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5398-8_0_8_load_104 | 61 | 0.0031824 | 0.00079758 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5398-8_0_8_load_63 | 62 | 0.0075839 | 0.0019007 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5398-8_0_8_load_75 | 64 | 0.019559 | 0.0049019 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5398-8_0_8_load_65 | 65 | 0.0088813 | 0.0022259 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5398-8_0_8_load_84 | 66 | 0.008465 | 0.0021215 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5398-8_0_8_load_66 | 67 | 0.0088112 | 0.0022083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5398-8_0_8_load_67 | 68 | 0.0072088 | 0.0018067 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5398-8_0_8_load_68 | 69 | 0.0074225 | 0.0018603 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5398-8_0_8_load_69 | 70 | 0.0093219 | 0.0023363 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5398-8_0_8_load_87 | 74 | 0.0031717 | 0.00079492 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5398-8_0_8_load_101 | 75 | 0.0069555 | 0.0017432 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5398-8_0_8_load_72 | 76 | 0.0047481 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5398-8_0_8_load_73 | 77 | 0.0026757 | 0.00067059 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5398-8_0_8_load_80 | 79 | 0.0015642 | 0.00039202 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5398-8_0_8_load_76 | 80 | 0.0029463 | 0.00073841 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5398-8_0_8_load_79 | 81 | 0.002625 | 0.00065788 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5398-8_0_8_load_82 | 82 | 0.0021653 | 0.00054268 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5398-8_0_8_load_81 | 83 | 0.0028988 | 0.0007265 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5398-8_0_8_load_83 | 84 | 0.0023728 | 0.00059468 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5398-8_0_8_load_77 | 85 | 0.0022741 | 0.00056994 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5398-8_0_8_load_85 | 86 | 0.015778 | 0.0039544 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5398-8_0_8_load_78 | 87 | 0.0033658 | 0.00084355 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5398-8_0_8_load_86 | 88 | 0.0031005 | 0.00077705 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5398-8_0_8_load_100 | 89 | 0.0024876 | 0.00062344 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5398-8_0_8_load_89 | 90 | 0.010416 | 0.0026105 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5398-8_0_8_load_90 | 91 | 0.0015678 | 0.00039292 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5398-8_0_8_load_99 | 94 | 0.007059 | 0.0017692 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5398-8_0_8_load_92 | 95 | 0.013888 | 0.0034808 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5398-8_0_8_load_93 | 96 | 0.0043187 | 0.0010824 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5398-8_0_8_load_94 | 97 | 0.0076783 | 0.0019244 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5398-8_0_8_load_95 | 98 | 0.0067155 | 0.0016831 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5398-8_0_8_load_96 | 99 | 0.0056276 | 0.0014104 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5398-8_0_8_load_97 | 100 | 0.0029251 | 0.00073309 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5398-8_0_8_load_98 | 101 | 0.0087187 | 0.0021851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 98 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5398-8_0_8_line_0 |  | 0 | 1 | 0.0064234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5398-8_0_8_line_1 |  | 1 | 2 | 0.008414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5398-8_0_8_line_2 |  | 2 | 6 | 0.0076592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5398-8_0_8_line_3 |  | 3 | 4 | 0.0015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5398-8_0_8_line_4 |  | 3 | 5 | 0.0081239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5398-8_0_8_line_5 |  | 4 | 10 | 0.0093005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5398-8_0_8_line_6 |  | 5 | 11 | 0.006293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5398-8_0_8_line_7 |  | 6 | 22 | 0.0045075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5398-8_0_8_line_8 |  | 7 | 8 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5398-8_0_8_line_9 |  | 7 | 9 | 0.0052515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5398-8_0_8_line_10 |  | 8 | 23 | 0.0098204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5398-8_0_8_line_11 |  | 8 | 12 | 0.003706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5398-8_0_8_line_12 |  | 9 | 24 | 0.0011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5398-8_0_8_line_13 |  | 10 | 12 | 0.0071937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5398-8_0_8_line_14 |  | 11 | 14 | 0.00212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5398-8_0_8_line_15 |  | 12 | 13 | 0.0078694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5398-8_0_8_line_16 |  | 13 | 17 | 0.0014796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5398-8_0_8_line_17 |  | 14 | 15 | 0.014958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5398-8_0_8_line_18 |  | 14 | 16 | 0.0039445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5398-8_0_8_line_19 |  | 15 | 25 | 0.0048702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5398-8_0_8_line_20 |  | 17 | 18 | 0.009206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5398-8_0_8_line_21 |  | 18 | 26 | 0.015209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5398-8_0_8_line_22 |  | 19 | 20 | 0.010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5398-8_0_8_line_23 |  | 19 | 21 | 0.0081715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5398-8_0_8_line_24 |  | 20 | 31 | 0.0086524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5398-8_0_8_line_25 |  | 20 | 28 | 0.0080144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5398-8_0_8_line_26 |  | 22 | 28 | 0.0080016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5398-8_0_8_line_27 |  | 23 | 27 | 0.026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5398-8_0_8_line_28 |  | 24 | 29 | 0.0057437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5398-8_0_8_line_29 |  | 25 | 43 | 0.014713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5398-8_0_8_line_30 |  | 27 | 37 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5398-8_0_8_line_31 |  | 29 | 30 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5398-8_0_8_line_32 |  | 30 | 31 | 0.0063806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5398-8_0_8_line_33 |  | 30 | 32 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5398-8_0_8_line_34 |  | 32 | 33 | 0.012743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5398-8_0_8_line_35 |  | 33 | 34 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5398-8_0_8_line_36 |  | 33 | 35 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5398-8_0_8_line_37 |  | 35 | 36 | 0.014379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5398-8_0_8_line_38 |  | 36 | 38 | 0.036606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5398-8_0_8_line_39 |  | 37 | 41 | 0.027976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5398-8_0_8_line_40 |  | 38 | 39 | 0.0050166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5398-8_0_8_line_41 |  | 39 | 40 | 0.032146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5398-8_0_8_line_42 |  | 41 | 42 | 0.0061089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5398-8_0_8_line_43 |  | 42 | 44 | 0.0097675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5398-8_0_8_line_44 |  | 43 | 47 | 0.0017897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5398-8_0_8_line_45 |  | 44 | 45 | 0.0016092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5398-8_0_8_line_46 |  | 45 | 46 | 0.012849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5398-8_0_8_line_47 |  | 46 | 55 | 0.013075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5398-8_0_8_line_48 |  | 47 | 48 | 0.00040182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5398-8_0_8_line_49 |  | 48 | 49 | 0.0084997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5398-8_0_8_line_50 |  | 49 | 50 | 0.034805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5398-8_0_8_line_51 |  | 50 | 51 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5398-8_0_8_line_52 |  | 51 | 52 | 0.0081907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5398-8_0_8_line_53 |  | 53 | 54 | 0.019182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5398-8_0_8_line_54 |  | 53 | 55 | 0.038246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5398-8_0_8_line_55 |  | 55 | 56 | 0.011615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5398-8_0_8_line_56 |  | 56 | 57 | 0.00073796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5398-8_0_8_line_57 |  | 57 | 59 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5398-8_0_8_line_58 |  | 58 | 59 | 0.0042972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5398-8_0_8_line_59 |  | 58 | 60 | 0.068152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5398-8_0_8_line_60 |  | 60 | 61 | 0.065234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5398-8_0_8_line_61 |  | 61 | 92 | 0.037128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5398-8_0_8_line_62 |  | 62 | 63 | 0.0048487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5398-8_0_8_line_63 |  | 62 | 64 | 0.036776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5398-8_0_8_line_64 |  | 63 | 65 | 0.00038403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5398-8_0_8_line_65 |  | 64 | 66 | 0.064606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5398-8_0_8_line_66 |  | 65 | 67 | 0.026175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5398-8_0_8_line_67 |  | 66 | 84 | 0.032102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5398-8_0_8_line_68 |  | 67 | 68 | 0.0051004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5398-8_0_8_line_69 |  | 68 | 69 | 0.034411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5398-8_0_8_line_70 |  | 69 | 70 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_5398-8_0_8_line_71 |  | 70 | 71 | 0.055968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5398-8_0_8_line_72 |  | 71 | 72 | 0.035892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5398-8_0_8_line_73 |  | 72 | 73 | 0.011491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5398-8_0_8_line_74 |  | 72 | 74 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5398-8_0_8_line_75 |  | 73 | 75 | 0.071007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5398-8_0_8_line_76 |  | 75 | 89 | 0.018752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5398-8_0_8_line_77 |  | 76 | 77 | 0.024807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5398-8_0_8_line_78 |  | 77 | 78 | 0.010319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5398-8_0_8_line_79 |  | 77 | 79 | 0.048786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5398-8_0_8_line_80 |  | 78 | 80 | 0.022119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5398-8_0_8_line_81 |  | 79 | 81 | 0.0029159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5398-8_0_8_line_82 |  | 80 | 85 | 0.0019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5398-8_0_8_line_83 |  | 81 | 82 | 0.047867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5398-8_0_8_line_84 |  | 82 | 84 | 0.042173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5398-8_0_8_line_85 |  | 82 | 83 | 0.024829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5398-8_0_8_line_86 |  | 84 | 86 | 0.051006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5398-8_0_8_line_87 |  | 85 | 87 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5398-8_0_8_line_88 |  | 87 | 88 | 0.0065453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5398-8_0_8_line_89 |  | 89 | 99 | 0.041204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_5398-8_0_8_line_90 |  | 90 | 91 | 0.017459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5398-8_0_8_line_91 |  | 91 | 92 | 0.0051882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5398-8_0_8_line_92 |  | 92 | 93 | 0.062751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_5398-8_0_8_line_93 |  | 93 | 94 | 0.051059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_5398-8_0_8_line_94 |  | 94 | 101 | 0.023673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_5398-8_0_8_line_95 |  | 95 | 96 | 0.034786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_5398-8_0_8_line_96 |  | 95 | 97 | 0.040243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_5398-8_0_8_line_97 |  | 96 | 98 | 0.032639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_5398-8_0_8_line_98 |  | 97 | 99 | 0.020668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_5398-8_0_8_line_99 |  | 98 | 100 | 0.03151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_5398-8_0_8_line_100 |  | 100 | 101 | 0.0048711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5398-8_0_8_trafo_95 | 0.63 MVA 20/0.4 kV | 102 | 98 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2704113.3804 | 1108870.9737 | 2704106.965 | 1108871.2933
1 | 2704113.3804 | 1108870.9737 | 2704115.6165 | 1108870.8676 | 2704121.8016 | 1108871.3073
2 | 2704121.8016 | 1108871.3073 | 2704122.1569 | 1108863.6564
3 | 2704099.8531 | 1108856.4434 | 2704101.3342 | 1108856.1798
4 | 2704099.8531 | 1108856.4434 | 2704098.7674 | 1108856.636 | 2704091.8302 | 1108857.7189
5 | 2704101.3342 | 1108856.1798 | 2704101.3342 | 1108856.1798 | 2704102.0418 | 1108852.345 | 2704103.2476 | 1108847.0804
6 | 2704091.8302 | 1108857.7189 | 2704085.6125 | 1108858.6894
7 | 2704122.3659 | 1108859.1537 | 2704122.1569 | 1108863.6564
8 | 2704104.8326 | 1108837.0387 | 2704116.5986 | 1108839.7868
9 | 2704116.5986 | 1108839.7868 | 2704119.1998 | 1108839.131 | 2704121.6834 | 1108839.7877
10 | 2704104.8326 | 1108837.0387 | 2704108.6384 | 1108827.9857
11 | 2704104.8326 | 1108837.0387 | 2704103.5591 | 1108840.519
12 | 2704121.6834 | 1108839.7877 | 2704122.7747 | 1108840.0763
13 | 2704103.5591 | 1108840.519 | 2704104.5658 | 1108841.3257 | 2704103.2476 | 1108847.0804
14 | 2704084.8034 | 1108856.7299 | 2704085.6125 | 1108858.6894
15 | 2704103.5591 | 1108840.519 | 2704102.6516 | 1108839.7919 | 2704096.0079 | 1108840.7077
16 | 2704094.7015 | 1108841.2898 | 2704095.3361 | 1108840.8004 | 2704096.0079 | 1108840.7077
17 | 2704070.2427 | 1108860.06 | 2704077.2237 | 1108859.1681 | 2704084.8034 | 1108856.7299
18 | 2704084.8034 | 1108856.7299 | 2704084.254 | 1108855.4085 | 2704084.0496 | 1108852.9034
19 | 2704070.2427 | 1108860.06 | 2704066.6249 | 1108860.4871 | 2704065.4018 | 1108860.588
20 | 2704085.6485 | 1108839.4777 | 2704094.7015 | 1108841.2898
21 | 2704085.6485 | 1108839.4777 | 2704083.4405 | 1108824.4302
22 | 2704138.1016 | 1108862.1368 | 2704136.7926 | 1108872.6321
23 | 2704136.7926 | 1108872.6321 | 2704144.817 | 1108874.1755
24 | 2704138.1016 | 1108862.1368 | 2704140.5819 | 1108853.8475
25 | 2704138.1016 | 1108862.1368 | 2704130.2275 | 1108860.644
26 | 2704122.3659 | 1108859.1537 | 2704130.2275 | 1108860.644
27 | 2704126.3372 | 1108818.7849 | 2704120.3413 | 1108823.5295 | 2704112.5545 | 1108818.6705 | 2704108.6384 | 1108827.9857
28 | 2704128.3275 | 1108841.5447 | 2704122.7747 | 1108840.0763
29 | 2704065.4018 | 1108860.588 | 2704053.4634 | 1108861.5732 | 2704050.733 | 1108861.7128
30 | 2704126.3372 | 1108818.7849 | 2704116.1791 | 1108810.0194
31 | 2704128.3275 | 1108841.5447 | 2704140.5092 | 1108845.7454 | 2704142.5232 | 1108847.7701
32 | 2704142.5232 | 1108847.7701 | 2704141.2922 | 1108851.4736 | 2704140.5819 | 1108853.8475
33 | 2704142.5232 | 1108847.7701 | 2704154.9255 | 1108860.2799
34 | 2704163.0571 | 1108850.4688 | 2704154.9255 | 1108860.2799
35 | 2704163.0571 | 1108850.4688 | 2704153.567 | 1108842.2802
36 | 2704163.0571 | 1108850.4688 | 2704179.4461 | 1108864.6096
37 | 2704179.4461 | 1108864.6096 | 2704184.6851 | 1108869.1299 | 2704190.2319 | 1108874.117
38 | 2704190.2319 | 1108874.117 | 2704217.4529 | 1108898.5911
39 | 2704093.8727 | 1108793.4532 | 2704100.9911 | 1108796.9137 | 2704116.1791 | 1108810.0194
40 | 2704217.4529 | 1108898.5911 | 2704221.1834 | 1108901.9452
41 | 2704221.1834 | 1108901.9452 | 2704237.37 | 1108916.4985 | 2704244.0774 | 1108922.5287 | 2704245.0882 | 1108923.4377
42 | 2704088.3785 | 1108790.7823 | 2704093.8727 | 1108793.4532
43 | 2704088.3785 | 1108790.7823 | 2704079.5926 | 1108786.5148
44 | 2704050.733 | 1108861.7128 | 2704048.9456 | 1108861.8042
45 | 2704079.5926 | 1108786.5148 | 2704078.1452 | 1108785.8117
46 | 2704066.5875 | 1108780.1978 | 2704078.1452 | 1108785.8117
47 | 2704054.8265 | 1108774.4852 | 2704066.5875 | 1108780.1978
48 | 2704048.5443 | 1108861.8248 | 2704048.9456 | 1108861.8042
49 | 2704040.0557 | 1108862.2589 | 2704048.5443 | 1108861.8248
50 | 2704040.0557 | 1108862.2589 | 2704035.3954 | 1108862.4973 | 2704029.0996 | 1108860.8549 | 2704025.5752 | 1108860.7945 | 2704013.5382 | 1108858.0752 | 2704006.3259 | 1108855.1932
51 | 2704006.3259 | 1108855.1932 | 2703997.7819 | 1108851.7789 | 2703995.4927 | 1108850.7084
52 | 2703988.0731 | 1108847.2388 | 2703995.4927 | 1108850.7084
53 | 2704048.094 | 1108808.6853 | 2704036.5463 | 1108811.1953 | 2704029.2045 | 1108810.6107
54 | 2704054.8265 | 1108774.4852 | 2704051.578 | 1108784.0245 | 2704051.4399 | 1108792.0717 | 2704051.9185 | 1108796.1715 | 2704053.5032 | 1108799.334 | 2704051.7173 | 1108807.8977 | 2704048.094 | 1108808.6853
55 | 2704054.8265 | 1108774.4852 | 2704044.1842 | 1108769.8323
56 | 2704044.1842 | 1108769.8323 | 2704043.508 | 1108769.5367
57 | 2704029.251 | 1108763.3034 | 2704043.508 | 1108769.5367
58 | 2704025.3136 | 1108761.582 | 2704029.251 | 1108763.3034
59 | 2704025.3136 | 1108761.582 | 2704000.4793 | 1108698.1156
60 | 2704000.4793 | 1108698.1156 | 2704019.1759 | 1108708.7985 | 2704033.7272 | 1108708.2921 | 2704038.9102 | 1108709.9154 | 2704042.5946 | 1108713.2696 | 2704044.7797 | 1108715.2417 | 2704049.3473 | 1108719.3893 | 2704059.1147 | 1108719.2234
61 | 2704082.7613 | 1108690.5995 | 2704059.1147 | 1108719.2234
62 | 2704301.5029 | 1108779.1904 | 2704305.8866 | 1108781.2625
63 | 2704305.8866 | 1108781.2625 | 2704337.3132 | 1108762.1618
64 | 2704301.1669 | 1108779.0046 | 2704301.5029 | 1108779.1904
65 | 2704337.3132 | 1108762.1618 | 2704354.6157 | 1108699.9159
66 | 2704301.1669 | 1108779.0046 | 2704283.9652 | 1108769.4938 | 2704278.1838 | 1108766.482
67 | 2704351.047 | 1108668.6012 | 2704350.6917 | 1108689.6343 | 2704352.1074 | 1108694.9732 | 2704354.6157 | 1108699.9159
68 | 2704278.1838 | 1108766.482 | 2704273.6603 | 1108764.1256
69 | 2704273.6603 | 1108764.1256 | 2704243.9281 | 1108748.6369 | 2704243.159 | 1108748.1962
70 | 2704243.159 | 1108748.1962 | 2704236.0655 | 1108744.1323 | 2704229.851 | 1108738.6553
71 | 2704193.16 | 1108703.4692 | 2704205.8998 | 1108704.9001 | 2704215.1409 | 1108709.7174 | 2704219.9777 | 1108716.6383 | 2704223.4944 | 1108726.5939 | 2704225.9295 | 1108732.9065 | 2704229.851 | 1108738.6553
72 | 2704193.16 | 1108703.4692 | 2704190.8207 | 1108706.8757 | 2704188.5947 | 1108711.3403 | 2704181.9123 | 1108710.1359 | 2704176.0278 | 1108709.7457 | 2704173.7865 | 1108710.5967 | 2704173.4813 | 1108713.5156 | 2704169.8401 | 1108712.5969 | 2704166.5654 | 1108716.4543
73 | 2704175.8734 | 1108723.2295 | 2704166.5654 | 1108716.4543
74 | 2704166.5654 | 1108716.4543 | 2704158.9146 | 1108708.6179 | 2704157.2209 | 1108706.7649
75 | 2704175.8734 | 1108723.2295 | 2704187.2122 | 1108727.905 | 2704191.5089 | 1108731.6145 | 2704195.0469 | 1108736.7341 | 2704196.1696 | 1108742.0345 | 2704197.4995 | 1108756.878 | 2704201.7033 | 1108767.7905 | 2704205.9462 | 1108776.4245 | 2704208.5578 | 1108780.9291
76 | 2704219.3136 | 1108796.2391 | 2704212.0207 | 1108786.9022 | 2704208.5578 | 1108780.9291
77 | 2704267.8242 | 1108720.601 | 2704263.1247 | 1108710.8759 | 2704258.4734 | 1108697.6652 | 2704258.4734 | 1108697.6652
78 | 2704250.2956 | 1108697.1021 | 2704253.1821 | 1108694.6946 | 2704255.9091 | 1108694.8194 | 2704258.4734 | 1108697.6652
79 | 2704258.4734 | 1108697.6652 | 2704305.7955 | 1108685.8046
80 | 2704250.2956 | 1108697.1021 | 2704235.4178 | 1108680.7347
81 | 2704305.357 | 1108682.9219 | 2704305.7955 | 1108685.8046
82 | 2704235.4178 | 1108680.7347 | 2704234.1017 | 1108679.2867
83 | 2704326.185 | 1108639.8237 | 2704305.357 | 1108682.9219
84 | 2704351.047 | 1108668.6012 | 2704351.1088 | 1108664.9478 | 2704350.334 | 1108657.8522 | 2704348.7169 | 1108653.4327 | 2704344.0943 | 1108648.45 | 2704326.185 | 1108639.8237
85 | 2704303.8153 | 1108629.0489 | 2704326.185 | 1108639.8237
86 | 2704351.047 | 1108668.6012 | 2704389.5057 | 1108635.0965
87 | 2704234.1017 | 1108679.2867 | 2704219.6271 | 1108663.3628
88 | 2704215.2245 | 1108658.5194 | 2704219.6271 | 1108663.3628
89 | 2704219.3136 | 1108796.2391 | 2704226.4391 | 1108805.3617 | 2704241.2988 | 1108825.5744 | 2704244.3456 | 1108828.9425
90 | 2704103.1406 | 1108680.7206 | 2704087.4299 | 1108688.3364
91 | 2704082.7613 | 1108690.5995 | 2704087.4299 | 1108688.3364
92 | 2704082.7613 | 1108690.5995 | 2704083.5033 | 1108693.314 | 2704083.3185 | 1108696.4239 | 2704081.8146 | 1108698.9108 | 2704075.8845 | 1108706.1248 | 2704074.5146 | 1108708.9142 | 2704073.7726 | 1108711.6032 | 2704074.0588 | 1108716.0999 | 2704078.2265 | 1108720.5743 | 2704085.8482 | 1108726.5088 | 2704101.8507 | 1108735.5892
93 | 2704101.8507 | 1108735.5892 | 2704108.3463 | 1108739.5587 | 2704125.4555 | 1108749.4698 | 2704133.3111 | 1108754.3855 | 2704141.3655 | 1108758.5264 | 2704146.5531 | 1108759.8358
94 | 2704168.6061 | 1108767.7777 | 2704161.9265 | 1108763.716 | 2704146.5531 | 1108759.8358
95 | 2704241.3716 | 1108840.0838 | 2704236.9204 | 1108835.6167 | 2704223.8113 | 1108826.4523 | 2704214.5491 | 1108818.0814
96 | 2704241.3716 | 1108840.0838 | 2704244.9233 | 1108843.6482 | 2704253.7562 | 1108852.8615 | 2704256.3608 | 1108854.2515 | 2704259.2926 | 1108854.6021 | 2704262.1154 | 1108853.65 | 2704263.6683 | 1108851.4642 | 2704264.2001 | 1108848.8606 | 2704263.2161 | 1108844.9412 | 2704260.1256 | 1108842.1201
97 | 2704214.5491 | 1108818.0814 | 2704206.3549 | 1108810.6757 | 2704194.0869 | 1108801.1478 | 2704189.7769 | 1108796.886
98 | 2704260.1256 | 1108842.1201 | 2704260.0877 | 1108842.0856 | 2704253.7374 | 1108837.7626 | 2704249.0224 | 1108834.1125 | 2704244.3456 | 1108828.9425
99 | 2704189.7769 | 1108796.886 | 2704184.2803 | 1108791.4509 | 2704176.6212 | 1108776.4542 | 2704171.9114 | 1108771.3558
100 | 2704171.9114 | 1108771.3558 | 2704168.6061 | 1108767.7777 | 2704168.6061 | 1108767.7777

## bus_geodata
| x | y | coords
0 | 2704106.965 | 1108871.2933
1 | 2704113.3804 | 1108870.9737
2 | 2704121.8016 | 1108871.3073
3 | 2704099.8531 | 1108856.4434
4 | 2704101.3342 | 1108856.1798
5 | 2704091.8302 | 1108857.7189
6 | 2704122.1569 | 1108863.6564
7 | 2704116.5986 | 1108839.7868
8 | 2704104.8326 | 1108837.0387
9 | 2704121.6834 | 1108839.7877
10 | 2704103.2476 | 1108847.0804
11 | 2704085.6125 | 1108858.6894
12 | 2704103.5591 | 1108840.519
13 | 2704096.0079 | 1108840.7077
14 | 2704084.8034 | 1108856.7299
15 | 2704070.2427 | 1108860.06
16 | 2704084.0496 | 1108852.9034
17 | 2704094.7015 | 1108841.2898
18 | 2704085.6485 | 1108839.4777
19 | 2704136.7926 | 1108872.6321
20 | 2704138.1016 | 1108862.1368
21 | 2704144.817 | 1108874.1755
22 | 2704122.3659 | 1108859.1537
23 | 2704108.6384 | 1108827.9857
24 | 2704122.7747 | 1108840.0763
25 | 2704065.4018 | 1108860.588
26 | 2704083.4405 | 1108824.4302
27 | 2704126.3372 | 1108818.7849
28 | 2704130.2275 | 1108860.644
29 | 2704128.3275 | 1108841.5447
30 | 2704142.5232 | 1108847.7701
31 | 2704140.5819 | 1108853.8475
32 | 2704154.9255 | 1108860.2799
33 | 2704163.0571 | 1108850.4688
34 | 2704153.567 | 1108842.2802
35 | 2704179.4461 | 1108864.6096
36 | 2704190.2319 | 1108874.117
37 | 2704116.1791 | 1108810.0194
38 | 2704217.4529 | 1108898.5911
39 | 2704221.1834 | 1108901.9452
40 | 2704245.0882 | 1108923.4377
41 | 2704093.8727 | 1108793.4532
42 | 2704088.3785 | 1108790.7823
43 | 2704050.733 | 1108861.7128
44 | 2704079.5926 | 1108786.5148
45 | 2704078.1452 | 1108785.8117
46 | 2704066.5875 | 1108780.1978
47 | 2704048.9456 | 1108861.8042
48 | 2704048.5443 | 1108861.8248
49 | 2704040.0557 | 1108862.2589
50 | 2704006.3259 | 1108855.1932
51 | 2703995.4927 | 1108850.7084
52 | 2703988.0731 | 1108847.2388
53 | 2704048.094 | 1108808.6853
54 | 2704029.2045 | 1108810.6107
55 | 2704054.8265 | 1108774.4852
56 | 2704044.1842 | 1108769.8323
57 | 2704043.508 | 1108769.5367
58 | 2704025.3136 | 1108761.582
59 | 2704029.251 | 1108763.3034
60 | 2704000.4793 | 1108698.1156
61 | 2704059.1147 | 1108719.2234
62 | 2704305.8866 | 1108781.2625
63 | 2704301.5029 | 1108779.1904
64 | 2704337.3132 | 1108762.1618
65 | 2704301.1669 | 1108779.0046
66 | 2704354.6157 | 1108699.9159
67 | 2704278.1838 | 1108766.482
68 | 2704273.6603 | 1108764.1256
69 | 2704243.159 | 1108748.1962
70 | 2704229.851 | 1108738.6553
71 | 2704193.16 | 1108703.4692
72 | 2704166.5654 | 1108716.4543
73 | 2704175.8734 | 1108723.2295
74 | 2704157.2209 | 1108706.7649
75 | 2704208.5578 | 1108780.9291
76 | 2704267.8242 | 1108720.601
77 | 2704258.4734 | 1108697.6652
78 | 2704250.2956 | 1108697.1021
79 | 2704305.7955 | 1108685.8046
80 | 2704235.4179 | 1108680.7347
81 | 2704305.357 | 1108682.9219
82 | 2704326.185 | 1108639.8237
83 | 2704303.8153 | 1108629.0489
84 | 2704351.047 | 1108668.6012
85 | 2704234.1017 | 1108679.2867
86 | 2704389.5057 | 1108635.0965
87 | 2704219.6271 | 1108663.3628
88 | 2704215.2245 | 1108658.5194
89 | 2704219.3136 | 1108796.2391
90 | 2704103.1406 | 1108680.7206
91 | 2704087.4299 | 1108688.3364
92 | 2704082.7613 | 1108690.5995
93 | 2704101.8507 | 1108735.5892
94 | 2704146.5531 | 1108759.8358
95 | 2704241.3716 | 1108840.0838
96 | 2704214.5491 | 1108818.0814
97 | 2704260.1256 | 1108842.1201
98 | 2704189.7769 | 1108796.886
99 | 2704244.3456 | 1108828.9425
100 | 2704171.9114 | 1108771.3558
101 | 2704168.6061 | 1108767.7777
102 | 2704101.8507 | 1108735.5892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1