## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5408-1_2_1_node_256 | 0.4 | n |  | TRUE
1 | bus_LV_5408-1_2_1_node_257 | 0.4 | n |  | TRUE
2 | bus_LV_5408-1_2_1_node_258 | 0.4 | n |  | TRUE
3 | bus_LV_5408-1_2_1_node_191 | 0.4 | n |  | TRUE
4 | bus_LV_5408-1_2_1_node_259 | 0.4 | n |  | TRUE
5 | bus_LV_5408-1_2_1_node_260 | 0.4 | n |  | TRUE
6 | bus_LV_5408-1_2_1_node_262 | 0.4 | n |  | TRUE
7 | bus_LV_5408-1_2_1_node_263 | 0.4 | n |  | TRUE
8 | bus_LV_5408-1_2_1_node_261 | 0.4 | n |  | TRUE
9 | bus_LV_5408-1_2_1_node_289 | 0.4 | n |  | TRUE
10 | bus_LV_5408-1_2_1_node_264 | 0.4 | n |  | TRUE
11 | bus_LV_5408-1_2_1_node_266 | 0.4 | n |  | TRUE
12 | bus_LV_5408-1_2_1_node_265 | 0.4 | n |  | TRUE
13 | bus_LV_5408-1_2_1_node_249 | 0.4 | n |  | TRUE
14 | bus_LV_5408-1_2_1_node_267 | 0.4 | n |  | TRUE
15 | bus_LV_5408-1_2_1_node_268 | 0.4 | n |  | TRUE
16 | bus_LV_5408-1_2_1_node_269 | 0.4 | n |  | TRUE
17 | bus_LV_5408-1_2_1_node_270 | 0.4 | n |  | TRUE
18 | bus_LV_5408-1_2_1_node_271 | 0.4 | n |  | TRUE
19 | bus_LV_5408-1_2_1_node_272 | 0.4 | n |  | TRUE
20 | bus_LV_5408-1_2_1_node_273 | 0.4 | n |  | TRUE
21 | bus_LV_5408-1_2_1_node_274 | 0.4 | n |  | TRUE
22 | bus_LV_5408-1_2_1_node_275 | 0.4 | n |  | TRUE
23 | bus_LV_5408-1_2_1_node_276 | 0.4 | n |  | TRUE
24 | bus_LV_5408-1_2_1_node_280 | 0.4 | n |  | TRUE
25 | bus_LV_5408-1_2_1_node_279 | 0.4 | n |  | TRUE
26 | bus_LV_5408-1_2_1_node_277 | 0.4 | n |  | TRUE
27 | bus_LV_5408-1_2_1_node_255 | 0.4 | n |  | TRUE
28 | bus_LV_5408-1_2_1_node_278 | 0.4 | n |  | TRUE
29 | bus_LV_5408-1_2_1_node_281 | 0.4 | n |  | TRUE
30 | bus_LV_5408-1_2_1_node_282 | 0.4 | n |  | TRUE
31 | bus_LV_5408-1_2_1_node_283 | 0.4 | n |  | TRUE
32 | bus_LV_5408-1_2_1_node_284 | 0.4 | n |  | TRUE
33 | bus_LV_5408-1_2_1_node_194 | 0.4 | n |  | TRUE
34 | bus_LV_5408-1_2_1_node_285 | 0.4 | n |  | TRUE
35 | bus_LV_5408-1_2_1_node_286 | 0.4 | n |  | TRUE
36 | bus_LV_5408-1_2_1_node_287 | 0.4 | n |  | TRUE
37 | bus_LV_5408-1_2_1_node_288 | 0.4 | n |  | TRUE
38 | bus_LV_5408-1_2_1_node_290 | 0.4 | n |  | TRUE
39 | bus_LV_5408-1_2_1_node_291 | 0.4 | n |  | TRUE
40 | bus_LV_5408-1_2_1_node_292 | 0.4 | n |  | TRUE
41 | bus_LV_5408-1_2_1_node_293 | 0.4 | n |  | TRUE
42 | bus_LV_5408-1_2_1_node_294 | 0.4 | n |  | TRUE
43 | bus_LV_5408-1_2_1_node_295 | 0.4 | n |  | TRUE
44 | bus_LV_5408-1_2_1_node_296 | 0.4 | n |  | TRUE
45 | bus_LV_5408-1_2_1_node_297 | 0.4 | n |  | TRUE
46 | bus_LV_5408-1_2_1_node_241 | 0.4 | n |  | TRUE
47 | bus_LV_5408-1_2_1_node_242 | 0.4 | n |  | TRUE
48 | bus_LV_5408-1_2_1_node_243 | 0.4 | n |  | TRUE
49 | bus_LV_5408-1_2_1_node_244 | 0.4 | n |  | TRUE
50 | bus_LV_5408-1_2_1_node_245 | 0.4 | n |  | TRUE
51 | bus_LV_5408-1_2_1_node_250 | 0.4 | n |  | TRUE
52 | bus_LV_5408-1_2_1_node_246 | 0.4 | n |  | TRUE
53 | bus_LV_5408-1_2_1_node_247 | 0.4 | n |  | TRUE
54 | bus_LV_5408-1_2_1_node_248 | 0.4 | n |  | TRUE
55 | bus_LV_5408-1_2_1_node_254 | 0.4 | n |  | TRUE
56 | bus_LV_5408-1_2_1_node_251 | 0.4 | n |  | TRUE
57 | bus_LV_5408-1_2_1_node_252 | 0.4 | n |  | TRUE
58 | bus_LV_5408-1_2_1_node_253 | 0.4 | n |  | TRUE
59 | bus_MV_0_node_268 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5408-1_2_1_load_256 | 0 | 0.0010076 | 0.00025254 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5408-1_2_1_load_257 | 1 | 0.0015699 | 0.00039346 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5408-1_2_1_load_259 | 4 | 0.00137 | 0.00034335 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5408-1_2_1_load_260 | 5 | 0.0019012 | 0.0004765 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5408-1_2_1_load_262 | 6 | 0.00056211 | 0.00014088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5408-1_2_1_load_263 | 7 | 0.00075307 | 0.00018874 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5408-1_2_1_load_261 | 8 | 0.00047868 | 0.00011997 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5408-1_2_1_load_289 | 9 | 0.001112 | 0.0002787 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5408-1_2_1_load_264 | 10 | 0.00050777 | 0.00012726 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5408-1_2_1_load_265 | 12 | 0.00041146 | 0.00010312 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5408-1_2_1_load_267 | 14 | 0.00043481 | 0.00010897 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5408-1_2_1_load_268 | 15 | 0.0015552 | 0.00038978 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5408-1_2_1_load_269 | 16 | 0.00048821 | 0.00012236 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5408-1_2_1_load_270 | 17 | 0.0029022 | 0.00072736 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5408-1_2_1_load_271 | 18 | 0.00087726 | 0.00021986 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5408-1_2_1_load_272 | 19 | 0.00057787 | 0.00014483 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5408-1_2_1_load_273 | 20 | 0.0013756 | 0.00034477 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5408-1_2_1_load_274 | 21 | 0.00056356 | 0.00014124 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5408-1_2_1_load_275 | 22 | 0.00037923 | 9.5044e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5408-1_2_1_load_280 | 24 | 0.0017084 | 0.00042818 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5408-1_2_1_load_279 | 25 | 0.00051692 | 0.00012955 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5408-1_2_1_load_277 | 26 | 0.00057977 | 0.0001453 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5408-1_2_1_load_255 | 27 | 0.0011534 | 0.00028908 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5408-1_2_1_load_278 | 28 | 0.0013636 | 0.00034175 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5408-1_2_1_load_281 | 29 | 0.00047797 | 0.00011979 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5408-1_2_1_load_282 | 30 | 0.00021828 | 5.4705e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5408-1_2_1_load_285 | 34 | 0.0012919 | 0.00032379 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5408-1_2_1_load_286 | 35 | 0.0018558 | 0.0004651 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5408-1_2_1_load_287 | 36 | 0.00055383 | 0.0001388 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5408-1_2_1_load_288 | 37 | 0.00076134 | 0.00019081 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5408-1_2_1_load_290 | 38 | 0.00068895 | 0.00017267 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5408-1_2_1_load_291 | 39 | 0.00059335 | 0.00014871 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5408-1_2_1_load_292 | 40 | 0.00043139 | 0.00010812 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5408-1_2_1_load_293 | 41 | 0.00051052 | 0.00012795 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5408-1_2_1_load_294 | 42 | 0.00028604 | 7.1688e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5408-1_2_1_load_295 | 43 | 0.0014046 | 0.00035202 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5408-1_2_1_load_296 | 44 | 0.00071241 | 0.00017855 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5408-1_2_1_load_297 | 45 | 0.00037547 | 9.4101e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5408-1_2_1_load_241 | 46 | 0.0018951 | 0.00047496 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5408-1_2_1_load_242 | 47 | 0.0010497 | 0.00026308 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5408-1_2_1_load_245 | 50 | 0.0024909 | 0.00062427 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5408-1_2_1_load_250 | 51 | 0.00051311 | 0.0001286 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5408-1_2_1_load_246 | 52 | 0.00069396 | 0.00017392 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5408-1_2_1_load_247 | 53 | 0.00041133 | 0.00010309 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5408-1_2_1_load_248 | 54 | 0.00037093 | 9.2963e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5408-1_2_1_load_251 | 56 | 0.0011905 | 0.00029836 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5408-1_2_1_load_252 | 57 | 0.00084101 | 0.00021078 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5408-1_2_1_load_253 | 58 | 0.00079324 | 0.0001988 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5408-1_2_1_line_0 |  | 0 | 1 | 0.064267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5408-1_2_1_line_1 |  | 0 | 2 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5408-1_2_1_line_2 |  | 1 | 3 | 0.029958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5408-1_2_1_line_3 |  | 2 | 4 | 0.017963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5408-1_2_1_line_4 |  | 2 | 5 | 0.0036972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5408-1_2_1_line_5 |  | 3 | 8 | 0.023828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5408-1_2_1_line_6 |  | 4 | 6 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5408-1_2_1_line_7 |  | 5 | 7 | 0.021527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5408-1_2_1_line_8 |  | 6 | 10 | 0.010047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5408-1_2_1_line_9 |  | 7 | 11 | 0.023176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5408-1_2_1_line_10 |  | 8 | 9 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5408-1_2_1_line_11 |  | 9 | 38 | 0.047274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5408-1_2_1_line_12 |  | 10 | 12 | 0.00020256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5408-1_2_1_line_13 |  | 11 | 13 | 0.047994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5408-1_2_1_line_14 |  | 11 | 14 | 0.010247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5408-1_2_1_line_15 |  | 13 | 16 | 0.030166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5408-1_2_1_line_16 |  | 14 | 15 | 0.013475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5408-1_2_1_line_17 |  | 16 | 17 | 0.0031244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5408-1_2_1_line_18 |  | 17 | 18 | 0.011788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5408-1_2_1_line_19 |  | 18 | 19 | 0.0051095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5408-1_2_1_line_20 |  | 19 | 20 | 0.007583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5408-1_2_1_line_21 |  | 20 | 21 | 0.0086407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5408-1_2_1_line_22 |  | 21 | 22 | 0.0081973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5408-1_2_1_line_23 |  | 22 | 23 | 0.0083092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5408-1_2_1_line_24 |  | 23 | 24 | 0.017355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5408-1_2_1_line_25 |  | 23 | 25 | 0.0045725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5408-1_2_1_line_26 |  | 24 | 29 | 0.0013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5408-1_2_1_line_27 |  | 25 | 28 | 0.011563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5408-1_2_1_line_28 |  | 26 | 27 | 0.0097171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5408-1_2_1_line_29 |  | 26 | 28 | 0.0030129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5408-1_2_1_line_30 |  | 27 | 55 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5408-1_2_1_line_31 |  | 29 | 30 | 0.014369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5408-1_2_1_line_32 |  | 30 | 31 | 0.086769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5408-1_2_1_line_33 |  | 31 | 32 | 0.092724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5408-1_2_1_line_34 |  | 32 | 33 | 0.034374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5408-1_2_1_line_35 |  | 32 | 34 | 0.08905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5408-1_2_1_line_36 |  | 33 | 35 | 0.052973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5408-1_2_1_line_37 |  | 35 | 36 | 0.014114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5408-1_2_1_line_38 |  | 36 | 37 | 0.0034669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5408-1_2_1_line_39 |  | 38 | 39 | 0.0025373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5408-1_2_1_line_40 |  | 39 | 40 | 0.004398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5408-1_2_1_line_41 |  | 40 | 41 | 0.033556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5408-1_2_1_line_42 |  | 41 | 42 | 0.01663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5408-1_2_1_line_43 |  | 42 | 43 | 0.050208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5408-1_2_1_line_44 |  | 43 | 44 | 0.0061191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5408-1_2_1_line_45 |  | 44 | 45 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5408-1_2_1_line_46 |  | 46 | 47 | 0.042978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5408-1_2_1_line_47 |  | 47 | 48 | 0.015119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5408-1_2_1_line_48 |  | 48 | 49 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5408-1_2_1_line_49 |  | 48 | 50 | 0.015591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5408-1_2_1_line_50 |  | 49 | 51 | 0.035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5408-1_2_1_line_51 |  | 50 | 52 | 0.010006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5408-1_2_1_line_52 |  | 51 | 55 | 0.0091037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5408-1_2_1_line_53 |  | 52 | 53 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5408-1_2_1_line_54 |  | 53 | 54 | 0.075789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5408-1_2_1_line_55 |  | 55 | 58 | 0.006675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5408-1_2_1_line_56 |  | 56 | 57 | 0.017282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5408-1_2_1_line_57 |  | 57 | 58 | 0.0011496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5408-1_2_1_trafo_268 | 0.63 MVA 20/0.4 kV | 59 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2558654.5022 | 1135121.3886 | 2558652.9221 | 1135161.5298 | 2558658.8263 | 1135168.504 | 2558667.1382 | 1135173.0715 | 2558672.4879 | 1135174.2247
1 | 2558655.3401 | 1135100.1042 | 2558654.5022 | 1135121.3886
2 | 2558701.7736 | 1135180.5378 | 2558672.4879 | 1135174.2247
3 | 2558655.3401 | 1135100.1042 | 2558641.7376 | 1135111.8368
4 | 2558655.3401 | 1135100.1042 | 2558656.8236 | 1135096.7177
5 | 2558701.7736 | 1135180.5378 | 2558701.6566 | 1135204.3652
6 | 2558631.3376 | 1135121.599 | 2558641.7376 | 1135111.8368 | 2558641.7376 | 1135111.8368
7 | 2558656.8236 | 1135096.7177 | 2558665.4617 | 1135076.9997
8 | 2558625.4847 | 1135129.5267 | 2558627.3853 | 1135125.3089 | 2558631.3376 | 1135121.599
9 | 2558673.0474 | 1135055.1598 | 2558669.5546 | 1135067.6568 | 2558665.4617 | 1135076.9997
10 | 2558701.6042 | 1135215.0377 | 2558701.6566 | 1135204.3652
11 | 2558701.6042 | 1135215.0377 | 2558701.3979 | 1135257.046 | 2558701.1286 | 1135262.3045
12 | 2558625.4015 | 1135129.7114 | 2558625.4847 | 1135129.5267
13 | 2558682.429 | 1135008.1048 | 2558674.3797 | 1135049.6812 | 2558673.0474 | 1135055.1598
14 | 2558673.0474 | 1135055.1598 | 2558680.7145 | 1135056.5857 | 2558683.1542 | 1135056.3844
15 | 2558682.429 | 1135008.1048 | 2558700.629 | 1134984.0479
16 | 2558695.1918 | 1135051.1948 | 2558687.7675 | 1135056.0037 | 2558683.1542 | 1135056.3844
17 | 2558700.629 | 1134984.0479 | 2558702.5141 | 1134981.5562
18 | 2558702.5141 | 1134981.5562 | 2558709.6259 | 1134972.1557 | 2558709.6259 | 1134972.1557
19 | 2558711.2971 | 1134967.3272 | 2558709.6259 | 1134972.1557
20 | 2558713.7773 | 1134960.1613 | 2558711.2971 | 1134967.3272
21 | 2558713.7773 | 1134960.1613 | 2558716.6034 | 1134951.9958
22 | 2558719.2845 | 1134944.2493 | 2558716.6034 | 1134951.9958
23 | 2558722.0021 | 1134936.3971 | 2558719.2845 | 1134944.2493
24 | 2558722.0021 | 1134936.3971 | 2558738.3491 | 1134930.5671
25 | 2558722.0021 | 1134936.3971 | 2558717.5037 | 1134935.5776
26 | 2558738.3491 | 1134930.5671 | 2558739.6561 | 1134930.101
27 | 2558717.5037 | 1134935.5776 | 2558706.1282 | 1134933.5053
28 | 2558703.164 | 1134932.9653 | 2558693.6043 | 1134931.2237
29 | 2558703.164 | 1134932.9653 | 2558706.1282 | 1134933.5053
30 | 2558682.3647 | 1134929.1762 | 2558693.6043 | 1134931.2237
31 | 2558753.5777 | 1134929.4564 | 2558745.2026 | 1134928.1229 | 2558739.6561 | 1134930.101
32 | 2558839.4748 | 1134941.1515 | 2558820.5126 | 1134940.1139 | 2558753.5777 | 1134929.4564
33 | 2558839.4748 | 1134941.1515 | 2558837.7491 | 1134971.2898 | 2558827.8739 | 1135033.022
34 | 2558823.3663 | 1135067.0924 | 2558827.8739 | 1135033.022
35 | 2558827.8739 | 1135033.022 | 2558779.5314 | 1135026.6493 | 2558773.1068 | 1135021.2349 | 2558770.6127 | 1135012.1473 | 2558767.7194 | 1134989.7224
36 | 2558823.3663 | 1135067.0924 | 2558846.1974 | 1135073.5286 | 2558848.2515 | 1135075.6823 | 2558848.8722 | 1135078.6685 | 2558843.0206 | 1135101.1451
37 | 2558843.0206 | 1135101.1451 | 2558839.4647 | 1135114.8037
38 | 2558838.5912 | 1135118.1588 | 2558839.4647 | 1135114.8037
39 | 2558701.1286 | 1135262.3045 | 2558700.9988 | 1135264.8385
40 | 2558700.7738 | 1135269.2308 | 2558700.9988 | 1135264.8385
41 | 2558700.7738 | 1135269.2308 | 2558699.5315 | 1135293.4885 | 2558698.1425 | 1135302.6504
42 | 2558698.1425 | 1135302.6504 | 2558695.6497 | 1135319.0925
43 | 2558686.0965 | 1135368.3689 | 2558686.4477 | 1135367.3158 | 2558694.8564 | 1135324.3251 | 2558695.6497 | 1135319.0925
44 | 2558686.0965 | 1135368.3689 | 2558684.1603 | 1135374.1736
45 | 2558684.1603 | 1135374.1736 | 2558679.9245 | 1135386.8731
46 | 2558629.2037 | 1134920.4027 | 2558646.7793 | 1134936.0127 | 2558658.7031 | 1134951.4063
47 | 2558667.9615 | 1134963.359 | 2558658.7031 | 1134951.4063
48 | 2558675.1905 | 1134972.692 | 2558667.9615 | 1134963.359
49 | 2558667.9615 | 1134963.359 | 2558654.0926 | 1134970.4809
50 | 2558675.1905 | 1134972.692 | 2558680.8838 | 1134938.1586
51 | 2558646.3043 | 1134976.4411 | 2558649.1575 | 1134973.0152 | 2558654.0926 | 1134970.4809
52 | 2558682.3647 | 1134929.1762 | 2558680.8838 | 1134938.1586
53 | 2558646.3043 | 1134976.4411 | 2558639.3338 | 1134984.8108 | 2558638.3589 | 1134985.6354
54 | 2558582.7204 | 1135037.0485 | 2558620.4501 | 1135000.782 | 2558638.3589 | 1134985.6354
55 | 2558682.3647 | 1134929.1762 | 2558678.539 | 1134923.7063
56 | 2558668.9867 | 1134908.1036 | 2558670.1079 | 1134911.6513 | 2558677.8802 | 1134922.7642
57 | 2558677.8802 | 1134922.7642 | 2558678.539 | 1134923.7063

## bus_geodata
| x | y | coords
0 | 2558654.5022 | 1135121.3886
1 | 2558672.4879 | 1135174.2247
2 | 2558655.3401 | 1135100.1042
3 | 2558701.7736 | 1135180.5378
4 | 2558641.7376 | 1135111.8368
5 | 2558656.8236 | 1135096.7177
6 | 2558631.3376 | 1135121.599
7 | 2558665.4617 | 1135076.9997
8 | 2558701.6566 | 1135204.3652
9 | 2558701.6042 | 1135215.0377
10 | 2558625.4847 | 1135129.5267
11 | 2558673.0474 | 1135055.1598
12 | 2558625.4015 | 1135129.7114
13 | 2558682.429 | 1135008.1048
14 | 2558683.1542 | 1135056.3844
15 | 2558695.1918 | 1135051.1948
16 | 2558700.629 | 1134984.0479
17 | 2558702.5141 | 1134981.5562
18 | 2558709.6259 | 1134972.1557
19 | 2558711.2971 | 1134967.3272
20 | 2558713.7773 | 1134960.1613
21 | 2558716.6034 | 1134951.9958
22 | 2558719.2845 | 1134944.2493
23 | 2558722.0021 | 1134936.3971
24 | 2558738.3491 | 1134930.5671
25 | 2558717.5037 | 1134935.5776
26 | 2558703.164 | 1134932.9653
27 | 2558693.6043 | 1134931.2237
28 | 2558706.1282 | 1134933.5053
29 | 2558739.6561 | 1134930.101
30 | 2558753.5777 | 1134929.4564
31 | 2558839.4748 | 1134941.1515
32 | 2558827.8739 | 1135033.022
33 | 2558823.3663 | 1135067.0924
34 | 2558767.7194 | 1134989.7224
35 | 2558843.0206 | 1135101.1451
36 | 2558839.4647 | 1135114.8037
37 | 2558838.5912 | 1135118.1588
38 | 2558701.1286 | 1135262.3045
39 | 2558700.9988 | 1135264.8385
40 | 2558700.7738 | 1135269.2308
41 | 2558698.1425 | 1135302.6504
42 | 2558695.6497 | 1135319.0925
43 | 2558686.0965 | 1135368.3689
44 | 2558684.1603 | 1135374.1736
45 | 2558679.9245 | 1135386.8731
46 | 2558629.2037 | 1134920.4027
47 | 2558658.7031 | 1134951.4063
48 | 2558667.9615 | 1134963.359
49 | 2558675.1905 | 1134972.692
50 | 2558654.0926 | 1134970.4809
51 | 2558680.8838 | 1134938.1586
52 | 2558646.3043 | 1134976.4411
53 | 2558638.3589 | 1134985.6354
54 | 2558582.7204 | 1135037.0485
55 | 2558682.3647 | 1134929.1762
56 | 2558668.9867 | 1134908.1036
57 | 2558677.8802 | 1134922.7642
58 | 2558678.539 | 1134923.7063
59 | 2558695.1918 | 1135051.1948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1