## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5412-1_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_5412-1_1_3_node_54 | 0.4 | n |  | TRUE
2 | bus_LV_5412-1_1_3_node_49 | 0.4 | n |  | TRUE
3 | bus_LV_5412-1_1_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_5412-1_1_3_node_80 | 0.4 | n |  | TRUE
5 | bus_LV_5412-1_1_3_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_5412-1_1_3_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_5412-1_1_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5412-1_1_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5412-1_1_3_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_5412-1_1_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_5412-1_1_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_5412-1_1_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_5412-1_1_3_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_5412-1_1_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_5412-1_1_3_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_5412-1_1_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_5412-1_1_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_5412-1_1_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_5412-1_1_3_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_5412-1_1_3_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_5412-1_1_3_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_5412-1_1_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_5412-1_1_3_node_95 | 0.4 | n |  | TRUE
24 | bus_MV_79_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5412-1_1_3_load_49 | 2 | 0.0034765 | 0.00087129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5412-1_1_3_load_80 | 4 | 0.015855 | 0.0039738 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5412-1_1_3_load_58 | 9 | 0.0086363 | 0.0021645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5412-1_1_3_load_47 | 10 | 0.013091 | 0.0032809 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5412-1_1_3_load_42 | 14 | 0.024283 | 0.0060858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5412-1_1_3_load_48 | 17 | 0.019887 | 0.0049841 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5412-1_1_3_load_56 | 20 | 0.0050582 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5412-1_1_3_load_57 | 21 | 0.0025678 | 0.00064356 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5412-1_1_3_load_55 | 22 | 0.0017872 | 0.00044792 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5412-1_1_3_load_95 | 23 | 0.011713 | 0.0029356 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5412-1_1_3_line_0 |  | 0 | 1 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5412-1_1_3_line_1 |  | 0 | 2 | 0.02425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5412-1_1_3_line_2 |  | 1 | 22 | 0.024586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5412-1_1_3_line_3 |  | 1 | 19 | 0.025323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5412-1_1_3_line_4 |  | 2 | 11 | 0.03165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5412-1_1_3_line_5 |  | 3 | 4 | 0.021518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5412-1_1_3_line_6 |  | 3 | 5 | 1.8662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5412-1_1_3_line_7 |  | 3 | 6 | 0.037762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5412-1_1_3_line_8 |  | 4 | 12 | 0.03769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5412-1_1_3_line_9 |  | 5 | 14 | 0.085618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5412-1_1_3_line_10 |  | 6 | 17 | 0.10106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5412-1_1_3_line_11 |  | 7 | 8 | 0.049614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5412-1_1_3_line_12 |  | 7 | 9 | 0.066559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5412-1_1_3_line_13 |  | 8 | 10 | 0.047619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5412-1_1_3_line_14 |  | 10 | 18 | 0.0028722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5412-1_1_3_line_15 |  | 11 | 12 | 0.066274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5412-1_1_3_line_16 |  | 11 | 13 | 0.18894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5412-1_1_3_line_17 |  | 12 | 15 | 0.026273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5412-1_1_3_line_18 |  | 13 | 21 | 0.030035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5412-1_1_3_line_19 |  | 15 | 23 | 0.012822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5412-1_1_3_line_20 |  | 16 | 17 | 0.068302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5412-1_1_3_line_21 |  | 16 | 18 | 0.05798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5412-1_1_3_line_22 |  | 19 | 20 | 0.069886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5412-1_1_3_trafo_78 | 0.63 MVA 20/0.4 kV | 24 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96
0 | 2560575.6582 | 1137030.4462 | 2560575.9558 | 1137015.9703
1 | 2560575.9558 | 1137015.9703 | 2560551.711 | 1137015.469
2 | 2560575.6582 | 1137030.4462 | 2560584.6317 | 1137030.9211 | 2560600.2094 | 1137031.7521
3 | 2560550.2618 | 1137030.2902 | 2560575.6582 | 1137030.4462
4 | 2560521.1063 | 1137018.8421 | 2560527.7741 | 1137014.9742 | 2560551.711 | 1137015.469
5 | 2560498.1953 | 1136903.8673 | 2560497.7297 | 1136925.3801
6 | 2560418.8086 | 1136980.1716 | 2560419.6981 | 1136984.4012 | 2560416.2146 | 1136990.4939 | 2560408.1994 | 1136995.349 | 2560393.5635 | 1137004.2164 | 2560379.3223 | 1137013.4259 | 2560369.944 | 1137019.2349 | 2560364.3201 | 1137022.7182 | 2560354.8265 | 1137028.5392 | 2560349.0866 | 1137031.9342 | 2560331.7193 | 1137043.0653 | 2560279.7923 | 1137074.8903 | 2560286.7141 | 1137086.2394 | 2560318.3259 | 1137137.6793 | 2560321.5828 | 1137147.4295 | 2560321.6437 | 1137153.1653 | 2560320.9845 | 1137157.0383 | 2560319.1523 | 1137161.5082 | 2560316.2862 | 1137164.3619 | 2560311.6695 | 1137166.5712 | 2560305.824 | 1137166.7543 | 2560244.1383 | 1137151.2088 | 2560222.3228 | 1137145.7055 | 2560214.7555 | 1137143.7879 | 2560194.7324 | 1137127.8121 | 2560191.5199 | 1137123.6534 | 2560186.922 | 1137115.9021 | 2560184.7352 | 1137107.4567 | 2560184.1645 | 1137096.7773 | 2560185.1495 | 1137087.5216 | 2560186.8143 | 1137076.3494 | 2560187.7005 | 1137069.5845 | 2560208.5955 | 1137002.1233 | 2560220.9588 | 1136973.0491 | 2560224.9271 | 1136965.8415 | 2560242.5715 | 1136933.7531 | 2560260.7635 | 1136903.0286 | 2560296.2359 | 1136853.7363 | 2560320.7882 | 1136821.4248 | 2560323.2177 | 1136816.5063 | 2560325.0297 | 1136808.935 | 2560336.3023 | 1136793.9976 | 2560342.1857 | 1136786.6552 | 2560376.3364 | 1136744.4201 | 2560391.7686 | 1136725.5312 | 2560408.6829 | 1136705.043 | 2560419.7908 | 1136689.5621 | 2560428.5157 | 1136674.386 | 2560433.4633 | 1136666.2716 | 2560443.8851 | 1136647.0489 | 2560455.1111 | 1136626.0979 | 2560463.2855 | 1136610.2362 | 2560475.173 | 1136583.3779 | 2560481.2886 | 1136567.9855 | 2560483.8317 | 1136561.5878 | 2560490.3926 | 1136542.5351 | 2560497.3547 | 1136520.1225 | 2560501.5471 | 1136504.7539 | 2560506.9102 | 1136482.5408 | 2560514.5493 | 1136446.0167 | 2560518.7856 | 1136411.5269 | 2560532.6532 | 1136390.8367 | 2560537.1764 | 1136386.0157 | 2560541.7128 | 1136383.1846 | 2560546.1609 | 1136380.9765 | 2560555.5231 | 1136380.7484 | 2560555.3661 | 1136383.7955 | 2560555.515 | 1136392.4322 | 2560554.1141 | 1136392.3524 | 2560549.4725 | 1136392.0382 | 2560545.7298 | 1136395.0309 | 2560540.9438 | 1136399.6869 | 2560537.7402 | 1136405.1217 | 2560521.2537 | 1136486.3598 | 2560517.6203 | 1136521.2792 | 2560513.3174 | 1136538.5717 | 2560481.8122 | 1136629.002 | 2560479.362 | 1136640.1793 | 2560479.1853 | 1136649.5963 | 2560481.0303 | 1136658.7444 | 2560485.6458 | 1136668.0188 | 2560491.8338 | 1136676.5603 | 2560523.2244 | 1136708.2929 | 2560530.6524 | 1136718.2381 | 2560536.7759 | 1136729.8706 | 2560540.8259 | 1136742.0947 | 2560542.9815 | 1136751.6965 | 2560545.2921 | 1136762.6536 | 2560551.8498 | 1136778.3409 | 2560548.1568 | 1136787.7143 | 2560542.8291 | 1136802.401 | 2560535.4912 | 1136819.102 | 2560522.9433 | 1136836.7265 | 2560494.5282 | 1136874.9544 | 2560485.0679 | 1136891.7695 | 2560480.9367 | 1136903.5137 | 2560498.1953 | 1136903.8673
7 | 2560536.0597 | 1136904.6528 | 2560498.1953 | 1136903.8673
8 | 2560496.9143 | 1136963.0613 | 2560497.7297 | 1136925.3801
9 | 2560418.8086 | 1136980.1716 | 2560417.9672 | 1136976.2196 | 2560407.1376 | 1136962.5727 | 2560389.4987 | 1136947.67 | 2560349.9117 | 1136936.7562
10 | 2560536.0597 | 1136904.6528 | 2560538.8836 | 1136904.7121 | 2560570.4528 | 1136905.1945 | 2560637.1069 | 1136906.2083
11 | 2560731.686 | 1137011.7508 | 2560733.0476 | 1137034.1422 | 2560746.0428 | 1137034.3465 | 2560746.1353 | 1137048.5309
12 | 2560746.1353 | 1137048.5309 | 2560679.5828 | 1137047.5913
13 | 2560731.686 | 1137011.7508 | 2560729.0739 | 1137008.7664 | 2560727.5283 | 1137006.5197 | 2560726.0353 | 1137002.9054 | 2560718.1674 | 1136966.7364
14 | 2560717.5569 | 1136963.9298 | 2560718.1674 | 1136966.7364
15 | 2560496.9143 | 1136963.0613 | 2560491.5561 | 1136967.2096 | 2560497.8759 | 1136978.3072 | 2560511.6717 | 1137003.196 | 2560521.1063 | 1137018.8421
16 | 2560521.1063 | 1137018.8421 | 2560528.3551 | 1137030.8451 | 2560541.8755 | 1137056.0137 | 2560605.6426 | 1137141.5397 | 2560609.3127 | 1137141.6158 | 2560645.2981 | 1137142.3365
17 | 2560496.9143 | 1136963.0613 | 2560510.5023 | 1136963.3056 | 2560523.1825 | 1136963.5449
18 | 2560645.2981 | 1137142.3365 | 2560646.6689 | 1137112.3331
19 | 2560523.1825 | 1136963.5449 | 2560523.2607 | 1136950.723
20 | 2560705.4008 | 1136907.247 | 2560637.1069 | 1136906.2083
21 | 2560717.5569 | 1136963.9298 | 2560705.4008 | 1136907.247
22 | 2560550.2618 | 1137030.2902 | 2560550.6102 | 1137043.5391 | 2560568.5724 | 1137080.896 | 2560583.7538 | 1137080.9828

## bus_geodata
| x | y | coords
0 | 2560575.9558 | 1137015.9703
1 | 2560575.6582 | 1137030.4462
2 | 2560551.711 | 1137015.4691
3 | 2560498.1953 | 1136903.8673
4 | 2560497.7297 | 1136925.3801
5 | 2560418.8086 | 1136980.1716
6 | 2560536.0597 | 1136904.6528
7 | 2560746.1353 | 1137048.5309
8 | 2560731.686 | 1137011.7508
9 | 2560679.5828 | 1137047.5913
10 | 2560718.1674 | 1136966.7364
11 | 2560521.1063 | 1137018.8421
12 | 2560496.9143 | 1136963.0613
13 | 2560645.2981 | 1137142.3365
14 | 2560349.9117 | 1136936.7562
15 | 2560523.1825 | 1136963.5449
16 | 2560705.4008 | 1136907.247
17 | 2560637.1069 | 1136906.2083
18 | 2560717.5569 | 1136963.9298
19 | 2560550.2618 | 1137030.2902
20 | 2560583.7538 | 1137080.9828
21 | 2560646.6689 | 1137112.3331
22 | 2560600.2094 | 1137031.7521
23 | 2560523.2607 | 1136950.723
24 | 2560510.5023 | 1136963.3056

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1