## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5413-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5413-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5413-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5413-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5413-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5413-2_0_6_node_153 | 0.4 | n |  | TRUE
6 | bus_LV_5413-2_0_6_node_154 | 0.4 | n |  | TRUE
7 | bus_LV_5413-2_0_6_node_155 | 0.4 | n |  | TRUE
8 | bus_LV_5413-2_0_6_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_5413-2_0_6_node_152 | 0.4 | n |  | TRUE
10 | bus_LV_5413-2_0_6_node_142 | 0.4 | n |  | TRUE
11 | bus_LV_5413-2_0_6_node_141 | 0.4 | n |  | TRUE
12 | bus_LV_5413-2_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5413-2_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5413-2_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5413-2_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5413-2_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5413-2_0_6_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_5413-2_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5413-2_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5413-2_0_6_node_103 | 0.4 | n |  | TRUE
21 | bus_LV_5413-2_0_6_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_5413-2_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5413-2_0_6_node_109 | 0.4 | n |  | TRUE
24 | bus_LV_5413-2_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5413-2_0_6_node_100 | 0.4 | n |  | TRUE
26 | bus_LV_5413-2_0_6_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_5413-2_0_6_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_5413-2_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_5413-2_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5413-2_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5413-2_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5413-2_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5413-2_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5413-2_0_6_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_5413-2_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5413-2_0_6_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_5413-2_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5413-2_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5413-2_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5413-2_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5413-2_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5413-2_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5413-2_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5413-2_0_6_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_5413-2_0_6_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5413-2_0_6_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_5413-2_0_6_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_5413-2_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_5413-2_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5413-2_0_6_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_5413-2_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5413-2_0_6_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5413-2_0_6_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5413-2_0_6_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_5413-2_0_6_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_5413-2_0_6_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_5413-2_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_5413-2_0_6_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_5413-2_0_6_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_5413-2_0_6_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_5413-2_0_6_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_5413-2_0_6_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_5413-2_0_6_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_5413-2_0_6_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_5413-2_0_6_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_5413-2_0_6_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_5413-2_0_6_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_5413-2_0_6_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_5413-2_0_6_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_5413-2_0_6_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_5413-2_0_6_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_5413-2_0_6_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_5413-2_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_5413-2_0_6_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_5413-2_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5413-2_0_6_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_5413-2_0_6_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_5413-2_0_6_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_5413-2_0_6_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_5413-2_0_6_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_5413-2_0_6_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_5413-2_0_6_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_5413-2_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5413-2_0_6_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_5413-2_0_6_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_5413-2_0_6_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_5413-2_0_6_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_5413-2_0_6_node_58 | 0.4 | n |  | TRUE
89 | bus_LV_5413-2_0_6_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_5413-2_0_6_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_5413-2_0_6_node_59 | 0.4 | n |  | TRUE
92 | bus_LV_5413-2_0_6_node_60 | 0.4 | n |  | TRUE
93 | bus_LV_5413-2_0_6_node_61 | 0.4 | n |  | TRUE
94 | bus_LV_5413-2_0_6_node_62 | 0.4 | n |  | TRUE
95 | bus_LV_5413-2_0_6_node_66 | 0.4 | n |  | TRUE
96 | bus_LV_5413-2_0_6_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_5413-2_0_6_node_65 | 0.4 | n |  | TRUE
98 | bus_LV_5413-2_0_6_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_5413-2_0_6_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_5413-2_0_6_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_5413-2_0_6_node_83 | 0.4 | n |  | TRUE
102 | bus_LV_5413-2_0_6_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_5413-2_0_6_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_5413-2_0_6_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_5413-2_0_6_node_88 | 0.4 | n |  | TRUE
106 | bus_LV_5413-2_0_6_node_114 | 0.4 | n |  | TRUE
107 | bus_LV_5413-2_0_6_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_5413-2_0_6_node_113 | 0.4 | n |  | TRUE
109 | bus_LV_5413-2_0_6_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_5413-2_0_6_node_94 | 0.4 | n |  | TRUE
111 | bus_LV_5413-2_0_6_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_5413-2_0_6_node_97 | 0.4 | n |  | TRUE
113 | bus_LV_5413-2_0_6_node_126 | 0.4 | n |  | TRUE
114 | bus_LV_5413-2_0_6_node_125 | 0.4 | n |  | TRUE
115 | bus_LV_5413-2_0_6_node_112 | 0.4 | n |  | TRUE
116 | bus_LV_5413-2_0_6_node_127 | 0.4 | n |  | TRUE
117 | bus_LV_5413-2_0_6_node_139 | 0.4 | n |  | TRUE
118 | bus_LV_5413-2_0_6_node_156 | 0.4 | n |  | TRUE
119 | bus_LV_5413-2_0_6_node_116 | 0.4 | n |  | TRUE
120 | bus_LV_5413-2_0_6_node_102 | 0.4 | n |  | TRUE
121 | bus_LV_5413-2_0_6_node_104 | 0.4 | n |  | TRUE
122 | bus_LV_5413-2_0_6_node_106 | 0.4 | n |  | TRUE
123 | bus_LV_5413-2_0_6_node_105 | 0.4 | n |  | TRUE
124 | bus_LV_5413-2_0_6_node_115 | 0.4 | n |  | TRUE
125 | bus_LV_5413-2_0_6_node_118 | 0.4 | n |  | TRUE
126 | bus_LV_5413-2_0_6_node_117 | 0.4 | n |  | TRUE
127 | bus_LV_5413-2_0_6_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_5413-2_0_6_node_120 | 0.4 | n |  | TRUE
129 | bus_LV_5413-2_0_6_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_5413-2_0_6_node_122 | 0.4 | n |  | TRUE
131 | bus_LV_5413-2_0_6_node_123 | 0.4 | n |  | TRUE
132 | bus_LV_5413-2_0_6_node_124 | 0.4 | n |  | TRUE
133 | bus_LV_5413-2_0_6_node_128 | 0.4 | n |  | TRUE
134 | bus_LV_5413-2_0_6_node_145 | 0.4 | n |  | TRUE
135 | bus_LV_5413-2_0_6_node_146 | 0.4 | n |  | TRUE
136 | bus_LV_5413-2_0_6_node_129 | 0.4 | n |  | TRUE
137 | bus_LV_5413-2_0_6_node_149 | 0.4 | n |  | TRUE
138 | bus_LV_5413-2_0_6_node_138 | 0.4 | n |  | TRUE
139 | bus_LV_5413-2_0_6_node_157 | 0.4 | n |  | TRUE
140 | bus_LV_5413-2_0_6_node_158 | 0.4 | n |  | TRUE
141 | bus_LV_5413-2_0_6_node_159 | 0.4 | n |  | TRUE
142 | bus_LV_5413-2_0_6_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_5413-2_0_6_node_131 | 0.4 | n |  | TRUE
144 | bus_LV_5413-2_0_6_node_132 | 0.4 | n |  | TRUE
145 | bus_LV_5413-2_0_6_node_133 | 0.4 | n |  | TRUE
146 | bus_LV_5413-2_0_6_node_134 | 0.4 | n |  | TRUE
147 | bus_LV_5413-2_0_6_node_135 | 0.4 | n |  | TRUE
148 | bus_LV_5413-2_0_6_node_136 | 0.4 | n |  | TRUE
149 | bus_LV_5413-2_0_6_node_137 | 0.4 | n |  | TRUE
150 | bus_LV_5413-2_0_6_node_143 | 0.4 | n |  | TRUE
151 | bus_LV_5413-2_0_6_node_144 | 0.4 | n |  | TRUE
152 | bus_LV_5413-2_0_6_node_140 | 0.4 | n |  | TRUE
153 | bus_LV_5413-2_0_6_node_147 | 0.4 | n |  | TRUE
154 | bus_LV_5413-2_0_6_node_148 | 0.4 | n |  | TRUE
155 | bus_LV_5413-2_0_6_node_150 | 0.4 | n |  | TRUE
156 | bus_LV_5413-2_0_6_node_151 | 0.4 | n |  | TRUE
157 | bus_LV_5413-2_0_6_node_169 | 0.4 | n |  | TRUE
158 | bus_LV_5413-2_0_6_node_168 | 0.4 | n |  | TRUE
159 | bus_LV_5413-2_0_6_node_164 | 0.4 | n |  | TRUE
160 | bus_LV_5413-2_0_6_node_167 | 0.4 | n |  | TRUE
161 | bus_LV_5413-2_0_6_node_166 | 0.4 | n |  | TRUE
162 | bus_LV_5413-2_0_6_node_160 | 0.4 | n |  | TRUE
163 | bus_LV_5413-2_0_6_node_161 | 0.4 | n |  | TRUE
164 | bus_LV_5413-2_0_6_node_162 | 0.4 | n |  | TRUE
165 | bus_LV_5413-2_0_6_node_163 | 0.4 | n |  | TRUE
166 | bus_MV_79_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5413-2_0_6_load_0 | 0 | 0.00040285 | 0.00010096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5413-2_0_6_load_2 | 2 | 0.00076707 | 0.00019225 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5413-2_0_6_load_153 | 5 | 0.0025383 | 0.00063617 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5413-2_0_6_load_155 | 7 | 0.00066928 | 0.00016774 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5413-2_0_6_load_63 | 8 | 0.0016424 | 0.00041161 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5413-2_0_6_load_152 | 9 | 0.001697 | 0.00042531 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5413-2_0_6_load_142 | 10 | 0.0008793 | 0.00022037 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5413-2_0_6_load_141 | 11 | 0.00073149 | 0.00018333 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5413-2_0_6_load_5 | 12 | 0.0066317 | 0.0016621 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5413-2_0_6_load_6 | 13 | 0.02145 | 0.0053758 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5413-2_0_6_load_10 | 16 | 0.0006221 | 0.00015591 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5413-2_0_6_load_9 | 19 | 0.00028772 | 7.2109e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5413-2_0_6_load_103 | 20 | 0.0002914 | 7.3031e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5413-2_0_6_load_96 | 21 | 0.020818 | 0.0052174 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5413-2_0_6_load_109 | 23 | 0.0010087 | 0.0002528 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5413-2_0_6_load_18 | 24 | 0.0033828 | 0.00084782 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5413-2_0_6_load_11 | 26 | 0.0088488 | 0.0022177 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5413-2_0_6_load_12 | 27 | 0.0013188 | 0.00033051 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5413-2_0_6_load_13 | 28 | 0.019547 | 0.004899 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5413-2_0_6_load_21 | 32 | 0.0013791 | 0.00034563 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5413-2_0_6_load_22 | 33 | 0.00037347 | 9.36e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5413-2_0_6_load_110 | 34 | 0.0010002 | 0.00025068 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5413-2_0_6_load_23 | 35 | 0.0031397 | 0.00078688 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5413-2_0_6_load_101 | 36 | 0.0071945 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5413-2_0_6_load_24 | 37 | 0.0014819 | 0.0003714 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5413-2_0_6_load_25 | 38 | 0.0016826 | 0.0004217 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5413-2_0_6_load_27 | 40 | 0.0049244 | 0.0012342 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5413-2_0_6_load_28 | 41 | 0.0054686 | 0.0013706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5413-2_0_6_load_29 | 42 | 0.0019805 | 0.00049637 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5413-2_0_6_load_30 | 43 | 0.0014893 | 0.00037327 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5413-2_0_6_load_31 | 45 | 0.0008874 | 0.0002224 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5413-2_0_6_load_84 | 46 | 0.017368 | 0.0043529 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5413-2_0_6_load_80 | 47 | 0.0040263 | 0.0010091 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5413-2_0_6_load_38 | 49 | 0.0019455 | 0.00048758 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5413-2_0_6_load_79 | 50 | 0.0017707 | 0.00044377 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5413-2_0_6_load_43 | 52 | 0.0013334 | 0.00033417 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5413-2_0_6_load_41 | 53 | 0.0041291 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5413-2_0_6_load_78 | 54 | 0.0011041 | 0.00027672 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5413-2_0_6_load_33 | 55 | 0.0063679 | 0.001596 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5413-2_0_6_load_34 | 56 | 0.0065319 | 0.0016371 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5413-2_0_6_load_86 | 60 | 0.02176 | 0.0054537 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5413-2_0_6_load_93 | 61 | 0.0039907 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5413-2_0_6_load_89 | 62 | 0.0069923 | 0.0017524 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5413-2_0_6_load_39 | 63 | 0.0022015 | 0.00055174 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5413-2_0_6_load_40 | 64 | 0.0027963 | 0.00070082 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5413-2_0_6_load_45 | 66 | 0.0031352 | 0.00078576 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5413-2_0_6_load_44 | 68 | 0.0071763 | 0.0017985 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5413-2_0_6_load_92 | 69 | 0.000618 | 0.00015489 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5413-2_0_6_load_47 | 71 | 0.010778 | 0.0027013 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5413-2_0_6_load_48 | 72 | 0.002223 | 0.00055713 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5413-2_0_6_load_68 | 73 | 0.002744 | 0.0006877 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5413-2_0_6_load_55 | 74 | 0.0019107 | 0.00047887 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5413-2_0_6_load_67 | 75 | 0.0039349 | 0.00098619 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5413-2_0_6_load_54 | 76 | 0.0029279 | 0.00073381 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5413-2_0_6_load_49 | 77 | 0.0013923 | 0.00034894 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5413-2_0_6_load_50 | 78 | 0.0024013 | 0.00060183 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5413-2_0_6_load_51 | 79 | 0.0013979 | 0.00035034 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5413-2_0_6_load_52 | 80 | 0.0012732 | 0.00031908 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5413-2_0_6_load_57 | 82 | 0.0021538 | 0.00053979 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5413-2_0_6_load_75 | 83 | 0.00086492 | 0.00021677 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5413-2_0_6_load_72 | 84 | 0.0008758 | 0.0002195 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5413-2_0_6_load_76 | 86 | 0.00041574 | 0.00010419 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5413-2_0_6_load_73 | 87 | 0.00072773 | 0.00018239 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5413-2_0_6_load_58 | 88 | 0.0019438 | 0.00048716 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5413-2_0_6_load_70 | 89 | 0.0011685 | 0.00029284 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5413-2_0_6_load_69 | 90 | 0.0023192 | 0.00058124 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5413-2_0_6_load_59 | 91 | 0.0019051 | 0.00047746 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5413-2_0_6_load_60 | 92 | 0.0019063 | 0.00047776 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5413-2_0_6_load_62 | 94 | 0.00096632 | 0.00024218 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5413-2_0_6_load_64 | 96 | 0.0090718 | 0.0022736 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5413-2_0_6_load_65 | 97 | 0.00092323 | 0.00023138 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5413-2_0_6_load_71 | 98 | 0.001784 | 0.00044711 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5413-2_0_6_load_77 | 99 | 0.00094199 | 0.00023608 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5413-2_0_6_load_81 | 100 | 0.0029106 | 0.00072948 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5413-2_0_6_load_98 | 102 | 0.0024984 | 0.00062616 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5413-2_0_6_load_85 | 103 | 0.018463 | 0.0046272 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5413-2_0_6_load_108 | 104 | 0.0079649 | 0.0019962 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5413-2_0_6_load_88 | 105 | 0.0065107 | 0.0016317 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5413-2_0_6_load_114 | 106 | 0.0013328 | 0.00033403 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5413-2_0_6_load_111 | 107 | 0.0067079 | 0.0016812 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5413-2_0_6_load_107 | 109 | 0.015336 | 0.0038435 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5413-2_0_6_load_94 | 110 | 0.0014612 | 0.00036621 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5413-2_0_6_load_125 | 114 | 0.00141 | 0.00035337 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5413-2_0_6_load_112 | 115 | 0.0010368 | 0.00025986 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5413-2_0_6_load_139 | 117 | 0.0013269 | 0.00033255 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5413-2_0_6_load_156 | 118 | 0.0010731 | 0.00026895 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5413-2_0_6_load_116 | 119 | 0.0012112 | 0.00030355 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5413-2_0_6_load_106 | 122 | 0.00027055 | 6.7806e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5413-2_0_6_load_105 | 123 | 0.0017802 | 0.00044616 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5413-2_0_6_load_115 | 124 | 0.0013239 | 0.00033181 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5413-2_0_6_load_118 | 125 | 0.0011278 | 0.00028265 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5413-2_0_6_load_117 | 126 | 0.0011779 | 0.00029521 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5413-2_0_6_load_119 | 127 | 0.0073647 | 0.0018458 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5413-2_0_6_load_120 | 128 | 0.0022874 | 0.00057328 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5413-2_0_6_load_121 | 129 | 0.0024886 | 0.00062371 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5413-2_0_6_load_122 | 130 | 0.0026798 | 0.00067162 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5413-2_0_6_load_123 | 131 | 0.00056171 | 0.00014078 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5413-2_0_6_load_128 | 133 | 0.0016934 | 0.0004244 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5413-2_0_6_load_145 | 134 | 0.0098866 | 0.0024778 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5413-2_0_6_load_146 | 135 | 0.0024758 | 0.00062049 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5413-2_0_6_load_129 | 136 | 0.00064604 | 0.00016191 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5413-2_0_6_load_149 | 137 | 0.001415 | 0.00035464 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5413-2_0_6_load_138 | 138 | 0.00082401 | 0.00020652 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5413-2_0_6_load_157 | 139 | 0.0001967 | 4.9298e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5413-2_0_6_load_158 | 140 | 0.00013172 | 3.3011e-05 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5413-2_0_6_load_130 | 142 | 0.0017427 | 0.00043676 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5413-2_0_6_load_131 | 143 | 0.0020011 | 0.00050152 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5413-2_0_6_load_132 | 144 | 0.00053969 | 0.00013526 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5413-2_0_6_load_133 | 145 | 0.0052018 | 0.0013037 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5413-2_0_6_load_134 | 146 | 0.0010381 | 0.00026016 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5413-2_0_6_load_135 | 147 | 0.0017362 | 0.00043514 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5413-2_0_6_load_136 | 148 | 0.0024732 | 0.00061983 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5413-2_0_6_load_137 | 149 | 0.0025112 | 0.00062937 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5413-2_0_6_load_143 | 150 | 0.0022424 | 0.00056201 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5413-2_0_6_load_144 | 151 | 0.0017343 | 0.00043465 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5413-2_0_6_load_140 | 152 | 0.00057898 | 0.00014511 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5413-2_0_6_load_147 | 153 | 0.0017484 | 0.00043819 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5413-2_0_6_load_148 | 154 | 0.0014446 | 0.00036205 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_5413-2_0_6_load_150 | 155 | 0.00061741 | 0.00015474 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_5413-2_0_6_load_151 | 156 | 0.0006761 | 0.00016945 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_5413-2_0_6_load_168 | 158 | 0.00026791 | 6.7144e-05 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_5413-2_0_6_load_164 | 159 | 0.00093537 | 0.00023443 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_5413-2_0_6_load_167 | 160 | 0.0026371 | 0.00066093 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_5413-2_0_6_load_160 | 162 | 0.0018155 | 0.000455 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_5413-2_0_6_load_161 | 163 | 0.0039021 | 0.00097795 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_5413-2_0_6_load_163 | 165 | 0.0011528 | 0.00028893 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5413-2_0_6_line_0 |  | 0 | 1 | 0.010536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5413-2_0_6_line_1 |  | 1 | 2 | 0.0083828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5413-2_0_6_line_2 |  | 2 | 3 | 0.045086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5413-2_0_6_line_3 |  | 3 | 4 | 0.002016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5413-2_0_6_line_4 |  | 4 | 5 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5413-2_0_6_line_5 |  | 4 | 6 | 0.04924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5413-2_0_6_line_6 |  | 5 | 7 | 0.018071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5413-2_0_6_line_7 |  | 6 | 8 | 0.050504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5413-2_0_6_line_8 |  | 6 | 9 | 0.033366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5413-2_0_6_line_9 |  | 7 | 151 | 0.003402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5413-2_0_6_line_10 |  | 8 | 93 | 0.016781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5413-2_0_6_line_11 |  | 9 | 156 | 0.012702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5413-2_0_6_line_12 |  | 10 | 11 | 0.027359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5413-2_0_6_line_13 |  | 11 | 152 | 0.042748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5413-2_0_6_line_14 |  | 12 | 13 | 0.10512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5413-2_0_6_line_15 |  | 12 | 14 | 0.072056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5413-2_0_6_line_16 |  | 13 | 15 | 0.037678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5413-2_0_6_line_17 |  | 14 | 16 | 0.048854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5413-2_0_6_line_18 |  | 15 | 17 | 0.11013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5413-2_0_6_line_19 |  | 15 | 18 | 0.096546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5413-2_0_6_line_20 |  | 17 | 21 | 0.056167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5413-2_0_6_line_21 |  | 18 | 24 | 0.071046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5413-2_0_6_line_22 |  | 18 | 22 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5413-2_0_6_line_23 |  | 19 | 20 | 0.0025917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5413-2_0_6_line_24 |  | 20 | 25 | 0.11664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5413-2_0_6_line_25 |  | 21 | 107 | 0.032581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5413-2_0_6_line_26 |  | 22 | 23 | 0.014798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5413-2_0_6_line_27 |  | 23 | 34 | 0.0092673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5413-2_0_6_line_28 |  | 24 | 31 | 0.040238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5413-2_0_6_line_29 |  | 25 | 36 | 0.082797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5413-2_0_6_line_30 |  | 25 | 35 | 0.043347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5413-2_0_6_line_31 |  | 26 | 27 | 0.0073186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5413-2_0_6_line_32 |  | 26 | 28 | 0.081666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5413-2_0_6_line_33 |  | 28 | 29 | 0.081642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5413-2_0_6_line_34 |  | 29 | 30 | 0.058328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5413-2_0_6_line_35 |  | 30 | 32 | 0.026553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5413-2_0_6_line_36 |  | 30 | 31 | 0.041796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5413-2_0_6_line_37 |  | 32 | 33 | 0.024678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5413-2_0_6_line_38 |  | 33 | 35 | 0.035271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5413-2_0_6_line_39 |  | 36 | 120 | 0.12699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5413-2_0_6_line_40 |  | 37 | 38 | 0.026036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5413-2_0_6_line_41 |  | 37 | 39 | 0.051177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5413-2_0_6_line_42 |  | 38 | 40 | 0.033519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5413-2_0_6_line_43 |  | 39 | 41 | 0.026126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5413-2_0_6_line_44 |  | 39 | 42 | 0.015856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5413-2_0_6_line_45 |  | 41 | 43 | 0.0084512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5413-2_0_6_line_46 |  | 42 | 44 | 0.01798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5413-2_0_6_line_47 |  | 43 | 45 | 0.0090069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5413-2_0_6_line_48 |  | 44 | 46 | 0.032896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5413-2_0_6_line_49 |  | 44 | 47 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5413-2_0_6_line_50 |  | 45 | 48 | 0.031822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5413-2_0_6_line_51 |  | 46 | 103 | 0.052715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5413-2_0_6_line_52 |  | 47 | 100 | 0.019286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5413-2_0_6_line_53 |  | 48 | 49 | 0.036171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5413-2_0_6_line_54 |  | 48 | 50 | 0.018794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5413-2_0_6_line_55 |  | 49 | 51 | 0.038937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5413-2_0_6_line_56 |  | 50 | 54 | 0.014431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5413-2_0_6_line_57 |  | 51 | 58 | 0.032072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5413-2_0_6_line_58 |  | 51 | 55 | 0.035197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5413-2_0_6_line_59 |  | 52 | 53 | 0.023038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5413-2_0_6_line_60 |  | 53 | 63 | 0.024716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5413-2_0_6_line_61 |  | 54 | 99 | 0.0055655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5413-2_0_6_line_62 |  | 55 | 56 | 0.018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5413-2_0_6_line_63 |  | 56 | 57 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5413-2_0_6_line_64 |  | 57 | 59 | 0.02782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5413-2_0_6_line_65 |  | 58 | 60 | 0.020998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5413-2_0_6_line_66 |  | 59 | 61 | 0.011531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5413-2_0_6_line_67 |  | 59 | 62 | 0.027972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5413-2_0_6_line_68 |  | 61 | 104 | 0.023585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5413-2_0_6_line_69 |  | 62 | 105 | 0.035816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5413-2_0_6_line_70 |  | 63 | 64 | 0.0018334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5413-2_0_6_line_71 |  | 64 | 65 | 0.030784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5413-2_0_6_line_72 |  | 65 | 66 | 0.034074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5413-2_0_6_line_73 |  | 65 | 67 | 0.023631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5413-2_0_6_line_74 |  | 66 | 68 | 0.032165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5413-2_0_6_line_75 |  | 67 | 69 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_5413-2_0_6_line_76 |  | 68 | 70 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5413-2_0_6_line_77 |  | 69 | 106 | 0.0011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5413-2_0_6_line_78 |  | 70 | 71 | 0.026035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_5413-2_0_6_line_79 |  | 70 | 72 | 0.025556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5413-2_0_6_line_80 |  | 71 | 73 | 0.00040236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5413-2_0_6_line_81 |  | 72 | 74 | 0.0083279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5413-2_0_6_line_82 |  | 73 | 75 | 0.032001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5413-2_0_6_line_83 |  | 74 | 76 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5413-2_0_6_line_84 |  | 75 | 97 | 0.016621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5413-2_0_6_line_85 |  | 76 | 85 | 0.020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5413-2_0_6_line_86 |  | 77 | 78 | 0.016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5413-2_0_6_line_87 |  | 77 | 79 | 0.0017565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_5413-2_0_6_line_88 |  | 78 | 80 | 0.0073045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_5413-2_0_6_line_89 |  | 79 | 81 | 0.032046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_5413-2_0_6_line_90 |  | 80 | 82 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_5413-2_0_6_line_91 |  | 81 | 83 | 0.0029613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5413-2_0_6_line_92 |  | 81 | 84 | 0.015211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5413-2_0_6_line_93 |  | 82 | 85 | 0.0016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5413-2_0_6_line_94 |  | 83 | 86 | 0.0052248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_5413-2_0_6_line_95 |  | 84 | 87 | 0.0040224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5413-2_0_6_line_96 |  | 85 | 88 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5413-2_0_6_line_97 |  | 86 | 99 | 0.0059577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_5413-2_0_6_line_98 |  | 88 | 89 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5413-2_0_6_line_99 |  | 89 | 90 | 0.008532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5413-2_0_6_line_100 |  | 90 | 98 | 0.010903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5413-2_0_6_line_101 |  | 91 | 92 | 0.0024925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5413-2_0_6_line_102 |  | 91 | 93 | 0.0090741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5413-2_0_6_line_103 |  | 92 | 94 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5413-2_0_6_line_104 |  | 94 | 95 | 0.032272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5413-2_0_6_line_105 |  | 95 | 96 | 0.022674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5413-2_0_6_line_106 |  | 96 | 97 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5413-2_0_6_line_107 |  | 100 | 101 | 0.021612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5413-2_0_6_line_108 |  | 101 | 102 | 0.022189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5413-2_0_6_line_109 |  | 104 | 109 | 0.063974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5413-2_0_6_line_110 |  | 106 | 108 | 0.031256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_5413-2_0_6_line_111 |  | 107 | 115 | 0.02761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_5413-2_0_6_line_112 |  | 108 | 124 | 0.02961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5413-2_0_6_line_113 |  | 108 | 119 | 0.064826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5413-2_0_6_line_114 |  | 108 | 115 | 0.019794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_5413-2_0_6_line_115 |  | 110 | 111 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5413-2_0_6_line_116 |  | 111 | 112 | 0.080155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5413-2_0_6_line_117 |  | 112 | 113 | 0.084374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5413-2_0_6_line_118 |  | 112 | 114 | 0.02436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5413-2_0_6_line_119 |  | 113 | 116 | 0.012136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5413-2_0_6_line_120 |  | 113 | 117 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5413-2_0_6_line_121 |  | 114 | 119 | 0.025204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5413-2_0_6_line_122 |  | 116 | 118 | 0.21378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5413-2_0_6_line_123 |  | 117 | 138 | 0.011256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5413-2_0_6_line_124 |  | 118 | 139 | 0.00053669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5413-2_0_6_line_125 |  | 120 | 121 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5413-2_0_6_line_126 |  | 121 | 122 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5413-2_0_6_line_127 |  | 122 | 123 | 0.025205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5413-2_0_6_line_128 |  | 124 | 125 | 0.012055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5413-2_0_6_line_129 |  | 125 | 126 | 0.0061087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5413-2_0_6_line_130 |  | 126 | 127 | 0.0088123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5413-2_0_6_line_131 |  | 128 | 129 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5413-2_0_6_line_132 |  | 128 | 130 | 0.012615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5413-2_0_6_line_133 |  | 129 | 131 | 0.0042374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5413-2_0_6_line_134 |  | 130 | 132 | 0.0059101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5413-2_0_6_line_135 |  | 131 | 133 | 0.017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5413-2_0_6_line_136 |  | 132 | 134 | 0.019815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5413-2_0_6_line_137 |  | 132 | 135 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5413-2_0_6_line_138 |  | 133 | 136 | 0.00013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5413-2_0_6_line_139 |  | 135 | 137 | 0.014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5413-2_0_6_line_140 |  | 137 | 153 | 0.00062581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5413-2_0_6_line_141 |  | 138 | 152 | 0.033034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5413-2_0_6_line_142 |  | 139 | 140 | 0.00014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5413-2_0_6_line_143 |  | 140 | 141 | 0.074406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5413-2_0_6_line_144 |  | 141 | 157 | 0.045942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5413-2_0_6_line_145 |  | 142 | 143 | 0.00033292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5413-2_0_6_line_146 |  | 142 | 144 | 0.017954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5413-2_0_6_line_147 |  | 143 | 145 | 0.021947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5413-2_0_6_line_148 |  | 144 | 146 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5413-2_0_6_line_149 |  | 146 | 147 | 0.0054648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5413-2_0_6_line_150 |  | 147 | 148 | 0.025942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5413-2_0_6_line_151 |  | 148 | 149 | 0.012641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_5413-2_0_6_line_152 |  | 149 | 150 | 0.012458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5413-2_0_6_line_153 |  | 150 | 151 | 0.032723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5413-2_0_6_line_154 |  | 153 | 154 | 0.0097985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_5413-2_0_6_line_155 |  | 154 | 155 | 0.006656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_5413-2_0_6_line_156 |  | 155 | 156 | 0.012802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_5413-2_0_6_line_157 |  | 157 | 158 | 0.087311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_5413-2_0_6_line_158 |  | 158 | 159 | 0.22232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_5413-2_0_6_line_159 |  | 159 | 161 | 0.023402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_5413-2_0_6_line_160 |  | 159 | 164 | 0.054405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_5413-2_0_6_line_161 |  | 160 | 161 | 0.0063384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_5413-2_0_6_line_162 |  | 162 | 163 | 0.049717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_5413-2_0_6_line_163 |  | 162 | 164 | 0.025052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_5413-2_0_6_line_164 |  | 163 | 165 | 0.10879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5413-2_0_6_trafo_92 | 0.63 MVA 20/0.4 kV | 166 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2560635.2689 | 1134291.8673 | 2560631.1602 | 1134301.5693
1 | 2560635.2689 | 1134291.8673 | 2560637.8047 | 1134287.7042 | 2560640.166 | 1134285.1096
2 | 2560683.9516 | 1134275.4856 | 2560647.0797 | 1134281.874 | 2560643.0564 | 1134283.3788 | 2560640.166 | 1134285.1096
3 | 2560685.9508 | 1134275.1835 | 2560683.9516 | 1134275.4856
4 | 2560685.9508 | 1134275.1835 | 2560692.0279 | 1134259.8401
5 | 2560731.7738 | 1134293.5385 | 2560685.9508 | 1134275.1835
6 | 2560692.0279 | 1134259.8401 | 2560698.6827 | 1134243.0385
7 | 2560731.7738 | 1134293.5385 | 2560777.529 | 1134314.9185
8 | 2560731.7738 | 1134293.5385 | 2560739.9945 | 1134281.8234 | 2560750.21 | 1134270.3066 | 2560753.0355 | 1134267.9807
9 | 2560699.9354 | 1134239.8756 | 2560698.6827 | 1134243.0385
10 | 2560792.7326 | 1134322.0227 | 2560777.529 | 1134314.9185
11 | 2560753.0355 | 1134267.9807 | 2560762.8421 | 1134259.9085
12 | 2560675.5839 | 1134191.6491 | 2560687.4185 | 1134166.9821
13 | 2560705.9096 | 1134128.4407 | 2560687.4185 | 1134166.9821
14 | 2560889.1711 | 1133913.5474 | 2560986.0257 | 1133954.4079
15 | 2560822.7815 | 1133885.5392 | 2560889.1711 | 1133913.5474
16 | 2561020.741 | 1133969.0534 | 2560986.0257 | 1133954.4079
17 | 2560822.7815 | 1133885.5392 | 2560801.5833 | 1133929.555
18 | 2561020.741 | 1133969.0534 | 2561008.8679 | 1134031.4285 | 2561002.2212 | 1134068.8349 | 2561000.4825 | 1134077.2838
19 | 2561020.741 | 1133969.0534 | 2561032.6528 | 1133910.2244 | 2561039.5099 | 1133874.3507
20 | 2560948.5251 | 1134074.5078 | 2560972.9844 | 1134084.9101 | 2560993.8442 | 1134075.5481 | 2561000.4825 | 1134077.2838
21 | 2561039.5099 | 1133874.3507 | 2561053.3545 | 1133804.6662
22 | 2561027.3588 | 1133871.2388 | 2561039.5099 | 1133874.3507
23 | 2560873.1263 | 1133777.1019 | 2560872.0349 | 1133779.4526
24 | 2560936.5041 | 1133680.7305 | 2560926.8735 | 1133688.8749 | 2560898.4205 | 1133723.9883 | 2560888.5431 | 1133743.8958 | 2560873.1263 | 1133777.1019
25 | 2560948.5251 | 1134074.5078 | 2560944.8444 | 1134082.569 | 2560935.5679 | 1134104.3994
26 | 2561027.3588 | 1133871.2388 | 2561014.0733 | 1133864.7214
27 | 2561005.7533 | 1133860.6399 | 2561014.0733 | 1133864.7214
28 | 2561061.1956 | 1133765.1997 | 2561053.3545 | 1133804.6662
29 | 2560936.5041 | 1133680.7305 | 2560933.9279 | 1133675.1777 | 2560932.4337 | 1133665.5492 | 2560960.7429 | 1133604.8987
30 | 2560936.5041 | 1133680.7305 | 2560946.2577 | 1133685.6142 | 2560976.9715 | 1133696.0512
31 | 2561063.7088 | 1133885.1872 | 2561062.2261 | 1133892.3541
32 | 2561063.7088 | 1133885.1872 | 2561064.9498 | 1133879.1888 | 2561067.1002 | 1133864.1561 | 2561063.1665 | 1133860.5242 | 2561055.0986 | 1133859.1534 | 2561059.5822 | 1133829.9652 | 2561063.2543 | 1133813.0728
33 | 2561100.3895 | 1133747.1263 | 2561077.2871 | 1133759.8597 | 2561072.7907 | 1133769.2046 | 2561063.2543 | 1133813.0728
34 | 2561058.8733 | 1133723.8827 | 2561058.6711 | 1133727.1412 | 2561059.3768 | 1133730.3382 | 2561060.9349 | 1133733.2185 | 2561063.2208 | 1133735.5605 | 2561066.064 | 1133737.1874 | 2561069.2481 | 1133737.9672 | 2561072.7033 | 1133737.8226 | 2561075.9674 | 1133736.6898 | 2561078.7639 | 1133734.6707 | 2561080.8552 | 1133731.9225 | 2561089.8674 | 1133737.6339 | 2561096.9091 | 1133743.3802 | 2561100.3895 | 1133747.1263
35 | 2561058.8733 | 1133723.8827 | 2561033.732 | 1133715.3393
36 | 2561058.8733 | 1133723.8827 | 2561058.6711 | 1133727.1412 | 2561059.3768 | 1133730.3382 | 2561060.9349 | 1133733.2185 | 2561061.1956 | 1133765.1997
37 | 2561010.3665 | 1133707.3993 | 2561033.732 | 1133715.3393
38 | 2561010.3665 | 1133707.3993 | 2560976.9715 | 1133696.0512
39 | 2561014.4528 | 1133489.829 | 2560960.7429 | 1133604.8987
40 | 2561062.9272 | 1134368.941 | 2561080.3169 | 1134349.5633
41 | 2561111.0431 | 1134308.6643 | 2561088.3704 | 1134339.9154 | 2561080.7101 | 1134349.1251 | 2561080.3169 | 1134349.5633
42 | 2561040.0616 | 1134393.4364 | 2561049.4025 | 1134384.0117 | 2561062.9272 | 1134368.941
43 | 2561111.0431 | 1134308.6643 | 2561089.0982 | 1134294.4878
44 | 2561111.0431 | 1134308.6643 | 2561124.4748 | 1134317.0898
45 | 2561089.0982 | 1134294.4878 | 2561081.9994 | 1134289.9019
46 | 2561139.7061 | 1134326.6441 | 2561124.4748 | 1134317.0898
47 | 2561074.4338 | 1134285.0145 | 2561081.9994 | 1134289.9019
48 | 2561139.7061 | 1134326.6441 | 2561155.34 | 1134297.7003
49 | 2561139.7061 | 1134326.6441 | 2561143.8276 | 1134337.1605
50 | 2561046.2453 | 1134271.8976 | 2561055.6185 | 1134272.8597 | 2561074.4338 | 1134285.0145
51 | 2561155.34 | 1134297.7003 | 2561180.3927 | 1134251.319
52 | 2561143.8276 | 1134337.1605 | 2561144.0258 | 1134337.6663 | 2561142.8882 | 1134356.3747
53 | 2561046.2453 | 1134271.8976 | 2561053.6369 | 1134265.1797 | 2561065.6361 | 1134241.9089
54 | 2561046.2453 | 1134271.8976 | 2561046.0147 | 1134279.0916 | 2561044.0782 | 1134287.8863 | 2561043.082 | 1134290.2782
55 | 2561083.4804 | 1134207.302 | 2561065.6361 | 1134241.9089
56 | 2561037.3696 | 1134303.5285 | 2561039.5611 | 1134298.7321 | 2561043.082 | 1134290.2782
57 | 2561094.5715 | 1134177.5042 | 2561093.9723 | 1134183.6445 | 2561091.9396 | 1134189.4828 | 2561083.4804 | 1134207.302
58 | 2561083.4804 | 1134207.302 | 2561064.7177 | 1134195.7285 | 2561068.6034 | 1134183.1635
59 | 2561020.3211 | 1134243.2617 | 2561002.6722 | 1134228.4534
60 | 2560983.7384 | 1134212.5669 | 2561002.6722 | 1134228.4534
61 | 2561037.3696 | 1134303.5285 | 2561035.0568 | 1134308.5907
62 | 2561068.6034 | 1134183.1635 | 2561073.9899 | 1134165.7455
63 | 2561082.151 | 1134142.122 | 2561075.3481 | 1134161.3535 | 2561073.9899 | 1134165.7455
64 | 2561082.151 | 1134142.122 | 2561069.3331 | 1134126.2523 | 2561064.3635 | 1134120.7038
65 | 2561094.5715 | 1134177.5042 | 2561114.132 | 1134169.8678
66 | 2561064.3635 | 1134120.7038 | 2561074.4162 | 1134115.0554
67 | 2561064.3635 | 1134120.7038 | 2561039.3681 | 1134133.2606
68 | 2561095.6808 | 1134105.0175 | 2561085.5993 | 1134108.7717 | 2561074.4162 | 1134115.0554
69 | 2561017.2961 | 1134147.8704 | 2561031.7339 | 1134152.4642 | 2561039.3681 | 1134133.2606
70 | 2560983.7384 | 1134212.5669 | 2560982.3339 | 1134211.3884
71 | 2560958.9042 | 1134191.422 | 2560972.9369 | 1134203.5039 | 2560982.3339 | 1134211.3884
72 | 2560958.9042 | 1134191.422 | 2560943.428 | 1134211.9216 | 2560938.2944 | 1134218.5555
73 | 2560958.9042 | 1134191.422 | 2560970.4544 | 1134170.7923
74 | 2560918.61 | 1134243.9932 | 2560938.2944 | 1134218.5555
75 | 2560970.4544 | 1134170.7923 | 2560962.8651 | 1134167.2063 | 2560946.8977 | 1134160.525
76 | 2560907.4698 | 1134258.3894 | 2560918.61 | 1134243.9932
77 | 2560946.8977 | 1134160.525 | 2560945.8625 | 1134160.0919
78 | 2560907.4698 | 1134258.3894 | 2560892.1202 | 1134279.4185
79 | 2560907.4698 | 1134258.3894 | 2560930.2133 | 1134270.0442
80 | 2560891.883 | 1134279.7435 | 2560892.1202 | 1134279.4185
81 | 2560937.6247 | 1134273.8422 | 2560930.2133 | 1134270.0442
82 | 2560873.0164 | 1134305.5909 | 2560891.883 | 1134279.7435
83 | 2560946.5373 | 1134278.4094 | 2560937.6247 | 1134273.8422
84 | 2560873.0164 | 1134305.5909 | 2560863.2169 | 1134319.0162
85 | 2560964.9246 | 1134287.8319 | 2560946.5373 | 1134278.4094
86 | 2560999.2293 | 1134305.783 | 2560984.5051 | 1134298.078
87 | 2560999.2293 | 1134305.783 | 2561000.7856 | 1134306.5974
88 | 2560978.0331 | 1134294.6914 | 2560984.5051 | 1134298.078
89 | 2561029.179 | 1134321.4552 | 2561000.7856 | 1134306.5974
90 | 2560978.0331 | 1134294.6914 | 2560966.3489 | 1134288.5772
91 | 2561029.179 | 1134321.4552 | 2561030.4096 | 1134318.7618
92 | 2561029.179 | 1134321.4552 | 2561023.3755 | 1134335.516
93 | 2560964.9246 | 1134287.8319 | 2560966.3489 | 1134288.5772
94 | 2561030.4096 | 1134318.7618 | 2561032.5809 | 1134314.0095
95 | 2561023.3755 | 1134335.516 | 2561021.8409 | 1134339.2341
96 | 2560964.9246 | 1134287.8319 | 2560956.058 | 1134303.7268
97 | 2561032.5809 | 1134314.0095 | 2561035.0568 | 1134308.5907
98 | 2560949.1062 | 1134316.189 | 2560956.058 | 1134303.7268
99 | 2560946.6036 | 1134324.2023 | 2560947.3114 | 1134319.4064 | 2560949.1062 | 1134316.189
100 | 2560956.2421 | 1134329.298 | 2560946.6036 | 1134324.2023
101 | 2560803.1608 | 1134327.0266 | 2560800.9136 | 1134325.9483
102 | 2560792.7326 | 1134322.0227 | 2560800.9136 | 1134325.9483
103 | 2560803.1608 | 1134327.0266 | 2560813.2848 | 1134331.8846
104 | 2560842.4076 | 1134345.7895 | 2560823.9786 | 1134337.0159 | 2560813.2848 | 1134331.8846
105 | 2560842.4076 | 1134345.7895 | 2560856.4033 | 1134327.9507
106 | 2560863.2169 | 1134319.0162 | 2560860.5981 | 1134322.604 | 2560856.4033 | 1134327.9507
107 | 2561141.5765 | 1134377.9469 | 2561142.8882 | 1134356.3747
108 | 2561141.5765 | 1134377.9469 | 2561134.6583 | 1134391.2316 | 2561130.5319 | 1134397.1455
109 | 2561139.5226 | 1134066.2804 | 2561139.1389 | 1134072.9081 | 2561136.6526 | 1134080.0499 | 2561133.4437 | 1134086.1293 | 2561129.8071 | 1134090.3326 | 2561126.7052 | 1134092.7205 | 2561123.2393 | 1134094.755 | 2561095.6808 | 1134105.0175
110 | 2560917.0288 | 1134148.027 | 2560945.8625 | 1134160.0919
111 | 2560924.7699 | 1134129.81 | 2560935.5679 | 1134104.3994
112 | 2560917.0288 | 1134148.027 | 2560900.8056 | 1134172.7966
113 | 2560917.0288 | 1134148.027 | 2560881.2868 | 1134131.8174 | 2560857.776 | 1134121.7374
114 | 2560917.0288 | 1134148.027 | 2560924.7699 | 1134129.81
115 | 2560844.8199 | 1134028.9798 | 2560854.5882 | 1134007.0364
116 | 2560812.222 | 1134102.2066 | 2560817.2591 | 1134090.8793 | 2560844.8199 | 1134028.9798
117 | 2560812.222 | 1134102.2066 | 2560734.4885 | 1134068.8735
118 | 2560812.222 | 1134102.2066 | 2560834.6113 | 1134111.8058
119 | 2560739.7512 | 1134057.9337 | 2560736.0453 | 1134065.6506 | 2560734.4885 | 1134068.8735
120 | 2560734.4885 | 1134068.8735 | 2560725.0679 | 1134088.509
121 | 2560857.776 | 1134121.7374 | 2560834.6113 | 1134111.8058
122 | 2560739.7512 | 1134057.9337 | 2560556.1714 | 1133948.3858
123 | 2560720.1991 | 1134098.657 | 2560725.0679 | 1134088.509
124 | 2560555.6738 | 1133948.1847 | 2560556.1714 | 1133948.3858
125 | 2561014.4528 | 1133489.829 | 2561024.5742 | 1133494.3992
126 | 2561024.5742 | 1133494.3992 | 2561026.4579 | 1133495.2541 | 2561037.5877 | 1133499.8289 | 2561039.9018 | 1133500.5449
127 | 2561062.6391 | 1133510.5351 | 2561053.8646 | 1133507.5832 | 2561048.7795 | 1133503.2916 | 2561039.9018 | 1133500.5449
128 | 2560900.8056 | 1134172.7966 | 2560894.2004 | 1134182.8813
129 | 2560890.8535 | 1134187.9915 | 2560894.2004 | 1134182.8813
130 | 2560886.0252 | 1134195.3633 | 2560890.8535 | 1134187.9915
131 | 2560829.9952 | 1134204.1205 | 2560829.9952 | 1134204.1205 | 2560827.5675 | 1134200.0787 | 2560820.5649 | 1134196.3547
132 | 2560829.9952 | 1134204.1205 | 2560824.7814 | 1134215.6082
133 | 2560820.5649 | 1134196.3547 | 2560816.8237 | 1134194.365
134 | 2560822.3388 | 1134220.99 | 2560824.7814 | 1134215.6082
135 | 2560816.8237 | 1134194.365 | 2560801.3588 | 1134186.1406
136 | 2560822.3388 | 1134220.99 | 2560832.7722 | 1134221.6447 | 2560841.0371 | 1134226.1488
137 | 2560822.3388 | 1134220.99 | 2560798.42 | 1134233.3457
138 | 2560801.2378 | 1134186.0762 | 2560801.3588 | 1134186.1406
139 | 2560785.9132 | 1134240.9175 | 2560789.5375 | 1134237.9341 | 2560798.42 | 1134233.3457
140 | 2560785.43 | 1134241.3152 | 2560785.9132 | 1134240.9175
141 | 2560720.1991 | 1134098.657 | 2560705.9096 | 1134128.4407
142 | 2560555.5405 | 1133948.1308 | 2560555.6738 | 1133948.1847
143 | 2560486.2063 | 1133921.1325 | 2560550.4104 | 1133946.0579 | 2560555.5405 | 1133948.1308
144 | 2560486.2063 | 1133921.1325 | 2560443.1128 | 1133905.2072
145 | 2560772.4307 | 1134153.8533 | 2560772.285 | 1134154.1526
146 | 2560772.285 | 1134154.1526 | 2560764.4285 | 1134170.2964
147 | 2560782.0344 | 1134134.1192 | 2560772.4307 | 1134153.8533
148 | 2560759.7759 | 1134179.8567 | 2560764.4285 | 1134170.2964
149 | 2560757.3846 | 1134184.7705 | 2560759.7759 | 1134179.8567
150 | 2560744.8504 | 1134207.3207 | 2560744.8504 | 1134207.3207 | 2560748.456 | 1134203.1173 | 2560757.3846 | 1134184.7705
151 | 2560744.8504 | 1134207.3207 | 2560739.8674 | 1134210.3769 | 2560733.6634 | 1134213.1504
152 | 2560722.2905 | 1134218.2347 | 2560733.6634 | 1134213.1504
153 | 2560699.9354 | 1134239.8756 | 2560703.7147 | 1134230.3338 | 2560711.7559 | 1134222.9443 | 2560722.2905 | 1134218.2347
154 | 2560777.8648 | 1134247.5425 | 2560785.43 | 1134241.3152
155 | 2560777.8648 | 1134247.5425 | 2560772.7259 | 1134251.7726
156 | 2560762.8421 | 1134259.9085 | 2560772.7259 | 1134251.7726
157 | 2560443.1128 | 1133905.2072 | 2560361.9259 | 1133873.0848
158 | 2560278.4462 | 1134079.1339 | 2560361.9259 | 1133873.0848
159 | 2560299.8142 | 1134088.6759 | 2560278.4462 | 1134079.1339
160 | 2560228.7693 | 1134056.9505 | 2560278.4462 | 1134079.1339
161 | 2560299.8142 | 1134088.6759 | 2560305.5367 | 1134091.4016
162 | 2560205.9714 | 1134046.5638 | 2560160.7289 | 1134025.9514
163 | 2560228.7693 | 1134056.9505 | 2560205.9714 | 1134046.5638
164 | 2560061.7319 | 1133980.8484 | 2560160.7289 | 1134025.9514

## bus_geodata
| x | y | coords
0 | 2560631.1602 | 1134301.5693
1 | 2560635.2689 | 1134291.8673
2 | 2560640.166 | 1134285.1096
3 | 2560683.9516 | 1134275.4856
4 | 2560685.9508 | 1134275.1835
5 | 2560692.0279 | 1134259.8401
6 | 2560731.7738 | 1134293.5385
7 | 2560698.6827 | 1134243.0385
8 | 2560777.529 | 1134314.9185
9 | 2560753.0355 | 1134267.9807
10 | 2560675.5839 | 1134191.6491
11 | 2560687.4185 | 1134166.9821
12 | 2560889.1711 | 1133913.5474
13 | 2560986.0257 | 1133954.4079
14 | 2560822.7815 | 1133885.5392
15 | 2561020.741 | 1133969.0534
16 | 2560801.5833 | 1133929.555
17 | 2561000.4825 | 1134077.2838
18 | 2561039.5099 | 1133874.3507
19 | 2560872.0349 | 1133779.4526
20 | 2560873.1263 | 1133777.1019
21 | 2560948.5251 | 1134074.5078
22 | 2561027.3588 | 1133871.2388
23 | 2561014.0733 | 1133864.7214
24 | 2561053.3545 | 1133804.6662
25 | 2560936.5041 | 1133680.7305
26 | 2561063.7088 | 1133885.1872
27 | 2561062.2261 | 1133892.3541
28 | 2561063.2543 | 1133813.0728
29 | 2561100.3895 | 1133747.1263
30 | 2561058.8733 | 1133723.8827
31 | 2561061.1956 | 1133765.1997
32 | 2561033.732 | 1133715.3393
33 | 2561010.3665 | 1133707.3993
34 | 2561005.7533 | 1133860.6399
35 | 2560976.9715 | 1133696.0512
36 | 2560960.7429 | 1133604.8987
37 | 2561080.3169 | 1134349.5633
38 | 2561062.9272 | 1134368.941
39 | 2561111.0431 | 1134308.6643
40 | 2561040.0616 | 1134393.4364
41 | 2561089.0982 | 1134294.4878
42 | 2561124.4748 | 1134317.0898
43 | 2561081.9994 | 1134289.9019
44 | 2561139.7061 | 1134326.6441
45 | 2561074.4338 | 1134285.0145
46 | 2561155.34 | 1134297.7003
47 | 2561143.8276 | 1134337.1605
48 | 2561046.2453 | 1134271.8976
49 | 2561065.6361 | 1134241.9089
50 | 2561043.082 | 1134290.2782
51 | 2561083.4804 | 1134207.302
52 | 2561020.3211 | 1134243.2617
53 | 2561002.6722 | 1134228.4534
54 | 2561037.3696 | 1134303.5285
55 | 2561068.6034 | 1134183.1635
56 | 2561073.9899 | 1134165.7455
57 | 2561082.151 | 1134142.122
58 | 2561094.5715 | 1134177.5042
59 | 2561064.3635 | 1134120.7038
60 | 2561114.132 | 1134169.8678
61 | 2561074.4162 | 1134115.0554
62 | 2561039.3681 | 1134133.2606
63 | 2560983.7384 | 1134212.5669
64 | 2560982.3339 | 1134211.3884
65 | 2560958.9042 | 1134191.422
66 | 2560938.2944 | 1134218.5555
67 | 2560970.4544 | 1134170.7923
68 | 2560918.61 | 1134243.9932
69 | 2560946.8977 | 1134160.525
70 | 2560907.4698 | 1134258.3894
71 | 2560892.1202 | 1134279.4185
72 | 2560930.2133 | 1134270.0442
73 | 2560891.883 | 1134279.7435
74 | 2560937.6247 | 1134273.8422
75 | 2560873.0164 | 1134305.5909
76 | 2560946.5373 | 1134278.4094
77 | 2560999.2293 | 1134305.783
78 | 2560984.5051 | 1134298.078
79 | 2561000.7856 | 1134306.5974
80 | 2560978.0331 | 1134294.6914
81 | 2561029.179 | 1134321.4552
82 | 2560966.3489 | 1134288.5772
83 | 2561030.4096 | 1134318.7618
84 | 2561023.3755 | 1134335.516
85 | 2560964.9246 | 1134287.8319
86 | 2561032.5809 | 1134314.0095
87 | 2561021.8409 | 1134339.2341
88 | 2560956.058 | 1134303.7268
89 | 2560949.1062 | 1134316.189
90 | 2560946.6036 | 1134324.2023
91 | 2560800.9136 | 1134325.9483
92 | 2560803.1608 | 1134327.0266
93 | 2560792.7326 | 1134322.0227
94 | 2560813.2848 | 1134331.8846
95 | 2560842.4076 | 1134345.7895
96 | 2560856.4033 | 1134327.9507
97 | 2560863.2169 | 1134319.0162
98 | 2560956.2421 | 1134329.298
99 | 2561035.0568 | 1134308.5907
100 | 2561142.8882 | 1134356.3747
101 | 2561141.5765 | 1134377.9469
102 | 2561130.5319 | 1134397.1455
103 | 2561180.3927 | 1134251.319
104 | 2561095.6808 | 1134105.0175
105 | 2561017.2961 | 1134147.8704
106 | 2560945.8625 | 1134160.0919
107 | 2560935.5679 | 1134104.3994
108 | 2560917.0288 | 1134148.027
109 | 2561139.5226 | 1134066.2804
110 | 2560854.5882 | 1134007.0364
111 | 2560844.8199 | 1134028.9798
112 | 2560812.222 | 1134102.2066
113 | 2560734.4885 | 1134068.8735
114 | 2560834.6113 | 1134111.8058
115 | 2560924.7699 | 1134129.81
116 | 2560739.7512 | 1134057.9337
117 | 2560725.0679 | 1134088.509
118 | 2560556.1714 | 1133948.3858
119 | 2560857.776 | 1134121.7374
120 | 2561014.4528 | 1133489.829
121 | 2561024.5742 | 1133494.3992
122 | 2561039.9018 | 1133500.5449
123 | 2561062.6391 | 1133510.5351
124 | 2560900.8056 | 1134172.7966
125 | 2560894.2004 | 1134182.8813
126 | 2560890.8535 | 1134187.9915
127 | 2560886.0252 | 1134195.3633
128 | 2560829.9952 | 1134204.1205
129 | 2560820.5649 | 1134196.3547
130 | 2560824.7814 | 1134215.6082
131 | 2560816.8237 | 1134194.365
132 | 2560822.3388 | 1134220.99
133 | 2560801.3588 | 1134186.1406
134 | 2560841.0371 | 1134226.1488
135 | 2560798.42 | 1134233.3457
136 | 2560801.2378 | 1134186.0762
137 | 2560785.9132 | 1134240.9175
138 | 2560720.1991 | 1134098.657
139 | 2560555.6738 | 1133948.1847
140 | 2560555.5405 | 1133948.1308
141 | 2560486.2063 | 1133921.1325
142 | 2560772.285 | 1134154.1526
143 | 2560772.4307 | 1134153.8533
144 | 2560764.4285 | 1134170.2964
145 | 2560782.0344 | 1134134.1192
146 | 2560759.7759 | 1134179.8567
147 | 2560757.3846 | 1134184.7705
148 | 2560744.8504 | 1134207.3207
149 | 2560733.6634 | 1134213.1504
150 | 2560722.2905 | 1134218.2347
151 | 2560699.9354 | 1134239.8756
152 | 2560705.9096 | 1134128.4407
153 | 2560785.43 | 1134241.3152
154 | 2560777.8648 | 1134247.5425
155 | 2560772.7259 | 1134251.7726
156 | 2560762.8421 | 1134259.9085
157 | 2560443.1128 | 1133905.2072
158 | 2560361.9259 | 1133873.0848
159 | 2560278.4462 | 1134079.1339
160 | 2560305.5367 | 1134091.4016
161 | 2560299.8142 | 1134088.6759
162 | 2560205.9714 | 1134046.5638
163 | 2560160.7289 | 1134025.9514
164 | 2560228.7693 | 1134056.9505
165 | 2560061.7319 | 1133980.8484
166 | 2560970.4544 | 1134170.7923

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1