## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5413-3_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5413-3_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5413-3_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5413-3_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5413-3_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5413-3_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5413-3_0_8_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5413-3_0_8_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5413-3_0_8_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5413-3_0_8_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_5413-3_0_8_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_5413-3_0_8_node_151 | 0.4 | n |  | TRUE
12 | bus_LV_5413-3_0_8_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5413-3_0_8_node_148 | 0.4 | n |  | TRUE
14 | bus_LV_5413-3_0_8_node_142 | 0.4 | n |  | TRUE
15 | bus_LV_5413-3_0_8_node_140 | 0.4 | n |  | TRUE
16 | bus_LV_5413-3_0_8_node_145 | 0.4 | n |  | TRUE
17 | bus_LV_5413-3_0_8_node_155 | 0.4 | n |  | TRUE
18 | bus_LV_5413-3_0_8_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_5413-3_0_8_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_5413-3_0_8_node_128 | 0.4 | n |  | TRUE
21 | bus_LV_5413-3_0_8_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5413-3_0_8_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_5413-3_0_8_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_5413-3_0_8_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_5413-3_0_8_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_5413-3_0_8_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_5413-3_0_8_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5413-3_0_8_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_5413-3_0_8_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5413-3_0_8_node_134 | 0.4 | n |  | TRUE
31 | bus_LV_5413-3_0_8_node_131 | 0.4 | n |  | TRUE
32 | bus_LV_5413-3_0_8_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_5413-3_0_8_node_125 | 0.4 | n |  | TRUE
34 | bus_LV_5413-3_0_8_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_5413-3_0_8_node_124 | 0.4 | n |  | TRUE
36 | bus_LV_5413-3_0_8_node_149 | 0.4 | n |  | TRUE
37 | bus_LV_5413-3_0_8_node_144 | 0.4 | n |  | TRUE
38 | bus_LV_5413-3_0_8_node_138 | 0.4 | n |  | TRUE
39 | bus_LV_5413-3_0_8_node_146 | 0.4 | n |  | TRUE
40 | bus_LV_5413-3_0_8_node_153 | 0.4 | n |  | TRUE
41 | bus_LV_5413-3_0_8_node_13 | 0.4 | n |  | TRUE
42 | bus_LV_5413-3_0_8_node_14 | 0.4 | n |  | TRUE
43 | bus_LV_5413-3_0_8_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_5413-3_0_8_node_16 | 0.4 | n |  | TRUE
45 | bus_LV_5413-3_0_8_node_17 | 0.4 | n |  | TRUE
46 | bus_LV_5413-3_0_8_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_5413-3_0_8_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_5413-3_0_8_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_5413-3_0_8_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_5413-3_0_8_node_112 | 0.4 | n |  | TRUE
51 | bus_LV_5413-3_0_8_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_5413-3_0_8_node_20 | 0.4 | n |  | TRUE
53 | bus_LV_5413-3_0_8_node_21 | 0.4 | n |  | TRUE
54 | bus_LV_5413-3_0_8_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_5413-3_0_8_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_5413-3_0_8_node_24 | 0.4 | n |  | TRUE
57 | bus_LV_5413-3_0_8_node_25 | 0.4 | n |  | TRUE
58 | bus_LV_5413-3_0_8_node_27 | 0.4 | n |  | TRUE
59 | bus_LV_5413-3_0_8_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_5413-3_0_8_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_5413-3_0_8_node_123 | 0.4 | n |  | TRUE
62 | bus_LV_5413-3_0_8_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_5413-3_0_8_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_5413-3_0_8_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_5413-3_0_8_node_30 | 0.4 | n |  | TRUE
66 | bus_LV_5413-3_0_8_node_31 | 0.4 | n |  | TRUE
67 | bus_LV_5413-3_0_8_node_33 | 0.4 | n |  | TRUE
68 | bus_LV_5413-3_0_8_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_5413-3_0_8_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_5413-3_0_8_node_159 | 0.4 | n |  | TRUE
71 | bus_LV_5413-3_0_8_node_158 | 0.4 | n |  | TRUE
72 | bus_LV_5413-3_0_8_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_5413-3_0_8_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_5413-3_0_8_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_5413-3_0_8_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_5413-3_0_8_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_5413-3_0_8_node_135 | 0.4 | n |  | TRUE
78 | bus_LV_5413-3_0_8_node_132 | 0.4 | n |  | TRUE
79 | bus_LV_5413-3_0_8_node_130 | 0.4 | n |  | TRUE
80 | bus_LV_5413-3_0_8_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_5413-3_0_8_node_127 | 0.4 | n |  | TRUE
82 | bus_LV_5413-3_0_8_node_126 | 0.4 | n |  | TRUE
83 | bus_LV_5413-3_0_8_node_47 | 0.4 | n |  | TRUE
84 | bus_LV_5413-3_0_8_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_5413-3_0_8_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_5413-3_0_8_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_5413-3_0_8_node_51 | 0.4 | n |  | TRUE
88 | bus_LV_5413-3_0_8_node_52 | 0.4 | n |  | TRUE
89 | bus_LV_5413-3_0_8_node_53 | 0.4 | n |  | TRUE
90 | bus_LV_5413-3_0_8_node_54 | 0.4 | n |  | TRUE
91 | bus_LV_5413-3_0_8_node_55 | 0.4 | n |  | TRUE
92 | bus_LV_5413-3_0_8_node_56 | 0.4 | n |  | TRUE
93 | bus_LV_5413-3_0_8_node_57 | 0.4 | n |  | TRUE
94 | bus_LV_5413-3_0_8_node_63 | 0.4 | n |  | TRUE
95 | bus_LV_5413-3_0_8_node_64 | 0.4 | n |  | TRUE
96 | bus_LV_5413-3_0_8_node_65 | 0.4 | n |  | TRUE
97 | bus_LV_5413-3_0_8_node_66 | 0.4 | n |  | TRUE
98 | bus_LV_5413-3_0_8_node_69 | 0.4 | n |  | TRUE
99 | bus_LV_5413-3_0_8_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_5413-3_0_8_node_71 | 0.4 | n |  | TRUE
101 | bus_LV_5413-3_0_8_node_67 | 0.4 | n |  | TRUE
102 | bus_LV_5413-3_0_8_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_5413-3_0_8_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_5413-3_0_8_node_68 | 0.4 | n |  | TRUE
105 | bus_LV_5413-3_0_8_node_70 | 0.4 | n |  | TRUE
106 | bus_LV_5413-3_0_8_node_72 | 0.4 | n |  | TRUE
107 | bus_LV_5413-3_0_8_node_86 | 0.4 | n |  | TRUE
108 | bus_LV_5413-3_0_8_node_73 | 0.4 | n |  | TRUE
109 | bus_LV_5413-3_0_8_node_100 | 0.4 | n |  | TRUE
110 | bus_LV_5413-3_0_8_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_5413-3_0_8_node_106 | 0.4 | n |  | TRUE
112 | bus_LV_5413-3_0_8_node_104 | 0.4 | n |  | TRUE
113 | bus_LV_5413-3_0_8_node_101 | 0.4 | n |  | TRUE
114 | bus_LV_5413-3_0_8_node_78 | 0.4 | n |  | TRUE
115 | bus_LV_5413-3_0_8_node_79 | 0.4 | n |  | TRUE
116 | bus_LV_5413-3_0_8_node_96 | 0.4 | n |  | TRUE
117 | bus_LV_5413-3_0_8_node_95 | 0.4 | n |  | TRUE
118 | bus_LV_5413-3_0_8_node_82 | 0.4 | n |  | TRUE
119 | bus_LV_5413-3_0_8_node_83 | 0.4 | n |  | TRUE
120 | bus_LV_5413-3_0_8_node_85 | 0.4 | n |  | TRUE
121 | bus_LV_5413-3_0_8_node_87 | 0.4 | n |  | TRUE
122 | bus_LV_5413-3_0_8_node_88 | 0.4 | n |  | TRUE
123 | bus_LV_5413-3_0_8_node_89 | 0.4 | n |  | TRUE
124 | bus_LV_5413-3_0_8_node_90 | 0.4 | n |  | TRUE
125 | bus_LV_5413-3_0_8_node_91 | 0.4 | n |  | TRUE
126 | bus_LV_5413-3_0_8_node_92 | 0.4 | n |  | TRUE
127 | bus_LV_5413-3_0_8_node_94 | 0.4 | n |  | TRUE
128 | bus_LV_5413-3_0_8_node_93 | 0.4 | n |  | TRUE
129 | bus_LV_5413-3_0_8_node_102 | 0.4 | n |  | TRUE
130 | bus_LV_5413-3_0_8_node_107 | 0.4 | n |  | TRUE
131 | bus_LV_5413-3_0_8_node_105 | 0.4 | n |  | TRUE
132 | bus_LV_5413-3_0_8_node_109 | 0.4 | n |  | TRUE
133 | bus_LV_5413-3_0_8_node_110 | 0.4 | n |  | TRUE
134 | bus_LV_5413-3_0_8_node_119 | 0.4 | n |  | TRUE
135 | bus_LV_5413-3_0_8_node_118 | 0.4 | n |  | TRUE
136 | bus_LV_5413-3_0_8_node_108 | 0.4 | n |  | TRUE
137 | bus_LV_5413-3_0_8_node_120 | 0.4 | n |  | TRUE
138 | bus_LV_5413-3_0_8_node_121 | 0.4 | n |  | TRUE
139 | bus_LV_5413-3_0_8_node_117 | 0.4 | n |  | TRUE
140 | bus_LV_5413-3_0_8_node_115 | 0.4 | n |  | TRUE
141 | bus_LV_5413-3_0_8_node_116 | 0.4 | n |  | TRUE
142 | bus_LV_5413-3_0_8_node_122 | 0.4 | n |  | TRUE
143 | bus_LV_5413-3_0_8_node_129 | 0.4 | n |  | TRUE
144 | bus_LV_5413-3_0_8_node_133 | 0.4 | n |  | TRUE
145 | bus_LV_5413-3_0_8_node_136 | 0.4 | n |  | TRUE
146 | bus_LV_5413-3_0_8_node_137 | 0.4 | n |  | TRUE
147 | bus_LV_5413-3_0_8_node_139 | 0.4 | n |  | TRUE
148 | bus_LV_5413-3_0_8_node_141 | 0.4 | n |  | TRUE
149 | bus_LV_5413-3_0_8_node_143 | 0.4 | n |  | TRUE
150 | bus_LV_5413-3_0_8_node_147 | 0.4 | n |  | TRUE
151 | bus_LV_5413-3_0_8_node_152 | 0.4 | n |  | TRUE
152 | bus_LV_5413-3_0_8_node_150 | 0.4 | n |  | TRUE
153 | bus_LV_5413-3_0_8_node_154 | 0.4 | n |  | TRUE
154 | bus_LV_5413-3_0_8_node_156 | 0.4 | n |  | TRUE
155 | bus_LV_5413-3_0_8_node_157 | 0.4 | n |  | TRUE
156 | bus_MV_79_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5413-3_0_8_load_0 | 0 | 0.00014241 | 3.569e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5413-3_0_8_load_5 | 5 | 0.00087091 | 0.00021827 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5413-3_0_8_load_7 | 6 | 0.00029642 | 7.429e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5413-3_0_8_load_9 | 7 | 0.00022061 | 5.5291e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5413-3_0_8_load_11 | 9 | 0.000275 | 6.8922e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5413-3_0_8_load_12 | 10 | 0.0080285 | 0.0020121 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5413-3_0_8_load_151 | 11 | 0.00015482 | 3.8801e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5413-3_0_8_load_8 | 12 | 0.004971 | 0.0012459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5413-3_0_8_load_148 | 13 | 0.00064068 | 0.00016057 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5413-3_0_8_load_140 | 15 | 0.0070964 | 0.0017785 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5413-3_0_8_load_145 | 16 | 0.00056425 | 0.00014142 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5413-3_0_8_load_155 | 17 | 0.00026519 | 6.6463e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5413-3_0_8_load_128 | 20 | 0.00018765 | 4.7029e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5413-3_0_8_load_58 | 23 | 0.0068574 | 0.0017186 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5413-3_0_8_load_61 | 24 | 0.00095125 | 0.00023841 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5413-3_0_8_load_59 | 25 | 0.0070543 | 0.001768 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5413-3_0_8_load_134 | 30 | 0.00021223 | 5.319e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5413-3_0_8_load_124 | 35 | 0.0035589 | 0.00089195 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5413-3_0_8_load_144 | 37 | 0.00085027 | 0.0002131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5413-3_0_8_load_138 | 38 | 0.00075504 | 0.00018923 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5413-3_0_8_load_153 | 40 | 0.00056736 | 0.00014219 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5413-3_0_8_load_13 | 41 | 0.0023749 | 0.00059521 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5413-3_0_8_load_14 | 42 | 0.017149 | 0.004298 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5413-3_0_8_load_15 | 43 | 0.0049527 | 0.0012413 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5413-3_0_8_load_16 | 44 | 0.011249 | 0.0028192 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5413-3_0_8_load_17 | 45 | 0.0040044 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5413-3_0_8_load_18 | 46 | 0.028376 | 0.0071116 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5413-3_0_8_load_19 | 47 | 0.0025965 | 0.00065075 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5413-3_0_8_load_111 | 48 | 0.010195 | 0.002555 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5413-3_0_8_load_113 | 49 | 0.0025834 | 0.00064746 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5413-3_0_8_load_112 | 50 | 0.010442 | 0.002617 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5413-3_0_8_load_114 | 51 | 0.008414 | 0.0021087 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5413-3_0_8_load_20 | 52 | 0.0044816 | 0.0011232 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5413-3_0_8_load_21 | 53 | 0.0017548 | 0.00043978 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5413-3_0_8_load_23 | 55 | 0.0031342 | 0.0007855 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5413-3_0_8_load_25 | 57 | 0.0036851 | 0.00092357 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5413-3_0_8_load_27 | 58 | 0.0049521 | 0.0012411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5413-3_0_8_load_28 | 59 | 0.0063399 | 0.0015889 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5413-3_0_8_load_29 | 60 | 0.0046975 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5413-3_0_8_load_123 | 61 | 0.0068737 | 0.0017227 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5413-3_0_8_load_76 | 62 | 0.0042498 | 0.0010651 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5413-3_0_8_load_74 | 63 | 0.0017496 | 0.00043849 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5413-3_0_8_load_77 | 64 | 0.0055833 | 0.0013993 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5413-3_0_8_load_30 | 65 | 0.0056266 | 0.0014102 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5413-3_0_8_load_31 | 66 | 0.0015305 | 0.00038357 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5413-3_0_8_load_33 | 67 | 0.0084008 | 0.0021054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5413-3_0_8_load_45 | 68 | 0.0042329 | 0.0010609 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5413-3_0_8_load_159 | 70 | 0.031262 | 0.0078351 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5413-3_0_8_load_158 | 71 | 0.016339 | 0.004095 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5413-3_0_8_load_50 | 73 | 0.0061113 | 0.0015316 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5413-3_0_8_load_49 | 74 | 0.0013444 | 0.00033694 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5413-3_0_8_load_60 | 76 | 0.004694 | 0.0011764 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5413-3_0_8_load_135 | 77 | 0.00042177 | 0.00010571 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5413-3_0_8_load_132 | 78 | 0.00023554 | 5.9032e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5413-3_0_8_load_130 | 79 | 0.0003457 | 8.664e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5413-3_0_8_load_48 | 80 | 0.0020891 | 0.00052357 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5413-3_0_8_load_127 | 81 | 0.0020972 | 0.0005256 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5413-3_0_8_load_126 | 82 | 0.0054735 | 0.0013718 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5413-3_0_8_load_47 | 83 | 0.0012516 | 0.00031369 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5413-3_0_8_load_84 | 85 | 0.00079767 | 0.00019991 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5413-3_0_8_load_81 | 86 | 0.0012363 | 0.00030985 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5413-3_0_8_load_51 | 87 | 0.0019959 | 0.00050023 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5413-3_0_8_load_52 | 88 | 0.0014187 | 0.00035555 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5413-3_0_8_load_53 | 89 | 0.0014777 | 0.00037034 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5413-3_0_8_load_54 | 90 | 0.00078252 | 0.00019612 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5413-3_0_8_load_55 | 91 | 0.0018073 | 0.00045295 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5413-3_0_8_load_56 | 92 | 0.0019754 | 0.00049509 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5413-3_0_8_load_63 | 94 | 0.0024252 | 0.00060782 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5413-3_0_8_load_64 | 95 | 0.00095199 | 0.00023859 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5413-3_0_8_load_65 | 96 | 0.0050719 | 0.0012711 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5413-3_0_8_load_66 | 97 | 0.0016539 | 0.0004145 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5413-3_0_8_load_71 | 100 | 0.0036894 | 0.00092464 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5413-3_0_8_load_67 | 101 | 0.0031901 | 0.00079951 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5413-3_0_8_load_98 | 102 | 0.015224 | 0.0038155 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5413-3_0_8_load_99 | 103 | 0.0015938 | 0.00039945 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5413-3_0_8_load_68 | 104 | 0.003721 | 0.00093256 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5413-3_0_8_load_70 | 105 | 0.0014832 | 0.00037172 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5413-3_0_8_load_72 | 106 | 0.002087 | 0.00052304 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5413-3_0_8_load_86 | 107 | 0.0013737 | 0.00034427 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5413-3_0_8_load_104 | 112 | 0.016795 | 0.0042092 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5413-3_0_8_load_101 | 113 | 0.017188 | 0.0043077 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5413-3_0_8_load_78 | 114 | 0.0017106 | 0.00042873 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5413-3_0_8_load_79 | 115 | 0.0056306 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5413-3_0_8_load_96 | 116 | 0.0015012 | 0.00037624 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5413-3_0_8_load_95 | 117 | 0.0013533 | 0.00033918 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5413-3_0_8_load_82 | 118 | 0.0029167 | 0.00073101 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5413-3_0_8_load_83 | 119 | 0.001381 | 0.00034611 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5413-3_0_8_load_85 | 120 | 0.0011976 | 0.00030015 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5413-3_0_8_load_87 | 121 | 0.001594 | 0.0003995 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5413-3_0_8_load_89 | 123 | 0.0057528 | 0.0014418 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5413-3_0_8_load_90 | 124 | 0.0035508 | 0.00088992 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5413-3_0_8_load_91 | 125 | 0.0014551 | 0.00036467 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5413-3_0_8_load_92 | 126 | 0.0015111 | 0.00037872 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5413-3_0_8_load_94 | 127 | 0.0024061 | 0.00060303 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5413-3_0_8_load_93 | 128 | 0.0037764 | 0.00094644 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5413-3_0_8_load_102 | 129 | 0.021154 | 0.0053017 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5413-3_0_8_load_105 | 131 | 0.012677 | 0.0031771 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5413-3_0_8_load_109 | 132 | 0.0092669 | 0.0023225 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5413-3_0_8_load_110 | 133 | 0.0090741 | 0.0022742 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5413-3_0_8_load_118 | 135 | 0.012275 | 0.0030764 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5413-3_0_8_load_108 | 136 | 0.0050544 | 0.0012667 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5413-3_0_8_load_120 | 137 | 0.0016362 | 0.00041008 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5413-3_0_8_load_121 | 138 | 0.0015617 | 0.00039141 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5413-3_0_8_load_117 | 139 | 0.0029361 | 0.00073586 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5413-3_0_8_load_115 | 140 | 0.0018195 | 0.000456 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5413-3_0_8_load_116 | 141 | 0.0016094 | 0.00040335 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5413-3_0_8_load_122 | 142 | 0.0014087 | 0.00035305 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5413-3_0_8_load_129 | 143 | 0.00040081 | 0.00010045 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5413-3_0_8_load_133 | 144 | 0.0019069 | 0.00047792 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5413-3_0_8_load_136 | 145 | 0.00093751 | 0.00023496 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5413-3_0_8_load_139 | 147 | 0.0012219 | 0.00030622 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5413-3_0_8_load_141 | 148 | 0.00090255 | 0.0002262 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5413-3_0_8_load_143 | 149 | 0.0022032 | 0.00055216 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5413-3_0_8_load_152 | 151 | 0.00022098 | 5.5383e-05 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5413-3_0_8_load_150 | 152 | 0.0021352 | 0.00053512 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5413-3_0_8_load_154 | 153 | 0.0011291 | 0.00028297 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5413-3_0_8_load_156 | 154 | 0.0011514 | 0.00028858 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5413-3_0_8_load_157 | 155 | 0.00035002 | 8.7724e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5413-3_0_8_line_0 |  | 0 | 1 | 0.21699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5413-3_0_8_line_1 |  | 0 | 2 | 0.045437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5413-3_0_8_line_2 |  | 1 | 3 | 0.069844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5413-3_0_8_line_3 |  | 1 | 4 | 0.2272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5413-3_0_8_line_4 |  | 2 | 5 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5413-3_0_8_line_5 |  | 3 | 6 | 0.037418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5413-3_0_8_line_6 |  | 4 | 7 | 0.28003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5413-3_0_8_line_7 |  | 4 | 8 | 0.27002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5413-3_0_8_line_8 |  | 4 | 9 | 0.6565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5413-3_0_8_line_9 |  | 5 | 10 | 0.0011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5413-3_0_8_line_10 |  | 6 | 11 | 0.010014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5413-3_0_8_line_11 |  | 8 | 14 | 0.30994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5413-3_0_8_line_12 |  | 8 | 15 | 0.079849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5413-3_0_8_line_13 |  | 9 | 16 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5413-3_0_8_line_14 |  | 10 | 17 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5413-3_0_8_line_15 |  | 12 | 13 | 0.04245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5413-3_0_8_line_16 |  | 13 | 36 | 0.042528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5413-3_0_8_line_17 |  | 14 | 37 | 0.24965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5413-3_0_8_line_18 |  | 15 | 38 | 0.044847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5413-3_0_8_line_19 |  | 16 | 39 | 0.2995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5413-3_0_8_line_20 |  | 17 | 40 | 0.032572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5413-3_0_8_line_21 |  | 18 | 19 | 0.76013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5413-3_0_8_line_22 |  | 18 | 20 | 0.068891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5413-3_0_8_line_23 |  | 19 | 30 | 0.031991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5413-3_0_8_line_24 |  | 19 | 31 | 0.022504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5413-3_0_8_line_25 |  | 20 | 26 | 0.021802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5413-3_0_8_line_26 |  | 21 | 22 | 0.067826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5413-3_0_8_line_27 |  | 21 | 23 | 0.034695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5413-3_0_8_line_28 |  | 22 | 24 | 0.064727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5413-3_0_8_line_29 |  | 22 | 25 | 0.021486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5413-3_0_8_line_30 |  | 24 | 27 | 0.024217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5413-3_0_8_line_31 |  | 25 | 76 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5413-3_0_8_line_32 |  | 26 | 27 | 0.011333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5413-3_0_8_line_33 |  | 26 | 28 | 0.032219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5413-3_0_8_line_34 |  | 27 | 29 | 0.018927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5413-3_0_8_line_35 |  | 28 | 63 | 0.061658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5413-3_0_8_line_36 |  | 29 | 55 | 0.012295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5413-3_0_8_line_37 |  | 30 | 77 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5413-3_0_8_line_38 |  | 31 | 78 | 0.031546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5413-3_0_8_line_39 |  | 31 | 79 | 0.025341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5413-3_0_8_line_40 |  | 32 | 33 | 0.009889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5413-3_0_8_line_41 |  | 32 | 34 | 0.54675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5413-3_0_8_line_42 |  | 32 | 35 | 0.041716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5413-3_0_8_line_43 |  | 33 | 81 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5413-3_0_8_line_44 |  | 33 | 82 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5413-3_0_8_line_45 |  | 34 | 71 | 0.18528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5413-3_0_8_line_46 |  | 35 | 58 | 0.011948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5413-3_0_8_line_47 |  | 36 | 152 | 0.026708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5413-3_0_8_line_48 |  | 38 | 146 | 0.029575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5413-3_0_8_line_49 |  | 39 | 150 | 0.27179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5413-3_0_8_line_50 |  | 40 | 153 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5413-3_0_8_line_51 |  | 41 | 42 | 0.0030668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5413-3_0_8_line_52 |  | 41 | 43 | 0.022866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5413-3_0_8_line_53 |  | 42 | 44 | 0.013583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5413-3_0_8_line_54 |  | 43 | 45 | 0.0051088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5413-3_0_8_line_55 |  | 44 | 46 | 0.0022448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5413-3_0_8_line_56 |  | 45 | 47 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5413-3_0_8_line_57 |  | 46 | 48 | 0.0078183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5413-3_0_8_line_58 |  | 47 | 49 | 0.009029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5413-3_0_8_line_59 |  | 48 | 50 | 0.0089748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5413-3_0_8_line_60 |  | 49 | 51 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5413-3_0_8_line_61 |  | 50 | 133 | 0.0070856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5413-3_0_8_line_62 |  | 51 | 61 | 0.014298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5413-3_0_8_line_63 |  | 52 | 53 | 0.02672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5413-3_0_8_line_64 |  | 52 | 54 | 0.018093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5413-3_0_8_line_65 |  | 53 | 55 | 0.011786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5413-3_0_8_line_66 |  | 54 | 56 | 0.005694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5413-3_0_8_line_67 |  | 54 | 57 | 0.013829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5413-3_0_8_line_68 |  | 56 | 58 | 0.015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5413-3_0_8_line_69 |  | 56 | 59 | 0.015528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5413-3_0_8_line_70 |  | 57 | 60 | 0.010686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5413-3_0_8_line_71 |  | 59 | 61 | 0.00099779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5413-3_0_8_line_72 |  | 60 | 62 | 0.0083504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5413-3_0_8_line_73 |  | 62 | 64 | 0.0010709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5413-3_0_8_line_74 |  | 64 | 114 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5413-3_0_8_line_75 |  | 65 | 66 | 0.033554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5413-3_0_8_line_76 |  | 66 | 67 | 0.0083571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5413-3_0_8_line_77 |  | 67 | 68 | 0.019066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5413-3_0_8_line_78 |  | 68 | 75 | 0.017846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5413-3_0_8_line_79 |  | 69 | 70 | 0.012226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5413-3_0_8_line_80 |  | 69 | 71 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5413-3_0_8_line_81 |  | 72 | 73 | 0.01164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5413-3_0_8_line_82 |  | 72 | 74 | 0.022593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5413-3_0_8_line_83 |  | 74 | 80 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5413-3_0_8_line_84 |  | 75 | 83 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5413-3_0_8_line_85 |  | 75 | 80 | 0.0074423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5413-3_0_8_line_86 |  | 77 | 145 | 0.0050243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_5413-3_0_8_line_87 |  | 78 | 144 | 0.05684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5413-3_0_8_line_88 |  | 79 | 143 | 0.072963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5413-3_0_8_line_89 |  | 82 | 136 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5413-3_0_8_line_90 |  | 83 | 84 | 0.0079891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5413-3_0_8_line_91 |  | 84 | 85 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5413-3_0_8_line_92 |  | 84 | 86 | 0.0019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5413-3_0_8_line_93 |  | 85 | 107 | 0.0071555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5413-3_0_8_line_94 |  | 86 | 118 | 0.0093383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5413-3_0_8_line_95 |  | 87 | 88 | 0.00070277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5413-3_0_8_line_96 |  | 87 | 89 | 0.028848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5413-3_0_8_line_97 |  | 88 | 90 | 0.019502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5413-3_0_8_line_98 |  | 89 | 91 | 0.023585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5413-3_0_8_line_99 |  | 90 | 92 | 0.0029769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5413-3_0_8_line_100 |  | 91 | 93 | 0.0062937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5413-3_0_8_line_101 |  | 93 | 94 | 0.0068695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5413-3_0_8_line_102 |  | 93 | 95 | 0.029918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5413-3_0_8_line_103 |  | 94 | 96 | 0.0046622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5413-3_0_8_line_104 |  | 95 | 97 | 0.019716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5413-3_0_8_line_105 |  | 96 | 98 | 0.017063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5413-3_0_8_line_106 |  | 97 | 99 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5413-3_0_8_line_107 |  | 98 | 100 | 0.013781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5413-3_0_8_line_108 |  | 98 | 101 | 0.0046739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5413-3_0_8_line_109 |  | 99 | 102 | 0.032138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5413-3_0_8_line_110 |  | 99 | 103 | 0.012205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5413-3_0_8_line_111 |  | 101 | 104 | 0.0069898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5413-3_0_8_line_112 |  | 104 | 105 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5413-3_0_8_line_113 |  | 105 | 106 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5413-3_0_8_line_114 |  | 106 | 107 | 0.0028485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5413-3_0_8_line_115 |  | 108 | 109 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5413-3_0_8_line_116 |  | 108 | 110 | 0.014997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5413-3_0_8_line_117 |  | 109 | 111 | 0.029085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5413-3_0_8_line_118 |  | 110 | 112 | 0.015847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5413-3_0_8_line_119 |  | 110 | 113 | 0.006575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5413-3_0_8_line_120 |  | 111 | 130 | 0.020514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5413-3_0_8_line_121 |  | 112 | 131 | 0.014529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5413-3_0_8_line_122 |  | 113 | 129 | 0.0012493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5413-3_0_8_line_123 |  | 114 | 115 | 0.0025348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
124 | LV_5413-3_0_8_line_124 |  | 115 | 116 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_5413-3_0_8_line_125 |  | 116 | 117 | 0.00094141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5413-3_0_8_line_126 |  | 117 | 128 | 0.013418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5413-3_0_8_line_127 |  | 118 | 119 | 0.00055408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5413-3_0_8_line_128 |  | 119 | 120 | 0.0065457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5413-3_0_8_line_129 |  | 120 | 121 | 0.0017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5413-3_0_8_line_130 |  | 121 | 122 | 0.015304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5413-3_0_8_line_131 |  | 122 | 123 | 0.028222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5413-3_0_8_line_132 |  | 122 | 124 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5413-3_0_8_line_133 |  | 123 | 125 | 0.0056627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5413-3_0_8_line_134 |  | 124 | 126 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5413-3_0_8_line_135 |  | 125 | 127 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5413-3_0_8_line_136 |  | 127 | 128 | 0.00075211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5413-3_0_8_line_137 |  | 130 | 134 | 0.004689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5413-3_0_8_line_138 |  | 130 | 135 | 0.021044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5413-3_0_8_line_139 |  | 131 | 132 | 0.014809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5413-3_0_8_line_140 |  | 132 | 133 | 0.0071713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5413-3_0_8_line_141 |  | 134 | 137 | 0.033085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5413-3_0_8_line_142 |  | 134 | 138 | 0.047535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5413-3_0_8_line_143 |  | 135 | 139 | 0.011223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5413-3_0_8_line_144 |  | 138 | 142 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5413-3_0_8_line_145 |  | 139 | 140 | 0.029485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5413-3_0_8_line_146 |  | 140 | 141 | 0.014209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5413-3_0_8_line_147 |  | 145 | 146 | 0.009388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
148 | LV_5413-3_0_8_line_148 |  | 146 | 147 | 0.026456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5413-3_0_8_line_149 |  | 147 | 148 | 0.042852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5413-3_0_8_line_150 |  | 148 | 149 | 0.003274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5413-3_0_8_line_151 |  | 150 | 151 | 0.052739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_5413-3_0_8_line_152 |  | 151 | 152 | 0.016833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5413-3_0_8_line_153 |  | 153 | 154 | 0.0059262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5413-3_0_8_line_154 |  | 154 | 155 | 0.056297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5413-3_0_8_trafo_128 | 0.63 MVA 20/0.4 kV | 156 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2559700.3913 | 1134987.7004 | 2559890.909 | 1135091.5673
1 | 2559930.8024 | 1135113.3165 | 2559890.909 | 1135091.5673
2 | 2559700.3913 | 1134987.7004 | 2559638.5432 | 1134954.9199
3 | 2559700.3913 | 1134987.7004 | 2559812.3621 | 1134789.8743
4 | 2559930.8024 | 1135113.3165 | 2559940.46 | 1135096.3003
5 | 2559638.5432 | 1134954.9199 | 2559611.8607 | 1134969.7284 | 2559606.995 | 1134974.6236
6 | 2559812.3621 | 1134789.8743 | 2560005.89 | 1134894.3953 | 2560058.7521 | 1134922.9432
7 | 2559946.1296 | 1134555.1533 | 2559812.3621 | 1134789.8743
8 | 2559812.3621 | 1134789.8743 | 2559235.3556 | 1134476.7362
9 | 2559941.022 | 1135095.31 | 2559940.46 | 1135096.3003
10 | 2559599.9356 | 1134981.7256 | 2559606.995 | 1134974.6236
11 | 2559946.1296 | 1134555.1533 | 2560098.6771 | 1134285.1708
12 | 2559946.1296 | 1134555.1533 | 2560016.188 | 1134593.4639
13 | 2559235.3556 | 1134476.7362 | 2559219.8019 | 1134468.2953
14 | 2559948.6342 | 1135081.8978 | 2559941.022 | 1135095.31
15 | 2558987.4726 | 1134601.6489 | 2558950.1452 | 1134581.4331
16 | 2558912.7493 | 1134561.1802 | 2558950.1452 | 1134581.4331
17 | 2560098.6771 | 1134285.1708 | 2559872.59 | 1134179.2909
18 | 2560055.5359 | 1134614.9808 | 2560016.188 | 1134593.4639
19 | 2558956.5672 | 1134325.4394 | 2559219.8019 | 1134468.2953
20 | 2559964.7118 | 1135053.5701 | 2559948.6342 | 1135081.8978
21 | 2560136.0661 | 1134658.1683 | 2560254.2181 | 1134720.953 | 2560286.7503 | 1134735.0123 | 2560300.3904 | 1134738.9022 | 2560350.5734 | 1134751.1891 | 2560364.829 | 1134755.0528 | 2560396.8783 | 1134762.457 | 2560470.3138 | 1134779.8947 | 2560572.8747 | 1134804.9466 | 2560577.5605 | 1134798.9017 | 2560613.1341 | 1134758.0706 | 2560618.3963 | 1134753.0559 | 2560655.4907 | 1134723.4541 | 2560687.4065 | 1134704.5362 | 2560703.6631 | 1134704.8859 | 2560722.3832 | 1134711.2337 | 2560750.4617 | 1134721.1002 | 2560757.9945 | 1134698.3841 | 2560762.8769 | 1134698.8525 | 2560767.3201 | 1134698.0454 | 2560803.6647 | 1134691.4277 | 2560810.2653 | 1134690.9957
22 | 2560810.2653 | 1134690.9957 | 2560817.5801 | 1134685.6009 | 2560837.3106 | 1134669.8202 | 2560859.0454 | 1134642.98
23 | 2560136.0661 | 1134658.1683 | 2560107.8144 | 1134643.1589
24 | 2560147.1963 | 1134638.5958 | 2560136.0661 | 1134658.1683
25 | 2560869.0846 | 1134624.2129 | 2560868.2509 | 1134629.7545 | 2560867.1056 | 1134632.341 | 2560865.3921 | 1134635.1424 | 2560859.0454 | 1134642.98
26 | 2560882.2578 | 1134527.8007 | 2560875.7523 | 1134522.7404 | 2560869.2326 | 1134515.5124 | 2560862.876 | 1134504.9594 | 2560865.4631 | 1134501.5631 | 2560883.1198 | 1134485.129 | 2560885.1073 | 1134484.2268 | 2560892.009 | 1134485.1047
27 | 2560892.009 | 1134485.1047 | 2560907.6611 | 1134487.0708 | 2560910.2024 | 1134468.3225
28 | 2560882.2578 | 1134527.8007 | 2560873.2177 | 1134591.8932
29 | 2560882.2578 | 1134527.8007 | 2560903.6082 | 1134525.3929
30 | 2560871.1141 | 1134615.5731 | 2560869.8457 | 1134605.1427 | 2560872.6121 | 1134596.1869 | 2560873.2177 | 1134591.8932
31 | 2560922.0039 | 1134523.3183 | 2560903.6082 | 1134525.3929
32 | 2560869.0846 | 1134624.2129 | 2560868.1075 | 1134615.9706 | 2560871.1141 | 1134615.5731
33 | 2560869.0846 | 1134624.2129 | 2560885.9119 | 1134642.4796 | 2560890.682 | 1134648.1626
34 | 2560871.1141 | 1134615.5731 | 2560882.1704 | 1134613.8782 | 2560889.9394 | 1134613.2164
35 | 2560890.682 | 1134648.1626 | 2560866.0009 | 1134670.801 | 2560881.7265 | 1134686.5291 | 2560887.0677 | 1134689.095
36 | 2560889.9394 | 1134613.2164 | 2560895.4413 | 1134613.0584 | 2560902.1962 | 1134613.7563
37 | 2560107.8144 | 1134643.1589 | 2560094.2119 | 1134635.9322
38 | 2560147.1963 | 1134638.5958 | 2560158.973 | 1134639.9631 | 2560161.8612 | 1134639.1213 | 2560175.4703 | 1134629.474
39 | 2560147.1963 | 1134638.5958 | 2560143.4092 | 1134626.8927 | 2560134.6732 | 1134617.4902 | 2560134.5472 | 1134617.3274
40 | 2560944.7539 | 1134708.3646 | 2560940.8835 | 1134708.4787 | 2560934.898 | 1134707.6281
41 | 2560633.4993 | 1135158.5407 | 2560729.3989 | 1135048.2811 | 2560822.6717 | 1134909.8816 | 2560861.5352 | 1134848.1421 | 2560874.8292 | 1134826.0891 | 2560885.2018 | 1134808.0681 | 2560888.1323 | 1134800.6898 | 2560895.7498 | 1134783.8429 | 2560925.3172 | 1134714.8828 | 2560927.5802 | 1134711.3775 | 2560930.2558 | 1134708.6032 | 2560934.898 | 1134707.6281
42 | 2560934.898 | 1134707.6281 | 2560934.9154 | 1134700.8135 | 2560935.4917 | 1134697.1078 | 2560941.3607 | 1134681.1951 | 2560945.1359 | 1134667.5156
43 | 2560944.7539 | 1134708.3646 | 2560957.6994 | 1134720.309 | 2560959.6584 | 1134724.5096
44 | 2560944.7539 | 1134708.3646 | 2560949.9404 | 1134707.0637 | 2560959.5013 | 1134702.3585
45 | 2560633.4993 | 1135158.5407 | 2560536.0461 | 1135266.0438 | 2560506.2903 | 1135293.0422
46 | 2560948.3143 | 1134655.9983 | 2560945.1359 | 1134667.5156
47 | 2558912.7493 | 1134561.1802 | 2558926.3924 | 1134538.22
48 | 2560081.4843 | 1134629.1704 | 2560055.5359 | 1134614.9808
49 | 2558956.5672 | 1134325.4394 | 2558825.5834 | 1134514.4514 | 2558853.6219 | 1134530.2568 | 2558862.1496 | 1134534.7564
50 | 2559964.7118 | 1135053.5701 | 2559972.8395 | 1135039.2496
51 | 2561011.955 | 1134599.0488 | 2561013.7995 | 1134596.5987
52 | 2561011.955 | 1134599.0488 | 2560998.6648 | 1134616.7023 | 2560998.3003 | 1134617.3791
53 | 2561013.7995 | 1134596.5987 | 2561021.969 | 1134585.7469 | 2561021.969 | 1134585.7469
54 | 2560995.8776 | 1134621.877 | 2560998.3003 | 1134617.3791
55 | 2561023.1604 | 1134583.8444 | 2561021.969 | 1134585.7469
56 | 2560995.8776 | 1134621.877 | 2560990.97 | 1134630.9886
57 | 2561023.1604 | 1134583.8444 | 2561027.3098 | 1134577.2181
58 | 2560990.97 | 1134630.9886 | 2560986.6884 | 1134638.9379
59 | 2561027.3098 | 1134577.2181 | 2561032.0731 | 1134569.6115
60 | 2560981.5647 | 1134647.751 | 2560983.1205 | 1134645.562 | 2560986.6884 | 1134638.9379
61 | 2561032.0731 | 1134569.6115 | 2561035.8336 | 1134563.6062
62 | 2560968.078 | 1134646.4449 | 2560977.0187 | 1134649.3368 | 2560979.2411 | 1134649.0445 | 2560981.5647 | 1134647.751 | 2560981.5647 | 1134647.751
63 | 2560913.7676 | 1134615.8804 | 2560919.4069 | 1134617.6941 | 2560927.5277 | 1134621.4434 | 2560937.9185 | 1134627.1442
64 | 2560953.7809 | 1134635.8471 | 2560937.9185 | 1134627.1442
65 | 2560902.1962 | 1134613.7563 | 2560905.2607 | 1134614.0729 | 2560912.4272 | 1134615.4494 | 2560913.7676 | 1134615.8804
66 | 2560952.3543 | 1134641.3592 | 2560953.7809 | 1134635.8471
67 | 2560953.7809 | 1134635.8471 | 2560957.1072 | 1134622.424
68 | 2560952.3543 | 1134641.3592 | 2560948.3143 | 1134655.9983
69 | 2560952.3543 | 1134641.3592 | 2560967.1286 | 1134646.1379
70 | 2560957.1072 | 1134622.424 | 2560959.6776 | 1134612.0516
71 | 2560968.078 | 1134646.4449 | 2560967.1286 | 1134646.1379
72 | 2560961.5937 | 1134603.9258 | 2560961.206 | 1134605.8838 | 2560959.6776 | 1134612.0516
73 | 2560961.5937 | 1134603.9258 | 2560961.8017 | 1134602.8753
74 | 2560961.8017 | 1134602.8753 | 2560962.6518 | 1134598.5819 | 2560962.9682 | 1134591.5985 | 2560963.7245 | 1134585.5628
75 | 2560913.6204 | 1134400.3019 | 2560914.6201 | 1134401.8935 | 2560920.6613 | 1134418.4072 | 2560922.538 | 1134421.7745 | 2560925.1752 | 1134424.9145 | 2560928.1694 | 1134427.3186 | 2560930.1685 | 1134428.4456
76 | 2560930.1685 | 1134428.4456 | 2560937.4484 | 1134432.5499
77 | 2560954.0567 | 1134441.9132 | 2560937.4484 | 1134432.5499
78 | 2560968.1708 | 1134452.6277 | 2560966.9149 | 1134451.2351 | 2560963.8711 | 1134448.2978 | 2560960.0032 | 1134445.2658 | 2560954.0567 | 1134441.9132
79 | 2560493.3822 | 1135304.7542 | 2560497.6447 | 1135316.2135
80 | 2560493.3822 | 1135304.7542 | 2560506.2903 | 1135293.0422
81 | 2560993.2754 | 1134408.4427 | 2561004.0787 | 1134412.775
82 | 2560993.2754 | 1134408.4427 | 2560983.1104 | 1134428.6197
83 | 2560973.5868 | 1134447.5234 | 2560983.1104 | 1134428.6197
84 | 2560968.1708 | 1134452.6277 | 2560971.4949 | 1134458.4425 | 2560973.3338 | 1134463.1107 | 2560973.8605 | 1134465.4406
85 | 2560968.1708 | 1134452.6277 | 2560970.3816 | 1134450.5457 | 2560973.5868 | 1134447.5234
86 | 2560094.2119 | 1134635.9322 | 2560089.7749 | 1134633.575
87 | 2560175.4703 | 1134629.474 | 2560179.7329 | 1134626.4523 | 2560187.7407 | 1134620.0184 | 2560191.4211 | 1134614.4357 | 2560194.6874 | 1134609.0669 | 2560195.9006 | 1134605.1458 | 2560194.4307 | 1134601.6649 | 2560191.9439 | 1134599.2023 | 2560179.9226 | 1134592.2893 | 2560177.0646 | 1134591.0331
88 | 2560181.0306 | 1134592.9264 | 2560179.9226 | 1134592.2893 | 2560173.9174 | 1134589.6499 | 2560166.2735 | 1134588.2664 | 2560158.8337 | 1134587.4929 | 2560149.55 | 1134588.377 | 2560142.3425 | 1134591.3039 | 2560137.2066 | 1134594.4284 | 2560132.6904 | 1134598.1601 | 2560130.6502 | 1134602.6982 | 2560130.074 | 1134608.6717 | 2560131.343 | 1134613.1878 | 2560134.5472 | 1134617.3274
89 | 2560972.8342 | 1134695.7969 | 2560959.5013 | 1134702.3585
90 | 2560974.7855 | 1134473.3509 | 2560974.4907 | 1134468.228 | 2560973.8605 | 1134465.4406
91 | 2560974.7855 | 1134473.3509 | 2560991.7868 | 1134473.4395
92 | 2560974.7855 | 1134473.3509 | 2560974.8227 | 1134475.3001
93 | 2560991.7868 | 1134473.4395 | 2560998.9422 | 1134473.4768
94 | 2560974.8227 | 1134475.3001 | 2560974.972 | 1134483.1213 | 2560974.881 | 1134484.6342
95 | 2561113.4915 | 1134420.2283 | 2561113.0175 | 1134420.7471
96 | 2561093.5594 | 1134442.0445 | 2561113.0175 | 1134420.7471
97 | 2561125.2504 | 1134404.7149 | 2561117.4463 | 1134415.8996 | 2561113.4915 | 1134420.2283
98 | 2561077.4836 | 1134459.2791 | 2561078.7446 | 1134458.2598 | 2561093.5594 | 1134442.0445
99 | 2561126.9539 | 1134402.2735 | 2561125.2504 | 1134404.7149
100 | 2561072.5888 | 1134463.2354 | 2561077.4836 | 1134459.2791
101 | 2561072.5888 | 1134463.2354 | 2561067.1324 | 1134467.4088
102 | 2561072.5888 | 1134463.2354 | 2561094.1647 | 1134483.9615
103 | 2561067.1324 | 1134467.4088 | 2561063.4292 | 1134470.2413
104 | 2561094.1647 | 1134483.9615 | 2561096.0161 | 1134485.7399 | 2561097.4668 | 1134495.8579 | 2561104.387 | 1134495.5498
105 | 2561047.0889 | 1134473.7277 | 2561061.009 | 1134472.0925 | 2561063.4292 | 1134470.2413
106 | 2561123.8666 | 1134510.2949 | 2561118.9587 | 1134499.9546 | 2561111.7782 | 1134495.2208 | 2561104.387 | 1134495.5498
107 | 2561047.0889 | 1134473.7277 | 2561048.8888 | 1134487.3906
108 | 2561047.0889 | 1134473.7277 | 2561042.4151 | 1134473.7034
109 | 2561123.8666 | 1134510.2949 | 2561118.7004 | 1134511.1953 | 2561092.3995 | 1134516.8103
110 | 2561123.8666 | 1134510.2949 | 2561135.4894 | 1134514.0189
111 | 2561042.4151 | 1134473.7034 | 2561035.4253 | 1134473.6669
112 | 2561013.5048 | 1134473.5527 | 2561035.4253 | 1134473.6669
113 | 2561013.5048 | 1134473.5527 | 2561001.7907 | 1134473.4917
114 | 2561001.7907 | 1134473.4917 | 2560998.9422 | 1134473.4768
115 | 2561055.6481 | 1134528.5891 | 2561052.8921 | 1134517.7792
116 | 2561038.2318 | 1134514.4278 | 2561052.8921 | 1134517.7792
117 | 2561055.6481 | 1134528.5891 | 2561056.4057 | 1134537.4331 | 2561054.7349 | 1134557.5652
118 | 2561038.2318 | 1134514.4278 | 2561041.1527 | 1134530.003
119 | 2561038.2318 | 1134514.4278 | 2561031.731 | 1134513.4431
120 | 2561054.7349 | 1134557.5652 | 2561056.4448 | 1134558.9549 | 2561069.1799 | 1134569.3001 | 2561070.7572 | 1134570.4238
121 | 2561041.1527 | 1134530.003 | 2561043.8306 | 1134544.2827
122 | 2561031.731 | 1134513.4431 | 2561030.4958 | 1134513.2559
123 | 2560964.0397 | 1134583.0477 | 2560963.7245 | 1134585.5628
124 | 2560964.0397 | 1134583.0477 | 2560964.644 | 1134578.2253 | 2560965.8275 | 1134571.1076
125 | 2560965.9819 | 1134570.179 | 2560965.8275 | 1134571.1076
126 | 2560968.1829 | 1134556.9424 | 2560965.9819 | 1134570.179
127 | 2560974.881 | 1134484.6342 | 2560974.8478 | 1134485.1873
128 | 2560974.455 | 1134491.7212 | 2560974.8478 | 1134485.1873
129 | 2560974.348 | 1134493.5016 | 2560974.455 | 1134491.7212
130 | 2560973.4296 | 1134508.7777 | 2560974.348 | 1134493.5016
131 | 2560973.4296 | 1134508.7777 | 2560971.748 | 1134535.5021 | 2560971.5111 | 1134536.9267
132 | 2560973.4296 | 1134508.7777 | 2560983.5695 | 1134509.446
133 | 2560970.5822 | 1134542.5128 | 2560971.5111 | 1134536.9267
134 | 2560983.5695 | 1134509.446 | 2560998.5558 | 1134510.4337
135 | 2560970.5822 | 1134542.5128 | 2560968.3063 | 1134556.2005
136 | 2560968.3063 | 1134556.2005 | 2560968.1829 | 1134556.9424
137 | 2561068.3898 | 1134574.4745 | 2561070.7572 | 1134570.4238
138 | 2561070.7572 | 1134570.4238 | 2561082.848 | 1134579.9171 | 2561084.8451 | 1134580.5045 | 2561087.113 | 1134580.1119 | 2561088.2017 | 1134579.4227
139 | 2561039.6397 | 1134557.5282 | 2561044.7763 | 1134549.3254 | 2561043.8306 | 1134544.2827
140 | 2561035.8336 | 1134563.6062 | 2561039.6397 | 1134557.5282
141 | 2561068.3898 | 1134574.4745 | 2561086.7999 | 1134592.3979 | 2561083.8887 | 1134599.2313
142 | 2561068.3898 | 1134574.4745 | 2561045.1525 | 1134615.9429
143 | 2561095.5416 | 1134570.9876 | 2561088.9756 | 1134578.9326 | 2561088.2017 | 1134579.4227
144 | 2561037.5296 | 1134629.5463 | 2561045.1525 | 1134615.9429
145 | 2561117.4166 | 1134569.9038 | 2561112.3897 | 1134566.0861 | 2561103.9664 | 1134560.7933 | 2561095.5416 | 1134570.9876
146 | 2561117.4166 | 1134569.9038 | 2561123.4497 | 1134574.4856 | 2561128.3649 | 1134578.9407
147 | 2560081.4843 | 1134629.1704 | 2560089.7749 | 1134633.575
148 | 2560081.4843 | 1134629.1704 | 2560094.7612 | 1134606.2876
149 | 2560094.7612 | 1134606.2876 | 2560104.5029 | 1134589.4979 | 2560104.9992 | 1134586.5709 | 2560104.4265 | 1134583.7732 | 2560103.0588 | 1134581.7924 | 2560090.5505 | 1134573.1392
150 | 2560087.8581 | 1134571.2766 | 2560090.5505 | 1134573.1392
151 | 2558862.1496 | 1134534.7564 | 2558910.1269 | 1134526.5138 | 2558914.1838 | 1134526.6306
152 | 2558926.3924 | 1134538.22 | 2558914.1838 | 1134526.6306
153 | 2559975.7647 | 1135034.0956 | 2559972.8395 | 1135039.2496
154 | 2560003.5527 | 1134985.1347 | 2559975.7647 | 1135034.0956

## bus_geodata
| x | y | coords
0 | 2559890.909 | 1135091.5673
1 | 2559700.3913 | 1134987.7004
2 | 2559930.8024 | 1135113.3165
3 | 2559638.5432 | 1134954.9199
4 | 2559812.3621 | 1134789.8743
5 | 2559940.46 | 1135096.3003
6 | 2559606.995 | 1134974.6236
7 | 2560058.7521 | 1134922.9432
8 | 2559946.1296 | 1134555.1533
9 | 2559235.3556 | 1134476.7362
10 | 2559941.022 | 1135095.31
11 | 2559599.9356 | 1134981.7256
12 | 2558987.4726 | 1134601.6489
13 | 2558950.1452 | 1134581.4331
14 | 2560098.6771 | 1134285.1708
15 | 2560016.188 | 1134593.4639
16 | 2559219.8019 | 1134468.2953
17 | 2559948.6342 | 1135081.8978
18 | 2560810.2653 | 1134690.9957
19 | 2560136.0661 | 1134658.1683
20 | 2560859.0454 | 1134642.98
21 | 2560892.009 | 1134485.1047
22 | 2560882.2578 | 1134527.8007
23 | 2560910.2024 | 1134468.3225
24 | 2560873.2177 | 1134591.8932
25 | 2560903.6082 | 1134525.3929
26 | 2560869.0846 | 1134624.2129
27 | 2560871.1141 | 1134615.5731
28 | 2560890.682 | 1134648.1626
29 | 2560889.9394 | 1134613.2164
30 | 2560107.8144 | 1134643.1589
31 | 2560147.1963 | 1134638.5958
32 | 2560934.898 | 1134707.6281
33 | 2560944.7539 | 1134708.3646
34 | 2560633.4993 | 1135158.5407
35 | 2560945.1359 | 1134667.5156
36 | 2558912.7493 | 1134561.1802
37 | 2559872.59 | 1134179.2909
38 | 2560055.5359 | 1134614.9809
39 | 2558956.5672 | 1134325.4394
40 | 2559964.7118 | 1135053.5701
41 | 2561011.955 | 1134599.0488
42 | 2561013.7995 | 1134596.5987
43 | 2560998.3003 | 1134617.3791
44 | 2561021.969 | 1134585.7469
45 | 2560995.8776 | 1134621.877
46 | 2561023.1604 | 1134583.8444
47 | 2560990.97 | 1134630.9886
48 | 2561027.3098 | 1134577.2181
49 | 2560986.6884 | 1134638.9379
50 | 2561032.0731 | 1134569.6115
51 | 2560981.5647 | 1134647.751
52 | 2560937.9185 | 1134627.1442
53 | 2560913.7676 | 1134615.8804
54 | 2560953.7809 | 1134635.8471
55 | 2560902.1962 | 1134613.7563
56 | 2560952.3543 | 1134641.3592
57 | 2560957.1072 | 1134622.424
58 | 2560948.3143 | 1134655.9983
59 | 2560967.1286 | 1134646.1379
60 | 2560959.6776 | 1134612.0516
61 | 2560968.078 | 1134646.4449
62 | 2560961.5937 | 1134603.9258
63 | 2560887.0677 | 1134689.095
64 | 2560961.8017 | 1134602.8753
65 | 2560913.6204 | 1134400.3019
66 | 2560930.1685 | 1134428.4456
67 | 2560937.4484 | 1134432.5499
68 | 2560954.0567 | 1134441.9132
69 | 2560493.3822 | 1135304.7542
70 | 2560497.6447 | 1135316.2135
71 | 2560506.2903 | 1135293.0422
72 | 2560993.2754 | 1134408.4427
73 | 2561004.0787 | 1134412.775
74 | 2560983.1104 | 1134428.6197
75 | 2560968.1708 | 1134452.6277
76 | 2560922.0039 | 1134523.3183
77 | 2560094.2119 | 1134635.9322
78 | 2560175.4703 | 1134629.474
79 | 2560134.5472 | 1134617.3274
80 | 2560973.5868 | 1134447.5234
81 | 2560959.6584 | 1134724.5096
82 | 2560959.5013 | 1134702.3585
83 | 2560973.8605 | 1134465.4406
84 | 2560974.7855 | 1134473.3509
85 | 2560991.7868 | 1134473.4395
86 | 2560974.8227 | 1134475.3001
87 | 2561113.0175 | 1134420.7471
88 | 2561113.4915 | 1134420.2283
89 | 2561093.5594 | 1134442.0445
90 | 2561125.2504 | 1134404.7149
91 | 2561077.4836 | 1134459.2791
92 | 2561126.9539 | 1134402.2735
93 | 2561072.5888 | 1134463.2354
94 | 2561067.1324 | 1134467.4088
95 | 2561094.1647 | 1134483.9615
96 | 2561063.4292 | 1134470.2413
97 | 2561104.387 | 1134495.5498
98 | 2561047.0889 | 1134473.7277
99 | 2561123.8666 | 1134510.2949
100 | 2561048.8888 | 1134487.3906
101 | 2561042.4151 | 1134473.7034
102 | 2561092.3995 | 1134516.8103
103 | 2561135.4894 | 1134514.0189
104 | 2561035.4253 | 1134473.6669
105 | 2561013.5048 | 1134473.5527
106 | 2561001.7907 | 1134473.4917
107 | 2560998.9422 | 1134473.4768
108 | 2561052.8921 | 1134517.7792
109 | 2561055.6481 | 1134528.5891
110 | 2561038.2318 | 1134514.4278
111 | 2561054.7349 | 1134557.5652
112 | 2561041.1527 | 1134530.003
113 | 2561031.731 | 1134513.4431
114 | 2560963.7245 | 1134585.5628
115 | 2560964.0397 | 1134583.0477
116 | 2560965.8275 | 1134571.1076
117 | 2560965.9819 | 1134570.179
118 | 2560974.881 | 1134484.6342
119 | 2560974.8478 | 1134485.1873
120 | 2560974.455 | 1134491.7212
121 | 2560974.348 | 1134493.5016
122 | 2560973.4296 | 1134508.7777
123 | 2560971.5111 | 1134536.9267
124 | 2560983.5695 | 1134509.446
125 | 2560970.5822 | 1134542.5128
126 | 2560998.5558 | 1134510.4337
127 | 2560968.3063 | 1134556.2005
128 | 2560968.1829 | 1134556.9424
129 | 2561030.4958 | 1134513.2559
130 | 2561070.7572 | 1134570.4238
131 | 2561043.8306 | 1134544.2827
132 | 2561039.6397 | 1134557.5282
133 | 2561035.8336 | 1134563.6062
134 | 2561068.3898 | 1134574.4745
135 | 2561088.2017 | 1134579.4227
136 | 2560972.8342 | 1134695.7969
137 | 2561083.8887 | 1134599.2313
138 | 2561045.1525 | 1134615.9429
139 | 2561095.5416 | 1134570.9876
140 | 2561117.4166 | 1134569.9038
141 | 2561128.3649 | 1134578.9407
142 | 2561037.5296 | 1134629.5463
143 | 2560181.0306 | 1134592.9264
144 | 2560177.0646 | 1134591.0331
145 | 2560089.7749 | 1134633.575
146 | 2560081.4843 | 1134629.1704
147 | 2560094.7613 | 1134606.2876
148 | 2560090.5505 | 1134573.1392
149 | 2560087.8581 | 1134571.2766
150 | 2558862.1496 | 1134534.7564
151 | 2558914.1838 | 1134526.6306
152 | 2558926.3924 | 1134538.22
153 | 2559972.8395 | 1135039.2496
154 | 2559975.7647 | 1135034.0956
155 | 2560003.5527 | 1134985.1347
156 | 2560869.0846 | 1134624.2129

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1