## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5414-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5414-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5414-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5414-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5414-10_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5414-10_0_3_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_5414-10_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5414-10_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_5414-10_0_3_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_5414-10_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_5414-10_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5414-10_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_5414-10_0_3_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_5414-10_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_5414-10_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5414-10_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_5414-10_0_3_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_5414-10_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5414-10_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_5414-10_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5414-10_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5414-10_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_5414-10_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5414-10_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_5414-10_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5414-10_0_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_5414-10_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5414-10_0_3_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_5414-10_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5414-10_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5414-10_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_5414-10_0_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_5414-10_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5414-10_0_3_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_5414-10_0_3_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_5414-10_0_3_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_5414-10_0_3_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_5414-10_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_5414-10_0_3_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_5414-10_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_5414-10_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_5414-10_0_3_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_5414-10_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5414-10_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_5414-10_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5414-10_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5414-10_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5414-10_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_5414-10_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_5414-10_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5414-10_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_5414-10_0_3_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_5414-10_0_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_5414-10_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5414-10_0_3_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_5414-10_0_3_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_5414-10_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5414-10_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_5414-10_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5414-10_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5414-10_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_5414-10_0_3_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_5414-10_0_3_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_5414-10_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_5414-10_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5414-10_0_3_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_5414-10_0_3_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_5414-10_0_3_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5414-10_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_5414-10_0_3_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_5414-10_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5414-10_0_3_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_5414-10_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_5414-10_0_3_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_5414-10_0_3_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_5414-10_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_5414-10_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_5414-10_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_5414-10_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_5414-10_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_MV_79_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5414-10_0_3_load_0 | 0 | 0.014407 | 0.0036108 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5414-10_0_3_load_1 | 1 | 0.0017155 | 0.00042994 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5414-10_0_3_load_3 | 3 | 0.0043107 | 0.0010804 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5414-10_0_3_load_64 | 8 | 0.0043197 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5414-10_0_3_load_28 | 9 | 0.010067 | 0.002523 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5414-10_0_3_load_35 | 11 | 0.0073543 | 0.0018432 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5414-10_0_3_load_36 | 12 | 0.0085578 | 0.0021448 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5414-10_0_3_load_29 | 13 | 0.0040431 | 0.0010133 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5414-10_0_3_load_54 | 16 | 0.0036537 | 0.0009157 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5414-10_0_3_load_56 | 18 | 0.0019178 | 0.00048066 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5414-10_0_3_load_39 | 21 | 0.0041639 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5414-10_0_3_load_37 | 23 | 0.0087799 | 0.0022005 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5414-10_0_3_load_74 | 25 | 0.003775 | 0.00094611 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5414-10_0_3_load_72 | 27 | 0.00572 | 0.0014336 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5414-10_0_3_load_41 | 30 | 0.0064426 | 0.0016147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5414-10_0_3_load_87 | 31 | 0.0016245 | 0.00040713 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5414-10_0_3_load_62 | 33 | 0.001444 | 0.0003619 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5414-10_0_3_load_80 | 34 | 0.0010143 | 0.0002542 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5414-10_0_3_load_78 | 36 | 0.0031503 | 0.00078955 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5414-10_0_3_load_45 | 37 | 0.0028584 | 0.00071638 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5414-10_0_3_load_57 | 38 | 0.0035691 | 0.00089451 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5414-10_0_3_load_61 | 39 | 0.0054336 | 0.0013618 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5414-10_0_3_load_75 | 41 | 0.0034913 | 0.000875 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5414-10_0_3_load_38 | 44 | 0.0029041 | 0.00072783 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5414-10_0_3_load_30 | 46 | 0.0040505 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5414-10_0_3_load_47 | 47 | 0.0053344 | 0.0013369 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5414-10_0_3_load_60 | 48 | 0.0040086 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5414-10_0_3_load_52 | 49 | 0.0037583 | 0.00094191 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5414-10_0_3_load_63 | 50 | 0.0053768 | 0.0013476 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5414-10_0_3_load_73 | 51 | 0.0024129 | 0.00060473 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5414-10_0_3_load_55 | 52 | 0.0044275 | 0.0011096 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5414-10_0_3_load_40 | 53 | 0.037967 | 0.0095154 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5414-10_0_3_load_83 | 54 | 0.0037784 | 0.00094696 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5414-10_0_3_load_81 | 55 | 0.0030938 | 0.00077539 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5414-10_0_3_load_44 | 56 | 0.013267 | 0.0033251 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5414-10_0_3_load_59 | 57 | 0.0012291 | 0.00030805 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5414-10_0_3_load_53 | 58 | 0.0023124 | 0.00057954 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5414-10_0_3_load_46 | 59 | 0.006973 | 0.0017476 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5414-10_0_3_load_58 | 60 | 0.0058683 | 0.0014707 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5414-10_0_3_load_84 | 61 | 0.0026169 | 0.00065586 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5414-10_0_3_load_85 | 62 | 0.0031149 | 0.00078066 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5414-10_0_3_load_50 | 63 | 0.0054117 | 0.0013563 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5414-10_0_3_load_48 | 64 | 0.02168 | 0.0054336 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5414-10_0_3_load_70 | 65 | 0.0067131 | 0.0016825 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5414-10_0_3_load_71 | 66 | 0.0075172 | 0.001884 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5414-10_0_3_load_42 | 67 | 0.0048145 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5414-10_0_3_load_43 | 68 | 0.0036006 | 0.00090241 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5414-10_0_3_load_77 | 69 | 0.0017496 | 0.00043848 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5414-10_0_3_load_76 | 70 | 0.0037043 | 0.00092838 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5414-10_0_3_load_49 | 71 | 0.0056408 | 0.0014137 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5414-10_0_3_load_82 | 73 | 0.0034442 | 0.00086319 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5414-10_0_3_load_86 | 74 | 0.0028798 | 0.00072174 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5414-10_0_3_load_65 | 75 | 0.0034298 | 0.0008596 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5414-10_0_3_load_66 | 76 | 0.0032324 | 0.00081011 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5414-10_0_3_load_67 | 77 | 0.0027349 | 0.00068543 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5414-10_0_3_load_68 | 78 | 0.0030952 | 0.00077574 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5414-10_0_3_load_69 | 79 | 0.024636 | 0.0061743 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5414-10_0_3_line_0 |  | 0 | 1 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5414-10_0_3_line_1 |  | 0 | 2 | 0.061573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5414-10_0_3_line_2 |  | 1 | 3 | 0.020153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5414-10_0_3_line_3 |  | 2 | 4 | 0.043455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5414-10_0_3_line_4 |  | 3 | 5 | 0.023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5414-10_0_3_line_5 |  | 4 | 9 | 0.033248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5414-10_0_3_line_6 |  | 5 | 49 | 0.0036602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5414-10_0_3_line_7 |  | 5 | 45 | 0.0073866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5414-10_0_3_line_8 |  | 6 | 7 | 0.032166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5414-10_0_3_line_9 |  | 6 | 8 | 0.086522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5414-10_0_3_line_10 |  | 7 | 48 | 0.032081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5414-10_0_3_line_11 |  | 8 | 50 | 0.00092094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5414-10_0_3_line_12 |  | 10 | 11 | 0.027602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5414-10_0_3_line_13 |  | 10 | 12 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5414-10_0_3_line_14 |  | 10 | 13 | 0.04564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5414-10_0_3_line_15 |  | 12 | 45 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5414-10_0_3_line_16 |  | 13 | 43 | 0.0069664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5414-10_0_3_line_17 |  | 14 | 15 | 0.0098276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5414-10_0_3_line_18 |  | 14 | 16 | 0.015652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5414-10_0_3_line_19 |  | 15 | 32 | 0.021668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5414-10_0_3_line_20 |  | 15 | 33 | 0.0013823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5414-10_0_3_line_21 |  | 17 | 18 | 0.0036803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5414-10_0_3_line_22 |  | 17 | 19 | 0.051491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5414-10_0_3_line_23 |  | 18 | 29 | 0.040571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5414-10_0_3_line_24 |  | 19 | 34 | 0.051155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5414-10_0_3_line_25 |  | 20 | 21 | 0.012819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5414-10_0_3_line_26 |  | 20 | 22 | 0.0098643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5414-10_0_3_line_27 |  | 20 | 23 | 0.010584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5414-10_0_3_line_28 |  | 21 | 52 | 0.03457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5414-10_0_3_line_29 |  | 22 | 37 | 0.001356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5414-10_0_3_line_30 |  | 22 | 38 | 0.039715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5414-10_0_3_line_31 |  | 23 | 44 | 0.02251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5414-10_0_3_line_32 |  | 24 | 25 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5414-10_0_3_line_33 |  | 24 | 26 | 0.074529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5414-10_0_3_line_34 |  | 24 | 27 | 0.0047931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5414-10_0_3_line_35 |  | 25 | 41 | 0.01936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5414-10_0_3_line_36 |  | 26 | 35 | 0.018972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5414-10_0_3_line_37 |  | 26 | 36 | 0.016624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5414-10_0_3_line_38 |  | 27 | 51 | 0.0086884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5414-10_0_3_line_39 |  | 28 | 29 | 0.03545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5414-10_0_3_line_40 |  | 28 | 30 | 0.041715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5414-10_0_3_line_41 |  | 28 | 31 | 0.031742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5414-10_0_3_line_42 |  | 29 | 47 | 0.01807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5414-10_0_3_line_43 |  | 29 | 40 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5414-10_0_3_line_44 |  | 30 | 53 | 0.0013085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5414-10_0_3_line_45 |  | 31 | 54 | 0.0079785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5414-10_0_3_line_46 |  | 32 | 39 | 0.0090493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5414-10_0_3_line_47 |  | 33 | 46 | 0.029226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5414-10_0_3_line_48 |  | 35 | 55 | 0.010139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5414-10_0_3_line_49 |  | 37 | 56 | 0.0066434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5414-10_0_3_line_50 |  | 39 | 57 | 0.015436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5414-10_0_3_line_51 |  | 40 | 41 | 0.016356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5414-10_0_3_line_52 |  | 42 | 43 | 0.0080924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5414-10_0_3_line_53 |  | 42 | 44 | 0.012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5414-10_0_3_line_54 |  | 43 | 46 | 0.019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5414-10_0_3_line_55 |  | 47 | 59 | 0.029802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5414-10_0_3_line_56 |  | 48 | 60 | 0.025545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5414-10_0_3_line_57 |  | 49 | 58 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5414-10_0_3_line_58 |  | 53 | 67 | 0.013346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5414-10_0_3_line_59 |  | 54 | 72 | 0.035523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5414-10_0_3_line_60 |  | 56 | 59 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5414-10_0_3_line_61 |  | 57 | 60 | 0.014068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5414-10_0_3_line_62 |  | 61 | 62 | 0.0049466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5414-10_0_3_line_63 |  | 62 | 74 | 0.0052495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5414-10_0_3_line_64 |  | 63 | 64 | 0.0068645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5414-10_0_3_line_65 |  | 64 | 71 | 0.0082266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5414-10_0_3_line_66 |  | 65 | 66 | 0.0035242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5414-10_0_3_line_67 |  | 66 | 78 | 0.0061814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5414-10_0_3_line_68 |  | 67 | 68 | 0.0072272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5414-10_0_3_line_69 |  | 68 | 69 | 0.0032958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5414-10_0_3_line_70 |  | 69 | 70 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5414-10_0_3_line_71 |  | 70 | 79 | 0.0057749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5414-10_0_3_line_72 |  | 71 | 72 | 0.01004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5414-10_0_3_line_73 |  | 72 | 73 | 0.004316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5414-10_0_3_line_74 |  | 73 | 74 | 0.0052689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5414-10_0_3_line_75 |  | 75 | 76 | 0.0040888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5414-10_0_3_line_76 |  | 75 | 77 | 0.003687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5414-10_0_3_line_77 |  | 76 | 78 | 0.0065267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5414-10_0_3_line_78 |  | 77 | 79 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5414-10_0_3_trafo_42 | 0.63 MVA 20/0.4 kV | 80 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2560489.4928 | 1138288.7927 | 2560478.2972 | 1138275.4605 | 2560477.1567 | 1138274.0954
1 | 2560528.7453 | 1138336.2271 | 2560528.1799 | 1138335.6194 | 2560526.955 | 1138334.1489 | 2560525.2649 | 1138332.1256 | 2560514.0244 | 1138318.7481 | 2560498.267 | 1138299.2415 | 2560489.4928 | 1138288.7927
2 | 2560464.2259 | 1138258.6375 | 2560467.6918 | 1138262.7792 | 2560469.405 | 1138264.8246 | 2560470.6299 | 1138266.2839 | 2560477.1567 | 1138274.0954
3 | 2560517.8676 | 1138301.9366 | 2560522.5296 | 1138307.9313 | 2560519.4002 | 1138313.966 | 2560517.9039 | 1138316.855 | 2560528.7507 | 1138330.0128 | 2560531.8054 | 1138333.7058 | 2560528.7453 | 1138336.2271
4 | 2560449.4655 | 1138240.9989 | 2560464.2259 | 1138258.6375
5 | 2560517.8676 | 1138301.9366 | 2560519.7143 | 1138300.8795 | 2560521.239 | 1138297.6234 | 2560524.0933 | 1138270.2471
6 | 2560449.4655 | 1138240.9989 | 2560447.7909 | 1138238.9867 | 2560447.1179 | 1138238.1908
7 | 2560449.4655 | 1138240.9989 | 2560452.2968 | 1138238.7681 | 2560455.2658 | 1138236.4252
8 | 2560383.1501 | 1138046.2026 | 2560385.6969 | 1138043.9848 | 2560391.3102 | 1138041.3687 | 2560395.9403 | 1138040.1265 | 2560405.1561 | 1138040.2549 | 2560408.5034 | 1138040.4552 | 2560411.8123 | 1138040.6558 | 2560413.8116 | 1138040.5648
9 | 2560413.8116 | 1138040.5648 | 2560412.7854 | 1138064.6393 | 2560410.5503 | 1138088.5328 | 2560407.9456 | 1138126.8719
10 | 2560383.1501 | 1138046.2026 | 2560381.3453 | 1138048.9603 | 2560380.2189 | 1138051.9582 | 2560375.4321 | 1138069.1206 | 2560373.1446 | 1138076.5409
11 | 2560407.8831 | 1138127.7907 | 2560407.9456 | 1138126.8719
12 | 2560433.8203 | 1138210.5307 | 2560434.7731 | 1138199.8523 | 2560436.2406 | 1138183.0351
13 | 2560433.8203 | 1138210.5307 | 2560435.115 | 1138212.0785 | 2560443.4985 | 1138222.2383
14 | 2560433.8203 | 1138210.5307 | 2560429.4711 | 1138205.3344 | 2560423.8271 | 1138198.5792 | 2560419.0792 | 1138193.5856 | 2560414.0862 | 1138188.7493 | 2560403.8998 | 1138180.1897 | 2560402.8566 | 1138179.4518 | 2560401.5189 | 1138178.5086
15 | 2560455.2658 | 1138236.4252 | 2560454.0102 | 1138234.9772 | 2560443.4985 | 1138222.2383
16 | 2560395.7559 | 1138174.596 | 2560396.9995 | 1138175.3993 | 2560399.6496 | 1138177.1939 | 2560400.6697 | 1138177.9098 | 2560401.5189 | 1138178.5086
17 | 2560346.2856 | 1138158.7468 | 2560348.9008 | 1138155.2389 | 2560352.1486 | 1138150.8598
18 | 2560346.2856 | 1138158.7468 | 2560350.3615 | 1138160.9767 | 2560352.4141 | 1138161.9748 | 2560355.5933 | 1138163.5102 | 2560360.3191 | 1138165.6635
19 | 2560352.1486 | 1138150.8598 | 2560349.9622 | 1138149.3956 | 2560344.8474 | 1138144.7714 | 2560343.0646 | 1138141.5148 | 2560342.5407 | 1138136.727 | 2560344.0265 | 1138133.4155
20 | 2560352.1486 | 1138150.8598 | 2560353.2949 | 1138151.6322
21 | 2560278.0445 | 1138204.2974 | 2560278.9305 | 1138207.8695
22 | 2560244.8151 | 1138214.622 | 2560244.7137 | 1138213.2441 | 2560244.272 | 1138209.2673 | 2560249.9988 | 1138208.7292 | 2560256.11 | 1138208.1552 | 2560256.0266 | 1138207.1775 | 2560266.5325 | 1138197.6923 | 2560268.0747 | 1138206.4421 | 2560272.8753 | 1138205.4099 | 2560278.0445 | 1138204.2974
23 | 2560290.9531 | 1138246.556 | 2560287.4815 | 1138237.9968 | 2560282.675 | 1138222.9653 | 2560278.9305 | 1138207.8695
24 | 2560244.8151 | 1138214.622 | 2560241.2829 | 1138217.8691 | 2560234.0845 | 1138223.8419 | 2560218.4585 | 1138237.1964 | 2560216.6083 | 1138240.0434 | 2560206.299 | 1138248.0497
25 | 2560359.6767 | 1138214.7649 | 2560357.3702 | 1138212.5789 | 2560350.2121 | 1138206.1196
26 | 2560352.4522 | 1138221.4714 | 2560357.6217 | 1138216.9017 | 2560359.6767 | 1138214.7649
27 | 2560359.6767 | 1138214.7649 | 2560367.0055 | 1138207.1291
28 | 2560350.2121 | 1138206.1196 | 2560347.4272 | 1138203.6065 | 2560332.1733 | 1138191.7676 | 2560322.7158 | 1138185.2077
29 | 2560352.4522 | 1138221.4714 | 2560351.4358 | 1138222.3691
30 | 2560352.4522 | 1138221.4714 | 2560350.1202 | 1138217.7515 | 2560335.6884 | 1138205.7627 | 2560322.1499 | 1138196.2208
31 | 2560367.0055 | 1138207.1291 | 2560382.5927 | 1138190.8893
32 | 2560266.502 | 1138302.6013 | 2560270.8737 | 1138288.7934
33 | 2560228.2174 | 1138350.9897 | 2560231.7409 | 1138353.4232 | 2560257.8068 | 1138332.3404 | 2560263.2903 | 1138328.7469 | 2560260.604 | 1138305.1637 | 2560266.502 | 1138302.6013
34 | 2560266.502 | 1138302.6013 | 2560267.1614 | 1138307.3488
35 | 2560270.8737 | 1138288.7934 | 2560276.7173 | 1138270.3364
36 | 2560212.5927 | 1138341.199 | 2560218.0915 | 1138342.2632 | 2560222.7962 | 1138346.5343 | 2560224.4589 | 1138347.9018 | 2560228.2174 | 1138350.9897
37 | 2560228.2174 | 1138350.9897 | 2560235.2598 | 1138337.7142 | 2560236.0729 | 1138336.34
38 | 2560267.1614 | 1138307.3488 | 2560267.2934 | 1138308.2989 | 2560268.2499 | 1138315.9687
39 | 2560290.9531 | 1138246.556 | 2560286.7305 | 1138247.74 | 2560298.7186 | 1138276.3977
40 | 2560298.7186 | 1138276.3977 | 2560312.1754 | 1138270.028 | 2560320.7817 | 1138267.5923 | 2560325.2075 | 1138266.8961 | 2560329.5189 | 1138267.5125 | 2560335.1704 | 1138270.7213 | 2560337.2866 | 1138272.1398
41 | 2560298.7186 | 1138276.3977 | 2560304.5608 | 1138284.0409 | 2560317.5168 | 1138301.9718
42 | 2560290.9531 | 1138246.556 | 2560308.3447 | 1138241.6523
43 | 2560281.654 | 1138254.7437 | 2560286.7305 | 1138247.74 | 2560290.9531 | 1138246.556
44 | 2560338.3735 | 1138272.8684 | 2560337.2866 | 1138272.1398
45 | 2560322.1896 | 1138308.4388 | 2560317.5168 | 1138301.9718
46 | 2560344.0265 | 1138133.4155 | 2560346.9567 | 1138128.6827 | 2560348.7836 | 1138125.7175
47 | 2560353.2949 | 1138151.6322 | 2560357.4256 | 1138154.4157 | 2560360.8009 | 1138156.539 | 2560364.7091 | 1138158.9923 | 2560378.7458 | 1138165.8967
48 | 2560212.5927 | 1138341.199 | 2560204.4725 | 1138347.2698
49 | 2560346.4565 | 1138226.7669 | 2560351.4358 | 1138222.3691
50 | 2560348.7836 | 1138125.7175 | 2560356.8808 | 1138112.5759 | 2560356.8808 | 1138112.5759
51 | 2560281.654 | 1138254.7437 | 2560276.7173 | 1138270.3364
52 | 2560391.5787 | 1138181.527 | 2560393.6482 | 1138178.0894 | 2560395.7559 | 1138174.596
53 | 2560391.5787 | 1138181.527 | 2560382.5927 | 1138190.8893
54 | 2560395.7559 | 1138174.596 | 2560393.7242 | 1138173.2642 | 2560378.7458 | 1138165.8967
55 | 2560336.4179 | 1138231.766 | 2560319.5362 | 1138238.4968 | 2560308.3447 | 1138241.6523
56 | 2560363.2218 | 1138100.0185 | 2560368.0271 | 1138090.5024 | 2560371.2975 | 1138082.5324 | 2560373.1446 | 1138076.5409
57 | 2560447.1179 | 1138238.1908 | 2560432.5621 | 1138220.978
58 | 2560338.3735 | 1138272.8684 | 2560340.787 | 1138274.4862 | 2560345.4654 | 1138278.2684 | 2560348.312 | 1138281.655
59 | 2560346.58 | 1138334.2006 | 2560324.8984 | 1138312.1878 | 2560322.1896 | 1138308.4388
60 | 2560336.4179 | 1138231.766 | 2560344.3997 | 1138228.5836 | 2560346.4565 | 1138226.7669
61 | 2560363.2218 | 1138100.0185 | 2560356.8808 | 1138112.5759
62 | 2560359.5013 | 1138349.1783 | 2560356.2701 | 1138345.4328
63 | 2560356.2701 | 1138345.4328 | 2560352.841 | 1138341.4581
64 | 2560328.3775 | 1138351.5125 | 2560331.9932 | 1138347.6702 | 2560333.1602 | 1138346.5926
65 | 2560339.2041 | 1138341.0116 | 2560333.1602 | 1138346.5926
66 | 2560393.3051 | 1138335.1825 | 2560393.3051 | 1138335.1825 | 2560391.0375 | 1138332.4847
67 | 2560387.0601 | 1138327.753 | 2560391.0375 | 1138332.4847
68 | 2560352.9623 | 1138287.1874 | 2560348.312 | 1138281.655
69 | 2560355.0829 | 1138289.7103 | 2560352.9623 | 1138287.1874
70 | 2560362.2511 | 1138298.2381 | 2560355.0829 | 1138289.7103
71 | 2560362.2511 | 1138298.2381 | 2560365.967 | 1138302.6588
72 | 2560346.58 | 1138334.2006 | 2560339.2041 | 1138341.0116
73 | 2560346.58 | 1138334.2006 | 2560349.3993 | 1138337.4686
74 | 2560352.841 | 1138341.4581 | 2560349.3993 | 1138337.4686
75 | 2560380.2297 | 1138319.6269 | 2560382.8606 | 1138322.7568
76 | 2560380.2297 | 1138319.6269 | 2560377.8573 | 1138316.8045
77 | 2560382.8606 | 1138322.7568 | 2560387.0601 | 1138327.753
78 | 2560377.8573 | 1138316.8045 | 2560365.967 | 1138302.6588

## bus_geodata
| x | y | coords
0 | 2560489.4928 | 1138288.7927
1 | 2560477.1567 | 1138274.0954
2 | 2560528.7453 | 1138336.2271
3 | 2560464.2259 | 1138258.6375
4 | 2560517.8676 | 1138301.9366
5 | 2560449.4655 | 1138240.9989
6 | 2560413.8116 | 1138040.5648
7 | 2560383.1501 | 1138046.2026
8 | 2560407.9456 | 1138126.8719
9 | 2560524.0933 | 1138270.2471
10 | 2560433.8203 | 1138210.5307
11 | 2560436.2406 | 1138183.0351
12 | 2560443.4985 | 1138222.2383
13 | 2560401.5189 | 1138178.5086
14 | 2560346.2856 | 1138158.7468
15 | 2560352.1486 | 1138150.8598
16 | 2560360.3191 | 1138165.6635
17 | 2560278.0445 | 1138204.2974
18 | 2560278.9305 | 1138207.8695
19 | 2560244.8151 | 1138214.622
20 | 2560359.6767 | 1138214.7649
21 | 2560350.2121 | 1138206.1196
22 | 2560352.4522 | 1138221.4714
23 | 2560367.0055 | 1138207.1291
24 | 2560266.502 | 1138302.6013
25 | 2560270.8737 | 1138288.7934
26 | 2560228.2174 | 1138350.9897
27 | 2560267.1614 | 1138307.3488
28 | 2560298.7186 | 1138276.3977
29 | 2560290.9531 | 1138246.556
30 | 2560337.2866 | 1138272.1398
31 | 2560317.5168 | 1138301.9718
32 | 2560344.0265 | 1138133.4155
33 | 2560353.2949 | 1138151.6322
34 | 2560206.299 | 1138248.0497
35 | 2560212.5927 | 1138341.199
36 | 2560236.0729 | 1138336.34
37 | 2560351.4358 | 1138222.3691
38 | 2560322.1499 | 1138196.2208
39 | 2560348.7836 | 1138125.7175
40 | 2560281.654 | 1138254.7437
41 | 2560276.7173 | 1138270.3364
42 | 2560391.5787 | 1138181.527
43 | 2560395.7559 | 1138174.596
44 | 2560382.5927 | 1138190.8893
45 | 2560455.2658 | 1138236.4252
46 | 2560378.7458 | 1138165.8967
47 | 2560308.3447 | 1138241.6523
48 | 2560373.1446 | 1138076.5409
49 | 2560447.1179 | 1138238.1908
50 | 2560407.8831 | 1138127.7907
51 | 2560268.2499 | 1138315.9687
52 | 2560322.7158 | 1138185.2077
53 | 2560338.3735 | 1138272.8684
54 | 2560322.1896 | 1138308.4388
55 | 2560204.4725 | 1138347.2698
56 | 2560346.4565 | 1138226.7669
57 | 2560356.8808 | 1138112.5759
58 | 2560432.5621 | 1138220.978
59 | 2560336.4179 | 1138231.766
60 | 2560363.2218 | 1138100.0185
61 | 2560359.5013 | 1138349.1783
62 | 2560356.2701 | 1138345.4328
63 | 2560328.3775 | 1138351.5125
64 | 2560333.1602 | 1138346.5926
65 | 2560393.3051 | 1138335.1825
66 | 2560391.0375 | 1138332.4847
67 | 2560348.312 | 1138281.655
68 | 2560352.9623 | 1138287.1874
69 | 2560355.0829 | 1138289.7103
70 | 2560362.2511 | 1138298.2381
71 | 2560339.2041 | 1138341.0116
72 | 2560346.58 | 1138334.2006
73 | 2560349.3993 | 1138337.4686
74 | 2560352.841 | 1138341.4581
75 | 2560380.2297 | 1138319.6269
76 | 2560382.8606 | 1138322.7568
77 | 2560377.8573 | 1138316.8045
78 | 2560387.0601 | 1138327.753
79 | 2560365.967 | 1138302.6588
80 | 2560298.7186 | 1138276.3977

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1