## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5414-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5414-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5414-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5414-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5414-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5414-12_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5414-12_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_5414-12_0_4_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_5414-12_0_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_5414-12_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_5414-12_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_5414-12_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_5414-12_0_4_node_99 | 0.4 | n |  | TRUE
13 | bus_LV_5414-12_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_5414-12_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_5414-12_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_5414-12_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_5414-12_0_4_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_5414-12_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5414-12_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5414-12_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_5414-12_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_5414-12_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5414-12_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5414-12_0_4_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_5414-12_0_4_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_5414-12_0_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_5414-12_0_4_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_5414-12_0_4_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_5414-12_0_4_node_7 | 0.4 | n |  | TRUE
30 | bus_LV_5414-12_0_4_node_8 | 0.4 | n |  | TRUE
31 | bus_LV_5414-12_0_4_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_5414-12_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_5414-12_0_4_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_5414-12_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5414-12_0_4_node_12 | 0.4 | n |  | TRUE
36 | bus_LV_5414-12_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5414-12_0_4_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_5414-12_0_4_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_5414-12_0_4_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_5414-12_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5414-12_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5414-12_0_4_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_5414-12_0_4_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_5414-12_0_4_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_5414-12_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_5414-12_0_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_5414-12_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5414-12_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5414-12_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5414-12_0_4_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_5414-12_0_4_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_5414-12_0_4_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_5414-12_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_5414-12_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_5414-12_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5414-12_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_5414-12_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5414-12_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5414-12_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_5414-12_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_5414-12_0_4_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_5414-12_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5414-12_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5414-12_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5414-12_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5414-12_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5414-12_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5414-12_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5414-12_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5414-12_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5414-12_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_5414-12_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5414-12_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5414-12_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5414-12_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5414-12_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5414-12_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5414-12_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5414-12_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_5414-12_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_5414-12_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_5414-12_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_5414-12_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5414-12_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_5414-12_0_4_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_5414-12_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_5414-12_0_4_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_5414-12_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_5414-12_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_MV_79_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5414-12_0_4_load_0 | 0 | 0.0099027 | 0.0024818 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5414-12_0_4_load_3 | 3 | 0.0041968 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5414-12_0_4_load_4 | 4 | 0.003151 | 0.00078972 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5414-12_0_4_load_6 | 5 | 0.002888 | 0.00072381 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5414-12_0_4_load_44 | 6 | 0.0077277 | 0.0019368 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5414-12_0_4_load_49 | 7 | 0.005119 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5414-12_0_4_load_45 | 8 | 0.0042879 | 0.0010747 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5414-12_0_4_load_50 | 9 | 0.0030594 | 0.00076675 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5414-12_0_4_load_99 | 12 | 0.0051459 | 0.0012897 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5414-12_0_4_load_36 | 14 | 0.0045185 | 0.0011324 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5414-12_0_4_load_13 | 18 | 0.0030708 | 0.00076961 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5414-12_0_4_load_35 | 20 | 0.0033032 | 0.00082786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5414-12_0_4_load_33 | 21 | 0.0055511 | 0.0013912 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5414-12_0_4_load_9 | 22 | 0.0053276 | 0.0013352 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5414-12_0_4_load_84 | 24 | 0.0038254 | 0.00095873 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5414-12_0_4_load_83 | 25 | 0.0019771 | 0.00049551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5414-12_0_4_load_37 | 26 | 0.012854 | 0.0032214 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5414-12_0_4_load_97 | 27 | 0.014714 | 0.0036876 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5414-12_0_4_load_98 | 28 | 0.0091337 | 0.0022891 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5414-12_0_4_load_7 | 29 | 0.010033 | 0.0025145 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5414-12_0_4_load_8 | 30 | 0.0072414 | 0.0018149 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5414-12_0_4_load_10 | 31 | 0.010193 | 0.0025545 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5414-12_0_4_load_58 | 32 | 0.0045644 | 0.001144 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5414-12_0_4_load_54 | 33 | 0.010564 | 0.0026475 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5414-12_0_4_load_12 | 35 | 0.0033833 | 0.00084792 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5414-12_0_4_load_85 | 37 | 0.0031278 | 0.00078389 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5414-12_0_4_load_96 | 38 | 0.0024368 | 0.00061073 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5414-12_0_4_load_95 | 39 | 0.0023811 | 0.00059675 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5414-12_0_4_load_32 | 40 | 0.0012291 | 0.00030804 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5414-12_0_4_load_26 | 41 | 0.015948 | 0.003997 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5414-12_0_4_load_61 | 42 | 0.0028664 | 0.00071838 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5414-12_0_4_load_82 | 43 | 0.0059316 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5414-12_0_4_load_94 | 44 | 0.0031508 | 0.00078967 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5414-12_0_4_load_59 | 46 | 0.0054435 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5414-12_0_4_load_38 | 47 | 0.0021795 | 0.00054622 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5414-12_0_4_load_39 | 48 | 0.0049556 | 0.001242 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5414-12_0_4_load_86 | 50 | 0.0017645 | 0.00044222 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5414-12_0_4_load_66 | 51 | 0.0080739 | 0.0020235 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5414-12_0_4_load_89 | 52 | 0.0063508 | 0.0015917 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5414-12_0_4_load_62 | 54 | 0.0061939 | 0.0015523 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5414-12_0_4_load_43 | 57 | 0.0036828 | 0.00092299 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5414-12_0_4_load_46 | 58 | 0.0032226 | 0.00080766 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5414-12_0_4_load_67 | 59 | 0.0047137 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5414-12_0_4_load_47 | 60 | 0.0029568 | 0.00074104 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5414-12_0_4_load_68 | 61 | 0.0046971 | 0.0011772 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5414-12_0_4_load_48 | 62 | 0.00756 | 0.0018947 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5414-12_0_4_load_52 | 63 | 0.0018784 | 0.00047078 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5414-12_0_4_load_53 | 64 | 0.0051097 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5414-12_0_4_load_51 | 65 | 0.0071226 | 0.0017851 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5414-12_0_4_load_55 | 66 | 0.0083065 | 0.0020818 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5414-12_0_4_load_56 | 67 | 0.0059726 | 0.0014969 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5414-12_0_4_load_57 | 68 | 0.0018372 | 0.00046044 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5414-12_0_4_load_64 | 69 | 0.0059542 | 0.0014923 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5414-12_0_4_load_65 | 70 | 0.0024725 | 0.00061966 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5414-12_0_4_load_69 | 71 | 0.0028338 | 0.00071023 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5414-12_0_4_load_70 | 72 | 0.0019765 | 0.00049537 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5414-12_0_4_load_71 | 73 | 0.0021995 | 0.00055124 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5414-12_0_4_load_72 | 74 | 0.0060089 | 0.001506 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5414-12_0_4_load_73 | 75 | 0.0068729 | 0.0017225 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5414-12_0_4_load_74 | 76 | 0.0025012 | 0.00062687 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5414-12_0_4_load_75 | 77 | 0.0046962 | 0.001177 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5414-12_0_4_load_76 | 78 | 0.0058554 | 0.0014675 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5414-12_0_4_load_77 | 79 | 0.0052807 | 0.0013235 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5414-12_0_4_load_78 | 80 | 0.0044488 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5414-12_0_4_load_79 | 81 | 0.0043713 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5414-12_0_4_load_80 | 82 | 0.0055285 | 0.0013856 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5414-12_0_4_load_81 | 83 | 0.0056967 | 0.0014277 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5414-12_0_4_load_87 | 84 | 0.0071791 | 0.0017993 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5414-12_0_4_load_88 | 85 | 0.0033702 | 0.00084464 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5414-12_0_4_load_90 | 86 | 0.0052932 | 0.0013266 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5414-12_0_4_load_93 | 87 | 0.010014 | 0.0025098 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5414-12_0_4_load_91 | 88 | 0.0027894 | 0.00069909 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5414-12_0_4_load_92 | 89 | 0.0036383 | 0.00091184 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5414-12_0_4_line_0 |  | 0 | 1 | 0.0011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5414-12_0_4_line_1 |  | 0 | 2 | 0.012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5414-12_0_4_line_2 |  | 1 | 3 | 0.0081554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5414-12_0_4_line_3 |  | 1 | 4 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5414-12_0_4_line_4 |  | 2 | 5 | 0.0051221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5414-12_0_4_line_5 |  | 3 | 6 | 0.0079315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5414-12_0_4_line_6 |  | 4 | 7 | 0.0066978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5414-12_0_4_line_7 |  | 6 | 8 | 0.0051371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5414-12_0_4_line_8 |  | 7 | 9 | 0.007951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5414-12_0_4_line_9 |  | 8 | 56 | 0.012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5414-12_0_4_line_10 |  | 9 | 65 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5414-12_0_4_line_11 |  | 10 | 11 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5414-12_0_4_line_12 |  | 10 | 12 | 0.024495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5414-12_0_4_line_13 |  | 10 | 13 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5414-12_0_4_line_14 |  | 11 | 14 | 0.017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5414-12_0_4_line_15 |  | 12 | 28 | 0.0053403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5414-12_0_4_line_16 |  | 13 | 26 | 0.0399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5414-12_0_4_line_17 |  | 14 | 34 | 0.002219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5414-12_0_4_line_18 |  | 15 | 16 | 0.005102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5414-12_0_4_line_19 |  | 15 | 17 | 0.055273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5414-12_0_4_line_20 |  | 15 | 18 | 0.005329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5414-12_0_4_line_21 |  | 16 | 40 | 0.0019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5414-12_0_4_line_22 |  | 16 | 41 | 0.029101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5414-12_0_4_line_23 |  | 17 | 38 | 0.0051416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5414-12_0_4_line_24 |  | 18 | 35 | 0.022765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5414-12_0_4_line_25 |  | 19 | 20 | 0.0075782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5414-12_0_4_line_26 |  | 19 | 21 | 0.0084347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5414-12_0_4_line_27 |  | 19 | 22 | 0.017895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5414-12_0_4_line_28 |  | 21 | 34 | 0.010855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5414-12_0_4_line_29 |  | 22 | 29 | 0.0087229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5414-12_0_4_line_30 |  | 23 | 24 | 0.0095042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5414-12_0_4_line_31 |  | 23 | 25 | 0.014994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5414-12_0_4_line_32 |  | 24 | 42 | 0.011796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5414-12_0_4_line_33 |  | 25 | 43 | 0.0061815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5414-12_0_4_line_34 |  | 27 | 28 | 0.010329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5414-12_0_4_line_35 |  | 29 | 30 | 0.0026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5414-12_0_4_line_36 |  | 30 | 31 | 0.0089601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5414-12_0_4_line_37 |  | 31 | 32 | 0.0071243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5414-12_0_4_line_38 |  | 32 | 33 | 0.0082892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5414-12_0_4_line_39 |  | 33 | 65 | 0.0039176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5414-12_0_4_line_40 |  | 36 | 37 | 0.0071564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5414-12_0_4_line_41 |  | 36 | 38 | 0.025685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5414-12_0_4_line_42 |  | 36 | 39 | 0.017407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5414-12_0_4_line_43 |  | 39 | 44 | 0.0014845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5414-12_0_4_line_44 |  | 42 | 45 | 0.012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5414-12_0_4_line_45 |  | 43 | 83 | 0.0070559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5414-12_0_4_line_46 |  | 44 | 89 | 0.0071979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5414-12_0_4_line_47 |  | 45 | 46 | 0.0098272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5414-12_0_4_line_48 |  | 46 | 68 | 0.0059876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5414-12_0_4_line_49 |  | 47 | 48 | 0.0062441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5414-12_0_4_line_50 |  | 48 | 55 | 0.0045881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5414-12_0_4_line_51 |  | 49 | 50 | 0.0017267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5414-12_0_4_line_52 |  | 49 | 51 | 0.012326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5414-12_0_4_line_53 |  | 50 | 52 | 0.012359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5414-12_0_4_line_54 |  | 51 | 53 | 0.013872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5414-12_0_4_line_55 |  | 52 | 84 | 0.0065089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5414-12_0_4_line_56 |  | 53 | 69 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5414-12_0_4_line_57 |  | 53 | 70 | 0.016998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5414-12_0_4_line_58 |  | 53 | 54 | 0.018937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5414-12_0_4_line_59 |  | 55 | 56 | 0.011965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5414-12_0_4_line_60 |  | 55 | 57 | 0.016325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5414-12_0_4_line_61 |  | 56 | 58 | 0.014388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5414-12_0_4_line_62 |  | 57 | 59 | 0.00010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5414-12_0_4_line_63 |  | 58 | 60 | 0.00084865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5414-12_0_4_line_64 |  | 59 | 61 | 7.9864e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5414-12_0_4_line_65 |  | 60 | 62 | 0.013281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5414-12_0_4_line_66 |  | 61 | 69 | 0.00021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5414-12_0_4_line_67 |  | 62 | 63 | 0.00084389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5414-12_0_4_line_68 |  | 63 | 64 | 0.0069991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5414-12_0_4_line_69 |  | 64 | 66 | 0.005576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5414-12_0_4_line_70 |  | 66 | 67 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5414-12_0_4_line_71 |  | 70 | 71 | 0.0038758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5414-12_0_4_line_72 |  | 71 | 72 | 0.0061785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5414-12_0_4_line_73 |  | 72 | 73 | 0.0033123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5414-12_0_4_line_74 |  | 73 | 74 | 0.003716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5414-12_0_4_line_75 |  | 74 | 75 | 0.0046346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5414-12_0_4_line_76 |  | 75 | 76 | 0.0051267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5414-12_0_4_line_77 |  | 76 | 77 | 0.0062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5414-12_0_4_line_78 |  | 77 | 78 | 0.0053857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5414-12_0_4_line_79 |  | 78 | 79 | 0.0052045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5414-12_0_4_line_80 |  | 79 | 80 | 0.0017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5414-12_0_4_line_81 |  | 80 | 81 | 0.0062388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5414-12_0_4_line_82 |  | 81 | 82 | 0.0044294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5414-12_0_4_line_83 |  | 82 | 83 | 0.0021672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5414-12_0_4_line_84 |  | 84 | 85 | 0.0037887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5414-12_0_4_line_85 |  | 85 | 86 | 0.0079642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5414-12_0_4_line_86 |  | 86 | 87 | 0.012046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5414-12_0_4_line_87 |  | 87 | 88 | 0.002335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5414-12_0_4_line_88 |  | 88 | 89 | 0.0076301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5414-12_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 90 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2560492.1157 | 1138577.2452 | 2560492.701 | 1138578.1949
1 | 2560499.3222 | 1138588.9372 | 2560492.701 | 1138578.1949
2 | 2560492.1157 | 1138577.2452 | 2560498.963 | 1138572.8152
3 | 2560492.1157 | 1138577.2452 | 2560484.1359 | 1138565.3301
4 | 2560499.3222 | 1138588.9372 | 2560502.4319 | 1138593.0073
5 | 2560505.6224 | 1138568.5069 | 2560498.963 | 1138572.8152
6 | 2560484.1359 | 1138565.3301 | 2560480.9228 | 1138560.5324 | 2560480.4493 | 1138559.7394
7 | 2560505.6224 | 1138568.5069 | 2560509.9355 | 1138565.7165
8 | 2560480.4493 | 1138559.7394 | 2560476.3731 | 1138552.9128
9 | 2560520.1161 | 1138559.1301 | 2560509.9355 | 1138565.7165
10 | 2560476.3731 | 1138552.9128 | 2560469.5396 | 1138541.4685
11 | 2560404.4507 | 1138516.479 | 2560396.7275 | 1138522.1549 | 2560398.0628 | 1138524.036 | 2560396.8352 | 1138526.8343 | 2560397.2657 | 1138529.1438 | 2560398.3993 | 1138530.7594
12 | 2560398.3993 | 1138530.7594 | 2560402.7317 | 1138536.9452 | 2560406.7004 | 1138542.7887 | 2560412.5986 | 1138550.7143
13 | 2560388.3335 | 1138538.1071 | 2560393.8754 | 1138534.0575 | 2560398.3993 | 1138530.7594
14 | 2560404.4507 | 1138516.479 | 2560405.7443 | 1138515.5256 | 2560418.8267 | 1138506.4738
15 | 2560415.7869 | 1138554.9984 | 2560412.5986 | 1138550.7143
16 | 2560388.3335 | 1138538.1071 | 2560394.7236 | 1138546.0691 | 2560406.9427 | 1138564.4203 | 2560410.948 | 1138570.9305
17 | 2560420.6515 | 1138505.2112 | 2560418.8267 | 1138506.4738
18 | 2560606.2525 | 1138439.5053 | 2560608.7276 | 1138443.9692
19 | 2560606.2525 | 1138439.5053 | 2560556.8609 | 1138464.5969
20 | 2560606.2525 | 1138439.5053 | 2560603.6684 | 1138434.8421
21 | 2560608.7276 | 1138443.9692 | 2560610.6569 | 1138443.9159
22 | 2560608.7276 | 1138443.9692 | 2560605.484 | 1138444.3128 | 2560582.3371 | 1138455.7976
23 | 2560556.8609 | 1138464.5969 | 2560551.8408 | 1138465.708
24 | 2560603.6684 | 1138434.8421 | 2560601.9208 | 1138436.9435 | 2560590.4163 | 1138444.278 | 2560584.5904 | 1138446.8982
25 | 2560436.6169 | 1138494.3897 | 2560443.0325 | 1138490.3563
26 | 2560436.6169 | 1138494.3897 | 2560432.6799 | 1138496.8835 | 2560429.5767 | 1138499.032
27 | 2560436.6169 | 1138494.3897 | 2560447.3057 | 1138508.7411
28 | 2560420.6515 | 1138505.2112 | 2560429.5767 | 1138499.032
29 | 2560452.5162 | 1138515.7369 | 2560447.3057 | 1138508.7411
30 | 2560495.031 | 1138464.8023 | 2560487.129 | 1138470.0832
31 | 2560495.031 | 1138464.8023 | 2560503.1281 | 1138477.4218
32 | 2560487.129 | 1138470.0832 | 2560477.3214 | 1138476.6376
33 | 2560506.4663 | 1138482.6245 | 2560503.1281 | 1138477.4218
34 | 2560421.2321 | 1138563.775 | 2560415.8882 | 1138555.1346 | 2560415.7869 | 1138554.9984
35 | 2560452.5162 | 1138515.7369 | 2560454.0701 | 1138517.8233
36 | 2560459.4222 | 1138525.0093 | 2560454.0701 | 1138517.8233
37 | 2560459.4222 | 1138525.0093 | 2560460.8818 | 1138526.9691 | 2560463.2815 | 1138530.9879
38 | 2560467.5311 | 1138538.1049 | 2560463.2815 | 1138530.9879
39 | 2560469.5396 | 1138541.4685 | 2560467.5311 | 1138538.1049
40 | 2560526.3055 | 1138467.3319 | 2560519.1724 | 1138466.7549
41 | 2560526.3055 | 1138467.3319 | 2560539.5053 | 1138467.5343 | 2560548.1131 | 1138466.533 | 2560551.8408 | 1138465.708
42 | 2560526.3055 | 1138467.3319 | 2560535.8752 | 1138481.8723
43 | 2560535.8752 | 1138481.8723 | 2560536.6914 | 1138483.1123
44 | 2560467.0264 | 1138483.5178 | 2560477.3214 | 1138476.6376
45 | 2560510.2766 | 1138488.563 | 2560506.4663 | 1138482.6245
46 | 2560540.6485 | 1138489.1249 | 2560536.6914 | 1138483.1123
47 | 2560467.0264 | 1138483.5178 | 2560472.8716 | 1138491.4177
48 | 2560472.8716 | 1138491.4177 | 2560476.4329 | 1138496.231
49 | 2560532.4367 | 1138578.3175 | 2560529.1542 | 1138573.0058
50 | 2560526.7422 | 1138569.1029 | 2560529.1542 | 1138573.0058
51 | 2560570.5329 | 1138534.5318 | 2560569.5836 | 1138533.0894
52 | 2560570.5329 | 1138534.5318 | 2560561.2972 | 1138542.6941
53 | 2560562.789 | 1138522.7654 | 2560569.5836 | 1138533.0894
54 | 2560550.903 | 1138551.8802 | 2560561.2972 | 1138542.6941
55 | 2560559.2106 | 1138517.3284 | 2560562.789 | 1138522.7654
56 | 2560550.903 | 1138551.8802 | 2560540.3033 | 1138559.436
57 | 2560550.903 | 1138551.8802 | 2560541.7236 | 1138537.5739
58 | 2560550.903 | 1138551.8802 | 2560561.1359 | 1138567.8146
59 | 2560526.7422 | 1138569.1029 | 2560520.1161 | 1138559.1301
60 | 2560526.7422 | 1138569.1029 | 2560540.0352 | 1138559.6271
61 | 2560520.1161 | 1138559.1301 | 2560512.1565 | 1138547.1441
62 | 2560540.0352 | 1138559.6271 | 2560540.1245 | 1138559.5635
63 | 2560512.1565 | 1138547.1441 | 2560511.687 | 1138546.4371
64 | 2560540.1245 | 1138559.5635 | 2560540.1311 | 1138559.5588
65 | 2560504.3397 | 1138535.3732 | 2560511.687 | 1138546.4371
66 | 2560540.1311 | 1138559.5588 | 2560540.3033 | 1138559.436
67 | 2560504.3397 | 1138535.3732 | 2560503.8729 | 1138534.6702
68 | 2560503.8729 | 1138534.6702 | 2560500.001 | 1138528.8397
69 | 2560496.9163 | 1138524.1946 | 2560500.001 | 1138528.8397
70 | 2560496.9163 | 1138524.1946 | 2560495.1029 | 1138521.4639 | 2560489.5959 | 1138514.0211
71 | 2560541.7236 | 1138537.5739 | 2560539.6305 | 1138534.3118
72 | 2560539.6305 | 1138534.3118 | 2560536.294 | 1138529.1117
73 | 2560536.294 | 1138529.1117 | 2560534.5052 | 1138526.3239
74 | 2560532.4985 | 1138523.1964 | 2560534.5052 | 1138526.3239
75 | 2560532.4985 | 1138523.1964 | 2560529.9957 | 1138519.2956
76 | 2560527.2271 | 1138514.9808 | 2560529.9957 | 1138519.2956
77 | 2560527.2271 | 1138514.9808 | 2560523.8789 | 1138509.7625
78 | 2560520.9705 | 1138505.2297 | 2560523.8789 | 1138509.7625
79 | 2560520.9705 | 1138505.2297 | 2560518.1599 | 1138500.8493
80 | 2560517.2081 | 1138499.3659 | 2560518.1599 | 1138500.8493
81 | 2560517.2081 | 1138499.3659 | 2560513.839 | 1138494.115
82 | 2560513.839 | 1138494.115 | 2560511.447 | 1138490.3871
83 | 2560510.2766 | 1138488.563 | 2560511.447 | 1138490.3871
84 | 2560559.2106 | 1138517.3284 | 2560557.1277 | 1138514.1636
85 | 2560552.7493 | 1138507.511 | 2560557.1277 | 1138514.1636
86 | 2560546.1269 | 1138497.4488 | 2560552.7493 | 1138507.511
87 | 2560544.8432 | 1138495.4984 | 2560546.1269 | 1138497.4488
88 | 2560544.8432 | 1138495.4984 | 2560540.6485 | 1138489.1249

## bus_geodata
| x | y | coords
0 | 2560492.701 | 1138578.1949
1 | 2560492.1156 | 1138577.2452
2 | 2560499.3222 | 1138588.9372
3 | 2560498.963 | 1138572.8152
4 | 2560484.1359 | 1138565.3301
5 | 2560502.4319 | 1138593.0073
6 | 2560505.6224 | 1138568.5069
7 | 2560480.4493 | 1138559.7394
8 | 2560509.9355 | 1138565.7165
9 | 2560476.3731 | 1138552.9128
10 | 2560398.3993 | 1138530.7594
11 | 2560404.4507 | 1138516.479
12 | 2560412.5986 | 1138550.7143
13 | 2560388.3335 | 1138538.1071
14 | 2560418.8267 | 1138506.4738
15 | 2560606.2525 | 1138439.5053
16 | 2560608.7276 | 1138443.9692
17 | 2560556.8609 | 1138464.5969
18 | 2560603.6684 | 1138434.8421
19 | 2560436.6169 | 1138494.3897
20 | 2560443.0325 | 1138490.3563
21 | 2560429.5767 | 1138499.032
22 | 2560447.3057 | 1138508.7411
23 | 2560495.031 | 1138464.8023
24 | 2560487.129 | 1138470.0832
25 | 2560503.1281 | 1138477.4218
26 | 2560410.948 | 1138570.9305
27 | 2560421.2321 | 1138563.775
28 | 2560415.7869 | 1138554.9984
29 | 2560452.5162 | 1138515.7369
30 | 2560454.0701 | 1138517.8233
31 | 2560459.4222 | 1138525.0093
32 | 2560463.2815 | 1138530.9879
33 | 2560467.5311 | 1138538.1049
34 | 2560420.6515 | 1138505.2112
35 | 2560584.5904 | 1138446.8982
36 | 2560526.3055 | 1138467.3319
37 | 2560519.1724 | 1138466.7549
38 | 2560551.8408 | 1138465.708
39 | 2560535.8752 | 1138481.8723
40 | 2560610.6569 | 1138443.9159
41 | 2560582.3371 | 1138455.7976
42 | 2560477.3214 | 1138476.6376
43 | 2560506.4663 | 1138482.6245
44 | 2560536.6914 | 1138483.1123
45 | 2560467.0264 | 1138483.5178
46 | 2560472.8716 | 1138491.4177
47 | 2560532.4367 | 1138578.3175
48 | 2560529.1542 | 1138573.0058
49 | 2560570.5329 | 1138534.5318
50 | 2560569.5836 | 1138533.0894
51 | 2560561.2972 | 1138542.6941
52 | 2560562.789 | 1138522.7654
53 | 2560550.903 | 1138551.8802
54 | 2560561.1359 | 1138567.8146
55 | 2560526.7422 | 1138569.1029
56 | 2560520.1161 | 1138559.1301
57 | 2560540.0352 | 1138559.6271
58 | 2560512.1565 | 1138547.1441
59 | 2560540.1245 | 1138559.5635
60 | 2560511.687 | 1138546.4371
61 | 2560540.1311 | 1138559.5588
62 | 2560504.3397 | 1138535.3732
63 | 2560503.8729 | 1138534.6702
64 | 2560500.001 | 1138528.8397
65 | 2560469.5396 | 1138541.4685
66 | 2560496.9163 | 1138524.1946
67 | 2560489.5959 | 1138514.0211
68 | 2560476.4329 | 1138496.231
69 | 2560540.3033 | 1138559.436
70 | 2560541.7236 | 1138537.5739
71 | 2560539.6305 | 1138534.3118
72 | 2560536.294 | 1138529.1117
73 | 2560534.5052 | 1138526.3239
74 | 2560532.4985 | 1138523.1964
75 | 2560529.9957 | 1138519.2956
76 | 2560527.2271 | 1138514.9808
77 | 2560523.8789 | 1138509.7625
78 | 2560520.9705 | 1138505.2297
79 | 2560518.1599 | 1138500.8493
80 | 2560517.2081 | 1138499.3659
81 | 2560513.839 | 1138494.115
82 | 2560511.447 | 1138490.3871
83 | 2560510.2766 | 1138488.563
84 | 2560559.2106 | 1138517.3284
85 | 2560557.1277 | 1138514.1636
86 | 2560552.7493 | 1138507.511
87 | 2560546.1269 | 1138497.4488
88 | 2560544.8432 | 1138495.4984
89 | 2560540.6485 | 1138489.1249
90 | 2560520.1161 | 1138559.1301

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1