## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5414-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5414-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5414-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5414-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5414-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5414-5_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_5414-5_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5414-5_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_5414-5_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_5414-5_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5414-5_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5414-5_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5414-5_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5414-5_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_5414-5_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5414-5_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5414-5_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_5414-5_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_5414-5_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5414-5_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5414-5_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5414-5_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5414-5_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_5414-5_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5414-5_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5414-5_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5414-5_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5414-5_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_5414-5_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5414-5_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_5414-5_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_5414-5_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_5414-5_0_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_5414-5_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_5414-5_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_5414-5_0_4_node_192 | 0.4 | n |  | TRUE
36 | bus_LV_5414-5_0_4_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_5414-5_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5414-5_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_5414-5_0_4_node_184 | 0.4 | n |  | TRUE
40 | bus_LV_5414-5_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5414-5_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5414-5_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_5414-5_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_5414-5_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5414-5_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5414-5_0_4_node_186 | 0.4 | n |  | TRUE
47 | bus_LV_5414-5_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5414-5_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5414-5_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_5414-5_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5414-5_0_4_node_189 | 0.4 | n |  | TRUE
52 | bus_LV_5414-5_0_4_node_188 | 0.4 | n |  | TRUE
53 | bus_LV_5414-5_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_5414-5_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5414-5_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5414-5_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_5414-5_0_4_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_5414-5_0_4_node_182 | 0.4 | n |  | TRUE
59 | bus_LV_5414-5_0_4_node_183 | 0.4 | n |  | TRUE
60 | bus_LV_5414-5_0_4_node_185 | 0.4 | n |  | TRUE
61 | bus_LV_5414-5_0_4_node_187 | 0.4 | n |  | TRUE
62 | bus_LV_5414-5_0_4_node_190 | 0.4 | n |  | TRUE
63 | bus_LV_5414-5_0_4_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_5414-5_0_4_node_101 | 0.4 | n |  | TRUE
65 | bus_MV_79_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5414-5_0_4_load_0 | 0 | 0.0042604 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5414-5_0_4_load_1 | 1 | 0.01172 | 0.0029373 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5414-5_0_4_load_2 | 2 | 0.021791 | 0.0054614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5414-5_0_4_load_16 | 7 | 0.0013117 | 0.00032875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5414-5_0_4_load_26 | 8 | 0.020278 | 0.0050822 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5414-5_0_4_load_5 | 9 | 0.0093514 | 0.0023437 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5414-5_0_4_load_7 | 11 | 0.0017016 | 0.00042645 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5414-5_0_4_load_24 | 13 | 0.051343 | 0.012868 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5414-5_0_4_load_9 | 14 | 0.006643 | 0.0016649 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5414-5_0_4_load_37 | 16 | 0.0097238 | 0.002437 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5414-5_0_4_load_30 | 17 | 0.025051 | 0.0062784 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5414-5_0_4_load_12 | 18 | 0.062991 | 0.015787 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5414-5_0_4_load_18 | 19 | 0.0027478 | 0.00068865 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5414-5_0_4_load_15 | 20 | 0.033173 | 0.0083138 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5414-5_0_4_load_19 | 23 | 0.0061871 | 0.0015506 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5414-5_0_4_load_20 | 24 | 0.001897 | 0.00047544 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5414-5_0_4_load_21 | 25 | 0.0015738 | 0.00039444 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5414-5_0_4_load_23 | 26 | 0.00096215 | 0.00024114 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5414-5_0_4_load_27 | 27 | 0.01798 | 0.0045062 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5414-5_0_4_load_28 | 28 | 0.026646 | 0.0066781 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5414-5_0_4_load_31 | 30 | 0.021183 | 0.005309 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5414-5_0_4_load_32 | 31 | 0.012474 | 0.0031263 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5414-5_0_4_load_53 | 32 | 0.0021019 | 0.00052677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5414-5_0_4_load_192 | 35 | 0.0003075 | 7.7067e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5414-5_0_4_load_49 | 36 | 0.00038059 | 9.5385e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5414-5_0_4_load_47 | 38 | 0.0087052 | 0.0021817 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5414-5_0_4_load_38 | 41 | 9.2191e-05 | 2.3105e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5414-5_0_4_load_42 | 45 | 0.00021453 | 5.3767e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5414-5_0_4_load_186 | 46 | 7.7966e-05 | 1.954e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5414-5_0_4_load_46 | 47 | 0.016418 | 0.0041148 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5414-5_0_4_load_48 | 48 | 0.011562 | 0.0028978 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5414-5_0_4_load_51 | 49 | 0.012008 | 0.0030096 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5414-5_0_4_load_188 | 52 | 0.00036019 | 9.0272e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5414-5_0_4_load_52 | 53 | 0.0046131 | 0.0011561 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5414-5_0_4_load_55 | 56 | 0.0058021 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5414-5_0_4_load_182 | 58 | 0.00032148 | 8.0571e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5414-5_0_4_load_183 | 59 | 0.0098018 | 0.0024566 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5414-5_0_4_load_185 | 60 | 0.0093647 | 0.002347 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5414-5_0_4_load_187 | 61 | 0.0088768 | 0.0022247 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5414-5_0_4_load_190 | 62 | 0.0011891 | 0.00029802 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5414-5_0_4_load_102 | 63 | 0.0013229 | 0.00033156 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5414-5_0_4_load_101 | 64 | 0.0023891 | 0.00059878 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5414-5_0_4_line_0 |  | 0 | 1 | 0.043283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5414-5_0_4_line_1 |  | 0 | 2 | 0.043222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5414-5_0_4_line_2 |  | 1 | 3 | 0.026396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5414-5_0_4_line_3 |  | 2 | 4 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5414-5_0_4_line_4 |  | 3 | 5 | 0.090889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5414-5_0_4_line_5 |  | 3 | 6 | 0.029269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5414-5_0_4_line_6 |  | 4 | 7 | 0.027655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5414-5_0_4_line_7 |  | 4 | 8 | 0.030581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5414-5_0_4_line_8 |  | 5 | 33 | 0.033074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5414-5_0_4_line_9 |  | 5 | 34 | 0.050161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5414-5_0_4_line_10 |  | 5 | 26 | 0.036001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5414-5_0_4_line_11 |  | 6 | 15 | 0.085787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5414-5_0_4_line_12 |  | 6 | 14 | 0.047564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5414-5_0_4_line_13 |  | 7 | 20 | 0.043406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5414-5_0_4_line_14 |  | 9 | 10 | 0.072394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5414-5_0_4_line_15 |  | 9 | 11 | 0.13095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5414-5_0_4_line_16 |  | 10 | 12 | 0.11724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5414-5_0_4_line_17 |  | 12 | 13 | 0.06121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5414-5_0_4_line_18 |  | 13 | 22 | 0.030434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5414-5_0_4_line_19 |  | 15 | 16 | 0.047683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5414-5_0_4_line_20 |  | 15 | 17 | 0.035504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5414-5_0_4_line_21 |  | 16 | 40 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5414-5_0_4_line_22 |  | 17 | 28 | 0.023317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5414-5_0_4_line_23 |  | 18 | 19 | 0.10119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5414-5_0_4_line_24 |  | 19 | 22 | 0.090302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5414-5_0_4_line_25 |  | 19 | 21 | 0.035729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5414-5_0_4_line_26 |  | 20 | 21 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5414-5_0_4_line_27 |  | 23 | 24 | 0.0094201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5414-5_0_4_line_28 |  | 23 | 25 | 0.029352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5414-5_0_4_line_29 |  | 25 | 26 | 0.032548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5414-5_0_4_line_30 |  | 27 | 28 | 0.046911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5414-5_0_4_line_31 |  | 27 | 29 | 0.027995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5414-5_0_4_line_32 |  | 29 | 30 | 0.011357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5414-5_0_4_line_33 |  | 29 | 31 | 0.029139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5414-5_0_4_line_34 |  | 31 | 32 | 0.12331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5414-5_0_4_line_35 |  | 32 | 54 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5414-5_0_4_line_36 |  | 32 | 53 | 0.069224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5414-5_0_4_line_37 |  | 33 | 35 | 0.028209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5414-5_0_4_line_38 |  | 34 | 36 | 0.025085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5414-5_0_4_line_39 |  | 34 | 37 | 0.035187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5414-5_0_4_line_40 |  | 34 | 38 | 0.04691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5414-5_0_4_line_41 |  | 35 | 51 | 0.0034771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5414-5_0_4_line_42 |  | 36 | 49 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5414-5_0_4_line_43 |  | 37 | 39 | 0.051388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5414-5_0_4_line_44 |  | 38 | 48 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5414-5_0_4_line_45 |  | 39 | 46 | 0.013431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5414-5_0_4_line_46 |  | 39 | 58 | 0.027361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5414-5_0_4_line_47 |  | 40 | 47 | 0.020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5414-5_0_4_line_48 |  | 41 | 42 | 0.029424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5414-5_0_4_line_49 |  | 42 | 43 | 0.10108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5414-5_0_4_line_50 |  | 42 | 44 | 0.060144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5414-5_0_4_line_51 |  | 43 | 45 | 0.01885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5414-5_0_4_line_52 |  | 44 | 46 | 0.031527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5414-5_0_4_line_53 |  | 50 | 51 | 0.008883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5414-5_0_4_line_54 |  | 50 | 52 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5414-5_0_4_line_55 |  | 51 | 62 | 0.020553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5414-5_0_4_line_56 |  | 54 | 55 | 0.05655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5414-5_0_4_line_57 |  | 55 | 57 | 0.15894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5414-5_0_4_line_58 |  | 55 | 56 | 0.041897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5414-5_0_4_line_59 |  | 57 | 63 | 0.040142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5414-5_0_4_line_60 |  | 58 | 59 | 0.031829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5414-5_0_4_line_61 |  | 59 | 60 | 0.046506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5414-5_0_4_line_62 |  | 60 | 61 | 0.016859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5414-5_0_4_line_63 |  | 63 | 64 | 0.013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5414-5_0_4_trafo_0 | 0.63 MVA 20/0.4 kV | 65 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2561119.3514 | 1138367.129 | 2561159.6572 | 1138351.3545
1 | 2561119.3514 | 1138367.129 | 2561079.1022 | 1138382.8812
2 | 2561182.5976 | 1138338.5114 | 2561166.9636 | 1138348.495 | 2561159.6572 | 1138351.3545
3 | 2561066.6581 | 1138387.7515 | 2561079.1022 | 1138382.8812
4 | 2561182.5976 | 1138338.5114 | 2561195.5851 | 1138327.2219 | 2561208.1978 | 1138310.2765 | 2561217.4274 | 1138289.9401 | 2561224.2167 | 1138272.8544 | 2561228.5917 | 1138261.854
5 | 2561208.8808 | 1138350.6148 | 2561196.8368 | 1138342.4105 | 2561182.5976 | 1138338.5114
6 | 2561066.6581 | 1138387.7515 | 2561064.416 | 1138381.2071 | 2561061.8758 | 1138373.7642 | 2561062.5464 | 1138360.9089
7 | 2561066.6581 | 1138387.7515 | 2561038.1815 | 1138398.8997
8 | 2561240.8004 | 1138231.1154 | 2561231.2634 | 1138255.1223 | 2561228.5917 | 1138261.854
9 | 2561228.5917 | 1138261.854 | 2561224.2167 | 1138272.8544 | 2561234.8325 | 1138273.0528 | 2561239.0506 | 1138272.3364 | 2561251.8662 | 1138270.1528 | 2561254.4708 | 1138269.7025 | 2561254.6516 | 1138277.4831
10 | 2561228.5917 | 1138261.854 | 2561225.8807 | 1138254.1453 | 2561220.6625 | 1138239.327 | 2561216.0012 | 1138230.9416 | 2561213.5282 | 1138230.4288
11 | 2561208.8808 | 1138350.6148 | 2561210.644 | 1138364.0325 | 2561207.6695 | 1138429.9962 | 2561205.1602 | 1138435.6708
12 | 2561208.8808 | 1138350.6148 | 2561196.1037 | 1138371.8634 | 2561187.8446 | 1138379.276 | 2561181.0691 | 1138388.7799
13 | 2561062.5464 | 1138360.9089 | 2561058.0287 | 1138343.8406 | 2561052.6752 | 1138323.5983 | 2561051.4768 | 1138318.9383
14 | 2561103.2079 | 1138043.7409 | 2561125.4918 | 1138047.3655 | 2561174.4165 | 1138056.7524
15 | 2561253.3092 | 1138123.9139 | 2561257.3016 | 1138110.8149 | 2561260.2113 | 1138099.2014 | 2561260.7665 | 1138093.4505 | 2561260.1399 | 1138088.1074 | 2561258.5215 | 1138084.0491 | 2561254.7182 | 1138079.9159 | 2561250.2194 | 1138076.4764 | 2561242.9458 | 1138073.355 | 2561199.9342 | 1138061.6482 | 2561174.4165 | 1138056.7524
16 | 2561051.4225 | 1138121.6929 | 2561062.4475 | 1138123.278 | 2561073.4957 | 1138124.8851 | 2561081.957 | 1138126.12 | 2561088.2909 | 1138119.5313 | 2561103.2079 | 1138043.7409
17 | 2561051.4225 | 1138121.6929 | 2561046.4484 | 1138182.7005
18 | 2561016.0905 | 1138180.5514 | 2561046.4484 | 1138182.7005
19 | 2561205.1602 | 1138435.6708 | 2561215.6378 | 1138456.247 | 2561222.6746 | 1138458.5028 | 2561239.8518 | 1138457.554
20 | 2561205.1602 | 1138435.6708 | 2561200.425 | 1138440.8595 | 2561174.0354 | 1138451.5685
21 | 2561266.5541 | 1138457.2976 | 2561261.4025 | 1138456.3636 | 2561239.8518 | 1138457.554
22 | 2561152.4299 | 1138460.3361 | 2561174.0354 | 1138451.5685
23 | 2561033.6844 | 1138267.5295 | 2560932.5576 | 1138271.0904
24 | 2561016.0905 | 1138180.5514 | 2561019.1843 | 1138202.1868 | 2561016.5619 | 1138212.9536 | 2561019.5873 | 1138228.7865 | 2561023.0983 | 1138240.025 | 2561033.6844 | 1138267.5295
25 | 2561040.0634 | 1138302.5803 | 2561038.482 | 1138289.9841 | 2561036.8121 | 1138277.9778 | 2561034.2464 | 1138268.9898 | 2561033.6844 | 1138267.5295
26 | 2561040.0634 | 1138302.5803 | 2561043.6667 | 1138304.3357 | 2561045.0093 | 1138304.9829 | 2561045.9665 | 1138306.7109 | 2561046.1844 | 1138307.0985 | 2561049.4995 | 1138313.0468 | 2561050.3634 | 1138314.6087 | 2561051.4768 | 1138318.9383
27 | 2561143.3498 | 1138219.4128 | 2561152.5993 | 1138221.1978
28 | 2561181.6589 | 1138223.8192 | 2561180.495 | 1138223.5778 | 2561166.8291 | 1138223.9439 | 2561152.5993 | 1138221.1978
29 | 2561213.5282 | 1138230.4288 | 2561181.6589 | 1138223.8192
30 | 2561152.4299 | 1138460.3361 | 2561134.4515 | 1138467.6318 | 2561108.9624 | 1138477.9785
31 | 2561083.0234 | 1138488.5079 | 2561108.9624 | 1138477.9785
32 | 2561083.0234 | 1138488.5079 | 2561072.5002 | 1138492.7794
33 | 2561083.0234 | 1138488.5079 | 2561093.1571 | 1138495.1013 | 2561099.7538 | 1138510.8223
34 | 2561099.7538 | 1138510.8223 | 2561182.3017 | 1138602.4209
35 | 2561202.2828 | 1138604.964 | 2561182.3017 | 1138602.4209
36 | 2561182.3017 | 1138602.4209 | 2561171.5234 | 1138601.0491 | 2561152.6941 | 1138592.5329 | 2561144.8061 | 1138616.8517 | 2561155.9471 | 1138621.6424
37 | 2561240.8004 | 1138231.1154 | 2561251.218 | 1138204.9009
38 | 2561254.6516 | 1138277.4831 | 2561248.9577 | 1138281.9331 | 2561248.1891 | 1138299.7751
39 | 2561254.6516 | 1138277.4831 | 2561254.4708 | 1138269.7025 | 2561265.2733 | 1138267.8543 | 2561281.485 | 1138265.0931
40 | 2561254.6516 | 1138277.4831 | 2561260.0355 | 1138282.2286 | 2561277.7936 | 1138286.7167 | 2561278.7474 | 1138291.5019 | 2561278.8538 | 1138308.0389
41 | 2561252.5022 | 1138201.6696 | 2561251.218 | 1138204.9009
42 | 2561247.6729 | 1138311.7565 | 2561248.1891 | 1138299.7751
43 | 2561281.485 | 1138265.0931 | 2561332.5434 | 1138258.0948
44 | 2561278.9203 | 1138318.3699 | 2561278.8538 | 1138308.0389
45 | 2561332.5434 | 1138258.0948 | 2561345.626 | 1138255.056
46 | 2561332.5434 | 1138258.0948 | 2561332.8032 | 1138285.4545
47 | 2561266.5541 | 1138457.2976 | 2561271.5997 | 1138444.1585 | 2561274.8832 | 1138438.0676
48 | 2561433.943 | 1138268.9612 | 2561448.4202 | 1138261.9983 | 2561450.1659 | 1138259.5414 | 2561450.8278 | 1138256.0132 | 2561450.3924 | 1138251.6804 | 2561449.7321 | 1138249.3723
49 | 2561508.8714 | 1138232.3077 | 2561492.8771 | 1138252.2311 | 2561488.3449 | 1138260.3753 | 2561469.6395 | 1138280.9054 | 2561461.4844 | 1138281.8025 | 2561433.943 | 1138268.9612
50 | 2561376.7071 | 1138250.6187 | 2561403.7581 | 1138258.9273 | 2561429.6536 | 1138266.9654 | 2561433.943 | 1138268.9612
51 | 2561508.8714 | 1138232.3077 | 2561514.6072 | 1138221.1431 | 2561515.7129 | 1138214.9431
52 | 2561376.7071 | 1138250.6187 | 2561371.1842 | 1138250.5763 | 2561360.5992 | 1138251.5781 | 2561345.626 | 1138255.056
53 | 2561260.4581 | 1138205.6649 | 2561252.5022 | 1138201.6696
54 | 2561260.4581 | 1138205.6649 | 2561272.4945 | 1138210.32
55 | 2561252.5022 | 1138201.6696 | 2561254.7728 | 1138195.941 | 2561260.0868 | 1138182.5668
56 | 2561253.4549 | 1138629.2357 | 2561219.2478 | 1138611.8471 | 2561202.2828 | 1138604.964
57 | 2561408.5005 | 1138594.2667 | 2561253.4549 | 1138629.2357
58 | 2561253.4549 | 1138629.2357 | 2561241.934 | 1138634.09 | 2561212.54 | 1138634.3797
59 | 2561408.5005 | 1138594.2667 | 2561425.6749 | 1138582.2506 | 2561435.5031 | 1138570.0481 | 2561436.8789 | 1138566.8156
60 | 2561332.8032 | 1138285.4545 | 2561333.1054 | 1138317.2826
61 | 2561333.1054 | 1138317.2826 | 2561333.1616 | 1138323.2016 | 2561329.0123 | 1138357.3567 | 2561324.8365 | 1138361.9134
62 | 2561313.4461 | 1138374.343 | 2561324.8365 | 1138361.9134
63 | 2561442.0148 | 1138554.7492 | 2561436.8789 | 1138566.8156

## bus_geodata
| x | y | coords
0 | 2561119.3514 | 1138367.129
1 | 2561159.6572 | 1138351.3545
2 | 2561079.1022 | 1138382.8812
3 | 2561182.5976 | 1138338.5114
4 | 2561066.6581 | 1138387.7515
5 | 2561228.5917 | 1138261.854
6 | 2561208.8808 | 1138350.6148
7 | 2561062.5464 | 1138360.9089
8 | 2561038.1815 | 1138398.8997
9 | 2561174.4165 | 1138056.7524
10 | 2561103.2079 | 1138043.7409
11 | 2561253.3092 | 1138123.9139
12 | 2561051.4225 | 1138121.6929
13 | 2561046.4484 | 1138182.7005
14 | 2561181.0691 | 1138388.7799
15 | 2561205.1602 | 1138435.6708
16 | 2561239.8518 | 1138457.554
17 | 2561174.0354 | 1138451.5685
18 | 2560932.5576 | 1138271.0904
19 | 2561033.6844 | 1138267.5295
20 | 2561051.4768 | 1138318.9383
21 | 2561040.0634 | 1138302.5803
22 | 2561016.0905 | 1138180.5514
23 | 2561152.5993 | 1138221.1978
24 | 2561143.3498 | 1138219.4128
25 | 2561181.6589 | 1138223.8192
26 | 2561213.5282 | 1138230.4288
27 | 2561108.9624 | 1138477.9785
28 | 2561152.4299 | 1138460.3361
29 | 2561083.0234 | 1138488.5079
30 | 2561072.5002 | 1138492.7794
31 | 2561099.7538 | 1138510.8223
32 | 2561182.3017 | 1138602.4209
33 | 2561240.8004 | 1138231.1154
34 | 2561254.6516 | 1138277.4831
35 | 2561251.218 | 1138204.9009
36 | 2561248.1891 | 1138299.7751
37 | 2561281.485 | 1138265.0931
38 | 2561278.8538 | 1138308.0389
39 | 2561332.5434 | 1138258.0948
40 | 2561266.5541 | 1138457.2976
41 | 2561449.7321 | 1138249.3723
42 | 2561433.943 | 1138268.9612
43 | 2561508.8714 | 1138232.3077
44 | 2561376.7071 | 1138250.6187
45 | 2561515.7129 | 1138214.9431
46 | 2561345.626 | 1138255.056
47 | 2561274.8832 | 1138438.0676
48 | 2561278.9203 | 1138318.3699
49 | 2561247.6729 | 1138311.7565
50 | 2561260.4581 | 1138205.6649
51 | 2561252.5022 | 1138201.6696
52 | 2561272.4945 | 1138210.32
53 | 2561155.9471 | 1138621.6424
54 | 2561202.2828 | 1138604.964
55 | 2561253.4549 | 1138629.2357
56 | 2561212.54 | 1138634.3797
57 | 2561408.5005 | 1138594.2667
58 | 2561332.8032 | 1138285.4545
59 | 2561333.1054 | 1138317.2826
60 | 2561324.8365 | 1138361.9134
61 | 2561313.4461 | 1138374.343
62 | 2561260.0868 | 1138182.5668
63 | 2561436.8789 | 1138566.8156
64 | 2561442.0148 | 1138554.7492
65 | 2561119.3514 | 1138367.129

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1