## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5414-8_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5414-8_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5414-8_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5414-8_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5414-8_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5414-8_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5414-8_0_7_node_88 | 0.4 | n |  | TRUE
7 | bus_LV_5414-8_0_7_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_5414-8_0_7_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_5414-8_0_7_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_5414-8_0_7_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_5414-8_0_7_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_5414-8_0_7_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_5414-8_0_7_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_5414-8_0_7_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_5414-8_0_7_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5414-8_0_7_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5414-8_0_7_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5414-8_0_7_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5414-8_0_7_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_5414-8_0_7_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_5414-8_0_7_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_5414-8_0_7_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_5414-8_0_7_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_5414-8_0_7_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_5414-8_0_7_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_5414-8_0_7_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_5414-8_0_7_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_5414-8_0_7_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5414-8_0_7_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5414-8_0_7_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_5414-8_0_7_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_5414-8_0_7_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_5414-8_0_7_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_5414-8_0_7_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5414-8_0_7_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5414-8_0_7_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5414-8_0_7_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_5414-8_0_7_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5414-8_0_7_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5414-8_0_7_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5414-8_0_7_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5414-8_0_7_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5414-8_0_7_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5414-8_0_7_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_5414-8_0_7_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5414-8_0_7_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_5414-8_0_7_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_5414-8_0_7_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_5414-8_0_7_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_5414-8_0_7_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_5414-8_0_7_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_5414-8_0_7_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5414-8_0_7_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5414-8_0_7_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5414-8_0_7_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_5414-8_0_7_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_5414-8_0_7_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_5414-8_0_7_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_5414-8_0_7_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5414-8_0_7_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5414-8_0_7_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_5414-8_0_7_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_5414-8_0_7_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_5414-8_0_7_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_5414-8_0_7_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_5414-8_0_7_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_5414-8_0_7_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5414-8_0_7_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5414-8_0_7_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_5414-8_0_7_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_5414-8_0_7_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5414-8_0_7_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_5414-8_0_7_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5414-8_0_7_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_5414-8_0_7_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_5414-8_0_7_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_5414-8_0_7_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_5414-8_0_7_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_5414-8_0_7_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5414-8_0_7_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5414-8_0_7_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_5414-8_0_7_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_5414-8_0_7_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_5414-8_0_7_node_81 | 0.4 | n |  | TRUE
85 | bus_MV_79_0_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5414-8_0_7_load_0 | 0 | 0.037642 | 0.009434 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5414-8_0_7_load_5 | 5 | 0.020132 | 0.0050454 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5414-8_0_7_load_88 | 6 | 0.04353 | 0.01091 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5414-8_0_7_load_74 | 9 | 0.008679 | 0.0021752 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5414-8_0_7_load_87 | 10 | 0.024504 | 0.0061413 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5414-8_0_7_load_75 | 12 | 0.00028445 | 7.129e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5414-8_0_7_load_69 | 13 | 0.025557 | 0.0064053 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5414-8_0_7_load_6 | 15 | 0.0007558 | 0.00018942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5414-8_0_7_load_51 | 20 | 0.0015412 | 0.00038626 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5414-8_0_7_load_36 | 21 | 0.0018479 | 0.00046313 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5414-8_0_7_load_52 | 22 | 0.0050225 | 0.0012588 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5414-8_0_7_load_10 | 25 | 0.0082555 | 0.002069 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5414-8_0_7_load_11 | 26 | 0.0010022 | 0.00025118 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5414-8_0_7_load_14 | 28 | 0.00029528 | 7.4003e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5414-8_0_7_load_15 | 29 | 0.00065252 | 0.00016354 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5414-8_0_7_load_33 | 30 | 0.0015498 | 0.00038841 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5414-8_0_7_load_45 | 31 | 0.0010078 | 0.00025258 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5414-8_0_7_load_34 | 32 | 0.00056282 | 0.00014106 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5414-8_0_7_load_44 | 33 | 0.0015292 | 0.00038324 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5414-8_0_7_load_16 | 34 | 0.0013027 | 0.00032649 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5414-8_0_7_load_17 | 35 | 0.0018039 | 0.0004521 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5414-8_0_7_load_22 | 40 | 0.00063571 | 0.00015932 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5414-8_0_7_load_40 | 41 | 0.0068037 | 0.0017052 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5414-8_0_7_load_27 | 43 | 0.0036493 | 0.00091459 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5414-8_0_7_load_76 | 44 | 0.0011513 | 0.00028855 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5414-8_0_7_load_85 | 47 | 0.0043113 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5414-8_0_7_load_23 | 48 | 0.00068443 | 0.00017153 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5414-8_0_7_load_24 | 49 | 0.0013393 | 0.00033565 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5414-8_0_7_load_25 | 50 | 0.018319 | 0.0045911 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5414-8_0_7_load_49 | 53 | 0.00062973 | 0.00015783 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5414-8_0_7_load_38 | 54 | 0.00084412 | 0.00021156 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5414-8_0_7_load_31 | 55 | 0.00077646 | 0.0001946 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5414-8_0_7_load_86 | 56 | 0.0042011 | 0.0010529 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5414-8_0_7_load_30 | 57 | 0.0027765 | 0.00069585 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5414-8_0_7_load_65 | 61 | 0.0016734 | 0.00041939 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5414-8_0_7_load_60 | 62 | 0.00022204 | 5.5648e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5414-8_0_7_load_82 | 64 | 0.073773 | 0.018489 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5414-8_0_7_load_43 | 65 | 0.0013666 | 0.0003425 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5414-8_0_7_load_42 | 66 | 0.0076754 | 0.0019236 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5414-8_0_7_load_59 | 68 | 0.0002255 | 5.6515e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5414-8_0_7_load_80 | 69 | 0.034445 | 0.0086327 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5414-8_0_7_load_53 | 70 | 0.0012488 | 0.00031298 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5414-8_0_7_load_54 | 71 | 0.00054686 | 0.00013706 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5414-8_0_7_load_55 | 72 | 0.019224 | 0.004818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5414-8_0_7_load_58 | 74 | 0.0039165 | 0.00098156 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5414-8_0_7_load_83 | 75 | 0.00022679 | 5.6839e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5414-8_0_7_load_84 | 76 | 0.00067014 | 0.00016795 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5414-8_0_7_load_61 | 77 | 0.00041014 | 0.00010279 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5414-8_0_7_load_62 | 78 | 0.00027027 | 6.7736e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5414-8_0_7_load_67 | 80 | 0.00033606 | 8.4224e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5414-8_0_7_load_66 | 81 | 0.0013241 | 0.00033186 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5414-8_0_7_load_78 | 83 | 0.034099 | 0.0085459 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5414-8_0_7_load_81 | 84 | 0.022408 | 0.0056159 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5414-8_0_7_line_0 |  | 0 | 1 | 0.021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5414-8_0_7_line_1 |  | 0 | 2 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5414-8_0_7_line_2 |  | 1 | 3 | 0.026849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5414-8_0_7_line_3 |  | 2 | 4 | 0.044762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5414-8_0_7_line_4 |  | 2 | 5 | 0.048098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5414-8_0_7_line_5 |  | 3 | 6 | 0.010689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5414-8_0_7_line_6 |  | 3 | 7 | 0.0411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5414-8_0_7_line_7 |  | 4 | 8 | 0.034037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5414-8_0_7_line_8 |  | 5 | 9 | 0.021097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5414-8_0_7_line_9 |  | 7 | 10 | 0.035089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5414-8_0_7_line_10 |  | 7 | 11 | 0.037002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5414-8_0_7_line_11 |  | 8 | 12 | 0.030686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5414-8_0_7_line_12 |  | 11 | 83 | 0.046715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5414-8_0_7_line_13 |  | 11 | 44 | 0.020423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5414-8_0_7_line_14 |  | 12 | 82 | 0.020958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5414-8_0_7_line_15 |  | 13 | 14 | 0.032155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5414-8_0_7_line_16 |  | 14 | 82 | 0.034239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5414-8_0_7_line_17 |  | 15 | 16 | 0.022141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5414-8_0_7_line_18 |  | 16 | 17 | 0.007799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5414-8_0_7_line_19 |  | 16 | 18 | 0.017159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5414-8_0_7_line_20 |  | 17 | 19 | 0.006284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5414-8_0_7_line_21 |  | 17 | 20 | 0.033984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5414-8_0_7_line_22 |  | 18 | 21 | 0.033534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5414-8_0_7_line_23 |  | 19 | 22 | 0.043252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5414-8_0_7_line_24 |  | 19 | 23 | 0.027432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5414-8_0_7_line_25 |  | 21 | 24 | 0.039712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5414-8_0_7_line_26 |  | 23 | 53 | 0.019842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5414-8_0_7_line_27 |  | 23 | 51 | 0.056745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5414-8_0_7_line_28 |  | 24 | 58 | 0.031034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5414-8_0_7_line_29 |  | 24 | 32 | 0.02019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5414-8_0_7_line_30 |  | 25 | 26 | 0.043418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5414-8_0_7_line_31 |  | 25 | 27 | 0.0053078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5414-8_0_7_line_32 |  | 27 | 28 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5414-8_0_7_line_33 |  | 27 | 29 | 0.027059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5414-8_0_7_line_34 |  | 28 | 30 | 0.044744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5414-8_0_7_line_35 |  | 29 | 31 | 0.060566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5414-8_0_7_line_36 |  | 30 | 32 | 0.046354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5414-8_0_7_line_37 |  | 31 | 33 | 0.035794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5414-8_0_7_line_38 |  | 33 | 65 | 0.0088432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5414-8_0_7_line_39 |  | 34 | 35 | 0.053058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5414-8_0_7_line_40 |  | 34 | 36 | 0.019029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5414-8_0_7_line_41 |  | 35 | 37 | 0.06231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5414-8_0_7_line_42 |  | 36 | 38 | 0.040516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5414-8_0_7_line_43 |  | 36 | 39 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5414-8_0_7_line_44 |  | 37 | 40 | 0.08688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5414-8_0_7_line_45 |  | 38 | 41 | 0.050676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5414-8_0_7_line_46 |  | 39 | 42 | 0.039008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5414-8_0_7_line_47 |  | 39 | 43 | 0.040943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5414-8_0_7_line_48 |  | 40 | 44 | 0.0096729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5414-8_0_7_line_49 |  | 41 | 45 | 0.0051659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5414-8_0_7_line_50 |  | 42 | 46 | 0.025281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5414-8_0_7_line_51 |  | 43 | 47 | 0.081574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5414-8_0_7_line_52 |  | 45 | 66 | 0.029671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5414-8_0_7_line_53 |  | 46 | 53 | 0.0084291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5414-8_0_7_line_54 |  | 47 | 56 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5414-8_0_7_line_55 |  | 48 | 49 | 0.034729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5414-8_0_7_line_56 |  | 48 | 50 | 0.035372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5414-8_0_7_line_57 |  | 49 | 51 | 0.020444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5414-8_0_7_line_58 |  | 51 | 52 | 0.019737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5414-8_0_7_line_59 |  | 52 | 54 | 0.019662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5414-8_0_7_line_60 |  | 52 | 55 | 0.062338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5414-8_0_7_line_61 |  | 55 | 57 | 0.00053836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5414-8_0_7_line_62 |  | 58 | 59 | 0.039001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5414-8_0_7_line_63 |  | 58 | 60 | 0.069824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5414-8_0_7_line_64 |  | 59 | 61 | 0.038131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5414-8_0_7_line_65 |  | 59 | 62 | 0.0066496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5414-8_0_7_line_66 |  | 60 | 63 | 0.02819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5414-8_0_7_line_67 |  | 61 | 67 | 0.060753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5414-8_0_7_line_68 |  | 62 | 68 | 0.00093981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5414-8_0_7_line_69 |  | 63 | 64 | 0.085242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5414-8_0_7_line_70 |  | 64 | 69 | 0.045778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5414-8_0_7_line_71 |  | 67 | 81 | 0.06315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5414-8_0_7_line_72 |  | 68 | 74 | 0.035277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5414-8_0_7_line_73 |  | 69 | 84 | 0.01494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5414-8_0_7_line_74 |  | 70 | 71 | 0.052745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5414-8_0_7_line_75 |  | 70 | 72 | 0.030333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5414-8_0_7_line_76 |  | 71 | 73 | 0.011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5414-8_0_7_line_77 |  | 72 | 74 | 0.084257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5414-8_0_7_line_78 |  | 73 | 75 | 0.018104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5414-8_0_7_line_79 |  | 75 | 76 | 0.015978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5414-8_0_7_line_80 |  | 75 | 77 | 0.18186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5414-8_0_7_line_81 |  | 77 | 78 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5414-8_0_7_line_82 |  | 78 | 79 | 0.039104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5414-8_0_7_line_83 |  | 79 | 80 | 0.026656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5414-8_0_7_trafo_39 | 0.63 MVA 20/0.4 kV | 85 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2561099.6383 | 1137907.973 | 2561104.6638 | 1137929.0151
1 | 2561109.0544 | 1137947.3988 | 2561104.6638 | 1137929.0151
2 | 2561099.6383 | 1137907.973 | 2561098.6345 | 1137903.8107 | 2561093.3313 | 1137881.8782
3 | 2561109.0544 | 1137947.3988 | 2561119.4506 | 1137990.9315
4 | 2561109.0544 | 1137947.3988 | 2561142.486 | 1137954.8423 | 2561154.3472 | 1137947.6955
5 | 2561093.3313 | 1137881.8782 | 2561103.7455 | 1137879.343
6 | 2561083.681 | 1137841.9315 | 2561093.3313 | 1137881.8782
7 | 2561129.9414 | 1138022.9133 | 2561128.3197 | 1138020.7338 | 2561125.4749 | 1138016.1609 | 2561119.4506 | 1137990.9315
8 | 2561175.0037 | 1137951.9853 | 2561154.3472 | 1137947.6955
9 | 2561083.681 | 1137841.9315 | 2561117.8896 | 1137849.7441
10 | 2561083.681 | 1137841.9315 | 2561074.987 | 1137805.9694
11 | 2561129.9414 | 1138022.9133 | 2561131.3381 | 1138024.7941 | 2561136.0025 | 1138028.8439 | 2561140.0534 | 1138030.7965 | 2561157.2707 | 1138034.7688
12 | 2561074.987 | 1137805.9694 | 2561120.4639 | 1137816.654
13 | 2561074.987 | 1137805.9694 | 2561070.1889 | 1137786.1178
14 | 2561177.6923 | 1138039.4804 | 2561157.2707 | 1138034.7688
15 | 2561185.5925 | 1138006.1681 | 2561154.2579 | 1137998.9498
16 | 2561185.5925 | 1138006.1681 | 2561177.6923 | 1138039.4804
17 | 2561287.1692 | 1137835.7724 | 2561282.3945 | 1137857.3922
18 | 2561287.1692 | 1137835.7724 | 2561280.596 | 1137831.5458
19 | 2561287.1692 | 1137835.7724 | 2561301.8268 | 1137844.7605
20 | 2561275.2972 | 1137828.1449 | 2561280.596 | 1137831.5458
21 | 2561280.596 | 1137831.5458 | 2561298.6481 | 1137802.7531
22 | 2561301.8268 | 1137844.7605 | 2561330.4174 | 1137862.2857
23 | 2561275.2972 | 1137828.1449 | 2561297.6537 | 1137791.1184
24 | 2561251.9884 | 1137813.5763 | 2561275.2972 | 1137828.1449
25 | 2561364.0812 | 1137883.3359 | 2561359.2056 | 1137879.9321 | 2561330.4174 | 1137862.2857
26 | 2561251.9884 | 1137813.5763 | 2561235.3232 | 1137802.8073
27 | 2561251.9884 | 1137813.5763 | 2561238.1968 | 1137868.6152
28 | 2561364.0812 | 1137883.3359 | 2561387.333 | 1137862.7097
29 | 2561364.0812 | 1137883.3359 | 2561351.5222 | 1137899.1443
30 | 2561312.1305 | 1138007.7628 | 2561301.345 | 1138049.8202
31 | 2561313.449 | 1138002.6214 | 2561312.1305 | 1138007.7628
32 | 2561313.449 | 1138002.6214 | 2561319.4438 | 1137984.0378
33 | 2561313.449 | 1138002.6214 | 2561340.5054 | 1138002.9685
34 | 2561319.4438 | 1137984.0378 | 2561333.1806 | 1137941.4544
35 | 2561387.7577 | 1137985.4482 | 2561382.1672 | 1138003.503 | 2561340.5054 | 1138002.9685
36 | 2561351.5222 | 1137899.1443 | 2561349.7893 | 1137901.3256 | 2561339.8077 | 1137920.9107 | 2561333.1806 | 1137941.4544
37 | 2561387.7577 | 1137985.4482 | 2561389.9517 | 1137978.3626 | 2561399.9247 | 1137953.8195 | 2561400.9212 | 1137952.2199
38 | 2561405.5968 | 1137944.7138 | 2561400.9212 | 1137952.2199
39 | 2561146.5162 | 1137748.0804 | 2561101.411 | 1137720.1395
40 | 2561162.6928 | 1137758.1012 | 2561146.5162 | 1137748.0804
41 | 2561047.5053 | 1137692.2673 | 2561052.3646 | 1137690.7351 | 2561060.9775 | 1137695.0927 | 2561101.411 | 1137720.1395
42 | 2561162.6928 | 1137758.1012 | 2561182.9664 | 1137722.9971
43 | 2561162.6928 | 1137758.1012 | 2561173.3953 | 1137764.4465
44 | 2561047.5053 | 1137692.2673 | 2561067.9164 | 1137776.7157
45 | 2561182.9664 | 1137722.9971 | 2561180.6965 | 1137714.5408 | 2561145.2417 | 1137692.1745
46 | 2561173.3953 | 1137764.4465 | 2561206.6431 | 1137784.9982
47 | 2561173.3953 | 1137764.4465 | 2561194.9108 | 1137729.6124
48 | 2561070.1889 | 1137786.1178 | 2561067.9164 | 1137776.7157
49 | 2561140.8725 | 1137689.4182 | 2561145.2417 | 1137692.1745
50 | 2561206.6431 | 1137784.9982 | 2561228.2436 | 1137798.2325
51 | 2561194.9108 | 1137729.6124 | 2561249.009 | 1137668.5578
52 | 2561140.8725 | 1137689.4182 | 2561156.066 | 1137663.9329
53 | 2561228.2436 | 1137798.2325 | 2561235.3232 | 1137802.8073
54 | 2561249.009 | 1137668.5578 | 2561242.496 | 1137663.0278 | 2561238.3224 | 1137659.8003
55 | 2561218.1697 | 1137864.5055 | 2561184.1493 | 1137857.5243
56 | 2561168.7885 | 1137887.4051 | 2561172.981 | 1137885.0547 | 2561176.8151 | 1137882.0173 | 2561179.5782 | 1137876.2966 | 2561184.1493 | 1137857.5243
57 | 2561238.1968 | 1137868.6152 | 2561218.1697 | 1137864.5055
58 | 2561238.1968 | 1137868.6152 | 2561233.5203 | 1137887.7883
59 | 2561233.5203 | 1137887.7883 | 2561228.9637 | 1137906.9151
60 | 2561233.5203 | 1137887.7883 | 2561294.3093 | 1137901.5966
61 | 2561294.8343 | 1137901.7158 | 2561294.3093 | 1137901.5966
62 | 2561387.333 | 1137862.7097 | 2561421.1063 | 1137843.0388
63 | 2561387.333 | 1137862.7097 | 2561385.2772 | 1137859.9992 | 2561389.4838 | 1137829.8681 | 2561370.3499 | 1137799.3754
64 | 2561421.1063 | 1137843.0388 | 2561434.0274 | 1137870.381 | 2561437.5068 | 1137877.4617
65 | 2561421.1063 | 1137843.0388 | 2561426.8617 | 1137839.7082
66 | 2561370.3499 | 1137799.3754 | 2561381.42 | 1137788.7323 | 2561391.732 | 1137781.0179
67 | 2561459.4118 | 1137934.0841 | 2561441.5095 | 1137885.6075 | 2561437.5068 | 1137877.4617
68 | 2561427.6751 | 1137839.2375 | 2561426.8617 | 1137839.7082
69 | 2561391.732 | 1137781.0179 | 2561388.871 | 1137695.8234
70 | 2561386.0825 | 1137650.1843 | 2561387.7099 | 1137661.2497 | 2561388.871 | 1137695.8234
71 | 2561459.4118 | 1137934.0841 | 2561434.9869 | 1137992.3198
72 | 2561458.208 | 1137821.5684 | 2561427.6751 | 1137839.2375
73 | 2561386.0825 | 1137650.1843 | 2561383.9085 | 1137635.4031
74 | 2561553.1487 | 1137802.6914 | 2561567.8477 | 1137820.956 | 2561586.2186 | 1137843.7822
75 | 2561532.0544 | 1137781.0199 | 2561545.5246 | 1137793.2178 | 2561553.1487 | 1137802.6914
76 | 2561593.2953 | 1137852.5764 | 2561587.1544 | 1137844.945 | 2561586.2186 | 1137843.7822
77 | 2561532.0544 | 1137781.0199 | 2561482.7617 | 1137807.3594 | 2561458.208 | 1137821.5684
78 | 2561593.2953 | 1137852.5764 | 2561578.0845 | 1137859.2768 | 2561576.6279 | 1137859.5523
79 | 2561560.9286 | 1137862.5212 | 2561576.6279 | 1137859.5523
80 | 2561576.6279 | 1137859.5523 | 2561622.301 | 1138035.5856
81 | 2561622.301 | 1138035.5856 | 2561618.7382 | 1138041.5209 | 2561617.3492 | 1138045.4148
82 | 2561611.8086 | 1138083.8643 | 2561614.0681 | 1138054.6129 | 2561617.3492 | 1138045.4148
83 | 2561611.8086 | 1138083.8643 | 2561630.6933 | 1138067.1355 | 2561632.0486 | 1138067.5846

## bus_geodata
| x | y | coords
0 | 2561104.6638 | 1137929.0151
1 | 2561099.6383 | 1137907.973
2 | 2561109.0544 | 1137947.3988
3 | 2561093.3313 | 1137881.8782
4 | 2561119.4506 | 1137990.9315
5 | 2561154.3472 | 1137947.6955
6 | 2561103.7455 | 1137879.343
7 | 2561083.681 | 1137841.9315
8 | 2561129.9414 | 1138022.9133
9 | 2561175.0037 | 1137951.9853
10 | 2561117.8896 | 1137849.7441
11 | 2561074.987 | 1137805.9694
12 | 2561157.2707 | 1138034.7688
13 | 2561154.2579 | 1137998.9498
14 | 2561185.5925 | 1138006.1681
15 | 2561282.3945 | 1137857.3922
16 | 2561287.1692 | 1137835.7724
17 | 2561280.596 | 1137831.5458
18 | 2561301.8268 | 1137844.7605
19 | 2561275.2972 | 1137828.1449
20 | 2561298.6481 | 1137802.7531
21 | 2561330.4174 | 1137862.2857
22 | 2561297.6537 | 1137791.1184
23 | 2561251.9884 | 1137813.5763
24 | 2561364.0812 | 1137883.3359
25 | 2561312.1305 | 1138007.7628
26 | 2561301.345 | 1138049.8202
27 | 2561313.449 | 1138002.6214
28 | 2561319.4438 | 1137984.0378
29 | 2561340.5054 | 1138002.9685
30 | 2561333.1806 | 1137941.4544
31 | 2561387.7577 | 1137985.4482
32 | 2561351.5222 | 1137899.1443
33 | 2561400.9212 | 1137952.2199
34 | 2561146.5162 | 1137748.0804
35 | 2561101.411 | 1137720.1395
36 | 2561162.6928 | 1137758.1012
37 | 2561047.5053 | 1137692.2673
38 | 2561182.9664 | 1137722.9971
39 | 2561173.3953 | 1137764.4465
40 | 2561067.9164 | 1137776.7157
41 | 2561145.2417 | 1137692.1745
42 | 2561206.6431 | 1137784.9982
43 | 2561194.9108 | 1137729.6124
44 | 2561070.1889 | 1137786.1178
45 | 2561140.8725 | 1137689.4182
46 | 2561228.2436 | 1137798.2325
47 | 2561249.009 | 1137668.5578
48 | 2561184.1493 | 1137857.5243
49 | 2561218.1697 | 1137864.5055
50 | 2561168.7885 | 1137887.4051
51 | 2561238.1968 | 1137868.6152
52 | 2561233.5203 | 1137887.7883
53 | 2561235.3232 | 1137802.8073
54 | 2561228.9637 | 1137906.9151
55 | 2561294.3093 | 1137901.5966
56 | 2561238.3224 | 1137659.8003
57 | 2561294.8343 | 1137901.7158
58 | 2561387.333 | 1137862.7097
59 | 2561421.1063 | 1137843.0388
60 | 2561370.3499 | 1137799.3754
61 | 2561437.5068 | 1137877.4617
62 | 2561426.8617 | 1137839.7082
63 | 2561391.732 | 1137781.0179
64 | 2561388.871 | 1137695.8234
65 | 2561405.5968 | 1137944.7138
66 | 2561156.066 | 1137663.9329
67 | 2561459.4118 | 1137934.0841
68 | 2561427.6751 | 1137839.2375
69 | 2561386.0825 | 1137650.1843
70 | 2561553.1487 | 1137802.6914
71 | 2561586.2186 | 1137843.7822
72 | 2561532.0544 | 1137781.0199
73 | 2561593.2953 | 1137852.5764
74 | 2561458.208 | 1137821.5684
75 | 2561576.6279 | 1137859.5523
76 | 2561560.9286 | 1137862.5212
77 | 2561622.301 | 1138035.5856
78 | 2561617.3492 | 1138045.4148
79 | 2561611.8086 | 1138083.8643
80 | 2561632.0486 | 1138067.5846
81 | 2561434.9869 | 1137992.3198
82 | 2561177.6923 | 1138039.4804
83 | 2561120.4639 | 1137816.654
84 | 2561383.9085 | 1137635.4031
85 | 2561275.2972 | 1137828.1449

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1