## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_582-1_1_3_node_77 | 0.4 | n |  | TRUE
1 | bus_LV_582-1_1_3_node_79 | 0.4 | n |  | TRUE
2 | bus_LV_582-1_1_3_node_81 | 0.4 | n |  | TRUE
3 | bus_LV_582-1_1_3_node_185 | 0.4 | n |  | TRUE
4 | bus_LV_582-1_1_3_node_90 | 0.4 | n |  | TRUE
5 | bus_LV_582-1_1_3_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_582-1_1_3_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_582-1_1_3_node_195 | 0.4 | n |  | TRUE
8 | bus_LV_582-1_1_3_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_582-1_1_3_node_94 | 0.4 | n |  | TRUE
10 | bus_LV_582-1_1_3_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_582-1_1_3_node_180 | 0.4 | n |  | TRUE
12 | bus_LV_582-1_1_3_node_132 | 0.4 | n |  | TRUE
13 | bus_LV_582-1_1_3_node_133 | 0.4 | n |  | TRUE
14 | bus_LV_582-1_1_3_node_135 | 0.4 | n |  | TRUE
15 | bus_LV_582-1_1_3_node_137 | 0.4 | n |  | TRUE
16 | bus_LV_582-1_1_3_node_162 | 0.4 | n |  | TRUE
17 | bus_LV_582-1_1_3_node_163 | 0.4 | n |  | TRUE
18 | bus_LV_582-1_1_3_node_164 | 0.4 | n |  | TRUE
19 | bus_LV_582-1_1_3_node_170 | 0.4 | n |  | TRUE
20 | bus_LV_582-1_1_3_node_184 | 0.4 | n |  | TRUE
21 | bus_LV_582-1_1_3_node_181 | 0.4 | n |  | TRUE
22 | bus_LV_582-1_1_3_node_166 | 0.4 | n |  | TRUE
23 | bus_LV_582-1_1_3_node_197 | 0.4 | n |  | TRUE
24 | bus_LV_582-1_1_3_node_169 | 0.4 | n |  | TRUE
25 | bus_LV_582-1_1_3_node_171 | 0.4 | n |  | TRUE
26 | bus_LV_582-1_1_3_node_178 | 0.4 | n |  | TRUE
27 | bus_LV_582-1_1_3_node_179 | 0.4 | n |  | TRUE
28 | bus_LV_582-1_1_3_node_182 | 0.4 | n |  | TRUE
29 | bus_LV_582-1_1_3_node_198 | 0.4 | n |  | TRUE
30 | bus_LV_582-1_1_3_node_196 | 0.4 | n |  | TRUE
31 | bus_LV_582-1_1_3_node_186 | 0.4 | n |  | TRUE
32 | bus_LV_582-1_1_3_node_188 | 0.4 | n |  | TRUE
33 | bus_LV_582-1_1_3_node_189 | 0.4 | n |  | TRUE
34 | bus_LV_582-1_1_3_node_190 | 0.4 | n |  | TRUE
35 | bus_LV_582-1_1_3_node_308 | 0.4 | n |  | TRUE
36 | bus_LV_582-1_1_3_node_307 | 0.4 | n |  | TRUE
37 | bus_LV_582-1_1_3_node_277 | 0.4 | n |  | TRUE
38 | bus_LV_582-1_1_3_node_315 | 0.4 | n |  | TRUE
39 | bus_LV_582-1_1_3_node_316 | 0.4 | n |  | TRUE
40 | bus_LV_582-1_1_3_node_199 | 0.4 | n |  | TRUE
41 | bus_LV_582-1_1_3_node_200 | 0.4 | n |  | TRUE
42 | bus_LV_582-1_1_3_node_201 | 0.4 | n |  | TRUE
43 | bus_LV_582-1_1_3_node_202 | 0.4 | n |  | TRUE
44 | bus_LV_582-1_1_3_node_203 | 0.4 | n |  | TRUE
45 | bus_LV_582-1_1_3_node_311 | 0.4 | n |  | TRUE
46 | bus_LV_582-1_1_3_node_204 | 0.4 | n |  | TRUE
47 | bus_LV_582-1_1_3_node_205 | 0.4 | n |  | TRUE
48 | bus_LV_582-1_1_3_node_206 | 0.4 | n |  | TRUE
49 | bus_LV_582-1_1_3_node_207 | 0.4 | n |  | TRUE
50 | bus_LV_582-1_1_3_node_208 | 0.4 | n |  | TRUE
51 | bus_LV_582-1_1_3_node_220 | 0.4 | n |  | TRUE
52 | bus_LV_582-1_1_3_node_239 | 0.4 | n |  | TRUE
53 | bus_LV_582-1_1_3_node_209 | 0.4 | n |  | TRUE
54 | bus_LV_582-1_1_3_node_210 | 0.4 | n |  | TRUE
55 | bus_LV_582-1_1_3_node_211 | 0.4 | n |  | TRUE
56 | bus_LV_582-1_1_3_node_212 | 0.4 | n |  | TRUE
57 | bus_LV_582-1_1_3_node_213 | 0.4 | n |  | TRUE
58 | bus_LV_582-1_1_3_node_219 | 0.4 | n |  | TRUE
59 | bus_LV_582-1_1_3_node_312 | 0.4 | n |  | TRUE
60 | bus_LV_582-1_1_3_node_214 | 0.4 | n |  | TRUE
61 | bus_LV_582-1_1_3_node_215 | 0.4 | n |  | TRUE
62 | bus_LV_582-1_1_3_node_216 | 0.4 | n |  | TRUE
63 | bus_LV_582-1_1_3_node_217 | 0.4 | n |  | TRUE
64 | bus_LV_582-1_1_3_node_218 | 0.4 | n |  | TRUE
65 | bus_LV_582-1_1_3_node_246 | 0.4 | n |  | TRUE
66 | bus_LV_582-1_1_3_node_238 | 0.4 | n |  | TRUE
67 | bus_LV_582-1_1_3_node_235 | 0.4 | n |  | TRUE
68 | bus_LV_582-1_1_3_node_309 | 0.4 | n |  | TRUE
69 | bus_LV_582-1_1_3_node_221 | 0.4 | n |  | TRUE
70 | bus_LV_582-1_1_3_node_222 | 0.4 | n |  | TRUE
71 | bus_LV_582-1_1_3_node_224 | 0.4 | n |  | TRUE
72 | bus_LV_582-1_1_3_node_225 | 0.4 | n |  | TRUE
73 | bus_LV_582-1_1_3_node_226 | 0.4 | n |  | TRUE
74 | bus_LV_582-1_1_3_node_227 | 0.4 | n |  | TRUE
75 | bus_LV_582-1_1_3_node_228 | 0.4 | n |  | TRUE
76 | bus_LV_582-1_1_3_node_229 | 0.4 | n |  | TRUE
77 | bus_LV_582-1_1_3_node_234 | 0.4 | n |  | TRUE
78 | bus_LV_582-1_1_3_node_317 | 0.4 | n |  | TRUE
79 | bus_LV_582-1_1_3_node_230 | 0.4 | n |  | TRUE
80 | bus_LV_582-1_1_3_node_231 | 0.4 | n |  | TRUE
81 | bus_LV_582-1_1_3_node_232 | 0.4 | n |  | TRUE
82 | bus_LV_582-1_1_3_node_245 | 0.4 | n |  | TRUE
83 | bus_LV_582-1_1_3_node_236 | 0.4 | n |  | TRUE
84 | bus_LV_582-1_1_3_node_237 | 0.4 | n |  | TRUE
85 | bus_LV_582-1_1_3_node_250 | 0.4 | n |  | TRUE
86 | bus_LV_582-1_1_3_node_242 | 0.4 | n |  | TRUE
87 | bus_LV_582-1_1_3_node_240 | 0.4 | n |  | TRUE
88 | bus_LV_582-1_1_3_node_241 | 0.4 | n |  | TRUE
89 | bus_LV_582-1_1_3_node_247 | 0.4 | n |  | TRUE
90 | bus_LV_582-1_1_3_node_310 | 0.4 | n |  | TRUE
91 | bus_LV_582-1_1_3_node_243 | 0.4 | n |  | TRUE
92 | bus_LV_582-1_1_3_node_249 | 0.4 | n |  | TRUE
93 | bus_LV_582-1_1_3_node_244 | 0.4 | n |  | TRUE
94 | bus_LV_582-1_1_3_node_248 | 0.4 | n |  | TRUE
95 | bus_LV_582-1_1_3_node_251 | 0.4 | n |  | TRUE
96 | bus_LV_582-1_1_3_node_275 | 0.4 | n |  | TRUE
97 | bus_LV_582-1_1_3_node_276 | 0.4 | n |  | TRUE
98 | bus_LV_582-1_1_3_node_313 | 0.4 | n |  | TRUE
99 | bus_LV_582-1_1_3_node_314 | 0.4 | n |  | TRUE
100 | bus_MV_83_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_582-1_1_3_load_77 | 0 | 0.0037259 | 0.0009338 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_582-1_1_3_load_79 | 1 | 0.0027207 | 0.00068188 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_582-1_1_3_load_81 | 2 | 0.001323 | 0.00033158 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_582-1_1_3_load_90 | 4 | 0.0016676 | 0.00041793 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_582-1_1_3_load_91 | 5 | 0.00069674 | 0.00017462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_582-1_1_3_load_92 | 6 | 0.0012019 | 0.00030121 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_582-1_1_3_load_195 | 7 | 0.00069066 | 0.0001731 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_582-1_1_3_load_93 | 8 | 0.0013541 | 0.00033936 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_582-1_1_3_load_94 | 9 | 0.00088085 | 0.00022076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_582-1_1_3_load_134 | 10 | 0.0031907 | 0.00079967 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_582-1_1_3_load_180 | 11 | 0.00078818 | 0.00019754 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_582-1_1_3_load_132 | 12 | 0.0015343 | 0.00038454 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_582-1_1_3_load_133 | 13 | 0.001128 | 0.0002827 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_582-1_1_3_load_135 | 14 | 0.0024668 | 0.00061823 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_582-1_1_3_load_137 | 15 | 0.0013418 | 0.0003363 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_582-1_1_3_load_162 | 16 | 0.0022696 | 0.00056881 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_582-1_1_3_load_164 | 18 | 0.0015776 | 0.00039539 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_582-1_1_3_load_170 | 19 | 0.0022679 | 0.00056838 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_582-1_1_3_load_184 | 20 | 0.0023499 | 0.00058893 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_582-1_1_3_load_181 | 21 | 0.001696 | 0.00042505 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_582-1_1_3_load_166 | 22 | 0.0015602 | 0.00039103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_582-1_1_3_load_197 | 23 | 0.0023185 | 0.00058106 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_582-1_1_3_load_169 | 24 | 0.0019854 | 0.00049758 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_582-1_1_3_load_171 | 25 | 0.0018618 | 0.0004666 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_582-1_1_3_load_178 | 26 | 0.00088133 | 0.00022088 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_582-1_1_3_load_182 | 28 | 0.0016933 | 0.00042439 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_582-1_1_3_load_198 | 29 | 0.0031809 | 0.00079722 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_582-1_1_3_load_196 | 30 | 0.0017824 | 0.00044672 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_582-1_1_3_load_186 | 31 | 0.0022205 | 0.00055652 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_582-1_1_3_load_307 | 36 | 0.00096364 | 0.00024151 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_582-1_1_3_load_277 | 37 | 0.0021387 | 0.000536 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_582-1_1_3_load_315 | 38 | 0.00052899 | 0.00013258 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_582-1_1_3_load_316 | 39 | 0.0012315 | 0.00030863 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_582-1_1_3_load_199 | 40 | 0.00090596 | 0.00022705 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_582-1_1_3_load_200 | 41 | 0.0012248 | 0.00030696 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_582-1_1_3_load_201 | 42 | 0.00071689 | 0.00017967 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_582-1_1_3_load_202 | 43 | 0.00059281 | 0.00014857 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_582-1_1_3_load_203 | 44 | 0.001191 | 0.0002985 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_582-1_1_3_load_204 | 46 | 0.00084451 | 0.00021165 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_582-1_1_3_load_205 | 47 | 0.00086446 | 0.00021665 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_582-1_1_3_load_206 | 48 | 0.0010267 | 0.00025732 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_582-1_1_3_load_208 | 50 | 0.0018105 | 0.00045376 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_582-1_1_3_load_220 | 51 | 0.00099881 | 0.00025033 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_582-1_1_3_load_209 | 53 | 0.00099454 | 0.00024925 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_582-1_1_3_load_210 | 54 | 0.0006533 | 0.00016373 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_582-1_1_3_load_211 | 55 | 0.0022237 | 0.00055731 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_582-1_1_3_load_213 | 57 | 0.0021242 | 0.00053237 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_582-1_1_3_load_312 | 59 | 0.00038234 | 9.5822e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_582-1_1_3_load_214 | 60 | 0.0045186 | 0.0011325 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_582-1_1_3_load_215 | 61 | 0.0016342 | 0.00040958 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_582-1_1_3_load_216 | 62 | 0.0039699 | 0.00099494 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_582-1_1_3_load_246 | 65 | 0.0037185 | 0.00093195 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_582-1_1_3_load_238 | 66 | 0.0018777 | 0.0004706 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_582-1_1_3_load_235 | 67 | 0.00064888 | 0.00016263 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_582-1_1_3_load_309 | 68 | 0.00064483 | 0.00016161 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_582-1_1_3_load_221 | 69 | 0.0027504 | 0.00068931 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_582-1_1_3_load_222 | 70 | 0.00063909 | 0.00016017 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_582-1_1_3_load_224 | 71 | 0.00058126 | 0.00014568 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_582-1_1_3_load_227 | 74 | 0.0014128 | 0.00035408 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_582-1_1_3_load_228 | 75 | 0.00052398 | 0.00013132 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_582-1_1_3_load_234 | 77 | 0.0017845 | 0.00044725 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_582-1_1_3_load_317 | 78 | 0.00036211 | 9.0754e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_582-1_1_3_load_230 | 79 | 0.0004812 | 0.0001206 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_582-1_1_3_load_231 | 80 | 0.0012284 | 0.00030787 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_582-1_1_3_load_245 | 82 | 0.00046439 | 0.00011639 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_582-1_1_3_load_237 | 84 | 0.00058805 | 0.00014738 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_582-1_1_3_load_250 | 85 | 0.0004825 | 0.00012093 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_582-1_1_3_load_242 | 86 | 0.0031521 | 0.00078999 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_582-1_1_3_load_240 | 87 | 0.00037614 | 9.427e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_582-1_1_3_load_241 | 88 | 0.0012781 | 0.00032032 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_582-1_1_3_load_247 | 89 | 0.00021368 | 5.3553e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_582-1_1_3_load_243 | 91 | 0.0032278 | 0.00080896 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_582-1_1_3_load_249 | 92 | 0.0020069 | 0.00050297 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_582-1_1_3_load_244 | 93 | 0.0011539 | 0.0002892 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_582-1_1_3_load_248 | 94 | 0.0006247 | 0.00015656 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_582-1_1_3_load_251 | 95 | 0.0003076 | 7.7091e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_582-1_1_3_load_275 | 96 | 0.00067392 | 0.0001689 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_582-1_1_3_load_313 | 98 | 0.0018382 | 0.00046071 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_582-1_1_3_load_314 | 99 | 0.0012172 | 0.00030506 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_582-1_1_3_line_0 |  | 0 | 1 | 0.0097875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_582-1_1_3_line_1 |  | 1 | 2 | 0.023874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_582-1_1_3_line_2 |  | 2 | 3 | 0.0225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_582-1_1_3_line_3 |  | 3 | 31 | 0.077617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_582-1_1_3_line_4 |  | 3 | 20 | 0.050752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_582-1_1_3_line_5 |  | 4 | 5 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_582-1_1_3_line_6 |  | 4 | 6 | 0.03354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_582-1_1_3_line_7 |  | 4 | 7 | 0.081202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_582-1_1_3_line_8 |  | 5 | 8 | 0.01842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_582-1_1_3_line_9 |  | 6 | 9 | 0.0043078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_582-1_1_3_line_10 |  | 7 | 30 | 0.076785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_582-1_1_3_line_11 |  | 8 | 10 | 0.0086563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_582-1_1_3_line_12 |  | 9 | 11 | 0.061712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_582-1_1_3_line_13 |  | 10 | 12 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_582-1_1_3_line_14 |  | 11 | 27 | 0.022529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_582-1_1_3_line_15 |  | 12 | 13 | 0.039026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_582-1_1_3_line_16 |  | 13 | 14 | 0.0060944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_582-1_1_3_line_17 |  | 14 | 15 | 0.02769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_582-1_1_3_line_18 |  | 15 | 16 | 0.018926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_582-1_1_3_line_19 |  | 16 | 17 | 0.03404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_582-1_1_3_line_20 |  | 16 | 18 | 0.019657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_582-1_1_3_line_21 |  | 17 | 19 | 0.017355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_582-1_1_3_line_22 |  | 17 | 20 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_582-1_1_3_line_23 |  | 18 | 21 | 0.040943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_582-1_1_3_line_24 |  | 19 | 24 | 0.008219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_582-1_1_3_line_25 |  | 22 | 23 | 0.020659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_582-1_1_3_line_26 |  | 23 | 29 | 0.029766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_582-1_1_3_line_27 |  | 24 | 25 | 0.0074537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_582-1_1_3_line_28 |  | 26 | 27 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_582-1_1_3_line_29 |  | 28 | 29 | 0.071434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_582-1_1_3_line_30 |  | 28 | 30 | 0.05524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_582-1_1_3_line_31 |  | 31 | 32 | 0.038792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_582-1_1_3_line_32 |  | 32 | 33 | 0.066507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_582-1_1_3_line_33 |  | 32 | 34 | 0.072665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_582-1_1_3_line_34 |  | 33 | 35 | 0.044596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_582-1_1_3_line_35 |  | 33 | 36 | 0.081758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_582-1_1_3_line_36 |  | 33 | 37 | 0.091134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_582-1_1_3_line_37 |  | 34 | 38 | 0.022724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_582-1_1_3_line_38 |  | 34 | 39 | 0.046064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_582-1_1_3_line_39 |  | 35 | 98 | 0.068467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_582-1_1_3_line_40 |  | 35 | 99 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_582-1_1_3_line_41 |  | 36 | 58 | 0.027091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_582-1_1_3_line_42 |  | 37 | 97 | 0.044049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_582-1_1_3_line_43 |  | 40 | 41 | 0.043764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_582-1_1_3_line_44 |  | 40 | 42 | 0.0022957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_582-1_1_3_line_45 |  | 41 | 43 | 0.0040777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_582-1_1_3_line_46 |  | 42 | 44 | 0.0015888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_582-1_1_3_line_47 |  | 44 | 45 | 0.016727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_582-1_1_3_line_48 |  | 45 | 90 | 0.044151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_582-1_1_3_line_49 |  | 46 | 47 | 0.015801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_582-1_1_3_line_50 |  | 46 | 48 | 0.0077524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_582-1_1_3_line_51 |  | 47 | 49 | 0.037647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_582-1_1_3_line_52 |  | 48 | 50 | 0.026365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_582-1_1_3_line_53 |  | 49 | 51 | 0.043706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_582-1_1_3_line_54 |  | 50 | 52 | 0.013325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_582-1_1_3_line_55 |  | 51 | 69 | 0.00048899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_582-1_1_3_line_56 |  | 52 | 87 | 0.14279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_582-1_1_3_line_57 |  | 52 | 88 | 0.0098606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_582-1_1_3_line_58 |  | 53 | 54 | 0.017096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_582-1_1_3_line_59 |  | 53 | 55 | 0.024999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_582-1_1_3_line_60 |  | 54 | 56 | 0.02853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_582-1_1_3_line_61 |  | 55 | 57 | 0.026943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_582-1_1_3_line_62 |  | 56 | 58 | 0.10261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_582-1_1_3_line_63 |  | 57 | 59 | 0.051837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_582-1_1_3_line_64 |  | 58 | 68 | 0.078543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_582-1_1_3_line_65 |  | 59 | 75 | 0.0053136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_582-1_1_3_line_66 |  | 60 | 61 | 0.012226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_582-1_1_3_line_67 |  | 60 | 62 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_582-1_1_3_line_68 |  | 61 | 63 | 0.014837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_582-1_1_3_line_69 |  | 62 | 64 | 0.020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_582-1_1_3_line_70 |  | 63 | 65 | 0.064337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_582-1_1_3_line_71 |  | 64 | 66 | 0.022835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_582-1_1_3_line_72 |  | 64 | 67 | 0.0065121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_582-1_1_3_line_73 |  | 66 | 86 | 0.0015598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_582-1_1_3_line_74 |  | 67 | 83 | 0.029924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_582-1_1_3_line_75 |  | 69 | 70 | 0.013398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_582-1_1_3_line_76 |  | 71 | 72 | 0.081707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_582-1_1_3_line_77 |  | 71 | 73 | 0.061438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_582-1_1_3_line_78 |  | 72 | 74 | 0.018204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_582-1_1_3_line_79 |  | 72 | 75 | 0.014176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_582-1_1_3_line_80 |  | 73 | 76 | 0.090038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_582-1_1_3_line_81 |  | 74 | 77 | 0.0044278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_582-1_1_3_line_82 |  | 76 | 78 | 0.027491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_582-1_1_3_line_83 |  | 77 | 81 | 0.034468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_582-1_1_3_line_84 |  | 79 | 80 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_582-1_1_3_line_85 |  | 79 | 81 | 0.04271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_582-1_1_3_line_86 |  | 81 | 82 | 0.055597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_582-1_1_3_line_87 |  | 82 | 93 | 0.12469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_582-1_1_3_line_88 |  | 83 | 84 | 0.0093912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_582-1_1_3_line_89 |  | 84 | 85 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_582-1_1_3_line_90 |  | 85 | 95 | 0.0071735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_582-1_1_3_line_91 |  | 86 | 91 | 0.027972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_582-1_1_3_line_92 |  | 87 | 89 | 0.01297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_582-1_1_3_line_93 |  | 88 | 90 | 0.01725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_582-1_1_3_line_94 |  | 89 | 94 | 0.0061651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_582-1_1_3_line_95 |  | 91 | 92 | 0.0028719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_582-1_1_3_line_96 |  | 93 | 94 | 0.046117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_582-1_1_3_line_97 |  | 94 | 95 | 0.093968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_582-1_1_3_line_98 |  | 96 | 97 | 0.070864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_582-1_1_3_trafo_210 | 0.63 MVA 20/0.4 kV | 100 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2639934.4567 | 1173043.9055 | 2639940.7254 | 1173051.4221
1 | 2639934.4567 | 1173043.9055 | 2639924.7244 | 1173032.2358 | 2639917.9684 | 1173026.7885
2 | 2639899.0143 | 1173014.9449 | 2639909.5569 | 1173020.0064 | 2639917.9684 | 1173026.7885
3 | 2639899.0143 | 1173014.9449 | 2639855.9168 | 1172998.3613 | 2639827.0308 | 1172985.9522
4 | 2639899.0143 | 1173014.9449 | 2639884.3002 | 1173017.3262 | 2639866.7529 | 1173017.9768 | 2639848.8499 | 1173021.7059
5 | 2639674.7017 | 1173019.2426 | 2639661.0723 | 1173021.6075
6 | 2639628.4947 | 1173028.4102 | 2639636.8885 | 1173028.4729 | 2639659.9664 | 1173021.7994 | 2639661.0723 | 1173021.6075
7 | 2639661.0723 | 1173021.6075 | 2639661.2653 | 1173102.8095
8 | 2639674.7017 | 1173019.2426 | 2639692.8501 | 1173016.0935
9 | 2639624.187 | 1173028.378 | 2639628.4947 | 1173028.4102
10 | 2639661.2653 | 1173102.8095 | 2639685.3709 | 1173112.0589 | 2639720.0624 | 1173111.5101 | 2639725.1496 | 1173108.9312 | 2639731.0891 | 1173108.1368 | 2639735.4308 | 1173109.5773 | 2639735.4308 | 1173109.5773
11 | 2639692.8501 | 1173016.0935 | 2639696.2564 | 1173015.5024 | 2639701.4085 | 1173014.8054
12 | 2639624.187 | 1173028.378 | 2639562.4902 | 1173029.7357
13 | 2639714.3057 | 1173013.0606 | 2639701.4085 | 1173014.8054
14 | 2639540.8206 | 1173026.4834 | 2639551.5642 | 1173025.4536 | 2639561.3432 | 1173029.2311 | 2639562.4902 | 1173029.7357
15 | 2639714.3057 | 1173013.0606 | 2639737.5431 | 1173009.9168 | 2639753.1204 | 1173009.8972
16 | 2639753.1204 | 1173009.8972 | 2639759.2148 | 1173009.8896
17 | 2639759.2148 | 1173009.8896 | 2639761.5484 | 1173009.8867 | 2639778.5063 | 1173011.6331 | 2639786.2857 | 1173014.5521
18 | 2639802.7066 | 1173023.7108 | 2639792.8324 | 1173017.0086 | 2639786.2857 | 1173014.5521
19 | 2639802.7066 | 1173023.7108 | 2639819.5791 | 1173023.3335 | 2639836.8404 | 1173023.1589
20 | 2639802.7066 | 1173023.7108 | 2639785.9319 | 1173023.1772 | 2639783.0993 | 1173023.6591
21 | 2639836.8404 | 1173023.1589 | 2639832.4213 | 1173039.9416
22 | 2639836.8404 | 1173023.1589 | 2639842.1327 | 1173023.1051 | 2639848.8499 | 1173021.7059
23 | 2639746.6183 | 1173041.46 | 2639762.4269 | 1173031.9819 | 2639776.3083 | 1173024.8144 | 2639783.0993 | 1173023.6591
24 | 2639832.4213 | 1173039.9416 | 2639830.3285 | 1173047.8897
25 | 2639868.5397 | 1173132.3574 | 2639866.4772 | 1173129.8003 | 2639854.84 | 1173123.7533 | 2639850.5863 | 1173123.5274
26 | 2639825.4142 | 1173107.6416 | 2639850.5863 | 1173123.5274
27 | 2639828.4306 | 1173055.0977 | 2639830.3285 | 1173047.8897
28 | 2639540.8206 | 1173026.4834 | 2639533.6689 | 1173033.6735 | 2639533.0338 | 1173034.1521
29 | 2639825.4142 | 1173107.6416 | 2639808.7153 | 1173110.5629 | 2639811.181 | 1173105.4543 | 2639813.5729 | 1173099.9339 | 2639807.7614 | 1173091.8023 | 2639788.6882 | 1173080.4033 | 2639779.1555 | 1173075.8192
30 | 2639779.1555 | 1173075.8192 | 2639735.4308 | 1173109.5773
31 | 2639793.1016 | 1172967.1509 | 2639810.4524 | 1172976.5485 | 2639827.0308 | 1172985.9522
32 | 2639793.1016 | 1172967.1509 | 2639781.4657 | 1172960.8483 | 2639733.0929 | 1172938.1608
33 | 2639720.9962 | 1172962.2046 | 2639742.3744 | 1172966.2814 | 2639751.6381 | 1172967.0208 | 2639770.7432 | 1172964.4348 | 2639778.0916 | 1172965.7063 | 2639793.1016 | 1172967.1509
34 | 2639692.8326 | 1172919.107 | 2639701.1044 | 1172921.852 | 2639713.0086 | 1172929.2234 | 2639733.0929 | 1172938.1608
35 | 2639733.0929 | 1172938.1608 | 2639713.4707 | 1172925.2688 | 2639685.5575 | 1172904.4291 | 2639664.8748 | 1172893.3882
36 | 2639733.0929 | 1172938.1608 | 2639791.212 | 1172867.9641
37 | 2639720.9962 | 1172962.2046 | 2639709.5387 | 1172963.6185 | 2639699.8198 | 1172969.2573
38 | 2639720.9962 | 1172962.2046 | 2639713.3087 | 1172965.9558 | 2639707.9442 | 1172973.4576 | 2639706.803 | 1172980.6538 | 2639710.4611 | 1172984.8913 | 2639719.2394 | 1172987.3284 | 2639724.941 | 1172990.1564
39 | 2639692.8326 | 1172919.107 | 2639682.9915 | 1172920.0981 | 2639678.1459 | 1172924.2905 | 2639678.4958 | 1172929.1954 | 2639685.1152 | 1172934.3307 | 2639692.7917 | 1172939.1839 | 2639693.9058 | 1172945.339 | 2639689.05 | 1172951.0766 | 2639682.0951 | 1172953.9099 | 2639673.7195 | 1172951.8424
40 | 2639676.0796 | 1172915.2388 | 2639686.3943 | 1172915.5071 | 2639692.8326 | 1172919.107
41 | 2639639.3758 | 1172884.5027 | 2639659.7693 | 1172890.6627 | 2639664.8748 | 1172893.3882
42 | 2639825.0475 | 1172839.8624 | 2639817.9523 | 1172847.675 | 2639791.212 | 1172867.9641
43 | 2639174.3415 | 1172409.8006 | 2639171.1529 | 1172407.7941 | 2639162.7104 | 1172401.7804 | 2639150.382 | 1172397.0198 | 2639134.5007 | 1172392.8665
44 | 2639174.3415 | 1172409.8006 | 2639176.2846 | 1172411.0232
45 | 2639134.5007 | 1172392.8665 | 2639130.5557 | 1172391.8348
46 | 2639176.2846 | 1172411.0232 | 2639177.6293 | 1172411.8694
47 | 2639193.3894 | 1172416.6548 | 2639187.7857 | 1172416.2848 | 2639179.7219 | 1172413.1861 | 2639177.6293 | 1172411.8694
48 | 2639218.3118 | 1172432.3034 | 2639222.1804 | 1172427.8152 | 2639223.043 | 1172422.2067 | 2639222.1437 | 1172419.3883 | 2639219.5789 | 1172417.4483 | 2639215.6032 | 1172416.0772 | 2639209.2363 | 1172416.6471 | 2639198.863 | 1172417.0241 | 2639193.3894 | 1172416.6548
49 | 2639267.5039 | 1172478.6743 | 2639278.9393 | 1172483.5928 | 2639282.1756 | 1172484.4691
50 | 2639267.5039 | 1172478.6743 | 2639260.3823 | 1172475.6113
51 | 2639318.8785 | 1172492.7476 | 2639296.3994 | 1172488.3205 | 2639282.1756 | 1172484.4691
52 | 2639236.4977 | 1172464.4572 | 2639254.5571 | 1172473.1058 | 2639260.3823 | 1172475.6113
53 | 2639318.8785 | 1172492.7476 | 2639322.5715 | 1172503.4218 | 2639325.9157 | 1172514.783 | 2639325.8695 | 1172521.8531 | 2639331.7147 | 1172525.0152 | 2639337.7909 | 1172528.1822
54 | 2639224.4797 | 1172458.7019 | 2639236.4977 | 1172464.4572
55 | 2639338.2245 | 1172528.4082 | 2639337.7909 | 1172528.1822
56 | 2639224.4797 | 1172458.7019 | 2639221.7763 | 1172462.7753 | 2639215.7344 | 1172473.2969 | 2639214.2987 | 1172485.8608 | 2639216.1623 | 1172496.8009 | 2639224.1912 | 1172514.5959 | 2639231.0924 | 1172531.7388 | 2639235.6186 | 1172537.816 | 2639243.6735 | 1172546.9289 | 2639254.8996 | 1172555.2844 | 2639272.4638 | 1172568.6284 | 2639279.976 | 1172571.998
57 | 2639224.4797 | 1172458.7019 | 2639222.3194 | 1172449.0808
58 | 2639515.1383 | 1172810.0779 | 2639524.316 | 1172816.3758 | 2639529.7637 | 1172818.8071
59 | 2639515.1383 | 1172810.0779 | 2639494.526 | 1172795.9332
60 | 2639557.3718 | 1172824.064 | 2639539.1318 | 1172822.9879 | 2639529.7637 | 1172818.8071
61 | 2639494.526 | 1172795.9332 | 2639472.3104 | 1172780.6884
62 | 2639557.3718 | 1172824.064 | 2639617.6943 | 1172875.3438 | 2639630.591 | 1172881.8434 | 2639639.3758 | 1172884.5027
63 | 2639472.3104 | 1172780.6884 | 2639420.9117 | 1172787.4148
64 | 2639639.3758 | 1172884.5027 | 2639626.2409 | 1172887.4398 | 2639611.3933 | 1172888.02 | 2639598.1087 | 1172885.8202 | 2639585.9555 | 1172886.0292 | 2639572.8153 | 1172890.9341 | 2639563.4274 | 1172896.2528
65 | 2639420.9117 | 1172787.4148 | 2639415.7822 | 1172786.0281
66 | 2639151.8956 | 1172652.9032 | 2639139.8806 | 1172651.807 | 2639139.7197 | 1172651.8079
67 | 2639151.8956 | 1172652.9032 | 2639154.7086 | 1172653.1599 | 2639167.8477 | 1172657.8744
68 | 2639124.8828 | 1172651.8872 | 2639139.7197 | 1172651.8079
69 | 2639187.7565 | 1172659.9232 | 2639181.5838 | 1172661.2281 | 2639174.4625 | 1172660.2478 | 2639167.8477 | 1172657.8744
70 | 2639124.8828 | 1172651.8872 | 2639124.8395 | 1172647.9626 | 2639126.6993 | 1172638.3586 | 2639131.643 | 1172634.3442 | 2639139.4927 | 1172635.0513 | 2639150.7167 | 1172639.0376 | 2639162.2383 | 1172641.9475 | 2639169.0651 | 1172631.3738
71 | 2639187.7565 | 1172659.9232 | 2639183.2746 | 1172666.9977 | 2639175.5102 | 1172675.496 | 2639173.5709 | 1172677.7179
72 | 2639187.7565 | 1172659.9232 | 2639192.5027 | 1172656.8748 | 2639193.0022 | 1172656.161
73 | 2639173.5709 | 1172677.7179 | 2639172.5453 | 1172678.893
74 | 2639210.1579 | 1172631.6434 | 2639193.0022 | 1172656.161
75 | 2639349.8512 | 1172535.0503 | 2639343.4221 | 1172531.1172 | 2639338.2245 | 1172528.4082
76 | 2639404.6871 | 1172777.5255 | 2639401.1912 | 1172781.1711 | 2639393.9484 | 1172783.5693 | 2639383.3448 | 1172778.3416 | 2639373.8785 | 1172766.4511 | 2639366.1632 | 1172758.1073 | 2639354.7471 | 1172753.141 | 2639346.4425 | 1172751.8638 | 2639338.4807 | 1172746.168
77 | 2639308.2003 | 1172769.9674 | 2639309.1137 | 1172751.9417 | 2639317.7048 | 1172736.3231 | 2639323.6467 | 1172734.0385 | 2639331.1043 | 1172740.8909 | 2639338.4807 | 1172746.168
78 | 2639404.6871 | 1172777.5255 | 2639413.3965 | 1172761.5401
79 | 2639404.6871 | 1172777.5255 | 2639407.4682 | 1172780.2562 | 2639413.7051 | 1172785.4665 | 2639415.7822 | 1172786.0281
80 | 2639308.2003 | 1172769.9674 | 2639331.5906 | 1172800.9256 | 2639356.5648 | 1172845.7348
81 | 2639413.3965 | 1172761.5401 | 2639415.5149 | 1172757.6519
82 | 2639356.5648 | 1172845.7348 | 2639357.6397 | 1172866.0858 | 2639352.8865 | 1172871.3797
83 | 2639407.6946 | 1172727.1077 | 2639411.5758 | 1172735.8488 | 2639418.6096 | 1172744.3216 | 2639417.4518 | 1172754.0969 | 2639415.5149 | 1172757.6519
84 | 2639365.6442 | 1172721.1455 | 2639357.7049 | 1172717.2416 | 2639352.2908 | 1172709.8927
85 | 2639407.6946 | 1172727.1077 | 2639395.8193 | 1172725.6957 | 2639369.5285 | 1172723.0554 | 2639365.6442 | 1172721.1455
86 | 2639407.6946 | 1172727.1077 | 2639433.8332 | 1172678.0378
87 | 2639325.9332 | 1172616.4688 | 2639364.2399 | 1172632.6401 | 2639432.6795 | 1172677.0342 | 2639433.8332 | 1172678.0378
88 | 2639210.1579 | 1172631.6434 | 2639214.4036 | 1172623.2667
89 | 2639228.6486 | 1172621.9554 | 2639217.6486 | 1172620.5754 | 2639214.4036 | 1172623.2667 | 2639214.4036 | 1172623.2667
90 | 2639228.6486 | 1172621.9554 | 2639228.8664 | 1172621.9827 | 2639235.3585 | 1172624.4747
91 | 2639172.5453 | 1172678.893 | 2639167.5121 | 1172684.6598 | 2639164.446 | 1172696.2903 | 2639161.1105 | 1172703.879
92 | 2639279.976 | 1172571.998 | 2639283.681 | 1172573.6599 | 2639286.921 | 1172576.4047 | 2639288.6637 | 1172580.7294
93 | 2639218.3118 | 1172432.3034 | 2639222.0048 | 1172447.68 | 2639222.3194 | 1172449.0808
94 | 2639290.9124 | 1172586.4636 | 2639290.8645 | 1172586.1911 | 2639288.6637 | 1172580.7294
95 | 2639159.9549 | 1172706.5082 | 2639161.1105 | 1172703.879
96 | 2639290.9124 | 1172586.4636 | 2639325.9332 | 1172616.4688
97 | 2639290.9124 | 1172586.4636 | 2639291.882 | 1172591.9786 | 2639298.5538 | 1172600.9047 | 2639300.6234 | 1172604.8647 | 2639299.9765 | 1172609.0516 | 2639272.3835 | 1172618.3428 | 2639256.1414 | 1172626.2297 | 2639248.4768 | 1172627.6248 | 2639239.9738 | 1172626.2463 | 2639235.3585 | 1172624.4747
98 | 2639825.0475 | 1172839.8624 | 2639778.9834 | 1172794.1 | 2639775.1183 | 1172789.5994

## bus_geodata
| x | y | coords
0 | 2639940.7254 | 1173051.4221
1 | 2639934.4567 | 1173043.9055
2 | 2639917.9684 | 1173026.7885
3 | 2639899.0143 | 1173014.9449
4 | 2639661.0723 | 1173021.6075
5 | 2639674.7017 | 1173019.2426
6 | 2639628.4947 | 1173028.4102
7 | 2639661.2653 | 1173102.8095
8 | 2639692.8501 | 1173016.0935
9 | 2639624.187 | 1173028.378
10 | 2639701.4086 | 1173014.8054
11 | 2639562.4902 | 1173029.7357
12 | 2639714.3057 | 1173013.0606
13 | 2639753.1204 | 1173009.8972
14 | 2639759.2148 | 1173009.8896
15 | 2639786.2857 | 1173014.5521
16 | 2639802.7066 | 1173023.7108
17 | 2639836.8404 | 1173023.1589
18 | 2639783.0993 | 1173023.6591
19 | 2639832.4213 | 1173039.9416
20 | 2639848.8499 | 1173021.7059
21 | 2639746.6183 | 1173041.46
22 | 2639868.5397 | 1173132.3574
23 | 2639850.5863 | 1173123.5274
24 | 2639830.3285 | 1173047.8897
25 | 2639828.4306 | 1173055.0977
26 | 2639533.0338 | 1173034.1521
27 | 2639540.8206 | 1173026.4834
28 | 2639779.1555 | 1173075.8192
29 | 2639825.4142 | 1173107.6416
30 | 2639735.4308 | 1173109.5773
31 | 2639827.0308 | 1172985.9522
32 | 2639793.1016 | 1172967.1509
33 | 2639733.0929 | 1172938.1608
34 | 2639720.9962 | 1172962.2046
35 | 2639692.8326 | 1172919.107
36 | 2639664.8748 | 1172893.3882
37 | 2639791.212 | 1172867.9641
38 | 2639699.8198 | 1172969.2573
39 | 2639724.941 | 1172990.1564
40 | 2639174.3415 | 1172409.8006
41 | 2639134.5007 | 1172392.8665
42 | 2639176.2846 | 1172411.0232
43 | 2639130.5557 | 1172391.8348
44 | 2639177.6293 | 1172411.8694
45 | 2639193.3894 | 1172416.6548
46 | 2639267.5039 | 1172478.6743
47 | 2639282.1756 | 1172484.4691
48 | 2639260.3823 | 1172475.6113
49 | 2639318.8785 | 1172492.7476
50 | 2639236.4977 | 1172464.4572
51 | 2639337.7909 | 1172528.1822
52 | 2639224.4797 | 1172458.7019
53 | 2639515.1383 | 1172810.0779
54 | 2639529.7637 | 1172818.8071
55 | 2639494.526 | 1172795.9332
56 | 2639557.3718 | 1172824.064
57 | 2639472.3104 | 1172780.6884
58 | 2639639.3758 | 1172884.5027
59 | 2639420.9117 | 1172787.4148
60 | 2639151.8956 | 1172652.9032
61 | 2639139.7197 | 1172651.8079
62 | 2639167.8477 | 1172657.8744
63 | 2639124.8828 | 1172651.8872
64 | 2639187.7565 | 1172659.9232
65 | 2639169.0651 | 1172631.3738
66 | 2639173.5709 | 1172677.7179
67 | 2639193.0022 | 1172656.161
68 | 2639563.4274 | 1172896.2528
69 | 2639338.2245 | 1172528.4082
70 | 2639349.8512 | 1172535.0503
71 | 2639338.4807 | 1172746.168
72 | 2639404.6871 | 1172777.5255
73 | 2639308.2003 | 1172769.9674
74 | 2639413.3965 | 1172761.5401
75 | 2639415.7822 | 1172786.0281
76 | 2639356.5648 | 1172845.7348
77 | 2639415.5149 | 1172757.6519
78 | 2639352.8865 | 1172871.3797
79 | 2639365.6442 | 1172721.1455
80 | 2639352.2908 | 1172709.8927
81 | 2639407.6946 | 1172727.1077
82 | 2639433.8332 | 1172678.0378
83 | 2639210.1579 | 1172631.6434
84 | 2639214.4036 | 1172623.2667
85 | 2639228.6486 | 1172621.9554
86 | 2639172.5453 | 1172678.893
87 | 2639279.976 | 1172571.998
88 | 2639222.3194 | 1172449.0808
89 | 2639288.6637 | 1172580.7294
90 | 2639218.3118 | 1172432.3034
91 | 2639161.1105 | 1172703.879
92 | 2639159.9549 | 1172706.5082
93 | 2639325.9332 | 1172616.4688
94 | 2639290.9124 | 1172586.4636
95 | 2639235.3585 | 1172624.4747
96 | 2639775.1183 | 1172789.5994
97 | 2639825.0475 | 1172839.8624
98 | 2639673.7195 | 1172951.8424
99 | 2639676.0796 | 1172915.2388
100 | 2639557.3718 | 1172824.064

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1