## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_589-1_1_2_node_64 | 0.4 | n |  | TRUE
1 | bus_LV_589-1_1_2_node_65 | 0.4 | n |  | TRUE
2 | bus_LV_589-1_1_2_node_66 | 0.4 | n |  | TRUE
3 | bus_LV_589-1_1_2_node_75 | 0.4 | n |  | TRUE
4 | bus_LV_589-1_1_2_node_72 | 0.4 | n |  | TRUE
5 | bus_LV_589-1_1_2_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_589-1_1_2_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_589-1_1_2_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_589-1_1_2_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_589-1_1_2_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_589-1_1_2_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_589-1_1_2_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_589-1_1_2_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_589-1_1_2_node_324 | 0.4 | n |  | TRUE
14 | bus_LV_589-1_1_2_node_327 | 0.4 | n |  | TRUE
15 | bus_LV_589-1_1_2_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_589-1_1_2_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_589-1_1_2_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_589-1_1_2_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_589-1_1_2_node_325 | 0.4 | n |  | TRUE
20 | bus_LV_589-1_1_2_node_323 | 0.4 | n |  | TRUE
21 | bus_LV_589-1_1_2_node_331 | 0.4 | n |  | TRUE
22 | bus_MV_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_589-1_1_2_load_64 | 0 | 0.0026518 | 0.00066459 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_589-1_1_2_load_65 | 1 | 0.00066487 | 0.00016663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_589-1_1_2_load_72 | 4 | 0.0009777 | 0.00024503 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_589-1_1_2_load_67 | 5 | 0.0012758 | 0.00031975 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_589-1_1_2_load_68 | 6 | 0.00070135 | 0.00017578 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_589-1_1_2_load_69 | 7 | 0.00070161 | 0.00017584 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_589-1_1_2_load_70 | 8 | 0.00078195 | 0.00019598 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_589-1_1_2_load_71 | 9 | 0.0013115 | 0.0003287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_589-1_1_2_load_74 | 11 | 0.0018769 | 0.00047039 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_589-1_1_2_load_73 | 12 | 0.00063043 | 0.000158 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_589-1_1_2_load_324 | 13 | 0.0061721 | 0.0015469 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_589-1_1_2_load_327 | 14 | 0.0019766 | 0.00049538 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_589-1_1_2_load_77 | 15 | 0.001037 | 0.00025989 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_589-1_1_2_load_78 | 16 | 0.0014319 | 0.00035886 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_589-1_1_2_load_323 | 20 | 0.00095559 | 0.00023949 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_589-1_1_2_load_331 | 21 | 0.00082247 | 0.00020613 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_589-1_1_2_line_0 |  | 0 | 1 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_589-1_1_2_line_1 |  | 1 | 2 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_589-1_1_2_line_2 |  | 2 | 3 | 0.016173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_589-1_1_2_line_3 |  | 2 | 4 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_589-1_1_2_line_4 |  | 3 | 13 | 0.069207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_589-1_1_2_line_5 |  | 4 | 12 | 0.0084386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_589-1_1_2_line_6 |  | 5 | 6 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_589-1_1_2_line_7 |  | 5 | 7 | 0.0057069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_589-1_1_2_line_8 |  | 6 | 8 | 0.0074172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_589-1_1_2_line_9 |  | 7 | 9 | 0.017106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_589-1_1_2_line_10 |  | 8 | 10 | 0.063858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_589-1_1_2_line_11 |  | 9 | 11 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_589-1_1_2_line_12 |  | 10 | 14 | 0.09641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_589-1_1_2_line_13 |  | 11 | 12 | 0.011897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_589-1_1_2_line_14 |  | 13 | 20 | 0.10169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_589-1_1_2_line_15 |  | 15 | 16 | 0.056043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_589-1_1_2_line_16 |  | 15 | 17 | 0.089012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_589-1_1_2_line_17 |  | 17 | 18 | 0.021072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_589-1_1_2_line_18 |  | 18 | 19 | 0.056467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_589-1_1_2_line_19 |  | 18 | 20 | 0.013236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_589-1_1_2_line_20 |  | 19 | 21 | 0.085487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_589-1_1_2_trafo_75 | 0.63 MVA 20/0.4 kV | 22 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2642165.2057 | 1178091.872 | 2642172.443 | 1178104.8549 | 2642179.0515 | 1178108.2476 | 2642180.2282 | 1178107.929
1 | 2642197.389 | 1178100.728 | 2642185.8955 | 1178106.3947 | 2642180.2282 | 1178107.929
2 | 2642197.389 | 1178100.728 | 2642190.7702 | 1178089.0308 | 2642189.6416 | 1178086.5327
3 | 2642197.389 | 1178100.728 | 2642202.9494 | 1178108.6491 | 2642209.1542 | 1178116.1967
4 | 2642189.6416 | 1178086.5327 | 2642184.5706 | 1178075.3022 | 2642165.6636 | 1178032.2798 | 2642161.5396 | 1178023.2683
5 | 2642209.1542 | 1178116.1967 | 2642209.1542 | 1178116.1967 | 2642215.4606 | 1178121.8038
6 | 2642258.8668 | 1178140.6284 | 2642260.8919 | 1178140.9739 | 2642273.6003 | 1178141.8193 | 2642277.7338 | 1178141.819
7 | 2642258.8668 | 1178140.6284 | 2642254.3668 | 1178139.8607 | 2642253.2497 | 1178139.6244
8 | 2642277.7338 | 1178141.819 | 2642285.151 | 1178141.8184
9 | 2642253.2497 | 1178139.6244 | 2642246.9738 | 1178138.2967 | 2642239.6626 | 1178135.9662 | 2642236.859 | 1178134.8488
10 | 2642348.8543 | 1178143.017 | 2642336.6259 | 1178141.2854 | 2642323.1824 | 1178140.6569 | 2642298.7266 | 1178141.3738 | 2642286.0778 | 1178141.8183 | 2642285.151 | 1178141.8184
11 | 2642224.9808 | 1178128.9037 | 2642224.9808 | 1178128.9037 | 2642232.3936 | 1178133.0691 | 2642236.859 | 1178134.8488
12 | 2642307.2839 | 1178202.122 | 2642311.6407 | 1178202.9865 | 2642324.2594 | 1178207.867 | 2642331.4121 | 1178209.9074 | 2642333.7743 | 1178209.7351 | 2642335.5938 | 1178207.4244 | 2642340.5187 | 1178184.0801 | 2642348.8543 | 1178143.017
13 | 2642224.9808 | 1178128.9037 | 2642218.3042 | 1178124.332 | 2642215.4606 | 1178121.8038
14 | 2642161.5396 | 1178023.2683 | 2642158.123 | 1178015.8181 | 2642149.2047 | 1177999.6691 | 2642139.8533 | 1177986.4408 | 2642128.1776 | 1177973.4075 | 2642115.0359 | 1177961.2978 | 2642104.6598 | 1177953.5987 | 2642095.7277 | 1177947.9737
15 | 2641978.5816 | 1177910.7282 | 2641969.9479 | 1177908.7316 | 2641957.5441 | 1177906.8662 | 2641941.8752 | 1177905.3337 | 2641924.4365 | 1177904.4559 | 2641923.0039 | 1177904.4077
16 | 2642064.6005 | 1177933.5628 | 2642052.7442 | 1177929.9 | 2642032.7161 | 1177924.5569 | 2642004.1671 | 1177917.1643 | 2641982.1921 | 1177911.5632 | 2641978.5816 | 1177910.7282
17 | 2642064.6005 | 1177933.5628 | 2642067.0246 | 1177934.3802 | 2642077.3259 | 1177938.588 | 2642084.0895 | 1177941.6815
18 | 2642084.0895 | 1177941.6815 | 2642075.1787 | 1177956.0378 | 2642065.1748 | 1177964.9947 | 2642059.3743 | 1177976.0377 | 2642051.266 | 1177987.0979
19 | 2642084.0895 | 1177941.6815 | 2642093.9485 | 1177946.8533 | 2642095.7277 | 1177947.9737
20 | 2642104.7535 | 1178053.5081 | 2642103.3927 | 1178050.3413 | 2642101.0639 | 1178046.8342 | 2642093.9539 | 1178036.4899 | 2642091.449 | 1178033.0372 | 2642080.6667 | 1178020.077 | 2642069.5686 | 1178006.3919 | 2642059.2211 | 1177994.6243 | 2642051.266 | 1177987.0979

## bus_geodata
| x | y | coords
0 | 2642165.2057 | 1178091.872
1 | 2642180.2282 | 1178107.929
2 | 2642197.389 | 1178100.728
3 | 2642189.6416 | 1178086.5327
4 | 2642209.1542 | 1178116.1967
5 | 2642258.8668 | 1178140.6284
6 | 2642277.7338 | 1178141.819
7 | 2642253.2497 | 1178139.6244
8 | 2642285.151 | 1178141.8184
9 | 2642236.859 | 1178134.8488
10 | 2642348.8543 | 1178143.017
11 | 2642224.9808 | 1178128.9037
12 | 2642215.4607 | 1178121.8038
13 | 2642161.5396 | 1178023.2683
14 | 2642307.2839 | 1178202.122
15 | 2641978.5816 | 1177910.7282
16 | 2641923.0039 | 1177904.4077
17 | 2642064.6005 | 1177933.5628
18 | 2642084.0895 | 1177941.6815
19 | 2642051.266 | 1177987.0979
20 | 2642095.7277 | 1177947.9738
21 | 2642104.7535 | 1178053.5081
22 | 2642189.6416 | 1178086.5327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99969 | -0.0059919 | 0.0026518 | 0.00066459
1 | 0.99975 | -0.0049044 | 0.00066487 | 0.00016663
2 | 0.9998 | -0.0038234 | 0 | 0
3 | 1 | 0 | -0.025636 | -0.0060072
4 | 0.99962 | -0.0072973 | 0.0009777 | 0.00024503
5 | 0.99927 | -0.01412 | 0.0012758 | 0.00031975
6 | 0.99921 | -0.015265 | 0.00070135 | 0.00017578
7 | 0.99929 | -0.013647 | 0.00070161 | 0.00017584
8 | 0.99919 | -0.015623 | 0.00078195 | 0.00019598
9 | 0.99938 | -0.012022 | 0.0013115 | 0.0003287
10 | 0.99907 | -0.017831 | 0 | 0
11 | 0.99946 | -0.010453 | 0.0018769 | 0.00047039
12 | 0.99955 | -0.008661 | 0.00063043 | 0.000158
13 | 0.99935 | -0.012595 | 0.0061721 | 0.0015469
14 | 0.9989 | -0.021162 | 0.0019766 | 0.00049538
15 | 0.99867 | -0.025676 | 0.001037 | 0.00025989
16 | 0.9986 | -0.027079 | 0.0014319 | 0.00035886
17 | 0.99887 | -0.021831 | 0 | 0
18 | 0.99891 | -0.02092 | 0 | 0
19 | 0.99887 | -0.021735 | 0 | 0
20 | 0.99895 | -0.020157 | 0.00095559 | 0.00023949
21 | 0.99881 | -0.022966 | 0.00082247 | 0.00020613
22 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0026518 | -0.00066459 | 0.0026519 | 0.00066437 | 1.3736e-07 | -2.2037e-07 | 0.0039471 | 0.003947 | 0.0039471 | 0.99969 | -0.0059919 | 0.99975 | -0.0049044 | 1.0844
1 | -0.0033168 | -0.00083101 | 0.0033169 | 0.00083087 | 1.7076e-07 | -1.3575e-07 | 0.0049366 | 0.0049365 | 0.0049366 | 0.99975 | -0.0049044 | 0.9998 | -0.0038234 | 1.3562
2 | -0.013556 | -0.0033954 | 0.013558 | 0.0033967 | 2.4684e-06 | 1.3676e-06 | 0.020174 | 0.020174 | 0.020174 | 0.9998 | -0.0038234 | 1 | 0 | 5.5424
3 | 0.010239 | 0.0025645 | -0.010237 | -0.0025637 | 1.6934e-06 | 8.2878e-07 | 0.015238 | 0.015238 | 0.015238 | 0.9998 | -0.0038234 | 0.99962 | -0.0072973 | 4.1862
4 | 0.010428 | 0.0026103 | -0.010421 | -0.0026072 | 6.2477e-06 | 3.0912e-06 | 0.015515 | 0.015516 | 0.015516 | 1 | 0 | 0.99935 | -0.012595 | 4.2626
5 | 0.0092593 | 0.0023186 | -0.0092587 | -0.0023183 | 6.0112e-07 | 2.741e-07 | 0.013782 | 0.013783 | 0.013783 | 0.99962 | -0.0072973 | 0.99955 | -0.008661 | 3.7864
6 | 0.0034606 | 0.00086517 | -0.0034605 | -0.0008653 | 1.8841e-07 | -1.2731e-07 | 0.0051525 | 0.0051526 | 0.0051526 | 0.99927 | -0.01412 | 0.99921 | -0.015265 | 1.4156
7 | -0.0047365 | -0.0011849 | 0.0047366 | 0.0011849 | 1.0644e-07 | -6.6416e-09 | 0.0070524 | 0.0070523 | 0.0070524 | 0.99927 | -0.01412 | 0.99929 | -0.013647 | 1.9375
8 | 0.0027591 | 0.00068952 | -0.0027591 | -0.00068959 | 4.6943e-08 | -6.7109e-08 | 0.0041082 | 0.0041082 | 0.0041082 | 0.99921 | -0.015265 | 0.99919 | -0.015623 | 1.1286
9 | -0.0054382 | -0.0013608 | 0.0054386 | 0.0013608 | 4.2058e-07 | 4.5044e-08 | 0.0080971 | 0.008097 | 0.0080971 | 0.99929 | -0.013647 | 0.99938 | -0.012022 | 2.2245
10 | 0.0019771 | 0.00049361 | -0.0019769 | -0.00049432 | 2.0753e-07 | -7.035e-07 | 0.0029437 | 0.002944 | 0.002944 | 0.99919 | -0.015623 | 0.99907 | -0.017831 | 0.80879
11 | -0.0067501 | -0.0016895 | 0.0067506 | 0.0016896 | 5.0411e-07 | 1.4821e-07 | 0.01005 | 0.01005 | 0.01005 | 0.99938 | -0.012022 | 0.99946 | -0.010453 | 2.7609
12 | 0.0019769 | 0.00049432 | -0.0019766 | -0.00049538 | 3.1339e-07 | -1.0617e-06 | 0.002944 | 0.0029444 | 0.0029444 | 0.99907 | -0.017831 | 0.9989 | -0.021162 | 0.80891
13 | -0.0086275 | -0.00216 | 0.0086282 | 0.0021603 | 7.3597e-07 | 3.151e-07 | 0.012844 | 0.012844 | 0.012844 | 0.99946 | -0.010453 | 0.99955 | -0.008661 | 3.5286
14 | 0.0042493 | 0.0010604 | -0.0042478 | -0.0010607 | 1.5259e-06 | -3.5524e-07 | 0.0063255 | 0.006326 | 0.006326 | 0.99935 | -0.012595 | 0.99895 | -0.020157 | 1.7379
15 | 0.001432 | 0.00035819 | -0.0014319 | -0.00035886 | 9.5664e-08 | -6.72e-07 | 0.0021334 | 0.0021337 | 0.0021337 | 0.99867 | -0.025676 | 0.9986 | -0.027079 | 0.58617
16 | -0.0024689 | -0.00061808 | 0.0024694 | 0.0006172 | 4.5161e-07 | -8.7586e-07 | 0.0036785 | 0.0036781 | 0.0036785 | 0.99867 | -0.025676 | 0.99887 | -0.021831 | 1.0106
17 | -0.0024694 | -0.0006172 | 0.0024695 | 0.00061699 | 1.069e-07 | -2.0742e-07 | 0.0036781 | 0.003678 | 0.0036781 | 0.99887 | -0.021831 | 0.99891 | -0.02092 | 1.0105
18 | 0.00082255 | 0.00020432 | -0.00082252 | -0.00020504 | 3.1765e-08 | -7.1884e-07 | 0.0012247 | 0.0012249 | 0.0012249 | 0.99891 | -0.02092 | 0.99887 | -0.021735 | 0.33652
19 | -0.003292 | -0.00082132 | 0.0032922 | 0.00082122 | 1.193e-07 | -9.6923e-08 | 0.0049026 | 0.0049026 | 0.0049026 | 0.99891 | -0.02092 | 0.99895 | -0.020157 | 1.3469
20 | 0.00082252 | 0.00020504 | -0.00082247 | -0.00020613 | 4.8116e-08 | -1.0881e-06 | 0.0012249 | 0.0012253 | 0.0012253 | 0.99887 | -0.021735 | 0.99881 | -0.022966 | 0.33662

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.025636 | 0.0060072

## res_load
| p_mw | q_mvar
0 | 0.0026518 | 0.00066459
1 | 0.00066487 | 0.00016663
2 | 0.0009777 | 0.00024503
3 | 0.0012758 | 0.00031975
4 | 0.00070135 | 0.00017578
5 | 0.00070161 | 0.00017584
6 | 0.00078195 | 0.00019598
7 | 0.0013115 | 0.0003287
8 | 0.0018769 | 0.00047039
9 | 0.00063043 | 0.000158
10 | 0.0061721 | 0.0015469
11 | 0.0019766 | 0.00049538
12 | 0.001037 | 0.00025989
13 | 0.0014319 | 0.00035886
14 | 0.00095559 | 0.00023949
15 | 0.00082247 | 0.00020613

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1