## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_594-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_594-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_594-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_594-7_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_594-7_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_594-7_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_594-7_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_594-7_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_594-7_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_594-7_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_594-7_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_594-7_0_6_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_594-7_0_6_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_594-7_0_6_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_594-7_0_6_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_594-7_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_594-7_0_6_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_594-7_0_6_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_594-7_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_594-7_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_594-7_0_6_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_594-7_0_6_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_594-7_0_6_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_594-7_0_6_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_594-7_0_6_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_594-7_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_594-7_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_594-7_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_594-7_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_594-7_0_6_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_594-7_0_6_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_594-7_0_6_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_594-7_0_6_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_594-7_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_594-7_0_6_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_594-7_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_594-7_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_594-7_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_594-7_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_594-7_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_594-7_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_594-7_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_594-7_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_594-7_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_594-7_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_594-7_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_594-7_0_6_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_594-7_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_594-7_0_6_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_594-7_0_6_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_594-7_0_6_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_594-7_0_6_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_594-7_0_6_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_594-7_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_594-7_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_594-7_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_594-7_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_594-7_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_594-7_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_594-7_0_6_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_594-7_0_6_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_594-7_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_594-7_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_594-7_0_6_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_594-7_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_MV_83_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_594-7_0_6_load_0 | 0 | 0.043975 | 0.011021 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_594-7_0_6_load_1 | 1 | 0.0094569 | 0.0023701 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_594-7_0_6_load_3 | 4 | 0.004374 | 0.0010962 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_594-7_0_6_load_9 | 7 | 0.0043546 | 0.0010914 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_594-7_0_6_load_32 | 11 | 0.014458 | 0.0036235 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_594-7_0_6_load_63 | 12 | 0.008036 | 0.002014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_594-7_0_6_load_20 | 13 | 0.0014265 | 0.00035752 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_594-7_0_6_load_18 | 14 | 0.0013356 | 0.00033474 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_594-7_0_6_load_45 | 16 | 0.00063797 | 0.00015989 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_594-7_0_6_load_30 | 17 | 0.0025097 | 0.000629 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_594-7_0_6_load_34 | 21 | 0.0011644 | 0.00029182 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_594-7_0_6_load_66 | 22 | 0.023202 | 0.005815 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_594-7_0_6_load_12 | 24 | 0.016545 | 0.0041465 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_594-7_0_6_load_16 | 27 | 0.0053886 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_594-7_0_6_load_17 | 28 | 0.0013129 | 0.00032904 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_594-7_0_6_load_41 | 29 | 0.0023929 | 0.00059971 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_594-7_0_6_load_51 | 31 | 0.010056 | 0.0025203 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_594-7_0_6_load_29 | 33 | 0.021887 | 0.0054855 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_594-7_0_6_load_33 | 34 | 0.0014577 | 0.00036533 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_594-7_0_6_load_22 | 35 | 0.00073384 | 0.00018392 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_594-7_0_6_load_23 | 36 | 0.0022993 | 0.00057625 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_594-7_0_6_load_26 | 38 | 0.0014342 | 0.00035945 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_594-7_0_6_load_27 | 39 | 0.0078119 | 0.0019578 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_594-7_0_6_load_28 | 40 | 0.0045221 | 0.0011333 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_594-7_0_6_load_31 | 41 | 0.0088427 | 0.0022162 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_594-7_0_6_load_35 | 42 | 0.001213 | 0.00030401 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_594-7_0_6_load_36 | 43 | 0.0017308 | 0.00043379 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_594-7_0_6_load_40 | 45 | 0.00085354 | 0.00021392 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_594-7_0_6_load_67 | 46 | 0.0020695 | 0.00051867 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_594-7_0_6_load_39 | 47 | 0.093955 | 0.023547 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_594-7_0_6_load_59 | 48 | 0.019805 | 0.0049637 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_594-7_0_6_load_58 | 50 | 0.026249 | 0.0065787 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_594-7_0_6_load_52 | 52 | 0.0048857 | 0.0012245 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_594-7_0_6_load_46 | 53 | 0.0062155 | 0.0015578 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_594-7_0_6_load_47 | 54 | 0.0054127 | 0.0013566 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_594-7_0_6_load_48 | 55 | 0.0042455 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_594-7_0_6_load_50 | 57 | 0.0050673 | 0.00127 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_594-7_0_6_load_55 | 58 | 0.0067206 | 0.0016843 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_594-7_0_6_load_56 | 59 | 0.0039759 | 0.00099645 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_594-7_0_6_load_53 | 62 | 0.0021104 | 0.00052891 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_594-7_0_6_load_65 | 64 | 0.010437 | 0.0026157 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_594-7_0_6_line_0 |  | 0 | 1 | 0.029479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_594-7_0_6_line_1 |  | 0 | 2 | 0.051969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_594-7_0_6_line_2 |  | 2 | 3 | 0.058552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_594-7_0_6_line_3 |  | 3 | 6 | 0.094568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_594-7_0_6_line_4 |  | 3 | 7 | 0.039526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_594-7_0_6_line_5 |  | 4 | 5 | 0.039072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_594-7_0_6_line_6 |  | 5 | 8 | 0.015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_594-7_0_6_line_7 |  | 5 | 9 | 0.12782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_594-7_0_6_line_8 |  | 6 | 12 | 0.0077684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_594-7_0_6_line_9 |  | 6 | 10 | 0.083108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_594-7_0_6_line_10 |  | 8 | 13 | 0.0344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_594-7_0_6_line_11 |  | 8 | 14 | 0.019736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_594-7_0_6_line_12 |  | 9 | 15 | 0.12203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_594-7_0_6_line_13 |  | 10 | 11 | 0.005074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_594-7_0_6_line_14 |  | 11 | 22 | 0.0030481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_594-7_0_6_line_15 |  | 11 | 23 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_594-7_0_6_line_16 |  | 13 | 17 | 0.017644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_594-7_0_6_line_17 |  | 14 | 18 | 0.10494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_594-7_0_6_line_18 |  | 15 | 16 | 0.064586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_594-7_0_6_line_19 |  | 16 | 19 | 0.011595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_594-7_0_6_line_20 |  | 17 | 33 | 0.035721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_594-7_0_6_line_21 |  | 18 | 20 | 0.062371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_594-7_0_6_line_22 |  | 19 | 29 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_594-7_0_6_line_23 |  | 19 | 26 | 0.023659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_594-7_0_6_line_24 |  | 20 | 21 | 0.074787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_594-7_0_6_line_25 |  | 21 | 34 | 0.00084274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_594-7_0_6_line_26 |  | 23 | 39 | 0.017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_594-7_0_6_line_27 |  | 24 | 25 | 0.066937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_594-7_0_6_line_28 |  | 25 | 27 | 0.0076016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_594-7_0_6_line_29 |  | 25 | 28 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_594-7_0_6_line_30 |  | 26 | 27 | 0.079254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_594-7_0_6_line_31 |  | 28 | 30 | 0.023121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_594-7_0_6_line_32 |  | 30 | 31 | 0.046319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_594-7_0_6_line_33 |  | 30 | 32 | 0.039252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_594-7_0_6_line_34 |  | 31 | 52 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_594-7_0_6_line_35 |  | 32 | 45 | 0.022625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_594-7_0_6_line_36 |  | 33 | 41 | 0.024568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_594-7_0_6_line_37 |  | 33 | 40 | 0.027618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_594-7_0_6_line_38 |  | 34 | 42 | 0.00033399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_594-7_0_6_line_39 |  | 35 | 36 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_594-7_0_6_line_40 |  | 35 | 37 | 0.010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_594-7_0_6_line_41 |  | 37 | 38 | 0.01734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_594-7_0_6_line_42 |  | 37 | 39 | 0.032379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_594-7_0_6_line_43 |  | 38 | 40 | 0.020223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_594-7_0_6_line_44 |  | 43 | 44 | 0.063586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_594-7_0_6_line_45 |  | 44 | 45 | 0.030957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_594-7_0_6_line_46 |  | 44 | 46 | 0.063695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_594-7_0_6_line_47 |  | 46 | 49 | 0.037914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_594-7_0_6_line_48 |  | 47 | 48 | 0.044212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_594-7_0_6_line_49 |  | 48 | 51 | 0.017996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_594-7_0_6_line_50 |  | 48 | 50 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_594-7_0_6_line_51 |  | 49 | 51 | 0.010625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_594-7_0_6_line_52 |  | 52 | 62 | 0.0073918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_594-7_0_6_line_53 |  | 53 | 54 | 0.051103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_594-7_0_6_line_54 |  | 53 | 55 | 0.01883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_594-7_0_6_line_55 |  | 54 | 56 | 0.038461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_594-7_0_6_line_56 |  | 55 | 57 | 0.0092342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_594-7_0_6_line_57 |  | 56 | 58 | 0.02638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_594-7_0_6_line_58 |  | 56 | 59 | 0.031819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_594-7_0_6_line_59 |  | 57 | 60 | 0.026846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_594-7_0_6_line_60 |  | 58 | 61 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_594-7_0_6_line_61 |  | 60 | 62 | 0.057137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_594-7_0_6_line_62 |  | 61 | 63 | 0.13171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_594-7_0_6_line_63 |  | 63 | 64 | 0.12288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_594-7_0_6_trafo_52 | 0.63 MVA 20/0.4 kV | 65 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2633061.4307 | 1168677.7154 | 2633062.3857 | 1168672.5425 | 2633064.1695 | 1168657.1111 | 2633064.6107 | 1168648.4373
1 | 2633047.565 | 1168727.7339 | 2633055.7002 | 1168702.6101 | 2633059.6487 | 1168687.3685 | 2633061.4307 | 1168677.7154
2 | 2633013.9555 | 1168765.1464 | 2633018.5188 | 1168770.3074 | 2633025.6903 | 1168761.7757 | 2633035.1013 | 1168748.1649 | 2633043.2162 | 1168733.6798 | 2633047.565 | 1168727.7339
3 | 2632942.5886 | 1168753.6382 | 2632946.6214 | 1168749.4692 | 2632952.4505 | 1168742.8978 | 2632956.7285 | 1168737.285 | 2632960.8705 | 1168729.9706 | 2632974.3834 | 1168737.2706 | 2632986.6249 | 1168750.3333 | 2632998.7922 | 1168758.7933 | 2633013.9555 | 1168765.1464
4 | 2633013.9555 | 1168765.1464 | 2633021.4403 | 1168760.8853 | 2633032.2831 | 1168745.7481 | 2633038.3269 | 1168735.0428
5 | 2633025.4378 | 1168520.706 | 2633041.7459 | 1168552.8232 | 2633043.1573 | 1168555.5288
6 | 2633011.8591 | 1168528.1019 | 2633025.4378 | 1168520.706
7 | 2633025.4378 | 1168520.706 | 2633030.3978 | 1168516.3754 | 2633031.8009 | 1168514.5044 | 2633032.9462 | 1168512.2095 | 2633038.1039 | 1168491.3827 | 2633044.292 | 1168472.4736 | 2633053.139 | 1168451.5781 | 2633045.0957 | 1168434.8476 | 2633041.2448 | 1168425.3549 | 2633032.4102 | 1168403.5952
8 | 2632942.5886 | 1168753.6382 | 2632945.9456 | 1168758.2923 | 2632947.0612 | 1168759.9881
9 | 2632942.5886 | 1168753.6382 | 2632946.6214 | 1168749.4692 | 2632952.4505 | 1168742.8978 | 2632956.7285 | 1168737.285 | 2632960.8705 | 1168729.9706 | 2632964.7017 | 1168720.6979 | 2632965.3569 | 1168718.4559 | 2632966.0127 | 1168714.6909 | 2632967.0204 | 1168706.7701 | 2632968.95 | 1168698.1874 | 2632969.8168 | 1168695.0238 | 2632975.4595 | 1168679.1911
10 | 2633011.8591 | 1168528.1019 | 2633013.5487 | 1168536.7712 | 2633013.8498 | 1168550.2353 | 2633013.1722 | 1168559.3585 | 2633012.649 | 1168562.2632
11 | 2633011.8591 | 1168528.1019 | 2633004.6337 | 1168526.8839 | 2632992.3252 | 1168525.313
12 | 2633032.4102 | 1168403.5952 | 2633041.2448 | 1168425.3549 | 2633045.0957 | 1168434.8476 | 2633053.139 | 1168451.5781 | 2633058.971 | 1168434.8016 | 2633059.2412 | 1168423.2416 | 2633060.9032 | 1168413.2678 | 2633067.3137 | 1168392.9037 | 2633072.3366 | 1168385.4941
13 | 2632975.4595 | 1168679.1911 | 2632977.3374 | 1168674.4767
14 | 2632977.3374 | 1168674.4767 | 2632978.3091 | 1168671.5877
15 | 2632977.3374 | 1168674.4767 | 2632965.1028 | 1168669.8851
16 | 2633008.5121 | 1168579.3965 | 2633010.4029 | 1168573.106 | 2633011.854 | 1168566.6773 | 2633012.649 | 1168562.2632
17 | 2632888.2291 | 1168512.0277 | 2632992.3252 | 1168525.313
18 | 2633072.3366 | 1168385.4941 | 2633082.8079 | 1168385.1738 | 2633089.3439 | 1168389.3007 | 2633127.9579 | 1168414.9931
19 | 2633137.6114 | 1168421.4162 | 2633127.9579 | 1168414.9931
20 | 2632997.608 | 1168613.412 | 2633008.0877 | 1168580.8083 | 2633008.5121 | 1168579.3965
21 | 2632888.2291 | 1168512.0277 | 2632892.1744 | 1168574.259
22 | 2633137.6114 | 1168421.4162 | 2633156.7655 | 1168426.8881
23 | 2633148.4412 | 1168442.1087 | 2633139.1736 | 1168428.1727 | 2633137.6114 | 1168421.4162
24 | 2632892.1744 | 1168574.259 | 2632903.1233 | 1168571.9065 | 2632940.4803 | 1168575.5128 | 2632966.248 | 1168579.3875
25 | 2632967.0814 | 1168579.5128 | 2632966.248 | 1168579.3875
26 | 2632965.1028 | 1168669.8851 | 2632960.979 | 1168661.3025 | 2632961.7486 | 1168653.7985
27 | 2633200.56 | 1168511.1872 | 2633189.0765 | 1168541.0281 | 2633181.0956 | 1168542.1958 | 2633154.8169 | 1168536.4602
28 | 2633200.56 | 1168511.1872 | 2633196.369 | 1168504.8453
29 | 2633200.56 | 1168511.1872 | 2633214.7278 | 1168532.6325
30 | 2633148.4412 | 1168442.1087 | 2633158.3571 | 1168459.2166 | 2633189.6916 | 1168494.741 | 2633196.369 | 1168504.8453
31 | 2633227.4724 | 1168551.9234 | 2633214.7278 | 1168532.6325
32 | 2633227.4724 | 1168551.9234 | 2633248.7106 | 1168593.0858
33 | 2633266.3157 | 1168545.5459 | 2633227.4724 | 1168551.9234
34 | 2633253.4455 | 1168602.2627 | 2633248.7106 | 1168593.0858
35 | 2633266.3157 | 1168545.5459 | 2633288.3631 | 1168540.4669
36 | 2632997.608 | 1168613.412 | 2632991.792 | 1168631.5006 | 2632990.0173 | 1168636.7772
37 | 2632997.608 | 1168613.412 | 2632972.3721 | 1168615.6081 | 2632970.1325 | 1168615.1458
38 | 2632967.4117 | 1168579.5624 | 2632967.0814 | 1168579.5128
39 | 2632944.5159 | 1168638.8223 | 2632944.4761 | 1168645.1816 | 2632944.2544 | 1168651.2065
40 | 2632945.0829 | 1168628.0206 | 2632944.5372 | 1168635.4214 | 2632944.5159 | 1168638.8223
41 | 2632945.0829 | 1168628.0206 | 2632945.6864 | 1168619.8308 | 2632950.2373 | 1168611.9183
42 | 2632945.0829 | 1168628.0206 | 2632946.9357 | 1168633.4557 | 2632962.2403 | 1168649.0031 | 2632961.7486 | 1168653.7985
43 | 2632950.2373 | 1168611.9183 | 2632954.6146 | 1168611.9423 | 2632970.1325 | 1168615.1458
44 | 2633318.5296 | 1168533.5175 | 2633274.1872 | 1168501.9003 | 2633266.8984 | 1168496.4083
45 | 2633318.5296 | 1168533.5175 | 2633288.3631 | 1168540.4669
46 | 2633318.5296 | 1168533.5175 | 2633322.2486 | 1168597.1042
47 | 2633322.2486 | 1168597.1042 | 2633351.0391 | 1168621.8653
48 | 2633396.2685 | 1168589.3727 | 2633373.4403 | 1168627.2353
49 | 2633359.6755 | 1168615.6434 | 2633373.4403 | 1168627.2353
50 | 2633383.5495 | 1168635.7487 | 2633373.4403 | 1168627.2353
51 | 2633359.6755 | 1168615.6434 | 2633351.0391 | 1168621.8653
52 | 2633253.4455 | 1168602.2627 | 2633256.8349 | 1168608.8317
53 | 2633239.6956 | 1168688.8269 | 2633240.8786 | 1168694.8154 | 2633261.9314 | 1168734.5855
54 | 2633239.6956 | 1168688.8269 | 2633239.2781 | 1168686.7135 | 2633242.4825 | 1168680.1612 | 2633250.8511 | 1168675.9196
55 | 2633282.6976 | 1168765.9276 | 2633276.6335 | 1168762.3589 | 2633261.9314 | 1168734.5855
56 | 2633250.8511 | 1168675.9196 | 2633259.0878 | 1168671.7449
57 | 2633282.6976 | 1168765.9276 | 2633289.1695 | 1168764.9518 | 2633305.2405 | 1168753.3271
58 | 2633282.6976 | 1168765.9276 | 2633276.2117 | 1168773.5735 | 2633258.2612 | 1168785.931
59 | 2633283.0336 | 1168659.6081 | 2633259.0878 | 1168671.7449
60 | 2633317.9566 | 1168743.2667 | 2633312.6425 | 1168747.973 | 2633305.2405 | 1168753.3271
61 | 2633283.0336 | 1168659.6081 | 2633256.8349 | 1168608.8317
62 | 2633317.9566 | 1168743.2667 | 2633322.5047 | 1168746.9716 | 2633339.4439 | 1168784.9294 | 2633352.9839 | 1168813.4525 | 2633354.7492 | 1168818.0424 | 2633354.2295 | 1168824.8097 | 2633353.0176 | 1168828.0824 | 2633350.7603 | 1168830.8046 | 2633346.7376 | 1168833.0946 | 2633342.3481 | 1168833.9263 | 2633331.8543 | 1168834.3016 | 2633331.9113 | 1168836.4364 | 2633331.6791 | 1168841.0486 | 2633331.216 | 1168848.661
63 | 2633331.216 | 1168848.661 | 2633303.616 | 1168846.785 | 2633293.235 | 1168846.1494 | 2633259.3932 | 1168846.5402 | 2633231.0604 | 1168847.0728 | 2633208.4272 | 1168847.3336

## bus_geodata
| x | y | coords
0 | 2633061.4307 | 1168677.7154
1 | 2633064.6107 | 1168648.4373
2 | 2633047.565 | 1168727.7339
3 | 2633013.9555 | 1168765.1464
4 | 2633043.1573 | 1168555.5288
5 | 2633025.4378 | 1168520.706
6 | 2632942.5886 | 1168753.6382
7 | 2633038.3269 | 1168735.0428
8 | 2633011.8591 | 1168528.1019
9 | 2633032.4102 | 1168403.5952
10 | 2632975.4595 | 1168679.1911
11 | 2632977.3373 | 1168674.4767
12 | 2632947.0612 | 1168759.9881
13 | 2633012.649 | 1168562.2632
14 | 2632992.3252 | 1168525.313
15 | 2633072.3366 | 1168385.4941
16 | 2633127.9579 | 1168414.9931
17 | 2633008.5121 | 1168579.3965
18 | 2632888.2291 | 1168512.0277
19 | 2633137.6114 | 1168421.4162
20 | 2632892.1744 | 1168574.259
21 | 2632966.248 | 1168579.3875
22 | 2632978.3091 | 1168671.5877
23 | 2632965.1028 | 1168669.8851
24 | 2633154.8169 | 1168536.4602
25 | 2633200.56 | 1168511.1872
26 | 2633148.4412 | 1168442.1087
27 | 2633196.3689 | 1168504.8453
28 | 2633214.7278 | 1168532.6325
29 | 2633156.7655 | 1168426.8881
30 | 2633227.4724 | 1168551.9234
31 | 2633248.7106 | 1168593.0858
32 | 2633266.3157 | 1168545.5459
33 | 2632997.608 | 1168613.412
34 | 2632967.0814 | 1168579.5128
35 | 2632944.5159 | 1168638.8223
36 | 2632944.2544 | 1168651.2065
37 | 2632945.0829 | 1168628.0206
38 | 2632950.2373 | 1168611.9183
39 | 2632961.7486 | 1168653.7985
40 | 2632970.1325 | 1168615.1458
41 | 2632990.0173 | 1168636.7772
42 | 2632967.4117 | 1168579.5624
43 | 2633266.8984 | 1168496.4083
44 | 2633318.5296 | 1168533.5175
45 | 2633288.3631 | 1168540.4669
46 | 2633322.2486 | 1168597.1042
47 | 2633396.2685 | 1168589.3727
48 | 2633373.4403 | 1168627.2353
49 | 2633351.0391 | 1168621.8653
50 | 2633383.5495 | 1168635.7487
51 | 2633359.6755 | 1168615.6434
52 | 2633253.4455 | 1168602.2627
53 | 2633239.6956 | 1168688.8269
54 | 2633261.9314 | 1168734.5855
55 | 2633250.8511 | 1168675.9196
56 | 2633282.6976 | 1168765.9276
57 | 2633259.0878 | 1168671.7449
58 | 2633305.2405 | 1168753.3271
59 | 2633258.2612 | 1168785.931
60 | 2633283.0336 | 1168659.6081
61 | 2633317.9566 | 1168743.2667
62 | 2633256.8349 | 1168608.8317
63 | 2633331.216 | 1168848.661
64 | 2633208.4272 | 1168847.3336
65 | 2633227.4724 | 1168551.9234

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1