## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6004-1_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6004-1_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6004-1_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6004-1_0_10_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6004-1_0_10_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_6004-1_0_10_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_6004-1_0_10_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_6004-1_0_10_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_6004-1_0_10_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_6004-1_0_10_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6004-1_0_10_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6004-1_0_10_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6004-1_0_10_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6004-1_0_10_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6004-1_0_10_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6004-1_0_10_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6004-1_0_10_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6004-1_0_10_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6004-1_0_10_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6004-1_0_10_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_6004-1_0_10_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_6004-1_0_10_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6004-1_0_10_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6004-1_0_10_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6004-1_0_10_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6004-1_0_10_node_123 | 0.4 | n |  | TRUE
26 | bus_LV_6004-1_0_10_node_125 | 0.4 | n |  | TRUE
27 | bus_LV_6004-1_0_10_node_124 | 0.4 | n |  | TRUE
28 | bus_LV_6004-1_0_10_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6004-1_0_10_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_6004-1_0_10_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6004-1_0_10_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6004-1_0_10_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6004-1_0_10_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6004-1_0_10_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6004-1_0_10_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6004-1_0_10_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6004-1_0_10_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6004-1_0_10_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6004-1_0_10_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6004-1_0_10_node_150 | 0.4 | n |  | TRUE
41 | bus_LV_6004-1_0_10_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6004-1_0_10_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6004-1_0_10_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_6004-1_0_10_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_6004-1_0_10_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_6004-1_0_10_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6004-1_0_10_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6004-1_0_10_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6004-1_0_10_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6004-1_0_10_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6004-1_0_10_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_6004-1_0_10_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_6004-1_0_10_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_6004-1_0_10_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6004-1_0_10_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6004-1_0_10_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_6004-1_0_10_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6004-1_0_10_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6004-1_0_10_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_6004-1_0_10_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_6004-1_0_10_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_6004-1_0_10_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_6004-1_0_10_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_6004-1_0_10_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_6004-1_0_10_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_6004-1_0_10_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_6004-1_0_10_node_141 | 0.4 | n |  | TRUE
68 | bus_LV_6004-1_0_10_node_122 | 0.4 | n |  | TRUE
69 | bus_LV_6004-1_0_10_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_6004-1_0_10_node_142 | 0.4 | n |  | TRUE
71 | bus_LV_6004-1_0_10_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_6004-1_0_10_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_6004-1_0_10_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_6004-1_0_10_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_6004-1_0_10_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_6004-1_0_10_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_6004-1_0_10_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_6004-1_0_10_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_6004-1_0_10_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_6004-1_0_10_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_6004-1_0_10_node_145 | 0.4 | n |  | TRUE
82 | bus_LV_6004-1_0_10_node_144 | 0.4 | n |  | TRUE
83 | bus_LV_6004-1_0_10_node_147 | 0.4 | n |  | TRUE
84 | bus_LV_6004-1_0_10_node_132 | 0.4 | n |  | TRUE
85 | bus_LV_6004-1_0_10_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_6004-1_0_10_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6004-1_0_10_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_6004-1_0_10_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_6004-1_0_10_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_6004-1_0_10_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_6004-1_0_10_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_6004-1_0_10_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_6004-1_0_10_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_6004-1_0_10_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_6004-1_0_10_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_6004-1_0_10_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_6004-1_0_10_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_6004-1_0_10_node_88 | 0.4 | n |  | TRUE
99 | bus_LV_6004-1_0_10_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_6004-1_0_10_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_6004-1_0_10_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_6004-1_0_10_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_6004-1_0_10_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_6004-1_0_10_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_6004-1_0_10_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_6004-1_0_10_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_6004-1_0_10_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_6004-1_0_10_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_6004-1_0_10_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_6004-1_0_10_node_99 | 0.4 | n |  | TRUE
111 | bus_LV_6004-1_0_10_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_6004-1_0_10_node_113 | 0.4 | n |  | TRUE
113 | bus_LV_6004-1_0_10_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_6004-1_0_10_node_115 | 0.4 | n |  | TRUE
115 | bus_LV_6004-1_0_10_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_6004-1_0_10_node_104 | 0.4 | n |  | TRUE
117 | bus_LV_6004-1_0_10_node_105 | 0.4 | n |  | TRUE
118 | bus_LV_6004-1_0_10_node_106 | 0.4 | n |  | TRUE
119 | bus_LV_6004-1_0_10_node_107 | 0.4 | n |  | TRUE
120 | bus_LV_6004-1_0_10_node_114 | 0.4 | n |  | TRUE
121 | bus_LV_6004-1_0_10_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_6004-1_0_10_node_109 | 0.4 | n |  | TRUE
123 | bus_LV_6004-1_0_10_node_110 | 0.4 | n |  | TRUE
124 | bus_LV_6004-1_0_10_node_112 | 0.4 | n |  | TRUE
125 | bus_LV_6004-1_0_10_node_116 | 0.4 | n |  | TRUE
126 | bus_LV_6004-1_0_10_node_117 | 0.4 | n |  | TRUE
127 | bus_LV_6004-1_0_10_node_148 | 0.4 | n |  | TRUE
128 | bus_LV_6004-1_0_10_node_149 | 0.4 | n |  | TRUE
129 | bus_LV_6004-1_0_10_node_126 | 0.4 | n |  | TRUE
130 | bus_LV_6004-1_0_10_node_127 | 0.4 | n |  | TRUE
131 | bus_LV_6004-1_0_10_node_128 | 0.4 | n |  | TRUE
132 | bus_LV_6004-1_0_10_node_129 | 0.4 | n |  | TRUE
133 | bus_LV_6004-1_0_10_node_130 | 0.4 | n |  | TRUE
134 | bus_LV_6004-1_0_10_node_131 | 0.4 | n |  | TRUE
135 | bus_LV_6004-1_0_10_node_133 | 0.4 | n |  | TRUE
136 | bus_LV_6004-1_0_10_node_140 | 0.4 | n |  | TRUE
137 | bus_LV_6004-1_0_10_node_138 | 0.4 | n |  | TRUE
138 | bus_LV_6004-1_0_10_node_146 | 0.4 | n |  | TRUE
139 | bus_LV_6004-1_0_10_node_134 | 0.4 | n |  | TRUE
140 | bus_LV_6004-1_0_10_node_143 | 0.4 | n |  | TRUE
141 | bus_LV_6004-1_0_10_node_137 | 0.4 | n |  | TRUE
142 | bus_LV_6004-1_0_10_node_135 | 0.4 | n |  | TRUE
143 | bus_LV_6004-1_0_10_node_139 | 0.4 | n |  | TRUE
144 | bus_MV_84_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6004-1_0_10_load_0 | 0 | 0.0023997 | 0.00060142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6004-1_0_10_load_1 | 1 | 0.0066834 | 0.001675 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6004-1_0_10_load_3 | 3 | 0.0039306 | 0.0009851 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6004-1_0_10_load_72 | 5 | 0.0019181 | 0.00048071 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6004-1_0_10_load_74 | 7 | 0.0020252 | 0.00050757 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6004-1_0_10_load_4 | 9 | 0.0013125 | 0.00032895 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6004-1_0_10_load_7 | 12 | 0.0063235 | 0.0015848 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6004-1_0_10_load_10 | 14 | 0.0044791 | 0.0011226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6004-1_0_10_load_11 | 16 | 0.0045811 | 0.0011481 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6004-1_0_10_load_30 | 17 | 0.0050156 | 0.001257 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6004-1_0_10_load_22 | 18 | 0.0052885 | 0.0013254 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6004-1_0_10_load_13 | 21 | 0.0025672 | 0.00064339 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6004-1_0_10_load_14 | 22 | 0.0023287 | 0.00058363 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6004-1_0_10_load_15 | 23 | 0.0029574 | 0.0007412 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6004-1_0_10_load_123 | 25 | 0.014004 | 0.0035096 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6004-1_0_10_load_125 | 26 | 0.0078329 | 0.0019631 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6004-1_0_10_load_124 | 27 | 0.0042275 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6004-1_0_10_load_17 | 28 | 0.003901 | 0.00097768 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6004-1_0_10_load_23 | 32 | 0.0045788 | 0.0011475 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6004-1_0_10_load_27 | 34 | 0.0059661 | 0.0014953 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6004-1_0_10_load_24 | 35 | 0.0066819 | 0.0016747 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6004-1_0_10_load_31 | 36 | 0.005792 | 0.0014516 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6004-1_0_10_load_28 | 38 | 0.0038497 | 0.00096483 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6004-1_0_10_load_25 | 39 | 0.0038227 | 0.00095805 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6004-1_0_10_load_150 | 40 | 0.0069006 | 0.0017294 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6004-1_0_10_load_32 | 41 | 0.0078752 | 0.0019737 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6004-1_0_10_load_29 | 42 | 0.0027603 | 0.00069179 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6004-1_0_10_load_62 | 43 | 0.0024944 | 0.00062516 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6004-1_0_10_load_64 | 44 | 0.0045206 | 0.001133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6004-1_0_10_load_56 | 45 | 0.011096 | 0.0027809 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6004-1_0_10_load_34 | 46 | 0.0049615 | 0.0012435 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6004-1_0_10_load_36 | 48 | 0.005117 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6004-1_0_10_load_50 | 50 | 0.0048142 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6004-1_0_10_load_59 | 52 | 0.0075402 | 0.0018897 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6004-1_0_10_load_57 | 53 | 0.0062537 | 0.0015673 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6004-1_0_10_load_45 | 54 | 0.0045162 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6004-1_0_10_load_43 | 55 | 0.0042337 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6004-1_0_10_load_51 | 56 | 0.003838 | 0.0009619 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6004-1_0_10_load_46 | 57 | 0.0051114 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6004-1_0_10_load_52 | 58 | 0.0034944 | 0.00087577 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6004-1_0_10_load_44 | 59 | 0.0022096 | 0.00055379 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6004-1_0_10_load_38 | 60 | 0.01489 | 0.0037317 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6004-1_0_10_load_39 | 61 | 0.0098205 | 0.0024612 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6004-1_0_10_load_40 | 62 | 0.0093474 | 0.0023427 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6004-1_0_10_load_42 | 64 | 0.01399 | 0.0035062 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6004-1_0_10_load_121 | 65 | 0.0088665 | 0.0022222 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6004-1_0_10_load_120 | 66 | 0.0077253 | 0.0019361 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6004-1_0_10_load_141 | 67 | 0.0050972 | 0.0012775 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6004-1_0_10_load_122 | 68 | 0.0034123 | 0.0008552 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6004-1_0_10_load_63 | 69 | 0.0063932 | 0.0016023 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6004-1_0_10_load_142 | 70 | 0.0089923 | 0.0022537 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6004-1_0_10_load_47 | 71 | 0.0031102 | 0.00077949 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6004-1_0_10_load_49 | 72 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6004-1_0_10_load_54 | 74 | 0.0032489 | 0.00081424 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6004-1_0_10_load_67 | 75 | 0.0021692 | 0.00054366 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6004-1_0_10_load_68 | 76 | 0.0065233 | 0.0016349 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6004-1_0_10_load_60 | 77 | 0.002093 | 0.00052456 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6004-1_0_10_load_61 | 78 | 0.0094147 | 0.0023595 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6004-1_0_10_load_55 | 79 | 0.0054783 | 0.001373 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6004-1_0_10_load_66 | 80 | 0.0036094 | 0.00090461 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6004-1_0_10_load_145 | 81 | 0.0034238 | 0.00085809 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6004-1_0_10_load_144 | 82 | 0.0039156 | 0.00098135 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6004-1_0_10_load_147 | 83 | 0.0016694 | 0.00041839 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6004-1_0_10_load_78 | 86 | 0.0026572 | 0.00066595 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6004-1_0_10_load_77 | 87 | 0.0011062 | 0.00027723 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6004-1_0_10_load_89 | 91 | 0.0030563 | 0.00076599 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6004-1_0_10_load_86 | 92 | 0.0060565 | 0.0015179 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6004-1_0_10_load_83 | 93 | 0.0016721 | 0.00041906 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6004-1_0_10_load_82 | 94 | 0.0020135 | 0.00050463 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6004-1_0_10_load_84 | 95 | 0.0020101 | 0.00050378 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6004-1_0_10_load_85 | 96 | 0.0023657 | 0.00059291 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6004-1_0_10_load_87 | 97 | 0.0028195 | 0.00070664 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6004-1_0_10_load_88 | 98 | 0.0018717 | 0.0004691 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6004-1_0_10_load_90 | 100 | 0.005516 | 0.0013824 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6004-1_0_10_load_91 | 101 | 0.0034128 | 0.00085534 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6004-1_0_10_load_92 | 102 | 0.0032719 | 0.00082001 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6004-1_0_10_load_93 | 103 | 0.016223 | 0.0040658 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6004-1_0_10_load_95 | 105 | 0.001865 | 0.00046742 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6004-1_0_10_load_96 | 106 | 0.0048455 | 0.0012144 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6004-1_0_10_load_97 | 107 | 0.001278 | 0.00032029 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6004-1_0_10_load_102 | 108 | 0.0045331 | 0.0011361 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6004-1_0_10_load_98 | 109 | 0.0022681 | 0.00056845 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6004-1_0_10_load_99 | 110 | 0.0038267 | 0.00095906 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6004-1_0_10_load_113 | 112 | 0.0068518 | 0.0017172 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6004-1_0_10_load_103 | 115 | 0.0053637 | 0.0013443 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6004-1_0_10_load_104 | 116 | 0.0047279 | 0.0011849 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6004-1_0_10_load_105 | 117 | 0.0075609 | 0.0018949 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6004-1_0_10_load_106 | 118 | 0.0078514 | 0.0019677 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6004-1_0_10_load_107 | 119 | 0.0073394 | 0.0018394 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6004-1_0_10_load_108 | 121 | 0.0032986 | 0.00082671 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6004-1_0_10_load_109 | 122 | 0.0030196 | 0.00075679 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6004-1_0_10_load_112 | 124 | 0.0027841 | 0.00069775 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6004-1_0_10_load_116 | 125 | 0.0040105 | 0.0010051 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6004-1_0_10_load_117 | 126 | 0.010264 | 0.0025723 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6004-1_0_10_load_149 | 128 | 0.0065566 | 0.0016432 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6004-1_0_10_load_126 | 129 | 0.0036958 | 0.00092625 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6004-1_0_10_load_127 | 130 | 0.0023258 | 0.00058289 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6004-1_0_10_load_128 | 131 | 0.004217 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6004-1_0_10_load_130 | 133 | 0.0042957 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6004-1_0_10_load_133 | 135 | 0.0033782 | 0.00084666 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6004-1_0_10_load_138 | 137 | 0.0080122 | 0.002008 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6004-1_0_10_load_134 | 139 | 0.0052705 | 0.0013209 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6004-1_0_10_load_143 | 140 | 0.019113 | 0.0047902 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6004-1_0_10_load_137 | 141 | 0.0081933 | 0.0020534 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6004-1_0_10_load_135 | 142 | 0.0018044 | 0.00045223 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6004-1_0_10_load_139 | 143 | 0.010938 | 0.0027412 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6004-1_0_10_line_0 |  | 0 | 1 | 0.019461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6004-1_0_10_line_1 |  | 0 | 2 | 0.024553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6004-1_0_10_line_2 |  | 1 | 3 | 0.10389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6004-1_0_10_line_3 |  | 2 | 4 | 0.1213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6004-1_0_10_line_4 |  | 3 | 7 | 0.02601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6004-1_0_10_line_5 |  | 4 | 5 | 0.1141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6004-1_0_10_line_6 |  | 4 | 6 | 0.051591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6004-1_0_10_line_7 |  | 6 | 83 | 0.066056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6004-1_0_10_line_8 |  | 7 | 8 | 0.0085186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6004-1_0_10_line_9 |  | 8 | 85 | 0.064345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6004-1_0_10_line_10 |  | 9 | 10 | 0.079669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6004-1_0_10_line_11 |  | 9 | 11 | 0.00762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6004-1_0_10_line_12 |  | 10 | 12 | 0.010465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6004-1_0_10_line_13 |  | 11 | 13 | 0.01294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6004-1_0_10_line_14 |  | 11 | 14 | 0.040348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6004-1_0_10_line_15 |  | 13 | 15 | 0.007451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6004-1_0_10_line_16 |  | 13 | 16 | 0.017352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6004-1_0_10_line_17 |  | 15 | 17 | 0.08059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6004-1_0_10_line_18 |  | 15 | 18 | 0.026568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6004-1_0_10_line_19 |  | 17 | 19 | 0.0050779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6004-1_0_10_line_20 |  | 18 | 20 | 0.036289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6004-1_0_10_line_21 |  | 19 | 45 | 0.038103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6004-1_0_10_line_22 |  | 20 | 32 | 0.012027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6004-1_0_10_line_23 |  | 20 | 28 | 0.003012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6004-1_0_10_line_24 |  | 20 | 29 | 0.001323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6004-1_0_10_line_25 |  | 21 | 22 | 0.0272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6004-1_0_10_line_26 |  | 22 | 23 | 0.11317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6004-1_0_10_line_27 |  | 23 | 24 | 0.069601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6004-1_0_10_line_28 |  | 24 | 25 | 0.0222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6004-1_0_10_line_29 |  | 24 | 26 | 0.073156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6004-1_0_10_line_30 |  | 26 | 27 | 0.015401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6004-1_0_10_line_31 |  | 27 | 33 | 0.077606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6004-1_0_10_line_32 |  | 29 | 30 | 0.020077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6004-1_0_10_line_33 |  | 29 | 31 | 0.036583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6004-1_0_10_line_34 |  | 30 | 33 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6004-1_0_10_line_35 |  | 30 | 34 | 0.050794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6004-1_0_10_line_36 |  | 30 | 35 | 0.03982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6004-1_0_10_line_37 |  | 31 | 36 | 0.0017173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6004-1_0_10_line_38 |  | 33 | 37 | 0.033985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6004-1_0_10_line_39 |  | 34 | 38 | 0.02033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6004-1_0_10_line_40 |  | 35 | 39 | 0.0067631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6004-1_0_10_line_41 |  | 36 | 41 | 0.0037786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6004-1_0_10_line_42 |  | 37 | 40 | 0.090679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6004-1_0_10_line_43 |  | 38 | 42 | 0.022021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6004-1_0_10_line_44 |  | 42 | 43 | 0.012935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6004-1_0_10_line_45 |  | 43 | 44 | 0.025218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6004-1_0_10_line_46 |  | 44 | 78 | 0.011043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6004-1_0_10_line_47 |  | 45 | 79 | 0.031557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6004-1_0_10_line_48 |  | 46 | 47 | 0.077332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6004-1_0_10_line_49 |  | 46 | 48 | 0.0094047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6004-1_0_10_line_50 |  | 47 | 49 | 0.026381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6004-1_0_10_line_51 |  | 48 | 50 | 0.1243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6004-1_0_10_line_52 |  | 49 | 54 | 0.033324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6004-1_0_10_line_53 |  | 49 | 55 | 0.051141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6004-1_0_10_line_54 |  | 50 | 51 | 0.011582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6004-1_0_10_line_55 |  | 51 | 56 | 0.076136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6004-1_0_10_line_56 |  | 51 | 57 | 0.025049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6004-1_0_10_line_57 |  | 52 | 53 | 0.0054755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6004-1_0_10_line_58 |  | 53 | 79 | 0.0043818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6004-1_0_10_line_59 |  | 54 | 58 | 0.019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6004-1_0_10_line_60 |  | 55 | 59 | 0.003689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6004-1_0_10_line_61 |  | 57 | 71 | 0.0014543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6004-1_0_10_line_62 |  | 60 | 61 | 0.018752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6004-1_0_10_line_63 |  | 60 | 62 | 0.038081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6004-1_0_10_line_64 |  | 61 | 63 | 0.012528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6004-1_0_10_line_65 |  | 62 | 64 | 0.0089126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6004-1_0_10_line_66 |  | 63 | 65 | 0.01274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6004-1_0_10_line_67 |  | 63 | 66 | 0.0075039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_6004-1_0_10_line_68 |  | 64 | 67 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6004-1_0_10_line_69 |  | 65 | 68 | 0.011748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6004-1_0_10_line_70 |  | 66 | 69 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6004-1_0_10_line_71 |  | 67 | 70 | 0.011397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6004-1_0_10_line_72 |  | 69 | 78 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_6004-1_0_10_line_73 |  | 70 | 140 | 0.02519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_6004-1_0_10_line_74 |  | 71 | 72 | 0.09771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_6004-1_0_10_line_75 |  | 72 | 73 | 0.099815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_6004-1_0_10_line_76 |  | 73 | 74 | 0.068774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_6004-1_0_10_line_77 |  | 73 | 75 | 0.07587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6004-1_0_10_line_78 |  | 74 | 77 | 0.019333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6004-1_0_10_line_79 |  | 75 | 76 | 0.021506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6004-1_0_10_line_80 |  | 77 | 78 | 0.051244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_6004-1_0_10_line_81 |  | 80 | 81 | 0.015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6004-1_0_10_line_82 |  | 81 | 82 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6004-1_0_10_line_83 |  | 82 | 138 | 0.012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6004-1_0_10_line_84 |  | 83 | 84 | 0.017932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_6004-1_0_10_line_85 |  | 84 | 138 | 0.014645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6004-1_0_10_line_86 |  | 84 | 127 | 0.14169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6004-1_0_10_line_87 |  | 85 | 86 | 0.0202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_6004-1_0_10_line_88 |  | 86 | 87 | 0.019755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_6004-1_0_10_line_89 |  | 87 | 88 | 0.024822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_6004-1_0_10_line_90 |  | 88 | 89 | 0.019802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_6004-1_0_10_line_91 |  | 89 | 90 | 0.015526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_6004-1_0_10_line_92 |  | 89 | 91 | 0.0292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6004-1_0_10_line_93 |  | 90 | 92 | 0.12459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6004-1_0_10_line_94 |  | 90 | 93 | 0.01413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_6004-1_0_10_line_95 |  | 91 | 100 | 0.046032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6004-1_0_10_line_96 |  | 93 | 94 | 0.0035481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_6004-1_0_10_line_97 |  | 94 | 95 | 0.0046407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_6004-1_0_10_line_98 |  | 95 | 96 | 0.023134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_6004-1_0_10_line_99 |  | 96 | 97 | 0.079763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_6004-1_0_10_line_100 |  | 97 | 98 | 0.012051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_6004-1_0_10_line_101 |  | 98 | 99 | 0.005441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_6004-1_0_10_line_102 |  | 99 | 105 | 0.0076089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6004-1_0_10_line_103 |  | 99 | 106 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_6004-1_0_10_line_104 |  | 100 | 101 | 0.0048519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6004-1_0_10_line_105 |  | 101 | 102 | 0.060435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6004-1_0_10_line_106 |  | 103 | 104 | 0.062124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6004-1_0_10_line_107 |  | 104 | 114 | 0.035639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6004-1_0_10_line_108 |  | 105 | 107 | 0.0029028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6004-1_0_10_line_109 |  | 106 | 108 | 0.0040337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6004-1_0_10_line_110 |  | 107 | 109 | 0.012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6004-1_0_10_line_111 |  | 108 | 115 | 0.0057076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6004-1_0_10_line_112 |  | 110 | 111 | 0.024957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6004-1_0_10_line_113 |  | 111 | 112 | 0.0066116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6004-1_0_10_line_114 |  | 111 | 113 | 0.007841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6004-1_0_10_line_115 |  | 112 | 120 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6004-1_0_10_line_116 |  | 113 | 125 | 0.0092079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6004-1_0_10_line_117 |  | 113 | 123 | 0.033243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6004-1_0_10_line_118 |  | 114 | 126 | 0.053729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6004-1_0_10_line_119 |  | 115 | 116 | 0.0066696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6004-1_0_10_line_120 |  | 116 | 117 | 0.0064606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6004-1_0_10_line_121 |  | 117 | 118 | 0.027935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6004-1_0_10_line_122 |  | 118 | 119 | 0.0050908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6004-1_0_10_line_123 |  | 119 | 120 | 0.0022128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6004-1_0_10_line_124 |  | 121 | 122 | 0.020522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6004-1_0_10_line_125 |  | 121 | 123 | 0.0055062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6004-1_0_10_line_126 |  | 123 | 124 | 0.031961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6004-1_0_10_line_127 |  | 125 | 126 | 0.025243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6004-1_0_10_line_128 |  | 127 | 128 | 0.057534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6004-1_0_10_line_129 |  | 129 | 130 | 0.00076171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6004-1_0_10_line_130 |  | 129 | 131 | 0.0051966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6004-1_0_10_line_131 |  | 130 | 132 | 0.007311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6004-1_0_10_line_132 |  | 131 | 133 | 0.012695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6004-1_0_10_line_133 |  | 132 | 134 | 0.014368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6004-1_0_10_line_134 |  | 133 | 135 | 0.021295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6004-1_0_10_line_135 |  | 134 | 136 | 0.011831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6004-1_0_10_line_136 |  | 134 | 137 | 0.0086223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6004-1_0_10_line_137 |  | 135 | 139 | 0.016387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6004-1_0_10_line_138 |  | 136 | 140 | 0.011493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
139 | LV_6004-1_0_10_line_139 |  | 136 | 138 | 0.033985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
140 | LV_6004-1_0_10_line_140 |  | 137 | 141 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6004-1_0_10_line_141 |  | 139 | 142 | 0.018001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6004-1_0_10_line_142 |  | 141 | 143 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6004-1_0_10_trafo_71 | 0.63 MVA 20/0.4 kV | 144 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2633950.3665 | 1128676.4231 | 2633963.2089 | 1128672.1161 | 2633965.8829 | 1128677.3927
1 | 2633926.3731 | 1128681.0475 | 2633937.4613 | 1128677.8747 | 2633949.0921 | 1128676.8505 | 2633950.3665 | 1128676.4231
2 | 2633965.8829 | 1128677.3927 | 2633966.0281 | 1128677.6792 | 2633963.5632 | 1128681.7452 | 2633954.018 | 1128683.1479 | 2633942.7142 | 1128686.3195 | 2633934.1401 | 1128698.6331 | 2633908.357 | 1128710.7615 | 2633888.6001 | 1128721.1783 | 2633878.0968 | 1128726.077
3 | 2633829.8312 | 1128607.6149 | 2633926.3731 | 1128681.0475
4 | 2633878.0968 | 1128726.077 | 2633868.0622 | 1128730.7571 | 2633853.4115 | 1128733.6697
5 | 2633829.8312 | 1128607.6149 | 2633816.6014 | 1128614.9113 | 2633801.1015 | 1128613.4796 | 2633757.841 | 1128601.599 | 2633739.2952 | 1128606.2091 | 2633722.9468 | 1128603.5611 | 2633720.1849 | 1128602.7002
6 | 2633811.0642 | 1128563.5435 | 2633808.95 | 1128568.2674 | 2633810.4072 | 1128572.2109 | 2633812.0481 | 1128576.3554 | 2633818.57 | 1128583.8401 | 2633825.1857 | 1128589.7022 | 2633828.0885 | 1128594.1206 | 2633827.8596 | 1128599.2441 | 2633829.8312 | 1128607.6149
7 | 2633838.0071 | 1128503.232 | 2633811.0642 | 1128563.5435
8 | 2633845.0564 | 1128735.3308 | 2633853.4115 | 1128733.6697
9 | 2633845.0564 | 1128735.3308 | 2633863.2805 | 1128756.51 | 2633868.6025 | 1128760.8641 | 2633877.2049 | 1128764.0805 | 2633896.3154 | 1128771.3912
10 | 2633589.122 | 1128278.7766 | 2633605.0494 | 1128281.0994 | 2633622.6962 | 1128278.9963 | 2633644.9328 | 1128309.1461 | 2633650.3649 | 1128315.472
11 | 2633651.2656 | 1128323.0216 | 2633650.4289 | 1128315.5465 | 2633650.3649 | 1128315.472
12 | 2633591.9475 | 1128288.8528 | 2633589.122 | 1128278.7766
13 | 2633662.8006 | 1128319.9397 | 2633660.5884 | 1128318.749 | 2633658.1037 | 1128319.4578 | 2633654.0578 | 1128322.4257 | 2633651.2656 | 1128323.0216
14 | 2633612.0096 | 1128320.7468 | 2633613.5555 | 1128322.6119 | 2633616.0234 | 1128323.5483 | 2633629.0483 | 1128322.698 | 2633637.426 | 1128322.122 | 2633640.9314 | 1128322.1415 | 2633645.1634 | 1128323.0988 | 2633651.2656 | 1128323.0216
15 | 2633662.8006 | 1128319.9397 | 2633657.7086 | 1128325.3919
16 | 2633662.8006 | 1128319.9397 | 2633674.6479 | 1128307.2618
17 | 2633657.7086 | 1128325.3919 | 2633632.2441 | 1128342.3812 | 2633587.335 | 1128364.3127
18 | 2633657.7086 | 1128325.3919 | 2633671.4573 | 1128323.2339 | 2633678.6802 | 1128323.8855 | 2633683.7391 | 1128325.7701
19 | 2633582.7721 | 1128366.5409 | 2633587.335 | 1128364.3127
20 | 2633682.9056 | 1128359.2601 | 2633681.8124 | 1128356.3526 | 2633676.7135 | 1128342.2727 | 2633682.4604 | 1128332.6665 | 2633683.7391 | 1128325.7701
21 | 2633582.7721 | 1128366.5409 | 2633581.4372 | 1128364.1435 | 2633575.9476 | 1128366.2808 | 2633560.4101 | 1128372.8868 | 2633548.2093 | 1128375.9693
22 | 2633693.8506 | 1128354.2073 | 2633682.9056 | 1128359.2601
23 | 2633682.9056 | 1128359.2601 | 2633680.1713 | 1128360.5233
24 | 2633683.3764 | 1128360.4967 | 2633682.9056 | 1128359.2601
25 | 2634034.0801 | 1128351.7554 | 2634032.9319 | 1128352.2803 | 2634028.9377 | 1128355.6262 | 2634020.1905 | 1128368.4835 | 2634017.5263 | 1128370.9587 | 2634016.7327 | 1128372.2778
26 | 2634016.7327 | 1128372.2778 | 2634015.1466 | 1128374.914 | 2634014.0964 | 1128379.4548 | 2634012.7318 | 1128386.484 | 2634011.2307 | 1128394.4907 | 2634010.1745 | 1128395.9966 | 2634005.441 | 1128400.6724 | 2634000.1152 | 1128405.1781 | 2633993.3248 | 1128409.8423 | 2633983.4391 | 1128414.1779 | 2633977.2581 | 1128414.5879 | 2633970.0067 | 1128414.9029 | 2633958.7546 | 1128412.8832 | 2633933.1181 | 1128415.1073 | 2633928.2764 | 1128413.8461
27 | 2633861.3084 | 1128397.0963 | 2633876.8075 | 1128397.3942 | 2633904.8543 | 1128407.7453 | 2633928.2764 | 1128413.8461
28 | 2633861.3084 | 1128397.0963 | 2633839.2185 | 1128399.3084
29 | 2633861.3084 | 1128397.0963 | 2633857.1987 | 1128390.8146 | 2633845.7249 | 1128391.2173 | 2633827.6748 | 1128386.9476 | 2633793.0556 | 1128389.111 | 2633792.137 | 1128388.9458
30 | 2633776.9791 | 1128386.2199 | 2633792.137 | 1128388.9458
31 | 2633700.5979 | 1128372.4874 | 2633711.3345 | 1128374.4148 | 2633776.9791 | 1128386.2199
32 | 2633683.3764 | 1128360.4967 | 2633683.9453 | 1128362.0895 | 2633678.0183 | 1128370.8498 | 2633683.4415 | 1128376.4939
33 | 2633717.443 | 1128346.9239 | 2633707.9216 | 1128350.8951 | 2633692.2795 | 1128356.8777 | 2633683.3764 | 1128360.4967
34 | 2633683.4415 | 1128376.4939 | 2633700.5979 | 1128372.4874
35 | 2633683.4415 | 1128376.4939 | 2633678.3484 | 1128380.7566 | 2633668.9574 | 1128383.4502 | 2633660.5314 | 1128402.424 | 2633657.7422 | 1128408.0113 | 2633656.3951 | 1128414.7405 | 2633656.1141 | 1128415.1721
36 | 2633683.4415 | 1128376.4939 | 2633676.8998 | 1128378.025 | 2633644.6639 | 1128385.5472
37 | 2633717.443 | 1128346.9239 | 2633718.8965 | 1128346.0093
38 | 2633734.2752 | 1128367.9282 | 2633728.6853 | 1128368.7197 | 2633721.9851 | 1128369.6606 | 2633700.5979 | 1128372.4874
39 | 2633656.1141 | 1128415.1721 | 2633653.6832 | 1128418.9053 | 2633645.7726 | 1128424.164 | 2633649.8091 | 1128429.1004
40 | 2633644.6639 | 1128385.5472 | 2633638.0777 | 1128387.084
41 | 2633722.6218 | 1128346.6415 | 2633718.8965 | 1128346.0093
42 | 2633734.2752 | 1128367.9282 | 2633740.0102 | 1128367.371 | 2633759.7369 | 1128363.9014 | 2633782.8458 | 1128359.05 | 2633795.7398 | 1128356.8097 | 2633816.719 | 1128355.315 | 2633818.6842 | 1128356.5822 | 2633819.5149 | 1128358.2098 | 2633819.7126 | 1128361.4348
43 | 2633649.8091 | 1128429.1004 | 2633653.1875 | 1128433.232 | 2633663.4259 | 1128433.3 | 2633669.573 | 1128435.2387
44 | 2633681.5859 | 1128439.971 | 2633681.5859 | 1128439.971 | 2633674.908 | 1128436.9213 | 2633669.573 | 1128435.2387
45 | 2633681.5859 | 1128439.971 | 2633683.1222 | 1128444.9376 | 2633691.8835 | 1128444.6195 | 2633698.8947 | 1128443.1578 | 2633702.896 | 1128442.3082
46 | 2633713.6964 | 1128440.0053 | 2633706.0371 | 1128441.6413 | 2633702.896 | 1128442.3082
47 | 2633516.8248 | 1128376.1171 | 2633519.4822 | 1128376.2618 | 2633537.8652 | 1128377.4976 | 2633546.0294 | 1128376.5201 | 2633548.2093 | 1128375.9693
48 | 2633207.5944 | 1128442.1321 | 2633219.0412 | 1128460.6375 | 2633225.2177 | 1128477.8801 | 2633233.6249 | 1128490.1323 | 2633250.9745 | 1128504.2967
49 | 2633258.2598 | 1128510.2443 | 2633250.9745 | 1128504.2967
50 | 2633233.6647 | 1128437.9842 | 2633229.7048 | 1128437.9847 | 2633207.5944 | 1128442.1321
51 | 2633377.6074 | 1128544.9749 | 2633258.2598 | 1128510.2443
52 | 2633233.6647 | 1128437.9842 | 2633249.6894 | 1128437.961 | 2633264.8129 | 1128446.3604
53 | 2633233.6647 | 1128437.9842 | 2633238.3334 | 1128433.7632 | 2633243.6171 | 1128431.2132 | 2633247.2347 | 1128430.4104 | 2633263.6586 | 1128432.0459 | 2633270.7807 | 1128432.8076 | 2633274.1839 | 1128434.5827 | 2633277.1691 | 1128435.3106 | 2633281.8576 | 1128435.573
54 | 2633382.0538 | 1128534.3042 | 2633377.8174 | 1128543.9413 | 2633377.6074 | 1128544.9749
55 | 2633382.0538 | 1128534.3042 | 2633388.1033 | 1128536.761 | 2633404.3396 | 1128538.8294 | 2633416.1908 | 1128535.582 | 2633422.2626 | 1128527.0335 | 2633424.3302 | 1128518.1293 | 2633433.377 | 1128514.9221 | 2633444.7133 | 1128517.9207
56 | 2633382.0538 | 1128534.3042 | 2633384.5996 | 1128529.4825 | 2633393.2256 | 1128517.3684 | 2633396.1456 | 1128513.6532
57 | 2633506.9821 | 1128375.5812 | 2633512.4495 | 1128375.8789
58 | 2633516.8248 | 1128376.1171 | 2633512.4495 | 1128375.8789
59 | 2633264.8129 | 1128446.3604 | 2633282.0396 | 1128455.9279
60 | 2633285.5409 | 1128435.7791 | 2633281.8576 | 1128435.573
61 | 2633396.1456 | 1128513.6532 | 2633396.4531 | 1128513.2619 | 2633397.195 | 1128512.658
62 | 2633776.2678 | 1128448.0903 | 2633767.1846 | 1128448.5521 | 2633758.5215 | 1128445.0798 | 2633758.2888 | 1128444.8538
63 | 2633776.2678 | 1128448.0903 | 2633792.2069 | 1128447.2799 | 2633812.5541 | 1128455.9609
64 | 2633749.3034 | 1128436.1239 | 2633758.2888 | 1128444.8538
65 | 2633820.7517 | 1128459.4583 | 2633812.5541 | 1128455.9609
66 | 2633749.3034 | 1128436.1239 | 2633759.3213 | 1128428.2525
67 | 2633749.3034 | 1128436.1239 | 2633741.8436 | 1128436.9371
68 | 2633820.7517 | 1128459.4583 | 2633832.683 | 1128464.5487
69 | 2633759.3213 | 1128428.2525 | 2633763.6187 | 1128424.8758 | 2633769.863 | 1128424.1868
70 | 2633726.655 | 1128438.5927 | 2633741.8436 | 1128436.9371
71 | 2633832.683 | 1128464.5487 | 2633838.4368 | 1128467.0035 | 2633842.926 | 1128469.5101
72 | 2633713.6964 | 1128440.0053 | 2633726.655 | 1128438.5927
73 | 2633864.5274 | 1128482.4418 | 2633854.8876 | 1128476.189 | 2633842.926 | 1128469.5101
74 | 2633397.195 | 1128512.658 | 2633407.0475 | 1128504.6383 | 2633437.6209 | 1128498.3594 | 2633463.8065 | 1128498.4486 | 2633491.348 | 1128500.375
75 | 2633584.5012 | 1128464.5219 | 2633491.348 | 1128500.375
76 | 2633584.5012 | 1128464.5219 | 2633613.8 | 1128464.4845 | 2633653.0823 | 1128468.3833
77 | 2633584.5012 | 1128464.5219 | 2633563.4771 | 1128537.4207
78 | 2633653.0823 | 1128468.3833 | 2633668.2608 | 1128469.8897 | 2633671.9825 | 1128468.2175
79 | 2633563.4771 | 1128537.4207 | 2633571.3323 | 1128539.9868 | 2633579.6902 | 1128550.2588
80 | 2633713.6964 | 1128440.0053 | 2633697.1232 | 1128456.9215 | 2633671.9825 | 1128468.2175
81 | 2633816.2084 | 1128486.0302 | 2633808.879 | 1128484.4472 | 2633800.8597 | 1128484.3955
82 | 2633826.3899 | 1128488.2294 | 2633816.2084 | 1128486.0302
83 | 2633838.9424 | 1128490.9406 | 2633826.3899 | 1128488.2294
84 | 2633853.2851 | 1128494.1001 | 2633846.3597 | 1128499.5086 | 2633838.0071 | 1128503.232
85 | 2633838.9424 | 1128490.9406 | 2633853.2851 | 1128494.1001
86 | 2633992.2144 | 1128503.2941 | 2633959.4762 | 1128495.7289 | 2633949.4642 | 1128495.1391 | 2633939.6803 | 1128496.4849 | 2633920.9735 | 1128502.2274 | 2633912.0093 | 1128504.3783 | 2633903.4189 | 1128504.4636 | 2633863.3552 | 1128496.6799 | 2633853.2851 | 1128494.1001
87 | 2633896.3154 | 1128771.3912 | 2633906.6352 | 1128766.4465 | 2633911.055 | 1128766.8158 | 2633913.9878 | 1128769.9894 | 2633913.9878 | 1128769.9894
88 | 2633899.1611 | 1128778.3239 | 2633907.1157 | 1128778.2995 | 2633913.7745 | 1128773.679 | 2633913.9878 | 1128769.9894
89 | 2633885.3244 | 1128790.2613 | 2633883.7279 | 1128782.3373 | 2633889.1505 | 1128778.3545 | 2633899.1611 | 1128778.3239
90 | 2633885.3244 | 1128790.2613 | 2633886.8751 | 1128798.1184 | 2633897.2432 | 1128803.7904
91 | 2633905.552 | 1128790.6637 | 2633897.2432 | 1128803.7904
92 | 2633897.2432 | 1128803.7904 | 2633895.7653 | 1128817.3445 | 2633900.8751 | 1128832.0471
93 | 2633905.552 | 1128790.6637 | 2633986.7248 | 1128745.5183 | 2634013.7915 | 1128729.0116
94 | 2633905.552 | 1128790.6637 | 2633914.8678 | 1128801.2878
95 | 2633900.8751 | 1128832.0471 | 2633900.8751 | 1128832.0471 | 2633929.3227 | 1128865.3565 | 2633930.1061 | 1128867.442
96 | 2633918.4159 | 1128801.3077 | 2633914.8678 | 1128801.2878 | 2633914.8678 | 1128801.2878
97 | 2633918.4159 | 1128801.3077 | 2633923.0565 | 1128801.3337
98 | 2633919.1008 | 1128824.1163 | 2633921.3649 | 1128813.1302 | 2633923.0565 | 1128801.3337 | 2633923.0565 | 1128801.3337
99 | 2633919.1008 | 1128824.1163 | 2633918.3557 | 1128827.7318 | 2633925.1144 | 1128842.377 | 2633940.4195 | 1128848.2323 | 2633956.2402 | 1128867.8865 | 2633968.0431 | 1128873.1998 | 2633968.6954 | 1128878.5405
100 | 2633968.6954 | 1128878.5405 | 2633969.4277 | 1128884.5355 | 2633973.9058 | 1128888.5461
101 | 2633977.9589 | 1128892.1761 | 2633973.9058 | 1128888.5461
102 | 2633977.9589 | 1128892.1761 | 2633985.1888 | 1128889.8045
103 | 2633977.9589 | 1128892.1761 | 2633982.24 | 1128904.8842 | 2633988.4037 | 1128908.843 | 2633993.9995 | 1128910.8278
104 | 2633931.8123 | 1128871.984 | 2633930.1061 | 1128867.442
105 | 2633931.8123 | 1128871.984 | 2633939.0231 | 1128891.1794 | 2633945.7178 | 1128914.462 | 2633950.9187 | 1128926.6417 | 2633952.4292 | 1128928.5832
106 | 2634081.6296 | 1128987.1842 | 2634065.9139 | 1128977.7243 | 2634037.2163 | 1128967.1799 | 2634024.8196 | 1128962.625
107 | 2634113.3679 | 1128996.7121 | 2634102.7424 | 1128999.8761 | 2634081.6296 | 1128987.1842
108 | 2633987.947 | 1128888.8998 | 2633985.1888 | 1128889.8045
109 | 2633993.9995 | 1128910.8278 | 2633997.8012 | 1128912.1762
110 | 2633987.947 | 1128888.8998 | 2633989.0879 | 1128888.5256 | 2633999.951 | 1128886.1196
111 | 2634003.1804 | 1128914.0842 | 2633997.8012 | 1128912.1762
112 | 2634069.0419 | 1128918.8123 | 2634058.9306 | 1128912.7413 | 2634048.2322 | 1128906.9449 | 2634047.3229 | 1128906.5395
113 | 2634069.0419 | 1128918.8123 | 2634063.9645 | 1128923.0471
114 | 2634076.8799 | 1128918.1784 | 2634069.0419 | 1128918.8123
115 | 2634047.7735 | 1128930.9655 | 2634060.4894 | 1128925.9456 | 2634063.9645 | 1128923.0471
116 | 2634076.8799 | 1128918.1784 | 2634079.9149 | 1128926.8717
117 | 2634076.8799 | 1128918.1784 | 2634070.0268 | 1128906.7007 | 2634055.2573 | 1128893.3442
118 | 2634113.3679 | 1128996.7121 | 2634112.8639 | 1128983.6138 | 2634105.2203 | 1128972.9988 | 2634094.9069 | 1128957.6886 | 2634090.7222 | 1128949.6302
119 | 2634003.1804 | 1128914.0842 | 2634003.1804 | 1128914.0842 | 2634009.7885 | 1128914.9885
120 | 2634009.7885 | 1128914.9885 | 2634016.1894 | 1128915.8644
121 | 2634016.1894 | 1128915.8644 | 2634018.6833 | 1128916.2057 | 2634033.924 | 1128922.4945 | 2634041.5429 | 1128927.1546
122 | 2634041.5429 | 1128927.1546 | 2634045.8858 | 1128929.8109
123 | 2634047.7735 | 1128930.9655 | 2634045.8858 | 1128929.8109
124 | 2634051.0185 | 1128889.8691 | 2634032.9635 | 1128880.1129
125 | 2634055.2573 | 1128893.3442 | 2634051.9845 | 1128890.391 | 2634051.0185 | 1128889.8691
126 | 2634055.2573 | 1128893.3442 | 2634054.9289 | 1128892.831 | 2634051.346 | 1128886.1186 | 2634046.0342 | 1128875.8947 | 2634051.6341 | 1128865.0319
127 | 2634079.9149 | 1128926.8717 | 2634081.9897 | 1128932.8145 | 2634090.7222 | 1128949.6302
128 | 2633992.2144 | 1128503.2941 | 2633989.5038 | 1128505.8246 | 2633985.8549 | 1128506.6823 | 2633977.5123 | 1128505.1681 | 2633966.6076 | 1128504.4177 | 2633956.585 | 1128504.3614 | 2633942.7017 | 1128508.5968 | 2633936.986 | 1128511.2105
129 | 2633906.4668 | 1128489.2906 | 2633905.7113 | 1128489.3875
130 | 2633906.4668 | 1128489.2906 | 2633911.6212 | 1128488.6296
131 | 2633898.4597 | 1128490.3176 | 2633905.7113 | 1128489.3875
132 | 2633911.6212 | 1128488.6296 | 2633924.2128 | 1128487.0147
133 | 2633898.4597 | 1128490.3176 | 2633884.0788 | 1128491.2376
134 | 2633924.2128 | 1128487.0147 | 2633943.6379 | 1128484.5233 | 2633945.3432 | 1128484.6601
135 | 2633872.2339 | 1128490.5376 | 2633884.0788 | 1128491.2376
136 | 2633884.0788 | 1128491.2376 | 2633883.4154 | 1128482.6408
137 | 2633961.6776 | 1128485.97 | 2633945.3432 | 1128484.6601
138 | 2633872.2339 | 1128490.5376 | 2633869.3572 | 1128485.5746 | 2633864.5274 | 1128482.4418
139 | 2633838.9424 | 1128490.9406 | 2633857.0916 | 1128487.0956 | 2633872.2339 | 1128490.5376
140 | 2633879.3954 | 1128464.2453 | 2633882.4841 | 1128470.5738 | 2633883.4154 | 1128482.6408
141 | 2633979.6247 | 1128487.2751 | 2633978.3675 | 1128487.3084 | 2633961.6776 | 1128485.97
142 | 2633871.8641 | 1128447.8586 | 2633873.889 | 1128454.9735 | 2633875.6235 | 1128458.8962 | 2633879.209 | 1128463.8632 | 2633879.3954 | 1128464.2453

## bus_geodata
| x | y | coords
0 | 2633950.3665 | 1128676.4231
1 | 2633965.8829 | 1128677.3927
2 | 2633926.3731 | 1128681.0475
3 | 2633878.0968 | 1128726.077
4 | 2633829.8312 | 1128607.6149
5 | 2633720.1849 | 1128602.7002
6 | 2633811.0642 | 1128563.5435
7 | 2633853.4115 | 1128733.6697
8 | 2633845.0564 | 1128735.3308
9 | 2633650.3649 | 1128315.472
10 | 2633589.122 | 1128278.7766
11 | 2633651.2656 | 1128323.0216
12 | 2633591.9475 | 1128288.8528
13 | 2633662.8006 | 1128319.9397
14 | 2633612.0096 | 1128320.7468
15 | 2633657.7086 | 1128325.3919
16 | 2633674.6479 | 1128307.2618
17 | 2633587.335 | 1128364.3127
18 | 2633683.7391 | 1128325.7701
19 | 2633582.7721 | 1128366.5409
20 | 2633682.9056 | 1128359.2601
21 | 2634034.0801 | 1128351.7554
22 | 2634016.7327 | 1128372.2778
23 | 2633928.2764 | 1128413.8461
24 | 2633861.3084 | 1128397.0963
25 | 2633839.2185 | 1128399.3084
26 | 2633792.137 | 1128388.9458
27 | 2633776.9791 | 1128386.2199
28 | 2633680.1713 | 1128360.5233
29 | 2633683.3764 | 1128360.4967
30 | 2633683.4415 | 1128376.4939
31 | 2633717.443 | 1128346.9239
32 | 2633693.8506 | 1128354.2073
33 | 2633700.5979 | 1128372.4874
34 | 2633656.1141 | 1128415.1721
35 | 2633644.6639 | 1128385.5472
36 | 2633718.8965 | 1128346.0093
37 | 2633734.2752 | 1128367.9282
38 | 2633649.8091 | 1128429.1004
39 | 2633638.0777 | 1128387.084
40 | 2633819.7126 | 1128361.4348
41 | 2633722.6218 | 1128346.6415
42 | 2633669.573 | 1128435.2387
43 | 2633681.5859 | 1128439.971
44 | 2633702.896 | 1128442.3082
45 | 2633548.2093 | 1128375.9693
46 | 2633250.9745 | 1128504.2967
47 | 2633207.5944 | 1128442.1321
48 | 2633258.2598 | 1128510.2443
49 | 2633233.6647 | 1128437.9842
50 | 2633377.6074 | 1128544.9749
51 | 2633382.0538 | 1128534.3042
52 | 2633506.9821 | 1128375.5812
53 | 2633512.4495 | 1128375.8789
54 | 2633264.8129 | 1128446.3604
55 | 2633281.8576 | 1128435.573
56 | 2633444.7133 | 1128517.9207
57 | 2633396.1456 | 1128513.6532
58 | 2633282.0396 | 1128455.9279
59 | 2633285.5409 | 1128435.7791
60 | 2633776.2678 | 1128448.0903
61 | 2633758.2888 | 1128444.8538
62 | 2633812.5541 | 1128455.9609
63 | 2633749.3034 | 1128436.1239
64 | 2633820.7517 | 1128459.4583
65 | 2633759.3213 | 1128428.2525
66 | 2633741.8436 | 1128436.9371
67 | 2633832.683 | 1128464.5487
68 | 2633769.863 | 1128424.1868
69 | 2633726.655 | 1128438.5927
70 | 2633842.926 | 1128469.5101
71 | 2633397.195 | 1128512.658
72 | 2633491.348 | 1128500.375
73 | 2633584.5012 | 1128464.5219
74 | 2633653.0823 | 1128468.3833
75 | 2633563.4771 | 1128537.4207
76 | 2633579.6902 | 1128550.2588
77 | 2633671.9825 | 1128468.2175
78 | 2633713.6964 | 1128440.0053
79 | 2633516.8248 | 1128376.1171
80 | 2633800.8597 | 1128484.3955
81 | 2633816.2084 | 1128486.0302
82 | 2633826.3899 | 1128488.2294
83 | 2633838.0071 | 1128503.232
84 | 2633853.2851 | 1128494.1001
85 | 2633896.3154 | 1128771.3912
86 | 2633913.9878 | 1128769.9894
87 | 2633899.1611 | 1128778.3239
88 | 2633885.3244 | 1128790.2613
89 | 2633897.2432 | 1128803.7904
90 | 2633905.552 | 1128790.6637
91 | 2633900.8751 | 1128832.0471
92 | 2634013.7915 | 1128729.0116
93 | 2633914.8678 | 1128801.2878
94 | 2633918.4159 | 1128801.3077
95 | 2633923.0565 | 1128801.3337
96 | 2633919.1008 | 1128824.1163
97 | 2633968.6954 | 1128878.5405
98 | 2633973.9058 | 1128888.5461
99 | 2633977.9589 | 1128892.1761
100 | 2633930.1061 | 1128867.442
101 | 2633931.8123 | 1128871.984
102 | 2633952.4292 | 1128928.5832
103 | 2634024.8196 | 1128962.625
104 | 2634081.6296 | 1128987.1842
105 | 2633985.1888 | 1128889.8045
106 | 2633993.9995 | 1128910.8278
107 | 2633987.947 | 1128888.8998
108 | 2633997.8012 | 1128912.1762
109 | 2633999.951 | 1128886.1196
110 | 2634047.3229 | 1128906.5395
111 | 2634069.0419 | 1128918.8123
112 | 2634063.9645 | 1128923.0471
113 | 2634076.8799 | 1128918.1784
114 | 2634113.3679 | 1128996.7121
115 | 2634003.1804 | 1128914.0842
116 | 2634009.7885 | 1128914.9885
117 | 2634016.1894 | 1128915.8644
118 | 2634041.5429 | 1128927.1546
119 | 2634045.8858 | 1128929.8109
120 | 2634047.7735 | 1128930.9655
121 | 2634051.0185 | 1128889.8691
122 | 2634032.9635 | 1128880.1129
123 | 2634055.2573 | 1128893.3442
124 | 2634051.6341 | 1128865.0319
125 | 2634079.9149 | 1128926.8717
126 | 2634090.7222 | 1128949.6302
127 | 2633992.2144 | 1128503.2941
128 | 2633936.986 | 1128511.2105
129 | 2633906.4668 | 1128489.2906
130 | 2633905.7113 | 1128489.3875
131 | 2633911.6212 | 1128488.6296
132 | 2633898.4597 | 1128490.3176
133 | 2633924.2128 | 1128487.0147
134 | 2633884.0788 | 1128491.2376
135 | 2633945.3432 | 1128484.6601
136 | 2633872.2339 | 1128490.5376
137 | 2633883.4154 | 1128482.6408
138 | 2633838.9424 | 1128490.9406
139 | 2633961.6776 | 1128485.97
140 | 2633864.5274 | 1128482.4418
141 | 2633879.3954 | 1128464.2453
142 | 2633979.6247 | 1128487.2751
143 | 2633871.8641 | 1128447.8586
144 | 2633829.8312 | 1128607.6149

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1