## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6004-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6004-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6004-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6004-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6004-2_0_6_node_107 | 0.4 | n |  | TRUE
5 | bus_LV_6004-2_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_6004-2_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6004-2_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6004-2_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6004-2_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6004-2_0_6_node_111 | 0.4 | n |  | TRUE
11 | bus_LV_6004-2_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6004-2_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6004-2_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6004-2_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6004-2_0_6_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_6004-2_0_6_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_6004-2_0_6_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_6004-2_0_6_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_6004-2_0_6_node_92 | 0.4 | n |  | TRUE
20 | bus_LV_6004-2_0_6_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_6004-2_0_6_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_6004-2_0_6_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_6004-2_0_6_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_6004-2_0_6_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_6004-2_0_6_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_6004-2_0_6_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_6004-2_0_6_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_6004-2_0_6_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_6004-2_0_6_node_106 | 0.4 | n |  | TRUE
30 | bus_LV_6004-2_0_6_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_6004-2_0_6_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_6004-2_0_6_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_6004-2_0_6_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_6004-2_0_6_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_6004-2_0_6_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_6004-2_0_6_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_6004-2_0_6_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_6004-2_0_6_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_6004-2_0_6_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_6004-2_0_6_node_103 | 0.4 | n |  | TRUE
41 | bus_LV_6004-2_0_6_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_6004-2_0_6_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_6004-2_0_6_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_6004-2_0_6_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_6004-2_0_6_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_6004-2_0_6_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_6004-2_0_6_node_99 | 0.4 | n |  | TRUE
48 | bus_LV_6004-2_0_6_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_6004-2_0_6_node_102 | 0.4 | n |  | TRUE
50 | bus_LV_6004-2_0_6_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_6004-2_0_6_node_109 | 0.4 | n |  | TRUE
52 | bus_MV_84_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6004-2_0_6_load_0 | 0 | 0.0021576 | 0.00054074 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6004-2_0_6_load_2 | 2 | 0.003929 | 0.0009847 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6004-2_0_6_load_107 | 4 | 0.0030482 | 0.00076394 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6004-2_0_6_load_12 | 5 | 0.0049896 | 0.0012505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6004-2_0_6_load_4 | 6 | 0.0046693 | 0.0011702 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6004-2_0_6_load_5 | 7 | 0.0049638 | 0.001244 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6004-2_0_6_load_6 | 8 | 0.0078614 | 0.0019703 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6004-2_0_6_load_7 | 9 | 0.0027616 | 0.00069211 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6004-2_0_6_load_111 | 10 | 0.0030303 | 0.00075947 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6004-2_0_6_load_8 | 11 | 0.0069067 | 0.001731 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6004-2_0_6_load_9 | 12 | 0.0026768 | 0.00067087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6004-2_0_6_load_10 | 13 | 0.009823 | 0.0024619 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6004-2_0_6_load_11 | 14 | 0.0063822 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6004-2_0_6_load_73 | 15 | 0.0056071 | 0.0014053 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6004-2_0_6_load_74 | 16 | 0.0056191 | 0.0014083 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6004-2_0_6_load_75 | 17 | 0.0068186 | 0.0017089 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6004-2_0_6_load_76 | 18 | 0.0036779 | 0.00092177 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6004-2_0_6_load_92 | 19 | 0.0058862 | 0.0014752 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6004-2_0_6_load_89 | 20 | 0.0076829 | 0.0019255 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6004-2_0_6_load_77 | 21 | 0.0031435 | 0.00078783 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6004-2_0_6_load_78 | 22 | 0.0036902 | 0.00092484 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6004-2_0_6_load_80 | 24 | 0.0034418 | 0.00086261 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6004-2_0_6_load_81 | 25 | 0.0040102 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6004-2_0_6_load_84 | 26 | 0.011868 | 0.0029744 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6004-2_0_6_load_82 | 27 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6004-2_0_6_load_83 | 28 | 0.0036752 | 0.00092109 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6004-2_0_6_load_85 | 30 | 0.0082328 | 0.0020633 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6004-2_0_6_load_86 | 31 | 0.0058373 | 0.001463 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6004-2_0_6_load_88 | 33 | 0.0024182 | 0.00060606 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6004-2_0_6_load_110 | 34 | 0.003333 | 0.00083532 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6004-2_0_6_load_95 | 35 | 0.0058225 | 0.0014593 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6004-2_0_6_load_90 | 36 | 0.0054033 | 0.0013542 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6004-2_0_6_load_100 | 37 | 0.0043559 | 0.0010917 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6004-2_0_6_load_101 | 38 | 0.0061989 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6004-2_0_6_load_91 | 39 | 0.012493 | 0.0031312 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6004-2_0_6_load_103 | 40 | 0.0034242 | 0.00085819 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6004-2_0_6_load_105 | 41 | 0.0033294 | 0.00083444 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6004-2_0_6_load_93 | 42 | 0.0063323 | 0.001587 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6004-2_0_6_load_94 | 43 | 0.0049913 | 0.0012509 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6004-2_0_6_load_96 | 44 | 0.0044392 | 0.0011126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6004-2_0_6_load_97 | 45 | 0.0029109 | 0.00072954 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6004-2_0_6_load_98 | 46 | 0.0060112 | 0.0015066 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6004-2_0_6_load_102 | 49 | 0.0019107 | 0.00047886 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6004-2_0_6_load_104 | 50 | 0.0047714 | 0.0011958 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6004-2_0_6_load_109 | 51 | 0.0016905 | 0.00042368 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6004-2_0_6_line_0 |  | 0 | 1 | 0.0061283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6004-2_0_6_line_1 |  | 1 | 2 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6004-2_0_6_line_2 |  | 1 | 3 | 0.067483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6004-2_0_6_line_3 |  | 3 | 4 | 0.036122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6004-2_0_6_line_4 |  | 3 | 5 | 0.028798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6004-2_0_6_line_5 |  | 4 | 29 | 0.039891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6004-2_0_6_line_6 |  | 5 | 14 | 0.01883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6004-2_0_6_line_7 |  | 6 | 7 | 0.022188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6004-2_0_6_line_8 |  | 6 | 8 | 0.022283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6004-2_0_6_line_9 |  | 7 | 9 | 0.055265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6004-2_0_6_line_10 |  | 7 | 10 | 0.12648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6004-2_0_6_line_11 |  | 8 | 11 | 0.045231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6004-2_0_6_line_12 |  | 9 | 12 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6004-2_0_6_line_13 |  | 11 | 13 | 0.024286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6004-2_0_6_line_14 |  | 13 | 14 | 0.025513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6004-2_0_6_line_15 |  | 15 | 16 | 0.092782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6004-2_0_6_line_16 |  | 15 | 17 | 0.0852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6004-2_0_6_line_17 |  | 16 | 18 | 0.0021658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6004-2_0_6_line_18 |  | 17 | 19 | 0.087114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6004-2_0_6_line_19 |  | 18 | 20 | 0.086899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6004-2_0_6_line_20 |  | 20 | 36 | 0.047609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6004-2_0_6_line_21 |  | 20 | 37 | 0.055999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6004-2_0_6_line_22 |  | 21 | 22 | 0.02124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6004-2_0_6_line_23 |  | 21 | 23 | 0.093565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6004-2_0_6_line_24 |  | 22 | 24 | 0.0070614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6004-2_0_6_line_25 |  | 23 | 25 | 0.0049915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6004-2_0_6_line_26 |  | 24 | 26 | 0.015213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6004-2_0_6_line_27 |  | 25 | 27 | 0.17251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6004-2_0_6_line_28 |  | 26 | 30 | 0.0032985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6004-2_0_6_line_29 |  | 27 | 28 | 0.021321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6004-2_0_6_line_30 |  | 28 | 29 | 0.051384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6004-2_0_6_line_31 |  | 30 | 31 | 0.016983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6004-2_0_6_line_32 |  | 31 | 32 | 0.0038758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6004-2_0_6_line_33 |  | 32 | 33 | 0.06948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6004-2_0_6_line_34 |  | 33 | 34 | 0.013083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6004-2_0_6_line_35 |  | 33 | 35 | 0.083582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6004-2_0_6_line_36 |  | 34 | 51 | 0.036929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6004-2_0_6_line_37 |  | 35 | 44 | 0.029133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6004-2_0_6_line_38 |  | 36 | 38 | 0.045077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6004-2_0_6_line_39 |  | 37 | 43 | 0.0049476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6004-2_0_6_line_40 |  | 38 | 49 | 0.038471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6004-2_0_6_line_41 |  | 39 | 40 | 0.048163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6004-2_0_6_line_42 |  | 39 | 41 | 0.050088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6004-2_0_6_line_43 |  | 40 | 50 | 0.054645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6004-2_0_6_line_44 |  | 41 | 49 | 0.056307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6004-2_0_6_line_45 |  | 42 | 43 | 0.032636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6004-2_0_6_line_46 |  | 44 | 45 | 0.0046244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6004-2_0_6_line_47 |  | 45 | 46 | 0.026954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6004-2_0_6_line_48 |  | 46 | 47 | 0.092038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6004-2_0_6_line_49 |  | 47 | 48 | 0.10213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6004-2_0_6_line_50 |  | 48 | 50 | 0.11129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6004-2_0_6_trafo_77 | 0.63 MVA 20/0.4 kV | 52 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2634140.8813 | 1128399.1115 | 2634141.1511 | 1128396.3561 | 2634143.5433 | 1128393.9971
1 | 2634140.8813 | 1128399.1115 | 2634142.2799 | 1128401.1093 | 2634144.8472 | 1128402.1465 | 2634148.0627 | 1128401.6533 | 2634152.3916 | 1128397.6979 | 2634153.0448 | 1128395.267
2 | 2634140.8813 | 1128399.1115 | 2634132.3911 | 1128405.9782 | 2634112.917 | 1128428.8577 | 2634107.3582 | 1128450.1037 | 2634107.6867 | 1128454.6968
3 | 2634107.6867 | 1128454.6968 | 2634103.1349 | 1128461.2967 | 2634100.6989 | 1128468.3977 | 2634096.0532 | 1128488.4647
4 | 2634107.6867 | 1128454.6968 | 2634114.4409 | 1128444.1629 | 2634120.6404 | 1128435.0154 | 2634125.2383 | 1128432.5148
5 | 2634071.268 | 1128517.9013 | 2634073.9959 | 1128510.9354 | 2634077.6557 | 1128506.765 | 2634085.9394 | 1128502.3205 | 2634091.2514 | 1128497.5369 | 2634095.7717 | 1128489.6806 | 2634096.0532 | 1128488.4647
6 | 2634143.1663 | 1128431.7572 | 2634135.6715 | 1128429.4863 | 2634132.0413 | 1128429.7548 | 2634126.9926 | 1128431.5606 | 2634125.2383 | 1128432.5148
7 | 2634242.6819 | 1128374.5723 | 2634255.0833 | 1128364.5391 | 2634260.9087 | 1128362.3126
8 | 2634242.6819 | 1128374.5723 | 2634242.2432 | 1128374.9272 | 2634227.7839 | 1128384.1946 | 2634224.0919 | 1128386.8443
9 | 2634260.9087 | 1128362.3126 | 2634263.252 | 1128361.417 | 2634273.8683 | 1128360.0765 | 2634280.7022 | 1128355.9464 | 2634286.4301 | 1128349.8535 | 2634292.3816 | 1128345.1071 | 2634302.9892 | 1128343.9444 | 2634310.331 | 1128342.8397
10 | 2634260.9087 | 1128362.3126 | 2634195.7387 | 1128253.9147
11 | 2634224.0919 | 1128386.8443 | 2634212.7073 | 1128395.0148 | 2634195.83 | 1128406.8365 | 2634188.2157 | 1128414.2286
12 | 2634326.6776 | 1128339.491 | 2634317.3005 | 1128341.791 | 2634310.331 | 1128342.8397
13 | 2634188.2157 | 1128414.2286 | 2634184.7756 | 1128417.5684 | 2634176.1008 | 1128423.0111 | 2634167.5218 | 1128426.4704
14 | 2634167.5218 | 1128426.4704 | 2634157.3139 | 1128430.5866 | 2634150.6158 | 1128432.5165 | 2634147.6648 | 1128432.5665 | 2634144.5315 | 1128432.1709 | 2634143.1663 | 1128431.7572
15 | 2634220.2897 | 1128602.18 | 2634263.9741 | 1128575.4287 | 2634282.5911 | 1128567.8747 | 2634299.7204 | 1128554.9375
16 | 2634206.4767 | 1128629.1083 | 2634184.8683 | 1128639.8361 | 2634179.2058 | 1128638.5146 | 2634193.4682 | 1128627.145 | 2634209.5809 | 1128608.7379 | 2634220.2897 | 1128602.18
17 | 2634299.7204 | 1128554.9375 | 2634301.4487 | 1128553.6322
18 | 2634206.4767 | 1128629.1083 | 2634272.9737 | 1128685.3849
19 | 2634383.7209 | 1128532.6451 | 2634374.7385 | 1128531.1898 | 2634313.6942 | 1128544.3835 | 2634301.4487 | 1128553.6322
20 | 2634383.7209 | 1128532.6451 | 2634399.7689 | 1128535.2451 | 2634414.121 | 1128532.6142 | 2634428.2017 | 1128523.523 | 2634428.2017 | 1128523.523
21 | 2634383.7209 | 1128532.6451 | 2634402.7814 | 1128585.3007
22 | 2634374.9664 | 1128404.7033 | 2634387.3966 | 1128402.2969 | 2634395.8887 | 1128403.5171
23 | 2634285.4997 | 1128424.3413 | 2634294.7748 | 1128417.6682 | 2634312.0549 | 1128413.6418 | 2634342.5898 | 1128414.4042 | 2634367.0352 | 1128406.2388 | 2634374.9664 | 1128404.7033
24 | 2634395.8887 | 1128403.5171 | 2634402.8783 | 1128404.5214
25 | 2634285.4997 | 1128424.3413 | 2634281.4488 | 1128427.2577
26 | 2634417.9366 | 1128406.6852 | 2634402.8783 | 1128404.5214
27 | 2634281.4488 | 1128427.2577 | 2634257.9994 | 1128444.14 | 2634243.1656 | 1128451.5598 | 2634224.737 | 1128452.9897 | 2634200.9654 | 1128446.9524 | 2634179.2033 | 1128445.2286 | 2634157.723 | 1128449.5429 | 2634140.5352 | 1128459.1063 | 2634126.7865 | 1128474.4672
28 | 2634417.9366 | 1128406.6852 | 2634421.2016 | 1128407.1543
29 | 2634112.6623 | 1128490.439 | 2634126.2 | 1128475.1225 | 2634126.7865 | 1128474.4672
30 | 2634071.268 | 1128517.9013 | 2634075.5232 | 1128517.4361 | 2634083.3936 | 1128515.2571 | 2634090.0514 | 1128512.2486 | 2634098.365 | 1128506.6148 | 2634112.6623 | 1128490.439
31 | 2634437.9132 | 1128406.4316 | 2634436.1538 | 1128406.7984 | 2634429.0421 | 1128408.281 | 2634421.2016 | 1128407.1543
32 | 2634441.7074 | 1128405.6405 | 2634437.9132 | 1128406.4316
33 | 2634441.7074 | 1128405.6405 | 2634484.7398 | 1128389.9442 | 2634502.1451 | 1128389.6766 | 2634508.2706 | 1128390.9993
34 | 2634521.0587 | 1128393.7608 | 2634508.2706 | 1128390.9993
35 | 2634508.2706 | 1128390.9993 | 2634514.7456 | 1128307.6681
36 | 2634521.0587 | 1128393.7608 | 2634531.4388 | 1128396.0023 | 2634549.5983 | 1128399.919 | 2634557.3126 | 1128399.3915
37 | 2634514.7456 | 1128307.6681 | 2634530.9248 | 1128306.4988 | 2634543.7176 | 1128304.7539
38 | 2634428.2017 | 1128523.523 | 2634462.0941 | 1128553.2424
39 | 2634402.7814 | 1128585.3007 | 2634398.5085 | 1128587.7949
40 | 2634462.0941 | 1128553.2424 | 2634489.1847 | 1128531.9743 | 2634492.6288 | 1128529.8837
41 | 2634506.4032 | 1128465.7502 | 2634532.7488 | 1128451.3153 | 2634550.3264 | 1128446.9083
42 | 2634506.4032 | 1128465.7502 | 2634541.3262 | 1128501.6553
43 | 2634601.3655 | 1128429.2338 | 2634579.3139 | 1128436.2291 | 2634569.3441 | 1128437.684 | 2634558.5869 | 1128444.8373 | 2634550.3264 | 1128446.9083
44 | 2634492.6288 | 1128529.8837 | 2634522.8058 | 1128511.5667 | 2634541.3262 | 1128501.6553
45 | 2634370.3233 | 1128604.2473 | 2634398.5085 | 1128587.7949
46 | 2634548.2996 | 1128304.1289 | 2634543.7176 | 1128304.7539
47 | 2634548.2996 | 1128304.1289 | 2634554.5492 | 1128303.2764 | 2634569.4482 | 1128303.4726 | 2634574.7228 | 1128301.1917
48 | 2634665.5138 | 1128292.583 | 2634661.592 | 1128292.6384 | 2634646.2317 | 1128290.9163 | 2634628.1692 | 1128291.5466 | 2634614.1009 | 1128292.9335 | 2634604.4489 | 1128294.0234 | 2634595.5259 | 1128295.6065 | 2634591.5166 | 1128296.1505 | 2634587.4302 | 1128296.6941 | 2634580.3072 | 1128298.7767 | 2634574.7228 | 1128301.1917
49 | 2634696.4819 | 1128389.9093 | 2634665.5138 | 1128292.583
50 | 2634696.4819 | 1128389.9093 | 2634697.8473 | 1128397.6544 | 2634694.3556 | 1128401.9921 | 2634682.1321 | 1128401.4663 | 2634656.2843 | 1128408.2439 | 2634631.0177 | 1128419.8274 | 2634601.3655 | 1128429.2338

## bus_geodata
| x | y | coords
0 | 2634143.5433 | 1128393.9971
1 | 2634140.8813 | 1128399.1115
2 | 2634153.0448 | 1128395.267
3 | 2634107.6867 | 1128454.6968
4 | 2634096.0532 | 1128488.4647
5 | 2634125.2383 | 1128432.5148
6 | 2634242.6819 | 1128374.5723
7 | 2634260.9087 | 1128362.3126
8 | 2634224.0919 | 1128386.8443
9 | 2634310.331 | 1128342.8397
10 | 2634195.7387 | 1128253.9147
11 | 2634188.2157 | 1128414.2286
12 | 2634326.6776 | 1128339.491
13 | 2634167.5218 | 1128426.4704
14 | 2634143.1663 | 1128431.7572
15 | 2634220.2897 | 1128602.18
16 | 2634299.7204 | 1128554.9375
17 | 2634206.4767 | 1128629.1083
18 | 2634301.4487 | 1128553.6322
19 | 2634272.9737 | 1128685.3849
20 | 2634383.721 | 1128532.6451
21 | 2634374.9664 | 1128404.7033
22 | 2634395.8887 | 1128403.5171
23 | 2634285.4997 | 1128424.3413
24 | 2634402.8783 | 1128404.5214
25 | 2634281.4488 | 1128427.2577
26 | 2634417.9366 | 1128406.6852
27 | 2634126.7865 | 1128474.4672
28 | 2634112.6623 | 1128490.439
29 | 2634071.268 | 1128517.9013
30 | 2634421.2016 | 1128407.1543
31 | 2634437.9132 | 1128406.4316
32 | 2634441.7074 | 1128405.6405
33 | 2634508.2706 | 1128390.9993
34 | 2634521.0587 | 1128393.7608
35 | 2634514.7456 | 1128307.6681
36 | 2634428.2017 | 1128523.523
37 | 2634402.7814 | 1128585.3007
38 | 2634462.0941 | 1128553.2424
39 | 2634506.4032 | 1128465.7502
40 | 2634550.3264 | 1128446.9083
41 | 2634541.3262 | 1128501.6553
42 | 2634370.3233 | 1128604.2473
43 | 2634398.5085 | 1128587.7949
44 | 2634543.7176 | 1128304.7539
45 | 2634548.2996 | 1128304.1289
46 | 2634574.7228 | 1128301.1917
47 | 2634665.5138 | 1128292.583
48 | 2634696.4819 | 1128389.9093
49 | 2634492.6288 | 1128529.8837
50 | 2634601.3655 | 1128429.2338
51 | 2634557.3126 | 1128399.3915
52 | 2634441.7074 | 1128405.6405

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1