## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6008-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6008-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6008-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6008-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6008-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6008-1_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6008-1_0_6_node_87 | 0.4 | n |  | TRUE
7 | bus_LV_6008-1_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6008-1_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6008-1_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6008-1_0_6_node_86 | 0.4 | n |  | TRUE
11 | bus_LV_6008-1_0_6_node_88 | 0.4 | n |  | TRUE
12 | bus_LV_6008-1_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6008-1_0_6_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_6008-1_0_6_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_6008-1_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6008-1_0_6_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6008-1_0_6_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_6008-1_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6008-1_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6008-1_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6008-1_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6008-1_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6008-1_0_6_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_6008-1_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6008-1_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6008-1_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6008-1_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6008-1_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6008-1_0_6_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_6008-1_0_6_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_6008-1_0_6_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_6008-1_0_6_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_6008-1_0_6_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_6008-1_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6008-1_0_6_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6008-1_0_6_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_6008-1_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6008-1_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6008-1_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6008-1_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6008-1_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6008-1_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6008-1_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_6008-1_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6008-1_0_6_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_6008-1_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_6008-1_0_6_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_6008-1_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6008-1_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6008-1_0_6_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_6008-1_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_6008-1_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6008-1_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_6008-1_0_6_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6008-1_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6008-1_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6008-1_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6008-1_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_6008-1_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6008-1_0_6_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6008-1_0_6_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_6008-1_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6008-1_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_6008-1_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_6008-1_0_6_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6008-1_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_6008-1_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_6008-1_0_6_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_6008-1_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_6008-1_0_6_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_6008-1_0_6_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_6008-1_0_6_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_6008-1_0_6_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_6008-1_0_6_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_6008-1_0_6_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_6008-1_0_6_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_6008-1_0_6_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_6008-1_0_6_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_6008-1_0_6_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_6008-1_0_6_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_6008-1_0_6_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_6008-1_0_6_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_6008-1_0_6_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_6008-1_0_6_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_6008-1_0_6_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_6008-1_0_6_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_6008-1_0_6_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_6008-1_0_6_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_6008-1_0_6_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_6008-1_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_6008-1_0_6_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_6008-1_0_6_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_6008-1_0_6_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_6008-1_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_MV_86_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6008-1_0_6_load_0 | 0 | 0.026513 | 0.0066449 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6008-1_0_6_load_1 | 1 | 0.037999 | 0.0095233 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6008-1_0_6_load_3 | 3 | 0.02599 | 0.0065138 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6008-1_0_6_load_4 | 4 | 0.009628 | 0.002413 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6008-1_0_6_load_5 | 5 | 0.0084064 | 0.0021069 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6008-1_0_6_load_87 | 6 | 0.0083126 | 0.0020833 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6008-1_0_6_load_6 | 7 | 0.0060294 | 0.0015111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6008-1_0_6_load_8 | 9 | 0.011702 | 0.0029329 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6008-1_0_6_load_86 | 10 | 0.0078568 | 0.0019691 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6008-1_0_6_load_88 | 11 | 0.010172 | 0.0025493 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6008-1_0_6_load_9 | 12 | 0.033454 | 0.0083844 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6008-1_0_6_load_13 | 13 | 0.0093058 | 0.0023323 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6008-1_0_6_load_24 | 14 | 0.012907 | 0.0032347 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6008-1_0_6_load_10 | 15 | 0.0093305 | 0.0023385 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6008-1_0_6_load_14 | 16 | 0.0082839 | 0.0020761 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6008-1_0_6_load_25 | 17 | 0.0079936 | 0.0020034 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6008-1_0_6_load_11 | 18 | 0.0088286 | 0.0022127 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6008-1_0_6_load_12 | 19 | 0.013634 | 0.003417 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6008-1_0_6_load_15 | 20 | 0.0062516 | 0.0015668 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6008-1_0_6_load_16 | 21 | 0.0060149 | 0.0015075 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6008-1_0_6_load_22 | 22 | 0.0078839 | 0.0019759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6008-1_0_6_load_23 | 23 | 0.0066469 | 0.0016659 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6008-1_0_6_load_17 | 24 | 0.0071599 | 0.0017944 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6008-1_0_6_load_18 | 25 | 0.013709 | 0.0034359 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6008-1_0_6_load_20 | 27 | 0.0096221 | 0.0024115 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6008-1_0_6_load_90 | 30 | 0.0043377 | 0.0010871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6008-1_0_6_load_94 | 31 | 0.012047 | 0.0030192 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6008-1_0_6_load_93 | 33 | 0.0062477 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6008-1_0_6_load_26 | 34 | 0.0065567 | 0.0016433 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6008-1_0_6_load_38 | 35 | 0.0046529 | 0.0011661 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6008-1_0_6_load_27 | 37 | 0.011938 | 0.002992 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6008-1_0_6_load_28 | 38 | 0.0049228 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6008-1_0_6_load_29 | 39 | 0.0017208 | 0.00043128 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6008-1_0_6_load_30 | 40 | 0.0062121 | 0.0015569 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6008-1_0_6_load_31 | 41 | 0.0066702 | 0.0016717 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6008-1_0_6_load_32 | 42 | 0.010093 | 0.0025297 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6008-1_0_6_load_33 | 43 | 0.0022024 | 0.00055197 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6008-1_0_6_load_34 | 44 | 0.0075357 | 0.0018886 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6008-1_0_6_load_62 | 45 | 0.003343 | 0.00083784 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6008-1_0_6_load_35 | 46 | 0.006081 | 0.001524 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6008-1_0_6_load_37 | 49 | 0.0038737 | 0.00097085 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6008-1_0_6_load_67 | 50 | 0.006327 | 0.0015857 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6008-1_0_6_load_63 | 51 | 0.006597 | 0.0016534 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6008-1_0_6_load_39 | 52 | 0.0035543 | 0.0008908 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6008-1_0_6_load_41 | 54 | 0.0082357 | 0.0020641 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6008-1_0_6_load_43 | 56 | 0.0033015 | 0.00082742 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6008-1_0_6_load_44 | 57 | 0.0073037 | 0.0018305 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6008-1_0_6_load_45 | 58 | 0.0026746 | 0.00067033 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6008-1_0_6_load_48 | 60 | 0.0033513 | 0.00083991 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6008-1_0_6_load_47 | 61 | 0.0041006 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6008-1_0_6_load_49 | 62 | 0.0028723 | 0.00071988 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6008-1_0_6_load_50 | 63 | 0.0059624 | 0.0014943 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6008-1_0_6_load_54 | 64 | 0.0041078 | 0.0010295 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6008-1_0_6_load_51 | 65 | 0.0010132 | 0.00025392 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6008-1_0_6_load_52 | 66 | 0.0071204 | 0.0017845 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6008-1_0_6_load_53 | 67 | 0.0073952 | 0.0018534 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6008-1_0_6_load_69 | 68 | 0.0011887 | 0.00029792 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6008-1_0_6_load_70 | 69 | 0.0014211 | 0.00035615 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6008-1_0_6_load_71 | 70 | 0.0014245 | 0.00035701 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6008-1_0_6_load_72 | 71 | 0.0012684 | 0.00031789 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6008-1_0_6_load_73 | 72 | 0.0011958 | 0.0002997 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6008-1_0_6_load_74 | 73 | 0.0013346 | 0.00033449 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6008-1_0_6_load_75 | 74 | 0.00091298 | 0.00022881 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6008-1_0_6_load_59 | 75 | 0.0049328 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6008-1_0_6_load_66 | 76 | 0.0024436 | 0.00061242 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6008-1_0_6_load_57 | 77 | 0.0047033 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6008-1_0_6_load_64 | 78 | 0.0032049 | 0.00080323 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6008-1_0_6_load_56 | 79 | 0.002463 | 0.00061727 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6008-1_0_6_load_58 | 80 | 0.0039946 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6008-1_0_6_load_60 | 81 | 0.0057296 | 0.001436 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6008-1_0_6_load_61 | 82 | 0.0042464 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6008-1_0_6_load_84 | 83 | 0.0041514 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6008-1_0_6_load_81 | 84 | 0.0047168 | 0.0011821 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6008-1_0_6_load_68 | 85 | 0.0024058 | 0.00060295 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6008-1_0_6_load_85 | 86 | 0.006561 | 0.0016443 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6008-1_0_6_load_82 | 87 | 0.0032856 | 0.00082344 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6008-1_0_6_load_76 | 88 | 0.0036565 | 0.00091641 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6008-1_0_6_load_77 | 89 | 0.0026121 | 0.00065465 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6008-1_0_6_load_80 | 92 | 0.003438 | 0.00086165 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6008-1_0_6_load_83 | 93 | 0.0031516 | 0.00078986 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6008-1_0_6_load_91 | 94 | 0.0024098 | 0.00060396 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6008-1_0_6_line_0 |  | 0 | 1 | 0.0013905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6008-1_0_6_line_1 |  | 0 | 2 | 0.040477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6008-1_0_6_line_2 |  | 1 | 3 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6008-1_0_6_line_3 |  | 2 | 4 | 0.006399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6008-1_0_6_line_4 |  | 2 | 5 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6008-1_0_6_line_5 |  | 3 | 6 | 0.069665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6008-1_0_6_line_6 |  | 4 | 7 | 0.030687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6008-1_0_6_line_7 |  | 4 | 8 | 0.046578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6008-1_0_6_line_8 |  | 5 | 9 | 0.00046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6008-1_0_6_line_9 |  | 6 | 10 | 0.01713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6008-1_0_6_line_10 |  | 7 | 12 | 0.011479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6008-1_0_6_line_11 |  | 8 | 13 | 0.0092186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6008-1_0_6_line_12 |  | 9 | 14 | 0.024644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6008-1_0_6_line_13 |  | 10 | 11 | 0.0081917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6008-1_0_6_line_14 |  | 12 | 15 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6008-1_0_6_line_15 |  | 13 | 16 | 0.027116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6008-1_0_6_line_16 |  | 14 | 17 | 0.026011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6008-1_0_6_line_17 |  | 16 | 22 | 0.013777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6008-1_0_6_line_18 |  | 17 | 34 | 0.017441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6008-1_0_6_line_19 |  | 18 | 19 | 0.010827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6008-1_0_6_line_20 |  | 19 | 20 | 0.064147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6008-1_0_6_line_21 |  | 20 | 21 | 0.019038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6008-1_0_6_line_22 |  | 21 | 24 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6008-1_0_6_line_23 |  | 22 | 23 | 0.0019024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6008-1_0_6_line_24 |  | 23 | 31 | 0.038526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6008-1_0_6_line_25 |  | 24 | 25 | 0.0093691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6008-1_0_6_line_26 |  | 25 | 26 | 0.058958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6008-1_0_6_line_27 |  | 26 | 27 | 0.011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6008-1_0_6_line_28 |  | 27 | 28 | 0.076157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6008-1_0_6_line_29 |  | 28 | 29 | 0.085249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6008-1_0_6_line_30 |  | 29 | 30 | 0.070896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6008-1_0_6_line_31 |  | 30 | 94 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6008-1_0_6_line_32 |  | 31 | 32 | 0.023115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6008-1_0_6_line_33 |  | 32 | 33 | 0.032584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6008-1_0_6_line_34 |  | 34 | 35 | 0.0021013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6008-1_0_6_line_35 |  | 35 | 36 | 0.010165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6008-1_0_6_line_36 |  | 36 | 50 | 0.011729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6008-1_0_6_line_37 |  | 36 | 51 | 0.0088183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6008-1_0_6_line_38 |  | 37 | 38 | 0.019316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6008-1_0_6_line_39 |  | 37 | 39 | 0.029925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6008-1_0_6_line_40 |  | 38 | 40 | 0.0022607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6008-1_0_6_line_41 |  | 39 | 41 | 0.025342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6008-1_0_6_line_42 |  | 40 | 42 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6008-1_0_6_line_43 |  | 41 | 43 | 0.00010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6008-1_0_6_line_44 |  | 42 | 44 | 0.012485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6008-1_0_6_line_45 |  | 43 | 45 | 0.02025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6008-1_0_6_line_46 |  | 44 | 46 | 0.0087586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6008-1_0_6_line_47 |  | 45 | 47 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6008-1_0_6_line_48 |  | 46 | 48 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6008-1_0_6_line_49 |  | 47 | 75 | 0.0077576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6008-1_0_6_line_50 |  | 47 | 76 | 0.016396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6008-1_0_6_line_51 |  | 47 | 64 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6008-1_0_6_line_52 |  | 48 | 49 | 0.052194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6008-1_0_6_line_53 |  | 50 | 85 | 0.0061532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6008-1_0_6_line_54 |  | 51 | 78 | 0.0016041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6008-1_0_6_line_55 |  | 52 | 53 | 0.044879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6008-1_0_6_line_56 |  | 52 | 54 | 0.019375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6008-1_0_6_line_57 |  | 53 | 55 | 0.03401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6008-1_0_6_line_58 |  | 53 | 56 | 0.017469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6008-1_0_6_line_59 |  | 55 | 57 | 0.0060278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6008-1_0_6_line_60 |  | 55 | 58 | 0.020642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6008-1_0_6_line_61 |  | 56 | 59 | 0.026247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6008-1_0_6_line_62 |  | 57 | 60 | 0.0031576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6008-1_0_6_line_63 |  | 58 | 61 | 0.0047182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6008-1_0_6_line_64 |  | 59 | 62 | 0.028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6008-1_0_6_line_65 |  | 59 | 63 | 0.02675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6008-1_0_6_line_66 |  | 60 | 64 | 0.011083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6008-1_0_6_line_67 |  | 62 | 65 | 0.060858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6008-1_0_6_line_68 |  | 65 | 66 | 0.051624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6008-1_0_6_line_69 |  | 66 | 67 | 0.0062781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6008-1_0_6_line_70 |  | 67 | 68 | 0.13853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6008-1_0_6_line_71 |  | 68 | 69 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6008-1_0_6_line_72 |  | 69 | 70 | 0.054791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6008-1_0_6_line_73 |  | 70 | 71 | 0.059338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6008-1_0_6_line_74 |  | 71 | 72 | 0.00093511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6008-1_0_6_line_75 |  | 72 | 73 | 0.004675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6008-1_0_6_line_76 |  | 73 | 74 | 0.018766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6008-1_0_6_line_77 |  | 75 | 77 | 0.0027742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6008-1_0_6_line_78 |  | 76 | 78 | 0.0091658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_6008-1_0_6_line_79 |  | 77 | 79 | 0.0061833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6008-1_0_6_line_80 |  | 79 | 80 | 0.0025941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6008-1_0_6_line_81 |  | 80 | 81 | 0.0077327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6008-1_0_6_line_82 |  | 81 | 82 | 0.0057629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6008-1_0_6_line_83 |  | 83 | 84 | 0.016754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6008-1_0_6_line_84 |  | 84 | 91 | 0.011016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6008-1_0_6_line_85 |  | 85 | 86 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6008-1_0_6_line_86 |  | 86 | 87 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_6008-1_0_6_line_87 |  | 87 | 91 | 0.012354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6008-1_0_6_line_88 |  | 88 | 89 | 0.00081653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_6008-1_0_6_line_89 |  | 88 | 90 | 0.008799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_6008-1_0_6_line_90 |  | 89 | 91 | 0.0070842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_6008-1_0_6_line_91 |  | 90 | 92 | 0.0053687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_6008-1_0_6_line_92 |  | 92 | 93 | 0.012157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_6008-1_0_6_line_93 |  | 93 | 94 | 0.010403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6008-1_0_6_trafo_24 | 0.63 MVA 20/0.4 kV | 95 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2644337.336 | 1129145.8645 | 2644338.4128 | 1129146.7443
1 | 2644334.3048 | 1129114.5464 | 2644332.2176 | 1129120.801 | 2644323.7417 | 1129134.7572 | 2644337.336 | 1129145.8645
2 | 2644349.5935 | 1129155.8796 | 2644338.4128 | 1129146.7443
3 | 2644329.5059 | 1129110.298 | 2644334.3048 | 1129114.5464
4 | 2644334.3048 | 1129114.5464 | 2644347.8173 | 1129122.0148
5 | 2644349.5935 | 1129155.8796 | 2644326.4987 | 1129221.6049
6 | 2644329.5059 | 1129110.298 | 2644312.5737 | 1129130.2842 | 2644309.2098 | 1129127.3065
7 | 2644329.5059 | 1129110.298 | 2644293.9913 | 1129080.0446
8 | 2644348.2199 | 1129122.2374 | 2644347.8173 | 1129122.0148
9 | 2644338.4745 | 1129233.8467 | 2644330.8167 | 1129225.7557 | 2644326.4987 | 1129221.6049
10 | 2644300.6146 | 1129119.6982 | 2644309.2098 | 1129127.3065
11 | 2644293.9913 | 1129080.0446 | 2644301.6784 | 1129074.9563
12 | 2644348.2199 | 1129122.2374 | 2644369.789 | 1129134.1587
13 | 2644338.4745 | 1129233.8467 | 2644344.1055 | 1129239.7961
14 | 2644300.6146 | 1129119.6982 | 2644287.6922 | 1129108.2596
15 | 2644301.6784 | 1129074.9563 | 2644324.2896 | 1129059.9895 | 2644324.2896 | 1129059.9895
16 | 2644369.789 | 1129134.1587 | 2644377.7225 | 1129138.5436 | 2644393.2173 | 1129145.4065
17 | 2644318.2478 | 1129047.6083 | 2644324.2896 | 1129059.9895
18 | 2644409.8204 | 1129150.4942 | 2644399.2374 | 1129148.073 | 2644393.2173 | 1129145.4065
19 | 2644249.398 | 1129179.7918 | 2644241.5302 | 1129172.3543
20 | 2644226.5997 | 1129239.7509 | 2644249.398 | 1129179.7918
21 | 2644226.5997 | 1129239.7509 | 2644240.4458 | 1129252.8181
22 | 2644240.4458 | 1129252.8181 | 2644242.6552 | 1129254.9032 | 2644254.4413 | 1129266.03
23 | 2644317.4135 | 1129045.8986 | 2644318.2478 | 1129047.6083
24 | 2644317.4135 | 1129045.8986 | 2644282.4736 | 1129029.6678
25 | 2644254.4413 | 1129266.03 | 2644261.2541 | 1129272.4616
26 | 2644303.0546 | 1129314.031 | 2644272.0632 | 1129282.6659 | 2644261.2541 | 1129272.4616
27 | 2644303.0546 | 1129314.031 | 2644311.2927 | 1129322.7526
28 | 2644357.4086 | 1129382.2419 | 2644350.9332 | 1129366.0862 | 2644341.2891 | 1129354.5096 | 2644311.2927 | 1129322.7526
29 | 2644357.4086 | 1129382.2419 | 2644377.6038 | 1129351.0629 | 2644380.8991 | 1129347.085 | 2644398.2697 | 1129326.0905 | 2644408.28 | 1129314.0133
30 | 2644408.28 | 1129314.0133 | 2644417.3193 | 1129301.9957 | 2644443.6318 | 1129255.0426 | 2644444.8005 | 1129253.3766
31 | 2644450.8455 | 1129244.7599 | 2644444.8005 | 1129253.3766
32 | 2644271.0424 | 1129009.5628 | 2644282.4736 | 1129029.6678
33 | 2644271.0424 | 1129009.5628 | 2644303.1268 | 1129003.3722
34 | 2644409.8204 | 1129150.4942 | 2644411.8688 | 1129150.9628
35 | 2644421.7782 | 1129153.2299 | 2644411.8688 | 1129150.9628
36 | 2644421.7782 | 1129153.2299 | 2644431.3081 | 1129160.068
37 | 2644421.7782 | 1129153.2299 | 2644428.7397 | 1129147.817
38 | 2644388.219 | 1129069.6964 | 2644381.8288 | 1129051.4675
39 | 2644388.219 | 1129069.6964 | 2644388.219 | 1129069.6964 | 2644396.9827 | 1129085.8245 | 2644405.1301 | 1129094.039
40 | 2644381.081 | 1129049.3342 | 2644381.8288 | 1129051.4675
41 | 2644422.9756 | 1129112.0318 | 2644405.1301 | 1129094.039
42 | 2644381.081 | 1129049.3342 | 2644373.8439 | 1129028.6894
43 | 2644423.0528 | 1129112.1097 | 2644422.9756 | 1129112.0318
44 | 2644370.4491 | 1129016.7086 | 2644371.4225 | 1129021.7819 | 2644373.8439 | 1129028.6894
45 | 2644438.4399 | 1129125.0684 | 2644431.9134 | 1129121.0433 | 2644423.0528 | 1129112.1097
46 | 2644370.4491 | 1129016.7086 | 2644368.7988 | 1129008.1069
47 | 2644447.4265 | 1129128.5945 | 2644444.7201 | 1129128.9414 | 2644438.4399 | 1129125.0684
48 | 2644365.034 | 1128988.4847 | 2644368.7988 | 1129008.1069
49 | 2644447.4265 | 1129128.5945 | 2644452.7156 | 1129134.2696
50 | 2644447.4265 | 1129128.5945 | 2644443.7112 | 1129132.0578 | 2644438.9159 | 1129139.9044 | 2644437.2419 | 1129141.2061
51 | 2644447.4265 | 1129128.5945 | 2644450.926 | 1129112.5786 | 2644451.0357 | 1129112.0566
52 | 2644417.1569 | 1128984.2204 | 2644390.7878 | 1128985.2385 | 2644365.034 | 1128988.4847
53 | 2644436.2566 | 1129163.7098 | 2644436.0696 | 1129163.4845 | 2644431.3081 | 1129160.068
54 | 2644428.7397 | 1129147.817 | 2644430.006 | 1129146.8323
55 | 2644465.9801 | 1129059.9622 | 2644449.8026 | 1129040.0776 | 2644442.5207 | 1129022.2638
56 | 2644435.1897 | 1129004.3297 | 2644442.5207 | 1129022.2638
57 | 2644455.2047 | 1129092.2218 | 2644461.6557 | 1129072.9149 | 2644465.9801 | 1129059.9622
58 | 2644465.9801 | 1129059.9622 | 2644479.0144 | 1129048.3319
59 | 2644455.2047 | 1129092.2218 | 2644453.9648 | 1129098.1207
60 | 2644455.2047 | 1129092.2218 | 2644446.7654 | 1129073.3841
61 | 2644498.5952 | 1129030.8537 | 2644493.5237 | 1129035.3854 | 2644479.0144 | 1129048.3319
62 | 2644453.9648 | 1129098.1207 | 2644453.3153 | 1129101.2108
63 | 2644444.8364 | 1129069.0782 | 2644446.7654 | 1129073.3841
64 | 2644498.5952 | 1129030.8537 | 2644502.9454 | 1129026.9725 | 2644521.2636 | 1129013.4364
65 | 2644521.9177 | 1129043.9319 | 2644513.0799 | 1129037.8971 | 2644498.5952 | 1129030.8537
66 | 2644453.3153 | 1129101.2108 | 2644451.0357 | 1129112.0566
67 | 2644521.2636 | 1129013.4364 | 2644538.2038 | 1129000.9185 | 2644548.4075 | 1128995.1129 | 2644560.2504 | 1128991.6427 | 2644575.3968 | 1128987.4563
68 | 2644575.3968 | 1128987.4563 | 2644579.5641 | 1128986.3044 | 2644594.3434 | 1128979.5098 | 2644602.23 | 1128971.4082 | 2644607.5541 | 1128963.977 | 2644610.873 | 1128953.9248
69 | 2644612.8413 | 1128947.9633 | 2644612.8413 | 1128947.9633 | 2644610.873 | 1128953.9248
70 | 2644612.8413 | 1128947.9633 | 2644504.252 | 1128861.9419
71 | 2644512.1139 | 1128845.3596 | 2644504.252 | 1128861.9419 | 2644504.252 | 1128861.9419
72 | 2644535.5863 | 1128795.8514 | 2644512.1139 | 1128845.3596
73 | 2644535.5863 | 1128795.8514 | 2644539.4266 | 1128787.7514 | 2644563.245 | 1128754.5431 | 2644565.6695 | 1128745.3506
74 | 2644565.6695 | 1128745.3506 | 2644565.9079 | 1128744.4464
75 | 2644565.9079 | 1128744.4464 | 2644565.9079 | 1128744.4464 | 2644565.3924 | 1128739.7999
76 | 2644565.3924 | 1128739.7999 | 2644564.3909 | 1128730.7726 | 2644560.018 | 1128722.1328
77 | 2644452.7156 | 1129134.2696 | 2644453.7572 | 1129136.8408
78 | 2644437.2419 | 1129141.2061 | 2644430.006 | 1129146.8323
79 | 2644456.0789 | 1129142.5717 | 2644453.7572 | 1129136.8408
80 | 2644456.0789 | 1129142.5717 | 2644457.0529 | 1129144.9761
81 | 2644459.9564 | 1129152.143 | 2644457.0529 | 1129144.9761
82 | 2644460.0874 | 1129157.9045 | 2644459.9564 | 1129152.143 | 2644459.9564 | 1129152.143
83 | 2644460.0828 | 1129195.948 | 2644460.7074 | 1129185.1655 | 2644460.572 | 1129179.2131
84 | 2644459.4457 | 1129206.9452 | 2644460.0828 | 1129195.948
85 | 2644436.2566 | 1129163.7098 | 2644440.7656 | 1129169.1441 | 2644445.7811 | 1129180.2349
86 | 2644453.0857 | 1129196.3874 | 2644445.7811 | 1129180.2349
87 | 2644459.4457 | 1129206.9452 | 2644454.3644 | 1129199.215 | 2644453.0857 | 1129196.3874
88 | 2644462.6015 | 1129213.2876 | 2644462.9653 | 1129214.0187
89 | 2644466.885 | 1129221.8964 | 2644462.9653 | 1129214.0187
90 | 2644459.4457 | 1129206.9452 | 2644462.6015 | 1129213.2876
91 | 2644466.885 | 1129221.8964 | 2644463.8018 | 1129226.2914
92 | 2644456.82 | 1129236.2435 | 2644463.8018 | 1129226.2914
93 | 2644450.8455 | 1129244.7599 | 2644456.82 | 1129236.2435

## bus_geodata
| x | y | coords
0 | 2644337.336 | 1129145.8645
1 | 2644338.4128 | 1129146.7443
2 | 2644334.3048 | 1129114.5464
3 | 2644349.5935 | 1129155.8796
4 | 2644329.5059 | 1129110.298
5 | 2644347.8173 | 1129122.0148
6 | 2644326.4987 | 1129221.6049
7 | 2644309.2098 | 1129127.3065
8 | 2644293.9913 | 1129080.0446
9 | 2644348.2199 | 1129122.2374
10 | 2644338.4745 | 1129233.8467
11 | 2644344.1055 | 1129239.7961
12 | 2644300.6146 | 1129119.6982
13 | 2644301.6784 | 1129074.9563
14 | 2644369.789 | 1129134.1587
15 | 2644287.6922 | 1129108.2596
16 | 2644324.2896 | 1129059.9895
17 | 2644393.2173 | 1129145.4065
18 | 2644241.5302 | 1129172.3543
19 | 2644249.398 | 1129179.7918
20 | 2644226.5997 | 1129239.7509
21 | 2644240.4458 | 1129252.8181
22 | 2644318.2478 | 1129047.6083
23 | 2644317.4135 | 1129045.8986
24 | 2644254.4413 | 1129266.03
25 | 2644261.2541 | 1129272.4616
26 | 2644303.0546 | 1129314.031
27 | 2644311.2927 | 1129322.7526
28 | 2644357.4086 | 1129382.2419
29 | 2644408.28 | 1129314.0133
30 | 2644444.8005 | 1129253.3766
31 | 2644282.4736 | 1129029.6678
32 | 2644271.0424 | 1129009.5628
33 | 2644303.1268 | 1129003.3722
34 | 2644409.8204 | 1129150.4942
35 | 2644411.8688 | 1129150.9628
36 | 2644421.7782 | 1129153.2299
37 | 2644388.219 | 1129069.6964
38 | 2644381.8288 | 1129051.4675
39 | 2644405.1301 | 1129094.039
40 | 2644381.081 | 1129049.3342
41 | 2644422.9756 | 1129112.0318
42 | 2644373.8439 | 1129028.6894
43 | 2644423.0528 | 1129112.1097
44 | 2644370.4491 | 1129016.7086
45 | 2644438.4399 | 1129125.0684
46 | 2644368.7988 | 1129008.1069
47 | 2644447.4265 | 1129128.5945
48 | 2644365.034 | 1128988.4847
49 | 2644417.1569 | 1128984.2204
50 | 2644431.3081 | 1129160.068
51 | 2644428.7397 | 1129147.817
52 | 2644442.5207 | 1129022.2638
53 | 2644465.9801 | 1129059.9622
54 | 2644435.1897 | 1129004.3297
55 | 2644455.2047 | 1129092.2218
56 | 2644479.0144 | 1129048.3319
57 | 2644453.9648 | 1129098.1207
58 | 2644446.7654 | 1129073.3841
59 | 2644498.5952 | 1129030.8537
60 | 2644453.3153 | 1129101.2108
61 | 2644444.8364 | 1129069.0782
62 | 2644521.2636 | 1129013.4364
63 | 2644521.9177 | 1129043.9319
64 | 2644451.0358 | 1129112.0566
65 | 2644575.3968 | 1128987.4563
66 | 2644610.873 | 1128953.9248
67 | 2644612.8413 | 1128947.9633
68 | 2644504.252 | 1128861.9419
69 | 2644512.1139 | 1128845.3596
70 | 2644535.5863 | 1128795.8514
71 | 2644565.6695 | 1128745.3506
72 | 2644565.9079 | 1128744.4464
73 | 2644565.3924 | 1128739.7999
74 | 2644560.018 | 1128722.1328
75 | 2644452.7156 | 1129134.2696
76 | 2644437.2419 | 1129141.2061
77 | 2644453.7572 | 1129136.8408
78 | 2644430.006 | 1129146.8323
79 | 2644456.0789 | 1129142.5717
80 | 2644457.0529 | 1129144.9761
81 | 2644459.9564 | 1129152.143
82 | 2644460.0874 | 1129157.9045
83 | 2644460.572 | 1129179.2131
84 | 2644460.0828 | 1129195.948
85 | 2644436.2566 | 1129163.7098
86 | 2644445.7811 | 1129180.2349
87 | 2644453.0857 | 1129196.3874
88 | 2644462.9653 | 1129214.0187
89 | 2644462.6015 | 1129213.2876
90 | 2644466.885 | 1129221.8964
91 | 2644459.4457 | 1129206.9452
92 | 2644463.8018 | 1129226.2914
93 | 2644456.82 | 1129236.2435
94 | 2644450.8455 | 1129244.7599
95 | 2644334.3048 | 1129114.5464

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1