## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6008-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6008-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6008-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6008-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6008-7_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_6008-7_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6008-7_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_6008-7_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6008-7_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6008-7_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6008-7_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6008-7_0_4_node_106 | 0.4 | n |  | TRUE
12 | bus_LV_6008-7_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6008-7_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6008-7_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_6008-7_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6008-7_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6008-7_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_6008-7_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6008-7_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6008-7_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6008-7_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_6008-7_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_6008-7_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_6008-7_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6008-7_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6008-7_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_6008-7_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_6008-7_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6008-7_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6008-7_0_4_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_6008-7_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_6008-7_0_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_6008-7_0_4_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_6008-7_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6008-7_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6008-7_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6008-7_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6008-7_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_6008-7_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_6008-7_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_6008-7_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6008-7_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6008-7_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6008-7_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6008-7_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6008-7_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6008-7_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_6008-7_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_6008-7_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6008-7_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6008-7_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6008-7_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6008-7_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6008-7_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6008-7_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6008-7_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_6008-7_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6008-7_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6008-7_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6008-7_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6008-7_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6008-7_0_4_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6008-7_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_6008-7_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_6008-7_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6008-7_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_6008-7_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_6008-7_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_6008-7_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_6008-7_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_6008-7_0_4_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_6008-7_0_4_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_6008-7_0_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_6008-7_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_6008-7_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6008-7_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_6008-7_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_6008-7_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_6008-7_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_6008-7_0_4_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_6008-7_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_6008-7_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_6008-7_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_6008-7_0_4_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_6008-7_0_4_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_6008-7_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_6008-7_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_6008-7_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_6008-7_0_4_node_107 | 0.4 | n |  | TRUE
90 | bus_LV_6008-7_0_4_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_6008-7_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_6008-7_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_6008-7_0_4_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_6008-7_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_6008-7_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_6008-7_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_6008-7_0_4_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_6008-7_0_4_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_6008-7_0_4_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_6008-7_0_4_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_6008-7_0_4_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_6008-7_0_4_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_6008-7_0_4_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_6008-7_0_4_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_6008-7_0_4_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_6008-7_0_4_node_105 | 0.4 | n |  | TRUE
107 | bus_MV_86_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6008-7_0_4_load_0 | 0 | 0.0044925 | 0.0011259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6008-7_0_4_load_1 | 1 | 0.00043741 | 0.00010963 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6008-7_0_4_load_4 | 5 | 0.0011824 | 0.00029634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6008-7_0_4_load_9 | 6 | 0.0018253 | 0.00045746 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6008-7_0_4_load_5 | 7 | 0.00055628 | 0.00013942 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6008-7_0_4_load_13 | 10 | 0.00041854 | 0.00010489 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6008-7_0_4_load_106 | 11 | 0.0013036 | 0.00032671 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6008-7_0_4_load_16 | 13 | 0.00040532 | 0.00010158 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6008-7_0_4_load_17 | 14 | 0.0015208 | 0.00038116 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6008-7_0_4_load_7 | 15 | 0.0011601 | 0.00029076 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6008-7_0_4_load_15 | 16 | 0.0012187 | 0.00030543 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6008-7_0_4_load_18 | 17 | 0.0015388 | 0.00038566 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6008-7_0_4_load_8 | 18 | 0.0024015 | 0.00060188 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6008-7_0_4_load_19 | 19 | 0.0021585 | 0.00054098 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6008-7_0_4_load_20 | 20 | 0.0024362 | 0.00061058 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6008-7_0_4_load_23 | 22 | 0.002038 | 0.00051077 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6008-7_0_4_load_26 | 23 | 0.0023517 | 0.00058939 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6008-7_0_4_load_21 | 24 | 0.0043445 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6008-7_0_4_load_14 | 25 | 0.00055072 | 0.00013802 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6008-7_0_4_load_28 | 26 | 0.0045969 | 0.0011521 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6008-7_0_4_load_27 | 27 | 0.0042191 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6008-7_0_4_load_24 | 28 | 0.0083945 | 0.0021039 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6008-7_0_4_load_25 | 29 | 0.0040416 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6008-7_0_4_load_55 | 30 | 0.0019016 | 0.00047659 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6008-7_0_4_load_76 | 32 | 0.003824 | 0.00095838 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6008-7_0_4_load_68 | 33 | 0.003777 | 0.0009466 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6008-7_0_4_load_29 | 34 | 0.013127 | 0.0032901 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6008-7_0_4_load_30 | 35 | 0.010311 | 0.0025841 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6008-7_0_4_load_31 | 36 | 0.0075955 | 0.0019036 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6008-7_0_4_load_34 | 39 | 0.0038868 | 0.00097412 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6008-7_0_4_load_35 | 40 | 0.0084684 | 0.0021224 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6008-7_0_4_load_36 | 41 | 0.0040376 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6008-7_0_4_load_37 | 42 | 0.0044168 | 0.001107 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6008-7_0_4_load_38 | 43 | 0.00381 | 0.00095487 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6008-7_0_4_load_39 | 44 | 0.0024766 | 0.00062068 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6008-7_0_4_load_40 | 45 | 0.003816 | 0.00095638 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6008-7_0_4_load_50 | 48 | 0.0012198 | 0.0003057 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6008-7_0_4_load_41 | 49 | 0.0039449 | 0.00098869 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6008-7_0_4_load_42 | 50 | 0.0035752 | 0.00089602 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6008-7_0_4_load_43 | 51 | 0.0026508 | 0.00066435 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6008-7_0_4_load_44 | 52 | 0.0012629 | 0.00031652 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6008-7_0_4_load_45 | 53 | 0.0013291 | 0.0003331 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6008-7_0_4_load_46 | 54 | 0.0064851 | 0.0016253 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6008-7_0_4_load_47 | 55 | 0.0028138 | 0.0007052 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6008-7_0_4_load_51 | 56 | 0.0011188 | 0.00028041 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6008-7_0_4_load_53 | 58 | 0.0021158 | 0.00053027 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6008-7_0_4_load_57 | 59 | 0.0054196 | 0.0013583 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6008-7_0_4_load_58 | 60 | 0.0030068 | 0.00075357 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6008-7_0_4_load_63 | 61 | 0.01029 | 0.0025788 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6008-7_0_4_load_60 | 62 | 0.0032063 | 0.00080358 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6008-7_0_4_load_56 | 63 | 0.0050224 | 0.0012587 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6008-7_0_4_load_59 | 64 | 0.0040742 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6008-7_0_4_load_65 | 65 | 0.0058064 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6008-7_0_4_load_61 | 66 | 0.0042513 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6008-7_0_4_load_62 | 68 | 0.0018496 | 0.00046356 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6008-7_0_4_load_64 | 69 | 0.012148 | 0.0030447 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6008-7_0_4_load_79 | 70 | 0.0060688 | 0.001521 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6008-7_0_4_load_77 | 71 | 0.0038354 | 0.00096124 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6008-7_0_4_load_78 | 72 | 0.0033379 | 0.00083656 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6008-7_0_4_load_80 | 73 | 0.0044063 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6008-7_0_4_load_71 | 75 | 0.0092481 | 0.0023178 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6008-7_0_4_load_69 | 76 | 0.0040777 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6008-7_0_4_load_70 | 78 | 0.0023396 | 0.00058636 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6008-7_0_4_load_83 | 79 | 0.0053665 | 0.001345 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6008-7_0_4_load_73 | 81 | 0.006759 | 0.001694 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6008-7_0_4_load_75 | 82 | 0.0038147 | 0.00095605 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6008-7_0_4_load_81 | 83 | 0.0035265 | 0.00088383 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6008-7_0_4_load_95 | 84 | 0.0034215 | 0.0008575 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6008-7_0_4_load_96 | 85 | 0.0037805 | 0.00094747 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6008-7_0_4_load_86 | 86 | 0.0055546 | 0.0013921 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6008-7_0_4_load_85 | 87 | 0.0061325 | 0.0015369 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6008-7_0_4_load_82 | 88 | 0.0088438 | 0.0022165 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6008-7_0_4_load_107 | 89 | 0.0098297 | 0.0024635 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6008-7_0_4_load_97 | 90 | 0.0031805 | 0.00079711 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6008-7_0_4_load_90 | 91 | 0.0014382 | 0.00036044 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6008-7_0_4_load_88 | 92 | 0.0065957 | 0.001653 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6008-7_0_4_load_87 | 93 | 0.0048806 | 0.0012232 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6008-7_0_4_load_89 | 94 | 0.0013865 | 0.0003475 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6008-7_0_4_load_91 | 95 | 0.003428 | 0.00085914 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6008-7_0_4_load_92 | 96 | 0.0014216 | 0.00035628 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6008-7_0_4_load_93 | 97 | 0.0014813 | 0.00037124 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6008-7_0_4_load_94 | 98 | 0.0018386 | 0.00046079 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6008-7_0_4_load_100 | 99 | 0.0012459 | 0.00031226 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6008-7_0_4_load_98 | 100 | 0.0021756 | 0.00054526 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6008-7_0_4_load_99 | 101 | 0.0032133 | 0.00080533 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6008-7_0_4_load_102 | 103 | 0.0021897 | 0.0005488 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6008-7_0_4_load_103 | 104 | 0.0029016 | 0.00072722 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6008-7_0_4_load_104 | 105 | 0.0052056 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6008-7_0_4_load_105 | 106 | 0.0045305 | 0.0011354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6008-7_0_4_line_0 |  | 0 | 1 | 0.046138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6008-7_0_4_line_1 |  | 0 | 2 | 0.0070027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6008-7_0_4_line_2 |  | 1 | 3 | 0.02268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6008-7_0_4_line_3 |  | 1 | 4 | 0.046135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6008-7_0_4_line_4 |  | 2 | 5 | 0.029823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6008-7_0_4_line_5 |  | 3 | 7 | 0.013109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6008-7_0_4_line_6 |  | 4 | 8 | 0.019457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6008-7_0_4_line_7 |  | 4 | 6 | 0.052391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6008-7_0_4_line_8 |  | 5 | 12 | 0.0029596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6008-7_0_4_line_9 |  | 7 | 13 | 0.035085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6008-7_0_4_line_10 |  | 8 | 9 | 0.015999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6008-7_0_4_line_11 |  | 8 | 10 | 0.0016271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6008-7_0_4_line_12 |  | 9 | 11 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6008-7_0_4_line_13 |  | 12 | 14 | 0.042413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6008-7_0_4_line_14 |  | 12 | 15 | 0.12833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6008-7_0_4_line_15 |  | 13 | 16 | 0.013824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6008-7_0_4_line_16 |  | 14 | 17 | 0.0052586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6008-7_0_4_line_17 |  | 15 | 18 | 0.019783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6008-7_0_4_line_18 |  | 16 | 25 | 0.028494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6008-7_0_4_line_19 |  | 18 | 19 | 0.029514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6008-7_0_4_line_20 |  | 19 | 20 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6008-7_0_4_line_21 |  | 20 | 24 | 0.040266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6008-7_0_4_line_22 |  | 21 | 22 | 0.018345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6008-7_0_4_line_23 |  | 21 | 23 | 0.064825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6008-7_0_4_line_24 |  | 21 | 24 | 0.072998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6008-7_0_4_line_25 |  | 22 | 26 | 0.02981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6008-7_0_4_line_26 |  | 23 | 27 | 0.033858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6008-7_0_4_line_27 |  | 27 | 32 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6008-7_0_4_line_28 |  | 28 | 29 | 0.0014475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6008-7_0_4_line_29 |  | 29 | 30 | 0.021654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6008-7_0_4_line_30 |  | 30 | 31 | 0.01594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6008-7_0_4_line_31 |  | 31 | 63 | 0.027517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6008-7_0_4_line_32 |  | 31 | 58 | 0.0060983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6008-7_0_4_line_33 |  | 32 | 33 | 0.009826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6008-7_0_4_line_34 |  | 33 | 67 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6008-7_0_4_line_35 |  | 34 | 35 | 0.022811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6008-7_0_4_line_36 |  | 35 | 36 | 0.023655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6008-7_0_4_line_37 |  | 36 | 37 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6008-7_0_4_line_38 |  | 37 | 38 | 0.020214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6008-7_0_4_line_39 |  | 38 | 39 | 0.020145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6008-7_0_4_line_40 |  | 38 | 40 | 0.01395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6008-7_0_4_line_41 |  | 40 | 41 | 0.017534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6008-7_0_4_line_42 |  | 41 | 42 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6008-7_0_4_line_43 |  | 42 | 43 | 0.012516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6008-7_0_4_line_44 |  | 43 | 44 | 0.0098336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6008-7_0_4_line_45 |  | 44 | 45 | 0.024914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6008-7_0_4_line_46 |  | 45 | 46 | 0.0072498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6008-7_0_4_line_47 |  | 46 | 47 | 0.018639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6008-7_0_4_line_48 |  | 46 | 48 | 0.027946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6008-7_0_4_line_49 |  | 47 | 57 | 0.025188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6008-7_0_4_line_50 |  | 47 | 58 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6008-7_0_4_line_51 |  | 48 | 56 | 0.0023537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6008-7_0_4_line_52 |  | 49 | 50 | 0.013005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6008-7_0_4_line_53 |  | 49 | 51 | 0.0067233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6008-7_0_4_line_54 |  | 50 | 52 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6008-7_0_4_line_55 |  | 52 | 53 | 0.015956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6008-7_0_4_line_56 |  | 53 | 54 | 0.0025135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6008-7_0_4_line_57 |  | 54 | 55 | 0.011276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6008-7_0_4_line_58 |  | 55 | 56 | 0.013085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6008-7_0_4_line_59 |  | 57 | 59 | 0.0087171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6008-7_0_4_line_60 |  | 57 | 60 | 0.0038875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6008-7_0_4_line_61 |  | 59 | 61 | 0.017826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6008-7_0_4_line_62 |  | 60 | 62 | 9.6391e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6008-7_0_4_line_63 |  | 62 | 66 | 0.029018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6008-7_0_4_line_64 |  | 63 | 64 | 0.012964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_6008-7_0_4_line_65 |  | 64 | 65 | 0.0037839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_6008-7_0_4_line_66 |  | 65 | 67 | 0.033115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6008-7_0_4_line_67 |  | 66 | 68 | 0.0066699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6008-7_0_4_line_68 |  | 67 | 74 | 0.006169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6008-7_0_4_line_69 |  | 68 | 69 | 0.002937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6008-7_0_4_line_70 |  | 69 | 70 | 0.046319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6008-7_0_4_line_71 |  | 70 | 71 | 0.0043115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6008-7_0_4_line_72 |  | 71 | 72 | 0.022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6008-7_0_4_line_73 |  | 72 | 73 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6008-7_0_4_line_74 |  | 74 | 75 | 0.019565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6008-7_0_4_line_75 |  | 74 | 76 | 0.0072052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6008-7_0_4_line_76 |  | 75 | 77 | 0.016981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6008-7_0_4_line_77 |  | 76 | 78 | 0.010866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6008-7_0_4_line_78 |  | 77 | 79 | 0.013602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6008-7_0_4_line_79 |  | 77 | 80 | 0.008285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6008-7_0_4_line_80 |  | 80 | 87 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6008-7_0_4_line_81 |  | 80 | 86 | 0.032472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6008-7_0_4_line_82 |  | 81 | 82 | 0.011372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6008-7_0_4_line_83 |  | 82 | 83 | 0.011322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6008-7_0_4_line_84 |  | 83 | 88 | 0.0020519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6008-7_0_4_line_85 |  | 84 | 85 | 0.032415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6008-7_0_4_line_86 |  | 84 | 86 | 0.025584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6008-7_0_4_line_87 |  | 85 | 90 | 0.015073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6008-7_0_4_line_88 |  | 87 | 91 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6008-7_0_4_line_89 |  | 88 | 89 | 0.041532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6008-7_0_4_line_90 |  | 89 | 90 | 0.0096296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6008-7_0_4_line_91 |  | 91 | 92 | 0.010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6008-7_0_4_line_92 |  | 92 | 93 | 0.01359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6008-7_0_4_line_93 |  | 93 | 94 | 8.6614e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6008-7_0_4_line_94 |  | 94 | 95 | 0.00056463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6008-7_0_4_line_95 |  | 95 | 96 | 0.0086137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6008-7_0_4_line_96 |  | 96 | 97 | 0.0082306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6008-7_0_4_line_97 |  | 97 | 98 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6008-7_0_4_line_98 |  | 98 | 99 | 0.00055477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6008-7_0_4_line_99 |  | 99 | 100 | 0.0050311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6008-7_0_4_line_100 |  | 100 | 101 | 0.0085884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6008-7_0_4_line_101 |  | 101 | 102 | 0.013436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6008-7_0_4_line_102 |  | 102 | 103 | 0.04026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6008-7_0_4_line_103 |  | 102 | 104 | 0.029337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6008-7_0_4_line_104 |  | 103 | 105 | 0.012612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6008-7_0_4_line_105 |  | 104 | 106 | 0.026529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6008-7_0_4_trafo_59 | 0.63 MVA 20/0.4 kV | 107 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2645196.5084 | 1129334.4858 | 2645198.6099 | 1129328.5276 | 2645200.7077 | 1129308.5997 | 2645200.5637 | 1129288.8186
1 | 2645194.1792 | 1129341.0898 | 2645196.5084 | 1129334.4858
2 | 2645199.1217 | 1129266.2216 | 2645200.4797 | 1129277.2708 | 2645200.5637 | 1129288.8186
3 | 2645200.5637 | 1129288.8186 | 2645245.582 | 1129298.9078
4 | 2645194.1792 | 1129341.0898 | 2645177.298 | 1129344.6656 | 2645164.7823 | 1129345.8049
5 | 2645199.1217 | 1129266.2216 | 2645197.2542 | 1129253.2464
6 | 2645258.203 | 1129284.0724 | 2645245.582 | 1129298.9078
7 | 2645245.582 | 1129298.9078 | 2645256.1603 | 1129313.0831 | 2645262.7484 | 1129329.2963 | 2645260.1623 | 1129346.3041
8 | 2645161.835 | 1129346.0732 | 2645164.7823 | 1129345.8049
9 | 2645197.2542 | 1129253.2464 | 2645196.9834 | 1129251.3647 | 2645192.3451 | 1129231.8978 | 2645189.7342 | 1129224.619 | 2645187.4307 | 1129219.6917
10 | 2645258.203 | 1129284.0724 | 2645267.3021 | 1129297.2472
11 | 2645258.203 | 1129284.0724 | 2645256.8392 | 1129283.185
12 | 2645267.3021 | 1129297.2472 | 2645279.9253 | 1129295.4963
13 | 2645161.835 | 1129346.0732 | 2645149.5625 | 1129321.4912 | 2645140.0195 | 1129309.9992
14 | 2645161.835 | 1129346.0732 | 2645098.2923 | 1129457.5677
15 | 2645181.2975 | 1129207.3027 | 2645181.2975 | 1129207.3027 | 2645186.944 | 1129218.6507 | 2645187.4307 | 1129219.6917
16 | 2645136.6601 | 1129305.9536 | 2645140.0195 | 1129309.9992
17 | 2645090.4806 | 1129475.6757 | 2645091.0757 | 1129472.9218 | 2645098.2923 | 1129457.5677
18 | 2645157.1057 | 1129192.4733 | 2645162.5885 | 1129194.6009 | 2645181.2975 | 1129207.3027
19 | 2645090.4806 | 1129475.6757 | 2645088.6822 | 1129483.9986 | 2645087.1464 | 1129494.726 | 2645086.4333 | 1129504.8632
20 | 2645086.4333 | 1129504.8632 | 2645085.4143 | 1129519.3491
21 | 2645085.4143 | 1129519.3491 | 2645084.5616 | 1129531.47 | 2645085.7935 | 1129546.0089 | 2645088.2564 | 1129552.4861 | 2645091.2398 | 1129558.3669 | 2645091.2398 | 1129558.3669
22 | 2645151.3909 | 1129599.7256 | 2645163.9992 | 1129594.7282 | 2645168.3708 | 1129596.6682
23 | 2645115.0348 | 1129653.3956 | 2645151.3909 | 1129599.7256
24 | 2645151.3909 | 1129599.7256 | 2645091.2398 | 1129558.3669
25 | 2645196.6917 | 1129605.597 | 2645190.5953 | 1129604.2428 | 2645178.6246 | 1129601.2185 | 2645168.3708 | 1129596.6682
26 | 2645115.0348 | 1129653.3956 | 2645093.3902 | 1129671.8413 | 2645089.898 | 1129675.9861
27 | 2645089.898 | 1129675.9861 | 2645077.8291 | 1129690.3105
28 | 2645033.784 | 1129658.0532 | 2645032.5794 | 1129658.8557
29 | 2645014.5585 | 1129670.8622 | 2645032.5794 | 1129658.8557
30 | 2644999.4057 | 1129675.4213 | 2645012.6403 | 1129672.1402 | 2645014.5585 | 1129670.8622
31 | 2644999.4057 | 1129675.4213 | 2645002.7013 | 1129677.6469 | 2645008.0909 | 1129682.1004 | 2645020.9002 | 1129692.5775
32 | 2644999.4057 | 1129675.4213 | 2644993.4511 | 1129676.7375
33 | 2645071.498 | 1129697.8249 | 2645077.8291 | 1129690.3105
34 | 2645064.2552 | 1129716.7251 | 2645071.498 | 1129697.8249
35 | 2644794.5712 | 1129637.0802 | 2644815.6025 | 1129645.9138
36 | 2644815.6025 | 1129645.9138 | 2644828.361 | 1129651.2727 | 2644837.365 | 1129655.1842
37 | 2644851.0111 | 1129661.1122 | 2644837.365 | 1129655.1842
38 | 2644871.2622 | 1129662.074 | 2644851.0111 | 1129661.1122
39 | 2644875.8615 | 1129681.6848 | 2644871.2622 | 1129662.074
40 | 2644871.2622 | 1129662.074 | 2644885.1968 | 1129662.7329
41 | 2644885.1968 | 1129662.7329 | 2644887.155 | 1129662.8255 | 2644902.672 | 1129661.4999
42 | 2644923.8617 | 1129659.2575 | 2644920.4365 | 1129659.9822 | 2644902.672 | 1129661.4999
43 | 2644923.8617 | 1129659.2575 | 2644936.1065 | 1129656.6668
44 | 2644945.7271 | 1129654.6313 | 2644936.1065 | 1129656.6668
45 | 2644945.7271 | 1129654.6313 | 2644955.2075 | 1129652.6255 | 2644969.1566 | 1129658.7236
46 | 2644975.7993 | 1129661.6276 | 2644969.1566 | 1129658.7236
47 | 2644975.7993 | 1129661.6276 | 2644981.4519 | 1129679.3898
48 | 2644975.7993 | 1129661.6276 | 2644979.9273 | 1129653.4318 | 2644979.9564 | 1129649.5189 | 2644975.25 | 1129643.303 | 2644969.8006 | 1129638.8143
49 | 2644981.4519 | 1129679.3898 | 2644981.8418 | 1129681.8607 | 2644983.2148 | 1129691.9649 | 2644983.1219 | 1129704.4484
50 | 2644981.4519 | 1129679.3898 | 2644993.4511 | 1129676.7375
51 | 2644969.8006 | 1129638.8143 | 2644967.9838 | 1129637.3178
52 | 2644914.9612 | 1129586.9921 | 2644921.2665 | 1129595.9443 | 2644922.8426 | 1129597.2637
53 | 2644914.9612 | 1129586.9921 | 2644911.0897 | 1129581.4953
54 | 2644922.8426 | 1129597.2637 | 2644936.3478 | 1129608.5698
55 | 2644936.3478 | 1129608.5698 | 2644937.8936 | 1129609.8638 | 2644947.4151 | 1129620.0451
56 | 2644947.4151 | 1129620.0451 | 2644948.7606 | 1129621.4838 | 2644949.1802 | 1129621.8294
57 | 2644949.1802 | 1129621.8294 | 2644957.8837 | 1129628.9984
58 | 2644957.8837 | 1129628.9984 | 2644967.9838 | 1129637.3178
59 | 2644983.1219 | 1129704.4484 | 2644986.8629 | 1129712.322
60 | 2644983.1219 | 1129704.4484 | 2644982.3555 | 1129708.2596
61 | 2644994.513 | 1129728.4232 | 2644986.8629 | 1129712.322
62 | 2644982.3365 | 1129708.3541 | 2644982.3555 | 1129708.2596
63 | 2644982.3365 | 1129708.3541 | 2644977.539 | 1129732.2101 | 2644977.979 | 1129736.8741
64 | 2645020.9002 | 1129692.5775 | 2645029.8724 | 1129699.916 | 2645031.1054 | 1129700.5188
65 | 2645031.1054 | 1129700.5188 | 2645034.5048 | 1129702.1807
66 | 2645064.2552 | 1129716.7251 | 2645034.5048 | 1129702.1807
67 | 2644977.979 | 1129736.8741 | 2644978.6054 | 1129743.5145
68 | 2645061.5335 | 1129722.2632 | 2645064.2552 | 1129716.7251
69 | 2644978.8813 | 1129746.4385 | 2644978.6054 | 1129743.5145
70 | 2644978.8813 | 1129746.4385 | 2644937.7071 | 1129767.6546
71 | 2644937.7071 | 1129767.6546 | 2644939.5385 | 1129771.5578
72 | 2644939.5385 | 1129771.5578 | 2644949.2216 | 1129792.1954
73 | 2644949.2216 | 1129792.1954 | 2644954.6297 | 1129803.7218
74 | 2645061.5335 | 1129722.2632 | 2645076.2688 | 1129735.1338
75 | 2645061.5335 | 1129722.2632 | 2645058.8903 | 1129728.9661
76 | 2645090.4156 | 1129744.3453 | 2645081.0329 | 1129739.295 | 2645076.2688 | 1129735.1338
77 | 2645058.8903 | 1129728.9661 | 2645054.9042 | 1129739.0743
78 | 2645090.4156 | 1129744.3453 | 2645096.9517 | 1129732.4101
79 | 2645097.7815 | 1129748.1799 | 2645090.4156 | 1129744.3453
80 | 2645097.7815 | 1129748.1799 | 2645114.1023 | 1129752.4593 | 2645116.6169 | 1129752.5709
81 | 2645097.7815 | 1129748.1799 | 2645097.1415 | 1129754.4673 | 2645099.2765 | 1129761.509 | 2645097.4085 | 1129780.2103
82 | 2645057.0542 | 1129827.6091 | 2645061.7366 | 1129837.9726
83 | 2645061.7366 | 1129837.9726 | 2645066.3984 | 1129848.2905
84 | 2645067.2432 | 1129850.1603 | 2645066.3984 | 1129848.2905
85 | 2645105.7667 | 1129802.2573 | 2645113.9962 | 1129807.9759 | 2645116.0936 | 1129819.0306 | 2645114.5556 | 1129830.0652
86 | 2645097.4085 | 1129780.2103 | 2645096.8709 | 1129785.5923 | 2645099.6361 | 1129797.9971 | 2645105.7667 | 1129802.2573
87 | 2645112.4749 | 1129844.9936 | 2645114.5556 | 1129830.0652
88 | 2645116.6169 | 1129752.5709 | 2645129.7565 | 1129753.1542
89 | 2645108.6171 | 1129853.7816 | 2645067.2432 | 1129850.1603
90 | 2645108.6171 | 1129853.7816 | 2645112.3664 | 1129845.7721 | 2645112.4749 | 1129844.9936
91 | 2645129.7565 | 1129753.1542 | 2645129.7565 | 1129753.1542 | 2645138.8205 | 1129748.6846
92 | 2645151.0093 | 1129742.674 | 2645151.0093 | 1129742.674 | 2645138.8205 | 1129748.6846
93 | 2645151.0093 | 1129742.674 | 2645151.0296 | 1129742.7582
94 | 2645151.0296 | 1129742.7582 | 2645151.1622 | 1129743.307
95 | 2645151.1622 | 1129743.307 | 2645153.1855 | 1129751.6797
96 | 2645153.1855 | 1129751.6797 | 2645155.1187 | 1129759.6801
97 | 2645151.6357 | 1129773.8962 | 2645151.3574 | 1129772.3919 | 2645154.534 | 1129763.7222 | 2645155.1187 | 1129759.6801 | 2645155.1187 | 1129759.6801
98 | 2645151.6357 | 1129773.8962 | 2645151.7366 | 1129774.4417
99 | 2645152.6518 | 1129779.3888 | 2645151.7366 | 1129774.4417
100 | 2645152.6518 | 1129779.3888 | 2645154.2142 | 1129787.8339
101 | 2645156.6585 | 1129801.0462 | 2645154.2142 | 1129787.8339
102 | 2645156.6585 | 1129801.0462 | 2645161.4217 | 1129808.8969 | 2645169.2914 | 1129813.3245 | 2645175.0696 | 1129812.1226 | 2645177.8634 | 1129807.2632 | 2645179.8834 | 1129796.9184
103 | 2645156.6585 | 1129801.0462 | 2645159.3531 | 1129819.787 | 2645160.2627 | 1129830.1506
104 | 2645182.3004 | 1129784.5402 | 2645179.8834 | 1129796.9184
105 | 2645160.2627 | 1129830.1506 | 2645160.8722 | 1129837.0961 | 2645169.3885 | 1129843.6408 | 2645178.1708 | 1129842.865

## bus_geodata
| x | y | coords
0 | 2645196.5084 | 1129334.4858
1 | 2645200.5637 | 1129288.8186
2 | 2645194.1792 | 1129341.0898
3 | 2645199.1217 | 1129266.2216
4 | 2645245.582 | 1129298.9078
5 | 2645164.7823 | 1129345.8049
6 | 2645260.1623 | 1129346.3041
7 | 2645197.2542 | 1129253.2464
8 | 2645258.203 | 1129284.0724
9 | 2645267.3021 | 1129297.2472
10 | 2645256.8392 | 1129283.185
11 | 2645279.9253 | 1129295.4963
12 | 2645161.835 | 1129346.0732
13 | 2645187.4307 | 1129219.6917
14 | 2645140.0195 | 1129309.9992
15 | 2645098.2923 | 1129457.5677
16 | 2645181.2975 | 1129207.3027
17 | 2645136.6601 | 1129305.9536
18 | 2645090.4806 | 1129475.6757
19 | 2645086.4333 | 1129504.8632
20 | 2645085.4143 | 1129519.3491
21 | 2645151.3909 | 1129599.7256
22 | 2645168.3708 | 1129596.6682
23 | 2645115.0348 | 1129653.3956
24 | 2645091.2398 | 1129558.3669
25 | 2645157.1057 | 1129192.4733
26 | 2645196.6917 | 1129605.597
27 | 2645089.898 | 1129675.9861
28 | 2645033.784 | 1129658.0532
29 | 2645032.5794 | 1129658.8557
30 | 2645014.5585 | 1129670.8622
31 | 2644999.4057 | 1129675.4213
32 | 2645077.8291 | 1129690.3105
33 | 2645071.498 | 1129697.8249
34 | 2644794.5712 | 1129637.0802
35 | 2644815.6025 | 1129645.9138
36 | 2644837.365 | 1129655.1842
37 | 2644851.0111 | 1129661.1122
38 | 2644871.2622 | 1129662.074
39 | 2644875.8615 | 1129681.6848
40 | 2644885.1968 | 1129662.7329
41 | 2644902.672 | 1129661.4999
42 | 2644923.8617 | 1129659.2575
43 | 2644936.1065 | 1129656.6668
44 | 2644945.7271 | 1129654.6313
45 | 2644969.1566 | 1129658.7236
46 | 2644975.7993 | 1129661.6276
47 | 2644981.4519 | 1129679.3898
48 | 2644969.8006 | 1129638.8143
49 | 2644914.9612 | 1129586.9921
50 | 2644922.8426 | 1129597.2637
51 | 2644911.0897 | 1129581.4953
52 | 2644936.3478 | 1129608.5698
53 | 2644947.4151 | 1129620.0451
54 | 2644949.1802 | 1129621.8294
55 | 2644957.8837 | 1129628.9984
56 | 2644967.9838 | 1129637.3178
57 | 2644983.1219 | 1129704.4484
58 | 2644993.4511 | 1129676.7375
59 | 2644986.8629 | 1129712.322
60 | 2644982.3555 | 1129708.2596
61 | 2644994.513 | 1129728.4232
62 | 2644982.3365 | 1129708.3541
63 | 2645020.9002 | 1129692.5775
64 | 2645031.1054 | 1129700.5188
65 | 2645034.5048 | 1129702.1807
66 | 2644977.979 | 1129736.8741
67 | 2645064.2552 | 1129716.7251
68 | 2644978.6054 | 1129743.5145
69 | 2644978.8813 | 1129746.4385
70 | 2644937.7071 | 1129767.6546
71 | 2644939.5385 | 1129771.5578
72 | 2644949.2216 | 1129792.1954
73 | 2644954.6297 | 1129803.7218
74 | 2645061.5335 | 1129722.2632
75 | 2645076.2688 | 1129735.1338
76 | 2645058.8903 | 1129728.9661
77 | 2645090.4156 | 1129744.3453
78 | 2645054.9042 | 1129739.0743
79 | 2645096.9517 | 1129732.4101
80 | 2645097.7815 | 1129748.1799
81 | 2645057.0542 | 1129827.6091
82 | 2645061.7366 | 1129837.9726
83 | 2645066.3984 | 1129848.2905
84 | 2645105.7667 | 1129802.2573
85 | 2645114.5556 | 1129830.0652
86 | 2645097.4085 | 1129780.2103
87 | 2645116.6169 | 1129752.5709
88 | 2645067.2432 | 1129850.1603
89 | 2645108.6171 | 1129853.7816
90 | 2645112.4749 | 1129844.9936
91 | 2645129.7565 | 1129753.1542
92 | 2645138.8205 | 1129748.6846
93 | 2645151.0093 | 1129742.674
94 | 2645151.0296 | 1129742.7582
95 | 2645151.1622 | 1129743.307
96 | 2645153.1855 | 1129751.6797
97 | 2645155.1187 | 1129759.6801
98 | 2645151.6357 | 1129773.8962
99 | 2645151.7366 | 1129774.4417
100 | 2645152.6518 | 1129779.3888
101 | 2645154.2142 | 1129787.8339
102 | 2645156.6585 | 1129801.0462
103 | 2645179.8834 | 1129796.9184
104 | 2645160.2627 | 1129830.1506
105 | 2645182.3004 | 1129784.5402
106 | 2645178.1708 | 1129842.865
107 | 2645064.2552 | 1129716.7251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1