## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6008-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6008-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6008-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6008-9_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6008-9_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_6008-9_0_5_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_6008-9_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_6008-9_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6008-9_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6008-9_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6008-9_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6008-9_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6008-9_0_5_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_6008-9_0_5_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_6008-9_0_5_node_88 | 0.4 | n |  | TRUE
15 | bus_LV_6008-9_0_5_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_6008-9_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6008-9_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6008-9_0_5_node_104 | 0.4 | n |  | TRUE
19 | bus_LV_6008-9_0_5_node_102 | 0.4 | n |  | TRUE
20 | bus_LV_6008-9_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_6008-9_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6008-9_0_5_node_101 | 0.4 | n |  | TRUE
23 | bus_LV_6008-9_0_5_node_103 | 0.4 | n |  | TRUE
24 | bus_LV_6008-9_0_5_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_6008-9_0_5_node_106 | 0.4 | n |  | TRUE
26 | bus_LV_6008-9_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6008-9_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6008-9_0_5_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_6008-9_0_5_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_6008-9_0_5_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_6008-9_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6008-9_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6008-9_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6008-9_0_5_node_107 | 0.4 | n |  | TRUE
35 | bus_LV_6008-9_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6008-9_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6008-9_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6008-9_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6008-9_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6008-9_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_6008-9_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6008-9_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6008-9_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6008-9_0_5_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_6008-9_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_6008-9_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6008-9_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6008-9_0_5_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_6008-9_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_6008-9_0_5_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_6008-9_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_6008-9_0_5_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_6008-9_0_5_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_6008-9_0_5_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_6008-9_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_6008-9_0_5_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_6008-9_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6008-9_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6008-9_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6008-9_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_6008-9_0_5_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_6008-9_0_5_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_6008-9_0_5_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_6008-9_0_5_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_6008-9_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_6008-9_0_5_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_6008-9_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_6008-9_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_6008-9_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_6008-9_0_5_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_6008-9_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_6008-9_0_5_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6008-9_0_5_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_6008-9_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_6008-9_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_6008-9_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_6008-9_0_5_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_6008-9_0_5_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_6008-9_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_6008-9_0_5_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_6008-9_0_5_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_6008-9_0_5_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_6008-9_0_5_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_6008-9_0_5_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_6008-9_0_5_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_6008-9_0_5_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_6008-9_0_5_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_6008-9_0_5_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_6008-9_0_5_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_6008-9_0_5_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_6008-9_0_5_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_6008-9_0_5_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_6008-9_0_5_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_6008-9_0_5_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_6008-9_0_5_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_6008-9_0_5_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_6008-9_0_5_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_6008-9_0_5_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_6008-9_0_5_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_6008-9_0_5_node_95 | 0.4 | n |  | TRUE
101 | bus_LV_6008-9_0_5_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_6008-9_0_5_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_6008-9_0_5_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_6008-9_0_5_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_6008-9_0_5_node_100 | 0.4 | n |  | TRUE
106 | bus_MV_86_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6008-9_0_5_load_0 | 0 | 0.020316 | 0.0050917 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6008-9_0_5_load_1 | 1 | 0.009922 | 0.0024867 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6008-9_0_5_load_2 | 2 | 0.0017801 | 0.00044613 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6008-9_0_5_load_9 | 6 | 0.0050553 | 0.001267 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6008-9_0_5_load_4 | 7 | 0.0053444 | 0.0013394 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6008-9_0_5_load_8 | 8 | 0.0073507 | 0.0018423 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6008-9_0_5_load_7 | 10 | 0.0086599 | 0.0021704 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6008-9_0_5_load_89 | 13 | 0.0057098 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6008-9_0_5_load_88 | 14 | 0.025478 | 0.0063853 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6008-9_0_5_load_90 | 15 | 0.0041599 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6008-9_0_5_load_12 | 16 | 0.010789 | 0.002704 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6008-9_0_5_load_13 | 17 | 0.0042208 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6008-9_0_5_load_104 | 18 | 0.0070447 | 0.0017656 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6008-9_0_5_load_15 | 21 | 0.0045101 | 0.0011303 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6008-9_0_5_load_101 | 22 | 0.005466 | 0.0013699 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6008-9_0_5_load_103 | 23 | 0.0076943 | 0.0019284 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6008-9_0_5_load_78 | 24 | 0.011704 | 0.0029333 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6008-9_0_5_load_106 | 25 | 0.011858 | 0.002972 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6008-9_0_5_load_16 | 26 | 0.0045245 | 0.0011339 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6008-9_0_5_load_79 | 28 | 0.0078982 | 0.0019795 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6008-9_0_5_load_76 | 29 | 0.0068966 | 0.0017285 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6008-9_0_5_load_77 | 30 | 0.0039245 | 0.00098358 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6008-9_0_5_load_19 | 31 | 0.0049481 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6008-9_0_5_load_20 | 32 | 0.0067398 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6008-9_0_5_load_21 | 33 | 0.0081344 | 0.0020387 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6008-9_0_5_load_107 | 34 | 0.0057152 | 0.0014324 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6008-9_0_5_load_24 | 38 | 0.0010655 | 0.00026703 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6008-9_0_5_load_23 | 39 | 0.0015283 | 0.00038302 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6008-9_0_5_load_25 | 40 | 0.0013891 | 0.00034814 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6008-9_0_5_load_38 | 42 | 0.0088187 | 0.0022102 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6008-9_0_5_load_37 | 43 | 0.0047229 | 0.0011837 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6008-9_0_5_load_41 | 44 | 0.0043197 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6008-9_0_5_load_43 | 45 | 0.0069398 | 0.0017393 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6008-9_0_5_load_40 | 46 | 0.0067922 | 0.0017023 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6008-9_0_5_load_54 | 48 | 0.0068375 | 0.0017136 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6008-9_0_5_load_29 | 49 | 0.0033502 | 0.00083964 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6008-9_0_5_load_30 | 50 | 0.0013953 | 0.00034969 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6008-9_0_5_load_32 | 51 | 0.0059922 | 0.0015018 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6008-9_0_5_load_84 | 52 | 0.0078124 | 0.001958 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6008-9_0_5_load_105 | 53 | 0.0041986 | 0.0010523 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6008-9_0_5_load_82 | 54 | 0.0050545 | 0.0012668 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6008-9_0_5_load_45 | 55 | 0.0059477 | 0.0014906 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6008-9_0_5_load_47 | 58 | 0.0056273 | 0.0014103 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6008-9_0_5_load_53 | 59 | 0.0064005 | 0.0016041 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6008-9_0_5_load_44 | 60 | 0.0067504 | 0.0016918 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6008-9_0_5_load_33 | 61 | 0.004213 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6008-9_0_5_load_34 | 62 | 0.0047898 | 0.0012004 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6008-9_0_5_load_39 | 66 | 0.0015652 | 0.00039228 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6008-9_0_5_load_48 | 67 | 0.003094 | 0.00077542 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6008-9_0_5_load_50 | 68 | 0.0049069 | 0.0012298 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6008-9_0_5_load_52 | 69 | 0.0026165 | 0.00065576 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6008-9_0_5_load_72 | 70 | 0.0064715 | 0.0016219 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6008-9_0_5_load_68 | 72 | 0.0069524 | 0.0017424 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6008-9_0_5_load_55 | 74 | 0.009561 | 0.0023962 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6008-9_0_5_load_56 | 75 | 0.0073491 | 0.0018419 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6008-9_0_5_load_58 | 76 | 0.014584 | 0.0036552 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6008-9_0_5_load_57 | 77 | 0.0048033 | 0.0012038 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6008-9_0_5_load_64 | 79 | 0.010298 | 0.0025808 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6008-9_0_5_load_62 | 80 | 0.0066609 | 0.0016694 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6008-9_0_5_load_63 | 82 | 0.011243 | 0.0028179 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6008-9_0_5_load_65 | 83 | 0.0095415 | 0.0023913 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6008-9_0_5_load_66 | 84 | 0.0091864 | 0.0023023 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6008-9_0_5_load_85 | 86 | 0.0058034 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6008-9_0_5_load_81 | 87 | 0.0075237 | 0.0018856 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6008-9_0_5_load_75 | 90 | 0.019146 | 0.0047985 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6008-9_0_5_load_92 | 93 | 0.017781 | 0.0044563 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6008-9_0_5_load_91 | 94 | 0.015328 | 0.0038415 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6008-9_0_5_load_80 | 95 | 0.0064331 | 0.0016123 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6008-9_0_5_load_86 | 96 | 0.0089572 | 0.0022449 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6008-9_0_5_load_87 | 97 | 0.0068838 | 0.0017253 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6008-9_0_5_load_94 | 99 | 0.0081687 | 0.0020473 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6008-9_0_5_load_95 | 100 | 0.0046452 | 0.0011642 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6008-9_0_5_load_96 | 101 | 0.006855 | 0.001718 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6008-9_0_5_load_97 | 102 | 0.0016622 | 0.00041658 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6008-9_0_5_load_98 | 103 | 0.0053919 | 0.0013513 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6008-9_0_5_load_99 | 104 | 0.0039983 | 0.0010021 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6008-9_0_5_load_100 | 105 | 0.0079416 | 0.0019904 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 95 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6008-9_0_5_line_0 |  | 0 | 1 | 0.012548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6008-9_0_5_line_1 |  | 0 | 2 | 0.029745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6008-9_0_5_line_2 |  | 2 | 3 | 0.015452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6008-9_0_5_line_3 |  | 3 | 4 | 0.010096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6008-9_0_5_line_4 |  | 4 | 5 | 0.011306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6008-9_0_5_line_5 |  | 4 | 6 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6008-9_0_5_line_6 |  | 5 | 20 | 0.004265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6008-9_0_5_line_7 |  | 5 | 21 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6008-9_0_5_line_8 |  | 6 | 10 | 0.022032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6008-9_0_5_line_9 |  | 7 | 8 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6008-9_0_5_line_10 |  | 8 | 9 | 0.041079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6008-9_0_5_line_11 |  | 8 | 10 | 0.040727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6008-9_0_5_line_12 |  | 9 | 16 | 0.021784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6008-9_0_5_line_13 |  | 9 | 17 | 0.023029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6008-9_0_5_line_14 |  | 11 | 12 | 0.075651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6008-9_0_5_line_15 |  | 11 | 13 | 0.037483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6008-9_0_5_line_16 |  | 12 | 14 | 0.034378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6008-9_0_5_line_17 |  | 13 | 15 | 0.0075695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6008-9_0_5_line_18 |  | 14 | 88 | 0.0099827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6008-9_0_5_line_19 |  | 16 | 18 | 0.0076884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6008-9_0_5_line_20 |  | 17 | 19 | 0.043121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6008-9_0_5_line_21 |  | 18 | 22 | 0.016984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6008-9_0_5_line_22 |  | 19 | 23 | 0.028031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6008-9_0_5_line_23 |  | 19 | 24 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6008-9_0_5_line_24 |  | 20 | 25 | 0.02974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6008-9_0_5_line_25 |  | 22 | 105 | 0.022566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6008-9_0_5_line_26 |  | 24 | 30 | 0.0029699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6008-9_0_5_line_27 |  | 26 | 27 | 0.058282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6008-9_0_5_line_28 |  | 27 | 28 | 0.062729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6008-9_0_5_line_29 |  | 27 | 29 | 0.036961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6008-9_0_5_line_30 |  | 29 | 30 | 0.039065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6008-9_0_5_line_31 |  | 31 | 32 | 0.021813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6008-9_0_5_line_32 |  | 31 | 33 | 0.012797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6008-9_0_5_line_33 |  | 32 | 34 | 0.080302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6008-9_0_5_line_34 |  | 33 | 35 | 0.099058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6008-9_0_5_line_35 |  | 34 | 37 | 0.064208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6008-9_0_5_line_36 |  | 35 | 47 | 0.032959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6008-9_0_5_line_37 |  | 36 | 37 | 0.045852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6008-9_0_5_line_38 |  | 36 | 38 | 0.094575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6008-9_0_5_line_39 |  | 38 | 39 | 0.00015242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6008-9_0_5_line_40 |  | 39 | 40 | 0.0093373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6008-9_0_5_line_41 |  | 40 | 41 | 0.018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6008-9_0_5_line_42 |  | 41 | 42 | 0.02084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6008-9_0_5_line_43 |  | 42 | 43 | 0.042107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6008-9_0_5_line_44 |  | 43 | 63 | 0.011887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6008-9_0_5_line_45 |  | 44 | 45 | 0.0048299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6008-9_0_5_line_46 |  | 44 | 46 | 0.026548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6008-9_0_5_line_47 |  | 46 | 66 | 0.0047233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6008-9_0_5_line_48 |  | 47 | 48 | 0.02421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6008-9_0_5_line_49 |  | 48 | 59 | 0.0090636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6008-9_0_5_line_50 |  | 49 | 50 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6008-9_0_5_line_51 |  | 50 | 51 | 0.0067583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6008-9_0_5_line_52 |  | 51 | 55 | 0.02099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6008-9_0_5_line_53 |  | 52 | 53 | 0.1069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6008-9_0_5_line_54 |  | 52 | 54 | 0.010163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6008-9_0_5_line_55 |  | 54 | 95 | 0.01077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6008-9_0_5_line_56 |  | 55 | 60 | 0.018283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6008-9_0_5_line_57 |  | 56 | 57 | 0.041494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6008-9_0_5_line_58 |  | 56 | 58 | 0.028636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6008-9_0_5_line_59 |  | 57 | 70 | 0.06141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6008-9_0_5_line_60 |  | 58 | 67 | 0.014124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6008-9_0_5_line_61 |  | 59 | 74 | 0.007481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6008-9_0_5_line_62 |  | 60 | 65 | 0.058069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6008-9_0_5_line_63 |  | 61 | 62 | 0.027401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6008-9_0_5_line_64 |  | 61 | 63 | 0.0212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6008-9_0_5_line_65 |  | 63 | 64 | 0.007573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6008-9_0_5_line_66 |  | 64 | 65 | 0.041244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6008-9_0_5_line_67 |  | 64 | 66 | 0.012189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6008-9_0_5_line_68 |  | 67 | 68 | 0.014133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6008-9_0_5_line_69 |  | 68 | 69 | 0.00083234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6008-9_0_5_line_70 |  | 69 | 71 | 0.029352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6008-9_0_5_line_71 |  | 71 | 72 | 0.012578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6008-9_0_5_line_72 |  | 71 | 73 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6008-9_0_5_line_73 |  | 72 | 81 | 0.020663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6008-9_0_5_line_74 |  | 73 | 78 | 0.004492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6008-9_0_5_line_75 |  | 73 | 77 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_6008-9_0_5_line_76 |  | 74 | 75 | 0.00037299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_6008-9_0_5_line_77 |  | 75 | 76 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6008-9_0_5_line_78 |  | 76 | 77 | 0.0028138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_6008-9_0_5_line_79 |  | 78 | 79 | 0.01663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6008-9_0_5_line_80 |  | 79 | 80 | 0.0016154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6008-9_0_5_line_81 |  | 80 | 82 | 0.0044728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6008-9_0_5_line_82 |  | 81 | 88 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6008-9_0_5_line_83 |  | 82 | 83 | 0.036201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_6008-9_0_5_line_84 |  | 83 | 84 | 0.0247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_6008-9_0_5_line_85 |  | 84 | 85 | 0.076922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_6008-9_0_5_line_86 |  | 85 | 86 | 0.018805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_6008-9_0_5_line_87 |  | 85 | 87 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6008-9_0_5_line_88 |  | 86 | 96 | 0.012341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6008-9_0_5_line_89 |  | 87 | 95 | 0.022862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_6008-9_0_5_line_90 |  | 88 | 89 | 0.005407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6008-9_0_5_line_91 |  | 89 | 90 | 0.022191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6008-9_0_5_line_92 |  | 90 | 91 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6008-9_0_5_line_93 |  | 91 | 92 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6008-9_0_5_line_94 |  | 92 | 93 | 0.0056866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6008-9_0_5_line_95 |  | 92 | 94 | 0.013403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6008-9_0_5_line_96 |  | 96 | 97 | 0.0054567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_6008-9_0_5_line_97 |  | 97 | 98 | 0.017225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_6008-9_0_5_line_98 |  | 98 | 99 | 0.011457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_6008-9_0_5_line_99 |  | 99 | 100 | 0.0059509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_6008-9_0_5_line_100 |  | 100 | 101 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_6008-9_0_5_line_101 |  | 101 | 102 | 0.0056007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_6008-9_0_5_line_102 |  | 102 | 103 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_6008-9_0_5_line_103 |  | 103 | 104 | 0.00068569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_6008-9_0_5_line_104 |  | 104 | 105 | 0.0019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6008-9_0_5_trafo_80 | 0.63 MVA 20/0.4 kV | 106 | 95 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2644551.9958 | 1130174.847 | 2644563.5486 | 1130179.7456
1 | 2644551.9958 | 1130174.847 | 2644544.7865 | 1130171.7901 | 2644523.7037 | 1130165.8097
2 | 2644508.2776 | 1130166.6967 | 2644523.7037 | 1130165.8097 | 2644523.7037 | 1130165.8097
3 | 2644499.3319 | 1130171.3777 | 2644508.2776 | 1130166.6967
4 | 2644488.0058 | 1130171.9169 | 2644499.3319 | 1130171.3777
5 | 2644499.3319 | 1130171.3777 | 2644498.198 | 1130161.1419 | 2644498.2086 | 1130160.9396
6 | 2644488.0058 | 1130171.9169 | 2644484.1793 | 1130173.8231
7 | 2644488.0058 | 1130171.9169 | 2644477.6391 | 1130156.7111
8 | 2644499.6384 | 1130138.975 | 2644499.2812 | 1130140.5837 | 2644498.2086 | 1130160.9396
9 | 2644509.2419 | 1130099.4191 | 2644530.5588 | 1130094.8535
10 | 2644522.7292 | 1130060.693 | 2644517.1059 | 1130073.347 | 2644509.2419 | 1130099.4191
11 | 2644499.6384 | 1130138.975 | 2644506.132 | 1130109.7294 | 2644509.2419 | 1130099.4191
12 | 2644522.7292 | 1130060.693 | 2644531.5796 | 1130040.7875
13 | 2644522.7292 | 1130060.693 | 2644517.4251 | 1130056.1405 | 2644501.6561 | 1130059.0719
14 | 2644614.3054 | 1129775.032 | 2644616.7749 | 1129850.6224
15 | 2644616.7749 | 1129850.6224 | 2644634.5077 | 1129863.96 | 2644646.431 | 1129873.5388
16 | 2644614.3054 | 1129775.032 | 2644638.1329 | 1129774.5742 | 2644645.7536 | 1129777.3096 | 2644648.0234 | 1129778.231
17 | 2644646.431 | 1129873.5388 | 2644652.332 | 1129878.2795
18 | 2644657.273 | 1129781.9859 | 2644648.0234 | 1129778.231
19 | 2644531.5796 | 1130040.7875 | 2644532.7697 | 1130038.1109 | 2644534.8789 | 1130033.8447
20 | 2644476.3781 | 1130033.3492 | 2644489.6976 | 1130061.2948 | 2644501.6561 | 1130059.0719
21 | 2644542.4059 | 1130018.62 | 2644534.8789 | 1130033.8447
22 | 2644476.3781 | 1130033.3492 | 2644451.8886 | 1130046.9881
23 | 2644476.3781 | 1130033.3492 | 2644469.1303 | 1130018.1514
24 | 2644484.1793 | 1130173.8231 | 2644478.763 | 1130169.8701 | 2644463.9582 | 1130163.7804 | 2644456.8629 | 1130164.0062
25 | 2644542.4059 | 1130018.62 | 2644551.0656 | 1130001.1043 | 2644552.4681 | 1129998.4228
26 | 2644469.1303 | 1130018.1514 | 2644467.8519 | 1130015.4708
27 | 2644400.0773 | 1130008.4761 | 2644425.4175 | 1130054.6525 | 2644428.1791 | 1130059.5357
28 | 2644400.0773 | 1130008.4761 | 2644385.0931 | 1130015.2141 | 2644371.4336 | 1130018.8269 | 2644354.9054 | 1130018.7056 | 2644340.0724 | 1130013.2386
29 | 2644400.0773 | 1130008.4761 | 2644436.764 | 1130003.9847
30 | 2644436.764 | 1130003.9847 | 2644458.3282 | 1130001.3446 | 2644461.2013 | 1130003.4223 | 2644464.4767 | 1130008.3934 | 2644467.8519 | 1130015.4708
31 | 2644486.4358 | 1129679.0335 | 2644481.8287 | 1129699.618 | 2644481.2101 | 1129699.9848
32 | 2644486.4358 | 1129679.0335 | 2644489.2307 | 1129666.5459
33 | 2644481.2101 | 1129699.9848 | 2644402.9359 | 1129682.0518
34 | 2644561.3838 | 1129622.008 | 2644535.9375 | 1129630.9141 | 2644514.6125 | 1129631.4241 | 2644498.1342 | 1129633.8042 | 2644495.4957 | 1129638.5539 | 2644489.2307 | 1129666.5459
35 | 2644391.8552 | 1129620.7057 | 2644395.7853 | 1129673.9953 | 2644402.9359 | 1129682.0518
36 | 2644561.3838 | 1129622.008 | 2644572.7858 | 1129644.7369 | 2644575.0965 | 1129648.945 | 2644575.8705 | 1129651.5632
37 | 2644352.1423 | 1129643.4484 | 2644359.1897 | 1129638.2863 | 2644364.6221 | 1129634.8689 | 2644380.3975 | 1129626.4469 | 2644391.8552 | 1129620.7057
38 | 2644352.1423 | 1129643.4484 | 2644345.933 | 1129648.8279 | 2644335.6986 | 1129660.0365 | 2644329.2213 | 1129670.461 | 2644323.2409 | 1129682.4456 | 2644315.395 | 1129705.1442 | 2644312.2786 | 1129726.4153
39 | 2644312.2786 | 1129726.4153 | 2644312.2565 | 1129726.5662
40 | 2644312.2565 | 1129726.5662 | 2644310.903 | 1129735.8048
41 | 2644303.7014 | 1129752.5829 | 2644310.903 | 1129735.8048 | 2644310.903 | 1129735.8048
42 | 2644303.7014 | 1129752.5829 | 2644311.1773 | 1129760.3972 | 2644307.4249 | 1129769.6943
43 | 2644300.9736 | 1129810.4465 | 2644299.5059 | 1129794.318 | 2644303.5049 | 1129779.4063 | 2644307.4249 | 1129769.6943
44 | 2644302.0509 | 1129822.2844 | 2644300.9736 | 1129810.4465
45 | 2644344.4702 | 1129815.3452 | 2644348.8227 | 1129813.2515
46 | 2644320.5463 | 1129826.8536 | 2644344.4702 | 1129815.3452
47 | 2644316.2899 | 1129828.9011 | 2644320.5463 | 1129826.8536
48 | 2644575.8705 | 1129651.5632 | 2644587.2255 | 1129672.9454
49 | 2644591.4764 | 1129680.9502 | 2644587.2255 | 1129672.9454
50 | 2644421.8399 | 1129812.7371 | 2644410.9732 | 1129816.911
51 | 2644404.6642 | 1129819.3342 | 2644410.9732 | 1129816.911
52 | 2644385.9821 | 1129828.7583 | 2644397.193 | 1129822.2038 | 2644404.6642 | 1129819.3342
53 | 2644521.8086 | 1129890.699 | 2644423.5028 | 1129848.6994
54 | 2644531.9585 | 1129890.1826 | 2644521.8086 | 1129890.699
55 | 2644542.7143 | 1129889.6353 | 2644531.9585 | 1129890.1826
56 | 2644370.1988 | 1129837.9861 | 2644385.9821 | 1129828.7583
57 | 2644638.0426 | 1129658.4361 | 2644664.3955 | 1129659.231 | 2644679.4933 | 1129657.0858
58 | 2644638.0426 | 1129658.4361 | 2644635.6821 | 1129686.975
59 | 2644679.4933 | 1129657.0858 | 2644680.7922 | 1129676.2385 | 2644686.781 | 1129704.9086 | 2644691.366 | 1129716.9923
60 | 2644635.6821 | 1129686.975 | 2644634.5179 | 1129701.0507
61 | 2644591.4764 | 1129680.9502 | 2644594.9851 | 1129687.5574
62 | 2644320.0685 | 1129867.2949 | 2644370.1988 | 1129837.9861
63 | 2644282.3606 | 1129814.4271 | 2644256.9112 | 1129804.2718
64 | 2644302.0509 | 1129822.2844 | 2644282.3606 | 1129814.4271
65 | 2644302.0509 | 1129822.2844 | 2644304.3704 | 1129829.4939
66 | 2644320.0685 | 1129867.2949 | 2644313.2424 | 1129857.0063 | 2644304.3704 | 1129829.4939
67 | 2644304.3704 | 1129829.4939 | 2644313.9639 | 1129830.02 | 2644316.2899 | 1129828.9011
68 | 2644634.5179 | 1129701.0507 | 2644633.353 | 1129715.1354
69 | 2644633.2843 | 1129715.9649 | 2644633.353 | 1129715.1354
70 | 2644628.0392 | 1129744.74 | 2644630.6402 | 1129735.6878 | 2644632.3508 | 1129727.2517 | 2644633.2843 | 1129715.9649
71 | 2644628.0392 | 1129744.74 | 2644635.5758 | 1129754.8095
72 | 2644616.5992 | 1129728.2583 | 2644628.0392 | 1129744.74
73 | 2644648.2254 | 1129771.1469 | 2644646.7148 | 1129769.1903 | 2644643.8678 | 1129765.6563 | 2644637.7947 | 1129757.7742 | 2644635.5758 | 1129754.8095
74 | 2644616.5992 | 1129728.2583 | 2644614.8126 | 1129732.3805
75 | 2644616.5992 | 1129728.2583 | 2644606.5795 | 1129709.3904
76 | 2644595.1601 | 1129687.8868 | 2644594.9851 | 1129687.5574
77 | 2644595.1601 | 1129687.8868 | 2644605.2597 | 1129706.9052
78 | 2644606.5795 | 1129709.3904 | 2644605.2597 | 1129706.9052
79 | 2644614.8126 | 1129732.3805 | 2644608.5581 | 1129738.6376 | 2644605.9406 | 1129745.9674
80 | 2644605.3974 | 1129747.4887 | 2644605.9406 | 1129745.9674
81 | 2644605.3974 | 1129747.4887 | 2644604.4997 | 1129750.0024 | 2644604.4094 | 1129751.8038
82 | 2644657.273 | 1129781.9859 | 2644648.2254 | 1129771.1469
83 | 2644604.4094 | 1129751.8038 | 2644603.1631 | 1129776.6618 | 2644601.4746 | 1129787.8473
84 | 2644597.3135 | 1129812.1848 | 2644599.0412 | 1129803.9677 | 2644601.4746 | 1129787.8473
85 | 2644582.3108 | 1129887.6207 | 2644587.5764 | 1129862.9357 | 2644589.7745 | 1129851.0458 | 2644593.4614 | 1129830.5068 | 2644597.3135 | 1129812.1848
86 | 2644582.3108 | 1129887.6207 | 2644578.3145 | 1129905.996
87 | 2644582.3108 | 1129887.6207 | 2644565.5466 | 1129888.4736
88 | 2644578.3145 | 1129905.996 | 2644578.2049 | 1129906.5001 | 2644577.8063 | 1129918.3184
89 | 2644542.7143 | 1129889.6353 | 2644565.5466 | 1129888.4736
90 | 2644660.9253 | 1129785.9815 | 2644657.273 | 1129781.9859
91 | 2644660.9253 | 1129785.9815 | 2644670.8142 | 1129795.5261 | 2644677.1035 | 1129801.1654
92 | 2644688.4791 | 1129810.7644 | 2644679.04 | 1129802.9017 | 2644677.1035 | 1129801.1654
93 | 2644700.5296 | 1129820.6918 | 2644688.4791 | 1129810.7644
94 | 2644700.5296 | 1129820.6918 | 2644705.1192 | 1129824.0493
95 | 2644700.5296 | 1129820.6918 | 2644713.2585 | 1129816.4945
96 | 2644577.6224 | 1129923.7721 | 2644577.8063 | 1129918.3184
97 | 2644577.0418 | 1129940.987 | 2644577.6224 | 1129923.7721
98 | 2644577.0418 | 1129940.987 | 2644575.8647 | 1129949.1603 | 2644574.7261 | 1129952.1506
99 | 2644574.7261 | 1129952.1506 | 2644572.6084 | 1129957.7119
100 | 2644564.7956 | 1129974.8644 | 2644569.4948 | 1129965.8886 | 2644572.6084 | 1129957.7119
101 | 2644564.7956 | 1129974.8644 | 2644562.1978 | 1129979.8262
102 | 2644562.1978 | 1129979.8262 | 2644558.6123 | 1129986.6747 | 2644553.6766 | 1129996.1119
103 | 2644553.6766 | 1129996.1119 | 2644553.3589 | 1129996.7195
104 | 2644553.3589 | 1129996.7195 | 2644552.4681 | 1129998.4228

## bus_geodata
| x | y | coords
0 | 2644551.9958 | 1130174.847
1 | 2644563.5486 | 1130179.7456
2 | 2644523.7037 | 1130165.8097
3 | 2644508.2776 | 1130166.6967
4 | 2644499.3319 | 1130171.3777
5 | 2644488.0058 | 1130171.9169
6 | 2644498.2086 | 1130160.9396
7 | 2644530.5588 | 1130094.8535
8 | 2644509.2419 | 1130099.4191
9 | 2644522.7292 | 1130060.693
10 | 2644499.6384 | 1130138.975
11 | 2644616.7749 | 1129850.6224
12 | 2644614.3054 | 1129775.032
13 | 2644646.431 | 1129873.5388
14 | 2644648.0234 | 1129778.231
15 | 2644652.332 | 1129878.2795
16 | 2644531.5796 | 1130040.7875
17 | 2644501.6561 | 1130059.0719
18 | 2644534.8789 | 1130033.8447
19 | 2644476.3781 | 1130033.3492
20 | 2644484.1793 | 1130173.8231
21 | 2644477.6391 | 1130156.7111
22 | 2644542.4059 | 1130018.62
23 | 2644451.8886 | 1130046.9881
24 | 2644469.1303 | 1130018.1514
25 | 2644456.8629 | 1130164.0062
26 | 2644428.1791 | 1130059.5357
27 | 2644400.0773 | 1130008.4761
28 | 2644340.0724 | 1130013.2386
29 | 2644436.764 | 1130003.9847
30 | 2644467.8519 | 1130015.4708
31 | 2644486.4358 | 1129679.0335
32 | 2644481.2101 | 1129699.9848
33 | 2644489.2307 | 1129666.5459
34 | 2644402.9359 | 1129682.0518
35 | 2644561.3838 | 1129622.008
36 | 2644352.1423 | 1129643.4484
37 | 2644391.8552 | 1129620.7057
38 | 2644312.2786 | 1129726.4154
39 | 2644312.2565 | 1129726.5662
40 | 2644310.903 | 1129735.8048
41 | 2644303.7014 | 1129752.5829
42 | 2644307.4249 | 1129769.6943
43 | 2644300.9736 | 1129810.4465
44 | 2644344.4702 | 1129815.3452
45 | 2644348.8227 | 1129813.2515
46 | 2644320.5463 | 1129826.8536
47 | 2644575.8705 | 1129651.5632
48 | 2644587.2255 | 1129672.9454
49 | 2644421.8399 | 1129812.7371
50 | 2644410.9732 | 1129816.911
51 | 2644404.6642 | 1129819.3342
52 | 2644521.8086 | 1129890.699
53 | 2644423.5028 | 1129848.6994
54 | 2644531.9585 | 1129890.1826
55 | 2644385.9821 | 1129828.7583
56 | 2644638.0426 | 1129658.4361
57 | 2644679.4933 | 1129657.0858
58 | 2644635.6821 | 1129686.975
59 | 2644591.4764 | 1129680.9502
60 | 2644370.1988 | 1129837.9861
61 | 2644282.3606 | 1129814.4271
62 | 2644256.9112 | 1129804.2718
63 | 2644302.0509 | 1129822.2844
64 | 2644304.3705 | 1129829.4939
65 | 2644320.0685 | 1129867.2949
66 | 2644316.2899 | 1129828.9011
67 | 2644634.5179 | 1129701.0507
68 | 2644633.353 | 1129715.1354
69 | 2644633.2843 | 1129715.9649
70 | 2644691.366 | 1129716.9923
71 | 2644628.0392 | 1129744.74
72 | 2644635.5758 | 1129754.8095
73 | 2644616.5992 | 1129728.2583
74 | 2644594.9851 | 1129687.5574
75 | 2644595.1601 | 1129687.8868
76 | 2644605.2597 | 1129706.9052
77 | 2644606.5795 | 1129709.3904
78 | 2644614.8126 | 1129732.3805
79 | 2644605.9406 | 1129745.9674
80 | 2644605.3974 | 1129747.4887
81 | 2644648.2254 | 1129771.1469
82 | 2644604.4094 | 1129751.8038
83 | 2644601.4746 | 1129787.8473
84 | 2644597.3135 | 1129812.1848
85 | 2644582.3108 | 1129887.6207
86 | 2644578.3145 | 1129905.996
87 | 2644565.5466 | 1129888.4736
88 | 2644657.273 | 1129781.9859
89 | 2644660.9253 | 1129785.9815
90 | 2644677.1035 | 1129801.1654
91 | 2644688.4791 | 1129810.7644
92 | 2644700.5296 | 1129820.6918
93 | 2644705.1192 | 1129824.0493
94 | 2644713.2585 | 1129816.4945
95 | 2644542.7143 | 1129889.6353
96 | 2644577.8063 | 1129918.3184
97 | 2644577.6224 | 1129923.7721
98 | 2644577.0418 | 1129940.987
99 | 2644574.7261 | 1129952.1506
100 | 2644572.6084 | 1129957.7119
101 | 2644564.7956 | 1129974.8644
102 | 2644562.1978 | 1129979.8262
103 | 2644553.6766 | 1129996.1119
104 | 2644553.3589 | 1129996.7195
105 | 2644552.4681 | 1129998.4228
106 | 2644582.3108 | 1129887.6207

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1