## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6010-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6010-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6010-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6010-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6010-2_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6010-2_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6010-2_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6010-2_0_5_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_6010-2_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6010-2_0_5_node_75 | 0.4 | n |  | TRUE
10 | bus_LV_6010-2_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6010-2_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6010-2_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_6010-2_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6010-2_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6010-2_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6010-2_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6010-2_0_5_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_6010-2_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6010-2_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6010-2_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6010-2_0_5_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_6010-2_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6010-2_0_5_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_6010-2_0_5_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_6010-2_0_5_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_6010-2_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6010-2_0_5_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_6010-2_0_5_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_6010-2_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6010-2_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6010-2_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6010-2_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6010-2_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_6010-2_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6010-2_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6010-2_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_6010-2_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6010-2_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_6010-2_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_6010-2_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6010-2_0_5_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_6010-2_0_5_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_6010-2_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6010-2_0_5_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_6010-2_0_5_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_6010-2_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6010-2_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6010-2_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_6010-2_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6010-2_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6010-2_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6010-2_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6010-2_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_6010-2_0_5_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_6010-2_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_6010-2_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6010-2_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6010-2_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6010-2_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_6010-2_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6010-2_0_5_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_6010-2_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_6010-2_0_5_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_6010-2_0_5_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6010-2_0_5_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_6010-2_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6010-2_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_6010-2_0_5_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_6010-2_0_5_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_6010-2_0_5_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_6010-2_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6010-2_0_5_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_6010-2_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6010-2_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_6010-2_0_5_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_6010-2_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_6010-2_0_5_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_6010-2_0_5_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_6010-2_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_6010-2_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_6010-2_0_5_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_6010-2_0_5_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_6010-2_0_5_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_6010-2_0_5_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_6010-2_0_5_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_6010-2_0_5_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_6010-2_0_5_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_6010-2_0_5_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_6010-2_0_5_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_6010-2_0_5_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_6010-2_0_5_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_6010-2_0_5_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_6010-2_0_5_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_6010-2_0_5_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_6010-2_0_5_node_89 | 0.4 | n |  | TRUE
96 | bus_MV_86_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6010-2_0_5_load_0 | 0 | 0.0016648 | 0.00041724 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6010-2_0_5_load_1 | 1 | 0.0027958 | 0.00070069 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6010-2_0_5_load_2 | 2 | 0.0033179 | 0.00083155 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6010-2_0_5_load_4 | 4 | 0.0019337 | 0.00048463 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6010-2_0_5_load_5 | 5 | 0.0018791 | 0.00047095 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6010-2_0_5_load_6 | 6 | 0.0024488 | 0.00061372 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6010-2_0_5_load_15 | 7 | 0.0017708 | 0.00044381 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6010-2_0_5_load_7 | 8 | 0.0022146 | 0.00055503 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6010-2_0_5_load_75 | 9 | 0.0019527 | 0.00048938 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6010-2_0_5_load_8 | 10 | 0.0020375 | 0.00051065 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6010-2_0_5_load_9 | 11 | 0.0021143 | 0.0005299 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6010-2_0_5_load_14 | 12 | 0.0063973 | 0.0016033 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6010-2_0_5_load_10 | 13 | 0.0050102 | 0.0012557 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6010-2_0_5_load_11 | 14 | 0.0028363 | 0.00071086 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6010-2_0_5_load_12 | 15 | 0.0038383 | 0.00096198 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6010-2_0_5_load_13 | 16 | 0.003938 | 0.00098695 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6010-2_0_5_load_76 | 17 | 0.0025198 | 0.00063153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6010-2_0_5_load_16 | 18 | 0.0018653 | 0.00046749 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6010-2_0_5_load_17 | 19 | 0.0032942 | 0.0008256 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6010-2_0_5_load_20 | 20 | 0.0026324 | 0.00065974 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6010-2_0_5_load_29 | 21 | 0.0027841 | 0.00069775 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6010-2_0_5_load_30 | 23 | 0.0037216 | 0.00093273 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6010-2_0_5_load_31 | 24 | 0.0028389 | 0.0007115 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6010-2_0_5_load_28 | 25 | 0.0024862 | 0.00062309 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6010-2_0_5_load_19 | 26 | 0.0030178 | 0.00075634 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6010-2_0_5_load_54 | 27 | 0.0033396 | 0.00083698 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6010-2_0_5_load_88 | 28 | 0.0028949 | 0.00072553 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6010-2_0_5_load_21 | 29 | 0.0057555 | 0.0014425 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6010-2_0_5_load_22 | 30 | 0.0057121 | 0.0014316 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6010-2_0_5_load_23 | 31 | 0.0033835 | 0.00084799 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6010-2_0_5_load_24 | 32 | 0.0041921 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6010-2_0_5_load_25 | 33 | 0.004617 | 0.0011571 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6010-2_0_5_load_26 | 34 | 0.0040485 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6010-2_0_5_load_27 | 35 | 0.0043156 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6010-2_0_5_load_36 | 36 | 0.0041512 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6010-2_0_5_load_33 | 37 | 0.0051127 | 0.0012814 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6010-2_0_5_load_37 | 38 | 0.0036432 | 0.00091306 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6010-2_0_5_load_34 | 39 | 0.0046185 | 0.0011575 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6010-2_0_5_load_32 | 40 | 0.0034777 | 0.00087159 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6010-2_0_5_load_52 | 41 | 0.010431 | 0.0026142 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6010-2_0_5_load_50 | 42 | 0.020466 | 0.0051292 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6010-2_0_5_load_35 | 43 | 0.0077768 | 0.001949 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6010-2_0_5_load_64 | 44 | 0.0045703 | 0.0011454 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6010-2_0_5_load_62 | 45 | 0.005096 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6010-2_0_5_load_38 | 46 | 0.0046146 | 0.0011565 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6010-2_0_5_load_40 | 47 | 0.0044508 | 0.0011155 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6010-2_0_5_load_39 | 48 | 0.0081479 | 0.0020421 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6010-2_0_5_load_42 | 50 | 0.016993 | 0.0042589 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6010-2_0_5_load_43 | 51 | 0.00325 | 0.00081453 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6010-2_0_5_load_44 | 52 | 0.0056649 | 0.0014198 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6010-2_0_5_load_48 | 53 | 0.0083044 | 0.0020813 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6010-2_0_5_load_49 | 54 | 0.0029816 | 0.00074727 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6010-2_0_5_load_45 | 55 | 0.0065726 | 0.0016473 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6010-2_0_5_load_53 | 56 | 0.0084871 | 0.0021271 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6010-2_0_5_load_46 | 58 | 0.0064548 | 0.0016177 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6010-2_0_5_load_47 | 59 | 0.0061922 | 0.0015519 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6010-2_0_5_load_51 | 60 | 0.0077801 | 0.0019499 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6010-2_0_5_load_60 | 61 | 0.0024928 | 0.00062475 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6010-2_0_5_load_56 | 62 | 0.0024846 | 0.00062269 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6010-2_0_5_load_86 | 63 | 0.0030291 | 0.00075916 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6010-2_0_5_load_55 | 64 | 0.0026929 | 0.0006749 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6010-2_0_5_load_57 | 65 | 0.0026956 | 0.00067558 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6010-2_0_5_load_59 | 66 | 0.0020778 | 0.00052073 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6010-2_0_5_load_61 | 67 | 0.0027598 | 0.00069168 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6010-2_0_5_load_72 | 68 | 0.0024898 | 0.00062401 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6010-2_0_5_load_66 | 69 | 0.0021884 | 0.00054845 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6010-2_0_5_load_94 | 70 | 0.0035272 | 0.00088401 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6010-2_0_5_load_67 | 71 | 0.0023239 | 0.00058242 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6010-2_0_5_load_63 | 72 | 0.0020919 | 0.00052427 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6010-2_0_5_load_65 | 73 | 0.0020756 | 0.00052018 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6010-2_0_5_load_68 | 74 | 0.0024398 | 0.00061147 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6010-2_0_5_load_71 | 76 | 0.0019452 | 0.00048752 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6010-2_0_5_load_70 | 77 | 0.0011112 | 0.00027849 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6010-2_0_5_load_92 | 78 | 0.0030329 | 0.0007601 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6010-2_0_5_load_73 | 79 | 0.0014823 | 0.00037149 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6010-2_0_5_load_74 | 80 | 0.0016407 | 0.0004112 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6010-2_0_5_load_95 | 81 | 0.0012789 | 0.00032053 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6010-2_0_5_load_93 | 82 | 0.0017542 | 0.00043964 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6010-2_0_5_load_80 | 83 | 0.0017413 | 0.00043641 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6010-2_0_5_load_78 | 84 | 0.0022806 | 0.00057158 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6010-2_0_5_load_77 | 85 | 0.0024318 | 0.00060946 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6010-2_0_5_load_79 | 86 | 0.0014062 | 0.00035243 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6010-2_0_5_load_81 | 87 | 0.001587 | 0.00039774 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6010-2_0_5_load_82 | 88 | 0.0013557 | 0.00033977 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6010-2_0_5_load_91 | 89 | 0.002957 | 0.00074109 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6010-2_0_5_load_90 | 90 | 0.0035317 | 0.00088513 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6010-2_0_5_load_83 | 91 | 0.0031684 | 0.00079407 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6010-2_0_5_load_84 | 92 | 0.0029819 | 0.00074734 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6010-2_0_5_load_85 | 93 | 0.0025177 | 0.00063098 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6010-2_0_5_load_87 | 94 | 0.0027097 | 0.00067912 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6010-2_0_5_load_89 | 95 | 0.0024262 | 0.00060806 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6010-2_0_5_line_0 |  | 0 | 1 | 0.0038955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6010-2_0_5_line_1 |  | 0 | 2 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6010-2_0_5_line_2 |  | 1 | 3 | 0.029956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6010-2_0_5_line_3 |  | 2 | 4 | 0.0050333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6010-2_0_5_line_4 |  | 3 | 5 | 0.052001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6010-2_0_5_line_5 |  | 4 | 6 | 0.019403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6010-2_0_5_line_6 |  | 5 | 7 | 0.0065257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6010-2_0_5_line_7 |  | 6 | 8 | 0.001717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6010-2_0_5_line_8 |  | 7 | 9 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6010-2_0_5_line_9 |  | 8 | 10 | 0.0057475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6010-2_0_5_line_10 |  | 9 | 17 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6010-2_0_5_line_11 |  | 10 | 11 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6010-2_0_5_line_12 |  | 10 | 12 | 0.089238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6010-2_0_5_line_13 |  | 11 | 13 | 0.0020872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6010-2_0_5_line_14 |  | 13 | 14 | 0.0037219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6010-2_0_5_line_15 |  | 14 | 15 | 0.014404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6010-2_0_5_line_16 |  | 15 | 16 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6010-2_0_5_line_17 |  | 17 | 83 | 0.0075618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6010-2_0_5_line_18 |  | 18 | 19 | 0.027843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6010-2_0_5_line_19 |  | 18 | 20 | 0.098281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6010-2_0_5_line_20 |  | 20 | 21 | 0.0018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6010-2_0_5_line_21 |  | 20 | 22 | 0.022188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6010-2_0_5_line_22 |  | 21 | 25 | 0.0022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6010-2_0_5_line_23 |  | 22 | 26 | 0.018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6010-2_0_5_line_24 |  | 23 | 24 | 0.0076671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6010-2_0_5_line_25 |  | 23 | 25 | 0.01299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6010-2_0_5_line_26 |  | 24 | 40 | 0.0026142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6010-2_0_5_line_27 |  | 26 | 27 | 0.021448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6010-2_0_5_line_28 |  | 27 | 28 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6010-2_0_5_line_29 |  | 28 | 63 | 0.01754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6010-2_0_5_line_30 |  | 29 | 30 | 0.0016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6010-2_0_5_line_31 |  | 29 | 31 | 0.003573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6010-2_0_5_line_32 |  | 30 | 32 | 0.001846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6010-2_0_5_line_33 |  | 31 | 33 | 0.0043678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6010-2_0_5_line_34 |  | 32 | 34 | 0.0042362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6010-2_0_5_line_35 |  | 33 | 35 | 0.00023858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6010-2_0_5_line_36 |  | 34 | 36 | 0.003153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6010-2_0_5_line_37 |  | 35 | 37 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6010-2_0_5_line_38 |  | 36 | 38 | 0.0038323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6010-2_0_5_line_39 |  | 37 | 39 | 0.0071688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6010-2_0_5_line_40 |  | 38 | 46 | 0.023028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6010-2_0_5_line_41 |  | 39 | 43 | 0.014265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6010-2_0_5_line_42 |  | 40 | 41 | 0.0062818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6010-2_0_5_line_43 |  | 41 | 42 | 0.01317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6010-2_0_5_line_44 |  | 42 | 60 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6010-2_0_5_line_45 |  | 43 | 44 | 0.018971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6010-2_0_5_line_46 |  | 44 | 45 | 0.026248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6010-2_0_5_line_47 |  | 45 | 72 | 0.04123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6010-2_0_5_line_48 |  | 46 | 47 | 0.0046912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6010-2_0_5_line_49 |  | 47 | 48 | 0.012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6010-2_0_5_line_50 |  | 48 | 49 | 0.041683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6010-2_0_5_line_51 |  | 49 | 50 | 0.059645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6010-2_0_5_line_52 |  | 49 | 51 | 0.078471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6010-2_0_5_line_53 |  | 49 | 52 | 0.040393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6010-2_0_5_line_54 |  | 50 | 53 | 0.00076335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6010-2_0_5_line_55 |  | 51 | 54 | 0.040712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6010-2_0_5_line_56 |  | 52 | 55 | 0.0059798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6010-2_0_5_line_57 |  | 53 | 56 | 0.0013969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6010-2_0_5_line_58 |  | 54 | 57 | 0.020438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6010-2_0_5_line_59 |  | 55 | 58 | 0.0027415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6010-2_0_5_line_60 |  | 56 | 60 | 0.0014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6010-2_0_5_line_61 |  | 57 | 61 | 0.007626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6010-2_0_5_line_62 |  | 57 | 62 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6010-2_0_5_line_63 |  | 58 | 59 | 0.0032593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6010-2_0_5_line_64 |  | 61 | 68 | 0.015236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6010-2_0_5_line_65 |  | 62 | 64 | 0.026472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6010-2_0_5_line_66 |  | 63 | 92 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6010-2_0_5_line_67 |  | 64 | 65 | 0.019565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6010-2_0_5_line_68 |  | 65 | 66 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6010-2_0_5_line_69 |  | 66 | 67 | 0.0052253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6010-2_0_5_line_70 |  | 67 | 69 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6010-2_0_5_line_71 |  | 68 | 70 | 0.051847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6010-2_0_5_line_72 |  | 69 | 71 | 0.0033542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6010-2_0_5_line_73 |  | 70 | 78 | 0.040457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6010-2_0_5_line_74 |  | 71 | 74 | 0.042197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6010-2_0_5_line_75 |  | 72 | 73 | 0.017085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6010-2_0_5_line_76 |  | 74 | 75 | 0.044889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6010-2_0_5_line_77 |  | 75 | 76 | 0.037544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6010-2_0_5_line_78 |  | 76 | 77 | 0.006231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6010-2_0_5_line_79 |  | 78 | 82 | 0.024528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6010-2_0_5_line_80 |  | 79 | 80 | 0.0044553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6010-2_0_5_line_81 |  | 80 | 81 | 0.016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6010-2_0_5_line_82 |  | 81 | 82 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6010-2_0_5_line_83 |  | 83 | 84 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_6010-2_0_5_line_84 |  | 84 | 85 | 0.002016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_6010-2_0_5_line_85 |  | 85 | 86 | 0.016119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6010-2_0_5_line_86 |  | 86 | 87 | 0.016406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_6010-2_0_5_line_87 |  | 87 | 88 | 0.030405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6010-2_0_5_line_88 |  | 88 | 89 | 0.023418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_6010-2_0_5_line_89 |  | 89 | 90 | 0.0092097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_6010-2_0_5_line_90 |  | 90 | 95 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_6010-2_0_5_line_91 |  | 91 | 92 | 0.0042233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_6010-2_0_5_line_92 |  | 91 | 93 | 0.0017441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_6010-2_0_5_line_93 |  | 93 | 94 | 0.021842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_6010-2_0_5_line_94 |  | 94 | 95 | 0.017723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6010-2_0_5_trafo_58 | 0.63 MVA 20/0.4 kV | 96 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2646938.6722 | 1128651.9126 | 2646937.3473 | 1128650.7588 | 2646935.7689 | 1128649.3158
1 | 2646938.6722 | 1128651.9126 | 2646955.3795 | 1128666.4624
2 | 2646914.9034 | 1128628.162 | 2646916.8305 | 1128632.0012 | 2646935.7689 | 1128649.3158
3 | 2646959.1752 | 1128669.768 | 2646955.3795 | 1128666.4624
4 | 2646914.9034 | 1128628.162 | 2646910.4008 | 1128625.6147 | 2646893.2798 | 1128603.0926 | 2646880.1601 | 1128589.9968
5 | 2646959.1752 | 1128669.768 | 2646959.4625 | 1128670.0181 | 2646975.3582 | 1128680.4667
6 | 2646880.1601 | 1128589.9968 | 2646875.5414 | 1128585.3866
7 | 2646975.3582 | 1128680.4667 | 2646976.793 | 1128681.4098
8 | 2646867.8773 | 1128573.3322 | 2646873.1658 | 1128583.0153 | 2646875.5414 | 1128585.3866
9 | 2646981.5958 | 1128684.5668 | 2646976.793 | 1128681.4098
10 | 2646861.2481 | 1128561.1945 | 2646867.8773 | 1128573.3322
11 | 2646981.5958 | 1128684.5668 | 2646989.8921 | 1128690.0202 | 2646995.967 | 1128692.6259
12 | 2646981.5958 | 1128684.5668 | 2647029.2871 | 1128609.1418
13 | 2646995.967 | 1128692.6259 | 2646997.8852 | 1128693.4487
14 | 2647001.3057 | 1128694.9159 | 2646997.8852 | 1128693.4487
15 | 2647001.3057 | 1128694.9159 | 2647014.5434 | 1128700.5941
16 | 2647014.5434 | 1128700.5941 | 2647021.197 | 1128703.4481 | 2647027.1236 | 1128705.5176
17 | 2646861.2481 | 1128561.1945 | 2646857.6235 | 1128554.558 | 2646857.6235 | 1128554.558
18 | 2646528.6259 | 1128472.7809 | 2646523.3762 | 1128470.6027 | 2646508.0397 | 1128461.2244 | 2646505.0111 | 1128458.3403
19 | 2646616.0122 | 1128427.8052 | 2646528.6259 | 1128472.7809
20 | 2646615.246 | 1128426.0751 | 2646616.0122 | 1128427.8052
21 | 2646626.8728 | 1128446.9759 | 2646623.2915 | 1128442.8128 | 2646620.1911 | 1128437.2416 | 2646616.0122 | 1128427.8052
22 | 2646614.3286 | 1128424.0035 | 2646615.246 | 1128426.0751
23 | 2646626.8728 | 1128446.9759 | 2646645.2526 | 1128447.7338
24 | 2646609.4625 | 1128411.9625 | 2646606.6733 | 1128404.8208
25 | 2646614.3286 | 1128424.0035 | 2646612.9442 | 1128420.8773 | 2646609.4625 | 1128411.9625
26 | 2646606.6733 | 1128404.8208 | 2646606.6733 | 1128404.8208 | 2646606.3144 | 1128402.2313
27 | 2646666.6825 | 1128448.6175 | 2646645.2526 | 1128447.7338
28 | 2646678.5072 | 1128452.4459 | 2646668.9866 | 1128448.7125 | 2646666.6825 | 1128448.6175
29 | 2646694.1375 | 1128460.0279 | 2646690.8776 | 1128457.2969 | 2646678.5072 | 1128452.4459
30 | 2646694.93 | 1128243.5706 | 2646693.3567 | 1128243.9281
31 | 2646694.93 | 1128243.5706 | 2646698.4142 | 1128242.7789
32 | 2646693.3567 | 1128243.9281 | 2646693.3567 | 1128243.9281 | 2646691.6983 | 1128244.7389
33 | 2646698.4142 | 1128242.7789 | 2646702.6734 | 1128241.8112
34 | 2646687.8925 | 1128246.5996 | 2646691.6983 | 1128244.7389
35 | 2646702.906 | 1128241.7583 | 2646702.6734 | 1128241.8112
36 | 2646687.8925 | 1128246.5996 | 2646685.06 | 1128247.9845
37 | 2646702.906 | 1128241.7583 | 2646708.9241 | 1128240.3909 | 2646713.1503 | 1128239.9678
38 | 2646681.6171 | 1128249.6678 | 2646685.06 | 1128247.9845
39 | 2646713.1503 | 1128239.9678 | 2646720.2834 | 1128239.2537
40 | 2646681.6171 | 1128249.6678 | 2646663.8988 | 1128258.3306 | 2646661.4387 | 1128260.5389
41 | 2646734.4779 | 1128237.8328 | 2646720.2834 | 1128239.2537
42 | 2646606.3144 | 1128402.2313 | 2646605.4521 | 1128396.009
43 | 2646603.6444 | 1128382.9639 | 2646603.6444 | 1128382.9639 | 2646605.4521 | 1128396.009
44 | 2646603.6444 | 1128382.9639 | 2646606.331 | 1128366.9718
45 | 2646734.4779 | 1128237.8328 | 2646742.8428 | 1128236.9954 | 2646753.3657 | 1128237.932
46 | 2646779.0711 | 1128242.6312 | 2646766.7799 | 1128239.1259 | 2646753.3657 | 1128237.932
47 | 2646779.0711 | 1128242.6312 | 2646818.7197 | 1128253.9387
48 | 2646657.9476 | 1128263.6725 | 2646661.4387 | 1128260.5389
49 | 2646648.6849 | 1128271.987 | 2646648.6849 | 1128271.987 | 2646657.9476 | 1128263.6725
50 | 2646626.7389 | 1128307.4251 | 2646648.6849 | 1128271.987
51 | 2646626.7389 | 1128307.4251 | 2646613.6067 | 1128336.8947 | 2646607.4718 | 1128360.1817 | 2646606.9251 | 1128363.4359
52 | 2646626.7389 | 1128307.4251 | 2646637.1083 | 1128303.5363 | 2646644.3826 | 1128304.3706 | 2646660.1672 | 1128324.5916 | 2646690.6627 | 1128340.5574
53 | 2646626.7389 | 1128307.4251 | 2646619.0994 | 1128305.9877 | 2646611.929 | 1128310.6571 | 2646602.007 | 1128317.4842 | 2646592.4833 | 1128319.612 | 2646590.7052 | 1128318.2167
54 | 2646606.9251 | 1128363.4359 | 2646606.7986 | 1128364.1887
55 | 2646690.6627 | 1128340.5574 | 2646696.9768 | 1128343.8632 | 2646714.9348 | 1128351.9837 | 2646727.7864 | 1128357.2168
56 | 2646590.7052 | 1128318.2167 | 2646586.001 | 1128314.5251
57 | 2646606.7986 | 1128364.1887 | 2646606.5671 | 1128365.5664
58 | 2646746.7158 | 1128364.9247 | 2646727.7864 | 1128357.2168
59 | 2646583.8443 | 1128312.8326 | 2646586.001 | 1128314.5251
60 | 2646606.331 | 1128366.9718 | 2646606.5671 | 1128365.5664
61 | 2646746.7158 | 1128364.9247 | 2646752.9587 | 1128369.3046
62 | 2646746.7158 | 1128364.9247 | 2646764.8819 | 1128369.791
63 | 2646583.8443 | 1128312.8326 | 2646581.2803 | 1128310.8205
64 | 2646752.9587 | 1128369.3046 | 2646765.4311 | 1128378.0549
65 | 2646790.4521 | 1128376.6406 | 2646764.8819 | 1128369.791
66 | 2646703.6205 | 1128467.9727 | 2646694.1375 | 1128460.0279
67 | 2646790.4521 | 1128376.6406 | 2646809.3511 | 1128381.7033
68 | 2646828.6975 | 1128385.3106 | 2646811.7988 | 1128382.359 | 2646809.3511 | 1128381.7033
69 | 2646828.6975 | 1128385.3106 | 2646833.8449 | 1128386.2097
70 | 2646850.9159 | 1128389.1914 | 2646833.8449 | 1128386.2097
71 | 2646765.4311 | 1128378.0549 | 2646784.4476 | 1128391.3966 | 2646802.692 | 1128413.444
72 | 2646850.9159 | 1128389.1914 | 2646854.22 | 1128389.7686
73 | 2646826.0464 | 1128446.4101 | 2646811.3158 | 1128423.8655 | 2646802.692 | 1128413.444
74 | 2646854.22 | 1128389.7686 | 2646895.7882 | 1128397.0292
75 | 2646818.7197 | 1128253.9387 | 2646828.8036 | 1128256.8146 | 2646835.1748 | 1128258.5325
76 | 2646939.3205 | 1128407.3929 | 2646923.5539 | 1128401.8789 | 2646895.7882 | 1128397.0292
77 | 2646939.3205 | 1128407.3929 | 2646973.3568 | 1128423.2391
78 | 2646979.0057 | 1128425.869 | 2646973.3568 | 1128423.2391
79 | 2646826.0464 | 1128446.4101 | 2646827.9832 | 1128449.3743 | 2646844.7094 | 1128462.0504
80 | 2646870.0947 | 1128480.129 | 2646873.7436 | 1128482.6854
81 | 2646870.0947 | 1128480.129 | 2646856.4247 | 1128470.552
82 | 2646856.4247 | 1128470.552 | 2646849.843 | 1128465.9409 | 2646844.7094 | 1128462.0504
83 | 2646838.1568 | 1128545.0575 | 2646840.8 | 1128546.2902 | 2646857.6235 | 1128554.558
84 | 2646836.3298 | 1128544.2054 | 2646838.1568 | 1128545.0575
85 | 2646836.3298 | 1128544.2054 | 2646821.7218 | 1128537.3925
86 | 2646821.7218 | 1128537.3925 | 2646813.8709 | 1128533.7309 | 2646806.5325 | 1128531.261
87 | 2646806.5325 | 1128531.261 | 2646791.6943 | 1128526.2667 | 2646779.3428 | 1128518.2057
88 | 2646759.7317 | 1128505.4069 | 2646779.3428 | 1128518.2057
89 | 2646752.0192 | 1128500.3735 | 2646759.7317 | 1128505.4069
90 | 2646741.27 | 1128493.3582 | 2646752.0192 | 1128500.3735
91 | 2646706.8578 | 1128470.6849 | 2646703.6205 | 1128467.9727
92 | 2646706.8578 | 1128470.6849 | 2646708.1947 | 1128471.8049
93 | 2646726.1075 | 1128484.1854 | 2646715.2122 | 1128477.6841 | 2646708.1947 | 1128471.8049
94 | 2646741.27 | 1128493.3582 | 2646739.0318 | 1128491.8975 | 2646726.1075 | 1128484.1854

## bus_geodata
| x | y | coords
0 | 2646938.6722 | 1128651.9126
1 | 2646935.7689 | 1128649.3158
2 | 2646955.3795 | 1128666.4624
3 | 2646914.9034 | 1128628.162
4 | 2646959.1752 | 1128669.768
5 | 2646880.16 | 1128589.9968
6 | 2646975.3582 | 1128680.4667
7 | 2646875.5414 | 1128585.3866
8 | 2646976.793 | 1128681.4098
9 | 2646867.8773 | 1128573.3322
10 | 2646981.5958 | 1128684.5668
11 | 2646995.967 | 1128692.6259
12 | 2647029.2871 | 1128609.1418
13 | 2646997.8852 | 1128693.4487
14 | 2647001.3057 | 1128694.9159
15 | 2647014.5434 | 1128700.5941
16 | 2647027.1236 | 1128705.5176
17 | 2646861.2481 | 1128561.1945
18 | 2646528.6259 | 1128472.7809
19 | 2646505.0111 | 1128458.3403
20 | 2646616.0122 | 1128427.8052
21 | 2646615.246 | 1128426.0751
22 | 2646626.8728 | 1128446.9759
23 | 2646609.4625 | 1128411.9625
24 | 2646606.6733 | 1128404.8208
25 | 2646614.3286 | 1128424.0035
26 | 2646645.2526 | 1128447.7338
27 | 2646666.6825 | 1128448.6175
28 | 2646678.5072 | 1128452.4459
29 | 2646694.93 | 1128243.5706
30 | 2646693.3567 | 1128243.9281
31 | 2646698.4142 | 1128242.7789
32 | 2646691.6983 | 1128244.7389
33 | 2646702.6734 | 1128241.8112
34 | 2646687.8925 | 1128246.5996
35 | 2646702.906 | 1128241.7583
36 | 2646685.06 | 1128247.9845
37 | 2646713.1503 | 1128239.9678
38 | 2646681.6171 | 1128249.6678
39 | 2646720.2834 | 1128239.2537
40 | 2646606.3144 | 1128402.2313
41 | 2646605.4521 | 1128396.009
42 | 2646603.6444 | 1128382.9639
43 | 2646734.4779 | 1128237.8328
44 | 2646753.3657 | 1128237.932
45 | 2646779.0711 | 1128242.6312
46 | 2646661.4387 | 1128260.5389
47 | 2646657.9476 | 1128263.6725
48 | 2646648.6849 | 1128271.987
49 | 2646626.7389 | 1128307.4251
50 | 2646606.9251 | 1128363.4359
51 | 2646690.6627 | 1128340.5574
52 | 2646590.7052 | 1128318.2167
53 | 2646606.7986 | 1128364.1887
54 | 2646727.7864 | 1128357.2168
55 | 2646586.001 | 1128314.5251
56 | 2646606.5671 | 1128365.5664
57 | 2646746.7158 | 1128364.9247
58 | 2646583.8443 | 1128312.8326
59 | 2646581.2803 | 1128310.8205
60 | 2646606.331 | 1128366.9718
61 | 2646752.9587 | 1128369.3046
62 | 2646764.8819 | 1128369.791
63 | 2646694.1375 | 1128460.0279
64 | 2646790.4521 | 1128376.6406
65 | 2646809.3511 | 1128381.7033
66 | 2646828.6975 | 1128385.3106
67 | 2646833.8449 | 1128386.2097
68 | 2646765.4311 | 1128378.0549
69 | 2646850.9159 | 1128389.1914
70 | 2646802.692 | 1128413.444
71 | 2646854.22 | 1128389.7686
72 | 2646818.7197 | 1128253.9387
73 | 2646835.1748 | 1128258.5325
74 | 2646895.7882 | 1128397.0291
75 | 2646939.3205 | 1128407.3929
76 | 2646973.3568 | 1128423.2391
77 | 2646979.0057 | 1128425.869
78 | 2646826.0464 | 1128446.4101
79 | 2646873.7436 | 1128482.6854
80 | 2646870.0947 | 1128480.129
81 | 2646856.4247 | 1128470.552
82 | 2646844.7094 | 1128462.0504
83 | 2646857.6235 | 1128554.558
84 | 2646838.1568 | 1128545.0575
85 | 2646836.3298 | 1128544.2054
86 | 2646821.7218 | 1128537.3925
87 | 2646806.5325 | 1128531.261
88 | 2646779.3428 | 1128518.2057
89 | 2646759.7317 | 1128505.4069
90 | 2646752.0192 | 1128500.3735
91 | 2646706.8578 | 1128470.6849
92 | 2646703.6205 | 1128467.9727
93 | 2646708.1947 | 1128471.8049
94 | 2646726.1075 | 1128484.1854
95 | 2646741.27 | 1128493.3582
96 | 2646626.7389 | 1128307.4251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1