## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6010-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6010-4_0_5_node_55 | 0.4 | n |  | TRUE
2 | bus_LV_6010-4_0_5_node_51 | 0.4 | n |  | TRUE
3 | bus_LV_6010-4_0_5_node_77 | 0.4 | n |  | TRUE
4 | bus_LV_6010-4_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_6010-4_0_5_node_1 | 0.4 | n |  | TRUE
6 | bus_LV_6010-4_0_5_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_6010-4_0_5_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_6010-4_0_5_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6010-4_0_5_node_2 | 0.4 | n |  | TRUE
10 | bus_LV_6010-4_0_5_node_90 | 0.4 | n |  | TRUE
11 | bus_LV_6010-4_0_5_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_6010-4_0_5_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_6010-4_0_5_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_6010-4_0_5_node_97 | 0.4 | n |  | TRUE
15 | bus_LV_6010-4_0_5_node_3 | 0.4 | n |  | TRUE
16 | bus_LV_6010-4_0_5_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_6010-4_0_5_node_4 | 0.4 | n |  | TRUE
18 | bus_LV_6010-4_0_5_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_6010-4_0_5_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_6010-4_0_5_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_6010-4_0_5_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_6010-4_0_5_node_5 | 0.4 | n |  | TRUE
23 | bus_LV_6010-4_0_5_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_6010-4_0_5_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_6010-4_0_5_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_6010-4_0_5_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_6010-4_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6010-4_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6010-4_0_5_node_7 | 0.4 | n |  | TRUE
30 | bus_LV_6010-4_0_5_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_6010-4_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6010-4_0_5_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_6010-4_0_5_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_6010-4_0_5_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_6010-4_0_5_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_6010-4_0_5_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_6010-4_0_5_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_6010-4_0_5_node_9 | 0.4 | n |  | TRUE
39 | bus_LV_6010-4_0_5_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_6010-4_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6010-4_0_5_node_10 | 0.4 | n |  | TRUE
42 | bus_LV_6010-4_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_6010-4_0_5_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_6010-4_0_5_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_6010-4_0_5_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_6010-4_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6010-4_0_5_node_11 | 0.4 | n |  | TRUE
48 | bus_LV_6010-4_0_5_node_15 | 0.4 | n |  | TRUE
49 | bus_LV_6010-4_0_5_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_6010-4_0_5_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_6010-4_0_5_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_6010-4_0_5_node_12 | 0.4 | n |  | TRUE
53 | bus_LV_6010-4_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_6010-4_0_5_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_6010-4_0_5_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_6010-4_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_6010-4_0_5_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_6010-4_0_5_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_6010-4_0_5_node_13 | 0.4 | n |  | TRUE
60 | bus_LV_6010-4_0_5_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_6010-4_0_5_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_6010-4_0_5_node_14 | 0.4 | n |  | TRUE
63 | bus_LV_6010-4_0_5_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_6010-4_0_5_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_6010-4_0_5_node_27 | 0.4 | n |  | TRUE
66 | bus_LV_6010-4_0_5_node_19 | 0.4 | n |  | TRUE
67 | bus_LV_6010-4_0_5_node_24 | 0.4 | n |  | TRUE
68 | bus_LV_6010-4_0_5_node_16 | 0.4 | n |  | TRUE
69 | bus_LV_6010-4_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6010-4_0_5_node_32 | 0.4 | n |  | TRUE
71 | bus_LV_6010-4_0_5_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_6010-4_0_5_node_20 | 0.4 | n |  | TRUE
73 | bus_LV_6010-4_0_5_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_6010-4_0_5_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_6010-4_0_5_node_21 | 0.4 | n |  | TRUE
76 | bus_LV_6010-4_0_5_node_26 | 0.4 | n |  | TRUE
77 | bus_LV_6010-4_0_5_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_6010-4_0_5_node_103 | 0.4 | n |  | TRUE
79 | bus_LV_6010-4_0_5_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_6010-4_0_5_node_35 | 0.4 | n |  | TRUE
81 | bus_LV_6010-4_0_5_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_6010-4_0_5_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_6010-4_0_5_node_33 | 0.4 | n |  | TRUE
84 | bus_LV_6010-4_0_5_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_6010-4_0_5_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_6010-4_0_5_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_6010-4_0_5_node_42 | 0.4 | n |  | TRUE
88 | bus_LV_6010-4_0_5_node_57 | 0.4 | n |  | TRUE
89 | bus_LV_6010-4_0_5_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_6010-4_0_5_node_44 | 0.4 | n |  | TRUE
91 | bus_LV_6010-4_0_5_node_38 | 0.4 | n |  | TRUE
92 | bus_LV_6010-4_0_5_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_6010-4_0_5_node_43 | 0.4 | n |  | TRUE
94 | bus_LV_6010-4_0_5_node_58 | 0.4 | n |  | TRUE
95 | bus_LV_6010-4_0_5_node_61 | 0.4 | n |  | TRUE
96 | bus_LV_6010-4_0_5_node_46 | 0.4 | n |  | TRUE
97 | bus_LV_6010-4_0_5_node_59 | 0.4 | n |  | TRUE
98 | bus_LV_6010-4_0_5_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_6010-4_0_5_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_6010-4_0_5_node_50 | 0.4 | n |  | TRUE
101 | bus_LV_6010-4_0_5_node_66 | 0.4 | n |  | TRUE
102 | bus_LV_6010-4_0_5_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_6010-4_0_5_node_102 | 0.4 | n |  | TRUE
104 | bus_MV_86_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6010-4_0_5_load_0 | 0 | 0.005073 | 0.0012714 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6010-4_0_5_load_55 | 1 | 0.003155 | 0.00079071 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6010-4_0_5_load_51 | 2 | 0.0048733 | 0.0012214 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6010-4_0_5_load_77 | 3 | 0.0025684 | 0.0006437 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6010-4_0_5_load_8 | 4 | 0.0026187 | 0.0006563 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6010-4_0_5_load_1 | 5 | 0.0029976 | 0.00075127 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6010-4_0_5_load_64 | 6 | 0.013334 | 0.0033419 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6010-4_0_5_load_30 | 7 | 0.0026576 | 0.00066605 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6010-4_0_5_load_28 | 8 | 0.0036456 | 0.00091367 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6010-4_0_5_load_90 | 10 | 0.010595 | 0.0026554 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6010-4_0_5_load_96 | 12 | 0.012698 | 0.0031823 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6010-4_0_5_load_22 | 13 | 0.0038699 | 0.00096988 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6010-4_0_5_load_97 | 14 | 0.0072302 | 0.0018121 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6010-4_0_5_load_3 | 15 | 0.0091843 | 0.0023018 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6010-4_0_5_load_41 | 16 | 0.007098 | 0.0017789 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6010-4_0_5_load_4 | 17 | 0.0037465 | 0.00093895 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6010-4_0_5_load_87 | 19 | 0.0030816 | 0.00077231 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6010-4_0_5_load_71 | 20 | 0.0065649 | 0.0016453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6010-4_0_5_load_52 | 21 | 0.005121 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6010-4_0_5_load_5 | 22 | 0.0059441 | 0.0014897 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6010-4_0_5_load_82 | 23 | 0.0061206 | 0.001534 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6010-4_0_5_load_48 | 24 | 0.0063631 | 0.0015948 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6010-4_0_5_load_47 | 25 | 0.0026732 | 0.00066996 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6010-4_0_5_load_74 | 26 | 0.0081202 | 0.0020351 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6010-4_0_5_load_18 | 27 | 0.0032138 | 0.00080546 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6010-4_0_5_load_31 | 28 | 0.0061842 | 0.0015499 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6010-4_0_5_load_7 | 29 | 0.004866 | 0.0012195 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6010-4_0_5_load_70 | 30 | 0.0057452 | 0.0014399 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6010-4_0_5_load_25 | 31 | 0.003303 | 0.00082781 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6010-4_0_5_load_72 | 32 | 0.0045313 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6010-4_0_5_load_53 | 33 | 0.0045683 | 0.0011449 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6010-4_0_5_load_86 | 34 | 0.0048441 | 0.001214 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6010-4_0_5_load_63 | 35 | 0.0042191 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6010-4_0_5_load_67 | 36 | 0.0025067 | 0.00062823 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6010-4_0_5_load_89 | 37 | 0.0067264 | 0.0016858 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6010-4_0_5_load_9 | 38 | 0.0045071 | 0.0011296 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6010-4_0_5_load_45 | 39 | 0.0015636 | 0.00039188 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6010-4_0_5_load_40 | 40 | 0.0023587 | 0.00059114 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6010-4_0_5_load_10 | 41 | 0.0082769 | 0.0020744 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6010-4_0_5_load_23 | 42 | 0.0053782 | 0.0013479 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6010-4_0_5_load_17 | 43 | 0.0083717 | 0.0020982 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6010-4_0_5_load_73 | 44 | 0.0041004 | 0.0010276 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6010-4_0_5_load_79 | 45 | 0.0062281 | 0.0015609 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6010-4_0_5_load_29 | 46 | 0.0043002 | 0.0010777 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6010-4_0_5_load_11 | 47 | 0.0046336 | 0.0011613 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6010-4_0_5_load_15 | 48 | 0.0051271 | 0.001285 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6010-4_0_5_load_93 | 49 | 0.007368 | 0.0018466 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6010-4_0_5_load_99 | 51 | 0.0039845 | 0.00099861 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6010-4_0_5_load_12 | 52 | 0.0044474 | 0.0011146 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6010-4_0_5_load_34 | 53 | 0.004882 | 0.0012235 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6010-4_0_5_load_88 | 54 | 0.0028724 | 0.00071988 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6010-4_0_5_load_36 | 55 | 0.0038368 | 0.00096158 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6010-4_0_5_load_39 | 56 | 0.0027083 | 0.00067878 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6010-4_0_5_load_92 | 57 | 0.032714 | 0.0081989 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6010-4_0_5_load_100 | 58 | 0.0044373 | 0.0011121 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6010-4_0_5_load_13 | 59 | 0.0075439 | 0.0018907 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6010-4_0_5_load_91 | 60 | 0.006436 | 0.001613 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6010-4_0_5_load_37 | 61 | 0.010405 | 0.0026077 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6010-4_0_5_load_14 | 62 | 0.0060745 | 0.0015224 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6010-4_0_5_load_84 | 63 | 0.0069582 | 0.0017439 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6010-4_0_5_load_27 | 65 | 0.0063011 | 0.0015792 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6010-4_0_5_load_19 | 66 | 0.0059464 | 0.0014903 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6010-4_0_5_load_24 | 67 | 0.0030404 | 0.000762 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6010-4_0_5_load_16 | 68 | 0.0064598 | 0.001619 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6010-4_0_5_load_56 | 69 | 0.0071556 | 0.0017934 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6010-4_0_5_load_32 | 70 | 0.0040291 | 0.0010098 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6010-4_0_5_load_83 | 71 | 0.0091463 | 0.0022923 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6010-4_0_5_load_20 | 72 | 0.0062735 | 0.0015723 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6010-4_0_5_load_60 | 73 | 0.010104 | 0.0025323 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6010-4_0_5_load_65 | 74 | 0.0066351 | 0.0016629 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6010-4_0_5_load_21 | 75 | 0.0036342 | 0.00091081 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6010-4_0_5_load_26 | 76 | 0.0058673 | 0.0014705 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6010-4_0_5_load_54 | 77 | 0.0051977 | 0.0013027 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6010-4_0_5_load_103 | 78 | 0.0035618 | 0.00089268 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6010-4_0_5_load_98 | 79 | 0.0041421 | 0.0010381 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6010-4_0_5_load_35 | 80 | 0.0051682 | 0.0012953 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6010-4_0_5_load_69 | 81 | 0.0046037 | 0.0011538 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6010-4_0_5_load_75 | 82 | 0.0070399 | 0.0017644 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6010-4_0_5_load_33 | 83 | 0.0035869 | 0.00089895 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6010-4_0_5_load_62 | 84 | 0.0033876 | 0.00084901 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6010-4_0_5_load_78 | 85 | 0.0033491 | 0.00083938 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6010-4_0_5_load_81 | 86 | 0.0064976 | 0.0016284 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6010-4_0_5_load_42 | 87 | 0.008515 | 0.0021341 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6010-4_0_5_load_57 | 88 | 0.0095254 | 0.0023873 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6010-4_0_5_load_68 | 89 | 0.01113 | 0.0027894 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6010-4_0_5_load_44 | 90 | 0.013843 | 0.0034693 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6010-4_0_5_load_38 | 91 | 0.0044173 | 0.0011071 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6010-4_0_5_load_76 | 92 | 0.0048839 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6010-4_0_5_load_43 | 93 | 0.0043227 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6010-4_0_5_load_58 | 94 | 0.0054499 | 0.0013659 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6010-4_0_5_load_61 | 95 | 0.008271 | 0.0020729 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6010-4_0_5_load_46 | 96 | 0.0045125 | 0.0011309 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6010-4_0_5_load_59 | 97 | 0.0040353 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6010-4_0_5_load_95 | 98 | 0.0051224 | 0.0012838 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6010-4_0_5_load_94 | 99 | 0.0034295 | 0.0008595 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6010-4_0_5_load_50 | 100 | 0.0025049 | 0.00062778 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6010-4_0_5_load_66 | 101 | 0.003933 | 0.00098569 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6010-4_0_5_load_85 | 102 | 0.0035209 | 0.00088241 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6010-4_0_5_load_102 | 103 | 0.0037717 | 0.00094528 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6010-4_0_5_line_0 |  | 0 | 1 | 0.0046185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6010-4_0_5_line_1 |  | 0 | 2 | 0.008289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6010-4_0_5_line_2 |  | 1 | 3 | 0.0017813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6010-4_0_5_line_3 |  | 2 | 4 | 0.0040739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6010-4_0_5_line_4 |  | 3 | 27 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6010-4_0_5_line_5 |  | 4 | 34 | 0.014187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6010-4_0_5_line_6 |  | 5 | 6 | 0.023301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6010-4_0_5_line_7 |  | 5 | 7 | 0.031967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6010-4_0_5_line_8 |  | 6 | 8 | 0.0049254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6010-4_0_5_line_9 |  | 8 | 79 | 0.0044534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6010-4_0_5_line_10 |  | 9 | 10 | 0.016247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6010-4_0_5_line_11 |  | 9 | 11 | 0.027337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6010-4_0_5_line_12 |  | 9 | 12 | 0.017409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6010-4_0_5_line_13 |  | 10 | 13 | 0.021951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6010-4_0_5_line_14 |  | 11 | 14 | 0.018925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6010-4_0_5_line_15 |  | 11 | 15 | 0.015209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6010-4_0_5_line_16 |  | 12 | 16 | 0.0019358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6010-4_0_5_line_17 |  | 13 | 80 | 0.0053524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6010-4_0_5_line_18 |  | 14 | 92 | 0.022795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6010-4_0_5_line_19 |  | 16 | 19 | 0.037573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_6010-4_0_5_line_20 |  | 17 | 18 | 0.0076667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6010-4_0_5_line_21 |  | 17 | 19 | 0.0014947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6010-4_0_5_line_22 |  | 18 | 20 | 0.052885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6010-4_0_5_line_23 |  | 18 | 21 | 0.026081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6010-4_0_5_line_24 |  | 20 | 27 | 0.034397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6010-4_0_5_line_25 |  | 21 | 28 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6010-4_0_5_line_26 |  | 22 | 23 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6010-4_0_5_line_27 |  | 22 | 24 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6010-4_0_5_line_28 |  | 23 | 25 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6010-4_0_5_line_29 |  | 24 | 26 | 0.023731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6010-4_0_5_line_30 |  | 25 | 36 | 0.033139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6010-4_0_5_line_31 |  | 26 | 59 | 0.0012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6010-4_0_5_line_32 |  | 28 | 88 | 0.0063398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6010-4_0_5_line_33 |  | 29 | 30 | 0.0012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6010-4_0_5_line_34 |  | 29 | 31 | 0.013121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6010-4_0_5_line_35 |  | 30 | 32 | 0.002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6010-4_0_5_line_36 |  | 31 | 33 | 0.0023188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6010-4_0_5_line_37 |  | 32 | 94 | 0.0062481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6010-4_0_5_line_38 |  | 33 | 84 | 0.019856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6010-4_0_5_line_39 |  | 34 | 35 | 7.743e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6010-4_0_5_line_40 |  | 35 | 71 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6010-4_0_5_line_41 |  | 36 | 37 | 0.023953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6010-4_0_5_line_42 |  | 37 | 41 | 0.04815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6010-4_0_5_line_43 |  | 38 | 39 | 0.0016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6010-4_0_5_line_44 |  | 39 | 40 | 0.0062974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6010-4_0_5_line_45 |  | 40 | 83 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6010-4_0_5_line_46 |  | 41 | 42 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6010-4_0_5_line_47 |  | 42 | 43 | 0.045615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6010-4_0_5_line_48 |  | 43 | 55 | 0.0047678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6010-4_0_5_line_49 |  | 43 | 57 | 0.064013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6010-4_0_5_line_50 |  | 44 | 45 | 0.0056197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6010-4_0_5_line_51 |  | 44 | 46 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6010-4_0_5_line_52 |  | 45 | 70 | 0.0088699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6010-4_0_5_line_53 |  | 46 | 82 | 0.0054855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6010-4_0_5_line_54 |  | 47 | 48 | 0.003968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6010-4_0_5_line_55 |  | 47 | 49 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6010-4_0_5_line_56 |  | 48 | 50 | 0.012417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6010-4_0_5_line_57 |  | 49 | 51 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6010-4_0_5_line_58 |  | 50 | 67 | 0.031738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6010-4_0_5_line_59 |  | 51 | 98 | 0.0022773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6010-4_0_5_line_60 |  | 52 | 53 | 0.026494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6010-4_0_5_line_61 |  | 52 | 54 | 0.0082725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6010-4_0_5_line_62 |  | 53 | 55 | 0.0090321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6010-4_0_5_line_63 |  | 54 | 56 | 0.026194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6010-4_0_5_line_64 |  | 57 | 58 | 0.0013131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6010-4_0_5_line_65 |  | 58 | 72 | 0.0062365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6010-4_0_5_line_66 |  | 59 | 60 | 0.056047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6010-4_0_5_line_67 |  | 60 | 61 | 0.061813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6010-4_0_5_line_68 |  | 62 | 63 | 0.0075535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6010-4_0_5_line_69 |  | 62 | 64 | 0.065415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6010-4_0_5_line_70 |  | 63 | 65 | 0.012436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6010-4_0_5_line_71 |  | 64 | 66 | 0.041683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6010-4_0_5_line_72 |  | 65 | 86 | 0.0034062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6010-4_0_5_line_73 |  | 67 | 83 | 0.015964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6010-4_0_5_line_74 |  | 68 | 69 | 0.00010848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_6010-4_0_5_line_75 |  | 68 | 70 | 0.0071727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_6010-4_0_5_line_76 |  | 69 | 71 | 0.00229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_6010-4_0_5_line_77 |  | 72 | 73 | 0.0022046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_6010-4_0_5_line_78 |  | 73 | 74 | 0.011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6010-4_0_5_line_79 |  | 74 | 82 | 0.0056047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6010-4_0_5_line_80 |  | 75 | 76 | 0.0067936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6010-4_0_5_line_81 |  | 75 | 77 | 0.041403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6010-4_0_5_line_82 |  | 76 | 78 | 0.0039429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6010-4_0_5_line_83 |  | 77 | 79 | 0.0040276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6010-4_0_5_line_84 |  | 78 | 85 | 0.00098007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6010-4_0_5_line_85 |  | 80 | 81 | 0.009694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6010-4_0_5_line_86 |  | 81 | 90 | 0.015632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6010-4_0_5_line_87 |  | 84 | 102 | 0.010005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6010-4_0_5_line_88 |  | 85 | 95 | 0.0045609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6010-4_0_5_line_89 |  | 86 | 87 | 0.0052378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6010-4_0_5_line_90 |  | 87 | 89 | 0.013972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6010-4_0_5_line_91 |  | 88 | 89 | 0.0055176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6010-4_0_5_line_92 |  | 90 | 95 | 0.012349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6010-4_0_5_line_93 |  | 91 | 92 | 0.00040083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6010-4_0_5_line_94 |  | 91 | 93 | 0.0004261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6010-4_0_5_line_95 |  | 93 | 94 | 0.0054057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6010-4_0_5_line_96 |  | 96 | 97 | 0.0059073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6010-4_0_5_line_97 |  | 96 | 98 | 0.0025113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6010-4_0_5_line_98 |  | 97 | 99 | 0.0054091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6010-4_0_5_line_99 |  | 99 | 103 | 0.014308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6010-4_0_5_line_100 |  | 100 | 101 | 0.0055388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6010-4_0_5_line_101 |  | 100 | 102 | 0.001359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6010-4_0_5_line_102 |  | 101 | 103 | 0.006707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6010-4_0_5_trafo_3 | 0.63 MVA 20/0.4 kV | 104 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2646419.7712 | 1128195.4113 | 2646420.5447 | 1128195.8269 | 2646423.7365 | 1128197.777
1 | 2646419.7712 | 1128195.4113 | 2646412.4698 | 1128191.4874
2 | 2646425.2566 | 1128198.7057 | 2646423.7365 | 1128197.777
3 | 2646408.689 | 1128190.0203 | 2646411.1222 | 1128190.7632 | 2646412.4698 | 1128191.4874
4 | 2646439.4823 | 1128207.3971 | 2646425.2566 | 1128198.7057
5 | 2646408.689 | 1128190.0203 | 2646403.4279 | 1128188.4141 | 2646394.808 | 1128187.3399
6 | 2646448.4201 | 1128392.4867 | 2646448.4201 | 1128392.4867 | 2646450.0705 | 1128395.2786 | 2646450.7575 | 1128402.1318 | 2646461.8434 | 1128409.2428 | 2646461.8434 | 1128409.2428
7 | 2646461.8434 | 1128409.2428 | 2646470.4945 | 1128418.3806 | 2646476.7307 | 1128428.9784 | 2646481.4801 | 1128434.239
8 | 2646444.4388 | 1128389.5869 | 2646448.4201 | 1128392.4867
9 | 2646444.4388 | 1128389.5869 | 2646443.8078 | 1128389.1273 | 2646440.273 | 1128388.1299
10 | 2646424.1514 | 1128278.0303 | 2646414.6452 | 1128291.2054
11 | 2646400.3165 | 1128264.5851 | 2646418.5542 | 1128275.4972 | 2646424.1514 | 1128278.0303
12 | 2646424.1514 | 1128278.0303 | 2646431.3398 | 1128278.0188 | 2646441.5593 | 1128277.9048
13 | 2646414.6452 | 1128291.2054 | 2646411.0453 | 1128296.1948 | 2646412.2371 | 1128311.9481
14 | 2646400.3165 | 1128264.5851 | 2646388.0659 | 1128270.661 | 2646382.8591 | 1128271.3331
15 | 2646400.3165 | 1128264.5851 | 2646395.419 | 1128250.1845
16 | 2646443.4949 | 1128277.8832 | 2646441.5593 | 1128277.9048
17 | 2646413.8396 | 1128317.0391 | 2646412.2764 | 1128312.4681 | 2646412.2371 | 1128311.9481
18 | 2646360.1948 | 1128273.2806 | 2646367.1737 | 1128273.3578 | 2646382.8591 | 1128271.3331
19 | 2646443.4949 | 1128277.8832 | 2646443.7374 | 1128277.8805 | 2646455.2599 | 1128275.3232 | 2646467.964 | 1128273.4086 | 2646478.8525 | 1128273.1477 | 2646480.6339 | 1128272.9943
20 | 2646489.7616 | 1128272.2087 | 2646482.1231 | 1128272.8662
21 | 2646480.6339 | 1128272.9943 | 2646482.1231 | 1128272.8662
22 | 2646489.7616 | 1128272.2087 | 2646478.8469 | 1128262.8534 | 2646476.4362 | 1128259.7333 | 2646475.2479 | 1128255.9556 | 2646473.0494 | 1128243.2655 | 2646470.5653 | 1128231.6515 | 2646468.0402 | 1128226.3738
23 | 2646489.7616 | 1128272.2087 | 2646494.958 | 1128271.7595 | 2646515.763 | 1128270.1736
24 | 2646439.4823 | 1128207.3971 | 2646439.5246 | 1128207.423 | 2646463.4729 | 1128222.1699 | 2646466.1605 | 1128224.3472 | 2646468.0402 | 1128226.3738 | 2646468.0402 | 1128226.3738
25 | 2646515.763 | 1128270.1736 | 2646523.0421 | 1128269.6187 | 2646529.2391 | 1128270.2889 | 2646529.2391 | 1128270.2889
26 | 2646483.8383 | 1128134.659 | 2646483.8383 | 1128134.659 | 2646492.7758 | 1128130.1175
27 | 2646506.6156 | 1128123.085 | 2646492.7758 | 1128130.1175
28 | 2646483.8383 | 1128134.659 | 2646464.8862 | 1128128.1815
29 | 2646506.6156 | 1128123.085 | 2646512.7824 | 1128119.9515 | 2646522.9281 | 1128117.1391 | 2646529.1388 | 1128116.1721
30 | 2646434.5355 | 1128115.1948 | 2646446.8372 | 1128122.0128 | 2646464.8862 | 1128128.1815
31 | 2646530.382 | 1128115.9785 | 2646529.1388 | 1128116.1721
32 | 2646535.0833 | 1128272.7462 | 2646535.0833 | 1128272.7462 | 2646529.2391 | 1128270.2889
33 | 2646344.4252 | 1128273.1061 | 2646345.715 | 1128273.1203
34 | 2646344.4252 | 1128273.1061 | 2646341.0498 | 1128273.0687 | 2646331.3526 | 1128272.1017
35 | 2646347.7149 | 1128273.1425 | 2646345.715 | 1128273.1203
36 | 2646329.0453 | 1128271.8717 | 2646331.3526 | 1128272.1017
37 | 2646353.9626 | 1128273.2116 | 2646347.7149 | 1128273.1425
38 | 2646329.0453 | 1128271.8717 | 2646313.7581 | 1128270.3473 | 2646309.4471 | 1128269.0818
39 | 2646394.7312 | 1128187.3303 | 2646394.808 | 1128187.3399
40 | 2646394.7312 | 1128187.3303 | 2646383.846 | 1128185.9738 | 2646381.5353 | 1128185.4289
41 | 2646413.4475 | 1128103.8596 | 2646416.6935 | 1128105.3063 | 2646434.5355 | 1128115.1948
42 | 2646368.1015 | 1128101.7624 | 2646393.42 | 1128094.9336 | 2646413.4475 | 1128103.8596
43 | 2646176.3926 | 1128190.1591 | 2646175.3545 | 1128188.9192
44 | 2646176.3926 | 1128190.1591 | 2646180.4352 | 1128194.9877
45 | 2646180.4352 | 1128194.9877 | 2646187.7417 | 1128203.7147
46 | 2646368.1015 | 1128101.7624 | 2646358.1517 | 1128104.446 | 2646352.8665 | 1128105.0482
47 | 2646352.8665 | 1128105.0482 | 2646335.2949 | 1128107.0501 | 2646322.6442 | 1128107.9871 | 2646311.7714 | 1128111.1945 | 2646307.8641 | 1128111.1195
48 | 2646303.0971 | 1128111.028 | 2646303.0971 | 1128111.028 | 2646307.8641 | 1128111.1195
49 | 2646316.0705 | 1128174.6045 | 2646307.8641 | 1128111.1195
50 | 2646358.5464 | 1128178.6892 | 2646364.0901 | 1128179.6101
51 | 2646348.4078 | 1128177.0051 | 2646358.5464 | 1128178.6892
52 | 2646372.3217 | 1128182.9104 | 2646364.1477 | 1128179.6196 | 2646364.0901 | 1128179.6101
53 | 2646348.4078 | 1128177.0051 | 2646346.3264 | 1128176.6594 | 2646342.9586 | 1128176.4307
54 | 2646228.1007 | 1128250.7583 | 2646224.5224 | 1128249.0434
55 | 2646228.1007 | 1128250.7583 | 2646239.3385 | 1128256.1441
56 | 2646213.3252 | 1128243.677 | 2646224.5224 | 1128249.0434
57 | 2646239.3385 | 1128256.1441 | 2646239.3483 | 1128256.1488 | 2646256.9367 | 1128257.5313
58 | 2646213.3252 | 1128243.677 | 2646204.7178 | 1128231.7495 | 2646197.2002 | 1128216.4692
59 | 2646256.9367 | 1128257.5313 | 2646259.2069 | 1128257.7097
60 | 2646295.0022 | 1128107.0216 | 2646294.8611 | 1128106.9518 | 2646290.0651 | 1128098.3662 | 2646276.3008 | 1128089.2624
61 | 2646276.3008 | 1128089.2624 | 2646269.401 | 1128084.6988
62 | 2646295.0022 | 1128107.0216 | 2646303.0971 | 1128111.028
63 | 2646245.3759 | 1128075.1495 | 2646261.0724 | 1128079.1902 | 2646269.401 | 1128084.6988
64 | 2646316.0705 | 1128174.6045 | 2646317.3807 | 1128174.6935
65 | 2646317.3807 | 1128174.6935 | 2646323.6028 | 1128175.1161
66 | 2646582.629 | 1128100.9993 | 2646567.5705 | 1128102.964 | 2646556.3061 | 1128102.9774 | 2646550.3851 | 1128107.4675 | 2646541.7991 | 1128108.8466 | 2646530.48 | 1128115.9633 | 2646530.382 | 1128115.9785
67 | 2646638.6614 | 1128116.0737 | 2646623.6844 | 1128101.9511 | 2646592.9138 | 1128099.6574 | 2646582.629 | 1128100.9993
68 | 2646563.5598 | 1128300.3709 | 2646563.6696 | 1128300.447 | 2646570.1254 | 1128304.1045
69 | 2646626.7389 | 1128307.4251 | 2646619.0994 | 1128305.9877 | 2646611.929 | 1128310.6571 | 2646602.007 | 1128317.4842 | 2646592.4833 | 1128319.612 | 2646579.4643 | 1128309.3954 | 2646570.1254 | 1128304.1045
70 | 2646553.3391 | 1128293.2865 | 2646563.5598 | 1128300.3709
71 | 2646626.7389 | 1128307.4251 | 2646648.6849 | 1128271.987
72 | 2646553.3391 | 1128293.2865 | 2646550.5397 | 1128291.3461
73 | 2646197.2002 | 1128216.4692 | 2646195.4619 | 1128212.9359 | 2646187.7417 | 1128203.7147
74 | 2646379.2009 | 1128184.8783 | 2646379.3065 | 1128184.9032
75 | 2646372.3217 | 1128182.9104 | 2646374.3941 | 1128183.7447 | 2646379.2009 | 1128184.8783
76 | 2646379.3065 | 1128184.9032 | 2646381.5353 | 1128185.4289
77 | 2646325.8023 | 1128175.2655 | 2646323.6028 | 1128175.1161
78 | 2646325.8023 | 1128175.2655 | 2646337.3667 | 1128176.0509
79 | 2646342.9586 | 1128176.4307 | 2646337.3667 | 1128176.0509
80 | 2646413.4113 | 1128358.3561 | 2646413.4113 | 1128358.3561 | 2646415.4784 | 1128364.8275
81 | 2646436.3969 | 1128387.0361 | 2646436.3969 | 1128387.0361 | 2646432.6722 | 1128388.486 | 2646427.7817 | 1128391.261 | 2646424.1428 | 1128391.5888 | 2646419.5732 | 1128377.6466 | 2646415.4784 | 1128364.8275
82 | 2646413.4113 | 1128358.3561 | 2646413.0538 | 1128354.4294
83 | 2646436.3969 | 1128387.0361 | 2646440.273 | 1128388.1299
84 | 2646413.0538 | 1128354.4294 | 2646412.965 | 1128353.4534
85 | 2646416.9765 | 1128326.2116 | 2646413.8396 | 1128317.0391
86 | 2646416.9765 | 1128326.2116 | 2646422.0347 | 1128341.0021 | 2646422.0347 | 1128341.0021
87 | 2646299.8473 | 1128266.2636 | 2646309.4471 | 1128269.0818
88 | 2646412.965 | 1128353.4534 | 2646412.5515 | 1128348.9113
89 | 2646546.2349 | 1128288.3622 | 2646546.2349 | 1128288.3622 | 2646550.5397 | 1128291.3461
90 | 2646546.2349 | 1128288.3622 | 2646539.41 | 1128276.1701
91 | 2646539.41 | 1128276.1701 | 2646539.41 | 1128276.1701 | 2646535.0833 | 1128272.7462
92 | 2646412.5515 | 1128348.9113 | 2646412.5515 | 1128348.9113 | 2646422.0347 | 1128341.0021
93 | 2646359.794 | 1128273.2762 | 2646360.1948 | 1128273.2806
94 | 2646359.3679 | 1128273.2714 | 2646359.794 | 1128273.2762
95 | 2646353.9626 | 1128273.2116 | 2646359.3679 | 1128273.2714
96 | 2646261.7105 | 1128257.9065 | 2646267.5996 | 1128258.3694
97 | 2646261.7105 | 1128257.9065 | 2646259.2069 | 1128257.7097
98 | 2646272.9921 | 1128258.7932 | 2646267.5996 | 1128258.3694
99 | 2646286.7934 | 1128262.4315 | 2646274.9143 | 1128258.9443 | 2646272.9921 | 1128258.7932
100 | 2646293.2288 | 1128264.3207 | 2646298.5434 | 1128265.8809
101 | 2646299.8473 | 1128266.2636 | 2646298.5434 | 1128265.8809
102 | 2646286.7934 | 1128262.4315 | 2646293.2288 | 1128264.3207

## bus_geodata
| x | y | coords
0 | 2646419.7712 | 1128195.4113
1 | 2646423.7365 | 1128197.777
2 | 2646412.4698 | 1128191.4874
3 | 2646425.2566 | 1128198.7058
4 | 2646408.689 | 1128190.0203
5 | 2646461.8434 | 1128409.2428
6 | 2646448.4201 | 1128392.4867
7 | 2646481.4801 | 1128434.239
8 | 2646444.4388 | 1128389.5869
9 | 2646424.1514 | 1128278.0303
10 | 2646414.6452 | 1128291.2054
11 | 2646400.3165 | 1128264.5851
12 | 2646441.5593 | 1128277.9048
13 | 2646412.2371 | 1128311.9481
14 | 2646382.8591 | 1128271.3331
15 | 2646395.419 | 1128250.1845
16 | 2646443.4949 | 1128277.8832
17 | 2646482.1231 | 1128272.8662
18 | 2646489.7616 | 1128272.2087
19 | 2646480.6339 | 1128272.9943
20 | 2646468.0402 | 1128226.3738
21 | 2646515.763 | 1128270.1736
22 | 2646492.7758 | 1128130.1175
23 | 2646483.8383 | 1128134.6589
24 | 2646506.6156 | 1128123.085
25 | 2646464.8862 | 1128128.1815
26 | 2646529.1388 | 1128116.1721
27 | 2646439.4823 | 1128207.3971
28 | 2646529.2391 | 1128270.2889
29 | 2646344.4252 | 1128273.1061
30 | 2646345.715 | 1128273.1203
31 | 2646331.3526 | 1128272.1017
32 | 2646347.7149 | 1128273.1425
33 | 2646329.0453 | 1128271.8717
34 | 2646394.808 | 1128187.3399
35 | 2646394.7312 | 1128187.3303
36 | 2646434.5355 | 1128115.1948
37 | 2646413.4475 | 1128103.8596
38 | 2646175.3545 | 1128188.9192
39 | 2646176.3926 | 1128190.1591
40 | 2646180.4352 | 1128194.9877
41 | 2646368.1015 | 1128101.7624
42 | 2646352.8665 | 1128105.0482
43 | 2646307.8641 | 1128111.1195
44 | 2646358.5464 | 1128178.6892
45 | 2646364.0901 | 1128179.6101
46 | 2646348.4078 | 1128177.0051
47 | 2646228.1007 | 1128250.7583
48 | 2646224.5224 | 1128249.0434
49 | 2646239.3385 | 1128256.1441
50 | 2646213.3252 | 1128243.677
51 | 2646256.9367 | 1128257.5313
52 | 2646276.3008 | 1128089.2624
53 | 2646295.0022 | 1128107.0216
54 | 2646269.401 | 1128084.6988
55 | 2646303.0971 | 1128111.028
56 | 2646245.3759 | 1128075.1495
57 | 2646316.0705 | 1128174.6045
58 | 2646317.3807 | 1128174.6935
59 | 2646530.382 | 1128115.9785
60 | 2646582.629 | 1128100.9993
61 | 2646638.6614 | 1128116.0737
62 | 2646570.1254 | 1128304.1045
63 | 2646563.5598 | 1128300.3709
64 | 2646626.7389 | 1128307.4251
65 | 2646553.3391 | 1128293.2865
66 | 2646648.6849 | 1128271.987
67 | 2646197.2002 | 1128216.4692
68 | 2646379.2009 | 1128184.8783
69 | 2646379.3065 | 1128184.9032
70 | 2646372.3217 | 1128182.9104
71 | 2646381.5353 | 1128185.4289
72 | 2646323.6028 | 1128175.1161
73 | 2646325.8023 | 1128175.2655
74 | 2646337.3667 | 1128176.0509
75 | 2646415.4784 | 1128364.8275
76 | 2646413.4113 | 1128358.3561
77 | 2646436.3969 | 1128387.0361
78 | 2646413.0538 | 1128354.4294
79 | 2646440.273 | 1128388.1299
80 | 2646413.8396 | 1128317.0391
81 | 2646416.9765 | 1128326.2116
82 | 2646342.9586 | 1128176.4307
83 | 2646187.7417 | 1128203.7147
84 | 2646309.4471 | 1128269.0818
85 | 2646412.965 | 1128353.4534
86 | 2646550.5397 | 1128291.3461
87 | 2646546.2349 | 1128288.3622
88 | 2646535.0833 | 1128272.7462
89 | 2646539.41 | 1128276.1701
90 | 2646422.0347 | 1128341.0021
91 | 2646359.794 | 1128273.2762
92 | 2646360.1948 | 1128273.2806
93 | 2646359.3679 | 1128273.2714
94 | 2646353.9626 | 1128273.2116
95 | 2646412.5515 | 1128348.9113
96 | 2646261.7105 | 1128257.9065
97 | 2646267.5996 | 1128258.3694
98 | 2646259.2069 | 1128257.7097
99 | 2646272.9921 | 1128258.7932
100 | 2646298.5434 | 1128265.8809
101 | 2646293.2288 | 1128264.3207
102 | 2646299.8473 | 1128266.2636
103 | 2646286.7934 | 1128262.4315
104 | 2646400.3165 | 1128264.5851

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1