## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6024-14_1_2_node_134 | 0.4 | n |  | TRUE
1 | bus_LV_6024-14_1_2_node_135 | 0.4 | n |  | TRUE
2 | bus_LV_6024-14_1_2_node_136 | 0.4 | n |  | TRUE
3 | bus_LV_6024-14_1_2_node_137 | 0.4 | n |  | TRUE
4 | bus_LV_6024-14_1_2_node_138 | 0.4 | n |  | TRUE
5 | bus_LV_6024-14_1_2_node_139 | 0.4 | n |  | TRUE
6 | bus_LV_6024-14_1_2_node_142 | 0.4 | n |  | TRUE
7 | bus_LV_6024-14_1_2_node_141 | 0.4 | n |  | TRUE
8 | bus_LV_6024-14_1_2_node_143 | 0.4 | n |  | TRUE
9 | bus_LV_6024-14_1_2_node_171 | 0.4 | n |  | TRUE
10 | bus_LV_6024-14_1_2_node_144 | 0.4 | n |  | TRUE
11 | bus_LV_6024-14_1_2_node_145 | 0.4 | n |  | TRUE
12 | bus_LV_6024-14_1_2_node_146 | 0.4 | n |  | TRUE
13 | bus_LV_6024-14_1_2_node_179 | 0.4 | n |  | TRUE
14 | bus_LV_6024-14_1_2_node_164 | 0.4 | n |  | TRUE
15 | bus_LV_6024-14_1_2_node_147 | 0.4 | n |  | TRUE
16 | bus_LV_6024-14_1_2_node_148 | 0.4 | n |  | TRUE
17 | bus_LV_6024-14_1_2_node_149 | 0.4 | n |  | TRUE
18 | bus_LV_6024-14_1_2_node_150 | 0.4 | n |  | TRUE
19 | bus_LV_6024-14_1_2_node_219 | 0.4 | n |  | TRUE
20 | bus_LV_6024-14_1_2_node_151 | 0.4 | n |  | TRUE
21 | bus_LV_6024-14_1_2_node_160 | 0.4 | n |  | TRUE
22 | bus_LV_6024-14_1_2_node_188 | 0.4 | n |  | TRUE
23 | bus_LV_6024-14_1_2_node_152 | 0.4 | n |  | TRUE
24 | bus_LV_6024-14_1_2_node_153 | 0.4 | n |  | TRUE
25 | bus_LV_6024-14_1_2_node_154 | 0.4 | n |  | TRUE
26 | bus_LV_6024-14_1_2_node_155 | 0.4 | n |  | TRUE
27 | bus_LV_6024-14_1_2_node_156 | 0.4 | n |  | TRUE
28 | bus_LV_6024-14_1_2_node_157 | 0.4 | n |  | TRUE
29 | bus_LV_6024-14_1_2_node_162 | 0.4 | n |  | TRUE
30 | bus_LV_6024-14_1_2_node_232 | 0.4 | n |  | TRUE
31 | bus_LV_6024-14_1_2_node_229 | 0.4 | n |  | TRUE
32 | bus_LV_6024-14_1_2_node_213 | 0.4 | n |  | TRUE
33 | bus_LV_6024-14_1_2_node_158 | 0.4 | n |  | TRUE
34 | bus_LV_6024-14_1_2_node_159 | 0.4 | n |  | TRUE
35 | bus_LV_6024-14_1_2_node_161 | 0.4 | n |  | TRUE
36 | bus_LV_6024-14_1_2_node_168 | 0.4 | n |  | TRUE
37 | bus_LV_6024-14_1_2_node_166 | 0.4 | n |  | TRUE
38 | bus_LV_6024-14_1_2_node_173 | 0.4 | n |  | TRUE
39 | bus_LV_6024-14_1_2_node_163 | 0.4 | n |  | TRUE
40 | bus_LV_6024-14_1_2_node_169 | 0.4 | n |  | TRUE
41 | bus_LV_6024-14_1_2_node_170 | 0.4 | n |  | TRUE
42 | bus_LV_6024-14_1_2_node_165 | 0.4 | n |  | TRUE
43 | bus_LV_6024-14_1_2_node_167 | 0.4 | n |  | TRUE
44 | bus_LV_6024-14_1_2_node_235 | 0.4 | n |  | TRUE
45 | bus_LV_6024-14_1_2_node_234 | 0.4 | n |  | TRUE
46 | bus_LV_6024-14_1_2_node_174 | 0.4 | n |  | TRUE
47 | bus_LV_6024-14_1_2_node_176 | 0.4 | n |  | TRUE
48 | bus_LV_6024-14_1_2_node_178 | 0.4 | n |  | TRUE
49 | bus_LV_6024-14_1_2_node_172 | 0.4 | n |  | TRUE
50 | bus_LV_6024-14_1_2_node_175 | 0.4 | n |  | TRUE
51 | bus_LV_6024-14_1_2_node_177 | 0.4 | n |  | TRUE
52 | bus_LV_6024-14_1_2_node_180 | 0.4 | n |  | TRUE
53 | bus_LV_6024-14_1_2_node_181 | 0.4 | n |  | TRUE
54 | bus_LV_6024-14_1_2_node_182 | 0.4 | n |  | TRUE
55 | bus_LV_6024-14_1_2_node_183 | 0.4 | n |  | TRUE
56 | bus_LV_6024-14_1_2_node_184 | 0.4 | n |  | TRUE
57 | bus_LV_6024-14_1_2_node_193 | 0.4 | n |  | TRUE
58 | bus_LV_6024-14_1_2_node_190 | 0.4 | n |  | TRUE
59 | bus_LV_6024-14_1_2_node_185 | 0.4 | n |  | TRUE
60 | bus_LV_6024-14_1_2_node_186 | 0.4 | n |  | TRUE
61 | bus_LV_6024-14_1_2_node_187 | 0.4 | n |  | TRUE
62 | bus_LV_6024-14_1_2_node_189 | 0.4 | n |  | TRUE
63 | bus_LV_6024-14_1_2_node_203 | 0.4 | n |  | TRUE
64 | bus_LV_6024-14_1_2_node_204 | 0.4 | n |  | TRUE
65 | bus_LV_6024-14_1_2_node_191 | 0.4 | n |  | TRUE
66 | bus_LV_6024-14_1_2_node_192 | 0.4 | n |  | TRUE
67 | bus_LV_6024-14_1_2_node_198 | 0.4 | n |  | TRUE
68 | bus_LV_6024-14_1_2_node_202 | 0.4 | n |  | TRUE
69 | bus_LV_6024-14_1_2_node_194 | 0.4 | n |  | TRUE
70 | bus_LV_6024-14_1_2_node_195 | 0.4 | n |  | TRUE
71 | bus_LV_6024-14_1_2_node_196 | 0.4 | n |  | TRUE
72 | bus_LV_6024-14_1_2_node_197 | 0.4 | n |  | TRUE
73 | bus_LV_6024-14_1_2_node_199 | 0.4 | n |  | TRUE
74 | bus_LV_6024-14_1_2_node_200 | 0.4 | n |  | TRUE
75 | bus_LV_6024-14_1_2_node_201 | 0.4 | n |  | TRUE
76 | bus_LV_6024-14_1_2_node_205 | 0.4 | n |  | TRUE
77 | bus_LV_6024-14_1_2_node_207 | 0.4 | n |  | TRUE
78 | bus_LV_6024-14_1_2_node_231 | 0.4 | n |  | TRUE
79 | bus_LV_6024-14_1_2_node_206 | 0.4 | n |  | TRUE
80 | bus_LV_6024-14_1_2_node_208 | 0.4 | n |  | TRUE
81 | bus_LV_6024-14_1_2_node_209 | 0.4 | n |  | TRUE
82 | bus_LV_6024-14_1_2_node_210 | 0.4 | n |  | TRUE
83 | bus_LV_6024-14_1_2_node_212 | 0.4 | n |  | TRUE
84 | bus_LV_6024-14_1_2_node_214 | 0.4 | n |  | TRUE
85 | bus_LV_6024-14_1_2_node_216 | 0.4 | n |  | TRUE
86 | bus_LV_6024-14_1_2_node_217 | 0.4 | n |  | TRUE
87 | bus_LV_6024-14_1_2_node_218 | 0.4 | n |  | TRUE
88 | bus_LV_6024-14_1_2_node_220 | 0.4 | n |  | TRUE
89 | bus_LV_6024-14_1_2_node_221 | 0.4 | n |  | TRUE
90 | bus_LV_6024-14_1_2_node_228 | 0.4 | n |  | TRUE
91 | bus_LV_6024-14_1_2_node_223 | 0.4 | n |  | TRUE
92 | bus_LV_6024-14_1_2_node_222 | 0.4 | n |  | TRUE
93 | bus_LV_6024-14_1_2_node_224 | 0.4 | n |  | TRUE
94 | bus_LV_6024-14_1_2_node_226 | 0.4 | n |  | TRUE
95 | bus_LV_6024-14_1_2_node_230 | 0.4 | n |  | TRUE
96 | bus_MV_91_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6024-14_1_2_load_134 | 0 | 0.00093671 | 0.00023476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6024-14_1_2_load_135 | 1 | 0.00089553 | 0.00022444 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6024-14_1_2_load_138 | 4 | 0.00058671 | 0.00014704 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6024-14_1_2_load_139 | 5 | 0.000519 | 0.00013007 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6024-14_1_2_load_141 | 7 | 0.0019016 | 0.00047659 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6024-14_1_2_load_143 | 8 | 0.00074879 | 0.00018766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6024-14_1_2_load_144 | 10 | 0.0017486 | 0.00043823 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6024-14_1_2_load_145 | 11 | 0.00060843 | 0.00015249 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6024-14_1_2_load_146 | 12 | 0.0008063 | 0.00020208 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6024-14_1_2_load_179 | 13 | 0.00056372 | 0.00014128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6024-14_1_2_load_147 | 15 | 0.0004382 | 0.00010982 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6024-14_1_2_load_148 | 16 | 0.00067097 | 0.00016816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6024-14_1_2_load_149 | 17 | 0.00052579 | 0.00013178 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6024-14_1_2_load_150 | 18 | 0.00076128 | 0.00019079 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6024-14_1_2_load_219 | 19 | 0.0022718 | 0.00056938 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6024-14_1_2_load_151 | 20 | 0.00042529 | 0.00010659 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6024-14_1_2_load_188 | 22 | 0.00042841 | 0.00010737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6024-14_1_2_load_152 | 23 | 0.00088241 | 0.00022115 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6024-14_1_2_load_155 | 26 | 0.00047777 | 0.00011974 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6024-14_1_2_load_232 | 30 | 0.00071576 | 0.00017939 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6024-14_1_2_load_229 | 31 | 0.00093144 | 0.00023344 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6024-14_1_2_load_213 | 32 | 0.00058922 | 0.00014767 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6024-14_1_2_load_158 | 33 | 0.00041931 | 0.00010509 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6024-14_1_2_load_159 | 34 | 0.0004517 | 0.00011321 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6024-14_1_2_load_173 | 38 | 0.0015467 | 0.00038765 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6024-14_1_2_load_163 | 39 | 0.00063204 | 0.0001584 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6024-14_1_2_load_170 | 41 | 0.00044366 | 0.00011119 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6024-14_1_2_load_165 | 42 | 0.00073585 | 0.00018442 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6024-14_1_2_load_235 | 44 | 0.0012094 | 0.00030309 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6024-14_1_2_load_234 | 45 | 0.0030399 | 0.00076187 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6024-14_1_2_load_176 | 47 | 0.00069494 | 0.00017417 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6024-14_1_2_load_172 | 49 | 0.0008357 | 0.00020945 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6024-14_1_2_load_175 | 50 | 0.0013297 | 0.00033324 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6024-14_1_2_load_177 | 51 | 0.0093788 | 0.0023506 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6024-14_1_2_load_180 | 52 | 0.0017695 | 0.00044348 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6024-14_1_2_load_182 | 54 | 0.0086187 | 0.0021601 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6024-14_1_2_load_184 | 56 | 0.0029636 | 0.00074274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6024-14_1_2_load_190 | 58 | 0.0029412 | 0.00073713 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6024-14_1_2_load_185 | 59 | 0.0012737 | 0.00031923 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6024-14_1_2_load_186 | 60 | 0.00060766 | 0.00015229 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6024-14_1_2_load_187 | 61 | 0.0012057 | 0.00030217 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6024-14_1_2_load_191 | 65 | 0.0015679 | 0.00039295 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6024-14_1_2_load_192 | 66 | 0.003003 | 0.00075263 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6024-14_1_2_load_198 | 67 | 0.0013836 | 0.00034677 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6024-14_1_2_load_202 | 68 | 0.0017722 | 0.00044415 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6024-14_1_2_load_194 | 69 | 0.0010603 | 0.00026573 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6024-14_1_2_load_195 | 70 | 0.0020933 | 0.00052463 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6024-14_1_2_load_196 | 71 | 0.0010076 | 0.00025253 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6024-14_1_2_load_197 | 72 | 0.0023306 | 0.00058409 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6024-14_1_2_load_199 | 73 | 0.00098862 | 0.00024777 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6024-14_1_2_load_200 | 74 | 0.0012806 | 0.00032094 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6024-14_1_2_load_201 | 75 | 0.00098959 | 0.00024802 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6024-14_1_2_load_205 | 76 | 0.0010057 | 0.00025206 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6024-14_1_2_load_207 | 77 | 0.0027468 | 0.00068842 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6024-14_1_2_load_231 | 78 | 0.0039689 | 0.0009947 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6024-14_1_2_load_206 | 79 | 0.0014458 | 0.00036235 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6024-14_1_2_load_208 | 80 | 0.0005575 | 0.00013972 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6024-14_1_2_load_209 | 81 | 0.00057213 | 0.00014339 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6024-14_1_2_load_210 | 82 | 0.00055223 | 0.0001384 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6024-14_1_2_load_214 | 84 | 0.00047585 | 0.00011926 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6024-14_1_2_load_216 | 85 | 0.00057821 | 0.00014491 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6024-14_1_2_load_217 | 86 | 0.00044814 | 0.00011231 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6024-14_1_2_load_220 | 88 | 0.00049921 | 0.00012511 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6024-14_1_2_load_221 | 89 | 0.00047982 | 0.00012025 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6024-14_1_2_load_223 | 91 | 0.00045539 | 0.00011413 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6024-14_1_2_load_222 | 92 | 0.00089754 | 0.00022494 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6024-14_1_2_load_224 | 93 | 0.0014865 | 0.00037255 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6024-14_1_2_load_226 | 94 | 0.0025814 | 0.00064696 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6024-14_1_2_load_230 | 95 | 0.0010419 | 0.00026113 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6024-14_1_2_line_0 |  | 0 | 1 | 0.041692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6024-14_1_2_line_1 |  | 0 | 2 | 0.21024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6024-14_1_2_line_2 |  | 1 | 3 | 0.054119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6024-14_1_2_line_3 |  | 2 | 4 | 0.026802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6024-14_1_2_line_4 |  | 2 | 5 | 0.077088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6024-14_1_2_line_5 |  | 3 | 6 | 0.13331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6024-14_1_2_line_6 |  | 6 | 8 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6024-14_1_2_line_7 |  | 6 | 7 | 0.048643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6024-14_1_2_line_8 |  | 8 | 9 | 0.12219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6024-14_1_2_line_9 |  | 9 | 30 | 0.036547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6024-14_1_2_line_10 |  | 9 | 14 | 0.10029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6024-14_1_2_line_11 |  | 10 | 11 | 0.019547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6024-14_1_2_line_12 |  | 11 | 12 | 0.01738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6024-14_1_2_line_13 |  | 11 | 13 | 0.091536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6024-14_1_2_line_14 |  | 12 | 14 | 0.033004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6024-14_1_2_line_15 |  | 14 | 41 | 0.092431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6024-14_1_2_line_16 |  | 15 | 16 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6024-14_1_2_line_17 |  | 15 | 17 | 0.023572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6024-14_1_2_line_18 |  | 16 | 18 | 0.012497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6024-14_1_2_line_19 |  | 16 | 19 | 0.32796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6024-14_1_2_line_20 |  | 17 | 20 | 0.0051277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6024-14_1_2_line_21 |  | 18 | 21 | 0.0062561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6024-14_1_2_line_22 |  | 19 | 86 | 0.022855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6024-14_1_2_line_23 |  | 20 | 22 | 0.0081922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6024-14_1_2_line_24 |  | 21 | 33 | 0.015481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6024-14_1_2_line_25 |  | 22 | 60 | 0.0016502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6024-14_1_2_line_26 |  | 23 | 24 | 0.074038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6024-14_1_2_line_27 |  | 23 | 25 | 0.05485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6024-14_1_2_line_28 |  | 24 | 26 | 0.010995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6024-14_1_2_line_29 |  | 24 | 27 | 0.044136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6024-14_1_2_line_30 |  | 25 | 28 | 0.052188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6024-14_1_2_line_31 |  | 26 | 29 | 0.027052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6024-14_1_2_line_32 |  | 27 | 30 | 0.11434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6024-14_1_2_line_33 |  | 28 | 31 | 0.0055504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6024-14_1_2_line_34 |  | 28 | 32 | 0.079097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6024-14_1_2_line_35 |  | 29 | 39 | 0.023434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6024-14_1_2_line_36 |  | 31 | 95 | 0.047423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6024-14_1_2_line_37 |  | 32 | 83 | 0.022944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6024-14_1_2_line_38 |  | 33 | 34 | 0.0139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6024-14_1_2_line_39 |  | 34 | 35 | 0.026366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6024-14_1_2_line_40 |  | 35 | 36 | 0.14814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6024-14_1_2_line_41 |  | 35 | 37 | 0.061051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6024-14_1_2_line_42 |  | 35 | 38 | 0.0088764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6024-14_1_2_line_43 |  | 36 | 45 | 0.007515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6024-14_1_2_line_44 |  | 37 | 43 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6024-14_1_2_line_45 |  | 37 | 42 | 0.020584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6024-14_1_2_line_46 |  | 38 | 49 | 0.017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6024-14_1_2_line_47 |  | 39 | 40 | 0.089443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6024-14_1_2_line_48 |  | 40 | 46 | 0.028038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6024-14_1_2_line_49 |  | 41 | 47 | 0.077047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6024-14_1_2_line_50 |  | 41 | 48 | 0.10396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6024-14_1_2_line_51 |  | 43 | 44 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6024-14_1_2_line_52 |  | 46 | 50 | 0.037444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6024-14_1_2_line_53 |  | 46 | 49 | 0.03273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6024-14_1_2_line_54 |  | 48 | 51 | 0.072792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6024-14_1_2_line_55 |  | 52 | 53 | 0.0075826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6024-14_1_2_line_56 |  | 52 | 54 | 0.010174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6024-14_1_2_line_57 |  | 53 | 55 | 0.029833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6024-14_1_2_line_58 |  | 53 | 56 | 0.004755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6024-14_1_2_line_59 |  | 55 | 57 | 0.0064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6024-14_1_2_line_60 |  | 55 | 58 | 0.072113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6024-14_1_2_line_61 |  | 57 | 63 | 0.007542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6024-14_1_2_line_62 |  | 57 | 68 | 0.021902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6024-14_1_2_line_63 |  | 58 | 65 | 0.0034419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6024-14_1_2_line_64 |  | 59 | 60 | 0.030242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6024-14_1_2_line_65 |  | 59 | 61 | 0.013607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6024-14_1_2_line_66 |  | 61 | 62 | 0.0055657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6024-14_1_2_line_67 |  | 62 | 63 | 0.027099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6024-14_1_2_line_68 |  | 62 | 64 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6024-14_1_2_line_69 |  | 63 | 77 | 0.016039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6024-14_1_2_line_70 |  | 64 | 78 | 0.028672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6024-14_1_2_line_71 |  | 65 | 66 | 0.022166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6024-14_1_2_line_72 |  | 66 | 67 | 0.0088062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6024-14_1_2_line_73 |  | 67 | 73 | 0.0041217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6024-14_1_2_line_74 |  | 68 | 72 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6024-14_1_2_line_75 |  | 69 | 70 | 0.030761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6024-14_1_2_line_76 |  | 69 | 71 | 0.052866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6024-14_1_2_line_77 |  | 70 | 72 | 0.0097718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6024-14_1_2_line_78 |  | 73 | 74 | 0.0081903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6024-14_1_2_line_79 |  | 74 | 75 | 0.003361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6024-14_1_2_line_80 |  | 75 | 76 | 0.0047276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6024-14_1_2_line_81 |  | 76 | 79 | 0.0062045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6024-14_1_2_line_82 |  | 80 | 81 | 0.074534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6024-14_1_2_line_83 |  | 80 | 82 | 0.066111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6024-14_1_2_line_84 |  | 82 | 83 | 0.015674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6024-14_1_2_line_85 |  | 83 | 84 | 0.12782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6024-14_1_2_line_86 |  | 85 | 86 | 0.004369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6024-14_1_2_line_87 |  | 85 | 87 | 0.027503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6024-14_1_2_line_88 |  | 87 | 88 | 0.12851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6024-14_1_2_line_89 |  | 87 | 89 | 0.078495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6024-14_1_2_line_90 |  | 88 | 90 | 0.23479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6024-14_1_2_line_91 |  | 89 | 91 | 0.012266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6024-14_1_2_line_92 |  | 90 | 94 | 0.1202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6024-14_1_2_line_93 |  | 91 | 92 | 0.03955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6024-14_1_2_line_94 |  | 92 | 93 | 0.038089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6024-14_1_2_trafo_160 | 0.63 MVA 20/0.4 kV | 96 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2586460.6528 | 1114348.9192 | 2586469.8837 | 1114349.0191 | 2586473.2004 | 1114347.3553 | 2586472.7769 | 1114344.4659 | 2586468.8309 | 1114340.973 | 2586451.5135 | 1114329.89
1 | 2586424.221 | 1114419.5344 | 2586421.3656 | 1114416.8284 | 2586421.145 | 1114411.4707 | 2586425.2832 | 1114407.7373 | 2586439.979 | 1114404.8139 | 2586452.8207 | 1114404.9962 | 2586460.851 | 1114404.8003 | 2586467.7231 | 1114401.2498 | 2586474.9697 | 1114399.3659 | 2586481.7535 | 1114397.7388 | 2586482.7845 | 1114396.0801 | 2586482.0004 | 1114394.192 | 2586431.6098 | 1114367.6811 | 2586415.8052 | 1114361.7582 | 2586411.2982 | 1114359.4783 | 2586409.9977 | 1114358.0472 | 2586410.8202 | 1114356.4001 | 2586419.1533 | 1114353.4688 | 2586445.8103 | 1114350.5406 | 2586453.7292 | 1114348.8442 | 2586460.6528 | 1114348.9192
2 | 2586405.9301 | 1114300.717 | 2586451.5135 | 1114329.89
3 | 2586424.221 | 1114419.5344 | 2586440.4304 | 1114420.0982 | 2586450.997 | 1114421.5196
4 | 2586424.221 | 1114419.5344 | 2586430.4968 | 1114425.4788 | 2586445.2472 | 1114443.41 | 2586453.1314 | 1114450.418 | 2586466.1969 | 1114457.4032 | 2586475.3219 | 1114463.3634 | 2586484.1934 | 1114464.6332
5 | 2586332.011 | 1114189.7738 | 2586405.9301 | 1114300.717
6 | 2586332.011 | 1114189.7738 | 2586307.0414 | 1114175.9661
7 | 2586332.011 | 1114189.7738 | 2586328.8125 | 1114192.5158 | 2586324.6148 | 1114193.8926 | 2586319.1164 | 1114193.7717 | 2586304.6643 | 1114188.5686 | 2586287.2583 | 1114180.5786
8 | 2586307.0414 | 1114175.9661 | 2586325.5277 | 1114055.1775
9 | 2586301.8048 | 1114027.9513 | 2586318.8585 | 1114046.2216 | 2586324.593 | 1114051.6446 | 2586325.2758 | 1114053.0548 | 2586325.5277 | 1114055.1775
10 | 2586325.5277 | 1114055.1775 | 2586338.3227 | 1114058.2389 | 2586351.154 | 1114060.2664 | 2586362.2768 | 1114061.5196 | 2586373.7855 | 1114062.6163 | 2586387.3171 | 1114063.5973 | 2586412.6795 | 1114064.7184 | 2586425.0984 | 1114065.4241
11 | 2586366.6688 | 1114034.8944 | 2586373.2842 | 1114035.6263 | 2586384.165 | 1114042.5395
12 | 2586384.165 | 1114042.5395 | 2586386.9182 | 1114044.2887 | 2586393.5689 | 1114051.9108 | 2586397.2073 | 1114053.5781
13 | 2586384.165 | 1114042.5395 | 2586442.1157 | 1113971.6839
14 | 2586425.0984 | 1114065.4241 | 2586424.845 | 1114062.6122 | 2586421.183 | 1114058.4406 | 2586410.1959 | 1114055.7863 | 2586400.2555 | 1114054.975 | 2586397.2073 | 1114053.5781
15 | 2586425.0984 | 1114065.4241 | 2586451.4564 | 1114066.2652 | 2586472.1187 | 1114065.2071 | 2586503.3263 | 1114066.0931 | 2586517.4666 | 1114066.6287
16 | 2585944.1049 | 1113928.1469 | 2585960.2867 | 1113932.0788 | 2585964.8236 | 1113933.7357 | 2585966.5393 | 1113934.6896
17 | 2585944.1049 | 1113928.1469 | 2585921.1997 | 1113922.5813
18 | 2585977.464 | 1113940.732 | 2585975.5876 | 1113939.9248 | 2585968.1486 | 1113935.5844 | 2585966.5393 | 1113934.6896
19 | 2585966.5393 | 1113934.6896 | 2586087.7424 | 1113629.9449
20 | 2585916.2169 | 1113921.3706 | 2585921.1997 | 1113922.5813
21 | 2585983.4777 | 1113942.2743 | 2585979.7001 | 1113941.6939 | 2585977.464 | 1113940.732
22 | 2586087.7424 | 1113629.9449 | 2586094.2548 | 1113627.5175 | 2586103.2648 | 1113626.3962 | 2586110.0867 | 1113626.1791
23 | 2585908.2564 | 1113919.4363 | 2585916.2169 | 1113921.3706
24 | 2585983.4777 | 1113942.2743 | 2585984.1311 | 1113944.3294 | 2585993.0965 | 1113954.186
25 | 2585906.6528 | 1113919.0467 | 2585908.2564 | 1113919.4363
26 | 2586157.028 | 1114082.0534 | 2586156.1932 | 1114088.4251 | 2586150.6691 | 1114093.9627 | 2586127.2614 | 1114099.9529 | 2586093.4785 | 1114111.2696
27 | 2586048.5348 | 1114137.1642 | 2586050.2399 | 1114129.8566 | 2586061.2967 | 1114122.6052 | 2586078.7417 | 1114116.2061 | 2586093.4785 | 1114111.2696
28 | 2586157.028 | 1114082.0534 | 2586154.7039 | 1114071.3067
29 | 2586201.2927 | 1114082.4631 | 2586157.028 | 1114082.0534
30 | 2586015.1051 | 1114163.588 | 2586023.4114 | 1114165.7476 | 2586035.3333 | 1114165.2975 | 2586045.178 | 1114151.5124 | 2586048.5348 | 1114137.1642
31 | 2586154.4176 | 1114044.9966 | 2586151.4316 | 1114056.1756 | 2586154.7039 | 1114071.3067
32 | 2586201.2927 | 1114082.4631 | 2586301.8048 | 1114027.9513
33 | 2586015.1051 | 1114163.588 | 2586011.3675 | 1114159.4848
34 | 2586015.1051 | 1114163.588 | 2586029.6119 | 1114241.3431
35 | 2586154.4176 | 1114044.9966 | 2586131.657 | 1114040.3022 | 2586131.4659 | 1114040.2664
36 | 2585978.7061 | 1114125.1092 | 2586000.5039 | 1114147.5585 | 2586011.3675 | 1114159.4848
37 | 2586019.7195 | 1114261.9037 | 2586024.3625 | 1114249.4979 | 2586029.6119 | 1114241.3431
38 | 2585993.0965 | 1113954.186 | 2586002.4491 | 1113964.4683
39 | 2586020.5794 | 1113983.6086 | 2586006.7228 | 1113969.1669 | 2586002.4491 | 1113964.4683
40 | 2585889.6545 | 1114023.1332 | 2585909.8716 | 1114019.8843 | 2585930.0337 | 1114016.2243 | 2585943.9842 | 1114011.3004 | 2585981.3846 | 1113998.5737 | 2586002.0264 | 1113991.9224 | 2586005.5669 | 1113990.1578 | 2586006.7759 | 1113988.7098 | 2586001.7195 | 1113986.1202 | 2586002.9206 | 1113984.5945 | 2586005.9851 | 1113984.0093 | 2586020.5794 | 1113983.6086
41 | 2585964.8017 | 1113967.408 | 2585986.1172 | 1113978.1192 | 2586001.7195 | 1113986.1202 | 2586002.9206 | 1113984.5945 | 2586005.9851 | 1113984.0093 | 2586020.5794 | 1113983.6086
42 | 2586020.5794 | 1113983.6086 | 2586028.5896 | 1113987.4329
43 | 2585882.213 | 1114024.329 | 2585889.6545 | 1114023.1332
44 | 2585944.3986 | 1113957.2283 | 2585962.6214 | 1113966.3125 | 2585964.8017 | 1113967.408
45 | 2585964.8017 | 1113967.408 | 2585965.9946 | 1113965.671 | 2585966.8195 | 1113965.0688 | 2585967.9692 | 1113964.6881 | 2585969.1737 | 1113964.5742 | 2585971.4138 | 1113964.8469 | 2585976.0184 | 1113965.7588 | 2585983.8772 | 1113967.6541
46 | 2586045.1529 | 1113992.9934 | 2586037.4235 | 1113990.9843 | 2586029.1298 | 1113987.6907 | 2586028.5896 | 1113987.4329
47 | 2586048.0611 | 1114009.3465 | 2586068.0841 | 1114018.9605 | 2586089.2279 | 1114029.0388 | 2586099.9945 | 1114033.1049 | 2586108.3324 | 1114035.5202 | 2586119.3887 | 1114038.007 | 2586131.4659 | 1114040.2664
48 | 2586048.0611 | 1114009.3465 | 2586051.5134 | 1114006.2147 | 2586055.8914 | 1114005.96 | 2586065.2161 | 1114007.6393 | 2586067.0305 | 1114007.4683 | 2586074.6893 | 1114006.728
49 | 2586517.4666 | 1114066.6287 | 2586534.6427 | 1114067.2792 | 2586549.7829 | 1114069.3575 | 2586558.915 | 1114071.3381 | 2586575.9309 | 1114076.4916 | 2586592.3465 | 1114082.4197
50 | 2586517.4666 | 1114066.6287 | 2586560.2143 | 1113971.8638
51 | 2585944.3986 | 1113957.2283 | 2585942.2895 | 1113960.1457 | 2585930.9055 | 1113966.242
52 | 2586074.6893 | 1114006.728 | 2586100.6306 | 1114004.2558 | 2586106.6309 | 1114000.9403 | 2586107.4467 | 1113996.3918
53 | 2586074.6893 | 1114006.728 | 2586052.3443 | 1113994.8627 | 2586045.1529 | 1113992.9934
54 | 2586560.2143 | 1113971.8638 | 2586533.0553 | 1113954.8494 | 2586496.1823 | 1113937.5162
55 | 2585822.4 | 1113930.8566 | 2585816.062 | 1113926.6941
56 | 2585807.5577 | 1113921.1089 | 2585816.062 | 1113926.6941
57 | 2585827.389 | 1113901.4525 | 2585825.1454 | 1113916.1206 | 2585822.4 | 1113930.8566
58 | 2585826.3832 | 1113933.4707 | 2585822.4 | 1113930.8566
59 | 2585827.389 | 1113901.4525 | 2585830.7973 | 1113896.0307
60 | 2585827.389 | 1113901.4525 | 2585815.7388 | 1113899.4345 | 2585798.7903 | 1113893.8827 | 2585764.4959 | 1113874.7097 | 2585761.8459 | 1113872.9804
61 | 2585830.7973 | 1113896.0307 | 2585835.8415 | 1113899.943 | 2585836.7468 | 1113900.6857
62 | 2585830.7973 | 1113896.0307 | 2585825.8618 | 1113892.3961 | 2585816.6344 | 1113886.2369 | 2585812.8332 | 1113883.5104
63 | 2585761.8459 | 1113872.9804 | 2585758.9634 | 1113871.0995
64 | 2585877.0409 | 1113912.9273 | 2585900.6975 | 1113917.5996 | 2585906.6528 | 1113919.0467
65 | 2585877.0409 | 1113912.9273 | 2585872.5516 | 1113912.0406 | 2585866.873 | 1113910.92 | 2585863.6772 | 1113911.4722
66 | 2585859.6239 | 1113915.1725 | 2585861.6799 | 1113912.6775 | 2585863.6772 | 1113911.4722
67 | 2585859.6239 | 1113915.1725 | 2585848.7984 | 1113909.1727 | 2585842.2326 | 1113905.1861 | 2585836.7468 | 1113900.6857
68 | 2585877.3756 | 1113924.1241 | 2585859.6239 | 1113915.1725
69 | 2585836.7468 | 1113900.6857 | 2585838.4626 | 1113898.0025 | 2585843.1811 | 1113886.0459
70 | 2585862.5444 | 1113948.6822 | 2585876.3912 | 1113925.8829 | 2585877.3756 | 1113924.1241
71 | 2585740.4003 | 1113858.9861 | 2585758.9634 | 1113871.0995
72 | 2585740.4003 | 1113858.9861 | 2585733.0255 | 1113854.1737
73 | 2585729.5788 | 1113851.9133 | 2585731.7869 | 1113853.3654 | 2585733.0255 | 1113854.1737
74 | 2585812.8332 | 1113883.5104 | 2585806.5163 | 1113878.9794 | 2585804.6979 | 1113877.4892
75 | 2585772.2 | 1113853.3464 | 2585776.6765 | 1113856.0384 | 2585784.5199 | 1113861.4337 | 2585794.0049 | 1113868.726 | 2585797.1399 | 1113871.2952
76 | 2585772.2 | 1113853.3464 | 2585768.5563 | 1113851.1551 | 2585755.5878 | 1113843.6043 | 2585746.64 | 1113838.1894 | 2585740.7923 | 1113834.2013 | 2585736.1507 | 1113830.7661 | 2585730.8658 | 1113826.3764 | 2585728.4042 | 1113823.9936
77 | 2585797.1399 | 1113871.2952 | 2585804.6979 | 1113877.4892
78 | 2585729.5788 | 1113851.9133 | 2585722.7356 | 1113847.413
79 | 2585722.7356 | 1113847.413 | 2585719.9275 | 1113845.5663
80 | 2585719.9275 | 1113845.5663 | 2585715.9775 | 1113842.9686
81 | 2585715.9775 | 1113842.9686 | 2585715.1962 | 1113842.4549 | 2585710.658 | 1113839.777
82 | 2585949.6608 | 1114222.4573 | 2585947.8093 | 1114220.9396 | 2585911.1362 | 1114200.6485 | 2585887.6705 | 1114181.594 | 2585887.6705 | 1114181.594
83 | 2585949.6608 | 1114222.4573 | 2585979.8165 | 1114247.178 | 2585996.0215 | 1114255.6334 | 2586004.5669 | 1114257.8944
84 | 2586019.7195 | 1114261.9037 | 2586004.5669 | 1114257.8944
85 | 2586019.7195 | 1114261.9037 | 2586026.8716 | 1114389.5233
86 | 2586114.4535 | 1113626.0401 | 2586110.0867 | 1113626.1791
87 | 2586141.922 | 1113625.0287 | 2586137.8517 | 1113624.8713 | 2586123.9758 | 1113625.737 | 2586114.4535 | 1113626.0401
88 | 2586141.922 | 1113625.0287 | 2586155.9865 | 1113632.3 | 2586170.6623 | 1113636.7574 | 2586194.4858 | 1113639.5152 | 2586214.9538 | 1113644.0373 | 2586236.363 | 1113658.2954 | 2586255.4941 | 1113675.9938 | 2586255.9897 | 1113676.3565
89 | 2586141.922 | 1113625.0287 | 2586121.0393 | 1113608.1907 | 2586099.3525 | 1113590.9543 | 2586079.1743 | 1113578.0209
90 | 2586255.9897 | 1113676.3565 | 2586338.5797 | 1113456.5741
91 | 2586079.1743 | 1113578.0209 | 2586068.8475 | 1113571.4018
92 | 2586338.5797 | 1113456.5741 | 2586343.6879 | 1113458.0522 | 2586391.5941 | 1113482.1001 | 2586412.7614 | 1113498.5716 | 2586427.2796 | 1113508.4438 | 2586442.6773 | 1113515.4067
93 | 2586035.5505 | 1113550.0596 | 2586068.8475 | 1113571.4018
94 | 2586035.5505 | 1113550.0596 | 2586007.2438 | 1113531.9161 | 2586003.2489 | 1113529.9183

## bus_geodata
| x | y | coords
0 | 2586460.6528 | 1114348.9192
1 | 2586451.5135 | 1114329.89
2 | 2586424.221 | 1114419.5344
3 | 2586405.9301 | 1114300.717
4 | 2586450.997 | 1114421.5196
5 | 2586484.1934 | 1114464.6332
6 | 2586332.011 | 1114189.7738
7 | 2586287.2583 | 1114180.5786
8 | 2586307.0414 | 1114175.9661
9 | 2586325.5277 | 1114055.1775
10 | 2586366.6688 | 1114034.8944
11 | 2586384.165 | 1114042.5395
12 | 2586397.2073 | 1114053.5781
13 | 2586442.1157 | 1113971.6839
14 | 2586425.0984 | 1114065.4241
15 | 2585944.1049 | 1113928.1469
16 | 2585966.5393 | 1113934.6896
17 | 2585921.1997 | 1113922.5813
18 | 2585977.464 | 1113940.732
19 | 2586087.7424 | 1113629.9449
20 | 2585916.2169 | 1113921.3706
21 | 2585983.4777 | 1113942.2743
22 | 2585908.2564 | 1113919.4363
23 | 2586093.4785 | 1114111.2696
24 | 2586157.028 | 1114082.0534
25 | 2586048.5348 | 1114137.1642
26 | 2586154.7039 | 1114071.3067
27 | 2586201.2927 | 1114082.4631
28 | 2586015.1051 | 1114163.588
29 | 2586154.4176 | 1114044.9966
30 | 2586301.8048 | 1114027.9513
31 | 2586011.3675 | 1114159.4848
32 | 2586029.6119 | 1114241.3431
33 | 2585993.0965 | 1113954.186
34 | 2586002.4491 | 1113964.4683
35 | 2586020.5794 | 1113983.6086
36 | 2585889.6545 | 1114023.1332
37 | 2585964.8017 | 1113967.408
38 | 2586028.5896 | 1113987.4329
39 | 2586131.4659 | 1114040.2664
40 | 2586048.0611 | 1114009.3465
41 | 2586517.4666 | 1114066.6287
42 | 2585983.8772 | 1113967.6541
43 | 2585944.3986 | 1113957.2283
44 | 2585930.9055 | 1113966.242
45 | 2585882.213 | 1114024.329
46 | 2586074.6893 | 1114006.728
47 | 2586592.3465 | 1114082.4197
48 | 2586560.2143 | 1113971.8638
49 | 2586045.1529 | 1113992.9934
50 | 2586107.4467 | 1113996.3918
51 | 2586496.1823 | 1113937.5162
52 | 2585816.062 | 1113926.6941
53 | 2585822.4 | 1113930.8566
54 | 2585807.5577 | 1113921.1089
55 | 2585827.389 | 1113901.4525
56 | 2585826.3832 | 1113933.4707
57 | 2585830.7973 | 1113896.0307
58 | 2585761.8459 | 1113872.9804
59 | 2585877.0409 | 1113912.9273
60 | 2585906.6528 | 1113919.0467
61 | 2585863.6772 | 1113911.4722
62 | 2585859.6239 | 1113915.1725
63 | 2585836.7468 | 1113900.6857
64 | 2585877.3756 | 1113924.1241
65 | 2585758.9634 | 1113871.0995
66 | 2585740.4003 | 1113858.9861
67 | 2585733.0255 | 1113854.1736
68 | 2585812.8332 | 1113883.5104
69 | 2585772.2 | 1113853.3464
70 | 2585797.1399 | 1113871.2952
71 | 2585728.4042 | 1113823.9936
72 | 2585804.6979 | 1113877.4892
73 | 2585729.5788 | 1113851.9133
74 | 2585722.7356 | 1113847.413
75 | 2585719.9275 | 1113845.5663
76 | 2585715.9775 | 1113842.9686
77 | 2585843.1811 | 1113886.0459
78 | 2585862.5444 | 1113948.6822
79 | 2585710.658 | 1113839.777
80 | 2585949.6608 | 1114222.4573
81 | 2585887.6705 | 1114181.594
82 | 2586004.5669 | 1114257.8944
83 | 2586019.7195 | 1114261.9037
84 | 2586026.8716 | 1114389.5233
85 | 2586114.4535 | 1113626.0401
86 | 2586110.0867 | 1113626.1791
87 | 2586141.922 | 1113625.0287
88 | 2586255.9897 | 1113676.3565
89 | 2586079.1743 | 1113578.0209
90 | 2586338.5797 | 1113456.5741
91 | 2586068.8475 | 1113571.4018
92 | 2586035.5505 | 1113550.0596
93 | 2586003.2489 | 1113529.9183
94 | 2586442.6773 | 1113515.4067
95 | 2585978.7061 | 1114125.1092
96 | 2586020.5794 | 1113983.6086

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1