## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6024-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6024-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6024-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6024-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6024-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6024-1_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6024-1_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_6024-1_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6024-1_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_6024-1_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6024-1_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6024-1_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6024-1_0_2_node_198 | 0.4 | n |  | TRUE
13 | bus_LV_6024-1_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6024-1_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6024-1_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_6024-1_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6024-1_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6024-1_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6024-1_0_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6024-1_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6024-1_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_6024-1_0_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6024-1_0_2_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_6024-1_0_2_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_6024-1_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_6024-1_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6024-1_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6024-1_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6024-1_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6024-1_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6024-1_0_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_6024-1_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6024-1_0_2_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_6024-1_0_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_6024-1_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_6024-1_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6024-1_0_2_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_6024-1_0_2_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_6024-1_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_6024-1_0_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_6024-1_0_2_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_6024-1_0_2_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_6024-1_0_2_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_6024-1_0_2_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_6024-1_0_2_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_6024-1_0_2_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_6024-1_0_2_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_6024-1_0_2_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_6024-1_0_2_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_6024-1_0_2_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6024-1_0_2_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_6024-1_0_2_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_6024-1_0_2_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_6024-1_0_2_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_6024-1_0_2_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_6024-1_0_2_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_6024-1_0_2_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_6024-1_0_2_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_6024-1_0_2_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_6024-1_0_2_node_205 | 0.4 | n |  | TRUE
61 | bus_LV_6024-1_0_2_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_6024-1_0_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_6024-1_0_2_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_6024-1_0_2_node_203 | 0.4 | n |  | TRUE
65 | bus_LV_6024-1_0_2_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_6024-1_0_2_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_6024-1_0_2_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_6024-1_0_2_node_101 | 0.4 | n |  | TRUE
69 | bus_LV_6024-1_0_2_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_6024-1_0_2_node_103 | 0.4 | n |  | TRUE
71 | bus_LV_6024-1_0_2_node_104 | 0.4 | n |  | TRUE
72 | bus_LV_6024-1_0_2_node_105 | 0.4 | n |  | TRUE
73 | bus_LV_6024-1_0_2_node_108 | 0.4 | n |  | TRUE
74 | bus_LV_6024-1_0_2_node_109 | 0.4 | n |  | TRUE
75 | bus_LV_6024-1_0_2_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_6024-1_0_2_node_236 | 0.4 | n |  | TRUE
77 | bus_LV_6024-1_0_2_node_238 | 0.4 | n |  | TRUE
78 | bus_LV_6024-1_0_2_node_117 | 0.4 | n |  | TRUE
79 | bus_LV_6024-1_0_2_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_6024-1_0_2_node_111 | 0.4 | n |  | TRUE
81 | bus_LV_6024-1_0_2_node_113 | 0.4 | n |  | TRUE
82 | bus_LV_6024-1_0_2_node_114 | 0.4 | n |  | TRUE
83 | bus_LV_6024-1_0_2_node_115 | 0.4 | n |  | TRUE
84 | bus_LV_6024-1_0_2_node_116 | 0.4 | n |  | TRUE
85 | bus_LV_6024-1_0_2_node_232 | 0.4 | n |  | TRUE
86 | bus_LV_6024-1_0_2_node_233 | 0.4 | n |  | TRUE
87 | bus_LV_6024-1_0_2_node_228 | 0.4 | n |  | TRUE
88 | bus_LV_6024-1_0_2_node_239 | 0.4 | n |  | TRUE
89 | bus_LV_6024-1_0_2_node_199 | 0.4 | n |  | TRUE
90 | bus_LV_6024-1_0_2_node_200 | 0.4 | n |  | TRUE
91 | bus_LV_6024-1_0_2_node_201 | 0.4 | n |  | TRUE
92 | bus_LV_6024-1_0_2_node_202 | 0.4 | n |  | TRUE
93 | bus_LV_6024-1_0_2_node_204 | 0.4 | n |  | TRUE
94 | bus_LV_6024-1_0_2_node_213 | 0.4 | n |  | TRUE
95 | bus_LV_6024-1_0_2_node_206 | 0.4 | n |  | TRUE
96 | bus_LV_6024-1_0_2_node_207 | 0.4 | n |  | TRUE
97 | bus_LV_6024-1_0_2_node_208 | 0.4 | n |  | TRUE
98 | bus_LV_6024-1_0_2_node_209 | 0.4 | n |  | TRUE
99 | bus_LV_6024-1_0_2_node_211 | 0.4 | n |  | TRUE
100 | bus_LV_6024-1_0_2_node_210 | 0.4 | n |  | TRUE
101 | bus_LV_6024-1_0_2_node_242 | 0.4 | n |  | TRUE
102 | bus_LV_6024-1_0_2_node_212 | 0.4 | n |  | TRUE
103 | bus_LV_6024-1_0_2_node_229 | 0.4 | n |  | TRUE
104 | bus_LV_6024-1_0_2_node_234 | 0.4 | n |  | TRUE
105 | bus_LV_6024-1_0_2_node_235 | 0.4 | n |  | TRUE
106 | bus_LV_6024-1_0_2_node_237 | 0.4 | n |  | TRUE
107 | bus_LV_6024-1_0_2_node_240 | 0.4 | n |  | TRUE
108 | bus_LV_6024-1_0_2_node_241 | 0.4 | n |  | TRUE
109 | bus_MV_89_0_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6024-1_0_2_load_0 | 0 | 0.00060752 | 0.00015226 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6024-1_0_2_load_1 | 1 | 0.00087931 | 0.00022038 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6024-1_0_2_load_3 | 3 | 0.00092657 | 0.00023222 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6024-1_0_2_load_5 | 4 | 0.00077642 | 0.00019459 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6024-1_0_2_load_6 | 5 | 0.00057649 | 0.00014448 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6024-1_0_2_load_18 | 6 | 0.0014914 | 0.00037378 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6024-1_0_2_load_7 | 7 | 0.00059563 | 0.00014928 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6024-1_0_2_load_22 | 8 | 0.00089267 | 0.00022372 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6024-1_0_2_load_10 | 10 | 0.0010002 | 0.00025068 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6024-1_0_2_load_11 | 11 | 0.0021693 | 0.00054369 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6024-1_0_2_load_12 | 13 | 0.0005711 | 0.00014313 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6024-1_0_2_load_17 | 18 | 0.0012047 | 0.00030192 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6024-1_0_2_load_19 | 19 | 0.0011888 | 0.00029794 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6024-1_0_2_load_20 | 20 | 0.00056624 | 0.00014191 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6024-1_0_2_load_24 | 22 | 0.00053995 | 0.00013532 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6024-1_0_2_load_59 | 23 | 0.0010437 | 0.00026157 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6024-1_0_2_load_56 | 24 | 0.00085022 | 0.00021308 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6024-1_0_2_load_23 | 25 | 0.00091959 | 0.00023047 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6024-1_0_2_load_27 | 28 | 0.00074809 | 0.00018749 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6024-1_0_2_load_28 | 29 | 0.00056323 | 0.00014116 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6024-1_0_2_load_36 | 31 | 0.00090705 | 0.00022733 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6024-1_0_2_load_34 | 32 | 0.00079849 | 0.00020012 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6024-1_0_2_load_37 | 33 | 0.0011887 | 0.00029792 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6024-1_0_2_load_38 | 34 | 0.00076344 | 0.00019134 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6024-1_0_2_load_41 | 35 | 0.0067637 | 0.0016951 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6024-1_0_2_load_42 | 36 | 0.0051458 | 0.0012897 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6024-1_0_2_load_43 | 37 | 0.0054136 | 0.0013568 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6024-1_0_2_load_45 | 39 | 0.0031551 | 0.00079073 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6024-1_0_2_load_46 | 40 | 0.0023537 | 0.00058988 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6024-1_0_2_load_54 | 41 | 0.0073099 | 0.001832 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6024-1_0_2_load_47 | 43 | 0.0039143 | 0.00098102 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6024-1_0_2_load_48 | 44 | 0.0034646 | 0.00086831 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6024-1_0_2_load_50 | 45 | 0.002914 | 0.00073033 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6024-1_0_2_load_52 | 46 | 0.0022235 | 0.00055725 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6024-1_0_2_load_53 | 47 | 0.0058392 | 0.0014634 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6024-1_0_2_load_98 | 48 | 0.0083605 | 0.0020953 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6024-1_0_2_load_66 | 49 | 0.014354 | 0.0035976 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6024-1_0_2_load_57 | 50 | 0.0026404 | 0.00066175 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6024-1_0_2_load_58 | 51 | 0.002693 | 0.00067493 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6024-1_0_2_load_60 | 52 | 0.0023894 | 0.00059884 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6024-1_0_2_load_61 | 53 | 0.00088032 | 0.00022063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6024-1_0_2_load_62 | 55 | 0.0063397 | 0.0015889 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6024-1_0_2_load_65 | 57 | 0.001852 | 0.00046415 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6024-1_0_2_load_67 | 58 | 0.0068765 | 0.0017234 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6024-1_0_2_load_68 | 59 | 0.0016028 | 0.00040169 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6024-1_0_2_load_69 | 61 | 0.0015287 | 0.00038313 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6024-1_0_2_load_70 | 62 | 0.0014566 | 0.00036506 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6024-1_0_2_load_71 | 63 | 0.0015669 | 0.0003927 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6024-1_0_2_load_203 | 64 | 0.001447 | 0.00036265 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6024-1_0_2_load_106 | 65 | 0.0053733 | 0.0013467 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6024-1_0_2_load_99 | 66 | 0.0019653 | 0.00049256 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6024-1_0_2_load_100 | 67 | 0.0035118 | 0.00088015 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6024-1_0_2_load_101 | 68 | 0.0036752 | 0.00092108 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6024-1_0_2_load_102 | 69 | 0.0040767 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6024-1_0_2_load_103 | 70 | 0.0032258 | 0.00080847 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6024-1_0_2_load_104 | 71 | 0.003194 | 0.00080049 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6024-1_0_2_load_108 | 73 | 0.0018791 | 0.00047095 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6024-1_0_2_load_109 | 74 | 0.0046621 | 0.0011684 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6024-1_0_2_load_107 | 75 | 0.0036936 | 0.00092569 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6024-1_0_2_load_236 | 76 | 0.0056178 | 0.001408 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6024-1_0_2_load_238 | 77 | 0.002912 | 0.00072981 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6024-1_0_2_load_117 | 78 | 0.005567 | 0.0013952 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6024-1_0_2_load_110 | 79 | 0.0031365 | 0.00078607 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6024-1_0_2_load_111 | 80 | 0.0021398 | 0.0005363 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6024-1_0_2_load_113 | 81 | 0.0017163 | 0.00043015 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6024-1_0_2_load_116 | 84 | 0.001325 | 0.00033206 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6024-1_0_2_load_232 | 85 | 0.0061335 | 0.0015372 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6024-1_0_2_load_233 | 86 | 0.0057666 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6024-1_0_2_load_228 | 87 | 0.0059944 | 0.0015023 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6024-1_0_2_load_239 | 88 | 0.0062812 | 0.0015742 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6024-1_0_2_load_200 | 90 | 0.002457 | 0.00061578 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6024-1_0_2_load_201 | 91 | 0.0020684 | 0.00051839 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6024-1_0_2_load_202 | 92 | 0.0024962 | 0.0006256 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6024-1_0_2_load_204 | 93 | 0.00094012 | 0.00023562 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6024-1_0_2_load_213 | 94 | 0.0025038 | 0.00062751 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6024-1_0_2_load_206 | 95 | 0.0056038 | 0.0014044 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6024-1_0_2_load_208 | 97 | 0.0080553 | 0.0020189 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6024-1_0_2_load_209 | 98 | 0.0042158 | 0.0010566 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6024-1_0_2_load_211 | 99 | 0.0013171 | 0.00033009 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6024-1_0_2_load_210 | 100 | 0.0031616 | 0.00079236 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6024-1_0_2_load_242 | 101 | 0.0050486 | 0.0012653 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6024-1_0_2_load_212 | 102 | 0.0032437 | 0.00081295 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6024-1_0_2_load_229 | 103 | 0.0020095 | 0.00050362 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6024-1_0_2_load_235 | 105 | 0.0054757 | 0.0013723 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6024-1_0_2_load_237 | 106 | 0.0042428 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6024-1_0_2_load_240 | 107 | 0.0090867 | 0.0022774 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6024-1_0_2_load_241 | 108 | 0.0032949 | 0.00082578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 95 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6024-1_0_2_line_0 |  | 0 | 1 | 0.039886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6024-1_0_2_line_1 |  | 1 | 2 | 0.008733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6024-1_0_2_line_2 |  | 2 | 3 | 0.059282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6024-1_0_2_line_3 |  | 3 | 4 | 0.10239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6024-1_0_2_line_4 |  | 4 | 5 | 0.0077634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6024-1_0_2_line_5 |  | 5 | 6 | 0.051441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6024-1_0_2_line_6 |  | 6 | 15 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6024-1_0_2_line_7 |  | 7 | 8 | 0.12777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6024-1_0_2_line_8 |  | 8 | 10 | 0.11691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6024-1_0_2_line_9 |  | 8 | 19 | 0.0040857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6024-1_0_2_line_10 |  | 9 | 10 | 0.088893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6024-1_0_2_line_11 |  | 9 | 11 | 0.041407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6024-1_0_2_line_12 |  | 11 | 12 | 0.10737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6024-1_0_2_line_13 |  | 12 | 89 | 0.070048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6024-1_0_2_line_14 |  | 13 | 14 | 0.072214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6024-1_0_2_line_15 |  | 13 | 15 | 0.012814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6024-1_0_2_line_16 |  | 14 | 16 | 0.058207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6024-1_0_2_line_17 |  | 14 | 17 | 0.051422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6024-1_0_2_line_18 |  | 15 | 18 | 0.013065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6024-1_0_2_line_19 |  | 16 | 19 | 0.058948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6024-1_0_2_line_20 |  | 17 | 20 | 0.0055532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6024-1_0_2_line_21 |  | 17 | 21 | 0.058158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6024-1_0_2_line_22 |  | 20 | 22 | 0.046486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6024-1_0_2_line_23 |  | 21 | 23 | 0.056379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6024-1_0_2_line_24 |  | 21 | 24 | 0.023795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6024-1_0_2_line_25 |  | 22 | 25 | 0.032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6024-1_0_2_line_26 |  | 23 | 53 | 0.0032528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6024-1_0_2_line_27 |  | 24 | 50 | 0.030346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6024-1_0_2_line_28 |  | 25 | 26 | 0.064425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6024-1_0_2_line_29 |  | 26 | 27 | 0.037018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6024-1_0_2_line_30 |  | 26 | 28 | 0.060813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6024-1_0_2_line_31 |  | 27 | 29 | 0.047462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6024-1_0_2_line_32 |  | 28 | 30 | 0.083627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6024-1_0_2_line_33 |  | 29 | 31 | 0.00032973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6024-1_0_2_line_34 |  | 30 | 32 | 0.030556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6024-1_0_2_line_35 |  | 31 | 33 | 0.059538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6024-1_0_2_line_36 |  | 33 | 34 | 0.030697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6024-1_0_2_line_37 |  | 35 | 36 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6024-1_0_2_line_38 |  | 35 | 37 | 0.028855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6024-1_0_2_line_39 |  | 36 | 38 | 0.013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6024-1_0_2_line_40 |  | 38 | 39 | 0.0068472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6024-1_0_2_line_41 |  | 38 | 40 | 0.054018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6024-1_0_2_line_42 |  | 39 | 41 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6024-1_0_2_line_43 |  | 40 | 42 | 0.032025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6024-1_0_2_line_44 |  | 42 | 49 | 0.035772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6024-1_0_2_line_45 |  | 43 | 44 | 0.049295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6024-1_0_2_line_46 |  | 44 | 45 | 0.043253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6024-1_0_2_line_47 |  | 45 | 46 | 0.0071904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6024-1_0_2_line_48 |  | 46 | 47 | 0.057181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6024-1_0_2_line_49 |  | 47 | 48 | 0.03826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6024-1_0_2_line_50 |  | 48 | 65 | 0.0071679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6024-1_0_2_line_51 |  | 49 | 56 | 0.018175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6024-1_0_2_line_52 |  | 50 | 51 | 0.0087839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6024-1_0_2_line_53 |  | 51 | 52 | 0.0017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6024-1_0_2_line_54 |  | 52 | 54 | 0.14167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6024-1_0_2_line_55 |  | 53 | 55 | 0.059077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6024-1_0_2_line_56 |  | 54 | 56 | 0.014317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6024-1_0_2_line_57 |  | 54 | 57 | 0.076997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6024-1_0_2_line_58 |  | 56 | 58 | 0.031267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6024-1_0_2_line_59 |  | 57 | 59 | 0.010702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6024-1_0_2_line_60 |  | 58 | 60 | 0.014595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6024-1_0_2_line_61 |  | 59 | 61 | 0.015075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6024-1_0_2_line_62 |  | 60 | 95 | 0.068876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_6024-1_0_2_line_63 |  | 60 | 96 | 0.010904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6024-1_0_2_line_64 |  | 61 | 62 | 0.010023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6024-1_0_2_line_65 |  | 62 | 63 | 0.026724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6024-1_0_2_line_66 |  | 63 | 64 | 0.0077966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6024-1_0_2_line_67 |  | 64 | 93 | 0.10494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6024-1_0_2_line_68 |  | 65 | 75 | 0.023424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6024-1_0_2_line_69 |  | 65 | 76 | 0.076011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6024-1_0_2_line_70 |  | 66 | 67 | 0.024783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6024-1_0_2_line_71 |  | 66 | 68 | 0.0035696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6024-1_0_2_line_72 |  | 68 | 69 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6024-1_0_2_line_73 |  | 69 | 70 | 0.00929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6024-1_0_2_line_74 |  | 70 | 71 | 0.024474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6024-1_0_2_line_75 |  | 71 | 72 | 0.039382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6024-1_0_2_line_76 |  | 72 | 73 | 0.020859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6024-1_0_2_line_77 |  | 72 | 74 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_6024-1_0_2_line_78 |  | 72 | 75 | 0.016727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_6024-1_0_2_line_79 |  | 73 | 77 | 0.11778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6024-1_0_2_line_80 |  | 74 | 78 | 0.018367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_6024-1_0_2_line_81 |  | 76 | 104 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6024-1_0_2_line_82 |  | 77 | 106 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6024-1_0_2_line_83 |  | 78 | 88 | 0.031261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_6024-1_0_2_line_84 |  | 79 | 80 | 0.0061555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6024-1_0_2_line_85 |  | 80 | 81 | 0.026944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6024-1_0_2_line_86 |  | 81 | 82 | 0.0083586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6024-1_0_2_line_87 |  | 82 | 83 | 0.031624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6024-1_0_2_line_88 |  | 82 | 84 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6024-1_0_2_line_89 |  | 83 | 85 | 0.034244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6024-1_0_2_line_90 |  | 83 | 86 | 0.053954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6024-1_0_2_line_91 |  | 84 | 87 | 0.0050582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6024-1_0_2_line_92 |  | 86 | 104 | 0.0040509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6024-1_0_2_line_93 |  | 87 | 103 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6024-1_0_2_line_94 |  | 88 | 107 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_6024-1_0_2_line_95 |  | 89 | 90 | 0.086482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6024-1_0_2_line_96 |  | 90 | 91 | 0.039898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6024-1_0_2_line_97 |  | 91 | 92 | 0.041881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6024-1_0_2_line_98 |  | 93 | 94 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6024-1_0_2_line_99 |  | 96 | 97 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6024-1_0_2_line_100 |  | 96 | 98 | 0.054136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_6024-1_0_2_line_101 |  | 97 | 99 | 0.0073764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6024-1_0_2_line_102 |  | 98 | 100 | 0.012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_6024-1_0_2_line_103 |  | 99 | 102 | 0.021564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6024-1_0_2_line_104 |  | 100 | 101 | 0.056738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
105 | LV_6024-1_0_2_line_105 |  | 101 | 108 | 0.0053711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
106 | LV_6024-1_0_2_line_106 |  | 104 | 105 | 0.018578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6024-1_0_2_line_107 |  | 107 | 108 | 0.013265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6024-1_0_2_trafo_206 | 0.63 MVA 20/0.4 kV | 109 | 95 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2587681.6649 | 1113211.4248 | 2587697.4781 | 1113227.1212 | 2587710.2438 | 1113239.2442
1 | 2587716.5763 | 1113245.2579 | 2587710.2438 | 1113239.2442
2 | 2587716.5763 | 1113245.2579 | 2587746.4539 | 1113269.9759 | 2587763.1504 | 1113281.8794
3 | 2587763.1504 | 1113281.8794 | 2587805.367 | 1113311.9771 | 2587848.5079 | 1113338.314 | 2587848.5079 | 1113338.314
4 | 2587848.5079 | 1113338.314 | 2587856.1445 | 1113339.7114
5 | 2587906.3814 | 1113328.6483 | 2587856.1445 | 1113339.7114
6 | 2587921.6532 | 1113334.0314 | 2587906.3814 | 1113328.6483
7 | 2588045.6183 | 1113361.1709 | 2588034.2819 | 1113233.9015
8 | 2588045.6183 | 1113361.1709 | 2588047.2543 | 1113360.8385 | 2588076.4854 | 1113360.3803 | 2588111.1131 | 1113366.7483 | 2588129.985 | 1113372.8474 | 2588160.677 | 1113376.9224
9 | 2588045.6183 | 1113361.1709 | 2588041.6144 | 1113361.9844
10 | 2588248.2932 | 1113367.724 | 2588236.4075 | 1113371.7825 | 2588209.9202 | 1113377.2592 | 2588188.4748 | 1113378.1128 | 2588160.677 | 1113376.9224
11 | 2588248.2932 | 1113367.724 | 2588251.7597 | 1113375.0208 | 2588284.4582 | 1113381.4687
12 | 2588385.2383 | 1113414.9927 | 2588368.6332 | 1113410.7337 | 2588337.1899 | 1113405.3919 | 2588296.8646 | 1113383.9151 | 2588284.4582 | 1113381.4687
13 | 2588392.9637 | 1113472.2727 | 2588405.4679 | 1113436.531 | 2588404.2007 | 1113428.2182 | 2588397.1333 | 1113419.8055 | 2588385.2383 | 1113414.9927
14 | 2587940.2931 | 1113416.9239 | 2587939.8724 | 1113411.2775 | 2587924.5947 | 1113346.5031
15 | 2587921.6532 | 1113334.0314 | 2587924.5947 | 1113346.5031
16 | 2587986.298 | 1113381.4367 | 2587970.8175 | 1113391.3058 | 2587949.4646 | 1113407.4898 | 2587940.2931 | 1113416.9239
17 | 2587911.1146 | 1113458.8476 | 2587919.531 | 1113442.6338 | 2587923.3328 | 1113435.9562 | 2587928.055 | 1113429.9882 | 2587940.2931 | 1113416.9239
18 | 2587921.6532 | 1113334.0314 | 2587934.2735 | 1113330.5155
19 | 2587986.298 | 1113381.4367 | 2587989.2137 | 1113379.5744 | 2588009.8392 | 1113370.362 | 2588028.2476 | 1113364.7004 | 2588041.6144 | 1113361.9844
20 | 2587911.1146 | 1113458.8476 | 2587908.7828 | 1113463.8875
21 | 2587911.1146 | 1113458.8476 | 2587918.9642 | 1113456.5307 | 2587922.8311 | 1113459.1909 | 2587949.7031 | 1113495.7218
22 | 2587880.4587 | 1113499.4404 | 2587889.4829 | 1113493.6194 | 2587896.8969 | 1113485.9117 | 2587905.0398 | 1113471.9774 | 2587908.7828 | 1113463.8875
23 | 2587949.7031 | 1113495.7218 | 2587955.5781 | 1113494.654 | 2587963.2892 | 1113488.7245 | 2587972.4731 | 1113477.7452 | 2587980.1907 | 1113475.0618 | 2587993.571 | 1113480.9602 | 2587997.1247 | 1113481.3356
24 | 2587949.7031 | 1113495.7218 | 2587963.9309 | 1113514.7944
25 | 2587848.8049 | 1113495.8521 | 2587855.5031 | 1113498.0789 | 2587867.671 | 1113500.1776 | 2587880.4587 | 1113499.4404 | 2587880.4587 | 1113499.4404
26 | 2588000.3595 | 1113481.6774 | 2587997.1247 | 1113481.3356
27 | 2587963.9309 | 1113514.7944 | 2587968.1021 | 1113520.3861 | 2587973.1724 | 1113530.1474 | 2587975.5753 | 1113542.282
28 | 2587787.0611 | 1113478.5187 | 2587799.3042 | 1113479.5944 | 2587812.1158 | 1113482.9813 | 2587839.4826 | 1113492.753 | 2587848.8049 | 1113495.8521
29 | 2587751.9437 | 1113489.3954 | 2587763.3774 | 1113483.6582 | 2587774.9547 | 1113480.0885 | 2587787.0611 | 1113478.5187
30 | 2587787.0611 | 1113478.5187 | 2587779.8311 | 1113466.4497 | 2587740.4605 | 1113459.504 | 2587734.1961 | 1113456.9498
31 | 2587751.9437 | 1113489.3954 | 2587763.8663 | 1113488.593 | 2587777.1934 | 1113494.8468 | 2587794.4795 | 1113506.3992
32 | 2587657.786 | 1113425.7562 | 2587659.7786 | 1113429.554 | 2587701.2335 | 1113443.5094 | 2587734.1961 | 1113456.9498
33 | 2587794.7536 | 1113506.5825 | 2587794.4795 | 1113506.3992
34 | 2587657.786 | 1113425.7562 | 2587643.5972 | 1113398.6941
35 | 2587794.7536 | 1113506.5825 | 2587800.1617 | 1113510.1967 | 2587824.8365 | 1113525.4321 | 2587843.4423 | 1113540.6457
36 | 2587849.4099 | 1113557.6356 | 2587853.5557 | 1113558.7016 | 2587858.1022 | 1113553.7456 | 2587852.9093 | 1113548.3867 | 2587843.4423 | 1113540.6457
37 | 2587903.9247 | 1113641.466 | 2587906.8604 | 1113640.1235 | 2587918.1392 | 1113638.0331
38 | 2587882.5411 | 1113659.1262 | 2587889.94 | 1113647.8613 | 2587903.9247 | 1113641.466
39 | 2587930.0139 | 1113632.6845 | 2587918.1392 | 1113638.0331 | 2587918.1392 | 1113638.0331
40 | 2587930.0139 | 1113632.6845 | 2587923.257 | 1113631.5764
41 | 2587930.0139 | 1113632.6845 | 2587944.5564 | 1113629.098 | 2587963.8657 | 1113630.2488 | 2587977.2439 | 1113635.2468 | 2587982.0092 | 1113637.8193
42 | 2587901.4842 | 1113628.0061 | 2587923.257 | 1113631.5764
43 | 2588011.8916 | 1113648.551 | 2587994.1905 | 1113644.3953 | 2587982.0092 | 1113637.8193
44 | 2588011.8916 | 1113648.551 | 2588017.9645 | 1113649.9729 | 2588038.7589 | 1113648.453 | 2588047.4439 | 1113648.4322
45 | 2587774.466 | 1113745.6554 | 2587793.0641 | 1113746.1499 | 2587818.2272 | 1113755.1256 | 2587822.1733 | 1113754.6489
46 | 2587822.1733 | 1113754.6489 | 2587835.0738 | 1113753.0906 | 2587848.1559 | 1113753.0641 | 2587864.2516 | 1113759.0623
47 | 2587864.2516 | 1113759.0623 | 2587870.9893 | 1113761.5732
48 | 2587927.2354 | 1113768.7121 | 2587917.3442 | 1113765.2087 | 2587884.8931 | 1113761.0051 | 2587871.5654 | 1113761.7879 | 2587870.9893 | 1113761.5732
49 | 2587927.2354 | 1113768.7121 | 2587948.303 | 1113776.1743 | 2587960.1206 | 1113777.1511 | 2587964.0646 | 1113778.0821
50 | 2587971.0407 | 1113779.7288 | 2587964.0646 | 1113778.0821
51 | 2588065.6186 | 1113648.3886 | 2588047.4439 | 1113648.4322
52 | 2587975.5753 | 1113542.282 | 2587975.5753 | 1113542.282 | 2587980.9185 | 1113549.2539
53 | 2587980.9185 | 1113549.2539 | 2587982.0081 | 1113550.6756
54 | 2588070.8134 | 1113635.383 | 2588061.1621 | 1113624.7969 | 2588052.9219 | 1113617.0205 | 2588038.8294 | 1113602.2968 | 2588028.6815 | 1113590.6223 | 2588026.6248 | 1113581.6441 | 2588025.6594 | 1113569.9403 | 2588025.4013 | 1113564.427 | 2588023.2771 | 1113560.3403 | 2588019.3806 | 1113558.2692 | 2588015.3414 | 1113558.2106 | 2588011.2075 | 1113560.998 | 2588005.1192 | 1113563.5447 | 2587999.1732 | 1113563.8344 | 2587994.4849 | 1113563.5881 | 2587990.7595 | 1113562.0948 | 2587982.0081 | 1113550.6756
55 | 2588054.4329 | 1113463.9641 | 2588036.0137 | 1113464.0007 | 2588014.9493 | 1113477.6604 | 2588004.7253 | 1113482.1386 | 2588000.3595 | 1113481.6774
56 | 2588070.8134 | 1113635.383 | 2588066.2103 | 1113642.9959 | 2588065.6186 | 1113648.3886
57 | 2588070.8134 | 1113635.383 | 2588073.773 | 1113632.3979 | 2588110.8432 | 1113601.5315 | 2588122.98 | 1113580.1859 | 2588122.98 | 1113580.1859
58 | 2588065.6186 | 1113648.3886 | 2588084.9164 | 1113672.9892
59 | 2588122.98 | 1113580.1859 | 2588131.8805 | 1113574.2432
60 | 2588093.9244 | 1113684.4726 | 2588084.9164 | 1113672.9892
61 | 2588146.8031 | 1113576.3825 | 2588131.8805 | 1113574.2432 | 2588131.8805 | 1113574.2432
62 | 2588093.9244 | 1113684.4726 | 2588069.8323 | 1113693.6693 | 2588047.5456 | 1113698.0934 | 2588026.9879 | 1113698.1343
63 | 2588093.9244 | 1113684.4726 | 2588097.4241 | 1113689.0013 | 2588101.6389 | 1113692.0389
64 | 2588156.7247 | 1113577.8048 | 2588146.8031 | 1113576.3825
65 | 2588156.7247 | 1113577.8048 | 2588183.1779 | 1113581.597
66 | 2588183.1779 | 1113581.597 | 2588183.5146 | 1113581.6453 | 2588190.9251 | 1113582.4715
67 | 2588190.9251 | 1113582.4715 | 2588192.5292 | 1113582.6504 | 2588198.3278 | 1113582.0276 | 2588207.7478 | 1113581.0753 | 2588213.6523 | 1113583.2315 | 2588227.7614 | 1113594.7651 | 2588228.6043 | 1113599.3102 | 2588228.299 | 1113605.0914 | 2588225.4181 | 1113612.8342 | 2588215.6104 | 1113628.7612 | 2588208.0759 | 1113642.0937 | 2588202.6935 | 1113646.2285 | 2588198.7645 | 1113647.17
68 | 2587993.8379 | 1113785.1099 | 2587971.0407 | 1113779.7288
69 | 2587971.0407 | 1113779.7288 | 2587953.8873 | 1113853.7792
70 | 2587929.7866 | 1113730.9935 | 2587907.0859 | 1113721.0511
71 | 2587929.7866 | 1113730.9935 | 2587933.0564 | 1113732.4256
72 | 2587952.6957 | 1113742.2615 | 2587941.5505 | 1113736.1458 | 2587933.0564 | 1113732.4256
73 | 2587952.6957 | 1113742.2615 | 2587960.8401 | 1113746.7305
74 | 2587960.8401 | 1113746.7305 | 2587982.2963 | 1113758.5041
75 | 2588010.5562 | 1113784.5653 | 2588003.5134 | 1113773.0291 | 2587994.7793 | 1113765.3539 | 2587982.2963 | 1113758.5041
76 | 2588010.5562 | 1113784.5653 | 2588028.2604 | 1113795.5947
77 | 2588010.5562 | 1113784.5653 | 2588012.0248 | 1113777.4588 | 2588021.8217 | 1113775.883
78 | 2588010.5562 | 1113784.5653 | 2587993.8379 | 1113785.1099
79 | 2588028.2604 | 1113795.5947 | 2588016.8739 | 1113912.8271
80 | 2588040.1834 | 1113775.4452 | 2588021.8217 | 1113775.883 | 2588021.8217 | 1113775.883
81 | 2587969.1296 | 1113860.5076 | 2587966.8614 | 1113857.7775 | 2587953.8873 | 1113853.7792
82 | 2588016.8739 | 1113912.8271 | 2588031.27 | 1113915.8404
83 | 2588040.1834 | 1113775.4452 | 2588058.9502 | 1113774.9977 | 2588069.3678 | 1113774.8992 | 2588071.4031 | 1113774.5184
84 | 2587899.2968 | 1113902.3507 | 2587905.2731 | 1113903.8251
85 | 2587931.4328 | 1113910.2791 | 2587905.2731 | 1113903.8251
86 | 2587939.548 | 1113912.2813 | 2587931.4328 | 1113910.2791
87 | 2587939.548 | 1113912.2813 | 2587941.9591 | 1113897.6692 | 2587945.1647 | 1113894.2278 | 2587956.5934 | 1113890.114
88 | 2587939.548 | 1113912.2813 | 2587951.2009 | 1113915.1536
89 | 2587956.5934 | 1113890.114 | 2587978.8399 | 1113896.884 | 2587988.7386 | 1113901.6586
90 | 2587956.5934 | 1113890.114 | 2587967.0421 | 1113886.3579 | 2587984.9922 | 1113880.1523 | 2587986.7685 | 1113876.358 | 2587979.2558 | 1113869.2584 | 2587972.1946 | 1113863.1563
91 | 2587956.1121 | 1113916.3642 | 2587951.2009 | 1113915.1536
92 | 2587969.1296 | 1113860.5076 | 2587972.1946 | 1113863.1563
93 | 2587956.1121 | 1113916.3642 | 2587959.3659 | 1113917.1662 | 2587971.2251 | 1113923.6902 | 2587975.4772 | 1113926.7168
94 | 2588071.4031 | 1113774.5184 | 2588078.5543 | 1113773.1802 | 2588082.1386 | 1113769.8047 | 2588082.1386 | 1113769.8047
95 | 2588392.9637 | 1113472.2727 | 2588374.6444 | 1113476.0878 | 2588355.4149 | 1113468.4656 | 2588336.582 | 1113466.3121 | 2588318.8747 | 1113479.0083 | 2588314.9797 | 1113484.0118
96 | 2588314.9797 | 1113484.0118 | 2588305.7706 | 1113495.842 | 2588281.0318 | 1113498.7249
97 | 2588243.3403 | 1113481.123 | 2588263.9356 | 1113488.064 | 2588281.0318 | 1113498.7249
98 | 2588188.6107 | 1113644.0884 | 2588193.9991 | 1113646.9681 | 2588198.7645 | 1113647.17
99 | 2588101.6389 | 1113692.0389 | 2588113.1526 | 1113700.6424
100 | 2588101.6389 | 1113692.0389 | 2588091.0212 | 1113692.5268 | 2588066.7031 | 1113700.7123 | 2588052.2732 | 1113706.5327 | 2588050.2416 | 1113707.5866
101 | 2588119.0615 | 1113705.0579 | 2588113.1526 | 1113700.6424
102 | 2588039.2585 | 1113713.2841 | 2588050.2416 | 1113707.5866
103 | 2588119.0615 | 1113705.0579 | 2588136.3358 | 1113717.9661
104 | 2588039.2585 | 1113713.2841 | 2588066.3558 | 1113763.1327
105 | 2588066.3558 | 1113763.1327 | 2588071.6335 | 1113764.1303
106 | 2587969.1296 | 1113860.5076 | 2587963.893 | 1113860.1624 | 2587950.9336 | 1113863.501
107 | 2588071.6335 | 1113764.1303 | 2588080.3236 | 1113765.773 | 2588082.1386 | 1113769.8047

## bus_geodata
| x | y | coords
0 | 2587681.6649 | 1113211.4248
1 | 2587710.2438 | 1113239.2442
2 | 2587716.5763 | 1113245.2579
3 | 2587763.1504 | 1113281.8794
4 | 2587848.5079 | 1113338.314
5 | 2587856.1445 | 1113339.7114
6 | 2587906.3814 | 1113328.6483
7 | 2588034.2819 | 1113233.9015
8 | 2588045.6183 | 1113361.1709
9 | 2588248.2932 | 1113367.724
10 | 2588160.677 | 1113376.9224
11 | 2588284.4582 | 1113381.4687
12 | 2588385.2383 | 1113414.9927
13 | 2587924.5947 | 1113346.5031
14 | 2587940.2931 | 1113416.9239
15 | 2587921.6532 | 1113334.0314
16 | 2587986.298 | 1113381.4367
17 | 2587911.1146 | 1113458.8476
18 | 2587934.2735 | 1113330.5155
19 | 2588041.6144 | 1113361.9844
20 | 2587908.7828 | 1113463.8875
21 | 2587949.7031 | 1113495.7218
22 | 2587880.4587 | 1113499.4404
23 | 2587997.1247 | 1113481.3356
24 | 2587963.9309 | 1113514.7944
25 | 2587848.8049 | 1113495.8521
26 | 2587787.0611 | 1113478.5187
27 | 2587751.9437 | 1113489.3954
28 | 2587734.1961 | 1113456.9498
29 | 2587794.4795 | 1113506.3992
30 | 2587657.786 | 1113425.7562
31 | 2587794.7536 | 1113506.5825
32 | 2587643.5972 | 1113398.6941
33 | 2587843.4423 | 1113540.6457
34 | 2587849.4099 | 1113557.6356
35 | 2587903.9247 | 1113641.466
36 | 2587918.1392 | 1113638.0331
37 | 2587882.5411 | 1113659.1262
38 | 2587930.0139 | 1113632.6845
39 | 2587923.257 | 1113631.5764
40 | 2587982.0092 | 1113637.8193
41 | 2587901.4842 | 1113628.0061
42 | 2588011.8916 | 1113648.551
43 | 2587774.466 | 1113745.6554
44 | 2587822.1733 | 1113754.6489
45 | 2587864.2516 | 1113759.0623
46 | 2587870.9893 | 1113761.5732
47 | 2587927.2354 | 1113768.7121
48 | 2587964.0646 | 1113778.0821
49 | 2588047.4439 | 1113648.4322
50 | 2587975.5753 | 1113542.282
51 | 2587980.9185 | 1113549.2539
52 | 2587982.0081 | 1113550.6756
53 | 2588000.3595 | 1113481.6774
54 | 2588070.8134 | 1113635.383
55 | 2588054.4329 | 1113463.9641
56 | 2588065.6186 | 1113648.3886
57 | 2588122.98 | 1113580.1859
58 | 2588084.9164 | 1113672.9892
59 | 2588131.8805 | 1113574.2432
60 | 2588093.9244 | 1113684.4726
61 | 2588146.8031 | 1113576.3825
62 | 2588156.7247 | 1113577.8048
63 | 2588183.1779 | 1113581.597
64 | 2588190.9251 | 1113582.4715
65 | 2587971.0407 | 1113779.7288
66 | 2587929.7866 | 1113730.9935
67 | 2587907.0859 | 1113721.0511
68 | 2587933.0564 | 1113732.4256
69 | 2587952.6957 | 1113742.2615
70 | 2587960.8401 | 1113746.7305
71 | 2587982.2963 | 1113758.5041
72 | 2588010.5562 | 1113784.5653
73 | 2588028.2604 | 1113795.5947
74 | 2588021.8217 | 1113775.883
75 | 2587993.8379 | 1113785.1099
76 | 2587953.8873 | 1113853.7792
77 | 2588016.8739 | 1113912.8271
78 | 2588040.1834 | 1113775.4452
79 | 2587899.2968 | 1113902.3507
80 | 2587905.2731 | 1113903.8251
81 | 2587931.4328 | 1113910.2791
82 | 2587939.548 | 1113912.2813
83 | 2587956.5934 | 1113890.114
84 | 2587951.2009 | 1113915.1536
85 | 2587988.7386 | 1113901.6586
86 | 2587972.1946 | 1113863.1563
87 | 2587956.1121 | 1113916.3642
88 | 2588071.4031 | 1113774.5184
89 | 2588392.9637 | 1113472.2727
90 | 2588314.9797 | 1113484.0118
91 | 2588281.0318 | 1113498.7249
92 | 2588243.3403 | 1113481.123
93 | 2588198.7645 | 1113647.17
94 | 2588188.6107 | 1113644.0884
95 | 2588026.9879 | 1113698.1343
96 | 2588101.6389 | 1113692.0389
97 | 2588113.1526 | 1113700.6424
98 | 2588050.2416 | 1113707.5866
99 | 2588119.0615 | 1113705.0579
100 | 2588039.2585 | 1113713.2841
101 | 2588066.3558 | 1113763.1327
102 | 2588136.3358 | 1113717.9661
103 | 2587975.4772 | 1113926.7168
104 | 2587969.1296 | 1113860.5076
105 | 2587950.9336 | 1113863.501
106 | 2588031.27 | 1113915.8404
107 | 2588082.1386 | 1113769.8047
108 | 2588071.6335 | 1113764.1303
109 | 2588093.9244 | 1113684.4726

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1