## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6024-30_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_6024-30_1_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_6024-30_1_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_6024-30_1_3_node_89 | 0.4 | n |  | TRUE
4 | bus_LV_6024-30_1_3_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_6024-30_1_3_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_6024-30_1_3_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_6024-30_1_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_6024-30_1_3_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_6024-30_1_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_6024-30_1_3_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_6024-30_1_3_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_6024-30_1_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_6024-30_1_3_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_6024-30_1_3_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_6024-30_1_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_6024-30_1_3_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_6024-30_1_3_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_6024-30_1_3_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_6024-30_1_3_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_6024-30_1_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_6024-30_1_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_6024-30_1_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_6024-30_1_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_6024-30_1_3_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_6024-30_1_3_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_6024-30_1_3_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_6024-30_1_3_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_6024-30_1_3_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_6024-30_1_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_6024-30_1_3_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_6024-30_1_3_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_6024-30_1_3_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_6024-30_1_3_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_6024-30_1_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_6024-30_1_3_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_6024-30_1_3_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_6024-30_1_3_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_6024-30_1_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_6024-30_1_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_6024-30_1_3_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_6024-30_1_3_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_6024-30_1_3_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_6024-30_1_3_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_6024-30_1_3_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_6024-30_1_3_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_6024-30_1_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_6024-30_1_3_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_6024-30_1_3_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_6024-30_1_3_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_6024-30_1_3_node_105 | 0.4 | n |  | TRUE
51 | bus_LV_6024-30_1_3_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_6024-30_1_3_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_6024-30_1_3_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_6024-30_1_3_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_6024-30_1_3_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_6024-30_1_3_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_6024-30_1_3_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_6024-30_1_3_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_6024-30_1_3_node_99 | 0.4 | n |  | TRUE
60 | bus_LV_6024-30_1_3_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_6024-30_1_3_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_6024-30_1_3_node_104 | 0.4 | n |  | TRUE
63 | bus_LV_6024-30_1_3_node_108 | 0.4 | n |  | TRUE
64 | bus_LV_6024-30_1_3_node_109 | 0.4 | n |  | TRUE
65 | bus_MV_89_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6024-30_1_3_load_6 | 1 | 0.0053649 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6024-30_1_3_load_89 | 3 | 0.0096841 | 0.0024271 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6024-30_1_3_load_74 | 4 | 0.0031714 | 0.00079484 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6024-30_1_3_load_73 | 5 | 0.0022368 | 0.00056059 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6024-30_1_3_load_75 | 6 | 0.0061006 | 0.001529 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6024-30_1_3_load_40 | 7 | 0.0048107 | 0.0012057 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6024-30_1_3_load_41 | 8 | 0.0036711 | 0.00092006 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6024-30_1_3_load_42 | 9 | 0.0060941 | 0.0015273 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6024-30_1_3_load_43 | 10 | 0.0056573 | 0.0014179 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6024-30_1_3_load_44 | 11 | 0.0030696 | 0.00076931 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6024-30_1_3_load_45 | 12 | 0.0037826 | 0.00094801 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6024-30_1_3_load_47 | 15 | 0.0029339 | 0.0007353 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6024-30_1_3_load_48 | 16 | 0.0030277 | 0.00075882 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6024-30_1_3_load_54 | 17 | 0.0046683 | 0.00117 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6024-30_1_3_load_50 | 18 | 0.0038547 | 0.00096608 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6024-30_1_3_load_88 | 19 | 0.0026889 | 0.00067391 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6024-30_1_3_load_51 | 20 | 0.0058871 | 0.0014754 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6024-30_1_3_load_53 | 21 | 0.0041769 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6024-30_1_3_load_56 | 23 | 0.0033528 | 0.0008403 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6024-30_1_3_load_86 | 26 | 0.0018879 | 0.00047316 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6024-30_1_3_load_68 | 28 | 0.0058043 | 0.0014547 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6024-30_1_3_load_65 | 29 | 0.0095351 | 0.0023897 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6024-30_1_3_load_57 | 30 | 0.0045856 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6024-30_1_3_load_58 | 31 | 0.0038726 | 0.00097056 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6024-30_1_3_load_60 | 33 | 0.0038089 | 0.00095461 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6024-30_1_3_load_61 | 34 | 0.0043631 | 0.0010935 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6024-30_1_3_load_97 | 37 | 0.0053921 | 0.0013514 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6024-30_1_3_load_64 | 39 | 0.0031849 | 0.00079821 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6024-30_1_3_load_82 | 40 | 0.0038012 | 0.00095266 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6024-30_1_3_load_83 | 41 | 0.0033346 | 0.00083574 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6024-30_1_3_load_87 | 42 | 0.0060362 | 0.0015128 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6024-30_1_3_load_66 | 43 | 0.0089816 | 0.002251 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6024-30_1_3_load_69 | 44 | 0.0041393 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6024-30_1_3_load_71 | 45 | 0.0059341 | 0.0014872 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6024-30_1_3_load_72 | 46 | 0.0017818 | 0.00044657 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6024-30_1_3_load_85 | 49 | 0.0042609 | 0.0010679 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6024-30_1_3_load_105 | 50 | 0.0029831 | 0.00074762 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6024-30_1_3_load_80 | 51 | 0.0015443 | 0.00038704 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6024-30_1_3_load_93 | 54 | 0.0059236 | 0.0014846 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6024-30_1_3_load_94 | 55 | 0.0058277 | 0.0014606 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6024-30_1_3_load_92 | 57 | 0.0073595 | 0.0018445 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6024-30_1_3_load_98 | 58 | 0.0021257 | 0.00053275 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6024-30_1_3_load_101 | 60 | 0.0026235 | 0.0006575 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6024-30_1_3_load_102 | 61 | 0.0020829 | 0.00052203 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6024-30_1_3_load_104 | 62 | 0.0029204 | 0.00073192 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6024-30_1_3_load_108 | 63 | 0.0010206 | 0.0002558 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6024-30_1_3_load_109 | 64 | 0.0029819 | 0.00074734 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6024-30_1_3_line_0 |  | 0 | 1 | 0.01763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6024-30_1_3_line_1 |  | 0 | 2 | 0.032843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6024-30_1_3_line_2 |  | 1 | 3 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6024-30_1_3_line_3 |  | 2 | 4 | 0.0097744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6024-30_1_3_line_4 |  | 2 | 5 | 0.016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6024-30_1_3_line_5 |  | 4 | 6 | 0.0057403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6024-30_1_3_line_6 |  | 6 | 19 | 0.002312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6024-30_1_3_line_7 |  | 7 | 8 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6024-30_1_3_line_8 |  | 7 | 9 | 0.010344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6024-30_1_3_line_9 |  | 8 | 10 | 0.019351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6024-30_1_3_line_10 |  | 9 | 11 | 0.0079441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6024-30_1_3_line_11 |  | 10 | 12 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6024-30_1_3_line_12 |  | 11 | 13 | 0.0064232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6024-30_1_3_line_13 |  | 12 | 14 | 0.02428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6024-30_1_3_line_14 |  | 13 | 15 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6024-30_1_3_line_15 |  | 13 | 16 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6024-30_1_3_line_16 |  | 14 | 17 | 0.036189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6024-30_1_3_line_17 |  | 14 | 18 | 0.0016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6024-30_1_3_line_18 |  | 16 | 19 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6024-30_1_3_line_19 |  | 17 | 23 | 0.009622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6024-30_1_3_line_20 |  | 18 | 20 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6024-30_1_3_line_21 |  | 20 | 21 | 0.017944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6024-30_1_3_line_22 |  | 21 | 22 | 0.006865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6024-30_1_3_line_23 |  | 22 | 24 | 0.026994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6024-30_1_3_line_24 |  | 22 | 25 | 0.020763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6024-30_1_3_line_25 |  | 24 | 26 | 0.0099327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6024-30_1_3_line_26 |  | 24 | 27 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6024-30_1_3_line_27 |  | 25 | 28 | 0.012503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6024-30_1_3_line_28 |  | 25 | 29 | 0.034935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6024-30_1_3_line_29 |  | 26 | 47 | 0.039257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6024-30_1_3_line_30 |  | 26 | 48 | 0.081101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6024-30_1_3_line_31 |  | 27 | 49 | 0.010878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6024-30_1_3_line_32 |  | 27 | 41 | 0.011899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6024-30_1_3_line_33 |  | 28 | 44 | 0.0314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6024-30_1_3_line_34 |  | 29 | 43 | 0.026511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6024-30_1_3_line_35 |  | 30 | 31 | 0.012595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6024-30_1_3_line_36 |  | 30 | 32 | 0.020374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6024-30_1_3_line_37 |  | 31 | 33 | 0.017606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6024-30_1_3_line_38 |  | 32 | 34 | 0.009109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6024-30_1_3_line_39 |  | 32 | 35 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6024-30_1_3_line_40 |  | 33 | 36 | 0.014947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6024-30_1_3_line_41 |  | 35 | 39 | 0.0088394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6024-30_1_3_line_42 |  | 36 | 40 | 0.017639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6024-30_1_3_line_43 |  | 36 | 41 | 0.03552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6024-30_1_3_line_44 |  | 37 | 38 | 0.026483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6024-30_1_3_line_45 |  | 38 | 55 | 0.037136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6024-30_1_3_line_46 |  | 40 | 42 | 0.0013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6024-30_1_3_line_47 |  | 44 | 45 | 0.032961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6024-30_1_3_line_48 |  | 45 | 46 | 0.024507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6024-30_1_3_line_49 |  | 46 | 50 | 0.023432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6024-30_1_3_line_50 |  | 47 | 56 | 0.030466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6024-30_1_3_line_51 |  | 48 | 54 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6024-30_1_3_line_52 |  | 50 | 52 | 0.016839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6024-30_1_3_line_53 |  | 51 | 52 | 0.0052468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6024-30_1_3_line_54 |  | 52 | 53 | 0.03895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6024-30_1_3_line_55 |  | 53 | 61 | 0.040985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6024-30_1_3_line_56 |  | 53 | 59 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6024-30_1_3_line_57 |  | 54 | 55 | 0.00059528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6024-30_1_3_line_58 |  | 56 | 57 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6024-30_1_3_line_59 |  | 58 | 59 | 0.030244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6024-30_1_3_line_60 |  | 59 | 60 | 0.027109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6024-30_1_3_line_61 |  | 60 | 62 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6024-30_1_3_line_62 |  | 62 | 63 | 0.056556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6024-30_1_3_line_63 |  | 63 | 64 | 0.0044761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6024-30_1_3_trafo_68 | 0.63 MVA 20/0.4 kV | 65 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2589365.1314 | 1114462.1871 | 2589380.3399 | 1114453.2693
1 | 2589365.1314 | 1114462.1871 | 2589363.3452 | 1114469.505 | 2589363.4432 | 1114472.4952 | 2589363.8354 | 1114484.7228 | 2589366.6324 | 1114494.4115
2 | 2589393.5026 | 1114445.5511 | 2589380.3399 | 1114453.2693
3 | 2589366.6324 | 1114494.4115 | 2589375.4265 | 1114493.929 | 2589376.335 | 1114493.5978
4 | 2589366.6324 | 1114494.4115 | 2589353.6454 | 1114503.8624
5 | 2589381.728 | 1114491.6312 | 2589376.335 | 1114493.5978
6 | 2589383.9001 | 1114490.8392 | 2589381.728 | 1114491.6312
7 | 2589437.4116 | 1114478.1454 | 2589443.4382 | 1114484.5825 | 2589442.4866 | 1114487.2547
8 | 2589437.4116 | 1114478.1454 | 2589437.4116 | 1114478.1454 | 2589428.1452 | 1114473.5483 | 2589428.1452 | 1114473.5483
9 | 2589434.9435 | 1114505.0269 | 2589438.8356 | 1114497.508 | 2589442.4866 | 1114487.2547
10 | 2589428.1452 | 1114473.5483 | 2589423.5313 | 1114480.0152
11 | 2589432.6355 | 1114515.6255 | 2589432.379 | 1114509.9811 | 2589434.9435 | 1114505.0269
12 | 2589417.6829 | 1114482.6712 | 2589423.5313 | 1114480.0152
13 | 2589432.2535 | 1114539.6404 | 2589433.8118 | 1114534.424 | 2589432.8609 | 1114520.5855 | 2589432.6355 | 1114515.6255
14 | 2589411.601 | 1114492.9981 | 2589417.6829 | 1114482.6712
15 | 2589417.6829 | 1114482.6712 | 2589413.3545 | 1114484.6354 | 2589404.4929 | 1114485.5812
16 | 2589432.2535 | 1114539.6404 | 2589437.8095 | 1114541.9873 | 2589444.7695 | 1114543.5759 | 2589448.3361 | 1114543.1583 | 2589455.7107 | 1114538.9989 | 2589458.3234 | 1114536.2041 | 2589458.8512 | 1114533.3573 | 2589458.3938 | 1114529.142
17 | 2589432.2535 | 1114539.6404 | 2589431.7878 | 1114541.1943
18 | 2589404.4929 | 1114485.5812 | 2589395.7755 | 1114486.5117 | 2589385.5972 | 1114490.2204 | 2589383.9001 | 1114490.8392
19 | 2589462.397 | 1114521.0228 | 2589459.1286 | 1114524.1745 | 2589458.2469 | 1114527.7889 | 2589458.3938 | 1114529.142
20 | 2589431.7878 | 1114541.1943 | 2589429.6665 | 1114548.2714 | 2589423.9668 | 1114555.9434
21 | 2589413.5196 | 1114570.5246 | 2589416.2781 | 1114566.2927 | 2589423.9668 | 1114555.9434
22 | 2589409.7709 | 1114576.2758 | 2589413.5196 | 1114570.5246
23 | 2589384.6546 | 1114586.1471 | 2589400.9572 | 1114578.7147 | 2589409.7709 | 1114576.2758
24 | 2589409.7709 | 1114576.2758 | 2589419.7423 | 1114573.5235 | 2589429.8062 | 1114570.6155
25 | 2589384.6546 | 1114586.1471 | 2589375.186 | 1114583.1462
26 | 2589384.6546 | 1114586.1471 | 2589400.8083 | 1114595.0452
27 | 2589429.8062 | 1114570.6155 | 2589436.1655 | 1114568.7812 | 2589441.7224 | 1114566.8444
28 | 2589429.8062 | 1114570.6155 | 2589433.4856 | 1114572.8546 | 2589438.2545 | 1114575.5364 | 2589444.0548 | 1114576.3489 | 2589450.2671 | 1114574.2703 | 2589461.6142 | 1114568.459
29 | 2589353.5692 | 1114565.2695 | 2589350.4225 | 1114567.3539 | 2589347.8116 | 1114571.1493 | 2589350.4366 | 1114575.3022 | 2589375.186 | 1114583.1462
30 | 2589375.186 | 1114583.1462 | 2589322.2987 | 1114644.6308
31 | 2589392.1177 | 1114601.6194 | 2589400.8083 | 1114595.0452
32 | 2589400.8083 | 1114595.0452 | 2589411.234 | 1114600.7809
33 | 2589441.7224 | 1114566.8444 | 2589471.3731 | 1114556.5098
34 | 2589461.6142 | 1114568.459 | 2589467.6482 | 1114565.3688 | 2589475.104 | 1114563.4881 | 2589479.2435 | 1114563.9033 | 2589486.2321 | 1114567.5478
35 | 2589464.1233 | 1114647.2673 | 2589460.6044 | 1114648.0663 | 2589451.8064 | 1114646.2364 | 2589451.8064 | 1114646.2364
36 | 2589483.9912 | 1114642.7561 | 2589464.1233 | 1114647.2673
37 | 2589451.8064 | 1114646.2364 | 2589449.323 | 1114628.8059
38 | 2589483.9912 | 1114642.7561 | 2589485.0272 | 1114647.9458 | 2589487.079 | 1114651.166
39 | 2589483.9912 | 1114642.7561 | 2589501.2416 | 1114638.6795
40 | 2589442.7059 | 1114617.2381 | 2589448.0616 | 1114619.9522 | 2589449.323 | 1114628.8059
41 | 2589501.2416 | 1114638.6795 | 2589506.5528 | 1114631.6137
42 | 2589442.7059 | 1114617.2381 | 2589452.8591 | 1114602.8144
43 | 2589442.7059 | 1114617.2381 | 2589423.5085 | 1114607.5337 | 2589411.234 | 1114600.7809
44 | 2589367.6839 | 1114717.8976 | 2589354.4058 | 1114706.3598 | 2589346.3378 | 1114702.5056
45 | 2589346.3378 | 1114702.5056 | 2589345.4936 | 1114701.0063 | 2589340.0919 | 1114694.2014 | 2589335.104 | 1114681.2039 | 2589332.2348 | 1114668.7244
46 | 2589453.6278 | 1114601.7224 | 2589452.8591 | 1114602.8144
47 | 2589471.3731 | 1114556.5098 | 2589482.3897 | 1114552.6701 | 2589500.3257 | 1114541.192
48 | 2589500.3257 | 1114541.192 | 2589520.9678 | 1114527.9822
49 | 2589520.9678 | 1114527.9822 | 2589541.7447 | 1114538.8153
50 | 2589353.5692 | 1114565.2695 | 2589349.8209 | 1114563.3975 | 2589338.6814 | 1114564.9735 | 2589339.7689 | 1114559.8913 | 2589342.2704 | 1114555.3513 | 2589345.8014 | 1114552.2546
51 | 2589322.2987 | 1114644.6308 | 2589327.7972 | 1114649.4234 | 2589332.1014 | 1114668.1443
52 | 2589541.7447 | 1114538.8153 | 2589553.2363 | 1114526.4781
53 | 2589553.2363 | 1114526.4781 | 2589553.8219 | 1114521.2641
54 | 2589562.1415 | 1114563.3364 | 2589558.5672 | 1114559.3184 | 2589552.4987 | 1114533.0382 | 2589553.2363 | 1114526.4781
55 | 2589562.1415 | 1114563.3364 | 2589560.8112 | 1114575.378 | 2589551.2619 | 1114581.1752 | 2589535.4158 | 1114589.1956
56 | 2589570.4792 | 1114575.728 | 2589562.1415 | 1114563.3364
57 | 2589332.2348 | 1114668.7244 | 2589332.1014 | 1114668.1443
58 | 2589357.1714 | 1114545.698 | 2589345.8014 | 1114552.2546
59 | 2589570.4792 | 1114575.728 | 2589573.808 | 1114585.1269 | 2589573.4751 | 1114597.9449 | 2589571.7221 | 1114605.1863
60 | 2589570.4792 | 1114575.728 | 2589577.0056 | 1114576.6839 | 2589590.014 | 1114570.8362 | 2589594.3999 | 1114566.382
61 | 2589594.3999 | 1114566.382 | 2589594.3999 | 1114566.382 | 2589600.411 | 1114572.9971 | 2589603.3219 | 1114574.3649
62 | 2589652.6922 | 1114584.1758 | 2589638.3988 | 1114576.0664 | 2589626.3775 | 1114576.7652 | 2589617.7795 | 1114583.45 | 2589613.6988 | 1114581.3005 | 2589607.9302 | 1114576.5303 | 2589603.3219 | 1114574.3649
63 | 2589656.5854 | 1114586.3846 | 2589652.6922 | 1114584.1758

## bus_geodata
| x | y | coords
0 | 2589365.1314 | 1114462.1871
1 | 2589380.3399 | 1114453.2693
2 | 2589366.6324 | 1114494.4115
3 | 2589393.5026 | 1114445.5511
4 | 2589376.335 | 1114493.5978
5 | 2589353.6454 | 1114503.8624
6 | 2589381.728 | 1114491.6312
7 | 2589437.4116 | 1114478.1454
8 | 2589442.4866 | 1114487.2547
9 | 2589428.1452 | 1114473.5483
10 | 2589434.9435 | 1114505.0269
11 | 2589423.5313 | 1114480.0152
12 | 2589432.6355 | 1114515.6255
13 | 2589417.6829 | 1114482.6712
14 | 2589432.2535 | 1114539.6404
15 | 2589411.601 | 1114492.9981
16 | 2589404.4929 | 1114485.5812
17 | 2589458.3938 | 1114529.142
18 | 2589431.7877 | 1114541.1943
19 | 2589383.9001 | 1114490.8392
20 | 2589423.9668 | 1114555.9434
21 | 2589413.5196 | 1114570.5246
22 | 2589409.7709 | 1114576.2758
23 | 2589462.397 | 1114521.0228
24 | 2589384.6546 | 1114586.1471
25 | 2589429.8062 | 1114570.6155
26 | 2589375.186 | 1114583.1462
27 | 2589400.8083 | 1114595.0452
28 | 2589441.7224 | 1114566.8444
29 | 2589461.6142 | 1114568.459
30 | 2589464.1233 | 1114647.2673
31 | 2589451.8064 | 1114646.2364
32 | 2589483.9912 | 1114642.7561
33 | 2589449.323 | 1114628.8059
34 | 2589487.079 | 1114651.166
35 | 2589501.2416 | 1114638.6795
36 | 2589442.7059 | 1114617.2381
37 | 2589367.6839 | 1114717.8976
38 | 2589346.3378 | 1114702.5056
39 | 2589506.5528 | 1114631.6137
40 | 2589452.8591 | 1114602.8144
41 | 2589411.234 | 1114600.7809
42 | 2589453.6278 | 1114601.7224
43 | 2589486.2321 | 1114567.5478
44 | 2589471.3731 | 1114556.5098
45 | 2589500.3257 | 1114541.192
46 | 2589520.9678 | 1114527.9822
47 | 2589353.5692 | 1114565.2695
48 | 2589322.2987 | 1114644.6308
49 | 2589392.1177 | 1114601.6194
50 | 2589541.7447 | 1114538.8153
51 | 2589553.8219 | 1114521.2641
52 | 2589553.2363 | 1114526.4781
53 | 2589562.1415 | 1114563.3364
54 | 2589332.1014 | 1114668.1443
55 | 2589332.2348 | 1114668.7244
56 | 2589345.8014 | 1114552.2546
57 | 2589357.1714 | 1114545.698
58 | 2589571.7221 | 1114605.1863
59 | 2589570.4792 | 1114575.728
60 | 2589594.3999 | 1114566.382
61 | 2589535.4158 | 1114589.1956
62 | 2589603.3219 | 1114574.3649
63 | 2589652.6922 | 1114584.1758
64 | 2589656.5854 | 1114586.3846
65 | 2589429.8062 | 1114570.6155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1