## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6024-37_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_6024-37_1_2_node_130 | 0.4 | n |  | TRUE
2 | bus_LV_6024-37_1_2_node_126 | 0.4 | n |  | TRUE
3 | bus_LV_6024-37_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_6024-37_1_2_node_127 | 0.4 | n |  | TRUE
5 | bus_LV_6024-37_1_2_node_86 | 0.4 | n |  | TRUE
6 | bus_LV_6024-37_1_2_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_6024-37_1_2_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_6024-37_1_2_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_6024-37_1_2_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_6024-37_1_2_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_6024-37_1_2_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_6024-37_1_2_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_6024-37_1_2_node_125 | 0.4 | n |  | TRUE
14 | bus_LV_6024-37_1_2_node_136 | 0.4 | n |  | TRUE
15 | bus_LV_6024-37_1_2_node_137 | 0.4 | n |  | TRUE
16 | bus_LV_6024-37_1_2_node_138 | 0.4 | n |  | TRUE
17 | bus_LV_6024-37_1_2_node_140 | 0.4 | n |  | TRUE
18 | bus_LV_6024-37_1_2_node_139 | 0.4 | n |  | TRUE
19 | bus_LV_6024-37_1_2_node_141 | 0.4 | n |  | TRUE
20 | bus_LV_6024-37_1_2_node_87 | 0.4 | n |  | TRUE
21 | bus_LV_6024-37_1_2_node_142 | 0.4 | n |  | TRUE
22 | bus_LV_6024-37_1_2_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_6024-37_1_2_node_146 | 0.4 | n |  | TRUE
24 | bus_LV_6024-37_1_2_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_6024-37_1_2_node_148 | 0.4 | n |  | TRUE
26 | bus_LV_6024-37_1_2_node_120 | 0.4 | n |  | TRUE
27 | bus_LV_6024-37_1_2_node_149 | 0.4 | n |  | TRUE
28 | bus_LV_6024-37_1_2_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_6024-37_1_2_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_6024-37_1_2_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_6024-37_1_2_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_6024-37_1_2_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_6024-37_1_2_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_6024-37_1_2_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_6024-37_1_2_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_6024-37_1_2_node_111 | 0.4 | n |  | TRUE
37 | bus_LV_6024-37_1_2_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_6024-37_1_2_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_6024-37_1_2_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_6024-37_1_2_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_6024-37_1_2_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_6024-37_1_2_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_6024-37_1_2_node_101 | 0.4 | n |  | TRUE
44 | bus_LV_6024-37_1_2_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_6024-37_1_2_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_6024-37_1_2_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_6024-37_1_2_node_104 | 0.4 | n |  | TRUE
48 | bus_LV_6024-37_1_2_node_105 | 0.4 | n |  | TRUE
49 | bus_LV_6024-37_1_2_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_6024-37_1_2_node_107 | 0.4 | n |  | TRUE
51 | bus_LV_6024-37_1_2_node_109 | 0.4 | n |  | TRUE
52 | bus_LV_6024-37_1_2_node_123 | 0.4 | n |  | TRUE
53 | bus_LV_6024-37_1_2_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_6024-37_1_2_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_6024-37_1_2_node_115 | 0.4 | n |  | TRUE
56 | bus_LV_6024-37_1_2_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_6024-37_1_2_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_6024-37_1_2_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_6024-37_1_2_node_119 | 0.4 | n |  | TRUE
60 | bus_LV_6024-37_1_2_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_6024-37_1_2_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_6024-37_1_2_node_122 | 0.4 | n |  | TRUE
63 | bus_MV_90_0_node_200 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6024-37_1_2_load_130 | 1 | 0.0046848 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6024-37_1_2_load_126 | 2 | 0.0035801 | 0.00089725 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6024-37_1_2_load_127 | 4 | 0.0023122 | 0.0005795 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6024-37_1_2_load_132 | 6 | 0.0024298 | 0.00060896 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6024-37_1_2_load_131 | 7 | 0.0010384 | 0.00026026 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6024-37_1_2_load_133 | 9 | 0.0016874 | 0.00042291 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6024-37_1_2_load_134 | 11 | 0.0032964 | 0.00082614 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6024-37_1_2_load_135 | 12 | 0.0031492 | 0.00078926 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6024-37_1_2_load_136 | 14 | 0.002814 | 0.00070526 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6024-37_1_2_load_137 | 15 | 0.0011848 | 0.00029694 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6024-37_1_2_load_140 | 17 | 0.0020103 | 0.00050382 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6024-37_1_2_load_139 | 18 | 0.0022374 | 0.00056074 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6024-37_1_2_load_141 | 19 | 0.0013689 | 0.00034309 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6024-37_1_2_load_142 | 21 | 0.0015688 | 0.00039319 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6024-37_1_2_load_146 | 23 | 0.0030018 | 0.00075232 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6024-37_1_2_load_148 | 25 | 0.0034603 | 0.00086723 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6024-37_1_2_load_120 | 26 | 0.0026432 | 0.00066246 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6024-37_1_2_load_149 | 27 | 0.0026153 | 0.00065546 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6024-37_1_2_load_82 | 28 | 0.0017272 | 0.00043287 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6024-37_1_2_load_88 | 30 | 0.0011401 | 0.00028574 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6024-37_1_2_load_89 | 31 | 0.0014933 | 0.00037424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6024-37_1_2_load_91 | 33 | 0.0021577 | 0.00054077 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6024-37_1_2_load_94 | 35 | 0.0014182 | 0.00035542 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6024-37_1_2_load_111 | 36 | 0.0025382 | 0.00063613 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6024-37_1_2_load_95 | 37 | 0.0017275 | 0.00043296 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6024-37_1_2_load_96 | 38 | 0.0011082 | 0.00027775 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6024-37_1_2_load_97 | 39 | 0.0022167 | 0.00055555 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6024-37_1_2_load_98 | 40 | 0.001969 | 0.00049347 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6024-37_1_2_load_99 | 41 | 0.0022831 | 0.0005722 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6024-37_1_2_load_100 | 42 | 0.0015629 | 0.0003917 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6024-37_1_2_load_101 | 43 | 0.0016045 | 0.00040212 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6024-37_1_2_load_102 | 44 | 0.0034677 | 0.0008691 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6024-37_1_2_load_108 | 45 | 0.0014829 | 0.00037166 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6024-37_1_2_load_103 | 46 | 0.0011428 | 0.00028642 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6024-37_1_2_load_104 | 47 | 0.003501 | 0.00087744 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6024-37_1_2_load_106 | 49 | 0.0016648 | 0.00041724 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6024-37_1_2_load_107 | 50 | 0.0013311 | 0.00033361 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6024-37_1_2_load_112 | 53 | 0.003747 | 0.0009391 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6024-37_1_2_load_113 | 54 | 0.0035227 | 0.00088288 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6024-37_1_2_load_115 | 55 | 0.0017401 | 0.0004361 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6024-37_1_2_load_116 | 56 | 0.0028581 | 0.0007163 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6024-37_1_2_load_117 | 57 | 0.0033947 | 0.00085079 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6024-37_1_2_load_118 | 58 | 0.0021876 | 0.00054827 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6024-37_1_2_load_119 | 59 | 0.0030661 | 0.00076844 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6024-37_1_2_load_124 | 60 | 0.00086461 | 0.00021669 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6024-37_1_2_load_121 | 61 | 0.0016484 | 0.00041313 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6024-37_1_2_load_122 | 62 | 0.0031414 | 0.00078731 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6024-37_1_2_line_0 |  | 0 | 1 | 0.048784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6024-37_1_2_line_1 |  | 0 | 2 | 0.015729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6024-37_1_2_line_2 |  | 1 | 7 | 0.021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6024-37_1_2_line_3 |  | 2 | 4 | 0.020634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6024-37_1_2_line_4 |  | 3 | 4 | 0.039423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6024-37_1_2_line_5 |  | 3 | 5 | 0.041967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6024-37_1_2_line_6 |  | 3 | 6 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6024-37_1_2_line_7 |  | 4 | 28 | 0.045964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6024-37_1_2_line_8 |  | 5 | 27 | 0.005864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6024-37_1_2_line_9 |  | 7 | 8 | 0.026495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6024-37_1_2_line_10 |  | 8 | 34 | 0.050477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6024-37_1_2_line_11 |  | 9 | 10 | 0.036464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6024-37_1_2_line_12 |  | 10 | 22 | 0.023078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6024-37_1_2_line_13 |  | 10 | 29 | 0.027578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6024-37_1_2_line_14 |  | 11 | 12 | 0.0062865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6024-37_1_2_line_15 |  | 12 | 13 | 0.084757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6024-37_1_2_line_16 |  | 13 | 14 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6024-37_1_2_line_17 |  | 13 | 16 | 0.005159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6024-37_1_2_line_18 |  | 13 | 60 | 0.053683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6024-37_1_2_line_19 |  | 14 | 15 | 0.031046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6024-37_1_2_line_20 |  | 16 | 17 | 0.018797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6024-37_1_2_line_21 |  | 17 | 18 | 0.041713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6024-37_1_2_line_22 |  | 19 | 20 | 0.037226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6024-37_1_2_line_23 |  | 20 | 22 | 0.00379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6024-37_1_2_line_24 |  | 21 | 22 | 0.026761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6024-37_1_2_line_25 |  | 23 | 24 | 0.03195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6024-37_1_2_line_26 |  | 24 | 52 | 0.012353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6024-37_1_2_line_27 |  | 24 | 51 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6024-37_1_2_line_28 |  | 25 | 26 | 0.38937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6024-37_1_2_line_29 |  | 26 | 61 | 0.036299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6024-37_1_2_line_30 |  | 28 | 29 | 0.046438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6024-37_1_2_line_31 |  | 30 | 31 | 0.00027582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6024-37_1_2_line_32 |  | 30 | 32 | 0.0348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6024-37_1_2_line_33 |  | 31 | 33 | 0.00015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6024-37_1_2_line_34 |  | 32 | 34 | 0.028809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6024-37_1_2_line_35 |  | 33 | 35 | 0.0039509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6024-37_1_2_line_36 |  | 34 | 36 | 0.042259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6024-37_1_2_line_37 |  | 35 | 37 | 0.0077345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6024-37_1_2_line_38 |  | 36 | 53 | 0.011915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6024-37_1_2_line_39 |  | 37 | 38 | 0.0071216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6024-37_1_2_line_40 |  | 38 | 39 | 0.007114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6024-37_1_2_line_41 |  | 39 | 40 | 0.0050137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6024-37_1_2_line_42 |  | 40 | 41 | 0.0012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6024-37_1_2_line_43 |  | 41 | 42 | 0.0053763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6024-37_1_2_line_44 |  | 42 | 43 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6024-37_1_2_line_45 |  | 43 | 44 | 0.001535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6024-37_1_2_line_46 |  | 44 | 45 | 0.0054396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6024-37_1_2_line_47 |  | 45 | 49 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6024-37_1_2_line_48 |  | 46 | 47 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6024-37_1_2_line_49 |  | 46 | 48 | 0.02359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6024-37_1_2_line_50 |  | 48 | 49 | 0.0091744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6024-37_1_2_line_51 |  | 48 | 50 | 0.00057516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6024-37_1_2_line_52 |  | 50 | 51 | 0.023567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6024-37_1_2_line_53 |  | 52 | 62 | 0.013811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6024-37_1_2_line_54 |  | 53 | 54 | 0.092595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6024-37_1_2_line_55 |  | 54 | 55 | 0.011868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6024-37_1_2_line_56 |  | 55 | 56 | 0.015402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6024-37_1_2_line_57 |  | 56 | 57 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6024-37_1_2_line_58 |  | 57 | 58 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6024-37_1_2_line_59 |  | 58 | 59 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6024-37_1_2_line_60 |  | 59 | 60 | 0.14334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6024-37_1_2_line_61 |  | 61 | 62 | 0.010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6024-37_1_2_trafo_109 | 0.63 MVA 20/0.4 kV | 63 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2591278.4263 | 1114546.5153 | 2591276.294 | 1114545.7736 | 2591273.0111 | 1114544.9002 | 2591270.4853 | 1114544.3258 | 2591268.484 | 1114543.3616 | 2591266.9305 | 1114542.3856 | 2591265.6934 | 1114541.2423 | 2591264.6721 | 1114539.832 | 2591263.5889 | 1114538.344 | 2591261.6454 | 1114534.6672 | 2591260.9785 | 1114532.6783 | 2591259.7768 | 1114529.3673 | 2591257.4208 | 1114523.4901 | 2591255.3298 | 1114519.2466 | 2591252.1339 | 1114514.5267 | 2591249.2869 | 1114510.8179
1 | 2591278.4263 | 1114546.5153 | 2591291.7572 | 1114538.1668
2 | 2591249.2869 | 1114510.8179 | 2591249.2869 | 1114510.8179 | 2591245.6443 | 1114506.8879 | 2591242.0111 | 1114504.1141 | 2591236.0132 | 1114500.0986 | 2591232.0553 | 1114498.0137
3 | 2591291.7572 | 1114538.1668 | 2591298.1757 | 1114534.1473 | 2591307.9235 | 1114525.4547
4 | 2591320.9513 | 1114494.5615 | 2591325.4654 | 1114503.1147 | 2591325.6018 | 1114506.6496 | 2591323.4854 | 1114511.5773 | 2591307.9235 | 1114525.4547
5 | 2591320.9513 | 1114494.5615 | 2591357.9358 | 1114514.3957
6 | 2591320.9513 | 1114494.5615 | 2591310.5183 | 1114483.1821 | 2591305.8987 | 1114481.7148
7 | 2591307.9235 | 1114525.4547 | 2591347.1436 | 1114549.4234
8 | 2591361.3187 | 1114509.5996 | 2591357.9358 | 1114514.3957
9 | 2591207.3566 | 1114488.5459 | 2591215.9627 | 1114491.3347 | 2591223.1939 | 1114493.8921 | 2591229.3211 | 1114496.5733 | 2591232.0553 | 1114498.0137
10 | 2591163.0085 | 1114481.6298 | 2591164.6794 | 1114478.3813 | 2591166.2114 | 1114475.2775 | 2591172.0688 | 1114478.2037 | 2591178.3501 | 1114480.6735 | 2591186.9251 | 1114483.2955 | 2591194.3559 | 1114485.0521 | 2591202.5517 | 1114487.1856 | 2591207.3566 | 1114488.5459
11 | 2591392.1712 | 1114496.5933 | 2591391.9854 | 1114496.2379 | 2591392.4376 | 1114493.9027 | 2591395.9568 | 1114487.161 | 2591399.8264 | 1114482.4865 | 2591399.3214 | 1114480.3529 | 2591397.2591 | 1114479.9445 | 2591393.6101 | 1114482.2842 | 2591385.8216 | 1114490.5832
12 | 2591392.1712 | 1114496.5933 | 2591396.46 | 1114493.4857 | 2591401.104 | 1114490.3775 | 2591405.8411 | 1114487.5915 | 2591407.072 | 1114489.7686 | 2591408.9692 | 1114493.5122
13 | 2591374.283 | 1114514.7279 | 2591393.4874 | 1114499.0482 | 2591392.1712 | 1114496.5933
14 | 2591190.9825 | 1114903.2743 | 2591189.8902 | 1114897.0834
15 | 2591247.4737 | 1114834.8913 | 2591189.8902 | 1114897.0834
16 | 2591247.4737 | 1114834.8913 | 2591246.5463 | 1114834.2812 | 2591244.0002 | 1114830.2607 | 2591241.1782 | 1114822.4388 | 2591240.1128 | 1114819.4551
17 | 2591252.4538 | 1114834.7951 | 2591248.571 | 1114835.4566 | 2591247.4737 | 1114834.8913
18 | 2591247.4737 | 1114834.8913 | 2591245.2227 | 1114826.7572 | 2591239.0618 | 1114806.0338 | 2591237.5408 | 1114800.8112 | 2591236.3753 | 1114795.7548 | 2591235.1673 | 1114788.1195 | 2591234.6502 | 1114782.8806
19 | 2591229.6728 | 1114790.2175 | 2591240.1128 | 1114819.4551
20 | 2591252.4538 | 1114834.7951 | 2591246.7915 | 1114817.0946 | 2591246.7314 | 1114816.8907
21 | 2591238.4564 | 1114776.1933 | 2591238.4485 | 1114777.2983 | 2591238.6345 | 1114783.0231 | 2591240.4115 | 1114794.4261 | 2591242.7797 | 1114803.4715 | 2591246.7314 | 1114816.8907
22 | 2591412.2017 | 1114491.5177 | 2591420.6407 | 1114490.9387 | 2591433.6722 | 1114489.0859 | 2591436.3268 | 1114493.3397 | 2591434.2274 | 1114499.379 | 2591431.812 | 1114502.8112
23 | 2591412.2017 | 1114491.5177 | 2591408.9692 | 1114493.5122
24 | 2591392.3127 | 1114514.4908 | 2591408.9692 | 1114493.5122
25 | 2591183.6871 | 1114613.0419 | 2591191.7739 | 1114614.642 | 2591197.0644 | 1114615.4569 | 2591215.5113 | 1114615.6077
26 | 2591182.8095 | 1114625.3604 | 2591183.6871 | 1114613.0419
27 | 2591185.1247 | 1114592.9522 | 2591183.6871 | 1114613.0419
28 | 2591142.3919 | 1114605.4732 | 2590755.6481 | 1114650.626
29 | 2591142.3919 | 1114605.4732 | 2591144.1669 | 1114617.2577 | 2591146.8618 | 1114622.6119 | 2591151.8418 | 1114627.5626 | 2591156.931 | 1114628.0887 | 2591161.1112 | 1114632.7341
30 | 2591374.283 | 1114514.7279 | 2591375.3968 | 1114516.0603 | 2591375.8391 | 1114517.5715 | 2591375.1779 | 1114519.5068 | 2591374.23 | 1114520.8532 | 2591358.3653 | 1114539.1962 | 2591347.1436 | 1114549.4234
31 | 2591135.1021 | 1114502.3923 | 2591135.2662 | 1114502.614
32 | 2591137.7226 | 1114467.7046 | 2591135.6761 | 1114488.4512 | 2591135.1021 | 1114502.3923
33 | 2591135.2662 | 1114502.614 | 2591135.3597 | 1114502.7404
34 | 2591163.0085 | 1114481.6298 | 2591155.3037 | 1114477.3724 | 2591146.9649 | 1114472.549 | 2591139.9403 | 1114468.7686 | 2591137.7226 | 1114467.7046
35 | 2591135.3597 | 1114502.7404 | 2591136.2936 | 1114504.0024 | 2591137.712 | 1114505.9147
36 | 2591163.0085 | 1114481.6298 | 2591164.8864 | 1114482.6609 | 2591168.8119 | 1114484.5783 | 2591174.8844 | 1114486.826 | 2591184.0312 | 1114489.7696 | 2591190.5127 | 1114491.8055 | 2591196.7244 | 1114494.1643 | 2591202.3226 | 1114496.889
37 | 2591137.712 | 1114505.9147 | 2591142.32 | 1114512.1267
38 | 2591202.3226 | 1114496.889 | 2591206.5843 | 1114498.9633 | 2591211.035 | 1114501.0689 | 2591213.1084 | 1114501.9461
39 | 2591142.32 | 1114512.1267 | 2591146.5627 | 1114517.8466
40 | 2591146.5627 | 1114517.8466 | 2591150.801 | 1114523.5602
41 | 2591153.7879 | 1114527.5871 | 2591150.801 | 1114523.5602
42 | 2591154.5453 | 1114528.608 | 2591153.7879 | 1114527.5871
43 | 2591154.5453 | 1114528.608 | 2591157.7482 | 1114532.9261
44 | 2591157.7482 | 1114532.9261 | 2591158.731 | 1114534.2509 | 2591162.8822 | 1114542.7045 | 2591163.4677 | 1114545.367
45 | 2591163.7973 | 1114546.8662 | 2591163.4677 | 1114545.367
46 | 2591163.7973 | 1114546.8662 | 2591164.9655 | 1114552.1789
47 | 2591164.9655 | 1114552.1789 | 2591166.015 | 1114556.9514 | 2591171.1822 | 1114563.9832
48 | 2591159.3537 | 1114590.0997 | 2591154.0567 | 1114584.8272 | 2591153.134 | 1114582.2606 | 2591154.3726 | 1114579.1572
49 | 2591176.6148 | 1114571.3762 | 2591171.7611 | 1114573.5622 | 2591159.7521 | 1114577.5041 | 2591154.3726 | 1114579.1572
50 | 2591176.6148 | 1114571.3762 | 2591171.1822 | 1114563.9832
51 | 2591176.9775 | 1114571.8226 | 2591176.6148 | 1114571.3762
52 | 2591185.1247 | 1114592.9522 | 2591185.4501 | 1114588.405 | 2591182.7413 | 1114578.9154 | 2591176.9775 | 1114571.8226
53 | 2591182.8095 | 1114625.3604 | 2591176.1863 | 1114626.6152 | 2591170.182 | 1114628.6806 | 2591169.6241 | 1114629.1357
54 | 2591213.1084 | 1114501.9461 | 2591233.0322 | 1114510.3747 | 2591236.2778 | 1114512.0819 | 2591239.5702 | 1114514.1003 | 2591242.8636 | 1114516.8747 | 2591245.7562 | 1114520.0943 | 2591248.1943 | 1114524.0371 | 2591250.2235 | 1114528.2696 | 2591250.983 | 1114530.1361 | 2591252.5107 | 1114534.6249 | 2591253.738 | 1114539.6256 | 2591254.5026 | 1114545.0272 | 2591254.8116 | 1114550.4738 | 2591254.6731 | 1114556.0768 | 2591254.0715 | 1114561.8805 | 2591252.9681 | 1114567.685 | 2591251.6202 | 1114572.8146
55 | 2591251.6202 | 1114572.8146 | 2591251.2557 | 1114574.2018 | 2591248.1919 | 1114584.1758
56 | 2591248.1919 | 1114584.1758 | 2591247.0673 | 1114587.8369 | 2591244.7013 | 1114596.2222 | 2591243.9558 | 1114598.9823
57 | 2591243.9558 | 1114598.9823 | 2591242.1361 | 1114605.7195 | 2591240.9843 | 1114612.2146
58 | 2591239.111 | 1114628.6117 | 2591239.1798 | 1114627.579 | 2591239.6725 | 1114621.3197 | 2591240.2215 | 1114616.5165 | 2591240.9843 | 1114612.2146
59 | 2591239.111 | 1114628.6117 | 2591238.6358 | 1114635.7505 | 2591238.6514 | 1114640.5741
60 | 2591238.6514 | 1114640.5741 | 2591238.6639 | 1114644.4437 | 2591239.004 | 1114649.9792 | 2591239.6082 | 1114656.5705 | 2591242.235 | 1114678.7887 | 2591243.1748 | 1114687.8918 | 2591243.7711 | 1114699.6523 | 2591243.4895 | 1114707.79 | 2591243.0962 | 1114713.3823 | 2591242.4108 | 1114719.9532 | 2591240.2295 | 1114733.1628 | 2591237.7085 | 1114746.373 | 2591235.6399 | 1114757.4482 | 2591234.4935 | 1114765.5761 | 2591234.1019 | 1114772.38 | 2591234.3993 | 1114780.339 | 2591234.6502 | 1114782.8806
61 | 2591161.1112 | 1114632.7341 | 2591162.2057 | 1114633.9505 | 2591164.5983 | 1114633.2355 | 2591169.6241 | 1114629.1357

## bus_geodata
| x | y | coords
0 | 2591278.4263 | 1114546.5153
1 | 2591249.2869 | 1114510.8179
2 | 2591291.7572 | 1114538.1668
3 | 2591320.9513 | 1114494.5615
4 | 2591307.9235 | 1114525.4547
5 | 2591357.9358 | 1114514.3957
6 | 2591305.8987 | 1114481.7148
7 | 2591232.0553 | 1114498.0137
8 | 2591207.3566 | 1114488.5459
9 | 2591385.8216 | 1114490.5832
10 | 2591392.1712 | 1114496.5933
11 | 2591190.9825 | 1114903.2743
12 | 2591189.8902 | 1114897.0834
13 | 2591247.4737 | 1114834.8913
14 | 2591240.1128 | 1114819.4551
15 | 2591229.6728 | 1114790.2175
16 | 2591252.4538 | 1114834.7951
17 | 2591246.7314 | 1114816.8907
18 | 2591238.4564 | 1114776.1933
19 | 2591431.812 | 1114502.8112
20 | 2591412.2017 | 1114491.5177
21 | 2591392.3127 | 1114514.4908
22 | 2591408.9692 | 1114493.5122
23 | 2591215.5113 | 1114615.6077
24 | 2591183.6871 | 1114613.0419
25 | 2590755.6481 | 1114650.626
26 | 2591142.3919 | 1114605.4732
27 | 2591361.3187 | 1114509.5996
28 | 2591347.1436 | 1114549.4234
29 | 2591374.283 | 1114514.7279
30 | 2591135.1021 | 1114502.3923
31 | 2591135.2662 | 1114502.614
32 | 2591137.7226 | 1114467.7046
33 | 2591135.3597 | 1114502.7404
34 | 2591163.0085 | 1114481.6298
35 | 2591137.712 | 1114505.9147
36 | 2591202.3226 | 1114496.889
37 | 2591142.32 | 1114512.1267
38 | 2591146.5627 | 1114517.8466
39 | 2591150.801 | 1114523.5602
40 | 2591153.7879 | 1114527.5871
41 | 2591154.5453 | 1114528.608
42 | 2591157.7482 | 1114532.9261
43 | 2591163.4677 | 1114545.367
44 | 2591163.7973 | 1114546.8662
45 | 2591164.9655 | 1114552.1789
46 | 2591154.3726 | 1114579.1572
47 | 2591159.3537 | 1114590.0997
48 | 2591176.6148 | 1114571.3762
49 | 2591171.1822 | 1114563.9832
50 | 2591176.9775 | 1114571.8226
51 | 2591185.1247 | 1114592.9522
52 | 2591182.8095 | 1114625.3604
53 | 2591213.1084 | 1114501.9461
54 | 2591251.6202 | 1114572.8146
55 | 2591248.1919 | 1114584.1758
56 | 2591243.9558 | 1114598.9823
57 | 2591240.9843 | 1114612.2146
58 | 2591239.111 | 1114628.6117
59 | 2591238.6514 | 1114640.5741
60 | 2591234.6502 | 1114782.8806
61 | 2591161.1112 | 1114632.7341
62 | 2591169.6241 | 1114629.1357
63 | 2591183.6871 | 1114613.0419

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1