## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6024-39_1_4_node_22 | 0.4 | n |  | TRUE
1 | bus_LV_6024-39_1_4_node_24 | 0.4 | n |  | TRUE
2 | bus_LV_6024-39_1_4_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_6024-39_1_4_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_6024-39_1_4_node_109 | 0.4 | n |  | TRUE
5 | bus_LV_6024-39_1_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_6024-39_1_4_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_6024-39_1_4_node_107 | 0.4 | n |  | TRUE
8 | bus_LV_6024-39_1_4_node_110 | 0.4 | n |  | TRUE
9 | bus_LV_6024-39_1_4_node_111 | 0.4 | n |  | TRUE
10 | bus_LV_6024-39_1_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_6024-39_1_4_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_6024-39_1_4_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_6024-39_1_4_node_93 | 0.4 | n |  | TRUE
14 | bus_LV_6024-39_1_4_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_6024-39_1_4_node_101 | 0.4 | n |  | TRUE
16 | bus_LV_6024-39_1_4_node_94 | 0.4 | n |  | TRUE
17 | bus_LV_6024-39_1_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_6024-39_1_4_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_6024-39_1_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_6024-39_1_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_6024-39_1_4_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_6024-39_1_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_6024-39_1_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_6024-39_1_4_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_6024-39_1_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_6024-39_1_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_6024-39_1_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_6024-39_1_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_6024-39_1_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_6024-39_1_4_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_6024-39_1_4_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_6024-39_1_4_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_6024-39_1_4_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_6024-39_1_4_node_103 | 0.4 | n |  | TRUE
35 | bus_LV_6024-39_1_4_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_6024-39_1_4_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_6024-39_1_4_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_6024-39_1_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_6024-39_1_4_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_6024-39_1_4_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_6024-39_1_4_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_6024-39_1_4_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_6024-39_1_4_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_6024-39_1_4_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_6024-39_1_4_node_144 | 0.4 | n |  | TRUE
46 | bus_LV_6024-39_1_4_node_120 | 0.4 | n |  | TRUE
47 | bus_LV_6024-39_1_4_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_6024-39_1_4_node_115 | 0.4 | n |  | TRUE
49 | bus_LV_6024-39_1_4_node_124 | 0.4 | n |  | TRUE
50 | bus_LV_6024-39_1_4_node_118 | 0.4 | n |  | TRUE
51 | bus_LV_6024-39_1_4_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_6024-39_1_4_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_6024-39_1_4_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_6024-39_1_4_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_6024-39_1_4_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_6024-39_1_4_node_87 | 0.4 | n |  | TRUE
57 | bus_LV_6024-39_1_4_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_6024-39_1_4_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_6024-39_1_4_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_6024-39_1_4_node_145 | 0.4 | n |  | TRUE
61 | bus_LV_6024-39_1_4_node_147 | 0.4 | n |  | TRUE
62 | bus_LV_6024-39_1_4_node_146 | 0.4 | n |  | TRUE
63 | bus_LV_6024-39_1_4_node_95 | 0.4 | n |  | TRUE
64 | bus_LV_6024-39_1_4_node_97 | 0.4 | n |  | TRUE
65 | bus_LV_6024-39_1_4_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_6024-39_1_4_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_6024-39_1_4_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_6024-39_1_4_node_114 | 0.4 | n |  | TRUE
69 | bus_LV_6024-39_1_4_node_113 | 0.4 | n |  | TRUE
70 | bus_LV_6024-39_1_4_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_6024-39_1_4_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_6024-39_1_4_node_119 | 0.4 | n |  | TRUE
73 | bus_LV_6024-39_1_4_node_121 | 0.4 | n |  | TRUE
74 | bus_LV_6024-39_1_4_node_122 | 0.4 | n |  | TRUE
75 | bus_LV_6024-39_1_4_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_6024-39_1_4_node_133 | 0.4 | n |  | TRUE
77 | bus_LV_6024-39_1_4_node_134 | 0.4 | n |  | TRUE
78 | bus_LV_6024-39_1_4_node_135 | 0.4 | n |  | TRUE
79 | bus_LV_6024-39_1_4_node_125 | 0.4 | n |  | TRUE
80 | bus_LV_6024-39_1_4_node_148 | 0.4 | n |  | TRUE
81 | bus_LV_6024-39_1_4_node_126 | 0.4 | n |  | TRUE
82 | bus_LV_6024-39_1_4_node_127 | 0.4 | n |  | TRUE
83 | bus_LV_6024-39_1_4_node_128 | 0.4 | n |  | TRUE
84 | bus_LV_6024-39_1_4_node_129 | 0.4 | n |  | TRUE
85 | bus_LV_6024-39_1_4_node_130 | 0.4 | n |  | TRUE
86 | bus_LV_6024-39_1_4_node_131 | 0.4 | n |  | TRUE
87 | bus_LV_6024-39_1_4_node_132 | 0.4 | n |  | TRUE
88 | bus_LV_6024-39_1_4_node_149 | 0.4 | n |  | TRUE
89 | bus_LV_6024-39_1_4_node_136 | 0.4 | n |  | TRUE
90 | bus_LV_6024-39_1_4_node_137 | 0.4 | n |  | TRUE
91 | bus_LV_6024-39_1_4_node_138 | 0.4 | n |  | TRUE
92 | bus_LV_6024-39_1_4_node_139 | 0.4 | n |  | TRUE
93 | bus_LV_6024-39_1_4_node_140 | 0.4 | n |  | TRUE
94 | bus_LV_6024-39_1_4_node_141 | 0.4 | n |  | TRUE
95 | bus_LV_6024-39_1_4_node_142 | 0.4 | n |  | TRUE
96 | bus_LV_6024-39_1_4_node_143 | 0.4 | n |  | TRUE
97 | bus_LV_6024-39_1_4_node_150 | 0.4 | n |  | TRUE
98 | bus_MV_89_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6024-39_1_4_load_22 | 0 | 0.0067857 | 0.0017007 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6024-39_1_4_load_24 | 1 | 0.0037679 | 0.00094433 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6024-39_1_4_load_25 | 2 | 0.0043711 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6024-39_1_4_load_107 | 7 | 0.0015514 | 0.00038881 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6024-39_1_4_load_111 | 9 | 0.0021877 | 0.00054829 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6024-39_1_4_load_37 | 10 | 0.0045053 | 0.0011291 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6024-39_1_4_load_38 | 11 | 0.0038273 | 0.00095921 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6024-39_1_4_load_96 | 12 | 0.0052458 | 0.0013147 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6024-39_1_4_load_93 | 13 | 0.0017646 | 0.00044225 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6024-39_1_4_load_72 | 14 | 0.004059 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6024-39_1_4_load_101 | 15 | 0.0061242 | 0.0015349 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6024-39_1_4_load_94 | 16 | 0.0038306 | 0.00096003 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6024-39_1_4_load_41 | 18 | 0.00274 | 0.0006867 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6024-39_1_4_load_42 | 19 | 0.0026062 | 0.00065317 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6024-39_1_4_load_43 | 20 | 0.0026015 | 0.000652 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6024-39_1_4_load_44 | 21 | 0.006389 | 0.0016012 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6024-39_1_4_load_46 | 23 | 0.0055421 | 0.001389 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6024-39_1_4_load_49 | 26 | 0.006727 | 0.0016859 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6024-39_1_4_load_51 | 28 | 0.0066124 | 0.0016572 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6024-39_1_4_load_48 | 29 | 0.0024042 | 0.00060255 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6024-39_1_4_load_73 | 30 | 0.0035533 | 0.00089054 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6024-39_1_4_load_68 | 32 | 0.0037553 | 0.00094116 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6024-39_1_4_load_103 | 34 | 0.013596 | 0.0034075 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6024-39_1_4_load_74 | 35 | 0.0043951 | 0.0011015 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6024-39_1_4_load_75 | 36 | 0.0047178 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6024-39_1_4_load_76 | 37 | 0.003905 | 0.00097868 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6024-39_1_4_load_77 | 38 | 0.0034315 | 0.00086002 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6024-39_1_4_load_79 | 40 | 0.0034509 | 0.00086488 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6024-39_1_4_load_92 | 43 | 0.0036678 | 0.00091924 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6024-39_1_4_load_102 | 44 | 0.0049212 | 0.0012334 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6024-39_1_4_load_144 | 45 | 0.0076559 | 0.0019188 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6024-39_1_4_load_115 | 48 | 0.007413 | 0.0018579 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6024-39_1_4_load_124 | 49 | 0.0054286 | 0.0013605 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6024-39_1_4_load_118 | 50 | 0.0022764 | 0.00057052 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6024-39_1_4_load_82 | 51 | 0.0020429 | 0.00051199 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6024-39_1_4_load_85 | 54 | 0.0013005 | 0.00032593 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6024-39_1_4_load_86 | 55 | 0.00082286 | 0.00020623 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6024-39_1_4_load_87 | 56 | 0.0053924 | 0.0013515 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6024-39_1_4_load_89 | 57 | 0.0013246 | 0.00033198 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6024-39_1_4_load_90 | 58 | 0.0013499 | 0.00033832 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6024-39_1_4_load_91 | 59 | 0.0033068 | 0.00082876 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6024-39_1_4_load_145 | 60 | 0.0013557 | 0.00033978 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6024-39_1_4_load_147 | 61 | 0.0033319 | 0.00083505 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6024-39_1_4_load_146 | 62 | 0.0040622 | 0.0010181 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6024-39_1_4_load_95 | 63 | 0.0040207 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6024-39_1_4_load_97 | 64 | 0.0033006 | 0.00082721 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6024-39_1_4_load_98 | 65 | 0.0048471 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6024-39_1_4_load_99 | 66 | 0.0032869 | 0.00082377 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6024-39_1_4_load_100 | 67 | 0.0079347 | 0.0019886 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6024-39_1_4_load_114 | 68 | 0.0021013 | 0.00052664 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6024-39_1_4_load_113 | 69 | 0.0030908 | 0.00077463 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6024-39_1_4_load_116 | 70 | 0.0035638 | 0.00089316 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6024-39_1_4_load_117 | 71 | 0.0054132 | 0.0013567 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6024-39_1_4_load_122 | 74 | 0.0019691 | 0.0004935 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6024-39_1_4_load_123 | 75 | 0.0053205 | 0.0013335 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6024-39_1_4_load_133 | 76 | 0.0047435 | 0.0011888 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6024-39_1_4_load_134 | 77 | 0.0021275 | 0.00053321 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6024-39_1_4_load_135 | 78 | 0.0021439 | 0.0005373 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6024-39_1_4_load_125 | 79 | 0.004581 | 0.0011481 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6024-39_1_4_load_148 | 80 | 0.0029311 | 0.00073461 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6024-39_1_4_load_127 | 82 | 0.0020606 | 0.00051644 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6024-39_1_4_load_128 | 83 | 0.0051639 | 0.0012942 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6024-39_1_4_load_129 | 84 | 0.0048578 | 0.0012175 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6024-39_1_4_load_130 | 85 | 0.003825 | 0.00095862 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6024-39_1_4_load_131 | 86 | 0.0021898 | 0.00054881 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6024-39_1_4_load_132 | 87 | 0.0019845 | 0.00049736 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6024-39_1_4_load_149 | 88 | 0.0039292 | 0.00098475 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6024-39_1_4_load_136 | 89 | 0.0057784 | 0.0014482 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6024-39_1_4_load_138 | 91 | 0.0077205 | 0.001935 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6024-39_1_4_load_140 | 93 | 0.0045304 | 0.0011354 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6024-39_1_4_load_141 | 94 | 0.0048757 | 0.001222 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6024-39_1_4_load_142 | 95 | 0.0021937 | 0.00054979 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6024-39_1_4_load_143 | 96 | 0.0045228 | 0.0011335 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6024-39_1_4_load_150 | 97 | 0.0023236 | 0.00058235 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6024-39_1_4_line_0 |  | 0 | 1 | 0.025264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6024-39_1_4_line_1 |  | 1 | 2 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6024-39_1_4_line_2 |  | 2 | 3 | 0.10122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6024-39_1_4_line_3 |  | 2 | 4 | 0.1172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6024-39_1_4_line_4 |  | 3 | 5 | 0.019431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6024-39_1_4_line_5 |  | 3 | 6 | 0.087777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6024-39_1_4_line_6 |  | 4 | 7 | 0.033619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6024-39_1_4_line_7 |  | 5 | 10 | 0.048808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6024-39_1_4_line_8 |  | 5 | 11 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6024-39_1_4_line_9 |  | 6 | 12 | 0.011318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6024-39_1_4_line_10 |  | 6 | 13 | 0.069367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6024-39_1_4_line_11 |  | 7 | 8 | 0.10734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6024-39_1_4_line_12 |  | 8 | 9 | 0.1246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6024-39_1_4_line_13 |  | 9 | 61 | 0.20271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6024-39_1_4_line_14 |  | 10 | 14 | 0.030667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6024-39_1_4_line_15 |  | 11 | 15 | 0.0030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6024-39_1_4_line_16 |  | 13 | 16 | 0.00063151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6024-39_1_4_line_17 |  | 14 | 17 | 0.0081203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6024-39_1_4_line_18 |  | 16 | 63 | 0.018191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6024-39_1_4_line_19 |  | 17 | 33 | 0.009654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6024-39_1_4_line_20 |  | 17 | 31 | 0.04613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6024-39_1_4_line_21 |  | 18 | 19 | 0.0039146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6024-39_1_4_line_22 |  | 18 | 20 | 0.00077598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6024-39_1_4_line_23 |  | 19 | 21 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6024-39_1_4_line_24 |  | 20 | 22 | 0.03747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6024-39_1_4_line_25 |  | 22 | 23 | 0.027972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6024-39_1_4_line_26 |  | 22 | 24 | 0.05322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6024-39_1_4_line_27 |  | 24 | 25 | 0.038422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6024-39_1_4_line_28 |  | 24 | 26 | 0.049935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6024-39_1_4_line_29 |  | 25 | 27 | 0.081093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6024-39_1_4_line_30 |  | 25 | 28 | 0.10259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6024-39_1_4_line_31 |  | 26 | 29 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6024-39_1_4_line_32 |  | 27 | 30 | 0.035639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6024-39_1_4_line_33 |  | 27 | 31 | 0.011264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6024-39_1_4_line_34 |  | 31 | 32 | 0.0053833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6024-39_1_4_line_35 |  | 33 | 34 | 0.042271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6024-39_1_4_line_36 |  | 35 | 36 | 0.0076716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6024-39_1_4_line_37 |  | 35 | 37 | 0.016864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6024-39_1_4_line_38 |  | 36 | 38 | 0.010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6024-39_1_4_line_39 |  | 37 | 39 | 0.012759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6024-39_1_4_line_40 |  | 38 | 40 | 0.018411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6024-39_1_4_line_41 |  | 39 | 41 | 0.021396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6024-39_1_4_line_42 |  | 39 | 42 | 0.095327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6024-39_1_4_line_43 |  | 40 | 43 | 0.01071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6024-39_1_4_line_44 |  | 41 | 44 | 0.0014475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6024-39_1_4_line_45 |  | 42 | 45 | 0.019167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6024-39_1_4_line_46 |  | 42 | 46 | 0.028926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6024-39_1_4_line_47 |  | 43 | 47 | 0.019578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6024-39_1_4_line_48 |  | 44 | 48 | 0.021236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6024-39_1_4_line_49 |  | 46 | 49 | 0.010858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6024-39_1_4_line_50 |  | 46 | 50 | 0.031216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6024-39_1_4_line_51 |  | 47 | 59 | 0.039219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6024-39_1_4_line_52 |  | 47 | 53 | 0.014773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6024-39_1_4_line_53 |  | 48 | 68 | 0.019548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6024-39_1_4_line_54 |  | 50 | 70 | 0.0054787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6024-39_1_4_line_55 |  | 51 | 52 | 0.011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6024-39_1_4_line_56 |  | 51 | 53 | 0.015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6024-39_1_4_line_57 |  | 52 | 54 | 0.040526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6024-39_1_4_line_58 |  | 52 | 55 | 0.047826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6024-39_1_4_line_59 |  | 53 | 56 | 0.019782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6024-39_1_4_line_60 |  | 54 | 57 | 0.023198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6024-39_1_4_line_61 |  | 55 | 58 | 0.017181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6024-39_1_4_line_62 |  | 57 | 60 | 0.0057587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6024-39_1_4_line_63 |  | 58 | 61 | 0.015267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6024-39_1_4_line_64 |  | 60 | 62 | 0.0047544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6024-39_1_4_line_65 |  | 62 | 95 | 0.0066009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6024-39_1_4_line_66 |  | 63 | 64 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6024-39_1_4_line_67 |  | 64 | 65 | 0.0013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6024-39_1_4_line_68 |  | 65 | 66 | 0.0083722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6024-39_1_4_line_69 |  | 66 | 67 | 0.019718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6024-39_1_4_line_70 |  | 68 | 69 | 0.0036693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6024-39_1_4_line_71 |  | 70 | 71 | 0.020455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6024-39_1_4_line_72 |  | 71 | 72 | 0.0096964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6024-39_1_4_line_73 |  | 72 | 73 | 0.017589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6024-39_1_4_line_74 |  | 72 | 74 | 0.044017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6024-39_1_4_line_75 |  | 72 | 75 | 0.014024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6024-39_1_4_line_76 |  | 73 | 76 | 0.008789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6024-39_1_4_line_77 |  | 73 | 77 | 0.052754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6024-39_1_4_line_78 |  | 74 | 78 | 0.0068859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6024-39_1_4_line_79 |  | 75 | 79 | 0.027958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6024-39_1_4_line_80 |  | 77 | 80 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6024-39_1_4_line_81 |  | 79 | 81 | 0.014544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6024-39_1_4_line_82 |  | 80 | 88 | 0.013277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6024-39_1_4_line_83 |  | 81 | 82 | 0.012554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6024-39_1_4_line_84 |  | 81 | 83 | 0.017247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6024-39_1_4_line_85 |  | 82 | 84 | 0.015941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6024-39_1_4_line_86 |  | 83 | 85 | 0.012988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6024-39_1_4_line_87 |  | 84 | 86 | 0.0022054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6024-39_1_4_line_88 |  | 86 | 87 | 0.0038288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6024-39_1_4_line_89 |  | 88 | 97 | 0.0032142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6024-39_1_4_line_90 |  | 89 | 90 | 0.017321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6024-39_1_4_line_91 |  | 89 | 91 | 0.00082059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6024-39_1_4_line_92 |  | 90 | 92 | 0.024724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6024-39_1_4_line_93 |  | 90 | 93 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6024-39_1_4_line_94 |  | 92 | 94 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6024-39_1_4_line_95 |  | 92 | 95 | 0.0081033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6024-39_1_4_line_96 |  | 93 | 96 | 0.0074264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6024-39_1_4_trafo_87 | 0.63 MVA 20/0.4 kV | 98 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2590020.7892 | 1114829.6712 | 2590019.2913 | 1114828.68 | 2590006.8511 | 1114818.5846 | 2590000.4865 | 1114814.7189
1 | 2589991.8374 | 1114809.4656 | 2590000.4865 | 1114814.7189
2 | 2589898.6731 | 1114789.2731 | 2589905.9514 | 1114792.1179 | 2589918.0951 | 1114795.5992 | 2589927.9078 | 1114794.9714 | 2589957.099 | 1114788.5305 | 2589963.9348 | 1114789.9642 | 2589972.9716 | 1114796.3301 | 2589985.4956 | 1114805.6138 | 2589991.8374 | 1114809.4656
3 | 2589991.8374 | 1114809.4656 | 2590024.4929 | 1114696.9065
4 | 2589898.6731 | 1114789.2731 | 2589896.986 | 1114796.146 | 2589893.964 | 1114808.1237
5 | 2589898.6731 | 1114789.2731 | 2589903.8926 | 1114775.3798 | 2589919.393 | 1114759.1902 | 2589926.1671 | 1114756.0551 | 2589913.1635 | 1114755.5544 | 2589891.3086 | 1114758.0701 | 2589885.1247 | 1114763.2164
6 | 2590024.4929 | 1114696.9065 | 2590042.0189 | 1114681.9367 | 2590052.1925 | 1114679.0678
7 | 2589893.964 | 1114808.1237 | 2589889.7223 | 1114824.9057 | 2589888.7099 | 1114828.9094 | 2589876.1501 | 1114853.2261
8 | 2589893.964 | 1114808.1237 | 2589887.8853 | 1114816.0823 | 2589883.5452 | 1114820.2249 | 2589881.0589 | 1114820.2291
9 | 2589876.4196 | 1114770.4791 | 2589885.1247 | 1114763.2164
10 | 2589885.1247 | 1114763.2164 | 2589872.5175 | 1114764.2604 | 2589862.5858 | 1114767.5787 | 2589854.9364 | 1114773.5835 | 2589847.7007 | 1114782.2666 | 2589842.131 | 1114794.4487 | 2589839.6507 | 1114797.9657 | 2589834.471 | 1114803.4164
11 | 2590052.1925 | 1114679.0678 | 2590108.7704 | 1114587.8468
12 | 2589987.5795 | 1114559.4667 | 2590023.5843 | 1114572.8024 | 2590077.8155 | 1114583.7069 | 2590108.7704 | 1114587.8468
13 | 2589875.6153 | 1114728.4486 | 2589987.5795 | 1114559.4667
14 | 2589876.1501 | 1114853.2261 | 2589873.4176 | 1114858.5164 | 2589857.7946 | 1114875.0731 | 2589856.2648 | 1114876.2806
15 | 2589880.2279 | 1114817.3402 | 2589881.0589 | 1114820.2291
16 | 2589834.036 | 1114803.8742 | 2589834.471 | 1114803.4164
17 | 2589849.8909 | 1114881.3118 | 2589856.2648 | 1114876.2806
18 | 2589834.036 | 1114803.8742 | 2589831.789 | 1114806.2387 | 2589821.0237 | 1114816.5828
19 | 2589858.8844 | 1114884.8872 | 2589849.8909 | 1114881.3118
20 | 2589816.8357 | 1114912.7053 | 2589820.5678 | 1114905.2287 | 2589849.8909 | 1114881.3118
21 | 2589916.7742 | 1115048.677 | 2589917.6503 | 1115044.8618
22 | 2589916.7742 | 1115048.677 | 2589916.6006 | 1115049.4334
23 | 2589923.2695 | 1115031.14 | 2589918.6296 | 1115040.5968 | 2589917.6503 | 1115044.8618
24 | 2589888.8809 | 1115054.5092 | 2589914.0076 | 1115060.7256 | 2589916.6006 | 1115049.4334
25 | 2589888.8809 | 1115054.5092 | 2589891.1551 | 1115034.0731 | 2589894.0467 | 1115027.2537
26 | 2589849.4366 | 1115037.4561 | 2589849.6245 | 1115043.6033 | 2589854.2671 | 1115044.9739 | 2589870.3715 | 1115048.6041 | 2589872.2796 | 1115053.7812 | 2589888.3849 | 1115058.0229 | 2589888.8809 | 1115054.5092
27 | 2589841.8299 | 1115000.0283 | 2589845.7941 | 1115011.1271 | 2589848.9102 | 1115027.541 | 2589849.4366 | 1115037.4561
28 | 2589849.4366 | 1115037.4561 | 2589856.8617 | 1115035.9984 | 2589864.1047 | 1115031.862 | 2589870.0977 | 1115023.5922 | 2589874.5428 | 1115008.4995 | 2589875.4859 | 1115000.4739
29 | 2589814.8547 | 1114923.7919 | 2589815.1932 | 1114927.6599 | 2589819.3816 | 1114943.4273 | 2589825.4438 | 1114957.7352 | 2589841.8299 | 1115000.0283
30 | 2589841.8299 | 1115000.0283 | 2589835.3024 | 1114947.8803 | 2589834.8743 | 1114941.2778 | 2589837.7645 | 1114933.6358 | 2589841.1558 | 1114930.1283 | 2589848.1136 | 1114930.728 | 2589851.8478 | 1114933.612 | 2589854.1418 | 1114943.3018 | 2589856.635 | 1114947.433 | 2589860.2355 | 1114948.8832
31 | 2589871.325 | 1114980.2057 | 2589875.852 | 1114997.3585 | 2589875.4859 | 1115000.4739
32 | 2589814.8547 | 1114923.7919 | 2589804.7136 | 1114921.9193 | 2589798.0851 | 1114919.6628 | 2589789.5824 | 1114914.0967 | 2589785.4403 | 1114912.036 | 2589782.0129 | 1114912.4643 | 2589781.9406 | 1114912.5022
33 | 2589816.8357 | 1114912.7053 | 2589814.8547 | 1114923.7919
34 | 2589816.8357 | 1114912.7053 | 2589812.2453 | 1114910.3453 | 2589812.1286 | 1114910.5339
35 | 2589897.5156 | 1114876.9628 | 2589880.431 | 1114887.53 | 2589868.3337 | 1114888.5731 | 2589858.8844 | 1114884.8872
36 | 2589723.9168 | 1114836.462 | 2589727.1913 | 1114834.8416 | 2589730.4724 | 1114832.5222
37 | 2589723.9168 | 1114836.462 | 2589708.8016 | 1114843.9414
38 | 2589730.4724 | 1114832.5222 | 2589739.3614 | 1114826.2384
39 | 2589697.3663 | 1114849.5999 | 2589708.8016 | 1114843.9414
40 | 2589739.3614 | 1114826.2384 | 2589752.6022 | 1114816.8783 | 2589754.2162 | 1114815.3901
41 | 2589697.3663 | 1114849.5999 | 2589698.8537 | 1114847.9855 | 2589704.6325 | 1114836.4143 | 2589707.5184 | 1114830.84
42 | 2589689.1102 | 1114803.4024 | 2589684.5167 | 1114812.7482 | 2589676.4078 | 1114834.3172 | 2589672.496 | 1114844.9736 | 2589672.7951 | 1114857.2903 | 2589677.4916 | 1114867.4428 | 2589685.2889 | 1114857.8247 | 2589695.7925 | 1114850.3808 | 2589697.3663 | 1114849.5999
43 | 2589754.2162 | 1114815.3901 | 2589762.0898 | 1114808.13
44 | 2589707.5184 | 1114830.84 | 2589707.8686 | 1114829.4355
45 | 2589689.1102 | 1114803.4024 | 2589675.8148 | 1114817.2432
46 | 2589699.7915 | 1114777.9716 | 2589700.7682 | 1114784.7066 | 2589693.7577 | 1114793.9676 | 2589689.1102 | 1114803.4024
47 | 2589776.5936 | 1114794.9823 | 2589772.8696 | 1114798.1902 | 2589762.0898 | 1114808.13
48 | 2589719.0633 | 1114812.1684 | 2589715.9839 | 1114814.5174 | 2589711.6446 | 1114819.0715 | 2589708.9601 | 1114825.0569 | 2589707.8686 | 1114829.4355
49 | 2589699.7915 | 1114777.9716 | 2589690.5916 | 1114783.7391
50 | 2589699.7915 | 1114777.9716 | 2589699.0648 | 1114772.9481 | 2589698.1925 | 1114759.5097 | 2589701.8878 | 1114747.387
51 | 2589776.5936 | 1114794.9823 | 2589783.3668 | 1114782.3312 | 2589790.0908 | 1114772.5149 | 2589792.8909 | 1114766.3516 | 2589789.3844 | 1114761.2105
52 | 2589776.5936 | 1114794.9823 | 2589787.8039 | 1114785.3251
53 | 2589719.0633 | 1114812.1684 | 2589723.8416 | 1114808.5233 | 2589728.1865 | 1114802.7352 | 2589728.7979 | 1114799.0101 | 2589726.8417 | 1114797.4127
54 | 2589703.4853 | 1114742.1464 | 2589701.8878 | 1114747.387
55 | 2589807.7413 | 1114767.6826 | 2589799.2456 | 1114775.4786 | 2589799.1906 | 1114775.526
56 | 2589787.8039 | 1114785.3251 | 2589799.1906 | 1114775.526
57 | 2589807.7413 | 1114767.6826 | 2589803.2672 | 1114756.5291 | 2589803.8081 | 1114743.0883 | 2589807.6916 | 1114728.5409
58 | 2589807.7413 | 1114767.6826 | 2589822.8131 | 1114753.8614 | 2589833.3145 | 1114744.9392 | 2589843.4184 | 1114738.3522 | 2589844.7064 | 1114737.5163 | 2589844.7064 | 1114737.5163
59 | 2589787.8039 | 1114785.3251 | 2589784.2279 | 1114804.7812
60 | 2589807.6916 | 1114728.5409 | 2589807.9973 | 1114727.3956 | 2589811.9004 | 1114711.4256 | 2589812.7189 | 1114705.9135
61 | 2589844.7064 | 1114737.5163 | 2589859.6828 | 1114731.0879 | 2589860.5538 | 1114730.9436
62 | 2589812.7189 | 1114705.9135 | 2589813.5647 | 1114700.2173 | 2589813.5647 | 1114700.2173
63 | 2589860.5538 | 1114730.9436 | 2589875.6153 | 1114728.4486
64 | 2589810.1925 | 1114696.8658 | 2589813.5647 | 1114700.2173
65 | 2589810.1925 | 1114696.8658 | 2589810.1925 | 1114696.8658 | 2589803.8934 | 1114698.8391
66 | 2589821.0237 | 1114816.5828 | 2589811.0579 | 1114826.1587
67 | 2589810.0778 | 1114827.1005 | 2589811.0579 | 1114826.1587
68 | 2589804.0408 | 1114832.9012 | 2589810.0778 | 1114827.1005
69 | 2589789.8228 | 1114846.563 | 2589804.0408 | 1114832.9012
70 | 2589723.2701 | 1114798.254 | 2589726.8417 | 1114797.4127 | 2589726.8417 | 1114797.4127
71 | 2589703.4853 | 1114742.1464 | 2589704.3427 | 1114739.3336 | 2589711.6236 | 1114725.6033 | 2589712.0085 | 1114723.6679
72 | 2589711.3265 | 1114714.3983 | 2589713.0169 | 1114718.5975 | 2589712.0085 | 1114723.6679
73 | 2589711.3265 | 1114714.3983 | 2589712.9992 | 1114708.2368 | 2589712.9867 | 1114700.9555 | 2589712.0228 | 1114697.1553
74 | 2589711.3265 | 1114714.3983 | 2589717.665 | 1114709.4405 | 2589720.9714 | 1114701.3865 | 2589727.5787 | 1114691.0479 | 2589736.4731 | 1114686.0747 | 2589741.2361 | 1114685.4551
75 | 2589711.3265 | 1114714.3983 | 2589705.7034 | 1114713.2851 | 2589698.4057 | 1114717.2218
76 | 2589709.8771 | 1114688.6325 | 2589712.0228 | 1114697.1553
77 | 2589712.0228 | 1114697.1553 | 2589720.7329 | 1114683.8338 | 2589722.356 | 1114666.7004 | 2589724.8257 | 1114656.9913 | 2589728.7772 | 1114648.2326
78 | 2589747.6646 | 1114687.9232 | 2589741.2361 | 1114685.4551
79 | 2589677.4643 | 1114735.5297 | 2589678.7687 | 1114734.3417 | 2589691.1152 | 1114725.3605 | 2589698.4057 | 1114717.2218
80 | 2589740.1425 | 1114635.2601 | 2589730.6027 | 1114644.1863 | 2589728.7772 | 1114648.2326
81 | 2589666.7113 | 1114745.3233 | 2589677.4643 | 1114735.5297
82 | 2589740.1425 | 1114635.2601 | 2589749.8371 | 1114626.189
83 | 2589666.7113 | 1114745.3233 | 2589657.4281 | 1114753.7744
84 | 2589666.7113 | 1114745.3233 | 2589666.77 | 1114739.0424 | 2589672.6325 | 1114729.7752
85 | 2589657.4281 | 1114753.7744 | 2589645.6403 | 1114764.5055
86 | 2589679.5759 | 1114718.7993 | 2589672.6325 | 1114729.7752
87 | 2589644.0095 | 1114765.9901 | 2589645.6403 | 1114764.5055
88 | 2589641.1782 | 1114768.5676 | 2589644.0095 | 1114765.9901
89 | 2589752.1188 | 1114628.4529 | 2589749.8371 | 1114626.189
90 | 2589776.5069 | 1114716.8105 | 2589776.8031 | 1114722.9686 | 2589770.7991 | 1114732.3707
91 | 2589770.3575 | 1114733.0623 | 2589770.7991 | 1114732.3707
92 | 2589776.5069 | 1114716.8105 | 2589786.0473 | 1114710.3467 | 2589796.883 | 1114702.7245
93 | 2589776.5069 | 1114716.8105 | 2589772.5744 | 1114715.4165 | 2589773.9697 | 1114709.5335 | 2589777.6162 | 1114706.1701 | 2589778.4181 | 1114705.4026
94 | 2589796.883 | 1114702.7245 | 2589787.7497 | 1114717.0693
95 | 2589796.883 | 1114702.7245 | 2589801.2018 | 1114699.6824 | 2589803.8934 | 1114698.8391
96 | 2589783.7833 | 1114700.2678 | 2589778.4181 | 1114705.4026

## bus_geodata
| x | y | coords
0 | 2590020.7892 | 1114829.6712
1 | 2590000.4865 | 1114814.7189
2 | 2589991.8374 | 1114809.4656
3 | 2589898.6731 | 1114789.2731
4 | 2590024.4929 | 1114696.9065
5 | 2589893.964 | 1114808.1237
6 | 2589885.1247 | 1114763.2164
7 | 2590052.1925 | 1114679.0678
8 | 2590108.7704 | 1114587.8468
9 | 2589987.5795 | 1114559.4667
10 | 2589876.1501 | 1114853.2261
11 | 2589881.0589 | 1114820.2291
12 | 2589876.4196 | 1114770.4791
13 | 2589834.471 | 1114803.4164
14 | 2589856.2648 | 1114876.2806
15 | 2589880.2279 | 1114817.3402
16 | 2589834.036 | 1114803.8742
17 | 2589849.8909 | 1114881.3118
18 | 2589916.7742 | 1115048.677
19 | 2589917.6503 | 1115044.8618
20 | 2589916.6006 | 1115049.4334
21 | 2589923.2695 | 1115031.14
22 | 2589888.8809 | 1115054.5092
23 | 2589894.0467 | 1115027.2537
24 | 2589849.4366 | 1115037.4561
25 | 2589841.8299 | 1115000.0283
26 | 2589875.4859 | 1115000.4739
27 | 2589814.8547 | 1114923.7919
28 | 2589860.2355 | 1114948.8832
29 | 2589871.325 | 1114980.2057
30 | 2589781.9406 | 1114912.5022
31 | 2589816.8357 | 1114912.7053
32 | 2589812.1287 | 1114910.5339
33 | 2589858.8844 | 1114884.8872
34 | 2589897.5156 | 1114876.9628
35 | 2589723.9168 | 1114836.462
36 | 2589730.4724 | 1114832.5222
37 | 2589708.8016 | 1114843.9414
38 | 2589739.3614 | 1114826.2384
39 | 2589697.3663 | 1114849.5999
40 | 2589754.2162 | 1114815.3901
41 | 2589707.5184 | 1114830.84
42 | 2589689.1102 | 1114803.4024
43 | 2589762.0898 | 1114808.13
44 | 2589707.8686 | 1114829.4355
45 | 2589675.8148 | 1114817.2432
46 | 2589699.7915 | 1114777.9716
47 | 2589776.5936 | 1114794.9823
48 | 2589719.0633 | 1114812.1684
49 | 2589690.5916 | 1114783.7391
50 | 2589701.8878 | 1114747.387
51 | 2589799.1906 | 1114775.526
52 | 2589807.7413 | 1114767.6826
53 | 2589787.8039 | 1114785.3251
54 | 2589807.6916 | 1114728.5409
55 | 2589844.7064 | 1114737.5163
56 | 2589784.2279 | 1114804.7812
57 | 2589812.7189 | 1114705.9135
58 | 2589860.5538 | 1114730.9436
59 | 2589789.3844 | 1114761.2105
60 | 2589813.5647 | 1114700.2173
61 | 2589875.6153 | 1114728.4486
62 | 2589810.1925 | 1114696.8658
63 | 2589821.0237 | 1114816.5828
64 | 2589811.0579 | 1114826.1587
65 | 2589810.0778 | 1114827.1005
66 | 2589804.0408 | 1114832.9012
67 | 2589789.8228 | 1114846.563
68 | 2589726.8417 | 1114797.4127
69 | 2589723.2701 | 1114798.254
70 | 2589703.4853 | 1114742.1464
71 | 2589712.0085 | 1114723.6679
72 | 2589711.3265 | 1114714.3983
73 | 2589712.0228 | 1114697.1553
74 | 2589741.2361 | 1114685.4551
75 | 2589698.4057 | 1114717.2218
76 | 2589709.8771 | 1114688.6325
77 | 2589728.7772 | 1114648.2326
78 | 2589747.6646 | 1114687.9232
79 | 2589677.4643 | 1114735.5297
80 | 2589740.1425 | 1114635.2601
81 | 2589666.7113 | 1114745.3233
82 | 2589657.4281 | 1114753.7744
83 | 2589672.6325 | 1114729.7752
84 | 2589645.6403 | 1114764.5055
85 | 2589679.5759 | 1114718.7993
86 | 2589644.0095 | 1114765.9901
87 | 2589641.1782 | 1114768.5676
88 | 2589749.8371 | 1114626.189
89 | 2589770.7991 | 1114732.3707
90 | 2589776.5069 | 1114716.8105
91 | 2589770.3575 | 1114733.0623
92 | 2589796.883 | 1114702.7245
93 | 2589778.4181 | 1114705.4026
94 | 2589787.7497 | 1114717.0693
95 | 2589803.8934 | 1114698.8391
96 | 2589783.7833 | 1114700.2678
97 | 2589752.1188 | 1114628.4529
98 | 2589783.9021 | 1114806.5533

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1