## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6024-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6024-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6024-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6024-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6024-5_0_4_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_6024-5_0_4_node_148 | 0.4 | n |  | TRUE
6 | bus_LV_6024-5_0_4_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_6024-5_0_4_node_139 | 0.4 | n |  | TRUE
8 | bus_LV_6024-5_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6024-5_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6024-5_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6024-5_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_6024-5_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6024-5_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6024-5_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_6024-5_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_6024-5_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6024-5_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6024-5_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6024-5_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_6024-5_0_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_6024-5_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_6024-5_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6024-5_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6024-5_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6024-5_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6024-5_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6024-5_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6024-5_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6024-5_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6024-5_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6024-5_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_6024-5_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_6024-5_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6024-5_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_6024-5_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6024-5_0_4_node_146 | 0.4 | n |  | TRUE
37 | bus_LV_6024-5_0_4_node_145 | 0.4 | n |  | TRUE
38 | bus_LV_6024-5_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6024-5_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_6024-5_0_4_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_6024-5_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6024-5_0_4_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_6024-5_0_4_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_6024-5_0_4_node_140 | 0.4 | n |  | TRUE
45 | bus_LV_6024-5_0_4_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_6024-5_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_6024-5_0_4_node_130 | 0.4 | n |  | TRUE
48 | bus_LV_6024-5_0_4_node_131 | 0.4 | n |  | TRUE
49 | bus_LV_6024-5_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_6024-5_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6024-5_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6024-5_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_6024-5_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_6024-5_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6024-5_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_6024-5_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6024-5_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6024-5_0_4_node_147 | 0.4 | n |  | TRUE
59 | bus_LV_6024-5_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_6024-5_0_4_node_142 | 0.4 | n |  | TRUE
61 | bus_LV_6024-5_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6024-5_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6024-5_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_6024-5_0_4_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_6024-5_0_4_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_6024-5_0_4_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_6024-5_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_6024-5_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_6024-5_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_6024-5_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_6024-5_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_6024-5_0_4_node_141 | 0.4 | n |  | TRUE
73 | bus_LV_6024-5_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_6024-5_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_6024-5_0_4_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_6024-5_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_6024-5_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_6024-5_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_6024-5_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_6024-5_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_6024-5_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_6024-5_0_4_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_6024-5_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_6024-5_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_6024-5_0_4_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_6024-5_0_4_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_6024-5_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_6024-5_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_6024-5_0_4_node_118 | 0.4 | n |  | TRUE
90 | bus_LV_6024-5_0_4_node_116 | 0.4 | n |  | TRUE
91 | bus_LV_6024-5_0_4_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_6024-5_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_6024-5_0_4_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_6024-5_0_4_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_6024-5_0_4_node_136 | 0.4 | n |  | TRUE
96 | bus_LV_6024-5_0_4_node_149 | 0.4 | n |  | TRUE
97 | bus_LV_6024-5_0_4_node_117 | 0.4 | n |  | TRUE
98 | bus_LV_6024-5_0_4_node_152 | 0.4 | n |  | TRUE
99 | bus_LV_6024-5_0_4_node_153 | 0.4 | n |  | TRUE
100 | bus_LV_6024-5_0_4_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_6024-5_0_4_node_68 | 0.4 | n |  | TRUE
102 | bus_LV_6024-5_0_4_node_69 | 0.4 | n |  | TRUE
103 | bus_LV_6024-5_0_4_node_70 | 0.4 | n |  | TRUE
104 | bus_LV_6024-5_0_4_node_78 | 0.4 | n |  | TRUE
105 | bus_LV_6024-5_0_4_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_6024-5_0_4_node_85 | 0.4 | n |  | TRUE
107 | bus_LV_6024-5_0_4_node_76 | 0.4 | n |  | TRUE
108 | bus_LV_6024-5_0_4_node_150 | 0.4 | n |  | TRUE
109 | bus_LV_6024-5_0_4_node_138 | 0.4 | n |  | TRUE
110 | bus_LV_6024-5_0_4_node_88 | 0.4 | n |  | TRUE
111 | bus_LV_6024-5_0_4_node_81 | 0.4 | n |  | TRUE
112 | bus_LV_6024-5_0_4_node_89 | 0.4 | n |  | TRUE
113 | bus_LV_6024-5_0_4_node_154 | 0.4 | n |  | TRUE
114 | bus_LV_6024-5_0_4_node_144 | 0.4 | n |  | TRUE
115 | bus_LV_6024-5_0_4_node_94 | 0.4 | n |  | TRUE
116 | bus_LV_6024-5_0_4_node_143 | 0.4 | n |  | TRUE
117 | bus_LV_6024-5_0_4_node_95 | 0.4 | n |  | TRUE
118 | bus_LV_6024-5_0_4_node_96 | 0.4 | n |  | TRUE
119 | bus_LV_6024-5_0_4_node_97 | 0.4 | n |  | TRUE
120 | bus_LV_6024-5_0_4_node_98 | 0.4 | n |  | TRUE
121 | bus_LV_6024-5_0_4_node_137 | 0.4 | n |  | TRUE
122 | bus_LV_6024-5_0_4_node_108 | 0.4 | n |  | TRUE
123 | bus_LV_6024-5_0_4_node_135 | 0.4 | n |  | TRUE
124 | bus_LV_6024-5_0_4_node_110 | 0.4 | n |  | TRUE
125 | bus_LV_6024-5_0_4_node_111 | 0.4 | n |  | TRUE
126 | bus_LV_6024-5_0_4_node_106 | 0.4 | n |  | TRUE
127 | bus_LV_6024-5_0_4_node_151 | 0.4 | n |  | TRUE
128 | bus_LV_6024-5_0_4_node_99 | 0.4 | n |  | TRUE
129 | bus_LV_6024-5_0_4_node_100 | 0.4 | n |  | TRUE
130 | bus_LV_6024-5_0_4_node_101 | 0.4 | n |  | TRUE
131 | bus_LV_6024-5_0_4_node_102 | 0.4 | n |  | TRUE
132 | bus_LV_6024-5_0_4_node_103 | 0.4 | n |  | TRUE
133 | bus_LV_6024-5_0_4_node_104 | 0.4 | n |  | TRUE
134 | bus_LV_6024-5_0_4_node_132 | 0.4 | n |  | TRUE
135 | bus_LV_6024-5_0_4_node_113 | 0.4 | n |  | TRUE
136 | bus_LV_6024-5_0_4_node_119 | 0.4 | n |  | TRUE
137 | bus_LV_6024-5_0_4_node_123 | 0.4 | n |  | TRUE
138 | bus_LV_6024-5_0_4_node_124 | 0.4 | n |  | TRUE
139 | bus_LV_6024-5_0_4_node_155 | 0.4 | n |  | TRUE
140 | bus_LV_6024-5_0_4_node_115 | 0.4 | n |  | TRUE
141 | bus_LV_6024-5_0_4_node_125 | 0.4 | n |  | TRUE
142 | bus_LV_6024-5_0_4_node_114 | 0.4 | n |  | TRUE
143 | bus_LV_6024-5_0_4_node_112 | 0.4 | n |  | TRUE
144 | bus_LV_6024-5_0_4_node_120 | 0.4 | n |  | TRUE
145 | bus_LV_6024-5_0_4_node_121 | 0.4 | n |  | TRUE
146 | bus_LV_6024-5_0_4_node_105 | 0.4 | n |  | TRUE
147 | bus_LV_6024-5_0_4_node_107 | 0.4 | n |  | TRUE
148 | bus_LV_6024-5_0_4_node_109 | 0.4 | n |  | TRUE
149 | bus_LV_6024-5_0_4_node_133 | 0.4 | n |  | TRUE
150 | bus_LV_6024-5_0_4_node_134 | 0.4 | n |  | TRUE
151 | bus_LV_6024-5_0_4_node_126 | 0.4 | n |  | TRUE
152 | bus_LV_6024-5_0_4_node_122 | 0.4 | n |  | TRUE
153 | bus_LV_6024-5_0_4_node_127 | 0.4 | n |  | TRUE
154 | bus_LV_6024-5_0_4_node_128 | 0.4 | n |  | TRUE
155 | bus_LV_6024-5_0_4_node_129 | 0.4 | n |  | TRUE
156 | bus_MV_90_0_node_196 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6024-5_0_4_load_0 | 0 | 0.001182 | 0.00029625 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6024-5_0_4_load_2 | 2 | 0.0030211 | 0.00075715 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6024-5_0_4_load_3 | 3 | 0.0021686 | 0.0005435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6024-5_0_4_load_148 | 5 | 0.0020951 | 0.00052507 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6024-5_0_4_load_139 | 7 | 0.00082869 | 0.00020769 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6024-5_0_4_load_10 | 10 | 0.00064723 | 0.00016221 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6024-5_0_4_load_12 | 13 | 0.0005844 | 0.00014647 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6024-5_0_4_load_5 | 14 | 0.0010132 | 0.00025393 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6024-5_0_4_load_6 | 15 | 0.00086438 | 0.00021663 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6024-5_0_4_load_8 | 16 | 0.00092218 | 0.00023112 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6024-5_0_4_load_17 | 18 | 0.0017295 | 0.00043346 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6024-5_0_4_load_33 | 20 | 0.0022143 | 0.00055496 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6024-5_0_4_load_34 | 21 | 0.0088193 | 0.0022103 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6024-5_0_4_load_11 | 22 | 0.0026049 | 0.00065284 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6024-5_0_4_load_14 | 24 | 0.0013354 | 0.00033467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6024-5_0_4_load_19 | 25 | 0.0015069 | 0.00037766 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6024-5_0_4_load_25 | 26 | 0.0018844 | 0.00047228 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6024-5_0_4_load_20 | 27 | 0.002327 | 0.00058319 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6024-5_0_4_load_31 | 28 | 0.0028975 | 0.00072617 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6024-5_0_4_load_22 | 29 | 0.0016095 | 0.00040339 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6024-5_0_4_load_32 | 32 | 0.0021819 | 0.00054684 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6024-5_0_4_load_30 | 35 | 0.0021601 | 0.00054137 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6024-5_0_4_load_146 | 36 | 0.0023875 | 0.00059837 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6024-5_0_4_load_145 | 37 | 0.0016005 | 0.00040113 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6024-5_0_4_load_26 | 39 | 0.00358 | 0.00089723 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6024-5_0_4_load_92 | 40 | 0.0069172 | 0.0017336 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6024-5_0_4_load_90 | 43 | 0.0055229 | 0.0013842 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6024-5_0_4_load_140 | 44 | 0.0015222 | 0.0003815 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6024-5_0_4_load_54 | 46 | 0.0031046 | 0.0007781 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6024-5_0_4_load_131 | 48 | 0.0079618 | 0.0019954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6024-5_0_4_load_40 | 51 | 0.002605 | 0.00065288 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6024-5_0_4_load_35 | 52 | 0.0025168 | 0.00063076 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6024-5_0_4_load_36 | 53 | 0.0016571 | 0.00041531 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6024-5_0_4_load_37 | 54 | 0.0026913 | 0.0006745 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6024-5_0_4_load_38 | 55 | 0.0036309 | 0.00090998 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6024-5_0_4_load_39 | 57 | 0.0024086 | 0.00060365 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6024-5_0_4_load_147 | 58 | 0.0037117 | 0.00093024 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6024-5_0_4_load_142 | 60 | 0.0056476 | 0.0014154 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6024-5_0_4_load_43 | 62 | 0.004244 | 0.0010636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6024-5_0_4_load_46 | 63 | 0.0053343 | 0.0013369 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6024-5_0_4_load_73 | 66 | 0.01394 | 0.0034938 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6024-5_0_4_load_47 | 67 | 0.00387 | 0.00096992 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6024-5_0_4_load_49 | 69 | 0.0046423 | 0.0011635 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6024-5_0_4_load_53 | 71 | 0.0026499 | 0.00066413 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6024-5_0_4_load_141 | 72 | 0.0051041 | 0.0012792 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6024-5_0_4_load_55 | 73 | 0.0043887 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6024-5_0_4_load_57 | 74 | 0.002895 | 0.00072556 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6024-5_0_4_load_58 | 75 | 0.0032456 | 0.00081343 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6024-5_0_4_load_59 | 76 | 0.0018817 | 0.00047159 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6024-5_0_4_load_60 | 77 | 0.0079072 | 0.0019817 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6024-5_0_4_load_74 | 78 | 0.011084 | 0.0027778 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6024-5_0_4_load_61 | 80 | 0.0053037 | 0.0013292 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6024-5_0_4_load_64 | 83 | 0.0074607 | 0.0018698 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6024-5_0_4_load_83 | 88 | 0.0090152 | 0.0022594 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6024-5_0_4_load_116 | 90 | 0.0099226 | 0.0024868 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6024-5_0_4_load_79 | 92 | 0.0082416 | 0.0020655 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6024-5_0_4_load_86 | 93 | 0.0057275 | 0.0014354 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6024-5_0_4_load_149 | 96 | 0.0034565 | 0.00086628 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6024-5_0_4_load_117 | 97 | 0.0069335 | 0.0017377 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6024-5_0_4_load_152 | 98 | 0.0065457 | 0.0016405 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6024-5_0_4_load_68 | 101 | 0.0027758 | 0.00069567 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6024-5_0_4_load_69 | 102 | 0.0035927 | 0.00090041 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6024-5_0_4_load_70 | 103 | 0.0047675 | 0.0011949 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6024-5_0_4_load_78 | 104 | 0.0048847 | 0.0012242 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6024-5_0_4_load_85 | 106 | 0.0079831 | 0.0020007 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6024-5_0_4_load_150 | 108 | 0.0035123 | 0.00088026 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6024-5_0_4_load_138 | 109 | 0.0027574 | 0.00069107 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6024-5_0_4_load_88 | 110 | 0.0056433 | 0.0014143 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6024-5_0_4_load_89 | 112 | 0.0063444 | 0.0015901 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6024-5_0_4_load_154 | 113 | 0.0077909 | 0.0019526 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6024-5_0_4_load_144 | 114 | 0.0079907 | 0.0020027 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6024-5_0_4_load_143 | 116 | 0.004446 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6024-5_0_4_load_95 | 117 | 0.0063604 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6024-5_0_4_load_137 | 121 | 0.0072444 | 0.0018156 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6024-5_0_4_load_135 | 123 | 0.0068352 | 0.0017131 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6024-5_0_4_load_110 | 124 | 0.0091203 | 0.0022858 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6024-5_0_4_load_106 | 126 | 0.0032022 | 0.00080255 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6024-5_0_4_load_151 | 127 | 0.005036 | 0.0012621 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6024-5_0_4_load_99 | 128 | 0.0029237 | 0.00073274 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6024-5_0_4_load_100 | 129 | 0.0025612 | 0.0006419 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6024-5_0_4_load_132 | 134 | 0.0036829 | 0.00092303 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6024-5_0_4_load_119 | 136 | 0.0043837 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6024-5_0_4_load_123 | 137 | 0.0026532 | 0.00066496 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6024-5_0_4_load_124 | 138 | 0.0025054 | 0.0006279 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6024-5_0_4_load_155 | 139 | 0.003637 | 0.00091152 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6024-5_0_4_load_125 | 141 | 0.0058797 | 0.0014736 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6024-5_0_4_load_114 | 142 | 0.0042535 | 0.001066 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6024-5_0_4_load_112 | 143 | 0.0016034 | 0.00040184 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6024-5_0_4_load_120 | 144 | 0.0042406 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6024-5_0_4_load_121 | 145 | 0.0011856 | 0.00029714 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6024-5_0_4_load_105 | 146 | 0.0029793 | 0.00074669 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6024-5_0_4_load_107 | 147 | 0.0036104 | 0.00090486 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6024-5_0_4_load_109 | 148 | 0.0035405 | 0.00088732 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6024-5_0_4_load_133 | 149 | 0.0025334 | 0.00063493 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6024-5_0_4_load_134 | 150 | 0.0020134 | 0.00050461 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6024-5_0_4_load_126 | 151 | 0.0043884 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6024-5_0_4_load_122 | 152 | 0.0027945 | 0.00070036 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6024-5_0_4_load_128 | 154 | 0.004116 | 0.0010316 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6024-5_0_4_load_129 | 155 | 0.0047452 | 0.0011893 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6024-5_0_4_line_0 |  | 0 | 1 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6024-5_0_4_line_1 |  | 0 | 2 | 0.074459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6024-5_0_4_line_2 |  | 1 | 3 | 0.11399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6024-5_0_4_line_3 |  | 2 | 4 | 0.22312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6024-5_0_4_line_4 |  | 3 | 7 | 0.13172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6024-5_0_4_line_5 |  | 4 | 5 | 0.009056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6024-5_0_4_line_6 |  | 4 | 6 | 0.025091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6024-5_0_4_line_7 |  | 5 | 20 | 0.11016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6024-5_0_4_line_8 |  | 6 | 50 | 0.10042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6024-5_0_4_line_9 |  | 6 | 51 | 0.10019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6024-5_0_4_line_10 |  | 7 | 11 | 0.11472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6024-5_0_4_line_11 |  | 8 | 9 | 0.077889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6024-5_0_4_line_12 |  | 8 | 10 | 0.086924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6024-5_0_4_line_13 |  | 9 | 12 | 0.06511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6024-5_0_4_line_14 |  | 10 | 13 | 0.037979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6024-5_0_4_line_15 |  | 11 | 22 | 0.066063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6024-5_0_4_line_16 |  | 11 | 23 | 0.077799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6024-5_0_4_line_17 |  | 12 | 14 | 0.033658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6024-5_0_4_line_18 |  | 13 | 23 | 0.002298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6024-5_0_4_line_19 |  | 14 | 15 | 0.0054253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6024-5_0_4_line_20 |  | 15 | 16 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6024-5_0_4_line_21 |  | 17 | 18 | 0.001901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6024-5_0_4_line_22 |  | 17 | 19 | 0.059421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6024-5_0_4_line_23 |  | 18 | 25 | 0.12677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6024-5_0_4_line_24 |  | 19 | 26 | 0.091231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6024-5_0_4_line_25 |  | 20 | 21 | 0.023916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6024-5_0_4_line_26 |  | 21 | 47 | 0.045784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6024-5_0_4_line_27 |  | 23 | 24 | 0.043801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6024-5_0_4_line_28 |  | 25 | 27 | 0.037296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6024-5_0_4_line_29 |  | 26 | 28 | 0.12362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6024-5_0_4_line_30 |  | 26 | 29 | 0.081162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6024-5_0_4_line_31 |  | 27 | 30 | 0.072311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6024-5_0_4_line_32 |  | 28 | 38 | 0.11744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6024-5_0_4_line_33 |  | 29 | 33 | 0.10939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6024-5_0_4_line_34 |  | 30 | 31 | 0.031089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6024-5_0_4_line_35 |  | 31 | 32 | 0.011932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6024-5_0_4_line_36 |  | 33 | 36 | 0.053425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6024-5_0_4_line_37 |  | 33 | 37 | 0.038524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6024-5_0_4_line_38 |  | 33 | 34 | 0.13839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6024-5_0_4_line_39 |  | 34 | 35 | 0.13459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6024-5_0_4_line_40 |  | 38 | 44 | 0.059183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6024-5_0_4_line_41 |  | 38 | 41 | 0.080101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6024-5_0_4_line_42 |  | 39 | 40 | 0.06332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6024-5_0_4_line_43 |  | 40 | 43 | 0.015951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6024-5_0_4_line_44 |  | 41 | 42 | 0.073502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6024-5_0_4_line_45 |  | 42 | 45 | 0.05892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6024-5_0_4_line_46 |  | 42 | 43 | 0.018024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6024-5_0_4_line_47 |  | 44 | 46 | 0.094198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6024-5_0_4_line_48 |  | 45 | 114 | 0.023058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6024-5_0_4_line_49 |  | 45 | 115 | 0.019989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6024-5_0_4_line_50 |  | 46 | 70 | 0.023718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6024-5_0_4_line_51 |  | 47 | 48 | 0.027912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6024-5_0_4_line_52 |  | 47 | 49 | 0.091222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6024-5_0_4_line_53 |  | 49 | 60 | 0.032983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6024-5_0_4_line_54 |  | 49 | 61 | 0.066175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6024-5_0_4_line_55 |  | 50 | 56 | 0.03747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6024-5_0_4_line_56 |  | 50 | 55 | 0.019119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6024-5_0_4_line_57 |  | 51 | 57 | 0.020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6024-5_0_4_line_58 |  | 52 | 53 | 0.030022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6024-5_0_4_line_59 |  | 52 | 54 | 0.0015978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6024-5_0_4_line_60 |  | 53 | 55 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6024-5_0_4_line_61 |  | 56 | 58 | 0.01505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6024-5_0_4_line_62 |  | 56 | 59 | 0.0071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6024-5_0_4_line_63 |  | 59 | 63 | 0.039925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6024-5_0_4_line_64 |  | 59 | 62 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6024-5_0_4_line_65 |  | 61 | 72 | 0.008727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6024-5_0_4_line_66 |  | 61 | 68 | 0.053894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6024-5_0_4_line_67 |  | 63 | 64 | 0.0070451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6024-5_0_4_line_68 |  | 64 | 65 | 0.035928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6024-5_0_4_line_69 |  | 64 | 66 | 0.063964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6024-5_0_4_line_70 |  | 65 | 79 | 0.04357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6024-5_0_4_line_71 |  | 65 | 106 | 0.018217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6024-5_0_4_line_72 |  | 67 | 68 | 0.026066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6024-5_0_4_line_73 |  | 68 | 69 | 0.033707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6024-5_0_4_line_74 |  | 68 | 70 | 0.097888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6024-5_0_4_line_75 |  | 69 | 71 | 0.018943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6024-5_0_4_line_76 |  | 70 | 73 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6024-5_0_4_line_77 |  | 74 | 75 | 0.021553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6024-5_0_4_line_78 |  | 74 | 76 | 0.089757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6024-5_0_4_line_79 |  | 75 | 77 | 0.035495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6024-5_0_4_line_80 |  | 77 | 78 | 0.062289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6024-5_0_4_line_81 |  | 78 | 79 | 0.01457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6024-5_0_4_line_82 |  | 79 | 107 | 0.031765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_6024-5_0_4_line_83 |  | 80 | 81 | 0.0065602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6024-5_0_4_line_84 |  | 80 | 82 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6024-5_0_4_line_85 |  | 81 | 83 | 0.019179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6024-5_0_4_line_86 |  | 81 | 84 | 0.037251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_6024-5_0_4_line_87 |  | 81 | 85 | 0.045388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6024-5_0_4_line_88 |  | 82 | 86 | 0.053554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6024-5_0_4_line_89 |  | 84 | 87 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_6024-5_0_4_line_90 |  | 84 | 88 | 0.030655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6024-5_0_4_line_91 |  | 85 | 89 | 0.025393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_6024-5_0_4_line_92 |  | 85 | 90 | 0.006625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6024-5_0_4_line_93 |  | 86 | 91 | 0.026224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6024-5_0_4_line_94 |  | 86 | 92 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6024-5_0_4_line_95 |  | 87 | 93 | 0.030887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6024-5_0_4_line_96 |  | 87 | 94 | 0.071265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_6024-5_0_4_line_97 |  | 89 | 95 | 0.020355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_6024-5_0_4_line_98 |  | 89 | 96 | 0.035349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6024-5_0_4_line_99 |  | 90 | 97 | 0.0078077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6024-5_0_4_line_100 |  | 91 | 98 | 0.014349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6024-5_0_4_line_101 |  | 91 | 99 | 0.015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6024-5_0_4_line_102 |  | 92 | 100 | 0.014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6024-5_0_4_line_103 |  | 93 | 105 | 0.049299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6024-5_0_4_line_104 |  | 94 | 109 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6024-5_0_4_line_105 |  | 94 | 107 | 0.051199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_6024-5_0_4_line_106 |  | 95 | 127 | 0.026012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6024-5_0_4_line_107 |  | 95 | 120 | 0.036231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_6024-5_0_4_line_108 |  | 99 | 113 | 0.007072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6024-5_0_4_line_109 |  | 100 | 111 | 0.00528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6024-5_0_4_line_110 |  | 101 | 102 | 0.0093349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6024-5_0_4_line_111 |  | 102 | 103 | 0.058136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6024-5_0_4_line_112 |  | 103 | 104 | 0.017297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6024-5_0_4_line_113 |  | 104 | 105 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6024-5_0_4_line_114 |  | 105 | 110 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6024-5_0_4_line_115 |  | 107 | 108 | 0.007396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6024-5_0_4_line_116 |  | 111 | 112 | 0.043575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6024-5_0_4_line_117 |  | 115 | 116 | 0.040197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6024-5_0_4_line_118 |  | 117 | 118 | 0.020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6024-5_0_4_line_119 |  | 118 | 119 | 0.020314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_6024-5_0_4_line_120 |  | 118 | 120 | 0.005918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_6024-5_0_4_line_121 |  | 119 | 121 | 0.030082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6024-5_0_4_line_122 |  | 119 | 122 | 0.050928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_6024-5_0_4_line_123 |  | 120 | 123 | 0.051494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6024-5_0_4_line_124 |  | 122 | 124 | 0.026562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6024-5_0_4_line_125 |  | 122 | 125 | 0.066019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
126 | LV_6024-5_0_4_line_126 |  | 122 | 126 | 0.034104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6024-5_0_4_line_127 |  | 125 | 139 | 0.024676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6024-5_0_4_line_128 |  | 125 | 131 | 0.06907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_6024-5_0_4_line_129 |  | 126 | 146 | 0.03232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6024-5_0_4_line_130 |  | 128 | 129 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
131 | LV_6024-5_0_4_line_131 |  | 128 | 130 | 0.030447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_6024-5_0_4_line_132 |  | 129 | 131 | 0.0328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_6024-5_0_4_line_133 |  | 130 | 132 | 0.08102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_6024-5_0_4_line_134 |  | 130 | 133 | 0.0219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6024-5_0_4_line_135 |  | 131 | 134 | 0.024066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6024-5_0_4_line_136 |  | 132 | 135 | 0.073257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_6024-5_0_4_line_137 |  | 132 | 136 | 0.070835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6024-5_0_4_line_138 |  | 133 | 137 | 0.026579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6024-5_0_4_line_139 |  | 133 | 138 | 0.026907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6024-5_0_4_line_140 |  | 135 | 142 | 0.008707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6024-5_0_4_line_141 |  | 135 | 143 | 0.0010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6024-5_0_4_line_142 |  | 135 | 140 | 0.094901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
143 | LV_6024-5_0_4_line_143 |  | 136 | 144 | 0.025593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_6024-5_0_4_line_144 |  | 138 | 145 | 0.14627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_6024-5_0_4_line_145 |  | 140 | 141 | 0.012176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
146 | LV_6024-5_0_4_line_146 |  | 141 | 151 | 0.031665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_6024-5_0_4_line_147 |  | 145 | 152 | 0.025311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_6024-5_0_4_line_148 |  | 146 | 147 | 0.01859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_6024-5_0_4_line_149 |  | 147 | 148 | 0.025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_6024-5_0_4_line_150 |  | 148 | 149 | 0.039465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_6024-5_0_4_line_151 |  | 149 | 150 | 0.022205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_6024-5_0_4_line_152 |  | 151 | 153 | 0.01283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
153 | LV_6024-5_0_4_line_153 |  | 153 | 154 | 0.034776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
154 | LV_6024-5_0_4_line_154 |  | 153 | 155 | 0.027756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6024-5_0_4_trafo_73 | 0.63 MVA 20/0.4 kV | 156 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2590098.398 | 1116343.4618 | 2590099.9745 | 1116339.8463 | 2590106.6046 | 1116336.8251
1 | 2590179.8028 | 1116327.3648 | 2590156.0642 | 1116326.3364 | 2590111.3597 | 1116334.6583 | 2590106.6046 | 1116336.8251
2 | 2590098.398 | 1116343.4618 | 2590070.5305 | 1116338.3163 | 2590034.2795 | 1116333.0515 | 2590011.2984 | 1116332.6895 | 2589985.7661 | 1116339.2463
3 | 2590133.7612 | 1116109.0439 | 2590179.8028 | 1116327.3648
4 | 2589985.7661 | 1116339.2463 | 2589947.5424 | 1116465.2943
5 | 2590133.7612 | 1116109.0439 | 2590139.9647 | 1116102.4304
6 | 2590133.7612 | 1116109.0439 | 2590135.8297 | 1116104.0936 | 2590135.1922 | 1116096.6576 | 2590133.7209 | 1116084.4874
7 | 2590139.9647 | 1116102.4304 | 2590246.7605 | 1116075.4318
8 | 2590128.0872 | 1115986.8264 | 2590125.7112 | 1115997.202 | 2590121.6073 | 1116017.8523 | 2590124.2631 | 1116022.6947 | 2590123.4901 | 1116031.4559 | 2590123.0882 | 1116040.5388 | 2590126.4294 | 1116053.7509 | 2590133.5047 | 1116079.741 | 2590133.7209 | 1116084.4874
9 | 2590133.7209 | 1116084.4874 | 2590130.0191 | 1116096.0547 | 2590124.8483 | 1116101.6326 | 2590115.3274 | 1116104.7387 | 2590089.0344 | 1116104.782 | 2590075.1538 | 1116099.6468 | 2590066.9865 | 1116090.3335 | 2590061.2634 | 1116074.3806
10 | 2590059.3228 | 1116446.1101 | 2590022.5651 | 1116446.7936 | 2590007.3522 | 1116452.3994 | 2589989.458 | 1116460.9889 | 2589962.2351 | 1116462.5796 | 2589947.5424 | 1116465.2943
11 | 2590229.2487 | 1116372.2507 | 2590234.7652 | 1116370.5298 | 2590292.7169 | 1116358.052 | 2590304.3517 | 1116363.9472
12 | 2590229.2487 | 1116372.2507 | 2590197.5109 | 1116379.3615 | 2590174.3295 | 1116383.8348 | 2590147.838 | 1116389.1364 | 2590144.1397 | 1116389.8858
13 | 2590369.1393 | 1116363.6652 | 2590359.3246 | 1116366.2822 | 2590329.8109 | 1116364.551 | 2590308.0249 | 1116363.1965 | 2590304.3517 | 1116363.9472
14 | 2590144.1397 | 1116389.8858 | 2590134.2256 | 1116426.5477
15 | 2590066.1383 | 1116380.3999 | 2590059.3228 | 1116446.1101
16 | 2590132.146 | 1116427.5254 | 2590130.0248 | 1116428.5183 | 2590116.2957 | 1116430.5196 | 2590073.1788 | 1116436.7938 | 2590064.0756 | 1116440.1104 | 2590059.5268 | 1116443.4196 | 2590059.3228 | 1116446.1101
17 | 2590369.1393 | 1116363.6652 | 2590379.8912 | 1116353.3206 | 2590387.7373 | 1116340.9353 | 2590389.1041 | 1116337.0944
18 | 2590132.146 | 1116427.5254 | 2590134.2256 | 1116426.5477
19 | 2590389.1041 | 1116337.0944 | 2590390.9231 | 1116331.9832
20 | 2590390.9231 | 1116331.9832 | 2590394.1695 | 1116322.8606 | 2590397.489 | 1116315.6672
21 | 2590470.9084 | 1116104.4754 | 2590470.0566 | 1116102.7759
22 | 2590522.701 | 1116081.0487 | 2590515.1209 | 1116081.3941 | 2590510.1514 | 1116082.647 | 2590507.7998 | 1116084.4627 | 2590504.703 | 1116088.5919 | 2590499.5416 | 1116095.4145 | 2590495.6079 | 1116097.4884 | 2590488.5699 | 1116098.9447 | 2590478.7086 | 1116101.6839 | 2590470.9084 | 1116104.4754
23 | 2590403.6428 | 1116062.5255 | 2590405.3789 | 1116081.7796 | 2590406.629 | 1116086.3243 | 2590414.9286 | 1116096.6272 | 2590416.5978 | 1116107.3632 | 2590421.5797 | 1116113.9585 | 2590422.4235 | 1116125.096 | 2590426.5755 | 1116129.2247 | 2590432.5328 | 1116127.8701 | 2590442.4533 | 1116113.8141 | 2590463.3881 | 1116103.5647 | 2590470.0566 | 1116102.7759
24 | 2590522.701 | 1116081.0487 | 2590554.4313 | 1116062.9676 | 2590561.6716 | 1116057.5869 | 2590564.2801 | 1116052.1801 | 2590564.0619 | 1116045.9885 | 2590559.4862 | 1116032.578 | 2590551.0442 | 1116015.0827
25 | 2590244.9065 | 1116051.6317 | 2590244.6575 | 1116054.3804 | 2590246.7605 | 1116075.4318
26 | 2590249.4734 | 1116006.0821 | 2590247.9109 | 1116018.4686 | 2590244.9065 | 1116051.6317
27 | 2590132.146 | 1116427.5254 | 2590167.5446 | 1116426.4558 | 2590175.4697 | 1116423.7127
28 | 2590403.6428 | 1116062.5255 | 2590402.8483 | 1116053.7143 | 2590399.9396 | 1116045.0591 | 2590391.251 | 1116027.8052
29 | 2590551.0442 | 1116015.0827 | 2590526.955 | 1115893.8333
30 | 2590551.0442 | 1116015.0827 | 2590626.6675 | 1115985.6135
31 | 2590390.2834 | 1115963.7456 | 2590389.4616 | 1115971.184 | 2590380.7803 | 1115978.2124 | 2590376.8151 | 1115984.722 | 2590376.8243 | 1115990.5026 | 2590380.8266 | 1116007.1043 | 2590391.251 | 1116027.8052
32 | 2590452.8127 | 1115802.7557 | 2590526.955 | 1115893.8333
33 | 2590626.6675 | 1115985.6135 | 2590729.4443 | 1116023.0754
34 | 2590390.2834 | 1115963.7456 | 2590379.9391 | 1115968.7202 | 2590363.7609 | 1115979.9183
35 | 2590363.7609 | 1115979.9183 | 2590353.9515 | 1115986.7121
36 | 2590709.7346 | 1116072.2189 | 2590713.8734 | 1116067.877 | 2590717.3795 | 1116058.7894 | 2590723.973 | 1116039.3807 | 2590729.4443 | 1116023.0754
37 | 2590738.9122 | 1116060.4125 | 2590730.7871 | 1116027.809 | 2590729.4443 | 1116023.0754
38 | 2590754.6138 | 1115899.8093 | 2590756.4769 | 1115901.4628 | 2590757.3076 | 1115904.5519 | 2590756.2783 | 1115907.8551 | 2590752.7688 | 1115914.8751 | 2590745.5342 | 1115924.1797 | 2590734.1688 | 1115938.0263 | 2590728.1739 | 1115945.2613 | 2590724.6642 | 1115952.0701 | 2590721.7807 | 1115959.5115 | 2590721.5796 | 1115964.2586 | 2590723.5879 | 1115969.9916 | 2590727.3271 | 1115976.8003 | 2590730.5127 | 1115985.0884 | 2590734.3994 | 1115997.4218 | 2590734.6077 | 1116002.3795 | 2590732.7109 | 1116008.7967 | 2590730.2022 | 1116018.9833 | 2590729.4443 | 1116023.0754
39 | 2590754.6138 | 1115899.8093 | 2590665.9942 | 1115798.5076
40 | 2590452.8127 | 1115802.7557 | 2590425.0351 | 1115811.7821 | 2590395.6402 | 1115818.4322
41 | 2590480.1008 | 1115728.2868 | 2590471.5351 | 1115764.6516 | 2590462.4634 | 1115788.6 | 2590460.5918 | 1115791.3488 | 2590452.8127 | 1115802.7557
42 | 2590397.2734 | 1115705.185 | 2590381.5277 | 1115766.5161
43 | 2590397.2734 | 1115705.185 | 2590411.5605 | 1115698.0919
44 | 2590420.7181 | 1115684.971 | 2590480.1008 | 1115728.2868
45 | 2590420.7181 | 1115684.971 | 2590401.9938 | 1115673.4618 | 2590390.705 | 1115672.2904 | 2590376.4555 | 1115673.5027 | 2590372.7164 | 1115671.9079 | 2590368.7038 | 1115677.9173
46 | 2590420.7181 | 1115684.971 | 2590420.8214 | 1115691.6185 | 2590415.4014 | 1115696.185 | 2590411.5605 | 1115698.0919
47 | 2590301.469 | 1115820.6949 | 2590395.6402 | 1115818.4322
48 | 2590352.3643 | 1115690.1162 | 2590354.6401 | 1115689.0787 | 2590366.2308 | 1115685.9697 | 2590368.7081 | 1115680.5964 | 2590368.7038 | 1115677.9173
49 | 2590364.002 | 1115663.3621 | 2590368.1352 | 1115669.9587 | 2590372.7164 | 1115671.9079 | 2590368.7038 | 1115677.9173
50 | 2590289.7743 | 1115841.2469 | 2590292.6865 | 1115837.6071 | 2590301.469 | 1115820.6949
51 | 2590233.2294 | 1116028.8086 | 2590249.4734 | 1116006.0821
52 | 2590179.7066 | 1115947.3112 | 2590249.4734 | 1116006.0821
53 | 2590179.7066 | 1115947.3112 | 2590183.1049 | 1115938.8571 | 2590186.691 | 1115931.8811 | 2590192.6775 | 1115924.6456 | 2590196.6058 | 1115919.2699
54 | 2590179.7066 | 1115947.3112 | 2590215.8705 | 1115921.5174 | 2590225.371 | 1115910.352 | 2590227.9153 | 1115903.6223
55 | 2590128.0872 | 1115986.8264 | 2590129.9881 | 1115978.5191 | 2590137.5617 | 1115950.5818
56 | 2590128.0872 | 1115986.8264 | 2590117.7999 | 1116002.9416
57 | 2590054.5786 | 1116054.9305 | 2590058.2539 | 1116065.9915 | 2590061.2634 | 1116074.3806
58 | 2590100.7756 | 1116047.4194 | 2590104.4617 | 1116045.9387 | 2590106.1123 | 1116040.3666 | 2590109.8089 | 1116020.9621 | 2590109.9897 | 1116020.5127
59 | 2590099.2929 | 1116048.0149 | 2590100.7756 | 1116047.4194
60 | 2590109.9897 | 1116020.5127 | 2590115.7904 | 1116006.0894 | 2590117.7999 | 1116002.9416
61 | 2590137.5617 | 1115950.5818 | 2590147.7788 | 1115943.4949 | 2590149.845 | 1115941.8463
62 | 2590139.4263 | 1115943.731 | 2590137.5617 | 1115950.5818
63 | 2590139.4263 | 1115943.731 | 2590146.4552 | 1115917.8067 | 2590148.2366 | 1115904.8637
64 | 2590139.4263 | 1115943.731 | 2590130.1953 | 1115954.2624 | 2590129.2031 | 1115955.9297
65 | 2590221.6292 | 1115897.5517 | 2590227.9153 | 1115903.6223
66 | 2590227.9153 | 1115903.6223 | 2590231.1437 | 1115895.0684 | 2590232.7773 | 1115878.9689 | 2590233.5792 | 1115864.1047 | 2590237.7161 | 1115858.7398 | 2590240.5334 | 1115858.424 | 2590240.1639 | 1115854.367
67 | 2590148.6072 | 1115897.8378 | 2590148.4998 | 1115902.9516 | 2590148.2366 | 1115904.8637
68 | 2590148.6072 | 1115897.8378 | 2590148.7294 | 1115892.3126 | 2590149.4747 | 1115861.9298
69 | 2590173.4929 | 1115839.2237 | 2590165.6654 | 1115863.1817 | 2590158.0246 | 1115878.4684 | 2590153.6976 | 1115890.2368 | 2590148.6072 | 1115897.8378
70 | 2590150.5381 | 1115818.3844 | 2590149.4747 | 1115861.9298
71 | 2590149.4747 | 1115861.9298 | 2590131.6841 | 1115858.0095
72 | 2590240.1639 | 1115854.367 | 2590237.6251 | 1115850.2247 | 2590234.7986 | 1115849.6512 | 2590228.5921 | 1115854.6193 | 2590224.4613 | 1115858.9615 | 2590223.1671 | 1115863.146
73 | 2590240.1639 | 1115854.367 | 2590238.9533 | 1115840.9513 | 2590241.3113 | 1115828.8081 | 2590246.3979 | 1115822.8067
74 | 2590240.1639 | 1115854.367 | 2590240.5334 | 1115858.424 | 2590245.1645 | 1115857.894 | 2590250.3068 | 1115863.1549 | 2590252.4029 | 1115875.1241 | 2590252.9068 | 1115885.9397 | 2590258.6103 | 1115880.2832 | 2590263.639 | 1115867.8356 | 2590283.2101 | 1115849.4615 | 2590289.7743 | 1115841.2469
75 | 2590246.3979 | 1115822.8067 | 2590252.8691 | 1115815.1716 | 2590259.8302 | 1115809.5716
76 | 2590278.2489 | 1115827.292 | 2590283.3531 | 1115828.0619 | 2590286.6713 | 1115831.9807 | 2590289.7743 | 1115841.2469
77 | 2590092.8796 | 1115924.765 | 2590094.9304 | 1115916.3351 | 2590096.785 | 1115908.0835 | 2590097.9386 | 1115903.8166
78 | 2590047.1656 | 1115957.0785 | 2590055.8164 | 1115969.2035 | 2590063.4816 | 1115973.5262 | 2590072.4625 | 1115975.2011 | 2590078.0478 | 1115972.9241 | 2590081.769 | 1115968.3713 | 2590083.8273 | 1115961.9759 | 2590092.8796 | 1115924.765
79 | 2590107.2024 | 1115869.5514 | 2590097.9386 | 1115903.8166
80 | 2590136.0359 | 1115817.0369 | 2590135.3584 | 1115816.9975 | 2590131.6313 | 1115818.0375 | 2590129.3576 | 1115820.309 | 2590125.2296 | 1115831.0433 | 2590122.5536 | 1115837.4508 | 2590113.4571 | 1115850.0609 | 2590111.1875 | 1115854.8114 | 2590107.2024 | 1115869.5514
81 | 2590150.5381 | 1115818.3844 | 2590141.4963 | 1115817.3543 | 2590136.0359 | 1115817.0369
82 | 2590150.5381 | 1115818.3844 | 2590150.6684 | 1115813.0593 | 2590151.894 | 1115802.541 | 2590159.337 | 1115793.6356 | 2590162.2269 | 1115790.5293
83 | 2590209.4144 | 1115664.2679 | 2590214.5202 | 1115660.1488
84 | 2590226.2558 | 1115652.2457 | 2590222.6141 | 1115653.619 | 2590214.5202 | 1115660.1488
85 | 2590209.4144 | 1115664.2679 | 2590205.2349 | 1115657.7382 | 2590202.9427 | 1115653.4509 | 2590203.1128 | 1115648.8817 | 2590203.7762 | 1115647.0036
86 | 2590193.8524 | 1115693.8078 | 2590204.0496 | 1115683.6528 | 2590208.8403 | 1115676.7305 | 2590209.2471 | 1115670.5379 | 2590206.7545 | 1115666.4177 | 2590209.4144 | 1115664.2679
87 | 2590170.5944 | 1115686.0976 | 2590185.6496 | 1115677.1908 | 2590202.6158 | 1115666.0132 | 2590206.7545 | 1115666.4177 | 2590209.4144 | 1115664.2679
88 | 2590226.2558 | 1115652.2457 | 2590239.1715 | 1115647.3667 | 2590254.4287 | 1115672.4543 | 2590259.824 | 1115681.3277
89 | 2590186.2774 | 1115702.291 | 2590187.7557 | 1115699.8874 | 2590193.8524 | 1115693.8078
90 | 2590193.8524 | 1115693.8078 | 2590214.34 | 1115716.6113
91 | 2590148.04 | 1115697.8625 | 2590165.3807 | 1115689.1854 | 2590170.5944 | 1115686.0976
92 | 2590170.5944 | 1115686.0976 | 2590172.7494 | 1115679.8329
93 | 2590259.824 | 1115681.3277 | 2590285.7645 | 1115676.9947
94 | 2590259.824 | 1115681.3277 | 2590261.2406 | 1115683.6599 | 2590267.5178 | 1115694.5274
95 | 2590186.2774 | 1115702.291 | 2590173.4151 | 1115711.4165 | 2590163.7555 | 1115723.0443
96 | 2590159.2951 | 1115768.0453 | 2590172.2374 | 1115732.4177 | 2590179.6633 | 1115713.0071 | 2590186.2774 | 1115702.291
97 | 2590148.04 | 1115697.8625 | 2590129.7968 | 1115706.9969
98 | 2590126.2996 | 1115725.7786 | 2590136.8386 | 1115712.3435 | 2590148.04 | 1115697.8625
99 | 2590175.2891 | 1115672.4498 | 2590172.7494 | 1115679.8329
100 | 2590284.4416 | 1115689.6142 | 2590288.3702 | 1115684.2385 | 2590285.7645 | 1115676.9947
101 | 2590300.8456 | 1115674.4691 | 2590285.7645 | 1115676.9947
102 | 2590274.8663 | 1115707.2495 | 2590267.5178 | 1115694.5274
103 | 2590132.0313 | 1115760.7753 | 2590138.4502 | 1115753.5056 | 2590163.7555 | 1115723.0443
104 | 2590159.2951 | 1115768.0453 | 2590178.5283 | 1115755.4187
105 | 2590159.2951 | 1115768.0453 | 2590153.1197 | 1115792.0005 | 2590151.894 | 1115802.541 | 2590159.337 | 1115793.6356 | 2590162.2269 | 1115790.5293
106 | 2590136.3598 | 1115683.9748 | 2590138.1117 | 1115688.363 | 2590138.1173 | 1115691.7424 | 2590132.9945 | 1115698.5097 | 2590130.3443 | 1115701.8935 | 2590129.7968 | 1115706.9969
107 | 2590098.6535 | 1115725.535 | 2590110.3437 | 1115717.3562 | 2590128.9637 | 1115707.4096 | 2590129.7968 | 1115706.9969
108 | 2590303.2728 | 1115681.1129 | 2590300.8456 | 1115674.4691
109 | 2590277.5062 | 1115711.8252 | 2590274.8663 | 1115707.2495
110 | 2590088.2648 | 1115845.2381 | 2590090.3694 | 1115836.1436
111 | 2590090.3694 | 1115836.1436 | 2590093.7244 | 1115821.646 | 2590102.5981 | 1115800.332 | 2590112.8875 | 1115782.9864
112 | 2590112.8875 | 1115782.9864 | 2590113.8459 | 1115781.3708 | 2590124.0515 | 1115769.8127
113 | 2590132.0313 | 1115760.7753 | 2590124.0515 | 1115769.8127
114 | 2590118.6898 | 1115755.3056 | 2590132.0313 | 1115760.7753
115 | 2590162.2269 | 1115790.5293 | 2590165.9452 | 1115784.1312
116 | 2590277.5062 | 1115711.8252 | 2590285.7259 | 1115715.2025 | 2590293.3923 | 1115715.3902 | 2590319.9018 | 1115710.1653
117 | 2590364.002 | 1115663.3621 | 2590352.1158 | 1115665.1487 | 2590347.7743 | 1115668.2461 | 2590343.8447 | 1115672.9992 | 2590327.4916 | 1115676.7384
118 | 2590093.7954 | 1115728.9336 | 2590104.9612 | 1115712.0104
119 | 2590093.7954 | 1115728.9336 | 2590079.6068 | 1115743.5086
120 | 2590093.7954 | 1115728.9336 | 2590098.6535 | 1115725.535
121 | 2590073.3712 | 1115772.9334 | 2590079.6068 | 1115743.5086
122 | 2590053.1908 | 1115786.8291 | 2590065.6871 | 1115762.0074 | 2590078.0885 | 1115745.0674 | 2590079.6068 | 1115743.5086
123 | 2590098.6535 | 1115725.535 | 2590097.2268 | 1115735.8313 | 2590091.4722 | 1115747.9912 | 2590084.7911 | 1115755.4059 | 2590080.6992 | 1115772.5913
124 | 2590053.1908 | 1115786.8291 | 2590051.009 | 1115774.6156 | 2590056.5768 | 1115761.6
125 | 2590053.1908 | 1115786.8291 | 2590023.4894 | 1115845.8185
126 | 2590053.1908 | 1115786.8291 | 2590060.7814 | 1115792.5527 | 2590064.6421 | 1115797.6711 | 2590064.9364 | 1115802.8732 | 2590061.5149 | 1115815.39
127 | 2590023.4894 | 1115845.8185 | 2590023.3952 | 1115854.1227 | 2590022.9937 | 1115863.4169 | 2590021.1445 | 1115870.2344
128 | 2589986.097 | 1115903.2423 | 2589995.0918 | 1115894.6342 | 2590004.182 | 1115883.0578 | 2590012.8556 | 1115866.9466 | 2590023.4894 | 1115845.8185
129 | 2590054.0883 | 1115846.8306 | 2590057.9381 | 1115828.4751 | 2590061.5149 | 1115815.39
130 | 2589947.3389 | 1115940.3346 | 2589962.4003 | 1115925.9206
131 | 2589923.3947 | 1115934.6403 | 2589927.6674 | 1115941.392 | 2589932.6459 | 1115945.5079 | 2589935.7729 | 1115945.825 | 2589939.2681 | 1115944.6742 | 2589947.1277 | 1115940.5368 | 2589947.3389 | 1115940.3346
132 | 2589986.097 | 1115903.2423 | 2589962.4003 | 1115925.9206
133 | 2589923.3947 | 1115934.6403 | 2589930.7672 | 1115930.0256 | 2589943.8692 | 1115921.644 | 2589955.8971 | 1115912.664 | 2589962.7341 | 1115906.305 | 2589967.7035 | 1115900.4049 | 2589971.0837 | 1115895.1077 | 2589974.3174 | 1115889.8887 | 2589976.4768 | 1115883.9599 | 2589978.0959 | 1115878.0988
134 | 2589923.3947 | 1115934.6403 | 2589915.719 | 1115937.9437 | 2589909.0991 | 1115940.1336 | 2589902.7333 | 1115941.9785
135 | 2589986.097 | 1115903.2423 | 2589993.6322 | 1115880.3851
136 | 2589978.0959 | 1115878.0988 | 2589979.1727 | 1115871.0602 | 2589979.8634 | 1115864 | 2589979.9735 | 1115837.4423 | 2589987.3386 | 1115832.9278 | 2589994.1463 | 1115818.2648 | 2589997.8689 | 1115814.5457 | 2590000.2854 | 1115814.6306
137 | 2589978.0959 | 1115878.0988 | 2589975.7719 | 1115877.9026 | 2589973.8279 | 1115878.7951 | 2589972.2939 | 1115880.0983 | 2589967.5486 | 1115886.2093 | 2589960.7517 | 1115893.4353 | 2589954.0756 | 1115899.0158 | 2589949.4796 | 1115902.025 | 2589945.2114 | 1115902.5546 | 2589941.2813 | 1115902.1499 | 2589934.7472 | 1115900.3488 | 2589926.6683 | 1115897.9834 | 2589922.9698 | 1115897.6228 | 2589917.8028 | 1115898.9506
138 | 2589921.4448 | 1115927.3622 | 2589904.4737 | 1115934.8165 | 2589902.3314 | 1115937.0768 | 2589902.1106 | 1115938.9448 | 2589902.7333 | 1115941.9785
139 | 2589876.936 | 1115934.2515 | 2589898.6387 | 1115940.1178 | 2589902.7333 | 1115941.9785
140 | 2590000.2854 | 1115814.6306 | 2590002.2207 | 1115817.8401 | 2590000.785 | 1115822.5892
141 | 2590000.2854 | 1115814.6306 | 2590001.311 | 1115814.6701
142 | 2589991.7297 | 1115776.3704 | 2589984.45 | 1115804.3408 | 2589981.331 | 1115818.2083 | 2589980.3497 | 1115826.9365 | 2589980.2821 | 1115828.0594 | 2589979.9966 | 1115832.74 | 2589979.9735 | 1115837.4423 | 2589987.3386 | 1115832.9278 | 2589994.1463 | 1115818.2648 | 2589997.8689 | 1115814.5457 | 2590000.2854 | 1115814.6306
143 | 2589917.8028 | 1115898.9506 | 2589893.0152 | 1115905.3204
144 | 2589876.936 | 1115934.2515 | 2589753.1732 | 1116012.2106
145 | 2589991.7297 | 1115776.3704 | 2589986.7111 | 1115780.6476 | 2589985.1143 | 1115785.9962
146 | 2589985.1143 | 1115785.9962 | 2589981.8898 | 1115796.7969 | 2589977.1036 | 1115816.6206
147 | 2589753.1732 | 1116012.2106 | 2589748.5445 | 1116014.0749 | 2589742.0628 | 1116015.7535 | 2589734.6987 | 1116016.0662 | 2589728.4753 | 1116015.436
148 | 2590054.0883 | 1115846.8306 | 2590050.2724 | 1115865.0246
149 | 2590043.8827 | 1115889.2149 | 2590048.2029 | 1115874.8919 | 2590050.2724 | 1115865.0246
150 | 2590030.1112 | 1115926.1795 | 2590034.0657 | 1115915.6131 | 2590041.8994 | 1115895.7904 | 2590043.8827 | 1115889.2149
151 | 2590030.1112 | 1115926.1795 | 2590022.3282 | 1115946.9755
152 | 2589974.0924 | 1115829.0924 | 2589977.1036 | 1115816.6206
153 | 2589974.0924 | 1115829.0924 | 2589967.2509 | 1115832.7501 | 2589956.5065 | 1115843.0954 | 2589949.4825 | 1115853.012
154 | 2589974.0924 | 1115829.0924 | 2589968.5331 | 1115856.2818

## bus_geodata
| x | y | coords
0 | 2590106.6046 | 1116336.8251
1 | 2590098.398 | 1116343.4618
2 | 2590179.8028 | 1116327.3648
3 | 2589985.7661 | 1116339.2463
4 | 2590133.7612 | 1116109.0439
5 | 2590139.9647 | 1116102.4304
6 | 2590133.7209 | 1116084.4874
7 | 2589947.5424 | 1116465.2943
8 | 2590229.2487 | 1116372.2507
9 | 2590304.3517 | 1116363.9472
10 | 2590144.1397 | 1116389.8858
11 | 2590059.3228 | 1116446.1101
12 | 2590369.1393 | 1116363.6652
13 | 2590134.2256 | 1116426.5477
14 | 2590389.1041 | 1116337.0944
15 | 2590390.9231 | 1116331.9832
16 | 2590397.489 | 1116315.6672
17 | 2590470.9084 | 1116104.4754
18 | 2590470.0566 | 1116102.7759
19 | 2590522.701 | 1116081.0487
20 | 2590246.7605 | 1116075.4318
21 | 2590244.9065 | 1116051.6317
22 | 2590066.1383 | 1116380.3999
23 | 2590132.146 | 1116427.5254
24 | 2590175.4697 | 1116423.7127
25 | 2590403.6428 | 1116062.5255
26 | 2590551.0442 | 1116015.0827
27 | 2590391.251 | 1116027.8052
28 | 2590526.955 | 1115893.8333
29 | 2590626.6675 | 1115985.6135
30 | 2590390.2834 | 1115963.7456
31 | 2590363.7609 | 1115979.9183
32 | 2590353.9515 | 1115986.7121
33 | 2590729.4443 | 1116023.0754
34 | 2590754.6138 | 1115899.8093
35 | 2590665.9942 | 1115798.5076
36 | 2590709.7346 | 1116072.2189
37 | 2590738.9122 | 1116060.4125
38 | 2590452.8127 | 1115802.7557
39 | 2590381.5277 | 1115766.5161
40 | 2590397.2734 | 1115705.185
41 | 2590480.1008 | 1115728.2868
42 | 2590420.7181 | 1115684.971
43 | 2590411.5605 | 1115698.0919
44 | 2590395.6402 | 1115818.4322
45 | 2590368.7038 | 1115677.9173
46 | 2590301.469 | 1115820.6949
47 | 2590249.4734 | 1116006.0822
48 | 2590233.2294 | 1116028.8086
49 | 2590179.7066 | 1115947.3112
50 | 2590128.0872 | 1115986.8264
51 | 2590061.2634 | 1116074.3806
52 | 2590100.7756 | 1116047.4194
53 | 2590109.9897 | 1116020.5127
54 | 2590099.2929 | 1116048.0149
55 | 2590117.7999 | 1116002.9416
56 | 2590137.5617 | 1115950.5819
57 | 2590054.5786 | 1116054.9305
58 | 2590149.845 | 1115941.8463
59 | 2590139.4263 | 1115943.731
60 | 2590196.6058 | 1115919.2699
61 | 2590227.9153 | 1115903.6223
62 | 2590129.2031 | 1115955.9297
63 | 2590148.2366 | 1115904.8637
64 | 2590148.6072 | 1115897.8378
65 | 2590149.4747 | 1115861.9298
66 | 2590173.4929 | 1115839.2238
67 | 2590223.1671 | 1115863.146
68 | 2590240.1639 | 1115854.367
69 | 2590246.3979 | 1115822.8067
70 | 2590289.7743 | 1115841.2469
71 | 2590259.8302 | 1115809.5716
72 | 2590221.6292 | 1115897.5517
73 | 2590278.2489 | 1115827.292
74 | 2590092.8796 | 1115924.765
75 | 2590097.9386 | 1115903.8166
76 | 2590047.1656 | 1115957.0785
77 | 2590107.2024 | 1115869.5514
78 | 2590136.0359 | 1115817.0369
79 | 2590150.5381 | 1115818.3844
80 | 2590214.5202 | 1115660.1488
81 | 2590209.4144 | 1115664.2679
82 | 2590226.2558 | 1115652.2457
83 | 2590203.7762 | 1115647.0036
84 | 2590193.8524 | 1115693.8078
85 | 2590170.5944 | 1115686.0976
86 | 2590259.824 | 1115681.3277
87 | 2590186.2774 | 1115702.291
88 | 2590214.34 | 1115716.6113
89 | 2590148.04 | 1115697.8625
90 | 2590172.7494 | 1115679.8329
91 | 2590285.7645 | 1115676.9947
92 | 2590267.5178 | 1115694.5274
93 | 2590163.7555 | 1115723.0443
94 | 2590159.2951 | 1115768.0453
95 | 2590129.7968 | 1115706.9969
96 | 2590126.2996 | 1115725.7786
97 | 2590175.2891 | 1115672.4498
98 | 2590284.4416 | 1115689.6142
99 | 2590300.8456 | 1115674.4691
100 | 2590274.8663 | 1115707.2495
101 | 2590088.2648 | 1115845.2381
102 | 2590090.3694 | 1115836.1436
103 | 2590112.8875 | 1115782.9864
104 | 2590124.0515 | 1115769.8127
105 | 2590132.0313 | 1115760.7753
106 | 2590131.6841 | 1115858.0095
107 | 2590162.2269 | 1115790.5293
108 | 2590165.9452 | 1115784.1312
109 | 2590178.5283 | 1115755.4187
110 | 2590118.6898 | 1115755.3056
111 | 2590277.5062 | 1115711.8252
112 | 2590319.9018 | 1115710.1653
113 | 2590303.2728 | 1115681.1129
114 | 2590352.3643 | 1115690.1162
115 | 2590364.002 | 1115663.3621
116 | 2590327.4916 | 1115676.7384
117 | 2590104.9612 | 1115712.0104
118 | 2590093.7954 | 1115728.9336
119 | 2590079.6068 | 1115743.5086
120 | 2590098.6535 | 1115725.535
121 | 2590073.3712 | 1115772.9334
122 | 2590053.1908 | 1115786.8291
123 | 2590080.6992 | 1115772.5913
124 | 2590056.5768 | 1115761.6
125 | 2590023.4894 | 1115845.8185
126 | 2590061.5149 | 1115815.39
127 | 2590136.3598 | 1115683.9748
128 | 2589947.3389 | 1115940.3346
129 | 2589962.4003 | 1115925.9206
130 | 2589923.3947 | 1115934.6403
131 | 2589986.097 | 1115903.2423
132 | 2589978.0959 | 1115878.0988
133 | 2589902.7333 | 1115941.9785
134 | 2589993.6322 | 1115880.3851
135 | 2590000.2854 | 1115814.6306
136 | 2589917.8028 | 1115898.9506
137 | 2589921.4448 | 1115927.3622
138 | 2589876.936 | 1115934.2515
139 | 2590021.1445 | 1115870.2344
140 | 2589991.7297 | 1115776.3704
141 | 2589985.1143 | 1115785.9962
142 | 2590000.785 | 1115822.5892
143 | 2590001.311 | 1115814.6701
144 | 2589893.0152 | 1115905.3204
145 | 2589753.1732 | 1116012.2106
146 | 2590054.0883 | 1115846.8306
147 | 2590050.2724 | 1115865.0246
148 | 2590043.8827 | 1115889.2149
149 | 2590030.1112 | 1115926.1795
150 | 2590022.3282 | 1115946.9755
151 | 2589977.1036 | 1115816.6206
152 | 2589728.4753 | 1116015.436
153 | 2589974.0924 | 1115829.0924
154 | 2589949.4825 | 1115853.012
155 | 2589968.5331 | 1115856.2818
156 | 2590148.6072 | 1115897.8378

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1