## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6024-8_1_4_node_113 | 0.4 | n |  | TRUE
1 | bus_LV_6024-8_1_4_node_114 | 0.4 | n |  | TRUE
2 | bus_LV_6024-8_1_4_node_26 | 0.4 | n |  | TRUE
3 | bus_LV_6024-8_1_4_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_6024-8_1_4_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_6024-8_1_4_node_118 | 0.4 | n |  | TRUE
6 | bus_LV_6024-8_1_4_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_6024-8_1_4_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_6024-8_1_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_6024-8_1_4_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_6024-8_1_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_6024-8_1_4_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_6024-8_1_4_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_6024-8_1_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_6024-8_1_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_6024-8_1_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_6024-8_1_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_6024-8_1_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_6024-8_1_4_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_6024-8_1_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_6024-8_1_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_6024-8_1_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_6024-8_1_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_6024-8_1_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_6024-8_1_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_6024-8_1_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_6024-8_1_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_6024-8_1_4_node_117 | 0.4 | n |  | TRUE
28 | bus_LV_6024-8_1_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_6024-8_1_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_6024-8_1_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_6024-8_1_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_6024-8_1_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_6024-8_1_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_6024-8_1_4_node_121 | 0.4 | n |  | TRUE
35 | bus_LV_6024-8_1_4_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_6024-8_1_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_6024-8_1_4_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_6024-8_1_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_6024-8_1_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_6024-8_1_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_6024-8_1_4_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_6024-8_1_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_6024-8_1_4_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_6024-8_1_4_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_6024-8_1_4_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_6024-8_1_4_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_6024-8_1_4_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_6024-8_1_4_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_6024-8_1_4_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_6024-8_1_4_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_6024-8_1_4_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_6024-8_1_4_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_6024-8_1_4_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_6024-8_1_4_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_6024-8_1_4_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_6024-8_1_4_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_6024-8_1_4_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_6024-8_1_4_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_6024-8_1_4_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_6024-8_1_4_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_6024-8_1_4_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_6024-8_1_4_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_6024-8_1_4_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_6024-8_1_4_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_6024-8_1_4_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_6024-8_1_4_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_6024-8_1_4_node_122 | 0.4 | n |  | TRUE
68 | bus_LV_6024-8_1_4_node_100 | 0.4 | n |  | TRUE
69 | bus_LV_6024-8_1_4_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_6024-8_1_4_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_6024-8_1_4_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_6024-8_1_4_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_6024-8_1_4_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_6024-8_1_4_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_6024-8_1_4_node_119 | 0.4 | n |  | TRUE
76 | bus_LV_6024-8_1_4_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_6024-8_1_4_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_6024-8_1_4_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_6024-8_1_4_node_102 | 0.4 | n |  | TRUE
80 | bus_LV_6024-8_1_4_node_98 | 0.4 | n |  | TRUE
81 | bus_LV_6024-8_1_4_node_104 | 0.4 | n |  | TRUE
82 | bus_LV_6024-8_1_4_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_6024-8_1_4_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_6024-8_1_4_node_112 | 0.4 | n |  | TRUE
85 | bus_LV_6024-8_1_4_node_110 | 0.4 | n |  | TRUE
86 | bus_LV_6024-8_1_4_node_116 | 0.4 | n |  | TRUE
87 | bus_LV_6024-8_1_4_node_111 | 0.4 | n |  | TRUE
88 | bus_LV_6024-8_1_4_node_108 | 0.4 | n |  | TRUE
89 | bus_LV_6024-8_1_4_node_105 | 0.4 | n |  | TRUE
90 | bus_LV_6024-8_1_4_node_106 | 0.4 | n |  | TRUE
91 | bus_LV_6024-8_1_4_node_107 | 0.4 | n |  | TRUE
92 | bus_LV_6024-8_1_4_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_6024-8_1_4_node_115 | 0.4 | n |  | TRUE
94 | bus_MV_89_0_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6024-8_1_4_load_113 | 0 | 0.0017586 | 0.00044076 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6024-8_1_4_load_114 | 1 | 0.0020801 | 0.00052131 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6024-8_1_4_load_26 | 2 | 0.010223 | 0.0025622 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6024-8_1_4_load_29 | 4 | 0.0012609 | 0.00031602 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6024-8_1_4_load_118 | 5 | 0.0023298 | 0.00058391 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6024-8_1_4_load_51 | 7 | 0.0013688 | 0.00034306 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6024-8_1_4_load_52 | 8 | 0.0014071 | 0.00035264 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6024-8_1_4_load_54 | 14 | 0.0019801 | 0.00049627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6024-8_1_4_load_30 | 15 | 0.0010709 | 0.0002684 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6024-8_1_4_load_31 | 16 | 0.0008496 | 0.00021293 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6024-8_1_4_load_34 | 17 | 0.0010354 | 0.00025949 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6024-8_1_4_load_35 | 18 | 0.0013056 | 0.00032721 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6024-8_1_4_load_39 | 19 | 0.0010374 | 0.00026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6024-8_1_4_load_42 | 20 | 0.0030928 | 0.00077514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6024-8_1_4_load_37 | 21 | 0.0039863 | 0.00099906 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6024-8_1_4_load_40 | 23 | 0.002773 | 0.00069497 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6024-8_1_4_load_48 | 24 | 0.00062098 | 0.00015563 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6024-8_1_4_load_49 | 25 | 0.0013447 | 0.00033701 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6024-8_1_4_load_56 | 26 | 0.0015925 | 0.00039913 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6024-8_1_4_load_117 | 27 | 0.0012192 | 0.00030556 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6024-8_1_4_load_44 | 30 | 0.003051 | 0.00076466 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6024-8_1_4_load_45 | 31 | 0.00134 | 0.00033585 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6024-8_1_4_load_47 | 33 | 0.0017691 | 0.00044337 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6024-8_1_4_load_121 | 34 | 0.0014258 | 0.00035734 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6024-8_1_4_load_60 | 35 | 0.0010754 | 0.00026953 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6024-8_1_4_load_53 | 37 | 0.0011932 | 0.00029906 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6024-8_1_4_load_55 | 38 | 0.0020283 | 0.00050834 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6024-8_1_4_load_68 | 40 | 0.0018531 | 0.00046443 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6024-8_1_4_load_63 | 41 | 0.00060621 | 0.00015193 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6024-8_1_4_load_62 | 42 | 0.0013053 | 0.00032715 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6024-8_1_4_load_65 | 44 | 0.002285 | 0.00057268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6024-8_1_4_load_69 | 46 | 0.0017818 | 0.00044657 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6024-8_1_4_load_70 | 47 | 0.003321 | 0.00083232 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6024-8_1_4_load_71 | 48 | 0.00093712 | 0.00023486 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6024-8_1_4_load_91 | 49 | 0.0041049 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6024-8_1_4_load_75 | 51 | 0.0033565 | 0.00084122 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6024-8_1_4_load_73 | 52 | 0.0030716 | 0.00076981 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6024-8_1_4_load_85 | 54 | 0.0032653 | 0.00081836 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6024-8_1_4_load_95 | 56 | 0.0016157 | 0.00040492 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6024-8_1_4_load_86 | 57 | 0.0031782 | 0.00079654 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6024-8_1_4_load_103 | 58 | 0.0029031 | 0.0007276 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6024-8_1_4_load_96 | 60 | 0.0029382 | 0.00073638 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6024-8_1_4_load_76 | 61 | 0.0011261 | 0.00028223 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6024-8_1_4_load_77 | 62 | 0.002483 | 0.00062231 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6024-8_1_4_load_78 | 63 | 0.0020982 | 0.00052587 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6024-8_1_4_load_88 | 65 | 0.0022636 | 0.0005673 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6024-8_1_4_load_122 | 67 | 0.0034754 | 0.00087101 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6024-8_1_4_load_100 | 68 | 0.0015873 | 0.00039782 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6024-8_1_4_load_80 | 70 | 0.0010972 | 0.00027499 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6024-8_1_4_load_81 | 71 | 0.0022658 | 0.00056786 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6024-8_1_4_load_83 | 73 | 0.0020477 | 0.0005132 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6024-8_1_4_load_94 | 74 | 0.0040485 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6024-8_1_4_load_119 | 75 | 0.0021025 | 0.00052694 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6024-8_1_4_load_87 | 76 | 0.0017727 | 0.00044428 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6024-8_1_4_load_92 | 77 | 0.001937 | 0.00048547 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6024-8_1_4_load_93 | 78 | 0.0024969 | 0.00062579 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6024-8_1_4_load_102 | 79 | 0.0024764 | 0.00062063 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6024-8_1_4_load_98 | 80 | 0.0018648 | 0.00046737 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6024-8_1_4_load_104 | 81 | 0.001735 | 0.00043483 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6024-8_1_4_load_99 | 82 | 0.0011899 | 0.00029822 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6024-8_1_4_load_112 | 84 | 0.0010989 | 0.00027542 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6024-8_1_4_load_116 | 86 | 0.0024402 | 0.00061156 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6024-8_1_4_load_111 | 87 | 0.0032465 | 0.00081365 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6024-8_1_4_load_108 | 88 | 0.002067 | 0.00051804 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6024-8_1_4_load_105 | 89 | 0.0019222 | 0.00048175 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6024-8_1_4_load_106 | 90 | 0.0010523 | 0.00026374 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6024-8_1_4_load_107 | 91 | 0.0019559 | 0.00049019 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6024-8_1_4_load_109 | 92 | 0.0018592 | 0.00046596 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6024-8_1_4_load_115 | 93 | 0.0014479 | 0.00036287 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6024-8_1_4_line_0 |  | 0 | 1 | 0.0067385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6024-8_1_4_line_1 |  | 1 | 93 | 0.0007302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6024-8_1_4_line_2 |  | 2 | 3 | 0.053993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6024-8_1_4_line_3 |  | 3 | 4 | 0.10338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6024-8_1_4_line_4 |  | 4 | 9 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6024-8_1_4_line_5 |  | 5 | 6 | 0.022635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6024-8_1_4_line_6 |  | 6 | 24 | 0.14848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6024-8_1_4_line_7 |  | 6 | 28 | 0.073609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6024-8_1_4_line_8 |  | 7 | 8 | 0.01092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6024-8_1_4_line_9 |  | 8 | 14 | 0.010697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6024-8_1_4_line_10 |  | 9 | 10 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6024-8_1_4_line_11 |  | 9 | 11 | 0.012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6024-8_1_4_line_12 |  | 10 | 18 | 0.036854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6024-8_1_4_line_13 |  | 11 | 17 | 0.015125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6024-8_1_4_line_14 |  | 11 | 15 | 0.0063331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6024-8_1_4_line_15 |  | 12 | 13 | 0.005619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6024-8_1_4_line_16 |  | 12 | 14 | 0.061039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6024-8_1_4_line_17 |  | 13 | 35 | 0.1055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6024-8_1_4_line_18 |  | 13 | 25 | 0.035126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6024-8_1_4_line_19 |  | 15 | 16 | 0.00047332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6024-8_1_4_line_20 |  | 18 | 22 | 0.11918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6024-8_1_4_line_21 |  | 19 | 20 | 0.18877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6024-8_1_4_line_22 |  | 19 | 21 | 0.10517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6024-8_1_4_line_23 |  | 20 | 23 | 0.022303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6024-8_1_4_line_24 |  | 21 | 22 | 0.074191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6024-8_1_4_line_25 |  | 23 | 29 | 0.03303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6024-8_1_4_line_26 |  | 24 | 25 | 0.089336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6024-8_1_4_line_27 |  | 24 | 26 | 0.099715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6024-8_1_4_line_28 |  | 26 | 33 | 0.099284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6024-8_1_4_line_29 |  | 27 | 28 | 0.040885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6024-8_1_4_line_30 |  | 28 | 29 | 0.12474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6024-8_1_4_line_31 |  | 30 | 31 | 0.017841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6024-8_1_4_line_32 |  | 30 | 32 | 0.068095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6024-8_1_4_line_33 |  | 31 | 33 | 0.040744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6024-8_1_4_line_34 |  | 32 | 34 | 0.37938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6024-8_1_4_line_35 |  | 35 | 36 | 0.071822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6024-8_1_4_line_36 |  | 36 | 39 | 0.1503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6024-8_1_4_line_37 |  | 36 | 38 | 0.0048196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6024-8_1_4_line_38 |  | 37 | 38 | 0.049624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6024-8_1_4_line_39 |  | 39 | 40 | 0.035103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6024-8_1_4_line_40 |  | 39 | 41 | 0.0061389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6024-8_1_4_line_41 |  | 40 | 43 | 0.0080661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6024-8_1_4_line_42 |  | 41 | 42 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6024-8_1_4_line_43 |  | 43 | 46 | 0.0092784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6024-8_1_4_line_44 |  | 43 | 44 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6024-8_1_4_line_45 |  | 44 | 45 | 0.070694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6024-8_1_4_line_46 |  | 45 | 47 | 0.011083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6024-8_1_4_line_47 |  | 45 | 48 | 0.015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6024-8_1_4_line_48 |  | 46 | 49 | 0.008878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6024-8_1_4_line_49 |  | 47 | 50 | 0.059636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6024-8_1_4_line_50 |  | 48 | 51 | 0.0063318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6024-8_1_4_line_51 |  | 50 | 52 | 0.016958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6024-8_1_4_line_52 |  | 50 | 53 | 0.006781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6024-8_1_4_line_53 |  | 52 | 54 | 0.0038006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6024-8_1_4_line_54 |  | 53 | 55 | 0.10795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6024-8_1_4_line_55 |  | 53 | 56 | 0.0090994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6024-8_1_4_line_56 |  | 54 | 57 | 0.0085072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6024-8_1_4_line_57 |  | 55 | 58 | 0.04402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6024-8_1_4_line_58 |  | 55 | 59 | 0.0021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6024-8_1_4_line_59 |  | 56 | 60 | 0.015333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6024-8_1_4_line_60 |  | 57 | 76 | 0.021715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6024-8_1_4_line_61 |  | 58 | 81 | 0.049709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6024-8_1_4_line_62 |  | 59 | 67 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6024-8_1_4_line_63 |  | 59 | 64 | 0.050675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6024-8_1_4_line_64 |  | 61 | 62 | 0.028697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6024-8_1_4_line_65 |  | 61 | 63 | 0.048898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6024-8_1_4_line_66 |  | 62 | 64 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6024-8_1_4_line_67 |  | 64 | 65 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6024-8_1_4_line_68 |  | 64 | 66 | 0.021294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6024-8_1_4_line_69 |  | 66 | 68 | 0.028011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6024-8_1_4_line_70 |  | 66 | 69 | 0.14118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6024-8_1_4_line_71 |  | 68 | 79 | 0.03159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6024-8_1_4_line_72 |  | 68 | 80 | 0.05734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6024-8_1_4_line_73 |  | 69 | 75 | 0.18283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6024-8_1_4_line_74 |  | 69 | 72 | 0.058441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6024-8_1_4_line_75 |  | 70 | 71 | 0.0065034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6024-8_1_4_line_76 |  | 70 | 72 | 0.037006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6024-8_1_4_line_77 |  | 71 | 73 | 0.033254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6024-8_1_4_line_78 |  | 73 | 74 | 0.16881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6024-8_1_4_line_79 |  | 76 | 77 | 0.024107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6024-8_1_4_line_80 |  | 77 | 78 | 0.021276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6024-8_1_4_line_81 |  | 80 | 82 | 0.19524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6024-8_1_4_line_82 |  | 81 | 89 | 0.015467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6024-8_1_4_line_83 |  | 82 | 83 | 0.0038903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6024-8_1_4_line_84 |  | 83 | 84 | 0.019731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6024-8_1_4_line_85 |  | 83 | 85 | 0.013437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6024-8_1_4_line_86 |  | 84 | 86 | 0.023097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6024-8_1_4_line_87 |  | 85 | 87 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6024-8_1_4_line_88 |  | 85 | 88 | 0.066965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6024-8_1_4_line_89 |  | 86 | 93 | 0.0088595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6024-8_1_4_line_90 |  | 88 | 90 | 0.01322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6024-8_1_4_line_91 |  | 90 | 91 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6024-8_1_4_line_92 |  | 91 | 92 | 0.0079047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6024-8_1_4_trafo_67 | 0.63 MVA 20/0.4 kV | 94 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2587974.7571 | 1116257.1594 | 2587973.8386 | 1116254.7571 | 2587970.3388 | 1116252.496
1 | 2587970.3388 | 1116252.496 | 2587969.7255 | 1116252.0997
2 | 2587912.8473 | 1115455.4964 | 2587936.2949 | 1115467.333 | 2587952.0516 | 1115474.6939 | 2587961.4436 | 1115479.0101
3 | 2587912.8473 | 1115455.4964 | 2587888.9906 | 1115443.783 | 2587871.1039 | 1115436.9156 | 2587847.7048 | 1115430.115 | 2587833.7234 | 1115426.5193 | 2587820.5151 | 1115423.4445 | 2587815.4336 | 1115422.0319
4 | 2587797.6529 | 1115414.9199 | 2587804.1679 | 1115418.2194 | 2587811.9792 | 1115421.0717 | 2587815.4336 | 1115422.0319
5 | 2587589.8854 | 1115568.1424 | 2587571.7762 | 1115554.4952
6 | 2587470.9758 | 1115663.511 | 2587571.7762 | 1115554.4952
7 | 2587518.5493 | 1115504.6919 | 2587521.9688 | 1115511.8438 | 2587564.2842 | 1115545.4062 | 2587571.7762 | 1115554.4952
8 | 2587637.4574 | 1115789.959 | 2587632.4655 | 1115787.1961 | 2587627.4188 | 1115785.8837
9 | 2587617.3838 | 1115782.6262 | 2587618.2993 | 1115783.5123 | 2587627.4188 | 1115785.8837
10 | 2587797.6529 | 1115414.9199 | 2587797.8438 | 1115410.0838 | 2587797.3635 | 1115401.6584 | 2587798.0829 | 1115398.5665
11 | 2587786.4157 | 1115409.2621 | 2587795.2648 | 1115413.713 | 2587797.6529 | 1115414.9199
12 | 2587798.0829 | 1115398.5665 | 2587798.8024 | 1115395.4635 | 2587806.4482 | 1115389.056 | 2587815.127 | 1115378.0885 | 2587818.2775 | 1115368.9075
13 | 2587786.4157 | 1115409.2621 | 2587773.2326 | 1115401.8476
14 | 2587786.4157 | 1115409.2621 | 2587783.0367 | 1115414.6185
15 | 2587569.6373 | 1115744.9269 | 2587564.5064 | 1115742.603
16 | 2587569.6373 | 1115744.9269 | 2587577.0423 | 1115749.3582 | 2587590.8153 | 1115760.7243 | 2587604.4451 | 1115770.1008 | 2587608.9703 | 1115774.4826 | 2587617.3838 | 1115782.6262
17 | 2587564.5064 | 1115742.603 | 2587559.2951 | 1115742.5026 | 2587550.2725 | 1115743.5551 | 2587543.363 | 1115747.2823 | 2587533.4388 | 1115756.5963 | 2587517.9322 | 1115765.4995 | 2587506.0202 | 1115772.9612 | 2587502.8447 | 1115779.1598 | 2587502.8554 | 1115784.3179 | 2587509.715 | 1115797.5101 | 2587513.952 | 1115804.3158 | 2587516.2429 | 1115805.9171
18 | 2587564.5064 | 1115742.603 | 2587548.4865 | 1115734.7878 | 2587535.3444 | 1115723.5347
19 | 2587782.7842 | 1115415.0188 | 2587783.0367 | 1115414.6185
20 | 2587818.2775 | 1115368.9075 | 2587750.0952 | 1115271.1567
21 | 2587470.0615 | 1115451.0439 | 2587602.9312 | 1115316.9501
22 | 2587602.9312 | 1115316.9501 | 2587682.2391 | 1115247.8711
23 | 2587470.0615 | 1115451.0439 | 2587449.5006 | 1115442.4028
24 | 2587750.0952 | 1115271.1567 | 2587747.6872 | 1115271.5618 | 2587745.2925 | 1115270.9552 | 2587734.6802 | 1115265.174 | 2587724.3929 | 1115259.7589 | 2587719.9572 | 1115257.7892 | 2587716.1647 | 1115257.0188 | 2587711.1605 | 1115256.451 | 2587706.2663 | 1115256.8167 | 2587701.6195 | 1115257.3153 | 2587696.6002 | 1115256.892 | 2587690.7977 | 1115254.8362 | 2587682.2391 | 1115247.8711
25 | 2587418.7496 | 1115439.1784 | 2587422.4035 | 1115436.4805 | 2587429.442 | 1115435.2319 | 2587438.7662 | 1115437.8915 | 2587449.5006 | 1115442.4028
26 | 2587470.9758 | 1115663.511 | 2587474.2762 | 1115665.8633 | 2587495.3914 | 1115680.9268 | 2587509.8637 | 1115690.6238 | 2587512.8958 | 1115693.43 | 2587517.7302 | 1115697.8999 | 2587524.2423 | 1115707.28 | 2587533.3204 | 1115721.8017 | 2587535.3444 | 1115723.5347
27 | 2587470.9758 | 1115663.511 | 2587539.9239 | 1115591.474
28 | 2587539.9239 | 1115591.474 | 2587531.0554 | 1115586.2173 | 2587529.1539 | 1115585.0873 | 2587510.3653 | 1115571.4973 | 2587493.8864 | 1115554.8122 | 2587479.1577 | 1115544.5266 | 2587467.4932 | 1115537.5586 | 2587460.1326 | 1115533.1659
29 | 2587518.5493 | 1115504.6919 | 2587553.6667 | 1115525.7962
30 | 2587518.5493 | 1115504.6919 | 2587511.8576 | 1115490.7099 | 2587503.1894 | 1115480.4784 | 2587494.6258 | 1115475.9495 | 2587470.8005 | 1115472.2417 | 2587455.192 | 1115465.8933 | 2587441.415 | 1115453.0379 | 2587418.7496 | 1115439.1784
31 | 2587406.6175 | 1115511.4394 | 2587421.9468 | 1115513.475 | 2587424.1798 | 1115514.2892
32 | 2587348.563 | 1115476.0658 | 2587354.6562 | 1115480.5886 | 2587376.9637 | 1115493.1369 | 2587380.6053 | 1115495.6527 | 2587393.9732 | 1115504.8626 | 2587406.6175 | 1115511.4394 | 2587406.6175 | 1115511.4394
33 | 2587424.1798 | 1115514.2892 | 2587434.6179 | 1115518.0953 | 2587451.5849 | 1115528.0648 | 2587460.1326 | 1115533.1659
34 | 2587348.563 | 1115476.0658 | 2587092.59 | 1115756.0805
35 | 2587582.4046 | 1115830.1092 | 2587572.3563 | 1115827.8955 | 2587570.6494 | 1115827.521 | 2587559.5558 | 1115827.544 | 2587551.805 | 1115823.8471 | 2587537.7822 | 1115814.7938 | 2587532.6678 | 1115812.9479 | 2587524.463 | 1115809.9968 | 2587519.5494 | 1115808.2284 | 2587516.2429 | 1115805.9171
36 | 2587582.4046 | 1115830.1092 | 2587564.0423 | 1115835.5831 | 2587535.4776 | 1115838.9438 | 2587524.288 | 1115837.3218 | 2587518.8982 | 1115836.7104 | 2587516.3814 | 1115840.3841 | 2587516.1474 | 1115842.9525 | 2587519.2159 | 1115848.4489 | 2587535.0885 | 1115859.8105 | 2587546.2991 | 1115867.8246 | 2587555.9225 | 1115877.4316 | 2587566.923 | 1115888.4143 | 2587569.9146 | 1115897.8239
37 | 2587582.4046 | 1115830.1092 | 2587587.1056 | 1115829.0465
38 | 2587636.0956 | 1115822.4043 | 2587611.0402 | 1115823.6359 | 2587587.1056 | 1115829.0465
39 | 2587569.9146 | 1115897.8239 | 2587576.0998 | 1115917.2874 | 2587580.2581 | 1115927.1948 | 2587583.1818 | 1115929.8296
40 | 2587569.9146 | 1115897.8239 | 2587574.2636 | 1115893.4912
41 | 2587590.0168 | 1115931.3212 | 2587586.1903 | 1115932.5408 | 2587583.1818 | 1115929.8296
42 | 2587591.6068 | 1115876.2145 | 2587590.4999 | 1115877.3158 | 2587574.2636 | 1115893.4912
43 | 2587590.0168 | 1115931.3212 | 2587589.669 | 1115940.5931
44 | 2587590.0168 | 1115931.3212 | 2587592.6861 | 1115930.4708 | 2587601.4988 | 1115925.0833 | 2587613.7487 | 1115921.6972
45 | 2587677.4711 | 1115944.4591 | 2587657.8304 | 1115928.6804 | 2587655.1261 | 1115927.5743 | 2587640.7088 | 1115921.701 | 2587617.9345 | 1115921.381 | 2587615.0318 | 1115921.3425 | 2587613.7487 | 1115921.6972
46 | 2587677.4711 | 1115944.4591 | 2587681.6003 | 1115947.7745 | 2587686.0311 | 1115951.3339 | 2587686.0974 | 1115951.4141
47 | 2587677.4711 | 1115944.4591 | 2587664.2539 | 1115952.922
48 | 2587589.3363 | 1115949.4648 | 2587589.669 | 1115940.5931
49 | 2587719.9275 | 1115999.8219 | 2587716.565 | 1115997.7055 | 2587713.2402 | 1115991.3091 | 2587701.184 | 1115969.6675 | 2587694.1183 | 1115961.1222 | 2587686.0974 | 1115951.4141
50 | 2587658.9215 | 1115956.3363 | 2587664.2539 | 1115952.922
51 | 2587719.9275 | 1115999.8219 | 2587732.2991 | 1115988.2233
52 | 2587725.7784 | 1116003.2672 | 2587723.4059 | 1116002.027 | 2587719.9275 | 1115999.8219
53 | 2587735.9079 | 1115988.3161 | 2587735.2656 | 1115987.9625 | 2587732.5714 | 1115987.968 | 2587732.2991 | 1115988.2233
54 | 2587725.7784 | 1116003.2672 | 2587749.3179 | 1116015.592 | 2587776.8853 | 1116027.0972 | 2587787.6608 | 1116034.0898 | 2587788.297 | 1116039.4579 | 2587784.37 | 1116044.4238 | 2587766.5674 | 1116047.7616 | 2587757.7713 | 1116049.9139
55 | 2587725.7784 | 1116003.2672 | 2587724.0362 | 1116004.5047 | 2587717.1799 | 1116003.2932
56 | 2587735.9079 | 1115988.3161 | 2587743.3604 | 1115992.4189
57 | 2587757.7713 | 1116049.9139 | 2587799.9241 | 1116062.6002
58 | 2587755.7266 | 1116050.4183 | 2587757.7713 | 1116049.9139
59 | 2587702.081 | 1116000.6254 | 2587717.1799 | 1116003.2932
60 | 2587762.383 | 1116002.8912 | 2587743.3604 | 1115992.4189
61 | 2587799.9241 | 1116062.6002 | 2587812.0354 | 1116066.2452 | 2587815.8284 | 1116067.5715 | 2587847.0209 | 1116078.475
62 | 2587739.0292 | 1116046.7838 | 2587755.7266 | 1116050.4183
63 | 2587712.4736 | 1116065.7918 | 2587716.8435 | 1116069.8071 | 2587722.7886 | 1116062.7026 | 2587724.084 | 1116061.9773 | 2587736.0204 | 1116055.2497 | 2587755.7266 | 1116050.4183
64 | 2587673.826 | 1116036.9808 | 2587677.5186 | 1116039.2724 | 2587688.1755 | 1116044.82 | 2587697.6307 | 1116052.7448
65 | 2587646.1789 | 1116002.8076 | 2587653.0151 | 1116004.8501 | 2587660.358 | 1116013.0947 | 2587660.8045 | 1116027.5453 | 2587662.5928 | 1116030.0095 | 2587673.826 | 1116036.9808
66 | 2587712.4736 | 1116065.7918 | 2587704.8864 | 1116058.8261 | 2587697.6307 | 1116052.7448
67 | 2587712.4736 | 1116065.7918 | 2587698.6954 | 1116066.4758
68 | 2587706.2898 | 1116080.7451 | 2587708.9501 | 1116079.2501 | 2587716.8435 | 1116069.8071 | 2587712.4736 | 1116065.7918
69 | 2587706.2898 | 1116080.7451 | 2587711.1385 | 1116084.8595 | 2587725.0634 | 1116084.1752 | 2587732.7418 | 1116082.9033
70 | 2587706.2898 | 1116080.7451 | 2587696.7446 | 1116086.4897 | 2587680.1894 | 1116088.1799 | 2587656.6055 | 1116080.48 | 2587655.0297 | 1116079.9719 | 2587605.7912 | 1116060.0521 | 2587597.3403 | 1116049.8867 | 2587593.9662 | 1116045.8361 | 2587582.9504 | 1116034.7311
71 | 2587732.7418 | 1116082.9033 | 2587727.5239 | 1116090.7623 | 2587722.4083 | 1116099.5437 | 2587712.4405 | 1116106.2785
72 | 2587732.7418 | 1116082.9033 | 2587739.2646 | 1116082.7344 | 2587744.9284 | 1116085.3353 | 2587767.0924 | 1116100.9201 | 2587781.1644 | 1116111.3023
73 | 2587436.8983 | 1115933.6843 | 2587474.849 | 1115959.6069 | 2587497.0319 | 1115972.5672 | 2587521.0665 | 1115981.3884 | 2587548.3017 | 1115992.4819 | 2587569.5767 | 1116007.0896 | 2587582.9504 | 1116034.7311
74 | 2587582.9504 | 1116034.7311 | 2587570.6659 | 1116018.6375 | 2587555.118 | 1116007.264 | 2587541.1566 | 1116001.5789 | 2587537.3792 | 1116000.3973
75 | 2587556.0864 | 1116029.1724 | 2587556.8279 | 1116035.6334
76 | 2587537.3792 | 1116000.3973 | 2587537.3002 | 1116003.2655 | 2587543.9697 | 1116006.809 | 2587548.379 | 1116011.1909 | 2587553.6011 | 1116016.6384 | 2587555.3429 | 1116022.6933 | 2587556.0864 | 1116029.1724
77 | 2587556.8279 | 1116035.6334 | 2587557.9371 | 1116045.2991 | 2587560.9705 | 1116052.5075 | 2587574.7295 | 1116060.0775
78 | 2587718.7378 | 1116146.919 | 2587685.1634 | 1116130.8908 | 2587661.3953 | 1116112.3637 | 2587640.036 | 1116097.7559 | 2587614.7515 | 1116085.2127 | 2587591.0255 | 1116068.5534 | 2587583.7772 | 1116065.0555 | 2587574.7295 | 1116060.0775
79 | 2587762.383 | 1116002.8912 | 2587783.501 | 1116014.5172
80 | 2587802.1396 | 1116024.7781 | 2587783.501 | 1116014.5172
81 | 2587781.1644 | 1116111.3023 | 2587783.8614 | 1116113.2921 | 2587892.4605 | 1116197.3697 | 2587913.4514 | 1116213.5021 | 2587920.8054 | 1116219.8683 | 2587922.7816 | 1116227.5459 | 2587920.6832 | 1116237.7481
82 | 2587847.0209 | 1116078.475 | 2587858.9888 | 1116082.6584 | 2587861.6491 | 1116083.4945
83 | 2587919.8995 | 1116241.5586 | 2587920.6832 | 1116237.7481
84 | 2587919.8995 | 1116241.5586 | 2587925.5649 | 1116241.2359 | 2587928.5438 | 1116240.8187 | 2587939.3227 | 1116243.2438
85 | 2587918.4339 | 1116253.6341 | 2587919.8463 | 1116253.5424 | 2587919.3945 | 1116247.6737 | 2587919.8995 | 1116241.5586
86 | 2587939.3227 | 1116243.2438 | 2587947.0557 | 1116244.9836 | 2587961.8581 | 1116248.3071
87 | 2587918.4339 | 1116253.6341 | 2587919.8078 | 1116265.1037 | 2587918.7682 | 1116269.884
88 | 2587918.4339 | 1116253.6341 | 2587911.2995 | 1116252.8258 | 2587894.8212 | 1116254.2041 | 2587879.6259 | 1116252.4783 | 2587865.5315 | 1116245.481 | 2587856.1403 | 1116237.6618
89 | 2587969.7255 | 1116252.0997 | 2587964.9188 | 1116248.9943 | 2587961.8581 | 1116248.3071
90 | 2587845.9439 | 1116229.2478 | 2587847.4839 | 1116230.4544 | 2587856.1403 | 1116237.6618
91 | 2587845.9439 | 1116229.2478 | 2587842.899 | 1116226.8619 | 2587841.4425 | 1116224.2747 | 2587842.1585 | 1116219.4931 | 2587844.2698 | 1116213.8187
92 | 2587844.2698 | 1116213.8187 | 2587847.0262 | 1116206.4102

## bus_geodata
| x | y | coords
0 | 2587974.7571 | 1116257.1594
1 | 2587970.3388 | 1116252.496
2 | 2587961.4436 | 1115479.0101
3 | 2587912.8473 | 1115455.4964
4 | 2587815.4336 | 1115422.0319
5 | 2587589.8854 | 1115568.1424
6 | 2587571.7762 | 1115554.4952
7 | 2587637.4574 | 1115789.959
8 | 2587627.4188 | 1115785.8837
9 | 2587797.6529 | 1115414.9199
10 | 2587798.0829 | 1115398.5665
11 | 2587786.4157 | 1115409.2621
12 | 2587569.6373 | 1115744.9269
13 | 2587564.5064 | 1115742.603
14 | 2587617.3838 | 1115782.6262
15 | 2587783.0367 | 1115414.6185
16 | 2587782.7842 | 1115415.0188
17 | 2587773.2326 | 1115401.8476
18 | 2587818.2775 | 1115368.9075
19 | 2587602.9312 | 1115316.9501
20 | 2587470.0615 | 1115451.0439
21 | 2587682.2391 | 1115247.8711
22 | 2587750.0952 | 1115271.1567
23 | 2587449.5006 | 1115442.4028
24 | 2587470.9758 | 1115663.511
25 | 2587535.3444 | 1115723.5347
26 | 2587539.9239 | 1115591.474
27 | 2587553.6667 | 1115525.7962
28 | 2587518.5493 | 1115504.6919
29 | 2587418.7496 | 1115439.1784
30 | 2587406.6175 | 1115511.4394
31 | 2587424.1798 | 1115514.2892
32 | 2587348.563 | 1115476.0658
33 | 2587460.1326 | 1115533.1659
34 | 2587092.59 | 1115756.0805
35 | 2587516.2429 | 1115805.9171
36 | 2587582.4046 | 1115830.1092
37 | 2587636.0956 | 1115822.4043
38 | 2587587.1056 | 1115829.0465
39 | 2587569.9146 | 1115897.8239
40 | 2587583.1818 | 1115929.8296
41 | 2587574.2636 | 1115893.4912
42 | 2587591.6068 | 1115876.2145
43 | 2587590.0168 | 1115931.3212
44 | 2587613.7487 | 1115921.6972
45 | 2587677.4711 | 1115944.4591
46 | 2587589.669 | 1115940.5931
47 | 2587686.0974 | 1115951.4141
48 | 2587664.2539 | 1115952.922
49 | 2587589.3363 | 1115949.4648
50 | 2587719.9275 | 1115999.8219
51 | 2587658.9215 | 1115956.3363
52 | 2587732.2991 | 1115988.2233
53 | 2587725.7784 | 1116003.2672
54 | 2587735.9079 | 1115988.3161
55 | 2587757.7713 | 1116049.9139
56 | 2587717.1799 | 1116003.2932
57 | 2587743.3604 | 1115992.4189
58 | 2587799.9241 | 1116062.6002
59 | 2587755.7266 | 1116050.4183
60 | 2587702.081 | 1116000.6254
61 | 2587673.826 | 1116036.9808
62 | 2587697.6307 | 1116052.7448
63 | 2587646.1789 | 1116002.8076
64 | 2587712.4736 | 1116065.7918
65 | 2587698.6954 | 1116066.4758
66 | 2587706.2898 | 1116080.7451
67 | 2587739.0292 | 1116046.7838
68 | 2587732.7418 | 1116082.9033
69 | 2587582.9504 | 1116034.7311
70 | 2587556.0864 | 1116029.1724
71 | 2587556.8279 | 1116035.6334
72 | 2587537.3792 | 1116000.3973
73 | 2587574.7295 | 1116060.0775
74 | 2587718.7378 | 1116146.919
75 | 2587436.8983 | 1115933.6843
76 | 2587762.383 | 1116002.8912
77 | 2587783.501 | 1116014.5172
78 | 2587802.1396 | 1116024.7781
79 | 2587712.4405 | 1116106.2785
80 | 2587781.1644 | 1116111.3023
81 | 2587847.0209 | 1116078.475
82 | 2587920.6832 | 1116237.7481
83 | 2587919.8995 | 1116241.5586
84 | 2587939.3227 | 1116243.2438
85 | 2587918.4339 | 1116253.6341
86 | 2587961.8581 | 1116248.3071
87 | 2587918.7682 | 1116269.884
88 | 2587856.1403 | 1116237.6618
89 | 2587861.6491 | 1116083.4945
90 | 2587845.9439 | 1116229.2478
91 | 2587844.2698 | 1116213.8187
92 | 2587847.0262 | 1116206.4102
93 | 2587969.7255 | 1116252.0997
94 | 2587658.9215 | 1115956.3363

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1