## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_603-2_1_4_node_98 | 0.4 | n |  | TRUE
1 | bus_LV_603-2_1_4_node_99 | 0.4 | n |  | TRUE
2 | bus_LV_603-2_1_4_node_24 | 0.4 | n |  | TRUE
3 | bus_LV_603-2_1_4_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_603-2_1_4_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_603-2_1_4_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_603-2_1_4_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_603-2_1_4_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_603-2_1_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_603-2_1_4_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_603-2_1_4_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_603-2_1_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_603-2_1_4_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_603-2_1_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_603-2_1_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_603-2_1_4_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_603-2_1_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_603-2_1_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_603-2_1_4_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_603-2_1_4_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_603-2_1_4_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_603-2_1_4_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_603-2_1_4_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_603-2_1_4_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_603-2_1_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_603-2_1_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_603-2_1_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_603-2_1_4_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_603-2_1_4_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_603-2_1_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_603-2_1_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_603-2_1_4_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_603-2_1_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_603-2_1_4_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_603-2_1_4_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_603-2_1_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_603-2_1_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_603-2_1_4_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_603-2_1_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_603-2_1_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_603-2_1_4_node_103 | 0.4 | n |  | TRUE
41 | bus_LV_603-2_1_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_603-2_1_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_603-2_1_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_603-2_1_4_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_603-2_1_4_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_603-2_1_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_603-2_1_4_node_167 | 0.4 | n |  | TRUE
48 | bus_LV_603-2_1_4_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_603-2_1_4_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_603-2_1_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_603-2_1_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_603-2_1_4_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_603-2_1_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_603-2_1_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_603-2_1_4_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_603-2_1_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_603-2_1_4_node_166 | 0.4 | n |  | TRUE
58 | bus_LV_603-2_1_4_node_162 | 0.4 | n |  | TRUE
59 | bus_LV_603-2_1_4_node_164 | 0.4 | n |  | TRUE
60 | bus_LV_603-2_1_4_node_149 | 0.4 | n |  | TRUE
61 | bus_LV_603-2_1_4_node_150 | 0.4 | n |  | TRUE
62 | bus_LV_603-2_1_4_node_151 | 0.4 | n |  | TRUE
63 | bus_LV_603-2_1_4_node_153 | 0.4 | n |  | TRUE
64 | bus_LV_603-2_1_4_node_152 | 0.4 | n |  | TRUE
65 | bus_LV_603-2_1_4_node_155 | 0.4 | n |  | TRUE
66 | bus_LV_603-2_1_4_node_154 | 0.4 | n |  | TRUE
67 | bus_LV_603-2_1_4_node_158 | 0.4 | n |  | TRUE
68 | bus_LV_603-2_1_4_node_163 | 0.4 | n |  | TRUE
69 | bus_LV_603-2_1_4_node_156 | 0.4 | n |  | TRUE
70 | bus_LV_603-2_1_4_node_157 | 0.4 | n |  | TRUE
71 | bus_LV_603-2_1_4_node_165 | 0.4 | n |  | TRUE
72 | bus_LV_603-2_1_4_node_102 | 0.4 | n |  | TRUE
73 | bus_LV_603-2_1_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_603-2_1_4_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_603-2_1_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_603-2_1_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_603-2_1_4_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_603-2_1_4_node_104 | 0.4 | n |  | TRUE
79 | bus_LV_603-2_1_4_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_603-2_1_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_603-2_1_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_603-2_1_4_node_159 | 0.4 | n |  | TRUE
83 | bus_LV_603-2_1_4_node_160 | 0.4 | n |  | TRUE
84 | bus_LV_603-2_1_4_node_161 | 0.4 | n |  | TRUE
85 | bus_LV_603-2_1_4_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_603-2_1_4_node_89 | 0.4 | n |  | TRUE
87 | bus_MV_92_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_603-2_1_4_load_98 | 0 | 0.0030659 | 0.00076838 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_603-2_1_4_load_99 | 1 | 0.046949 | 0.011767 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_603-2_1_4_load_24 | 2 | 0.0044809 | 0.001123 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_603-2_1_4_load_25 | 3 | 0.0014755 | 0.0003698 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_603-2_1_4_load_85 | 7 | 0.0020289 | 0.00050848 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_603-2_1_4_load_67 | 9 | 0.0011415 | 0.00028608 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_603-2_1_4_load_56 | 10 | 0.026866 | 0.0067332 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_603-2_1_4_load_27 | 11 | 0.0027899 | 0.00069923 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_603-2_1_4_load_28 | 12 | 0.004772 | 0.001196 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_603-2_1_4_load_31 | 15 | 0.0012128 | 0.00030395 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_603-2_1_4_load_32 | 16 | 0.00096015 | 0.00024064 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_603-2_1_4_load_92 | 18 | 0.0025622 | 0.00064216 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_603-2_1_4_load_52 | 19 | 0.00089942 | 0.00022542 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_603-2_1_4_load_74 | 20 | 0.010829 | 0.0027141 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_603-2_1_4_load_53 | 23 | 0.0015222 | 0.00038149 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_603-2_1_4_load_33 | 24 | 0.00099902 | 0.00025038 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_603-2_1_4_load_34 | 25 | 0.0019523 | 0.0004893 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_603-2_1_4_load_37 | 28 | 0.0014009 | 0.00035111 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_603-2_1_4_load_38 | 29 | 0.0051049 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_603-2_1_4_load_80 | 30 | 0.0038813 | 0.00097274 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_603-2_1_4_load_60 | 32 | 0.011655 | 0.0029209 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_603-2_1_4_load_75 | 33 | 0.0032293 | 0.00080933 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_603-2_1_4_load_79 | 34 | 0.0021365 | 0.00053545 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_603-2_1_4_load_54 | 35 | 0.0043813 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_603-2_1_4_load_61 | 36 | 0.002748 | 0.0006887 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_603-2_1_4_load_76 | 37 | 0.0017771 | 0.00044539 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_603-2_1_4_load_41 | 38 | 0.0030295 | 0.00075926 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_603-2_1_4_load_103 | 40 | 0.00076879 | 0.00019268 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_603-2_1_4_load_45 | 43 | 0.008804 | 0.0022065 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_603-2_1_4_load_63 | 44 | 0.005747 | 0.0014403 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_603-2_1_4_load_86 | 45 | 0.0076131 | 0.001908 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_603-2_1_4_load_50 | 46 | 0.0025648 | 0.00064279 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_603-2_1_4_load_167 | 47 | 0.00020578 | 5.1574e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_603-2_1_4_load_87 | 48 | 0.0023472 | 0.00058826 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_603-2_1_4_load_48 | 49 | 0.0018907 | 0.00047385 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_603-2_1_4_load_49 | 50 | 0.012335 | 0.0030915 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_603-2_1_4_load_51 | 51 | 0.0027711 | 0.00069451 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_603-2_1_4_load_78 | 52 | 0.0050505 | 0.0012658 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_603-2_1_4_load_62 | 53 | 0.0011811 | 0.000296 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_603-2_1_4_load_166 | 57 | 0.0019369 | 0.00048544 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_603-2_1_4_load_164 | 59 | 0.00030825 | 7.7254e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_603-2_1_4_load_149 | 60 | 0.0014324 | 0.00035899 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_603-2_1_4_load_150 | 61 | 0.00041461 | 0.00010391 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_603-2_1_4_load_155 | 65 | 0.0021394 | 0.00053618 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_603-2_1_4_load_154 | 66 | 0.00031322 | 7.85e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_603-2_1_4_load_163 | 68 | 0.0001636 | 4.1002e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_603-2_1_4_load_156 | 69 | 0.00065282 | 0.00016361 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_603-2_1_4_load_157 | 70 | 0.00071189 | 0.00017842 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_603-2_1_4_load_165 | 71 | 0.0011127 | 0.00027888 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_603-2_1_4_load_102 | 72 | 0.005272 | 0.0013213 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_603-2_1_4_load_68 | 73 | 0.0034838 | 0.00087313 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_603-2_1_4_load_69 | 74 | 0.040176 | 0.010069 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_603-2_1_4_load_73 | 76 | 0.0053202 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_603-2_1_4_load_104 | 78 | 0.0099558 | 0.0024952 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_603-2_1_4_load_91 | 79 | 0.012903 | 0.0032337 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_603-2_1_4_load_83 | 80 | 0.0045079 | 0.0011298 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_603-2_1_4_load_77 | 81 | 0.0031629 | 0.00079269 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_603-2_1_4_load_160 | 83 | 0.0036048 | 0.00090344 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_603-2_1_4_load_161 | 84 | 0.0009132 | 0.00022887 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_603-2_1_4_load_88 | 85 | 0.0040863 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_603-2_1_4_line_0 |  | 0 | 1 | 0.072814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_603-2_1_4_line_1 |  | 1 | 17 | 0.025437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_603-2_1_4_line_2 |  | 2 | 3 | 0.0069731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_603-2_1_4_line_3 |  | 3 | 4 | 0.029539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_603-2_1_4_line_4 |  | 4 | 5 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_603-2_1_4_line_5 |  | 5 | 6 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_603-2_1_4_line_6 |  | 5 | 7 | 0.033169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_603-2_1_4_line_7 |  | 6 | 38 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_603-2_1_4_line_8 |  | 7 | 39 | 0.034754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_603-2_1_4_line_9 |  | 8 | 9 | 0.037404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_603-2_1_4_line_10 |  | 8 | 10 | 0.02646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_603-2_1_4_line_11 |  | 9 | 40 | 0.0020907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_603-2_1_4_line_12 |  | 11 | 12 | 0.030793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_603-2_1_4_line_13 |  | 12 | 13 | 0.032016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_603-2_1_4_line_14 |  | 13 | 17 | 0.022205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_603-2_1_4_line_15 |  | 13 | 18 | 0.0099582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_603-2_1_4_line_16 |  | 14 | 15 | 0.012916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_603-2_1_4_line_17 |  | 14 | 16 | 0.010511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_603-2_1_4_line_18 |  | 15 | 19 | 0.0038199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_603-2_1_4_line_19 |  | 16 | 20 | 0.016735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_603-2_1_4_line_20 |  | 17 | 21 | 0.033076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_603-2_1_4_line_21 |  | 18 | 22 | 0.019094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_603-2_1_4_line_22 |  | 19 | 23 | 0.0074596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_603-2_1_4_line_23 |  | 21 | 76 | 0.034056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_603-2_1_4_line_24 |  | 21 | 73 | 0.010143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_603-2_1_4_line_25 |  | 22 | 46 | 0.053755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_603-2_1_4_line_26 |  | 22 | 39 | 0.014807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_603-2_1_4_line_27 |  | 23 | 35 | 0.00035183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_603-2_1_4_line_28 |  | 24 | 25 | 1.7444e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_603-2_1_4_line_29 |  | 24 | 26 | 0.01329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_603-2_1_4_line_30 |  | 25 | 27 | 0.022724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_603-2_1_4_line_31 |  | 26 | 28 | 0.018103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_603-2_1_4_line_32 |  | 26 | 29 | 0.012489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_603-2_1_4_line_33 |  | 27 | 30 | 0.017539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_603-2_1_4_line_34 |  | 27 | 31 | 0.010535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_603-2_1_4_line_35 |  | 28 | 32 | 0.0015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_603-2_1_4_line_36 |  | 29 | 33 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_603-2_1_4_line_37 |  | 30 | 34 | 0.031997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_603-2_1_4_line_38 |  | 31 | 35 | 0.025904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_603-2_1_4_line_39 |  | 32 | 36 | 0.018349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_603-2_1_4_line_40 |  | 33 | 37 | 0.0042341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_603-2_1_4_line_41 |  | 36 | 53 | 0.0090461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_603-2_1_4_line_42 |  | 37 | 81 | 0.013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_603-2_1_4_line_43 |  | 38 | 41 | 0.055334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_603-2_1_4_line_44 |  | 39 | 45 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_603-2_1_4_line_45 |  | 40 | 72 | 0.0079417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_603-2_1_4_line_46 |  | 41 | 42 | 0.025334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_603-2_1_4_line_47 |  | 41 | 43 | 0.0036176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_603-2_1_4_line_48 |  | 42 | 44 | 0.063216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_603-2_1_4_line_49 |  | 44 | 47 | 0.11582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_603-2_1_4_line_50 |  | 45 | 48 | 0.0013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_603-2_1_4_line_51 |  | 46 | 49 | 0.02606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_603-2_1_4_line_52 |  | 47 | 57 | 0.040157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_603-2_1_4_line_53 |  | 48 | 85 | 0.019647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_603-2_1_4_line_54 |  | 49 | 50 | 0.029367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_603-2_1_4_line_55 |  | 50 | 51 | 0.0083588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_603-2_1_4_line_56 |  | 51 | 52 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_603-2_1_4_line_57 |  | 54 | 55 | 0.029294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_603-2_1_4_line_58 |  | 54 | 56 | 0.044599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_603-2_1_4_line_59 |  | 55 | 57 | 0.0053965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_603-2_1_4_line_60 |  | 56 | 58 | 0.062691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_603-2_1_4_line_61 |  | 56 | 59 | 0.022727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_603-2_1_4_line_62 |  | 58 | 68 | 0.019389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_603-2_1_4_line_63 |  | 58 | 65 | 0.012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_603-2_1_4_line_64 |  | 59 | 71 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_603-2_1_4_line_65 |  | 60 | 61 | 0.06791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_603-2_1_4_line_66 |  | 60 | 62 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_603-2_1_4_line_67 |  | 62 | 63 | 0.016855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_603-2_1_4_line_68 |  | 63 | 67 | 0.037125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_603-2_1_4_line_69 |  | 63 | 68 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_603-2_1_4_line_70 |  | 64 | 65 | 0.014767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_603-2_1_4_line_71 |  | 64 | 66 | 0.036313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_603-2_1_4_line_72 |  | 67 | 69 | 0.018208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_603-2_1_4_line_73 |  | 69 | 70 | 0.056389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_603-2_1_4_line_74 |  | 70 | 82 | 0.056869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_603-2_1_4_line_75 |  | 72 | 86 | 0.016999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_603-2_1_4_line_76 |  | 73 | 74 | 0.018181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_603-2_1_4_line_77 |  | 74 | 75 | 0.017482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_603-2_1_4_line_78 |  | 75 | 77 | 0.041253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_603-2_1_4_line_79 |  | 76 | 78 | 0.017439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_603-2_1_4_line_80 |  | 77 | 79 | 0.027843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_603-2_1_4_line_81 |  | 77 | 80 | 0.0045466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_603-2_1_4_line_82 |  | 80 | 81 | 0.0064228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_603-2_1_4_line_83 |  | 82 | 84 | 0.045156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_603-2_1_4_line_84 |  | 83 | 84 | 5.4415e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_603-2_1_4_line_85 |  | 85 | 86 | 0.010613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_603-2_1_4_trafo_28 | 0.63 MVA 20/0.4 kV | 87 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2614405.77 | 1197430.4631 | 2614394.0551 | 1197441.9917 | 2614391.4238 | 1197446.7546 | 2614390.2882 | 1197453.4444 | 2614391.1979 | 1197458.3825 | 2614393.2282 | 1197462.8898 | 2614398.6971 | 1197468.9506 | 2614410.5546 | 1197478.6398 | 2614414.8684 | 1197488.4422
1 | 2614424.1598 | 1197512.0904 | 2614420.8786 | 1197502.0994 | 2614414.8684 | 1197488.4422
2 | 2614265.6235 | 1197530.0214 | 2614271.4344 | 1197533.8759
3 | 2614299.5995 | 1197536.0164 | 2614294.1605 | 1197536.5926 | 2614281.6973 | 1197538.186 | 2614277.6157 | 1197537.9762 | 2614271.4344 | 1197533.8759
4 | 2614299.5995 | 1197536.0164 | 2614300.5915 | 1197541.5884 | 2614302.9247 | 1197546.8412 | 2614306.7614 | 1197553.8874
5 | 2614314.5412 | 1197568.147 | 2614306.7614 | 1197553.8874
6 | 2614306.7614 | 1197553.8874 | 2614338.3025 | 1197543.6222
7 | 2614314.5412 | 1197568.147 | 2614305.803 | 1197572.5841 | 2614299.0764 | 1197576.5813 | 2614296.8392 | 1197577.7327
8 | 2614369.4559 | 1197530.9693 | 2614356.1828 | 1197533.6612 | 2614351.3864 | 1197539.3639 | 2614338.3025 | 1197543.6222
9 | 2614306.1057 | 1197496.7108 | 2614317.9617 | 1197494.2933 | 2614325.3691 | 1197492.2988 | 2614332.1915 | 1197489.6915 | 2614337.1014 | 1197487.4687 | 2614340.8053 | 1197486.3769 | 2614341.8754 | 1197486.2457
10 | 2614306.1057 | 1197496.7108 | 2614301.3193 | 1197488.6507 | 2614296.944 | 1197483.8599 | 2614289.6519 | 1197479.0288 | 2614288.0788 | 1197478.0537
11 | 2614341.8754 | 1197486.2457 | 2614343.9505 | 1197485.9911
12 | 2614435.3695 | 1197574.8352 | 2614432.9624 | 1197563.3056 | 2614430.4318 | 1197557.8744 | 2614425.9915 | 1197551.6826 | 2614422.4509 | 1197547.5999
13 | 2614404.054 | 1197521.6361 | 2614408.8218 | 1197531.0192 | 2614411.326 | 1197534.7717 | 2614422.4509 | 1197547.5999
14 | 2614404.054 | 1197521.6361 | 2614424.1598 | 1197512.0904
15 | 2614404.054 | 1197521.6361 | 2614395.191 | 1197526.1762
16 | 2614449.9 | 1197617.0196 | 2614454.1175 | 1197620.8318 | 2614458.853 | 1197624.5674 | 2614459.9017 | 1197625.1492
17 | 2614449.9 | 1197617.0196 | 2614445.4955 | 1197618.1096 | 2614441.1993 | 1197618.5106 | 2614439.5406 | 1197618.5066
18 | 2614463.242 | 1197627.0022 | 2614459.9017 | 1197625.1492
19 | 2614424.877 | 1197612.9684 | 2614426.7055 | 1197615.8298 | 2614430.9882 | 1197617.8746 | 2614435.6855 | 1197618.4973 | 2614439.5406 | 1197618.5066
20 | 2614424.1598 | 1197512.0904 | 2614432.4136 | 1197509.6756 | 2614440.2784 | 1197507.4822 | 2614447.9595 | 1197505.6664 | 2614456.3329 | 1197504.1524
21 | 2614378.1971 | 1197534.8812 | 2614395.191 | 1197526.1762
22 | 2614463.242 | 1197627.0022 | 2614469.7651 | 1197630.621
23 | 2614456.3329 | 1197504.1524 | 2614454.6217 | 1197487.3949 | 2614455.345 | 1197481.1599 | 2614456.28 | 1197475.5592 | 2614457.7764 | 1197470.5201
24 | 2614456.3329 | 1197504.1524 | 2614466.418 | 1197503.067
25 | 2614378.1971 | 1197534.8812 | 2614379.5856 | 1197540.243 | 2614379.9896 | 1197543.2456 | 2614379.7842 | 1197546.3356 | 2614378.085 | 1197568.977 | 2614377.2151 | 1197572.8659 | 2614375.3405 | 1197576.5078 | 2614372.2876 | 1197579.2464 | 2614366.0619 | 1197582.8677
26 | 2614369.4559 | 1197530.9693 | 2614370.4833 | 1197534.4848 | 2614371.8376 | 1197538.2122 | 2614378.1971 | 1197534.8812
27 | 2614470.0728 | 1197630.7916 | 2614469.7651 | 1197630.621
28 | 2614504.733 | 1197612.703 | 2614504.7277 | 1197612.7196
29 | 2614508.7721 | 1197600.0413 | 2614504.733 | 1197612.703
30 | 2614496.627 | 1197633.9413 | 2614499.9129 | 1197626.145 | 2614504.4134 | 1197613.7048 | 2614504.7277 | 1197612.7196
31 | 2614508.7721 | 1197600.0413 | 2614526.8259 | 1197598.7051
32 | 2614508.7721 | 1197600.0413 | 2614510.9695 | 1197592.0757 | 2614511.4088 | 1197587.8728
33 | 2614496.627 | 1197633.9413 | 2614511.599 | 1197643.0765
34 | 2614496.627 | 1197633.9413 | 2614492.552 | 1197643.6589
35 | 2614526.8259 | 1197598.7051 | 2614528.3782 | 1197598.5902
36 | 2614511.7067 | 1197573.0675 | 2614511.8645 | 1197574.6797 | 2614512.022 | 1197582.0062 | 2614511.4088 | 1197587.8728
37 | 2614533.566 | 1197662.4867 | 2614527.7889 | 1197659.6637 | 2614525.1385 | 1197656.6001 | 2614525.7671 | 1197651.7212 | 2614511.599 | 1197643.0765
38 | 2614492.552 | 1197643.6589 | 2614482.9853 | 1197637.955 | 2614470.0728 | 1197630.7916
39 | 2614546.6771 | 1197597.2358 | 2614528.3782 | 1197598.5902
40 | 2614511.2941 | 1197568.8535 | 2614511.7067 | 1197573.0675
41 | 2614546.6771 | 1197597.2358 | 2614555.6985 | 1197596.5681
42 | 2614511.2941 | 1197568.8535 | 2614511.1808 | 1197567.6965 | 2614509.3621 | 1197555.6447
43 | 2614246.5705 | 1197600.3248 | 2614251.9117 | 1197599.2368 | 2614258.7255 | 1197596.974 | 2614264.1155 | 1197594.5744 | 2614296.8392 | 1197577.7327
44 | 2614369.4559 | 1197530.9693 | 2614369.1161 | 1197529.7901 | 2614368.3646 | 1197525.5638 | 2614368.5053 | 1197520.8839 | 2614368.9486 | 1197516.0317
45 | 2614351.8748 | 1197485.504 | 2614345.0714 | 1197485.8535 | 2614343.9505 | 1197485.9911
46 | 2614252.6884 | 1197624.908 | 2614246.5705 | 1197600.3248
47 | 2614246.5705 | 1197600.3248 | 2614242.9536 | 1197600.396
48 | 2614252.6884 | 1197624.908 | 2614269.3484 | 1197685.8888
49 | 2614269.3484 | 1197685.8888 | 2614228.7627 | 1197794.37
50 | 2614368.9486 | 1197516.0317 | 2614369.0701 | 1197514.7011
51 | 2614366.0619 | 1197582.8677 | 2614360.8481 | 1197585.9004 | 2614345.4757 | 1197593.9124 | 2614343.0516 | 1197595.0862
52 | 2614266.6401 | 1197807.6179 | 2614236.6661 | 1197797.8071 | 2614228.7627 | 1197794.37
53 | 2614369.0701 | 1197514.7011 | 2614370.2884 | 1197501.3666 | 2614369.9425 | 1197496.3297 | 2614369.6655 | 1197495.154
54 | 2614343.0516 | 1197595.0862 | 2614327.9545 | 1197602.3973 | 2614322.7951 | 1197607.0986 | 2614320.3851 | 1197611.7287 | 2614320.3132 | 1197612.1149
55 | 2614320.3132 | 1197612.1149 | 2614319.3359 | 1197617.3625 | 2614319.2801 | 1197620.383
56 | 2614319.0473 | 1197632.9813 | 2614319.2801 | 1197620.383
57 | 2614300.7103 | 1197804.952 | 2614293.5923 | 1197807.1251 | 2614279.9959 | 1197808.3045 | 2614271.7689 | 1197809.2965
58 | 2614300.7103 | 1197804.952 | 2614306.2332 | 1197832.969 | 2614317.4767 | 1197844.4131
59 | 2614271.7689 | 1197809.2965 | 2614266.6401 | 1197807.6179
60 | 2614317.4767 | 1197844.4131 | 2614340.0796 | 1197863.3438 | 2614350.3627 | 1197871.9286 | 2614359.9237 | 1197883.0907 | 2614362.2962 | 1197887.7211
61 | 2614317.4767 | 1197844.4131 | 2614321.6308 | 1197839.6538 | 2614328.1716 | 1197836.8123 | 2614333.0803 | 1197835.0008 | 2614335.7377 | 1197831.95
62 | 2614362.2962 | 1197887.7211 | 2614364.6011 | 1197891.9622 | 2614365.0266 | 1197898.7447 | 2614364.5151 | 1197906.4942
63 | 2614362.2962 | 1197887.7211 | 2614375.1197 | 1197888.2015
64 | 2614332.4931 | 1197822.5705 | 2614335.3531 | 1197824.0115 | 2614336.1587 | 1197827.8821 | 2614335.7377 | 1197831.95
65 | 2614451.4833 | 1197939.253 | 2614450.2728 | 1197939.7379 | 2614446.1895 | 1197940.3395 | 2614438.633 | 1197938.0756 | 2614422.7123 | 1197933.7573 | 2614408.0146 | 1197930.6759 | 2614402.9187 | 1197928.0178 | 2614399.6554 | 1197923.3186 | 2614394.1493 | 1197920.2593 | 2614389.2899 | 1197918.1205
66 | 2614371.5026 | 1197910.2219 | 2614375.9907 | 1197912.267 | 2614389.2899 | 1197918.1205
67 | 2614362.1175 | 1197924.2069 | 2614366.1777 | 1197917.3352 | 2614371.5026 | 1197910.2219
68 | 2614369.3453 | 1197958.8316 | 2614364.2357 | 1197952.3604 | 2614360.9196 | 1197944.2481 | 2614360.7993 | 1197937.2774 | 2614361.3988 | 1197928.5853 | 2614362.1175 | 1197924.2069
69 | 2614362.1175 | 1197924.2069 | 2614364.1653 | 1197911.794 | 2614364.5151 | 1197906.4942
70 | 2614389.8765 | 1197888.7544 | 2614375.1197 | 1197888.2015
71 | 2614389.8765 | 1197888.7544 | 2614397.6261 | 1197880.3907 | 2614403.7325 | 1197868.1877 | 2614407.8817 | 1197857.7139
72 | 2614369.3453 | 1197958.8316 | 2614377.2956 | 1197965.1985 | 2614383.9696 | 1197969.6496
73 | 2614434.0007 | 1197995.422 | 2614419.4489 | 1197989.2903 | 2614402.0003 | 1197980.6883 | 2614386.9819 | 1197971.6585 | 2614383.9696 | 1197969.6496
74 | 2614485.9351 | 1198018.5883 | 2614440.3848 | 1197998.112 | 2614434.0007 | 1197995.422
75 | 2614368.851 | 1197484.632 | 2614351.8748 | 1197485.504
76 | 2614466.418 | 1197503.067 | 2614471.6904 | 1197502.4996 | 2614481.4082 | 1197502.4897 | 2614484.5602 | 1197502.7135
77 | 2614501.9979 | 1197503.9513 | 2614484.5602 | 1197502.7135
78 | 2614507.7253 | 1197544.7981 | 2614501.9979 | 1197503.9513
79 | 2614465.2092 | 1197454.8375 | 2614464.171 | 1197456.1678 | 2614462.0676 | 1197459.9203 | 2614458.4606 | 1197468.2161 | 2614457.7764 | 1197470.5201
80 | 2614507.7253 | 1197544.7981 | 2614519.8503 | 1197544.4939 | 2614535.6454 | 1197544.5099
81 | 2614507.7253 | 1197544.7981 | 2614508.4037 | 1197549.2938
82 | 2614509.3621 | 1197555.6447 | 2614508.4037 | 1197549.2938
83 | 2614485.9351 | 1198018.5883 | 2614481.5215 | 1198026.7487 | 2614473.9349 | 1198040.1709 | 2614463.9078 | 1198058.0065
84 | 2614463.8811 | 1198058.0539 | 2614463.9078 | 1198058.0065
85 | 2614368.851 | 1197484.632 | 2614368.7038 | 1197488.8672 | 2614369.0303 | 1197492.4588 | 2614369.6655 | 1197495.154

## bus_geodata
| x | y | coords
0 | 2614405.77 | 1197430.4631
1 | 2614414.8684 | 1197488.4422
2 | 2614265.6235 | 1197530.0213
3 | 2614271.4344 | 1197533.8759
4 | 2614299.5995 | 1197536.0164
5 | 2614306.7614 | 1197553.8874
6 | 2614314.5412 | 1197568.147
7 | 2614338.3025 | 1197543.6222
8 | 2614306.1057 | 1197496.7108
9 | 2614341.8754 | 1197486.2457
10 | 2614288.0788 | 1197478.0537
11 | 2614435.3695 | 1197574.8352
12 | 2614422.4509 | 1197547.5999
13 | 2614404.054 | 1197521.6361
14 | 2614449.9 | 1197617.0196
15 | 2614459.9017 | 1197625.1492
16 | 2614439.5406 | 1197618.5066
17 | 2614424.1598 | 1197512.0904
18 | 2614395.191 | 1197526.1762
19 | 2614463.242 | 1197627.0022
20 | 2614424.877 | 1197612.9684
21 | 2614456.3329 | 1197504.1524
22 | 2614378.1971 | 1197534.8812
23 | 2614469.7651 | 1197630.621
24 | 2614504.733 | 1197612.703
25 | 2614504.7277 | 1197612.7196
26 | 2614508.7721 | 1197600.0413
27 | 2614496.627 | 1197633.9413
28 | 2614526.8259 | 1197598.7051
29 | 2614511.4088 | 1197587.8728
30 | 2614511.599 | 1197643.0765
31 | 2614492.552 | 1197643.6589
32 | 2614528.3782 | 1197598.5902
33 | 2614511.7067 | 1197573.0675
34 | 2614533.566 | 1197662.4867
35 | 2614470.0728 | 1197630.7916
36 | 2614546.6771 | 1197597.2358
37 | 2614511.2941 | 1197568.8535
38 | 2614296.8392 | 1197577.7327
39 | 2614369.4559 | 1197530.9693
40 | 2614343.9505 | 1197485.991
41 | 2614246.5705 | 1197600.3248
42 | 2614252.6884 | 1197624.908
43 | 2614242.9536 | 1197600.396
44 | 2614269.3484 | 1197685.8888
45 | 2614368.9486 | 1197516.0317
46 | 2614366.0619 | 1197582.8677
47 | 2614228.7627 | 1197794.37
48 | 2614369.0701 | 1197514.7011
49 | 2614343.0516 | 1197595.0862
50 | 2614320.3132 | 1197612.1149
51 | 2614319.2801 | 1197620.383
52 | 2614319.0473 | 1197632.9813
53 | 2614555.6985 | 1197596.5681
54 | 2614300.7103 | 1197804.952
55 | 2614271.7689 | 1197809.2965
56 | 2614317.4767 | 1197844.4131
57 | 2614266.6401 | 1197807.6179
58 | 2614362.2962 | 1197887.7211
59 | 2614335.7377 | 1197831.95
60 | 2614389.2899 | 1197918.1205
61 | 2614451.4833 | 1197939.253
62 | 2614371.5026 | 1197910.2219
63 | 2614362.1175 | 1197924.2069
64 | 2614389.8765 | 1197888.7544
65 | 2614375.1197 | 1197888.2015
66 | 2614407.8817 | 1197857.7139
67 | 2614369.3453 | 1197958.8316
68 | 2614364.5151 | 1197906.4942
69 | 2614383.9696 | 1197969.6496
70 | 2614434.0007 | 1197995.422
71 | 2614332.4931 | 1197822.5705
72 | 2614351.8748 | 1197485.504
73 | 2614466.418 | 1197503.067
74 | 2614484.5602 | 1197502.7135
75 | 2614501.9979 | 1197503.9513
76 | 2614457.7764 | 1197470.5201
77 | 2614507.7253 | 1197544.7981
78 | 2614465.2092 | 1197454.8375
79 | 2614535.6454 | 1197544.5099
80 | 2614508.4037 | 1197549.2938
81 | 2614509.3621 | 1197555.6447
82 | 2614485.9351 | 1198018.5883
83 | 2614463.8811 | 1198058.0539
84 | 2614463.9078 | 1198058.0065
85 | 2614369.6655 | 1197495.154
86 | 2614368.851 | 1197484.632
87 | 2614404.054 | 1197521.6361

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1