## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_603-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_603-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_603-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_603-5_0_5_node_75 | 0.4 | n |  | TRUE
4 | bus_LV_603-5_0_5_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_603-5_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_603-5_0_5_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_603-5_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_603-5_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_603-5_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_603-5_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_603-5_0_5_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_603-5_0_5_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_603-5_0_5_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_603-5_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_603-5_0_5_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_603-5_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_603-5_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_603-5_0_5_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_603-5_0_5_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_603-5_0_5_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_603-5_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_603-5_0_5_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_603-5_0_5_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_603-5_0_5_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_603-5_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_603-5_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_603-5_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_603-5_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_603-5_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_603-5_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_603-5_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_603-5_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_603-5_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_603-5_0_5_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_603-5_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_603-5_0_5_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_603-5_0_5_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_603-5_0_5_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_603-5_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_603-5_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_603-5_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_603-5_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_603-5_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_603-5_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_603-5_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_603-5_0_5_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_603-5_0_5_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_603-5_0_5_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_603-5_0_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_603-5_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_603-5_0_5_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_603-5_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_603-5_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_603-5_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_603-5_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_603-5_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_603-5_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_603-5_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_603-5_0_5_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_603-5_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_603-5_0_5_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_603-5_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_603-5_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_603-5_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_603-5_0_5_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_603-5_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_603-5_0_5_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_603-5_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_603-5_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_603-5_0_5_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_603-5_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_MV_92_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_603-5_0_5_load_0 | 0 | 0.0055063 | 0.00138 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_603-5_0_5_load_1 | 1 | 0.00074418 | 0.00018651 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_603-5_0_5_load_2 | 2 | 0.0050568 | 0.0012674 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_603-5_0_5_load_75 | 3 | 0.0019949 | 0.00049996 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_603-5_0_5_load_9 | 4 | 0.015018 | 0.003764 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_603-5_0_5_load_3 | 5 | 0.00080102 | 0.00020076 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_603-5_0_5_load_8 | 7 | 0.0046843 | 0.001174 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_603-5_0_5_load_5 | 8 | 0.00064016 | 0.00016044 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_603-5_0_5_load_13 | 9 | 0.006495 | 0.0016278 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_603-5_0_5_load_6 | 10 | 0.00061111 | 0.00015316 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_603-5_0_5_load_66 | 11 | 0.00064269 | 0.00016107 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_603-5_0_5_load_16 | 12 | 0.014038 | 0.0035183 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_603-5_0_5_load_17 | 13 | 0.00060746 | 0.00015224 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_603-5_0_5_load_14 | 14 | 0.0010651 | 0.00026694 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_603-5_0_5_load_65 | 15 | 0.00061425 | 0.00015395 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_603-5_0_5_load_15 | 16 | 0.0051803 | 0.0012983 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_603-5_0_5_load_11 | 17 | 0.013898 | 0.0034832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_603-5_0_5_load_53 | 18 | 0.0027508 | 0.00068941 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_603-5_0_5_load_54 | 19 | 0.0019435 | 0.0004871 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_603-5_0_5_load_55 | 20 | 0.0013185 | 0.00033045 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_603-5_0_5_load_12 | 21 | 0.013958 | 0.0034983 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_603-5_0_5_load_45 | 22 | 0.00060721 | 0.00015218 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_603-5_0_5_load_67 | 23 | 0.00060727 | 0.0001522 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_603-5_0_5_load_62 | 24 | 0.00060721 | 0.00015218 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_603-5_0_5_load_18 | 25 | 0.0043679 | 0.0010947 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_603-5_0_5_load_19 | 26 | 0.0022659 | 0.00056789 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_603-5_0_5_load_21 | 28 | 0.0022744 | 0.00057003 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_603-5_0_5_load_22 | 29 | 0.0078168 | 0.0019591 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_603-5_0_5_load_29 | 32 | 0.024812 | 0.0062186 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_603-5_0_5_load_26 | 33 | 0.050123 | 0.012562 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_603-5_0_5_load_44 | 34 | 0.025722 | 0.0064465 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_603-5_0_5_load_27 | 35 | 0.02316 | 0.0058045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_603-5_0_5_load_51 | 36 | 0.014999 | 0.0037592 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_603-5_0_5_load_43 | 37 | 0.043541 | 0.010913 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_603-5_0_5_load_52 | 38 | 0.01537 | 0.0038521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_603-5_0_5_load_30 | 39 | 0.0022087 | 0.00055354 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_603-5_0_5_load_31 | 40 | 0.0037711 | 0.00094512 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_603-5_0_5_load_33 | 42 | 0.00096188 | 0.00024107 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_603-5_0_5_load_34 | 43 | 0.0022431 | 0.00056217 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_603-5_0_5_load_35 | 44 | 0.001778 | 0.0004456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_603-5_0_5_load_37 | 45 | 0.0023471 | 0.00058823 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_603-5_0_5_load_63 | 46 | 0.0017784 | 0.00044571 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_603-5_0_5_load_73 | 47 | 0.0017808 | 0.00044631 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_603-5_0_5_load_74 | 48 | 0.0018701 | 0.0004687 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_603-5_0_5_load_72 | 49 | 0.0018711 | 0.00046895 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_603-5_0_5_load_36 | 50 | 0.025773 | 0.0064592 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_603-5_0_5_load_64 | 51 | 0.0017789 | 0.00044584 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_603-5_0_5_load_38 | 52 | 0.067071 | 0.01681 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_603-5_0_5_load_40 | 54 | 0.018257 | 0.0045755 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_603-5_0_5_load_41 | 55 | 0.013239 | 0.0033181 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_603-5_0_5_load_42 | 56 | 0.0030234 | 0.00075773 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_603-5_0_5_load_47 | 57 | 0.0025048 | 0.00062776 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_603-5_0_5_load_46 | 58 | 0.0025348 | 0.00063529 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_603-5_0_5_load_68 | 59 | 0.0017768 | 0.0004453 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_603-5_0_5_load_56 | 60 | 0.0018165 | 0.00045525 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_603-5_0_5_load_60 | 61 | 0.000611 | 0.00015313 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_603-5_0_5_load_48 | 62 | 0.003831 | 0.00096015 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_603-5_0_5_load_49 | 63 | 0.0027654 | 0.00069308 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_603-5_0_5_load_50 | 64 | 0.0017854 | 0.00044745 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_603-5_0_5_load_57 | 65 | 0.0017034 | 0.00042691 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_603-5_0_5_load_69 | 66 | 0.0017782 | 0.00044566 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_603-5_0_5_load_58 | 67 | 0.00060745 | 0.00015224 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_603-5_0_5_load_59 | 68 | 0.0017825 | 0.00044673 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_603-5_0_5_load_61 | 69 | 0.001783 | 0.00044687 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_603-5_0_5_load_70 | 70 | 0.0017789 | 0.00044584 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_603-5_0_5_load_71 | 71 | 0.0017795 | 0.000446 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_603-5_0_5_line_0 |  | 0 | 1 | 0.032959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_603-5_0_5_line_1 |  | 0 | 2 | 0.014226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_603-5_0_5_line_2 |  | 0 | 3 | 0.023647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_603-5_0_5_line_3 |  | 0 | 4 | 0.049074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_603-5_0_5_line_4 |  | 1 | 5 | 0.0037159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_603-5_0_5_line_5 |  | 3 | 6 | 0.025178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_603-5_0_5_line_6 |  | 4 | 7 | 0.0019836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_603-5_0_5_line_7 |  | 5 | 8 | 0.021354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_603-5_0_5_line_8 |  | 6 | 18 | 0.043146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_603-5_0_5_line_9 |  | 7 | 9 | 0.038548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_603-5_0_5_line_10 |  | 8 | 10 | 0.0041353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_603-5_0_5_line_11 |  | 9 | 16 | 0.039449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_603-5_0_5_line_12 |  | 9 | 17 | 0.035764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_603-5_0_5_line_13 |  | 10 | 11 | 0.016476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_603-5_0_5_line_14 |  | 11 | 15 | 0.0056719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_603-5_0_5_line_15 |  | 12 | 13 | 0.031861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_603-5_0_5_line_16 |  | 12 | 14 | 0.00875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_603-5_0_5_line_17 |  | 13 | 22 | 0.010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_603-5_0_5_line_18 |  | 14 | 21 | 0.0092361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_603-5_0_5_line_19 |  | 15 | 24 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_603-5_0_5_line_20 |  | 17 | 21 | 0.0073088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_603-5_0_5_line_21 |  | 18 | 19 | 0.036589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_603-5_0_5_line_22 |  | 19 | 20 | 0.02957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_603-5_0_5_line_23 |  | 20 | 60 | 0.029261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_603-5_0_5_line_24 |  | 22 | 23 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_603-5_0_5_line_25 |  | 23 | 59 | 0.010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_603-5_0_5_line_26 |  | 24 | 61 | 0.0057766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_603-5_0_5_line_27 |  | 25 | 26 | 0.011203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_603-5_0_5_line_28 |  | 25 | 27 | 0.0063092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_603-5_0_5_line_29 |  | 26 | 28 | 0.0079928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_603-5_0_5_line_30 |  | 27 | 29 | 0.038221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_603-5_0_5_line_31 |  | 28 | 30 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_603-5_0_5_line_32 |  | 30 | 34 | 0.0068644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_603-5_0_5_line_33 |  | 30 | 35 | 0.016046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_603-5_0_5_line_34 |  | 31 | 32 | 0.036742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_603-5_0_5_line_35 |  | 31 | 33 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_603-5_0_5_line_36 |  | 32 | 36 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_603-5_0_5_line_37 |  | 33 | 35 | 0.0021908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_603-5_0_5_line_38 |  | 34 | 37 | 0.022257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_603-5_0_5_line_39 |  | 36 | 38 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_603-5_0_5_line_40 |  | 37 | 53 | 0.007587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_603-5_0_5_line_41 |  | 39 | 40 | 0.025792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_603-5_0_5_line_42 |  | 39 | 41 | 0.0036922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_603-5_0_5_line_43 |  | 40 | 42 | 0.044758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_603-5_0_5_line_44 |  | 41 | 43 | 0.023607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_603-5_0_5_line_45 |  | 41 | 44 | 0.0047099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_603-5_0_5_line_46 |  | 42 | 45 | 0.0046555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_603-5_0_5_line_47 |  | 44 | 46 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_603-5_0_5_line_48 |  | 45 | 50 | 0.023636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_603-5_0_5_line_49 |  | 46 | 51 | 0.020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_603-5_0_5_line_50 |  | 47 | 48 | 0.00042171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_603-5_0_5_line_51 |  | 47 | 49 | 0.020572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_603-5_0_5_line_52 |  | 49 | 71 | 0.0016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_603-5_0_5_line_53 |  | 50 | 52 | 0.0042851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_603-5_0_5_line_54 |  | 51 | 66 | 0.01054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_603-5_0_5_line_55 |  | 52 | 53 | 0.030714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_603-5_0_5_line_56 |  | 53 | 54 | 0.0086504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_603-5_0_5_line_57 |  | 54 | 55 | 0.03852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_603-5_0_5_line_58 |  | 55 | 56 | 0.027733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_603-5_0_5_line_59 |  | 56 | 57 | 0.030722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_603-5_0_5_line_60 |  | 57 | 58 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_603-5_0_5_line_61 |  | 58 | 62 | 0.024239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_603-5_0_5_line_62 |  | 59 | 66 | 0.021114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_603-5_0_5_line_63 |  | 60 | 65 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_603-5_0_5_line_64 |  | 61 | 67 | 0.015223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_603-5_0_5_line_65 |  | 62 | 63 | 0.026375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_603-5_0_5_line_66 |  | 63 | 64 | 0.0063959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_603-5_0_5_line_67 |  | 67 | 68 | 0.0069495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_603-5_0_5_line_68 |  | 68 | 69 | 0.022197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_603-5_0_5_line_69 |  | 69 | 70 | 0.0024951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_603-5_0_5_line_70 |  | 70 | 71 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_603-5_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 72 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2614579.8438 | 1197594.7809 | 2614612.713 | 1197592.3481
1 | 2614579.8438 | 1197594.7809 | 2614565.6563 | 1197595.831
2 | 2614579.8438 | 1197594.7809 | 2614582.6307 | 1197618.2634
3 | 2614571.0483 | 1197546.5013 | 2614579.8438 | 1197594.7809
4 | 2614616.4188 | 1197592.0738 | 2614612.713 | 1197592.3481
5 | 2614582.6307 | 1197618.2634 | 2614584.5954 | 1197643.3594
6 | 2614569.0678 | 1197546.3916 | 2614571.0483 | 1197546.5013
7 | 2614616.4188 | 1197592.0738 | 2614623.5158 | 1197591.5485 | 2614636.8025 | 1197586.4337
8 | 2614610.1844 | 1197678.098 | 2614584.5954 | 1197643.3594
9 | 2614572.0699 | 1197507.9607 | 2614569.0678 | 1197546.3916
10 | 2614636.8025 | 1197586.4337 | 2614636.8025 | 1197586.4337 | 2614640.9118 | 1197585.9713
11 | 2614532.6912 | 1197505.6019 | 2614542.9959 | 1197506.2628 | 2614572.0699 | 1197507.9607
12 | 2614572.0699 | 1197507.9607 | 2614590.6642 | 1197509.0466 | 2614607.7746 | 1197510.0119
13 | 2614657.2848 | 1197584.1288 | 2614640.9118 | 1197585.9713
14 | 2614657.2848 | 1197584.1288 | 2614662.9212 | 1197583.4946
15 | 2614633.0293 | 1197511.4366 | 2614651.6281 | 1197512.4858 | 2614664.8537 | 1197512.9274
16 | 2614633.0293 | 1197511.4366 | 2614624.2932 | 1197510.9438
17 | 2614675.341 | 1197513.2776 | 2614664.8537 | 1197512.9274
18 | 2614615.0718 | 1197510.4235 | 2614624.2932 | 1197510.9438
19 | 2614679.2929 | 1197581.6523 | 2614662.9212 | 1197583.4946
20 | 2614607.7746 | 1197510.0119 | 2614615.0718 | 1197510.4235
21 | 2614610.1844 | 1197678.098 | 2614639.1992 | 1197680.9902 | 2614646.4226 | 1197682.7316
22 | 2614646.4226 | 1197682.7316 | 2614675.169 | 1197689.6619
23 | 2614703.6152 | 1197696.5198 | 2614675.169 | 1197689.6619
24 | 2614696.4273 | 1197513.9817 | 2614675.341 | 1197513.2776
25 | 2614696.4273 | 1197513.9817 | 2614706.9143 | 1197514.3319
26 | 2614679.2929 | 1197581.6523 | 2614685.0332 | 1197581.0063
27 | 2614591.3014 | 1197436.6819 | 2614583.5441 | 1197436.7017 | 2614580.1626 | 1197436.0396
28 | 2614575.1767 | 1197432.5347 | 2614577.5238 | 1197435.0751 | 2614578.657 | 1197435.7449 | 2614580.1626 | 1197436.0396
29 | 2614591.3014 | 1197436.6819 | 2614599.2941 | 1197436.6615
30 | 2614575.1767 | 1197432.5347 | 2614564.5017 | 1197434.621 | 2614558.6956 | 1197435.752 | 2614537.2724 | 1197436.2325
31 | 2614619.2149 | 1197437.5778 | 2614612.5456 | 1197436.6277 | 2614599.2941 | 1197436.6615
32 | 2614619.2149 | 1197437.5778 | 2614625.2296 | 1197440.8859
33 | 2614619.2149 | 1197437.5778 | 2614614.559 | 1197422.2219
34 | 2614603.416 | 1197404.5884 | 2614609.7972 | 1197404.993 | 2614631.8689 | 1197401.5894 | 2614639.8841 | 1197401.512
35 | 2614603.416 | 1197404.5884 | 2614608.5327 | 1197408.2139 | 2614611.7805 | 1197413.0577 | 2614613.9234 | 1197420.1254
36 | 2614639.8841 | 1197401.512 | 2614648.4111 | 1197401.4296 | 2614651.5119 | 1197401.4956
37 | 2614613.9234 | 1197420.1254 | 2614614.559 | 1197422.2219
38 | 2614643.8697 | 1197453.04 | 2614626.5848 | 1197441.6313 | 2614625.2296 | 1197440.8859
39 | 2614651.5119 | 1197401.4956 | 2614659.0348 | 1197401.6557 | 2614668.635 | 1197403.1021 | 2614672.0168 | 1197403.7844
40 | 2614650.2017 | 1197457.2194 | 2614643.8697 | 1197453.04
41 | 2614770.4389 | 1197513.6141 | 2614746.0349 | 1197505.2671
42 | 2614773.9323 | 1197514.809 | 2614770.4389 | 1197513.6141
43 | 2614703.8431 | 1197490.3349 | 2614703.8431 | 1197490.3349 | 2614729.9651 | 1197499.7707 | 2614746.0349 | 1197505.2671
44 | 2614773.9323 | 1197514.809 | 2614797.5354 | 1197514.36
45 | 2614773.9323 | 1197514.809 | 2614769.2225 | 1197514.8197
46 | 2614699.641 | 1197488.331 | 2614703.8431 | 1197490.3349
47 | 2614769.2225 | 1197514.8197 | 2614758.6837 | 1197514.8436
48 | 2614678.5973 | 1197477.6309 | 2614682.825 | 1197480.3115 | 2614699.641 | 1197488.331
49 | 2614738.5584 | 1197514.8893 | 2614758.6837 | 1197514.8436
50 | 2614773.6586 | 1197571.0333 | 2614773.2395 | 1197571.0804
51 | 2614752.7964 | 1197573.3809 | 2614773.2395 | 1197571.0804
52 | 2614751.2002 | 1197573.5605 | 2614752.7964 | 1197573.3809
53 | 2614678.5973 | 1197477.6309 | 2614674.9783 | 1197475.3363
54 | 2614738.5584 | 1197514.8893 | 2614728.0183 | 1197514.9132
55 | 2614650.2017 | 1197457.2194 | 2614668.9552 | 1197471.5173 | 2614674.9783 | 1197475.3363
56 | 2614650.2017 | 1197457.2194 | 2614658.8123 | 1197456.3906
57 | 2614658.8123 | 1197456.3906 | 2614672.392 | 1197455.0836 | 2614697.1089 | 1197453.7211 | 2614697.2318 | 1197453.7256
58 | 2614697.2318 | 1197453.7256 | 2614724.9459 | 1197454.7556
59 | 2614755.5525 | 1197457.0538 | 2614744.9061 | 1197456.8955 | 2614724.9729 | 1197454.7566 | 2614724.9459 | 1197454.7556
60 | 2614768.0686 | 1197457.2398 | 2614755.5525 | 1197457.0538
61 | 2614768.0686 | 1197457.2398 | 2614777.1734 | 1197457.3751 | 2614792.3013 | 1197457.7857
62 | 2614706.9143 | 1197514.3319 | 2614724.5588 | 1197514.9211 | 2614728.0183 | 1197514.9132
63 | 2614703.6152 | 1197696.5198 | 2614713.2704 | 1197698.8475 | 2614715.2717 | 1197699.3379
64 | 2614700.1603 | 1197579.304 | 2614685.0332 | 1197581.0063
65 | 2614792.3013 | 1197457.7857 | 2614810.0642 | 1197458.2677 | 2614818.6661 | 1197458.0219
66 | 2614825.0594 | 1197457.8391 | 2614818.6661 | 1197458.0219
67 | 2614700.1603 | 1197579.304 | 2614707.0662 | 1197578.5269
68 | 2614729.1239 | 1197576.0448 | 2614707.0662 | 1197578.5269
69 | 2614731.6033 | 1197575.7658 | 2614729.1239 | 1197576.0448
70 | 2614731.6033 | 1197575.7658 | 2614751.2002 | 1197573.5605

## bus_geodata
| x | y | coords
0 | 2614579.8438 | 1197594.7809
1 | 2614612.713 | 1197592.3481
2 | 2614565.6563 | 1197595.831
3 | 2614582.6307 | 1197618.2634
4 | 2614571.0483 | 1197546.5013
5 | 2614616.4188 | 1197592.0738
6 | 2614584.5954 | 1197643.3594
7 | 2614569.0678 | 1197546.3916
8 | 2614636.8025 | 1197586.4337
9 | 2614572.0699 | 1197507.9607
10 | 2614640.9118 | 1197585.9713
11 | 2614657.2848 | 1197584.1288
12 | 2614633.0293 | 1197511.4366
13 | 2614664.8537 | 1197512.9274
14 | 2614624.2932 | 1197510.9438
15 | 2614662.9212 | 1197583.4946
16 | 2614532.6912 | 1197505.6019
17 | 2614607.7746 | 1197510.0119
18 | 2614610.1844 | 1197678.098
19 | 2614646.4226 | 1197682.7316
20 | 2614675.169 | 1197689.6619
21 | 2614615.0718 | 1197510.4235
22 | 2614675.341 | 1197513.2776
23 | 2614696.4273 | 1197513.9817
24 | 2614679.2929 | 1197581.6523
25 | 2614580.1626 | 1197436.0396
26 | 2614591.3014 | 1197436.6819
27 | 2614575.1767 | 1197432.5347
28 | 2614599.2941 | 1197436.6615
29 | 2614537.2724 | 1197436.2325
30 | 2614619.2149 | 1197437.5778
31 | 2614603.416 | 1197404.5884
32 | 2614639.8841 | 1197401.512
33 | 2614613.9234 | 1197420.1254
34 | 2614625.2296 | 1197440.8859
35 | 2614614.559 | 1197422.2219
36 | 2614651.5119 | 1197401.4956
37 | 2614643.8697 | 1197453.04
38 | 2614672.0168 | 1197403.7844
39 | 2614770.4389 | 1197513.6141
40 | 2614746.0349 | 1197505.2671
41 | 2614773.9323 | 1197514.809
42 | 2614703.8431 | 1197490.3349
43 | 2614797.5354 | 1197514.36
44 | 2614769.2225 | 1197514.8197
45 | 2614699.641 | 1197488.331
46 | 2614758.6837 | 1197514.8436
47 | 2614773.2395 | 1197571.0804
48 | 2614773.6586 | 1197571.0333
49 | 2614752.7964 | 1197573.3809
50 | 2614678.5973 | 1197477.6309
51 | 2614738.5584 | 1197514.8893
52 | 2614674.9783 | 1197475.3363
53 | 2614650.2017 | 1197457.2194
54 | 2614658.8123 | 1197456.3906
55 | 2614697.2318 | 1197453.7256
56 | 2614724.9459 | 1197454.7556
57 | 2614755.5525 | 1197457.0538
58 | 2614768.0686 | 1197457.2398
59 | 2614706.9143 | 1197514.3319
60 | 2614703.6152 | 1197696.5198
61 | 2614685.0332 | 1197581.0063
62 | 2614792.3013 | 1197457.7857
63 | 2614818.6661 | 1197458.0219
64 | 2614825.0594 | 1197457.8391
65 | 2614715.2717 | 1197699.3379
66 | 2614728.0183 | 1197514.9132
67 | 2614700.1603 | 1197579.304
68 | 2614707.0662 | 1197578.5269
69 | 2614729.1239 | 1197576.0448
70 | 2614731.6033 | 1197575.7658
71 | 2614751.2002 | 1197573.5605
72 | 2614619.2149 | 1197437.5778

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1