## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_608-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_608-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_608-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_608-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_608-3_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_608-3_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_608-3_0_5_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_608-3_0_5_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_608-3_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_608-3_0_5_node_75 | 0.4 | n |  | TRUE
10 | bus_LV_608-3_0_5_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_608-3_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_608-3_0_5_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_608-3_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_608-3_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_608-3_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_608-3_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_608-3_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_608-3_0_5_node_96 | 0.4 | n |  | TRUE
19 | bus_LV_608-3_0_5_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_608-3_0_5_node_100 | 0.4 | n |  | TRUE
21 | bus_LV_608-3_0_5_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_608-3_0_5_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_608-3_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_608-3_0_5_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_608-3_0_5_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_608-3_0_5_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_608-3_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_608-3_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_608-3_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_608-3_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_608-3_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_608-3_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_608-3_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_608-3_0_5_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_608-3_0_5_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_608-3_0_5_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_608-3_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_608-3_0_5_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_608-3_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_608-3_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_608-3_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_608-3_0_5_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_608-3_0_5_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_608-3_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_608-3_0_5_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_608-3_0_5_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_608-3_0_5_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_608-3_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_608-3_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_608-3_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_608-3_0_5_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_608-3_0_5_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_608-3_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_608-3_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_608-3_0_5_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_608-3_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_608-3_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_608-3_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_608-3_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_608-3_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_608-3_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_608-3_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_608-3_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_608-3_0_5_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_608-3_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_608-3_0_5_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_608-3_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_608-3_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_608-3_0_5_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_608-3_0_5_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_608-3_0_5_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_608-3_0_5_node_89 | 0.4 | n |  | TRUE
73 | bus_LV_608-3_0_5_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_608-3_0_5_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_608-3_0_5_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_608-3_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_608-3_0_5_node_93 | 0.4 | n |  | TRUE
78 | bus_LV_608-3_0_5_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_608-3_0_5_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_608-3_0_5_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_608-3_0_5_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_608-3_0_5_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_608-3_0_5_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_608-3_0_5_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_608-3_0_5_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_608-3_0_5_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_608-3_0_5_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_608-3_0_5_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_608-3_0_5_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_608-3_0_5_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_608-3_0_5_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_608-3_0_5_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_608-3_0_5_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_608-3_0_5_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_608-3_0_5_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_608-3_0_5_node_99 | 0.4 | n |  | TRUE
97 | bus_MV_94_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_608-3_0_5_load_0 | 0 | 0.0091209 | 0.0022859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_608-3_0_5_load_1 | 1 | 0.00423 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_608-3_0_5_load_13 | 7 | 0.0047745 | 0.0011966 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_608-3_0_5_load_12 | 8 | 0.035691 | 0.0089451 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_608-3_0_5_load_75 | 9 | 0.0022463 | 0.00056298 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_608-3_0_5_load_65 | 10 | 0.0038288 | 0.0009596 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_608-3_0_5_load_9 | 11 | 0.028715 | 0.0071965 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_608-3_0_5_load_74 | 12 | 0.0027202 | 0.00068174 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_608-3_0_5_load_6 | 13 | 0.045842 | 0.011489 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_608-3_0_5_load_7 | 14 | 0.015977 | 0.0040043 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_608-3_0_5_load_96 | 18 | 0.0068954 | 0.0017281 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_608-3_0_5_load_100 | 20 | 0.0388 | 0.0097242 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_608-3_0_5_load_29 | 22 | 0.003998 | 0.001002 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_608-3_0_5_load_95 | 25 | 0.0014108 | 0.00035357 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_608-3_0_5_load_79 | 26 | 0.0022588 | 0.00056611 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_608-3_0_5_load_16 | 27 | 0.0062229 | 0.0015596 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_608-3_0_5_load_21 | 32 | 0.0085313 | 0.0021381 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_608-3_0_5_load_54 | 34 | 0.010776 | 0.0027008 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_608-3_0_5_load_53 | 35 | 0.0033835 | 0.00084798 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_608-3_0_5_load_25 | 37 | 0.0032341 | 0.00081055 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_608-3_0_5_load_49 | 40 | 0.0046825 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_608-3_0_5_load_34 | 41 | 0.0091017 | 0.0022811 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_608-3_0_5_load_52 | 42 | 0.017437 | 0.0043701 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_608-3_0_5_load_82 | 43 | 0.0021721 | 0.00054439 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_608-3_0_5_load_24 | 44 | 0.011563 | 0.002898 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_608-3_0_5_load_70 | 45 | 0.0029781 | 0.00074639 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_608-3_0_5_load_67 | 46 | 0.0032855 | 0.00082342 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_608-3_0_5_load_91 | 47 | 0.0035508 | 0.00088992 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_608-3_0_5_load_46 | 49 | 0.0041707 | 0.0010453 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_608-3_0_5_load_42 | 50 | 0.002897 | 0.00072606 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_608-3_0_5_load_28 | 52 | 0.028763 | 0.0072087 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_608-3_0_5_load_31 | 53 | 0.0058402 | 0.0014637 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_608-3_0_5_load_35 | 55 | 0.0023051 | 0.00057772 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_608-3_0_5_load_36 | 56 | 0.018434 | 0.0046199 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_608-3_0_5_load_40 | 57 | 0.0068917 | 0.0017272 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_608-3_0_5_load_37 | 59 | 0.029627 | 0.0074252 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_608-3_0_5_load_60 | 62 | 0.020345 | 0.0050988 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_608-3_0_5_load_85 | 64 | 0.0047593 | 0.0011928 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_608-3_0_5_load_56 | 65 | 0.0017432 | 0.00043689 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_608-3_0_5_load_43 | 67 | 0.0023494 | 0.00058883 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_608-3_0_5_load_50 | 70 | 0.0015504 | 0.00038856 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_608-3_0_5_load_89 | 72 | 0.0070583 | 0.001769 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_608-3_0_5_load_94 | 75 | 0.0022834 | 0.00057228 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_608-3_0_5_load_71 | 76 | 0.041089 | 0.010298 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_608-3_0_5_load_93 | 77 | 0.0011349 | 0.00028445 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_608-3_0_5_load_55 | 78 | 0.011051 | 0.0027696 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_608-3_0_5_load_57 | 79 | 0.0064385 | 0.0016136 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_608-3_0_5_load_59 | 80 | 0.0014711 | 0.00036869 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_608-3_0_5_load_86 | 81 | 0.0097237 | 0.002437 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_608-3_0_5_load_63 | 83 | 0.0027198 | 0.00068165 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_608-3_0_5_load_90 | 84 | 0.0037297 | 0.00093474 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_608-3_0_5_load_66 | 85 | 0.0041565 | 0.0010417 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_608-3_0_5_load_68 | 86 | 0.0025995 | 0.00065151 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_608-3_0_5_load_77 | 87 | 0.0043894 | 0.0011001 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_608-3_0_5_load_78 | 88 | 0.010737 | 0.002691 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_608-3_0_5_load_72 | 89 | 0.015917 | 0.0039892 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_608-3_0_5_load_76 | 90 | 0.0027254 | 0.00068305 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_608-3_0_5_load_83 | 91 | 0.012955 | 0.0032469 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_608-3_0_5_load_84 | 92 | 0.011498 | 0.0028816 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_608-3_0_5_load_97 | 94 | 0.0025887 | 0.00064879 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_608-3_0_5_load_99 | 96 | 0.0038191 | 0.00095716 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_608-3_0_5_line_0 |  | 0 | 1 | 0.035123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_608-3_0_5_line_1 |  | 0 | 2 | 0.0053225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_608-3_0_5_line_2 |  | 1 | 3 | 0.0099505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_608-3_0_5_line_3 |  | 2 | 4 | 0.014083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_608-3_0_5_line_4 |  | 2 | 5 | 0.10936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_608-3_0_5_line_5 |  | 3 | 6 | 0.005014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_608-3_0_5_line_6 |  | 4 | 7 | 0.035825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_608-3_0_5_line_7 |  | 4 | 8 | 0.031262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_608-3_0_5_line_8 |  | 5 | 9 | 0.012617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_608-3_0_5_line_9 |  | 6 | 10 | 0.014558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_608-3_0_5_line_10 |  | 8 | 11 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_608-3_0_5_line_11 |  | 9 | 12 | 0.019184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_608-3_0_5_line_12 |  | 11 | 14 | 0.0083586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_608-3_0_5_line_13 |  | 12 | 90 | 0.0092273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_608-3_0_5_line_14 |  | 13 | 14 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_608-3_0_5_line_15 |  | 13 | 15 | 0.031182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_608-3_0_5_line_16 |  | 15 | 16 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_608-3_0_5_line_17 |  | 15 | 17 | 0.045482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_608-3_0_5_line_18 |  | 16 | 18 | 0.038875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_608-3_0_5_line_19 |  | 16 | 19 | 0.025471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_608-3_0_5_line_20 |  | 17 | 20 | 0.007235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_608-3_0_5_line_21 |  | 19 | 21 | 0.005289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_608-3_0_5_line_22 |  | 19 | 22 | 0.017556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_608-3_0_5_line_23 |  | 21 | 41 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_608-3_0_5_line_24 |  | 21 | 53 | 0.0061882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_608-3_0_5_line_25 |  | 22 | 52 | 0.032552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_608-3_0_5_line_26 |  | 23 | 24 | 0.072524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_608-3_0_5_line_27 |  | 23 | 25 | 0.042633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_608-3_0_5_line_28 |  | 24 | 26 | 0.030122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_608-3_0_5_line_29 |  | 26 | 88 | 0.0087139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_608-3_0_5_line_30 |  | 27 | 28 | 0.030793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_608-3_0_5_line_31 |  | 27 | 29 | 0.012095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_608-3_0_5_line_32 |  | 28 | 30 | 0.017553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_608-3_0_5_line_33 |  | 28 | 31 | 0.048054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_608-3_0_5_line_34 |  | 28 | 32 | 0.028883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_608-3_0_5_line_35 |  | 29 | 33 | 0.018721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_608-3_0_5_line_36 |  | 30 | 34 | 0.0059591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_608-3_0_5_line_37 |  | 30 | 35 | 0.025165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_608-3_0_5_line_38 |  | 31 | 36 | 0.01911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_608-3_0_5_line_39 |  | 31 | 37 | 0.016332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_608-3_0_5_line_40 |  | 32 | 38 | 0.026396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_608-3_0_5_line_41 |  | 33 | 39 | 0.008758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_608-3_0_5_line_42 |  | 33 | 40 | 0.010825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_608-3_0_5_line_43 |  | 34 | 41 | 0.035857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_608-3_0_5_line_44 |  | 35 | 42 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_608-3_0_5_line_45 |  | 36 | 43 | 0.0090425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_608-3_0_5_line_46 |  | 37 | 44 | 0.022665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_608-3_0_5_line_47 |  | 38 | 45 | 0.0002205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_608-3_0_5_line_48 |  | 38 | 46 | 0.014632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_608-3_0_5_line_49 |  | 39 | 47 | 0.028566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_608-3_0_5_line_50 |  | 42 | 56 | 0.0012883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_608-3_0_5_line_51 |  | 43 | 91 | 0.021691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_608-3_0_5_line_52 |  | 45 | 87 | 0.022038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_608-3_0_5_line_53 |  | 46 | 85 | 3.929e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_608-3_0_5_line_54 |  | 47 | 51 | 0.01532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_608-3_0_5_line_55 |  | 48 | 49 | 0.021405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_608-3_0_5_line_56 |  | 48 | 50 | 0.0080407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_608-3_0_5_line_57 |  | 49 | 70 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_608-3_0_5_line_58 |  | 50 | 67 | 0.017599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_608-3_0_5_line_59 |  | 51 | 77 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_608-3_0_5_line_60 |  | 54 | 55 | 0.0051727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_608-3_0_5_line_61 |  | 54 | 56 | 0.021072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_608-3_0_5_line_62 |  | 55 | 57 | 0.033999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_608-3_0_5_line_63 |  | 57 | 58 | 0.025696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_608-3_0_5_line_64 |  | 58 | 59 | 0.015073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_608-3_0_5_line_65 |  | 59 | 60 | 0.025484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_608-3_0_5_line_66 |  | 60 | 61 | 0.017534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_608-3_0_5_line_67 |  | 61 | 62 | 0.01725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_608-3_0_5_line_68 |  | 62 | 66 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_608-3_0_5_line_69 |  | 63 | 64 | 0.0051559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_608-3_0_5_line_70 |  | 63 | 65 | 0.018747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_608-3_0_5_line_71 |  | 64 | 69 | 0.011441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_608-3_0_5_line_72 |  | 65 | 78 | 0.0086247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_608-3_0_5_line_73 |  | 66 | 83 | 0.0091042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_608-3_0_5_line_74 |  | 67 | 68 | 0.036843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_608-3_0_5_line_75 |  | 68 | 69 | 0.035179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_608-3_0_5_line_76 |  | 69 | 71 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_608-3_0_5_line_77 |  | 70 | 73 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_608-3_0_5_line_78 |  | 71 | 72 | 0.033212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_608-3_0_5_line_79 |  | 73 | 74 | 0.02978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_608-3_0_5_line_80 |  | 73 | 75 | 0.020848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_608-3_0_5_line_81 |  | 74 | 76 | 0.045807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_608-3_0_5_line_82 |  | 75 | 77 | 0.01415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_608-3_0_5_line_83 |  | 76 | 89 | 0.011267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_608-3_0_5_line_84 |  | 78 | 79 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_608-3_0_5_line_85 |  | 79 | 80 | 0.020995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_608-3_0_5_line_86 |  | 80 | 81 | 0.02428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_608-3_0_5_line_87 |  | 81 | 82 | 0.054303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_608-3_0_5_line_88 |  | 82 | 93 | 0.040706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_608-3_0_5_line_89 |  | 83 | 84 | 0.085872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_608-3_0_5_line_90 |  | 85 | 86 | 0.026788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_608-3_0_5_line_91 |  | 87 | 88 | 0.016974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_608-3_0_5_line_92 |  | 91 | 92 | 0.0086778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_608-3_0_5_line_93 |  | 93 | 94 | 0.06224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_608-3_0_5_line_94 |  | 93 | 95 | 0.098382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_608-3_0_5_line_95 |  | 95 | 96 | 0.02335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_608-3_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 97 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2615315.03 | 1195260.373 | 2615330.1313 | 1195245.5804 | 2615340.0206 | 1195235.6941
1 | 2615311.2278 | 1195264.0975 | 2615315.03 | 1195260.373
2 | 2615347.0577 | 1195228.659 | 2615340.0206 | 1195235.6941
3 | 2615301.1536 | 1195273.966 | 2615311.2278 | 1195264.0975
4 | 2615311.2278 | 1195264.0975 | 2615317.9159 | 1195267.5053 | 2615323.1392 | 1195262.7494 | 2615326.2634 | 1195262.5462 | 2615363.5956 | 1195306.9541 | 2615360.2649 | 1195313.4379 | 2615362.0139 | 1195317.678 | 2615346.8662 | 1195333.3143
5 | 2615350.6095 | 1195225.1107 | 2615347.0577 | 1195228.659
6 | 2615301.1536 | 1195273.966 | 2615274.9866 | 1195298.4353
7 | 2615301.1536 | 1195273.966 | 2615295.1808 | 1195267.892 | 2615287.141 | 1195259.7116 | 2615279.2369 | 1195251.6725
8 | 2615346.8662 | 1195333.3143 | 2615337.7487 | 1195342.036
9 | 2615350.6095 | 1195225.1107 | 2615359.6906 | 1195213.7325
10 | 2615265.5683 | 1195237.7706 | 2615279.2369 | 1195251.6725
11 | 2615323.8857 | 1195355.2971 | 2615337.7487 | 1195342.036
12 | 2615265.5683 | 1195237.7706 | 2615263.7132 | 1195235.8838 | 2615259.2039 | 1195232.3766
13 | 2615323.8857 | 1195355.2971 | 2615317.2179 | 1195361.6754
14 | 2615249.5938 | 1195224.8866 | 2615252.1404 | 1195226.8829 | 2615259.2039 | 1195232.3766
15 | 2615233.4679 | 1195199.4542 | 2615237.0863 | 1195211.6699 | 2615238.2989 | 1195214.2077 | 2615240.0679 | 1195216.6135 | 2615243.4191 | 1195220.046 | 2615249.5938 | 1195224.8866
16 | 2615230.7715 | 1195187.2076 | 2615232.5765 | 1195196.4504 | 2615233.4679 | 1195199.4542
17 | 2615205.5018 | 1195234.6021 | 2615211.1181 | 1195222.0763 | 2615215.9076 | 1195217.0969 | 2615233.4679 | 1195199.4542
18 | 2615193.6829 | 1195175.285 | 2615215.0729 | 1195182.7209 | 2615222.2518 | 1195184.9625 | 2615230.7715 | 1195187.2076
19 | 2615231.2627 | 1195161.773 | 2615230.3982 | 1195178.1796 | 2615230.7715 | 1195187.2076
20 | 2615205.5018 | 1195234.6021 | 2615200.3463 | 1195239.6917
21 | 2615231.9312 | 1195156.5275 | 2615231.2627 | 1195161.773
22 | 2615231.2627 | 1195161.773 | 2615248.7646 | 1195163.1506
23 | 2615231.9312 | 1195156.5275 | 2615222.1469 | 1195154.2126 | 2615217.2026 | 1195152.4106
24 | 2615231.9312 | 1195156.5275 | 2615232.5449 | 1195150.3698
25 | 2615248.7646 | 1195163.1506 | 2615254.9068 | 1195163.634 | 2615258.4729 | 1195163.4097 | 2615261.6449 | 1195162.4061 | 2615263.8964 | 1195160.8776 | 2615266.6945 | 1195157.0939 | 2615273.6215 | 1195147.2176
26 | 2615101.3693 | 1195255.7172 | 2615107.7178 | 1195260.936 | 2615112.2224 | 1195266.2057 | 2615116.8146 | 1195272.9764 | 2615144.375 | 1195313.8009
27 | 2615144.375 | 1195313.8009 | 2615149.3986 | 1195309.6447 | 2615153.4111 | 1195304.6077 | 2615160.6444 | 1195294.2538 | 2615169.7735 | 1195279.8618
28 | 2615101.3693 | 1195255.7172 | 2615117.4917 | 1195230.2729
29 | 2615122.1557 | 1195222.9122 | 2615117.4917 | 1195230.2729
30 | 2615160.3782 | 1195137.2584 | 2615164.6129 | 1195128.7646 | 2615167.9044 | 1195122.6696 | 2615172.2119 | 1195115.51 | 2615175.324 | 1195110.3568
31 | 2615181.5766 | 1195100.0032 | 2615175.324 | 1195110.3568
32 | 2615160.3782 | 1195137.2584 | 2615165.9788 | 1195136.9613 | 2615169.9553 | 1195137.1603 | 2615177.9147 | 1195138.092
33 | 2615160.3782 | 1195137.2584 | 2615157.1386 | 1195137.8617 | 2615154.0757 | 1195137.9317 | 2615149.6957 | 1195137.5761 | 2615112.659 | 1195132.1132
34 | 2615160.3782 | 1195137.2584 | 2615153.8487 | 1195161.4548 | 2615152.7048 | 1195165.1004
35 | 2615181.5766 | 1195100.0032 | 2615178.7486 | 1195097.5392 | 2615176.9665 | 1195094.2441 | 2615176.4502 | 1195090.5408 | 2615177.2594 | 1195086.8853 | 2615179.3092 | 1195083.7444
36 | 2615177.9147 | 1195138.092 | 2615183.5135 | 1195140.1325
37 | 2615177.9147 | 1195138.092 | 2615181.0212 | 1195135.8654 | 2615185.312 | 1195132.2854 | 2615195.8779 | 1195120.5996
38 | 2615112.659 | 1195132.1132 | 2615093.7106 | 1195129.2418
39 | 2615112.659 | 1195132.1132 | 2615114.646 | 1195120.6454 | 2615116.4332 | 1195116.306
40 | 2615142.4339 | 1195189.3297 | 2615144.5305 | 1195185.7665 | 2615147.5631 | 1195179.5819 | 2615150.9454 | 1195170.7079 | 2615152.7048 | 1195165.1004
41 | 2615171.9691 | 1195078.9344 | 2615179.3092 | 1195083.7444
42 | 2615179.3092 | 1195083.7444 | 2615181.8437 | 1195081.772 | 2615185.4429 | 1195080.5471 | 2615189.252 | 1195080.679
43 | 2615183.5135 | 1195140.1325 | 2615217.2026 | 1195152.4106
44 | 2615195.8779 | 1195120.5996 | 2615197.2461 | 1195119.0864 | 2615201.1998 | 1195116.2726 | 2615204.5858 | 1195114.9916 | 2615211.0413 | 1195114.0853 | 2615213.3302 | 1195113.9012
45 | 2615093.7106 | 1195129.2418 | 2615091.535 | 1195138.0186
46 | 2615116.4332 | 1195116.306 | 2615118.2412 | 1195111.9165 | 2615124.337 | 1195102.5824 | 2615128.9867 | 1195097.6631
47 | 2615142.3219 | 1195189.5197 | 2615142.4339 | 1195189.3297
48 | 2615142.4339 | 1195189.3297 | 2615155.6136 | 1195195.6845
49 | 2615171.9691 | 1195078.9344 | 2615175.8463 | 1195073.2523 | 2615176.3621 | 1195071.1191 | 2615176.4296 | 1195068.5401 | 2615173.0366 | 1195051.9717
50 | 2615214.6144 | 1195113.798 | 2615213.3302 | 1195113.9012
51 | 2615091.535 | 1195138.0186 | 2615086.8449 | 1195156.9392 | 2615086.0786 | 1195158.9992
52 | 2615142.3219 | 1195189.5197 | 2615133.6806 | 1195204.1711 | 2615131.0755 | 1195208.4718
53 | 2615155.6136 | 1195195.6845 | 2615155.649 | 1195195.7016
54 | 2615169.9648 | 1195036.9626 | 2615171.628 | 1195045.0933 | 2615173.0366 | 1195051.9717
55 | 2615221.5704 | 1195072.1007 | 2615216.0868 | 1195053.2768 | 2615215.7698 | 1195051.5062
56 | 2615221.5704 | 1195072.1007 | 2615229.3123 | 1195069.9292
57 | 2615215.7698 | 1195051.5062 | 2615215.5909 | 1195050.5074 | 2615214.7632 | 1195034.3968 | 2615214.304 | 1195030.7658
58 | 2615229.3123 | 1195069.9292 | 2615239.9527 | 1195066.9446 | 2615246.2815 | 1195065.2651
59 | 2615169.9648 | 1195036.9626 | 2615171.9848 | 1195036.5786 | 2615175.4087 | 1195035.3644 | 2615180.5227 | 1195032.9967
60 | 2615235.565 | 1195111.6462 | 2615240.4468 | 1195109.9359
61 | 2615235.565 | 1195111.6462 | 2615228.8655 | 1195112.6519 | 2615214.6144 | 1195113.798
62 | 2615272.2138 | 1195097.8224 | 2615243.0001 | 1195109.0414 | 2615240.4468 | 1195109.9359
63 | 2615296.2015 | 1195088.6103 | 2615272.2138 | 1195097.8224
64 | 2615296.2015 | 1195088.6103 | 2615310.2319 | 1195083.1014
65 | 2615333.953 | 1195073.7876 | 2615310.2319 | 1195083.1014
66 | 2615333.953 | 1195073.7876 | 2615349.8272 | 1195066.2463
67 | 2615349.8272 | 1195066.2463 | 2615354.9737 | 1195073.7524 | 2615359.9967 | 1195080.1696
68 | 2615372.0204 | 1195093.3397 | 2615365.8028 | 1195087.5874 | 2615359.9967 | 1195080.1696
69 | 2615329.103 | 1195033.7316 | 2615324.3242 | 1195035.6672
70 | 2615329.103 | 1195033.7316 | 2615346.73 | 1195027.3503
71 | 2615313.7196 | 1195039.9624 | 2615324.3242 | 1195035.6672
72 | 2615354.8226 | 1195024.3682 | 2615350.4483 | 1195026.0043 | 2615346.73 | 1195027.3503
73 | 2615372.0204 | 1195093.3397 | 2615364.5154 | 1195098.4936
74 | 2615281.1748 | 1195053.5422 | 2615264.7555 | 1195059.7371 | 2615256.1768 | 1195062.6391 | 2615246.2815 | 1195065.2651
75 | 2615313.7196 | 1195039.9624 | 2615289.4804 | 1195050.2172 | 2615281.1748 | 1195053.5422
76 | 2615313.7196 | 1195039.9624 | 2615309.3537 | 1195028.0782
77 | 2615212.2822 | 1195018.293 | 2615212.8565 | 1195023.1415 | 2615214.2105 | 1195030.0264 | 2615214.304 | 1195030.7658
78 | 2615309.3537 | 1195028.0782 | 2615298.958 | 1194996.535
79 | 2615212.2822 | 1195018.293 | 2615211.7054 | 1195008.3863 | 2615210.6501 | 1195003.8812 | 2615207.6978 | 1194996.3253 | 2615204.6742 | 1194989.8808
80 | 2615212.2822 | 1195018.293 | 2615193.3632 | 1195027.052
81 | 2615204.6742 | 1194989.8808 | 2615248.7051 | 1194977.2505
82 | 2615180.5227 | 1195032.9967 | 2615193.3632 | 1195027.052
83 | 2615248.7051 | 1194977.2505 | 2615259.5353 | 1194974.1438
84 | 2615354.8226 | 1195024.3682 | 2615366.6502 | 1195019.9447
85 | 2615366.6502 | 1195019.9447 | 2615368.5455 | 1195019.2358 | 2615381.551 | 1195013.3327 | 2615385.6801 | 1195011.1117
86 | 2615406.836 | 1194999.2063 | 2615396.6498 | 1195005.2115 | 2615385.6801 | 1195011.1117
87 | 2615455.0075 | 1194974.2338 | 2615442.4903 | 1194979.7823 | 2615416.6267 | 1194993.4342 | 2615406.836 | 1194999.2063
88 | 2615455.0075 | 1194974.2338 | 2615451.0683 | 1194965.3856 | 2615450.0554 | 1194962.2591 | 2615444.1899 | 1194935.1518
89 | 2615324.0119 | 1195168.6127 | 2615333.0172 | 1195162.7214 | 2615342.3648 | 1195157.0311 | 2615345.7106 | 1195153.5934 | 2615348.5883 | 1195148.498 | 2615354.1585 | 1195127.3343 | 2615357.8754 | 1195112.8806 | 2615360.7627 | 1195101.0706 | 2615364.5154 | 1195098.4936
90 | 2615159.336 | 1195215.0638 | 2615165.4428 | 1195204.3291 | 2615165.6596 | 1195202.9623 | 2615165.5183 | 1195201.6056 | 2615164.8581 | 1195200.5478 | 2615163.6416 | 1195199.5554 | 2615155.649 | 1195195.7016
91 | 2615122.1557 | 1195222.9122 | 2615126.0759 | 1195216.7253 | 2615131.0755 | 1195208.4718
92 | 2615080.2812 | 1195164.5601 | 2615080.2812 | 1195164.5601 | 2615082.0722 | 1195164.309 | 2615083.8121 | 1195163.1905 | 2615085.3491 | 1195160.9598 | 2615086.0786 | 1195158.9992
93 | 2615385.4544 | 1194949.9645 | 2615399.7938 | 1194943.898 | 2615401.7378 | 1194943.4472 | 2615403.9923 | 1194943.7643 | 2615406.1092 | 1194944.2144 | 2615412.5654 | 1194946.0764 | 2615414.8509 | 1194946.1934 | 2615417.0691 | 1194945.7767 | 2615419.5629 | 1194944.8381 | 2615444.1899 | 1194935.1518
94 | 2615367.0915 | 1194929.451 | 2615437.4494 | 1194910.5325 | 2615444.1899 | 1194935.1518
95 | 2615344.4023 | 1194935.2294 | 2615367.0915 | 1194929.451

## bus_geodata
| x | y | coords
0 | 2615315.03 | 1195260.373
1 | 2615340.0206 | 1195235.6941
2 | 2615311.2278 | 1195264.0975
3 | 2615347.0577 | 1195228.659
4 | 2615301.1536 | 1195273.966
5 | 2615346.8662 | 1195333.3143
6 | 2615350.6095 | 1195225.1107
7 | 2615274.9866 | 1195298.4353
8 | 2615279.2369 | 1195251.6725
9 | 2615337.7487 | 1195342.036
10 | 2615359.6906 | 1195213.7325
11 | 2615265.5683 | 1195237.7706
12 | 2615323.8857 | 1195355.2971
13 | 2615249.5938 | 1195224.8866
14 | 2615259.2039 | 1195232.3766
15 | 2615233.4679 | 1195199.4542
16 | 2615230.7715 | 1195187.2076
17 | 2615205.5018 | 1195234.6021
18 | 2615193.6829 | 1195175.285
19 | 2615231.2627 | 1195161.773
20 | 2615200.3463 | 1195239.6917
21 | 2615231.9312 | 1195156.5275
22 | 2615248.7646 | 1195163.1506
23 | 2615144.375 | 1195313.8009
24 | 2615101.3693 | 1195255.7172
25 | 2615169.7735 | 1195279.8618
26 | 2615117.4917 | 1195230.2729
27 | 2615175.324 | 1195110.3568
28 | 2615160.3782 | 1195137.2584
29 | 2615181.5766 | 1195100.0032
30 | 2615177.9147 | 1195138.092
31 | 2615112.659 | 1195132.1132
32 | 2615152.7048 | 1195165.1004
33 | 2615179.3092 | 1195083.7444
34 | 2615183.5135 | 1195140.1325
35 | 2615195.8779 | 1195120.5996
36 | 2615093.7106 | 1195129.2418
37 | 2615116.4332 | 1195116.306
38 | 2615142.4339 | 1195189.3297
39 | 2615171.9691 | 1195078.9344
40 | 2615189.252 | 1195080.679
41 | 2615217.2026 | 1195152.4106
42 | 2615213.3302 | 1195113.9012
43 | 2615091.535 | 1195138.0186
44 | 2615128.9867 | 1195097.6631
45 | 2615142.3219 | 1195189.5197
46 | 2615155.6136 | 1195195.6845
47 | 2615173.0366 | 1195051.9717
48 | 2615221.5704 | 1195072.1007
49 | 2615215.7698 | 1195051.5062
50 | 2615229.3123 | 1195069.9292
51 | 2615169.9648 | 1195036.9626
52 | 2615273.6215 | 1195147.2176
53 | 2615232.5449 | 1195150.3698
54 | 2615235.565 | 1195111.6462
55 | 2615240.4468 | 1195109.9359
56 | 2615214.6144 | 1195113.798
57 | 2615272.2138 | 1195097.8224
58 | 2615296.2015 | 1195088.6103
59 | 2615310.2319 | 1195083.1014
60 | 2615333.953 | 1195073.7876
61 | 2615349.8272 | 1195066.2463
62 | 2615359.9967 | 1195080.1696
63 | 2615329.103 | 1195033.7316
64 | 2615324.3242 | 1195035.6672
65 | 2615346.73 | 1195027.3503
66 | 2615372.0204 | 1195093.3397
67 | 2615246.2815 | 1195065.2651
68 | 2615281.1748 | 1195053.5422
69 | 2615313.7196 | 1195039.9624
70 | 2615214.304 | 1195030.7658
71 | 2615309.3537 | 1195028.0782
72 | 2615298.958 | 1194996.535
73 | 2615212.2822 | 1195018.293
74 | 2615204.6742 | 1194989.8808
75 | 2615193.3632 | 1195027.052
76 | 2615248.7051 | 1194977.2505
77 | 2615180.5227 | 1195032.9967
78 | 2615354.8226 | 1195024.3682
79 | 2615366.6502 | 1195019.9447
80 | 2615385.6801 | 1195011.1117
81 | 2615406.836 | 1194999.2063
82 | 2615455.0075 | 1194974.2338
83 | 2615364.5154 | 1195098.4936
84 | 2615324.0119 | 1195168.6127
85 | 2615155.649 | 1195195.7016
86 | 2615159.336 | 1195215.0638
87 | 2615131.0755 | 1195208.4718
88 | 2615122.1557 | 1195222.9122
89 | 2615259.5353 | 1194974.1438
90 | 2615317.2179 | 1195361.6754
91 | 2615086.0786 | 1195158.9992
92 | 2615080.2812 | 1195164.5601
93 | 2615444.1899 | 1194935.1518
94 | 2615385.4544 | 1194949.9645
95 | 2615367.0915 | 1194929.451
96 | 2615344.4023 | 1194935.2294
97 | 2615231.9312 | 1195156.5275

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1