## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6082-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6082-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6082-11_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6082-11_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6082-11_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6082-11_0_6_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_6082-11_0_6_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_6082-11_0_6_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_6082-11_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6082-11_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6082-11_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6082-11_0_6_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_6082-11_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6082-11_0_6_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_6082-11_0_6_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_6082-11_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6082-11_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6082-11_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6082-11_0_6_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_6082-11_0_6_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_6082-11_0_6_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_6082-11_0_6_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_6082-11_0_6_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_6082-11_0_6_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_6082-11_0_6_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_6082-11_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6082-11_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_6082-11_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6082-11_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6082-11_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6082-11_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6082-11_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6082-11_0_6_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6082-11_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6082-11_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6082-11_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_6082-11_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_6082-11_0_6_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_6082-11_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6082-11_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_6082-11_0_6_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_6082-11_0_6_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_6082-11_0_6_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_6082-11_0_6_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_6082-11_0_6_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_6082-11_0_6_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_6082-11_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6082-11_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6082-11_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_6082-11_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6082-11_0_6_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6082-11_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6082-11_0_6_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6082-11_0_6_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6082-11_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_6082-11_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_6082-11_0_6_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_6082-11_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6082-11_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6082-11_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6082-11_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6082-11_0_6_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_6082-11_0_6_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_6082-11_0_6_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_6082-11_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_6082-11_0_6_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6082-11_0_6_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_6082-11_0_6_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_6082-11_0_6_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_6082-11_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6082-11_0_6_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_6082-11_0_6_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_6082-11_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_6082-11_0_6_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6082-11_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6082-11_0_6_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_6082-11_0_6_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_6082-11_0_6_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_6082-11_0_6_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_6082-11_0_6_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_6082-11_0_6_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_6082-11_0_6_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_6082-11_0_6_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_6082-11_0_6_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_6082-11_0_6_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_6082-11_0_6_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_6082-11_0_6_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_6082-11_0_6_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_6082-11_0_6_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_6082-11_0_6_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_6082-11_0_6_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_6082-11_0_6_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_95_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6082-11_0_6_load_0 | 0 | 0.017394 | 0.0043594 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6082-11_0_6_load_1 | 1 | 0.0098772 | 0.0024755 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6082-11_0_6_load_3 | 3 | 0.029804 | 0.0074695 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6082-11_0_6_load_4 | 4 | 0.014097 | 0.003533 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6082-11_0_6_load_34 | 7 | 0.011402 | 0.0028575 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6082-11_0_6_load_7 | 10 | 0.016104 | 0.004036 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6082-11_0_6_load_9 | 12 | 0.020881 | 0.0052334 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6082-11_0_6_load_54 | 14 | 0.015402 | 0.0038602 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6082-11_0_6_load_11 | 16 | 0.021458 | 0.0053778 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6082-11_0_6_load_8 | 17 | 0.022017 | 0.005518 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6082-11_0_6_load_56 | 18 | 0.028003 | 0.0070182 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6082-11_0_6_load_57 | 19 | 0.012886 | 0.0032296 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6082-11_0_6_load_31 | 21 | 0.0039746 | 0.00099612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6082-11_0_6_load_28 | 23 | 0.0070466 | 0.0017661 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6082-11_0_6_load_10 | 24 | 0.011834 | 0.0029659 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6082-11_0_6_load_14 | 26 | 0.011424 | 0.0028632 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6082-11_0_6_load_17 | 28 | 0.0062224 | 0.0015595 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6082-11_0_6_load_23 | 29 | 0.0036187 | 0.00090693 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6082-11_0_6_load_18 | 30 | 0.0071958 | 0.0018034 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6082-11_0_6_load_24 | 31 | 0.002554 | 0.00064009 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6082-11_0_6_load_29 | 32 | 0.0061542 | 0.0015424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6082-11_0_6_load_19 | 33 | 0.0046423 | 0.0011635 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6082-11_0_6_load_20 | 34 | 0.013687 | 0.0034303 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6082-11_0_6_load_26 | 35 | 0.0078983 | 0.0019795 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6082-11_0_6_load_21 | 36 | 0.007172 | 0.0017975 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6082-11_0_6_load_22 | 37 | 0.0077559 | 0.0019438 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6082-11_0_6_load_25 | 38 | 0.0099854 | 0.0025026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6082-11_0_6_load_27 | 39 | 0.0054697 | 0.0013708 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6082-11_0_6_load_43 | 40 | 0.0052365 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6082-11_0_6_load_46 | 42 | 0.0050223 | 0.0012587 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6082-11_0_6_load_42 | 43 | 0.0051677 | 0.0012952 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6082-11_0_6_load_59 | 45 | 0.0043406 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6082-11_0_6_load_44 | 46 | 0.0043365 | 0.0010868 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6082-11_0_6_load_33 | 47 | 0.007771 | 0.0019476 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6082-11_0_6_load_35 | 48 | 0.014497 | 0.0036332 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6082-11_0_6_load_37 | 49 | 0.0069695 | 0.0017467 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6082-11_0_6_load_39 | 50 | 0.0122 | 0.0030576 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6082-11_0_6_load_41 | 52 | 0.015417 | 0.003864 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6082-11_0_6_load_53 | 53 | 0.037507 | 0.0094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6082-11_0_6_load_52 | 54 | 0.019335 | 0.0048458 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6082-11_0_6_load_45 | 55 | 0.0052177 | 0.0013077 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6082-11_0_6_load_50 | 58 | 0.0091286 | 0.0022878 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6082-11_0_6_load_49 | 59 | 0.0098362 | 0.0024652 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6082-11_0_6_load_51 | 60 | 0.010646 | 0.0026681 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6082-11_0_6_load_61 | 61 | 0.0038517 | 0.00096533 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6082-11_0_6_load_76 | 62 | 0.0037993 | 0.00095219 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6082-11_0_6_load_74 | 64 | 0.0013433 | 0.00033666 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6082-11_0_6_load_65 | 67 | 0.0062947 | 0.0015776 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6082-11_0_6_load_68 | 69 | 0.0027516 | 0.00068962 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6082-11_0_6_load_69 | 71 | 0.0035761 | 0.00089625 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6082-11_0_6_load_73 | 74 | 0.0012189 | 0.00030548 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6082-11_0_6_load_88 | 75 | 0.0018031 | 0.0004519 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6082-11_0_6_load_92 | 76 | 0.0011966 | 0.00029989 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6082-11_0_6_load_87 | 77 | 0.0051259 | 0.0012847 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6082-11_0_6_load_94 | 78 | 0.0030121 | 0.00075491 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6082-11_0_6_load_91 | 79 | 0.0023705 | 0.0005941 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6082-11_0_6_load_77 | 80 | 0.0021129 | 0.00052955 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6082-11_0_6_load_90 | 82 | 0.0070892 | 0.0017767 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6082-11_0_6_load_80 | 84 | 0.0016779 | 0.00042052 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6082-11_0_6_load_81 | 85 | 0.0026764 | 0.00067076 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6082-11_0_6_load_82 | 86 | 0.0015181 | 0.00038047 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6082-11_0_6_load_83 | 88 | 0.0025774 | 0.00064596 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6082-11_0_6_load_86 | 90 | 0.0016407 | 0.00041119 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6082-11_0_6_load_93 | 91 | 0.0047476 | 0.0011899 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6082-11_0_6_line_0 |  | 0 | 1 | 0.024697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6082-11_0_6_line_1 |  | 0 | 2 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6082-11_0_6_line_2 |  | 1 | 3 | 0.0085195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6082-11_0_6_line_3 |  | 2 | 4 | 0.03566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6082-11_0_6_line_4 |  | 4 | 8 | 0.061294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6082-11_0_6_line_5 |  | 5 | 6 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6082-11_0_6_line_6 |  | 5 | 7 | 0.019701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6082-11_0_6_line_7 |  | 6 | 50 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6082-11_0_6_line_8 |  | 7 | 47 | 0.0037473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6082-11_0_6_line_9 |  | 8 | 9 | 0.002744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6082-11_0_6_line_10 |  | 8 | 10 | 0.026422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6082-11_0_6_line_11 |  | 9 | 11 | 0.038377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6082-11_0_6_line_12 |  | 9 | 12 | 0.020758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6082-11_0_6_line_13 |  | 10 | 13 | 0.026935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6082-11_0_6_line_14 |  | 11 | 14 | 0.027542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6082-11_0_6_line_15 |  | 11 | 15 | 0.039023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6082-11_0_6_line_16 |  | 12 | 17 | 0.028101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6082-11_0_6_line_17 |  | 13 | 18 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6082-11_0_6_line_18 |  | 13 | 19 | 0.013236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6082-11_0_6_line_19 |  | 15 | 16 | 0.021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6082-11_0_6_line_20 |  | 16 | 24 | 0.044721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6082-11_0_6_line_21 |  | 20 | 21 | 0.065378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6082-11_0_6_line_22 |  | 20 | 22 | 0.045209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6082-11_0_6_line_23 |  | 20 | 23 | 0.035436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6082-11_0_6_line_24 |  | 21 | 40 | 0.017117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6082-11_0_6_line_25 |  | 22 | 41 | 0.065859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6082-11_0_6_line_26 |  | 22 | 42 | 0.042888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6082-11_0_6_line_27 |  | 23 | 35 | 0.062625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6082-11_0_6_line_28 |  | 23 | 32 | 0.068229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6082-11_0_6_line_29 |  | 24 | 25 | 0.023118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6082-11_0_6_line_30 |  | 25 | 26 | 0.029425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6082-11_0_6_line_31 |  | 25 | 27 | 0.053494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6082-11_0_6_line_32 |  | 26 | 28 | 0.031551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6082-11_0_6_line_33 |  | 27 | 29 | 0.0096636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6082-11_0_6_line_34 |  | 28 | 30 | 0.017841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6082-11_0_6_line_35 |  | 29 | 31 | 0.047249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6082-11_0_6_line_36 |  | 30 | 33 | 0.0096319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6082-11_0_6_line_37 |  | 33 | 34 | 0.026702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6082-11_0_6_line_38 |  | 34 | 36 | 0.028489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6082-11_0_6_line_39 |  | 35 | 39 | 0.0086215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6082-11_0_6_line_40 |  | 35 | 38 | 0.072817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6082-11_0_6_line_41 |  | 36 | 37 | 0.036182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6082-11_0_6_line_42 |  | 37 | 38 | 0.034471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6082-11_0_6_line_43 |  | 40 | 43 | 0.018322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6082-11_0_6_line_44 |  | 41 | 44 | 0.10903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6082-11_0_6_line_45 |  | 41 | 45 | 0.063388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6082-11_0_6_line_46 |  | 42 | 46 | 0.021855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6082-11_0_6_line_47 |  | 43 | 49 | 0.027401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6082-11_0_6_line_48 |  | 44 | 61 | 0.023983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6082-11_0_6_line_49 |  | 45 | 62 | 0.13022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6082-11_0_6_line_50 |  | 46 | 55 | 0.027342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6082-11_0_6_line_51 |  | 47 | 48 | 0.049002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6082-11_0_6_line_52 |  | 48 | 49 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6082-11_0_6_line_53 |  | 50 | 51 | 0.024779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6082-11_0_6_line_54 |  | 51 | 52 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6082-11_0_6_line_55 |  | 51 | 53 | 0.040447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6082-11_0_6_line_56 |  | 53 | 54 | 0.0015675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6082-11_0_6_line_57 |  | 55 | 56 | 0.064519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6082-11_0_6_line_58 |  | 56 | 57 | 0.008326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6082-11_0_6_line_59 |  | 57 | 58 | 0.018476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6082-11_0_6_line_60 |  | 58 | 59 | 0.020074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6082-11_0_6_line_61 |  | 59 | 60 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6082-11_0_6_line_62 |  | 61 | 65 | 0.042966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6082-11_0_6_line_63 |  | 62 | 63 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6082-11_0_6_line_64 |  | 63 | 64 | 0.029262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6082-11_0_6_line_65 |  | 64 | 78 | 0.18454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6082-11_0_6_line_66 |  | 65 | 66 | 0.007381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6082-11_0_6_line_67 |  | 66 | 67 | 0.0039492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6082-11_0_6_line_68 |  | 67 | 68 | 0.01724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6082-11_0_6_line_69 |  | 68 | 69 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6082-11_0_6_line_70 |  | 69 | 70 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_6082-11_0_6_line_71 |  | 70 | 71 | 0.01202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_6082-11_0_6_line_72 |  | 71 | 72 | 0.14299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_6082-11_0_6_line_73 |  | 72 | 75 | 0.070853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6082-11_0_6_line_74 |  | 72 | 73 | 0.085072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6082-11_0_6_line_75 |  | 73 | 74 | 0.0075101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6082-11_0_6_line_76 |  | 74 | 76 | 0.040887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6082-11_0_6_line_77 |  | 75 | 77 | 0.069417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6082-11_0_6_line_78 |  | 77 | 83 | 0.13275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6082-11_0_6_line_79 |  | 78 | 79 | 0.044468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6082-11_0_6_line_80 |  | 79 | 81 | 0.071229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6082-11_0_6_line_81 |  | 80 | 81 | 0.15459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6082-11_0_6_line_82 |  | 81 | 82 | 0.051706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6082-11_0_6_line_83 |  | 82 | 91 | 0.0239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6082-11_0_6_line_84 |  | 83 | 84 | 0.031661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6082-11_0_6_line_85 |  | 84 | 85 | 0.085593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6082-11_0_6_line_86 |  | 85 | 86 | 0.025598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6082-11_0_6_line_87 |  | 86 | 87 | 0.036783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6082-11_0_6_line_88 |  | 87 | 88 | 0.072726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6082-11_0_6_line_89 |  | 88 | 89 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6082-11_0_6_line_90 |  | 89 | 90 | 0.030226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6082-11_0_6_trafo_25 | 0.63 MVA 20/0.4 kV | 92 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2597019.1309 | 1127100.0407 | 2597024.9961 | 1127100.0377 | 2597039.9473 | 1127111.4882
1 | 2596999.8909 | 1127099.1278 | 2597012.0661 | 1127100.0443 | 2597019.1309 | 1127100.0407
2 | 2597046.7111 | 1127116.6683 | 2597039.9473 | 1127111.4882
3 | 2596999.8909 | 1127099.1278 | 2597032.6161 | 1127084.9621
4 | 2597092.1527 | 1127073.6358 | 2597050.4902 | 1127077.2249 | 2597032.6161 | 1127084.9621
5 | 2597288.0585 | 1127069.9406 | 2597279.5441 | 1127053.9034
6 | 2597279.5441 | 1127053.9034 | 2597282.9304 | 1127044.853 | 2597282.9258 | 1127034.8148 | 2597282.9258 | 1127034.8148
7 | 2597288.0585 | 1127069.9406 | 2597307.0312 | 1127064.9562
8 | 2597279.9983 | 1127032.4754 | 2597282.9258 | 1127034.8148
9 | 2597092.1527 | 1127073.6358 | 2597092.6304 | 1127073.5911 | 2597094.8803 | 1127073.2677
10 | 2597092.1527 | 1127073.6358 | 2597090.8573 | 1127087.6211 | 2597095.1287 | 1127092.7548 | 2597100.2878 | 1127095.1751
11 | 2597094.8803 | 1127073.2677 | 2597110.144 | 1127071.0813 | 2597115.695 | 1127061.385 | 2597127.4005 | 1127062.7466
12 | 2597094.8803 | 1127073.2677 | 2597079.1788 | 1127062.837 | 2597077.6235 | 1127061.7324
13 | 2597121.8522 | 1127109.4498 | 2597120.3552 | 1127105.2485 | 2597115.0831 | 1127102.1162 | 2597100.2878 | 1127095.1751
14 | 2597127.4005 | 1127062.7466 | 2597133.0131 | 1127068.5912 | 2597141.2931 | 1127077.2247 | 2597145.1907 | 1127083.6053
15 | 2597107.8392 | 1127038.0219 | 2597105.9652 | 1127050.5845 | 2597115.695 | 1127061.385 | 2597127.4005 | 1127062.7466
16 | 2597056.2989 | 1127043.5255 | 2597069.5125 | 1127055.9718 | 2597077.6235 | 1127061.7324
17 | 2597121.8522 | 1127109.4498 | 2597111.4501 | 1127110.3776
18 | 2597121.8522 | 1127109.4498 | 2597132.9028 | 1127116.7349
19 | 2597107.8392 | 1127038.0219 | 2597102.7138 | 1127035.5899 | 2597088.5794 | 1127028.8692
20 | 2597049.607 | 1127007.1938 | 2597057.8634 | 1127013.3791 | 2597080.2696 | 1127024.918 | 2597088.5794 | 1127028.8692
21 | 2597234.5878 | 1126935.6334 | 2597240.3147 | 1126938.8879 | 2597255.661 | 1126930.899 | 2597268.1401 | 1126921.7443 | 2597276.3241 | 1126922.6299 | 2597287.7087 | 1126929.3723 | 2597291.6237 | 1126931.6911
22 | 2597261.7897 | 1126903.5273 | 2597259.7408 | 1126905.218 | 2597256.6546 | 1126913.4012 | 2597254.9168 | 1126921.5282 | 2597247.0844 | 1126930.8252 | 2597234.5878 | 1126935.6334
23 | 2597234.5878 | 1126935.6334 | 2597229.2377 | 1126930.8114 | 2597230.042 | 1126920.4615 | 2597226.8311 | 1126909.3465 | 2597224.4064 | 1126903.5503
24 | 2597297.5716 | 1126945.0199 | 2597297.5716 | 1126945.0199 | 2597298.2299 | 1126935.6039 | 2597291.6237 | 1126931.6911
25 | 2597310.0554 | 1126861.8181 | 2597305.7673 | 1126870.6577 | 2597292.4724 | 1126882.4695 | 2597279.4982 | 1126887.7559 | 2597270.6418 | 1126899.2544 | 2597261.7897 | 1126903.5273
26 | 2597261.7897 | 1126903.5273 | 2597275.5221 | 1126904.8216 | 2597302.9173 | 1126906.8099 | 2597304.5132 | 1126907.1285
27 | 2597224.4064 | 1126903.5503 | 2597164.5975 | 1126922.1176
28 | 2597224.4064 | 1126903.5503 | 2597210.2834 | 1126869.7906 | 2597203.5574 | 1126856.2094 | 2597190.8344 | 1126845.7375
29 | 2597037.1535 | 1126988.6107 | 2597037.3315 | 1126990.1224 | 2597043.2865 | 1127002.4588 | 2597049.607 | 1127007.1938
30 | 2597037.1535 | 1126988.6107 | 2597047.3428 | 1126977.9559 | 2597053.7061 | 1126974.6734 | 2597061.0872 | 1126973.221
31 | 2597034.4765 | 1126936.3755 | 2597037.7777 | 1126942.6547 | 2597039.3496 | 1126957.9613 | 2597035.9153 | 1126978.0951 | 2597037.1535 | 1126988.6107
32 | 2597091.6224 | 1126965.4332 | 2597075.5806 | 1126970.3271 | 2597062.2587 | 1126972.9905 | 2597061.0872 | 1126973.221
33 | 2597034.4765 | 1126936.3755 | 2597033.0758 | 1126926.8139
34 | 2597091.6224 | 1126965.4332 | 2597092.1146 | 1126965.2831 | 2597098.9871 | 1126963.0453 | 2597102.4917 | 1126959.9754 | 2597104.8703 | 1126955.083 | 2597104.8703 | 1126955.083
35 | 2597049.863 | 1126886.3545 | 2597039.5808 | 1126896.4312 | 2597032.1037 | 1126907.0624 | 2597031.7392 | 1126917.69 | 2597033.0758 | 1126926.8139
36 | 2597103.2649 | 1126945.8371 | 2597105.1454 | 1126950.3249 | 2597104.8703 | 1126955.083
37 | 2597092.7704 | 1126923.2082 | 2597091.355 | 1126924.9972 | 2597092.0968 | 1126929.2322 | 2597095.606 | 1126935.3779 | 2597102.3372 | 1126943.6231 | 2597103.2649 | 1126945.8371
38 | 2597092.7704 | 1126923.2082 | 2597095.1824 | 1126920.1596 | 2597098.2407 | 1126918.2905 | 2597104.4579 | 1126915.4083 | 2597111.4323 | 1126916.7611 | 2597115.0107 | 1126922.6955 | 2597115.0799 | 1126922.8065
39 | 2597161.7191 | 1126913.9909 | 2597164.5975 | 1126922.1176
40 | 2597148.7451 | 1126982.9307 | 2597154.8411 | 1126984.6508 | 2597159.7785 | 1126980.6242 | 2597162.0623 | 1126970.596 | 2597167.5015 | 1126952.3179 | 2597168.3986 | 1126943.0351 | 2597167.3289 | 1126929.8292 | 2597164.5975 | 1126922.1176
41 | 2597136.9847 | 1126951.5237 | 2597133.8865 | 1126947.2427 | 2597119.8615 | 1126930.4747 | 2597115.0799 | 1126922.8065
42 | 2597136.9847 | 1126951.5237 | 2597138.9371 | 1126954.2215 | 2597142.3083 | 1126961.9125 | 2597143.571 | 1126975.7408 | 2597148.7451 | 1126982.9307 | 2597148.7451 | 1126982.9307
43 | 2597291.6671 | 1126962.3643 | 2597292.1001 | 1126960.9968 | 2597297.5716 | 1126945.0199
44 | 2597310.0554 | 1126861.8181 | 2597311.4951 | 1126858.8493 | 2597310.468 | 1126854.1252 | 2597312.6716 | 1126836.4823 | 2597317.2169 | 1126834.0457 | 2597342.7912 | 1126830.1878 | 2597366.5431 | 1126835.3352 | 2597362.3183 | 1126830.8127 | 2597347.847 | 1126814.778
45 | 2597310.0554 | 1126861.8181 | 2597316.5526 | 1126864.283 | 2597327.3082 | 1126860.2205 | 2597342.8902 | 1126861.692 | 2597349.1962 | 1126867.6031 | 2597353.6564 | 1126881.2745 | 2597359.0206 | 1126884.5143
46 | 2597325.1587 | 1126913.2082 | 2597321.4207 | 1126910.5033 | 2597304.5132 | 1126907.1285
47 | 2597288.9085 | 1126989.2736 | 2597288.2244 | 1126978.4182 | 2597288.2228 | 1126974.872 | 2597290.4842 | 1126966.1001 | 2597291.6671 | 1126962.3643
48 | 2597347.847 | 1126814.778 | 2597326.4461 | 1126803.9533
49 | 2597359.0206 | 1126884.5143 | 2597488.5988 | 1126871.5855
50 | 2597325.1587 | 1126913.2082 | 2597338.063 | 1126922.546 | 2597345.2454 | 1126931.4161
51 | 2597279.9983 | 1127032.4754 | 2597265.9362 | 1127021.2383 | 2597265.9321 | 1127012.3784 | 2597286.8034 | 1127004.9874 | 2597286.8034 | 1127004.9874
52 | 2597286.8034 | 1127004.9874 | 2597287.8872 | 1126999.1618 | 2597288.9852 | 1126990.4904 | 2597288.9085 | 1126989.2736
53 | 2597330.9969 | 1127058.66 | 2597307.0312 | 1127064.9562
54 | 2597350.8774 | 1127075.7704 | 2597330.9969 | 1127058.66
55 | 2597330.9969 | 1127058.66 | 2597361.6457 | 1127032.2666
56 | 2597361.6457 | 1127032.2666 | 2597363.0361 | 1127032.9905
57 | 2597384.6019 | 1126982.5099 | 2597383.4066 | 1126980.4317 | 2597352.157 | 1126939.9482 | 2597346.76 | 1126933.2918 | 2597345.7114 | 1126931.9916 | 2597345.2454 | 1126931.4161
58 | 2597384.6019 | 1126982.5099 | 2597388.7508 | 1126989.7338
59 | 2597388.7508 | 1126989.7338 | 2597381.8844 | 1126988.3807 | 2597377.9531 | 1126985.292 | 2597374.6012 | 1126979.7482
60 | 2597358.5316 | 1126968.3063 | 2597360.3768 | 1126969.1253 | 2597367.6142 | 1126973.0351 | 2597373.0949 | 1126977.2569 | 2597374.6012 | 1126979.7482
61 | 2597342.2878 | 1126961.0962 | 2597358.5316 | 1126968.3063
62 | 2597289.1883 | 1126812.6037 | 2597297.5445 | 1126802.1503 | 2597307.9774 | 1126800.0667 | 2597324.747 | 1126803.0939 | 2597326.4461 | 1126803.9533
63 | 2597514.7071 | 1126877.1021 | 2597500.2659 | 1126876.2078 | 2597488.5988 | 1126871.5855
64 | 2597514.7071 | 1126877.1021 | 2597526.5513 | 1126877.8308 | 2597543.835 | 1126875.8646
65 | 2597616.8138 | 1126706.365 | 2597543.835 | 1126875.8646
66 | 2597289.1883 | 1126812.6037 | 2597282.475 | 1126809.4941
67 | 2597282.475 | 1126809.4941 | 2597279.0065 | 1126807.6059
68 | 2597273.8977 | 1126791.5116 | 2597279.004 | 1126802.3145 | 2597279.0065 | 1126807.6059
69 | 2597273.8977 | 1126791.5116 | 2597262.3259 | 1126787.4493
70 | 2597252.7721 | 1126784.0955 | 2597262.3259 | 1126787.4493
71 | 2597252.7721 | 1126784.0955 | 2597252.891 | 1126772.0765
72 | 2597252.891 | 1126772.0765 | 2597201.8974 | 1126638.493
73 | 2597201.8974 | 1126638.493 | 2597208.6766 | 1126633.7208 | 2597211.956 | 1126626.5491 | 2597218.7404 | 1126600.2219 | 2597223.7756 | 1126590.3036 | 2597237.0318 | 1126580.7047
74 | 2597201.8974 | 1126638.493 | 2597201.6364 | 1126640.6831 | 2597192.8532 | 1126644.5447 | 2597119.5859 | 1126650.5052
75 | 2597119.5859 | 1126650.5052 | 2597112.6931 | 1126647.5235
76 | 2597075.1664 | 1126631.2907 | 2597112.6931 | 1126647.5235
77 | 2597303.1353 | 1126575.3372 | 2597303.1353 | 1126575.3372 | 2597290.1266 | 1126574.2204 | 2597272.4007 | 1126570.9381 | 2597256.7103 | 1126570.0672 | 2597247.3102 | 1126573.2621 | 2597237.0318 | 1126580.7047
78 | 2597347.2202 | 1126450.1229 | 2597303.1353 | 1126575.3372
79 | 2597580.0482 | 1126683.407 | 2597590.4005 | 1126686.0776 | 2597598.2311 | 1126689.1759 | 2597610.835 | 1126699.887 | 2597616.8138 | 1126706.365
80 | 2597520.2114 | 1126645.3758 | 2597567.271 | 1126677.9387 | 2597574.74 | 1126682.0376 | 2597580.0482 | 1126683.407
81 | 2597520.2114 | 1126645.3758 | 2597566.984 | 1126498.0306
82 | 2597520.2114 | 1126645.3758 | 2597498.7776 | 1126656.3792 | 2597503.6594 | 1126683.557
83 | 2597503.6594 | 1126683.557 | 2597503.6594 | 1126683.557 | 2597485.0145 | 1126698.51
84 | 2597347.2202 | 1126450.1229 | 2597336.0094 | 1126420.5135
85 | 2597336.0094 | 1126420.5135 | 2597336.0094 | 1126420.5135 | 2597358.349 | 1126365.8768 | 2597360.1768 | 1126339.3744
86 | 2597360.1768 | 1126339.3744 | 2597361.1284 | 1126325.5782 | 2597366.9234 | 1126324.9308 | 2597371.6562 | 1126321.3449
87 | 2597400.1968 | 1126299.4814 | 2597391.424 | 1126310.813 | 2597374.5426 | 1126319.1579 | 2597371.6562 | 1126321.3449
88 | 2597400.1968 | 1126299.4814 | 2597381.295 | 1126287.7507 | 2597372.4388 | 1126284.7088 | 2597361.3725 | 1126285.6364 | 2597339.5051 | 1126294.5617 | 2597333.4261 | 1126296.5361
89 | 2597317.3775 | 1126290.2363 | 2597322.3888 | 1126294.6584 | 2597327.3297 | 1126296.9461 | 2597331.9306 | 1126297.0219 | 2597333.4261 | 1126296.5361
90 | 2597317.3775 | 1126290.2363 | 2597315.9456 | 1126293.7053 | 2597312.228 | 1126303.9564 | 2597308.2386 | 1126309.5943 | 2597307.6009 | 1126318.2328

## bus_geodata
| x | y | coords
0 | 2597019.1309 | 1127100.0407
1 | 2597039.9473 | 1127111.4882
2 | 2596999.8909 | 1127099.1278
3 | 2597046.7111 | 1127116.6683
4 | 2597032.6161 | 1127084.9621
5 | 2597279.5441 | 1127053.9034
6 | 2597288.0585 | 1127069.9406
7 | 2597282.9258 | 1127034.8148
8 | 2597092.1527 | 1127073.6358
9 | 2597094.8803 | 1127073.2677
10 | 2597100.2878 | 1127095.1751
11 | 2597127.4005 | 1127062.7466
12 | 2597077.6235 | 1127061.7324
13 | 2597121.8522 | 1127109.4498
14 | 2597145.1907 | 1127083.6053
15 | 2597107.8392 | 1127038.0219
16 | 2597088.5794 | 1127028.8692
17 | 2597056.2989 | 1127043.5255
18 | 2597111.4501 | 1127110.3776
19 | 2597132.9028 | 1127116.7349
20 | 2597234.5878 | 1126935.6334
21 | 2597291.6237 | 1126931.6911
22 | 2597261.7897 | 1126903.5273
23 | 2597224.4064 | 1126903.5503
24 | 2597049.607 | 1127007.1938
25 | 2597037.1535 | 1126988.6107
26 | 2597061.0872 | 1126973.221
27 | 2597034.4765 | 1126936.3755
28 | 2597091.6224 | 1126965.4332
29 | 2597033.0758 | 1126926.8139
30 | 2597104.8703 | 1126955.083
31 | 2597049.863 | 1126886.3545
32 | 2597190.8344 | 1126845.7375
33 | 2597103.2649 | 1126945.8371
34 | 2597092.7704 | 1126923.2082
35 | 2597164.5975 | 1126922.1176
36 | 2597115.0799 | 1126922.8065
37 | 2597136.9847 | 1126951.5237
38 | 2597148.7451 | 1126982.9307
39 | 2597161.7191 | 1126913.9909
40 | 2597297.5716 | 1126945.0199
41 | 2597310.0554 | 1126861.8181
42 | 2597304.5132 | 1126907.1285
43 | 2597291.6671 | 1126962.3643
44 | 2597347.847 | 1126814.778
45 | 2597359.0206 | 1126884.5142
46 | 2597325.1587 | 1126913.2082
47 | 2597279.9983 | 1127032.4754
48 | 2597286.8034 | 1127004.9874
49 | 2597288.9085 | 1126989.2736
50 | 2597307.0312 | 1127064.9562
51 | 2597330.9969 | 1127058.66
52 | 2597350.8774 | 1127075.7704
53 | 2597361.6457 | 1127032.2666
54 | 2597363.0361 | 1127032.9905
55 | 2597345.2454 | 1126931.4161
56 | 2597384.6019 | 1126982.5099
57 | 2597388.7508 | 1126989.7338
58 | 2597374.6012 | 1126979.7482
59 | 2597358.5316 | 1126968.3063
60 | 2597342.2878 | 1126961.0962
61 | 2597326.4461 | 1126803.9533
62 | 2597488.5988 | 1126871.5855
63 | 2597514.7071 | 1126877.1021
64 | 2597543.835 | 1126875.8646
65 | 2597289.1883 | 1126812.6037
66 | 2597282.475 | 1126809.4941
67 | 2597279.0065 | 1126807.6059
68 | 2597273.8977 | 1126791.5116
69 | 2597262.3259 | 1126787.4493
70 | 2597252.7721 | 1126784.0955
71 | 2597252.891 | 1126772.0765
72 | 2597201.8974 | 1126638.493
73 | 2597119.5859 | 1126650.5052
74 | 2597112.6931 | 1126647.5235
75 | 2597237.0318 | 1126580.7047
76 | 2597075.1664 | 1126631.2907
77 | 2597303.1353 | 1126575.3372
78 | 2597616.8138 | 1126706.365
79 | 2597580.0482 | 1126683.407
80 | 2597566.984 | 1126498.0306
81 | 2597520.2114 | 1126645.3758
82 | 2597503.6594 | 1126683.557
83 | 2597347.2202 | 1126450.1229
84 | 2597336.0094 | 1126420.5135
85 | 2597360.1768 | 1126339.3744
86 | 2597371.6562 | 1126321.3449
87 | 2597400.1968 | 1126299.4814
88 | 2597333.4261 | 1126296.5361
89 | 2597317.3775 | 1126290.2363
90 | 2597307.6009 | 1126318.2328
91 | 2597485.0145 | 1126698.51
92 | 2597161.7191 | 1126913.9909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1