## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6082-12_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6082-12_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6082-12_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6082-12_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6082-12_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6082-12_0_8_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_6082-12_0_8_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6082-12_0_8_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6082-12_0_8_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6082-12_0_8_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6082-12_0_8_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6082-12_0_8_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_6082-12_0_8_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_6082-12_0_8_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6082-12_0_8_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6082-12_0_8_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6082-12_0_8_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_6082-12_0_8_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6082-12_0_8_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_6082-12_0_8_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_6082-12_0_8_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_6082-12_0_8_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_6082-12_0_8_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6082-12_0_8_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6082-12_0_8_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6082-12_0_8_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6082-12_0_8_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6082-12_0_8_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6082-12_0_8_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6082-12_0_8_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6082-12_0_8_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_6082-12_0_8_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6082-12_0_8_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_6082-12_0_8_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6082-12_0_8_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_6082-12_0_8_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6082-12_0_8_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6082-12_0_8_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6082-12_0_8_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6082-12_0_8_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_6082-12_0_8_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6082-12_0_8_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_6082-12_0_8_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6082-12_0_8_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6082-12_0_8_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6082-12_0_8_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_6082-12_0_8_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_6082-12_0_8_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6082-12_0_8_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6082-12_0_8_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_6082-12_0_8_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_6082-12_0_8_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6082-12_0_8_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_6082-12_0_8_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6082-12_0_8_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_6082-12_0_8_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6082-12_0_8_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6082-12_0_8_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6082-12_0_8_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_6082-12_0_8_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6082-12_0_8_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_6082-12_0_8_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6082-12_0_8_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6082-12_0_8_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6082-12_0_8_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_6082-12_0_8_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_6082-12_0_8_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6082-12_0_8_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6082-12_0_8_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_6082-12_0_8_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6082-12_0_8_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_6082-12_0_8_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_6082-12_0_8_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_6082-12_0_8_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_6082-12_0_8_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_6082-12_0_8_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_6082-12_0_8_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_6082-12_0_8_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_6082-12_0_8_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_6082-12_0_8_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_6082-12_0_8_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_6082-12_0_8_node_79 | 0.4 | n |  | TRUE
82 | bus_MV_95_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6082-12_0_8_load_0 | 0 | 0.0029703 | 0.00074442 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6082-12_0_8_load_1 | 1 | 0.0039153 | 0.00098127 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6082-12_0_8_load_2 | 2 | 0.0049602 | 0.0012431 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6082-12_0_8_load_3 | 3 | 0.0087874 | 0.0022023 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6082-12_0_8_load_4 | 4 | 0.0046003 | 0.001153 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6082-12_0_8_load_9 | 5 | 0.0033064 | 0.00082866 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6082-12_0_8_load_10 | 6 | 0.003362 | 0.0008426 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6082-12_0_8_load_5 | 7 | 0.0080073 | 0.0020068 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6082-12_0_8_load_6 | 8 | 0.0079895 | 0.0020023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6082-12_0_8_load_7 | 9 | 0.012935 | 0.0032419 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6082-12_0_8_load_13 | 11 | 0.0073486 | 0.0018417 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6082-12_0_8_load_11 | 13 | 0.008902 | 0.0022311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6082-12_0_8_load_42 | 16 | 0.0092872 | 0.0023276 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6082-12_0_8_load_16 | 17 | 0.013184 | 0.0033041 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6082-12_0_8_load_43 | 19 | 0.0056164 | 0.0014076 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6082-12_0_8_load_41 | 20 | 0.0084735 | 0.0021237 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6082-12_0_8_load_39 | 21 | 0.01387 | 0.0034762 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6082-12_0_8_load_17 | 22 | 0.013264 | 0.0033243 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6082-12_0_8_load_18 | 23 | 0.02286 | 0.0057292 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6082-12_0_8_load_21 | 26 | 0.023785 | 0.0059612 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6082-12_0_8_load_22 | 27 | 0.0085848 | 0.0021516 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6082-12_0_8_load_23 | 28 | 0.014579 | 0.0036538 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6082-12_0_8_load_32 | 30 | 0.039003 | 0.009775 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6082-12_0_8_load_35 | 31 | 0.011254 | 0.0028205 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6082-12_0_8_load_83 | 32 | 0.010199 | 0.002556 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6082-12_0_8_load_36 | 34 | 0.0081779 | 0.0020496 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6082-12_0_8_load_25 | 35 | 0.0086439 | 0.0021664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6082-12_0_8_load_28 | 39 | 0.011234 | 0.0028156 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6082-12_0_8_load_29 | 40 | 0.0076171 | 0.001909 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6082-12_0_8_load_30 | 41 | 0.0065728 | 0.0016473 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6082-12_0_8_load_34 | 42 | 0.028474 | 0.0071363 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6082-12_0_8_load_38 | 43 | 0.012499 | 0.0031326 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6082-12_0_8_load_37 | 44 | 0.0050056 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6082-12_0_8_load_52 | 46 | 0.0041206 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6082-12_0_8_load_45 | 47 | 0.012912 | 0.003236 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6082-12_0_8_load_48 | 49 | 0.0059113 | 0.0014815 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6082-12_0_8_load_49 | 50 | 0.021365 | 0.0053547 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6082-12_0_8_load_50 | 51 | 0.0059728 | 0.0014969 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6082-12_0_8_load_51 | 53 | 0.018078 | 0.0045309 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6082-12_0_8_load_53 | 54 | 0.014625 | 0.0036654 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6082-12_0_8_load_55 | 56 | 0.022497 | 0.0056384 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6082-12_0_8_load_56 | 57 | 0.0058415 | 0.001464 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6082-12_0_8_load_63 | 58 | 0.0050327 | 0.0012613 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6082-12_0_8_load_59 | 61 | 0.005579 | 0.0013982 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6082-12_0_8_load_60 | 62 | 0.0054432 | 0.0013642 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6082-12_0_8_load_61 | 63 | 0.0047702 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6082-12_0_8_load_65 | 64 | 0.0056609 | 0.0014188 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6082-12_0_8_load_66 | 65 | 0.012784 | 0.003204 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6082-12_0_8_load_64 | 66 | 0.016027 | 0.0040167 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6082-12_0_8_load_67 | 67 | 0.0090553 | 0.0022695 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6082-12_0_8_load_80 | 71 | 0.010032 | 0.0025142 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6082-12_0_8_load_78 | 72 | 0.011729 | 0.0029395 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6082-12_0_8_load_70 | 73 | 0.0063695 | 0.0015964 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6082-12_0_8_load_71 | 74 | 0.004479 | 0.0011225 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6082-12_0_8_load_74 | 76 | 0.009934 | 0.0024897 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6082-12_0_8_load_82 | 77 | 0.008046 | 0.0020165 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6082-12_0_8_load_75 | 78 | 0.0041664 | 0.0010442 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6082-12_0_8_load_76 | 79 | 0.0085413 | 0.0021406 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6082-12_0_8_load_79 | 81 | 0.0046276 | 0.0011598 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6082-12_0_8_line_0 |  | 0 | 1 | 0.0048835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6082-12_0_8_line_1 |  | 0 | 2 | 0.003818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6082-12_0_8_line_2 |  | 1 | 3 | 0.0062413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6082-12_0_8_line_3 |  | 2 | 4 | 0.019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6082-12_0_8_line_4 |  | 4 | 5 | 0.0030714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6082-12_0_8_line_5 |  | 5 | 6 | 0.0068713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6082-12_0_8_line_6 |  | 6 | 13 | 0.010789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6082-12_0_8_line_7 |  | 7 | 8 | 0.011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6082-12_0_8_line_8 |  | 7 | 9 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6082-12_0_8_line_9 |  | 8 | 10 | 0.037869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6082-12_0_8_line_10 |  | 10 | 11 | 0.017425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6082-12_0_8_line_11 |  | 11 | 12 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6082-12_0_8_line_12 |  | 12 | 17 | 0.030868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6082-12_0_8_line_13 |  | 12 | 15 | 0.020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6082-12_0_8_line_14 |  | 13 | 14 | 0.027907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6082-12_0_8_line_15 |  | 14 | 15 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6082-12_0_8_line_16 |  | 15 | 16 | 0.027999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6082-12_0_8_line_17 |  | 16 | 19 | 0.019267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6082-12_0_8_line_18 |  | 17 | 18 | 0.015635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6082-12_0_8_line_19 |  | 18 | 20 | 0.036181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6082-12_0_8_line_20 |  | 18 | 21 | 0.0098467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6082-12_0_8_line_21 |  | 20 | 45 | 0.037145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6082-12_0_8_line_22 |  | 21 | 43 | 0.019083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6082-12_0_8_line_23 |  | 22 | 23 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6082-12_0_8_line_24 |  | 22 | 24 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6082-12_0_8_line_25 |  | 23 | 25 | 0.045888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6082-12_0_8_line_26 |  | 24 | 26 | 0.021105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6082-12_0_8_line_27 |  | 24 | 27 | 0.013439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6082-12_0_8_line_28 |  | 25 | 28 | 0.046854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6082-12_0_8_line_29 |  | 25 | 29 | 0.094487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6082-12_0_8_line_30 |  | 26 | 30 | 0.039365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6082-12_0_8_line_31 |  | 27 | 31 | 0.01995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6082-12_0_8_line_32 |  | 29 | 32 | 0.022519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6082-12_0_8_line_33 |  | 30 | 33 | 0.009638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6082-12_0_8_line_34 |  | 31 | 34 | 0.0024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6082-12_0_8_line_35 |  | 33 | 42 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6082-12_0_8_line_36 |  | 33 | 39 | 0.026756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6082-12_0_8_line_37 |  | 34 | 44 | 0.022435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6082-12_0_8_line_38 |  | 35 | 36 | 0.033202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6082-12_0_8_line_39 |  | 35 | 37 | 0.013834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6082-12_0_8_line_40 |  | 36 | 38 | 0.041455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6082-12_0_8_line_41 |  | 37 | 39 | 0.026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6082-12_0_8_line_42 |  | 38 | 40 | 0.0072497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6082-12_0_8_line_43 |  | 40 | 41 | 0.0058138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6082-12_0_8_line_44 |  | 42 | 43 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6082-12_0_8_line_45 |  | 45 | 46 | 0.18043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6082-12_0_8_line_46 |  | 46 | 53 | 0.063812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6082-12_0_8_line_47 |  | 47 | 48 | 0.03042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6082-12_0_8_line_48 |  | 48 | 49 | 0.020313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6082-12_0_8_line_49 |  | 48 | 50 | 0.054223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6082-12_0_8_line_50 |  | 49 | 51 | 0.00084964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6082-12_0_8_line_51 |  | 50 | 52 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6082-12_0_8_line_52 |  | 51 | 53 | 0.0318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6082-12_0_8_line_53 |  | 52 | 59 | 0.038809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6082-12_0_8_line_54 |  | 54 | 55 | 0.014368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6082-12_0_8_line_55 |  | 55 | 56 | 0.020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6082-12_0_8_line_56 |  | 55 | 57 | 0.027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6082-12_0_8_line_57 |  | 57 | 58 | 0.0081151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6082-12_0_8_line_58 |  | 58 | 63 | 0.0073523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6082-12_0_8_line_59 |  | 59 | 60 | 0.01438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6082-12_0_8_line_60 |  | 59 | 61 | 0.0061185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6082-12_0_8_line_61 |  | 60 | 64 | 0.04028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6082-12_0_8_line_62 |  | 60 | 65 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6082-12_0_8_line_63 |  | 60 | 66 | 0.049702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6082-12_0_8_line_64 |  | 61 | 62 | 0.0049075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6082-12_0_8_line_65 |  | 62 | 63 | 0.0037149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6082-12_0_8_line_66 |  | 64 | 67 | 0.030562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6082-12_0_8_line_67 |  | 65 | 68 | 0.0022048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6082-12_0_8_line_68 |  | 67 | 69 | 0.033758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6082-12_0_8_line_69 |  | 68 | 77 | 0.052597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6082-12_0_8_line_70 |  | 68 | 75 | 0.015661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6082-12_0_8_line_71 |  | 69 | 70 | 0.029997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6082-12_0_8_line_72 |  | 70 | 71 | 0.02855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6082-12_0_8_line_73 |  | 70 | 72 | 0.070492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6082-12_0_8_line_74 |  | 72 | 79 | 0.02642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6082-12_0_8_line_75 |  | 73 | 74 | 0.018724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6082-12_0_8_line_76 |  | 73 | 75 | 0.0057945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6082-12_0_8_line_77 |  | 75 | 76 | 0.033707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6082-12_0_8_line_78 |  | 78 | 79 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6082-12_0_8_line_79 |  | 78 | 80 | 0.043553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6082-12_0_8_line_80 |  | 80 | 81 | 0.053564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6082-12_0_8_trafo_44 | 0.63 MVA 20/0.4 kV | 82 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2597230.3373 | 1127007.4377 | 2597226.458 | 1127004.4713
1 | 2597230.3373 | 1127007.4377 | 2597233.3702 | 1127009.7568
2 | 2597221.5 | 1127000.6802 | 2597226.458 | 1127004.4713
3 | 2597233.3702 | 1127009.7568 | 2597236.7583 | 1127012.3475 | 2597242.4822 | 1127025.7292 | 2597243.1637 | 1127026.0025
4 | 2597246.0143 | 1127027.1458 | 2597243.1637 | 1127026.0025
5 | 2597246.0143 | 1127027.1458 | 2597252.3918 | 1127029.7037
6 | 2597262.4056 | 1127033.72 | 2597252.3918 | 1127029.7037
7 | 2597203.7467 | 1127039.0361 | 2597210.7723 | 1127039.7398 | 2597215.0886 | 1127040.5652
8 | 2597192.2162 | 1127037.881 | 2597203.7467 | 1127039.0361
9 | 2597231.6688 | 1127069.8891 | 2597233.5066 | 1127061.7064 | 2597222.7719 | 1127043.8028 | 2597220.0507 | 1127041.5141 | 2597215.0886 | 1127040.5652
10 | 2597231.6688 | 1127069.8891 | 2597248.3744 | 1127074.8456
11 | 2597265.5536 | 1127076.7433 | 2597255.6054 | 1127076.2143 | 2597252.4306 | 1127076.049 | 2597248.3744 | 1127074.8456
12 | 2597265.5536 | 1127076.7433 | 2597264.7331 | 1127085.3034 | 2597271.0896 | 1127100.6523 | 2597270.7647 | 1127106.2987
13 | 2597265.5536 | 1127076.7433 | 2597285.4082 | 1127070.7423
14 | 2597279.5441 | 1127053.9034 | 2597270.4436 | 1127036.9438 | 2597262.4056 | 1127033.72
15 | 2597279.5441 | 1127053.9034 | 2597288.0585 | 1127069.9406 | 2597285.4082 | 1127070.7423
16 | 2597285.4082 | 1127070.7423 | 2597287.3442 | 1127074.9212 | 2597299.8672 | 1127094.6806
17 | 2597309.1525 | 1127111.5624 | 2597299.8672 | 1127094.6806
18 | 2597269.8666 | 1127121.9077 | 2597270.7647 | 1127106.2987
19 | 2597269.8666 | 1127121.9077 | 2597287.8994 | 1127153.275
20 | 2597269.8666 | 1127121.9077 | 2597261.8959 | 1127127.6893
21 | 2597306.4123 | 1127185.4774 | 2597287.8994 | 1127153.275
22 | 2597251.186 | 1127143.2747 | 2597255.1404 | 1127136.6773 | 2597259.8065 | 1127129.2048 | 2597261.8959 | 1127127.6893
23 | 2597188.8394 | 1127086.8075 | 2597170.7144 | 1127073.9743
24 | 2597200.9663 | 1127095.3938 | 2597188.8394 | 1127086.8075
25 | 2597127.4005 | 1127062.7466 | 2597160.2823 | 1127066.5881 | 2597170.7144 | 1127073.9743
26 | 2597200.9663 | 1127095.3938 | 2597212.1937 | 1127113.2647
27 | 2597200.9663 | 1127095.3938 | 2597204.079 | 1127094.5363 | 2597214.0313 | 1127096.8185
28 | 2597153.2252 | 1127101.0972 | 2597149.4598 | 1127090.5939 | 2597141.2931 | 1127077.2247 | 2597133.0131 | 1127068.5912 | 2597127.4005 | 1127062.7466
29 | 2597121.8522 | 1127109.4498 | 2597120.3552 | 1127105.2485 | 2597115.0831 | 1127102.1162 | 2597095.1287 | 1127092.7548 | 2597090.8573 | 1127087.6211 | 2597092.1527 | 1127073.6358 | 2597092.6304 | 1127073.5911 | 2597094.8803 | 1127073.2677 | 2597110.144 | 1127071.0813 | 2597115.695 | 1127061.385 | 2597127.4005 | 1127062.7466
30 | 2597231.7289 | 1127147.227 | 2597230.1924 | 1127141.9137 | 2597212.1937 | 1127113.2647
31 | 2597233.477 | 1127101.2776 | 2597214.0313 | 1127096.8185
32 | 2597140.6906 | 1127121.8689 | 2597121.8522 | 1127109.4498
33 | 2597234.4064 | 1127156.4855 | 2597231.7289 | 1127147.227
34 | 2597233.477 | 1127101.2776 | 2597235.8648 | 1127101.8252
35 | 2597234.4064 | 1127156.4855 | 2597243.2832 | 1127156.4591 | 2597245.1583 | 1127153.3308
36 | 2597234.4064 | 1127156.4855 | 2597225.9654 | 1127181.8757
37 | 2597235.8648 | 1127101.8252 | 2597257.7326 | 1127106.8397
38 | 2597172.7194 | 1127227.6383 | 2597177.0078 | 1127220.266 | 2597184.5557 | 1127212.9922 | 2597197.7413 | 1127207.7453
39 | 2597210.5951 | 1127202.6303 | 2597197.7413 | 1127207.7453
40 | 2597172.7194 | 1127227.6383 | 2597145.4887 | 1127196.3807
41 | 2597210.5951 | 1127202.6303 | 2597222.6337 | 1127191.8972 | 2597225.9654 | 1127181.8757
42 | 2597145.4887 | 1127196.3807 | 2597144.3764 | 1127190.7007 | 2597143.3495 | 1127189.6604
43 | 2597143.3495 | 1127189.6604 | 2597139.2652 | 1127185.5229
44 | 2597251.186 | 1127143.2747 | 2597245.1583 | 1127153.3308
45 | 2597306.4123 | 1127185.4774 | 2597421.6392 | 1127324.3156
46 | 2597421.6392 | 1127324.3156 | 2597417.7221 | 1127317.9475 | 2597417.3811 | 1127313.3677 | 2597417.8033 | 1127309.888 | 2597420.0137 | 1127307.5971 | 2597437.7993 | 1127293.8492 | 2597446.9896 | 1127288.8428 | 2597458.5033 | 1127285.0897
47 | 2597507.2765 | 1127271.4307 | 2597501.764 | 1127263.9294 | 2597490.6156 | 1127248.7601 | 2597490.136 | 1127246.5252
48 | 2597507.2765 | 1127271.4307 | 2597489.4869 | 1127281.2356
49 | 2597507.2765 | 1127271.4307 | 2597519.8049 | 1127288.4781 | 2597526.1142 | 1127303.3049 | 2597525.1001 | 1127310.5978 | 2597523.7762 | 1127320.097
50 | 2597488.7428 | 1127281.6457 | 2597489.4869 | 1127281.2356
51 | 2597521.4664 | 1127336.4008 | 2597521.8045 | 1127334.244 | 2597523.7762 | 1127320.097
52 | 2597488.7428 | 1127281.6457 | 2597485.1134 | 1127283.6461 | 2597477.0317 | 1127286.4509 | 2597463.4151 | 1127283.4887 | 2597458.5033 | 1127285.0897
53 | 2597515.4494 | 1127374.7331 | 2597521.4664 | 1127336.4008
54 | 2597490.5747 | 1127333.4569 | 2597480.8336 | 1127329.6814 | 2597477.3804 | 1127327.8244
55 | 2597490.5747 | 1127333.4569 | 2597484.8297 | 1127340.8185 | 2597484.4968 | 1127352.2774
56 | 2597490.5747 | 1127333.4569 | 2597505.6775 | 1127334.5954 | 2597508.3928 | 1127341.6311 | 2597508.6325 | 1127346.2082
57 | 2597509.0569 | 1127354.3123 | 2597508.6325 | 1127346.2082
58 | 2597509.4414 | 1127361.6545 | 2597509.0569 | 1127354.3123
59 | 2597515.4494 | 1127374.7331 | 2597514.2199 | 1127382.5485 | 2597512.0496 | 1127388.6413
60 | 2597515.4494 | 1127374.7331 | 2597512.2233 | 1127369.5342
61 | 2597512.0496 | 1127388.6413 | 2597519.6926 | 1127387.2707 | 2597531.8972 | 1127386.3318 | 2597545.0655 | 1127386.4485 | 2597551.7788 | 1127388.7758
62 | 2597512.0496 | 1127388.6413 | 2597507.0703 | 1127402.6409
63 | 2597512.0496 | 1127388.6413 | 2597554.9042 | 1127363.4668
64 | 2597512.2233 | 1127369.5342 | 2597509.6357 | 1127365.3643 | 2597509.6357 | 1127365.3643
65 | 2597509.6357 | 1127365.3643 | 2597509.4414 | 1127361.6545
66 | 2597580.9433 | 1127397.3627 | 2597573.6175 | 1127396.5527 | 2597565.7726 | 1127394.0436 | 2597556.756 | 1127390.5012 | 2597551.7788 | 1127388.7758
67 | 2597506.3314 | 1127404.7182 | 2597507.0703 | 1127402.6409
68 | 2597613.3043 | 1127389.8887 | 2597606.7793 | 1127393.004 | 2597594.2523 | 1127397.1556 | 2597583.0337 | 1127397.5938 | 2597580.9433 | 1127397.3627
69 | 2597506.3314 | 1127404.7182 | 2597525.0678 | 1127398.2738 | 2597539.2143 | 1127397.6898 | 2597549.0401 | 1127401.7543 | 2597555.5299 | 1127406.6429
70 | 2597501.0751 | 1127419.4721 | 2597506.3314 | 1127404.7182
71 | 2597613.3043 | 1127389.8887 | 2597616.7017 | 1127388.2755 | 2597624.3647 | 1127379.1568 | 2597629.1148 | 1127369.339 | 2597631.3637 | 1127366.7257
72 | 2597626.4299 | 1127341.6377 | 2597622.3809 | 1127351.5219 | 2597624.6103 | 1127357.9797 | 2597631.3637 | 1127366.7257
73 | 2597631.3637 | 1127366.7257 | 2597635.9565 | 1127367.8689 | 2597638.3216 | 1127367.0564 | 2597652.1489 | 1127357.9686 | 2597673.2058 | 1127334.6155 | 2597673.9197 | 1127327.9453 | 2597671.0439 | 1127323.4888 | 2597668.7463 | 1127321.1823
74 | 2597650.1002 | 1127302.4647 | 2597668.7463 | 1127321.1823
75 | 2597496.5562 | 1127423.0992 | 2597489.6984 | 1127428.6036 | 2597482.7928 | 1127435.7393
76 | 2597501.0751 | 1127419.4721 | 2597496.5562 | 1127423.0992
77 | 2597501.0751 | 1127419.4721 | 2597495.4108 | 1127435.3933 | 2597487.9725 | 1127446.791 | 2597485.9007 | 1127449.2272
78 | 2597646.2385 | 1127290.5665 | 2597646.5057 | 1127293.0059 | 2597650.1002 | 1127302.4647 | 2597650.1002 | 1127302.4647
79 | 2597661.7078 | 1127253.0693 | 2597661.8322 | 1127255.8373 | 2597656.4889 | 1127266.5335 | 2597647.4535 | 1127273.7962 | 2597645.1214 | 1127280.367 | 2597646.2385 | 1127290.5665
80 | 2597661.7078 | 1127253.0693 | 2597656.8312 | 1127255.3946 | 2597629.8611 | 1127271.1798 | 2597613.6853 | 1127265.8393

## bus_geodata
| x | y | coords
0 | 2597230.3373 | 1127007.4377
1 | 2597226.458 | 1127004.4713
2 | 2597233.3702 | 1127009.7568
3 | 2597221.5 | 1127000.6802
4 | 2597243.1637 | 1127026.0025
5 | 2597246.0143 | 1127027.1458
6 | 2597252.3918 | 1127029.7037
7 | 2597203.7467 | 1127039.0361
8 | 2597215.0886 | 1127040.5652
9 | 2597192.2162 | 1127037.881
10 | 2597231.6688 | 1127069.8891
11 | 2597248.3744 | 1127074.8456
12 | 2597265.5536 | 1127076.7433
13 | 2597262.4056 | 1127033.72
14 | 2597279.5441 | 1127053.9034
15 | 2597285.4082 | 1127070.7423
16 | 2597299.8672 | 1127094.6806
17 | 2597270.7647 | 1127106.2987
18 | 2597269.8666 | 1127121.9077
19 | 2597309.1525 | 1127111.5623
20 | 2597287.8994 | 1127153.275
21 | 2597261.8959 | 1127127.6893
22 | 2597188.8394 | 1127086.8075
23 | 2597170.7143 | 1127073.9743
24 | 2597200.9663 | 1127095.3938
25 | 2597127.4005 | 1127062.7466
26 | 2597212.1937 | 1127113.2647
27 | 2597214.0313 | 1127096.8185
28 | 2597153.2252 | 1127101.0972
29 | 2597121.8522 | 1127109.4498
30 | 2597231.7289 | 1127147.227
31 | 2597233.477 | 1127101.2776
32 | 2597140.6906 | 1127121.8689
33 | 2597234.4064 | 1127156.4855
34 | 2597235.8648 | 1127101.8252
35 | 2597197.7413 | 1127207.7453
36 | 2597172.7194 | 1127227.6383
37 | 2597210.5951 | 1127202.6303
38 | 2597145.4887 | 1127196.3807
39 | 2597225.9654 | 1127181.8757
40 | 2597143.3495 | 1127189.6604
41 | 2597139.2652 | 1127185.5229
42 | 2597245.1583 | 1127153.3308
43 | 2597251.186 | 1127143.2747
44 | 2597257.7326 | 1127106.8397
45 | 2597306.4123 | 1127185.4774
46 | 2597421.6392 | 1127324.3156
47 | 2597490.136 | 1127246.5252
48 | 2597507.2765 | 1127271.4307
49 | 2597489.4869 | 1127281.2356
50 | 2597523.7762 | 1127320.097
51 | 2597488.7428 | 1127281.6457
52 | 2597521.4664 | 1127336.4008
53 | 2597458.5033 | 1127285.0897
54 | 2597477.3804 | 1127327.8244
55 | 2597490.5747 | 1127333.4569
56 | 2597484.4968 | 1127352.2774
57 | 2597508.6325 | 1127346.2082
58 | 2597509.0569 | 1127354.3123
59 | 2597515.4494 | 1127374.7331
60 | 2597512.0496 | 1127388.6413
61 | 2597512.2233 | 1127369.5342
62 | 2597509.6357 | 1127365.3643
63 | 2597509.4414 | 1127361.6545
64 | 2597551.7788 | 1127388.7758
65 | 2597507.0703 | 1127402.6409
66 | 2597554.9042 | 1127363.4668
67 | 2597580.9433 | 1127397.3627
68 | 2597506.3314 | 1127404.7182
69 | 2597613.3043 | 1127389.8887
70 | 2597631.3637 | 1127366.7257
71 | 2597626.4299 | 1127341.6377
72 | 2597668.7463 | 1127321.1823
73 | 2597496.5562 | 1127423.0992
74 | 2597482.7928 | 1127435.7393
75 | 2597501.0751 | 1127419.4721
76 | 2597485.9007 | 1127449.2272
77 | 2597555.5299 | 1127406.6429
78 | 2597646.2385 | 1127290.5665
79 | 2597650.1002 | 1127302.4647
80 | 2597661.7078 | 1127253.0693
81 | 2597613.6853 | 1127265.8393
82 | 2597346.4405 | 1127164.549

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1