## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6082-15_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6082-15_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6082-15_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6082-15_0_6_node_145 | 0.4 | n |  | TRUE
4 | bus_LV_6082-15_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6082-15_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6082-15_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6082-15_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6082-15_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6082-15_0_6_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_6082-15_0_6_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_6082-15_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6082-15_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6082-15_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6082-15_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6082-15_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6082-15_0_6_node_97 | 0.4 | n |  | TRUE
17 | bus_LV_6082-15_0_6_node_148 | 0.4 | n |  | TRUE
18 | bus_LV_6082-15_0_6_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_6082-15_0_6_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_6082-15_0_6_node_100 | 0.4 | n |  | TRUE
21 | bus_LV_6082-15_0_6_node_144 | 0.4 | n |  | TRUE
22 | bus_LV_6082-15_0_6_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_6082-15_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6082-15_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6082-15_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6082-15_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6082-15_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6082-15_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6082-15_0_6_node_143 | 0.4 | n |  | TRUE
30 | bus_LV_6082-15_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6082-15_0_6_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_6082-15_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6082-15_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6082-15_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6082-15_0_6_node_141 | 0.4 | n |  | TRUE
36 | bus_LV_6082-15_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6082-15_0_6_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_6082-15_0_6_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_6082-15_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_6082-15_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_6082-15_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6082-15_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_6082-15_0_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6082-15_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_6082-15_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6082-15_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_6082-15_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6082-15_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_6082-15_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6082-15_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_6082-15_0_6_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_6082-15_0_6_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6082-15_0_6_node_149 | 0.4 | n |  | TRUE
54 | bus_LV_6082-15_0_6_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_6082-15_0_6_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_6082-15_0_6_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_6082-15_0_6_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_6082-15_0_6_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_6082-15_0_6_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_6082-15_0_6_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_6082-15_0_6_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_6082-15_0_6_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_6082-15_0_6_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_6082-15_0_6_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_6082-15_0_6_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_6082-15_0_6_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6082-15_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_6082-15_0_6_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_6082-15_0_6_node_142 | 0.4 | n |  | TRUE
70 | bus_LV_6082-15_0_6_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_6082-15_0_6_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_6082-15_0_6_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_6082-15_0_6_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_6082-15_0_6_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_6082-15_0_6_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_6082-15_0_6_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_6082-15_0_6_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6082-15_0_6_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_6082-15_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6082-15_0_6_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_6082-15_0_6_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_6082-15_0_6_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_6082-15_0_6_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_6082-15_0_6_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_6082-15_0_6_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_6082-15_0_6_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_6082-15_0_6_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_6082-15_0_6_node_123 | 0.4 | n |  | TRUE
89 | bus_LV_6082-15_0_6_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_6082-15_0_6_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_6082-15_0_6_node_121 | 0.4 | n |  | TRUE
92 | bus_LV_6082-15_0_6_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_6082-15_0_6_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_6082-15_0_6_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_6082-15_0_6_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_6082-15_0_6_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_6082-15_0_6_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_6082-15_0_6_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_6082-15_0_6_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_6082-15_0_6_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_6082-15_0_6_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_6082-15_0_6_node_83 | 0.4 | n |  | TRUE
103 | bus_LV_6082-15_0_6_node_78 | 0.4 | n |  | TRUE
104 | bus_LV_6082-15_0_6_node_80 | 0.4 | n |  | TRUE
105 | bus_LV_6082-15_0_6_node_82 | 0.4 | n |  | TRUE
106 | bus_LV_6082-15_0_6_node_84 | 0.4 | n |  | TRUE
107 | bus_LV_6082-15_0_6_node_91 | 0.4 | n |  | TRUE
108 | bus_LV_6082-15_0_6_node_101 | 0.4 | n |  | TRUE
109 | bus_LV_6082-15_0_6_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_6082-15_0_6_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_6082-15_0_6_node_105 | 0.4 | n |  | TRUE
112 | bus_LV_6082-15_0_6_node_104 | 0.4 | n |  | TRUE
113 | bus_LV_6082-15_0_6_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_6082-15_0_6_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_6082-15_0_6_node_109 | 0.4 | n |  | TRUE
116 | bus_LV_6082-15_0_6_node_114 | 0.4 | n |  | TRUE
117 | bus_LV_6082-15_0_6_node_112 | 0.4 | n |  | TRUE
118 | bus_LV_6082-15_0_6_node_107 | 0.4 | n |  | TRUE
119 | bus_LV_6082-15_0_6_node_108 | 0.4 | n |  | TRUE
120 | bus_LV_6082-15_0_6_node_110 | 0.4 | n |  | TRUE
121 | bus_LV_6082-15_0_6_node_115 | 0.4 | n |  | TRUE
122 | bus_LV_6082-15_0_6_node_113 | 0.4 | n |  | TRUE
123 | bus_LV_6082-15_0_6_node_116 | 0.4 | n |  | TRUE
124 | bus_LV_6082-15_0_6_node_117 | 0.4 | n |  | TRUE
125 | bus_LV_6082-15_0_6_node_130 | 0.4 | n |  | TRUE
126 | bus_LV_6082-15_0_6_node_118 | 0.4 | n |  | TRUE
127 | bus_LV_6082-15_0_6_node_127 | 0.4 | n |  | TRUE
128 | bus_LV_6082-15_0_6_node_119 | 0.4 | n |  | TRUE
129 | bus_LV_6082-15_0_6_node_120 | 0.4 | n |  | TRUE
130 | bus_LV_6082-15_0_6_node_122 | 0.4 | n |  | TRUE
131 | bus_LV_6082-15_0_6_node_134 | 0.4 | n |  | TRUE
132 | bus_LV_6082-15_0_6_node_132 | 0.4 | n |  | TRUE
133 | bus_LV_6082-15_0_6_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_6082-15_0_6_node_125 | 0.4 | n |  | TRUE
135 | bus_LV_6082-15_0_6_node_126 | 0.4 | n |  | TRUE
136 | bus_LV_6082-15_0_6_node_128 | 0.4 | n |  | TRUE
137 | bus_LV_6082-15_0_6_node_129 | 0.4 | n |  | TRUE
138 | bus_LV_6082-15_0_6_node_131 | 0.4 | n |  | TRUE
139 | bus_LV_6082-15_0_6_node_135 | 0.4 | n |  | TRUE
140 | bus_LV_6082-15_0_6_node_133 | 0.4 | n |  | TRUE
141 | bus_LV_6082-15_0_6_node_136 | 0.4 | n |  | TRUE
142 | bus_LV_6082-15_0_6_node_137 | 0.4 | n |  | TRUE
143 | bus_LV_6082-15_0_6_node_138 | 0.4 | n |  | TRUE
144 | bus_LV_6082-15_0_6_node_139 | 0.4 | n |  | TRUE
145 | bus_LV_6082-15_0_6_node_140 | 0.4 | n |  | TRUE
146 | bus_MV_95_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6082-15_0_6_load_0 | 0 | 0.0023545 | 0.0005901 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6082-15_0_6_load_2 | 2 | 0.0021959 | 0.00055034 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6082-15_0_6_load_145 | 3 | 0.017717 | 0.0044403 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6082-15_0_6_load_3 | 4 | 0.0081355 | 0.002039 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6082-15_0_6_load_6 | 6 | 0.003798 | 0.00095186 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6082-15_0_6_load_7 | 7 | 0.0043608 | 0.0010929 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6082-15_0_6_load_8 | 8 | 0.00096365 | 0.00024151 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6082-15_0_6_load_63 | 9 | 0.0013671 | 0.00034263 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6082-15_0_6_load_64 | 10 | 0.002435 | 0.00061028 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6082-15_0_6_load_9 | 11 | 0.0025017 | 0.00062699 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6082-15_0_6_load_12 | 14 | 0.0024755 | 0.00062042 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6082-15_0_6_load_148 | 17 | 0.0057958 | 0.0014526 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6082-15_0_6_load_100 | 20 | 0.0030009 | 0.0007521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6082-15_0_6_load_144 | 21 | 0.0011306 | 0.00028335 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6082-15_0_6_load_14 | 23 | 0.0040934 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6082-15_0_6_load_15 | 24 | 0.0039617 | 0.00099291 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6082-15_0_6_load_17 | 26 | 0.0037271 | 0.0009341 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6082-15_0_6_load_143 | 29 | 0.0025749 | 0.00064534 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6082-15_0_6_load_95 | 31 | 0.001403 | 0.00035161 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6082-15_0_6_load_20 | 34 | 0.00561 | 0.001406 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6082-15_0_6_load_23 | 36 | 0.001972 | 0.00049424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6082-15_0_6_load_96 | 37 | 0.0011897 | 0.00029817 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6082-15_0_6_load_39 | 38 | 0.0013667 | 0.00034253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6082-15_0_6_load_38 | 39 | 0.0016357 | 0.00040995 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6082-15_0_6_load_28 | 40 | 0.0012368 | 0.00030998 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6082-15_0_6_load_25 | 41 | 0.002004 | 0.00050224 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6082-15_0_6_load_26 | 42 | 0.0013731 | 0.00034414 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6082-15_0_6_load_29 | 44 | 0.0019066 | 0.00047784 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6082-15_0_6_load_30 | 45 | 0.0018519 | 0.00046413 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6082-15_0_6_load_31 | 46 | 0.00070482 | 0.00017665 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6082-15_0_6_load_33 | 48 | 0.0016499 | 0.00041349 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6082-15_0_6_load_44 | 50 | 0.0013138 | 0.00032927 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6082-15_0_6_load_149 | 53 | 0.0019701 | 0.00049375 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6082-15_0_6_load_89 | 56 | 0.0049484 | 0.0012402 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6082-15_0_6_load_88 | 57 | 0.0035601 | 0.00089224 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6082-15_0_6_load_77 | 58 | 0.0040845 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6082-15_0_6_load_94 | 59 | 0.0031372 | 0.00078626 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6082-15_0_6_load_93 | 60 | 0.0069269 | 0.001736 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6082-15_0_6_load_90 | 61 | 0.0047104 | 0.0011805 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6082-15_0_6_load_40 | 62 | 0.0033346 | 0.00083572 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6082-15_0_6_load_41 | 63 | 0.0016005 | 0.00040111 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6082-15_0_6_load_42 | 64 | 0.005157 | 0.0012925 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6082-15_0_6_load_43 | 65 | 0.0024234 | 0.00060737 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6082-15_0_6_load_51 | 67 | 0.0014132 | 0.00035418 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6082-15_0_6_load_47 | 68 | 0.0010996 | 0.00027557 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6082-15_0_6_load_46 | 70 | 0.0015387 | 0.00038563 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6082-15_0_6_load_48 | 71 | 0.001261 | 0.00031604 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6082-15_0_6_load_50 | 72 | 0.0011286 | 0.00028285 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6082-15_0_6_load_70 | 73 | 0.0013234 | 0.00033168 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6082-15_0_6_load_53 | 75 | 0.0041761 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6082-15_0_6_load_54 | 76 | 0.0032331 | 0.0008103 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6082-15_0_6_load_68 | 77 | 0.0041572 | 0.0010419 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6082-15_0_6_load_60 | 78 | 0.0040502 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6082-15_0_6_load_69 | 79 | 0.0031037 | 0.00077785 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6082-15_0_6_load_55 | 81 | 0.0026182 | 0.00065618 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6082-15_0_6_load_56 | 82 | 0.0019774 | 0.00049559 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6082-15_0_6_load_59 | 84 | 0.0031861 | 0.00079851 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6082-15_0_6_load_67 | 85 | 0.0052648 | 0.0013195 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6082-15_0_6_load_66 | 86 | 0.0036616 | 0.00091769 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6082-15_0_6_load_61 | 87 | 0.0031833 | 0.0007978 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6082-15_0_6_load_123 | 88 | 0.00674 | 0.0016892 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6082-15_0_6_load_65 | 89 | 0.0034612 | 0.00086745 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6082-15_0_6_load_62 | 90 | 0.0032715 | 0.00081991 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6082-15_0_6_load_81 | 92 | 0.0026966 | 0.00067584 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6082-15_0_6_load_79 | 93 | 0.0046933 | 0.0011763 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6082-15_0_6_load_71 | 94 | 0.0075748 | 0.0018984 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6082-15_0_6_load_73 | 96 | 0.0052711 | 0.0013211 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6082-15_0_6_load_74 | 97 | 0.0042913 | 0.0010755 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6082-15_0_6_load_75 | 98 | 0.0031346 | 0.0007856 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6082-15_0_6_load_76 | 99 | 0.0030055 | 0.00075326 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6082-15_0_6_load_86 | 101 | 0.0024286 | 0.00060866 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6082-15_0_6_load_83 | 102 | 0.0083278 | 0.0020871 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6082-15_0_6_load_78 | 103 | 0.0069816 | 0.0017498 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6082-15_0_6_load_80 | 104 | 0.0041283 | 0.0010346 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6082-15_0_6_load_82 | 105 | 0.0059161 | 0.0014827 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6082-15_0_6_load_91 | 107 | 0.0039489 | 0.00098969 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6082-15_0_6_load_101 | 108 | 0.0033725 | 0.00084522 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6082-15_0_6_load_103 | 110 | 0.0046911 | 0.0011757 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6082-15_0_6_load_105 | 111 | 0.0044217 | 0.0011082 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6082-15_0_6_load_106 | 114 | 0.0045335 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6082-15_0_6_load_109 | 115 | 0.0025992 | 0.00065142 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6082-15_0_6_load_114 | 116 | 0.0061653 | 0.0015452 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6082-15_0_6_load_112 | 117 | 0.0044545 | 0.0011164 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6082-15_0_6_load_107 | 118 | 0.0087365 | 0.0021896 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6082-15_0_6_load_108 | 119 | 0.0027537 | 0.00069015 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6082-15_0_6_load_110 | 120 | 0.0077976 | 0.0019543 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6082-15_0_6_load_113 | 122 | 0.010351 | 0.0025942 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6082-15_0_6_load_117 | 124 | 0.0039524 | 0.00099058 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6082-15_0_6_load_130 | 125 | 0.0032285 | 0.00080913 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6082-15_0_6_load_118 | 126 | 0.0064355 | 0.0016129 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6082-15_0_6_load_119 | 128 | 0.0058345 | 0.0014623 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6082-15_0_6_load_120 | 129 | 0.004923 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6082-15_0_6_load_122 | 130 | 0.0048138 | 0.0012064 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6082-15_0_6_load_134 | 131 | 0.0058258 | 0.0014601 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6082-15_0_6_load_132 | 132 | 0.0062719 | 0.0015719 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6082-15_0_6_load_124 | 133 | 0.0089595 | 0.0022455 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6082-15_0_6_load_125 | 134 | 0.0027837 | 0.00069765 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6082-15_0_6_load_131 | 138 | 0.0051372 | 0.0012875 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6082-15_0_6_load_135 | 139 | 0.0065529 | 0.0016423 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6082-15_0_6_load_133 | 140 | 0.0044762 | 0.0011218 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6082-15_0_6_load_136 | 141 | 0.006267 | 0.0015706 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6082-15_0_6_load_137 | 142 | 0.0064256 | 0.0016104 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6082-15_0_6_load_138 | 143 | 0.0042904 | 0.0010753 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6082-15_0_6_load_139 | 144 | 0.0081459 | 0.0020416 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6082-15_0_6_load_140 | 145 | 0.0075443 | 0.0018908 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6082-15_0_6_line_0 |  | 0 | 1 | 0.064482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6082-15_0_6_line_1 |  | 0 | 2 | 0.018872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6082-15_0_6_line_2 |  | 1 | 3 | 0.11519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6082-15_0_6_line_3 |  | 1 | 4 | 0.17554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6082-15_0_6_line_4 |  | 4 | 5 | 0.11745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6082-15_0_6_line_5 |  | 5 | 6 | 0.12039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6082-15_0_6_line_6 |  | 6 | 7 | 0.070863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6082-15_0_6_line_7 |  | 7 | 8 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6082-15_0_6_line_8 |  | 8 | 9 | 0.017283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6082-15_0_6_line_9 |  | 9 | 10 | 0.0073875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6082-15_0_6_line_10 |  | 10 | 89 | 0.0018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6082-15_0_6_line_11 |  | 11 | 12 | 0.035288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6082-15_0_6_line_12 |  | 11 | 13 | 0.021708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6082-15_0_6_line_13 |  | 12 | 14 | 0.040288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6082-15_0_6_line_14 |  | 13 | 15 | 0.083542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6082-15_0_6_line_15 |  | 13 | 16 | 0.20513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6082-15_0_6_line_16 |  | 15 | 17 | 0.029392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6082-15_0_6_line_17 |  | 15 | 18 | 0.080681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6082-15_0_6_line_18 |  | 16 | 19 | 0.022401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6082-15_0_6_line_19 |  | 18 | 21 | 0.0034549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6082-15_0_6_line_20 |  | 18 | 22 | 0.12508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6082-15_0_6_line_21 |  | 19 | 20 | 0.01306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6082-15_0_6_line_22 |  | 21 | 69 | 0.0076764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6082-15_0_6_line_23 |  | 22 | 50 | 0.046366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6082-15_0_6_line_24 |  | 22 | 47 | 0.066416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6082-15_0_6_line_25 |  | 23 | 24 | 0.018913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6082-15_0_6_line_26 |  | 23 | 25 | 0.016608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6082-15_0_6_line_27 |  | 24 | 26 | 0.00054098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6082-15_0_6_line_28 |  | 25 | 27 | 0.053648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6082-15_0_6_line_29 |  | 25 | 28 | 0.080499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6082-15_0_6_line_30 |  | 27 | 29 | 0.012928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6082-15_0_6_line_31 |  | 28 | 30 | 0.02267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6082-15_0_6_line_32 |  | 28 | 31 | 0.048997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6082-15_0_6_line_33 |  | 29 | 35 | 0.052379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6082-15_0_6_line_34 |  | 30 | 36 | 0.049933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6082-15_0_6_line_35 |  | 30 | 34 | 0.03023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6082-15_0_6_line_36 |  | 31 | 37 | 0.037723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6082-15_0_6_line_37 |  | 32 | 33 | 0.016239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6082-15_0_6_line_38 |  | 32 | 34 | 0.016955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6082-15_0_6_line_39 |  | 33 | 38 | 0.018407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6082-15_0_6_line_40 |  | 33 | 39 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6082-15_0_6_line_41 |  | 35 | 69 | 0.024207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6082-15_0_6_line_42 |  | 35 | 144 | 0.054985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6082-15_0_6_line_43 |  | 39 | 40 | 0.030234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6082-15_0_6_line_44 |  | 40 | 43 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6082-15_0_6_line_45 |  | 41 | 42 | 0.0032996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6082-15_0_6_line_46 |  | 41 | 43 | 0.018762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6082-15_0_6_line_47 |  | 43 | 44 | 0.016397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6082-15_0_6_line_48 |  | 45 | 46 | 0.00037246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6082-15_0_6_line_49 |  | 45 | 47 | 0.047377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6082-15_0_6_line_50 |  | 47 | 48 | 0.0054067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6082-15_0_6_line_51 |  | 48 | 49 | 0.071328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6082-15_0_6_line_52 |  | 49 | 51 | 0.020471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6082-15_0_6_line_53 |  | 49 | 52 | 0.062118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6082-15_0_6_line_54 |  | 51 | 53 | 0.029826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6082-15_0_6_line_55 |  | 51 | 54 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6082-15_0_6_line_56 |  | 52 | 55 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6082-15_0_6_line_57 |  | 52 | 56 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6082-15_0_6_line_58 |  | 54 | 57 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6082-15_0_6_line_59 |  | 54 | 58 | 0.030855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6082-15_0_6_line_60 |  | 55 | 59 | 0.073186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6082-15_0_6_line_61 |  | 55 | 60 | 0.042314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6082-15_0_6_line_62 |  | 56 | 61 | 0.019147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6082-15_0_6_line_63 |  | 57 | 73 | 0.019238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6082-15_0_6_line_64 |  | 58 | 99 | 0.031177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6082-15_0_6_line_65 |  | 61 | 107 | 0.032484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6082-15_0_6_line_66 |  | 62 | 63 | 0.010161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6082-15_0_6_line_67 |  | 62 | 64 | 0.025941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6082-15_0_6_line_68 |  | 63 | 65 | 0.030573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6082-15_0_6_line_69 |  | 65 | 66 | 0.038306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6082-15_0_6_line_70 |  | 66 | 67 | 0.027353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6082-15_0_6_line_71 |  | 66 | 68 | 0.037017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6082-15_0_6_line_72 |  | 68 | 70 | 0.0059329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6082-15_0_6_line_73 |  | 70 | 71 | 0.026612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6082-15_0_6_line_74 |  | 71 | 72 | 0.0017518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6082-15_0_6_line_75 |  | 72 | 73 | 0.020071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6082-15_0_6_line_76 |  | 74 | 75 | 0.0027647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_6082-15_0_6_line_77 |  | 74 | 76 | 0.020459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6082-15_0_6_line_78 |  | 75 | 77 | 0.021153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_6082-15_0_6_line_79 |  | 76 | 78 | 0.028883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_6082-15_0_6_line_80 |  | 77 | 79 | 0.012607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_6082-15_0_6_line_81 |  | 78 | 80 | 0.032197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_6082-15_0_6_line_82 |  | 79 | 92 | 0.017723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_6082-15_0_6_line_83 |  | 80 | 84 | 0.048351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6082-15_0_6_line_84 |  | 80 | 81 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_6082-15_0_6_line_85 |  | 81 | 82 | 0.026324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6082-15_0_6_line_86 |  | 82 | 83 | 0.011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_6082-15_0_6_line_87 |  | 83 | 85 | 0.016586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6082-15_0_6_line_88 |  | 83 | 86 | 0.011897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6082-15_0_6_line_89 |  | 84 | 87 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6082-15_0_6_line_90 |  | 85 | 88 | 0.040208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_6082-15_0_6_line_91 |  | 86 | 89 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6082-15_0_6_line_92 |  | 87 | 90 | 0.011029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6082-15_0_6_line_93 |  | 88 | 91 | 0.057285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_6082-15_0_6_line_94 |  | 91 | 130 | 0.0066621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_6082-15_0_6_line_95 |  | 91 | 129 | 0.022951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6082-15_0_6_line_96 |  | 92 | 93 | 0.040438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_6082-15_0_6_line_97 |  | 93 | 103 | 0.00767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_6082-15_0_6_line_98 |  | 94 | 95 | 0.057667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6082-15_0_6_line_99 |  | 94 | 96 | 0.037753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6082-15_0_6_line_100 |  | 95 | 97 | 0.021905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_6082-15_0_6_line_101 |  | 95 | 98 | 0.0083417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_6082-15_0_6_line_102 |  | 97 | 99 | 0.00054321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_6082-15_0_6_line_103 |  | 98 | 100 | 0.036226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_6082-15_0_6_line_104 |  | 100 | 101 | 0.015916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6082-15_0_6_line_105 |  | 100 | 102 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_6082-15_0_6_line_106 |  | 102 | 106 | 0.021697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_6082-15_0_6_line_107 |  | 103 | 104 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_6082-15_0_6_line_108 |  | 104 | 105 | 0.0069625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_6082-15_0_6_line_109 |  | 105 | 106 | 0.011991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_6082-15_0_6_line_110 |  | 108 | 109 | 0.015621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6082-15_0_6_line_111 |  | 109 | 110 | 0.018778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6082-15_0_6_line_112 |  | 110 | 111 | 0.0096775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6082-15_0_6_line_113 |  | 111 | 114 | 0.0023324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6082-15_0_6_line_114 |  | 112 | 113 | 0.033922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6082-15_0_6_line_115 |  | 112 | 114 | 0.026663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6082-15_0_6_line_116 |  | 112 | 115 | 0.032087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6082-15_0_6_line_117 |  | 113 | 116 | 0.037836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6082-15_0_6_line_118 |  | 113 | 117 | 0.028516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6082-15_0_6_line_119 |  | 115 | 118 | 0.010787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6082-15_0_6_line_120 |  | 116 | 121 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6082-15_0_6_line_121 |  | 117 | 122 | 0.0051778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6082-15_0_6_line_122 |  | 118 | 119 | 0.0071524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6082-15_0_6_line_123 |  | 119 | 120 | 0.014949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6082-15_0_6_line_124 |  | 121 | 123 | 0.006115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6082-15_0_6_line_125 |  | 121 | 124 | 0.036316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6082-15_0_6_line_126 |  | 123 | 125 | 0.038483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6082-15_0_6_line_127 |  | 124 | 126 | 0.0049697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6082-15_0_6_line_128 |  | 125 | 127 | 0.0098016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6082-15_0_6_line_129 |  | 126 | 128 | 0.022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6082-15_0_6_line_130 |  | 127 | 138 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6082-15_0_6_line_131 |  | 127 | 134 | 0.0060499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6082-15_0_6_line_132 |  | 130 | 131 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
133 | LV_6082-15_0_6_line_133 |  | 131 | 132 | 0.0010519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_6082-15_0_6_line_134 |  | 132 | 140 | 0.014994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_6082-15_0_6_line_135 |  | 133 | 134 | 0.014498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6082-15_0_6_line_136 |  | 133 | 135 | 0.013681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6082-15_0_6_line_137 |  | 135 | 136 | 0.01934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6082-15_0_6_line_138 |  | 135 | 137 | 0.007719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6082-15_0_6_line_139 |  | 136 | 139 | 0.014721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6082-15_0_6_line_140 |  | 136 | 140 | 0.011134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
141 | LV_6082-15_0_6_line_141 |  | 137 | 141 | 0.0095018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6082-15_0_6_line_142 |  | 141 | 142 | 0.0011003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6082-15_0_6_line_143 |  | 142 | 143 | 0.010343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_6082-15_0_6_line_144 |  | 144 | 145 | 0.042071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6082-15_0_6_trafo_54 | 0.63 MVA 20/0.4 kV | 146 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2596678.7019 | 1124015.9188 | 2596674.8506 | 1124008.2172 | 2596662.4434 | 1124003.6887 | 2596650.453 | 1123999.9936 | 2596635.5588 | 1123987.6294 | 2596625.6468 | 1123983.4452
1 | 2596608.2604 | 1123976.106 | 2596625.6468 | 1123983.4452
2 | 2596678.7019 | 1124015.9188 | 2596718.651 | 1123907.8768
3 | 2596732.7022 | 1124182.9456 | 2596678.7019 | 1124015.9188
4 | 2596676.2744 | 1124264.6638 | 2596682.0153 | 1124246.4405 | 2596690.0695 | 1124229.3388 | 2596696.2691 | 1124217.9965 | 2596711.7498 | 1124177.1902 | 2596716.9141 | 1124175.5309 | 2596732.7022 | 1124182.9456
5 | 2596676.2744 | 1124264.6638 | 2596704.7287 | 1124277.8098 | 2596717.2058 | 1124284.3172 | 2596726.7223 | 1124290.5483 | 2596737.3807 | 1124298.3462 | 2596774.6343 | 1124332.286
6 | 2596829.5266 | 1124376.6467 | 2596824.7974 | 1124374.8582 | 2596786.8055 | 1124343.3744 | 2596774.6343 | 1124332.286
7 | 2596829.5266 | 1124376.6467 | 2596847.0985 | 1124383.2922
8 | 2596847.0985 | 1124383.2922 | 2596852.5941 | 1124385.3706 | 2596862.0974 | 1124391.6801
9 | 2596868.252 | 1124395.7663 | 2596862.0974 | 1124391.6801
10 | 2596868.252 | 1124395.7663 | 2596869.8291 | 1124396.8133
11 | 2597098.5115 | 1124179.1441 | 2597101.0551 | 1124178.1202 | 2597102.6582 | 1124177.2523 | 2597110.7226 | 1124162.4856 | 2597109.9889 | 1124159.8291 | 2597108.6543 | 1124157.9622 | 2597100.8821 | 1124153.7367
12 | 2597081.8108 | 1124143.3683 | 2597100.8821 | 1124153.7367
13 | 2597098.5115 | 1124179.1441 | 2597099.1756 | 1124181.3671 | 2597098.9074 | 1124184.6911 | 2597091.9057 | 1124196.9672 | 2597086.9829 | 1124203.9397 | 2597078.4606 | 1124212.3813
14 | 2597052.2295 | 1124157.6121 | 2597053.5836 | 1124152.2977 | 2597054.4367 | 1124146.9503 | 2597054.7575 | 1124140.9805 | 2597054.3917 | 1124133.9662 | 2597053.4566 | 1124129.4756 | 2597052.522 | 1124125.9632 | 2597057.8405 | 1124123.9262 | 2597065.3483 | 1124121.7659 | 2597070.0664 | 1124121.5745 | 2597074.176 | 1124122.6397 | 2597086.437 | 1124128.9256 | 2597081.8108 | 1124143.3683
15 | 2597081.8108 | 1124143.3683 | 2597076.2433 | 1123938.3154
16 | 2597077.8471 | 1124172.1509 | 2597052.2295 | 1124157.6121
17 | 2597038.1163 | 1124224.3295 | 2597027.1653 | 1124216.5534 | 2597024.1501 | 1124214.8764 | 2597046.5542 | 1124170.7436 | 2597052.2295 | 1124157.6121
18 | 2597095.065 | 1123927.8121 | 2597086.7161 | 1123929.0057 | 2597076.2433 | 1123938.3154
19 | 2597038.1163 | 1124224.3295 | 2597040.9336 | 1124226.3293
20 | 2597069.7892 | 1124293.025 | 2597034.7569 | 1124273.9554 | 2597028.2942 | 1124269.1897 | 2597023.4583 | 1124264.8122 | 2597019.8789 | 1124260.2562 | 2597017.1551 | 1124255.333 | 2597015.5947 | 1124249.1307 | 2597015.1132 | 1124242.172 | 2597015.5963 | 1124237.0915 | 2597017.2198 | 1124230.7876 | 2597024.1501 | 1124214.8764 | 2597027.1653 | 1124216.5534 | 2597038.1163 | 1124224.3295
21 | 2597095.065 | 1123927.8121 | 2597090.8832 | 1123921.2777 | 2597085.965 | 1123919.298
22 | 2597047.1933 | 1124230.7725 | 2597040.9336 | 1124226.3293
23 | 2597069.7892 | 1124293.025 | 2597067.6628 | 1124295.6051 | 2597065.0037 | 1124296.8181 | 2597046.0539 | 1124295.4491 | 2597025.1875 | 1124292.3116
24 | 2597127.57 | 1124325.9571 | 2597123.0972 | 1124322.9022 | 2597115.1389 | 1124317.7258 | 2597108.1446 | 1124313.5383 | 2597099.4541 | 1124308.818 | 2597093.185 | 1124305.5195 | 2597069.7892 | 1124293.025
25 | 2597182.9544 | 1124219.4746 | 2597172.015 | 1124217.3938 | 2597167.4813 | 1124216.0175 | 2597165.2523 | 1124213.9509
26 | 2597158.615 | 1124198.7467 | 2597164.2486 | 1124210.8832 | 2597165.2523 | 1124213.9509 | 2597165.2523 | 1124213.9509
27 | 2597183.4858 | 1124219.5757 | 2597182.9544 | 1124219.4746
28 | 2597158.615 | 1124198.7467 | 2597156.6189 | 1124200.0038 | 2597135.6386 | 1124208.9961 | 2597133.4579 | 1124211.1538 | 2597132.3258 | 1124213.4332 | 2597131.6411 | 1124216.5239 | 2597129.2454 | 1124236.1236
29 | 2597158.615 | 1124198.7467 | 2597160.4415 | 1124197.6008 | 2597162.1752 | 1124195.7657 | 2597163.6309 | 1124192.8525 | 2597166.9691 | 1124176.8987 | 2597188.1575 | 1124183.7808 | 2597202.5913 | 1124187.9426 | 2597215.5358 | 1124189.1593 | 2597221.2167 | 1124187.3557
30 | 2597129.2454 | 1124236.1236 | 2597116.4053 | 1124234.6211
31 | 2597235.5951 | 1124204.9131 | 2597221.2167 | 1124187.3557
32 | 2597221.2167 | 1124187.3557 | 2597223.6125 | 1124183.5194 | 2597225.3906 | 1124177.7824 | 2597225.6316 | 1124165.4985 | 2597226.0443 | 1124141.6423 | 2597225.8856 | 1124139.3258
33 | 2597066.9668 | 1124244.814 | 2597072.294 | 1124245.1559 | 2597077.6283 | 1124244.0639 | 2597081.3821 | 1124242.8726 | 2597095.64 | 1124234.3725 | 2597098.5073 | 1124233.3817 | 2597101.9994 | 1124232.9353 | 2597116.4053 | 1124234.6211
34 | 2597235.5951 | 1124204.9131 | 2597251.2684 | 1124222.2809 | 2597264.8043 | 1124235.5033 | 2597270.2748 | 1124240.8032
35 | 2597235.5951 | 1124204.9131 | 2597231.1201 | 1124213.6639 | 2597221.3153 | 1124231.5544
36 | 2597225.8856 | 1124139.3258 | 2597225.4233 | 1124132.5826 | 2597224.0468 | 1124123.5121 | 2597222.864 | 1124116.6983 | 2597219.9771 | 1124109.0737 | 2597216.5843 | 1124103.2716
37 | 2597213.1653 | 1124246.4217 | 2597209.5836 | 1124252.971 | 2597205.2315 | 1124260.599
38 | 2597213.1653 | 1124246.4217 | 2597214.8676 | 1124243.3193 | 2597221.3153 | 1124231.5544
39 | 2597205.2315 | 1124260.599 | 2597220.758 | 1124270.4863
40 | 2597205.2315 | 1124260.599 | 2597203.3983 | 1124263.8126 | 2597203.9555 | 1124268.3145 | 2597208.9138 | 1124271.2024 | 2597216.473 | 1124276.101
41 | 2597066.9668 | 1124244.814 | 2597047.1933 | 1124230.7725
42 | 2597066.9668 | 1124244.814 | 2597090.7898 | 1124263.5558 | 2597097.6606 | 1124267.3209 | 2597104.3611 | 1124269.6965 | 2597112.5489 | 1124271.1377 | 2597113.9601 | 1124271.2509
43 | 2597216.473 | 1124276.101 | 2597228.8328 | 1124284.1104 | 2597239.5543 | 1124295.313
44 | 2597246.8965 | 1124302.9778 | 2597239.7543 | 1124295.522 | 2597239.5543 | 1124295.313
45 | 2597259.5478 | 1124320.8029 | 2597257.9915 | 1124317.8933
46 | 2597246.8965 | 1124302.9778 | 2597253.9538 | 1124310.3448 | 2597257.9915 | 1124317.8933
47 | 2597235.5387 | 1124314.8334 | 2597246.8965 | 1124302.9778
48 | 2597158.0302 | 1124315.7899 | 2597157.7699 | 1124315.5235
49 | 2597127.57 | 1124325.9571 | 2597129.4011 | 1124318.497 | 2597130.8091 | 1124312.6824 | 2597132.0489 | 1124309.936 | 2597134.5301 | 1124307.4669 | 2597138.1527 | 1124306.1423 | 2597142.8473 | 1124305.5286 | 2597148.1594 | 1124306.4932 | 2597151.8766 | 1124309.4928 | 2597157.7699 | 1124315.5235
50 | 2597127.57 | 1124325.9571 | 2597132.0309 | 1124329.0122
51 | 2597185.2195 | 1124375.8536 | 2597180.1899 | 1124369.0082 | 2597171.7131 | 1124359.5077 | 2597162.1729 | 1124350.9859 | 2597149.186 | 1124341.054 | 2597136.3613 | 1124331.978 | 2597132.0309 | 1124329.0122
52 | 2597166.969 | 1124385.2225 | 2597171.3698 | 1124383.1305 | 2597178.2831 | 1124379.4587 | 2597185.2195 | 1124375.8536
53 | 2597195.0075 | 1124435.2668 | 2597196.6529 | 1124426.2728 | 2597197.2341 | 1124416.3677 | 2597197.0365 | 1124406.1405 | 2597195.7919 | 1124398.8932 | 2597193.6146 | 1124391.7796 | 2597191.5154 | 1124386.9338 | 2597188.213 | 1124380.7768 | 2597185.2195 | 1124375.8536
54 | 2597166.969 | 1124385.2225 | 2597162.5333 | 1124379.0994 | 2597158.4606 | 1124374.1656 | 2597154.7434 | 1124371.3438 | 2597150.047 | 1124367.9889 | 2597145.3585 | 1124365.1676
55 | 2597166.969 | 1124385.2225 | 2597163.1153 | 1124387.0475 | 2597158.7225 | 1124389.8398 | 2597155.91 | 1124392.4536 | 2597153.3289 | 1124395.4563 | 2597151.2032 | 1124399.5815
56 | 2597195.0075 | 1124435.2668 | 2597199.5175 | 1124435.9761 | 2597209.7486 | 1124438.5392
57 | 2597195.0075 | 1124435.2668 | 2597188.1838 | 1124458.1532
58 | 2597151.2032 | 1124399.5815 | 2597142.3518 | 1124396.6399 | 2597136.1139 | 1124393.8972 | 2597133.0997 | 1124392.4652
59 | 2597151.2032 | 1124399.5815 | 2597140.7469 | 1124428.6103
60 | 2597209.7486 | 1124438.5392 | 2597209.1965 | 1124428.5791 | 2597208.3518 | 1124419.1638 | 2597208.4562 | 1124411.7379 | 2597210.8644 | 1124401.7985 | 2597219.1515 | 1124385.2643 | 2597226.4907 | 1124369.2531
61 | 2597209.7486 | 1124438.5392 | 2597213.8508 | 1124440.6494 | 2597217.1591 | 1124443.2046 | 2597219.1954 | 1124445.5937 | 2597220.7307 | 1124448.2165 | 2597221.9734 | 1124451.5175 | 2597222.9234 | 1124455.3523 | 2597225.0738 | 1124470.7254 | 2597225.513 | 1124475.0451
62 | 2597188.1838 | 1124458.1532 | 2597186.9721 | 1124462.2171 | 2597183.702 | 1124475.2028 | 2597183.5269 | 1124476.7082
63 | 2597116.7531 | 1124382.3948 | 2597128.6806 | 1124390.3657 | 2597133.0997 | 1124392.4652
64 | 2597130.0068 | 1124457.8762 | 2597132.28 | 1124452.1163 | 2597140.7469 | 1124428.6103
65 | 2597183.5269 | 1124476.7082 | 2597182.6426 | 1124484.3077 | 2597182.1152 | 1124493.7571 | 2597182.1352 | 1124503.3395 | 2597182.4278 | 1124509.1184
66 | 2596964.7341 | 1124316.6848 | 2596968.1725 | 1124318.6777 | 2596972.9107 | 1124322.6557
67 | 2596964.7341 | 1124316.6848 | 2596958.0165 | 1124312.7911 | 2596943.4198 | 1124306.4845 | 2596941.2229 | 1124305.8904
68 | 2596997.447 | 1124340.7727 | 2596985.7722 | 1124333.4537 | 2596972.9107 | 1124322.6557
69 | 2597033.5164 | 1124351.9607 | 2597013.8568 | 1124349.1693 | 2597000.3008 | 1124342.5618 | 2596997.447 | 1124340.7727
70 | 2597033.5164 | 1124351.9607 | 2597017.1065 | 1124373.8447
71 | 2597033.5164 | 1124351.9607 | 2597040.1928 | 1124352.68 | 2597060.113 | 1124352.5366 | 2597070.2148 | 1124354.9296
72 | 2597075.9879 | 1124356.2972 | 2597070.2148 | 1124354.9296
73 | 2597075.9879 | 1124356.2972 | 2597075.9879 | 1124356.2972 | 2597085.7117 | 1124361.6506 | 2597098.6092 | 1124370.2697
74 | 2597100.0657 | 1124371.243 | 2597098.6092 | 1124370.2697
75 | 2597100.0657 | 1124371.243 | 2597116.7531 | 1124382.3948
76 | 2596985.7757 | 1124415.6271 | 2596987.9429 | 1124417.3435
77 | 2596985.7757 | 1124415.6271 | 2596981.3489 | 1124412.1276 | 2596969.606 | 1124403.0938
78 | 2596987.9429 | 1124417.3435 | 2596995.1459 | 1124423.0481 | 2597003.1253 | 1124431.964
79 | 2596969.606 | 1124403.0938 | 2596946.7131 | 1124385.4823
80 | 2597003.1253 | 1124431.964 | 2597006.8008 | 1124436.0708 | 2597010.2209 | 1124442.2876
81 | 2596921.0943 | 1124365.9807 | 2596932.4388 | 1124374.5011 | 2596946.7131 | 1124385.4823
82 | 2597018.7636 | 1124457.8156 | 2597010.2209 | 1124442.2876
83 | 2596921.0943 | 1124365.9807 | 2596882.4318 | 1124336.946
84 | 2596921.0943 | 1124365.9807 | 2596909.7173 | 1124381.277
85 | 2596909.7173 | 1124381.277 | 2596894.0069 | 1124402.3993
86 | 2596887.2061 | 1124411.5429 | 2596894.0069 | 1124402.3993
87 | 2596887.2061 | 1124411.5429 | 2596899.854 | 1124422.2733
88 | 2596887.2061 | 1124411.5429 | 2596878.359 | 1124403.5895
89 | 2596882.4318 | 1124336.946 | 2596876.3177 | 1124332.3544 | 2596873.9421 | 1124331.0646
90 | 2596899.854 | 1124422.2733 | 2596914.4696 | 1124434.6732 | 2596930.3419 | 1124448.4858
91 | 2596878.359 | 1124403.5895 | 2596873.6241 | 1124399.333 | 2596869.8291 | 1124396.8133
92 | 2596873.9421 | 1124331.0646 | 2596864.2495 | 1124325.8021 | 2596864.2495 | 1124325.8021
93 | 2596970.2105 | 1124489.371 | 2596966.2374 | 1124483.5146 | 2596961.424 | 1124477.7699 | 2596950.1401 | 1124466.5813 | 2596933.2109 | 1124450.9825 | 2596930.3419 | 1124448.4858
94 | 2596970.2105 | 1124489.371 | 2596973.0193 | 1124495.412
95 | 2596970.2105 | 1124489.371 | 2596963.5325 | 1124485.3836 | 2596952.111 | 1124475.3951
96 | 2597018.7636 | 1124457.8156 | 2597032.6263 | 1124483.014 | 2597040.9664 | 1124491.1879
97 | 2597046.4442 | 1124496.5566 | 2597040.9664 | 1124491.1879
98 | 2597119.75 | 1124477.7683 | 2597112.9091 | 1124471.5575 | 2597092.2856 | 1124451.5023 | 2597079.2193 | 1124436.8127
99 | 2597052.7178 | 1124409.9461 | 2597060.5082 | 1124418.5464 | 2597079.2193 | 1124436.8127
100 | 2597119.75 | 1124477.7683 | 2597126.9134 | 1124465.7145 | 2597129.8074 | 1124458.3814
101 | 2597119.75 | 1124477.7683 | 2597119.405 | 1124486.1028
102 | 2597130.0068 | 1124457.8762 | 2597129.8074 | 1124458.3814
103 | 2597110.3661 | 1124520.4937 | 2597114.1334 | 1124515.7562 | 2597116.5262 | 1124506.2059 | 2597119.27 | 1124489.363 | 2597119.405 | 1124486.1028
104 | 2597110.3661 | 1124520.4937 | 2597119.2129 | 1124530.3386 | 2597121.4567 | 1124531.8051
105 | 2597110.3661 | 1124520.4937 | 2597107.6619 | 1124523.8856 | 2597100.2317 | 1124526.2793 | 2597093.1623 | 1124525.5713 | 2597092.1126 | 1124525.3433
106 | 2597071.0891 | 1124520.0351 | 2597081.0581 | 1124522.9426 | 2597092.1126 | 1124525.3433
107 | 2597046.4442 | 1124496.5566 | 2597053.3272 | 1124503.3024 | 2597058.0023 | 1124506.9161
108 | 2597058.0023 | 1124506.9161 | 2597063.511 | 1124511.1741
109 | 2597071.0891 | 1124520.0351 | 2597070.4095 | 1124517.5119 | 2597065.242 | 1124512.5121 | 2597063.511 | 1124511.1741
110 | 2596796.6603 | 1124447.7422 | 2596799.4463 | 1124439.1587 | 2596796.666 | 1124433.1762
111 | 2596796.6603 | 1124447.7422 | 2596800.7911 | 1124445.4722 | 2596812.1708 | 1124447.9339 | 2596814.2876 | 1124449.1097
112 | 2596814.2876 | 1124449.1097 | 2596822.7475 | 1124453.809
113 | 2596822.7475 | 1124453.809 | 2596824.7865 | 1124454.9417
114 | 2596821.3158 | 1124480.6561 | 2596822.9163 | 1124489.5262 | 2596825.7375 | 1124488.9689 | 2596828.6207 | 1124489.1229 | 2596831.3348 | 1124490.122 | 2596845.0228 | 1124498.8856
115 | 2596821.3158 | 1124480.6561 | 2596821.9986 | 1124474.4082 | 2596824.8864 | 1124468.8373 | 2596825.7174 | 1124465.9465 | 2596825.8149 | 1124460.7995 | 2596824.7865 | 1124454.9417 | 2596824.7865 | 1124454.9417
116 | 2596821.3158 | 1124480.6561 | 2596838.4376 | 1124466.6845 | 2596847.5319 | 1124462.5554
117 | 2596845.0228 | 1124498.8856 | 2596854.4236 | 1124505.7951 | 2596876.0041 | 1124520.5968
118 | 2596845.0228 | 1124498.8856 | 2596849.7824 | 1124490.4011 | 2596854.3982 | 1124486.9414 | 2596866.7148 | 1124482.7217
119 | 2596855.6059 | 1124455.402 | 2596847.5319 | 1124462.5554 | 2596847.5319 | 1124462.5554
120 | 2596886.1021 | 1124525.4879 | 2596881.9154 | 1124523.856 | 2596877.2425 | 1124521.4462 | 2596876.0041 | 1124520.5968
121 | 2596870.5674 | 1124479.2624 | 2596866.7148 | 1124482.7217
122 | 2596855.6059 | 1124455.402 | 2596860.9594 | 1124450.6589
123 | 2596860.9594 | 1124450.6589 | 2596865.9246 | 1124446.2599 | 2596874.2025 | 1124447.0481
124 | 2596886.1021 | 1124525.4879 | 2596891.9464 | 1124527.3413
125 | 2596886.1021 | 1124525.4879 | 2596906.3986 | 1124523.6319 | 2596909.1733 | 1124522.7411 | 2596911.2616 | 1124521.0392 | 2596913.7189 | 1124517.5807 | 2596917.4173 | 1124512.7499
126 | 2596891.9464 | 1124527.3413 | 2596920.0562 | 1124533.4962 | 2596929.3901 | 1124536.1631
127 | 2596920.4383 | 1124508.8039 | 2596917.4173 | 1124512.7499
128 | 2596938.8146 | 1124538.8558 | 2596929.3901 | 1124536.1631
129 | 2596920.4383 | 1124508.8039 | 2596921.4071 | 1124507.5384 | 2596931.7719 | 1124500.5185 | 2596939.5283 | 1124496.3376
130 | 2596938.8146 | 1124538.8558 | 2596937.4445 | 1124542.914 | 2596933.2516 | 1124549.6255
131 | 2596938.8146 | 1124538.8558 | 2596944.5582 | 1124540.7563
132 | 2596973.0193 | 1124495.412 | 2596977.8893 | 1124505.8862 | 2596980.0357 | 1124512.3216 | 2596980.3161 | 1124513.6543
133 | 2596980.5327 | 1124514.6837 | 2596980.3161 | 1124513.6543
134 | 2596980.5327 | 1124514.6837 | 2596981.1794 | 1124517.757 | 2596981.73 | 1124524.2043 | 2596981.447 | 1124528.64 | 2596981.2961 | 1124529.5654
135 | 2596957.7097 | 1124546.7632 | 2596952.9245 | 1124544.0955 | 2596948.0051 | 1124541.8969 | 2596944.5582 | 1124540.7563
136 | 2596967.716 | 1124555.7046 | 2596966.8131 | 1124553.882 | 2596965.5558 | 1124552.4041 | 2596963.6508 | 1124550.5931 | 2596960.196 | 1124548.1493 | 2596957.7097 | 1124546.7632
137 | 2596967.716 | 1124555.7046 | 2596970.9373 | 1124553.7687 | 2596972.6556 | 1124552.3116 | 2596973.9189 | 1124550.4544 | 2596975.6515 | 1124546.7629 | 2596978.3232 | 1124540.2694
138 | 2596967.716 | 1124555.7046 | 2596968.2029 | 1124558.1056 | 2596967.7354 | 1124563.3528
139 | 2596978.3232 | 1124540.2694 | 2596990.1432 | 1124544.9768 | 2596990.4494 | 1124546.951
140 | 2596978.3232 | 1124540.2694 | 2596980.0628 | 1124535.255 | 2596980.9321 | 1124531.7973 | 2596981.2961 | 1124529.5654
141 | 2596967.7354 | 1124563.3528 | 2596976.7714 | 1124566.2911
142 | 2596976.7714 | 1124566.2911 | 2596977.8178 | 1124566.6314
143 | 2596986.4495 | 1124571.7997 | 2596982.9243 | 1124568.2919 | 2596977.8178 | 1124566.6314
144 | 2597113.9601 | 1124271.2509 | 2597155.896 | 1124274.6149

## bus_geodata
| x | y | coords
0 | 2596625.6468 | 1123983.4452
1 | 2596678.7019 | 1124015.9188
2 | 2596608.2604 | 1123976.106
3 | 2596718.651 | 1123907.8768
4 | 2596732.7022 | 1124182.9456
5 | 2596676.2744 | 1124264.6638
6 | 2596774.6343 | 1124332.286
7 | 2596829.5266 | 1124376.6467
8 | 2596847.0985 | 1124383.2922
9 | 2596862.0974 | 1124391.6801
10 | 2596868.252 | 1124395.7663
11 | 2597100.8821 | 1124153.7367
12 | 2597098.5115 | 1124179.1441
13 | 2597081.8108 | 1124143.3683
14 | 2597078.4606 | 1124212.3814
15 | 2597052.2295 | 1124157.6121
16 | 2597076.2433 | 1123938.3154
17 | 2597077.8471 | 1124172.1509
18 | 2597038.1163 | 1124224.3295
19 | 2597095.065 | 1123927.8121
20 | 2597085.965 | 1123919.298
21 | 2597040.9336 | 1124226.3293
22 | 2597069.7892 | 1124293.025
23 | 2597165.2523 | 1124213.9509
24 | 2597182.9544 | 1124219.4746
25 | 2597158.615 | 1124198.7467
26 | 2597183.4858 | 1124219.5757
27 | 2597129.2454 | 1124236.1236
28 | 2597221.2167 | 1124187.3557
29 | 2597116.4053 | 1124234.6211
30 | 2597235.5951 | 1124204.9131
31 | 2597225.8856 | 1124139.3258
32 | 2597213.1653 | 1124246.4217
33 | 2597205.2315 | 1124260.599
34 | 2597221.3153 | 1124231.5544
35 | 2597066.9668 | 1124244.814
36 | 2597270.2748 | 1124240.8032
37 | 2597216.5843 | 1124103.2716
38 | 2597220.758 | 1124270.4863
39 | 2597216.473 | 1124276.101
40 | 2597239.5543 | 1124295.313
41 | 2597257.9915 | 1124317.8933
42 | 2597259.5478 | 1124320.8029
43 | 2597246.8965 | 1124302.9778
44 | 2597235.5387 | 1124314.8334
45 | 2597157.7699 | 1124315.5235
46 | 2597158.0302 | 1124315.7899
47 | 2597127.57 | 1124325.9571
48 | 2597132.0309 | 1124329.0122
49 | 2597185.2195 | 1124375.8536
50 | 2597025.1875 | 1124292.3116
51 | 2597166.969 | 1124385.2225
52 | 2597195.0075 | 1124435.2668
53 | 2597145.3585 | 1124365.1676
54 | 2597151.2032 | 1124399.5815
55 | 2597209.7486 | 1124438.5392
56 | 2597188.1838 | 1124458.1532
57 | 2597133.0997 | 1124392.4652
58 | 2597140.7469 | 1124428.6103
59 | 2597226.4907 | 1124369.2531
60 | 2597225.513 | 1124475.0451
61 | 2597183.5269 | 1124476.7082
62 | 2596964.7341 | 1124316.6848
63 | 2596972.9107 | 1124322.6557
64 | 2596941.2229 | 1124305.8904
65 | 2596997.447 | 1124340.7727
66 | 2597033.5164 | 1124351.9607
67 | 2597017.1065 | 1124373.8447
68 | 2597070.2148 | 1124354.9296
69 | 2597047.1933 | 1124230.7725
70 | 2597075.9879 | 1124356.2972
71 | 2597098.6092 | 1124370.2697
72 | 2597100.0657 | 1124371.243
73 | 2597116.7531 | 1124382.3948
74 | 2596985.7757 | 1124415.6271
75 | 2596987.9429 | 1124417.3435
76 | 2596969.606 | 1124403.0938
77 | 2597003.1253 | 1124431.964
78 | 2596946.7131 | 1124385.4823
79 | 2597010.2209 | 1124442.2876
80 | 2596921.0943 | 1124365.9807
81 | 2596909.7173 | 1124381.277
82 | 2596894.0069 | 1124402.3993
83 | 2596887.2061 | 1124411.5429
84 | 2596882.4318 | 1124336.946
85 | 2596899.854 | 1124422.2733
86 | 2596878.359 | 1124403.5895
87 | 2596873.9421 | 1124331.0646
88 | 2596930.3419 | 1124448.4858
89 | 2596869.8291 | 1124396.8133
90 | 2596864.2495 | 1124325.8021
91 | 2596970.2105 | 1124489.371
92 | 2597018.7636 | 1124457.8156
93 | 2597040.9664 | 1124491.1879
94 | 2597079.2193 | 1124436.8127
95 | 2597119.75 | 1124477.7683
96 | 2597052.7178 | 1124409.9461
97 | 2597129.8074 | 1124458.3814
98 | 2597119.405 | 1124486.1028
99 | 2597130.0068 | 1124457.8762
100 | 2597110.3661 | 1124520.4937
101 | 2597121.4567 | 1124531.8051
102 | 2597092.1126 | 1124525.3433
103 | 2597046.4442 | 1124496.5566
104 | 2597058.0023 | 1124506.9161
105 | 2597063.511 | 1124511.1741
106 | 2597071.0891 | 1124520.0351
107 | 2597182.4278 | 1124509.1184
108 | 2596796.666 | 1124433.1762
109 | 2596796.6603 | 1124447.7422
110 | 2596814.2876 | 1124449.1097
111 | 2596822.7475 | 1124453.809
112 | 2596821.3158 | 1124480.6561
113 | 2596845.0228 | 1124498.8856
114 | 2596824.7865 | 1124454.9417
115 | 2596847.5319 | 1124462.5554
116 | 2596876.0041 | 1124520.5968
117 | 2596866.7148 | 1124482.7217
118 | 2596855.6059 | 1124455.402
119 | 2596860.9594 | 1124450.6589
120 | 2596874.2025 | 1124447.0481
121 | 2596886.1021 | 1124525.4879
122 | 2596870.5674 | 1124479.2624
123 | 2596891.9464 | 1124527.3413
124 | 2596917.4173 | 1124512.7499
125 | 2596929.3901 | 1124536.1631
126 | 2596920.4383 | 1124508.8039
127 | 2596938.8146 | 1124538.8558
128 | 2596939.5283 | 1124496.3376
129 | 2596952.111 | 1124475.3951
130 | 2596973.0193 | 1124495.412
131 | 2596980.3161 | 1124513.6543
132 | 2596980.5327 | 1124514.6837
133 | 2596957.7097 | 1124546.7632
134 | 2596944.5582 | 1124540.7563
135 | 2596967.716 | 1124555.7046
136 | 2596978.3232 | 1124540.2694
137 | 2596967.7354 | 1124563.3528
138 | 2596933.2516 | 1124549.6255
139 | 2596990.4494 | 1124546.951
140 | 2596981.2961 | 1124529.5654
141 | 2596976.7714 | 1124566.2911
142 | 2596977.8178 | 1124566.6314
143 | 2596986.4495 | 1124571.7997
144 | 2597113.9601 | 1124271.2509
145 | 2597155.896 | 1124274.6149
146 | 2596985.7757 | 1124415.6271

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1