## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6082-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6082-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6082-21_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6082-21_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6082-21_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6082-21_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6082-21_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6082-21_0_4_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_6082-21_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_6082-21_0_4_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_6082-21_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6082-21_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6082-21_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6082-21_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6082-21_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6082-21_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_6082-21_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6082-21_0_4_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_6082-21_0_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_6082-21_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6082-21_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6082-21_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_6082-21_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_6082-21_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_6082-21_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6082-21_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6082-21_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6082-21_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6082-21_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6082-21_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6082-21_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6082-21_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6082-21_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6082-21_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6082-21_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_6082-21_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6082-21_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6082-21_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_6082-21_0_4_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_6082-21_0_4_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_6082-21_0_4_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_6082-21_0_4_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_6082-21_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6082-21_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6082-21_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6082-21_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6082-21_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_6082-21_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_6082-21_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_6082-21_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6082-21_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_6082-21_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_6082-21_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_6082-21_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_6082-21_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6082-21_0_4_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_6082-21_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6082-21_0_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_6082-21_0_4_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_6082-21_0_4_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_6082-21_0_4_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_6082-21_0_4_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_6082-21_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_6082-21_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6082-21_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6082-21_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6082-21_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6082-21_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6082-21_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6082-21_0_4_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_6082-21_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_6082-21_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_6082-21_0_4_node_93 | 0.4 | n |  | TRUE
73 | bus_LV_6082-21_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6082-21_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_6082-21_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_6082-21_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_6082-21_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_6082-21_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_6082-21_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6082-21_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6082-21_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_6082-21_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_6082-21_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_6082-21_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_6082-21_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_6082-21_0_4_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_6082-21_0_4_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_6082-21_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_6082-21_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_6082-21_0_4_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_6082-21_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_6082-21_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_MV_95_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6082-21_0_4_load_0 | 0 | 0.024717 | 0.0061946 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6082-21_0_4_load_5 | 5 | 0.026404 | 0.0066174 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6082-21_0_4_load_95 | 7 | 0.0044568 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6082-21_0_4_load_28 | 9 | 0.0054252 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6082-21_0_4_load_6 | 10 | 0.013843 | 0.0034694 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6082-21_0_4_load_8 | 12 | 0.011644 | 0.0029181 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6082-21_0_4_load_19 | 16 | 0.0074338 | 0.0018631 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6082-21_0_4_load_35 | 17 | 0.014512 | 0.003637 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6082-21_0_4_load_32 | 18 | 0.010951 | 0.0027446 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6082-21_0_4_load_17 | 19 | 0.01356 | 0.0033984 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6082-21_0_4_load_20 | 20 | 0.0077306 | 0.0019375 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6082-21_0_4_load_37 | 21 | 0.011538 | 0.0028916 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6082-21_0_4_load_33 | 22 | 0.013204 | 0.0033092 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6082-21_0_4_load_13 | 24 | 0.0066054 | 0.0016555 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6082-21_0_4_load_14 | 25 | 0.0040342 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6082-21_0_4_load_15 | 26 | 0.0070196 | 0.0017593 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6082-21_0_4_load_16 | 27 | 0.0061707 | 0.0015465 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6082-21_0_4_load_21 | 28 | 0.012848 | 0.00322 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6082-21_0_4_load_22 | 29 | 0.0053185 | 0.0013329 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6082-21_0_4_load_24 | 31 | 0.0056841 | 0.0014246 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6082-21_0_4_load_25 | 32 | 0.0064042 | 0.001605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6082-21_0_4_load_26 | 33 | 0.0050723 | 0.0012712 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6082-21_0_4_load_36 | 34 | 0.022331 | 0.0055966 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6082-21_0_4_load_30 | 35 | 0.014945 | 0.0037457 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6082-21_0_4_load_60 | 37 | 0.0074637 | 0.0018706 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6082-21_0_4_load_89 | 39 | 0.01305 | 0.0032706 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6082-21_0_4_load_91 | 40 | 0.0069208 | 0.0017345 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6082-21_0_4_load_34 | 42 | 0.012847 | 0.0032198 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6082-21_0_4_load_39 | 44 | 0.015007 | 0.0037612 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6082-21_0_4_load_41 | 46 | 0.010451 | 0.0026193 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6082-21_0_4_load_51 | 47 | 0.010051 | 0.0025191 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6082-21_0_4_load_49 | 48 | 0.021969 | 0.0055059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6082-21_0_4_load_42 | 49 | 0.0058493 | 0.001466 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6082-21_0_4_load_43 | 52 | 0.015408 | 0.0038616 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6082-21_0_4_load_44 | 53 | 0.011483 | 0.0028779 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6082-21_0_4_load_46 | 54 | 0.021677 | 0.0054328 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6082-21_0_4_load_81 | 55 | 0.0059565 | 0.0014929 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6082-21_0_4_load_50 | 56 | 0.0083107 | 0.0020829 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6082-21_0_4_load_83 | 58 | 0.0065202 | 0.0016341 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6082-21_0_4_load_80 | 60 | 0.0034471 | 0.00086393 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6082-21_0_4_load_85 | 61 | 0.012521 | 0.0031381 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6082-21_0_4_load_59 | 62 | 0.014658 | 0.0036737 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6082-21_0_4_load_55 | 63 | 0.016293 | 0.0040834 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6082-21_0_4_load_52 | 64 | 0.0064411 | 0.0016143 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6082-21_0_4_load_53 | 65 | 0.0057737 | 0.001447 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6082-21_0_4_load_56 | 67 | 0.0062061 | 0.0015554 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6082-21_0_4_load_90 | 69 | 0.0095003 | 0.002381 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6082-21_0_4_load_61 | 70 | 0.0020301 | 0.00050879 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6082-21_0_4_load_93 | 72 | 0.0046869 | 0.0011747 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6082-21_0_4_load_66 | 73 | 0.0044253 | 0.0011091 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6082-21_0_4_load_64 | 74 | 0.0044513 | 0.0011156 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6082-21_0_4_load_63 | 75 | 0.0018513 | 0.00046397 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6082-21_0_4_load_67 | 77 | 0.0029477 | 0.00073876 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6082-21_0_4_load_68 | 78 | 0.0037009 | 0.00092754 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6082-21_0_4_load_69 | 79 | 0.0019691 | 0.0004935 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6082-21_0_4_load_76 | 80 | 0.0038277 | 0.00095932 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6082-21_0_4_load_71 | 82 | 0.0023001 | 0.00057647 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6082-21_0_4_load_72 | 83 | 0.002578 | 0.0006461 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6082-21_0_4_load_75 | 85 | 0.0082339 | 0.0020636 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6082-21_0_4_load_74 | 86 | 0.0028467 | 0.00071344 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6082-21_0_4_load_94 | 87 | 0.0039571 | 0.00099175 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6082-21_0_4_load_77 | 88 | 0.0051496 | 0.0012906 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6082-21_0_4_load_87 | 92 | 0.0084855 | 0.0021267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6082-21_0_4_line_0 |  | 0 | 1 | 0.018716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6082-21_0_4_line_1 |  | 0 | 2 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6082-21_0_4_line_2 |  | 1 | 3 | 0.019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6082-21_0_4_line_3 |  | 1 | 4 | 0.016254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6082-21_0_4_line_4 |  | 2 | 5 | 0.022724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6082-21_0_4_line_5 |  | 3 | 6 | 0.009272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6082-21_0_4_line_6 |  | 4 | 7 | 0.028686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6082-21_0_4_line_7 |  | 6 | 8 | 0.013439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6082-21_0_4_line_8 |  | 6 | 9 | 0.040218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6082-21_0_4_line_9 |  | 8 | 12 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6082-21_0_4_line_10 |  | 9 | 23 | 0.017096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6082-21_0_4_line_11 |  | 10 | 11 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6082-21_0_4_line_12 |  | 11 | 12 | 0.011538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6082-21_0_4_line_13 |  | 11 | 13 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6082-21_0_4_line_14 |  | 11 | 14 | 0.039953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6082-21_0_4_line_15 |  | 13 | 15 | 0.03197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6082-21_0_4_line_16 |  | 13 | 16 | 0.012648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6082-21_0_4_line_17 |  | 14 | 17 | 0.012377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6082-21_0_4_line_18 |  | 14 | 18 | 0.013098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6082-21_0_4_line_19 |  | 15 | 19 | 0.011639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6082-21_0_4_line_20 |  | 16 | 20 | 0.0020442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6082-21_0_4_line_21 |  | 17 | 21 | 0.011967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6082-21_0_4_line_22 |  | 18 | 22 | 0.0082693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6082-21_0_4_line_23 |  | 19 | 27 | 0.020264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6082-21_0_4_line_24 |  | 20 | 28 | 0.025374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6082-21_0_4_line_25 |  | 21 | 43 | 0.016741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6082-21_0_4_line_26 |  | 22 | 42 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6082-21_0_4_line_27 |  | 23 | 35 | 0.032964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6082-21_0_4_line_28 |  | 23 | 36 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6082-21_0_4_line_29 |  | 24 | 25 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6082-21_0_4_line_30 |  | 25 | 26 | 0.022491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6082-21_0_4_line_31 |  | 26 | 27 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6082-21_0_4_line_32 |  | 28 | 29 | 0.022626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6082-21_0_4_line_33 |  | 29 | 30 | 0.0026617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6082-21_0_4_line_34 |  | 30 | 31 | 0.0049116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6082-21_0_4_line_35 |  | 30 | 32 | 0.024614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6082-21_0_4_line_36 |  | 31 | 33 | 0.0037809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6082-21_0_4_line_37 |  | 32 | 34 | 0.022793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6082-21_0_4_line_38 |  | 35 | 37 | 0.0082038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6082-21_0_4_line_39 |  | 36 | 38 | 0.019387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6082-21_0_4_line_40 |  | 36 | 39 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6082-21_0_4_line_41 |  | 38 | 40 | 0.008499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6082-21_0_4_line_42 |  | 38 | 41 | 0.003541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6082-21_0_4_line_43 |  | 41 | 72 | 0.00948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6082-21_0_4_line_44 |  | 43 | 44 | 0.0097256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6082-21_0_4_line_45 |  | 43 | 45 | 0.007634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6082-21_0_4_line_46 |  | 44 | 46 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6082-21_0_4_line_47 |  | 45 | 47 | 0.0094725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6082-21_0_4_line_48 |  | 45 | 48 | 0.027337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6082-21_0_4_line_49 |  | 46 | 49 | 0.00922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6082-21_0_4_line_50 |  | 47 | 50 | 0.011954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6082-21_0_4_line_51 |  | 48 | 51 | 0.02561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6082-21_0_4_line_52 |  | 49 | 52 | 0.010019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6082-21_0_4_line_53 |  | 50 | 62 | 0.021455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6082-21_0_4_line_54 |  | 50 | 63 | 0.018426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6082-21_0_4_line_55 |  | 51 | 56 | 0.024225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6082-21_0_4_line_56 |  | 51 | 54 | 0.017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6082-21_0_4_line_57 |  | 52 | 53 | 0.0029798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6082-21_0_4_line_58 |  | 54 | 55 | 0.067166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6082-21_0_4_line_59 |  | 55 | 57 | 0.051837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6082-21_0_4_line_60 |  | 57 | 58 | 0.023481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6082-21_0_4_line_61 |  | 57 | 59 | 0.046123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6082-21_0_4_line_62 |  | 58 | 60 | 0.034554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6082-21_0_4_line_63 |  | 59 | 61 | 0.04385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6082-21_0_4_line_64 |  | 60 | 91 | 0.097259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6082-21_0_4_line_65 |  | 63 | 65 | 0.017024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6082-21_0_4_line_66 |  | 64 | 65 | 0.024075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6082-21_0_4_line_67 |  | 64 | 66 | 0.018756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6082-21_0_4_line_68 |  | 66 | 67 | 0.013492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6082-21_0_4_line_69 |  | 66 | 68 | 0.008453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6082-21_0_4_line_70 |  | 68 | 69 | 0.023533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6082-21_0_4_line_71 |  | 70 | 71 | 0.063916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6082-21_0_4_line_72 |  | 70 | 72 | 0.07474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6082-21_0_4_line_73 |  | 71 | 73 | 0.073642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6082-21_0_4_line_74 |  | 73 | 74 | 0.016544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6082-21_0_4_line_75 |  | 74 | 75 | 0.0015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_6082-21_0_4_line_76 |  | 75 | 76 | 0.005623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_6082-21_0_4_line_77 |  | 76 | 77 | 0.017462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6082-21_0_4_line_78 |  | 76 | 78 | 0.062059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_6082-21_0_4_line_79 |  | 77 | 79 | 0.01775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6082-21_0_4_line_80 |  | 78 | 80 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_6082-21_0_4_line_81 |  | 79 | 81 | 0.002496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6082-21_0_4_line_82 |  | 81 | 82 | 0.01392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_6082-21_0_4_line_83 |  | 81 | 83 | 0.019677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_6082-21_0_4_line_84 |  | 82 | 84 | 0.0238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_6082-21_0_4_line_85 |  | 83 | 85 | 0.028093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_6082-21_0_4_line_86 |  | 84 | 86 | 0.02281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_6082-21_0_4_line_87 |  | 85 | 87 | 0.062271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6082-21_0_4_line_88 |  | 87 | 90 | 0.015738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6082-21_0_4_line_89 |  | 88 | 89 | 0.015726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_6082-21_0_4_line_90 |  | 89 | 90 | 0.061296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_6082-21_0_4_line_91 |  | 91 | 92 | 0.017116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6082-21_0_4_trafo_59 | 0.63 MVA 20/0.4 kV | 93 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2597984.2802 | 1125852.945 | 2598000.5382 | 1125862.2167
1 | 2598018.684 | 1125872.565 | 2598000.5382 | 1125862.2167
2 | 2597988.6283 | 1125834.3456 | 2597986.4753 | 1125848.7533 | 2597984.2802 | 1125852.945
3 | 2597976.7244 | 1125867.3436 | 2597984.2802 | 1125852.945
4 | 2598035.8791 | 1125873.9043 | 2598032.0584 | 1125880.1976 | 2598018.684 | 1125872.565
5 | 2597988.6283 | 1125834.3456 | 2597980.5836 | 1125838.9951
6 | 2597963.3999 | 1125892.7606 | 2597976.7244 | 1125867.3436
7 | 2597980.5836 | 1125838.9951 | 2597987.3697 | 1125827.3871
8 | 2597980.5836 | 1125838.9951 | 2597973.6408 | 1125842.8104 | 2597945.308 | 1125858.3119
9 | 2597987.3697 | 1125827.3871 | 2597990.5368 | 1125825.9519 | 2597998.9534 | 1125820.0897
10 | 2597929.5558 | 1125864.8589 | 2597935.9057 | 1125862.7667 | 2597942.8796 | 1125859.6405 | 2597945.308 | 1125858.3119
11 | 2598008.421 | 1125813.4953 | 2598003.3607 | 1125823.4241
12 | 2598008.421 | 1125813.4953 | 2597998.9534 | 1125820.0897
13 | 2598008.421 | 1125813.4953 | 2598009.6526 | 1125808.8482 | 2598013.8224 | 1125809.3581 | 2598019.1872 | 1125811.1016
14 | 2597984.7428 | 1125786.6348 | 2598001.8487 | 1125796.8116 | 2598007.0139 | 1125800.8118 | 2598008.6564 | 1125803.1568 | 2598009.5667 | 1125805.7912 | 2598009.6526 | 1125808.8482 | 2598008.421 | 1125813.4953
15 | 2598047.2466 | 1125826.3218 | 2598027.7513 | 1125815.2674 | 2598023.4266 | 1125812.3785 | 2598019.1872 | 1125811.1016
16 | 2598019.1872 | 1125811.1016 | 2598021.051 | 1125807.099 | 2598023.6038 | 1125799.2718
17 | 2597984.7428 | 1125786.6348 | 2597974.2017 | 1125780.148
18 | 2597984.7428 | 1125786.6348 | 2597989.0899 | 1125774.2787
19 | 2598047.2466 | 1125826.3218 | 2598057.3613 | 1125832.0804
20 | 2598024.2035 | 1125797.3177 | 2598023.8612 | 1125798.4827 | 2598023.6038 | 1125799.2718
21 | 2597974.2017 | 1125780.148 | 2597969.4869 | 1125777.2466 | 2597963.7323 | 1125774.3755
22 | 2597989.0899 | 1125774.2787 | 2597991.8343 | 1125766.4781 | 2597991.8343 | 1125766.4781
23 | 2598074.9714 | 1125842.1063 | 2598057.3613 | 1125832.0804
24 | 2598029.6329 | 1125772.5516 | 2598028.0246 | 1125780.0835 | 2598025.8474 | 1125791.7232 | 2598024.2035 | 1125797.3177
25 | 2597947.9192 | 1125769.2502 | 2597952.7133 | 1125769.96 | 2597959.7124 | 1125772.3699 | 2597963.7323 | 1125774.3755
26 | 2597991.8343 | 1125766.4781 | 2597985.3583 | 1125761.1444 | 2597985.8239 | 1125759.4646
27 | 2597929.5558 | 1125864.8589 | 2597922.803 | 1125861.215 | 2597912.135 | 1125857.5726 | 2597907.0162 | 1125854.2284 | 2597902.8539 | 1125847.5098
28 | 2597916.1251 | 1125873.0343 | 2597922.3038 | 1125866.2732 | 2597929.5558 | 1125864.8589
29 | 2598125.1132 | 1125871.1772 | 2598107.9772 | 1125861.1074
30 | 2598107.9772 | 1125861.1074 | 2598096.5202 | 1125854.3747 | 2598088.5234 | 1125849.8219
31 | 2598088.5234 | 1125849.8219 | 2598074.9714 | 1125842.1063
32 | 2598029.6329 | 1125772.5516 | 2598032.2954 | 1125760.0834 | 2598033.7249 | 1125750.3104
33 | 2598034.1101 | 1125747.6767 | 2598033.7249 | 1125750.3104
34 | 2598034.1101 | 1125747.6767 | 2598034.8261 | 1125742.8176
35 | 2598034.1101 | 1125747.6767 | 2598016.727 | 1125738.5782 | 2598014.6606 | 1125736.111 | 2598013.9518 | 1125734.4836
36 | 2598035.3773 | 1125739.0771 | 2598034.8261 | 1125742.8176
37 | 2598013.9518 | 1125734.4836 | 2598012.5934 | 1125731.365 | 2598010.9354 | 1125728.4863 | 2597996.727 | 1125720.9802
38 | 2597898.5334 | 1125840.5359 | 2597902.8539 | 1125847.5098
39 | 2597916.1251 | 1125873.0343 | 2597905.4829 | 1125876.8511 | 2597898.2472 | 1125880.5555
40 | 2597916.1251 | 1125873.0343 | 2597927.8108 | 1125877.5546
41 | 2597898.2472 | 1125880.5555 | 2597890.9085 | 1125876.2338
42 | 2597898.2472 | 1125880.5555 | 2597896.0209 | 1125883.3132
43 | 2597896.0209 | 1125883.3132 | 2597905.0701 | 1125886.2225
44 | 2597947.9192 | 1125769.2502 | 2597949.2183 | 1125759.6118
45 | 2597940.2658 | 1125769.0417 | 2597947.9192 | 1125769.2502
46 | 2597957.3827 | 1125747.1362 | 2597949.2183 | 1125759.6118 | 2597949.2183 | 1125759.6118
47 | 2597940.2658 | 1125769.0417 | 2597938.8642 | 1125772.4328 | 2597937.455 | 1125775.8238 | 2597936.4733 | 1125777.7152
48 | 2597940.2658 | 1125769.0417 | 2597926.4618 | 1125768.3574 | 2597920.103 | 1125767.6593 | 2597914.7304 | 1125765.9715 | 2597913.3837 | 1125765.3407
49 | 2597957.3827 | 1125747.1362 | 2597961.8361 | 1125740.3313 | 2597962.3026 | 1125739.349
50 | 2597926.9604 | 1125783.5202 | 2597929.789 | 1125783.4747 | 2597932.0006 | 1125782.5957 | 2597935.3832 | 1125779.8154 | 2597936.4733 | 1125777.7152
51 | 2597901.8977 | 1125744.1432 | 2597902.2079 | 1125749.5346 | 2597903.196 | 1125753.8142 | 2597905.2476 | 1125757.9043 | 2597907.7768 | 1125761.3606 | 2597910.6989 | 1125764.0831 | 2597913.3837 | 1125765.3407
52 | 2597962.3026 | 1125739.349 | 2597965.3789 | 1125732.8709 | 2597966.2056 | 1125730.1457
53 | 2597926.9604 | 1125783.5202 | 2597927.1262 | 1125794.6922 | 2597931.3608 | 1125804.0619
54 | 2597926.9604 | 1125783.5202 | 2597908.5786 | 1125782.2512
55 | 2597901.8977 | 1125744.1432 | 2597888.7528 | 1125754.5419 | 2597883.3939 | 1125759.7382
56 | 2597901.8977 | 1125744.1432 | 2597903.1441 | 1125738.2288 | 2597907.5418 | 1125727.9088
57 | 2597967.0706 | 1125727.2942 | 2597966.2056 | 1125730.1457
58 | 2597907.5418 | 1125727.9088 | 2597851.2925 | 1125691.2033
59 | 2597821.7139 | 1125648.915 | 2597837.6753 | 1125668.0184 | 2597848.5953 | 1125685.145 | 2597851.2925 | 1125691.2033
60 | 2597821.7139 | 1125648.915 | 2597831.7183 | 1125670.1661
61 | 2597798.0453 | 1125610.4829 | 2597802.942 | 1125616.9509 | 2597815.6112 | 1125632.4315 | 2597816.3076 | 1125639.8571 | 2597821.7139 | 1125648.915
62 | 2597831.7183 | 1125670.1661 | 2597810.4967 | 1125697.4353
63 | 2597798.0453 | 1125610.4829 | 2597795.7605 | 1125622.0339 | 2597813.0406 | 1125649.0567
64 | 2597810.4967 | 1125697.4353 | 2597715.0384 | 1125716.0662
65 | 2597891.7215 | 1125784.0711 | 2597899.6455 | 1125782.5072 | 2597906.7746 | 1125782.1267 | 2597908.5786 | 1125782.2512
66 | 2597868.3181 | 1125789.7109 | 2597889.8272 | 1125784.445 | 2597891.7215 | 1125784.0711
67 | 2597851.0911 | 1125786.1488 | 2597853.8899 | 1125788.9158 | 2597857.5822 | 1125790.5041 | 2597861.4821 | 1125790.6361 | 2597868.3181 | 1125789.7109 | 2597868.3181 | 1125789.7109
68 | 2597851.0911 | 1125786.1488 | 2597840.5276 | 1125794.579
69 | 2597850.4869 | 1125777.8895 | 2597849.9024 | 1125781.2802 | 2597851.0911 | 1125786.1488
70 | 2597850.4869 | 1125777.8895 | 2597839.6971 | 1125778.9162 | 2597828.3233 | 1125784.6899
71 | 2597854.8352 | 1125949.7494 | 2597870.9794 | 1125943.9962 | 2597884.2679 | 1125948.3602 | 2597895.507 | 1125954.4591 | 2597905.0269 | 1125959.1024 | 2597914.351 | 1125960.3844
72 | 2597905.0701 | 1125886.2225 | 2597914.351 | 1125960.3844
73 | 2597781.6552 | 1125957.987 | 2597854.8352 | 1125949.7494
74 | 2597770.4764 | 1125945.7912 | 2597781.6552 | 1125957.987
75 | 2597769.416 | 1125944.6344 | 2597770.4764 | 1125945.7912
76 | 2597765.0089 | 1125948.1267 | 2597769.416 | 1125944.6344 | 2597769.416 | 1125944.6344
77 | 2597765.0089 | 1125948.1267 | 2597754.2003 | 1125934.4117
78 | 2597765.0089 | 1125948.1267 | 2597783.8771 | 1125972.0756 | 2597787.6502 | 1125983.4464 | 2597779.9189 | 1126001.4459
79 | 2597754.2003 | 1125934.4117 | 2597743.2132 | 1125920.4705
80 | 2597771.5155 | 1126021.0105 | 2597779.9189 | 1126001.4459
81 | 2597741.6683 | 1125918.5101 | 2597743.2132 | 1125920.4705
82 | 2597741.6683 | 1125918.5101 | 2597735.8926 | 1125910.5529 | 2597732.5733 | 1125908.1678
83 | 2597741.6683 | 1125918.5101 | 2597731.7639 | 1125935.5126
84 | 2597710.3783 | 1125900.8469 | 2597712.4823 | 1125900.8128 | 2597727.7439 | 1125904.6976 | 2597732.5733 | 1125908.1678
85 | 2597714.631 | 1125955.9277 | 2597717.2953 | 1125950.146 | 2597724.9704 | 1125947.1749 | 2597731.7639 | 1125935.5126
86 | 2597696.9518 | 1125918.7387 | 2597699.4157 | 1125912.8015 | 2597702.8514 | 1125908.5092 | 2597709.3849 | 1125902.9483 | 2597710.3783 | 1125900.8469
87 | 2597714.631 | 1125955.9277 | 2597691.7793 | 1126013.8537
88 | 2597682.5668 | 1126026.6303 | 2597691.7793 | 1126013.8537
89 | 2597632.5347 | 1125992.0223 | 2597643.0066 | 1125980.2896
90 | 2597632.5347 | 1125992.0223 | 2597645.6324 | 1126000.7212 | 2597663.5009 | 1126010.0964 | 2597667.7175 | 1126012.3403 | 2597679.4213 | 1126023.9524 | 2597682.5668 | 1126026.6303
91 | 2597715.0384 | 1125716.0662 | 2597716.8254 | 1125733.0849

## bus_geodata
| x | y | coords
0 | 2598000.5382 | 1125862.2167
1 | 2597984.2802 | 1125852.945
2 | 2598018.684 | 1125872.565
3 | 2597988.6283 | 1125834.3456
4 | 2597976.7244 | 1125867.3436
5 | 2598035.8791 | 1125873.9043
6 | 2597980.5836 | 1125838.9951
7 | 2597963.3999 | 1125892.7606
8 | 2597987.3697 | 1125827.3871
9 | 2597945.308 | 1125858.3119
10 | 2598003.3607 | 1125823.4241
11 | 2598008.421 | 1125813.4953
12 | 2597998.9534 | 1125820.0897
13 | 2598019.1872 | 1125811.1016
14 | 2597984.7428 | 1125786.6348
15 | 2598047.2466 | 1125826.3218
16 | 2598023.6038 | 1125799.2718
17 | 2597974.2017 | 1125780.148
18 | 2597989.0899 | 1125774.2787
19 | 2598057.3613 | 1125832.0804
20 | 2598024.2035 | 1125797.3177
21 | 2597963.7323 | 1125774.3755
22 | 2597991.8343 | 1125766.4781
23 | 2597929.5558 | 1125864.8589
24 | 2598125.1132 | 1125871.1773
25 | 2598107.9772 | 1125861.1074
26 | 2598088.5234 | 1125849.8219
27 | 2598074.9714 | 1125842.1063
28 | 2598029.6329 | 1125772.5516
29 | 2598033.7249 | 1125750.3104
30 | 2598034.1101 | 1125747.6767
31 | 2598034.8261 | 1125742.8176
32 | 2598013.9518 | 1125734.4836
33 | 2598035.3773 | 1125739.0771
34 | 2597996.727 | 1125720.9802
35 | 2597902.8539 | 1125847.5098
36 | 2597916.1251 | 1125873.0343
37 | 2597898.5334 | 1125840.5359
38 | 2597898.2472 | 1125880.5555
39 | 2597927.8108 | 1125877.5546
40 | 2597890.9085 | 1125876.2338
41 | 2597896.0209 | 1125883.3132
42 | 2597985.8239 | 1125759.4646
43 | 2597947.9192 | 1125769.2502
44 | 2597949.2183 | 1125759.6118
45 | 2597940.2658 | 1125769.0417
46 | 2597957.3827 | 1125747.1362
47 | 2597936.4733 | 1125777.7152
48 | 2597913.3837 | 1125765.3407
49 | 2597962.3026 | 1125739.349
50 | 2597926.9604 | 1125783.5202
51 | 2597901.8977 | 1125744.1432
52 | 2597966.2056 | 1125730.1457
53 | 2597967.0706 | 1125727.2942
54 | 2597907.5418 | 1125727.9088
55 | 2597851.2925 | 1125691.2033
56 | 2597883.3939 | 1125759.7382
57 | 2597821.7139 | 1125648.915
58 | 2597831.7183 | 1125670.1661
59 | 2597798.0453 | 1125610.4829
60 | 2597810.4967 | 1125697.4353
61 | 2597813.0406 | 1125649.0567
62 | 2597931.3608 | 1125804.0619
63 | 2597908.5786 | 1125782.2512
64 | 2597868.3181 | 1125789.7109
65 | 2597891.7215 | 1125784.0711
66 | 2597851.0911 | 1125786.1488
67 | 2597840.5276 | 1125794.579
68 | 2597850.4869 | 1125777.8895
69 | 2597828.3233 | 1125784.6899
70 | 2597914.351 | 1125960.3844
71 | 2597854.8352 | 1125949.7494
72 | 2597905.0701 | 1125886.2224
73 | 2597781.6552 | 1125957.987
74 | 2597770.4764 | 1125945.7912
75 | 2597769.416 | 1125944.6344
76 | 2597765.0089 | 1125948.1267
77 | 2597754.2003 | 1125934.4117
78 | 2597779.9189 | 1126001.4459
79 | 2597743.2132 | 1125920.4705
80 | 2597771.5155 | 1126021.0105
81 | 2597741.6683 | 1125918.5101
82 | 2597732.5733 | 1125908.1678
83 | 2597731.7639 | 1125935.5126
84 | 2597710.3783 | 1125900.8469
85 | 2597714.631 | 1125955.9277
86 | 2597696.9518 | 1125918.7387
87 | 2597691.7793 | 1126013.8537
88 | 2597643.0066 | 1125980.2896
89 | 2597632.5347 | 1125992.0223
90 | 2597682.5668 | 1126026.6303
91 | 2597715.0384 | 1125716.0662
92 | 2597716.8254 | 1125733.0849
93 | 2597926.9604 | 1125783.5202

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1