## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6082-25_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6082-25_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6082-25_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6082-25_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6082-25_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6082-25_0_6_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_6082-25_0_6_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_6082-25_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6082-25_0_6_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_6082-25_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6082-25_0_6_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_6082-25_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6082-25_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6082-25_0_6_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_6082-25_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6082-25_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6082-25_0_6_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_6082-25_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_6082-25_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_6082-25_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6082-25_0_6_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6082-25_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_6082-25_0_6_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_6082-25_0_6_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_6082-25_0_6_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_6082-25_0_6_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_6082-25_0_6_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_6082-25_0_6_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_6082-25_0_6_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_6082-25_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6082-25_0_6_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_6082-25_0_6_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_6082-25_0_6_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_6082-25_0_6_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_6082-25_0_6_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_6082-25_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6082-25_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6082-25_0_6_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_6082-25_0_6_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_6082-25_0_6_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_6082-25_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6082-25_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6082-25_0_6_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6082-25_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_6082-25_0_6_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_6082-25_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6082-25_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6082-25_0_6_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_6082-25_0_6_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6082-25_0_6_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_6082-25_0_6_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_6082-25_0_6_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_6082-25_0_6_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_6082-25_0_6_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_6082-25_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_6082-25_0_6_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_6082-25_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_6082-25_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_6082-25_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_6082-25_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6082-25_0_6_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_6082-25_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6082-25_0_6_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_6082-25_0_6_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_6082-25_0_6_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_6082-25_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_6082-25_0_6_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_6082-25_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_6082-25_0_6_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6082-25_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6082-25_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_6082-25_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_6082-25_0_6_node_65 | 0.4 | n |  | TRUE
73 | bus_MV_95_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6082-25_0_6_load_0 | 0 | 0.033537 | 0.0084052 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6082-25_0_6_load_1 | 1 | 0.022776 | 0.0057083 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6082-25_0_6_load_2 | 2 | 0.059669 | 0.014955 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6082-25_0_6_load_25 | 10 | 0.011793 | 0.0029556 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6082-25_0_6_load_17 | 11 | 0.0045249 | 0.0011341 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6082-25_0_6_load_27 | 13 | 0.0035147 | 0.00088086 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6082-25_0_6_load_26 | 16 | 0.010433 | 0.0026146 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6082-25_0_6_load_20 | 17 | 0.011946 | 0.002994 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6082-25_0_6_load_19 | 18 | 0.012883 | 0.0032289 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6082-25_0_6_load_23 | 20 | 0.0083361 | 0.0020892 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6082-25_0_6_load_22 | 21 | 0.010344 | 0.0025925 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6082-25_0_6_load_75 | 22 | 0.0075819 | 0.0019002 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6082-25_0_6_load_74 | 23 | 0.0097535 | 0.0024445 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6082-25_0_6_load_42 | 26 | 0.0018754 | 0.00047002 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6082-25_0_6_load_28 | 27 | 0.0043006 | 0.0010778 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6082-25_0_6_load_54 | 30 | 0.011538 | 0.0028918 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6082-25_0_6_load_44 | 31 | 0.0037045 | 0.00092843 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6082-25_0_6_load_43 | 32 | 0.0077022 | 0.0019304 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6082-25_0_6_load_37 | 33 | 0.009057 | 0.0022699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6082-25_0_6_load_36 | 34 | 0.0034821 | 0.00087269 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6082-25_0_6_load_68 | 37 | 0.0048988 | 0.0012278 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6082-25_0_6_load_69 | 38 | 0.0084992 | 0.0021301 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6082-25_0_6_load_18 | 39 | 0.01227 | 0.0030753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6082-25_0_6_load_39 | 43 | 0.018374 | 0.004605 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6082-25_0_6_load_41 | 44 | 0.015695 | 0.0039334 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6082-25_0_6_load_35 | 45 | 0.0025542 | 0.00064015 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6082-25_0_6_load_33 | 46 | 0.0033916 | 0.00085002 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6082-25_0_6_load_55 | 47 | 0.0029716 | 0.00074475 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6082-25_0_6_load_29 | 48 | 0.0031826 | 0.00079764 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6082-25_0_6_load_76 | 49 | 0.12396 | 0.031068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6082-25_0_6_load_70 | 51 | 0.0059523 | 0.0014918 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6082-25_0_6_load_57 | 52 | 0.0063831 | 0.0015998 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6082-25_0_6_load_38 | 53 | 0.0056827 | 0.0014242 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6082-25_0_6_load_34 | 54 | 0.0040604 | 0.0010176 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6082-25_0_6_load_58 | 55 | 0.0071929 | 0.0018027 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6082-25_0_6_load_46 | 56 | 0.0042908 | 0.0010754 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6082-25_0_6_load_73 | 60 | 0.0077069 | 0.0019315 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6082-25_0_6_load_72 | 62 | 0.0051863 | 0.0012998 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6082-25_0_6_load_60 | 63 | 0.0049292 | 0.0012354 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6082-25_0_6_load_66 | 64 | 0.0061628 | 0.0015445 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6082-25_0_6_load_50 | 65 | 0.0055673 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6082-25_0_6_load_71 | 66 | 0.0052118 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6082-25_0_6_load_53 | 67 | 0.049145 | 0.012317 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6082-25_0_6_load_61 | 68 | 0.0058864 | 0.0014753 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6082-25_0_6_load_62 | 69 | 0.0063994 | 0.0016039 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6082-25_0_6_load_64 | 71 | 0.0054467 | 0.0013651 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6082-25_0_6_line_0 |  | 0 | 1 | 0.050365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6082-25_0_6_line_1 |  | 1 | 2 | 0.020635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6082-25_0_6_line_2 |  | 2 | 3 | 0.046824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6082-25_0_6_line_3 |  | 3 | 4 | 0.061079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6082-25_0_6_line_4 |  | 3 | 5 | 0.14629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6082-25_0_6_line_5 |  | 3 | 6 | 0.070521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6082-25_0_6_line_6 |  | 4 | 11 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6082-25_0_6_line_7 |  | 5 | 22 | 0.035743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6082-25_0_6_line_8 |  | 5 | 23 | 0.005658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6082-25_0_6_line_9 |  | 6 | 33 | 0.030658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6082-25_0_6_line_10 |  | 6 | 34 | 0.035034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6082-25_0_6_line_11 |  | 7 | 8 | 0.12647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6082-25_0_6_line_12 |  | 7 | 9 | 0.0081213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6082-25_0_6_line_13 |  | 7 | 10 | 0.045348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6082-25_0_6_line_14 |  | 8 | 27 | 0.005511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6082-25_0_6_line_15 |  | 8 | 24 | 0.027722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6082-25_0_6_line_16 |  | 9 | 19 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6082-25_0_6_line_17 |  | 9 | 20 | 0.0080998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6082-25_0_6_line_18 |  | 10 | 16 | 0.067148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6082-25_0_6_line_19 |  | 11 | 39 | 0.03524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6082-25_0_6_line_20 |  | 12 | 13 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6082-25_0_6_line_21 |  | 12 | 14 | 0.063741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6082-25_0_6_line_22 |  | 12 | 15 | 0.039431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6082-25_0_6_line_23 |  | 12 | 16 | 0.012227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6082-25_0_6_line_24 |  | 13 | 34 | 0.01661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6082-25_0_6_line_25 |  | 14 | 17 | 0.006949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6082-25_0_6_line_26 |  | 14 | 18 | 0.022105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6082-25_0_6_line_27 |  | 15 | 21 | 0.014353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6082-25_0_6_line_28 |  | 19 | 28 | 0.057317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_6082-25_0_6_line_29 |  | 19 | 29 | 0.11978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6082-25_0_6_line_30 |  | 19 | 30 | 0.061707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6082-25_0_6_line_31 |  | 24 | 25 | 0.059129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6082-25_0_6_line_32 |  | 24 | 26 | 0.0608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6082-25_0_6_line_33 |  | 25 | 45 | 0.045149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6082-25_0_6_line_34 |  | 25 | 46 | 0.041257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6082-25_0_6_line_35 |  | 26 | 41 | 0.052187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6082-25_0_6_line_36 |  | 27 | 48 | 0.023421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6082-25_0_6_line_37 |  | 28 | 49 | 0.034284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6082-25_0_6_line_38 |  | 29 | 31 | 0.0061703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6082-25_0_6_line_39 |  | 29 | 32 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6082-25_0_6_line_40 |  | 30 | 47 | 0.00384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6082-25_0_6_line_41 |  | 35 | 36 | 0.062425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6082-25_0_6_line_42 |  | 35 | 37 | 0.012718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6082-25_0_6_line_43 |  | 36 | 38 | 0.024739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6082-25_0_6_line_44 |  | 37 | 50 | 0.066917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6082-25_0_6_line_45 |  | 38 | 51 | 0.007643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6082-25_0_6_line_46 |  | 40 | 41 | 0.067005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6082-25_0_6_line_47 |  | 40 | 42 | 0.12772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6082-25_0_6_line_48 |  | 40 | 43 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6082-25_0_6_line_49 |  | 41 | 44 | 0.086036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6082-25_0_6_line_50 |  | 42 | 52 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6082-25_0_6_line_51 |  | 45 | 53 | 0.023988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6082-25_0_6_line_52 |  | 46 | 54 | 0.0094214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6082-25_0_6_line_53 |  | 49 | 67 | 0.066038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6082-25_0_6_line_54 |  | 49 | 65 | 0.1 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6082-25_0_6_line_55 |  | 50 | 64 | 0.015948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6082-25_0_6_line_56 |  | 50 | 59 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6082-25_0_6_line_57 |  | 51 | 72 | 0.020868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6082-25_0_6_line_58 |  | 52 | 55 | 0.042062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6082-25_0_6_line_59 |  | 55 | 61 | 0.036615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6082-25_0_6_line_60 |  | 56 | 57 | 0.083354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6082-25_0_6_line_61 |  | 57 | 58 | 0.056742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_6082-25_0_6_line_62 |  | 57 | 59 | 0.03464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6082-25_0_6_line_63 |  | 58 | 60 | 0.077198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6082-25_0_6_line_64 |  | 58 | 61 | 0.029323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6082-25_0_6_line_65 |  | 59 | 62 | 0.05919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6082-25_0_6_line_66 |  | 61 | 63 | 0.050421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6082-25_0_6_line_67 |  | 65 | 66 | 0.053164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6082-25_0_6_line_68 |  | 68 | 69 | 0.052483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6082-25_0_6_line_69 |  | 68 | 70 | 0.025392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6082-25_0_6_line_70 |  | 70 | 71 | 0.008319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6082-25_0_6_line_71 |  | 70 | 72 | 0.091834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6082-25_0_6_trafo_9 | 0.63 MVA 20/0.4 kV | 73 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2597848.3824 | 1125375.2477 | 2597856.1599 | 1125379.8045 | 2597876.0662 | 1125392.9036 | 2597892.0574 | 1125400.0653
1 | 2597892.0574 | 1125400.0653 | 2597901.6369 | 1125404.3555 | 2597910.4073 | 1125409.4418
2 | 2597940.8131 | 1125441.4597 | 2597938.707 | 1125436.1912 | 2597933.9544 | 1125423.0976 | 2597910.4073 | 1125409.4418
3 | 2597911.6311 | 1125396.6259 | 2597937.4276 | 1125414.5033 | 2597941.213 | 1125417.0032 | 2597942.5179 | 1125423.5392 | 2597943.1825 | 1125428.5525 | 2597943.3464 | 1125434.322 | 2597942.8003 | 1125437.5904 | 2597940.8131 | 1125441.4597
4 | 2597869.1216 | 1125541.2006 | 2597879.3957 | 1125540.919 | 2597890.4014 | 1125539.0363 | 2597894.6015 | 1125537.5674 | 2597896.2723 | 1125532.7645 | 2597898.0573 | 1125523.8706 | 2597899.9425 | 1125515.199 | 2597902.5615 | 1125510.8071 | 2597906.6455 | 1125507.882 | 2597909.5818 | 1125506.936 | 2597916.4035 | 1125508.2898 | 2597920.9286 | 1125510.3447 | 2597921.675 | 1125506.9873 | 2597924.0457 | 1125497.8598 | 2597926.1782 | 1125490.5332 | 2597927.2945 | 1125486.9088 | 2597930.644 | 1125477.592 | 2597935.4263 | 1125465.9513 | 2597936.1963 | 1125463.6277 | 2597935.9787 | 1125458.6142 | 2597935.9778 | 1125456.0574 | 2597938.4873 | 1125446.9632 | 2597939.6346 | 1125443.7501 | 2597940.8131 | 1125441.4597
5 | 2597933.0539 | 1125383.0784 | 2597932.0905 | 1125383.3789 | 2597928.9617 | 1125384.8363 | 2597935.1619 | 1125393.7162 | 2597942.0956 | 1125406.2754 | 2597945.3975 | 1125414.8451 | 2597945.8298 | 1125416.7125 | 2597941.213 | 1125417.0032 | 2597942.5179 | 1125423.5392 | 2597943.1825 | 1125428.5525 | 2597943.3464 | 1125434.322 | 2597942.8003 | 1125437.5904 | 2597940.8131 | 1125441.4597
6 | 2597911.6311 | 1125396.6259 | 2597899.4238 | 1125388.1669
7 | 2597864.276 | 1125505.7963 | 2597867.22 | 1125526.0829 | 2597869.1216 | 1125541.2006
8 | 2597863.4489 | 1125541.3472 | 2597869.1216 | 1125541.2006
9 | 2597933.0539 | 1125383.0784 | 2597936.6299 | 1125382.0099 | 2597941.2481 | 1125385.4433 | 2597952.0384 | 1125403.6583
10 | 2597933.0539 | 1125383.0784 | 2597931.2263 | 1125380.8002 | 2597920.2913 | 1125365.5522 | 2597912.647 | 1125354.6083
11 | 2597914.4703 | 1125274.6544 | 2597907.4389 | 1125269.7323 | 2597890.03 | 1125257.3881 | 2597871.9425 | 1125244.6662 | 2597852.3746 | 1125230.6109 | 2597842.8604 | 1125223.5666 | 2597838.2653 | 1125220.5112 | 2597835.2046 | 1125218.8004 | 2597832.9072 | 1125217.6118 | 2597830.5636 | 1125216.6122 | 2597826.979 | 1125215.7464 | 2597824.443 | 1125215.4138 | 2597822.2463 | 1125215.6592 | 2597820.9054 | 1125216.3712 | 2597820.1428 | 1125217.7054 | 2597819.8505 | 1125219.4286 | 2597820.09 | 1125220.807 | 2597821.0463 | 1125222.3852 | 2597826.2207 | 1125228.5752
12 | 2597820.0717 | 1125233.88 | 2597822.9536 | 1125231.3555 | 2597826.2207 | 1125228.5752
13 | 2597826.2207 | 1125228.5752 | 2597829.3747 | 1125232.3425 | 2597840.9724 | 1125245.8337 | 2597847.1417 | 1125253.8909 | 2597854.0823 | 1125263.2262 | 2597854.5722 | 1125263.9372
14 | 2597914.4703 | 1125274.6544 | 2597914.5018 | 1125276.5442 | 2597915.8596 | 1125279.9009
15 | 2597914.4703 | 1125274.6544 | 2597932.9815 | 1125287.5985 | 2597933.9838 | 1125288.3097 | 2597936.2026 | 1125285.0962
16 | 2597805.7439 | 1125216.6436 | 2597806.0369 | 1125217.0104 | 2597809.2603 | 1125221.0111 | 2597813.9952 | 1125226.8122 | 2597816.8407 | 1125230.135 | 2597820.0717 | 1125233.88
17 | 2597820.0717 | 1125233.88 | 2597825.3557 | 1125240.0189
18 | 2597854.5722 | 1125263.9372 | 2597860.6838 | 1125272.8062 | 2597864.4628 | 1125278.6744 | 2597870.2087 | 1125288.3437 | 2597874.8981 | 1125296.5904 | 2597878.77 | 1125303.548 | 2597883.8452 | 1125312.8951 | 2597888.2028 | 1125320.3305 | 2597889.0071 | 1125321.5325
19 | 2597870.2242 | 1125373.2072 | 2597874.4164 | 1125370.8379 | 2597899.4238 | 1125388.1669
20 | 2597895.9918 | 1125331.5665 | 2597898.205 | 1125334.5338 | 2597902.972 | 1125341.1071
21 | 2597861.5934 | 1125336.2479 | 2597864.4756 | 1125334.6572 | 2597871.7434 | 1125332.7536 | 2597875.2194 | 1125332.1854 | 2597877.6013 | 1125332.5959 | 2597882.1416 | 1125333.7059 | 2597885.5031 | 1125336.0947 | 2597889.7367 | 1125341.7737 | 2597894.078 | 1125346.8524 | 2597895.3963 | 1125347.4411 | 2597896.7219 | 1125347.1516 | 2597900.4439 | 1125344.5379 | 2597892.7708 | 1125333.9355 | 2597895.9918 | 1125331.5665
22 | 2597870.9169 | 1125306.9636 | 2597877.254 | 1125310.3074 | 2597886.8016 | 1125324.9444 | 2597892.7708 | 1125333.9355 | 2597895.9918 | 1125331.5665
23 | 2597895.9918 | 1125331.5665 | 2597891.7426 | 1125325.6207 | 2597889.0071 | 1125321.5325
24 | 2597902.972 | 1125341.1071 | 2597905.1686 | 1125344.136 | 2597912.1014 | 1125353.8271 | 2597912.647 | 1125354.6083
25 | 2597861.5934 | 1125336.2479 | 2597856.8781 | 1125341.3633
26 | 2597861.5934 | 1125336.2479 | 2597844.7053 | 1125321.986
27 | 2597870.9169 | 1125306.9636 | 2597864.3563 | 1125303.5087 | 2597860.7552 | 1125297.5782
28 | 2597789.9781 | 1125270.2312 | 2597790.9648 | 1125270.3309 | 2597792.3134 | 1125269.6634 | 2597793.2299 | 1125267.6621 | 2597793.8908 | 1125262.3926 | 2597794.8061 | 1125257.1342 | 2597796.3763 | 1125251.3974 | 2597798.578 | 1125243.9485 | 2597801.28 | 1125234.743 | 2597803.4036 | 1125224.4706 | 2597805.2356 | 1125217.9334 | 2597805.7439 | 1125216.6436
29 | 2597805.7439 | 1125216.6436 | 2597808.4712 | 1125213.2521 | 2597809.0959 | 1125214.0856 | 2597815.1992 | 1125210.2814 | 2597819.5537 | 1125209.0459 | 2597823.3845 | 1125208.8332 | 2597828.2256 | 1125210.1321 | 2597834.1078 | 1125212.7645 | 2597842.0489 | 1125217.9308 | 2597856.8212 | 1125228.2304 | 2597860.9509 | 1125223.3932 | 2597865.2976 | 1125221.6018 | 2597869.0819 | 1125220.8667 | 2597872.1268 | 1125221.5437 | 2597875.18 | 1125223.7659 | 2597877.856 | 1125227.6335 | 2597883.5323 | 1125236.3357 | 2597888.3439 | 1125241.5698 | 2597893.9879 | 1125246.5702 | 2597900.6648 | 1125251.5703
30 | 2597805.7439 | 1125216.6436 | 2597798.7031 | 1125207.6641 | 2597795.5181 | 1125203.4522 | 2597792.0399 | 1125198.451 | 2597785.9706 | 1125190.3494 | 2597781.2354 | 1125183.6368 | 2597777.5955 | 1125179.1249 | 2597774.1176 | 1125175.0798 | 2597769.8457 | 1125170.657 | 2597767.4215 | 1125168.4104
31 | 2597936.2026 | 1125285.0962 | 2597945.0611 | 1125291.1738 | 2597943.5899 | 1125294.1424 | 2597943.7675 | 1125295.0539 | 2597944.0223 | 1125296.3656 | 2597946.1121 | 1125299.1106 | 2597950.1679 | 1125303.0667 | 2597956.5908 | 1125309.5232 | 2597974.4866 | 1125326.3807
32 | 2597936.2026 | 1125285.0962 | 2597938.2363 | 1125281.8494 | 2597958.0889 | 1125295.5269 | 2597977.0163 | 1125308.4155 | 2597985.258 | 1125314.0108
33 | 2597974.4866 | 1125326.3807 | 2597994.8479 | 1125340.5806 | 2597999.8057 | 1125345.4146 | 2598002.5127 | 1125349.8936 | 2598004.4878 | 1125355.6179 | 2598004.7522 | 1125357.7128
34 | 2597974.4866 | 1125326.3807 | 2597968.808 | 1125332.2744 | 2597962.5503 | 1125335.4004 | 2597955.4286 | 1125336.4033 | 2597948.5911 | 1125334.4159 | 2597938.7057 | 1125328.0363
35 | 2598022.9843 | 1125349.0862 | 2598022.0743 | 1125347.4635 | 2598019.0203 | 1125342.4621 | 2598015.5811 | 1125337.95 | 2598012.9054 | 1125334.905 | 2598009.6824 | 1125331.6489 | 2598005.4881 | 1125327.9819 | 2598001.4713 | 1125325.1041 | 2597994.4786 | 1125320.2708 | 2597985.258 | 1125314.0108
36 | 2597928.5147 | 1125298.1053 | 2597928.9144 | 1125294.9591 | 2597928.3047 | 1125292.9139 | 2597926.454 | 1125290.4578 | 2597922.3058 | 1125286.6685 | 2597918.3659 | 1125283.3906 | 2597915.8596 | 1125279.9009
37 | 2597789.9781 | 1125270.2312 | 2597789.4925 | 1125270.1758 | 2597788.3592 | 1125269.5204 | 2597787.6651 | 1125268.3868 | 2597787.5874 | 1125266.8972 | 2597788.3931 | 1125257.2477 | 2597788.2754 | 1125251.7006 | 2597787.6571 | 1125247.3098 | 2597786.1831 | 1125242.5303 | 2597784.7173 | 1125239.0625 | 2597784.0232 | 1125238.04
38 | 2597900.6648 | 1125251.5703 | 2597905.8284 | 1125254.9481
39 | 2597900.6648 | 1125251.5703 | 2597900.8793 | 1125247.735 | 2597891.3874 | 1125238.2894 | 2597886.6067 | 1125232.4923
40 | 2597767.4215 | 1125168.4104 | 2597764.9416 | 1125166.1122 | 2597764.5813 | 1125165.828
41 | 2597947.6681 | 1125098.8013 | 2597944.3433 | 1125091.3656 | 2597941.3115 | 1125084.3521 | 2597945.99 | 1125083.3944 | 2597949.2661 | 1125083.6045 | 2597952.1339 | 1125084.6707 | 2597954.1771 | 1125086.2707 | 2597969.6993 | 1125102.5621 | 2597975.4514 | 1125107.9294 | 2597977.795 | 1125108.9513
42 | 2597947.6681 | 1125098.8013 | 2597951.9808 | 1125109.8608 | 2597952.2585 | 1125110.6619
43 | 2597977.795 | 1125108.9513 | 2597978.9691 | 1125115.9432 | 2597980.1417 | 1125118.8665 | 2597984.2751 | 1125124.1343 | 2597985.6788 | 1125126.6906 | 2597987.2182 | 1125131.3289
44 | 2597966.5798 | 1125175.7656 | 2597965.7671 | 1125165.9277 | 2597964.677 | 1125156.5124 | 2597963.3484 | 1125148.6535 | 2597961.3415 | 1125140.5169 | 2597958.2852 | 1125129.2903 | 2597954.8203 | 1125118.0527 | 2597952.2585 | 1125110.6619
45 | 2597987.2182 | 1125131.3289 | 2597989.6256 | 1125138.5828
46 | 2598024.4546 | 1125411.594 | 2598025.9406 | 1125384.169 | 2598025.9154 | 1125377.9326 | 2598025.165 | 1125369.8401 | 2598023.2275 | 1125361.6145 | 2598020.3575 | 1125353.5893 | 2598018.6299 | 1125350.355 | 2598022.9843 | 1125349.0862
47 | 2598024.4546 | 1125411.594 | 2598023.7596 | 1125430.6146 | 2598023.393 | 1125440.4417 | 2598026.9305 | 1125439.3734 | 2598028.2715 | 1125438.9727 | 2598030.5512 | 1125433.6582 | 2598032.9139 | 1125423.1523 | 2598040.0289 | 1125402.5288 | 2598052.4478 | 1125384.6381 | 2598068.7978 | 1125366.9907 | 2598074.9617 | 1125359.6962
48 | 2598024.4546 | 1125411.594 | 2598021.2484 | 1125412.1509 | 2598018.5359 | 1125414.0194 | 2598015.1249 | 1125424.3812 | 2598014.8036 | 1125427.2755
49 | 2598022.9843 | 1125349.0862 | 2598026.3375 | 1125349.8188 | 2598030.6782 | 1125353.319 | 2598034.4028 | 1125358.4758 | 2598037.5042 | 1125367.0234 | 2598039.58 | 1125374.1373 | 2598040.9217 | 1125375.7821 | 2598043.0955 | 1125376.2927 | 2598045.5771 | 1125375.3692 | 2598047.4337 | 1125372.5895 | 2598049.9137 | 1125367.0192 | 2598051.1527 | 1125361.1493 | 2598051.459 | 1125354.8684 | 2598050.2163 | 1125349.9219 | 2598047.7317 | 1125341.8855 | 2598043.6984 | 1125335.5949 | 2598040.7901 | 1125332.2305
50 | 2598074.9617 | 1125359.6962 | 2598077.7288 | 1125359.851 | 2598080.4956 | 1125358.9941 | 2598082.5993 | 1125357.1925 | 2598084.0091 | 1125354.9687 | 2598084.3935 | 1125352.2117 | 2598083.8528 | 1125348.6546
51 | 2598005.7685 | 1125381.6413 | 2598005.7012 | 1125365.2333 | 2598004.7522 | 1125357.7128
52 | 2597930.7896 | 1125322.9277 | 2597938.7057 | 1125328.0363
53 | 2597784.0232 | 1125238.04 | 2597719.1848 | 1125225.5073
54 | 2597784.0232 | 1125238.04 | 2597685.971 | 1125257.7051
55 | 2597966.5798 | 1125175.7656 | 2597970.0493 | 1125178.2878 | 2597972.1468 | 1125180.9328 | 2597975.4709 | 1125186.2898 | 2597976.6622 | 1125187.8698
56 | 2597967.4942 | 1125189.6498 | 2597966.5798 | 1125175.7656
57 | 2597998.87 | 1125156.8785 | 2597994.2589 | 1125151.811 | 2597990.9798 | 1125142.6632 | 2597989.6256 | 1125138.5828
58 | 2598083.8528 | 1125348.6546 | 2598083.8528 | 1125348.6546 | 2598082.5568 | 1125345.2534 | 2598080.7212 | 1125341.8412 | 2598060.7971 | 1125313.6173
59 | 2598039.6806 | 1125283.7043 | 2598060.7971 | 1125313.6173
60 | 2597980.5548 | 1125221.2051 | 2597975.1202 | 1125219.8285 | 2597971.042 | 1125217.9068 | 2597960.3792 | 1125210.1512 | 2597955.1053 | 1125205.6508 | 2597948.5969 | 1125197.4936 | 2597945.59 | 1125195.1157 | 2597943.0537 | 1125194.2273 | 2597941.0419 | 1125194.2169 | 2597939.5776 | 1125194.9511 | 2597938.7457 | 1125196.3076 | 2597938.4535 | 1125198.342 | 2597938.5325 | 1125203.9669 | 2597939.2508 | 1125208.0242 | 2597940.7863 | 1125212.4369 | 2597945.6838 | 1125220.8504 | 2597948.0468 | 1125224.9311
61 | 2597980.5548 | 1125221.2051 | 2597992.0362 | 1125233.4071 | 2598020.989 | 1125261.0996
62 | 2597980.5548 | 1125221.2051 | 2597976.1282 | 1125214.8813 | 2597971.9709 | 1125207.1234 | 2597970.0733 | 1125202.7664 | 2597968.8768 | 1125197.8644 | 2597967.4942 | 1125189.6498
63 | 2598020.989 | 1125261.0996 | 2598027.5569 | 1125263.2984 | 2598032.4908 | 1125265.6312 | 2598049.6455 | 1125279.4989 | 2598077.1459 | 1125298.5324 | 2598085.3332 | 1125303.2764
64 | 2598039.6806 | 1125283.7043 | 2598030.3422 | 1125271.5237 | 2598020.989 | 1125261.0996
65 | 2597967.4942 | 1125189.6498 | 2597963.2155 | 1125187.4947 | 2597960.5786 | 1125185.3835 | 2597958.859 | 1125183.1608 | 2597954.5555 | 1125176.4479 | 2597953.2053 | 1125172.5131 | 2597950.5656 | 1125162.3869 | 2597949.3621 | 1125159.6082 | 2597947.7198 | 1125158.2081 | 2597946.0394 | 1125158.0308 | 2597944.0895 | 1125158.6095 | 2597943.1959 | 1125160.1328 | 2597943.0579 | 1125162.4673 | 2597944.4036 | 1125175.0285
66 | 2598039.6806 | 1125283.7043 | 2598009.9151 | 1125268.2068 | 2597997.0776 | 1125257.1169
67 | 2597685.971 | 1125257.7051 | 2597668.3704 | 1125307.8706
68 | 2598085.7888 | 1125235.2654 | 2598085.7888 | 1125235.2654 | 2598125.1913 | 1125269.9336
69 | 2598068.6016 | 1125216.6731 | 2598072.8575 | 1125220.1178 | 2598085.7888 | 1125235.2654
70 | 2598068.6016 | 1125216.6731 | 2598063.0462 | 1125222.8779
71 | 2597998.87 | 1125156.8785 | 2598003.4272 | 1125161.8794 | 2598028.972 | 1125185.46 | 2598055.6949 | 1125206.2167 | 2598068.6016 | 1125216.6731

## bus_geodata
| x | y | coords
0 | 2597848.3824 | 1125375.2477
1 | 2597892.0574 | 1125400.0653
2 | 2597910.4073 | 1125409.4418
3 | 2597940.8131 | 1125441.4597
4 | 2597911.6311 | 1125396.6259
5 | 2597869.1216 | 1125541.2006
6 | 2597933.0539 | 1125383.0784
7 | 2597826.2207 | 1125228.5752
8 | 2597914.4703 | 1125274.6544
9 | 2597820.0717 | 1125233.88
10 | 2597854.5722 | 1125263.9372
11 | 2597899.4238 | 1125388.1669
12 | 2597895.9918 | 1125331.5665
13 | 2597902.972 | 1125341.1071
14 | 2597861.5934 | 1125336.2479
15 | 2597870.9169 | 1125306.9636
16 | 2597889.0071 | 1125321.5325
17 | 2597856.8781 | 1125341.3633
18 | 2597844.7053 | 1125321.986
19 | 2597805.7439 | 1125216.6436
20 | 2597825.3557 | 1125240.0189
21 | 2597860.7552 | 1125297.5782
22 | 2597864.276 | 1125505.7963
23 | 2597863.4489 | 1125541.3472
24 | 2597936.2026 | 1125285.0962
25 | 2597974.4866 | 1125326.3807
26 | 2597985.258 | 1125314.0109
27 | 2597915.8596 | 1125279.9009
28 | 2597789.9781 | 1125270.2312
29 | 2597900.6648 | 1125251.5703
30 | 2597767.4215 | 1125168.4104
31 | 2597905.8284 | 1125254.9481
32 | 2597886.6067 | 1125232.4923
33 | 2597952.0384 | 1125403.6583
34 | 2597912.647 | 1125354.6083
35 | 2597947.6681 | 1125098.8013
36 | 2597977.795 | 1125108.9513
37 | 2597952.2585 | 1125110.6619
38 | 2597987.2182 | 1125131.3289
39 | 2597870.2242 | 1125373.2072
40 | 2598024.4546 | 1125411.594
41 | 2598022.9843 | 1125349.0862
42 | 2598074.9617 | 1125359.6962
43 | 2598014.8036 | 1125427.2755
44 | 2598040.7901 | 1125332.2305
45 | 2598004.7522 | 1125357.7128
46 | 2597938.7057 | 1125328.0363
47 | 2597764.5813 | 1125165.828
48 | 2597928.5147 | 1125298.1053
49 | 2597784.0232 | 1125238.04
50 | 2597966.5798 | 1125175.7656
51 | 2597989.6256 | 1125138.5828
52 | 2598083.8528 | 1125348.6546
53 | 2598005.7685 | 1125381.6413
54 | 2597930.7896 | 1125322.9277
55 | 2598060.7971 | 1125313.6173
56 | 2597948.0468 | 1125224.9311
57 | 2597980.5548 | 1125221.2051
58 | 2598020.989 | 1125261.0996
59 | 2597967.4942 | 1125189.6498
60 | 2598085.3332 | 1125303.2764
61 | 2598039.6806 | 1125283.7043
62 | 2597944.4036 | 1125175.0285
63 | 2597997.0776 | 1125257.1169
64 | 2597976.6622 | 1125187.8698
65 | 2597685.971 | 1125257.7051
66 | 2597668.3704 | 1125307.8706
67 | 2597719.1848 | 1125225.5073
68 | 2598085.7888 | 1125235.2654
69 | 2598125.1913 | 1125269.9336
70 | 2598068.6016 | 1125216.6731
71 | 2598063.0462 | 1125222.8779
72 | 2597998.87 | 1125156.8785
73 | 2597877.254 | 1125310.3074

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1