## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6082-5_1_4_node_133 | 0.4 | n |  | TRUE
1 | bus_LV_6082-5_1_4_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_6082-5_1_4_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_6082-5_1_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_6082-5_1_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_6082-5_1_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_6082-5_1_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6082-5_1_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6082-5_1_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_6082-5_1_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6082-5_1_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_6082-5_1_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_6082-5_1_4_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_6082-5_1_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_6082-5_1_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_6082-5_1_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6082-5_1_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6082-5_1_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_6082-5_1_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6082-5_1_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6082-5_1_4_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_6082-5_1_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6082-5_1_4_node_114 | 0.4 | n |  | TRUE
23 | bus_LV_6082-5_1_4_node_112 | 0.4 | n |  | TRUE
24 | bus_LV_6082-5_1_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6082-5_1_4_node_116 | 0.4 | n |  | TRUE
26 | bus_LV_6082-5_1_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6082-5_1_4_node_115 | 0.4 | n |  | TRUE
28 | bus_LV_6082-5_1_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_6082-5_1_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6082-5_1_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_6082-5_1_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6082-5_1_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6082-5_1_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_6082-5_1_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_6082-5_1_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6082-5_1_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6082-5_1_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6082-5_1_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6082-5_1_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6082-5_1_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6082-5_1_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_6082-5_1_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_6082-5_1_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_6082-5_1_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_6082-5_1_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6082-5_1_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6082-5_1_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_6082-5_1_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6082-5_1_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_6082-5_1_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6082-5_1_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_6082-5_1_4_node_113 | 0.4 | n |  | TRUE
53 | bus_MV_95_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6082-5_1_4_load_133 | 0 | 0.0018315 | 0.00045901 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6082-5_1_4_load_43 | 2 | 0.00069523 | 0.00017424 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6082-5_1_4_load_7 | 3 | 0.0077707 | 0.0019475 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6082-5_1_4_load_8 | 4 | 0.013575 | 0.0034021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6082-5_1_4_load_10 | 6 | 0.010348 | 0.0025935 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6082-5_1_4_load_37 | 10 | 0.0092746 | 0.0023244 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6082-5_1_4_load_33 | 11 | 0.010283 | 0.0025772 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6082-5_1_4_load_31 | 12 | 0.0078232 | 0.0019607 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6082-5_1_4_load_24 | 15 | 0.004506 | 0.0011293 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6082-5_1_4_load_39 | 17 | 0.0049355 | 0.001237 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6082-5_1_4_load_69 | 20 | 0.0022915 | 0.00057431 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6082-5_1_4_load_114 | 22 | 0.0010442 | 0.00026169 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6082-5_1_4_load_112 | 23 | 0.0012298 | 0.00030823 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6082-5_1_4_load_116 | 25 | 0.0022614 | 0.00056676 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6082-5_1_4_load_115 | 27 | 0.0035567 | 0.00089139 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6082-5_1_4_load_66 | 28 | 0.0012814 | 0.00032114 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6082-5_1_4_load_41 | 30 | 0.0013676 | 0.00034276 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6082-5_1_4_load_23 | 31 | 0.005625 | 0.0014098 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6082-5_1_4_load_25 | 32 | 0.0061034 | 0.0015297 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6082-5_1_4_load_30 | 33 | 0.021072 | 0.0052812 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6082-5_1_4_load_28 | 34 | 0.015019 | 0.0037642 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6082-5_1_4_load_27 | 35 | 0.011984 | 0.0030034 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6082-5_1_4_load_29 | 36 | 0.0072478 | 0.0018165 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6082-5_1_4_load_36 | 37 | 0.0071523 | 0.0017925 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6082-5_1_4_load_35 | 39 | 0.018443 | 0.0046222 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6082-5_1_4_load_52 | 42 | 0.0024445 | 0.00061266 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6082-5_1_4_load_47 | 43 | 0.014798 | 0.0037088 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6082-5_1_4_load_45 | 44 | 0.0086509 | 0.0021681 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6082-5_1_4_load_42 | 45 | 0.01051 | 0.0026341 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6082-5_1_4_load_40 | 46 | 0.0014834 | 0.00037178 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6082-5_1_4_load_44 | 47 | 0.0011709 | 0.00029346 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6082-5_1_4_load_46 | 48 | 0.0078546 | 0.0019685 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6082-5_1_4_load_51 | 49 | 0.027323 | 0.0068479 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6082-5_1_4_load_48 | 50 | 0.013787 | 0.0034553 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6082-5_1_4_load_49 | 51 | 0.019981 | 0.0050077 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6082-5_1_4_load_113 | 52 | 0.0011222 | 0.00028125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6082-5_1_4_line_0 |  | 0 | 1 | 0.40809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6082-5_1_4_line_1 |  | 0 | 2 | 0.021178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6082-5_1_4_line_2 |  | 1 | 21 | 0.28065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6082-5_1_4_line_3 |  | 2 | 29 | 0.023782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6082-5_1_4_line_4 |  | 3 | 4 | 0.0086379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6082-5_1_4_line_5 |  | 3 | 5 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6082-5_1_4_line_6 |  | 4 | 6 | 0.011106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6082-5_1_4_line_7 |  | 5 | 7 | 0.1284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6082-5_1_4_line_8 |  | 7 | 8 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6082-5_1_4_line_9 |  | 7 | 9 | 0.036065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6082-5_1_4_line_10 |  | 7 | 10 | 0.029616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6082-5_1_4_line_11 |  | 8 | 43 | 0.014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6082-5_1_4_line_12 |  | 8 | 44 | 0.02546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6082-5_1_4_line_13 |  | 9 | 11 | 0.052554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6082-5_1_4_line_14 |  | 9 | 12 | 0.022834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6082-5_1_4_line_15 |  | 10 | 16 | 0.06115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6082-5_1_4_line_16 |  | 12 | 38 | 0.019901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6082-5_1_4_line_17 |  | 13 | 14 | 0.18374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6082-5_1_4_line_18 |  | 13 | 15 | 0.012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6082-5_1_4_line_19 |  | 14 | 33 | 0.039431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6082-5_1_4_line_20 |  | 14 | 34 | 0.030924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6082-5_1_4_line_21 |  | 15 | 31 | 0.015623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6082-5_1_4_line_22 |  | 16 | 17 | 0.0311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6082-5_1_4_line_23 |  | 17 | 45 | 0.025351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6082-5_1_4_line_24 |  | 18 | 19 | 0.84622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6082-5_1_4_line_25 |  | 18 | 20 | 0.22985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6082-5_1_4_line_26 |  | 19 | 23 | 0.30453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6082-5_1_4_line_27 |  | 21 | 22 | 0.079662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6082-5_1_4_line_28 |  | 22 | 52 | 0.0017349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6082-5_1_4_line_29 |  | 23 | 26 | 0.028608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6082-5_1_4_line_30 |  | 24 | 25 | 0.30131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6082-5_1_4_line_31 |  | 24 | 26 | 0.034256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6082-5_1_4_line_32 |  | 24 | 27 | 0.042719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6082-5_1_4_line_33 |  | 26 | 28 | 0.21851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6082-5_1_4_line_34 |  | 27 | 52 | 0.001363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6082-5_1_4_line_35 |  | 29 | 30 | 0.015834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6082-5_1_4_line_36 |  | 30 | 46 | 0.017002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6082-5_1_4_line_37 |  | 31 | 32 | 0.016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6082-5_1_4_line_38 |  | 33 | 37 | 0.0087625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6082-5_1_4_line_39 |  | 34 | 35 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6082-5_1_4_line_40 |  | 35 | 36 | 0.014182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6082-5_1_4_line_41 |  | 37 | 38 | 0.015505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6082-5_1_4_line_42 |  | 38 | 39 | 0.040367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6082-5_1_4_line_43 |  | 40 | 41 | 0.13453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6082-5_1_4_line_44 |  | 40 | 42 | 0.0492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6082-5_1_4_line_45 |  | 41 | 49 | 0.0498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6082-5_1_4_line_46 |  | 41 | 51 | 0.031275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6082-5_1_4_line_47 |  | 43 | 49 | 0.0037326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6082-5_1_4_line_48 |  | 44 | 47 | 0.0051399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6082-5_1_4_line_49 |  | 45 | 46 | 0.026119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6082-5_1_4_line_50 |  | 47 | 48 | 0.012685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6082-5_1_4_line_51 |  | 50 | 51 | 0.043325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6082-5_1_4_trafo_11 | 0.63 MVA 20/0.4 kV | 53 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2597746.5824 | 1127392.604 | 2597748.0616 | 1127372.0379 | 2597754.5396 | 1127346.4451 | 2597758.095 | 1127314.7839 | 2597754.6475 | 1127306.4256 | 2597743.2015 | 1127297.0699 | 2597741.7185 | 1127287.7437 | 2597746.7293 | 1127273.6905 | 2597747.3193 | 1127265.0638 | 2597746.3457 | 1127258.1386 | 2597740.986 | 1127246.4127 | 2597734.34 | 1127236.2326 | 2597724.0873 | 1127224.6865 | 2597711.4686 | 1127212.152 | 2597695.9295 | 1127199.6408 | 2597688.2069 | 1127195.1528 | 2597683.5445 | 1127193.6984 | 2597674.381 | 1127189.2443 | 2597663.8599 | 1127181.3557 | 2597659.7962 | 1127174.1538 | 2597655.2439 | 1127159.0372 | 2597646.7556 | 1127147.8018 | 2597641.2602 | 1127144.2356 | 2597628.0432 | 1127139.3385 | 2597622.4782 | 1127135.4389 | 2597617.8599 | 1127128.7264 | 2597593.5498 | 1127093.4191 | 2597574.6073 | 1127065.8998
1 | 2597562.5997 | 1127048.4554 | 2597574.6073 | 1127065.8998
2 | 2597746.5824 | 1127392.604 | 2597754.3271 | 1127395.1245 | 2597773.7299 | 1127377.7197 | 2597778.7055 | 1127372.4486 | 2597782.7704 | 1127363.3426 | 2597784.5164 | 1127355.1046 | 2597787.5615 | 1127338.84 | 2597788.6813 | 1127325.1329 | 2597789.1108 | 1127299.5758 | 2597792.2276 | 1127289.1251 | 2597790.5083 | 1127286.569 | 2597786.6367 | 1127277.3548 | 2597793.8441 | 1127264.368 | 2597796.3607 | 1127256.3965 | 2597798.8531 | 1127245.3569 | 2597800.8199 | 1127230.0153 | 2597798.4719 | 1127215.2757 | 2597799.3022 | 1127210.2174 | 2597798.8485 | 1127192.2088 | 2597788.9112 | 1127158.5628 | 2597783.6516 | 1127146.9035 | 2597782.4477 | 1127142.0238
3 | 2597543.9973 | 1127043.3819 | 2597556.5329 | 1127039.6415 | 2597562.5997 | 1127048.4554
4 | 2597390.2567 | 1127092.9251 | 2597395.1297 | 1127100.0571
5 | 2597380.2015 | 1127068.0758 | 2597388.6261 | 1127090.5385 | 2597390.2567 | 1127092.9251
6 | 2597395.978 | 1127109.8447 | 2597398.1024 | 1127104.4078 | 2597395.1297 | 1127100.0571
7 | 2597380.2015 | 1127068.0758 | 2597416.5837 | 1127077.0641 | 2597439.9363 | 1127087.6479 | 2597442.411 | 1127090.2481 | 2597460.1034 | 1127108.8384 | 2597470.1791 | 1127119.4169 | 2597486.9088 | 1127121.6886 | 2597486.2982 | 1127117.1867
8 | 2597511.253 | 1127127.1921 | 2597492.6948 | 1127119.6741 | 2597486.2982 | 1127117.1867
9 | 2597486.2982 | 1127117.1867 | 2597486.9088 | 1127121.6886 | 2597488.5063 | 1127127.3796 | 2597491.3771 | 1127137.5945 | 2597492.9756 | 1127145.5199 | 2597493.5487 | 1127152.4119
10 | 2597486.2982 | 1127117.1867 | 2597470.8555 | 1127091.9161
11 | 2597511.253 | 1127127.1921 | 2597515.5843 | 1127128.9467 | 2597521.5696 | 1127137.2947
12 | 2597511.253 | 1127127.1921 | 2597531.196 | 1127111.3648 | 2597531.196 | 1127111.3648
13 | 2597493.5487 | 1127152.4119 | 2597489.9499 | 1127151.5575 | 2597485.9953 | 1127147.6906 | 2597482.2551 | 1127140.5999 | 2597477.3671 | 1127134.4323 | 2597471.1856 | 1127130.433 | 2597463.5635 | 1127127.4237 | 2597451.85 | 1127124.9164
14 | 2597493.5487 | 1127152.4119 | 2597489.7665 | 1127155.1704 | 2597487.6341 | 1127159.9737 | 2597487.2688 | 1127170.5123 | 2597486.9445 | 1127172.8423
15 | 2597430.5174 | 1127046.2541 | 2597464.7151 | 1127081.8677 | 2597470.8555 | 1127091.9161
16 | 2597475.7793 | 1127187.1586 | 2597482.2662 | 1127184.5657 | 2597486.1626 | 1127178.4611 | 2597486.9445 | 1127172.8423
17 | 2597417.3326 | 1127203.114 | 2597424.5814 | 1127216.006 | 2597345.5262 | 1127255.7827 | 2597339.1024 | 1127244.2356 | 2597306.8596 | 1127186.2553 | 2597306.4123 | 1127185.4774
18 | 2597306.4123 | 1127185.4774 | 2597317.8844 | 1127179.4793
19 | 2597417.3326 | 1127203.114 | 2597423.6984 | 1127205.4568 | 2597437.5918 | 1127206.5624 | 2597447.6227 | 1127202.9452 | 2597454.862 | 1127199.431
20 | 2597417.3326 | 1127203.114 | 2597412.5978 | 1127194.7009 | 2597405.3597 | 1127188.6789 | 2597398.5734 | 1127178.9596
21 | 2597331.729 | 1127172.2408 | 2597317.8844 | 1127179.4793
22 | 2597430.5174 | 1127046.2541 | 2597445.4889 | 1127044.8357 | 2597461.5043 | 1127043.6244
23 | 2597486.5517 | 1127046.1137 | 2597469.5837 | 1127043.0133 | 2597461.5043 | 1127043.6244
24 | 2597401.7713 | 1126461.7486 | 2597561.5676 | 1126583.0504 | 2597554.7727 | 1126643.2492 | 2597530.4273 | 1126639.3686 | 2597520.2114 | 1126645.3758 | 2597498.7776 | 1126656.3792 | 2597503.6594 | 1126683.557 | 2597451.5688 | 1126725.333 | 2597440.867 | 1126765.1349 | 2597395.5958 | 1126803.5067 | 2597422.4568 | 1126834.3322 | 2597392.375 | 1126821.5392 | 2597347.8782 | 1126798.4589 | 2597339.5011 | 1126797.0287 | 2597344.9815 | 1126800.2055 | 2597344.2821 | 1126804.2967 | 2597349.3615 | 1126806.8068 | 2597389.4359 | 1126831.99 | 2597449.5064 | 1126856.0976 | 2597500.2659 | 1126876.2078 | 2597514.7071 | 1126877.1021
25 | 2597401.7713 | 1126461.7486 | 2597470.2963 | 1126461.1073 | 2597535.1106 | 1126487.7706 | 2597545.0227 | 1126491.924 | 2597559.7504 | 1126493.8188 | 2597573.525 | 1126501.8392 | 2597594.67 | 1126517.8605 | 2597610.7667 | 1126532.1276 | 2597612.0411 | 1126533.1894
26 | 2597514.7071 | 1126877.1021 | 2597526.5513 | 1126877.8308 | 2597564.1157 | 1126873.5575 | 2597574.9963 | 1126873.5196 | 2597588.5979 | 1126875.1259 | 2597620.8206 | 1126886.3182 | 2597641.6087 | 1126899.5941 | 2597663.6078 | 1126916.2823 | 2597695.4757 | 1126966.4941 | 2597709.7231 | 1126984.9197 | 2597721.0465 | 1126994.3088 | 2597749.34 | 1127009.3941 | 2597763.4329 | 1127012.1021
27 | 2597782.4477 | 1127142.0238 | 2597774.4602 | 1127109.7 | 2597776.1 | 1127065.1999 | 2597777.6281 | 1127064.1833
28 | 2597779.0726 | 1127063.2223 | 2597777.6281 | 1127064.1833
29 | 2597791.8391 | 1127015.114 | 2597771.7421 | 1127013.6987 | 2597763.4329 | 1127012.1021
30 | 2597815.7741 | 1127038.8055 | 2597822.2424 | 1127068.2619 | 2597829.2774 | 1127088.4469 | 2597841.8903 | 1127106.1619 | 2597891.7183 | 1127159.2918 | 2597909.0835 | 1127172.4698 | 2597927.2731 | 1127185.4474 | 2597942.7789 | 1127192.2341 | 2597979.9853 | 1127204.994 | 2598005.6169 | 1127214.4676 | 2598018.4334 | 1127221.4666 | 2598029.3043 | 1127228.3236
31 | 2597815.7741 | 1127038.8055 | 2597813.3381 | 1127036.1273 | 2597799.4875 | 1127026.8613 | 2597791.8391 | 1127015.114
32 | 2597815.7741 | 1127038.8055 | 2597780.2073 | 1127062.4674
33 | 2597791.8391 | 1127015.114 | 2597825.8557 | 1126799.2691
34 | 2597779.0726 | 1127063.2223 | 2597780.2073 | 1127062.4674
35 | 2597543.9973 | 1127043.3819 | 2597538.8968 | 1127044.7514 | 2597528.7077 | 1127047.4989
36 | 2597512.2458 | 1127050.8086 | 2597514.7423 | 1127051.2647 | 2597528.7077 | 1127047.4989
37 | 2597346.4405 | 1127164.549 | 2597331.729 | 1127172.2408
38 | 2597462.5408 | 1127195.2308 | 2597458.7393 | 1127197.5488 | 2597454.862 | 1127199.431
39 | 2597382.1438 | 1127176.3385 | 2597390.5418 | 1127170.8101 | 2597396.8397 | 1127176.4767 | 2597398.5734 | 1127178.9596
40 | 2597370.2978 | 1127184.1367 | 2597382.1438 | 1127176.3385
41 | 2597475.7793 | 1127187.1586 | 2597462.5408 | 1127195.2308
42 | 2597475.7793 | 1127187.1586 | 2597471.0474 | 1127185.3153 | 2597467.1462 | 1127180.2256 | 2597463.0669 | 1127173.0239 | 2597460.2819 | 1127165.4436 | 2597456.2875 | 1127158.5086 | 2597453.5042 | 1127154.9081
43 | 2597552.762 | 1127180.8007 | 2597611.192 | 1127216.9054 | 2597638.8289 | 1127229.8338 | 2597650.0655 | 1127235.0874 | 2597659.4223 | 1127241.3645 | 2597661.7078 | 1127253.0693
44 | 2597661.7078 | 1127253.0693 | 2597656.8312 | 1127255.3946 | 2597629.8611 | 1127271.1798 | 2597617.9462 | 1127267.246
45 | 2597552.762 | 1127180.8007 | 2597523.7445 | 1127140.3282
46 | 2597552.762 | 1127180.8007 | 2597574.4805 | 1127158.2964
47 | 2597521.5696 | 1127137.2947 | 2597523.7445 | 1127140.3282
48 | 2597536.3356 | 1127111.3071 | 2597531.196 | 1127111.3648
49 | 2597486.5517 | 1127046.1137 | 2597512.2458 | 1127050.8086
50 | 2597546.7874 | 1127118.4951 | 2597536.3356 | 1127111.3071
51 | 2597585.4009 | 1127117.5657 | 2597585.0749 | 1127133.8534 | 2597577.9944 | 1127154.6553 | 2597574.4805 | 1127158.2964

## bus_geodata
| x | y | coords
0 | 2597574.6073 | 1127065.8998
1 | 2597746.5824 | 1127392.604
2 | 2597562.5997 | 1127048.4554
3 | 2597390.2567 | 1127092.9251
4 | 2597395.1297 | 1127100.0571
5 | 2597380.2015 | 1127068.0758
6 | 2597395.978 | 1127109.8447
7 | 2597486.2982 | 1127117.1867
8 | 2597511.253 | 1127127.1921
9 | 2597493.5487 | 1127152.4119
10 | 2597470.8555 | 1127091.9161
11 | 2597451.85 | 1127124.9164
12 | 2597486.9445 | 1127172.8423
13 | 2597306.4123 | 1127185.4774
14 | 2597417.3326 | 1127203.114
15 | 2597317.8844 | 1127179.4793
16 | 2597430.5174 | 1127046.2541
17 | 2597461.5043 | 1127043.6244
18 | 2597401.7713 | 1126461.7486
19 | 2597514.7071 | 1126877.1021
20 | 2597612.0411 | 1126533.1894
21 | 2597782.4477 | 1127142.0238
22 | 2597777.6281 | 1127064.1833
23 | 2597763.4329 | 1127012.1021
24 | 2597815.7741 | 1127038.8055
25 | 2598029.3043 | 1127228.3236
26 | 2597791.8391 | 1127015.114
27 | 2597780.2073 | 1127062.4674
28 | 2597825.8557 | 1126799.2691
29 | 2597543.9973 | 1127043.3819
30 | 2597528.7077 | 1127047.4989
31 | 2597331.729 | 1127172.2408
32 | 2597346.4405 | 1127164.549
33 | 2597454.862 | 1127199.431
34 | 2597398.5734 | 1127178.9596
35 | 2597382.1438 | 1127176.3385
36 | 2597370.2978 | 1127184.1367
37 | 2597462.5408 | 1127195.2308
38 | 2597475.7793 | 1127187.1586
39 | 2597453.5042 | 1127154.9081
40 | 2597661.7078 | 1127253.0693
41 | 2597552.762 | 1127180.8007
42 | 2597617.9462 | 1127267.246
43 | 2597521.5696 | 1127137.2947
44 | 2597531.196 | 1127111.3648
45 | 2597486.5517 | 1127046.1137
46 | 2597512.2458 | 1127050.8086
47 | 2597536.3356 | 1127111.3071
48 | 2597546.7874 | 1127118.4951
49 | 2597523.7445 | 1127140.3282
50 | 2597585.4009 | 1127117.5657
51 | 2597574.4805 | 1127158.2964
52 | 2597779.0726 | 1127063.2223
53 | 2597486.9088 | 1127121.6886

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1